## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-806_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-806_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-806_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-806_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-806_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-806_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-806_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_261-806_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_261-806_0_5_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_261-806_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-806_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-806_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_261-806_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_261-806_0_5_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_261-806_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_261-806_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_261-806_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_261-806_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_261-806_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-806_0_5_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_261-806_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_261-806_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_261-806_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_261-806_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-806_0_5_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_261-806_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-806_0_5_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_261-806_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_261-806_0_5_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_261-806_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-806_0_5_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_261-806_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_261-806_0_5_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_261-806_0_5_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_261-806_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_261-806_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_261-806_0_5_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_261-806_0_5_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_261-806_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_261-806_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_261-806_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-806_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_261-806_0_5_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_261-806_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_261-806_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_261-806_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_261-806_0_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_261-806_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_261-806_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_261-806_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_261-806_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_261-806_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_261-806_0_5_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_261-806_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_261-806_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_261-806_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_261-806_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_261-806_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_261-806_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_261-806_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_261-806_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_MV_542_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-806_0_5_load_0 | 0 | 0.0070187 | 0.001759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-806_0_5_load_1 | 1 | 0.0067495 | 0.0016916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-806_0_5_load_3 | 3 | 0.0067475 | 0.0016911 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-806_0_5_load_4 | 4 | 0.0058733 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-806_0_5_load_22 | 6 | 0.0073868 | 0.0018513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-806_0_5_load_25 | 8 | 0.0048898 | 0.0012255 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-806_0_5_load_26 | 12 | 0.011473 | 0.0028754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-806_0_5_load_59 | 14 | 0.011389 | 0.0028542 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-806_0_5_load_24 | 15 | 0.0057116 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-806_0_5_load_53 | 19 | 0.014044 | 0.0035197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-806_0_5_load_49 | 21 | 0.011538 | 0.0028916 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-806_0_5_load_62 | 22 | 0.016298 | 0.0040846 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-806_0_5_load_63 | 24 | 0.018867 | 0.0047285 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-806_0_5_load_46 | 26 | 0.0058787 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-806_0_5_load_52 | 28 | 0.011309 | 0.0028343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-806_0_5_load_50 | 30 | 0.010865 | 0.002723 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-806_0_5_load_33 | 32 | 0.006583 | 0.0016499 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-806_0_5_load_37 | 33 | 0.010885 | 0.0027281 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-806_0_5_load_61 | 36 | 0.0086454 | 0.0021667 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-806_0_5_load_43 | 38 | 0.008088 | 0.002027 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-806_0_5_load_42 | 39 | 0.0081564 | 0.0020442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-806_0_5_load_36 | 40 | 0.008282 | 0.0020757 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-806_0_5_load_54 | 42 | 0.0067112 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-806_0_5_load_31 | 43 | 0.0090824 | 0.0022763 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-806_0_5_load_27 | 44 | 0.0083314 | 0.002088 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-806_0_5_load_58 | 45 | 0.0082459 | 0.0020666 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-806_0_5_load_55 | 46 | 0.008071 | 0.0020228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-806_0_5_load_44 | 47 | 0.013334 | 0.0033417 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-806_0_5_load_48 | 48 | 0.0066575 | 0.0016685 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-806_0_5_load_45 | 49 | 0.012675 | 0.0031765 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-806_0_5_load_51 | 50 | 0.0042036 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-806_0_5_load_32 | 51 | 0.0066379 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-806_0_5_load_64 | 52 | 0.0046398 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-806_0_5_load_28 | 54 | 0.0082889 | 0.0020774 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-806_0_5_load_39 | 56 | 0.01049 | 0.002629 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-806_0_5_load_35 | 57 | 0.0091592 | 0.0022955 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-806_0_5_load_47 | 58 | 0.028521 | 0.0071481 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-806_0_5_load_56 | 59 | 0.008124 | 0.0020361 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-806_0_5_load_60 | 60 | 0.0089936 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-806_0_5_line_0 |  | 0 | 1 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-806_0_5_line_1 |  | 0 | 2 | 0.012798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-806_0_5_line_2 |  | 1 | 3 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-806_0_5_line_3 |  | 2 | 4 | 0.032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-806_0_5_line_4 |  | 2 | 5 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-806_0_5_line_5 |  | 3 | 6 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-806_0_5_line_6 |  | 5 | 7 | 0.006519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-806_0_5_line_7 |  | 5 | 8 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-806_0_5_line_8 |  | 6 | 16 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-806_0_5_line_9 |  | 7 | 15 | 0.025072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-806_0_5_line_10 |  | 8 | 12 | 0.032939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-806_0_5_line_11 |  | 9 | 10 | 0.038154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-806_0_5_line_12 |  | 9 | 11 | 0.016844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_261-806_0_5_line_13 |  | 10 | 12 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_261-806_0_5_line_14 |  | 10 | 13 | 0.027913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-806_0_5_line_15 |  | 10 | 14 | 0.019706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-806_0_5_line_16 |  | 11 | 43 | 0.000177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_261-806_0_5_line_17 |  | 11 | 44 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-806_0_5_line_18 |  | 13 | 45 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-806_0_5_line_19 |  | 13 | 46 | 0.0060038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-806_0_5_line_20 |  | 16 | 17 | 0.007568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-806_0_5_line_21 |  | 17 | 47 | 0.010193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_261-806_0_5_line_22 |  | 18 | 19 | 0.026722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-806_0_5_line_23 |  | 18 | 20 | 0.10634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-806_0_5_line_24 |  | 18 | 21 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_261-806_0_5_line_25 |  | 20 | 22 | 0.005113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-806_0_5_line_26 |  | 20 | 23 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-806_0_5_line_27 |  | 21 | 48 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-806_0_5_line_28 |  | 23 | 24 | 0.005384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-806_0_5_line_29 |  | 23 | 25 | 0.08098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_261-806_0_5_line_30 |  | 25 | 26 | 0.046498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-806_0_5_line_31 |  | 26 | 49 | 0.0059231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-806_0_5_line_32 |  | 27 | 28 | 0.0036787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-806_0_5_line_33 |  | 27 | 29 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-806_0_5_line_34 |  | 27 | 30 | 0.025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-806_0_5_line_35 |  | 28 | 41 | 0.058306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-806_0_5_line_36 |  | 29 | 34 | 0.032465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-806_0_5_line_37 |  | 29 | 35 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_261-806_0_5_line_38 |  | 29 | 36 | 0.009649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-806_0_5_line_39 |  | 30 | 50 | 9.1011e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-806_0_5_line_40 |  | 31 | 32 | 0.0086261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-806_0_5_line_41 |  | 31 | 33 | 0.0030936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-806_0_5_line_42 |  | 32 | 51 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-806_0_5_line_43 |  | 34 | 52 | 0.007814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-806_0_5_line_44 |  | 35 | 40 | 0.013877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-806_0_5_line_45 |  | 37 | 38 | 0.0064782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-806_0_5_line_46 |  | 37 | 39 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-806_0_5_line_47 |  | 38 | 50 | 0.02403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_261-806_0_5_line_48 |  | 40 | 53 | 0.0021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-806_0_5_line_49 |  | 41 | 42 | 0.049226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-806_0_5_line_50 |  | 43 | 55 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_261-806_0_5_line_51 |  | 44 | 54 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-806_0_5_line_52 |  | 45 | 60 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-806_0_5_line_53 |  | 46 | 59 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-806_0_5_line_54 |  | 47 | 48 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_261-806_0_5_line_55 |  | 49 | 58 | 0.0016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-806_0_5_line_56 |  | 51 | 53 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-806_0_5_line_57 |  | 53 | 57 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-806_0_5_line_58 |  | 55 | 56 | 0.029924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-806_0_5_line_59 |  | 55 | 57 | 0.00053782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-806_0_5_trafo_43 | 0.63 MVA 20/0.4 kV | 61 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2683365.8055 | 1250094.7306 | 2683347.7299 | 1250099.6925
1 | 2683378.147 | 1250091.3428 | 2683365.8055 | 1250094.7306
2 | 2683347.7299 | 1250099.6925 | 2683335.9999 | 1250102.9124
3 | 2683378.147 | 1250091.3428 | 2683377.8959 | 1250088.7929 | 2683377.2701 | 1250085.515 | 2683369.9089 | 1250060.3776
4 | 2683378.147 | 1250091.3428 | 2683383.6724 | 1250089.8305 | 2683390.191 | 1250088.0208
5 | 2683315.8067 | 1250108.4556 | 2683335.9999 | 1250102.9124
6 | 2683390.191 | 1250088.0208 | 2683396.4898 | 1250086.2748
7 | 2683390.191 | 1250088.0208 | 2683387.147 | 1250077.7713
8 | 2683299.4645 | 1250112.9416 | 2683315.8067 | 1250108.4556
9 | 2683396.4898 | 1250086.2748 | 2683420.6487 | 1250079.5691
10 | 2683387.147 | 1250077.7713 | 2683377.7694 | 1250046.1957
11 | 2683351.1915 | 1250005.5777 | 2683356.0454 | 1250004.0337 | 2683365.3499 | 1250028.5383 | 2683369.9429 | 1250027.2909 | 2683371.959 | 1250026.741
12 | 2683351.1915 | 1250005.5777 | 2683346.4285 | 1250007.1007 | 2683335.1049 | 1250010.722
13 | 2683371.959 | 1250026.741 | 2683377.6193 | 1250045.6903 | 2683377.7694 | 1250046.1957
14 | 2683371.959 | 1250026.741 | 2683398.9643 | 1250019.3821
15 | 2683371.959 | 1250026.741 | 2683369.0257 | 1250018.4269 | 2683365.0009 | 1250008.3079
16 | 2683335.1049 | 1250010.722 | 2683334.9363 | 1250010.7758
17 | 2683335.1049 | 1250010.722 | 2683339.7812 | 1250024.7588
18 | 2683398.9643 | 1250019.3821 | 2683396.5142 | 1250007.7126
19 | 2683398.9643 | 1250019.3821 | 2683400.5152 | 1250025.1821
20 | 2683292.1143 | 1250114.8286 | 2683299.4645 | 1250112.9416
21 | 2683292.1143 | 1250114.8286 | 2683282.2796 | 1250117.5084
22 | 2683238.1395 | 1250101.8386 | 2683245.5478 | 1250127.5172
23 | 2683187.4497 | 1250054.3695 | 2683205.2379 | 1250095.7722 | 2683212.1293 | 1250107.7333 | 2683215.8014 | 1250115.6018 | 2683219.2061 | 1250124.2338 | 2683221.0072 | 1250127.1613 | 2683223.0054 | 1250128.9574 | 2683226.0362 | 1250130.3454 | 2683229.8916 | 1250131.0778 | 2683234.2671 | 1250130.7946 | 2683245.5478 | 1250127.5172
24 | 2683245.5478 | 1250127.5172 | 2683256.5047 | 1250124.5316
25 | 2683192.1958 | 1250052.4347 | 2683187.4497 | 1250054.3695
26 | 2683181.3168 | 1250040.0061 | 2683182.8521 | 1250043.5859 | 2683187.4497 | 1250054.3695
27 | 2683269.1865 | 1250121.0761 | 2683256.5047 | 1250124.5316
28 | 2683186.3573 | 1250038.0754 | 2683181.3168 | 1250040.0061
29 | 2683178.3734 | 1249969.479 | 2683164.601 | 1249986.1871 | 2683160.7604 | 1249990.8478 | 2683161.6802 | 1249993.0957 | 2683163.7917 | 1249997.5842 | 2683181.3168 | 1250040.0061
30 | 2683178.3734 | 1249969.479 | 2683192.0995 | 1249980.8023 | 2683193.0627 | 1249983.1842 | 2683192.5765 | 1249986.0796 | 2683186.7444 | 1249992.2245 | 2683185.8603 | 1249994.4249 | 2683185.8224 | 1249997.1263 | 2683189.9458 | 1250005.8551
31 | 2683192.4757 | 1250011.2108 | 2683189.9458 | 1250005.8551
32 | 2683265.5427 | 1250003.8283 | 2683264.5946 | 1250000.2739
33 | 2683265.5427 | 1250003.8283 | 2683268.6668 | 1250002.8715 | 2683271.4955 | 1250001.9883 | 2683276.5611 | 1250000.425
34 | 2683265.5427 | 1250003.8283 | 2683268.5045 | 1250014.956 | 2683272.3285 | 1250028.6438
35 | 2683248.6602 | 1249944.1913 | 2683260.1634 | 1249983.66 | 2683264.5946 | 1250000.2739
36 | 2683276.5611 | 1250000.425 | 2683279.1412 | 1250009.1677 | 2683293.2667 | 1250004.952 | 2683291.4294 | 1249996.5421
37 | 2683276.5611 | 1250000.425 | 2683279.1412 | 1250009.1677 | 2683283.2129 | 1250027.2829
38 | 2683276.5611 | 1250000.425 | 2683274.4583 | 1249993.179 | 2683273.8467 | 1249991.1658
39 | 2683272.353 | 1250028.7314 | 2683272.3285 | 1250028.6438
40 | 2683308.9137 | 1250060.591 | 2683306.6432 | 1250052.2691
41 | 2683308.9137 | 1250060.591 | 2683309.6188 | 1250063.6031
42 | 2683306.6432 | 1250052.2691 | 2683302.3098 | 1250036.3862
43 | 2683298.8997 | 1249994.1786 | 2683291.4294 | 1249996.5421
44 | 2683283.2129 | 1250027.2829 | 2683296.4332 | 1250023.0632
45 | 2683280.5672 | 1250058.1131 | 2683278.8221 | 1250051.8743
46 | 2683280.5672 | 1250058.1131 | 2683281.4154 | 1250061.1495 | 2683284.6711 | 1250073.067
47 | 2683278.8221 | 1250051.8743 | 2683275.8584 | 1250041.2788 | 2683272.353 | 1250028.7314
48 | 2683298.4953 | 1250022.4051 | 2683296.4332 | 1250023.0632
49 | 2683248.6602 | 1249944.1913 | 2683227.7964 | 1249949.7136 | 2683227.3586 | 1249960.4487 | 2683216.7991 | 1249973.6436
50 | 2683316.3412 | 1250016.7072 | 2683334.9363 | 1250010.7758
51 | 2683339.7812 | 1250024.7588 | 2683345.5839 | 1250042.1768
52 | 2683399.132 | 1249981.1894 | 2683391.853 | 1249985.5124 | 2683396.5142 | 1250007.7126
53 | 2683400.5152 | 1250025.1821 | 2683404.9292 | 1250041.6887
54 | 2683269.1865 | 1250121.0761 | 2683282.2796 | 1250117.5084
55 | 2683193.1987 | 1250012.7415 | 2683192.4757 | 1250011.2108
56 | 2683298.4953 | 1250022.4051 | 2683302.3098 | 1250036.3862
57 | 2683298.4953 | 1250022.4051 | 2683315.8289 | 1250016.8708
58 | 2683316.3412 | 1250016.7072 | 2683324.8773 | 1250045.3929
59 | 2683315.8289 | 1250016.8708 | 2683316.3412 | 1250016.7072

## bus_geodata
| x | y | coords
0 | 2683365.8055 | 1250094.7306
1 | 2683347.7299 | 1250099.6925
2 | 2683378.147 | 1250091.3428
3 | 2683335.9999 | 1250102.9124
4 | 2683369.9089 | 1250060.3776
5 | 2683390.191 | 1250088.0208
6 | 2683315.8067 | 1250108.4556
7 | 2683396.4898 | 1250086.2748
8 | 2683387.147 | 1250077.7713
9 | 2683351.1915 | 1250005.5777
10 | 2683371.959 | 1250026.741
11 | 2683335.1049 | 1250010.722
12 | 2683377.7694 | 1250046.1957
13 | 2683398.9643 | 1250019.3821
14 | 2683365.0009 | 1250008.3079
15 | 2683420.6487 | 1250079.5691
16 | 2683299.4645 | 1250112.9416
17 | 2683292.1143 | 1250114.8286
18 | 2683245.5478 | 1250127.5172
19 | 2683238.1395 | 1250101.8386
20 | 2683187.4497 | 1250054.3695
21 | 2683256.5047 | 1250124.5316
22 | 2683192.1958 | 1250052.4347
23 | 2683181.3168 | 1250040.0061
24 | 2683186.3573 | 1250038.0754
25 | 2683178.3734 | 1249969.479
26 | 2683189.9458 | 1250005.8551
27 | 2683265.5427 | 1250003.8283
28 | 2683264.5946 | 1250000.2739
29 | 2683276.5611 | 1250000.425
30 | 2683272.3285 | 1250028.6438
31 | 2683308.9137 | 1250060.591
32 | 2683306.6432 | 1250052.2691
33 | 2683309.6188 | 1250063.6031
34 | 2683291.4294 | 1249996.5421
35 | 2683283.2129 | 1250027.2829
36 | 2683273.8467 | 1249991.1658
37 | 2683280.5672 | 1250058.1131
38 | 2683278.8221 | 1250051.8743
39 | 2683284.6711 | 1250073.067
40 | 2683296.4332 | 1250023.0632
41 | 2683248.6602 | 1249944.1913
42 | 2683216.7991 | 1249973.6436
43 | 2683334.9363 | 1250010.7758
44 | 2683339.7812 | 1250024.7588
45 | 2683396.5142 | 1250007.7126
46 | 2683400.5152 | 1250025.1821
47 | 2683282.2796 | 1250117.5084
48 | 2683269.1865 | 1250121.0761
49 | 2683192.4757 | 1250011.2108
50 | 2683272.353 | 1250028.7314
51 | 2683302.3098 | 1250036.3862
52 | 2683298.8997 | 1249994.1786
53 | 2683298.4953 | 1250022.4051
54 | 2683345.5839 | 1250042.1768
55 | 2683316.3412 | 1250016.7072
56 | 2683324.8773 | 1250045.3929
57 | 2683315.8289 | 1250016.8708
58 | 2683193.1987 | 1250012.7415
59 | 2683404.9292 | 1250041.6887
60 | 2683399.132 | 1249981.1894
61 | 2683280.5672 | 1250058.1131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98333 | -0.31975 | 0.0070187 | 0.001759
1 | 0.98268 | -0.33233 | 0.0067495 | 0.0016916
2 | 0.98379 | -0.31078 | 0 | 0
3 | 0.98228 | -0.34012 | 0.0067475 | 0.0016911
4 | 0.98362 | -0.31417 | 0.0058733 | 0.001472
5 | 0.98426 | -0.30169 | 0 | 0
6 | 0.98162 | -0.35292 | 0.0073868 | 0.0018513
7 | 0.98422 | -0.30236 | 0 | 0
8 | 0.98467 | -0.29364 | 0.0048898 | 0.0012255
9 | 0.98887 | -0.21254 | 0 | 0
10 | 0.98685 | -0.25148 | 0 | 0
11 | 0.98976 | -0.1954 | 0 | 0
12 | 0.98599 | -0.26818 | 0.011473 | 0.0028754
13 | 0.98599 | -0.2682 | 0 | 0
14 | 0.98664 | -0.2555 | 0.011389 | 0.0028542
15 | 0.98409 | -0.30494 | 0.0057116 | 0.0014315
16 | 0.98112 | -0.36272 | 0 | 0
17 | 0.9809 | -0.3671 | 0 | 0
18 | 0.97965 | -0.39144 | 0 | 0
19 | 0.9793 | -0.39826 | 0.014044 | 0.0035197
20 | 0.97762 | -0.43124 | 0 | 0
21 | 0.9799 | -0.38648 | 0.011538 | 0.0028916
22 | 0.97754 | -0.43276 | 0.016298 | 0.0040846
23 | 0.97738 | -0.43594 | 0 | 0
24 | 0.97728 | -0.43779 | 0.018867 | 0.0047285
25 | 0.9756 | -0.47078 | 0 | 0
26 | 0.97356 | -0.51095 | 0.0058787 | 0.0014733
27 | 0.99604 | -0.075213 | 0 | 0
28 | 0.99598 | -0.076378 | 0.011309 | 0.0028343
29 | 0.99519 | -0.091414 | 0 | 0
30 | 0.99804 | -0.03714 | 0.010865 | 0.002723
31 | 0.99143 | -0.16339 | 0 | 0
32 | 0.99152 | -0.16173 | 0.006583 | 0.0016499
33 | 0.9914 | -0.16399 | 0.010885 | 0.0027281
34 | 0.99505 | -0.094066 | 0 | 0
35 | 0.99323 | -0.12879 | 0 | 0
36 | 0.99511 | -0.092882 | 0.0086454 | 0.0021667
37 | 0.99995 | -0.00092106 | 0 | 0
38 | 1 | 0 | -0.36743 | -0.093596
39 | 0.99984 | -0.0031261 | 0.0081564 | 0.0020442
40 | 0.99225 | -0.14759 | 0.008282 | 0.0020757
41 | 0.99562 | -0.083258 | 0 | 0
42 | 0.99532 | -0.08907 | 0.0067112 | 0.001682
43 | 0.98977 | -0.19521 | 0.0090824 | 0.0022763
44 | 0.98953 | -0.19978 | 0.0083314 | 0.002088
45 | 0.9858 | -0.27188 | 0.0082459 | 0.0020666
46 | 0.9859 | -0.26994 | 0.008071 | 0.0020228
47 | 0.98059 | -0.373 | 0.013334 | 0.0033417
48 | 0.98023 | -0.38005 | 0.0066575 | 0.0016685
49 | 0.97333 | -0.51544 | 0.012675 | 0.0031765
50 | 0.99805 | -0.037001 | 0.0042036 | 0.0010535
51 | 0.99178 | -0.15663 | 0.0066379 | 0.0016636
52 | 0.99502 | -0.094704 | 0.0046398 | 0.0011629
53 | 0.9921 | -0.15044 | 0 | 0
54 | 0.98939 | -0.20249 | 0.0082889 | 0.0020774
55 | 0.99092 | -0.17316 | 0 | 0
56 | 0.99063 | -0.17874 | 0.01049 | 0.002629
57 | 0.99095 | -0.17253 | 0.0091592 | 0.0022955
58 | 0.97329 | -0.51633 | 0.028521 | 0.0071481
59 | 0.98578 | -0.27243 | 0.008124 | 0.0020361
60 | 0.98555 | -0.27691 | 0.0089936 | 0.002254
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1495 | 0.037765 | -0.14941 | -0.037708 | 9.0021e-05 | 5.6663e-05 | 0.22633 | 0.22633 | 0.22633 | 0.98333 | -0.31975 | 0.98268 | -0.33233 | 15.545
1 | -0.15652 | -0.039524 | 0.15658 | 0.039566 | 6.7367e-05 | 4.2465e-05 | 0.23696 | 0.23696 | 0.23696 | 0.98333 | -0.31975 | 0.98379 | -0.31078 | 16.2744
2 | 0.14266 | 0.036017 | -0.14261 | -0.035983 | 5.3261e-05 | 3.3471e-05 | 0.21611 | 0.21611 | 0.21611 | 0.98268 | -0.33233 | 0.98228 | -0.34012 | 14.843
3 | 0.0058743 | 0.0014722 | -0.0058733 | -0.001472 | 9.5008e-07 | 2.0063e-07 | 0.008885 | 0.0088852 | 0.0088852 | 0.98379 | -0.31078 | 0.98362 | -0.31417 | 2.441
4 | -0.16246 | -0.041039 | 0.16253 | 0.041083 | 7.079e-05 | 4.4671e-05 | 0.24584 | 0.24584 | 0.24584 | 0.98379 | -0.31078 | 0.98426 | -0.30169 | 16.8846
5 | 0.13586 | 0.034292 | -0.13577 | -0.03424 | 8.3222e-05 | 5.2202e-05 | 0.20589 | 0.20589 | 0.20589 | 0.98228 | -0.34012 | 0.98162 | -0.35292 | 14.141
6 | 0.0057125 | 0.0014316 | -0.0057123 | -0.0014316 | 1.8233e-07 | 3.3842e-08 | 0.0086362 | 0.0086363 | 0.0086363 | 0.98426 | -0.30169 | 0.98422 | -0.30236 | 2.3726
7 | -0.16824 | -0.042515 | 0.16831 | 0.042556 | 6.4912e-05 | 4.1e-05 | 0.25448 | 0.25448 | 0.25448 | 0.98426 | -0.30169 | 0.98467 | -0.29364 | 17.4778
8 | 0.12839 | 0.032389 | -0.12833 | -0.032351 | 6.0224e-05 | 3.7687e-05 | 0.1947 | 0.1947 | 0.1947 | 0.98162 | -0.35292 | 0.98112 | -0.36272 | 13.372
9 | 0.0057123 | 0.0014316 | -0.0057116 | -0.0014315 | 7.0126e-07 | 1.3022e-07 | 0.0086363 | 0.0086364 | 0.0086364 | 0.98422 | -0.30236 | 0.98409 | -0.30494 | 2.3726
10 | -0.1732 | -0.043781 | 0.17341 | 0.043915 | 0.00021175 | 0.00013384 | 0.26187 | 0.26186 | 0.26187 | 0.98467 | -0.29364 | 0.98599 | -0.26818 | 17.9853
11 | 0.23032 | 0.058413 | -0.22989 | -0.05814 | 0.00043026 | 0.00027341 | 0.34682 | 0.34682 | 0.34682 | 0.98887 | -0.21254 | 0.98685 | -0.25148 | 23.8203
12 | -0.23032 | -0.058413 | 0.23051 | 0.058534 | 0.00018995 | 0.0001207 | 0.34682 | 0.34682 | 0.34682 | 0.98887 | -0.21254 | 0.98976 | -0.1954 | 23.8203
13 | 0.18503 | 0.046885 | -0.18488 | -0.046791 | 0.00014836 | 9.3913e-05 | 0.27918 | 0.27918 | 0.27918 | 0.98685 | -0.25148 | 0.98599 | -0.26818 | 19.1744
14 | 0.033469 | 0.0084001 | -0.033442 | -0.0083834 | 2.6663e-05 | 1.6708e-05 | 0.05047 | 0.05047 | 0.05047 | 0.98685 | -0.25148 | 0.98599 | -0.2682 | 13.8653
15 | 0.011391 | 0.0028554 | -0.011389 | -0.0028542 | 2.18e-06 | 1.1435e-06 | 0.017176 | 0.017176 | 0.017176 | 0.98685 | -0.25148 | 0.98664 | -0.2555 | 4.7186
16 | -0.24713 | -0.062702 | 0.24714 | 0.062704 | 2.294e-06 | 1.4591e-06 | 0.37182 | 0.37182 | 0.37182 | 0.98976 | -0.1954 | 0.98977 | -0.19521 | 25.5369
17 | 0.016625 | 0.0041679 | -0.016621 | -0.0041659 | 3.4661e-06 | 2.0282e-06 | 0.024995 | 0.024995 | 0.024995 | 0.98976 | -0.1954 | 0.98953 | -0.19978 | 6.8667
18 | 0.017245 | 0.0043234 | -0.017242 | -0.0043216 | 3.0286e-06 | 1.7863e-06 | 0.026025 | 0.026026 | 0.026026 | 0.98599 | -0.2682 | 0.9858 | -0.27188 | 7.1499
19 | 0.016197 | 0.00406 | -0.016196 | -0.0040592 | 1.3453e-06 | 7.8442e-07 | 0.024444 | 0.024444 | 0.024444 | 0.98599 | -0.2682 | 0.9859 | -0.26994 | 6.7155
20 | 0.12833 | 0.032351 | -0.1283 | -0.032334 | 2.6895e-05 | 1.683e-05 | 0.1947 | 0.1947 | 0.1947 | 0.98112 | -0.36272 | 0.9809 | -0.3671 | 13.372
21 | 0.1283 | 0.032334 | -0.12826 | -0.032311 | 3.6225e-05 | 2.2669e-05 | 0.1947 | 0.1947 | 0.1947 | 0.9809 | -0.3671 | 0.98059 | -0.373 | 13.372
22 | 0.014048 | 0.0035222 | -0.014044 | -0.0035197 | 4.5629e-06 | 2.5839e-06 | 0.021339 | 0.021339 | 0.021339 | 0.97965 | -0.39144 | 0.9793 | -0.39826 | 5.8623
23 | 0.082593 | 0.020828 | -0.082436 | -0.020733 | 0.00015702 | 9.515e-05 | 0.1255 | 0.1255 | 0.1255 | 0.97965 | -0.39144 | 0.97762 | -0.43124 | 8.6196
24 | -0.096641 | -0.024351 | 0.096664 | 0.024365 | 2.2956e-05 | 1.4119e-05 | 0.14684 | 0.14684 | 0.14684 | 0.97965 | -0.39144 | 0.9799 | -0.38648 | 10.085
25 | 0.016299 | 0.0040853 | -0.016298 | -0.0040846 | 1.1801e-06 | 6.9114e-07 | 0.024808 | 0.024808 | 0.024808 | 0.97762 | -0.43124 | 0.97754 | -0.43276 | 6.8155
26 | 0.066137 | 0.016648 | -0.066122 | -0.016639 | 1.4845e-05 | 8.7179e-06 | 0.10069 | 0.10069 | 0.10069 | 0.97762 | -0.43124 | 0.97738 | -0.43594 | 6.9157
27 | -0.1082 | -0.027256 | 0.10823 | 0.027277 | 3.3287e-05 | 2.0641e-05 | 0.16436 | 0.16436 | 0.16436 | 0.9799 | -0.38648 | 0.98023 | -0.38005 | 11.2883
28 | 0.018869 | 0.0047295 | -0.018867 | -0.0047285 | 1.6662e-06 | 9.9887e-07 | 0.028727 | 0.028727 | 0.028727 | 0.97738 | -0.43594 | 0.97728 | -0.43779 | 7.892
29 | 0.047254 | 0.01191 | -0.047175 | -0.011862 | 7.8639e-05 | 4.8303e-05 | 0.071966 | 0.071966 | 0.071966 | 0.97738 | -0.43594 | 0.9756 | -0.47078 | 9.8855
30 | 0.047175 | 0.011862 | -0.047085 | -0.011804 | 9.0308e-05 | 5.7218e-05 | 0.071966 | 0.071967 | 0.071967 | 0.9756 | -0.47078 | 0.97356 | -0.51095 | 19.7711
31 | 0.041206 | 0.010331 | -0.041197 | -0.010325 | 8.8106e-06 | 5.5652e-06 | 0.062981 | 0.062982 | 0.062982 | 0.97356 | -0.51095 | 0.97333 | -0.51544 | 17.3026
32 | 0.018025 | 0.0045181 | -0.018024 | -0.0045175 | 1.0004e-06 | 5.9235e-07 | 0.026929 | 0.026929 | 0.026929 | 0.99604 | -0.075213 | 0.99598 | -0.076378 | 7.398
33 | 0.32326 | 0.082447 | -0.32301 | -0.082286 | 0.00025268 | 0.00016111 | 0.48344 | 0.48344 | 0.48344 | 0.99604 | -0.075213 | 0.99519 | -0.091414 | 33.2035
34 | -0.34129 | -0.086965 | 0.34192 | 0.087365 | 0.00062825 | 0.00040074 | 0.51037 | 0.51037 | 0.51037 | 0.99604 | -0.075213 | 0.99804 | -0.03714 | 35.0529
35 | 0.0067152 | 0.0016832 | -0.006713 | -0.0016825 | 2.2009e-06 | 6.5005e-07 | 0.010033 | 0.010033 | 0.010033 | 0.99598 | -0.076378 | 0.99562 | -0.083258 | 2.7563
36 | 0.0046406 | 0.0011628 | -0.00464 | -0.0011628 | 5.8613e-07 | -4.6647e-08 | 0.0069385 | 0.0069387 | 0.0069387 | 0.99519 | -0.091414 | 0.99505 | -0.094066 | 1.9062
37 | 0.30972 | 0.078956 | -0.30917 | -0.0786 | 0.00055773 | 0.00035551 | 0.46358 | 0.46358 | 0.46358 | 0.99519 | -0.091414 | 0.99323 | -0.12879 | 31.8391
38 | 0.008646 | 0.002167 | -0.0086454 | -0.0021667 | 6.0472e-07 | 2.6166e-07 | 0.012928 | 0.012928 | 0.012928 | 0.99519 | -0.091414 | 0.99511 | -0.092882 | 3.5516
39 | -0.35278 | -0.090088 | 0.35278 | 0.09009 | 2.3658e-06 | 1.5094e-06 | 0.52657 | 0.52657 | 0.52657 | 0.99804 | -0.03714 | 0.99805 | -0.037001 | 36.1654
40 | -0.010886 | -0.0027283 | 0.010887 | 0.0027287 | 8.6346e-07 | 4.4137e-07 | 0.016338 | 0.016338 | 0.016338 | 0.99143 | -0.16339 | 0.99152 | -0.16173 | 4.4885
41 | 0.010886 | 0.0027283 | -0.010885 | -0.0027281 | 3.0967e-07 | 1.5829e-07 | 0.016338 | 0.016338 | 0.016338 | 0.99143 | -0.16339 | 0.9914 | -0.16399 | 4.4885
42 | -0.017469 | -0.0043786 | 0.017474 | 0.0043811 | 4.2436e-06 | 2.5035e-06 | 0.026217 | 0.026217 | 0.026217 | 0.99152 | -0.16173 | 0.99178 | -0.15663 | 7.2026
43 | 0.00464 | 0.0011628 | -0.0046398 | -0.0011629 | 1.4108e-07 | -1.1208e-08 | 0.0069387 | 0.0069387 | 0.0069387 | 0.99505 | -0.094066 | 0.99502 | -0.094704 | 1.9062
44 | 0.30917 | 0.0786 | -0.30889 | -0.078422 | 0.00027959 | 0.00017822 | 0.46358 | 0.46358 | 0.46358 | 0.99323 | -0.12879 | 0.99225 | -0.14759 | 31.8391
45 | -0.0081572 | -0.0020445 | 0.0081576 | 0.0020447 | 3.5795e-07 | 1.4411e-07 | 0.012139 | 0.012139 | 0.012139 | 0.99995 | -0.00092106 | 1 | 0 | 3.3348
46 | 0.0081572 | 0.0020445 | -0.0081564 | -0.0020442 | 8.5684e-07 | 3.4498e-07 | 0.012139 | 0.012139 | 0.012139 | 0.99995 | -0.00092106 | 0.99984 | -0.0031261 | 3.3348
47 | 0.35763 | 0.091552 | -0.35699 | -0.091143 | 0.00063961 | 0.00040809 | 0.53284 | 0.53284 | 0.53284 | 1 | 0 | 0.99805 | -0.037001 | 36.5959
48 | 0.3006 | 0.076346 | -0.30056 | -0.07632 | 4.1305e-05 | 2.6323e-05 | 0.45116 | 0.45116 | 0.45116 | 0.99225 | -0.14759 | 0.9921 | -0.15044 | 30.9861
49 | 0.006713 | 0.0016825 | -0.0067112 | -0.001682 | 1.8583e-06 | 5.4931e-07 | 0.010033 | 0.010033 | 0.010033 | 0.99562 | -0.083258 | 0.99532 | -0.08907 | 2.7564
50 | -0.25622 | -0.06498 | 0.25649 | 0.065153 | 0.00027189 | 0.000173 | 0.38547 | 0.38547 | 0.38547 | 0.98977 | -0.19521 | 0.99092 | -0.17316 | 26.4747
51 | 0.00829 | 0.0020779 | -0.0082889 | -0.0020774 | 1.0699e-06 | 4.4895e-07 | 0.012466 | 0.012466 | 0.012466 | 0.98953 | -0.19978 | 0.98939 | -0.20249 | 3.4248
52 | 0.0089958 | 0.002255 | -0.0089936 | -0.002254 | 2.1539e-06 | 9.8142e-07 | 0.013579 | 0.013579 | 0.013579 | 0.9858 | -0.27188 | 0.98555 | -0.27691 | 3.7305
53 | 0.0081249 | 0.0020365 | -0.008124 | -0.0020361 | 9.6356e-07 | 3.9882e-07 | 0.012263 | 0.012263 | 0.012263 | 0.9859 | -0.26994 | 0.98578 | -0.27243 | 3.369
54 | 0.11493 | 0.02897 | -0.11489 | -0.028946 | 3.8724e-05 | 2.4099e-05 | 0.17446 | 0.17446 | 0.17446 | 0.98059 | -0.373 | 0.98023 | -0.38005 | 11.9824
55 | 0.028522 | 0.0071489 | -0.028521 | -0.0071481 | 1.2071e-06 | 7.5148e-07 | 0.043605 | 0.043605 | 0.043605 | 0.97333 | -0.51544 | 0.97329 | -0.51633 | 11.9794
56 | -0.024112 | -0.0060447 | 0.024119 | 0.0060491 | 7.1124e-06 | 4.3649e-06 | 0.036177 | 0.036176 | 0.036177 | 0.99178 | -0.15663 | 0.9921 | -0.15044 | 9.9386
57 | 0.27644 | 0.070271 | -0.27615 | -0.070084 | 0.00029376 | 0.00018707 | 0.41498 | 0.41498 | 0.41498 | 0.9921 | -0.15044 | 0.99095 | -0.17253 | 28.5015
58 | 0.010493 | 0.0026304 | -0.01049 | -0.002629 | 2.7859e-06 | 1.3976e-06 | 0.015756 | 0.015757 | 0.015757 | 0.99092 | -0.17316 | 0.99063 | -0.17874 | 4.3287
59 | -0.26698 | -0.067783 | 0.26699 | 0.067788 | 8.1168e-06 | 5.1671e-06 | 0.40123 | 0.40123 | 0.40123 | 0.99092 | -0.17316 | 0.99095 | -0.17253 | 27.5568

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37552 | 0.095623

## res_load
| p_mw | q_mvar
0 | 0.0070187 | 0.001759
1 | 0.0067495 | 0.0016916
2 | 0.0067475 | 0.0016911
3 | 0.0058733 | 0.001472
4 | 0.0073868 | 0.0018513
5 | 0.0048898 | 0.0012255
6 | 0.011473 | 0.0028754
7 | 0.011389 | 0.0028542
8 | 0.0057116 | 0.0014315
9 | 0.014044 | 0.0035197
10 | 0.011538 | 0.0028916
11 | 0.016298 | 0.0040846
12 | 0.018867 | 0.0047285
13 | 0.0058787 | 0.0014733
14 | 0.011309 | 0.0028343
15 | 0.010865 | 0.002723
16 | 0.006583 | 0.0016499
17 | 0.010885 | 0.0027281
18 | 0.0086454 | 0.0021667
19 | 0.008088 | 0.002027
20 | 0.0081564 | 0.0020442
21 | 0.008282 | 0.0020757
22 | 0.0067112 | 0.001682
23 | 0.0090824 | 0.0022763
24 | 0.0083314 | 0.002088
25 | 0.0082459 | 0.0020666
26 | 0.008071 | 0.0020228
27 | 0.013334 | 0.0033417
28 | 0.0066575 | 0.0016685
29 | 0.012675 | 0.0031765
30 | 0.0042036 | 0.0010535
31 | 0.0066379 | 0.0016636
32 | 0.0046398 | 0.0011629
33 | 0.0082889 | 0.0020774
34 | 0.01049 | 0.002629
35 | 0.0091592 | 0.0022955
36 | 0.028521 | 0.0071481
37 | 0.008124 | 0.0020361
38 | 0.0089936 | 0.002254

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1