## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-814_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-814_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-814_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-814_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-814_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-814_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_261-814_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-814_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_261-814_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_261-814_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_261-814_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_261-814_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_261-814_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_261-814_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_261-814_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_261-814_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-814_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_261-814_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_261-814_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_261-814_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-814_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_261-814_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_261-814_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-814_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_261-814_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-814_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_261-814_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_MV_548_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-814_0_3_load_0 | 0 | 0.013073 | 0.0032765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-814_0_3_load_1 | 1 | 0.012702 | 0.0031835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-814_0_3_load_4 | 4 | 0.020115 | 0.0050413 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-814_0_3_load_24 | 8 | 0.049507 | 0.012408 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-814_0_3_load_11 | 9 | 0.073432 | 0.018404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-814_0_3_load_14 | 11 | 0.02554 | 0.0064008 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-814_0_3_load_12 | 12 | 0.020776 | 0.0052068 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-814_0_3_load_26 | 14 | 0.0016923 | 0.00042413 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-814_0_3_load_22 | 18 | 0.0044454 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-814_0_3_load_15 | 19 | 0.04629 | 0.011601 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-814_0_3_load_25 | 20 | 0.002078 | 0.00052081 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-814_0_3_load_21 | 21 | 0.0029364 | 0.00073593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-814_0_3_load_17 | 23 | 0.018181 | 0.0045566 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-814_0_3_load_18 | 24 | 0.026023 | 0.006522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-814_0_3_load_19 | 25 | 0.0019383 | 0.00048579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-814_0_3_load_20 | 26 | 0.00332 | 0.00083207 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-814_0_3_line_0 |  | 0 | 1 | 0.024395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-814_0_3_line_1 |  | 0 | 2 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-814_0_3_line_2 |  | 1 | 3 | 0.029688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-814_0_3_line_3 |  | 2 | 4 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-814_0_3_line_4 |  | 2 | 5 | 0.047606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-814_0_3_line_5 |  | 3 | 6 | 0.021689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_261-814_0_3_line_6 |  | 5 | 9 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-814_0_3_line_7 |  | 6 | 7 | 0.039982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_261-814_0_3_line_8 |  | 6 | 8 | 0.035198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-814_0_3_line_9 |  | 7 | 17 | 0.030242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_261-814_0_3_line_10 |  | 7 | 18 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-814_0_3_line_11 |  | 7 | 13 | 0.11489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-814_0_3_line_12 |  | 10 | 11 | 0.042216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-814_0_3_line_13 |  | 10 | 12 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-814_0_3_line_14 |  | 12 | 15 | 0.032653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-814_0_3_line_15 |  | 13 | 14 | 0.043216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-814_0_3_line_16 |  | 15 | 16 | 0.02322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_261-814_0_3_line_17 |  | 16 | 19 | 0.021918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-814_0_3_line_18 |  | 17 | 20 | 0.0020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-814_0_3_line_19 |  | 18 | 21 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-814_0_3_line_20 |  | 19 | 22 | 0.020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-814_0_3_line_21 |  | 20 | 24 | 0.011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-814_0_3_line_22 |  | 21 | 26 | 0.0076174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-814_0_3_line_23 |  | 22 | 23 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-814_0_3_line_24 |  | 22 | 24 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-814_0_3_line_25 |  | 25 | 26 | 0.0076805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-814_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 27 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684044.9361 | 1247167.0969 | 2684053.9838 | 1247164.3612 | 2684068.261 | 1247159.9512
1 | 2684033.3637 | 1247170.5959 | 2684044.9361 | 1247167.0969
2 | 2684095.823 | 1247149.0764 | 2684092.1795 | 1247150.8483 | 2684083.5867 | 1247154.8516 | 2684077.2841 | 1247157.164 | 2684068.261 | 1247159.9512
3 | 2684033.3637 | 1247170.5959 | 2684032.6301 | 1247167.9947 | 2684030.1104 | 1247159.0906
4 | 2683987.8353 | 1247184.5057 | 2684009.8663 | 1247177.8461 | 2684033.3637 | 1247170.5959
5 | 2684095.823 | 1247149.0764 | 2684096.9411 | 1247148.5363 | 2684097.3744 | 1247149.9435 | 2684098.5528 | 1247153.6741 | 2684099.1526 | 1247155.584 | 2684099.9476 | 1247158.1193 | 2684100.9161 | 1247161.202 | 2684101.4364 | 1247162.8662 | 2684102.4695 | 1247166.1833 | 2684103.0549 | 1247168.0485
6 | 2683987.8353 | 1247184.5057 | 2683987.2313 | 1247182.3511 | 2683984.2049 | 1247172.3719
7 | 2684103.0549 | 1247168.0485 | 2684113.225 | 1247165.2129 | 2684115.8862 | 1247163.9942 | 2684123.0421 | 1247184.5886 | 2684124.4819 | 1247189.0568
8 | 2684103.0549 | 1247168.0485 | 2684096.361 | 1247169.7215 | 2684087.6255 | 1247169.4085 | 2684084.7397 | 1247169.9569 | 2684068.8095 | 1247174.6945
9 | 2684124.4819 | 1247189.0568 | 2684095.7381 | 1247198.7118
10 | 2684124.4819 | 1247189.0568 | 2684126.2631 | 1247191.2948 | 2684127.9562 | 1247207.1186
11 | 2684124.4819 | 1247189.0568 | 2684123.0421 | 1247184.5886 | 2684134.1543 | 1247187.226 | 2684157.6878 | 1247199.7802 | 2684180.9663 | 1247212.1975 | 2684175.8594 | 1247217.5512 | 2684172.6921 | 1247220.8976 | 2684170.5118 | 1247235.066 | 2684169.8841 | 1247242.0289 | 2684168.9956 | 1247246.086 | 2684164.4937 | 1247252.9827
12 | 2683987.1912 | 1247199.0406 | 2684002.7323 | 1247194.5907 | 2684026.3203 | 1247187.3306 | 2684027.6337 | 1247186.94
13 | 2683987.1912 | 1247199.0406 | 2683990.3639 | 1247209.9746
14 | 2683999.4636 | 1247241.3345 | 2683990.3639 | 1247209.9746
15 | 2684164.4937 | 1247252.9827 | 2684162.1514 | 1247251.9598 | 2684156.4244 | 1247249.3878 | 2684154.6765 | 1247249.0627 | 2684153.1199 | 1247249.63 | 2684144.0116 | 1247253.2367 | 2684125.5662 | 1247255.8214 | 2684123.0904 | 1247256.3179
16 | 2684021.3164 | 1247233.3826 | 2684004.1115 | 1247240.1105 | 2683999.4636 | 1247241.3345
17 | 2684021.3164 | 1247233.3826 | 2684041.2404 | 1247224.2479
18 | 2684095.7381 | 1247198.7118 | 2684093.8897 | 1247199.5874
19 | 2684117.6988 | 1247224.0798 | 2684119.4619 | 1247222.8772 | 2684128.9441 | 1247216.3513 | 2684127.9562 | 1247207.1186
20 | 2684059.5915 | 1247215.8342 | 2684041.2404 | 1247224.2479
21 | 2684083.7112 | 1247204.4089 | 2684093.8897 | 1247199.5874
22 | 2684117.6988 | 1247224.0798 | 2684111.4058 | 1247228.372
23 | 2684059.5915 | 1247215.8342 | 2684067.7303 | 1247228.0072
24 | 2684059.5915 | 1247215.8342 | 2684083.7112 | 1247204.4089
25 | 2684105.0442 | 1247232.6754 | 2684108.3788 | 1247230.4367 | 2684111.4058 | 1247228.372

## bus_geodata
| x | y | coords
0 | 2684044.9361 | 1247167.0969
1 | 2684068.261 | 1247159.9512
2 | 2684033.3637 | 1247170.5959
3 | 2684095.823 | 1247149.0764
4 | 2684030.1104 | 1247159.0906
5 | 2683987.8353 | 1247184.5057
6 | 2684103.0549 | 1247168.0485
7 | 2684124.4819 | 1247189.0568
8 | 2684068.8095 | 1247174.6945
9 | 2683984.2049 | 1247172.3719
10 | 2683987.1912 | 1247199.0406
11 | 2684027.6337 | 1247186.94
12 | 2683990.3639 | 1247209.9746
13 | 2684164.4937 | 1247252.9827
14 | 2684123.0904 | 1247256.3179
15 | 2683999.4636 | 1247241.3345
16 | 2684021.3164 | 1247233.3826
17 | 2684095.7381 | 1247198.7118
18 | 2684127.9562 | 1247207.1186
19 | 2684041.2404 | 1247224.2479
20 | 2684093.8897 | 1247199.5874
21 | 2684117.6988 | 1247224.0798
22 | 2684059.5915 | 1247215.8342
23 | 2684067.7303 | 1247228.0072
24 | 2684083.7112 | 1247204.4089
25 | 2684105.0443 | 1247232.6754
26 | 2684111.4058 | 1247228.372
27 | 2683987.1912 | 1247199.0406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97582 | -0.46483 | 0.013073 | 0.0032765
1 | 0.97825 | -0.41734 | 0.012702 | 0.0031835
2 | 0.97477 | -0.48556 | 0 | 0
3 | 0.9799 | -0.38513 | 0 | 0
4 | 0.97454 | -0.48997 | 0.020115 | 0.0050413
5 | 0.9715 | -0.5499 | 0 | 0
6 | 0.98071 | -0.36949 | 0 | 0
7 | 0.9828 | -0.3288 | 0 | 0
8 | 0.97909 | -0.40112 | 0.049507 | 0.012408
9 | 0.97063 | -0.56709 | 0.073432 | 0.018404
10 | 0.99613 | -0.073016 | 0 | 0
11 | 1 | 0 | -0.30363 | -0.077794
12 | 0.99509 | -0.092804 | 0.020776 | 0.0052068
13 | 0.98262 | -0.33231 | 0 | 0
14 | 0.98255 | -0.33363 | 0.0016923 | 0.00042413
15 | 0.99231 | -0.14579 | 0 | 0
16 | 0.99033 | -0.18364 | 0 | 0
17 | 0.98452 | -0.29553 | 0 | 0
18 | 0.98258 | -0.33308 | 0.0044454 | 0.0011141
19 | 0.98846 | -0.21952 | 0.04629 | 0.011601
20 | 0.98463 | -0.29329 | 0.002078 | 0.00052081
21 | 0.98241 | -0.33647 | 0.0029364 | 0.00073593
22 | 0.98703 | -0.2471 | 0 | 0
23 | 0.98678 | -0.25187 | 0.018181 | 0.0045566
24 | 0.98528 | -0.28079 | 0.026023 | 0.006522
25 | 0.98236 | -0.33746 | 0.0019383 | 0.00048579
26 | 0.98237 | -0.3372 | 0.00332 | 0.00083207
27 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.107 | -0.026966 | 0.10725 | 0.027122 | 0.00024372 | 0.00015568 | 0.16322 | 0.16322 | 0.16322 | 0.97582 | -0.46483 | 0.97825 | -0.41734 | 44.8414
1 | 0.093931 | 0.02369 | -0.093838 | -0.02363 | 9.3082e-05 | 5.9421e-05 | 0.14329 | 0.14329 | 0.14329 | 0.97582 | -0.46483 | 0.97477 | -0.48556 | 39.3646
2 | -0.11995 | -0.030305 | 0.12014 | 0.030423 | 0.00018549 | 0.00011797 | 0.18254 | 0.18254 | 0.18254 | 0.97825 | -0.41734 | 0.9799 | -0.38513 | 25.0748
3 | 0.020119 | 0.0050438 | -0.020115 | -0.0050413 | 4.2294e-06 | 2.5578e-06 | 0.030713 | 0.030713 | 0.030713 | 0.97477 | -0.48556 | 0.97454 | -0.48997 | 8.4377
4 | 0.073718 | 0.018586 | -0.073492 | -0.018442 | 0.00022624 | 0.0001442 | 0.11257 | 0.11257 | 0.11257 | 0.97477 | -0.48556 | 0.9715 | -0.5499 | 30.927
5 | -0.12014 | -0.030423 | 0.12023 | 0.03048 | 9.0342e-05 | 5.6999e-05 | 0.18254 | 0.18254 | 0.18254 | 0.9799 | -0.38513 | 0.98071 | -0.36949 | 16.7165
6 | 0.073492 | 0.018442 | -0.073432 | -0.018404 | 6.0192e-05 | 3.8366e-05 | 0.11257 | 0.11257 | 0.11257 | 0.9715 | -0.5499 | 0.97063 | -0.56709 | 30.927
7 | -0.16981 | -0.042935 | 0.17014 | 0.043146 | 0.00033211 | 0.00021103 | 0.25778 | 0.25778 | 0.25778 | 0.98071 | -0.36949 | 0.9828 | -0.3288 | 23.6066
8 | 0.049582 | 0.012455 | -0.049507 | -0.012408 | 7.4723e-05 | 4.738e-05 | 0.075241 | 0.075241 | 0.075241 | 0.98071 | -0.36949 | 0.97909 | -0.40112 | 20.6705
9 | -0.18448 | -0.046739 | 0.18477 | 0.046926 | 0.00029529 | 0.00018784 | 0.27949 | 0.27949 | 0.27949 | 0.9828 | -0.3288 | 0.98452 | -0.29553 | 25.5943
10 | 0.012644 | 0.0031698 | -0.012642 | -0.0031684 | 2.5804e-06 | 1.4136e-06 | 0.019144 | 0.019145 | 0.019145 | 0.9828 | -0.3288 | 0.98258 | -0.33308 | 5.2595
11 | 0.0016927 | 0.00042237 | -0.0016924 | -0.00042365 | 2.8289e-07 | -1.2746e-06 | 0.0025621 | 0.0025627 | 0.0025627 | 0.9828 | -0.3288 | 0.98262 | -0.33231 | 0.70403
12 | -0.30091 | -0.077111 | 0.30198 | 0.077794 | 0.001069 | 0.00068253 | 0.4501 | 0.4501 | 0.4501 | 0.99613 | -0.073016 | 1 | 0 | 41.2176
13 | 0.30091 | 0.077111 | -0.30062 | -0.076927 | 0.00028831 | 0.00018407 | 0.4501 | 0.4501 | 0.4501 | 0.99613 | -0.073016 | 0.99509 | -0.092804 | 41.2176
14 | 0.27984 | 0.07172 | -0.27913 | -0.071263 | 0.00071669 | 0.00045741 | 0.41903 | 0.41903 | 0.41903 | 0.99509 | -0.092804 | 0.99231 | -0.14579 | 38.3727
15 | 0.0016924 | 0.00042365 | -0.0016923 | -0.00042413 | 1.0644e-07 | -4.7927e-07 | 0.0025627 | 0.0025629 | 0.0025629 | 0.98262 | -0.33231 | 0.98255 | -0.33363 | 0.70408
16 | 0.27913 | 0.071263 | -0.27862 | -0.070938 | 0.00050964 | 0.00032527 | 0.41903 | 0.41903 | 0.41903 | 0.99231 | -0.14579 | 0.99033 | -0.18364 | 38.3727
17 | 0.27862 | 0.070938 | -0.27814 | -0.070631 | 0.00048107 | 0.00030704 | 0.41903 | 0.41903 | 0.41903 | 0.99033 | -0.18364 | 0.98846 | -0.21952 | 38.3728
18 | -0.18477 | -0.046926 | 0.18479 | 0.046939 | 1.9971e-05 | 1.2704e-05 | 0.27949 | 0.27949 | 0.27949 | 0.98452 | -0.29553 | 0.98463 | -0.29329 | 25.5943
19 | 0.0081962 | 0.0020543 | -0.0081949 | -0.0020537 | 1.3248e-06 | 5.575e-07 | 0.012412 | 0.012413 | 0.012413 | 0.98258 | -0.33308 | 0.98241 | -0.33647 | 3.41
20 | 0.23185 | 0.059029 | -0.23154 | -0.058833 | 0.00030797 | 0.00019633 | 0.34935 | 0.34935 | 0.34935 | 0.98846 | -0.21952 | 0.98703 | -0.2471 | 31.9914
21 | -0.18687 | -0.04746 | 0.18698 | 0.047532 | 0.00011246 | 7.1543e-05 | 0.28263 | 0.28263 | 0.28263 | 0.98463 | -0.29329 | 0.98528 | -0.28079 | 25.8819
22 | 0.0052585 | 0.0013178 | -0.0052584 | -0.0013178 | 1.8122e-07 | 1.9532e-08 | 0.0079649 | 0.0079649 | 0.0079649 | 0.98241 | -0.33647 | 0.98237 | -0.3372 | 2.1882
23 | 0.018185 | 0.0045591 | -0.018181 | -0.0045566 | 4.1274e-06 | 2.4544e-06 | 0.027416 | 0.027416 | 0.027416 | 0.98703 | -0.2471 | 0.98678 | -0.25187 | 7.5319
24 | 0.21335 | 0.054274 | -0.21301 | -0.054053 | 0.00034575 | 0.00022026 | 0.32193 | 0.32193 | 0.32193 | 0.98703 | -0.2471 | 0.98528 | -0.28079 | 29.4809
25 | -0.0019383 | -0.00048579 | 0.0019384 | 0.00048571 | 2.4829e-08 | -8.1349e-08 | 0.0029361 | 0.002936 | 0.0029361 | 0.98236 | -0.33746 | 0.98237 | -0.3372 | 0.80662

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32917 | 0.084195

## res_load
| p_mw | q_mvar
0 | 0.013073 | 0.0032765
1 | 0.012702 | 0.0031835
2 | 0.020115 | 0.0050413
3 | 0.049507 | 0.012408
4 | 0.073432 | 0.018404
5 | 0.02554 | 0.0064008
6 | 0.020776 | 0.0052068
7 | 0.0016923 | 0.00042413
8 | 0.0044454 | 0.0011141
9 | 0.04629 | 0.011601
10 | 0.002078 | 0.00052081
11 | 0.0029364 | 0.00073593
12 | 0.018181 | 0.0045566
13 | 0.026023 | 0.006522
14 | 0.0019383 | 0.00048579
15 | 0.00332 | 0.00083207

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1