## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-835_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-835_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-835_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-835_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-835_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_261-835_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_261-835_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_261-835_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_261-835_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_261-835_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-835_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-835_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_261-835_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-835_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_261-835_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_261-835_0_3_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_261-835_0_3_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_261-835_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_261-835_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_261-835_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-835_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_261-835_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_261-835_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_261-835_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-835_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_261-835_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_261-835_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_261-835_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_261-835_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_261-835_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_261-835_0_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_261-835_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_261-835_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_261-835_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_261-835_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_261-835_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_261-835_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_261-835_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_261-835_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_261-835_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_261-835_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-835_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_261-835_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_261-835_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_261-835_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_261-835_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_261-835_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_261-835_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_261-835_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_MV_530_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-835_0_3_load_0 | 0 | 0.0022555 | 0.00056528 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-835_0_3_load_1 | 1 | 0.0012908 | 0.00032351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-835_0_3_load_2 | 2 | 0.0041353 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-835_0_3_load_24 | 5 | 0.0024812 | 0.00062186 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-835_0_3_load_4 | 6 | 0.0030692 | 0.00076922 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-835_0_3_load_5 | 7 | 0.0035093 | 0.00087951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-835_0_3_load_6 | 8 | 0.0036419 | 0.00091276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-835_0_3_load_7 | 9 | 0.0035093 | 0.00087951 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-835_0_3_load_11 | 10 | 0.0033979 | 0.00085159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-835_0_3_load_12 | 11 | 0.022051 | 0.0055266 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-835_0_3_load_44 | 13 | 0.00096095 | 0.00024084 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-835_0_3_load_53 | 16 | 0.027106 | 0.0067934 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-835_0_3_load_49 | 18 | 0.021031 | 0.0052708 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-835_0_3_load_26 | 21 | 0.0016607 | 0.00041621 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-835_0_3_load_14 | 23 | 0.011504 | 0.0028833 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-835_0_3_load_21 | 24 | 0.00079542 | 0.00019935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-835_0_3_load_25 | 25 | 0.0016241 | 0.00040703 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-835_0_3_load_48 | 26 | 0.011486 | 0.0028786 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-835_0_3_load_37 | 27 | 0.011493 | 0.0028804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-835_0_3_load_32 | 28 | 0.017352 | 0.0043489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-835_0_3_load_33 | 29 | 0.0019 | 0.00047618 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-835_0_3_load_50 | 30 | 0.023906 | 0.0059914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-835_0_3_load_51 | 31 | 0.047985 | 0.012026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-835_0_3_load_52 | 32 | 0.045264 | 0.011344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-835_0_3_load_28 | 33 | 0.0025362 | 0.00063564 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-835_0_3_load_27 | 34 | 0.0023247 | 0.00058262 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-835_0_3_load_42 | 35 | 0.00096179 | 0.00024105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-835_0_3_load_29 | 36 | 0.002104 | 0.0005273 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-835_0_3_load_30 | 37 | 0.03566 | 0.0089373 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-835_0_3_load_31 | 38 | 0.03423 | 0.0085789 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-835_0_3_load_34 | 39 | 0.0019028 | 0.00047689 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-835_0_3_load_36 | 40 | 0.0020018 | 0.00050171 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-835_0_3_load_40 | 41 | 0.0018991 | 0.00047596 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-835_0_3_load_38 | 42 | 0.0019999 | 0.00050123 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-835_0_3_load_39 | 43 | 0.0020028 | 0.00050194 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-835_0_3_load_41 | 44 | 0.00096079 | 0.0002408 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-835_0_3_load_46 | 45 | 0.00096095 | 0.00024084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-835_0_3_load_47 | 46 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-835_0_3_load_43 | 47 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-835_0_3_load_45 | 48 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-835_0_3_line_0 |  | 0 | 1 | 0.00019453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-835_0_3_line_1 |  | 0 | 2 | 0.0072218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-835_0_3_line_2 |  | 1 | 3 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-835_0_3_line_3 |  | 3 | 4 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-835_0_3_line_4 |  | 4 | 5 | 0.0086935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-835_0_3_line_5 |  | 5 | 25 | 0.0090669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-835_0_3_line_6 |  | 6 | 7 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-835_0_3_line_7 |  | 6 | 8 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-835_0_3_line_8 |  | 7 | 9 | 0.011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-835_0_3_line_9 |  | 9 | 10 | 0.011416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-835_0_3_line_10 |  | 10 | 11 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-835_0_3_line_11 |  | 11 | 19 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-835_0_3_line_12 |  | 12 | 13 | 0.044875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-835_0_3_line_13 |  | 12 | 14 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-835_0_3_line_14 |  | 13 | 35 | 0.0064706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-835_0_3_line_15 |  | 14 | 24 | 0.038428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-835_0_3_line_16 |  | 15 | 16 | 0.002997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-835_0_3_line_17 |  | 15 | 17 | 0.008293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-835_0_3_line_18 |  | 16 | 32 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-835_0_3_line_19 |  | 17 | 18 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-835_0_3_line_20 |  | 17 | 19 | 0.015231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-835_0_3_line_21 |  | 18 | 28 | 0.0095784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-835_0_3_line_22 |  | 19 | 23 | 0.033095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-835_0_3_line_23 |  | 20 | 21 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-835_0_3_line_24 |  | 20 | 22 | 0.004276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-835_0_3_line_25 |  | 21 | 25 | 0.0063864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-835_0_3_line_26 |  | 22 | 27 | 0.0098017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-835_0_3_line_27 |  | 22 | 29 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-835_0_3_line_28 |  | 23 | 26 | 0.0066903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-835_0_3_line_29 |  | 26 | 27 | 0.0066865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-835_0_3_line_30 |  | 28 | 38 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-835_0_3_line_31 |  | 29 | 39 | 0.0067875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-835_0_3_line_32 |  | 30 | 31 | 0.047577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-835_0_3_line_33 |  | 31 | 32 | 0.020407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-835_0_3_line_34 |  | 33 | 34 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-835_0_3_line_35 |  | 34 | 36 | 0.041414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-835_0_3_line_36 |  | 35 | 47 | 0.0022361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-835_0_3_line_37 |  | 36 | 37 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-835_0_3_line_38 |  | 37 | 38 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-835_0_3_line_39 |  | 39 | 40 | 0.0056014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-835_0_3_line_40 |  | 40 | 41 | 0.0011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-835_0_3_line_41 |  | 41 | 42 | 0.0058484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-835_0_3_line_42 |  | 42 | 43 | 0.0070323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-835_0_3_line_43 |  | 43 | 44 | 0.0053044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-835_0_3_line_44 |  | 44 | 45 | 0.0083984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-835_0_3_line_45 |  | 45 | 46 | 0.0036591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-835_0_3_line_46 |  | 46 | 48 | 0.00028769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-835_0_3_line_47 |  | 47 | 48 | 0.0002877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-835_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 49 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682832.6753 | 1249793.7499 | 2682832.5203 | 1249793.6323
1 | 2682838.4293 | 1249798.114 | 2682832.6753 | 1249793.7499
2 | 2682821.8803 | 1249785.5624 | 2682832.5203 | 1249793.6323
3 | 2682841.2353 | 1249761.6039 | 2682821.8803 | 1249785.5624
4 | 2682841.2353 | 1249761.6039 | 2682849.9241 | 1249761.8887
5 | 2682858.9862 | 1249762.1858 | 2682849.9241 | 1249761.8887
6 | 2682932.6412 | 1249837.0728 | 2682937.0929 | 1249827.7488 | 2682937.4992 | 1249826.7967
7 | 2682932.6412 | 1249837.0728 | 2682927.8654 | 1249847.0753
8 | 2682942.0529 | 1249816.1261 | 2682937.4992 | 1249826.7967
9 | 2682942.0529 | 1249816.1261 | 2682946.5338 | 1249805.626
10 | 2682946.5338 | 1249805.626 | 2682950.2628 | 1249796.888 | 2682951.1454 | 1249793.785
11 | 2682953.6079 | 1249782.8577 | 2682954.0747 | 1249783.4869 | 2682951.1454 | 1249793.785
12 | 2682842.9701 | 1249864.8603 | 2682867.7824 | 1249834.5291 | 2682871.0416 | 1249829.8681
13 | 2682842.9701 | 1249864.8603 | 2682832.7004 | 1249855.2097
14 | 2682874.7495 | 1249824.5653 | 2682871.0416 | 1249829.8681
15 | 2682832.7004 | 1249855.2097 | 2682802.5199 | 1249831.4224
16 | 2682962.8974 | 1249762.2057 | 2682964.0064 | 1249759.4215
17 | 2682957.5063 | 1249768.1347 | 2682961.0339 | 1249765.8712 | 2682962.8974 | 1249762.2057
18 | 2682971.6383 | 1249740.2621 | 2682964.0064 | 1249759.4215
19 | 2682957.5063 | 1249768.1347 | 2682954.437 | 1249767.8582 | 2682945.9331 | 1249767.0315
20 | 2682953.6079 | 1249782.8577 | 2682956.3057 | 1249772.9881 | 2682957.5063 | 1249768.1347
21 | 2682936.3997 | 1249766.1048 | 2682945.9331 | 1249767.0315
22 | 2682953.6079 | 1249782.8577 | 2682948.1702 | 1249775.3983 | 2682924.447 | 1249772.8099
23 | 2682902.1211 | 1249766.0806 | 2682865.3467 | 1249762.7601
24 | 2682902.1211 | 1249766.0806 | 2682901.4052 | 1249770.2959
25 | 2682858.9862 | 1249762.1858 | 2682865.3467 | 1249762.7601
26 | 2682901.4052 | 1249770.2959 | 2682911.1491 | 1249771.3591
27 | 2682901.4052 | 1249770.2959 | 2682900.9959 | 1249774.7268 | 2682896.6465 | 1249783.4922
28 | 2682917.7962 | 1249772.0843 | 2682924.447 | 1249772.8099
29 | 2682911.1491 | 1249771.3591 | 2682917.7962 | 1249772.0843
30 | 2682926.2129 | 1249765.0523 | 2682932.7887 | 1249765.7537 | 2682936.3997 | 1249766.1048
31 | 2682896.6465 | 1249783.4922 | 2682893.6295 | 1249789.5723
32 | 2682996.0389 | 1249677.0468 | 2682991.792 | 1249689.5562 | 2682989.1176 | 1249701.5166 | 2682979.7822 | 1249721.5597
33 | 2682979.7822 | 1249721.5597 | 2682974.9882 | 1249731.8524 | 2682971.6383 | 1249740.2621
34 | 2682872.5591 | 1249726.1569 | 2682858.5323 | 1249744.2543
35 | 2682879.9933 | 1249760.1754 | 2682855.7484 | 1249757.7595 | 2682853.3073 | 1249756.302 | 2682852.3844 | 1249754.2654 | 2682852.9984 | 1249751.3941 | 2682858.5323 | 1249744.2543
36 | 2682874.7495 | 1249824.5653 | 2682876.0309 | 1249822.7327
37 | 2682879.9933 | 1249760.1754 | 2682887.5526 | 1249760.9286 | 2682903.1493 | 1249762.5922
38 | 2682926.2129 | 1249765.0523 | 2682903.1493 | 1249762.5922
39 | 2682893.6295 | 1249789.5723 | 2682891.1397 | 1249794.5899
40 | 2682890.6132 | 1249795.6509 | 2682891.1397 | 1249794.5899
41 | 2682888.0137 | 1249800.8898 | 2682890.6132 | 1249795.6509
42 | 2682888.0137 | 1249800.8898 | 2682884.8878 | 1249807.1892
43 | 2682884.8878 | 1249807.1892 | 2682882.5301 | 1249811.9408
44 | 2682882.5301 | 1249811.9408 | 2682879.9712 | 1249817.0976 | 2682878.4574 | 1249819.2625
45 | 2682876.3606 | 1249822.2612 | 2682878.4574 | 1249819.2625
46 | 2682876.1958 | 1249822.497 | 2682876.3606 | 1249822.2612
47 | 2682876.0309 | 1249822.7327 | 2682876.1958 | 1249822.497

## bus_geodata
| x | y | coords
0 | 2682832.6753 | 1249793.7499
1 | 2682832.5203 | 1249793.6323
2 | 2682838.4293 | 1249798.114
3 | 2682821.8803 | 1249785.5624
4 | 2682841.2353 | 1249761.6039
5 | 2682849.9241 | 1249761.8887
6 | 2682932.6412 | 1249837.0728
7 | 2682937.4992 | 1249826.7967
8 | 2682927.8654 | 1249847.0753
9 | 2682942.0529 | 1249816.1261
10 | 2682946.5338 | 1249805.626
11 | 2682951.1454 | 1249793.785
12 | 2682842.9701 | 1249864.8603
13 | 2682871.0416 | 1249829.8681
14 | 2682832.7004 | 1249855.2097
15 | 2682962.8974 | 1249762.2057
16 | 2682964.0064 | 1249759.4215
17 | 2682957.5063 | 1249768.1347
18 | 2682945.9331 | 1249767.0315
19 | 2682953.6079 | 1249782.8577
20 | 2682902.1211 | 1249766.0806
21 | 2682865.3467 | 1249762.7601
22 | 2682901.4052 | 1249770.2959
23 | 2682924.447 | 1249772.8099
24 | 2682802.5199 | 1249831.4224
25 | 2682858.9862 | 1249762.1858
26 | 2682917.7962 | 1249772.0843
27 | 2682911.1491 | 1249771.3591
28 | 2682936.3997 | 1249766.1048
29 | 2682896.6465 | 1249783.4922
30 | 2682996.0389 | 1249677.0468
31 | 2682979.7822 | 1249721.5597
32 | 2682971.6383 | 1249740.2621
33 | 2682872.5591 | 1249726.1569
34 | 2682858.5323 | 1249744.2543
35 | 2682874.7495 | 1249824.5653
36 | 2682879.9933 | 1249760.1754
37 | 2682903.1493 | 1249762.5922
38 | 2682926.2129 | 1249765.0523
39 | 2682893.6295 | 1249789.5723
40 | 2682891.1397 | 1249794.5899
41 | 2682890.6132 | 1249795.6509
42 | 2682888.0137 | 1249800.8898
43 | 2682884.8878 | 1249807.1892
44 | 2682882.5301 | 1249811.9408
45 | 2682878.4574 | 1249819.2625
46 | 2682876.3606 | 1249822.2612
47 | 2682876.0309 | 1249822.7327
48 | 2682876.1958 | 1249822.497
49 | 2682957.5063 | 1249768.1347

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99201 | -0.15378 | 0.0022555 | 0.00056528
1 | 0.99201 | -0.15375 | 0.0012908 | 0.00032351
2 | 0.99198 | -0.15431 | 0.0041353 | 0.0010364
3 | 0.99211 | -0.15194 | 0 | 0
4 | 0.99232 | -0.14775 | 0 | 0
5 | 0.99238 | -0.14657 | 0.0024812 | 0.00062186
6 | 0.99507 | -0.094734 | 0.0030692 | 0.00076922
7 | 0.99514 | -0.093391 | 0.0035093 | 0.00087951
8 | 0.99503 | -0.095444 | 0.0036419 | 0.00091276
9 | 0.99525 | -0.091304 | 0.0035093 | 0.00087951
10 | 0.99539 | -0.088546 | 0.0033979 | 0.00085159
11 | 0.99559 | -0.084712 | 0.022051 | 0.0055266
12 | 0.99229 | -0.14839 | 0 | 0
13 | 0.99232 | -0.14775 | 0.00096095 | 0.00024084
14 | 0.99228 | -0.14859 | 0 | 0
15 | 0.99693 | -0.058751 | 0 | 0
16 | 0.99674 | -0.062543 | 0.027106 | 0.0067934
17 | 0.99748 | -0.048267 | 0 | 0
18 | 0.99881 | -0.022738 | 0.021031 | 0.0052708
19 | 0.996 | -0.076799 | 0 | 0
20 | 0.99299 | -0.13482 | 0 | 0
21 | 0.99254 | -0.14361 | 0.0016607 | 0.00041621
22 | 0.99304 | -0.13381 | 0 | 0
23 | 0.99395 | -0.11618 | 0.011504 | 0.0028833
24 | 0.99225 | -0.14913 | 0.00079542 | 0.00019935
25 | 0.99247 | -0.14494 | 0.0016241 | 0.00040703
26 | 0.99361 | -0.12281 | 0.011486 | 0.0028786
27 | 0.99334 | -0.12807 | 0.011493 | 0.0028804
28 | 1 | 0 | -0.35206 | -0.088393
29 | 0.99279 | -0.13876 | 0.0019 | 0.00047618
30 | 0.99215 | -0.15103 | 0.023906 | 0.0059914
31 | 0.99319 | -0.13091 | 0.047985 | 0.012026
32 | 0.99453 | -0.10503 | 0.045264 | 0.011344
33 | 0.998 | -0.038378 | 0.0025362 | 0.00063564
34 | 0.99806 | -0.037362 | 0.0023247 | 0.00058262
35 | 0.99233 | -0.14755 | 0.00096179 | 0.00024105
36 | 0.99824 | -0.033839 | 0.002104 | 0.0005273
37 | 0.99839 | -0.031002 | 0.03566 | 0.0089373
38 | 0.99929 | -0.013729 | 0.03423 | 0.0085789
39 | 0.99268 | -0.14089 | 0.0019028 | 0.00047689
40 | 0.9926 | -0.14246 | 0.0020018 | 0.00050171
41 | 0.99258 | -0.14275 | 0.0018991 | 0.00047596
42 | 0.99252 | -0.14399 | 0.0019999 | 0.00050123
43 | 0.99245 | -0.14522 | 0.0020028 | 0.00050194
44 | 0.99241 | -0.14597 | 0.00096079 | 0.0002408
45 | 0.99236 | -0.14701 | 0.00096095 | 0.00024084
46 | 0.99234 | -0.1474 | 0.0011024 | 0.00027629
47 | 0.99234 | -0.14744 | 0.0011024 | 0.00027629
48 | 0.99234 | -0.14742 | 0.0011024 | 0.00027629
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0063909 | -0.0016017 | 0.0063909 | 0.0016017 | 6.7043e-09 | 1.7791e-09 | 0.0095863 | 0.0095863 | 0.0095863 | 0.99201 | -0.15378 | 0.99201 | -0.15375 | 2.6336
1 | 0.0041354 | 0.0010364 | -0.0041353 | -0.0010364 | 1.0421e-07 | -2.6543e-08 | 0.0062031 | 0.0062031 | 0.0062031 | 0.99201 | -0.15378 | 0.99198 | -0.15431 | 1.7042
2 | -0.0076817 | -0.0019252 | 0.0076824 | 0.0019254 | 6.6488e-07 | 2.531e-07 | 0.011523 | 0.011522 | 0.011523 | 0.99201 | -0.15375 | 0.99211 | -0.15194 | 3.1655
3 | -0.0076824 | -0.0019254 | 0.0076839 | 0.001926 | 1.5318e-06 | 5.8297e-07 | 0.011522 | 0.011522 | 0.011522 | 0.99211 | -0.15194 | 0.99232 | -0.14775 | 3.1655
4 | -0.0076839 | -0.001926 | 0.0076843 | 0.0019262 | 4.3282e-07 | 1.6469e-07 | 0.011522 | 0.011522 | 0.011522 | 0.99232 | -0.14775 | 0.99238 | -0.14657 | 3.1655
5 | -0.010166 | -0.002548 | 0.010166 | 0.0025484 | 7.8998e-07 | 3.8843e-07 | 0.015243 | 0.015243 | 0.015243 | 0.99238 | -0.14657 | 0.99247 | -0.14494 | 4.1876
6 | -0.0067113 | -0.0016819 | 0.0067117 | 0.001682 | 4.2935e-07 | 1.2711e-07 | 0.010036 | 0.010036 | 0.010036 | 0.99507 | -0.094734 | 0.99514 | -0.093391 | 2.7571
7 | 0.0036421 | 0.00091269 | -0.0036419 | -0.00091276 | 1.2329e-07 | -6.5073e-08 | 0.0054463 | 0.0054463 | 0.0054463 | 0.99507 | -0.094734 | 0.99503 | -0.095444 | 1.4962
8 | -0.010221 | -0.0025615 | 0.010222 | 0.002562 | 1.0162e-06 | 4.9963e-07 | 0.015283 | 0.015283 | 0.015283 | 0.99514 | -0.093391 | 0.99525 | -0.091304 | 4.1987
9 | -0.013731 | -0.0034416 | 0.013733 | 0.0034426 | 1.8044e-06 | 1.0065e-06 | 0.02053 | 0.02053 | 0.02053 | 0.99525 | -0.091304 | 0.99539 | -0.088546 | 5.6401
10 | -0.017131 | -0.0042942 | 0.017134 | 0.004296 | 3.13e-06 | 1.8378e-06 | 0.02561 | 0.02561 | 0.02561 | 0.99539 | -0.088546 | 0.99559 | -0.084712 | 7.0356
11 | -0.039185 | -0.0098226 | 0.0392 | 0.0098319 | 1.478e-05 | 9.3096e-06 | 0.058568 | 0.058568 | 0.058568 | 0.99559 | -0.084712 | 0.996 | -0.076799 | 16.09
12 | -0.00079545 | -0.00019869 | 0.00079547 | 0.00019813 | 2.393e-08 | -5.6438e-07 | 0.0011926 | 0.0011924 | 0.0011926 | 0.99229 | -0.14839 | 0.99232 | -0.14775 | 0.32764
13 | 0.00079545 | 0.00019869 | -0.00079544 | -0.00019887 | 7.5048e-09 | -1.7695e-07 | 0.0011926 | 0.0011927 | 0.0011927 | 0.99229 | -0.14839 | 0.99228 | -0.14859 | 0.32766
14 | -0.0017564 | -0.00043896 | 0.0017564 | 0.00043889 | 1.6826e-08 | -7.2823e-08 | 0.0026334 | 0.0026333 | 0.0026334 | 0.99232 | -0.14775 | 0.99233 | -0.14755 | 0.72345
15 | 0.00079544 | 0.00019887 | -0.00079542 | -0.00019935 | 2.0501e-08 | -4.8326e-07 | 0.0011927 | 0.0011928 | 0.0011928 | 0.99228 | -0.14859 | 0.99225 | -0.14913 | 0.3277
16 | 0.14464 | 0.036395 | -0.14461 | -0.036378 | 2.6202e-05 | 1.6691e-05 | 0.21594 | 0.21594 | 0.21594 | 0.99693 | -0.058751 | 0.99674 | -0.062543 | 29.6615
17 | -0.14464 | -0.036395 | 0.14471 | 0.036441 | 7.2504e-05 | 4.6186e-05 | 0.21594 | 0.21594 | 0.21594 | 0.99693 | -0.058751 | 0.99748 | -0.048267 | 29.6615
18 | 0.11751 | 0.029585 | -0.11727 | -0.029433 | 0.00023812 | 0.00015213 | 0.17547 | 0.17547 | 0.17547 | 0.99674 | -0.062543 | 0.99453 | -0.10503 | 48.206
19 | -0.25183 | -0.063419 | 0.25213 | 0.063616 | 0.00030781 | 0.00019669 | 0.37578 | 0.37578 | 0.37578 | 0.99748 | -0.048267 | 0.99881 | -0.022738 | 51.6176
20 | 0.10712 | 0.026978 | -0.10697 | -0.026885 | 0.00014593 | 9.3196e-05 | 0.15984 | 0.15984 | 0.15984 | 0.99748 | -0.048267 | 0.996 | -0.076799 | 43.9121
21 | -0.27316 | -0.068886 | 0.27346 | 0.069077 | 0.00029765 | 0.00019025 | 0.40711 | 0.40711 | 0.40711 | 0.99881 | -0.022738 | 1 | 0 | 55.9213
22 | 0.06777 | 0.017053 | -0.067643 | -0.016972 | 0.00012729 | 8.1033e-05 | 0.10127 | 0.10127 | 0.10127 | 0.996 | -0.076799 | 0.99395 | -0.11618 | 27.8222
23 | 0.013458 | 0.0033752 | -0.013452 | -0.0033721 | 5.6317e-06 | 3.1268e-06 | 0.020167 | 0.020167 | 0.020167 | 0.99299 | -0.13482 | 0.99254 | -0.14361 | 5.5405
24 | -0.013458 | -0.0033752 | 0.013458 | 0.0033755 | 6.5217e-07 | 3.6207e-07 | 0.020167 | 0.020167 | 0.020167 | 0.99299 | -0.13482 | 0.99304 | -0.13381 | 5.5404
25 | 0.011791 | 0.0029558 | -0.01179 | -0.0029554 | 7.4841e-07 | 3.9645e-07 | 0.017678 | 0.017678 | 0.017678 | 0.99254 | -0.14361 | 0.99247 | -0.14494 | 4.8565
26 | -0.033122 | -0.0083054 | 0.033131 | 0.0083111 | 9.0545e-06 | 5.668e-06 | 0.049632 | 0.049632 | 0.049632 | 0.99304 | -0.13381 | 0.99334 | -0.12807 | 13.6353
27 | 0.019663 | 0.0049299 | -0.019659 | -0.0049271 | 4.6345e-06 | 2.782e-06 | 0.029465 | 0.029465 | 0.029465 | 0.99304 | -0.13381 | 0.99279 | -0.13876 | 8.0949
28 | 0.056139 | 0.014088 | -0.056121 | -0.014077 | 1.7723e-05 | 1.1256e-05 | 0.08405 | 0.08405 | 0.08405 | 0.99395 | -0.11618 | 0.99361 | -0.12281 | 23.0906
29 | 0.044635 | 0.011199 | -0.044624 | -0.011191 | 1.1205e-05 | 7.0847e-06 | 0.066849 | 0.066849 | 0.066849 | 0.99361 | -0.12281 | 0.99334 | -0.12807 | 18.365
30 | 0.076943 | 0.019316 | -0.076893 | -0.019284 | 5.0352e-05 | 3.2091e-05 | 0.1145 | 0.1145 | 0.1145 | 1 | 0 | 0.99929 | -0.013729 | 31.457
31 | 0.017759 | 0.0044509 | -0.017757 | -0.0044498 | 1.8033e-06 | 1.0664e-06 | 0.026618 | 0.026618 | 0.026618 | 0.99279 | -0.13876 | 0.99268 | -0.14089 | 7.3125
32 | -0.023906 | -0.0059914 | 0.023929 | 0.0060055 | 2.2935e-05 | 1.4063e-05 | 0.035854 | 0.035854 | 0.035854 | 0.99215 | -0.15103 | 0.99319 | -0.13091 | 9.85
33 | -0.071914 | -0.018032 | 0.072003 | 0.018088 | 8.884e-05 | 5.6593e-05 | 0.10775 | 0.10775 | 0.10775 | 0.99319 | -0.13091 | 0.99453 | -0.10503 | 29.6006
34 | -0.0025362 | -0.00063564 | 0.0025364 | 0.00063542 | 1.2278e-07 | -2.2063e-07 | 0.0037815 | 0.0037814 | 0.0037815 | 0.998 | -0.038378 | 0.99806 | -0.037362 | 1.0389
35 | -0.004861 | -0.001218 | 0.0048618 | 0.001218 | 8.1567e-07 | -1.9281e-08 | 0.0072473 | 0.0072471 | 0.0072473 | 0.99806 | -0.037362 | 0.99824 | -0.033839 | 1.991
36 | -0.0027182 | -0.00067994 | 0.0027182 | 0.00067992 | 1.3928e-08 | -1.9974e-08 | 0.0040756 | 0.0040755 | 0.0040756 | 0.99233 | -0.14755 | 0.99234 | -0.14744 | 1.1197
37 | -0.0069658 | -0.0017453 | 0.0069667 | 0.0017456 | 9.4128e-07 | 2.9801e-07 | 0.010383 | 0.010383 | 0.010383 | 0.99824 | -0.033839 | 0.99839 | -0.031002 | 2.8526
38 | -0.042627 | -0.010683 | 0.042662 | 0.010705 | 3.5108e-05 | 2.2165e-05 | 0.063532 | 0.063532 | 0.063532 | 0.99839 | -0.031002 | 0.99929 | -0.013729 | 17.4539
39 | 0.015854 | 0.003973 | -0.015853 | -0.0039723 | 1.1864e-06 | 6.8686e-07 | 0.023765 | 0.023765 | 0.023765 | 0.99268 | -0.14089 | 0.9926 | -0.14246 | 6.5289
40 | 0.013851 | 0.0034706 | -0.013851 | -0.0034705 | 1.915e-07 | 1.0725e-07 | 0.020764 | 0.020764 | 0.020764 | 0.9926 | -0.14246 | 0.99258 | -0.14275 | 5.7045
41 | 0.011952 | 0.0029945 | -0.011951 | -0.0029941 | 7.0407e-07 | 3.7501e-07 | 0.017917 | 0.017917 | 0.017917 | 0.99258 | -0.14275 | 0.99252 | -0.14399 | 4.9223
42 | 0.0099513 | 0.0024929 | -0.0099507 | -0.0024926 | 5.8695e-07 | 2.8477e-07 | 0.014919 | 0.014919 | 0.014919 | 0.99252 | -0.14399 | 0.99245 | -0.14522 | 4.0986
43 | 0.0079479 | 0.0019907 | -0.0079477 | -0.0019906 | 2.8245e-07 | 1.1223e-07 | 0.011916 | 0.011916 | 0.011916 | 0.99245 | -0.14522 | 0.99241 | -0.14597 | 3.2737
44 | 0.0069869 | 0.0017498 | -0.0069865 | -0.0017496 | 3.4561e-07 | 1.1268e-07 | 0.010476 | 0.010476 | 0.010476 | 0.99241 | -0.14597 | 0.99236 | -0.14701 | 2.8779
45 | 0.0060256 | 0.0015088 | -0.0060255 | -0.0015088 | 1.12e-07 | 2.4409e-08 | 0.0090347 | 0.0090347 | 0.0090347 | 0.99236 | -0.14701 | 0.99234 | -0.1474 | 2.4821
46 | 0.0049231 | 0.0012325 | -0.0049231 | -0.0012325 | 5.8788e-09 | 4.5336e-11 | 0.0073817 | 0.0073817 | 0.0073817 | 0.99234 | -0.1474 | 0.99234 | -0.14742 | 2.0279
47 | -0.0038206 | -0.00095621 | 0.0038206 | 0.0009562 | 3.5409e-09 | -1.4507e-09 | 0.0057286 | 0.0057286 | 0.0057286 | 0.99234 | -0.14744 | 0.99234 | -0.14742 | 1.5738

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36941 | 0.092742

## res_load
| p_mw | q_mvar
0 | 0.0022555 | 0.00056528
1 | 0.0012908 | 0.00032351
2 | 0.0041353 | 0.0010364
3 | 0.0024812 | 0.00062186
4 | 0.0030692 | 0.00076922
5 | 0.0035093 | 0.00087951
6 | 0.0036419 | 0.00091276
7 | 0.0035093 | 0.00087951
8 | 0.0033979 | 0.00085159
9 | 0.022051 | 0.0055266
10 | 0.00096095 | 0.00024084
11 | 0.027106 | 0.0067934
12 | 0.021031 | 0.0052708
13 | 0.0016607 | 0.00041621
14 | 0.011504 | 0.0028833
15 | 0.00079542 | 0.00019935
16 | 0.0016241 | 0.00040703
17 | 0.011486 | 0.0028786
18 | 0.011493 | 0.0028804
19 | 0.017352 | 0.0043489
20 | 0.0019 | 0.00047618
21 | 0.023906 | 0.0059914
22 | 0.047985 | 0.012026
23 | 0.045264 | 0.011344
24 | 0.0025362 | 0.00063564
25 | 0.0023247 | 0.00058262
26 | 0.00096179 | 0.00024105
27 | 0.002104 | 0.0005273
28 | 0.03566 | 0.0089373
29 | 0.03423 | 0.0085789
30 | 0.0019028 | 0.00047689
31 | 0.0020018 | 0.00050171
32 | 0.0018991 | 0.00047596
33 | 0.0019999 | 0.00050123
34 | 0.0020028 | 0.00050194
35 | 0.00096079 | 0.0002408
36 | 0.00096095 | 0.00024084
37 | 0.0011024 | 0.00027629
38 | 0.0011024 | 0.00027629
39 | 0.0011024 | 0.00027629

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1