## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-836_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-836_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-836_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-836_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-836_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-836_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_261-836_0_4_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_261-836_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_261-836_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_261-836_0_4_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_261-836_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_261-836_0_4_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_261-836_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_261-836_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_261-836_0_4_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_261-836_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-836_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_261-836_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_261-836_0_4_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_261-836_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_261-836_0_4_node_82 | 0.4 | n |  | TRUE
21 | bus_LV_261-836_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_261-836_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-836_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_261-836_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_261-836_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_261-836_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_261-836_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_261-836_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_261-836_0_4_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_261-836_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_261-836_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-836_0_4_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_261-836_0_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_261-836_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_261-836_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_261-836_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_261-836_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_261-836_0_4_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_261-836_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_261-836_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_261-836_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_261-836_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_261-836_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_261-836_0_4_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_261-836_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_261-836_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_261-836_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_261-836_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_261-836_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_261-836_0_4_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_261-836_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_261-836_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_261-836_0_4_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_261-836_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_261-836_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_261-836_0_4_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_261-836_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_261-836_0_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_261-836_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_261-836_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_261-836_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_261-836_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_261-836_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_261-836_0_4_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_261-836_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_261-836_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_261-836_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_261-836_0_4_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_261-836_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_261-836_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_261-836_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_261-836_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_261-836_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_261-836_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_261-836_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_MV_530_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-836_0_4_load_0 | 0 | 0.0017821 | 0.00044664 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-836_0_4_load_1 | 1 | 0.0017821 | 0.00044664 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-836_0_4_load_33 | 5 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-836_0_4_load_79 | 6 | 0.0017805 | 0.00044624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-836_0_4_load_36 | 9 | 0.001951 | 0.00048896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-836_0_4_load_64 | 11 | 0.0052106 | 0.0013059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-836_0_4_load_63 | 12 | 0.007974 | 0.0019985 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-836_0_4_load_65 | 14 | 0.003194 | 0.00080048 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-836_0_4_load_37 | 16 | 0.023055 | 0.0057781 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-836_0_4_load_83 | 18 | 0.0091331 | 0.002289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-836_0_4_load_53 | 19 | 0.011906 | 0.0029838 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-836_0_4_load_82 | 20 | 0.0017793 | 0.00044594 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-836_0_4_load_62 | 23 | 0.010312 | 0.0025845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-836_0_4_load_52 | 25 | 0.0098186 | 0.0024608 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-836_0_4_load_77 | 27 | 0.014747 | 0.003696 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-836_0_4_load_76 | 29 | 0.047137 | 0.011814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-836_0_4_load_71 | 32 | 0.010726 | 0.0026882 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-836_0_4_load_60 | 33 | 0.0082187 | 0.0020598 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-836_0_4_load_58 | 34 | 0.010745 | 0.0026929 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-836_0_4_load_38 | 36 | 0.0093683 | 0.0023479 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-836_0_4_load_75 | 38 | 0.014158 | 0.0035483 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-836_0_4_load_57 | 41 | 0.007038 | 0.0017639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-836_0_4_load_40 | 42 | 0.01176 | 0.0029473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-836_0_4_load_54 | 43 | 0.062235 | 0.015597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-836_0_4_load_61 | 44 | 0.037711 | 0.0094513 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-836_0_4_load_43 | 45 | 0.0054218 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-836_0_4_load_41 | 47 | 0.0081975 | 0.0020545 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-836_0_4_load_69 | 48 | 0.0065258 | 0.0016355 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-836_0_4_load_32 | 49 | 0.0018001 | 0.00045115 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-836_0_4_load_80 | 50 | 0.0017764 | 0.00044522 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-836_0_4_load_34 | 51 | 0.0033845 | 0.00084823 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-836_0_4_load_51 | 52 | 0.010539 | 0.0026414 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-836_0_4_load_81 | 53 | 0.0017805 | 0.00044624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-836_0_4_load_31 | 54 | 0.0018695 | 0.00046854 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-836_0_4_load_30 | 55 | 0.0017984 | 0.00045072 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-836_0_4_load_78 | 56 | 0.012027 | 0.0030141 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-836_0_4_load_73 | 57 | 0.0098395 | 0.002466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-836_0_4_load_74 | 58 | 0.007058 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-836_0_4_load_72 | 59 | 0.0073165 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-836_0_4_load_59 | 60 | 0.039249 | 0.0098368 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-836_0_4_load_39 | 61 | 0.0093654 | 0.0023472 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-836_0_4_load_49 | 62 | 0.0058706 | 0.0014713 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-836_0_4_load_47 | 63 | 0.0059846 | 0.0014999 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-836_0_4_load_45 | 65 | 0.0076119 | 0.0019077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-836_0_4_load_42 | 66 | 0.0073541 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-836_0_4_load_68 | 67 | 0.0057582 | 0.0014431 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-836_0_4_load_35 | 68 | 0.0033828 | 0.0008478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-836_0_4_load_46 | 69 | 0.0075185 | 0.0018843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-836_0_4_load_48 | 70 | 0.0060011 | 0.001504 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-836_0_4_load_50 | 71 | 0.0080417 | 0.0020154 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-836_0_4_load_70 | 72 | 0.0059799 | 0.0014987 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-836_0_4_load_56 | 73 | 0.011638 | 0.0029168 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-836_0_4_load_66 | 74 | 0.0025917 | 0.00064955 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-836_0_4_load_67 | 75 | 0.0023713 | 0.00059431 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-836_0_4_line_0 |  | 0 | 1 | 0.0065356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-836_0_4_line_1 |  | 0 | 2 | 0.015598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-836_0_4_line_2 |  | 1 | 3 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-836_0_4_line_3 |  | 2 | 4 | 0.0089646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-836_0_4_line_4 |  | 3 | 5 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-836_0_4_line_5 |  | 3 | 6 | 0.02486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-836_0_4_line_6 |  | 4 | 7 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-836_0_4_line_7 |  | 4 | 8 | 0.035648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-836_0_4_line_8 |  | 4 | 9 | 0.0087393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-836_0_4_line_9 |  | 5 | 49 | 0.0098844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-836_0_4_line_10 |  | 6 | 50 | 0.0066214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-836_0_4_line_11 |  | 7 | 33 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-836_0_4_line_12 |  | 7 | 34 | 0.022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-836_0_4_line_13 |  | 8 | 45 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-836_0_4_line_14 |  | 8 | 44 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_261-836_0_4_line_15 |  | 9 | 51 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-836_0_4_line_16 |  | 10 | 11 | 0.00392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-836_0_4_line_17 |  | 10 | 12 | 0.024596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-836_0_4_line_18 |  | 12 | 23 | 0.014868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-836_0_4_line_19 |  | 13 | 14 | 0.033377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_261-836_0_4_line_20 |  | 13 | 15 | 0.024167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_261-836_0_4_line_21 |  | 13 | 16 | 0.021552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-836_0_4_line_22 |  | 14 | 17 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-836_0_4_line_23 |  | 15 | 20 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-836_0_4_line_24 |  | 17 | 18 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-836_0_4_line_25 |  | 17 | 19 | 0.0049055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-836_0_4_line_26 |  | 19 | 52 | 0.015592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-836_0_4_line_27 |  | 20 | 53 | 0.0073352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-836_0_4_line_28 |  | 21 | 22 | 0.0079286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-836_0_4_line_29 |  | 21 | 23 | 0.0087776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-836_0_4_line_30 |  | 22 | 24 | 0.007267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-836_0_4_line_31 |  | 22 | 25 | 0.0073143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-836_0_4_line_32 |  | 24 | 35 | 0.0073433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-836_0_4_line_33 |  | 24 | 36 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-836_0_4_line_34 |  | 25 | 52 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_261-836_0_4_line_35 |  | 26 | 27 | 0.028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-836_0_4_line_36 |  | 26 | 28 | 0.00272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_261-836_0_4_line_37 |  | 26 | 29 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-836_0_4_line_38 |  | 27 | 56 | 0.0078324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_261-836_0_4_line_39 |  | 28 | 44 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-836_0_4_line_40 |  | 29 | 39 | 0.031081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-836_0_4_line_41 |  | 30 | 31 | 0.0084191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-836_0_4_line_42 |  | 30 | 32 | 0.011258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-836_0_4_line_43 |  | 31 | 41 | 0.022961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-836_0_4_line_44 |  | 31 | 42 | 0.0097926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-836_0_4_line_45 |  | 32 | 59 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-836_0_4_line_46 |  | 34 | 60 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-836_0_4_line_47 |  | 35 | 37 | 0.010489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-836_0_4_line_48 |  | 35 | 38 | 0.0087648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-836_0_4_line_49 |  | 36 | 61 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-836_0_4_line_50 |  | 37 | 48 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-836_0_4_line_51 |  | 37 | 46 | 0.007724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-836_0_4_line_52 |  | 38 | 58 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-836_0_4_line_53 |  | 39 | 40 | 0.009054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-836_0_4_line_54 |  | 40 | 43 | 0.00389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-836_0_4_line_55 |  | 42 | 61 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-836_0_4_line_56 |  | 45 | 66 | 0.040924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-836_0_4_line_57 |  | 46 | 47 | 0.0071628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-836_0_4_line_58 |  | 48 | 67 | 0.0026404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-836_0_4_line_59 |  | 49 | 55 | 8.6469e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-836_0_4_line_60 |  | 50 | 53 | 0.0058035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_261-836_0_4_line_61 |  | 51 | 68 | 0.008198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-836_0_4_line_62 |  | 54 | 55 | 0.0072724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-836_0_4_line_63 |  | 56 | 75 | 0.0069003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_261-836_0_4_line_64 |  | 57 | 58 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-836_0_4_line_65 |  | 62 | 63 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-836_0_4_line_66 |  | 63 | 69 | 0.00097009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-836_0_4_line_67 |  | 64 | 65 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-836_0_4_line_68 |  | 64 | 66 | 0.0050454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-836_0_4_line_69 |  | 67 | 72 | 0.0090564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-836_0_4_line_70 |  | 69 | 70 | 0.0082412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-836_0_4_line_71 |  | 70 | 71 | 0.008931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-836_0_4_line_72 |  | 71 | 72 | 0.00027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-836_0_4_line_73 |  | 73 | 74 | 0.0067394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_261-836_0_4_line_74 |  | 74 | 75 | 0.022512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-836_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 76 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682704.515 | 1249733.4639 | 2682701.5927 | 1249737.3807 | 2682700.6551 | 1249738.7369
1 | 2682713.8426 | 1249720.9617 | 2682704.515 | 1249733.4639
2 | 2682691.9831 | 1249751.2792 | 2682700.6551 | 1249738.7369
3 | 2682706.915 | 1249715.2719 | 2682709.9086 | 1249717.7266 | 2682713.8426 | 1249720.9617
4 | 2682691.9831 | 1249751.2792 | 2682699.1136 | 1249755.9488 | 2682701.868 | 1249757.708
5 | 2682691.9831 | 1249751.2792 | 2682683.8766 | 1249763.5197 | 2682679.0847 | 1249772.4997
6 | 2682706.915 | 1249715.2719 | 2682706.8157 | 1249713.7361 | 2682706.5434 | 1249712.687 | 2682705.4813 | 1249710.882 | 2682709.5484 | 1249702.9662 | 2682712.2789 | 1249698.3008
7 | 2682706.915 | 1249715.2719 | 2682706.8157 | 1249713.7361 | 2682706.5434 | 1249712.687 | 2682705.4813 | 1249710.882 | 2682700.4812 | 1249705.5861 | 2682693.4202 | 1249699.1717 | 2682683.319 | 1249689.3235
8 | 2682706.915 | 1249715.2719 | 2682701.8664 | 1249722.4054
9 | 2682701.868 | 1249757.708 | 2682710.1983 | 1249763.0285
10 | 2682679.0847 | 1249772.4997 | 2682677.8987 | 1249774.7224 | 2682676.1084 | 1249778.4131
11 | 2682712.2789 | 1249698.3008 | 2682715.7959 | 1249697.3381 | 2682723.3445 | 1249687.3577
12 | 2682712.2789 | 1249698.3008 | 2682707.6841 | 1249697.5028 | 2682693.743 | 1249687.02
13 | 2682683.319 | 1249689.3235 | 2682674.5015 | 1249700.8729
14 | 2682683.319 | 1249689.3235 | 2682674.6113 | 1249682.6439
15 | 2682701.8664 | 1249722.4054 | 2682691.7847 | 1249736.6506
16 | 2682612.657 | 1249767.4742 | 2682610.6245 | 1249770.8261
17 | 2682612.657 | 1249767.4742 | 2682606.0526 | 1249763.5125 | 2682603.3333 | 1249763.0521 | 2682601.3208 | 1249763.8802 | 2682590.2869 | 1249768.4961
18 | 2682576.5705 | 1249774.2342 | 2682590.2869 | 1249768.4961
19 | 2682659.9033 | 1249785.7129 | 2682657.5588 | 1249784.9018 | 2682630.8825 | 1249769.3151
20 | 2682659.9033 | 1249785.7129 | 2682658.2982 | 1249789.8158 | 2682656.3368 | 1249793.4801 | 2682658.1287 | 1249796.0069 | 2682657.3312 | 1249799.0536 | 2682661.1837 | 1249800.5529 | 2682665.9952 | 1249802.5881
21 | 2682659.9033 | 1249785.7129 | 2682663.3424 | 1249784.9158 | 2682665.9948 | 1249779.8935 | 2682671.5126 | 1249768.8536
22 | 2682607.1617 | 1249755.4553 | 2682630.8825 | 1249769.3151
23 | 2682665.9952 | 1249802.5881 | 2682670.7443 | 1249790.3961
24 | 2682607.1617 | 1249755.4553 | 2682614.8856 | 1249744.537
25 | 2682607.1617 | 1249755.4553 | 2682606.1356 | 1249754.8517 | 2682602.8955 | 1249754.9177 | 2682602.4546 | 1249755.0925
26 | 2682602.4546 | 1249755.0925 | 2682599.942 | 1249756.0885 | 2682588.024 | 1249760.9977
27 | 2682673.5755 | 1249783.6348 | 2682672.5733 | 1249785.7007 | 2682670.7443 | 1249790.3961
28 | 2682568.473 | 1249777.6217 | 2682567.4684 | 1249774.939 | 2682565.6845 | 1249770.1996
29 | 2682568.473 | 1249777.6217 | 2682576.5705 | 1249774.2342
30 | 2682559.7144 | 1249768.404 | 2682561.2179 | 1249770.5042 | 2682563.6793 | 1249771.05 | 2682565.6845 | 1249770.1996
31 | 2682565.6845 | 1249770.1996 | 2682572.4475 | 1249767.4138
32 | 2682552.9763 | 1249771.3234 | 2682557.6026 | 1249769.3197 | 2682559.7144 | 1249768.404
33 | 2682559.7144 | 1249768.404 | 2682552.0015 | 1249748.8556
34 | 2682572.4475 | 1249767.4138 | 2682588.024 | 1249760.9977
35 | 2682663.7605 | 1249674.3286 | 2682646.5424 | 1249696.9096
36 | 2682663.7605 | 1249674.3286 | 2682665.9271 | 1249675.9822
37 | 2682663.7605 | 1249674.3286 | 2682651.3906 | 1249664.8294
38 | 2682641.7932 | 1249703.138 | 2682646.5424 | 1249696.9096
39 | 2682665.9271 | 1249675.9822 | 2682674.6113 | 1249682.6439
40 | 2682626.1926 | 1249646.9401 | 2682627.8947 | 1249647.253 | 2682633.6162 | 1249651.1801 | 2682651.3906 | 1249664.8294
41 | 2682528.9864 | 1249713.4576 | 2682532.8585 | 1249711.9326 | 2682536.7705 | 1249710.2525
42 | 2682528.9864 | 1249713.4576 | 2682524.9405 | 1249714.9913 | 2682518.3379 | 1249717.1
43 | 2682536.7705 | 1249710.2525 | 2682543.6288 | 1249706.2895 | 2682556.5912 | 1249698.6625
44 | 2682536.7705 | 1249710.2525 | 2682540.3645 | 1249719.3617
45 | 2682518.3379 | 1249717.1 | 2682504.8948 | 1249721.3933
46 | 2682693.743 | 1249687.02 | 2682673.9899 | 1249672.167
47 | 2682553.3332 | 1249780.9355 | 2682551.3917 | 1249776.1271 | 2682553.1696 | 1249773.1719 | 2682552.9763 | 1249771.3234
48 | 2682552.9763 | 1249771.3234 | 2682549.6111 | 1249763.2304
49 | 2682546.319 | 1249734.4534 | 2682552.0015 | 1249748.8556
50 | 2682553.3332 | 1249780.9355 | 2682535.0648 | 1249788.2068
51 | 2682553.3332 | 1249780.9355 | 2682554.435 | 1249783.6862 | 2682556.3902 | 1249783.7135 | 2682558.5394 | 1249785.5336
52 | 2682549.6111 | 1249763.2304 | 2682543.7646 | 1249749.1705
53 | 2682626.1926 | 1249646.9401 | 2682623.7516 | 1249647.6288 | 2682618.6507 | 1249651.7163
54 | 2682618.6507 | 1249651.7163 | 2682615.617 | 1249654.1511
55 | 2682540.3645 | 1249719.3617 | 2682546.319 | 1249734.4534
56 | 2682674.5015 | 1249700.8729 | 2682657.784 | 1249722.77 | 2682652.3787 | 1249723.2395 | 2682649.0602 | 1249722.9708 | 2682646.6133 | 1249723.0034 | 2682644.4576 | 1249723.2735 | 2682644.4576 | 1249723.2735
57 | 2682558.5394 | 1249785.5336 | 2682561.3248 | 1249792.1327
58 | 2682532.6116 | 1249789.1833 | 2682535.0648 | 1249788.2068
59 | 2682710.2056 | 1249763.0331 | 2682710.1983 | 1249763.0285
60 | 2682676.1084 | 1249778.4131 | 2682673.5755 | 1249783.6348
61 | 2682691.7847 | 1249736.6506 | 2682687.0489 | 1249743.3422
62 | 2682710.2056 | 1249763.0331 | 2682716.3346 | 1249766.9476
63 | 2682637.6093 | 1249708.6251 | 2682641.7932 | 1249703.138
64 | 2682538.7115 | 1249737.0188 | 2682543.7646 | 1249749.1705
65 | 2682507.0888 | 1249799.342 | 2682496.8288 | 1249803.4257
66 | 2682507.9902 | 1249798.9832 | 2682507.0888 | 1249799.342
67 | 2682644.1042 | 1249718.2982 | 2682647.3943 | 1249716.2759
68 | 2682644.1042 | 1249718.2982 | 2682644.07 | 1249720.744 | 2682644.0508 | 1249722.1225 | 2682644.4576 | 1249723.2735
69 | 2682532.6116 | 1249789.1833 | 2682524.1972 | 1249792.5324
70 | 2682515.6472 | 1249795.9356 | 2682507.9902 | 1249798.9832
71 | 2682523.945 | 1249792.6328 | 2682515.6472 | 1249795.9356
72 | 2682524.1972 | 1249792.5324 | 2682523.945 | 1249792.6328
73 | 2682617.2504 | 1249711.5189 | 2682622.5612 | 1249715.668
74 | 2682622.5612 | 1249715.668 | 2682628.6261 | 1249720.4063 | 2682637.6093 | 1249708.6251

## bus_geodata
| x | y | coords
0 | 2682704.515 | 1249733.4639
1 | 2682700.6551 | 1249738.7369
2 | 2682713.8426 | 1249720.9617
3 | 2682691.9831 | 1249751.2792
4 | 2682706.915 | 1249715.2719
5 | 2682701.868 | 1249757.708
6 | 2682679.0847 | 1249772.4997
7 | 2682712.2789 | 1249698.3008
8 | 2682683.319 | 1249689.3235
9 | 2682701.8664 | 1249722.4054
10 | 2682612.657 | 1249767.4742
11 | 2682610.6245 | 1249770.8261
12 | 2682590.2869 | 1249768.4961
13 | 2682659.9033 | 1249785.7129
14 | 2682630.8825 | 1249769.3151
15 | 2682665.9952 | 1249802.5881
16 | 2682671.5126 | 1249768.8536
17 | 2682607.1617 | 1249755.4553
18 | 2682614.8856 | 1249744.537
19 | 2682602.4546 | 1249755.0925
20 | 2682670.7443 | 1249790.3961
21 | 2682568.473 | 1249777.6217
22 | 2682565.6845 | 1249770.1996
23 | 2682576.5705 | 1249774.2342
24 | 2682559.7144 | 1249768.404
25 | 2682572.4475 | 1249767.4138
26 | 2682663.7605 | 1249674.3286
27 | 2682646.5424 | 1249696.9096
28 | 2682665.9271 | 1249675.9822
29 | 2682651.3906 | 1249664.8294
30 | 2682528.9864 | 1249713.4576
31 | 2682536.7705 | 1249710.2525
32 | 2682518.3379 | 1249717.1
33 | 2682723.3445 | 1249687.3577
34 | 2682693.743 | 1249687.02
35 | 2682552.9763 | 1249771.3234
36 | 2682552.0015 | 1249748.8556
37 | 2682553.3332 | 1249780.9355
38 | 2682549.6111 | 1249763.2304
39 | 2682626.1926 | 1249646.9401
40 | 2682618.6507 | 1249651.7163
41 | 2682556.5912 | 1249698.6625
42 | 2682540.3645 | 1249719.3617
43 | 2682615.617 | 1249654.1511
44 | 2682674.6113 | 1249682.6439
45 | 2682674.5015 | 1249700.8729
46 | 2682558.5394 | 1249785.5336
47 | 2682561.3248 | 1249792.1327
48 | 2682535.0648 | 1249788.2068
49 | 2682710.1983 | 1249763.0285
50 | 2682676.1084 | 1249778.4131
51 | 2682691.7847 | 1249736.6506
52 | 2682588.024 | 1249760.9977
53 | 2682673.5755 | 1249783.6348
54 | 2682716.3346 | 1249766.9476
55 | 2682710.2056 | 1249763.0331
56 | 2682641.7932 | 1249703.138
57 | 2682538.7115 | 1249737.0188
58 | 2682543.7646 | 1249749.1705
59 | 2682504.8948 | 1249721.3933
60 | 2682673.9899 | 1249672.167
61 | 2682546.319 | 1249734.4534
62 | 2682496.8288 | 1249803.4257
63 | 2682507.0888 | 1249799.342
64 | 2682644.1042 | 1249718.2982
65 | 2682647.3943 | 1249716.2759
66 | 2682644.4576 | 1249723.2735
67 | 2682532.6116 | 1249789.1833
68 | 2682687.0489 | 1249743.3422
69 | 2682507.9902 | 1249798.9832
70 | 2682515.6472 | 1249795.9356
71 | 2682523.945 | 1249792.6328
72 | 2682524.1972 | 1249792.5324
73 | 2682617.2504 | 1249711.5189
74 | 2682622.5612 | 1249715.668
75 | 2682637.6093 | 1249708.6251
76 | 2682607.5199 | 1249699.441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98531 | -0.28029 | 0.0017821 | 0.00044664
1 | 0.98492 | -0.28774 | 0.0017821 | 0.00044664
2 | 0.98623 | -0.26241 | 0 | 0
3 | 0.98402 | -0.30502 | 0 | 0
4 | 0.98677 | -0.25215 | 0 | 0
5 | 0.98395 | -0.30656 | 0.0017809 | 0.00044633
6 | 0.98261 | -0.33245 | 0.0017805 | 0.00044624
7 | 0.98575 | -0.272 | 0 | 0
8 | 0.98944 | -0.20084 | 0 | 0
9 | 0.9867 | -0.25352 | 0.001951 | 0.00048896
10 | 0.97353 | -0.5098 | 0 | 0
11 | 0.97351 | -0.51018 | 0.0052106 | 0.0013059
12 | 0.97365 | -0.50744 | 0.007974 | 0.0019985
13 | 0.97943 | -0.39411 | 0 | 0
14 | 0.97776 | -0.4267 | 0.003194 | 0.00080048
15 | 0.98077 | -0.36806 | 0 | 0
16 | 0.97897 | -0.40314 | 0.023055 | 0.0057781
17 | 0.97641 | -0.45321 | 0 | 0
18 | 0.9763 | -0.45545 | 0.0091331 | 0.002289
19 | 0.97618 | -0.45775 | 0.011906 | 0.0029838
20 | 0.9815 | -0.35398 | 0.0017793 | 0.00044594
21 | 0.97402 | -0.50005 | 0 | 0
22 | 0.9742 | -0.49663 | 0 | 0
23 | 0.97383 | -0.50384 | 0.010312 | 0.0025845
24 | 0.9737 | -0.50641 | 0 | 0
25 | 0.97478 | -0.48522 | 0.0098186 | 0.0024608
26 | 0.99152 | -0.16102 | 0 | 0
27 | 0.99474 | -0.099541 | 0.014747 | 0.003696
28 | 0.99128 | -0.16561 | 0 | 0
29 | 0.98996 | -0.19131 | 0.047137 | 0.011814
30 | 0.97101 | -0.55948 | 0 | 0
31 | 0.97116 | -0.55667 | 0 | 0
32 | 0.97082 | -0.56323 | 0.010726 | 0.0026882
33 | 0.98563 | -0.27438 | 0.0082187 | 0.0020598
34 | 0.98473 | -0.29184 | 0.010745 | 0.0026929
35 | 0.97308 | -0.51869 | 0 | 0
36 | 0.97261 | -0.5279 | 0.0093683 | 0.0023479
37 | 0.97249 | -0.53026 | 0 | 0
38 | 0.97282 | -0.5237 | 0.014158 | 0.0035483
39 | 0.98818 | -0.22577 | 0 | 0
40 | 0.98766 | -0.23583 | 0 | 0
41 | 0.97101 | -0.55965 | 0.007038 | 0.0017639
42 | 0.97139 | -0.55213 | 0.01176 | 0.0029473
43 | 0.98744 | -0.24016 | 0.062235 | 0.015597
44 | 0.99032 | -0.1841 | 0.037711 | 0.0094513
45 | 0.98917 | -0.20611 | 0.0054218 | 0.0013588
46 | 0.97243 | -0.53143 | 0 | 0
47 | 0.97238 | -0.53251 | 0.0081975 | 0.0020545
48 | 0.97154 | -0.54901 | 0.0065258 | 0.0016355
49 | 0.9839 | -0.30753 | 0.0018001 | 0.00045115
50 | 0.98223 | -0.33971 | 0.0017764 | 0.00044522
51 | 0.98659 | -0.25563 | 0.0033845 | 0.00084823
52 | 0.97548 | -0.47133 | 0.010539 | 0.0026414
53 | 0.9819 | -0.34604 | 0.0017805 | 0.00044624
54 | 0.98388 | -0.30778 | 0.0018695 | 0.00046854
55 | 0.9839 | -0.30753 | 0.0017984 | 0.00045072
56 | 0.99566 | -0.082147 | 0.012027 | 0.0030141
57 | 0.97246 | -0.53083 | 0.0098395 | 0.002466
58 | 0.97258 | -0.52844 | 0.007058 | 0.0017689
59 | 0.97073 | -0.56514 | 0.0073165 | 0.0018337
60 | 0.98384 | -0.30929 | 0.039249 | 0.0098368
61 | 0.97194 | -0.54109 | 0.0093654 | 0.0023472
62 | 0.97066 | -0.56652 | 0.0058706 | 0.0014713
63 | 0.97072 | -0.56532 | 0.0059846 | 0.0014999
64 | 0.98857 | -0.21772 | 0 | 0
65 | 0.98855 | -0.21824 | 0.0076119 | 0.0019077
66 | 0.98861 | -0.21703 | 0.0073541 | 0.0018431
67 | 0.97143 | -0.55121 | 0.0057582 | 0.0014431
68 | 0.98656 | -0.25613 | 0.0033828 | 0.0008478
69 | 0.97073 | -0.56511 | 0.0075185 | 0.0018843
70 | 0.97088 | -0.56216 | 0.0060011 | 0.001504
71 | 0.97109 | -0.55797 | 0.0080417 | 0.0020154
72 | 0.9711 | -0.5578 | 0.0059799 | 0.0014987
73 | 1 | 0 | -0.53241 | -0.13651
74 | 0.99919 | -0.015335 | 0.0025917 | 0.00064955
75 | 0.99648 | -0.066485 | 0.0023713 | 0.00059431
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.25651 | 0.065328 | -0.25642 | -0.065269 | 9.2125e-05 | 5.8627e-05 | 0.38776 | 0.38776 | 0.38776 | 0.98531 | -0.28029 | 0.98492 | -0.28774 | 26.6315
1 | -0.25829 | -0.065774 | 0.25851 | 0.065916 | 0.00022293 | 0.00014188 | 0.39045 | 0.39045 | 0.39045 | 0.98531 | -0.28029 | 0.98623 | -0.26241 | 26.8164
2 | 0.25463 | 0.064823 | -0.25442 | -0.064688 | 0.00021196 | 0.00013488 | 0.38506 | 0.38506 | 0.38506 | 0.98492 | -0.28774 | 0.98402 | -0.30502 | 26.4466
3 | -0.25851 | -0.065916 | 0.25864 | 0.065998 | 0.00012812 | 8.1541e-05 | 0.39045 | 0.39045 | 0.39045 | 0.98623 | -0.26241 | 0.98677 | -0.25215 | 26.8164
4 | 0.0072497 | 0.0018169 | -0.0072491 | -0.0018167 | 5.3143e-07 | 1.9033e-07 | 0.010963 | 0.010963 | 0.010963 | 0.98402 | -0.30502 | 0.98395 | -0.30656 | 3.0118
5 | 0.24717 | 0.062871 | -0.24685 | -0.062663 | 0.00032617 | 0.00020749 | 0.3741 | 0.3741 | 0.3741 | 0.98402 | -0.30502 | 0.98261 | -0.33245 | 25.6937
6 | 0.058349 | 0.014676 | -0.058294 | -0.01464 | 5.5249e-05 | 3.5117e-05 | 0.088007 | 0.088007 | 0.088007 | 0.98677 | -0.25215 | 0.98575 | -0.272 | 24.1777
7 | -0.32571 | -0.082859 | 0.32652 | 0.083374 | 0.00080765 | 0.00051507 | 0.4916 | 0.4916 | 0.4916 | 0.98677 | -0.25215 | 0.98944 | -0.20084 | 33.7638
8 | 0.0087196 | 0.0021854 | -0.008719 | -0.0021852 | 5.6661e-07 | 2.51e-07 | 0.013149 | 0.013149 | 0.013149 | 0.98677 | -0.25215 | 0.9867 | -0.25352 | 3.6123
9 | 0.0054683 | 0.0013704 | -0.005468 | -0.0013703 | 2.5349e-07 | 3.6691e-08 | 0.0082696 | 0.0082696 | 0.0082696 | 0.98395 | -0.30656 | 0.9839 | -0.30753 | 2.2719
10 | 0.24507 | 0.062217 | -0.24498 | -0.062163 | 8.5628e-05 | 5.4466e-05 | 0.3714 | 0.3714 | 0.3714 | 0.98261 | -0.33245 | 0.98223 | -0.33971 | 25.5086
11 | 0.0082196 | 0.0020602 | -0.0082187 | -0.0020598 | 9.3295e-07 | 3.9111e-07 | 0.012408 | 0.012408 | 0.012408 | 0.98575 | -0.272 | 0.98563 | -0.27438 | 3.4087
12 | 0.050074 | 0.01258 | -0.050027 | -0.01255 | 4.7378e-05 | 3.004e-05 | 0.075599 | 0.075599 | 0.075599 | 0.98575 | -0.272 | 0.98473 | -0.29184 | 20.769
13 | 0.020401 | 0.0051174 | -0.020396 | -0.0051143 | 5.1298e-06 | 3.0965e-06 | 0.030683 | 0.030683 | 0.030683 | 0.98944 | -0.20084 | 0.98917 | -0.20611 | 8.4293
14 | -0.34692 | -0.088491 | 0.3472 | 0.08867 | 0.00028065 | 0.00017905 | 0.52228 | 0.52228 | 0.52228 | 0.98944 | -0.20084 | 0.99032 | -0.1841 | 35.8711
15 | 0.006768 | 0.0016962 | -0.0067673 | -0.001696 | 6.8178e-07 | 2.1346e-07 | 0.010207 | 0.010207 | 0.010207 | 0.9867 | -0.25352 | 0.98659 | -0.25563 | 2.8041
16 | 0.0052107 | 0.0013059 | -0.0052106 | -0.0013059 | 9.3246e-08 | 1.0937e-08 | 0.0079644 | 0.0079644 | 0.0079644 | 0.97353 | -0.5098 | 0.97351 | -0.51018 | 2.188
17 | -0.0052107 | -0.0013059 | 0.0052113 | 0.001306 | 5.8506e-07 | 6.8574e-08 | 0.0079644 | 0.0079643 | 0.0079644 | 0.97353 | -0.5098 | 0.97365 | -0.50744 | 2.188
18 | -0.013185 | -0.0033045 | 0.013188 | 0.0033057 | 2.264e-06 | 1.264e-06 | 0.020151 | 0.020151 | 0.020151 | 0.97365 | -0.50744 | 0.97383 | -0.50384 | 5.536
19 | 0.21595 | 0.054642 | -0.21562 | -0.054428 | 0.00033721 | 0.00021414 | 0.32828 | 0.32828 | 0.32828 | 0.97943 | -0.39411 | 0.97776 | -0.4267 | 22.5464
20 | -0.23902 | -0.060426 | 0.23932 | 0.060617 | 0.00029907 | 0.00019019 | 0.36332 | 0.36332 | 0.36332 | 0.97943 | -0.39411 | 0.98077 | -0.36806 | 24.9532
21 | 0.023065 | 0.0057842 | -0.023055 | -0.0057781 | 9.9248e-06 | 6.0808e-06 | 0.035043 | 0.035043 | 0.035043 | 0.97943 | -0.39411 | 0.97897 | -0.40314 | 9.6272
22 | 0.21242 | 0.053628 | -0.21215 | -0.053457 | 0.0002694 | 0.00017104 | 0.32342 | 0.32342 | 0.32342 | 0.97776 | -0.4267 | 0.97641 | -0.45321 | 22.2126
23 | -0.23932 | -0.060617 | 0.23948 | 0.06072 | 0.00016192 | 0.00010297 | 0.36332 | 0.36332 | 0.36332 | 0.98077 | -0.36806 | 0.9815 | -0.35398 | 24.9532
24 | 0.009134 | 0.0022894 | -0.0091331 | -0.002289 | 9.7182e-07 | 4.547e-07 | 0.01392 | 0.01392 | 0.01392 | 0.97641 | -0.45321 | 0.9763 | -0.45545 | 3.8242
25 | 0.20302 | 0.051167 | -0.20297 | -0.051139 | 4.4052e-05 | 2.7948e-05 | 0.3095 | 0.3095 | 0.3095 | 0.97641 | -0.45321 | 0.97618 | -0.45775 | 21.2566
26 | 0.19107 | 0.048155 | -0.19094 | -0.048077 | 0.00012408 | 7.8633e-05 | 0.29135 | 0.29135 | 0.29135 | 0.97618 | -0.45775 | 0.97548 | -0.47133 | 20.0102
27 | -0.24126 | -0.061166 | 0.24135 | 0.061224 | 9.2126e-05 | 5.859e-05 | 0.36602 | 0.36602 | 0.36602 | 0.9815 | -0.35398 | 0.9819 | -0.34604 | 25.1384
28 | -0.023504 | -0.0058928 | 0.023508 | 0.0058952 | 3.8336e-06 | 2.3548e-06 | 0.035908 | 0.035908 | 0.035908 | 0.97402 | -0.50005 | 0.9742 | -0.49663 | 9.8648
29 | 0.023504 | 0.0058928 | -0.0235 | -0.0058902 | 4.2441e-06 | 2.607e-06 | 0.035908 | 0.035908 | 0.035908 | 0.97402 | -0.50005 | 0.97383 | -0.50384 | 9.8648
30 | 0.14687 | 0.036944 | -0.1468 | -0.036901 | 6.8598e-05 | 4.3722e-05 | 0.22438 | 0.22438 | 0.22438 | 0.9742 | -0.49663 | 0.9737 | -0.50641 | 30.8209
31 | -0.17037 | -0.04284 | 0.17047 | 0.042899 | 9.2911e-05 | 5.9281e-05 | 0.26028 | 0.26028 | 0.26028 | 0.9742 | -0.49663 | 0.97478 | -0.48522 | 35.7533
32 | 0.091105 | 0.022898 | -0.091052 | -0.022864 | 5.3397e-05 | 3.4083e-05 | 0.13925 | 0.13925 | 0.13925 | 0.9737 | -0.50641 | 0.97308 | -0.51869 | 38.2557
33 | 0.055692 | 0.014002 | -0.055635 | -0.013966 | 5.7106e-05 | 3.6287e-05 | 0.085126 | 0.085126 | 0.085126 | 0.9737 | -0.50641 | 0.97261 | -0.5279 | 23.3862
34 | -0.18029 | -0.04536 | 0.1804 | 0.045435 | 0.00011967 | 7.575e-05 | 0.27527 | 0.27527 | 0.27527 | 0.97478 | -0.48522 | 0.97548 | -0.47133 | 18.906
35 | -0.49502 | -0.126 | 0.49649 | 0.12694 | 0.001472 | 0.00094058 | 0.74358 | 0.74358 | 0.74358 | 0.99152 | -0.16102 | 0.99474 | -0.099541 | 51.0701
36 | 0.38534 | 0.098396 | -0.38526 | -0.098341 | 8.547e-05 | 5.4561e-05 | 0.57895 | 0.57895 | 0.57895 | 0.99152 | -0.16102 | 0.99128 | -0.16561 | 39.7627
37 | 0.10968 | 0.027605 | -0.10952 | -0.027504 | 0.00015853 | 0.00010126 | 0.16464 | 0.16464 | 0.16464 | 0.99152 | -0.16102 | 0.98996 | -0.19131 | 45.2298
38 | -0.51124 | -0.13064 | 0.51167 | 0.13091 | 0.00043045 | 0.00027508 | 0.76564 | 0.76564 | 0.76564 | 0.99474 | -0.099541 | 0.99566 | -0.082147 | 52.5852
39 | 0.38526 | 0.098341 | -0.38491 | -0.098122 | 0.00034392 | 0.00021955 | 0.57895 | 0.57895 | 0.57895 | 0.99128 | -0.16561 | 0.99032 | -0.1841 | 39.7628
40 | 0.06238 | 0.01569 | -0.062277 | -0.015625 | 0.00010251 | 6.521e-05 | 0.093784 | 0.093784 | 0.093784 | 0.98996 | -0.19131 | 0.98818 | -0.22577 | 25.7648
41 | -0.018046 | -0.0045241 | 0.018049 | 0.0045255 | 2.4147e-06 | 1.4412e-06 | 0.027655 | 0.027655 | 0.027655 | 0.97101 | -0.55948 | 0.97116 | -0.55667 | 7.5976
42 | 0.018046 | 0.0045241 | -0.018043 | -0.0045221 | 3.2289e-06 | 1.9272e-06 | 0.027655 | 0.027655 | 0.027655 | 0.97101 | -0.55948 | 0.97082 | -0.56323 | 7.5976
43 | 0.007039 | 0.0017642 | -0.007038 | -0.0017639 | 1.0016e-06 | 3.5695e-07 | 0.010785 | 0.010785 | 0.010785 | 0.97116 | -0.55667 | 0.97101 | -0.55965 | 2.963
44 | -0.025088 | -0.0062898 | 0.025093 | 0.0062931 | 5.4264e-06 | 3.3517e-06 | 0.038441 | 0.038441 | 0.038441 | 0.97116 | -0.55667 | 0.97139 | -0.55213 | 10.5606
45 | 0.0073172 | 0.001834 | -0.0073165 | -0.0018337 | 6.6566e-07 | 2.5154e-07 | 0.011215 | 0.011215 | 0.011215 | 0.97082 | -0.56323 | 0.97073 | -0.56514 | 3.0812
46 | 0.039282 | 0.0098574 | -0.039249 | -0.0098368 | 3.266e-05 | 2.0588e-05 | 0.059363 | 0.059363 | 0.059363 | 0.98473 | -0.29184 | 0.98384 | -0.30929 | 16.3085
47 | 0.059984 | 0.015073 | -0.059951 | -0.015052 | 3.3105e-05 | 2.1057e-05 | 0.091741 | 0.091741 | 0.091741 | 0.97308 | -0.51869 | 0.97249 | -0.53026 | 25.2035
48 | 0.031068 | 0.0077907 | -0.031061 | -0.0077861 | 7.419e-06 | 4.6393e-06 | 0.04751 | 0.04751 | 0.04751 | 0.97308 | -0.51869 | 0.97282 | -0.5237 | 13.0522
49 | 0.046267 | 0.011618 | -0.046238 | -0.0116 | 2.9098e-05 | 1.843e-05 | 0.070793 | 0.070793 | 0.070793 | 0.97261 | -0.5279 | 0.97194 | -0.54109 | 19.4486
50 | 0.051752 | 0.012998 | -0.051706 | -0.012968 | 4.6246e-05 | 2.9354e-05 | 0.079196 | 0.079196 | 0.079196 | 0.97249 | -0.53026 | 0.97154 | -0.54901 | 21.7572
51 | 0.0081983 | 0.0020549 | -0.0081979 | -0.0020547 | 4.558e-07 | 1.9588e-07 | 0.012544 | 0.012544 | 0.012544 | 0.97249 | -0.53026 | 0.97243 | -0.53143 | 3.4463
52 | 0.016902 | 0.0042377 | -0.016899 | -0.0042355 | 3.8169e-06 | 2.2538e-06 | 0.025854 | 0.025854 | 0.025854 | 0.97282 | -0.5237 | 0.97258 | -0.52844 | 7.1028
53 | 0.062277 | 0.015625 | -0.062248 | -0.015606 | 2.9863e-05 | 1.8996e-05 | 0.093784 | 0.093784 | 0.093784 | 0.98818 | -0.22577 | 0.98766 | -0.23583 | 25.7649
54 | 0.062248 | 0.015606 | -0.062235 | -0.015597 | 1.283e-05 | 8.1617e-06 | 0.093784 | 0.093784 | 0.093784 | 0.98766 | -0.23583 | 0.98744 | -0.24016 | 25.7649
55 | -0.036853 | -0.0092404 | 0.036873 | 0.0092526 | 1.9391e-05 | 1.2209e-05 | 0.056455 | 0.056455 | 0.056455 | 0.97139 | -0.55213 | 0.97194 | -0.54109 | 15.5096
56 | 0.014974 | 0.0037555 | -0.014966 | -0.003751 | 7.7877e-06 | 4.4591e-06 | 0.022527 | 0.022527 | 0.022527 | 0.98917 | -0.20611 | 0.98861 | -0.21703 | 6.1887
57 | 0.0081979 | 0.0020547 | -0.0081975 | -0.0020545 | 4.2269e-07 | 1.8166e-07 | 0.012544 | 0.012544 | 0.012544 | 0.97243 | -0.53143 | 0.97238 | -0.53251 | 3.4463
58 | 0.04518 | 0.011333 | -0.045175 | -0.01133 | 4.7416e-06 | 3.0019e-06 | 0.069201 | 0.069201 | 0.069201 | 0.97154 | -0.54901 | 0.97143 | -0.55121 | 19.0114
59 | 0.0036679 | 0.00091918 | -0.0036679 | -0.00091918 | 9.9165e-11 | -5.068e-11 | 0.0055472 | 0.0055472 | 0.0055472 | 0.9839 | -0.30753 | 0.9839 | -0.30753 | 1.524
60 | 0.2432 | 0.061717 | -0.24313 | -0.06167 | 7.3968e-05 | 4.7046e-05 | 0.36871 | 0.36871 | 0.36871 | 0.98223 | -0.33971 | 0.9819 | -0.34604 | 25.3237
61 | 0.0033828 | 0.00084775 | -0.0033828 | -0.0008478 | 8.0028e-08 | -5.3466e-08 | 0.0051021 | 0.0051022 | 0.0051022 | 0.98659 | -0.25563 | 0.98656 | -0.25613 | 1.4017
62 | -0.0018695 | -0.00046854 | 0.0018695 | 0.00046846 | 2.1801e-08 | -7.8406e-08 | 0.0028274 | 0.0028274 | 0.0028274 | 0.98388 | -0.30778 | 0.9839 | -0.30753 | 0.77676
63 | -0.52369 | -0.13393 | 0.52409 | 0.13418 | 0.00039723 | 0.00025387 | 0.78361 | 0.78361 | 0.78361 | 0.99566 | -0.082147 | 0.99648 | -0.066485 | 53.8196
64 | -0.0098395 | -0.002466 | 0.0098406 | 0.0024666 | 1.1187e-06 | 5.5267e-07 | 0.015056 | 0.015056 | 0.015056 | 0.97246 | -0.53083 | 0.97258 | -0.52844 | 4.1362
65 | -0.0058706 | -0.0014713 | 0.0058709 | 0.0014714 | 3.354e-07 | 7.8148e-08 | 0.0089996 | 0.0089996 | 0.0089996 | 0.97066 | -0.56652 | 0.97072 | -0.56532 | 2.4724
66 | -0.011856 | -0.0029713 | 0.011856 | 0.0029713 | 1.2015e-07 | 6.4902e-08 | 0.018173 | 0.018173 | 0.018173 | 0.97072 | -0.56532 | 0.97073 | -0.56511 | 4.9927
67 | 0.0076121 | 0.0019078 | -0.0076119 | -0.0019077 | 1.8974e-07 | 7.2019e-08 | 0.011458 | 0.011458 | 0.011458 | 0.98857 | -0.21772 | 0.98855 | -0.21824 | 3.1478
68 | -0.0076121 | -0.0019078 | 0.0076123 | 0.0019079 | 2.4839e-07 | 9.4279e-08 | 0.011458 | 0.011458 | 0.011458 | 0.98857 | -0.21772 | 0.98861 | -0.21703 | 3.1478
69 | 0.039417 | 0.0098866 | -0.039405 | -0.0098787 | 1.2382e-05 | 7.8124e-06 | 0.060381 | 0.060381 | 0.060381 | 0.97143 | -0.55121 | 0.9711 | -0.5578 | 16.5882
70 | -0.019374 | -0.0048557 | 0.019377 | 0.0048573 | 2.7258e-06 | 1.6426e-06 | 0.029698 | 0.029698 | 0.029698 | 0.97073 | -0.56511 | 0.97088 | -0.56216 | 8.1589
71 | -0.025378 | -0.0063613 | 0.025383 | 0.0063644 | 5.0668e-06 | 3.1323e-06 | 0.038896 | 0.038896 | 0.038896 | 0.97088 | -0.56216 | 0.97109 | -0.55797 | 10.6857
72 | -0.033425 | -0.0083799 | 0.033425 | 0.00838 | 2.6705e-07 | 1.6755e-07 | 0.051218 | 0.051218 | 0.051218 | 0.97109 | -0.55797 | 0.9711 | -0.5578 | 14.0709
73 | 0.53076 | 0.13651 | -0.53036 | -0.13626 | 0.00039533 | 0.00025266 | 0.79101 | 0.79101 | 0.79101 | 1 | 0 | 0.99919 | -0.015335 | 54.3279
74 | 0.52777 | 0.13561 | -0.52646 | -0.13477 | 0.0013077 | 0.00083573 | 0.78715 | 0.78715 | 0.78715 | 0.99919 | -0.015335 | 0.99648 | -0.066485 | 54.0628

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54404 | 0.13943

## res_load
| p_mw | q_mvar
0 | 0.0017821 | 0.00044664
1 | 0.0017821 | 0.00044664
2 | 0.0017809 | 0.00044633
3 | 0.0017805 | 0.00044624
4 | 0.001951 | 0.00048896
5 | 0.0052106 | 0.0013059
6 | 0.007974 | 0.0019985
7 | 0.003194 | 0.00080048
8 | 0.023055 | 0.0057781
9 | 0.0091331 | 0.002289
10 | 0.011906 | 0.0029838
11 | 0.0017793 | 0.00044594
12 | 0.010312 | 0.0025845
13 | 0.0098186 | 0.0024608
14 | 0.014747 | 0.003696
15 | 0.047137 | 0.011814
16 | 0.010726 | 0.0026882
17 | 0.0082187 | 0.0020598
18 | 0.010745 | 0.0026929
19 | 0.0093683 | 0.0023479
20 | 0.014158 | 0.0035483
21 | 0.007038 | 0.0017639
22 | 0.01176 | 0.0029473
23 | 0.062235 | 0.015597
24 | 0.037711 | 0.0094513
25 | 0.0054218 | 0.0013588
26 | 0.0081975 | 0.0020545
27 | 0.0065258 | 0.0016355
28 | 0.0018001 | 0.00045115
29 | 0.0017764 | 0.00044522
30 | 0.0033845 | 0.00084823
31 | 0.010539 | 0.0026414
32 | 0.0017805 | 0.00044624
33 | 0.0018695 | 0.00046854
34 | 0.0017984 | 0.00045072
35 | 0.012027 | 0.0030141
36 | 0.0098395 | 0.002466
37 | 0.007058 | 0.0017689
38 | 0.0073165 | 0.0018337
39 | 0.039249 | 0.0098368
40 | 0.0093654 | 0.0023472
41 | 0.0058706 | 0.0014713
42 | 0.0059846 | 0.0014999
43 | 0.0076119 | 0.0019077
44 | 0.0073541 | 0.0018431
45 | 0.0057582 | 0.0014431
46 | 0.0033828 | 0.0008478
47 | 0.0075185 | 0.0018843
48 | 0.0060011 | 0.001504
49 | 0.0080417 | 0.0020154
50 | 0.0059799 | 0.0014987
51 | 0.011638 | 0.0029168
52 | 0.0025917 | 0.00064955
53 | 0.0023713 | 0.00059431

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1