## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-84_1_2_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_261-84_1_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_261-84_1_2_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_261-84_1_2_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_261-84_1_2_node_106 | 0.4 | n |  | TRUE
5 | bus_LV_261-84_1_2_node_107 | 0.4 | n |  | TRUE
6 | bus_LV_261-84_1_2_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_261-84_1_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_261-84_1_2_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_261-84_1_2_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_261-84_1_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_261-84_1_2_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_261-84_1_2_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_261-84_1_2_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_261-84_1_2_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_261-84_1_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_261-84_1_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_261-84_1_2_node_104 | 0.4 | n |  | TRUE
18 | bus_LV_261-84_1_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-84_1_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_261-84_1_2_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_261-84_1_2_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_261-84_1_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_261-84_1_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_261-84_1_2_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_261-84_1_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_261-84_1_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_261-84_1_2_node_108 | 0.4 | n |  | TRUE
28 | bus_LV_261-84_1_2_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_261-84_1_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_261-84_1_2_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_261-84_1_2_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_261-84_1_2_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_261-84_1_2_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_261-84_1_2_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_261-84_1_2_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_261-84_1_2_node_92 | 0.4 | n |  | TRUE
37 | bus_MV_544_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-84_1_2_load_11 | 0 | 0.03578 | 0.0089672 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-84_1_2_load_106 | 4 | 0.0086695 | 0.0021728 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-84_1_2_load_107 | 5 | 0.024116 | 0.006044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-84_1_2_load_93 | 8 | 0.011658 | 0.0029218 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-84_1_2_load_101 | 9 | 0.0039621 | 0.00099301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-84_1_2_load_105 | 11 | 0.0076533 | 0.0019181 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-84_1_2_load_35 | 14 | 0.00037216 | 9.3272e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-84_1_2_load_104 | 17 | 0.00228 | 0.00057141 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-84_1_2_load_94 | 20 | 0.018377 | 0.0046058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-84_1_2_load_91 | 21 | 0.012093 | 0.0030307 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-84_1_2_load_34 | 25 | 0.004447 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-84_1_2_load_108 | 27 | 0.0013901 | 0.0003484 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-84_1_2_load_97 | 30 | 0.00027376 | 6.861e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-84_1_2_load_95 | 32 | 0.00027367 | 6.8589e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-84_1_2_load_103 | 33 | 0.005586 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-84_1_2_load_102 | 34 | 0.0075024 | 0.0018803 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-84_1_2_load_100 | 35 | 0.00017589 | 4.4083e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-84_1_2_load_92 | 36 | 0.01314 | 0.0032933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-84_1_2_line_0 |  | 0 | 1 | 0.0094619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-84_1_2_line_1 |  | 1 | 2 | 0.027286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-84_1_2_line_2 |  | 1 | 3 | 0.059104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-84_1_2_line_3 |  | 2 | 4 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-84_1_2_line_4 |  | 2 | 5 | 0.004097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-84_1_2_line_5 |  | 3 | 14 | 0.014425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-84_1_2_line_6 |  | 6 | 7 | 0.53489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-84_1_2_line_7 |  | 6 | 8 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-84_1_2_line_8 |  | 7 | 9 | 0.03085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-84_1_2_line_9 |  | 8 | 20 | 0.036816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-84_1_2_line_10 |  | 9 | 12 | 0.068863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-84_1_2_line_11 |  | 10 | 11 | 0.035326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-84_1_2_line_12 |  | 10 | 12 | 0.1465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-84_1_2_line_13 |  | 10 | 13 | 0.063617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-84_1_2_line_14 |  | 13 | 35 | 0.0066474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-84_1_2_line_15 |  | 14 | 25 | 0.0041642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-84_1_2_line_16 |  | 15 | 16 | 0.18987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-84_1_2_line_17 |  | 15 | 17 | 0.069197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-84_1_2_line_18 |  | 16 | 36 | 0.037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-84_1_2_line_19 |  | 17 | 22 | 0.020161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-84_1_2_line_20 |  | 18 | 19 | 0.119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-84_1_2_line_21 |  | 18 | 20 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-84_1_2_line_22 |  | 19 | 21 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-84_1_2_line_23 |  | 21 | 36 | 8.9426e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-84_1_2_line_24 |  | 22 | 23 | 0.11161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-84_1_2_line_25 |  | 22 | 24 | 0.048134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-84_1_2_line_26 |  | 23 | 25 | 0.034345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-84_1_2_line_27 |  | 24 | 30 | 0.018495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-84_1_2_line_28 |  | 26 | 27 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-84_1_2_line_29 |  | 26 | 28 | 0.046949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-84_1_2_line_30 |  | 28 | 32 | 0.059639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-84_1_2_line_31 |  | 29 | 30 | 0.0023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-84_1_2_line_32 |  | 29 | 31 | 0.12696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-84_1_2_line_33 |  | 29 | 32 | 0.0060088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-84_1_2_line_34 |  | 31 | 33 | 0.025956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-84_1_2_line_35 |  | 31 | 34 | 0.030104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-84_1_2_trafo_19 | 0.63 MVA 20/0.4 kV | 37 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44
0 | 2681499.83 | 1250467.767 | 2681497.9004 | 1250477.0301
1 | 2681499.83 | 1250467.767 | 2681500.9075 | 1250462.4334 | 2681522.4332 | 1250466.1544
2 | 2681475.6856 | 1250430.4852 | 2681474.5533 | 1250439.2539 | 2681473.6747 | 1250446.0469 | 2681478.934 | 1250451.7456 | 2681502.2113 | 1250456.0132 | 2681500.9075 | 1250462.4334 | 2681499.83 | 1250467.767
3 | 2681522.4332 | 1250466.1544 | 2681518.4142 | 1250486.0917
4 | 2681522.4332 | 1250466.1544 | 2681526.4693 | 1250466.9216
5 | 2681475.6856 | 1250430.4852 | 2681467.8225 | 1250423.6276 | 2681465.4884 | 1250420.3899
6 | 2681656.1133 | 1250732.9811 | 2681632.5422 | 1250743.542 | 2681598.5635 | 1250752.8033 | 2681546.6383 | 1250761.1059 | 2681548.052 | 1250754.3871 | 2681550.2712 | 1250745.6333 | 2681553.0918 | 1250733.2296 | 2681556.0188 | 1250720.2269 | 2681556.4735 | 1250706.3896 | 2681562.7308 | 1250699.3482 | 2681566.4364 | 1250694.4956 | 2681568.7686 | 1250685.7657 | 2681569.4829 | 1250673.3663 | 2681576.4741 | 1250668.9481 | 2681585.8681 | 1250650.675 | 2681614.6709 | 1250612.7434 | 2681638.6371 | 1250575.746 | 2681641.74 | 1250569.1727 | 2681646.8646 | 1250560.5147 | 2681647.4337 | 1250559.2104 | 2681657.5286 | 1250536.1324 | 2681664.2665 | 1250524.3609 | 2681671.3679 | 1250511.9718 | 2681680.3002 | 1250482.8733 | 2681691.9804 | 1250462.0077 | 2681773.0643 | 1250451.0398
7 | 2681773.0643 | 1250451.0398 | 2681786.6085 | 1250449.2718
8 | 2681656.1133 | 1250732.9811 | 2681683.3853 | 1250747.4019
9 | 2681786.6085 | 1250449.2718 | 2681796.3291 | 1250448.003 | 2681797.7964 | 1250447.812 | 2681822.1464 | 1250440.1294
10 | 2681713.0077 | 1250805.0186 | 2681708.4967 | 1250802.032 | 2681704.6304 | 1250792.2603 | 2681703.8238 | 1250775.2143 | 2681696.8161 | 1250757.8382 | 2681688.5652 | 1250750.141 | 2681683.3853 | 1250747.4019
11 | 2681863.6781 | 1250864.3639 | 2681855.1463 | 1250848.6121 | 2681849.4781 | 1250832.1328
12 | 2681713.0077 | 1250805.0186 | 2681724.009 | 1250812.5314 | 2681752.3281 | 1250824.4196 | 2681773.9194 | 1250834.7696 | 2681786.1382 | 1250838.8412 | 2681789.5945 | 1250839.4782 | 2681804.9634 | 1250842.3035 | 2681830.784 | 1250839.9471 | 2681838.9734 | 1250834.5895 | 2681849.4781 | 1250832.1328
13 | 2681863.887 | 1250788.0768 | 2681845.0297 | 1250820.7962 | 2681838.9734 | 1250834.5895 | 2681849.4781 | 1250832.1328
14 | 2681863.887 | 1250788.0768 | 2681867.2657 | 1250782.3522
15 | 2681463.0533 | 1250417.0119 | 2681465.4884 | 1250420.3899
16 | 2681579.8218 | 1250399.5612 | 2681585.0378 | 1250405.6598 | 2681592.2834 | 1250410.1962 | 2681621.6438 | 1250417.3613 | 2681649.6419 | 1250423.6626 | 2681655.7657 | 1250425.7819 | 2681680.8097 | 1250416.9092 | 2681700.1596 | 1250408.7031 | 2681708.819 | 1250404.8863 | 2681711.4304 | 1250403.2989 | 2681719.4832 | 1250399.6739 | 2681724.2965 | 1250382.9612 | 2681726.6414 | 1250374.9765 | 2681728.7133 | 1250369.2675 | 2681731.9648 | 1250362.8743
17 | 2681579.8218 | 1250399.5612 | 2681575.9074 | 1250391.0566 | 2681570.9825 | 1250387.3973 | 2681537.8089 | 1250368.1933 | 2681524.5097 | 1250360.493
18 | 2681731.9648 | 1250362.8743 | 2681733.1659 | 1250361.1896 | 2681734.7768 | 1250359.8886 | 2681736.7971 | 1250359.0159 | 2681738.9903 | 1250358.7459 | 2681741.1673 | 1250359.0984 | 2681767.3776 | 1250365.8521
19 | 2681507.062 | 1250350.3906 | 2681524.5097 | 1250360.493
20 | 2681781.6138 | 1250368.2408 | 2681788.5975 | 1250364.9458 | 2681794.8262 | 1250362.2075 | 2681798.167 | 1250369.0365 | 2681801.2432 | 1250375.3503 | 2681802.9425 | 1250375.8519 | 2681816.5145 | 1250386.9696 | 2681831.6946 | 1250400.2668 | 2681837.6517 | 1250411.1682 | 2681848.8662 | 1250431.705 | 2681835.005 | 1250436.0724
21 | 2681835.005 | 1250436.0724 | 2681822.1464 | 1250440.1294
22 | 2681781.6138 | 1250368.2408 | 2681775.683 | 1250367.9922 | 2681767.4642 | 1250365.8744
23 | 2681767.4642 | 1250365.8744 | 2681767.3776 | 1250365.8521
24 | 2681507.062 | 1250350.3906 | 2681504.9635 | 1250352.5634 | 2681503.0686 | 1250353.6492 | 2681500.8523 | 1250352.8626 | 2681497.7754 | 1250352.0642 | 2681494.8489 | 1250351.3123 | 2681492.2666 | 1250351.3323 | 2681489.6754 | 1250351.9972 | 2681486.9804 | 1250353.0721 | 2681485.089 | 1250354.4582 | 2681482.8289 | 1250356.8511 | 2681480.1598 | 1250359.3385 | 2681477.5066 | 1250361.2145 | 2681474.0876 | 1250362.7909 | 2681472.2202 | 1250364.0773 | 2681471.0657 | 1250365.6738 | 2681471.2008 | 1250366.832 | 2681471.8428 | 1250367.9083 | 2681472.3847 | 1250369.1278 | 2681472.819 | 1250370.4903 | 2681472.8016 | 1250371.7577 | 2681471.9829 | 1250372.547 | 2681470.8134 | 1250373.0424 | 2681461.9211 | 1250371.2967 | 2681460.0748 | 1250369.4032 | 2681458.7647 | 1250369.1406 | 2681456.5366 | 1250369.21 | 2681454.353 | 1250369.8805 | 2681452.5694 | 1250370.5676 | 2681450.63 | 1250371.5973 | 2681449.7042 | 1250372.4964 | 2681449.4398 | 1250373.6047 | 2681450.665 | 1250376.1901 | 2681451.0957 | 1250378.3643 | 2681450.718 | 1250380.027 | 2681450.2449 | 1250381.4882 | 2681448.9114 | 1250382.3817 | 2681444.6061 | 1250382.5226 | 2681442.3989 | 1250384.9163 | 2681441.581 | 1250388.9414 | 2681437.892 | 1250388.735 | 2681436.2601 | 1250389.3686 | 2681436.0175 | 1250392.1896 | 2681438.613 | 1250395.0496 | 2681436.9644 | 1250396.8949
25 | 2681496.6936 | 1250310.5185 | 2681497.7716 | 1250316.6712 | 2681504.6371 | 1250322.5144 | 2681505.1044 | 1250326.9575 | 2681502.8085 | 1250331.9518 | 2681499.8186 | 1250337.4481 | 2681499.1712 | 1250342.2539 | 2681501.022 | 1250346.5603 | 2681507.062 | 1250350.3906
26 | 2681436.9644 | 1250396.8949 | 2681447.9211 | 1250410.4778 | 2681459.2143 | 1250413.8577 | 2681461.718 | 1250415.1597 | 2681463.0533 | 1250417.0119
27 | 2681496.6936 | 1250310.5185 | 2681487.7803 | 1250307.5494 | 2681478.7387 | 1250306.5211
28 | 2681414.1093 | 1250319.5905 | 2681424.2431 | 1250324.3999
29 | 2681414.1093 | 1250319.5905 | 2681410.4104 | 1250317.9051 | 2681416.8523 | 1250304.5837 | 2681418.1267 | 1250301.9548 | 2681416.7118 | 1250301.0792 | 2681419.9442 | 1250293.3067 | 2681412.8502 | 1250290.3515 | 2681415.2642 | 1250283.3573
30 | 2681415.2642 | 1250283.3573 | 2681467.0957 | 1250305.2078 | 2681470.4644 | 1250305.587
31 | 2681476.4355 | 1250306.2591 | 2681478.7387 | 1250306.5211
32 | 2681476.4355 | 1250306.2591 | 2681480.9164 | 1250294.4564 | 2681488.8304 | 1250281.1554 | 2681496.3742 | 1250272.2747 | 2681501.5446 | 1250266.3303 | 2681510.8878 | 1250257.2632 | 2681555.9291 | 1250257.9276 | 2681555.0722 | 1250260.9403 | 2681555.4159 | 1250265.5929 | 2681557.4807 | 1250270.2581 | 2681560.0548 | 1250274.1297 | 2681561.4266 | 1250277.5845
33 | 2681476.4355 | 1250306.2591 | 2681470.4644 | 1250305.587
34 | 2681561.4266 | 1250277.5845 | 2681562.2718 | 1250282.5442 | 2681556.3707 | 1250302.6223
35 | 2681561.4266 | 1250277.5845 | 2681566.8353 | 1250276.269 | 2681570.3389 | 1250276.2394 | 2681580.4799 | 1250278.8698 | 2681589.8925 | 1250279.5777 | 2681590.9978 | 1250279.4074

## bus_geodata
| x | y | coords
0 | 2681497.9004 | 1250477.0301
1 | 2681499.83 | 1250467.767
2 | 2681522.4332 | 1250466.1544
3 | 2681475.6856 | 1250430.4852
4 | 2681518.4142 | 1250486.0917
5 | 2681526.4693 | 1250466.9216
6 | 2681773.0643 | 1250451.0398
7 | 2681656.1133 | 1250732.9811
8 | 2681786.6085 | 1250449.2718
9 | 2681683.3853 | 1250747.4019
10 | 2681849.4781 | 1250832.1327
11 | 2681863.6781 | 1250864.3639
12 | 2681713.0077 | 1250805.0186
13 | 2681863.887 | 1250788.0768
14 | 2681465.4884 | 1250420.3899
15 | 2681579.8218 | 1250399.5612
16 | 2681731.9648 | 1250362.8743
17 | 2681524.5097 | 1250360.493
18 | 2681835.005 | 1250436.0724
19 | 2681781.6138 | 1250368.2408
20 | 2681822.1464 | 1250440.1294
21 | 2681767.4642 | 1250365.8744
22 | 2681507.062 | 1250350.3906
23 | 2681436.9644 | 1250396.8949
24 | 2681496.6936 | 1250310.5185
25 | 2681463.0533 | 1250417.0119
26 | 2681414.1093 | 1250319.5905
27 | 2681424.2431 | 1250324.3999
28 | 2681415.2642 | 1250283.3573
29 | 2681476.4355 | 1250306.2591
30 | 2681478.7387 | 1250306.5211
31 | 2681561.4266 | 1250277.5845
32 | 2681470.4644 | 1250305.587
33 | 2681556.3707 | 1250302.6223
34 | 2681590.9978 | 1250279.4074
35 | 2681867.2657 | 1250782.3522
36 | 2681767.3776 | 1250365.8521
37 | 2681655.7657 | 1250425.7819

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97733 | -0.43584 | 0.03578 | 0.0089672
1 | 0.97764 | -0.42966 | 0 | 0
2 | 0.97681 | -0.44599 | 0 | 0
3 | 0.9814 | -0.35605 | 0 | 0
4 | 0.97665 | -0.44921 | 0.0086695 | 0.0021728
5 | 0.97672 | -0.4478 | 0.024116 | 0.006044
6 | 0.97921 | -0.39974 | 0 | 0
7 | 0.97332 | -0.51527 | 0 | 0
8 | 0.97936 | -0.3968 | 0.011658 | 0.0029218
9 | 0.97298 | -0.52197 | 0.0039621 | 0.00099301
10 | 0.97141 | -0.55309 | 0 | 0
11 | 0.97116 | -0.55808 | 0.0076533 | 0.0019181
12 | 0.97248 | -0.53191 | 0 | 0
13 | 0.9714 | -0.5533 | 0 | 0
14 | 0.98232 | -0.33816 | 0.00037216 | 9.3272e-05
15 | 1 | 0 | -0.16231 | -0.041374
16 | 0.98821 | -0.2247 | 0 | 0
17 | 0.99418 | -0.11005 | 0.00228 | 0.00057141
18 | 0.98068 | -0.37087 | 0 | 0
19 | 0.9853 | -0.28102 | 0 | 0
20 | 0.98016 | -0.38111 | 0.018377 | 0.0046058
21 | 0.98586 | -0.27019 | 0.012093 | 0.0030307
22 | 0.99253 | -0.14154 | 0 | 0
23 | 0.98492 | -0.28759 | 0 | 0
24 | 0.99187 | -0.15435 | 0 | 0
25 | 0.98259 | -0.33298 | 0.004447 | 0.0011145
26 | 0.99144 | -0.1627 | 0 | 0
27 | 0.99142 | -0.16297 | 0.0013901 | 0.0003484
28 | 0.9915 | -0.16154 | 0 | 0
29 | 0.99158 | -0.15989 | 0 | 0
30 | 0.99161 | -0.15928 | 0.00027376 | 6.861e-05
31 | 0.99006 | -0.1894 | 0 | 0
32 | 0.99157 | -0.16006 | 0.00027367 | 6.8589e-05
33 | 0.98993 | -0.19198 | 0.005586 | 0.0014
34 | 0.98985 | -0.19342 | 0.0075024 | 0.0018803
35 | 0.9714 | -0.55332 | 0.00017589 | 4.4083e-05
36 | 0.98587 | -0.2701 | 0.01314 | 0.0032933
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.03578 | -0.0089672 | 0.03579 | 0.0089738 | 1.053e-05 | 6.6204e-06 | 0.054476 | 0.054476 | 0.054476 | 0.97733 | -0.43584 | 0.97764 | -0.42966 | 14.9659
1 | 0.032814 | 0.0082346 | -0.032789 | -0.0082186 | 2.5528e-05 | 1.5996e-05 | 0.049949 | 0.049949 | 0.049949 | 0.97764 | -0.42966 | 0.97681 | -0.44599 | 13.7222
2 | -0.068604 | -0.017208 | 0.068846 | 0.017362 | 0.00024168 | 0.00015393 | 0.10442 | 0.10442 | 0.10442 | 0.97764 | -0.42966 | 0.9814 | -0.35605 | 28.688
3 | 0.0086709 | 0.0021734 | -0.0086695 | -0.0021728 | 1.3307e-06 | 5.9708e-07 | 0.013209 | 0.013209 | 0.013209 | 0.97681 | -0.44599 | 0.97665 | -0.44921 | 3.6288
4 | 0.024118 | 0.0060452 | -0.024116 | -0.006044 | 2.0738e-06 | 1.276e-06 | 0.03674 | 0.03674 | 0.03674 | 0.97681 | -0.44599 | 0.97672 | -0.4478 | 10.0934
5 | -0.068846 | -0.017362 | 0.068905 | 0.0174 | 5.8985e-05 | 3.7568e-05 | 0.10442 | 0.10442 | 0.10442 | 0.9814 | -0.35605 | 0.98232 | -0.33816 | 28.688
6 | 0.011874 | 0.002997 | -0.011809 | -0.0029618 | 6.5368e-05 | 3.5148e-05 | 0.018051 | 0.018054 | 0.018054 | 0.97921 | -0.39974 | 0.97332 | -0.51527 | 4.9598
7 | -0.011874 | -0.002997 | 0.011876 | 0.0029979 | 1.669e-06 | 8.9633e-07 | 0.018051 | 0.018051 | 0.018051 | 0.97921 | -0.39974 | 0.97936 | -0.3968 | 4.9591
8 | 0.011809 | 0.0029618 | -0.011805 | -0.0029598 | 3.7707e-06 | 2.0299e-06 | 0.018054 | 0.018054 | 0.018054 | 0.97332 | -0.51527 | 0.97298 | -0.52197 | 4.9598
9 | -0.023534 | -0.0059197 | 0.023551 | 0.0059305 | 1.7659e-05 | 1.0838e-05 | 0.035764 | 0.035764 | 0.035764 | 0.97936 | -0.3968 | 0.98016 | -0.38111 | 9.8254
10 | 0.0078426 | 0.0019668 | -0.0078389 | -0.0019653 | 3.7152e-06 | 1.5229e-06 | 0.011994 | 0.011995 | 0.011995 | 0.97298 | -0.52197 | 0.97248 | -0.53191 | 3.2952
11 | 0.0076551 | 0.0019188 | -0.0076533 | -0.0019181 | 1.8216e-06 | 7.2859e-07 | 0.011726 | 0.011726 | 0.011726 | 0.97141 | -0.55309 | 0.97116 | -0.55808 | 3.2215
12 | -0.007831 | -0.001962 | 0.0078389 | 0.0019653 | 7.9045e-06 | 3.2432e-06 | 0.011995 | 0.011995 | 0.011995 | 0.97141 | -0.55309 | 0.97248 | -0.53191 | 3.2954
13 | 0.00017589 | 4.3214e-05 | -0.00017589 | -4.4001e-05 | 1.7297e-09 | -7.8645e-07 | 0.00026913 | 0.00026941 | 0.00026941 | 0.97141 | -0.55309 | 0.9714 | -0.5533 | 0.074013
14 | 0.00017589 | 4.4001e-05 | -0.00017589 | -4.4083e-05 | 1.8093e-10 | -8.2176e-08 | 0.00026941 | 0.00026944 | 0.00026944 | 0.9714 | -0.5533 | 0.9714 | -0.55332 | 0.074021
15 | -0.069277 | -0.017493 | 0.069294 | 0.017504 | 1.7212e-05 | 1.0963e-05 | 0.10499 | 0.10499 | 0.10499 | 0.98232 | -0.33816 | 0.98259 | -0.33298 | 28.8428
16 | 0.068269 | 0.017564 | -0.067532 | -0.017095 | 0.00073712 | 0.00046929 | 0.10175 | 0.10175 | 0.10175 | 1 | 0 | 0.98821 | -0.2247 | 27.9527
17 | 0.092393 | 0.023809 | -0.091901 | -0.023495 | 0.00049213 | 0.00031406 | 0.13771 | 0.13771 | 0.13771 | 1 | 0 | 0.99418 | -0.11005 | 37.8337
18 | 0.067532 | 0.017095 | -0.067385 | -0.017001 | 0.00014683 | 9.349e-05 | 0.10175 | 0.10175 | 0.10175 | 0.98821 | -0.2247 | 0.98587 | -0.2701 | 27.9527
19 | 0.089621 | 0.022924 | -0.089484 | -0.022837 | 0.00013637 | 8.7016e-05 | 0.1343 | 0.1343 | 0.1343 | 0.99418 | -0.11005 | 0.99253 | -0.14154 | 36.8963
20 | -0.041949 | -0.010549 | 0.04213 | 0.010664 | 0.00018087 | 0.00011425 | 0.063663 | 0.063663 | 0.063663 | 0.98068 | -0.37087 | 0.9853 | -0.28102 | 17.4899
21 | 0.041949 | 0.010549 | -0.041929 | -0.010536 | 2.0493e-05 | 1.2946e-05 | 0.063663 | 0.063663 | 0.063663 | 0.98068 | -0.37087 | 0.98016 | -0.38111 | 17.4899
22 | -0.04213 | -0.010664 | 0.042152 | 0.010677 | 2.1921e-05 | 1.3846e-05 | 0.063663 | 0.063663 | 0.063663 | 0.9853 | -0.28102 | 0.98586 | -0.27019 | 17.4898
23 | -0.054244 | -0.013708 | 0.054245 | 0.013708 | 2.2502e-07 | 1.4287e-07 | 0.081915 | 0.081915 | 0.081915 | 0.98586 | -0.27019 | 0.98587 | -0.2701 | 22.504
24 | 0.074425 | 0.019054 | -0.073902 | -0.018721 | 0.00052242 | 0.00033292 | 0.11172 | 0.11172 | 0.11172 | 0.99253 | -0.14154 | 0.98492 | -0.28759 | 30.6929
25 | 0.01506 | 0.0037827 | -0.015051 | -0.0037775 | 9.2039e-06 | 5.2688e-06 | 0.022581 | 0.022581 | 0.022581 | 0.99253 | -0.14154 | 0.99187 | -0.15435 | 6.2036
26 | 0.073902 | 0.018721 | -0.073741 | -0.018619 | 0.00016076 | 0.00010245 | 0.11172 | 0.11172 | 0.11172 | 0.98492 | -0.28759 | 0.98259 | -0.33298 | 30.693
27 | 0.015051 | 0.0037775 | -0.015047 | -0.0037754 | 3.5365e-06 | 2.0247e-06 | 0.022581 | 0.022581 | 0.022581 | 0.99187 | -0.15435 | 0.99161 | -0.15928 | 6.2037
28 | 0.0013901 | 0.00034827 | -0.0013901 | -0.0003484 | 1.8266e-08 | -1.3261e-07 | 0.0020864 | 0.0020864 | 0.0020864 | 0.99144 | -0.1627 | 0.99142 | -0.16297 | 0.57319
29 | -0.0013901 | -0.00034827 | 0.0013902 | 0.00034771 | 7.663e-08 | -5.5643e-07 | 0.0020864 | 0.0020862 | 0.0020864 | 0.99144 | -0.1627 | 0.9915 | -0.16154 | 0.57318
30 | -0.0013902 | -0.00034771 | 0.0013903 | 0.000347 | 9.7319e-08 | -7.0695e-07 | 0.0020862 | 0.0020859 | 0.0020862 | 0.9915 | -0.16154 | 0.99157 | -0.16006 | 0.57312
31 | -0.014773 | -0.0037066 | 0.014773 | 0.0037068 | 4.2728e-07 | 2.4355e-07 | 0.02217 | 0.02217 | 0.02217 | 0.99158 | -0.15989 | 0.99161 | -0.15928 | 6.0908
32 | 0.013109 | 0.0032911 | -0.013091 | -0.0032809 | 1.8429e-05 | 1.0159e-05 | 0.019674 | 0.019675 | 0.019675 | 0.99158 | -0.15989 | 0.99006 | -0.1894 | 5.4051
33 | 0.001664 | 0.00041552 | -0.001664 | -0.00041559 | 1.4044e-08 | -6.852e-08 | 0.0024965 | 0.0024966 | 0.0024966 | 0.99158 | -0.15989 | 0.99157 | -0.16006 | 0.68587
34 | 0.0055867 | 0.0014001 | -0.005586 | -0.0014 | 6.8624e-07 | 1.0545e-07 | 0.0083965 | 0.0083967 | 0.0083967 | 0.99006 | -0.1894 | 0.98993 | -0.19198 | 2.3068
35 | 0.0075038 | 0.0018808 | -0.0075024 | -0.0018803 | 1.4359e-06 | 5.3193e-07 | 0.011278 | 0.011278 | 0.011278 | 0.99006 | -0.1894 | 0.98985 | -0.19342 | 3.0984

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16231 | 0.041374

## res_load
| p_mw | q_mvar
0 | 0.03578 | 0.0089672
1 | 0.0086695 | 0.0021728
2 | 0.024116 | 0.006044
3 | 0.011658 | 0.0029218
4 | 0.0039621 | 0.00099301
5 | 0.0076533 | 0.0019181
6 | 0.00037216 | 9.3272e-05
7 | 0.00228 | 0.00057141
8 | 0.018377 | 0.0046058
9 | 0.012093 | 0.0030307
10 | 0.004447 | 0.0011145
11 | 0.0013901 | 0.0003484
12 | 0.00027376 | 6.861e-05
13 | 0.00027367 | 6.8589e-05
14 | 0.005586 | 0.0014
15 | 0.0075024 | 0.0018803
16 | 0.00017589 | 4.4083e-05
17 | 0.01314 | 0.0032933

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1