## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-864_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-864_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-864_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-864_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-864_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-864_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-864_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_261-864_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_261-864_0_5_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_261-864_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_261-864_0_5_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_261-864_0_5_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_261-864_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-864_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_261-864_0_5_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_261-864_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-864_0_5_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_261-864_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-864_0_5_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_261-864_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_261-864_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_261-864_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-864_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_261-864_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_261-864_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_261-864_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-864_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_261-864_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_261-864_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_261-864_0_5_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_261-864_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-864_0_5_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_261-864_0_5_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_261-864_0_5_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_261-864_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_261-864_0_5_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_261-864_0_5_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_261-864_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-864_0_5_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_261-864_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_261-864_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_261-864_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_261-864_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_261-864_0_5_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_261-864_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_261-864_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_261-864_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_261-864_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_261-864_0_5_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_261-864_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_261-864_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_261-864_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_261-864_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_MV_546_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-864_0_5_load_0 | 0 | 0.0089778 | 0.0022501 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-864_0_5_load_3 | 3 | 0.013372 | 0.0033513 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-864_0_5_load_5 | 5 | 0.013895 | 0.0034825 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-864_0_5_load_24 | 6 | 0.0043086 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-864_0_5_load_30 | 8 | 0.0089093 | 0.0022329 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-864_0_5_load_54 | 11 | 0.060471 | 0.015155 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-864_0_5_load_53 | 14 | 0.0031946 | 0.00080064 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-864_0_5_load_52 | 16 | 0.097132 | 0.024344 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-864_0_5_load_31 | 18 | 0.0044651 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-864_0_5_load_29 | 19 | 0.0039296 | 0.00098486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-864_0_5_load_34 | 20 | 0.006802 | 0.0017047 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-864_0_5_load_33 | 22 | 0.0019311 | 0.00048398 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-864_0_5_load_32 | 23 | 0.0064365 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-864_0_5_load_39 | 27 | 0.012702 | 0.0031833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-864_0_5_load_38 | 28 | 0.046658 | 0.011694 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-864_0_5_load_35 | 29 | 0.012821 | 0.0032132 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-864_0_5_load_49 | 32 | 0.021729 | 0.0054457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-864_0_5_load_61 | 33 | 0.0017854 | 0.00044746 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-864_0_5_load_56 | 35 | 0.0085052 | 0.0021316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-864_0_5_load_60 | 36 | 0.0085422 | 0.0021409 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-864_0_5_load_55 | 38 | 0.0086036 | 0.0021563 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-864_0_5_load_40 | 40 | 0.012857 | 0.0032223 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-864_0_5_load_36 | 41 | 0.012985 | 0.0032543 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-864_0_5_load_59 | 44 | 0.0085354 | 0.0021392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-864_0_5_load_27 | 45 | 0.0019727 | 0.00049442 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-864_0_5_load_26 | 46 | 0.006196 | 0.0015529 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-864_0_5_load_47 | 48 | 0.015682 | 0.0039303 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-864_0_5_load_57 | 49 | 0.0086531 | 0.0021687 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-864_0_5_load_58 | 50 | 0.0085301 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-864_0_5_load_51 | 51 | 0.023392 | 0.0058626 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-864_0_5_load_46 | 52 | 0.015257 | 0.0038239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-864_0_5_line_0 |  | 0 | 1 | 0.020872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-864_0_5_line_1 |  | 0 | 2 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-864_0_5_line_2 |  | 1 | 3 | 0.030544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-864_0_5_line_3 |  | 1 | 4 | 0.006443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-864_0_5_line_4 |  | 2 | 5 | 0.030812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-864_0_5_line_5 |  | 3 | 6 | 0.023072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-864_0_5_line_6 |  | 4 | 7 | 0.012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-864_0_5_line_7 |  | 4 | 8 | 0.0047035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-864_0_5_line_8 |  | 7 | 11 | 0.027245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-864_0_5_line_9 |  | 7 | 15 | 0.041947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-864_0_5_line_10 |  | 8 | 39 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-864_0_5_line_11 |  | 9 | 10 | 0.081389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_261-864_0_5_line_12 |  | 9 | 11 | 0.040269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_261-864_0_5_line_13 |  | 10 | 28 | 0.032545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_261-864_0_5_line_14 |  | 12 | 13 | 0.048993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-864_0_5_line_15 |  | 12 | 14 | 0.042509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-864_0_5_line_16 |  | 13 | 20 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-864_0_5_line_17 |  | 14 | 15 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-864_0_5_line_18 |  | 15 | 16 | 0.029584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-864_0_5_line_19 |  | 17 | 18 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-864_0_5_line_20 |  | 17 | 19 | 0.020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-864_0_5_line_21 |  | 18 | 23 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-864_0_5_line_22 |  | 19 | 39 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-864_0_5_line_23 |  | 21 | 22 | 0.0038712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-864_0_5_line_24 |  | 21 | 23 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-864_0_5_line_25 |  | 24 | 25 | 0.028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-864_0_5_line_26 |  | 24 | 26 | 0.030023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-864_0_5_line_27 |  | 24 | 27 | 0.027422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-864_0_5_line_28 |  | 25 | 33 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-864_0_5_line_29 |  | 26 | 28 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-864_0_5_line_30 |  | 26 | 29 | 0.035948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-864_0_5_line_31 |  | 27 | 40 | 0.026912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-864_0_5_line_32 |  | 29 | 41 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-864_0_5_line_33 |  | 30 | 31 | 0.03453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-864_0_5_line_34 |  | 30 | 32 | 0.0217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-864_0_5_line_35 |  | 31 | 38 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-864_0_5_line_36 |  | 31 | 42 | 0.037413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-864_0_5_line_37 |  | 32 | 43 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-864_0_5_line_38 |  | 33 | 44 | 0.0030216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-864_0_5_line_39 |  | 34 | 35 | 0.019526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-864_0_5_line_40 |  | 34 | 36 | 0.0014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-864_0_5_line_41 |  | 35 | 37 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-864_0_5_line_42 |  | 37 | 38 | 0.0027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-864_0_5_line_43 |  | 39 | 46 | 0.030038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-864_0_5_line_44 |  | 42 | 49 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-864_0_5_line_45 |  | 43 | 51 | 0.006649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-864_0_5_line_46 |  | 43 | 47 | 0.029775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-864_0_5_line_47 |  | 44 | 50 | 0.01941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-864_0_5_line_48 |  | 45 | 46 | 0.022676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-864_0_5_line_49 |  | 47 | 48 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-864_0_5_line_50 |  | 48 | 52 | 0.026452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-864_0_5_line_51 |  | 49 | 50 | 0.02221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-864_0_5_trafo_16 | 0.63 MVA 20/0.4 kV | 53 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2684778.6218 | 1251717.4808 | 2684757.7639 | 1251716.7259
1 | 2684746.0909 | 1251716.3035 | 2684757.7639 | 1251716.7259
2 | 2684778.6218 | 1251717.4808 | 2684779.8119 | 1251686.9602
3 | 2684785.0795 | 1251717.7289 | 2684778.6218 | 1251717.4808
4 | 2684746.0909 | 1251716.3035 | 2684746.8817 | 1251685.5018
5 | 2684782.8416 | 1251664.7329 | 2684782.7894 | 1251669.4376 | 2684780.3751 | 1251672.5165 | 2684779.8119 | 1251686.9602
6 | 2684784.3369 | 1251730.5835 | 2684784.8632 | 1251723.8749 | 2684785.0795 | 1251717.7289
7 | 2684785.0795 | 1251717.7289 | 2684789.7827 | 1251717.7838
8 | 2684784.3369 | 1251730.5835 | 2684757.1157 | 1251729.4535
9 | 2684784.3369 | 1251730.5835 | 2684795.4639 | 1251731.043 | 2684812.6783 | 1251731.7788 | 2684818.2682 | 1251732.0034 | 2684817.9502 | 1251739.9827
10 | 2684810.3542 | 1251718.0241 | 2684789.7827 | 1251717.7838
11 | 2684713.3139 | 1251808.8378 | 2684712.0696 | 1251804.539 | 2684716.8813 | 1251727.7834
12 | 2684716.8813 | 1251727.7834 | 2684757.1157 | 1251729.4535
13 | 2684713.3139 | 1251808.8378 | 2684745.8383 | 1251809.9909
14 | 2684872.9937 | 1251742.4503 | 2684871.3472 | 1251739.3578 | 2684867.8306 | 1251734.0367 | 2684868.3346 | 1251727.3056 | 2684868.8737 | 1251720.2413 | 2684871.5589 | 1251719.3235 | 2684874.3191 | 1251717.3838 | 2684875.6817 | 1251715.5353 | 2684876.7432 | 1251713.0931 | 2684879.2275 | 1251703.0211 | 2684880.17 | 1251699.4096
15 | 2684872.9937 | 1251742.4503 | 2684830.5277 | 1251740.5465
16 | 2684880.17 | 1251699.4096 | 2684873.1474 | 1251699.0755 | 2684873.4271 | 1251690.5964
17 | 2684817.9502 | 1251739.9827 | 2684830.5277 | 1251740.5465
18 | 2684817.9502 | 1251739.9827 | 2684817.8458 | 1251742.5275 | 2684817.4147 | 1251757.3436 | 2684829.6203 | 1251757.8014
19 | 2684842.124 | 1251719.6356 | 2684842.6922 | 1251707.6572
20 | 2684842.124 | 1251719.6356 | 2684821.2325 | 1251718.5793
21 | 2684842.6922 | 1251707.6572 | 2684843.0649 | 1251699.8008 | 2684843.2405 | 1251692.2866 | 2684843.3566 | 1251689.3318
22 | 2684810.3542 | 1251718.0241 | 2684813.2807 | 1251718.1772 | 2684821.2325 | 1251718.5793
23 | 2684845.9024 | 1251671.3979 | 2684846.1231 | 1251667.5329
24 | 2684845.9024 | 1251671.3979 | 2684845.6904 | 1251675.131 | 2684843.8108 | 1251677.7727 | 2684843.3566 | 1251689.3318
25 | 2684798.0129 | 1251811.8514 | 2684827.0054 | 1251812.8782
26 | 2684768.0096 | 1251810.7769 | 2684792.3397 | 1251811.6479 | 2684798.0129 | 1251811.8514
27 | 2684798.0129 | 1251811.8514 | 2684796.7231 | 1251831.292 | 2684793.7979 | 1251837.8996 | 2684793.7563 | 1251838.6114
28 | 2684827.0054 | 1251812.8782 | 2684826.3465 | 1251828.8387
29 | 2684768.0096 | 1251810.7769 | 2684745.8383 | 1251809.9909
30 | 2684768.0096 | 1251810.7769 | 2684752.7122 | 1251843.3081
31 | 2684793.7563 | 1251838.6114 | 2684792.1838 | 1251865.4777
32 | 2684752.7122 | 1251843.3081 | 2684750.47 | 1251848.0763 | 2684749.3818 | 1251864.2962
33 | 2684857.8318 | 1251887.6647 | 2684855.9942 | 1251922.1421
34 | 2684855.9942 | 1251922.1421 | 2684834.3015 | 1251921.5988
35 | 2684857.8318 | 1251887.6647 | 2684858.362 | 1251873.3171
36 | 2684820.3412 | 1251886.0712 | 2684857.8318 | 1251887.6647
37 | 2684809.3271 | 1251920.9732 | 2684834.3015 | 1251921.5988
38 | 2684826.2219 | 1251831.8577 | 2684826.3465 | 1251828.8387
39 | 2684863.6862 | 1251834.6642 | 2684863.5161 | 1251851.2743 | 2684861.8412 | 1251851.7507 | 2684861.7756 | 1251852.9224
40 | 2684863.6862 | 1251834.6642 | 2684863.7069 | 1251833.2203
41 | 2684860.7153 | 1251871.8497 | 2684861.7756 | 1251852.9224
42 | 2684860.7153 | 1251871.8497 | 2684858.362 | 1251873.3171
43 | 2684810.3542 | 1251718.0241 | 2684810.8714 | 1251687.9906
44 | 2684820.3412 | 1251886.0712 | 2684821.225 | 1251870.7793
45 | 2684809.4223 | 1251914.3251 | 2684809.3271 | 1251920.9732
46 | 2684779.5152 | 1251919.2231 | 2684809.3271 | 1251920.9732
47 | 2684826.2219 | 1251831.8577 | 2684825.4214 | 1251851.2514
48 | 2684810.8714 | 1251687.9906 | 2684811.1163 | 1251673.7684 | 2684814.2564 | 1251670.0772 | 2684814.4391 | 1251666.4765
49 | 2684779.5152 | 1251919.2231 | 2684760.9525 | 1251918.9547
50 | 2684734.503 | 1251918.5722 | 2684760.9525 | 1251918.9547
51 | 2684821.225 | 1251870.7793 | 2684821.6659 | 1251863.1507 | 2684824.9594 | 1251862.4418 | 2684825.4214 | 1251851.2514

## bus_geodata
| x | y | coords
0 | 2684757.7639 | 1251716.7259
1 | 2684778.6218 | 1251717.4808
2 | 2684746.0909 | 1251716.3035
3 | 2684779.8119 | 1251686.9602
4 | 2684785.0795 | 1251717.7289
5 | 2684746.8817 | 1251685.5018
6 | 2684782.8416 | 1251664.7329
7 | 2684784.3369 | 1251730.5835
8 | 2684789.7827 | 1251717.7838
9 | 2684716.8813 | 1251727.7834
10 | 2684713.3139 | 1251808.8378
11 | 2684757.1157 | 1251729.4535
12 | 2684872.9937 | 1251742.4503
13 | 2684880.17 | 1251699.4096
14 | 2684830.5277 | 1251740.5465
15 | 2684817.9502 | 1251739.9827
16 | 2684829.6203 | 1251757.8014
17 | 2684842.124 | 1251719.6356
18 | 2684842.6922 | 1251707.6572
19 | 2684821.2325 | 1251718.5793
20 | 2684873.4271 | 1251690.5964
21 | 2684845.9024 | 1251671.3979
22 | 2684846.1231 | 1251667.5329
23 | 2684843.3566 | 1251689.3318
24 | 2684798.0129 | 1251811.8514
25 | 2684827.0054 | 1251812.8782
26 | 2684768.0096 | 1251810.7769
27 | 2684793.7563 | 1251838.6114
28 | 2684745.8383 | 1251809.9909
29 | 2684752.7122 | 1251843.3081
30 | 2684855.9942 | 1251922.1421
31 | 2684857.8318 | 1251887.6647
32 | 2684834.3015 | 1251921.5988
33 | 2684826.3465 | 1251828.8387
34 | 2684863.6862 | 1251834.6642
35 | 2684861.7756 | 1251852.9224
36 | 2684863.7069 | 1251833.2203
37 | 2684860.7153 | 1251871.8497
38 | 2684858.362 | 1251873.3171
39 | 2684810.3542 | 1251718.0241
40 | 2684792.1838 | 1251865.4777
41 | 2684749.3818 | 1251864.2962
42 | 2684820.3412 | 1251886.0712
43 | 2684809.3271 | 1251920.9732
44 | 2684826.2219 | 1251831.8577
45 | 2684814.4391 | 1251666.4765
46 | 2684810.8714 | 1251687.9906
47 | 2684779.5152 | 1251919.2231
48 | 2684760.9525 | 1251918.9547
49 | 2684821.225 | 1251870.7793
50 | 2684825.4214 | 1251851.2514
51 | 2684809.4223 | 1251914.3251
52 | 2684734.503 | 1251918.5722
53 | 2684792.3397 | 1251811.6479

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97971 | -0.38947 | 0.0089778 | 0.0022501
1 | 0.98015 | -0.3808 | 0 | 0
2 | 0.97956 | -0.39242 | 0 | 0
3 | 0.97965 | -0.39061 | 0.013372 | 0.0033513
4 | 0.98039 | -0.37606 | 0 | 0
5 | 0.97916 | -0.4002 | 0.013895 | 0.0034825
6 | 0.97956 | -0.39241 | 0.0043086 | 0.0010798
7 | 0.98128 | -0.3587 | 0 | 0
8 | 0.98024 | -0.37895 | 0.0089093 | 0.0022329
9 | 0.98659 | -0.25569 | 0 | 0
10 | 0.99268 | -0.13884 | 0 | 0
11 | 0.98357 | -0.31404 | 0.060471 | 0.015155
12 | 0.97671 | -0.44798 | 0 | 0
13 | 0.9764 | -0.45407 | 0 | 0
14 | 0.97698 | -0.44269 | 0.0031946 | 0.00080064
15 | 0.9771 | -0.44039 | 0 | 0
16 | 0.97442 | -0.493 | 0.097132 | 0.024344
17 | 0.97935 | -0.39645 | 0 | 0
18 | 0.97921 | -0.39925 | 0.0044651 | 0.0011191
19 | 0.9796 | -0.39158 | 0.0039296 | 0.00098486
20 | 0.9763 | -0.456 | 0.006802 | 0.0017047
21 | 0.97903 | -0.40269 | 0 | 0
22 | 0.97903 | -0.40283 | 0.0019311 | 0.00048398
23 | 0.97907 | -0.40204 | 0.0064365 | 0.0016131
24 | 1 | 0 | -0.47814 | -0.12222
25 | 0.99655 | -0.065375 | 0 | 0
26 | 0.99709 | -0.055016 | 0 | 0
27 | 0.99936 | -0.012224 | 0.012702 | 0.0031833
28 | 0.99511 | -0.092517 | 0.046658 | 0.011694
29 | 0.99625 | -0.071294 | 0.012821 | 0.0032132
30 | 0.98249 | -0.33594 | 0 | 0
31 | 0.98492 | -0.28863 | 0 | 0
32 | 0.98096 | -0.36578 | 0.021729 | 0.0054457
33 | 0.99464 | -0.10167 | 0.0017854 | 0.00044746
34 | 0.98409 | -0.30491 | 0 | 0
35 | 0.98424 | -0.30191 | 0.0085052 | 0.0021316
36 | 0.98408 | -0.30513 | 0.0085422 | 0.0021409
37 | 0.98454 | -0.2961 | 0 | 0
38 | 0.98458 | -0.29525 | 0.0086036 | 0.0021563
39 | 0.97977 | -0.38826 | 0 | 0
40 | 0.99905 | -0.018265 | 0.012857 | 0.0032223
41 | 0.99599 | -0.076203 | 0.012985 | 0.0032543
42 | 0.98844 | -0.2205 | 0 | 0
43 | 0.97971 | -0.3904 | 0 | 0
44 | 0.99429 | -0.10846 | 0.0085354 | 0.0021392
45 | 0.9795 | -0.39353 | 0.0019727 | 0.00049442
46 | 0.97954 | -0.39272 | 0.006196 | 0.0015529
47 | 0.97885 | -0.40715 | 0 | 0
48 | 0.97832 | -0.4176 | 0.015682 | 0.0039303
49 | 0.98989 | -0.19274 | 0.0086531 | 0.0021687
50 | 0.99215 | -0.14924 | 0.0085301 | 0.0021378
51 | 0.97956 | -0.39323 | 0.023392 | 0.0058626
52 | 0.97795 | -0.42495 | 0.015257 | 0.0038239
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02288 | -0.0057366 | 0.02289 | 0.0057424 | 9.4526e-06 | 5.7868e-06 | 0.034752 | 0.034752 | 0.034752 | 0.97971 | -0.38947 | 0.98015 | -0.3808 | 9.5474
1 | 0.013903 | 0.0034865 | -0.013901 | -0.0034854 | 1.9532e-06 | 1.103e-06 | 0.021116 | 0.021117 | 0.021117 | 0.97971 | -0.38947 | 0.97956 | -0.39242 | 5.8012
2 | 0.017689 | 0.004436 | -0.017681 | -0.0044311 | 8.261e-06 | 4.9023e-06 | 0.026856 | 0.026856 | 0.026856 | 0.98015 | -0.3808 | 0.97965 | -0.39061 | 7.378
3 | -0.040579 | -0.010178 | 0.040588 | 0.010184 | 9.1705e-06 | 5.7879e-06 | 0.061608 | 0.061608 | 0.061608 | 0.98015 | -0.3808 | 0.98039 | -0.37606 | 16.9253
4 | 0.013901 | 0.0034854 | -0.013895 | -0.0034825 | 5.1522e-06 | 2.9097e-06 | 0.021117 | 0.021117 | 0.021117 | 0.97956 | -0.39242 | 0.97916 | -0.4002 | 5.8013
5 | 0.004309 | 0.0010798 | -0.0043086 | -0.0010798 | 3.7063e-07 | -5.3264e-08 | 0.006545 | 0.0065451 | 0.0065451 | 0.97965 | -0.39061 | 0.97956 | -0.39241 | 1.7981
6 | -0.074455 | -0.01868 | 0.074516 | 0.018719 | 6.1684e-05 | 3.9315e-05 | 0.11301 | 0.11301 | 0.11301 | 0.98039 | -0.37606 | 0.98128 | -0.3587 | 31.0475
7 | 0.033867 | 0.0084959 | -0.033862 | -0.0084929 | 4.6608e-06 | 2.9236e-06 | 0.051405 | 0.051405 | 0.051405 | 0.98039 | -0.37606 | 0.98024 | -0.37895 | 14.1222
8 | -0.18232 | -0.045995 | 0.18271 | 0.046244 | 0.00039075 | 0.00024939 | 0.27657 | 0.27657 | 0.27657 | 0.98128 | -0.3587 | 0.98357 | -0.31404 | 37.9908
9 | 0.1078 | 0.027276 | -0.10738 | -0.027007 | 0.00042081 | 0.00026879 | 0.16356 | 0.16356 | 0.16356 | 0.98128 | -0.3587 | 0.9771 | -0.44039 | 44.9342
10 | 0.024953 | 0.00626 | -0.024941 | -0.0062532 | 1.107e-05 | 6.8257e-06 | 0.03788 | 0.037881 | 0.037881 | 0.98024 | -0.37895 | 0.97977 | -0.38826 | 10.4067
11 | -0.24386 | -0.061835 | 0.24524 | 0.062714 | 0.0013782 | 0.00087889 | 0.36806 | 0.36806 | 0.36806 | 0.98659 | -0.25569 | 0.99268 | -0.13884 | 33.7048
12 | 0.24386 | 0.061835 | -0.24318 | -0.0614 | 0.00068188 | 0.00043487 | 0.36806 | 0.36806 | 0.36806 | 0.98659 | -0.25569 | 0.98357 | -0.31404 | 33.7048
13 | -0.24524 | -0.062714 | 0.24579 | 0.063065 | 0.00055108 | 0.00035143 | 0.36806 | 0.36805 | 0.36806 | 0.99268 | -0.13884 | 0.99511 | -0.092517 | 33.7047
14 | 0.0068046 | 0.0017056 | -0.0068027 | -0.001705 | 1.9746e-06 | 6.5076e-07 | 0.010367 | 0.010367 | 0.010367 | 0.97671 | -0.44798 | 0.9764 | -0.45407 | 2.8481
15 | -0.0068046 | -0.0017056 | 0.0068063 | 0.0017062 | 1.7132e-06 | 5.6427e-07 | 0.010367 | 0.010367 | 0.010367 | 0.97671 | -0.44798 | 0.97698 | -0.44269 | 2.8481
16 | 0.0068027 | 0.001705 | -0.006802 | -0.0017047 | 6.2529e-07 | 2.0616e-07 | 0.010367 | 0.010367 | 0.010367 | 0.9764 | -0.45407 | 0.9763 | -0.456 | 2.8481
17 | -0.010001 | -0.0025068 | 0.010002 | 0.0025074 | 1.0955e-06 | 5.4342e-07 | 0.015232 | 0.015232 | 0.015232 | 0.97698 | -0.44269 | 0.9771 | -0.44039 | 4.1847
18 | 0.097376 | 0.024499 | -0.097132 | -0.024344 | 0.00024408 | 0.00015584 | 0.14833 | 0.14833 | 0.14833 | 0.9771 | -0.44039 | 0.97442 | -0.493 | 40.7496
19 | 0.012836 | 0.0032174 | -0.012834 | -0.0032164 | 1.7104e-06 | 9.4379e-07 | 0.019503 | 0.019503 | 0.019503 | 0.97935 | -0.39645 | 0.97921 | -0.39925 | 5.3579
20 | -0.012836 | -0.0032174 | 0.012839 | 0.003219 | 2.9836e-06 | 1.6462e-06 | 0.019503 | 0.019502 | 0.019503 | 0.97935 | -0.39645 | 0.9796 | -0.39158 | 5.3578
21 | 0.0083688 | 0.0020974 | -0.0083677 | -0.0020969 | 1.1122e-06 | 4.8117e-07 | 0.012717 | 0.012717 | 0.012717 | 0.97921 | -0.39925 | 0.97907 | -0.40204 | 3.4938
22 | -0.016768 | -0.0042039 | 0.016771 | 0.0042054 | 2.6502e-06 | 1.5589e-06 | 0.025472 | 0.025472 | 0.025472 | 0.9796 | -0.39158 | 0.97977 | -0.38826 | 6.9977
23 | 0.0019311 | 0.00048394 | -0.0019311 | -0.00048398 | 1.2506e-08 | -4.0676e-08 | 0.0029351 | 0.0029351 | 0.0029351 | 0.97903 | -0.40269 | 0.97903 | -0.40283 | 0.80634
24 | -0.0019311 | -0.00048394 | 0.0019312 | 0.00048374 | 5.9921e-08 | -1.9491e-07 | 0.0029351 | 0.002935 | 0.0029351 | 0.97903 | -0.40269 | 0.97907 | -0.40204 | 0.80633
25 | 0.13125 | 0.033683 | -0.13084 | -0.033417 | 0.00041492 | 0.00026517 | 0.19558 | 0.19558 | 0.19558 | 1 | 0 | 0.99655 | -0.065375 | 53.7316
26 | 0.31966 | 0.082123 | -0.31881 | -0.081579 | 0.00085162 | 0.00054386 | 0.47637 | 0.47637 | 0.47637 | 1 | 0 | 0.99709 | -0.055016 | 43.6236
27 | 0.025577 | 0.0064168 | -0.025562 | -0.0064076 | 1.4898e-05 | 9.175e-06 | 0.038062 | 0.038062 | 0.038062 | 1 | 0 | 0.99936 | -0.012224 | 10.4566
28 | 0.13084 | 0.033417 | -0.13061 | -0.033271 | 0.00022914 | 0.00014644 | 0.19558 | 0.19558 | 0.19558 | 0.99655 | -0.065375 | 0.99464 | -0.10167 | 53.7316
29 | 0.29298 | 0.075098 | -0.29245 | -0.074759 | 0.00053158 | 0.00033935 | 0.43782 | 0.43782 | 0.43782 | 0.99709 | -0.055016 | 0.99511 | -0.092517 | 40.0936
30 | 0.025829 | 0.0064815 | -0.025809 | -0.0064691 | 2.0032e-05 | 1.2352e-05 | 0.038548 | 0.038549 | 0.038549 | 0.99709 | -0.055016 | 0.99625 | -0.071294 | 10.5903
31 | 0.012861 | 0.0032243 | -0.012857 | -0.0032223 | 3.7009e-06 | 2.0161e-06 | 0.01915 | 0.01915 | 0.01915 | 0.99936 | -0.012224 | 0.99905 | -0.018265 | 5.261
32 | 0.012988 | 0.0032559 | -0.012985 | -0.0032543 | 3.0377e-06 | 1.6639e-06 | 0.019399 | 0.019399 | 0.019399 | 0.99625 | -0.071294 | 0.99599 | -0.076203 | 5.3294
33 | -0.076281 | -0.019202 | 0.076454 | 0.019313 | 0.00017292 | 0.00011023 | 0.11556 | 0.11556 | 0.11556 | 0.98249 | -0.33594 | 0.98492 | -0.28863 | 31.7475
34 | 0.076281 | 0.019202 | -0.076173 | -0.019133 | 0.00010867 | 6.9273e-05 | 0.11556 | 0.11556 | 0.11556 | 0.98249 | -0.33594 | 0.98096 | -0.36578 | 31.7475
35 | 0.025666 | 0.0064375 | -0.025658 | -0.0064325 | 8.096e-06 | 4.9988e-06 | 0.038778 | 0.038778 | 0.038778 | 0.98492 | -0.28863 | 0.98458 | -0.29525 | 10.6532
36 | -0.10212 | -0.02575 | 0.10245 | 0.025964 | 0.0003342 | 0.00021341 | 0.15434 | 0.15434 | 0.15434 | 0.98492 | -0.28863 | 0.98844 | -0.2205 | 42.4006
37 | 0.054444 | 0.013687 | -0.05438 | -0.013647 | 6.392e-05 | 4.0594e-05 | 0.082601 | 0.082601 | 0.082601 | 0.98096 | -0.36578 | 0.97971 | -0.3904 | 22.6927
38 | 0.12882 | 0.032823 | -0.12878 | -0.032797 | 4.2168e-05 | 2.6948e-05 | 0.19291 | 0.19291 | 0.19291 | 0.99464 | -0.10167 | 0.99429 | -0.10846 | 52.9978
39 | -0.0085423 | -0.0021409 | 0.0085435 | 0.0021415 | 1.2216e-06 | 5.3372e-07 | 0.012917 | 0.012917 | 0.012917 | 0.98409 | -0.30491 | 0.98424 | -0.30191 | 3.5485
40 | 0.0085423 | 0.0021409 | -0.0085422 | -0.0021409 | 9.0346e-08 | 3.9475e-08 | 0.012917 | 0.012917 | 0.012917 | 0.98409 | -0.30491 | 0.98408 | -0.30513 | 3.5485
41 | -0.017049 | -0.0042731 | 0.017053 | 0.0042758 | 4.7228e-06 | 2.7816e-06 | 0.025775 | 0.025775 | 0.025775 | 0.98424 | -0.30191 | 0.98454 | -0.2961 | 7.0811
42 | -0.017053 | -0.0042758 | 0.017054 | 0.0042763 | 6.9093e-07 | 4.0693e-07 | 0.025775 | 0.025775 | 0.025775 | 0.98454 | -0.2961 | 0.98458 | -0.29525 | 7.081
43 | 0.0081706 | 0.0020478 | -0.0081688 | -0.002047 | 1.7345e-06 | 7.3189e-07 | 0.012409 | 0.012409 | 0.012409 | 0.97977 | -0.38826 | 0.97954 | -0.39272 | 3.4091
44 | -0.10245 | -0.025964 | 0.10259 | 0.026051 | 0.00013682 | 8.7371e-05 | 0.15434 | 0.15434 | 0.15434 | 0.98844 | -0.2205 | 0.98989 | -0.19274 | 42.4006
45 | 0.023395 | 0.0058645 | -0.023392 | -0.0058626 | 3.1483e-06 | 1.9312e-06 | 0.035534 | 0.035534 | 0.035534 | 0.97971 | -0.3904 | 0.97956 | -0.39323 | 9.7621
46 | 0.030985 | 0.0077824 | -0.03096 | -0.0077669 | 2.4736e-05 | 1.5456e-05 | 0.047067 | 0.047067 | 0.047067 | 0.97971 | -0.3904 | 0.97885 | -0.40715 | 12.9306
47 | 0.12024 | 0.030657 | -0.12001 | -0.030506 | 0.0002362 | 0.00015091 | 0.18014 | 0.18014 | 0.18014 | 0.99429 | -0.10846 | 0.99215 | -0.14924 | 49.4886
48 | -0.0019727 | -0.00049442 | 0.0019728 | 0.00049418 | 7.6371e-08 | -2.3655e-07 | 0.0029969 | 0.0029968 | 0.0029969 | 0.9795 | -0.39353 | 0.97954 | -0.39272 | 0.82333
49 | 0.03096 | 0.0077669 | -0.030945 | -0.0077573 | 1.5423e-05 | 9.6373e-06 | 0.047067 | 0.047068 | 0.047068 | 0.97885 | -0.40715 | 0.97832 | -0.4176 | 12.9306
50 | 0.015263 | 0.0038269 | -0.015257 | -0.0038239 | 5.3461e-06 | 3.0895e-06 | 0.023215 | 0.023215 | 0.023215 | 0.97832 | -0.4176 | 0.97795 | -0.42495 | 6.3778
51 | -0.11124 | -0.02822 | 0.11148 | 0.028369 | 0.00023324 | 0.00014899 | 0.16735 | 0.16735 | 0.16735 | 0.98989 | -0.19274 | 0.99215 | -0.14924 | 45.974

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47814 | 0.12222

## res_load
| p_mw | q_mvar
0 | 0.0089778 | 0.0022501
1 | 0.013372 | 0.0033513
2 | 0.013895 | 0.0034825
3 | 0.0043086 | 0.0010798
4 | 0.0089093 | 0.0022329
5 | 0.060471 | 0.015155
6 | 0.0031946 | 0.00080064
7 | 0.097132 | 0.024344
8 | 0.0044651 | 0.0011191
9 | 0.0039296 | 0.00098486
10 | 0.006802 | 0.0017047
11 | 0.0019311 | 0.00048398
12 | 0.0064365 | 0.0016131
13 | 0.012702 | 0.0031833
14 | 0.046658 | 0.011694
15 | 0.012821 | 0.0032132
16 | 0.021729 | 0.0054457
17 | 0.0017854 | 0.00044746
18 | 0.0085052 | 0.0021316
19 | 0.0085422 | 0.0021409
20 | 0.0086036 | 0.0021563
21 | 0.012857 | 0.0032223
22 | 0.012985 | 0.0032543
23 | 0.0085354 | 0.0021392
24 | 0.0019727 | 0.00049442
25 | 0.006196 | 0.0015529
26 | 0.015682 | 0.0039303
27 | 0.0086531 | 0.0021687
28 | 0.0085301 | 0.0021378
29 | 0.023392 | 0.0058626
30 | 0.015257 | 0.0038239

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1