## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-869_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-869_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-869_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-869_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-869_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-869_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_261-869_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_261-869_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_261-869_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_261-869_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_261-869_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-869_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-869_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_261-869_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_261-869_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_261-869_0_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_261-869_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_261-869_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_261-869_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_261-869_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-869_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_261-869_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_261-869_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-869_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_261-869_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_261-869_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_261-869_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_261-869_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_261-869_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_261-869_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_261-869_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-869_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_261-869_0_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_261-869_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-869_0_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_261-869_0_4_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_261-869_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_261-869_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_261-869_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_261-869_0_4_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_261-869_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_261-869_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_261-869_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-869_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_261-869_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_261-869_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_261-869_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_261-869_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_261-869_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_261-869_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_261-869_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_261-869_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_261-869_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_261-869_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_261-869_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_261-869_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_261-869_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_261-869_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_261-869_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_MV_539_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-869_0_4_load_0 | 0 | 0.0083878 | 0.0021022 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-869_0_4_load_1 | 1 | 0.019092 | 0.0047849 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-869_0_4_load_35 | 5 | 0.0032834 | 0.00082291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-869_0_4_load_33 | 6 | 0.0050662 | 0.0012697 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-869_0_4_load_29 | 8 | 0.011857 | 0.0029716 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-869_0_4_load_34 | 12 | 0.022321 | 0.0055942 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-869_0_4_load_27 | 13 | 0.0277 | 0.0069423 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-869_0_4_load_52 | 15 | 0.0025082 | 0.00062861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-869_0_4_load_65 | 18 | 0.010039 | 0.0025161 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-869_0_4_load_57 | 21 | 0.026036 | 0.0065253 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-869_0_4_load_54 | 23 | 0.014688 | 0.0036811 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-869_0_4_load_53 | 24 | 0.013021 | 0.0032633 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-869_0_4_load_55 | 26 | 0.026899 | 0.0067414 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-869_0_4_load_60 | 28 | 0.010604 | 0.0026575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-869_0_4_load_58 | 29 | 0.012257 | 0.0030719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-869_0_4_load_59 | 32 | 0.018649 | 0.0046739 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-869_0_4_load_64 | 34 | 0.022236 | 0.005573 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-869_0_4_load_63 | 35 | 0.010273 | 0.0025747 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-869_0_4_load_43 | 37 | 0.044584 | 0.011174 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-869_0_4_load_42 | 38 | 0.024112 | 0.0060431 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-869_0_4_load_46 | 39 | 0.016012 | 0.0040129 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-869_0_4_load_32 | 40 | 0.027633 | 0.0069256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-869_0_4_load_41 | 41 | 0.0032629 | 0.00081775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-869_0_4_load_28 | 42 | 0.013042 | 0.0032687 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-869_0_4_load_26 | 43 | 0.016191 | 0.0040578 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-869_0_4_load_30 | 44 | 0.016967 | 0.0042523 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-869_0_4_load_31 | 45 | 0.016654 | 0.0041739 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-869_0_4_load_47 | 46 | 0.010447 | 0.0026182 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-869_0_4_load_51 | 47 | 0.0031347 | 0.00078562 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-869_0_4_load_45 | 48 | 0.016659 | 0.0041752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-869_0_4_load_39 | 49 | 0.0031488 | 0.00078916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-869_0_4_load_37 | 50 | 0.00312 | 0.00078194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-869_0_4_load_62 | 51 | 0.0089778 | 0.00225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-869_0_4_load_61 | 52 | 0.0059302 | 0.0014862 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-869_0_4_load_56 | 53 | 0.012313 | 0.0030858 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-869_0_4_load_40 | 54 | 0.0036027 | 0.00090292 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-869_0_4_load_36 | 55 | 0.0032981 | 0.00082659 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-869_0_4_load_38 | 56 | 0.0025585 | 0.00064121 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-869_0_4_load_50 | 57 | 0.0072178 | 0.001809 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-869_0_4_line_0 |  | 0 | 1 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-869_0_4_line_1 |  | 0 | 2 | 0.0058165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-869_0_4_line_2 |  | 1 | 3 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-869_0_4_line_3 |  | 2 | 4 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-869_0_4_line_4 |  | 3 | 5 | 0.018143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-869_0_4_line_5 |  | 3 | 6 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-869_0_4_line_6 |  | 4 | 7 | 0.001748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_261-869_0_4_line_7 |  | 4 | 8 | 0.025424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-869_0_4_line_8 |  | 5 | 41 | 0.0062658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-869_0_4_line_9 |  | 7 | 38 | 0.0094761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-869_0_4_line_10 |  | 7 | 17 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-869_0_4_line_11 |  | 8 | 42 | 0.025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-869_0_4_line_12 |  | 9 | 10 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-869_0_4_line_13 |  | 9 | 11 | 0.04207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-869_0_4_line_14 |  | 9 | 12 | 0.018208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-869_0_4_line_15 |  | 10 | 13 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-869_0_4_line_16 |  | 11 | 14 | 0.068793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-869_0_4_line_17 |  | 11 | 15 | 0.049487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-869_0_4_line_18 |  | 13 | 43 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-869_0_4_line_19 |  | 14 | 46 | 0.065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-869_0_4_line_20 |  | 15 | 47 | 0.0065419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-869_0_4_line_21 |  | 16 | 17 | 0.008656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-869_0_4_line_22 |  | 16 | 18 | 0.0036635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-869_0_4_line_23 |  | 17 | 35 | 0.0098043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-869_0_4_line_24 |  | 18 | 51 | 0.018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-869_0_4_line_25 |  | 19 | 20 | 0.0077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-869_0_4_line_26 |  | 19 | 21 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-869_0_4_line_27 |  | 20 | 25 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-869_0_4_line_28 |  | 20 | 26 | 0.010069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-869_0_4_line_29 |  | 21 | 53 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-869_0_4_line_30 |  | 22 | 23 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-869_0_4_line_31 |  | 22 | 24 | 0.0083194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-869_0_4_line_32 |  | 23 | 53 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-869_0_4_line_33 |  | 25 | 36 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-869_0_4_line_34 |  | 25 | 39 | 0.0091449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-869_0_4_line_35 |  | 27 | 28 | 0.0080363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-869_0_4_line_36 |  | 27 | 29 | 0.0085323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-869_0_4_line_37 |  | 28 | 52 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-869_0_4_line_38 |  | 29 | 32 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-869_0_4_line_39 |  | 30 | 31 | 0.004893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-869_0_4_line_40 |  | 30 | 32 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-869_0_4_line_41 |  | 31 | 33 | 0.010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-869_0_4_line_42 |  | 31 | 34 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-869_0_4_line_43 |  | 33 | 36 | 0.008036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_261-869_0_4_line_44 |  | 33 | 37 | 0.0093287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-869_0_4_line_45 |  | 34 | 35 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-869_0_4_line_46 |  | 36 | 40 | 0.029804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-869_0_4_line_47 |  | 39 | 48 | 0.016068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-869_0_4_line_48 |  | 40 | 45 | 0.022324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-869_0_4_line_49 |  | 41 | 54 | 0.0022313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-869_0_4_line_50 |  | 42 | 43 | 0.022748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-869_0_4_line_51 |  | 44 | 45 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-869_0_4_line_52 |  | 46 | 58 | 0.026163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-869_0_4_line_53 |  | 49 | 50 | 0.0079522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-869_0_4_line_54 |  | 50 | 55 | 0.0072478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-869_0_4_line_55 |  | 54 | 56 | 0.0048407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-869_0_4_line_56 |  | 55 | 56 | 0.00052669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-869_0_4_line_57 |  | 57 | 58 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-869_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 59 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2684607.5161 | 1245470.0627 | 2684625.7685 | 1245451.6312
1 | 2684603.4234 | 1245474.1956 | 2684607.5161 | 1245470.0627
2 | 2684640.1007 | 1245437.1583 | 2684625.7685 | 1245451.6312
3 | 2684595.392 | 1245466.1974 | 2684598.2291 | 1245468.5952 | 2684600.35 | 1245470.8827 | 2684603.4234 | 1245474.1956
4 | 2684640.1007 | 1245437.1583 | 2684654.4883 | 1245448.2108
5 | 2684640.1007 | 1245437.1583 | 2684647.9711 | 1245429.2937
6 | 2684594.0556 | 1245465.0664 | 2684595.392 | 1245466.1974
7 | 2684595.392 | 1245466.1974 | 2684603.2085 | 1245459.6041 | 2684613.8702 | 1245448.7731
8 | 2684659.4572 | 1245452.0279 | 2684654.4883 | 1245448.2108
9 | 2684594.0556 | 1245465.0664 | 2684592.4727 | 1245463.7318 | 2684587.5105 | 1245458.2345
10 | 2684585.9075 | 1245471.5995 | 2684588.9494 | 1245469.1744 | 2684594.0556 | 1245465.0664
11 | 2684613.8702 | 1245448.7731 | 2684631.945 | 1245430.4113
12 | 2684672.5969 | 1245390.8102 | 2684676.7687 | 1245394.4613 | 2684682.0676 | 1245399.0848
13 | 2684720.4683 | 1245396.4533 | 2684708.9446 | 1245395.4213 | 2684687.7499 | 1245393.7953 | 2684685.2635 | 1245393.2928 | 2684684.7283 | 1245395.32 | 2684682.0676 | 1245399.0848
14 | 2684682.0676 | 1245399.0848 | 2684669.4024 | 1245412.1661
15 | 2684672.5969 | 1245390.8102 | 2684670.0222 | 1245391.7297 | 2684663.4353 | 1245398.4212
16 | 2684756.6843 | 1245357.9423 | 2684726.4844 | 1245358.289 | 2684722.2748 | 1245389.5407 | 2684720.4683 | 1245396.4533
17 | 2684720.4683 | 1245396.4533 | 2684719.76 | 1245430.6794 | 2684728.9354 | 1245442.8646
18 | 2684647.9031 | 1245414.2 | 2684663.4353 | 1245398.4212
19 | 2684756.6843 | 1245357.9423 | 2684758.0774 | 1245421.6979 | 2684758.2334 | 1245423.3772
20 | 2684732.8705 | 1245448.0906 | 2684728.9354 | 1245442.8646
21 | 2684585.6351 | 1245479.5681 | 2684587.05 | 1245475.7299 | 2684587.1906 | 1245473.2857 | 2684585.9075 | 1245471.5995
22 | 2684585.6351 | 1245479.5681 | 2684583.9053 | 1245482.7976
23 | 2684585.9075 | 1245471.5995 | 2684583.2901 | 1245470.7504 | 2684578.531 | 1245465.5455
24 | 2684583.9053 | 1245482.7976 | 2684575.3289 | 1245498.8098
25 | 2684542.6785 | 1245437.714 | 2684546.649 | 1245431.1102
26 | 2684542.6785 | 1245437.714 | 2684532.514 | 1245452.1252
27 | 2684546.649 | 1245431.1102 | 2684548.8729 | 1245427.7616 | 2684551.4827 | 1245423.8515 | 2684552.7414 | 1245421.9569
28 | 2684546.649 | 1245431.1102 | 2684540.0476 | 1245423.5072
29 | 2684522.1684 | 1245466.7933 | 2684532.514 | 1245452.1252
30 | 2684502.9802 | 1245497.4811 | 2684514.6895 | 1245478.2844
31 | 2684502.9802 | 1245497.4811 | 2684496.4839 | 1245492.2839
32 | 2684514.6895 | 1245478.2844 | 2684518.6939 | 1245471.7194 | 2684522.1684 | 1245466.7933
33 | 2684552.7414 | 1245421.9569 | 2684556.2754 | 1245424.2312 | 2684557.3236 | 1245424.9133 | 2684559.3527 | 1245426.221 | 2684563.0813 | 1245428.6314
34 | 2684552.7414 | 1245421.9569 | 2684557.5573 | 1245414.1829
35 | 2684526.5793 | 1245482.0171 | 2684533.0094 | 1245486.8373
36 | 2684526.5793 | 1245482.0171 | 2684531.4721 | 1245475.0271
37 | 2684533.0094 | 1245486.8373 | 2684538.6758 | 1245491.085 | 2684541.7968 | 1245493.9043
38 | 2684531.4721 | 1245475.0271 | 2684535.2567 | 1245469.6205 | 2684540.1619 | 1245467.411 | 2684541.6899 | 1245465.1789
39 | 2684558.8866 | 1245444.0607 | 2684556.0338 | 1245443.8199 | 2684554.9738 | 1245445.5616
40 | 2684554.9738 | 1245445.5616 | 2684553.8209 | 1245447.4577 | 2684541.6899 | 1245465.1789
41 | 2684558.8866 | 1245444.0607 | 2684563.147 | 1245439.3847 | 2684565.9632 | 1245435.8334
42 | 2684558.8866 | 1245444.0607 | 2684568.1433 | 1245454.1846
43 | 2684565.9632 | 1245435.8334 | 2684565.0316 | 1245434.9305 | 2684564.083 | 1245433.6272 | 2684563.5818 | 1245432.2079 | 2684563.2519 | 1245430.9689 | 2684563.0813 | 1245428.6314
44 | 2684565.9632 | 1245435.8334 | 2684570.8859 | 1245439.8176 | 2684572.8932 | 1245442.0413
45 | 2684578.531 | 1245465.5455 | 2684568.1433 | 1245454.1846
46 | 2684563.0813 | 1245428.6314 | 2684579.4936 | 1245403.7537
47 | 2684566.5737 | 1245400.8918 | 2684560.4911 | 1245409.4471 | 2684557.5573 | 1245414.1829
48 | 2684591.7868 | 1245385.1196 | 2684579.4936 | 1245403.7537
49 | 2684659.4572 | 1245452.0279 | 2684661.2266 | 1245453.3872
50 | 2684647.9031 | 1245414.2 | 2684631.945 | 1245430.4113
51 | 2684591.7868 | 1245385.1196 | 2684604.0578 | 1245366.5194
52 | 2684777.2629 | 1245440.1745 | 2684760.6852 | 1245428.5068 | 2684758.431 | 1245425.5058 | 2684758.2334 | 1245423.3772
53 | 2684661.4744 | 1245470.3308 | 2684665.284 | 1245463.3505
54 | 2684665.4831 | 1245456.657 | 2684666.7596 | 1245459.3327 | 2684665.4058 | 1245463.1273 | 2684665.284 | 1245463.3505
55 | 2684661.2266 | 1245453.3872 | 2684665.0654 | 1245456.3361
56 | 2684665.4831 | 1245456.657 | 2684665.4831 | 1245456.657 | 2684665.0654 | 1245456.3361
57 | 2684777.2629 | 1245440.1745 | 2684767.0143 | 1245454.3177

## bus_geodata
| x | y | coords
0 | 2684607.5161 | 1245470.0627
1 | 2684625.7685 | 1245451.6312
2 | 2684603.4234 | 1245474.1956
3 | 2684640.1007 | 1245437.1583
4 | 2684595.392 | 1245466.1974
5 | 2684654.4883 | 1245448.2108
6 | 2684647.9711 | 1245429.2937
7 | 2684594.0556 | 1245465.0664
8 | 2684613.8702 | 1245448.7731
9 | 2684682.0676 | 1245399.0848
10 | 2684672.5969 | 1245390.8102
11 | 2684720.4683 | 1245396.4533
12 | 2684669.4024 | 1245412.1661
13 | 2684663.4353 | 1245398.4212
14 | 2684756.6843 | 1245357.9423
15 | 2684728.9354 | 1245442.8646
16 | 2684585.6351 | 1245479.5681
17 | 2684585.9075 | 1245471.5995
18 | 2684583.9053 | 1245482.7976
19 | 2684542.6785 | 1245437.714
20 | 2684546.649 | 1245431.1102
21 | 2684532.514 | 1245452.1252
22 | 2684502.9802 | 1245497.4811
23 | 2684514.6895 | 1245478.2844
24 | 2684496.4839 | 1245492.2839
25 | 2684552.7414 | 1245421.9569
26 | 2684540.0476 | 1245423.5072
27 | 2684526.5793 | 1245482.0171
28 | 2684533.0094 | 1245486.8373
29 | 2684531.4721 | 1245475.0271
30 | 2684554.9738 | 1245445.5616
31 | 2684558.8866 | 1245444.0607
32 | 2684541.6899 | 1245465.1789
33 | 2684565.9632 | 1245435.8334
34 | 2684568.1433 | 1245454.1846
35 | 2684578.531 | 1245465.5455
36 | 2684563.0813 | 1245428.6314
37 | 2684572.8932 | 1245442.0413
38 | 2684587.5105 | 1245458.2346
39 | 2684557.5573 | 1245414.1829
40 | 2684579.4936 | 1245403.7537
41 | 2684659.4572 | 1245452.0279
42 | 2684631.945 | 1245430.4113
43 | 2684647.9031 | 1245414.2
44 | 2684604.0578 | 1245366.5194
45 | 2684591.7868 | 1245385.1196
46 | 2684758.2334 | 1245423.3772
47 | 2684732.8705 | 1245448.0906
48 | 2684566.5737 | 1245400.8918
49 | 2684661.4744 | 1245470.3308
50 | 2684665.284 | 1245463.3505
51 | 2684575.3289 | 1245498.8098
52 | 2684541.7968 | 1245493.9043
53 | 2684522.1684 | 1245466.7933
54 | 2684661.2266 | 1245453.3872
55 | 2684665.4831 | 1245456.657
56 | 2684665.0654 | 1245456.3361
57 | 2684767.0143 | 1245454.3177
58 | 2684777.2629 | 1245440.1745
59 | 2684565.9632 | 1245435.8334

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99477 | -0.10027 | 0.0083878 | 0.0021022
1 | 0.99367 | -0.12151 | 0.019092 | 0.0047849
2 | 0.99506 | -0.094654 | 0 | 0
3 | 0.99316 | -0.13134 | 0 | 0
4 | 0.99563 | -0.083704 | 0 | 0
5 | 0.99279 | -0.13849 | 0.0032834 | 0.00082291
6 | 0.99311 | -0.13234 | 0.0050662 | 0.0012697
7 | 0.99576 | -0.081103 | 0 | 0
8 | 0.99295 | -0.135 | 0.011857 | 0.0029716
9 | 0.98612 | -0.26726 | 0 | 0
10 | 0.98665 | -0.25698 | 0 | 0
11 | 0.98522 | -0.28486 | 0 | 0
12 | 0.98575 | -0.27455 | 0.022321 | 0.0055942
13 | 0.98716 | -0.24708 | 0.0277 | 0.0069423
14 | 0.98409 | -0.30671 | 0 | 0
15 | 0.98496 | -0.28987 | 0.0025082 | 0.00062861
16 | 0.99607 | -0.075124 | 0 | 0
17 | 0.99622 | -0.072232 | 0 | 0
18 | 0.99601 | -0.076348 | 0.010039 | 0.0025161
19 | 0.99549 | -0.086588 | 0 | 0
20 | 0.99595 | -0.077646 | 0 | 0
21 | 0.99443 | -0.1071 | 0.026036 | 0.0065253
22 | 0.99316 | -0.13165 | 0 | 0
23 | 0.99342 | -0.12648 | 0.014688 | 0.0036811
24 | 0.99306 | -0.13357 | 0.013021 | 0.0032633
25 | 0.99689 | -0.059703 | 0 | 0
26 | 0.99571 | -0.082406 | 0.026899 | 0.0067414
27 | 0.99651 | -0.067013 | 0 | 0
28 | 0.99639 | -0.069345 | 0.010604 | 0.0026575
29 | 0.99664 | -0.064537 | 0.012257 | 0.0030719
30 | 0.99804 | -0.037431 | 0 | 0
31 | 0.99825 | -0.03337 | 0 | 0
32 | 0.99702 | -0.057121 | 0.018649 | 0.0046739
33 | 0.99898 | -0.0195 | 0 | 0
34 | 0.99749 | -0.048072 | 0.022236 | 0.005573
35 | 0.9967 | -0.063094 | 0.010273 | 0.0025747
36 | 0.9983 | -0.032624 | 0 | 0
37 | 1 | 0 | -0.48373 | -0.12193
38 | 0.99555 | -0.08512 | 0.024112 | 0.0060431
39 | 0.99661 | -0.064944 | 0.016012 | 0.0040129
40 | 0.99663 | -0.064606 | 0.027633 | 0.0069256
41 | 0.99268 | -0.14059 | 0.0032629 | 0.00081775
42 | 0.99052 | -0.18183 | 0.013042 | 0.0032687
43 | 0.98865 | -0.21808 | 0.016191 | 0.0040578
44 | 0.99561 | -0.084432 | 0.016967 | 0.0042523
45 | 0.99595 | -0.077786 | 0.016654 | 0.0041739
46 | 0.98303 | -0.32754 | 0.010447 | 0.0026182
47 | 0.98494 | -0.29024 | 0.0031347 | 0.00078562
48 | 0.99637 | -0.069643 | 0.016659 | 0.0041752
49 | 0.99253 | -0.14359 | 0.0031488 | 0.00078916
50 | 0.99255 | -0.14314 | 0.00312 | 0.00078194
51 | 0.99586 | -0.079214 | 0.0089778 | 0.00225
52 | 0.99633 | -0.070521 | 0.0059302 | 0.0014862
53 | 0.99377 | -0.11977 | 0.012313 | 0.0030858
54 | 0.99265 | -0.14121 | 0.0036027 | 0.00090292
55 | 0.99259 | -0.14234 | 0.0032981 | 0.00082659
56 | 0.9926 | -0.14225 | 0.0025585 | 0.00064121
57 | 0.98274 | -0.33323 | 0.0072178 | 0.001809
58 | 0.98285 | -0.33095 | 0 | 0
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.046504 | 0.011681 | -0.046457 | -0.011651 | 4.7083e-05 | 2.9797e-05 | 0.069572 | 0.069572 | 0.069572 | 0.99477 | -0.10027 | 0.99367 | -0.12151 | 19.1131
1 | -0.054892 | -0.013783 | 0.054906 | 0.013793 | 1.4709e-05 | 9.3381e-06 | 0.082119 | 0.082118 | 0.082119 | 0.99477 | -0.10027 | 0.99506 | -0.094654 | 22.56
2 | 0.027365 | 0.0068665 | -0.027352 | -0.0068586 | 1.2828e-05 | 7.9463e-06 | 0.040981 | 0.040981 | 0.040981 | 0.99367 | -0.12151 | 0.99316 | -0.13134 | 11.2586
3 | -0.054906 | -0.013793 | 0.054935 | 0.013811 | 2.8709e-05 | 1.8226e-05 | 0.082118 | 0.082118 | 0.082118 | 0.99506 | -0.094654 | 0.99563 | -0.083704 | 22.56
4 | 0.022285 | 0.0055889 | -0.022278 | -0.0055842 | 7.5855e-06 | 4.62e-06 | 0.033391 | 0.033391 | 0.033391 | 0.99316 | -0.13134 | 0.99279 | -0.13849 | 9.1733
5 | 0.0050665 | 0.0012697 | -0.0050662 | -0.0012697 | 2.4042e-07 | 9.8972e-09 | 0.0075909 | 0.0075909 | 0.0075909 | 0.99316 | -0.13134 | 0.99311 | -0.13234 | 2.0854
6 | -0.17024 | -0.043047 | 0.17026 | 0.04306 | 2.1239e-05 | 1.3547e-05 | 0.25456 | 0.25456 | 0.25456 | 0.99563 | -0.083704 | 0.99576 | -0.081103 | 34.9673
7 | 0.1153 | 0.029236 | -0.11502 | -0.029055 | 0.00028351 | 0.00018112 | 0.17244 | 0.17244 | 0.17244 | 0.99563 | -0.083704 | 0.99295 | -0.135 | 47.3747
8 | 0.018994 | 0.0047613 | -0.018992 | -0.0047602 | 1.9044e-06 | 1.1378e-06 | 0.028469 | 0.028469 | 0.028469 | 0.99279 | -0.13849 | 0.99268 | -0.14059 | 7.8213
9 | 0.024117 | 0.0060459 | -0.024112 | -0.0060431 | 4.6155e-06 | 2.8306e-06 | 0.036039 | 0.036039 | 0.036039 | 0.99576 | -0.081103 | 0.99555 | -0.08512 | 9.9009
10 | -0.19437 | -0.049106 | 0.19446 | 0.049158 | 8.2684e-05 | 5.2374e-05 | 0.2906 | 0.2906 | 0.2906 | 0.99576 | -0.081103 | 0.99622 | -0.072232 | 19.9589
11 | 0.10316 | 0.026083 | -0.10293 | -0.025935 | 0.00023116 | 0.00014761 | 0.15468 | 0.15468 | 0.15468 | 0.99295 | -0.135 | 0.99052 | -0.18183 | 42.4933
12 | -0.045695 | -0.011475 | 0.045718 | 0.011489 | 2.2427e-05 | 1.4193e-05 | 0.06896 | 0.06896 | 0.06896 | 0.98612 | -0.26726 | 0.98665 | -0.25698 | 18.9451
13 | 0.023366 | 0.0058756 | -0.023347 | -0.0058636 | 1.9621e-05 | 1.2021e-05 | 0.035266 | 0.035266 | 0.035266 | 0.98612 | -0.26726 | 0.98522 | -0.28486 | 9.6885
14 | 0.022329 | 0.0055989 | -0.022321 | -0.0055942 | 7.7518e-06 | 4.729e-06 | 0.033694 | 0.033694 | 0.033694 | 0.98612 | -0.26726 | 0.98575 | -0.27455 | 9.2567
15 | -0.045718 | -0.011489 | 0.045739 | 0.011502 | 2.162e-05 | 1.3682e-05 | 0.06896 | 0.06896 | 0.06896 | 0.98665 | -0.25698 | 0.98716 | -0.24708 | 18.9451
16 | 0.017703 | 0.0044492 | -0.017684 | -0.0044383 | 1.8448e-05 | 1.0932e-05 | 0.026741 | 0.026742 | 0.026742 | 0.98522 | -0.28486 | 0.98409 | -0.30671 | 7.3466
17 | 0.0056443 | 0.0014144 | -0.0056429 | -0.0014142 | 1.3486e-06 | 2.3311e-07 | 0.0085247 | 0.008525 | 0.008525 | 0.98522 | -0.28486 | 0.98496 | -0.28987 | 2.342
18 | -0.073439 | -0.018445 | 0.073541 | 0.01851 | 0.00010177 | 6.4852e-05 | 0.11071 | 0.11071 | 0.11071 | 0.98716 | -0.24708 | 0.98865 | -0.21808 | 30.4161
19 | 0.017684 | 0.0044383 | -0.017667 | -0.0044279 | 1.7554e-05 | 1.0404e-05 | 0.026742 | 0.026742 | 0.026742 | 0.98409 | -0.30671 | 0.98303 | -0.32754 | 7.3467
20 | 0.0031347 | 0.00078558 | -0.0031347 | -0.00078562 | 5.5019e-08 | -4.8048e-08 | 0.0047357 | 0.0047358 | 0.0047358 | 0.98496 | -0.28987 | 0.98494 | -0.29024 | 1.301
21 | -0.01902 | -0.0047674 | 0.019022 | 0.0047689 | 2.6205e-06 | 1.5644e-06 | 0.028413 | 0.028413 | 0.028413 | 0.99607 | -0.075124 | 0.99622 | -0.072232 | 7.8058
22 | 0.01902 | 0.0047674 | -0.019018 | -0.0047667 | 1.1091e-06 | 6.6214e-07 | 0.028413 | 0.028413 | 0.028413 | 0.99607 | -0.075124 | 0.99601 | -0.076348 | 7.8058
23 | -0.21348 | -0.053927 | 0.21357 | 0.053987 | 9.3542e-05 | 5.9356e-05 | 0.31901 | 0.31901 | 0.31901 | 0.99622 | -0.072232 | 0.9967 | -0.063094 | 21.9103
24 | 0.008979 | 0.0022506 | -0.0089778 | -0.00225 | 1.2257e-06 | 5.4811e-07 | 0.013414 | 0.013415 | 0.013415 | 0.99601 | -0.076348 | 0.99586 | -0.079214 | 3.6853
25 | -0.06616 | -0.01662 | 0.066188 | 0.016638 | 2.8247e-05 | 1.7978e-05 | 0.098906 | 0.098906 | 0.098906 | 0.99549 | -0.086588 | 0.99595 | -0.077646 | 27.172
26 | 0.06616 | 0.01662 | -0.066095 | -0.016579 | 6.4693e-05 | 4.1174e-05 | 0.098906 | 0.098906 | 0.098906 | 0.99549 | -0.086588 | 0.99443 | -0.1071 | 27.172
27 | -0.093092 | -0.023383 | 0.093172 | 0.023434 | 7.9785e-05 | 5.0919e-05 | 0.1391 | 0.1391 | 0.1391 | 0.99595 | -0.077646 | 0.99689 | -0.059703 | 38.2154
28 | 0.026905 | 0.0067452 | -0.026899 | -0.0067414 | 6.1013e-06 | 3.7738e-06 | 0.040198 | 0.040198 | 0.040198 | 0.99595 | -0.077646 | 0.99571 | -0.082406 | 11.0434
29 | 0.040058 | 0.010053 | -0.040034 | -0.010038 | 2.4189e-05 | 1.5248e-05 | 0.059946 | 0.059947 | 0.059947 | 0.99443 | -0.1071 | 0.99377 | -0.11977 | 16.4688
30 | -0.013022 | -0.003264 | 0.013025 | 0.0032657 | 3.2098e-06 | 1.7632e-06 | 0.019511 | 0.01951 | 0.019511 | 0.99316 | -0.13165 | 0.99342 | -0.12648 | 5.36
31 | 0.013022 | 0.003264 | -0.013021 | -0.0032633 | 1.1876e-06 | 6.524e-07 | 0.019511 | 0.019511 | 0.019511 | 0.99316 | -0.13165 | 0.99306 | -0.13357 | 5.3601
32 | -0.027713 | -0.0069468 | 0.027722 | 0.0069523 | 8.8641e-06 | 5.4954e-06 | 0.04151 | 0.04151 | 0.04151 | 0.99342 | -0.12648 | 0.99377 | -0.11977 | 11.404
33 | -0.12585 | -0.031629 | 0.12602 | 0.031733 | 0.00016293 | 0.00010411 | 0.18789 | 0.18789 | 0.18789 | 0.99689 | -0.059703 | 0.9983 | -0.032624 | 51.618
34 | 0.032683 | 0.0081953 | -0.032674 | -0.0081902 | 8.162e-06 | 5.1045e-06 | 0.048786 | 0.048786 | 0.048786 | 0.99689 | -0.059703 | 0.99661 | -0.064944 | 13.4026
35 | 0.016536 | 0.0041449 | -0.016534 | -0.0041438 | 1.8374e-06 | 1.0713e-06 | 0.024692 | 0.024692 | 0.024692 | 0.99651 | -0.067013 | 0.99639 | -0.069345 | 6.7836
36 | -0.016536 | -0.0041449 | 0.016538 | 0.004146 | 1.9508e-06 | 1.1373e-06 | 0.024692 | 0.024692 | 0.024692 | 0.99651 | -0.067013 | 0.99664 | -0.064537 | 6.7836
37 | 0.0059305 | 0.0014863 | -0.0059302 | -0.0014862 | 3.3203e-07 | 6.5491e-08 | 0.0088567 | 0.0088567 | 0.0088567 | 0.99639 | -0.069345 | 0.99633 | -0.070521 | 2.4332
38 | -0.028795 | -0.0072179 | 0.028805 | 0.0072242 | 1.0178e-05 | 6.3226e-06 | 0.042992 | 0.042992 | 0.042992 | 0.99664 | -0.064537 | 0.99702 | -0.057121 | 11.811
39 | -0.047499 | -0.011926 | 0.047508 | 0.011932 | 9.2041e-06 | 5.8267e-06 | 0.070825 | 0.070825 | 0.070825 | 0.99804 | -0.037431 | 0.99825 | -0.03337 | 19.4575
40 | 0.047499 | 0.011926 | -0.047454 | -0.011898 | 4.4572e-05 | 2.8217e-05 | 0.070825 | 0.070825 | 0.070825 | 0.99804 | -0.037431 | 0.99702 | -0.057121 | 19.4575
41 | -0.29393 | -0.07428 | 0.29412 | 0.074404 | 0.0001956 | 0.00012462 | 0.43835 | 0.43835 | 0.43835 | 0.99825 | -0.03337 | 0.99898 | -0.0195 | 30.1063
42 | 0.24642 | 0.062347 | -0.24624 | -0.062237 | 0.00017371 | 0.00011046 | 0.36752 | 0.36752 | 0.36752 | 0.99825 | -0.03337 | 0.99749 | -0.048072 | 25.2419
43 | 0.18751 | 0.047236 | -0.18739 | -0.047161 | 0.00011761 | 7.5062e-05 | 0.27939 | 0.27939 | 0.27939 | 0.99898 | -0.0195 | 0.9983 | -0.032624 | 38.3775
44 | -0.48163 | -0.12164 | 0.48208 | 0.12193 | 0.00045053 | 0.00028785 | 0.71773 | 0.71773 | 0.71773 | 0.99898 | -0.0195 | 1 | 0 | 49.295
45 | 0.22401 | 0.056664 | -0.22385 | -0.056561 | 0.00016133 | 0.00010245 | 0.33435 | 0.33435 | 0.33435 | 0.99749 | -0.048072 | 0.9967 | -0.063094 | 22.9637
46 | 0.061375 | 0.015428 | -0.061281 | -0.015368 | 9.3569e-05 | 5.9495e-05 | 0.091498 | 0.091499 | 0.091499 | 0.9983 | -0.032624 | 0.99663 | -0.064606 | 25.137
47 | 0.016663 | 0.0041773 | -0.016659 | -0.0041752 | 3.7297e-06 | 2.1777e-06 | 0.024879 | 0.024879 | 0.024879 | 0.99661 | -0.064944 | 0.99637 | -0.069643 | 6.835
48 | 0.033648 | 0.0084427 | -0.033627 | -0.0084294 | 2.1131e-05 | 1.3233e-05 | 0.050241 | 0.050241 | 0.050241 | 0.99663 | -0.064606 | 0.99595 | -0.077786 | 13.8025
49 | 0.01573 | 0.0039424 | -0.015729 | -0.0039422 | 4.6517e-07 | 2.6886e-07 | 0.023578 | 0.023578 | 0.023578 | 0.99268 | -0.14059 | 0.99265 | -0.14121 | 6.4776
50 | 0.089887 | 0.022667 | -0.089732 | -0.022567 | 0.00015566 | 9.9329e-05 | 0.13508 | 0.13508 | 0.13508 | 0.99052 | -0.18183 | 0.98865 | -0.21808 | 37.1107
51 | -0.016967 | -0.0042523 | 0.016972 | 0.0042555 | 5.3735e-06 | 3.1492e-06 | 0.025359 | 0.025359 | 0.025359 | 0.99561 | -0.084432 | 0.99595 | -0.077786 | 6.9667
52 | 0.0072198 | 0.0018097 | -0.0072186 | -0.0018092 | 1.1718e-06 | 4.1834e-07 | 0.010929 | 0.010929 | 0.010929 | 0.98303 | -0.32754 | 0.98285 | -0.33095 | 3.0024
53 | -0.0031488 | -0.00078916 | 0.0031489 | 0.0007891 | 6.6457e-08 | -6.0244e-08 | 0.0047208 | 0.0047207 | 0.0047208 | 0.99253 | -0.14359 | 0.99255 | -0.14314 | 1.2969
54 | -0.0062689 | -0.001571 | 0.0062691 | 0.0015711 | 2.4006e-07 | 5.9961e-08 | 0.0093982 | 0.0093981 | 0.0093982 | 0.99255 | -0.14314 | 0.99259 | -0.14234 | 2.5819
55 | 0.012126 | 0.0030393 | -0.012126 | -0.0030389 | 5.9983e-07 | 3.2132e-07 | 0.018178 | 0.018178 | 0.018178 | 0.99265 | -0.14121 | 0.9926 | -0.14225 | 4.9939
56 | -0.0095672 | -0.0023977 | 0.0095673 | 0.0023977 | 4.0628e-08 | 1.9194e-08 | 0.014342 | 0.014342 | 0.014342 | 0.99259 | -0.14234 | 0.9926 | -0.14225 | 3.9402
57 | -0.0072178 | -0.001809 | 0.0072186 | 0.0018092 | 7.8231e-07 | 2.7935e-07 | 0.010929 | 0.010929 | 0.010929 | 0.98274 | -0.33323 | 0.98285 | -0.33095 | 3.0025

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52832 | 0.1331

## res_load
| p_mw | q_mvar
0 | 0.0083878 | 0.0021022
1 | 0.019092 | 0.0047849
2 | 0.0032834 | 0.00082291
3 | 0.0050662 | 0.0012697
4 | 0.011857 | 0.0029716
5 | 0.022321 | 0.0055942
6 | 0.0277 | 0.0069423
7 | 0.0025082 | 0.00062861
8 | 0.010039 | 0.0025161
9 | 0.026036 | 0.0065253
10 | 0.014688 | 0.0036811
11 | 0.013021 | 0.0032633
12 | 0.026899 | 0.0067414
13 | 0.010604 | 0.0026575
14 | 0.012257 | 0.0030719
15 | 0.018649 | 0.0046739
16 | 0.022236 | 0.005573
17 | 0.010273 | 0.0025747
18 | 0.044584 | 0.011174
19 | 0.024112 | 0.0060431
20 | 0.016012 | 0.0040129
21 | 0.027633 | 0.0069256
22 | 0.0032629 | 0.00081775
23 | 0.013042 | 0.0032687
24 | 0.016191 | 0.0040578
25 | 0.016967 | 0.0042523
26 | 0.016654 | 0.0041739
27 | 0.010447 | 0.0026182
28 | 0.0031347 | 0.00078562
29 | 0.016659 | 0.0041752
30 | 0.0031488 | 0.00078916
31 | 0.00312 | 0.00078194
32 | 0.0089778 | 0.00225
33 | 0.0059302 | 0.0014862
34 | 0.012313 | 0.0030858
35 | 0.0036027 | 0.00090292
36 | 0.0032981 | 0.00082659
37 | 0.0025585 | 0.00064121
38 | 0.0072178 | 0.001809

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1