## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-872_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-872_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-872_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-872_0_4_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_261-872_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-872_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_261-872_0_4_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_261-872_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_261-872_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_261-872_0_4_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_261-872_0_4_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_261-872_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_261-872_0_4_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_261-872_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_261-872_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-872_0_4_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_261-872_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-872_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_261-872_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_261-872_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-872_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_261-872_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_261-872_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_261-872_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_261-872_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_261-872_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_261-872_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-872_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_261-872_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_261-872_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_261-872_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_261-872_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_261-872_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_261-872_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_261-872_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_261-872_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_261-872_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_261-872_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_261-872_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_261-872_0_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_261-872_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_261-872_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_261-872_0_4_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_261-872_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_261-872_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_261-872_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_261-872_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_261-872_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_261-872_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_261-872_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_261-872_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_261-872_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_261-872_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_261-872_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_261-872_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_261-872_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_261-872_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_261-872_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_261-872_0_4_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_261-872_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_MV_539_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-872_0_4_load_0 | 0 | 0.010308 | 0.0025835 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-872_0_4_load_1 | 1 | 0.010994 | 0.0027554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-872_0_4_load_3 | 2 | 0.011213 | 0.0028103 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-872_0_4_load_27 | 3 | 0.014847 | 0.003721 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-872_0_4_load_66 | 6 | 0.03903 | 0.0097819 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-872_0_4_load_59 | 9 | 0.011979 | 0.0030022 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-872_0_4_load_60 | 10 | 0.014949 | 0.0037467 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-872_0_4_load_64 | 12 | 0.0029979 | 0.00075134 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-872_0_4_load_54 | 15 | 0.024284 | 0.0060861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-872_0_4_load_48 | 18 | 0.0038623 | 0.00096799 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-872_0_4_load_32 | 20 | 0.01426 | 0.003574 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-872_0_4_load_46 | 25 | 0.010528 | 0.0026386 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-872_0_4_load_55 | 27 | 0.017848 | 0.004473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-872_0_4_load_50 | 28 | 0.0078216 | 0.0019603 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-872_0_4_load_31 | 29 | 0.0075989 | 0.0019045 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-872_0_4_load_49 | 30 | 0.0043794 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-872_0_4_load_42 | 32 | 0.0041832 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-872_0_4_load_44 | 33 | 0.00763 | 0.0019123 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-872_0_4_load_36 | 34 | 0.014269 | 0.0035761 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-872_0_4_load_25 | 35 | 0.020239 | 0.0050724 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-872_0_4_load_43 | 36 | 0.007567 | 0.0018965 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-872_0_4_load_57 | 37 | 0.014858 | 0.0037237 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-872_0_4_load_65 | 38 | 0.0028161 | 0.00070578 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-872_0_4_load_63 | 39 | 0.002818 | 0.00070626 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-872_0_4_load_62 | 40 | 0.0042327 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-872_0_4_load_58 | 42 | 0.01677 | 0.0042029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-872_0_4_load_56 | 43 | 0.0080845 | 0.0020262 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-872_0_4_load_33 | 44 | 0.0079554 | 0.0019938 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-872_0_4_load_45 | 45 | 0.011773 | 0.0029506 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-872_0_4_load_61 | 46 | 0.0029368 | 0.00073603 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-872_0_4_load_51 | 47 | 0.0082502 | 0.0020677 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-872_0_4_load_28 | 48 | 0.0075971 | 0.001904 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-872_0_4_load_29 | 49 | 0.0064195 | 0.0016089 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-872_0_4_load_41 | 50 | 0.0084948 | 0.002129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-872_0_4_load_35 | 51 | 0.0086843 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-872_0_4_load_30 | 52 | 0.03822 | 0.0095787 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-872_0_4_load_52 | 53 | 0.015271 | 0.0038272 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-872_0_4_load_34 | 54 | 0.012259 | 0.0030723 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-872_0_4_load_47 | 55 | 0.012078 | 0.0030271 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-872_0_4_load_37 | 56 | 0.019609 | 0.0049144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-872_0_4_load_38 | 57 | 0.008568 | 0.0021473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-872_0_4_load_39 | 58 | 0.0084514 | 0.0021181 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-872_0_4_load_40 | 59 | 0.0078152 | 0.0019587 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-872_0_4_line_0 |  | 0 | 1 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-872_0_4_line_1 |  | 1 | 2 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-872_0_4_line_2 |  | 2 | 3 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-872_0_4_line_3 |  | 3 | 21 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-872_0_4_line_4 |  | 4 | 5 | 0.057575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-872_0_4_line_5 |  | 4 | 6 | 0.02204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-872_0_4_line_6 |  | 5 | 11 | 0.1005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-872_0_4_line_7 |  | 5 | 12 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-872_0_4_line_8 |  | 7 | 8 | 0.0088602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-872_0_4_line_9 |  | 7 | 9 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-872_0_4_line_10 |  | 7 | 10 | 0.014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-872_0_4_line_11 |  | 8 | 33 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-872_0_4_line_12 |  | 8 | 34 | 0.0081729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-872_0_4_line_13 |  | 9 | 37 | 0.018699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-872_0_4_line_14 |  | 11 | 36 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-872_0_4_line_15 |  | 12 | 40 | 0.027757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-872_0_4_line_16 |  | 13 | 14 | 0.031717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-872_0_4_line_17 |  | 13 | 15 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-872_0_4_line_18 |  | 14 | 19 | 0.002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-872_0_4_line_19 |  | 14 | 20 | 0.011157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-872_0_4_line_20 |  | 15 | 41 | 0.0069282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-872_0_4_line_21 |  | 16 | 17 | 0.003565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-872_0_4_line_22 |  | 16 | 18 | 0.030717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-872_0_4_line_23 |  | 17 | 30 | 0.026172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-872_0_4_line_24 |  | 19 | 28 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-872_0_4_line_25 |  | 19 | 21 | 0.0081517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-872_0_4_line_26 |  | 20 | 44 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-872_0_4_line_27 |  | 21 | 22 | 0.001472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-872_0_4_line_28 |  | 22 | 35 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-872_0_4_line_29 |  | 22 | 31 | 0.044724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-872_0_4_line_30 |  | 23 | 24 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-872_0_4_line_31 |  | 23 | 25 | 0.021559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-872_0_4_line_32 |  | 24 | 26 | 0.025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-872_0_4_line_33 |  | 24 | 27 | 0.020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-872_0_4_line_34 |  | 25 | 45 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-872_0_4_line_35 |  | 26 | 29 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-872_0_4_line_36 |  | 28 | 47 | 0.01002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-872_0_4_line_37 |  | 29 | 36 | 0.032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-872_0_4_line_38 |  | 30 | 50 | 0.003221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-872_0_4_line_39 |  | 31 | 32 | 0.051157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-872_0_4_line_40 |  | 33 | 47 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-872_0_4_line_41 |  | 34 | 51 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-872_0_4_line_42 |  | 37 | 43 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-872_0_4_line_43 |  | 38 | 39 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-872_0_4_line_44 |  | 39 | 46 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-872_0_4_line_45 |  | 40 | 46 | 0.03095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-872_0_4_line_46 |  | 41 | 53 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-872_0_4_line_47 |  | 42 | 43 | 0.00084419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-872_0_4_line_48 |  | 44 | 54 | 0.010919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_261-872_0_4_line_49 |  | 45 | 55 | 0.012225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-872_0_4_line_50 |  | 48 | 49 | 0.0057384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-872_0_4_line_51 |  | 49 | 52 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-872_0_4_line_52 |  | 50 | 59 | 0.0066462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-872_0_4_line_53 |  | 51 | 56 | 0.0092119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-872_0_4_line_54 |  | 52 | 53 | 0.003122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-872_0_4_line_55 |  | 54 | 55 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-872_0_4_line_56 |  | 56 | 57 | 0.0014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-872_0_4_line_57 |  | 57 | 58 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-872_0_4_line_58 |  | 58 | 59 | 0.0037969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-872_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 60 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2684523.5177 | 1245393.0047 | 2684513.6371 | 1245382.1059
1 | 2684513.6371 | 1245382.1059 | 2684502.5986 | 1245369.9299
2 | 2684502.5986 | 1245369.9299 | 2684491.6179 | 1245357.8177
3 | 2684475.3036 | 1245339.3599 | 2684476.227 | 1245340.8408 | 2684491.6179 | 1245357.8177
4 | 2684282.219 | 1245237.7281 | 2684287.9937 | 1245239.7449 | 2684298.9488 | 1245243.5812 | 2684297.4927 | 1245263.0859 | 2684302.4708 | 1245273.82 | 2684307.9711 | 1245280.2473
5 | 2684282.219 | 1245237.7281 | 2684260.2573 | 1245235.8657
6 | 2684307.9711 | 1245280.2473 | 2684299.889 | 1245289.0612 | 2684295.8977 | 1245293.4188 | 2684314.0481 | 1245325.8227 | 2684316.6799 | 1245329.9186 | 2684313.8447 | 1245334.8153 | 2684311.3809 | 1245339.0945 | 2684314.474 | 1245345.2874 | 2684317.9417 | 1245352.2418 | 2684332.1101 | 1245346.3722
7 | 2684307.9711 | 1245280.2473 | 2684314.1168 | 1245285.9277 | 2684316.9663 | 1245289.5931 | 2684319.489 | 1245294.6033
8 | 2684510.1051 | 1245393.0949 | 2684512.9646 | 1245396.0489 | 2684516.2633 | 1245399.4651
9 | 2684516.2633 | 1245399.4651 | 2684506.5353 | 1245411.414
10 | 2684516.2633 | 1245399.4651 | 2684519.5219 | 1245399.8674 | 2684527.0981 | 1245408.593
11 | 2684510.1051 | 1245393.0949 | 2684509.9883 | 1245389.624 | 2684499.2309 | 1245377.6406
12 | 2684510.1051 | 1245393.0949 | 2684504.9219 | 1245399.414
13 | 2684494.7297 | 1245425.9149 | 2684506.5353 | 1245411.414
14 | 2684332.1101 | 1245346.3722 | 2684334.6742 | 1245350.9787 | 2684342.3967 | 1245357.8825 | 2684342.8422 | 1245358.4336 | 2684343.0106 | 1245359.3478 | 2684343.1166 | 1245359.9186
15 | 2684339.0254 | 1245305.1126 | 2684327.3566 | 1245308.1655 | 2684322.0811 | 1245299.7511 | 2684319.489 | 1245294.6033
16 | 2684445.2587 | 1245355.3438 | 2684459.5683 | 1245339.0467 | 2684464.2719 | 1245343.0388 | 2684467.2134 | 1245345.5381
17 | 2684445.2587 | 1245355.3438 | 2684431.975 | 1245341.8532
18 | 2684469.6807 | 1245345.2619 | 2684467.2134 | 1245345.5381
19 | 2684467.2134 | 1245345.5381 | 2684464.8531 | 1245349.9744 | 2684460.8507 | 1245354.6196
20 | 2684427.114 | 1245336.9165 | 2684431.975 | 1245341.8532
21 | 2684457.5915 | 1245457.1163 | 2684456.0238 | 1245457.8945 | 2684454.2135 | 1245457.6686
22 | 2684454.2135 | 1245457.6686 | 2684431.2159 | 1245437.3065
23 | 2684457.5915 | 1245457.1163 | 2684474.1896 | 1245436.8808
24 | 2684469.6807 | 1245345.2619 | 2684472.0313 | 1245347.3413 | 2684485.7482 | 1245362.6214
25 | 2684475.3036 | 1245339.3599 | 2684472.5036 | 1245342.2999 | 2684469.6807 | 1245345.2619
26 | 2684452.1602 | 1245364.706 | 2684460.8507 | 1245354.6196
27 | 2684475.3036 | 1245339.3599 | 2684475.4303 | 1245337.8939
28 | 2684475.4303 | 1245337.8939 | 2684478.0501 | 1245334.3397 | 2684482.8521 | 1245328.287
29 | 2684465.3318 | 1245302.5909 | 2684475.0099 | 1245313.3032 | 2684474.4917 | 1245317.321 | 2684473.6019 | 1245320.3773 | 2684472.042 | 1245323.7909 | 2684469.522 | 1245327.2353 | 2684467.265 | 1245330.7836 | 2684471.4893 | 1245334.4686 | 2684475.4303 | 1245337.8939
30 | 2684397.2018 | 1245411.0008 | 2684395.5423 | 1245412.9231 | 2684400.0583 | 1245416.8235 | 2684404.1939 | 1245420.3738 | 2684407.6128 | 1245416.4084
31 | 2684407.6128 | 1245416.4084 | 2684421.6854 | 1245400.0756
32 | 2684397.2018 | 1245411.0008 | 2684377.4406 | 1245394.1296
33 | 2684397.2018 | 1245411.0008 | 2684410.4799 | 1245395.6229
34 | 2684429.2218 | 1245391.3288 | 2684421.6854 | 1245400.0756
35 | 2684377.4406 | 1245394.1296 | 2684364.3477 | 1245382.9511
36 | 2684485.7482 | 1245362.6214 | 2684492.4419 | 1245370.078
37 | 2684364.3477 | 1245382.9511 | 2684344.1443 | 1245365.7019 | 2684343.746 | 1245365.018 | 2684343.487 | 1245364.1025 | 2684343.1369 | 1245360.0279 | 2684343.1166 | 1245359.9186
38 | 2684476.2324 | 1245434.3905 | 2684474.1896 | 1245436.8808
39 | 2684465.3318 | 1245302.5909 | 2684457.7617 | 1245305.6743 | 2684446.521 | 1245310.2287 | 2684428.6725 | 1245316.0901 | 2684417.1414 | 1245319.6502
40 | 2684492.4419 | 1245370.078 | 2684499.2309 | 1245377.6406
41 | 2684504.9219 | 1245399.414 | 2684496.2446 | 1245409.9928
42 | 2684485.0897 | 1245437.7556 | 2684494.7297 | 1245425.9149
43 | 2684374.5464 | 1245285.3086 | 2684377.2003 | 1245283.6007 | 2684384.0178 | 1245283.4864 | 2684389.8228 | 1245282.3015 | 2684390.9999 | 1245281.8708
44 | 2684374.5464 | 1245285.3086 | 2684370.0009 | 1245287.1898 | 2684363.226 | 1245289.0199
45 | 2684363.226 | 1245289.0199 | 2684358.8957 | 1245290.1896 | 2684356.2425 | 1245291.842 | 2684355.212 | 1245293.6398 | 2684351.339 | 1245300.3007 | 2684349.2836 | 1245302.4286 | 2684339.0254 | 1245305.1126
46 | 2684427.114 | 1245336.9165 | 2684416.1769 | 1245349.5138
47 | 2684485.0897 | 1245437.7556 | 2684484.5567 | 1245438.4103
48 | 2684445.0328 | 1245372.9782 | 2684452.1602 | 1245364.706
49 | 2684429.2218 | 1245391.3288 | 2684437.2017 | 1245382.0671
50 | 2684403.7929 | 1245363.7775 | 2684400.0308 | 1245368.1106
51 | 2684414.1301 | 1245351.8712 | 2684403.7929 | 1245363.7775
52 | 2684476.2324 | 1245434.3905 | 2684480.4473 | 1245429.2518
53 | 2684490.4024 | 1245417.1152 | 2684496.2446 | 1245409.9928
54 | 2684416.1769 | 1245349.5138 | 2684414.1301 | 1245351.8712
55 | 2684437.2017 | 1245382.0671 | 2684445.0328 | 1245372.9782
56 | 2684490.4024 | 1245417.1152 | 2684489.5047 | 1245418.2096
57 | 2684489.5047 | 1245418.2096 | 2684482.8553 | 1245426.3162
58 | 2684480.4473 | 1245429.2518 | 2684482.8553 | 1245426.3162

## bus_geodata
| x | y | coords
0 | 2684523.5177 | 1245393.0047
1 | 2684513.6371 | 1245382.1059
2 | 2684502.5986 | 1245369.9299
3 | 2684491.6179 | 1245357.8177
4 | 2684282.219 | 1245237.7281
5 | 2684307.9711 | 1245280.2473
6 | 2684260.2573 | 1245235.8657
7 | 2684516.2633 | 1245399.4651
8 | 2684510.1051 | 1245393.0949
9 | 2684506.5353 | 1245411.414
10 | 2684527.0981 | 1245408.593
11 | 2684332.1101 | 1245346.3722
12 | 2684319.489 | 1245294.6033
13 | 2684445.2587 | 1245355.3438
14 | 2684467.2134 | 1245345.5381
15 | 2684431.975 | 1245341.8532
16 | 2684454.2135 | 1245457.6686
17 | 2684457.5915 | 1245457.1163
18 | 2684431.2159 | 1245437.3065
19 | 2684469.6807 | 1245345.2619
20 | 2684460.8507 | 1245354.6196
21 | 2684475.3036 | 1245339.3599
22 | 2684475.4303 | 1245337.8939
23 | 2684407.6128 | 1245416.4084
24 | 2684397.2018 | 1245411.0008
25 | 2684421.6854 | 1245400.0756
26 | 2684377.4406 | 1245394.1296
27 | 2684410.4799 | 1245395.6229
28 | 2684485.7482 | 1245362.6214
29 | 2684364.3477 | 1245382.9511
30 | 2684474.1896 | 1245436.8808
31 | 2684465.3318 | 1245302.5909
32 | 2684417.1414 | 1245319.6502
33 | 2684499.2309 | 1245377.6406
34 | 2684504.9219 | 1245399.414
35 | 2684482.8521 | 1245328.287
36 | 2684343.1166 | 1245359.9186
37 | 2684494.7297 | 1245425.9149
38 | 2684390.9999 | 1245281.8708
39 | 2684374.5464 | 1245285.3086
40 | 2684339.0254 | 1245305.1126
41 | 2684427.114 | 1245336.9165
42 | 2684484.5567 | 1245438.4103
43 | 2684485.0897 | 1245437.7556
44 | 2684452.1602 | 1245364.706
45 | 2684429.2218 | 1245391.3288
46 | 2684363.226 | 1245289.0199
47 | 2684492.4419 | 1245370.078
48 | 2684400.0308 | 1245368.1106
49 | 2684403.7929 | 1245363.7775
50 | 2684476.2324 | 1245434.3905
51 | 2684496.2446 | 1245409.9928
52 | 2684414.1301 | 1245351.8712
53 | 2684416.1769 | 1245349.5138
54 | 2684445.0328 | 1245372.9782
55 | 2684437.2017 | 1245382.0671
56 | 2684490.4024 | 1245417.1152
57 | 2684489.5047 | 1245418.2096
58 | 2684482.8553 | 1245426.3162
59 | 2684480.4473 | 1245429.2518
60 | 2684467.2134 | 1245345.5381

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99349 | -0.12495 | 0.010308 | 0.0025835
1 | 0.99363 | -0.12227 | 0.010994 | 0.0027554
2 | 0.99395 | -0.11609 | 0.011213 | 0.0028103
3 | 0.99444 | -0.10672 | 0.014847 | 0.003721
4 | 0.98031 | -0.379 | 0 | 0
5 | 0.98239 | -0.33833 | 0 | 0
6 | 0.97952 | -0.39462 | 0.03903 | 0.0097819
7 | 0.99188 | -0.1559 | 0 | 0
8 | 0.99242 | -0.14544 | 0 | 0
9 | 0.99115 | -0.17002 | 0.011979 | 0.0030022
10 | 0.99168 | -0.15983 | 0.014949 | 0.0037467
11 | 0.98749 | -0.23931 | 0 | 0
12 | 0.98212 | -0.34365 | 0.0029979 | 0.00075134
13 | 0.99356 | -0.12356 | 0 | 0
14 | 0.99622 | -0.072297 | 0 | 0
15 | 0.99197 | -0.1543 | 0.024284 | 0.0060861
16 | 0.98972 | -0.19793 | 0 | 0
17 | 0.98973 | -0.19769 | 0 | 0
18 | 0.98961 | -0.20004 | 0.0038623 | 0.00096799
19 | 0.99604 | -0.075866 | 0 | 0
20 | 0.99737 | -0.050242 | 0.01426 | 0.003574
21 | 0.9955 | -0.086152 | 0 | 0
22 | 0.99547 | -0.086785 | 0 | 0
23 | 0.99462 | -0.1024 | 0 | 0
24 | 0.99307 | -0.13215 | 0 | 0
25 | 0.99637 | -0.069084 | 0.010528 | 0.0026386
26 | 0.99139 | -0.1643 | 0 | 0
27 | 0.99274 | -0.13856 | 0.017848 | 0.004473
28 | 0.99478 | -0.10008 | 0.0078216 | 0.0019603
29 | 0.99028 | -0.1857 | 0.0075989 | 0.0019045
30 | 0.98982 | -0.19589 | 0.0043794 | 0.0010976
31 | 0.9953 | -0.090078 | 0 | 0
32 | 0.9951 | -0.093845 | 0.0041832 | 0.0010484
33 | 0.99377 | -0.11936 | 0.00763 | 0.0019123
34 | 0.99179 | -0.15762 | 0.014269 | 0.0035761
35 | 0.99525 | -0.091108 | 0.020239 | 0.0050724
36 | 0.9884 | -0.22183 | 0.007567 | 0.0018965
37 | 0.99047 | -0.1832 | 0.014858 | 0.0037237
38 | 0.98144 | -0.35696 | 0.0028161 | 0.00070578
39 | 0.98149 | -0.35609 | 0.002818 | 0.00070626
40 | 0.98179 | -0.35007 | 0.0042327 | 0.0010608
41 | 0.99154 | -0.16259 | 0 | 0
42 | 0.99011 | -0.1902 | 0.01677 | 0.0042029
43 | 0.99013 | -0.18995 | 0.0080845 | 0.0020262
44 | 0.9988 | -0.022884 | 0.0079554 | 0.0019938
45 | 0.99741 | -0.049161 | 0.011773 | 0.0029506
46 | 0.98155 | -0.35487 | 0.0029368 | 0.00073603
47 | 0.99427 | -0.10989 | 0.0082502 | 0.0020677
48 | 0.99011 | -0.19017 | 0.0075971 | 0.001904
49 | 0.99015 | -0.1894 | 0.0064195 | 0.0016089
50 | 0.98984 | -0.19542 | 0.0084948 | 0.002129
51 | 0.99092 | -0.17457 | 0.0086843 | 0.0021765
52 | 0.99036 | -0.18547 | 0.03822 | 0.0095787
53 | 0.99051 | -0.18257 | 0.015271 | 0.0038272
54 | 1 | 0 | -0.48814 | -0.12347
55 | 0.99865 | -0.025595 | 0.012078 | 0.0030271
56 | 0.9904 | -0.18458 | 0.019609 | 0.0049144
57 | 0.99035 | -0.18563 | 0.008568 | 0.0021473
58 | 0.99003 | -0.19178 | 0.0084514 | 0.0021181
59 | 0.98995 | -0.19344 | 0.0078152 | 0.0019587
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010308 | -0.0025835 | 0.010309 | 0.0025841 | 1.315e-06 | 6.5105e-07 | 0.015439 | 0.015439 | 0.015439 | 0.99349 | -0.12495 | 0.99363 | -0.12227 | 4.2415
1 | -0.021304 | -0.0053395 | 0.02131 | 0.0053433 | 6.2729e-06 | 3.8017e-06 | 0.031903 | 0.031903 | 0.031903 | 0.99363 | -0.12227 | 0.99395 | -0.11609 | 8.7647
2 | -0.032523 | -0.0081536 | 0.032537 | 0.0081627 | 1.4534e-05 | 9.09e-06 | 0.04869 | 0.04869 | 0.04869 | 0.99395 | -0.11609 | 0.99444 | -0.10672 | 13.3764
3 | -0.047384 | -0.011884 | 0.047431 | 0.011913 | 4.6494e-05 | 2.9436e-05 | 0.070906 | 0.070906 | 0.070906 | 0.99444 | -0.10672 | 0.9955 | -0.086152 | 19.4797
4 | -0.039059 | -0.0098002 | 0.039135 | 0.0098481 | 7.5903e-05 | 4.785e-05 | 0.059292 | 0.059292 | 0.059292 | 0.98031 | -0.379 | 0.98239 | -0.33833 | 16.289
5 | 0.039059 | 0.0098002 | -0.03903 | -0.0097819 | 2.9057e-05 | 1.8319e-05 | 0.059292 | 0.059292 | 0.059292 | 0.98031 | -0.379 | 0.97952 | -0.39462 | 16.289
6 | -0.054947 | -0.013814 | 0.055208 | 0.013979 | 0.00026116 | 0.00016586 | 0.083243 | 0.083242 | 0.083243 | 0.98239 | -0.33833 | 0.98749 | -0.23931 | 22.8689
7 | 0.015812 | 0.0039655 | -0.015808 | -0.0039632 | 4.0057e-06 | 2.3279e-06 | 0.023951 | 0.023951 | 0.023951 | 0.98239 | -0.33833 | 0.98212 | -0.34365 | 6.5799
8 | -0.066711 | -0.016746 | 0.066744 | 0.016767 | 3.3285e-05 | 2.1188e-05 | 0.10009 | 0.10009 | 0.10009 | 0.99188 | -0.1559 | 0.99242 | -0.14544 | 27.4969
9 | 0.051759 | 0.012998 | -0.051724 | -0.012976 | 3.4845e-05 | 2.2102e-05 | 0.077657 | 0.077657 | 0.077657 | 0.99188 | -0.1559 | 0.99115 | -0.17002 | 21.3344
10 | 0.014952 | 0.0037483 | -0.014949 | -0.0037467 | 2.8e-06 | 1.6005e-06 | 0.022432 | 0.022432 | 0.022432 | 0.99188 | -0.1559 | 0.99168 | -0.15983 | 6.1625
11 | -0.15103 | -0.037948 | 0.15122 | 0.038068 | 0.00018828 | 0.00011999 | 0.22648 | 0.22648 | 0.22648 | 0.99242 | -0.14544 | 0.99377 | -0.11936 | 31.1102
12 | 0.084284 | 0.021181 | -0.084235 | -0.02115 | 4.8962e-05 | 3.123e-05 | 0.12639 | 0.12639 | 0.12639 | 0.99242 | -0.14544 | 0.99179 | -0.15762 | 34.7236
13 | 0.039745 | 0.0099735 | -0.03972 | -0.0099577 | 2.4969e-05 | 1.574e-05 | 0.059673 | 0.059673 | 0.059673 | 0.99115 | -0.17002 | 0.99047 | -0.1832 | 16.3938
14 | -0.055208 | -0.013979 | 0.055255 | 0.014009 | 4.6381e-05 | 2.9455e-05 | 0.083242 | 0.083242 | 0.083242 | 0.98749 | -0.23931 | 0.9884 | -0.22183 | 22.8687
15 | 0.01281 | 0.0032118 | -0.012806 | -0.0032097 | 3.921e-06 | 2.1583e-06 | 0.019409 | 0.019409 | 0.019409 | 0.98212 | -0.34365 | 0.98179 | -0.35007 | 5.3321
16 | -0.092027 | -0.023155 | 0.092253 | 0.023299 | 0.00022604 | 0.00014425 | 0.13786 | 0.13786 | 0.13786 | 0.99356 | -0.12356 | 0.99622 | -0.072297 | 37.8731
17 | 0.092027 | 0.023155 | -0.091892 | -0.023069 | 0.00013493 | 8.6111e-05 | 0.13786 | 0.13786 | 0.13786 | 0.99356 | -0.12356 | 0.99197 | -0.1543 | 37.8731
18 | 0.24721 | 0.062319 | -0.24717 | -0.062292 | 4.221e-05 | 2.6918e-05 | 0.36937 | 0.36937 | 0.36937 | 0.99622 | -0.072297 | 0.99604 | -0.075866 | 33.8255
19 | -0.33946 | -0.085618 | 0.33982 | 0.085847 | 0.00035881 | 0.0002292 | 0.50723 | 0.50723 | 0.50723 | 0.99622 | -0.072297 | 0.99737 | -0.050242 | 46.4499
20 | 0.067608 | 0.016983 | -0.067581 | -0.016966 | 2.6729e-05 | 1.7017e-05 | 0.10143 | 0.10143 | 0.10143 | 0.99197 | -0.1543 | 0.99154 | -0.16259 | 27.8655
21 | -0.0038627 | -0.00096784 | 0.0038628 | 0.00096783 | 4.5087e-08 | -1.6958e-08 | 0.0058074 | 0.0058074 | 0.0058074 | 0.98972 | -0.19793 | 0.98973 | -0.19769 | 1.5954
22 | 0.0038627 | 0.00096784 | -0.0038623 | -0.00096799 | 3.8849e-07 | -1.4606e-07 | 0.0058074 | 0.0058076 | 0.0058076 | 0.98972 | -0.19793 | 0.98961 | -0.20004 | 1.5955
23 | -0.0038628 | -0.00096783 | 0.0038631 | 0.0009677 | 3.31e-07 | -1.2453e-07 | 0.0058074 | 0.0058073 | 0.0058074 | 0.98973 | -0.19769 | 0.98982 | -0.19589 | 1.5954
24 | 0.17527 | 0.044233 | -0.17507 | -0.044104 | 0.00020305 | 0.00012903 | 0.26195 | 0.26195 | 0.26195 | 0.99604 | -0.075866 | 0.99478 | -0.10008 | 23.9884
25 | 0.071895 | 0.018059 | -0.07186 | -0.018037 | 3.5275e-05 | 2.247e-05 | 0.10742 | 0.10742 | 0.10742 | 0.99604 | -0.075866 | 0.9955 | -0.086152 | 29.5113
26 | -0.35408 | -0.089421 | 0.35455 | 0.089718 | 0.00046486 | 0.00029699 | 0.52851 | 0.52851 | 0.52851 | 0.99737 | -0.050242 | 0.9988 | -0.022884 | 48.3982
27 | 0.024429 | 0.0061235 | -0.024428 | -0.006123 | 7.3601e-07 | 4.5191e-07 | 0.036515 | 0.036515 | 0.036515 | 0.9955 | -0.086152 | 0.99547 | -0.086785 | 10.0316
28 | 0.020243 | 0.005075 | -0.020239 | -0.0050724 | 4.1692e-06 | 2.5105e-06 | 0.03026 | 0.03026 | 0.03026 | 0.99547 | -0.086785 | 0.99525 | -0.091108 | 8.3133
29 | 0.0041846 | 0.0010481 | -0.004184 | -0.0010482 | 6.562e-07 | -1.6138e-07 | 0.0062549 | 0.0062551 | 0.0062551 | 0.99547 | -0.086785 | 0.9953 | -0.090078 | 1.7184
30 | 0.088692 | 0.022552 | -0.088565 | -0.022471 | 0.00012694 | 8.0992e-05 | 0.1328 | 0.1328 | 0.1328 | 0.99462 | -0.1024 | 0.99307 | -0.13215 | 36.4845
31 | -0.088692 | -0.022552 | 0.088834 | 0.022643 | 0.00014259 | 9.0976e-05 | 0.1328 | 0.1328 | 0.1328 | 0.99462 | -0.1024 | 0.99637 | -0.069084 | 36.4845
32 | 0.070712 | 0.017995 | -0.070602 | -0.017926 | 0.0001094 | 6.9682e-05 | 0.10605 | 0.10605 | 0.10605 | 0.99307 | -0.13215 | 0.99139 | -0.1643 | 29.1352
33 | 0.017853 | 0.0044763 | -0.017848 | -0.004473 | 5.4526e-06 | 3.2269e-06 | 0.026752 | 0.026752 | 0.026752 | 0.99307 | -0.13215 | 0.99274 | -0.13856 | 7.3494
34 | -0.099363 | -0.025282 | 0.099458 | 0.025343 | 9.5513e-05 | 6.0978e-05 | 0.14853 | 0.14853 | 0.14853 | 0.99637 | -0.069084 | 0.99741 | -0.049161 | 40.804
35 | 0.070602 | 0.017926 | -0.07053 | -0.017879 | 7.261e-05 | 4.6249e-05 | 0.10605 | 0.10605 | 0.10605 | 0.99139 | -0.1643 | 0.99028 | -0.1857 | 29.1352
36 | 0.16725 | 0.042144 | -0.16717 | -0.042094 | 7.8443e-05 | 4.9814e-05 | 0.25025 | 0.25025 | 0.25025 | 0.99478 | -0.10008 | 0.99427 | -0.10989 | 22.917
37 | 0.062931 | 0.015975 | -0.062822 | -0.015905 | 0.00010918 | 6.9455e-05 | 0.094634 | 0.094634 | 0.094634 | 0.99028 | -0.1857 | 0.9884 | -0.22183 | 25.9983
38 | -0.0082425 | -0.0020653 | 0.0082427 | 0.0020654 | 1.8545e-07 | 7.7286e-08 | 0.012391 | 0.012391 | 0.012391 | 0.98982 | -0.19589 | 0.98984 | -0.19542 | 3.4041
39 | 0.004184 | 0.0010482 | -0.0041832 | -0.0010484 | 7.5062e-07 | -1.8431e-07 | 0.0062551 | 0.0062554 | 0.0062554 | 0.9953 | -0.090078 | 0.9951 | -0.093845 | 1.7185
40 | -0.15885 | -0.03998 | 0.15892 | 0.040026 | 7.1902e-05 | 4.5622e-05 | 0.23791 | 0.23791 | 0.23791 | 0.99377 | -0.11936 | 0.99427 | -0.10989 | 21.7864
41 | 0.069966 | 0.017574 | -0.06991 | -0.017537 | 5.6553e-05 | 3.6017e-05 | 0.10499 | 0.10499 | 0.10499 | 0.99179 | -0.15762 | 0.99092 | -0.17457 | 28.8423
42 | 0.024862 | 0.0062341 | -0.024854 | -0.0062291 | 7.9885e-06 | 4.9162e-06 | 0.037352 | 0.037352 | 0.037352 | 0.99047 | -0.1832 | 0.99013 | -0.18995 | 10.2616
43 | -0.0028161 | -0.00070578 | 0.0028162 | 0.00070564 | 1.1725e-07 | -1.4172e-07 | 0.0042696 | 0.0042695 | 0.0042696 | 0.98144 | -0.35696 | 0.98149 | -0.35609 | 1.173
44 | -0.0056342 | -0.0014119 | 0.0056345 | 0.001412 | 3.2661e-07 | 5.8162e-08 | 0.0085419 | 0.0085418 | 0.0085419 | 0.98149 | -0.35609 | 0.98155 | -0.35487 | 2.3467
45 | 0.0085733 | 0.0021488 | -0.0085713 | -0.002148 | 1.9596e-06 | 8.6287e-07 | 0.012994 | 0.012994 | 0.012994 | 0.98179 | -0.35007 | 0.98155 | -0.35487 | 3.5698
46 | 0.067581 | 0.016966 | -0.067517 | -0.016925 | 6.4363e-05 | 4.0977e-05 | 0.10143 | 0.10143 | 0.10143 | 0.99154 | -0.16259 | 0.99051 | -0.18257 | 27.8655
47 | -0.01677 | -0.0042029 | 0.01677 | 0.004203 | 2.0108e-07 | 1.1783e-07 | 0.025203 | 0.025203 | 0.025203 | 0.99011 | -0.1902 | 0.99013 | -0.18995 | 6.9238
48 | -0.3625 | -0.091712 | 0.3629 | 0.091967 | 0.00039854 | 0.00025463 | 0.54036 | 0.54036 | 0.54036 | 0.9988 | -0.022884 | 1 | 0 | 49.4835
49 | -0.11123 | -0.028294 | 0.11136 | 0.028374 | 0.00012647 | 8.0779e-05 | 0.16609 | 0.16609 | 0.16609 | 0.99741 | -0.049161 | 0.99865 | -0.025595 | 45.6291
50 | -0.0075971 | -0.001904 | 0.0075974 | 0.0019041 | 2.8052e-07 | 1.0573e-07 | 0.011418 | 0.011418 | 0.011418 | 0.99011 | -0.19017 | 0.99015 | -0.1894 | 3.1367
51 | -0.014017 | -0.003513 | 0.01402 | 0.0035145 | 2.6237e-06 | 1.4763e-06 | 0.021065 | 0.021065 | 0.021065 | 0.99015 | -0.1894 | 0.99036 | -0.18547 | 5.787
52 | -0.016737 | -0.0041944 | 0.016739 | 0.0041953 | 1.5778e-06 | 9.2437e-07 | 0.025161 | 0.025161 | 0.025161 | 0.98984 | -0.19542 | 0.98995 | -0.19344 | 6.9124
53 | 0.061225 | 0.015361 | -0.061196 | -0.015342 | 2.9204e-05 | 1.8572e-05 | 0.091945 | 0.091945 | 0.091945 | 0.99092 | -0.17457 | 0.9904 | -0.18458 | 25.2597
54 | -0.052239 | -0.013093 | 0.052246 | 0.013098 | 7.2125e-06 | 4.5758e-06 | 0.07849 | 0.07849 | 0.07849 | 0.99036 | -0.18547 | 0.99051 | -0.18257 | 21.5632
55 | 0.12359 | 0.031499 | -0.12344 | -0.031401 | 0.00015246 | 9.7417e-05 | 0.18409 | 0.18409 | 0.18409 | 1 | 0 | 0.99865 | -0.025595 | 50.5732
56 | 0.041587 | 0.010428 | -0.041585 | -0.010427 | 2.0724e-06 | 1.3081e-06 | 0.062484 | 0.062484 | 0.062484 | 0.9904 | -0.18458 | 0.99035 | -0.18563 | 17.166
57 | 0.033017 | 0.0082793 | -0.033008 | -0.0082733 | 9.677e-06 | 6.0584e-06 | 0.049611 | 0.049611 | 0.049611 | 0.99035 | -0.18563 | 0.99003 | -0.19178 | 13.6293
58 | 0.024556 | 0.0061552 | -0.024554 | -0.006154 | 1.9396e-06 | 1.1925e-06 | 0.036908 | 0.036908 | 0.036908 | 0.99003 | -0.19178 | 0.98995 | -0.19344 | 10.1396

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.5004 | 0.12654

## res_load
| p_mw | q_mvar
0 | 0.010308 | 0.0025835
1 | 0.010994 | 0.0027554
2 | 0.011213 | 0.0028103
3 | 0.014847 | 0.003721
4 | 0.03903 | 0.0097819
5 | 0.011979 | 0.0030022
6 | 0.014949 | 0.0037467
7 | 0.0029979 | 0.00075134
8 | 0.024284 | 0.0060861
9 | 0.0038623 | 0.00096799
10 | 0.01426 | 0.003574
11 | 0.010528 | 0.0026386
12 | 0.017848 | 0.004473
13 | 0.0078216 | 0.0019603
14 | 0.0075989 | 0.0019045
15 | 0.0043794 | 0.0010976
16 | 0.0041832 | 0.0010484
17 | 0.00763 | 0.0019123
18 | 0.014269 | 0.0035761
19 | 0.020239 | 0.0050724
20 | 0.007567 | 0.0018965
21 | 0.014858 | 0.0037237
22 | 0.0028161 | 0.00070578
23 | 0.002818 | 0.00070626
24 | 0.0042327 | 0.0010608
25 | 0.01677 | 0.0042029
26 | 0.0080845 | 0.0020262
27 | 0.0079554 | 0.0019938
28 | 0.011773 | 0.0029506
29 | 0.0029368 | 0.00073603
30 | 0.0082502 | 0.0020677
31 | 0.0075971 | 0.001904
32 | 0.0064195 | 0.0016089
33 | 0.0084948 | 0.002129
34 | 0.0086843 | 0.0021765
35 | 0.03822 | 0.0095787
36 | 0.015271 | 0.0038272
37 | 0.012259 | 0.0030723
38 | 0.012078 | 0.0030271
39 | 0.019609 | 0.0049144
40 | 0.008568 | 0.0021473
41 | 0.0084514 | 0.0021181
42 | 0.0078152 | 0.0019587

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1