## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-879_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-879_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-879_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-879_0_4_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_261-879_0_4_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_261-879_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-879_0_4_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_261-879_0_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_261-879_0_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_261-879_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_261-879_0_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_261-879_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_261-879_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_261-879_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_261-879_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_261-879_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_261-879_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-879_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_261-879_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_261-879_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_261-879_0_4_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_261-879_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-879_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-879_0_4_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_261-879_0_4_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_261-879_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_261-879_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-879_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_261-879_0_4_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_261-879_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_261-879_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_261-879_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_261-879_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_261-879_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_261-879_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_261-879_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_261-879_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_261-879_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_261-879_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_261-879_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_261-879_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_261-879_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_261-879_0_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_261-879_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_261-879_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_261-879_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_261-879_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_261-879_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_261-879_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_261-879_0_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_261-879_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_261-879_0_4_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_261-879_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_261-879_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_261-879_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_261-879_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_261-879_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_261-879_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_261-879_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_261-879_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_261-879_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_MV_539_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-879_0_4_load_0 | 0 | 0.0028752 | 0.00072059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-879_0_4_load_32 | 3 | 0.0040236 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-879_0_4_load_30 | 4 | 0.017902 | 0.0044868 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-879_0_4_load_47 | 6 | 0.0069494 | 0.0017417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-879_0_4_load_54 | 7 | 0.013575 | 0.0034023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-879_0_4_load_49 | 8 | 0.0092055 | 0.0023071 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-879_0_4_load_45 | 9 | 0.013922 | 0.0034892 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-879_0_4_load_53 | 10 | 0.014596 | 0.0036582 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-879_0_4_load_5 | 11 | 0.011637 | 0.0029165 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-879_0_4_load_6 | 12 | 0.0061783 | 0.0015484 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-879_0_4_load_9 | 14 | 0.0088535 | 0.0022189 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-879_0_4_load_10 | 15 | 0.0091901 | 0.0023033 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-879_0_4_load_11 | 16 | 0.006552 | 0.0016421 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-879_0_4_load_48 | 17 | 0.0095825 | 0.0024016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-879_0_4_load_57 | 20 | 0.012489 | 0.00313 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-879_0_4_load_60 | 23 | 0.018693 | 0.0046848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-879_0_4_load_55 | 24 | 0.017647 | 0.0044228 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-879_0_4_load_44 | 25 | 0.012947 | 0.0032449 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-879_0_4_load_59 | 28 | 0.0035823 | 0.0008978 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-879_0_4_load_46 | 33 | 0.011331 | 0.0028398 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-879_0_4_load_61 | 36 | 0.0055402 | 0.0013885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-879_0_4_load_68 | 38 | 0.0073707 | 0.0018473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-879_0_4_load_69 | 40 | 0.0092481 | 0.0023178 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-879_0_4_load_65 | 42 | 0.0073769 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-879_0_4_load_67 | 43 | 0.025645 | 0.0064273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-879_0_4_load_63 | 44 | 0.00716 | 0.0017945 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-879_0_4_load_37 | 45 | 0.013401 | 0.0033587 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-879_0_4_load_42 | 46 | 0.018668 | 0.0046785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-879_0_4_load_34 | 47 | 0.0075824 | 0.0019003 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-879_0_4_load_33 | 48 | 0.0087219 | 0.0021859 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-879_0_4_load_56 | 49 | 0.012226 | 0.0030642 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-879_0_4_load_35 | 50 | 0.0096761 | 0.0024251 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-879_0_4_load_62 | 51 | 0.0080684 | 0.0020221 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-879_0_4_load_66 | 52 | 0.0072261 | 0.001811 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-879_0_4_load_52 | 53 | 0.024069 | 0.0060322 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-879_0_4_load_64 | 54 | 0.0088718 | 0.0022235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-879_0_4_load_50 | 55 | 0.037887 | 0.0094953 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-879_0_4_load_51 | 56 | 0.012781 | 0.0032033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-879_0_4_load_38 | 57 | 0.012726 | 0.0031893 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-879_0_4_load_58 | 58 | 0.0098527 | 0.0024693 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-879_0_4_load_39 | 59 | 0.01176 | 0.0029474 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-879_0_4_load_43 | 60 | 0.0055888 | 0.0014007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-879_0_4_line_0 |  | 0 | 1 | 0.029778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-879_0_4_line_1 |  | 1 | 2 | 0.028822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-879_0_4_line_2 |  | 2 | 3 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-879_0_4_line_3 |  | 2 | 4 | 0.024978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-879_0_4_line_4 |  | 3 | 8 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-879_0_4_line_5 |  | 5 | 6 | 0.015804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-879_0_4_line_6 |  | 5 | 7 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-879_0_4_line_7 |  | 6 | 9 | 0.008002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-879_0_4_line_8 |  | 7 | 10 | 0.010686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-879_0_4_line_9 |  | 8 | 17 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-879_0_4_line_10 |  | 9 | 60 | 0.027086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-879_0_4_line_11 |  | 10 | 53 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-879_0_4_line_12 |  | 11 | 12 | 0.006644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-879_0_4_line_13 |  | 11 | 13 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-879_0_4_line_14 |  | 13 | 14 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-879_0_4_line_15 |  | 13 | 15 | 0.00049031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-879_0_4_line_16 |  | 14 | 16 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-879_0_4_line_17 |  | 15 | 17 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-879_0_4_line_18 |  | 16 | 18 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-879_0_4_line_19 |  | 18 | 19 | 0.007224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-879_0_4_line_20 |  | 19 | 20 | 0.011326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-879_0_4_line_21 |  | 20 | 22 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-879_0_4_line_22 |  | 21 | 22 | 0.0074882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-879_0_4_line_23 |  | 21 | 23 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-879_0_4_line_24 |  | 22 | 24 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_261-879_0_4_line_25 |  | 22 | 25 | 0.0091088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-879_0_4_line_26 |  | 24 | 27 | 0.017751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-879_0_4_line_27 |  | 25 | 46 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-879_0_4_line_28 |  | 26 | 27 | 0.0071782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-879_0_4_line_29 |  | 26 | 28 | 0.013068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-879_0_4_line_30 |  | 27 | 29 | 0.009357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-879_0_4_line_31 |  | 29 | 34 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-879_0_4_line_32 |  | 29 | 33 | 0.00095206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_261-879_0_4_line_33 |  | 30 | 31 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-879_0_4_line_34 |  | 30 | 32 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-879_0_4_line_35 |  | 30 | 33 | 0.0094109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-879_0_4_line_36 |  | 31 | 49 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-879_0_4_line_37 |  | 31 | 50 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_261-879_0_4_line_38 |  | 32 | 45 | 0.0088447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-879_0_4_line_39 |  | 34 | 35 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-879_0_4_line_40 |  | 34 | 36 | 0.003197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-879_0_4_line_41 |  | 35 | 37 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-879_0_4_line_42 |  | 35 | 38 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-879_0_4_line_43 |  | 36 | 51 | 0.018456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-879_0_4_line_44 |  | 37 | 42 | 0.022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-879_0_4_line_45 |  | 37 | 44 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-879_0_4_line_46 |  | 38 | 39 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-879_0_4_line_47 |  | 39 | 40 | 0.0056417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-879_0_4_line_48 |  | 41 | 42 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-879_0_4_line_49 |  | 41 | 43 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-879_0_4_line_50 |  | 43 | 52 | 0.016057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-879_0_4_line_51 |  | 44 | 54 | 0.00047958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-879_0_4_line_52 |  | 45 | 57 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-879_0_4_line_53 |  | 46 | 60 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-879_0_4_line_54 |  | 47 | 48 | 0.0091456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_261-879_0_4_line_55 |  | 48 | 50 | 0.00046978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_261-879_0_4_line_56 |  | 49 | 58 | 0.005752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-879_0_4_line_57 |  | 55 | 56 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-879_0_4_line_58 |  | 56 | 59 | 0.0099938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-879_0_4_line_59 |  | 57 | 59 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-879_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 61 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2684640.1819 | 1245684.9636 | 2684645.3362 | 1245670.5933 | 2684650.1841 | 1245663.9242 | 2684656.2082 | 1245662.1978
1 | 2684633.323 | 1245665.785 | 2684626.8415 | 1245677.857 | 2684631.8313 | 1245680.2966 | 2684640.1819 | 1245684.9636
2 | 2684633.323 | 1245665.785 | 2684608.294 | 1245652.4565
3 | 2684633.323 | 1245665.785 | 2684644.9553 | 1245643.6814
4 | 2684598.2976 | 1245647.1332 | 2684608.294 | 1245652.4565
5 | 2684617.1852 | 1245695.8435 | 2684603.0787 | 1245688.7176
6 | 2684617.1852 | 1245695.8435 | 2684608.1865 | 1245712.2924
7 | 2684595.945 | 1245685.0931 | 2684596.3003 | 1245685.2935 | 2684603.0787 | 1245688.7176
8 | 2684608.1865 | 1245712.2924 | 2684603.0577 | 1245721.6673
9 | 2684588.0364 | 1245641.669 | 2684598.2976 | 1245647.1332
10 | 2684595.945 | 1245685.0931 | 2684572.3529 | 1245671.7861
11 | 2684595.4841 | 1245735.5111 | 2684603.0577 | 1245721.6673
12 | 2684584.0848 | 1245623.8866 | 2684587.2993 | 1245618.072
13 | 2684577.3886 | 1245635.9987 | 2684584.0848 | 1245623.8866
14 | 2684577.3886 | 1245635.9987 | 2684568.0271 | 1245631.0901
15 | 2684577.8213 | 1245636.2292 | 2684577.3886 | 1245635.9987
16 | 2684556.892 | 1245625.2514 | 2684568.0271 | 1245631.0901
17 | 2684588.0364 | 1245641.669 | 2684577.8213 | 1245636.2292
18 | 2684541.6818 | 1245617.276 | 2684556.892 | 1245625.2514
19 | 2684541.6818 | 1245617.276 | 2684540.7277 | 1245620.5982 | 2684538.7418 | 1245621.0369 | 2684537.3665 | 1245622.107
20 | 2684537.3665 | 1245622.107 | 2684535.677 | 1245627.1866 | 2684534.0074 | 1245632.9209
21 | 2684526.9137 | 1245657.2839 | 2684534.0074 | 1245632.9209
22 | 2684520.2344 | 1245654.0975 | 2684523.4075 | 1245656.2442 | 2684526.9137 | 1245657.2839
23 | 2684520.2344 | 1245654.0975 | 2684517.0623 | 1245665.4186
24 | 2684526.9137 | 1245657.2839 | 2684522.5404 | 1245671.2608
25 | 2684526.9137 | 1245657.2839 | 2684530.7057 | 1245658.4165 | 2684535.6601 | 1245659.827
26 | 2684517.2396 | 1245688.2021 | 2684522.5404 | 1245671.2608
27 | 2684535.6601 | 1245659.827 | 2684541.9711 | 1245661.6238 | 2684552.7793 | 1245665.5891
28 | 2684511.2635 | 1245684.4475 | 2684513.7538 | 1245686.7847 | 2684517.2396 | 1245688.2021
29 | 2684511.2635 | 1245684.4475 | 2684509.3398 | 1245682.641 | 2684502.4578 | 1245674.8045
30 | 2684514.069 | 1245697.0078 | 2684517.2396 | 1245688.2021
31 | 2684497.5383 | 1245696.9056 | 2684499.665 | 1245698.248 | 2684502.4634 | 1245698.5881 | 2684504.2954 | 1245697.8136 | 2684505.262 | 1245696.2596 | 2684505.9875 | 1245694.6576 | 2684509.8403 | 1245695.7689 | 2684514.069 | 1245697.0078
32 | 2684514.069 | 1245697.0078 | 2684513.7902 | 1245697.9181
33 | 2684511.0338 | 1245706.9163 | 2684534.2836 | 1245716.4212
34 | 2684511.0338 | 1245706.9163 | 2684507.205 | 1245718.4369 | 2684506.9942 | 1245720.502 | 2684507.5914 | 1245722.0784 | 2684508.6097 | 1245723.2604
35 | 2684511.0338 | 1245706.9163 | 2684513.7902 | 1245697.9181
36 | 2684534.2836 | 1245716.4212 | 2684549.4979 | 1245723.6158
37 | 2684534.2836 | 1245716.4212 | 2684538.2013 | 1245707.0735
38 | 2684508.6097 | 1245723.2604 | 2684516.0381 | 1245727.4249 | 2684516.3286 | 1245727.5784
39 | 2684493.1521 | 1245713.5998 | 2684493.717 | 1245711.6064 | 2684494.0582 | 1245708.3422 | 2684493.5222 | 1245705.1322 | 2684492.8336 | 1245702.5538 | 2684492.2144 | 1245701.4664 | 2684495.2053 | 1245698.896 | 2684497.5383 | 1245696.9056
40 | 2684497.5383 | 1245696.9056 | 2684495.4575 | 1245694.4784
41 | 2684481.8393 | 1245734.9321 | 2684484.2762 | 1245730.9417 | 2684485.6457 | 1245728.6929 | 2684491.6722 | 1245717.237 | 2684493.1521 | 1245713.5998
42 | 2684493.1521 | 1245713.5998 | 2684487.1013 | 1245711.9124 | 2684477.3274 | 1245699.4541
43 | 2684495.4575 | 1245694.4784 | 2684492.7519 | 1245691.3222 | 2684484.2333 | 1245680.9377 | 2684483.6774 | 1245680.2721
44 | 2684481.8393 | 1245734.9321 | 2684477.1268 | 1245743.7826 | 2684471.2088 | 1245754.3917
45 | 2684481.8393 | 1245734.9321 | 2684476.1159 | 1245732.004 | 2684471.2301 | 1245729.6622
46 | 2684470.0923 | 1245690.232 | 2684477.3274 | 1245699.4541
47 | 2684470.0923 | 1245690.232 | 2684466.4824 | 1245685.8964
48 | 2684460.9057 | 1245772.8619 | 2684471.2088 | 1245754.3917
49 | 2684460.9057 | 1245772.8619 | 2684453.7067 | 1245769.0344 | 2684446.1932 | 1245765.1058
50 | 2684431.9653 | 1245757.6621 | 2684438.2945 | 1245760.9757 | 2684446.1932 | 1245765.1058
51 | 2684470.7976 | 1245729.4549 | 2684471.2301 | 1245729.6622
52 | 2684526.3522 | 1245732.8751 | 2684516.3286 | 1245727.5784
53 | 2684552.7793 | 1245665.5891 | 2684561.8374 | 1245668.9123 | 2684569.2189 | 1245670.0184 | 2684572.3529 | 1245671.7861
54 | 2684541.9179 | 1245698.2055 | 2684538.3829 | 1245706.6402
55 | 2684538.3829 | 1245706.6402 | 2684538.2013 | 1245707.0735
56 | 2684554.6978 | 1245726.0748 | 2684549.4979 | 1245723.6158
57 | 2684561.4646 | 1245751.8933 | 2684544.3032 | 1245742.4936
58 | 2684535.5228 | 1245737.7211 | 2684537.4261 | 1245738.7268 | 2684544.3032 | 1245742.4936
59 | 2684526.3522 | 1245732.8751 | 2684535.5228 | 1245737.7211

## bus_geodata
| x | y | coords
0 | 2684656.2082 | 1245662.1978
1 | 2684640.1819 | 1245684.9636
2 | 2684633.323 | 1245665.785
3 | 2684608.294 | 1245652.4565
4 | 2684644.9553 | 1245643.6814
5 | 2684617.1852 | 1245695.8435
6 | 2684603.0787 | 1245688.7176
7 | 2684608.1865 | 1245712.2924
8 | 2684598.2976 | 1245647.1332
9 | 2684595.945 | 1245685.0931
10 | 2684603.0577 | 1245721.6673
11 | 2684584.0848 | 1245623.8866
12 | 2684587.2993 | 1245618.072
13 | 2684577.3886 | 1245635.9987
14 | 2684568.0271 | 1245631.0901
15 | 2684577.8213 | 1245636.2292
16 | 2684556.892 | 1245625.2514
17 | 2684588.0364 | 1245641.669
18 | 2684541.6818 | 1245617.276
19 | 2684537.3665 | 1245622.107
20 | 2684534.0074 | 1245632.9209
21 | 2684520.2344 | 1245654.0975
22 | 2684526.9137 | 1245657.2839
23 | 2684517.0623 | 1245665.4186
24 | 2684522.5404 | 1245671.2608
25 | 2684535.6601 | 1245659.827
26 | 2684511.2635 | 1245684.4475
27 | 2684517.2396 | 1245688.2021
28 | 2684502.4578 | 1245674.8045
29 | 2684514.069 | 1245697.0078
30 | 2684511.0338 | 1245706.9163
31 | 2684534.2836 | 1245716.4212
32 | 2684508.6097 | 1245723.2604
33 | 2684513.7902 | 1245697.9181
34 | 2684497.5383 | 1245696.9056
35 | 2684493.1521 | 1245713.5998
36 | 2684495.4575 | 1245694.4784
37 | 2684481.8393 | 1245734.9321
38 | 2684477.3274 | 1245699.4541
39 | 2684470.0923 | 1245690.232
40 | 2684466.4824 | 1245685.8964
41 | 2684460.9057 | 1245772.8619
42 | 2684471.2088 | 1245754.3917
43 | 2684446.1932 | 1245765.1058
44 | 2684471.2301 | 1245729.6622
45 | 2684516.3286 | 1245727.5784
46 | 2684552.7793 | 1245665.5891
47 | 2684541.9179 | 1245698.2055
48 | 2684538.3829 | 1245706.6402
49 | 2684549.4979 | 1245723.6158
50 | 2684538.2013 | 1245707.0735
51 | 2684483.6774 | 1245680.2721
52 | 2684431.9653 | 1245757.6621
53 | 2684595.4841 | 1245735.5111
54 | 2684470.7976 | 1245729.4549
55 | 2684561.4646 | 1245751.8933
56 | 2684544.3032 | 1245742.4936
57 | 2684526.3522 | 1245732.8751
58 | 2684554.6978 | 1245726.0748
59 | 2684535.5228 | 1245737.7211
60 | 2684572.3529 | 1245671.7861
61 | 2684534.2836 | 1245716.4212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98294 | -0.32873 | 0.0028752 | 0.00072059
1 | 0.98302 | -0.32718 | 0 | 0
2 | 0.9831 | -0.32569 | 0 | 0
3 | 0.98364 | -0.31507 | 0.0040236 | 0.0010084
4 | 0.98269 | -0.33375 | 0.017902 | 0.0044868
5 | 0.98442 | -0.29978 | 0 | 0
6 | 0.98519 | -0.28494 | 0.0069494 | 0.0017417
7 | 0.98352 | -0.31741 | 0.013575 | 0.0034023
8 | 0.9839 | -0.31001 | 0.0092055 | 0.0023071
9 | 0.98562 | -0.27644 | 0.013922 | 0.0034892
10 | 0.98314 | -0.32486 | 0.014596 | 0.0036582
11 | 0.98453 | -0.29779 | 0.011637 | 0.0029165
12 | 0.98449 | -0.29852 | 0.0061783 | 0.0015484
13 | 0.98475 | -0.29335 | 0 | 0
14 | 0.98544 | -0.27995 | 0.0088535 | 0.0022189
15 | 0.98473 | -0.29382 | 0.0091901 | 0.0023033
16 | 0.98636 | -0.26204 | 0.006552 | 0.0016421
17 | 0.98427 | -0.30289 | 0.0095825 | 0.0024016
18 | 0.98772 | -0.23561 | 0 | 0
19 | 0.9883 | -0.22452 | 0 | 0
20 | 0.98919 | -0.20715 | 0.012489 | 0.00313
21 | 0.99137 | -0.16522 | 0 | 0
22 | 0.9915 | -0.16274 | 0 | 0
23 | 0.99117 | -0.16912 | 0.018693 | 0.0046848
24 | 0.99303 | -0.13324 | 0.017647 | 0.0044228
25 | 0.99057 | -0.18057 | 0.012947 | 0.0032449
26 | 0.99401 | -0.11449 | 0 | 0
27 | 0.99403 | -0.11403 | 0 | 0
28 | 0.99396 | -0.11531 | 0.0035823 | 0.0008978
29 | 0.99456 | -0.10378 | 0 | 0
30 | 0.99539 | -0.088014 | 0 | 0
31 | 0.99789 | -0.040188 | 0 | 0
32 | 0.99397 | -0.11525 | 0 | 0
33 | 0.99464 | -0.10237 | 0.011331 | 0.0028398
34 | 0.99303 | -0.13328 | 0 | 0
35 | 0.99173 | -0.15849 | 0 | 0
36 | 0.99299 | -0.13405 | 0.0055402 | 0.0013885
37 | 0.99048 | -0.18264 | 0 | 0
38 | 0.99139 | -0.16501 | 0.0073707 | 0.0018473
39 | 0.99129 | -0.16693 | 0 | 0
40 | 0.99124 | -0.16786 | 0.0092481 | 0.0023178
41 | 0.98902 | -0.21089 | 0 | 0
42 | 0.98966 | -0.19851 | 0.0073769 | 0.0018488
43 | 0.98852 | -0.22064 | 0.025645 | 0.0064273
44 | 0.99031 | -0.18602 | 0.00716 | 0.0017945
45 | 0.99326 | -0.12908 | 0.013401 | 0.0033587
46 | 0.98895 | -0.21188 | 0.018668 | 0.0046785
47 | 1 | 0 | -0.48199 | -0.12222
48 | 0.999 | -0.018973 | 0.0087219 | 0.0021859
49 | 0.99755 | -0.046694 | 0.012226 | 0.0030642
50 | 0.99895 | -0.019931 | 0.0096761 | 0.0024251
51 | 0.99286 | -0.13669 | 0.0080684 | 0.0020221
52 | 0.98842 | -0.22271 | 0.0072261 | 0.001811
53 | 0.98279 | -0.33171 | 0.024069 | 0.0060322
54 | 0.9903 | -0.18609 | 0.0088718 | 0.0022235
55 | 0.99074 | -0.17773 | 0.037887 | 0.0094953
56 | 0.99142 | -0.16458 | 0.012781 | 0.0032033
57 | 0.99248 | -0.14414 | 0.012726 | 0.0031893
58 | 0.9975 | -0.047687 | 0.0098527 | 0.0024693
59 | 0.99189 | -0.15561 | 0.01176 | 0.0029474
60 | 0.98745 | -0.24097 | 0.0055888 | 0.0014007
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028752 | -0.00072059 | 0.0028754 | 0.00072034 | 2.1155e-07 | -2.421e-07 | 0.0043525 | 0.0043524 | 0.0043525 | 0.98294 | -0.32873 | 0.98302 | -0.32718 | 1.1958
1 | -0.0028754 | -0.00072034 | 0.0028756 | 0.00072011 | 2.0474e-07 | -2.3439e-07 | 0.0043524 | 0.0043523 | 0.0043524 | 0.98302 | -0.32718 | 0.9831 | -0.32569 | 1.1957
2 | -0.020785 | -0.005211 | 0.020795 | 0.0052174 | 1.0525e-05 | 6.3763e-06 | 0.031461 | 0.031461 | 0.031461 | 0.9831 | -0.32569 | 0.98364 | -0.31507 | 8.6431
3 | 0.017909 | 0.0044909 | -0.017902 | -0.0044868 | 6.8832e-06 | 4.0887e-06 | 0.027108 | 0.027109 | 0.027109 | 0.9831 | -0.32569 | 0.98269 | -0.33375 | 7.4474
4 | -0.024819 | -0.0062258 | 0.024825 | 0.0062295 | 5.9875e-06 | 3.6882e-06 | 0.037547 | 0.037547 | 0.037547 | 0.98364 | -0.31507 | 0.9839 | -0.31001 | 10.3152
5 | -0.052306 | -0.013134 | 0.052343 | 0.013158 | 3.7056e-05 | 2.3514e-05 | 0.079072 | 0.079072 | 0.079072 | 0.98442 | -0.29978 | 0.98519 | -0.28494 | 21.7232
6 | 0.052306 | 0.013134 | -0.052262 | -0.013106 | 4.3961e-05 | 2.7897e-05 | 0.079072 | 0.079072 | 0.079072 | 0.98442 | -0.29978 | 0.98352 | -0.31741 | 21.7232
7 | -0.059292 | -0.014899 | 0.059316 | 0.014915 | 2.4074e-05 | 1.5305e-05 | 0.089569 | 0.089569 | 0.089569 | 0.98519 | -0.28494 | 0.98562 | -0.27644 | 24.6068
8 | 0.038687 | 0.0097038 | -0.038673 | -0.0096952 | 1.373e-05 | 8.6515e-06 | 0.058534 | 0.058534 | 0.058534 | 0.98352 | -0.31741 | 0.98314 | -0.32486 | 16.0807
9 | -0.034031 | -0.0085366 | 0.034042 | 0.0085438 | 1.1549e-05 | 7.2435e-06 | 0.051469 | 0.051469 | 0.051469 | 0.9839 | -0.31001 | 0.98427 | -0.30289 | 14.1399
10 | -0.073238 | -0.018404 | 0.073363 | 0.018483 | 0.00012422 | 7.9154e-05 | 0.11059 | 0.11059 | 0.11059 | 0.98562 | -0.27644 | 0.98745 | -0.24097 | 30.381
11 | 0.024077 | 0.006037 | -0.024069 | -0.0060322 | 7.8585e-06 | 4.8294e-06 | 0.036442 | 0.036442 | 0.036442 | 0.98314 | -0.32486 | 0.98279 | -0.33171 | 10.0115
12 | 0.0061785 | 0.0015485 | -0.0061783 | -0.0015484 | 2.1726e-07 | 5.4564e-08 | 0.0093382 | 0.0093382 | 0.0093382 | 0.98453 | -0.29779 | 0.98449 | -0.29852 | 2.5654
13 | -0.017815 | -0.004465 | 0.017819 | 0.0044672 | 3.7629e-06 | 2.2322e-06 | 0.026926 | 0.026926 | 0.026926 | 0.98453 | -0.29779 | 0.98475 | -0.29335 | 7.3973
14 | -0.070654 | -0.017729 | 0.070699 | 0.017757 | 4.5187e-05 | 2.8785e-05 | 0.10677 | 0.10677 | 0.10677 | 0.98475 | -0.29335 | 0.98544 | -0.27995 | 29.3322
15 | 0.052835 | 0.013261 | -0.052834 | -0.013261 | 1.1721e-06 | 7.4393e-07 | 0.079843 | 0.079843 | 0.079843 | 0.98475 | -0.29335 | 0.98473 | -0.29382 | 21.9349
16 | -0.079553 | -0.019976 | 0.079621 | 0.02002 | 6.8051e-05 | 4.3392e-05 | 0.12014 | 0.12014 | 0.12014 | 0.98544 | -0.27995 | 0.98636 | -0.26204 | 33.005
17 | 0.043643 | 0.010957 | -0.043625 | -0.010945 | 1.888e-05 | 1.1936e-05 | 0.065956 | 0.065956 | 0.065956 | 0.98473 | -0.29382 | 0.98427 | -0.30289 | 18.1198
18 | -0.086173 | -0.021662 | 0.086282 | 0.021731 | 0.00010888 | 6.9464e-05 | 0.13002 | 0.13002 | 0.13002 | 0.98636 | -0.26204 | 0.98772 | -0.23561 | 35.7204
19 | -0.086282 | -0.021731 | 0.086327 | 0.02176 | 4.5798e-05 | 2.9218e-05 | 0.13002 | 0.13002 | 0.13002 | 0.98772 | -0.23561 | 0.9883 | -0.22452 | 35.7204
20 | -0.086327 | -0.02176 | 0.086399 | 0.021806 | 7.1801e-05 | 4.5807e-05 | 0.13002 | 0.13002 | 0.13002 | 0.9883 | -0.22452 | 0.98919 | -0.20715 | 35.7204
21 | -0.098888 | -0.024936 | 0.099099 | 0.025071 | 0.00021071 | 0.00013453 | 0.14881 | 0.14881 | 0.14881 | 0.98919 | -0.20715 | 0.9915 | -0.16274 | 40.8816
22 | -0.018696 | -0.0046869 | 0.018698 | 0.0046882 | 2.2114e-06 | 1.3187e-06 | 0.028063 | 0.028063 | 0.028063 | 0.99137 | -0.16522 | 0.9915 | -0.16274 | 7.7095
23 | 0.018696 | 0.0046869 | -0.018693 | -0.0046848 | 3.4721e-06 | 2.0706e-06 | 0.028063 | 0.028063 | 0.028063 | 0.99137 | -0.16522 | 0.99117 | -0.16912 | 7.7095
24 | -0.22871 | -0.05779 | 0.22904 | 0.057997 | 0.00032385 | 0.00020688 | 0.34342 | 0.34342 | 0.34342 | 0.9915 | -0.16274 | 0.99303 | -0.13324 | 47.1727
25 | 0.11092 | 0.028031 | -0.11082 | -0.027971 | 9.4746e-05 | 6.052e-05 | 0.16655 | 0.16655 | 0.16655 | 0.9915 | -0.16274 | 0.99057 | -0.18057 | 45.7543
26 | -0.24669 | -0.06242 | 0.24691 | 0.062565 | 0.00022765 | 0.00014478 | 0.36986 | 0.36986 | 0.36986 | 0.99303 | -0.13324 | 0.99403 | -0.11403 | 25.4025
27 | 0.097875 | 0.024726 | -0.097729 | -0.024632 | 0.00014666 | 9.3628e-05 | 0.1471 | 0.1471 | 0.1471 | 0.99057 | -0.18057 | 0.98895 | -0.21188 | 40.4111
28 | -0.0035824 | -0.00089772 | 0.0035825 | 0.00089768 | 7.7415e-08 | -4.3503e-08 | 0.0053628 | 0.0053628 | 0.0053628 | 0.99401 | -0.11449 | 0.99403 | -0.11403 | 1.4733
29 | 0.0035824 | 0.00089772 | -0.0035823 | -0.0008978 | 1.4094e-07 | -7.9188e-08 | 0.0053628 | 0.0053629 | 0.0053629 | 0.99401 | -0.11449 | 0.99396 | -0.11531 | 1.4733
30 | -0.2505 | -0.063462 | 0.25062 | 0.063541 | 0.00012351 | 7.8558e-05 | 0.37522 | 0.37522 | 0.37522 | 0.99403 | -0.11403 | 0.99456 | -0.10378 | 25.7708
31 | 0.086859 | 0.021903 | -0.086737 | -0.021825 | 0.00012249 | 7.8146e-05 | 0.13 | 0.13 | 0.13 | 0.99456 | -0.10378 | 0.99303 | -0.13328 | 35.7149
32 | -0.33748 | -0.085444 | 0.3375 | 0.085459 | 2.2783e-05 | 1.4531e-05 | 0.50522 | 0.50522 | 0.50522 | 0.99456 | -0.10378 | 0.99464 | -0.10237 | 34.6995
33 | -0.43794 | -0.11084 | 0.43894 | 0.11149 | 0.0010079 | 0.00064374 | 0.65506 | 0.65506 | 0.65506 | 0.99539 | -0.088014 | 0.99789 | -0.040188 | 44.9904
34 | 0.088863 | 0.02239 | -0.088748 | -0.022316 | 0.0001156 | 7.3756e-05 | 0.13288 | 0.13288 | 0.13288 | 0.99539 | -0.088014 | 0.99397 | -0.11525 | 36.5068
35 | 0.34907 | 0.088452 | -0.34883 | -0.088299 | 0.00024057 | 0.00015347 | 0.52218 | 0.52218 | 0.52218 | 0.99539 | -0.088014 | 0.99464 | -0.10237 | 35.8637
36 | 0.022086 | 0.0055379 | -0.02208 | -0.0055338 | 6.8459e-06 | 4.1616e-06 | 0.032935 | 0.032935 | 0.032935 | 0.99789 | -0.040188 | 0.99755 | -0.046694 | 9.0482
37 | -0.46103 | -0.11702 | 0.46148 | 0.11731 | 0.00044976 | 0.00028732 | 0.68799 | 0.68799 | 0.68799 | 0.99789 | -0.040188 | 0.99895 | -0.019931 | 47.2524
38 | 0.088748 | 0.022316 | -0.088689 | -0.022279 | 5.8568e-05 | 3.7369e-05 | 0.13288 | 0.13288 | 0.13288 | 0.99397 | -0.11525 | 0.99326 | -0.12908 | 36.5068
39 | 0.073127 | 0.018414 | -0.073039 | -0.018358 | 8.8026e-05 | 5.6084e-05 | 0.10961 | 0.10961 | 0.10961 | 0.99303 | -0.13328 | 0.99173 | -0.15849 | 30.1121
40 | 0.01361 | 0.0034113 | -0.01361 | -0.003411 | 4.9863e-07 | 2.7777e-07 | 0.020394 | 0.020394 | 0.020394 | 0.99303 | -0.13328 | 0.99299 | -0.13405 | 5.6028
41 | 0.056414 | 0.014189 | -0.056349 | -0.014148 | 6.4993e-05 | 4.1284e-05 | 0.084662 | 0.084662 | 0.084662 | 0.99173 | -0.15849 | 0.99048 | -0.18264 | 23.2589
42 | 0.016625 | 0.0041687 | -0.01662 | -0.0041656 | 5.1611e-06 | 3.0178e-06 | 0.024946 | 0.024946 | 0.024946 | 0.99173 | -0.15849 | 0.99139 | -0.16501 | 6.8532
43 | 0.0080694 | 0.0020225 | -0.0080684 | -0.0020221 | 1.012e-06 | 4.0896e-07 | 0.012092 | 0.012092 | 0.012092 | 0.99299 | -0.13405 | 0.99286 | -0.13669 | 3.322
44 | 0.040314 | 0.010128 | -0.040284 | -0.010109 | 3.0511e-05 | 1.9242e-05 | 0.060573 | 0.060574 | 0.060574 | 0.99048 | -0.18264 | 0.98966 | -0.19851 | 16.6411
45 | 0.016034 | 0.0040195 | -0.016032 | -0.004018 | 2.578e-06 | 1.4975e-06 | 0.024089 | 0.024089 | 0.024089 | 0.99048 | -0.18264 | 0.99031 | -0.18602 | 6.6179
46 | 0.0092493 | 0.0023184 | -0.0092485 | -0.002318 | 8.4717e-07 | 3.9106e-07 | 0.013883 | 0.013883 | 0.013883 | 0.99139 | -0.16501 | 0.99129 | -0.16693 | 3.814
47 | 0.0092485 | 0.002318 | -0.0092481 | -0.0023178 | 4.0775e-07 | 1.8823e-07 | 0.013883 | 0.013883 | 0.013883 | 0.99129 | -0.16693 | 0.99124 | -0.16786 | 3.814
48 | -0.032887 | -0.0082481 | 0.032907 | 0.0082603 | 1.9419e-05 | 1.2157e-05 | 0.049482 | 0.049482 | 0.049482 | 0.98902 | -0.21089 | 0.98966 | -0.19851 | 13.594
49 | 0.032887 | 0.0082481 | -0.032872 | -0.0082386 | 1.5271e-05 | 9.5601e-06 | 0.049482 | 0.049482 | 0.049482 | 0.98902 | -0.21089 | 0.98852 | -0.22064 | 13.594
50 | 0.0072269 | 0.0018113 | -0.0072261 | -0.001811 | 7.1261e-07 | 2.5024e-07 | 0.010879 | 0.010879 | 0.010879 | 0.98852 | -0.22064 | 0.98842 | -0.22271 | 2.9886
51 | 0.0088718 | 0.0022235 | -0.0088718 | -0.0022235 | 3.1959e-08 | 1.4284e-08 | 0.013331 | 0.013331 | 0.013331 | 0.99031 | -0.18602 | 0.9903 | -0.18609 | 3.6623
52 | 0.075288 | 0.01892 | -0.075233 | -0.018886 | 5.4102e-05 | 3.4478e-05 | 0.11281 | 0.11281 | 0.11281 | 0.99326 | -0.12908 | 0.99248 | -0.14414 | 30.9912
53 | 0.079061 | 0.019954 | -0.078951 | -0.019884 | 0.00011 | 7.0133e-05 | 0.11901 | 0.11901 | 0.11901 | 0.98895 | -0.21188 | 0.98745 | -0.24097 | 32.6947
54 | 0.48034 | 0.12222 | -0.4799 | -0.12194 | 0.00043881 | 0.00028036 | 0.7154 | 0.7154 | 0.7154 | 1 | 0 | 0.999 | -0.018973 | 49.1346
55 | 0.47118 | 0.11975 | -0.47116 | -0.11974 | 2.1729e-05 | 1.3882e-05 | 0.70241 | 0.70241 | 0.70241 | 0.999 | -0.018973 | 0.99895 | -0.019931 | 48.2423
56 | 0.0098531 | 0.0024695 | -0.0098527 | -0.0024693 | 4.6596e-07 | 2.2312e-07 | 0.014698 | 0.014698 | 0.014698 | 0.99755 | -0.046694 | 0.9975 | -0.047687 | 4.0378
57 | -0.037887 | -0.0094953 | 0.037911 | 0.0095103 | 2.3759e-05 | 1.4954e-05 | 0.056903 | 0.056903 | 0.056903 | 0.99074 | -0.17773 | 0.99142 | -0.16458 | 15.6327
58 | -0.050692 | -0.012714 | 0.050714 | 0.012727 | 2.1696e-05 | 1.3756e-05 | 0.076086 | 0.076086 | 0.076086 | 0.99142 | -0.16458 | 0.99189 | -0.15561 | 20.9028
59 | 0.062508 | 0.015696 | -0.062474 | -0.015675 | 3.417e-05 | 2.1735e-05 | 0.093729 | 0.093729 | 0.093729 | 0.99248 | -0.14414 | 0.99189 | -0.15561 | 25.7496

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48957 | 0.12412

## res_load
| p_mw | q_mvar
0 | 0.0028752 | 0.00072059
1 | 0.0040236 | 0.0010084
2 | 0.017902 | 0.0044868
3 | 0.0069494 | 0.0017417
4 | 0.013575 | 0.0034023
5 | 0.0092055 | 0.0023071
6 | 0.013922 | 0.0034892
7 | 0.014596 | 0.0036582
8 | 0.011637 | 0.0029165
9 | 0.0061783 | 0.0015484
10 | 0.0088535 | 0.0022189
11 | 0.0091901 | 0.0023033
12 | 0.006552 | 0.0016421
13 | 0.0095825 | 0.0024016
14 | 0.012489 | 0.00313
15 | 0.018693 | 0.0046848
16 | 0.017647 | 0.0044228
17 | 0.012947 | 0.0032449
18 | 0.0035823 | 0.0008978
19 | 0.011331 | 0.0028398
20 | 0.0055402 | 0.0013885
21 | 0.0073707 | 0.0018473
22 | 0.0092481 | 0.0023178
23 | 0.0073769 | 0.0018488
24 | 0.025645 | 0.0064273
25 | 0.00716 | 0.0017945
26 | 0.013401 | 0.0033587
27 | 0.018668 | 0.0046785
28 | 0.0075824 | 0.0019003
29 | 0.0087219 | 0.0021859
30 | 0.012226 | 0.0030642
31 | 0.0096761 | 0.0024251
32 | 0.0080684 | 0.0020221
33 | 0.0072261 | 0.001811
34 | 0.024069 | 0.0060322
35 | 0.0088718 | 0.0022235
36 | 0.037887 | 0.0094953
37 | 0.012781 | 0.0032033
38 | 0.012726 | 0.0031893
39 | 0.0098527 | 0.0024693
40 | 0.01176 | 0.0029474
41 | 0.0055888 | 0.0014007

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1