## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-87_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-87_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-87_0_9_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-87_0_9_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-87_0_9_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-87_0_9_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-87_0_9_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_261-87_0_9_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_261-87_0_9_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_261-87_0_9_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_261-87_0_9_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_261-87_0_9_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-87_0_9_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-87_0_9_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-87_0_9_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_261-87_0_9_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_261-87_0_9_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_261-87_0_9_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-87_0_9_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_261-87_0_9_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-87_0_9_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-87_0_9_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_261-87_0_9_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_261-87_0_9_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_261-87_0_9_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_261-87_0_9_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_261-87_0_9_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_261-87_0_9_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_261-87_0_9_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_261-87_0_9_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_261-87_0_9_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_261-87_0_9_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-87_0_9_node_27 | 0.4 | n |  | TRUE
33 | bus_MV_548_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-87_0_9_load_0 | 0 | 0.022035 | 0.0055226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-87_0_9_load_3 | 3 | 0.008331 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-87_0_9_load_30 | 6 | 0.0043213 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-87_0_9_load_28 | 8 | 0.049507 | 0.012408 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-87_0_9_load_35 | 9 | 0.038358 | 0.0096135 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-87_0_9_load_19 | 14 | 0.036838 | 0.0092324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-87_0_9_load_34 | 16 | 0.0020978 | 0.00052576 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-87_0_9_load_21 | 18 | 0.049923 | 0.012512 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-87_0_9_load_18 | 19 | 0.017269 | 0.0043281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-87_0_9_load_32 | 22 | 0.063445 | 0.015901 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-87_0_9_load_26 | 23 | 0.038206 | 0.0095753 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-87_0_9_load_20 | 25 | 0.00088844 | 0.00022266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-87_0_9_load_39 | 26 | 0.044034 | 0.011036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-87_0_9_load_25 | 27 | 0.051039 | 0.012792 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-87_0_9_load_23 | 28 | 0.049257 | 0.012345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-87_0_9_load_31 | 29 | 0.061238 | 0.015348 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-87_0_9_load_22 | 30 | 0.035456 | 0.008886 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-87_0_9_load_27 | 32 | 0.030967 | 0.0077609 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-87_0_9_line_0 |  | 0 | 1 | 0.056113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-87_0_9_line_1 |  | 0 | 2 | 0.081596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-87_0_9_line_2 |  | 1 | 3 | 0.054548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-87_0_9_line_3 |  | 1 | 4 | 0.048717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-87_0_9_line_4 |  | 2 | 5 | 0.046519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_261-87_0_9_line_5 |  | 4 | 6 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-87_0_9_line_6 |  | 4 | 7 | 0.072166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-87_0_9_line_7 |  | 4 | 8 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-87_0_9_line_8 |  | 5 | 9 | 0.024316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-87_0_9_line_9 |  | 6 | 23 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-87_0_9_line_10 |  | 7 | 21 | 0.070319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-87_0_9_line_11 |  | 8 | 24 | 0.0050866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-87_0_9_line_12 |  | 9 | 13 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-87_0_9_line_13 |  | 10 | 11 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-87_0_9_line_14 |  | 10 | 12 | 0.004286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-87_0_9_line_15 |  | 11 | 13 | 0.037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-87_0_9_line_16 |  | 11 | 14 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-87_0_9_line_17 |  | 12 | 15 | 0.10045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-87_0_9_line_18 |  | 12 | 16 | 0.0204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-87_0_9_line_19 |  | 13 | 17 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-87_0_9_line_20 |  | 14 | 25 | 0.00063883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-87_0_9_line_21 |  | 15 | 19 | 0.051217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-87_0_9_line_22 |  | 17 | 18 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-87_0_9_line_23 |  | 20 | 21 | 0.042005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-87_0_9_line_24 |  | 20 | 22 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-87_0_9_line_25 |  | 21 | 26 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-87_0_9_line_26 |  | 23 | 31 | 0.0086288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_261-87_0_9_line_27 |  | 24 | 29 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-87_0_9_line_28 |  | 27 | 28 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-87_0_9_line_29 |  | 28 | 30 | 0.024391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-87_0_9_line_30 |  | 30 | 31 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-87_0_9_line_31 |  | 31 | 32 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-87_0_9_trafo_1 | 0.63 MVA 20/0.4 kV | 33 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2684164.4937 | 1247252.9827 | 2684141.5895 | 1247273.2616 | 2684143.3394 | 1247274.5096 | 2684144.8202 | 1247277.1547 | 2684146.1131 | 1247279.1968 | 2684134.7674 | 1247286.1076 | 2684130.7776 | 1247288.4743
1 | 2684058.5428 | 1247322.7872 | 2684061.6074 | 1247322.9418 | 2684064.1507 | 1247322.5776 | 2684065.8726 | 1247322.602 | 2684076.7974 | 1247316.5969 | 2684090.7929 | 1247308.2002 | 2684109.893 | 1247297.263 | 2684114.1649 | 1247295.9115 | 2684117.9036 | 1247296.4761 | 2684119.6457 | 1247295.0775 | 2684130.7776 | 1247288.4743
2 | 2684164.4937 | 1247252.9827 | 2684173.2074 | 1247255.3526 | 2684177.4615 | 1247257.3922 | 2684179.8137 | 1247259.8385 | 2684182.7885 | 1247264.7288 | 2684184.6649 | 1247267.7021 | 2684190.1194 | 1247277.231 | 2684194.2727 | 1247282.6384 | 2684197.9196 | 1247286.4708 | 2684201.9574 | 1247289.551
3 | 2684183.6052 | 1247213.6138 | 2684180.9663 | 1247212.1975 | 2684175.8594 | 1247217.5512 | 2684172.6921 | 1247220.8976 | 2684170.5118 | 1247235.066 | 2684169.8841 | 1247242.0289 | 2684168.9956 | 1247246.086 | 2684164.4937 | 1247252.9827
4 | 2684047.9821 | 1247349.9909 | 2684044.5936 | 1247342.8487 | 2684044.48 | 1247340.2007 | 2684045.7992 | 1247331.8688 | 2684043.8728 | 1247325.4924 | 2684044.2895 | 1247324.3419 | 2684056.1793 | 1247317.4052 | 2684058.5428 | 1247322.7872
5 | 2684183.6052 | 1247213.6138 | 2684202.9388 | 1247223.9052
6 | 2684124.4819 | 1247189.0568 | 2684123.0421 | 1247184.5886 | 2684134.1543 | 1247187.226 | 2684157.6878 | 1247199.7802 | 2684180.9663 | 1247212.1975 | 2684183.6052 | 1247213.6138
7 | 2684183.6052 | 1247213.6138 | 2684192.3143 | 1247196.8889
8 | 2684047.9821 | 1247349.9909 | 2684039.7436 | 1247359.9259 | 2684037.3811 | 1247361.3935 | 2684034.5901 | 1247361.6542 | 2684028.8481 | 1247360.6721
9 | 2684202.9388 | 1247223.9052 | 2684225.0499 | 1247235.6752
10 | 2684059.5915 | 1247215.8342 | 2684095.7381 | 1247198.7118 | 2684124.4819 | 1247189.0568
11 | 2684194.6637 | 1247192.3773 | 2684192.3143 | 1247196.8889
12 | 2684016.1365 | 1247365.907 | 2684025.673 | 1247361.3832 | 2684028.8481 | 1247360.6721
13 | 2683974.7855 | 1247357.5262 | 2683981.3137 | 1247368.0598 | 2683982.7015 | 1247370.3367
14 | 2683972.5257 | 1247353.8805 | 2683974.7855 | 1247357.5262
15 | 2683982.7015 | 1247370.3367 | 2683985.1301 | 1247374.3296 | 2683987.2701 | 1247373.1034 | 2683991.9686 | 1247371.491 | 2683996.6605 | 1247370.3566 | 2684006.5288 | 1247369.0621 | 2684016.1365 | 1247365.907
16 | 2683982.7015 | 1247370.3367 | 2683987.7406 | 1247367.0834 | 2683989.5047 | 1247365.7296 | 2683990.3584 | 1247364.1183 | 2683990.6234 | 1247362.4764 | 2683990.2155 | 1247360.8806 | 2683989.8515 | 1247360.3043
17 | 2683929.555 | 1247376.6445 | 2683921.4219 | 1247362.6191 | 2683917.0049 | 1247355.5514 | 2683943.0457 | 1247339.8639 | 2683946.7507 | 1247337.4701 | 2683947.5789 | 1247338.7272 | 2683948.6855 | 1247337.9312 | 2683948.9371 | 1247337.768 | 2683952.612 | 1247335.3626 | 2683957.5678 | 1247332.1304 | 2683958.132 | 1247331.7604 | 2683958.6421 | 1247331.4785 | 2683972.5257 | 1247353.8805
18 | 2683972.5257 | 1247353.8805 | 2683988.8611 | 1247341.6615
19 | 2684016.1365 | 1247365.907 | 2684017.5079 | 1247370.9412 | 2684017.5833 | 1247372.0209 | 2684017.2705 | 1247373.3063 | 2684015.3384 | 1247379.5835
20 | 2683989.8515 | 1247360.3043 | 2683989.5104 | 1247359.7641
21 | 2683929.555 | 1247376.6445 | 2683913.4328 | 1247386.4347 | 2683912.246 | 1247389.1644 | 2683912.2288 | 1247391.4436 | 2683912.8909 | 1247393.7658 | 2683916.9304 | 1247400.2833 | 2683925.9749 | 1247414.6975
22 | 2684015.3384 | 1247379.5835 | 2684017.7919 | 1247379.685 | 2684024.7314 | 1247378.7827 | 2684025.3975 | 1247378.6397
23 | 2684059.5915 | 1247215.8342 | 2684021.3164 | 1247233.3826
24 | 2684021.3164 | 1247233.3826 | 2684032.5508 | 1247253.8098
25 | 2684059.5915 | 1247215.8342 | 2684071.6533 | 1247233.8748
26 | 2684232.6668 | 1247239.7297 | 2684225.0499 | 1247235.6752
27 | 2684194.6637 | 1247192.3773 | 2684205.0079 | 1247172.3273
28 | 2684251.4939 | 1247203.5295 | 2684258.721 | 1247189.6334
29 | 2684251.4939 | 1247203.5295 | 2684240.2397 | 1247225.1686
30 | 2684232.6668 | 1247239.7297 | 2684240.2397 | 1247225.1686
31 | 2684232.6668 | 1247239.7297 | 2684248.3205 | 1247248.1037

## bus_geodata
| x | y | coords
0 | 2684130.7776 | 1247288.4743
1 | 2684164.4937 | 1247252.9827
2 | 2684058.5428 | 1247322.7872
3 | 2684201.9574 | 1247289.551
4 | 2684183.6052 | 1247213.6138
5 | 2684047.9821 | 1247349.9909
6 | 2684202.9388 | 1247223.9052
7 | 2684124.4819 | 1247189.0568
8 | 2684192.3143 | 1247196.8889
9 | 2684028.8481 | 1247360.6721
10 | 2683974.7855 | 1247357.5262
11 | 2683982.7015 | 1247370.3367
12 | 2683972.5257 | 1247353.8805
13 | 2684016.1366 | 1247365.907
14 | 2683989.8515 | 1247360.3043
15 | 2683929.555 | 1247376.6445
16 | 2683988.8611 | 1247341.6615
17 | 2684015.3384 | 1247379.5835
18 | 2684025.3975 | 1247378.6397
19 | 2683925.9749 | 1247414.6975
20 | 2684021.3164 | 1247233.3826
21 | 2684059.5915 | 1247215.8342
22 | 2684032.5508 | 1247253.8098
23 | 2684225.0499 | 1247235.6752
24 | 2684194.6637 | 1247192.3773
25 | 2683989.5104 | 1247359.7641
26 | 2684071.6533 | 1247233.8748
27 | 2684258.721 | 1247189.6334
28 | 2684251.4939 | 1247203.5295
29 | 2684205.0079 | 1247172.3273
30 | 2684240.2397 | 1247225.1686
31 | 2684232.6668 | 1247239.7297
32 | 2684248.3205 | 1247248.1037
33 | 2684172.6921 | 1247220.8976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99785 | -0.041028 | 0.022035 | 0.0055226
1 | 1 | 0 | -0.61125 | -0.15525
2 | 0.99513 | -0.093088 | 0 | 0
3 | 0.99959 | -0.0079248 | 0.008331 | 0.0020879
4 | 0.99522 | -0.091183 | 0 | 0
5 | 0.99358 | -0.12289 | 0 | 0
6 | 0.99417 | -0.11137 | 0.0043213 | 0.001083
7 | 0.98802 | -0.22868 | 0 | 0
8 | 0.99331 | -0.128 | 0.049507 | 0.012408
9 | 0.99196 | -0.15415 | 0.038358 | 0.0096135
10 | 0.9884 | -0.22317 | 0 | 0
11 | 0.98866 | -0.21797 | 0 | 0
12 | 0.98832 | -0.22465 | 0 | 0
13 | 0.9906 | -0.18037 | 0 | 0
14 | 0.98818 | -0.22741 | 0.036838 | 0.0092324
15 | 0.98672 | -0.25566 | 0 | 0
16 | 0.98828 | -0.22541 | 0.0020978 | 0.00052576
17 | 0.98995 | -0.19296 | 0 | 0
18 | 0.98949 | -0.20196 | 0.049923 | 0.012512
19 | 0.98591 | -0.2715 | 0.017269 | 0.0043281
20 | 0.97854 | -0.41298 | 0 | 0
21 | 0.98101 | -0.36459 | 0 | 0
22 | 0.97716 | -0.43994 | 0.063445 | 0.015901
23 | 0.99299 | -0.13402 | 0.038206 | 0.0095753
24 | 0.99302 | -0.13351 | 0 | 0
25 | 0.98818 | -0.22742 | 0.00088844 | 0.00022266
26 | 0.98013 | -0.38191 | 0.044034 | 0.011036
27 | 0.98731 | -0.24413 | 0.051039 | 0.012792
28 | 0.98804 | -0.22984 | 0.049257 | 0.012345
29 | 0.99176 | -0.15796 | 0.061238 | 0.015348
30 | 0.99029 | -0.18626 | 0.035456 | 0.008886
31 | 0.99233 | -0.14675 | 0 | 0
32 | 0.99183 | -0.15648 | 0.030967 | 0.0077609
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16855 | -0.042677 | 0.16889 | 0.042887 | 0.00033275 | 0.00021002 | 0.2515 | 0.2515 | 0.2515 | 0.99785 | -0.041028 | 1 | 0 | 17.2736
1 | 0.14652 | 0.037155 | -0.14615 | -0.036925 | 0.00036569 | 0.00022979 | 0.21864 | 0.21865 | 0.21865 | 0.99785 | -0.041028 | 0.99513 | -0.093088 | 15.0169
2 | 0.0083342 | 0.0020892 | -0.008331 | -0.0020879 | 3.1461e-06 | 1.2982e-06 | 0.012402 | 0.012402 | 0.012402 | 1 | 0 | 0.99959 | -0.0079248 | 3.4071
3 | 0.43238 | 0.11027 | -0.43049 | -0.10906 | 0.0018946 | 0.00121 | 0.64407 | 0.64407 | 0.64407 | 1 | 0 | 0.99522 | -0.091183 | 44.2354
4 | 0.14615 | 0.036925 | -0.14594 | -0.036794 | 0.00020849 | 0.00013102 | 0.21865 | 0.21865 | 0.21865 | 0.99513 | -0.093088 | 0.99358 | -0.12289 | 15.0169
5 | 0.21029 | 0.053106 | -0.21009 | -0.052977 | 0.00020317 | 0.00012889 | 0.31456 | 0.31456 | 0.31456 | 0.99522 | -0.091183 | 0.99417 | -0.11137 | 21.6044
6 | 0.10917 | 0.028017 | -0.10845 | -0.027555 | 0.00072312 | 0.00046187 | 0.16346 | 0.16346 | 0.16346 | 0.99522 | -0.091183 | 0.98802 | -0.22868 | 44.9078
7 | 0.11103 | 0.027936 | -0.11083 | -0.027811 | 0.00019496 | 0.00012453 | 0.16604 | 0.16604 | 0.16604 | 0.99522 | -0.091183 | 0.99331 | -0.128 | 45.6165
8 | 0.14594 | 0.036794 | -0.14573 | -0.036655 | 0.00021796 | 0.00013887 | 0.21865 | 0.21865 | 0.21865 | 0.99358 | -0.12289 | 0.99196 | -0.15415 | 30.0339
9 | 0.20576 | 0.051894 | -0.20554 | -0.051753 | 0.0002229 | 0.00014136 | 0.30809 | 0.30809 | 0.30809 | 0.99417 | -0.11137 | 0.99299 | -0.13402 | 21.1602
10 | 0.10845 | 0.027555 | -0.10774 | -0.027105 | 0.00070461 | 0.00045006 | 0.16346 | 0.16346 | 0.16346 | 0.98802 | -0.22868 | 0.98101 | -0.36459 | 44.9079
11 | 0.061325 | 0.015403 | -0.061309 | -0.015393 | 1.6103e-05 | 1.024e-05 | 0.09188 | 0.09188 | 0.09188 | 0.99331 | -0.128 | 0.99302 | -0.13351 | 25.2417
12 | 0.10737 | 0.027042 | -0.10723 | -0.026956 | 0.0001344 | 8.584e-05 | 0.16111 | 0.16111 | 0.16111 | 0.99196 | -0.15415 | 0.9906 | -0.18037 | 44.26
13 | -0.019407 | -0.0048772 | 0.019412 | 0.0048801 | 4.8184e-06 | 2.8908e-06 | 0.029222 | 0.029222 | 0.029222 | 0.9884 | -0.22317 | 0.98866 | -0.21797 | 8.028
14 | 0.019407 | 0.0048772 | -0.019406 | -0.0048764 | 1.3725e-06 | 8.2345e-07 | 0.029222 | 0.029222 | 0.029222 | 0.9884 | -0.22317 | 0.98832 | -0.22465 | 8.028
15 | -0.057155 | -0.014346 | 0.057258 | 0.014411 | 0.00010269 | 6.5248e-05 | 0.086031 | 0.086031 | 0.086031 | 0.98866 | -0.21797 | 0.9906 | -0.18037 | 23.6348
16 | 0.037743 | 0.0094658 | -0.037726 | -0.0094551 | 1.6988e-05 | 1.0692e-05 | 0.056809 | 0.056809 | 0.056809 | 0.98866 | -0.21797 | 0.98818 | -0.22741 | 15.6069
17 | 0.017308 | 0.0043509 | -0.017282 | -0.0043358 | 2.5589e-05 | 1.5092e-05 | 0.026063 | 0.026064 | 0.026064 | 0.98832 | -0.22465 | 0.98672 | -0.25566 | 7.1604
18 | 0.0020979 | 0.00052555 | -0.0020978 | -0.00052576 | 7.6318e-08 | -2.1256e-07 | 0.0031585 | 0.0031586 | 0.0031586 | 0.98832 | -0.22465 | 0.98828 | -0.22541 | 0.86774
19 | 0.049975 | 0.012545 | -0.049945 | -0.012526 | 2.999e-05 | 1.9011e-05 | 0.075076 | 0.075076 | 0.075076 | 0.9906 | -0.18037 | 0.98995 | -0.19296 | 20.6252
20 | 0.00088844 | 0.00022266 | -0.00088844 | -0.00022266 | 4.2864e-10 | -7.9096e-09 | 0.0013378 | 0.0013378 | 0.0013378 | 0.98818 | -0.22741 | 0.98818 | -0.22742 | 0.36754
21 | 0.017282 | 0.0043358 | -0.017269 | -0.0043281 | 1.3048e-05 | 7.6968e-06 | 0.026064 | 0.026064 | 0.026064 | 0.98672 | -0.25566 | 0.98591 | -0.2715 | 7.1605
22 | 0.049945 | 0.012526 | -0.049923 | -0.012512 | 2.1421e-05 | 1.3579e-05 | 0.075076 | 0.075076 | 0.075076 | 0.98995 | -0.19296 | 0.98949 | -0.20196 | 20.6252
23 | -0.063527 | -0.015953 | 0.063674 | 0.016046 | 0.00014703 | 9.357e-05 | 0.096613 | 0.096613 | 0.096613 | 0.97854 | -0.41298 | 0.98101 | -0.36459 | 26.5422
24 | 0.063527 | 0.015953 | -0.063445 | -0.015901 | 8.1602e-05 | 5.1933e-05 | 0.096613 | 0.096614 | 0.096614 | 0.97854 | -0.41298 | 0.97716 | -0.43994 | 26.5422
25 | 0.04407 | 0.011059 | -0.044034 | -0.011036 | 3.637e-05 | 2.3003e-05 | 0.066851 | 0.066851 | 0.066851 | 0.98101 | -0.36459 | 0.98013 | -0.38191 | 18.3658
26 | 0.16734 | 0.042177 | -0.16723 | -0.042112 | 0.0001018 | 6.4929e-05 | 0.25084 | 0.25084 | 0.25084 | 0.99299 | -0.13402 | 0.99233 | -0.14675 | 34.4561
27 | 0.061309 | 0.015393 | -0.061238 | -0.015348 | 7.1423e-05 | 4.5419e-05 | 0.09188 | 0.09188 | 0.09188 | 0.99302 | -0.13351 | 0.99176 | -0.15796 | 25.2418
28 | -0.051039 | -0.012792 | 0.051074 | 0.012814 | 3.4756e-05 | 2.2043e-05 | 0.076924 | 0.076924 | 0.076924 | 0.98731 | -0.24413 | 0.98804 | -0.22984 | 21.1329
29 | -0.10033 | -0.025159 | 0.10054 | 0.025292 | 0.00020884 | 0.00013335 | 0.15111 | 0.15111 | 0.15111 | 0.98804 | -0.22984 | 0.99029 | -0.18626 | 41.5127
30 | -0.136 | -0.034178 | 0.13625 | 0.034342 | 0.0002571 | 0.00016433 | 0.20438 | 0.20438 | 0.20438 | 0.99029 | -0.18626 | 0.99233 | -0.14675 | 56.149
31 | 0.030981 | 0.0077699 | -0.030967 | -0.0077609 | 1.4369e-05 | 8.9669e-06 | 0.046458 | 0.046458 | 0.046458 | 0.99233 | -0.14675 | 0.99183 | -0.15648 | 12.7633

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61125 | 0.15525

## res_load
| p_mw | q_mvar
0 | 0.022035 | 0.0055226
1 | 0.008331 | 0.0020879
2 | 0.0043213 | 0.001083
3 | 0.049507 | 0.012408
4 | 0.038358 | 0.0096135
5 | 0.036838 | 0.0092324
6 | 0.0020978 | 0.00052576
7 | 0.049923 | 0.012512
8 | 0.017269 | 0.0043281
9 | 0.063445 | 0.015901
10 | 0.038206 | 0.0095753
11 | 0.00088844 | 0.00022266
12 | 0.044034 | 0.011036
13 | 0.051039 | 0.012792
14 | 0.049257 | 0.012345
15 | 0.061238 | 0.015348
16 | 0.035456 | 0.008886
17 | 0.030967 | 0.0077609

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1