## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-880_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-880_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-880_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-880_0_4_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_261-880_0_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_261-880_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_261-880_0_4_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_261-880_0_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_261-880_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-880_0_4_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_261-880_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_261-880_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-880_0_4_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_261-880_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_261-880_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-880_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_261-880_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_261-880_0_4_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_261-880_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_261-880_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_261-880_0_4_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_261-880_0_4_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_261-880_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_261-880_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_261-880_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_261-880_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_261-880_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-880_0_4_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_261-880_0_4_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_261-880_0_4_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_261-880_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_261-880_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_261-880_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_261-880_0_4_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_261-880_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_261-880_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_261-880_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_261-880_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_261-880_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_261-880_0_4_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_261-880_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_261-880_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_261-880_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_261-880_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_261-880_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_261-880_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_261-880_0_4_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_261-880_0_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_261-880_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_261-880_0_4_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_261-880_0_4_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_261-880_0_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_261-880_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_261-880_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_261-880_0_4_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_261-880_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_261-880_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_261-880_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_261-880_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-880_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_261-880_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_261-880_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_261-880_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_261-880_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_261-880_0_4_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_261-880_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_261-880_0_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_261-880_0_4_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_261-880_0_4_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_261-880_0_4_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_261-880_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_261-880_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_261-880_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_261-880_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_261-880_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_261-880_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_261-880_0_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_261-880_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_261-880_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_261-880_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_261-880_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_261-880_0_4_node_92 | 0.4 | n |  | TRUE
82 | bus_LV_261-880_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_MV_539_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-880_0_4_load_0 | 0 | 0.023781 | 0.00596 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-880_0_4_load_40 | 4 | 0.023344 | 0.0058505 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-880_0_4_load_63 | 7 | 0.016919 | 0.0042404 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-880_0_4_load_87 | 9 | 0.014059 | 0.0035235 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-880_0_4_load_78 | 12 | 0.0080443 | 0.0020161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-880_0_4_load_77 | 13 | 0.0071846 | 0.0018006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-880_0_4_load_50 | 17 | 0.0058418 | 0.0014641 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-880_0_4_load_71 | 20 | 0.0034898 | 0.00087462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-880_0_4_load_69 | 21 | 0.0031461 | 0.00078848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-880_0_4_load_48 | 23 | 0.0035934 | 0.00090059 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-880_0_4_load_49 | 24 | 0.0036891 | 0.00092458 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-880_0_4_load_47 | 25 | 0.0037297 | 0.00093476 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-880_0_4_load_81 | 28 | 0.005202 | 0.0013037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-880_0_4_load_79 | 29 | 0.0074358 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-880_0_4_load_88 | 33 | 0.010648 | 0.0026687 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-880_0_4_load_89 | 39 | 0.010491 | 0.0026293 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-880_0_4_load_51 | 40 | 0.0075584 | 0.0018943 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-880_0_4_load_45 | 44 | 0.028041 | 0.0070278 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-880_0_4_load_46 | 45 | 0.0082556 | 0.002069 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-880_0_4_load_65 | 46 | 0.0093618 | 0.0023463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-880_0_4_load_83 | 47 | 0.014604 | 0.0036601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-880_0_4_load_76 | 49 | 0.0011964 | 0.00029986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-880_0_4_load_86 | 50 | 0.012881 | 0.0032283 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-880_0_4_load_85 | 51 | 0.0096556 | 0.0024199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-880_0_4_load_72 | 53 | 0.017038 | 0.0042702 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-880_0_4_load_73 | 54 | 0.0021796 | 0.00054627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-880_0_4_load_70 | 55 | 0.00075405 | 0.00018898 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-880_0_4_load_66 | 56 | 0.032265 | 0.0080864 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-880_0_4_load_62 | 57 | 0.012669 | 0.0031751 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-880_0_4_load_55 | 58 | 0.0088126 | 0.0022086 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-880_0_4_load_57 | 59 | 0.014079 | 0.0035286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-880_0_4_load_64 | 60 | 0.013052 | 0.0032712 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-880_0_4_load_41 | 61 | 0.0083018 | 0.0020806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-880_0_4_load_43 | 63 | 0.022691 | 0.0056869 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-880_0_4_load_95 | 64 | 0.0058282 | 0.0014607 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-880_0_4_load_74 | 65 | 0.0034682 | 0.0008692 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-880_0_4_load_93 | 66 | 0.0021549 | 0.00054006 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-880_0_4_load_91 | 67 | 0.0036062 | 0.00090379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-880_0_4_load_94 | 68 | 0.0036684 | 0.00091939 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-880_0_4_load_82 | 69 | 0.031072 | 0.0077873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-880_0_4_load_68 | 70 | 0.016702 | 0.0041858 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-880_0_4_load_61 | 71 | 0.0062909 | 0.0015767 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-880_0_4_load_75 | 72 | 0.013983 | 0.0035046 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-880_0_4_load_52 | 73 | 0.0073155 | 0.0018334 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-880_0_4_load_59 | 74 | 0.003735 | 0.00093607 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-880_0_4_load_58 | 75 | 0.01677 | 0.0042029 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-880_0_4_load_84 | 76 | 0.010337 | 0.0025906 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-880_0_4_load_56 | 77 | 0.01512 | 0.0037893 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-880_0_4_load_54 | 78 | 0.016513 | 0.0041386 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-880_0_4_load_53 | 79 | 0.0080617 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-880_0_4_load_67 | 80 | 0.0064695 | 0.0016214 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-880_0_4_load_92 | 81 | 0.0035745 | 0.00089586 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-880_0_4_load_90 | 82 | 0.0036888 | 0.0009245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-880_0_4_line_0 |  | 0 | 1 | 0.023218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-880_0_4_line_1 |  | 1 | 2 | 0.006947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-880_0_4_line_2 |  | 1 | 3 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-880_0_4_line_3 |  | 2 | 4 | 0.0088959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-880_0_4_line_4 |  | 3 | 45 | 0.017959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-880_0_4_line_5 |  | 3 | 16 | 0.004992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-880_0_4_line_6 |  | 4 | 41 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-880_0_4_line_7 |  | 5 | 6 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_261-880_0_4_line_8 |  | 5 | 7 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-880_0_4_line_9 |  | 6 | 58 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_261-880_0_4_line_10 |  | 6 | 18 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-880_0_4_line_11 |  | 7 | 57 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-880_0_4_line_12 |  | 8 | 9 | 0.0094393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-880_0_4_line_13 |  | 8 | 10 | 0.005947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-880_0_4_line_14 |  | 10 | 15 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-880_0_4_line_15 |  | 11 | 12 | 0.0066112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-880_0_4_line_16 |  | 11 | 13 | 0.034569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-880_0_4_line_17 |  | 12 | 48 | 0.0074489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-880_0_4_line_18 |  | 13 | 14 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-880_0_4_line_19 |  | 14 | 15 | 0.006649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-880_0_4_line_20 |  | 15 | 29 | 0.0045814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-880_0_4_line_21 |  | 16 | 17 | 0.021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-880_0_4_line_22 |  | 16 | 18 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_261-880_0_4_line_23 |  | 17 | 64 | 0.019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-880_0_4_line_24 |  | 18 | 40 | 0.005342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-880_0_4_line_25 |  | 19 | 20 | 0.040695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-880_0_4_line_26 |  | 19 | 21 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-880_0_4_line_27 |  | 20 | 65 | 0.01772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-880_0_4_line_28 |  | 21 | 55 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-880_0_4_line_29 |  | 22 | 23 | 0.018428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-880_0_4_line_30 |  | 22 | 24 | 0.010899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-880_0_4_line_31 |  | 22 | 25 | 0.0122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-880_0_4_line_32 |  | 23 | 68 | 0.0008311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-880_0_4_line_33 |  | 25 | 45 | 0.0246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-880_0_4_line_34 |  | 26 | 27 | 0.006112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-880_0_4_line_35 |  | 26 | 28 | 0.0074273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-880_0_4_line_36 |  | 26 | 29 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-880_0_4_line_37 |  | 27 | 69 | 0.001427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-880_0_4_line_38 |  | 28 | 47 | 0.021936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-880_0_4_line_39 |  | 30 | 31 | 0.0057001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-880_0_4_line_40 |  | 30 | 32 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-880_0_4_line_41 |  | 30 | 33 | 0.0068827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-880_0_4_line_42 |  | 31 | 46 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-880_0_4_line_43 |  | 31 | 35 | 0.007681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-880_0_4_line_44 |  | 32 | 50 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-880_0_4_line_45 |  | 32 | 51 | 0.023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-880_0_4_line_46 |  | 33 | 70 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-880_0_4_line_47 |  | 34 | 35 | 0.01217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_261-880_0_4_line_48 |  | 34 | 36 | 0.007037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-880_0_4_line_49 |  | 35 | 57 | 0.006638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-880_0_4_line_50 |  | 36 | 59 | 0.0060908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-880_0_4_line_51 |  | 36 | 37 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_261-880_0_4_line_52 |  | 37 | 38 | 0.00378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-880_0_4_line_53 |  | 37 | 39 | 0.03167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-880_0_4_line_54 |  | 38 | 47 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-880_0_4_line_55 |  | 39 | 72 | 0.0063688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-880_0_4_line_56 |  | 40 | 73 | 0.0093081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-880_0_4_line_57 |  | 41 | 42 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-880_0_4_line_58 |  | 41 | 43 | 0.02028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-880_0_4_line_59 |  | 41 | 44 | 0.015009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-880_0_4_line_60 |  | 42 | 63 | 0.0071526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-880_0_4_line_61 |  | 43 | 56 | 0.010526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-880_0_4_line_62 |  | 48 | 49 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-880_0_4_line_63 |  | 51 | 76 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-880_0_4_line_64 |  | 52 | 53 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-880_0_4_line_65 |  | 52 | 54 | 0.00579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-880_0_4_line_66 |  | 52 | 55 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-880_0_4_line_67 |  | 53 | 72 | 0.021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-880_0_4_line_68 |  | 56 | 60 | 0.0093913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-880_0_4_line_69 |  | 58 | 71 | 0.0097757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-880_0_4_line_70 |  | 59 | 77 | 0.029246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-880_0_4_line_71 |  | 61 | 62 | 0.0010829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-880_0_4_line_72 |  | 62 | 63 | 0.011769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-880_0_4_line_73 |  | 66 | 67 | 0.0096088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-880_0_4_line_74 |  | 67 | 82 | 0.0019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-880_0_4_line_75 |  | 68 | 81 | 0.0087834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-880_0_4_line_76 |  | 70 | 80 | 0.014526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-880_0_4_line_77 |  | 73 | 79 | 0.0096243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-880_0_4_line_78 |  | 74 | 75 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-880_0_4_line_79 |  | 75 | 77 | 0.029297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-880_0_4_line_80 |  | 78 | 79 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-880_0_4_line_81 |  | 81 | 82 | 0.0074079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-880_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 83 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2684315.7649 | 1245524.4149 | 2684317.8031 | 1245521.3639 | 2684325.1094 | 1245512.3611 | 2684330.2946 | 1245506.3294
1 | 2684316.7148 | 1245530.9443 | 2684315.4752 | 1245528.8474 | 2684315.238 | 1245526.3978 | 2684315.7649 | 1245524.4149
2 | 2684305.9254 | 1245517.0808 | 2684311.6827 | 1245521.3658 | 2684315.7649 | 1245524.4149
3 | 2684316.7148 | 1245530.9443 | 2684319.1021 | 1245532.5683 | 2684321.535 | 1245533.637 | 2684324.2697 | 1245535.5742
4 | 2684305.9254 | 1245517.0808 | 2684313.5397 | 1245508.2047 | 2684317.5928 | 1245503.4278
5 | 2684305.9254 | 1245517.0808 | 2684300.9941 | 1245517.9447
6 | 2684333.9978 | 1245542.4651 | 2684324.2697 | 1245535.5742
7 | 2684296.87 | 1245537.5004 | 2684299.2798 | 1245539.1359 | 2684303.343 | 1245541.929 | 2684300.4519 | 1245546.5135
8 | 2684300.4519 | 1245546.5135 | 2684298.1924 | 1245550.2508 | 2684298.5545 | 1245553.4805 | 2684296.0411 | 1245557.9627
9 | 2684296.87 | 1245537.5004 | 2684295.3432 | 1245539.6581 | 2684291.7018 | 1245540.1512 | 2684288.1009 | 1245546.1504
10 | 2684296.87 | 1245537.5004 | 2684291.302 | 1245532.6622 | 2684283.2936 | 1245523.5529
11 | 2684288.1045 | 1245572.1159 | 2684296.0411 | 1245557.9627
12 | 2684240.9438 | 1245661.6638 | 2684249.3818 | 1245665.8947
13 | 2684240.9438 | 1245661.6638 | 2684238.8177 | 1245659.7433 | 2684238.6575 | 1245656.661
14 | 2684229.0871 | 1245651.6658 | 2684234.1949 | 1245654.3292 | 2684238.6575 | 1245656.661
15 | 2684180.7684 | 1245632.9552 | 2684174.8412 | 1245630.0268
16 | 2684180.7684 | 1245632.9552 | 2684204.5612 | 1245644.7126 | 2684211.813 | 1245648.1598
17 | 2684168.1629 | 1245626.7273 | 2684174.8412 | 1245630.0268
18 | 2684223.6095 | 1245653.7674 | 2684211.813 | 1245648.1598
19 | 2684223.6095 | 1245653.7674 | 2684225.6886 | 1245654.2084 | 2684227.1965 | 1245653.9073 | 2684228.204 | 1245653.1989 | 2684229.0871 | 1245651.6658
20 | 2684229.0871 | 1245651.6658 | 2684231.3296 | 1245647.6708
21 | 2684300.9941 | 1245517.9447 | 2684294.2013 | 1245511.032 | 2684285.7553 | 1245502.5784
22 | 2684283.2936 | 1245523.5529 | 2684291.2423 | 1245523.0432 | 2684292.4077 | 1245523.9827 | 2684294.0024 | 1245525.5509 | 2684296.4507 | 1245522.8838 | 2684300.9941 | 1245517.9447
23 | 2684272.2644 | 1245489.0753 | 2684285.7553 | 1245502.5784
24 | 2684283.2936 | 1245523.5529 | 2684279.5858 | 1245519.7073
25 | 2684158.6745 | 1245523.3391 | 2684154.4044 | 1245521.8107 | 2684151.9577 | 1245521.7093 | 2684136.4163 | 1245551.6243
26 | 2684158.6745 | 1245523.3391 | 2684169.7326 | 1245529.3747
27 | 2684128.2471 | 1245567.3489 | 2684136.4163 | 1245551.6243
28 | 2684169.7326 | 1245529.3747 | 2684180.2672 | 1245535.1246
29 | 2684341.5322 | 1245475.4786 | 2684327.9592 | 1245463.0138
30 | 2684341.5322 | 1245475.4786 | 2684348.6548 | 1245467.2292
31 | 2684341.5322 | 1245475.4786 | 2684333.5644 | 1245484.7176
32 | 2684327.3471 | 1245462.4517 | 2684327.9592 | 1245463.0138
33 | 2684317.5928 | 1245503.4278 | 2684327.5878 | 1245491.6478 | 2684333.5644 | 1245484.7176
34 | 2684238.1761 | 1245629.3897 | 2684232.7226 | 1245626.5991
35 | 2684238.1761 | 1245629.3897 | 2684239.3402 | 1245627.2268 | 2684241.7337 | 1245622.8699
36 | 2684238.1761 | 1245629.3897 | 2684236.8867 | 1245631.8621 | 2684237.7928 | 1245636.1559 | 2684231.3296 | 1245647.6708
37 | 2684232.7226 | 1245626.5991 | 2684233.3753 | 1245625.3296
38 | 2684252.2957 | 1245603.6438 | 2684241.7337 | 1245622.8699
39 | 2684283.8292 | 1245588.4525 | 2684284.8486 | 1245586.3766 | 2684286.3501 | 1245583.3401
40 | 2684269.8536 | 1245603.1314 | 2684271.5049 | 1245599.6523 | 2684275.2835 | 1245591.6334 | 2684277.8548 | 1245588.2897 | 2684279.3608 | 1245587.5884 | 2684281.551 | 1245587.664 | 2684283.8292 | 1245588.4525
41 | 2684283.8292 | 1245588.4525 | 2684289.9155 | 1245591.6666
42 | 2684286.3501 | 1245583.3401 | 2684303.1917 | 1245591.8739
43 | 2684286.3501 | 1245583.3401 | 2684284.6697 | 1245581.9486 | 2684283.597 | 1245580.3433 | 2684283.3264 | 1245578.6493 | 2684283.8504 | 1245576.8665
44 | 2684269.8536 | 1245603.1314 | 2684279.4367 | 1245607.9625
45 | 2684269.8536 | 1245603.1314 | 2684268.537 | 1245605.9148 | 2684258.699 | 1245624.1101
46 | 2684306.1972 | 1245600.2647 | 2684289.9155 | 1245591.6666
47 | 2684273.2125 | 1245570.9555 | 2684279.1355 | 1245574.2087 | 2684283.8504 | 1245576.8665
48 | 2684273.2125 | 1245570.9555 | 2684271.5214 | 1245572.4437 | 2684269.4384 | 1245573.337 | 2684266.9519 | 1245572.8458
49 | 2684283.8504 | 1245576.8665 | 2684286.096 | 1245575.6976 | 2684288.1045 | 1245572.1159
50 | 2684266.9519 | 1245572.8458 | 2684261.5517 | 1245570.0287
51 | 2684262.2086 | 1245581.7516 | 2684264.747 | 1245576.9953 | 2684266.9519 | 1245572.8458
52 | 2684262.2998 | 1245585.4334 | 2684262.6759 | 1245583.4261 | 2684262.2086 | 1245581.7516
53 | 2684262.2086 | 1245581.7516 | 2684260.6949 | 1245580.329 | 2684234.43 | 1245566.6948
54 | 2684262.2998 | 1245585.4334 | 2684252.2957 | 1245603.6438
55 | 2684228.7774 | 1245563.7606 | 2684234.43 | 1245566.6948
56 | 2684279.5858 | 1245519.7073 | 2684273.125 | 1245513.0067
57 | 2684355.0869 | 1245518.0248 | 2684333.9978 | 1245542.4651
58 | 2684333.7047 | 1245556.6936 | 2684337.1134 | 1245551.8496 | 2684330.1872 | 1245546.8808 | 2684333.9978 | 1245542.4651
59 | 2684333.9978 | 1245542.4651 | 2684346.2941 | 1245551.0719
60 | 2684355.0869 | 1245518.0248 | 2684359.7655 | 1245512.6145
61 | 2684333.7047 | 1245556.6936 | 2684333.0414 | 1245557.6404 | 2684329.434 | 1245562.6484 | 2684327.4489 | 1245565.1553
62 | 2684168.1629 | 1245626.7273 | 2684157.6286 | 1245621.5214
63 | 2684252.5825 | 1245635.4225 | 2684258.699 | 1245624.1101
64 | 2684194.4939 | 1245545.9639 | 2684209.985 | 1245554.0054
65 | 2684191.8966 | 1245551.142 | 2684194.4939 | 1245545.9639
66 | 2684194.4939 | 1245545.9639 | 2684191.8837 | 1245544.6037 | 2684189.5886 | 1245540.2123 | 2684180.2672 | 1245535.1246
67 | 2684209.985 | 1245554.0054 | 2684228.7774 | 1245563.7606
68 | 2684319.7209 | 1245559.8191 | 2684327.4489 | 1245565.1553
69 | 2684283.07 | 1245554.5323 | 2684288.1009 | 1245546.1504
70 | 2684261.5517 | 1245570.0287 | 2684235.6222 | 1245556.502
71 | 2684367.4634 | 1245503.7125 | 2684368.1696 | 1245502.8916
72 | 2684367.4634 | 1245503.7125 | 2684359.7655 | 1245512.6145
73 | 2684306.894 | 1245443.6684 | 2684313.9711 | 1245450.1678
74 | 2684315.4216 | 1245451.4999 | 2684313.9711 | 1245450.1678
75 | 2684327.3471 | 1245462.4517 | 2684320.8778 | 1245456.5106
76 | 2684306.1972 | 1245600.2647 | 2684319.0417 | 1245607.0476
77 | 2684266.4447 | 1245506.0784 | 2684273.125 | 1245513.0067
78 | 2684209.6847 | 1245542.8804 | 2684198.9557 | 1245537.1875 | 2684197.9349 | 1245535.6385 | 2684194.7174 | 1245533.9472 | 2684192.2731 | 1245532.6153
79 | 2684209.6847 | 1245542.8804 | 2684219.8418 | 1245548.2699 | 2684235.6222 | 1245556.502
80 | 2684266.4447 | 1245506.0784 | 2684257.0529 | 1245496.3379 | 2684250.0299 | 1245488.918
81 | 2684315.4216 | 1245451.4999 | 2684320.8778 | 1245456.5106

## bus_geodata
| x | y | coords
0 | 2684330.2946 | 1245506.3294
1 | 2684315.7649 | 1245524.4149
2 | 2684316.7148 | 1245530.9443
3 | 2684305.9254 | 1245517.0808
4 | 2684324.2697 | 1245535.5742
5 | 2684300.4519 | 1245546.5135
6 | 2684296.87 | 1245537.5004
7 | 2684296.0411 | 1245557.9627
8 | 2684240.9438 | 1245661.6638
9 | 2684249.3818 | 1245665.8947
10 | 2684238.6575 | 1245656.661
11 | 2684180.7684 | 1245632.9552
12 | 2684174.8412 | 1245630.0268
13 | 2684211.813 | 1245648.1598
14 | 2684223.6095 | 1245653.7674
15 | 2684229.0871 | 1245651.6658
16 | 2684300.9941 | 1245517.9447
17 | 2684285.7553 | 1245502.5784
18 | 2684283.2936 | 1245523.5529
19 | 2684158.6745 | 1245523.3391
20 | 2684136.4163 | 1245551.6243
21 | 2684169.7326 | 1245529.3747
22 | 2684341.5322 | 1245475.4786
23 | 2684327.9592 | 1245463.0138
24 | 2684348.6548 | 1245467.2292
25 | 2684333.5644 | 1245484.7176
26 | 2684238.1761 | 1245629.3897
27 | 2684232.7226 | 1245626.5991
28 | 2684241.7337 | 1245622.8699
29 | 2684231.3296 | 1245647.6708
30 | 2684283.8292 | 1245588.4525
31 | 2684286.3501 | 1245583.3401
32 | 2684269.8536 | 1245603.1314
33 | 2684289.9155 | 1245591.6666
34 | 2684273.2125 | 1245570.9555
35 | 2684283.8504 | 1245576.8665
36 | 2684266.9519 | 1245572.8458
37 | 2684262.2086 | 1245581.7516
38 | 2684262.2998 | 1245585.4334
39 | 2684234.43 | 1245566.6948
40 | 2684279.5858 | 1245519.7073
41 | 2684333.9978 | 1245542.4651
42 | 2684355.0869 | 1245518.0248
43 | 2684333.7047 | 1245556.6936
44 | 2684346.2941 | 1245551.0719
45 | 2684317.5928 | 1245503.4278
46 | 2684303.1917 | 1245591.8739
47 | 2684252.2957 | 1245603.6438
48 | 2684168.1629 | 1245626.7273
49 | 2684157.6286 | 1245621.5214
50 | 2684279.4367 | 1245607.9625
51 | 2684258.699 | 1245624.1101
52 | 2684194.4939 | 1245545.9639
53 | 2684209.985 | 1245554.0054
54 | 2684191.8966 | 1245551.142
55 | 2684180.2672 | 1245535.1246
56 | 2684327.4489 | 1245565.1553
57 | 2684288.1045 | 1245572.1159
58 | 2684288.1009 | 1245546.1504
59 | 2684261.5517 | 1245570.0287
60 | 2684319.7209 | 1245559.8191
61 | 2684368.1696 | 1245502.8916
62 | 2684367.4634 | 1245503.7125
63 | 2684359.7655 | 1245512.6145
64 | 2684272.2644 | 1245489.0753
65 | 2684128.2471 | 1245567.3489
66 | 2684306.894 | 1245443.6684
67 | 2684313.9711 | 1245450.1678
68 | 2684327.3471 | 1245462.4517
69 | 2684233.3753 | 1245625.3296
70 | 2684306.1972 | 1245600.2647
71 | 2684283.07 | 1245554.5323
72 | 2684228.7774 | 1245563.7606
73 | 2684273.125 | 1245513.0067
74 | 2684192.2731 | 1245532.6153
75 | 2684209.6847 | 1245542.8804
76 | 2684252.5825 | 1245635.4225
77 | 2684235.6222 | 1245556.502
78 | 2684250.0299 | 1245488.918
79 | 2684266.4447 | 1245506.0784
80 | 2684319.0417 | 1245607.0476
81 | 2684320.8778 | 1245456.5106
82 | 2684315.4216 | 1245451.4999
83 | 2684273.2125 | 1245570.9555

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99351 | -0.12451 | 0.023781 | 0.00596
1 | 0.99401 | -0.11476 | 0 | 0
2 | 0.9932 | -0.13042 | 0 | 0
3 | 0.99486 | -0.09838 | 0 | 0
4 | 0.99216 | -0.15052 | 0.023344 | 0.0058505
5 | 0.99624 | -0.07197 | 0 | 0
6 | 0.99714 | -0.054591 | 0 | 0
7 | 0.99536 | -0.088714 | 0.016919 | 0.0042404
8 | 0.98738 | -0.24316 | 0 | 0
9 | 0.98725 | -0.24554 | 0.014059 | 0.0035235
10 | 0.98745 | -0.24167 | 0 | 0
11 | 0.987 | -0.25046 | 0 | 0
12 | 0.98695 | -0.25155 | 0.0080443 | 0.0020161
13 | 0.98729 | -0.24474 | 0.0071846 | 0.0018006
14 | 0.98749 | -0.24091 | 0 | 0
15 | 0.98759 | -0.23896 | 0 | 0
16 | 0.99508 | -0.094261 | 0 | 0
17 | 0.99485 | -0.098708 | 0.0058418 | 0.0014641
18 | 0.99608 | -0.074977 | 0 | 0
19 | 0.98939 | -0.20416 | 0 | 0
20 | 0.98913 | -0.20921 | 0.0034898 | 0.00087462
21 | 0.98947 | -0.2026 | 0.0031461 | 0.00078848
22 | 0.99338 | -0.12695 | 0 | 0
23 | 0.99304 | -0.13356 | 0.0035934 | 0.00090059
24 | 0.99335 | -0.12766 | 0.0036891 | 0.00092458
25 | 0.99365 | -0.12179 | 0.0037297 | 0.00093476
26 | 0.98843 | -0.22266 | 0 | 0
27 | 0.98826 | -0.22605 | 0 | 0
28 | 0.9889 | -0.21352 | 0.005202 | 0.0013037
29 | 0.98772 | -0.23646 | 0.0074358 | 0.0018636
30 | 0.99303 | -0.13375 | 0 | 0
31 | 0.99337 | -0.12704 | 0 | 0
32 | 0.99233 | -0.14724 | 0 | 0
33 | 0.99281 | -0.13787 | 0.010648 | 0.0026687
34 | 0.99337 | -0.12709 | 0 | 0
35 | 0.99391 | -0.11672 | 0 | 0
36 | 0.99306 | -0.13309 | 0 | 0
37 | 0.9924 | -0.14589 | 0 | 0
38 | 0.99209 | -0.15183 | 0 | 0
39 | 0.99081 | -0.17651 | 0.010491 | 0.0026293
40 | 0.99589 | -0.07868 | 0.0075584 | 0.0018943
41 | 0.99102 | -0.17257 | 0 | 0
42 | 0.99011 | -0.19032 | 0 | 0
43 | 0.99018 | -0.18889 | 0 | 0
44 | 0.99064 | -0.18004 | 0.028041 | 0.0070278
45 | 0.99427 | -0.10976 | 0.0082556 | 0.002069
46 | 0.99321 | -0.13016 | 0.0093618 | 0.0023463
47 | 0.99039 | -0.18456 | 0.014604 | 0.0036601
48 | 0.98694 | -0.25171 | 0 | 0
49 | 0.98692 | -0.25196 | 0.0011964 | 0.00029986
50 | 0.9922 | -0.14969 | 0.012881 | 0.0032283
51 | 0.9919 | -0.15565 | 0.0096556 | 0.0024199
52 | 0.98976 | -0.19686 | 0 | 0
53 | 0.98997 | -0.19282 | 0.017038 | 0.0042702
54 | 0.98975 | -0.19709 | 0.0021796 | 0.00054627
55 | 0.98958 | -0.20044 | 0.00075405 | 0.00018898
56 | 0.98974 | -0.19738 | 0.032265 | 0.0080864
57 | 0.99432 | -0.10885 | 0.012669 | 0.0031751
58 | 0.99878 | -0.023291 | 0.0088126 | 0.0022086
59 | 0.99278 | -0.13845 | 0.014079 | 0.0035286
60 | 0.98963 | -0.19956 | 0.013052 | 0.0032712
61 | 0.98981 | -0.19616 | 0.0083018 | 0.0020806
62 | 0.98981 | -0.196 | 0 | 0
63 | 0.9899 | -0.19426 | 0.022691 | 0.0056869
64 | 0.99475 | -0.10067 | 0.0058282 | 0.0014607
65 | 0.98907 | -0.2103 | 0.0034682 | 0.0008692
66 | 0.99283 | -0.13763 | 0.0021549 | 0.00054006
67 | 0.99285 | -0.13726 | 0.0036062 | 0.00090379
68 | 0.99303 | -0.1338 | 0.0036684 | 0.00091939
69 | 0.98822 | -0.22684 | 0.031072 | 0.0077873
70 | 0.99242 | -0.14542 | 0.016702 | 0.0041858
71 | 1 | 0 | -0.55195 | -0.13955
72 | 0.99056 | -0.1815 | 0.013983 | 0.0035046
73 | 0.99562 | -0.083898 | 0.0073155 | 0.0018334
74 | 0.99121 | -0.16889 | 0.003735 | 0.00093607
75 | 0.99128 | -0.16754 | 0.01677 | 0.0042029
76 | 0.99177 | -0.15801 | 0.010337 | 0.0025906
77 | 0.99183 | -0.15689 | 0.01512 | 0.0037893
78 | 0.99505 | -0.094959 | 0.016513 | 0.0041386
79 | 0.9954 | -0.088058 | 0.0080617 | 0.0020205
80 | 0.99234 | -0.14708 | 0.0064695 | 0.0016214
81 | 0.99293 | -0.13582 | 0.0035745 | 0.00089586
82 | 0.99286 | -0.13706 | 0.0036888 | 0.0009245
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023781 | -0.00596 | 0.023792 | 0.0059667 | 1.1045e-05 | 6.768e-06 | 0.035617 | 0.035617 | 0.035617 | 0.99351 | -0.12451 | 0.99401 | -0.11476 | 9.7849
1 | 0.12812 | 0.032275 | -0.12803 | -0.032213 | 9.5889e-05 | 6.1279e-05 | 0.19185 | 0.19185 | 0.19185 | 0.99401 | -0.11476 | 0.9932 | -0.13042 | 52.707
2 | -0.15191 | -0.038241 | 0.15203 | 0.038317 | 0.00011906 | 7.5881e-05 | 0.22747 | 0.22747 | 0.22747 | 0.99401 | -0.11476 | 0.99486 | -0.09838 | 31.246
3 | 0.12803 | 0.032213 | -0.1279 | -0.032135 | 0.00012279 | 7.847e-05 | 0.19185 | 0.19185 | 0.19185 | 0.9932 | -0.13042 | 0.99216 | -0.15052 | 52.707
4 | 0.036011 | 0.0090431 | -0.035991 | -0.0090308 | 1.9542e-05 | 1.2274e-05 | 0.053867 | 0.053867 | 0.053867 | 0.99486 | -0.09838 | 0.99427 | -0.10976 | 14.7987
5 | -0.18804 | -0.04736 | 0.18808 | 0.047384 | 3.7043e-05 | 2.3448e-05 | 0.28134 | 0.28134 | 0.28134 | 0.99486 | -0.09838 | 0.99508 | -0.094261 | 19.3226
6 | 0.10456 | 0.026284 | -0.10445 | -0.026214 | 0.00010997 | 7.023e-05 | 0.15684 | 0.15684 | 0.15684 | 0.99216 | -0.15052 | 0.99102 | -0.17257 | 43.0888
7 | -0.30017 | -0.075793 | 0.30042 | 0.075953 | 0.00025016 | 0.00015941 | 0.44854 | 0.44854 | 0.44854 | 0.99624 | -0.07197 | 0.99714 | -0.054591 | 30.8066
8 | 0.30017 | 0.075793 | -0.29993 | -0.07564 | 0.0002406 | 0.00015332 | 0.44854 | 0.44854 | 0.44854 | 0.99624 | -0.07197 | 0.99536 | -0.088714 | 30.8067
9 | -0.54007 | -0.13643 | 0.54088 | 0.13695 | 0.00081154 | 0.00051869 | 0.80631 | 0.80631 | 0.80631 | 0.99714 | -0.054591 | 0.99878 | -0.023291 | 55.3784
10 | 0.23965 | 0.060478 | -0.23941 | -0.060329 | 0.00023373 | 0.00014857 | 0.35776 | 0.35777 | 0.35777 | 0.99714 | -0.054591 | 0.99608 | -0.074977 | 24.5718
11 | 0.28301 | 0.0714 | -0.28274 | -0.071226 | 0.00027252 | 0.00017357 | 0.42325 | 0.42325 | 0.42325 | 0.99536 | -0.088714 | 0.99432 | -0.10885 | 29.0695
12 | 0.01406 | 0.0035244 | -0.014059 | -0.0035235 | 1.5894e-06 | 8.9649e-07 | 0.02119 | 0.02119 | 0.02119 | 0.98738 | -0.24316 | 0.98725 | -0.24554 | 5.8214
13 | -0.01406 | -0.0035244 | 0.014061 | 0.003525 | 1.0014e-06 | 5.648e-07 | 0.02119 | 0.02119 | 0.02119 | 0.98738 | -0.24316 | 0.98745 | -0.24167 | 5.8214
14 | -0.014061 | -0.003525 | 0.014063 | 0.003526 | 1.8177e-06 | 1.0252e-06 | 0.02119 | 0.02119 | 0.02119 | 0.98745 | -0.24167 | 0.98759 | -0.23896 | 5.8214
15 | 0.0092413 | 0.002316 | -0.0092408 | -0.0023157 | 4.8123e-07 | 2.235e-07 | 0.013932 | 0.013932 | 0.013932 | 0.987 | -0.25046 | 0.98695 | -0.25155 | 3.8275
16 | -0.0092413 | -0.002316 | 0.0092438 | 0.0023171 | 2.5162e-06 | 1.1685e-06 | 0.013932 | 0.013932 | 0.013932 | 0.987 | -0.25046 | 0.98729 | -0.24474 | 3.8275
17 | 0.0011965 | 0.00029963 | -0.0011965 | -0.00029971 | 9.089e-09 | -8.9372e-08 | 0.0018038 | 0.0018039 | 0.0018039 | 0.98695 | -0.25155 | 0.98694 | -0.25171 | 0.49556
18 | -0.016428 | -0.0041178 | 0.016431 | 0.0041195 | 3.0029e-06 | 1.7548e-06 | 0.024761 | 0.02476 | 0.024761 | 0.98729 | -0.24474 | 0.98749 | -0.24091 | 6.8023
19 | -0.016431 | -0.0041195 | 0.016433 | 0.0041204 | 1.5286e-06 | 8.9326e-07 | 0.02476 | 0.02476 | 0.02476 | 0.98749 | -0.24091 | 0.98759 | -0.23896 | 6.8023
20 | -0.030496 | -0.0076464 | 0.0305 | 0.0076486 | 3.6275e-06 | 2.263e-06 | 0.04595 | 0.04595 | 0.04595 | 0.98759 | -0.23896 | 0.98772 | -0.23646 | 12.6237
21 | 0.011673 | 0.0029262 | -0.011671 | -0.0029249 | 2.4729e-06 | 1.3016e-06 | 0.017456 | 0.017456 | 0.017456 | 0.99508 | -0.094261 | 0.99485 | -0.098708 | 4.7956
22 | -0.19975 | -0.05031 | 0.19994 | 0.050427 | 0.00018439 | 0.00011686 | 0.29879 | 0.29879 | 0.29879 | 0.99508 | -0.094261 | 0.99608 | -0.074977 | 20.5215
23 | 0.0058287 | 0.0014608 | -0.0058282 | -0.0014607 | 5.4405e-07 | 1.0037e-07 | 0.0087182 | 0.0087182 | 0.0087182 | 0.99485 | -0.098708 | 0.99475 | -0.10067 | 2.3951
24 | 0.039474 | 0.0099023 | -0.039467 | -0.0098979 | 6.9667e-06 | 4.3892e-06 | 0.058972 | 0.058972 | 0.058972 | 0.99608 | -0.074977 | 0.99589 | -0.07868 | 16.2012
25 | 0.0069598 | 0.0017443 | -0.0069581 | -0.0017437 | 1.6721e-06 | 5.4764e-07 | 0.010467 | 0.010467 | 0.010467 | 0.98939 | -0.20416 | 0.98913 | -0.20921 | 2.8757
26 | -0.0069598 | -0.0017443 | 0.0069603 | 0.0017444 | 5.1761e-07 | 1.6947e-07 | 0.010467 | 0.010467 | 0.010467 | 0.98939 | -0.20416 | 0.98947 | -0.2026 | 2.8756
27 | 0.0034683 | 0.00086909 | -0.0034682 | -0.0008692 | 1.809e-07 | -1.1166e-07 | 0.0052176 | 0.0052177 | 0.0052177 | 0.98913 | -0.20921 | 0.98907 | -0.2103 | 1.4334
28 | -0.010106 | -0.0025329 | 0.010107 | 0.0025334 | 1.0396e-06 | 5.1118e-07 | 0.015199 | 0.015198 | 0.015199 | 0.98947 | -0.2026 | 0.98958 | -0.20044 | 4.1754
29 | 0.020295 | 0.005089 | -0.020288 | -0.0050852 | 6.3868e-06 | 3.8491e-06 | 0.030401 | 0.030401 | 0.030401 | 0.99338 | -0.12695 | 0.99304 | -0.13356 | 8.3519
30 | 0.0036892 | 0.00092452 | -0.0036891 | -0.00092458 | 1.2481e-07 | -6.1213e-08 | 0.0055262 | 0.0055262 | 0.0055262 | 0.99338 | -0.12695 | 0.99335 | -0.12766 | 1.5182
31 | -0.023984 | -0.0060135 | 0.02399 | 0.0060172 | 5.9052e-06 | 3.6214e-06 | 0.035927 | 0.035927 | 0.035927 | 0.99338 | -0.12695 | 0.99365 | -0.12179 | 9.8701
32 | 0.016695 | 0.0041846 | -0.016695 | -0.0041845 | 1.9504e-07 | 1.1408e-07 | 0.025016 | 0.025016 | 0.025016 | 0.99304 | -0.13356 | 0.99303 | -0.1338 | 6.8726
33 | -0.02772 | -0.0069519 | 0.027735 | 0.0069618 | 1.5897e-05 | 9.8554e-06 | 0.041512 | 0.041512 | 0.041512 | 0.99365 | -0.12179 | 0.99427 | -0.10976 | 11.4045
34 | 0.031078 | 0.0077912 | -0.031073 | -0.007788 | 5.0171e-06 | 3.1326e-06 | 0.046787 | 0.046787 | 0.046787 | 0.98843 | -0.22266 | 0.98826 | -0.22605 | 12.8535
35 | -0.069039 | -0.017319 | 0.069069 | 0.017338 | 3.009e-05 | 1.9162e-05 | 0.10394 | 0.10394 | 0.10394 | 0.98843 | -0.22266 | 0.9889 | -0.21352 | 28.5546
36 | 0.037961 | 0.009528 | -0.037936 | -0.0095122 | 2.4965e-05 | 1.5717e-05 | 0.057152 | 0.057152 | 0.057152 | 0.98843 | -0.22266 | 0.98772 | -0.23646 | 15.7012
37 | 0.031073 | 0.007788 | -0.031072 | -0.0077873 | 1.1714e-06 | 7.314e-07 | 0.046787 | 0.046787 | 0.046787 | 0.98826 | -0.22605 | 0.98822 | -0.22684 | 12.8535
38 | -0.074271 | -0.018642 | 0.074373 | 0.018708 | 0.00010276 | 6.5483e-05 | 0.11177 | 0.11177 | 0.11177 | 0.9889 | -0.21352 | 0.99039 | -0.18456 | 30.7051
39 | -0.06674 | -0.016744 | 0.066761 | 0.016757 | 2.1381e-05 | 1.361e-05 | 0.10001 | 0.10001 | 0.10001 | 0.99303 | -0.13375 | 0.99337 | -0.12704 | 27.4762
40 | 0.032905 | 0.0082582 | -0.032884 | -0.008245 | 2.1152e-05 | 1.3238e-05 | 0.049311 | 0.049311 | 0.049311 | 0.99303 | -0.13375 | 0.99233 | -0.14724 | 13.547
41 | 0.033835 | 0.0084854 | -0.033828 | -0.0084812 | 6.6351e-06 | 4.1575e-06 | 0.050702 | 0.050702 | 0.050702 | 0.99303 | -0.13375 | 0.99281 | -0.13787 | 13.9293
42 | 0.0093632 | 0.0023469 | -0.0093618 | -0.0023463 | 1.3928e-06 | 6.47e-07 | 0.014026 | 0.014026 | 0.014026 | 0.99337 | -0.12704 | 0.99321 | -0.13016 | 3.8532
43 | -0.076124 | -0.019104 | 0.076162 | 0.019128 | 3.7459e-05 | 2.3874e-05 | 0.11404 | 0.11404 | 0.11404 | 0.99337 | -0.12704 | 0.99391 | -0.11672 | 31.3294
44 | 0.012882 | 0.0032291 | -0.012881 | -0.0032283 | 1.5018e-06 | 8.2255e-07 | 0.019318 | 0.019318 | 0.019318 | 0.99233 | -0.14724 | 0.9922 | -0.14969 | 5.3071
45 | 0.020001 | 0.0050159 | -0.019993 | -0.0050111 | 8.0168e-06 | 4.8239e-06 | 0.029993 | 0.029994 | 0.029994 | 0.99233 | -0.14724 | 0.9919 | -0.15565 | 8.24
46 | 0.02318 | 0.0058125 | -0.023172 | -0.0058074 | 8.3345e-06 | 5.0961e-06 | 0.034743 | 0.034743 | 0.034743 | 0.99281 | -0.13787 | 0.99242 | -0.14542 | 9.5448
47 | -0.19371 | -0.048797 | 0.19381 | 0.048858 | 9.6121e-05 | 6.0887e-05 | 0.29025 | 0.29025 | 0.29025 | 0.99337 | -0.12709 | 0.99391 | -0.11672 | 19.935
48 | 0.19371 | 0.048797 | -0.19365 | -0.048762 | 5.558e-05 | 3.5207e-05 | 0.29025 | 0.29025 | 0.29025 | 0.99337 | -0.12709 | 0.99306 | -0.13309 | 19.935
49 | -0.26997 | -0.067986 | 0.27007 | 0.068051 | 0.00010172 | 6.4756e-05 | 0.40429 | 0.40429 | 0.40429 | 0.99391 | -0.11672 | 0.99432 | -0.10885 | 27.7674
50 | 0.049759 | 0.012491 | -0.049746 | -0.012483 | 1.27e-05 | 8.049e-06 | 0.074566 | 0.074566 | 0.074566 | 0.99306 | -0.13309 | 0.99278 | -0.13845 | 20.4852
51 | 0.14389 | 0.036271 | -0.14381 | -0.036215 | 8.8015e-05 | 5.6068e-05 | 0.21569 | 0.21569 | 0.21569 | 0.99306 | -0.13309 | 0.9924 | -0.14589 | 29.6275
52 | 0.089142 | 0.022473 | -0.089117 | -0.022456 | 2.5342e-05 | 1.617e-05 | 0.13371 | 0.13371 | 0.13371 | 0.9924 | -0.14589 | 0.99209 | -0.15183 | 36.7329
53 | 0.054665 | 0.013742 | -0.054585 | -0.013692 | 7.9818e-05 | 5.0675e-05 | 0.081981 | 0.081981 | 0.081981 | 0.9924 | -0.14589 | 0.99081 | -0.17651 | 22.5222
54 | 0.089117 | 0.022456 | -0.088977 | -0.022368 | 0.0001393 | 8.8881e-05 | 0.13371 | 0.13371 | 0.13371 | 0.99209 | -0.15183 | 0.99039 | -0.18456 | 36.7329
55 | 0.044094 | 0.011062 | -0.044084 | -0.011056 | 1.0474e-05 | 6.6217e-06 | 0.066225 | 0.066225 | 0.066225 | 0.99081 | -0.17651 | 0.99056 | -0.1815 | 18.1937
56 | 0.031909 | 0.0080036 | -0.031901 | -0.0079986 | 7.9349e-06 | 4.9573e-06 | 0.047679 | 0.047679 | 0.047679 | 0.99589 | -0.07868 | 0.99562 | -0.083898 | 13.0986
57 | 0.031026 | 0.0077879 | -0.031 | -0.0077715 | 2.6246e-05 | 1.6382e-05 | 0.046589 | 0.04659 | 0.04659 | 0.99102 | -0.17257 | 0.99011 | -0.19032 | 12.7993
58 | 0.045372 | 0.011392 | -0.045337 | -0.01137 | 3.5304e-05 | 2.2333e-05 | 0.068134 | 0.068134 | 0.068134 | 0.99102 | -0.17257 | 0.99018 | -0.18889 | 18.7181
59 | 0.028051 | 0.007034 | -0.028041 | -0.0070278 | 9.9855e-06 | 6.1974e-06 | 0.04212 | 0.04212 | 0.04212 | 0.99102 | -0.17257 | 0.99064 | -0.18004 | 11.5715
60 | 0.031 | 0.0077715 | -0.030994 | -0.0077679 | 5.822e-06 | 3.6341e-06 | 0.04659 | 0.04659 | 0.04659 | 0.99011 | -0.19032 | 0.9899 | -0.19426 | 12.7993
61 | 0.045337 | 0.01137 | -0.045319 | -0.011358 | 1.8324e-05 | 1.1592e-05 | 0.068134 | 0.068134 | 0.068134 | 0.99018 | -0.18889 | 0.98974 | -0.19738 | 18.7181
62 | 0.0011965 | 0.00029971 | -0.0011964 | -0.00029986 | 1.4338e-08 | -1.4098e-07 | 0.0018039 | 0.0018039 | 0.0018039 | 0.98694 | -0.25171 | 0.98692 | -0.25196 | 0.49558
63 | 0.010338 | 0.0025912 | -0.010337 | -0.0025906 | 1.1599e-06 | 5.7635e-07 | 0.015508 | 0.015508 | 0.015508 | 0.9919 | -0.15565 | 0.99177 | -0.15801 | 4.2606
64 | -0.013043 | -0.0032696 | 0.013045 | 0.0032709 | 2.5167e-06 | 1.3863e-06 | 0.019609 | 0.019609 | 0.019609 | 0.98976 | -0.19686 | 0.98997 | -0.19282 | 5.3871
65 | 0.0021797 | 0.00054621 | -0.0021796 | -0.00054627 | 2.3315e-08 | -5.9491e-08 | 0.0032769 | 0.0032769 | 0.0032769 | 0.98976 | -0.19686 | 0.98975 | -0.19709 | 0.90025
66 | 0.010863 | 0.0027233 | -0.010861 | -0.0027224 | 1.8523e-06 | 9.4752e-07 | 0.016332 | 0.016332 | 0.016332 | 0.98976 | -0.19686 | 0.98958 | -0.20044 | 4.4869
67 | -0.030084 | -0.0075412 | 0.0301 | 0.0075513 | 1.6236e-05 | 1.0118e-05 | 0.045219 | 0.045219 | 0.045219 | 0.98997 | -0.19282 | 0.99056 | -0.1815 | 12.4229
68 | 0.013053 | 0.0032719 | -0.013052 | -0.0032712 | 1.3564e-06 | 7.4742e-07 | 0.019625 | 0.019625 | 0.019625 | 0.98974 | -0.19738 | 0.98963 | -0.19956 | 5.3916
69 | -0.54969 | -0.13916 | 0.5503 | 0.13955 | 0.00061539 | 0.00039334 | 0.81944 | 0.81944 | 0.81944 | 0.99878 | -0.023291 | 1 | 0 | 56.2801
70 | 0.035667 | 0.0089542 | -0.035635 | -0.0089345 | 3.1348e-05 | 1.9685e-05 | 0.053464 | 0.053464 | 0.053464 | 0.99278 | -0.13845 | 0.99183 | -0.15689 | 14.6879
71 | -0.0083018 | -0.0020806 | 0.0083019 | 0.0020807 | 6.3251e-08 | 2.6562e-08 | 0.01248 | 0.01248 | 0.01248 | 0.98981 | -0.19616 | 0.98981 | -0.196 | 3.4287
72 | -0.0083019 | -0.0020807 | 0.0083026 | 0.0020809 | 6.8742e-07 | 2.8867e-07 | 0.01248 | 0.01248 | 0.01248 | 0.98981 | -0.196 | 0.9899 | -0.19426 | 3.4287
73 | -0.0021549 | -0.00054006 | 0.0021549 | 0.00053996 | 3.7584e-08 | -1.0021e-07 | 0.0032296 | 0.0032296 | 0.0032296 | 0.99283 | -0.13763 | 0.99285 | -0.13726 | 0.88726
74 | -0.0057611 | -0.0014438 | 0.0057611 | 0.0014438 | 5.5057e-08 | 9.7672e-09 | 0.0086343 | 0.0086342 | 0.0086343 | 0.99285 | -0.13726 | 0.99286 | -0.13706 | 2.372
75 | 0.013026 | 0.0032651 | -0.013025 | -0.0032644 | 1.255e-06 | 6.8955e-07 | 0.019519 | 0.019519 | 0.019519 | 0.99303 | -0.1338 | 0.99293 | -0.13582 | 5.3625
76 | 0.00647 | 0.0016215 | -0.0064695 | -0.0016214 | 5.1262e-07 | 1.404e-07 | 0.009701 | 0.009701 | 0.009701 | 0.99242 | -0.14542 | 0.99234 | -0.14708 | 2.6651
77 | 0.024585 | 0.0061652 | -0.02458 | -0.0061622 | 4.8731e-06 | 2.9937e-06 | 0.036745 | 0.036745 | 0.036745 | 0.99562 | -0.083898 | 0.9954 | -0.088058 | 10.0949
78 | -0.003735 | -0.00093607 | 0.0037352 | 0.00093597 | 2.4073e-07 | -1.0915e-07 | 0.005607 | 0.0056069 | 0.005607 | 0.99121 | -0.16889 | 0.99128 | -0.16754 | 1.5404
79 | -0.020505 | -0.0051389 | 0.020516 | 0.0051452 | 1.0409e-05 | 6.2837e-06 | 0.03078 | 0.03078 | 0.03078 | 0.99128 | -0.16754 | 0.99183 | -0.15689 | 8.4561
80 | -0.016513 | -0.0041386 | 0.016519 | 0.0041418 | 5.4304e-06 | 3.1669e-06 | 0.024694 | 0.024694 | 0.024694 | 0.99505 | -0.094959 | 0.9954 | -0.088058 | 6.7841
81 | 0.0094505 | 0.0023685 | -0.0094499 | -0.0023683 | 5.5721e-07 | 2.608e-07 | 0.014163 | 0.014163 | 0.014163 | 0.99293 | -0.13582 | 0.99286 | -0.13706 | 3.8908

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55825 | 0.14113

## res_load
| p_mw | q_mvar
0 | 0.023781 | 0.00596
1 | 0.023344 | 0.0058505
2 | 0.016919 | 0.0042404
3 | 0.014059 | 0.0035235
4 | 0.0080443 | 0.0020161
5 | 0.0071846 | 0.0018006
6 | 0.0058418 | 0.0014641
7 | 0.0034898 | 0.00087462
8 | 0.0031461 | 0.00078848
9 | 0.0035934 | 0.00090059
10 | 0.0036891 | 0.00092458
11 | 0.0037297 | 0.00093476
12 | 0.005202 | 0.0013037
13 | 0.0074358 | 0.0018636
14 | 0.010648 | 0.0026687
15 | 0.010491 | 0.0026293
16 | 0.0075584 | 0.0018943
17 | 0.028041 | 0.0070278
18 | 0.0082556 | 0.002069
19 | 0.0093618 | 0.0023463
20 | 0.014604 | 0.0036601
21 | 0.0011964 | 0.00029986
22 | 0.012881 | 0.0032283
23 | 0.0096556 | 0.0024199
24 | 0.017038 | 0.0042702
25 | 0.0021796 | 0.00054627
26 | 0.00075405 | 0.00018898
27 | 0.032265 | 0.0080864
28 | 0.012669 | 0.0031751
29 | 0.0088126 | 0.0022086
30 | 0.014079 | 0.0035286
31 | 0.013052 | 0.0032712
32 | 0.0083018 | 0.0020806
33 | 0.022691 | 0.0056869
34 | 0.0058282 | 0.0014607
35 | 0.0034682 | 0.0008692
36 | 0.0021549 | 0.00054006
37 | 0.0036062 | 0.00090379
38 | 0.0036684 | 0.00091939
39 | 0.031072 | 0.0077873
40 | 0.016702 | 0.0041858
41 | 0.0062909 | 0.0015767
42 | 0.013983 | 0.0035046
43 | 0.0073155 | 0.0018334
44 | 0.003735 | 0.00093607
45 | 0.01677 | 0.0042029
46 | 0.010337 | 0.0025906
47 | 0.01512 | 0.0037893
48 | 0.016513 | 0.0041386
49 | 0.0080617 | 0.0020205
50 | 0.0064695 | 0.0016214
51 | 0.0035745 | 0.00089586
52 | 0.0036888 | 0.0009245

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1