## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-883_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-883_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-883_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-883_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-883_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_261-883_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-883_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_261-883_0_5_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_261-883_0_5_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_261-883_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_261-883_0_5_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_261-883_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_261-883_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_261-883_0_5_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_261-883_0_5_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_261-883_0_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_261-883_0_5_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_261-883_0_5_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_261-883_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-883_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_261-883_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_261-883_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-883_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_261-883_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_261-883_0_5_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_261-883_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-883_0_5_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_261-883_0_5_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_261-883_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-883_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_261-883_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_261-883_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_261-883_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_261-883_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_261-883_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-883_0_5_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_261-883_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_261-883_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_261-883_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_261-883_0_5_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_261-883_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_261-883_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_261-883_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_261-883_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_261-883_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_261-883_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_261-883_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_261-883_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_261-883_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_MV_543_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-883_0_5_load_0 | 0 | 0.009878 | 0.0024757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-883_0_5_load_1 | 1 | 0.0099035 | 0.002482 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-883_0_5_load_3 | 3 | 0.010104 | 0.0025323 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-883_0_5_load_44 | 8 | 0.018971 | 0.0047546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-883_0_5_load_32 | 10 | 0.01926 | 0.0048269 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-883_0_5_load_30 | 11 | 0.018469 | 0.0046288 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-883_0_5_load_42 | 14 | 0.0091151 | 0.0022845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-883_0_5_load_35 | 15 | 0.022539 | 0.0056488 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-883_0_5_load_40 | 16 | 0.015538 | 0.0038942 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-883_0_5_load_47 | 17 | 0.012351 | 0.0030954 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-883_0_5_load_31 | 20 | 0.027112 | 0.0067949 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-883_0_5_load_49 | 24 | 0.023003 | 0.0057651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-883_0_5_load_45 | 26 | 0.022002 | 0.0055143 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-883_0_5_load_48 | 27 | 0.032584 | 0.0081662 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-883_0_5_load_26 | 28 | 0.01322 | 0.0033132 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-883_0_5_load_51 | 31 | 0.022355 | 0.0056028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-883_0_5_load_50 | 32 | 0.019285 | 0.0048332 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-883_0_5_load_36 | 33 | 0.017129 | 0.004293 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-883_0_5_load_52 | 35 | 0.020584 | 0.0051587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-883_0_5_load_27 | 36 | 0.083741 | 0.020987 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-883_0_5_load_43 | 37 | 0.014078 | 0.0035283 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-883_0_5_load_34 | 38 | 0.019193 | 0.0048101 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-883_0_5_load_38 | 39 | 0.0076101 | 0.0019073 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-883_0_5_load_46 | 40 | 0.014332 | 0.0035919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-883_0_5_load_33 | 41 | 0.018466 | 0.004628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-883_0_5_load_41 | 42 | 0.0072868 | 0.0018262 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-883_0_5_load_54 | 43 | 0.02139 | 0.0053607 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-883_0_5_load_28 | 46 | 0.018345 | 0.0045978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-883_0_5_load_37 | 47 | 0.0074485 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-883_0_5_load_39 | 48 | 0.0074203 | 0.0018597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-883_0_5_line_0 |  | 0 | 1 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-883_0_5_line_1 |  | 0 | 2 | 0.014652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-883_0_5_line_2 |  | 1 | 3 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-883_0_5_line_3 |  | 2 | 4 | 0.083866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-883_0_5_line_4 |  | 4 | 16 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_261-883_0_5_line_5 |  | 4 | 17 | 0.022812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_261-883_0_5_line_6 |  | 5 | 6 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-883_0_5_line_7 |  | 5 | 7 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_261-883_0_5_line_8 |  | 5 | 8 | 0.030734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_261-883_0_5_line_9 |  | 6 | 15 | 0.0072491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-883_0_5_line_10 |  | 7 | 29 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_261-883_0_5_line_11 |  | 8 | 37 | 0.021053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_261-883_0_5_line_12 |  | 9 | 10 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_261-883_0_5_line_13 |  | 9 | 11 | 0.026486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_261-883_0_5_line_14 |  | 10 | 37 | 0.023131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_261-883_0_5_line_15 |  | 11 | 20 | 0.021068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_261-883_0_5_line_16 |  | 12 | 13 | 0.02195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-883_0_5_line_17 |  | 12 | 14 | 0.010594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-883_0_5_line_18 |  | 13 | 31 | 0.0075832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-883_0_5_line_19 |  | 13 | 25 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_261-883_0_5_line_20 |  | 15 | 38 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-883_0_5_line_21 |  | 16 | 39 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_261-883_0_5_line_22 |  | 17 | 40 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_261-883_0_5_line_23 |  | 18 | 19 | 0.011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_261-883_0_5_line_24 |  | 18 | 20 | 0.0069284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_261-883_0_5_line_25 |  | 19 | 25 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_261-883_0_5_line_26 |  | 19 | 26 | 0.026252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-883_0_5_line_27 |  | 21 | 22 | 0.017855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-883_0_5_line_28 |  | 21 | 23 | 0.005483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_261-883_0_5_line_29 |  | 21 | 24 | 0.023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_261-883_0_5_line_30 |  | 22 | 28 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-883_0_5_line_31 |  | 23 | 33 | 0.04015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_261-883_0_5_line_32 |  | 24 | 42 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_261-883_0_5_line_33 |  | 25 | 27 | 0.0044201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-883_0_5_line_34 |  | 29 | 36 | 0.019582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_261-883_0_5_line_35 |  | 29 | 34 | 0.027116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-883_0_5_line_36 |  | 30 | 31 | 0.0094107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-883_0_5_line_37 |  | 30 | 32 | 0.0052632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-883_0_5_line_38 |  | 33 | 45 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_261-883_0_5_line_39 |  | 34 | 35 | 0.031317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-883_0_5_line_40 |  | 35 | 44 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-883_0_5_line_41 |  | 36 | 46 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_261-883_0_5_line_42 |  | 38 | 41 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-883_0_5_line_43 |  | 39 | 47 | 0.0099895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_261-883_0_5_line_44 |  | 42 | 48 | 0.0097545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_261-883_0_5_line_45 |  | 43 | 44 | 0.0066685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-883_0_5_line_46 |  | 45 | 46 | 0.0009939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_261-883_0_5_line_47 |  | 47 | 48 | 0.0099913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-883_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 49 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683717.9893 | 1251714.9156 | 2683734.6259 | 1251708.3847
1 | 2683705.1933 | 1251722.0367 | 2683717.1778 | 1251715.2342 | 2683717.9893 | 1251714.9156
2 | 2683734.6259 | 1251708.3847 | 2683741.4287 | 1251705.7142 | 2683752.315 | 1251699.5453
3 | 2683644.9629 | 1251728.1798 | 2683648.5985 | 1251733.713 | 2683678.3638 | 1251709.9932 | 2683688.5554 | 1251701.8644 | 2683692.4291 | 1251706.5671 | 2683705.1933 | 1251722.0367
4 | 2683644.9629 | 1251728.1798 | 2683650.4499 | 1251724.4767 | 2683660.7807 | 1251715.4502
5 | 2683644.9629 | 1251728.1798 | 2683635.2072 | 1251707.5587
6 | 2683578.9507 | 1251659.4637 | 2683580.5065 | 1251657.2617 | 2683583.5544 | 1251655.2365 | 2683587.4354 | 1251654.613 | 2683589.6247 | 1251655.1221 | 2683590.9154 | 1251656.1966 | 2683593.3502 | 1251659.0998 | 2683593.9985 | 1251660.232
7 | 2683593.9985 | 1251660.232 | 2683600.8958 | 1251656.0818 | 2683606.9405 | 1251652.4421
8 | 2683593.9985 | 1251660.232 | 2683602.3303 | 1251674.7716 | 2683608.6481 | 1251687.2388
9 | 2683578.9507 | 1251659.4637 | 2683578.4644 | 1251665.0388 | 2683578.1594 | 1251666.6632
10 | 2683606.9405 | 1251652.4421 | 2683606.466 | 1251647.0202 | 2683608.0477 | 1251643.5177 | 2683610.8165 | 1251642.0112 | 2683613.5428 | 1251641.3825 | 2683615.6889 | 1251641.7464
11 | 2683618.1645 | 1251706.018 | 2683608.6481 | 1251687.2388
12 | 2683623.6957 | 1251740.7669 | 2683626.9737 | 1251736.8769 | 2683627.8405 | 1251731.6185 | 2683627.3628 | 1251727.0214
13 | 2683623.6957 | 1251740.7669 | 2683618.0155 | 1251741.0536 | 2683597.8156 | 1251736.0982
14 | 2683618.1645 | 1251706.018 | 2683626.9899 | 1251723.4337 | 2683627.3628 | 1251727.0214
15 | 2683577.2498 | 1251731.6163 | 2683582.7144 | 1251732.3936 | 2683597.8156 | 1251736.0982
16 | 2683526.0604 | 1251723.1435 | 2683542.7741 | 1251731.552 | 2683545.1509 | 1251733.7538
17 | 2683526.0604 | 1251723.1435 | 2683516.4963 | 1251718.5876
18 | 2683545.1509 | 1251733.7538 | 2683542.8696 | 1251740.9858
19 | 2683545.1509 | 1251733.7538 | 2683546.3219 | 1251735.8163 | 2683547.4889 | 1251740.8477 | 2683547.188 | 1251742.3779 | 2683555.9829 | 1251745.4931 | 2683560.3989 | 1251747.0677
20 | 2683578.1594 | 1251666.6632 | 2683575.3221 | 1251681.7736 | 2683574.6318 | 1251684.7288
21 | 2683660.7807 | 1251715.4502 | 2683673.1463 | 1251704.6459
22 | 2683627.8531 | 1251692.0141 | 2683635.2072 | 1251707.5587
23 | 2683567.6341 | 1251741.9659 | 2683568.9643 | 1251736.4916 | 2683570.3904 | 1251730.6407
24 | 2683570.3904 | 1251730.6407 | 2683577.2498 | 1251731.6163
25 | 2683560.3989 | 1251747.0677 | 2683562.1307 | 1251742.0216 | 2683565.136 | 1251741.408 | 2683567.6341 | 1251741.9659
26 | 2683567.6341 | 1251741.9659 | 2683593.2577 | 1251747.6765
27 | 2683723.5095 | 1251659.7932 | 2683733.094 | 1251661.5188 | 2683741.0823 | 1251662.955
28 | 2683723.5095 | 1251659.7932 | 2683719.9454 | 1251655.6175
29 | 2683723.5095 | 1251659.7932 | 2683710.0428 | 1251671.5896 | 2683705.9682 | 1251675.2635
30 | 2683741.0823 | 1251662.955 | 2683742.4354 | 1251661.751 | 2683745.4476 | 1251660.6483 | 2683763.0458 | 1251663.0859
31 | 2683719.9454 | 1251655.6175 | 2683680.2693 | 1251649.4653
32 | 2683705.9682 | 1251675.2635 | 2683695.3346 | 1251684.8515
33 | 2683560.3989 | 1251747.0677 | 2683559.3645 | 1251751.365
34 | 2683615.6889 | 1251641.7464 | 2683620.1545 | 1251642.4877 | 2683635.0151 | 1251644.9008
35 | 2683615.6889 | 1251641.7464 | 2683613.5428 | 1251641.3825 | 2683610.8165 | 1251642.0112 | 2683610.672 | 1251632.4687 | 2683610.5814 | 1251626.5852 | 2683614.7089 | 1251627.7554 | 2683617.1041 | 1251628.1228
36 | 2683540.0386 | 1251749.9606 | 2683542.8696 | 1251740.9858
37 | 2683540.0386 | 1251749.9606 | 2683537.9097 | 1251754.7741
38 | 2683661.4123 | 1251648.9637 | 2683669.3698 | 1251647.7752 | 2683680.2693 | 1251649.4653
39 | 2683617.1041 | 1251628.1228 | 2683648.0615 | 1251632.857
40 | 2683662.4466 | 1251635.0568 | 2683648.0615 | 1251632.857
41 | 2683660.4291 | 1251648.818 | 2683645.5791 | 1251646.6163 | 2683635.0151 | 1251644.9008
42 | 2683574.6318 | 1251684.7288 | 2683570.2612 | 1251703.4383
43 | 2683673.1463 | 1251704.6459 | 2683680.6688 | 1251698.0731
44 | 2683695.3346 | 1251684.8515 | 2683688.0902 | 1251691.3836
45 | 2683662.4466 | 1251635.0568 | 2683666.9206 | 1251635.7427 | 2683669.0494 | 1251635.5029
46 | 2683660.4291 | 1251648.818 | 2683661.4123 | 1251648.9637
47 | 2683688.0902 | 1251691.3836 | 2683680.7447 | 1251698.0068 | 2683680.6688 | 1251698.0731

## bus_geodata
| x | y | coords
0 | 2683717.9893 | 1251714.9156
1 | 2683734.6259 | 1251708.3847
2 | 2683705.1933 | 1251722.0367
3 | 2683752.315 | 1251699.5453
4 | 2683644.9629 | 1251728.1798
5 | 2683593.9985 | 1251660.232
6 | 2683578.9507 | 1251659.4637
7 | 2683606.9405 | 1251652.4421
8 | 2683608.6481 | 1251687.2388
9 | 2683623.6957 | 1251740.7669
10 | 2683627.3628 | 1251727.0214
11 | 2683597.8156 | 1251736.0982
12 | 2683526.0604 | 1251723.1435
13 | 2683545.1509 | 1251733.7538
14 | 2683516.4963 | 1251718.5876
15 | 2683578.1594 | 1251666.6632
16 | 2683660.7807 | 1251715.4502
17 | 2683635.2072 | 1251707.5587
18 | 2683570.3904 | 1251730.6407
19 | 2683567.6341 | 1251741.9659
20 | 2683577.2498 | 1251731.6163
21 | 2683723.5095 | 1251659.7932
22 | 2683741.0823 | 1251662.955
23 | 2683719.9454 | 1251655.6175
24 | 2683705.9682 | 1251675.2635
25 | 2683560.3989 | 1251747.0677
26 | 2683593.2577 | 1251747.6765
27 | 2683559.3645 | 1251751.365
28 | 2683763.0458 | 1251663.0859
29 | 2683615.6889 | 1251641.7464
30 | 2683540.0386 | 1251749.9606
31 | 2683542.8696 | 1251740.9858
32 | 2683537.9097 | 1251754.7741
33 | 2683680.2693 | 1251649.4653
34 | 2683617.1041 | 1251628.1228
35 | 2683648.0615 | 1251632.857
36 | 2683635.0151 | 1251644.9008
37 | 2683618.1645 | 1251706.018
38 | 2683574.6318 | 1251684.7288
39 | 2683673.1463 | 1251704.6459
40 | 2683627.8531 | 1251692.0141
41 | 2683570.2612 | 1251703.4383
42 | 2683695.3346 | 1251684.8515
43 | 2683669.0494 | 1251635.5029
44 | 2683662.4466 | 1251635.0568
45 | 2683661.4123 | 1251648.9637
46 | 2683660.4291 | 1251648.818
47 | 2683680.6688 | 1251698.0731
48 | 2683688.0902 | 1251691.3836
49 | 2683644.9629 | 1251728.1798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99329 | -0.12769 | 0.009878 | 0.0024757
1 | 0.99297 | -0.13401 | 0.0099035 | 0.002482
2 | 0.99369 | -0.11996 | 0 | 0
3 | 0.99278 | -0.13755 | 0.010104 | 0.0025323
4 | 0.99598 | -0.075815 | 0 | 0
5 | 0.97711 | -0.43921 | 0 | 0
6 | 0.97603 | -0.46041 | 0 | 0
7 | 0.97785 | -0.42469 | 0 | 0
8 | 0.97595 | -0.46204 | 0.018971 | 0.0047546
9 | 0.97407 | -0.49903 | 0 | 0
10 | 0.97449 | -0.4907 | 0.01926 | 0.0048269
11 | 0.97332 | -0.51373 | 0.018469 | 0.0046288
12 | 0.97153 | -0.5491 | 0 | 0
13 | 0.97172 | -0.5454 | 0 | 0
14 | 0.97144 | -0.55088 | 0.0091151 | 0.0022845
15 | 0.97563 | -0.4684 | 0.022539 | 0.0056488
16 | 0.99407 | -0.11206 | 0.015538 | 0.0038942
17 | 0.99825 | -0.032935 | 0.012351 | 0.0030954
18 | 0.97267 | -0.52669 | 0 | 0
19 | 0.97244 | -0.53122 | 0 | 0
20 | 0.9728 | -0.524 | 0.027112 | 0.0067949
21 | 0.98681 | -0.25081 | 0 | 0
22 | 0.98659 | -0.25503 | 0 | 0
23 | 0.98638 | -0.25914 | 0 | 0
24 | 0.98872 | -0.21421 | 0.023003 | 0.0057651
25 | 0.97227 | -0.53458 | 0 | 0
26 | 0.9719 | -0.54187 | 0.022002 | 0.0055143
27 | 0.97213 | -0.53724 | 0.032584 | 0.0081662
28 | 0.98632 | -0.26043 | 0.01322 | 0.0033132
29 | 0.97871 | -0.40798 | 0 | 0
30 | 0.97125 | -0.55459 | 0 | 0
31 | 0.97142 | -0.55123 | 0.022355 | 0.0056028
32 | 0.97116 | -0.55646 | 0.019285 | 0.0048332
33 | 0.98321 | -0.32043 | 0.017129 | 0.004293
34 | 0.97765 | -0.42871 | 0 | 0
35 | 0.97643 | -0.45271 | 0.020584 | 0.0051587
36 | 0.97982 | -0.38624 | 0.083741 | 0.020987
37 | 0.97523 | -0.47625 | 0.014078 | 0.0035283
38 | 0.97498 | -0.4811 | 0.019193 | 0.0048101
39 | 0.99257 | -0.14053 | 0.0076101 | 0.0019073
40 | 1 | 0 | -0.56065 | -0.1442
41 | 0.97465 | -0.48761 | 0.018466 | 0.004628
42 | 0.98994 | -0.19071 | 0.0072868 | 0.0018262
43 | 0.97601 | -0.46102 | 0.02139 | 0.0053607
44 | 0.97614 | -0.45841 | 0 | 0
45 | 0.98176 | -0.3485 | 0 | 0
46 | 0.98169 | -0.34997 | 0.018345 | 0.0045978
47 | 0.99168 | -0.15762 | 0.0074485 | 0.0018668
48 | 0.99079 | -0.17448 | 0.0074203 | 0.0018597
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020015 | 0.0050188 | -0.020009 | -0.0050152 | 6.026e-06 | 3.6254e-06 | 0.029985 | 0.029985 | 0.029985 | 0.99329 | -0.12769 | 0.99297 | -0.13401 | 8.2377
1 | -0.029893 | -0.0074945 | 0.029904 | 0.0075013 | 1.1019e-05 | 6.8627e-06 | 0.044783 | 0.044783 | 0.044783 | 0.99329 | -0.12769 | 0.99369 | -0.11996 | 12.303
2 | 0.010106 | 0.0025331 | -0.010104 | -0.0025323 | 1.7047e-06 | 8.3466e-07 | 0.015144 | 0.015144 | 0.015144 | 0.99297 | -0.13401 | 0.99278 | -0.13755 | 4.1605
3 | -0.029904 | -0.0075013 | 0.029967 | 0.0075406 | 6.3072e-05 | 3.9277e-05 | 0.044783 | 0.044782 | 0.044783 | 0.99369 | -0.11996 | 0.99598 | -0.075815 | 12.303
4 | 0.51465 | 0.13227 | -0.51375 | -0.13169 | 0.00090456 | 0.0005776 | 0.77007 | 0.77007 | 0.77007 | 0.99598 | -0.075815 | 0.99407 | -0.11206 | 42.3116
5 | -0.54462 | -0.13981 | 0.54576 | 0.14053 | 0.001136 | 0.00072557 | 0.81485 | 0.81485 | 0.81485 | 0.99598 | -0.075815 | 0.99825 | -0.032935 | 44.7722
6 | 0.06031 | 0.015158 | -0.060249 | -0.015119 | 6.0976e-05 | 3.8784e-05 | 0.091859 | 0.09186 | 0.09186 | 0.97711 | -0.43921 | 0.97603 | -0.46041 | 25.2361
7 | -0.26435 | -0.066597 | 0.26453 | 0.066713 | 0.00018371 | 0.00011663 | 0.40269 | 0.40269 | 0.40269 | 0.97711 | -0.43921 | 0.97785 | -0.42469 | 22.1259
8 | 0.20404 | 0.051439 | -0.20381 | -0.051298 | 0.00022271 | 0.00014061 | 0.31083 | 0.31083 | 0.31083 | 0.97711 | -0.43921 | 0.97595 | -0.46204 | 17.0787
9 | 0.060249 | 0.015119 | -0.060226 | -0.015105 | 2.2938e-05 | 1.459e-05 | 0.09186 | 0.09186 | 0.09186 | 0.97603 | -0.46041 | 0.97563 | -0.4684 | 25.2362
10 | -0.26453 | -0.066713 | 0.26474 | 0.066848 | 0.00021177 | 0.00013444 | 0.40269 | 0.40269 | 0.40269 | 0.97785 | -0.42469 | 0.97871 | -0.40798 | 22.1259
11 | 0.18484 | 0.046544 | -0.18472 | -0.046465 | 0.00012548 | 7.8995e-05 | 0.28191 | 0.28191 | 0.28191 | 0.97595 | -0.46204 | 0.97523 | -0.47625 | 15.4894
12 | -0.1512 | -0.037998 | 0.15126 | 0.038036 | 6.0194e-05 | 3.7588e-05 | 0.23102 | 0.23102 | 0.23102 | 0.97407 | -0.49903 | 0.97449 | -0.4907 | 12.6934
13 | 0.1512 | 0.037998 | -0.1511 | -0.037932 | 0.00010602 | 6.6205e-05 | 0.23102 | 0.23102 | 0.23102 | 0.97407 | -0.49903 | 0.97332 | -0.51373 | 12.6934
14 | -0.17052 | -0.042862 | 0.17064 | 0.042936 | 0.00011766 | 7.3861e-05 | 0.26043 | 0.26043 | 0.26043 | 0.97449 | -0.4907 | 0.97523 | -0.47625 | 14.3092
15 | 0.13263 | 0.033303 | -0.13256 | -0.033263 | 6.4978e-05 | 4.0277e-05 | 0.20278 | 0.20278 | 0.20278 | 0.97332 | -0.51373 | 0.9728 | -0.524 | 11.142
16 | -0.0091159 | -0.0022848 | 0.0091175 | 0.0022856 | 1.6046e-06 | 7.5507e-07 | 0.013962 | 0.013962 | 0.013962 | 0.97153 | -0.5491 | 0.97172 | -0.5454 | 3.8357
17 | 0.0091159 | 0.0022848 | -0.0091151 | -0.0022845 | 7.7444e-07 | 3.6447e-07 | 0.013962 | 0.013962 | 0.013962 | 0.97153 | -0.5491 | 0.97144 | -0.55088 | 3.8358
18 | 0.041656 | 0.010446 | -0.041645 | -0.010439 | 1.1572e-05 | 7.3122e-06 | 0.063791 | 0.063792 | 0.063792 | 0.97172 | -0.5454 | 0.97142 | -0.55123 | 17.5251
19 | -0.050774 | -0.012732 | 0.0508 | 0.012748 | 2.6202e-05 | 1.6196e-05 | 0.077754 | 0.077753 | 0.077754 | 0.97172 | -0.5454 | 0.97227 | -0.53458 | 10.6804
20 | 0.037687 | 0.0094559 | -0.037664 | -0.0094415 | 2.2811e-05 | 1.437e-05 | 0.057483 | 0.057483 | 0.057483 | 0.97563 | -0.4684 | 0.97498 | -0.4811 | 15.7922
21 | 0.49821 | 0.1278 | -0.49752 | -0.12736 | 0.00068688 | 0.00043854 | 0.74681 | 0.74681 | 0.74681 | 0.99407 | -0.11206 | 0.99257 | -0.14053 | 41.0337
22 | -0.55811 | -0.14363 | 0.559 | 0.1442 | 0.0008955 | 0.00057199 | 0.83326 | 0.83326 | 0.83326 | 0.99825 | -0.032935 | 1 | 0 | 45.7837
23 | 0.10544 | 0.02646 | -0.10541 | -0.026446 | 2.2748e-05 | 1.3836e-05 | 0.16131 | 0.16131 | 0.16131 | 0.97267 | -0.52669 | 0.97244 | -0.53122 | 8.8634
24 | -0.10544 | -0.02646 | 0.10545 | 0.026468 | 1.3522e-05 | 8.224e-06 | 0.16131 | 0.16131 | 0.16131 | 0.97267 | -0.52669 | 0.9728 | -0.524 | 8.8634
25 | 0.083401 | 0.020925 | -0.083388 | -0.020917 | 1.3371e-05 | 7.8788e-06 | 0.12763 | 0.12763 | 0.12763 | 0.97244 | -0.53122 | 0.97227 | -0.53458 | 7.0125
26 | 0.022013 | 0.0055211 | -0.022002 | -0.0055143 | 1.1171e-05 | 6.8242e-06 | 0.033686 | 0.033686 | 0.033686 | 0.97244 | -0.53122 | 0.9719 | -0.54187 | 9.2545
27 | 0.013226 | 0.0033165 | -0.013223 | -0.0033151 | 2.6632e-06 | 1.4764e-06 | 0.019944 | 0.019944 | 0.019944 | 0.98681 | -0.25081 | 0.98659 | -0.25503 | 5.4791
28 | 0.42905 | 0.10923 | -0.42887 | -0.10912 | 0.00017245 | 0.00011002 | 0.64757 | 0.64757 | 0.64757 | 0.98681 | -0.25081 | 0.98638 | -0.25914 | 35.5808
29 | -0.44227 | -0.11255 | 0.44305 | 0.11305 | 0.00078162 | 0.00049874 | 0.66751 | 0.66751 | 0.66751 | 0.98681 | -0.25081 | 0.98872 | -0.21421 | 36.6766
30 | 0.013223 | 0.0033151 | -0.01322 | -0.0033132 | 3.3987e-06 | 1.8843e-06 | 0.019944 | 0.019944 | 0.019944 | 0.98659 | -0.25503 | 0.98632 | -0.26043 | 5.4791
31 | 0.42887 | 0.10912 | -0.42761 | -0.10832 | 0.0012628 | 0.00080562 | 0.64757 | 0.64757 | 0.64757 | 0.98638 | -0.25914 | 0.98321 | -0.32043 | 35.5808
32 | -0.46606 | -0.11881 | 0.46659 | 0.11915 | 0.00052939 | 0.00033789 | 0.70213 | 0.70213 | 0.70213 | 0.98872 | -0.21421 | 0.98994 | -0.19071 | 38.5787
33 | 0.032588 | 0.0081688 | -0.032584 | -0.0081662 | 4.1231e-06 | 2.584e-06 | 0.049875 | 0.049875 | 0.049875 | 0.97227 | -0.53458 | 0.97213 | -0.53724 | 13.7019
34 | -0.30681 | -0.077429 | 0.30713 | 0.077633 | 0.00031984 | 0.00020347 | 0.46667 | 0.46667 | 0.46667 | 0.97871 | -0.40798 | 0.97982 | -0.38624 | 25.6411
35 | 0.042071 | 0.010581 | -0.04203 | -0.010555 | 4.1621e-05 | 2.6297e-05 | 0.063978 | 0.063978 | 0.063978 | 0.97871 | -0.40798 | 0.97765 | -0.42871 | 17.5764
36 | -0.019286 | -0.0048342 | 0.019289 | 0.0048361 | 3.0811e-06 | 1.8554e-06 | 0.029548 | 0.029548 | 0.029548 | 0.97125 | -0.55459 | 0.97142 | -0.55123 | 8.1175
37 | 0.019286 | 0.0048342 | -0.019285 | -0.0048332 | 1.7232e-06 | 1.0377e-06 | 0.029548 | 0.029548 | 0.029548 | 0.97125 | -0.55459 | 0.97116 | -0.55646 | 8.1175
38 | 0.41048 | 0.10402 | -0.40993 | -0.10367 | 0.00055288 | 0.00035263 | 0.62165 | 0.62165 | 0.62165 | 0.98321 | -0.32043 | 0.98176 | -0.3485 | 34.1565
39 | 0.04203 | 0.010555 | -0.041982 | -0.010525 | 4.807e-05 | 3.0373e-05 | 0.063978 | 0.063978 | 0.063978 | 0.97765 | -0.42871 | 0.97643 | -0.45271 | 17.5764
40 | 0.021398 | 0.0053659 | -0.021392 | -0.0053623 | 5.8033e-06 | 3.5321e-06 | 0.03261 | 0.03261 | 0.03261 | 0.97643 | -0.45271 | 0.97614 | -0.45841 | 8.9588
41 | -0.39087 | -0.09862 | 0.39155 | 0.099054 | 0.00068012 | 0.00043365 | 0.59384 | 0.59384 | 0.59384 | 0.97982 | -0.38624 | 0.98169 | -0.34997 | 32.6286
42 | 0.018471 | 0.0046314 | -0.018466 | -0.004628 | 5.7264e-06 | 3.4253e-06 | 0.028192 | 0.028192 | 0.028192 | 0.97498 | -0.4811 | 0.97465 | -0.48761 | 7.745
43 | 0.48991 | 0.12545 | -0.48951 | -0.12519 | 0.00040519 | 0.00025868 | 0.7354 | 0.73541 | 0.73541 | 0.99257 | -0.14053 | 0.99168 | -0.15762 | 40.4069
44 | -0.47387 | -0.12098 | 0.47425 | 0.12121 | 0.000372 | 0.00023745 | 0.71309 | 0.71308 | 0.71309 | 0.98994 | -0.19071 | 0.99079 | -0.17448 | 39.1805
45 | -0.02139 | -0.0053607 | 0.021392 | 0.0053623 | 2.6593e-06 | 1.6186e-06 | 0.03261 | 0.03261 | 0.03261 | 0.97601 | -0.46102 | 0.97614 | -0.45841 | 8.9589
46 | 0.40993 | 0.10367 | -0.4099 | -0.10365 | 2.8807e-05 | 1.8373e-05 | 0.62165 | 0.62165 | 0.62165 | 0.98176 | -0.3485 | 0.98169 | -0.34997 | 34.1565
47 | 0.48206 | 0.12332 | -0.48167 | -0.12307 | 0.00039304 | 0.0002509 | 0.72423 | 0.72423 | 0.72423 | 0.99168 | -0.15762 | 0.99079 | -0.17448 | 39.7928

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57498 | 0.14779

## res_load
| p_mw | q_mvar
0 | 0.009878 | 0.0024757
1 | 0.0099035 | 0.002482
2 | 0.010104 | 0.0025323
3 | 0.018971 | 0.0047546
4 | 0.01926 | 0.0048269
5 | 0.018469 | 0.0046288
6 | 0.0091151 | 0.0022845
7 | 0.022539 | 0.0056488
8 | 0.015538 | 0.0038942
9 | 0.012351 | 0.0030954
10 | 0.027112 | 0.0067949
11 | 0.023003 | 0.0057651
12 | 0.022002 | 0.0055143
13 | 0.032584 | 0.0081662
14 | 0.01322 | 0.0033132
15 | 0.022355 | 0.0056028
16 | 0.019285 | 0.0048332
17 | 0.017129 | 0.004293
18 | 0.020584 | 0.0051587
19 | 0.083741 | 0.020987
20 | 0.014078 | 0.0035283
21 | 0.019193 | 0.0048101
22 | 0.0076101 | 0.0019073
23 | 0.014332 | 0.0035919
24 | 0.018466 | 0.004628
25 | 0.0072868 | 0.0018262
26 | 0.02139 | 0.0053607
27 | 0.018345 | 0.0045978
28 | 0.0074485 | 0.0018668
29 | 0.0074203 | 0.0018597

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1