## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-886_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-886_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-886_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-886_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-886_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-886_0_1_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_261-886_0_1_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-886_0_1_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_261-886_0_1_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_261-886_0_1_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_261-886_0_1_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_261-886_0_1_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_261-886_0_1_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_261-886_0_1_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_261-886_0_1_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-886_0_1_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_261-886_0_1_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_261-886_0_1_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_261-886_0_1_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_261-886_0_1_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_261-886_0_1_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_261-886_0_1_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_261-886_0_1_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_261-886_0_1_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_261-886_0_1_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_261-886_0_1_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_261-886_0_1_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_261-886_0_1_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_261-886_0_1_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_261-886_0_1_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_261-886_0_1_node_26 | 0.4 | n |  | TRUE
31 | bus_MV_359_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-886_0_1_load_0 | 0 | 0.0017555 | 0.00043998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-886_0_1_load_12 | 5 | 0.016635 | 0.0041691 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-886_0_1_load_20 | 7 | 0.0037365 | 0.00093646 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-886_0_1_load_11 | 8 | 0.0013436 | 0.00033673 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-886_0_1_load_13 | 10 | 0.0044847 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-886_0_1_load_14 | 12 | 0.0034615 | 0.00086753 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-886_0_1_load_21 | 13 | 0.0034486 | 0.00086429 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-886_0_1_load_15 | 16 | 0.059824 | 0.014993 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-886_0_1_load_27 | 17 | 0.0033707 | 0.00084477 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-886_0_1_load_28 | 20 | 0.0054776 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-886_0_1_load_6 | 21 | 0.0016743 | 0.00041963 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-886_0_1_load_9 | 23 | 0.00089633 | 0.00022464 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-886_0_1_load_10 | 24 | 0.00090788 | 0.00022754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-886_0_1_load_30 | 25 | 0.00483 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-886_0_1_load_22 | 26 | 0.0075547 | 0.0018934 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-886_0_1_load_23 | 27 | 0.010416 | 0.0026104 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-886_0_1_load_25 | 29 | 0.0077142 | 0.0019334 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-886_0_1_load_26 | 30 | 0.0032919 | 0.00082502 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-886_0_1_line_0 |  | 0 | 1 | 0.0094847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-886_0_1_line_1 |  | 0 | 2 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-886_0_1_line_2 |  | 1 | 3 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-886_0_1_line_3 |  | 2 | 4 | 0.026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-886_0_1_line_4 |  | 3 | 5 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-886_0_1_line_5 |  | 4 | 6 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-886_0_1_line_6 |  | 4 | 7 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-886_0_1_line_7 |  | 5 | 10 | 0.030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-886_0_1_line_8 |  | 6 | 8 | 0.005805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-886_0_1_line_9 |  | 6 | 9 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-886_0_1_line_10 |  | 7 | 13 | 0.028618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-886_0_1_line_11 |  | 8 | 14 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-886_0_1_line_12 |  | 9 | 11 | 0.032006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-886_0_1_line_13 |  | 9 | 12 | 0.056823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-886_0_1_line_14 |  | 11 | 15 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-886_0_1_line_15 |  | 11 | 16 | 0.029322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-886_0_1_line_16 |  | 14 | 23 | 0.018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-886_0_1_line_17 |  | 15 | 17 | 0.0078615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-886_0_1_line_18 |  | 17 | 20 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-886_0_1_line_19 |  | 18 | 19 | 0.037005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-886_0_1_line_20 |  | 18 | 20 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-886_0_1_line_21 |  | 19 | 25 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-886_0_1_line_22 |  | 21 | 22 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-886_0_1_line_23 |  | 22 | 23 | 0.021825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-886_0_1_line_24 |  | 22 | 24 | 0.065768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-886_0_1_line_25 |  | 25 | 30 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-886_0_1_line_26 |  | 26 | 27 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-886_0_1_line_27 |  | 26 | 28 | 0.022314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-886_0_1_line_28 |  | 27 | 29 | 0.049387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-886_0_1_line_29 |  | 28 | 30 | 0.0063268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-886_0_1_trafo_15 | 0.63 MVA 20/0.4 kV | 31 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683401.7379 | 1243271.187 | 2683395.116 | 1243264.3964
1 | 2683381.6413 | 1243250.5785 | 2683395.116 | 1243264.3964
2 | 2683401.7379 | 1243271.187 | 2683404.4822 | 1243277.608 | 2683405.8069 | 1243280.6955
3 | 2683381.6413 | 1243250.5785 | 2683363.4263 | 1243269.2584
4 | 2683405.8069 | 1243280.6955 | 2683407.3657 | 1243284.3423 | 2683417.7852 | 1243294.3275
5 | 2683349.4975 | 1243275.0114 | 2683359.2815 | 1243265.1305 | 2683363.4263 | 1243269.2584
6 | 2683363.4263 | 1243269.2584 | 2683381.9492 | 1243286.3722
7 | 2683439.0994 | 1243315.9335 | 2683428.4206 | 1243304.5195 | 2683417.7852 | 1243294.3275
8 | 2683349.4975 | 1243275.0114 | 2683345.306 | 1243270.9829
9 | 2683347.62 | 1243285.437 | 2683353.7934 | 1243279.1414 | 2683349.4975 | 1243275.0114
10 | 2683401.0368 | 1243307.6035 | 2683389.4685 | 1243293.3195 | 2683381.9492 | 1243286.3722
11 | 2683353.0075 | 1243263.5301 | 2683345.306 | 1243270.9829
12 | 2683347.62 | 1243285.437 | 2683325.1663 | 1243308.305
13 | 2683347.62 | 1243285.437 | 2683357.9521 | 1243292.4872 | 2683382.2683 | 1243317.269 | 2683387.2553 | 1243325.4673
14 | 2683317.7745 | 1243299.6394 | 2683323.8098 | 1243302.0925 | 2683321.1787 | 1243304.8242 | 2683325.1663 | 1243308.305
15 | 2683325.1663 | 1243308.305 | 2683346.2719 | 1243328.6596
16 | 2683353.0075 | 1243263.5301 | 2683343.5425 | 1243252.3224 | 2683340.675 | 1243249.9187
17 | 2683317.7745 | 1243299.6394 | 2683310.4915 | 1243296.6794
18 | 2683301.9118 | 1243305.6537 | 2683306.8322 | 1243300.5086 | 2683310.4915 | 1243296.6794
19 | 2683287.1973 | 1243348.1898 | 2683282.6507 | 1243344.1564 | 2683288.131 | 1243338.7627 | 2683300.0771 | 1243326.1546 | 2683297.0791 | 1243321.1089
20 | 2683297.0791 | 1243321.1089 | 2683293.2613 | 1243314.6951 | 2683296.3605 | 1243311.4584 | 2683301.9118 | 1243305.6537
21 | 2683287.1973 | 1243348.1898 | 2683288.9666 | 1243349.7713 | 2683306.9394 | 1243364.7054
22 | 2683344.8501 | 1243235.6509 | 2683349.4467 | 1243232.3686 | 2683351.8525 | 1243231.6908 | 2683354.2044 | 1243232.1464 | 2683356.4817 | 1243233.0791 | 2683360.9861 | 1243236.6408
23 | 2683344.8501 | 1243235.6509 | 2683341.5442 | 1243237.9951 | 2683335.6314 | 1243241.8815 | 2683334.8858 | 1243243.8391 | 2683335.4888 | 1243245.5711 | 2683340.675 | 1243249.9187
24 | 2683344.8501 | 1243235.6509 | 2683341.8627 | 1243232.54 | 2683336.1655 | 1243225.3882 | 2683335.1503 | 1243224.4733 | 2683335.173 | 1243222.8613 | 2683347.6908 | 1243211.0174 | 2683333.4235 | 1243189.2123 | 2683330.1674 | 1243184.1231
25 | 2683306.9394 | 1243364.7054 | 2683316.0418 | 1243372.2687
26 | 2683346.5523 | 1243360.5003 | 2683338.0349 | 1243368.1294
27 | 2683318.6135 | 1243377.6522 | 2683330.543 | 1243374.8398 | 2683338.0349 | 1243368.1294
28 | 2683393.0824 | 1243370.1371 | 2683374.1205 | 1243363.9996 | 2683362.0029 | 1243359.2259 | 2683349.2675 | 1243358.0684 | 2683346.5523 | 1243360.5003
29 | 2683318.6135 | 1243377.6522 | 2683317.9189 | 1243373.8285 | 2683316.0418 | 1243372.2687

## bus_geodata
| x | y | coords
0 | 2683395.116 | 1243264.3964
1 | 2683401.7379 | 1243271.187
2 | 2683381.6413 | 1243250.5785
3 | 2683405.8069 | 1243280.6955
4 | 2683363.4263 | 1243269.2584
5 | 2683417.7852 | 1243294.3275
6 | 2683349.4975 | 1243275.0114
7 | 2683381.9492 | 1243286.3722
8 | 2683345.306 | 1243270.9829
9 | 2683347.62 | 1243285.437
10 | 2683439.0994 | 1243315.9335
11 | 2683325.1663 | 1243308.305
12 | 2683387.2553 | 1243325.4673
13 | 2683401.0368 | 1243307.6035
14 | 2683353.0075 | 1243263.5301
15 | 2683317.7745 | 1243299.6394
16 | 2683346.2719 | 1243328.6596
17 | 2683310.4915 | 1243296.6794
18 | 2683297.0791 | 1243321.1089
19 | 2683287.1973 | 1243348.1898
20 | 2683301.9118 | 1243305.6537
21 | 2683360.9861 | 1243236.6408
22 | 2683344.8501 | 1243235.6509
23 | 2683340.675 | 1243249.9187
24 | 2683330.1674 | 1243184.1231
25 | 2683306.9394 | 1243364.7054
26 | 2683338.0349 | 1243368.1294
27 | 2683346.5523 | 1243360.5003
28 | 2683318.6135 | 1243377.6522
29 | 2683393.0824 | 1243370.1371
30 | 2683316.0418 | 1243372.2687
31 | 2683325.1663 | 1243308.305

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99476 | -0.10076 | 0.0017555 | 0.00043998
1 | 0.99457 | -0.10429 | 0 | 0
2 | 0.99516 | -0.092983 | 0 | 0
3 | 0.99438 | -0.10813 | 0 | 0
4 | 0.9957 | -0.082497 | 0 | 0
5 | 0.99402 | -0.11499 | 0.016635 | 0.0041691
6 | 0.99624 | -0.072061 | 0 | 0
7 | 0.99554 | -0.085684 | 0.0037365 | 0.00093646
8 | 0.99622 | -0.072553 | 0.0013436 | 0.00033673
9 | 0.99671 | -0.063011 | 0 | 0
10 | 0.9939 | -0.11739 | 0.0044847 | 0.001124
11 | 0.99783 | -0.041496 | 0 | 0
12 | 0.99654 | -0.066463 | 0.0034615 | 0.00086753
13 | 0.99545 | -0.08742 | 0.0034486 | 0.00086429
14 | 0.99619 | -0.073208 | 0 | 0
15 | 0.99723 | -0.053154 | 0 | 0
16 | 1 | 0 | -0.083078 | -0.020567
17 | 0.99692 | -0.059034 | 0.0033707 | 0.00084477
18 | 0.99586 | -0.079456 | 0 | 0
19 | 0.99472 | -0.10147 | 0 | 0
20 | 0.99647 | -0.067592 | 0.0054776 | 0.0013728
21 | 0.99605 | -0.075877 | 0.0016743 | 0.00041963
22 | 0.99608 | -0.075325 | 0 | 0
23 | 0.99613 | -0.074334 | 0.00089633 | 0.00022464
24 | 0.99602 | -0.076376 | 0.00090788 | 0.00022754
25 | 0.99392 | -0.11681 | 0.00483 | 0.0012105
26 | 0.99294 | -0.13586 | 0.0075547 | 0.0018934
27 | 0.99275 | -0.13953 | 0.010416 | 0.0026104
28 | 0.99346 | -0.12574 | 0 | 0
29 | 0.9924 | -0.14627 | 0.0077142 | 0.0019334
30 | 0.99361 | -0.12287 | 0.0032919 | 0.00082502
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021134 | 0.0053016 | -0.021131 | -0.0052995 | 3.5552e-06 | 2.1522e-06 | 0.031616 | 0.031616 | 0.031616 | 0.99476 | -0.10076 | 0.99457 | -0.10429 | 8.6856
1 | -0.02289 | -0.0057416 | 0.022898 | 0.0057468 | 8.4861e-06 | 5.1804e-06 | 0.034242 | 0.034242 | 0.034242 | 0.99476 | -0.10076 | 0.99516 | -0.092983 | 9.4071
2 | 0.021131 | 0.0052995 | -0.021127 | -0.0052971 | 3.875e-06 | 2.3459e-06 | 0.031616 | 0.031616 | 0.031616 | 0.99457 | -0.10429 | 0.99438 | -0.10813 | 8.6857
3 | -0.022898 | -0.0057468 | 0.02291 | 0.0057538 | 1.1456e-05 | 6.9933e-06 | 0.034242 | 0.034242 | 0.034242 | 0.99516 | -0.092983 | 0.9957 | -0.082497 | 9.407
4 | 0.021127 | 0.0052971 | -0.02112 | -0.005293 | 6.896e-06 | 4.1749e-06 | 0.031616 | 0.031616 | 0.031616 | 0.99438 | -0.10813 | 0.99402 | -0.11499 | 8.6857
5 | -0.030096 | -0.0075547 | 0.030111 | 0.0075641 | 1.4989e-05 | 9.3358e-06 | 0.044981 | 0.044981 | 0.044981 | 0.9957 | -0.082497 | 0.99624 | -0.072061 | 12.3575
6 | 0.0071865 | 0.0018009 | -0.0071854 | -0.0018006 | 1.0908e-06 | 3.7014e-07 | 0.01074 | 0.01074 | 0.01074 | 0.9957 | -0.082497 | 0.99554 | -0.085684 | 2.9505
7 | 0.0044852 | 0.0011239 | -0.0044847 | -0.001124 | 5.1325e-07 | -6.5037e-08 | 0.0067141 | 0.0067142 | 0.0067142 | 0.99402 | -0.11499 | 0.9939 | -0.11739 | 1.8446
8 | 0.0048227 | 0.0012071 | -0.0048226 | -0.0012071 | 1.1294e-07 | -3.305e-09 | 0.0072028 | 0.0072028 | 0.0072028 | 0.99624 | -0.072061 | 0.99622 | -0.072553 | 1.9788
9 | -0.034934 | -0.0087712 | 0.034949 | 0.0087806 | 1.509e-05 | 9.4648e-06 | 0.052184 | 0.052184 | 0.052184 | 0.99624 | -0.072061 | 0.99671 | -0.063011 | 14.3362
10 | 0.0034489 | 0.0008641 | -0.0034486 | -0.00086429 | 2.8518e-07 | -1.8956e-07 | 0.0051549 | 0.005155 | 0.005155 | 0.99554 | -0.085684 | 0.99545 | -0.08742 | 1.4162
11 | 0.0034791 | 0.00087037 | -0.0034789 | -0.00087044 | 1.0835e-07 | -6.9993e-08 | 0.005196 | 0.005196 | 0.005196 | 0.99622 | -0.072553 | 0.99619 | -0.073208 | 1.4275
12 | -0.038411 | -0.0096478 | 0.038451 | 0.0096726 | 3.9479e-05 | 2.4849e-05 | 0.057352 | 0.057352 | 0.057352 | 0.99671 | -0.063011 | 0.99783 | -0.041496 | 15.7561
13 | 0.0034621 | 0.00086715 | -0.0034615 | -0.00086753 | 5.6923e-07 | -3.7615e-07 | 0.0051684 | 0.0051687 | 0.0051687 | 0.99671 | -0.063011 | 0.99654 | -0.066463 | 1.42
14 | 0.042816 | 0.010791 | -0.042792 | -0.010776 | 2.3866e-05 | 1.507e-05 | 0.063871 | 0.063871 | 0.063871 | 0.99783 | -0.041496 | 0.99723 | -0.053154 | 17.5469
15 | -0.081267 | -0.020463 | 0.081428 | 0.020566 | 0.00016158 | 0.00010303 | 0.12122 | 0.12122 | 0.12122 | 0.99783 | -0.041496 | 1 | 0 | 33.3029
16 | 0.0034789 | 0.00087044 | -0.0034788 | -0.00087056 | 1.8641e-07 | -1.2039e-07 | 0.005196 | 0.0051961 | 0.0051961 | 0.99619 | -0.073208 | 0.99613 | -0.074334 | 1.4275
17 | 0.042792 | 0.010776 | -0.04278 | -0.010768 | 1.2027e-05 | 7.5944e-06 | 0.063871 | 0.063871 | 0.063871 | 0.99723 | -0.053154 | 0.99692 | -0.059034 | 17.5469
18 | 0.03941 | 0.0099234 | -0.039394 | -0.0099132 | 1.6119e-05 | 1.0154e-05 | 0.05884 | 0.05884 | 0.05884 | 0.99692 | -0.059034 | 0.99647 | -0.067592 | 16.1648
19 | 0.033897 | 0.0085283 | -0.033861 | -0.008506 | 3.5615e-05 | 2.2313e-05 | 0.05066 | 0.05066 | 0.05066 | 0.99586 | -0.079456 | 0.99472 | -0.10147 | 13.9177
20 | -0.033897 | -0.0085283 | 0.033916 | 0.0085404 | 1.9226e-05 | 1.2045e-05 | 0.05066 | 0.05066 | 0.05066 | 0.99586 | -0.079456 | 0.99647 | -0.067592 | 13.9176
21 | 0.033861 | 0.008506 | -0.033836 | -0.0084905 | 2.4774e-05 | 1.5521e-05 | 0.05066 | 0.050661 | 0.050661 | 0.99472 | -0.10147 | 0.99392 | -0.11681 | 13.9177
22 | -0.0016743 | -0.00041963 | 0.0016744 | 0.00041941 | 4.3982e-08 | -2.1586e-07 | 0.0025013 | 0.0025012 | 0.0025013 | 0.99605 | -0.075877 | 0.99608 | -0.075325 | 0.68718
23 | -0.0025823 | -0.00064612 | 0.0025824 | 0.00064591 | 1.2177e-07 | -2.0616e-07 | 0.0038573 | 0.0038572 | 0.0038573 | 0.99608 | -0.075325 | 0.99613 | -0.074334 | 1.0597
24 | 0.00090792 | 0.00022671 | -0.00090788 | -0.00022754 | 4.5361e-08 | -8.2699e-07 | 0.001356 | 0.0013563 | 0.0013563 | 0.99608 | -0.075325 | 0.99602 | -0.076376 | 0.37262
25 | 0.029006 | 0.00728 | -0.028998 | -0.0072748 | 8.3705e-06 | 5.2038e-06 | 0.043429 | 0.043429 | 0.043429 | 0.99392 | -0.11681 | 0.99361 | -0.12287 | 11.9312
26 | 0.018135 | 0.0045466 | -0.018132 | -0.0045447 | 3.1674e-06 | 1.8792e-06 | 0.027178 | 0.027178 | 0.027178 | 0.99294 | -0.13586 | 0.99275 | -0.13953 | 7.4666
27 | -0.02569 | -0.00644 | 0.025703 | 0.0064476 | 1.2403e-05 | 7.6492e-06 | 0.0385 | 0.0385 | 0.0385 | 0.99294 | -0.13586 | 0.99346 | -0.12574 | 10.5769
28 | 0.0077167 | 0.0019343 | -0.0077142 | -0.0019334 | 2.4778e-06 | 9.4744e-07 | 0.011567 | 0.011567 | 0.011567 | 0.99275 | -0.13953 | 0.9924 | -0.14627 | 3.1777
29 | -0.025703 | -0.0064476 | 0.025706 | 0.0064498 | 3.5167e-06 | 2.1687e-06 | 0.0385 | 0.0385 | 0.0385 | 0.99346 | -0.12574 | 0.99361 | -0.12287 | 10.5768

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.1429 | 0.03556

## res_load
| p_mw | q_mvar
0 | 0.0017555 | 0.00043998
1 | 0.016635 | 0.0041691
2 | 0.0037365 | 0.00093646
3 | 0.0013436 | 0.00033673
4 | 0.0044847 | 0.001124
5 | 0.0034615 | 0.00086753
6 | 0.0034486 | 0.00086429
7 | 0.059824 | 0.014993
8 | 0.0033707 | 0.00084477
9 | 0.0054776 | 0.0013728
10 | 0.0016743 | 0.00041963
11 | 0.00089633 | 0.00022464
12 | 0.00090788 | 0.00022754
13 | 0.00483 | 0.0012105
14 | 0.0075547 | 0.0018934
15 | 0.010416 | 0.0026104
16 | 0.0077142 | 0.0019334
17 | 0.0032919 | 0.00082502

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1