## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-887_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-887_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-887_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-887_0_6_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_261-887_0_6_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_261-887_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-887_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_261-887_0_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_261-887_0_6_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_261-887_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-887_0_6_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_261-887_0_6_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_261-887_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-887_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_261-887_0_6_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_261-887_0_6_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_261-887_0_6_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_261-887_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_261-887_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-887_0_6_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_261-887_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_261-887_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_261-887_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-887_0_6_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_261-887_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_261-887_0_6_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_261-887_0_6_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_261-887_0_6_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_261-887_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_261-887_0_6_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_261-887_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_261-887_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_261-887_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_261-887_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_261-887_0_6_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_261-887_0_6_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_261-887_0_6_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_261-887_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_261-887_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_261-887_0_6_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_261-887_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_261-887_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_261-887_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_261-887_0_6_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_261-887_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-887_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_261-887_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_261-887_0_6_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_261-887_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_261-887_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_261-887_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_261-887_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_261-887_0_6_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_261-887_0_6_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_261-887_0_6_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_261-887_0_6_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_261-887_0_6_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_261-887_0_6_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_261-887_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_261-887_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_261-887_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_261-887_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_261-887_0_6_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_261-887_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_261-887_0_6_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_261-887_0_6_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_261-887_0_6_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_261-887_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_261-887_0_6_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_261-887_0_6_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_261-887_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_261-887_0_6_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_261-887_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_261-887_0_6_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_261-887_0_6_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_261-887_0_6_node_42 | 0.4 | n |  | TRUE
76 | bus_LV_261-887_0_6_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_261-887_0_6_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_261-887_0_6_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_261-887_0_6_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_261-887_0_6_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_261-887_0_6_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_261-887_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_MV_539_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-887_0_6_load_0 | 0 | 0.017707 | 0.0044378 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-887_0_6_load_64 | 4 | 0.0040353 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-887_0_6_load_40 | 7 | 0.013109 | 0.0032855 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-887_0_6_load_39 | 11 | 0.0032382 | 0.00081158 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-887_0_6_load_78 | 15 | 0.011697 | 0.0029315 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-887_0_6_load_88 | 16 | 0.038731 | 0.009707 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-887_0_6_load_58 | 19 | 0.0068796 | 0.0017242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-887_0_6_load_76 | 23 | 0.019511 | 0.0048898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-887_0_6_load_72 | 25 | 0.0091775 | 0.0023001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-887_0_6_load_87 | 26 | 0.031245 | 0.0078307 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-887_0_6_load_59 | 27 | 0.010545 | 0.0026429 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-887_0_6_load_86 | 29 | 0.013243 | 0.003319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-887_0_6_load_49 | 31 | 0.022939 | 0.005749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-887_0_6_load_47 | 32 | 0.015034 | 0.0037679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-887_0_6_load_69 | 35 | 0.011457 | 0.0028715 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-887_0_6_load_89 | 36 | 0.012286 | 0.0030793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-887_0_6_load_75 | 39 | 0.01748 | 0.004381 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-887_0_6_load_66 | 43 | 0.0074998 | 0.0018796 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-887_0_6_load_83 | 47 | 0.013183 | 0.0033041 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-887_0_6_load_48 | 49 | 0.028661 | 0.0071832 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-887_0_6_load_70 | 52 | 0.010728 | 0.0026887 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-887_0_6_load_68 | 53 | 0.013196 | 0.0033072 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-887_0_6_load_80 | 54 | 0.0083746 | 0.0020989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-887_0_6_load_85 | 55 | 0.0050893 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-887_0_6_load_81 | 56 | 0.014809 | 0.0037114 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-887_0_6_load_73 | 57 | 0.011036 | 0.0027658 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-887_0_6_load_55 | 58 | 0.004184 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-887_0_6_load_50 | 59 | 0.0070614 | 0.0017698 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-887_0_6_load_65 | 60 | 0.0040394 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-887_0_6_load_53 | 61 | 0.0053827 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-887_0_6_load_67 | 62 | 0.0022486 | 0.00056355 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-887_0_6_load_54 | 63 | 0.0056188 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-887_0_6_load_79 | 64 | 0.0069082 | 0.0017314 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-887_0_6_load_77 | 65 | 0.019877 | 0.0049816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-887_0_6_load_71 | 66 | 0.003582 | 0.00089775 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-887_0_6_load_60 | 67 | 0.0045777 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-887_0_6_load_74 | 68 | 0.015203 | 0.0038102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-887_0_6_load_46 | 69 | 0.0078227 | 0.0019606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-887_0_6_load_84 | 70 | 0.01605 | 0.0040225 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-887_0_6_load_82 | 71 | 0.020305 | 0.0050889 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-887_0_6_load_63 | 72 | 0.0080239 | 0.002011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-887_0_6_load_56 | 73 | 0.0049256 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-887_0_6_load_51 | 74 | 0.0044132 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-887_0_6_load_42 | 75 | 0.0094829 | 0.0023766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-887_0_6_load_43 | 76 | 0.0047223 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-887_0_6_load_44 | 77 | 0.0047337 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-887_0_6_load_45 | 78 | 0.002353 | 0.00058973 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-887_0_6_load_62 | 79 | 0.0029807 | 0.00074703 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-887_0_6_load_52 | 80 | 0.0049119 | 0.001231 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-887_0_6_load_57 | 81 | 0.0034468 | 0.00086384 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-887_0_6_load_61 | 82 | 0.0035917 | 0.00090016 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-887_0_6_line_0 |  | 0 | 1 | 0.0051468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-887_0_6_line_1 |  | 1 | 2 | 0.0064456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-887_0_6_line_2 |  | 2 | 3 | 0.007149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-887_0_6_line_3 |  | 2 | 4 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-887_0_6_line_4 |  | 3 | 8 | 0.007296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-887_0_6_line_5 |  | 3 | 58 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-887_0_6_line_6 |  | 4 | 60 | 0.010973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-887_0_6_line_7 |  | 5 | 6 | 0.0079979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-887_0_6_line_8 |  | 5 | 7 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-887_0_6_line_9 |  | 6 | 8 | 0.002793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-887_0_6_line_10 |  | 7 | 11 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-887_0_6_line_11 |  | 8 | 59 | 0.013049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-887_0_6_line_12 |  | 9 | 10 | 0.007496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-887_0_6_line_13 |  | 9 | 11 | 0.01973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-887_0_6_line_14 |  | 10 | 63 | 0.036357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-887_0_6_line_15 |  | 10 | 61 | 0.025663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-887_0_6_line_16 |  | 12 | 13 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-887_0_6_line_17 |  | 12 | 14 | 0.0081433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-887_0_6_line_18 |  | 12 | 15 | 0.0084559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-887_0_6_line_19 |  | 13 | 16 | 0.014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-887_0_6_line_20 |  | 14 | 28 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-887_0_6_line_21 |  | 14 | 29 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-887_0_6_line_22 |  | 16 | 44 | 0.019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-887_0_6_line_23 |  | 17 | 18 | 0.0077123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-887_0_6_line_24 |  | 17 | 19 | 0.0076615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-887_0_6_line_25 |  | 18 | 27 | 0.0070869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-887_0_6_line_26 |  | 18 | 22 | 0.00534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-887_0_6_line_27 |  | 20 | 21 | 0.0091369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-887_0_6_line_28 |  | 20 | 22 | 0.009097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-887_0_6_line_29 |  | 20 | 23 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-887_0_6_line_30 |  | 21 | 24 | 0.005398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-887_0_6_line_31 |  | 22 | 25 | 0.016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-887_0_6_line_32 |  | 23 | 65 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-887_0_6_line_33 |  | 24 | 26 | 0.010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-887_0_6_line_34 |  | 25 | 66 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-887_0_6_line_35 |  | 27 | 67 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-887_0_6_line_36 |  | 28 | 36 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-887_0_6_line_37 |  | 30 | 31 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-887_0_6_line_38 |  | 30 | 32 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-887_0_6_line_39 |  | 32 | 49 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-887_0_6_line_40 |  | 33 | 34 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-887_0_6_line_41 |  | 33 | 35 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-887_0_6_line_42 |  | 34 | 57 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-887_0_6_line_43 |  | 37 | 38 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-887_0_6_line_44 |  | 37 | 39 | 0.0065061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-887_0_6_line_45 |  | 38 | 55 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_261-887_0_6_line_46 |  | 38 | 51 | 0.007556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_261-887_0_6_line_47 |  | 39 | 68 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-887_0_6_line_48 |  | 40 | 41 | 0.004565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_261-887_0_6_line_49 |  | 40 | 42 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-887_0_6_line_50 |  | 40 | 43 | 0.0065194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-887_0_6_line_51 |  | 41 | 51 | 0.008027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-887_0_6_line_52 |  | 41 | 52 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-887_0_6_line_53 |  | 42 | 48 | 0.002728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-887_0_6_line_54 |  | 42 | 49 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-887_0_6_line_55 |  | 43 | 69 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-887_0_6_line_56 |  | 44 | 45 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-887_0_6_line_57 |  | 45 | 46 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-887_0_6_line_58 |  | 45 | 47 | 0.0077657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-887_0_6_line_59 |  | 46 | 50 | 0.004845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-887_0_6_line_60 |  | 47 | 70 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-887_0_6_line_61 |  | 48 | 53 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-887_0_6_line_62 |  | 50 | 56 | 0.0097959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-887_0_6_line_63 |  | 51 | 54 | 0.0096618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-887_0_6_line_64 |  | 52 | 66 | 0.0024979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-887_0_6_line_65 |  | 54 | 64 | 0.012235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-887_0_6_line_66 |  | 55 | 70 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-887_0_6_line_67 |  | 56 | 71 | 0.018134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-887_0_6_line_68 |  | 57 | 72 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-887_0_6_line_69 |  | 58 | 73 | 0.01698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-887_0_6_line_70 |  | 59 | 74 | 0.019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-887_0_6_line_71 |  | 62 | 63 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-887_0_6_line_72 |  | 67 | 82 | 0.0096271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-887_0_6_line_73 |  | 69 | 77 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-887_0_6_line_74 |  | 72 | 79 | 0.0023395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-887_0_6_line_75 |  | 73 | 81 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-887_0_6_line_76 |  | 74 | 80 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-887_0_6_line_77 |  | 75 | 76 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-887_0_6_line_78 |  | 75 | 77 | 0.002347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-887_0_6_line_79 |  | 76 | 78 | 0.0026011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-887_0_6_line_80 |  | 78 | 79 | 0.013112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-887_0_6_line_81 |  | 81 | 82 | 0.0083328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-887_0_6_trafo_70 | 0.63 MVA 20/0.4 kV | 83 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2684180.7684 | 1245632.9552 | 2684185.3826 | 1245635.2353
1 | 2684180.7684 | 1245632.9552 | 2684179.2044 | 1245636.1464 | 2684177.9283 | 1245638.7413
2 | 2684177.9283 | 1245638.7413 | 2684175.3441 | 1245638.2154 | 2684173.4363 | 1245638.4774 | 2684171.344 | 1245640.0266
3 | 2684177.9283 | 1245638.7413 | 2684191.7207 | 1245645.6884
4 | 2684164.8633 | 1245636.6767 | 2684167.5253 | 1245638.1044 | 2684171.344 | 1245640.0266
5 | 2684171.344 | 1245640.0266 | 2684170.1014 | 1245641.8659 | 2684165.1718 | 1245651.0064
6 | 2684191.7207 | 1245645.6884 | 2684201.5211 | 1245650.6247
7 | 2684164.7057 | 1245633.9391 | 2684166.5911 | 1245629.9296 | 2684168.1629 | 1245626.7273
8 | 2684168.1629 | 1245626.7273 | 2684158.9135 | 1245622.1564
9 | 2684164.8633 | 1245636.6767 | 2684165.049 | 1245635.3005 | 2684164.7057 | 1245633.9391
10 | 2684129.6508 | 1245607.6953 | 2684158.9135 | 1245622.1564
11 | 2684164.8633 | 1245636.6767 | 2684164.2732 | 1245637.7913 | 2684163.5759 | 1245639.0046 | 2684158.6041 | 1245648.1263
12 | 2684111.9631 | 1245598.9543 | 2684108.5287 | 1245605.6216
13 | 2684111.9631 | 1245598.9543 | 2684129.6508 | 1245607.6953
14 | 2684108.5287 | 1245605.6216 | 2684091.8909 | 1245637.9488
15 | 2684108.5287 | 1245605.6216 | 2684131.6349 | 1245616.7883
16 | 2684105.4188 | 1245802.9778 | 2684106.5417 | 1245799.4578 | 2684107.712 | 1245795.7828 | 2684106.8616 | 1245795.0147 | 2684106.1194 | 1245794.0701 | 2684105.4572 | 1245792.8153 | 2684105.332 | 1245791.5237 | 2684105.5999 | 1245790.2155
17 | 2684105.5999 | 1245790.2155 | 2684101.9275 | 1245788.64 | 2684098.1201 | 1245786.9959
18 | 2684105.5999 | 1245790.2155 | 2684108.26 | 1245782.7255 | 2684108.4269 | 1245782.2461
19 | 2684105.4188 | 1245802.9778 | 2684118.6055 | 1245808.3904
20 | 2684090.7588 | 1245796.721 | 2684091.7517 | 1245793.3103 | 2684093.0067 | 1245788.9916 | 2684094.486 | 1245789.1127 | 2684095.8712 | 1245788.9322 | 2684097.3094 | 1245788.2187 | 2684098.1201 | 1245786.9959
21 | 2684098.1201 | 1245786.9959 | 2684101.9377 | 1245776.2769
22 | 2684136.1856 | 1245815.7568 | 2684135.2187 | 1245815.2094 | 2684118.6055 | 1245808.3904
23 | 2684124.1115 | 1245711.409 | 2684127.4599 | 1245713.458 | 2684130.727 | 1245715.3724
24 | 2684124.1115 | 1245711.409 | 2684127.7781 | 1245704.6819
25 | 2684130.727 | 1245715.3724 | 2684134.0492 | 1245709.1125
26 | 2684130.727 | 1245715.3724 | 2684130.7501 | 1245718.008 | 2684132.4123 | 1245720.1443
27 | 2684119.6741 | 1245725.4008 | 2684123.2238 | 1245726.5742 | 2684128.3451 | 1245728.2814
28 | 2684128.3451 | 1245728.2814 | 2684130.5459 | 1245723.8761 | 2684132.4123 | 1245720.1443
29 | 2684128.3451 | 1245728.2814 | 2684126.8197 | 1245729.2828 | 2684125.4707 | 1245733.2999 | 2684123.1512 | 1245739.9609
30 | 2684117.716 | 1245720.6918 | 2684118.8873 | 1245721.7425 | 2684119.561 | 1245723.2532 | 2684119.7843 | 1245724.5573 | 2684119.6741 | 1245725.4008
31 | 2684132.4123 | 1245720.1443 | 2684146.2842 | 1245728.1391
32 | 2684123.1512 | 1245739.9609 | 2684116.9459 | 1245757.7812
33 | 2684117.716 | 1245720.6918 | 2684108.8283 | 1245715.5269
34 | 2684155.428 | 1245733.3912 | 2684151.9354 | 1245731.3961 | 2684146.2842 | 1245728.1391
35 | 2684143.8061 | 1245690.7277 | 2684134.0492 | 1245709.1125
36 | 2684090.7588 | 1245796.721 | 2684089.4375 | 1245796.124 | 2684080.114 | 1245792.2804
37 | 2684211.3745 | 1245709.2233 | 2684213.1159 | 1245705.7788 | 2684218.0209 | 1245696.5828
38 | 2684211.3745 | 1245709.2233 | 2684209.8665 | 1245712.1929 | 2684203.634 | 1245724.0079
39 | 2684195.3375 | 1245739.7355 | 2684203.634 | 1245724.0079
40 | 2684221.2126 | 1245663.9853 | 2684227.2991 | 1245666.8961 | 2684232.5225 | 1245669.3943
41 | 2684232.5225 | 1245669.3943 | 2684227.6987 | 1245678.4383
42 | 2684221.2126 | 1245663.9853 | 2684214.6573 | 1245676.5645
43 | 2684170.059 | 1245758.7288 | 2684175.0743 | 1245761.5131 | 2684180.3146 | 1245764.4118
44 | 2684180.3146 | 1245764.4118 | 2684177.1803 | 1245770.1132
45 | 2684170.059 | 1245758.7288 | 2684164.2121 | 1245767.5495
46 | 2684171.5321 | 1245751.8335 | 2684172.1403 | 1245753.6991 | 2684172.1578 | 1245755.1226 | 2684170.059 | 1245758.7288
47 | 2684166.8472 | 1245788.909 | 2684177.1803 | 1245770.1132
48 | 2684175.4697 | 1245744.8398 | 2684177.5877 | 1245744.6698 | 2684179.3199 | 1245742.9375
49 | 2684179.3199 | 1245742.9375 | 2684184.104 | 1245745.5073 | 2684190.4853 | 1245748.9337
50 | 2684179.3199 | 1245742.9375 | 2684182.4064 | 1245737.195
51 | 2684175.4697 | 1245744.8398 | 2684173.3595 | 1245748.7127 | 2684171.5321 | 1245751.8335
52 | 2684175.4697 | 1245744.8398 | 2684157.597 | 1245734.6302
53 | 2684190.4853 | 1245748.9337 | 2684190.306 | 1245750.3878 | 2684191.1694 | 1245751.3118
54 | 2684190.4853 | 1245748.9337 | 2684195.3375 | 1245739.7355
55 | 2684182.4064 | 1245737.195 | 2684187.6414 | 1245727.4547
56 | 2684136.1856 | 1245815.7568 | 2684137.6278 | 1245812.0968 | 2684139.3054 | 1245807.8175 | 2684141.0977 | 1245808.2432 | 2684142.6096 | 1245807.6531 | 2684143.7904 | 1245805.3793
57 | 2684143.7904 | 1245805.3793 | 2684148.8878 | 1245807.6977 | 2684154.9911 | 1245810.4752
58 | 2684143.7904 | 1245805.3793 | 2684147.35 | 1245798.4774
59 | 2684154.9911 | 1245810.4752 | 2684154.506 | 1245811.647 | 2684154.8018 | 1245813.6971 | 2684155.7523 | 1245814.867
60 | 2684147.35 | 1245798.4774 | 2684155.4214 | 1245782.8277 | 2684158.1037 | 1245778.061
61 | 2684191.1694 | 1245751.3118 | 2684209.8905 | 1245760.5718
62 | 2684155.7523 | 1245814.867 | 2684164.76 | 1245818.7171
63 | 2684171.5321 | 1245751.8335 | 2684169.9962 | 1245750.9111 | 2684163.2014 | 1245746.9399
64 | 2684157.597 | 1245734.6302 | 2684155.428 | 1245733.3912
65 | 2684152.6382 | 1245740.7662 | 2684163.2014 | 1245746.9399
66 | 2684158.1037 | 1245778.061 | 2684162.9324 | 1245769.48 | 2684164.2121 | 1245767.5495
67 | 2684164.76 | 1245818.7171 | 2684181.4342 | 1245825.8441
68 | 2684208.9988 | 1245687.4227 | 2684214.6573 | 1245676.5645
69 | 2684157.1117 | 1245665.9517 | 2684165.1718 | 1245651.0064
70 | 2684149.0685 | 1245665.6209 | 2684158.6041 | 1245648.1263
71 | 2684091.8909 | 1245637.9488 | 2684090.5021 | 1245640.6473 | 2684084.9719 | 1245651.4465
72 | 2684143.8061 | 1245690.7277 | 2684147.2787 | 1245684.1843 | 2684148.3322 | 1245682.2309
73 | 2684194.4919 | 1245714.7089 | 2684187.6414 | 1245727.4547
74 | 2684208.9988 | 1245687.4227 | 2684207.9177 | 1245689.4974
75 | 2684157.1117 | 1245665.9517 | 2684152.2876 | 1245674.8967
76 | 2684143.1802 | 1245676.4241 | 2684149.0685 | 1245665.6209
77 | 2684200.5759 | 1245703.389 | 2684195.603 | 1245712.6415
78 | 2684194.4919 | 1245714.7089 | 2684195.603 | 1245712.6415
79 | 2684201.8073 | 1245701.0979 | 2684200.5759 | 1245703.389
80 | 2684201.8073 | 1245701.0979 | 2684203.9453 | 1245697.1201 | 2684207.9177 | 1245689.4974
81 | 2684152.2876 | 1245674.8967 | 2684148.3322 | 1245682.2309

## bus_geodata
| x | y | coords
0 | 2684185.3826 | 1245635.2353
1 | 2684180.7684 | 1245632.9552
2 | 2684177.9283 | 1245638.7413
3 | 2684171.344 | 1245640.0266
4 | 2684191.7207 | 1245645.6884
5 | 2684168.1629 | 1245626.7273
6 | 2684164.7057 | 1245633.9391
7 | 2684158.9135 | 1245622.1564
8 | 2684164.8633 | 1245636.6767
9 | 2684111.9631 | 1245598.9543
10 | 2684108.5287 | 1245605.6216
11 | 2684129.6508 | 1245607.6953
12 | 2684105.5999 | 1245790.2155
13 | 2684105.4188 | 1245802.9778
14 | 2684098.1201 | 1245786.9959
15 | 2684108.4269 | 1245782.2461
16 | 2684118.6055 | 1245808.3904
17 | 2684124.1115 | 1245711.409
18 | 2684130.727 | 1245715.3724
19 | 2684127.7781 | 1245704.6819
20 | 2684128.3451 | 1245728.2814
21 | 2684119.6741 | 1245725.4008
22 | 2684132.4123 | 1245720.1443
23 | 2684123.1512 | 1245739.9609
24 | 2684117.716 | 1245720.6918
25 | 2684146.2842 | 1245728.1391
26 | 2684108.8283 | 1245715.5269
27 | 2684134.0492 | 1245709.1125
28 | 2684090.7588 | 1245796.721
29 | 2684101.9377 | 1245776.2769
30 | 2684211.3745 | 1245709.2233
31 | 2684218.0209 | 1245696.5828
32 | 2684203.634 | 1245724.0079
33 | 2684232.5225 | 1245669.3943
34 | 2684221.2126 | 1245663.9853
35 | 2684227.6987 | 1245678.4383
36 | 2684080.114 | 1245792.2804
37 | 2684180.3146 | 1245764.4118
38 | 2684170.059 | 1245758.7288
39 | 2684177.1803 | 1245770.1132
40 | 2684179.3199 | 1245742.9375
41 | 2684175.4697 | 1245744.8398
42 | 2684190.4853 | 1245748.9337
43 | 2684182.4064 | 1245737.195
44 | 2684136.1856 | 1245815.7568
45 | 2684143.7904 | 1245805.3793
46 | 2684154.9911 | 1245810.4752
47 | 2684147.35 | 1245798.4774
48 | 2684191.1694 | 1245751.3118
49 | 2684195.3375 | 1245739.7355
50 | 2684155.7523 | 1245814.867
51 | 2684171.5321 | 1245751.8335
52 | 2684157.597 | 1245734.6302
53 | 2684209.8905 | 1245760.5718
54 | 2684163.2014 | 1245746.9399
55 | 2684164.2121 | 1245767.5495
56 | 2684164.76 | 1245818.7171
57 | 2684214.6573 | 1245676.5645
58 | 2684165.1718 | 1245651.0064
59 | 2684158.6041 | 1245648.1263
60 | 2684201.5211 | 1245650.6247
61 | 2684131.6349 | 1245616.7883
62 | 2684084.9719 | 1245651.4465
63 | 2684091.8909 | 1245637.9488
64 | 2684152.6382 | 1245740.7662
65 | 2684116.9459 | 1245757.7812
66 | 2684155.428 | 1245733.3912
67 | 2684143.8061 | 1245690.7277
68 | 2684166.8472 | 1245788.909
69 | 2684187.6414 | 1245727.4547
70 | 2684158.1037 | 1245778.061
71 | 2684181.4342 | 1245825.8441
72 | 2684208.9988 | 1245687.4227
73 | 2684157.1117 | 1245665.9517
74 | 2684149.0685 | 1245665.6209
75 | 2684195.603 | 1245712.6415
76 | 2684200.5759 | 1245703.389
77 | 2684194.4919 | 1245714.7089
78 | 2684201.8073 | 1245701.0979
79 | 2684207.9176 | 1245689.4974
80 | 2684143.1802 | 1245676.4241
81 | 2684152.2876 | 1245674.8967
82 | 2684148.3322 | 1245682.2309
83 | 2684175.4697 | 1245744.8398

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99042 | -0.18427 | 0.017707 | 0.0044378
1 | 0.9905 | -0.18265 | 0 | 0
2 | 0.99061 | -0.18063 | 0 | 0
3 | 0.99078 | -0.17735 | 0 | 0
4 | 0.99049 | -0.18284 | 0.0040353 | 0.0010113
5 | 0.99018 | -0.18899 | 0 | 0
6 | 0.99039 | -0.18478 | 0 | 0
7 | 0.9899 | -0.19442 | 0.013109 | 0.0032855
8 | 0.99047 | -0.18331 | 0 | 0
9 | 0.98916 | -0.20866 | 0 | 0
10 | 0.98907 | -0.21043 | 0 | 0
11 | 0.9894 | -0.204 | 0.0032382 | 0.00081158
12 | 0.98797 | -0.23167 | 0 | 0
13 | 0.98845 | -0.2224 | 0 | 0
14 | 0.98778 | -0.23538 | 0 | 0
15 | 0.98788 | -0.23343 | 0.011697 | 0.0029315
16 | 0.98893 | -0.21294 | 0.038731 | 0.009707
17 | 0.99734 | -0.050916 | 0 | 0
18 | 0.99739 | -0.049986 | 0 | 0
19 | 0.99729 | -0.051839 | 0.0068796 | 0.0017242
20 | 0.99734 | -0.050959 | 0 | 0
21 | 0.99708 | -0.055963 | 0 | 0
22 | 0.99793 | -0.039706 | 0 | 0
23 | 0.99687 | -0.060015 | 0.019511 | 0.0048898
24 | 0.99693 | -0.05892 | 0 | 0
25 | 0.99924 | -0.014441 | 0.0091775 | 0.0023001
26 | 0.99664 | -0.064554 | 0.031245 | 0.0078307
27 | 0.99672 | -0.06279 | 0.010545 | 0.0026429
28 | 0.98762 | -0.23846 | 0 | 0
29 | 0.98764 | -0.23807 | 0.013243 | 0.003319
30 | 0.99502 | -0.095652 | 0 | 0
31 | 0.99472 | -0.10142 | 0.022939 | 0.005749
32 | 0.99537 | -0.088915 | 0.015034 | 0.0037679
33 | 0.99419 | -0.11166 | 0 | 0
34 | 0.99432 | -0.10913 | 0 | 0
35 | 0.99408 | -0.11373 | 0.011457 | 0.0028715
36 | 0.98749 | -0.24099 | 0.012286 | 0.0030793
37 | 0.99662 | -0.06479 | 0 | 0
38 | 0.99697 | -0.058068 | 0 | 0
39 | 0.99642 | -0.068522 | 0.01748 | 0.004381
40 | 0.99754 | -0.047137 | 0 | 0
41 | 0.99785 | -0.041144 | 0 | 0
42 | 0.99662 | -0.064876 | 0 | 0
43 | 0.99712 | -0.055147 | 0.0074998 | 0.0018796
44 | 0.99026 | -0.18716 | 0 | 0
45 | 0.99128 | -0.16752 | 0 | 0
46 | 0.99088 | -0.17519 | 0 | 0
47 | 0.99207 | -0.15223 | 0.013183 | 0.0033041
48 | 0.99658 | -0.065507 | 0 | 0
49 | 0.99598 | -0.077044 | 0.028661 | 0.0071832
50 | 0.99073 | -0.17821 | 0 | 0
51 | 0.99738 | -0.050205 | 0 | 0
52 | 1 | 0 | -0.54144 | -0.13651
53 | 0.99633 | -0.070345 | 0.013196 | 0.0033072
54 | 0.99724 | -0.052793 | 0.0083746 | 0.0020989
55 | 0.99626 | -0.071569 | 0.0050893 | 0.0012755
56 | 0.99041 | -0.18432 | 0.014809 | 0.0037114
57 | 0.99447 | -0.10627 | 0.011036 | 0.0027658
58 | 0.99161 | -0.1613 | 0.004184 | 0.0010486
59 | 0.99027 | -0.18711 | 0.0070614 | 0.0017698
60 | 0.99045 | -0.18363 | 0.0040394 | 0.0010124
61 | 0.98895 | -0.21289 | 0.0053827 | 0.001349
62 | 0.98878 | -0.21613 | 0.0022486 | 0.00056355
63 | 0.98881 | -0.21552 | 0.0056188 | 0.0014082
64 | 0.99716 | -0.054275 | 0.0069082 | 0.0017314
65 | 0.99653 | -0.066596 | 0.019877 | 0.0049816
66 | 0.99985 | -0.002806 | 0.003582 | 0.00089775
67 | 0.99496 | -0.096627 | 0.0045777 | 0.0011473
68 | 0.99613 | -0.074249 | 0.015203 | 0.0038102
69 | 0.99649 | -0.067293 | 0.0078227 | 0.0019606
70 | 0.9947 | -0.10158 | 0.01605 | 0.0040225
71 | 0.99007 | -0.19086 | 0.020305 | 0.0050889
72 | 0.99472 | -0.10141 | 0.0080239 | 0.002011
73 | 0.99279 | -0.13847 | 0.0049256 | 0.0012345
74 | 0.9901 | -0.19042 | 0.0044132 | 0.001106
75 | 0.99566 | -0.083285 | 0.0094829 | 0.0023766
76 | 0.99527 | -0.090781 | 0.0047223 | 0.0011835
77 | 0.99577 | -0.081219 | 0.0047337 | 0.0011864
78 | 0.99519 | -0.092422 | 0.002353 | 0.00058973
79 | 0.99479 | -0.10016 | 0.0029807 | 0.00074703
80 | 0.99005 | -0.19149 | 0.0049119 | 0.001231
81 | 0.99354 | -0.12394 | 0.0034468 | 0.00086384
82 | 0.99418 | -0.11154 | 0.0035917 | 0.00090016
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017707 | -0.0044378 | 0.017708 | 0.0044386 | 1.3659e-06 | 8.0796e-07 | 0.026603 | 0.026603 | 0.026603 | 0.99042 | -0.18427 | 0.9905 | -0.18265 | 7.3085
1 | -0.017708 | -0.0044386 | 0.01771 | 0.0044396 | 1.7106e-06 | 1.0118e-06 | 0.026603 | 0.026603 | 0.026603 | 0.9905 | -0.18265 | 0.99061 | -0.18063 | 7.3085
2 | -0.025786 | -0.0064636 | 0.02579 | 0.0064661 | 4.0221e-06 | 2.4821e-06 | 0.038734 | 0.038734 | 0.038734 | 0.99061 | -0.18063 | 0.99078 | -0.17735 | 10.6411
3 | 0.0080756 | 0.002024 | -0.0080748 | -0.0020236 | 8.5219e-07 | 3.4661e-07 | 0.012131 | 0.012131 | 0.012131 | 0.99061 | -0.18063 | 0.99049 | -0.18284 | 3.3326
4 | 0.046032 | 0.011552 | -0.046019 | -0.011544 | 1.3079e-05 | 8.2764e-06 | 0.069139 | 0.069139 | 0.069139 | 0.99078 | -0.17735 | 0.99047 | -0.18331 | 18.9943
5 | -0.071821 | -0.018019 | 0.071876 | 0.018054 | 5.5003e-05 | 3.504e-05 | 0.10787 | 0.10787 | 0.10787 | 0.99078 | -0.17735 | 0.99161 | -0.1613 | 29.6354
6 | 0.0040395 | 0.0010123 | -0.0040394 | -0.0010124 | 1.5154e-07 | -4.4245e-08 | 0.0060685 | 0.0060686 | 0.0060686 | 0.99049 | -0.18284 | 0.99045 | -0.18363 | 1.6672
7 | -0.029619 | -0.0074299 | 0.029625 | 0.0074336 | 5.9429e-06 | 3.7005e-06 | 0.044514 | 0.044514 | 0.044514 | 0.99018 | -0.18899 | 0.99039 | -0.18478 | 12.229
8 | 0.029619 | 0.0074299 | -0.029612 | -0.0074252 | 7.6662e-06 | 4.7737e-06 | 0.044514 | 0.044514 | 0.044514 | 0.99018 | -0.18899 | 0.9899 | -0.19442 | 12.2291
9 | -0.029625 | -0.0074336 | 0.029627 | 0.0074349 | 2.0753e-06 | 1.2923e-06 | 0.044514 | 0.044514 | 0.044514 | 0.99039 | -0.18478 | 0.99047 | -0.18331 | 12.229
10 | 0.016503 | 0.0041397 | -0.016495 | -0.0041353 | 7.5332e-06 | 4.4019e-06 | 0.024808 | 0.024808 | 0.024808 | 0.9899 | -0.19442 | 0.9894 | -0.204 | 6.8154
11 | 0.016391 | 0.0041093 | -0.016388 | -0.0041075 | 2.9675e-06 | 1.7313e-06 | 0.024625 | 0.024626 | 0.024626 | 0.99047 | -0.18331 | 0.99027 | -0.18711 | 6.7653
12 | 0.013254 | 0.0033221 | -0.013253 | -0.0033215 | 1.1175e-06 | 6.1896e-07 | 0.019938 | 0.019938 | 0.019938 | 0.98916 | -0.20866 | 0.98907 | -0.21043 | 5.4775
13 | -0.013254 | -0.0033221 | 0.013257 | 0.0033237 | 2.9412e-06 | 1.629e-06 | 0.019938 | 0.019938 | 0.019938 | 0.98916 | -0.20866 | 0.9894 | -0.204 | 5.4775
14 | 0.0078694 | 0.0019724 | -0.0078675 | -0.0019716 | 1.9111e-06 | 7.5659e-07 | 0.011839 | 0.011839 | 0.011839 | 0.98907 | -0.21043 | 0.98881 | -0.21552 | 3.2526
15 | 0.0053834 | 0.0013491 | -0.0053827 | -0.001349 | 6.3126e-07 | 7.4685e-08 | 0.008099 | 0.0080991 | 0.0080991 | 0.98907 | -0.21043 | 0.98895 | -0.21289 | 2.225
16 | -0.037237 | -0.0093358 | 0.037253 | 0.0093462 | 1.6456e-05 | 1.0353e-05 | 0.056085 | 0.056085 | 0.056085 | 0.98797 | -0.23167 | 0.98845 | -0.2224 | 15.408
17 | 0.025539 | 0.0064038 | -0.025534 | -0.006401 | 4.5184e-06 | 2.7875e-06 | 0.038466 | 0.038466 | 0.038466 | 0.98797 | -0.23167 | 0.98778 | -0.23538 | 10.5676
18 | 0.011698 | 0.0029321 | -0.011697 | -0.0029315 | 9.8435e-07 | 5.2171e-07 | 0.017619 | 0.017619 | 0.017619 | 0.98797 | -0.23167 | 0.98788 | -0.23343 | 4.8404
19 | -0.037253 | -0.0093462 | 0.03727 | 0.0093568 | 1.6814e-05 | 1.0578e-05 | 0.056085 | 0.056085 | 0.056085 | 0.98845 | -0.2224 | 0.98893 | -0.21294 | 15.408
20 | 0.01229 | 0.0030811 | -0.012288 | -0.0030801 | 1.7999e-06 | 9.7274e-07 | 0.018514 | 0.018514 | 0.018514 | 0.98778 | -0.23538 | 0.98762 | -0.23846 | 5.0863
21 | 0.013245 | 0.0033199 | -0.013243 | -0.003319 | 1.6987e-06 | 9.4151e-07 | 0.019952 | 0.019952 | 0.019952 | 0.98778 | -0.23538 | 0.98764 | -0.23807 | 5.4814
22 | -0.076002 | -0.019064 | 0.076095 | 0.019123 | 9.3527e-05 | 5.9612e-05 | 0.11436 | 0.11436 | 0.11436 | 0.98893 | -0.21294 | 0.99026 | -0.18716 | 31.4184
23 | -0.0068799 | -0.0017243 | 0.0068802 | 0.0017244 | 3.0473e-07 | 9.4378e-08 | 0.010265 | 0.010265 | 0.010265 | 0.99734 | -0.050916 | 0.99739 | -0.049986 | 2.82
24 | 0.0068799 | 0.0017243 | -0.0068796 | -0.0017242 | 3.0272e-07 | 9.3767e-08 | 0.010265 | 0.010265 | 0.010265 | 0.99734 | -0.050916 | 0.99729 | -0.051839 | 2.82
25 | 0.10361 | 0.026189 | -0.10355 | -0.026148 | 6.3569e-05 | 4.0592e-05 | 0.15466 | 0.15466 | 0.15466 | 0.99739 | -0.049986 | 0.99672 | -0.06279 | 42.4893
26 | -0.11049 | -0.027913 | 0.11055 | 0.027948 | 5.4469e-05 | 3.479e-05 | 0.16493 | 0.16493 | 0.16493 | 0.99739 | -0.049986 | 0.99793 | -0.039706 | 45.3092
27 | 0.031265 | 0.0078434 | -0.031258 | -0.0078387 | 7.4565e-06 | 4.6529e-06 | 0.04665 | 0.04665 | 0.04665 | 0.99734 | -0.050959 | 0.99708 | -0.055963 | 12.8159
28 | -0.070676 | -0.017729 | 0.070714 | 0.017753 | 3.7936e-05 | 2.416e-05 | 0.10545 | 0.10545 | 0.10545 | 0.99734 | -0.050959 | 0.99793 | -0.039706 | 28.9706
29 | 0.039411 | 0.0098859 | -0.039394 | -0.0098752 | 1.7007e-05 | 1.0713e-05 | 0.058803 | 0.058803 | 0.058803 | 0.99734 | -0.050959 | 0.99687 | -0.060015 | 16.1547
30 | 0.031258 | 0.0078387 | -0.031253 | -0.007836 | 4.4052e-06 | 2.7489e-06 | 0.04665 | 0.04665 | 0.04665 | 0.99708 | -0.055963 | 0.99693 | -0.05892 | 12.8159
31 | -0.18126 | -0.045701 | 0.18148 | 0.045841 | 0.00021946 | 0.00014004 | 0.27038 | 0.27038 | 0.27038 | 0.99793 | -0.039706 | 0.99924 | -0.014441 | 37.1399
32 | 0.019883 | 0.0049853 | -0.019877 | -0.0049816 | 6.2333e-06 | 3.7434e-06 | 0.02968 | 0.02968 | 0.02968 | 0.99687 | -0.060015 | 0.99653 | -0.066596 | 8.1538
33 | 0.031253 | 0.007836 | -0.031245 | -0.0078307 | 8.3889e-06 | 5.2349e-06 | 0.04665 | 0.04665 | 0.04665 | 0.99693 | -0.05892 | 0.99664 | -0.064554 | 12.8159
34 | -0.19066 | -0.048141 | 0.19077 | 0.048209 | 0.00010635 | 6.7647e-05 | 0.28404 | 0.28404 | 0.28404 | 0.99924 | -0.014441 | 0.99985 | -0.002806 | 26.0114
35 | 0.093005 | 0.023505 | -0.092854 | -0.023409 | 0.00015062 | 9.6128e-05 | 0.13892 | 0.13892 | 0.13892 | 0.99672 | -0.06279 | 0.99496 | -0.096627 | 38.1642
36 | 0.012288 | 0.0030801 | -0.012286 | -0.0030793 | 1.4826e-06 | 8.0131e-07 | 0.018514 | 0.018514 | 0.018514 | 0.98762 | -0.23846 | 0.98749 | -0.24099 | 5.0863
37 | 0.022945 | 0.0057529 | -0.022939 | -0.005749 | 6.3063e-06 | 3.8506e-06 | 0.034314 | 0.034314 | 0.034314 | 0.99502 | -0.095652 | 0.99472 | -0.10142 | 9.427
38 | -0.022945 | -0.0057529 | 0.022952 | 0.0057574 | 7.3689e-06 | 4.4992e-06 | 0.034314 | 0.034314 | 0.034314 | 0.99502 | -0.095652 | 0.99537 | -0.088915 | 9.427
39 | -0.037986 | -0.0095252 | 0.038008 | 0.0095388 | 2.1505e-05 | 1.3532e-05 | 0.056789 | 0.056789 | 0.056789 | 0.99537 | -0.088915 | 0.99598 | -0.077044 | 15.6014
40 | -0.011458 | -0.0028721 | 0.01146 | 0.0028728 | 1.3828e-06 | 7.2237e-07 | 0.01715 | 0.01715 | 0.01715 | 0.99419 | -0.11166 | 0.99432 | -0.10913 | 4.7115
41 | 0.011458 | 0.0028721 | -0.011457 | -0.0028715 | 1.1305e-06 | 5.9065e-07 | 0.01715 | 0.01715 | 0.01715 | 0.99419 | -0.11166 | 0.99408 | -0.11373 | 4.7116
42 | -0.01146 | -0.0028728 | 0.011461 | 0.0028736 | 1.5645e-06 | 8.1727e-07 | 0.01715 | 0.01715 | 0.01715 | 0.99432 | -0.10913 | 0.99447 | -0.10627 | 4.7115
43 | -0.032693 | -0.0081972 | 0.032704 | 0.0082038 | 1.0477e-05 | 6.5525e-06 | 0.048815 | 0.048814 | 0.048815 | 0.99662 | -0.06479 | 0.99697 | -0.058068 | 13.4106
44 | 0.032693 | 0.0081972 | -0.032687 | -0.0081936 | 5.8137e-06 | 3.636e-06 | 0.048815 | 0.048815 | 0.048815 | 0.99662 | -0.06479 | 0.99642 | -0.068522 | 13.4106
45 | 0.14632 | 0.037028 | -0.14622 | -0.036968 | 9.4744e-05 | 6.036e-05 | 0.21851 | 0.21851 | 0.21851 | 0.99697 | -0.058068 | 0.99626 | -0.071569 | 30.0156
46 | -0.17902 | -0.045232 | 0.17909 | 0.045275 | 6.7498e-05 | 4.2903e-05 | 0.26733 | 0.26733 | 0.26733 | 0.99697 | -0.058068 | 0.99738 | -0.050205 | 24.4806
47 | 0.015207 | 0.0038126 | -0.015203 | -0.0038102 | 4.1484e-06 | 2.3757e-06 | 0.02271 | 0.02271 | 0.02271 | 0.99642 | -0.068522 | 0.99613 | -0.074249 | 6.2391
48 | -0.15023 | -0.037762 | 0.15028 | 0.03779 | 4.3001e-05 | 2.7401e-05 | 0.22414 | 0.22414 | 0.22414 | 0.99754 | -0.047137 | 0.99785 | -0.041144 | 30.7884
49 | 0.079975 | 0.020099 | -0.079908 | -0.020056 | 6.7661e-05 | 4.3138e-05 | 0.11932 | 0.11932 | 0.11932 | 0.99754 | -0.047137 | 0.99662 | -0.064876 | 32.7796
50 | 0.070257 | 0.017663 | -0.07023 | -0.017646 | 2.6862e-05 | 1.7107e-05 | 0.10482 | 0.10482 | 0.10482 | 0.99754 | -0.047137 | 0.99712 | -0.055147 | 28.7972
51 | 0.19446 | 0.04916 | -0.19437 | -0.049106 | 8.446e-05 | 5.374e-05 | 0.29013 | 0.29013 | 0.29013 | 0.99785 | -0.041144 | 0.99738 | -0.050205 | 26.5689
52 | -0.34473 | -0.086949 | 0.34542 | 0.087384 | 0.00068047 | 0.00043469 | 0.51427 | 0.51427 | 0.51427 | 0.99785 | -0.041144 | 1 | 0 | 47.0944
53 | 0.013199 | 0.0033091 | -0.013199 | -0.0033089 | 3.9734e-07 | 2.1875e-07 | 0.019708 | 0.019708 | 0.019708 | 0.99662 | -0.064876 | 0.99658 | -0.065507 | 5.4143
54 | 0.066708 | 0.016747 | -0.066669 | -0.016722 | 3.8695e-05 | 2.4629e-05 | 0.09961 | 0.09961 | 0.09961 | 0.99662 | -0.064876 | 0.99598 | -0.077044 | 27.3653
55 | 0.062731 | 0.015767 | -0.062694 | -0.015743 | 3.6352e-05 | 2.3121e-05 | 0.09363 | 0.09363 | 0.09363 | 0.99712 | -0.055147 | 0.99649 | -0.067293 | 25.7224
56 | -0.076095 | -0.019123 | 0.076167 | 0.019169 | 7.1399e-05 | 4.5508e-05 | 0.11436 | 0.11436 | 0.11436 | 0.99026 | -0.18716 | 0.99128 | -0.16752 | 31.4184
57 | 0.035148 | 0.0088217 | -0.035135 | -0.0088137 | 1.2848e-05 | 8.064e-06 | 0.052765 | 0.052765 | 0.052765 | 0.99128 | -0.16752 | 0.99088 | -0.17519 | 14.496
58 | -0.11131 | -0.027991 | 0.1114 | 0.028043 | 8.1342e-05 | 5.1959e-05 | 0.16713 | 0.16713 | 0.16713 | 0.99128 | -0.16752 | 0.99207 | -0.15223 | 45.9143
59 | 0.035135 | 0.0088137 | -0.03513 | -0.0088105 | 5.0585e-06 | 3.1751e-06 | 0.052765 | 0.052765 | 0.052765 | 0.99088 | -0.17519 | 0.99073 | -0.17821 | 14.496
60 | -0.12458 | -0.031347 | 0.12488 | 0.03154 | 0.00030232 | 0.00019318 | 0.1869 | 0.1869 | 0.1869 | 0.99207 | -0.15223 | 0.9947 | -0.10158 | 51.3468
61 | 0.013199 | 0.0033089 | -0.013196 | -0.0033072 | 3.0421e-06 | 1.6749e-06 | 0.019708 | 0.019708 | 0.019708 | 0.99658 | -0.065507 | 0.99633 | -0.070345 | 5.4143
62 | 0.03513 | 0.0088105 | -0.03512 | -0.0088041 | 1.0228e-05 | 6.4196e-06 | 0.052765 | 0.052766 | 0.052766 | 0.99073 | -0.17821 | 0.99041 | -0.18432 | 14.496
63 | 0.015285 | 0.0038315 | -0.015283 | -0.0038304 | 1.8842e-06 | 1.0798e-06 | 0.022805 | 0.022805 | 0.022805 | 0.99738 | -0.050205 | 0.99724 | -0.052793 | 6.265
64 | 0.19437 | 0.049123 | -0.19435 | -0.049107 | 2.6147e-05 | 1.6636e-05 | 0.28938 | 0.28938 | 0.28938 | 1 | 0 | 0.99985 | -0.002806 | 26.4996
65 | 0.0069087 | 0.0017315 | -0.0069082 | -0.0017314 | 4.8758e-07 | 1.5244e-07 | 0.010309 | 0.010309 | 0.010309 | 0.99724 | -0.052793 | 0.99716 | -0.054275 | 2.8321
66 | 0.14113 | 0.035692 | -0.14093 | -0.035562 | 0.00020289 | 0.00012969 | 0.21091 | 0.21091 | 0.21091 | 0.99626 | -0.071569 | 0.9947 | -0.10158 | 57.9429
67 | 0.020311 | 0.0050927 | -0.020305 | -0.0050889 | 6.3328e-06 | 3.8197e-06 | 0.030517 | 0.030517 | 0.030517 | 0.99041 | -0.18432 | 0.99007 | -0.19086 | 8.3838
68 | -0.022497 | -0.0056394 | 0.022502 | 0.0056426 | 5.203e-06 | 3.171e-06 | 0.033663 | 0.033662 | 0.033663 | 0.99447 | -0.10627 | 0.99472 | -0.10141 | 9.248
69 | -0.07606 | -0.019102 | 0.076143 | 0.019155 | 8.2972e-05 | 5.2883e-05 | 0.11415 | 0.11415 | 0.11415 | 0.99161 | -0.1613 | 0.99279 | -0.13847 | 31.3602
70 | 0.0093268 | 0.0023378 | -0.0093253 | -0.0023371 | 1.4676e-06 | 6.8295e-07 | 0.014015 | 0.014015 | 0.014015 | 0.99027 | -0.18711 | 0.9901 | -0.19042 | 3.8503
71 | -0.0022486 | -0.00056355 | 0.0022487 | 0.0005634 | 6.513e-08 | -1.5287e-07 | 0.0033839 | 0.0033838 | 0.0033839 | 0.98878 | -0.21613 | 0.98881 | -0.21552 | 0.92965
72 | 0.088277 | 0.022262 | -0.088214 | -0.022221 | 6.2972e-05 | 4.0177e-05 | 0.13207 | 0.13207 | 0.13207 | 0.99496 | -0.096627 | 0.99418 | -0.11154 | 36.2834
73 | 0.054872 | 0.013783 | -0.054835 | -0.01376 | 3.644e-05 | 2.3133e-05 | 0.081948 | 0.081948 | 0.081948 | 0.99649 | -0.067293 | 0.99577 | -0.081219 | 22.5133
74 | -0.030526 | -0.0076535 | 0.030528 | 0.0076547 | 1.8295e-06 | 1.1405e-06 | 0.045665 | 0.045665 | 0.045665 | 0.99472 | -0.10141 | 0.99479 | -0.10016 | 12.5455
75 | -0.081069 | -0.02039 | 0.081125 | 0.020425 | 5.6292e-05 | 3.5895e-05 | 0.12153 | 0.12153 | 0.12153 | 0.99279 | -0.13847 | 0.99354 | -0.12394 | 33.3884
76 | 0.0049122 | 0.001231 | -0.0049119 | -0.001231 | 2.5146e-07 | 2.7056e-09 | 0.0073824 | 0.0073825 | 0.0073825 | 0.9901 | -0.19042 | 0.99005 | -0.19149 | 2.0281
77 | 0.040614 | 0.010194 | -0.040599 | -0.010184 | 1.4515e-05 | 9.1528e-06 | 0.060702 | 0.060702 | 0.060702 | 0.99566 | -0.083285 | 0.99527 | -0.090781 | 16.6765
78 | -0.050097 | -0.01257 | 0.050101 | 0.012573 | 4.9342e-06 | 3.1273e-06 | 0.074875 | 0.074875 | 0.074875 | 0.99566 | -0.083285 | 0.99577 | -0.081219 | 20.5699
79 | 0.035877 | 0.0090009 | -0.035874 | -0.0089992 | 2.8068e-06 | 1.7625e-06 | 0.053642 | 0.053642 | 0.053642 | 0.99527 | -0.090781 | 0.99519 | -0.092422 | 14.7369
80 | 0.033521 | 0.0084094 | -0.033509 | -0.0084017 | 1.2353e-05 | 7.7357e-06 | 0.050124 | 0.050124 | 0.050124 | 0.99519 | -0.092422 | 0.99479 | -0.10016 | 13.7703
81 | -0.084572 | -0.021289 | 0.084622 | 0.021321 | 5.0159e-05 | 3.1994e-05 | 0.1267 | 0.1267 | 0.1267 | 0.99354 | -0.12394 | 0.99418 | -0.11154 | 34.8066

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55217 | 0.1392

## res_load
| p_mw | q_mvar
0 | 0.017707 | 0.0044378
1 | 0.0040353 | 0.0010113
2 | 0.013109 | 0.0032855
3 | 0.0032382 | 0.00081158
4 | 0.011697 | 0.0029315
5 | 0.038731 | 0.009707
6 | 0.0068796 | 0.0017242
7 | 0.019511 | 0.0048898
8 | 0.0091775 | 0.0023001
9 | 0.031245 | 0.0078307
10 | 0.010545 | 0.0026429
11 | 0.013243 | 0.003319
12 | 0.022939 | 0.005749
13 | 0.015034 | 0.0037679
14 | 0.011457 | 0.0028715
15 | 0.012286 | 0.0030793
16 | 0.01748 | 0.004381
17 | 0.0074998 | 0.0018796
18 | 0.013183 | 0.0033041
19 | 0.028661 | 0.0071832
20 | 0.010728 | 0.0026887
21 | 0.013196 | 0.0033072
22 | 0.0083746 | 0.0020989
23 | 0.0050893 | 0.0012755
24 | 0.014809 | 0.0037114
25 | 0.011036 | 0.0027658
26 | 0.004184 | 0.0010486
27 | 0.0070614 | 0.0017698
28 | 0.0040394 | 0.0010124
29 | 0.0053827 | 0.001349
30 | 0.0022486 | 0.00056355
31 | 0.0056188 | 0.0014082
32 | 0.0069082 | 0.0017314
33 | 0.019877 | 0.0049816
34 | 0.003582 | 0.00089775
35 | 0.0045777 | 0.0011473
36 | 0.015203 | 0.0038102
37 | 0.0078227 | 0.0019606
38 | 0.01605 | 0.0040225
39 | 0.020305 | 0.0050889
40 | 0.0080239 | 0.002011
41 | 0.0049256 | 0.0012345
42 | 0.0044132 | 0.001106
43 | 0.0094829 | 0.0023766
44 | 0.0047223 | 0.0011835
45 | 0.0047337 | 0.0011864
46 | 0.002353 | 0.00058973
47 | 0.0029807 | 0.00074703
48 | 0.0049119 | 0.001231
49 | 0.0034468 | 0.00086384
50 | 0.0035917 | 0.00090016

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1