## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-908_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-908_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-908_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-908_0_6_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_261-908_0_6_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_261-908_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_261-908_0_6_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_261-908_0_6_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_261-908_0_6_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_261-908_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_261-908_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_261-908_0_6_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_261-908_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_261-908_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_261-908_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_261-908_0_6_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_261-908_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_261-908_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_261-908_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-908_0_6_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-908_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-908_0_6_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_261-908_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_261-908_0_6_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_261-908_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_261-908_0_6_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_261-908_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_261-908_0_6_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_261-908_0_6_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_261-908_0_6_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_261-908_0_6_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_261-908_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_261-908_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-908_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_261-908_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_261-908_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_261-908_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_261-908_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_261-908_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_261-908_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_MV_553_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-908_0_6_load_0 | 0 | 0.0086798 | 0.0021754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-908_0_6_load_30 | 3 | 0.0024949 | 0.00062528 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-908_0_6_load_29 | 4 | 0.0063954 | 0.0016029 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-908_0_6_load_46 | 8 | 0.058902 | 0.014762 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-908_0_6_load_31 | 11 | 0.088423 | 0.022161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-908_0_6_load_34 | 13 | 0.0010907 | 0.00027336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-908_0_6_load_28 | 15 | 0.031007 | 0.007771 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-908_0_6_load_27 | 16 | 0.041455 | 0.01039 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-908_0_6_load_41 | 19 | 0.048117 | 0.012059 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-908_0_6_load_44 | 21 | 0.013495 | 0.003382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-908_0_6_load_47 | 23 | 0.025581 | 0.0064111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-908_0_6_load_37 | 24 | 0.045909 | 0.011506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-908_0_6_load_35 | 25 | 0.044277 | 0.011097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-908_0_6_load_42 | 27 | 0.010544 | 0.0026427 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-908_0_6_load_40 | 28 | 0.010239 | 0.0025662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-908_0_6_load_33 | 29 | 0.00099445 | 0.00024923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-908_0_6_load_32 | 30 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-908_0_6_load_22 | 33 | 0.031964 | 0.0080109 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-908_0_6_load_45 | 34 | 0.013929 | 0.0034909 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-908_0_6_load_25 | 35 | 0.0022869 | 0.00057316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-908_0_6_load_36 | 36 | 0.040914 | 0.010254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-908_0_6_load_39 | 37 | 0.02618 | 0.0065612 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-908_0_6_load_38 | 38 | 0.027261 | 0.0068323 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-908_0_6_load_43 | 39 | 0.010574 | 0.0026501 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-908_0_6_line_0 |  | 0 | 1 | 0.023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-908_0_6_line_1 |  | 1 | 2 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-908_0_6_line_2 |  | 2 | 3 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-908_0_6_line_3 |  | 2 | 4 | 0.043708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-908_0_6_line_4 |  | 3 | 20 | 0.044548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-908_0_6_line_5 |  | 5 | 6 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-908_0_6_line_6 |  | 5 | 7 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-908_0_6_line_7 |  | 5 | 8 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-908_0_6_line_8 |  | 6 | 24 | 0.0091768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-908_0_6_line_9 |  | 6 | 25 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-908_0_6_line_10 |  | 6 | 20 | 0.0269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-908_0_6_line_11 |  | 7 | 35 | 0.0070104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-908_0_6_line_12 |  | 7 | 12 | 0.004705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-908_0_6_line_13 |  | 8 | 34 | 0.019397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-908_0_6_line_14 |  | 9 | 10 | 0.005565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-908_0_6_line_15 |  | 9 | 11 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-908_0_6_line_16 |  | 10 | 19 | 0.031149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-908_0_6_line_17 |  | 10 | 17 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-908_0_6_line_18 |  | 12 | 13 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-908_0_6_line_19 |  | 13 | 30 | 0.034943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-908_0_6_line_20 |  | 14 | 15 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_261-908_0_6_line_21 |  | 14 | 16 | 0.01131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-908_0_6_line_22 |  | 15 | 37 | 0.006919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-908_0_6_line_23 |  | 16 | 17 | 0.013163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-908_0_6_line_24 |  | 17 | 18 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-908_0_6_line_25 |  | 18 | 22 | 0.04618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-908_0_6_line_26 |  | 19 | 28 | 0.018524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-908_0_6_line_27 |  | 20 | 21 | 0.02429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-908_0_6_line_28 |  | 22 | 23 | 0.005077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-908_0_6_line_29 |  | 24 | 38 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-908_0_6_line_30 |  | 25 | 32 | 0.0088485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-908_0_6_line_31 |  | 26 | 27 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-908_0_6_line_32 |  | 26 | 28 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-908_0_6_line_33 |  | 27 | 39 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-908_0_6_line_34 |  | 29 | 30 | 0.02773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-908_0_6_line_35 |  | 31 | 32 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-908_0_6_line_36 |  | 31 | 33 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-908_0_6_line_37 |  | 32 | 36 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-908_0_6_line_38 |  | 37 | 38 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-908_0_6_trafo_28 | 0.63 MVA 20/0.4 kV | 40 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684122.1936 | 1246677.5474 | 2684121.2418 | 1246676.4775 | 2684119.2223 | 1246676.1153 | 2684117.1567 | 1246676.8754 | 2684100.9892 | 1246683.0736
1 | 2684122.1936 | 1246677.5474 | 2684128.8919 | 1246674.0064 | 2684136.7755 | 1246669.9931
2 | 2684136.7755 | 1246669.9931 | 2684139.0103 | 1246666.8892 | 2684154.5918 | 1246659.6862
3 | 2684136.7755 | 1246669.9931 | 2684136.1239 | 1246673.3196 | 2684136.4614 | 1246676.6824 | 2684137.6146 | 1246681.1243 | 2684140.0343 | 1246685.762 | 2684154.0687 | 1246708.9662
4 | 2684195.2724 | 1246643.2813 | 2684192.9064 | 1246643.3811 | 2684191.1329 | 1246642.7221 | 2684187.8999 | 1246644.2885 | 2684154.5918 | 1246659.6862
5 | 2684200.1355 | 1246619.4995 | 2684200.682 | 1246620.3857 | 2684202.9335 | 1246624.087 | 2684204.2928 | 1246626.2523 | 2684204.8616 | 1246627.1611 | 2684206.4477 | 1246629.8522 | 2684208.3598 | 1246632.9817 | 2684208.9431 | 1246633.9351 | 2684217.1491 | 1246628.5032
6 | 2684200.1355 | 1246619.4995 | 2684197.5545 | 1246620.3746 | 2684195.2237 | 1246620.6528 | 2684192.1359 | 1246620.5089 | 2684189.2253 | 1246619.5891
7 | 2684200.1355 | 1246619.4995 | 2684214.3178 | 1246610.4359
8 | 2684217.1491 | 1246628.5032 | 2684218.7993 | 1246631.4621 | 2684222.0819 | 1246636.2302
9 | 2684217.1491 | 1246628.5032 | 2684228.7691 | 1246621.8693
10 | 2684195.2724 | 1246643.2813 | 2684198.8046 | 1246641.3967 | 2684203.0742 | 1246639.1779 | 2684204.6746 | 1246637.6662 | 2684205.2052 | 1246635.9502 | 2684208.9431 | 1246633.9351 | 2684217.1491 | 1246628.5032
11 | 2684189.2253 | 1246619.5891 | 2684186.497 | 1246617.004 | 2684184.5216 | 1246614.4208
12 | 2684185.5496 | 1246622.5391 | 2684189.2253 | 1246619.5891
13 | 2684230.305 | 1246599.4812 | 2684224.5091 | 1246603.9229 | 2684214.3178 | 1246610.4359
14 | 2684256.6289 | 1246673.7305 | 2684254.6662 | 1246678.9398
15 | 2684256.6289 | 1246673.7305 | 2684274.039 | 1246679.9584
16 | 2684254.6662 | 1246678.9398 | 2684274.7311 | 1246684.7958 | 2684271.7051 | 1246694.5863
17 | 2684242.8416 | 1246684.3759 | 2684243.9312 | 1246684.7805 | 2684246.9824 | 1246685.9025 | 2684250.4167 | 1246687.1855 | 2684251.4237 | 1246687.5557 | 2684254.6662 | 1246678.9398
18 | 2684185.5496 | 1246622.5391 | 2684180.9264 | 1246626.2429 | 2684180.8229 | 1246628.2095 | 2684180.2633 | 1246629.8472 | 2684178.8381 | 1246631.2614 | 2684174.5799 | 1246633.7361 | 2684173.3536 | 1246634.3964
19 | 2684142.0212 | 1246649.8113 | 2684157.7402 | 1246642.8038 | 2684173.3536 | 1246634.3964
20 | 2684251.3343 | 1246661.424 | 2684246.6978 | 1246659.6902 | 2684241.388 | 1246657.7152
21 | 2684251.3343 | 1246661.424 | 2684247.4094 | 1246672.0313
22 | 2684235.071 | 1246654.9216 | 2684238.2435 | 1246656.5456 | 2684241.388 | 1246657.7152
23 | 2684242.8416 | 1246684.3759 | 2684247.4094 | 1246672.0313
24 | 2684227.7422 | 1246689.5319 | 2684234.6164 | 1246699.1366 | 2684235.4856 | 1246696.4469 | 2684236.9398 | 1246691.9309 | 2684238.3942 | 1246687.4038 | 2684238.7578 | 1246686.2748 | 2684240.6168 | 1246686.2345 | 2684241.7125 | 1246685.683 | 2684242.8416 | 1246684.3759
25 | 2684206.7573 | 1246728.7628 | 2684213.4278 | 1246706.9748 | 2684215.6381 | 1246699.7564 | 2684227.7422 | 1246689.5319
26 | 2684266.2352 | 1246712.2843 | 2684271.7051 | 1246694.5863
27 | 2684195.2724 | 1246643.2813 | 2684209.198 | 1246663.1827
28 | 2684206.7573 | 1246728.7628 | 2684211.6001 | 1246730.3327
29 | 2684222.0819 | 1246636.2302 | 2684225.4092 | 1246641.0631 | 2684228.8453 | 1246645.9918
30 | 2684236.4714 | 1246617.5139 | 2684232.6181 | 1246619.6719 | 2684228.7691 | 1246621.8693
31 | 2684262.2114 | 1246725.3034 | 2684257.6599 | 1246739.9263
32 | 2684262.2114 | 1246725.3034 | 2684266.2352 | 1246712.2843
33 | 2684251.9528 | 1246758.2622 | 2684257.6599 | 1246739.9263
34 | 2684142.0212 | 1246649.8113 | 2684135.1145 | 1246652.8903 | 2684129.6734 | 1246656.2044 | 2684124.9474 | 1246660.2404 | 2684120.6269 | 1246662.8477 | 2684118.2327 | 1246663.6844
35 | 2684248.1482 | 1246610.797 | 2684236.4714 | 1246617.5139
36 | 2684248.1482 | 1246610.797 | 2684259.1662 | 1246604.4651
37 | 2684236.4714 | 1246617.5139 | 2684238.5054 | 1246618.9883 | 2684253.5568 | 1246630.508
38 | 2684228.8453 | 1246645.9918 | 2684235.071 | 1246654.9216 | 2684235.071 | 1246654.9216

## bus_geodata
| x | y | coords
0 | 2684100.9892 | 1246683.0736
1 | 2684122.1936 | 1246677.5474
2 | 2684136.7755 | 1246669.9931
3 | 2684154.5918 | 1246659.6862
4 | 2684154.0687 | 1246708.9662
5 | 2684200.1355 | 1246619.4995
6 | 2684217.1491 | 1246628.5032
7 | 2684189.2253 | 1246619.5891
8 | 2684214.3178 | 1246610.4359
9 | 2684256.6289 | 1246673.7305
10 | 2684254.6662 | 1246678.9398
11 | 2684274.039 | 1246679.9584
12 | 2684185.5496 | 1246622.5391
13 | 2684173.3536 | 1246634.3964
14 | 2684251.3343 | 1246661.424
15 | 2684241.388 | 1246657.7152
16 | 2684247.4094 | 1246672.0313
17 | 2684242.8416 | 1246684.3759
18 | 2684227.7422 | 1246689.5319
19 | 2684271.7051 | 1246694.5863
20 | 2684195.2724 | 1246643.2813
21 | 2684209.198 | 1246663.1827
22 | 2684206.7573 | 1246728.7628
23 | 2684211.6001 | 1246730.3327
24 | 2684222.0819 | 1246636.2302
25 | 2684228.7691 | 1246621.8693
26 | 2684262.2114 | 1246725.3034
27 | 2684257.6599 | 1246739.9263
28 | 2684266.2352 | 1246712.2843
29 | 2684118.2327 | 1246663.6844
30 | 2684142.0212 | 1246649.8113
31 | 2684248.1482 | 1246610.797
32 | 2684236.4714 | 1246617.5139
33 | 2684259.1662 | 1246604.4651
34 | 2684230.305 | 1246599.4812
35 | 2684184.5216 | 1246614.4208
36 | 2684253.5568 | 1246630.508
37 | 2684235.071 | 1246654.9216
38 | 2684228.8453 | 1246645.9918
39 | 2684251.9528 | 1246758.2622
40 | 2684251.3343 | 1246661.424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99426 | -0.11034 | 0.0086798 | 0.0021754
1 | 0.99444 | -0.10682 | 0 | 0
2 | 0.99457 | -0.10431 | 0 | 0
3 | 0.99486 | -0.098734 | 0.0024949 | 0.00062528
4 | 0.99432 | -0.10924 | 0.0063954 | 0.0016029
5 | 0.99432 | -0.10907 | 0 | 0
6 | 0.99634 | -0.07027 | 0 | 0
7 | 0.99423 | -0.11097 | 0 | 0
8 | 0.9932 | -0.13071 | 0.058902 | 0.014762
9 | 0.99581 | -0.0805 | 0 | 0
10 | 0.99625 | -0.071855 | 0 | 0
11 | 0.99431 | -0.10928 | 0.088423 | 0.022161
12 | 0.99419 | -0.11158 | 0 | 0
13 | 0.99407 | -0.11389 | 0.0010907 | 0.00027336
14 | 0.99924 | -0.014501 | 0 | 0
15 | 1 | 0 | -0.56916 | -0.14322
16 | 0.99843 | -0.029975 | 0.041455 | 0.01039
17 | 0.99766 | -0.044829 | 0 | 0
18 | 0.99696 | -0.058339 | 0 | 0
19 | 0.994 | -0.11543 | 0.048117 | 0.012059
20 | 0.99558 | -0.084957 | 0 | 0
21 | 0.99528 | -0.090723 | 0.013495 | 0.003382
22 | 0.99588 | -0.079078 | 0 | 0
23 | 0.99576 | -0.081361 | 0.025581 | 0.0064111
24 | 0.9973 | -0.051705 | 0.045909 | 0.011506
25 | 0.99491 | -0.097834 | 0.044277 | 0.011097
26 | 0.9932 | -0.13076 | 0 | 0
27 | 0.99291 | -0.13648 | 0.010544 | 0.0026427
28 | 0.99346 | -0.12568 | 0.010239 | 0.0025662
29 | 0.99385 | -0.11822 | 0.00099445 | 0.00024923
30 | 0.99388 | -0.11773 | 0.0052344 | 0.0013119
31 | 0.99393 | -0.11677 | 0 | 0
32 | 0.99432 | -0.1092 | 0 | 0
33 | 0.99356 | -0.12394 | 0.031964 | 0.0080109
34 | 0.99296 | -0.13548 | 0.013929 | 0.0034909
35 | 0.99421 | -0.11125 | 0.0022869 | 0.00057316
36 | 0.99352 | -0.12469 | 0.040914 | 0.010254
37 | 0.99931 | -0.013276 | 0.02618 | 0.0065612
38 | 0.9983 | -0.032538 | 0.027261 | 0.0068323
39 | 0.99272 | -0.14007 | 0.010574 | 0.0026501
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0086798 | -0.0021754 | 0.0086812 | 0.002176 | 1.4554e-06 | 6.3311e-07 | 0.01299 | 0.01299 | 0.01299 | 0.99426 | -0.11034 | 0.99444 | -0.10682 | 3.5687
1 | -0.0086812 | -0.002176 | 0.0086823 | 0.0021764 | 1.0392e-06 | 4.52e-07 | 0.01299 | 0.01299 | 0.01299 | 0.99444 | -0.10682 | 0.99457 | -0.10431 | 3.5687
2 | -0.015079 | -0.0037797 | 0.015083 | 0.003782 | 4.0065e-06 | 2.2916e-06 | 0.022561 | 0.022561 | 0.022561 | 0.99457 | -0.10431 | 0.99486 | -0.098734 | 6.198
3 | 0.0063969 | 0.0016032 | -0.0063954 | -0.0016029 | 1.5014e-06 | 3.9381e-07 | 0.0095707 | 0.0095709 | 0.0095709 | 0.99457 | -0.10431 | 0.99432 | -0.10924 | 2.6294
4 | -0.017578 | -0.0044073 | 0.01759 | 0.0044141 | 1.1548e-05 | 6.8119e-06 | 0.026292 | 0.026292 | 0.026292 | 0.99486 | -0.098734 | 0.99558 | -0.084957 | 7.2231
5 | -0.082519 | -0.020711 | 0.082672 | 0.020809 | 0.00015301 | 9.758e-05 | 0.1235 | 0.1235 | 0.1235 | 0.99432 | -0.10907 | 0.99634 | -0.07027 | 33.9288
6 | 0.0096096 | 0.0024082 | -0.0096087 | -0.0024078 | 8.6743e-07 | 4.1009e-07 | 0.014381 | 0.014381 | 0.014381 | 0.99432 | -0.10907 | 0.99423 | -0.11097 | 3.9508
7 | 0.072909 | 0.018303 | -0.072834 | -0.018255 | 7.5154e-05 | 4.7881e-05 | 0.10912 | 0.10912 | 0.10912 | 0.99432 | -0.10907 | 0.9932 | -0.13071 | 29.978
8 | -0.23118 | -0.058139 | 0.23139 | 0.05827 | 0.0002052 | 0.00013109 | 0.34534 | 0.34534 | 0.34534 | 0.99634 | -0.07027 | 0.9973 | -0.051705 | 47.4367
9 | 0.1174 | 0.029519 | -0.11725 | -0.02942 | 0.00015432 | 9.8589e-05 | 0.17537 | 0.17537 | 0.17537 | 0.99634 | -0.07027 | 0.99491 | -0.097834 | 48.179
10 | 0.03111 | 0.0078118 | -0.031088 | -0.0077982 | 2.1781e-05 | 1.359e-05 | 0.046467 | 0.046467 | 0.046467 | 0.99634 | -0.07027 | 0.99558 | -0.084957 | 12.7657
11 | 0.002287 | 0.00057308 | -0.0022869 | -0.00057316 | 3.0799e-08 | -7.12e-08 | 0.0034228 | 0.0034228 | 0.0034228 | 0.99423 | -0.11097 | 0.99421 | -0.11125 | 0.94033
12 | 0.0073218 | 0.0018347 | -0.0073215 | -0.0018347 | 2.1187e-07 | 7.458e-08 | 0.010958 | 0.010958 | 0.010958 | 0.99423 | -0.11097 | 0.99419 | -0.11158 | 3.0105
13 | 0.013932 | 0.0034927 | -0.013929 | -0.0034909 | 3.1692e-06 | 1.7773e-06 | 0.020873 | 0.020873 | 0.020873 | 0.9932 | -0.13071 | 0.99296 | -0.13548 | 5.7344
14 | -0.088544 | -0.022238 | 0.088581 | 0.022262 | 3.6542e-05 | 2.3314e-05 | 0.13233 | 0.13233 | 0.13233 | 0.99581 | -0.0805 | 0.99625 | -0.071855 | 36.3534
15 | 0.088544 | 0.022238 | -0.088423 | -0.022161 | 0.00012142 | 7.7466e-05 | 0.13233 | 0.13233 | 0.13233 | 0.99581 | -0.0805 | 0.99431 | -0.10928 | 36.3534
16 | 0.079668 | 0.020041 | -0.079503 | -0.019935 | 0.00016547 | 0.00010549 | 0.11902 | 0.11902 | 0.11902 | 0.99625 | -0.071855 | 0.994 | -0.11543 | 32.6976
17 | -0.16825 | -0.042302 | 0.16847 | 0.042441 | 0.00021746 | 0.00013869 | 0.25135 | 0.25135 | 0.25135 | 0.99625 | -0.071855 | 0.99766 | -0.044829 | 34.5255
18 | 0.0073215 | 0.0018347 | -0.0073207 | -0.0018344 | 8.0827e-07 | 2.8456e-07 | 0.010958 | 0.010958 | 0.010958 | 0.99419 | -0.11158 | 0.99407 | -0.11389 | 3.0105
19 | 0.00623 | 0.001561 | -0.0062289 | -0.0015608 | 1.1396e-06 | 2.7641e-07 | 0.0093255 | 0.0093256 | 0.0093256 | 0.99407 | -0.11389 | 0.99388 | -0.11773 | 2.562
20 | -0.23586 | -0.059468 | 0.23602 | 0.059573 | 0.00016381 | 0.00010442 | 0.35135 | 0.35135 | 0.35135 | 0.99924 | -0.014501 | 1 | 0 | 32.1752
21 | 0.23586 | 0.059468 | -0.23568 | -0.059357 | 0.00017453 | 0.00011125 | 0.35135 | 0.35135 | 0.35135 | 0.99924 | -0.014501 | 0.99843 | -0.029975 | 32.1752
22 | 0.33148 | 0.083646 | -0.33127 | -0.083511 | 0.00021059 | 0.00013451 | 0.49345 | 0.49345 | 0.49345 | 1 | 0 | 0.99931 | -0.013276 | 45.188
23 | 0.19423 | 0.048967 | -0.19409 | -0.04888 | 0.00013796 | 8.778e-05 | 0.28957 | 0.28957 | 0.28957 | 0.99843 | -0.029975 | 0.99766 | -0.044829 | 26.5175
24 | 0.025625 | 0.0064386 | -0.025609 | -0.0064285 | 1.6514e-05 | 1.0176e-05 | 0.038226 | 0.038226 | 0.038226 | 0.99766 | -0.044829 | 0.99696 | -0.058339 | 10.5017
25 | 0.025609 | 0.0064285 | -0.025584 | -0.0064129 | 2.5305e-05 | 1.5594e-05 | 0.038226 | 0.038227 | 0.038227 | 0.99696 | -0.058339 | 0.99588 | -0.079078 | 10.5018
26 | 0.031386 | 0.0078761 | -0.03137 | -0.0078665 | 1.5337e-05 | 9.5758e-06 | 0.046988 | 0.046988 | 0.046988 | 0.994 | -0.11543 | 0.99346 | -0.12568 | 12.9089
27 | 0.013498 | 0.0033841 | -0.013495 | -0.003382 | 3.7076e-06 | 2.0571e-06 | 0.020175 | 0.020175 | 0.020175 | 0.99558 | -0.084957 | 0.99528 | -0.090723 | 5.5427
28 | 0.025584 | 0.0064129 | -0.025581 | -0.0064111 | 2.7821e-06 | 1.7145e-06 | 0.038227 | 0.038227 | 0.038227 | 0.99588 | -0.079078 | 0.99576 | -0.081361 | 10.5018
29 | -0.2773 | -0.069776 | 0.27755 | 0.069938 | 0.00025423 | 0.00016224 | 0.41384 | 0.41384 | 0.41384 | 0.9973 | -0.051705 | 0.9983 | -0.032538 | 37.8971
30 | 0.07297 | 0.018323 | -0.072931 | -0.018298 | 3.9532e-05 | 2.5185e-05 | 0.10915 | 0.10915 | 0.10915 | 0.99491 | -0.097834 | 0.99432 | -0.1092 | 29.9861
31 | 0.021126 | 0.0052972 | -0.02112 | -0.0052937 | 5.7537e-06 | 3.4842e-06 | 0.031652 | 0.031652 | 0.031652 | 0.9932 | -0.13076 | 0.99291 | -0.13648 | 8.6956
32 | -0.021126 | -0.0052972 | 0.021131 | 0.0053003 | 5.1194e-06 | 3.1e-06 | 0.031652 | 0.031652 | 0.031652 | 0.9932 | -0.13076 | 0.99346 | -0.12568 | 8.6956
33 | 0.010576 | 0.002651 | -0.010574 | -0.0026501 | 1.8091e-06 | 9.0949e-07 | 0.01585 | 0.01585 | 0.01585 | 0.99291 | -0.13648 | 0.99272 | -0.14007 | 4.3543
34 | -0.00099445 | -0.00024923 | 0.00099447 | 0.00024889 | 2.3051e-08 | -3.446e-07 | 0.0014889 | 0.0014888 | 0.0014889 | 0.99385 | -0.11822 | 0.99388 | -0.11773 | 0.40904
35 | -0.031975 | -0.0080177 | 0.031986 | 0.0080249 | 1.1552e-05 | 7.2187e-06 | 0.047871 | 0.047871 | 0.047871 | 0.99393 | -0.11677 | 0.99432 | -0.1092 | 13.1514
36 | 0.031975 | 0.0080177 | -0.031964 | -0.0080109 | 1.0921e-05 | 6.8246e-06 | 0.047871 | 0.047871 | 0.047871 | 0.99393 | -0.11677 | 0.99356 | -0.12394 | 13.1514
37 | 0.040945 | 0.010273 | -0.040914 | -0.010254 | 3.0227e-05 | 1.9067e-05 | 0.061279 | 0.061279 | 0.061279 | 0.99432 | -0.1092 | 0.99352 | -0.12469 | 16.8348
38 | 0.30509 | 0.07695 | -0.30481 | -0.076771 | 0.00028105 | 0.00017944 | 0.45447 | 0.45447 | 0.45447 | 0.99931 | -0.013276 | 0.9983 | -0.032538 | 41.6182

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60016 | 0.15099

## res_load
| p_mw | q_mvar
0 | 0.0086798 | 0.0021754
1 | 0.0024949 | 0.00062528
2 | 0.0063954 | 0.0016029
3 | 0.058902 | 0.014762
4 | 0.088423 | 0.022161
5 | 0.0010907 | 0.00027336
6 | 0.031007 | 0.007771
7 | 0.041455 | 0.01039
8 | 0.048117 | 0.012059
9 | 0.013495 | 0.003382
10 | 0.025581 | 0.0064111
11 | 0.045909 | 0.011506
12 | 0.044277 | 0.011097
13 | 0.010544 | 0.0026427
14 | 0.010239 | 0.0025662
15 | 0.00099445 | 0.00024923
16 | 0.0052344 | 0.0013119
17 | 0.031964 | 0.0080109
18 | 0.013929 | 0.0034909
19 | 0.0022869 | 0.00057316
20 | 0.040914 | 0.010254
21 | 0.02618 | 0.0065612
22 | 0.027261 | 0.0068323
23 | 0.010574 | 0.0026501

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1