## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-912_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-912_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-912_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_261-912_0_7_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_261-912_0_7_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_261-912_0_7_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_261-912_0_7_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_261-912_0_7_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_261-912_0_7_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_261-912_0_7_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_261-912_0_7_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_261-912_0_7_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_261-912_0_7_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_261-912_0_7_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_261-912_0_7_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_261-912_0_7_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_261-912_0_7_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_261-912_0_7_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_261-912_0_7_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_261-912_0_7_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_261-912_0_7_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_261-912_0_7_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_261-912_0_7_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_261-912_0_7_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_261-912_0_7_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_261-912_0_7_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_261-912_0_7_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_261-912_0_7_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-912_0_7_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-912_0_7_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_261-912_0_7_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_261-912_0_7_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_261-912_0_7_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_261-912_0_7_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_261-912_0_7_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_261-912_0_7_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_261-912_0_7_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_261-912_0_7_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_261-912_0_7_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_261-912_0_7_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_261-912_0_7_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_261-912_0_7_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_261-912_0_7_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_261-912_0_7_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_261-912_0_7_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_261-912_0_7_node_55 | 0.4 | n |  | TRUE
46 | bus_MV_537_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-912_0_7_load_0 | 0 | 0.036 | 0.0090225 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-912_0_7_load_53 | 5 | 0.0037541 | 0.00094086 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-912_0_7_load_31 | 8 | 0.019507 | 0.0048888 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-912_0_7_load_30 | 11 | 0.01756 | 0.0044009 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-912_0_7_load_35 | 12 | 0.015854 | 0.0039733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-912_0_7_load_33 | 13 | 0.014606 | 0.0036605 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-912_0_7_load_34 | 14 | 0.0092101 | 0.0023083 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-912_0_7_load_32 | 15 | 0.011492 | 0.0028803 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-912_0_7_load_39 | 17 | 0.012512 | 0.0031358 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-912_0_7_load_37 | 19 | 0.039312 | 0.0098526 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-912_0_7_load_38 | 22 | 0.010236 | 0.0025654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-912_0_7_load_41 | 23 | 0.012405 | 0.0031091 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-912_0_7_load_43 | 24 | 0.020416 | 0.0051168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-912_0_7_load_22 | 25 | 0.009271 | 0.0023235 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-912_0_7_load_29 | 27 | 0.047212 | 0.011832 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-912_0_7_load_26 | 28 | 0.045323 | 0.011359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-912_0_7_load_28 | 29 | 0.043483 | 0.010898 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-912_0_7_load_54 | 30 | 0.0037957 | 0.00095129 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-912_0_7_load_36 | 31 | 0.011275 | 0.0028258 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-912_0_7_load_47 | 32 | 0.012256 | 0.0030716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-912_0_7_load_46 | 33 | 0.0090701 | 0.0022732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-912_0_7_load_52 | 34 | 0.0082489 | 0.0020674 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-912_0_7_load_49 | 35 | 0.008239 | 0.0020649 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-912_0_7_load_42 | 36 | 0.017047 | 0.0042724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-912_0_7_load_40 | 37 | 0.01821 | 0.0045639 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-912_0_7_load_44 | 38 | 0.0049999 | 0.0012531 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-912_0_7_load_27 | 39 | 0.0066621 | 0.0016697 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-912_0_7_load_25 | 40 | 0.013489 | 0.0033806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-912_0_7_load_48 | 41 | 0.0082425 | 0.0020658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-912_0_7_load_51 | 42 | 0.013423 | 0.0033641 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-912_0_7_load_50 | 43 | 0.011374 | 0.0028507 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-912_0_7_load_45 | 44 | 0.0046121 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-912_0_7_load_55 | 45 | 0.0037786 | 0.00094701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-912_0_7_line_0 |  | 0 | 1 | 0.07296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-912_0_7_line_1 |  | 1 | 2 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-912_0_7_line_2 |  | 1 | 3 | 0.041193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-912_0_7_line_3 |  | 1 | 4 | 0.096922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-912_0_7_line_4 |  | 2 | 5 | 0.071112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-912_0_7_line_5 |  | 3 | 6 | 0.085351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-912_0_7_line_6 |  | 4 | 25 | 0.19978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-912_0_7_line_7 |  | 5 | 30 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-912_0_7_line_8 |  | 6 | 7 | 0.0089388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-912_0_7_line_9 |  | 6 | 8 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-912_0_7_line_10 |  | 7 | 14 | 0.031728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_261-912_0_7_line_11 |  | 7 | 15 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-912_0_7_line_12 |  | 9 | 10 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-912_0_7_line_13 |  | 9 | 11 | 0.0086133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-912_0_7_line_14 |  | 10 | 12 | 0.011626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-912_0_7_line_15 |  | 10 | 13 | 0.027542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-912_0_7_line_16 |  | 12 | 31 | 0.021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-912_0_7_line_17 |  | 13 | 15 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-912_0_7_line_18 |  | 14 | 21 | 0.029204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_261-912_0_7_line_19 |  | 16 | 17 | 0.032049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-912_0_7_line_20 |  | 16 | 18 | 0.0068462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_261-912_0_7_line_21 |  | 16 | 19 | 0.025912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_261-912_0_7_line_22 |  | 17 | 33 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-912_0_7_line_23 |  | 18 | 29 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_261-912_0_7_line_24 |  | 19 | 22 | 0.026771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-912_0_7_line_25 |  | 20 | 21 | 0.0074652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-912_0_7_line_26 |  | 20 | 22 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-912_0_7_line_27 |  | 20 | 23 | 0.0093686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-912_0_7_line_28 |  | 21 | 24 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-912_0_7_line_29 |  | 23 | 37 | 0.017729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-912_0_7_line_30 |  | 24 | 38 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-912_0_7_line_31 |  | 26 | 27 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-912_0_7_line_32 |  | 26 | 28 | 0.039066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-912_0_7_line_33 |  | 26 | 29 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-912_0_7_line_34 |  | 27 | 41 | 0.032249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-912_0_7_line_35 |  | 28 | 40 | 0.030745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-912_0_7_line_36 |  | 30 | 45 | 0.0097703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-912_0_7_line_37 |  | 32 | 33 | 0.0091392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-912_0_7_line_38 |  | 34 | 35 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-912_0_7_line_39 |  | 35 | 41 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-912_0_7_line_40 |  | 36 | 37 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-912_0_7_line_41 |  | 38 | 44 | 0.0091633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-912_0_7_line_42 |  | 39 | 40 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-912_0_7_line_43 |  | 42 | 43 | 0.0085732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-912_0_7_line_44 |  | 43 | 44 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-912_0_7_trafo_16 | 0.63 MVA 20/0.4 kV | 46 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2683113.2937 | 1248670.9038 | 2683108.0606 | 1248677.8689 | 2683093.1619 | 1248697.697 | 2683079.2018 | 1248721.1409 | 2683072.265 | 1248731.1289
1 | 2683105.3965 | 1248662.6648 | 2683103.5526 | 1248661.1378 | 2683101.2898 | 1248663.6301 | 2683103.1376 | 1248661.6546 | 2683113.2937 | 1248670.9038
2 | 2683113.2937 | 1248670.9038 | 2683118.411 | 1248677.0356 | 2683120.9979 | 1248679.4292 | 2683136.7668 | 1248689.6356 | 2683138.0378 | 1248691.0878 | 2683133.7733 | 1248696.8434 | 2683133.2882 | 1248698.5823
3 | 2683113.2937 | 1248670.9038 | 2683118.411 | 1248677.0356 | 2683120.6852 | 1248675.344 | 2683121.2488 | 1248675.0072 | 2683122.1367 | 1248674.6972 | 2683123.4358 | 1248675.2269 | 2683123.748 | 1248676.1208 | 2683123.5521 | 1248677.1633 | 2683122.7327 | 1248677.9746 | 2683121.5573 | 1248677.7802 | 2683120.5641 | 1248676.9768 | 2683120.4247 | 1248675.6072 | 2683120.7759 | 1248673.7218 | 2683123.0028 | 1248670.5618 | 2683137.1136 | 1248657.3833 | 2683149.6037 | 1248647.7624 | 2683170.005 | 1248634.0828 | 2683174.0423 | 1248633.2277 | 2683169.7466 | 1248628.286
4 | 2683105.3965 | 1248662.6648 | 2683089.9552 | 1248679.7165 | 2683068.432 | 1248712.0388 | 2683064.5965 | 1248720.4839
5 | 2683133.2882 | 1248698.5823 | 2683137.2599 | 1248697.0146 | 2683142.1081 | 1248697.027 | 2683145.6201 | 1248702.3802 | 2683143.0503 | 1248703.6118 | 2683139.8731 | 1248706.1469 | 2683136.9875 | 1248709.4311 | 2683121.6166 | 1248735.4571 | 2683117.3296 | 1248738.5103 | 2683105.565 | 1248758.3379
6 | 2683169.7466 | 1248628.286 | 2683154.9208 | 1248638.5857 | 2683128.8481 | 1248658.1791 | 2683116.2027 | 1248670.2552 | 2683099.9196 | 1248689.708 | 2683088.3217 | 1248706.8025 | 2683077.1999 | 1248722.803 | 2683044.5355 | 1248755.2916 | 2683029.707 | 1248768.7738
7 | 2683064.5965 | 1248720.4839 | 2683063.9357 | 1248721.9387 | 2683055.8538 | 1248729.772
8 | 2683101.0016 | 1248766.024 | 2683103.3142 | 1248762.1313 | 2683105.565 | 1248758.3379
9 | 2683105.565 | 1248758.3379 | 2683106.0997 | 1248759.524 | 2683117.2104 | 1248766.1508
10 | 2683101.0016 | 1248766.024 | 2683084.8032 | 1248793.305
11 | 2683101.0016 | 1248766.024 | 2683103.2436 | 1248766.0888 | 2683110.9383 | 1248770.6037
12 | 2683154.6702 | 1248793.6525 | 2683154.7437 | 1248788.4163 | 2683154.8289 | 1248781.8126
13 | 2683154.8289 | 1248781.8126 | 2683155.4815 | 1248776.2065 | 2683156.0781 | 1248773.2977
14 | 2683154.6702 | 1248793.6525 | 2683154.234 | 1248802.6752 | 2683153.9565 | 1248805.2529
15 | 2683154.6702 | 1248793.6525 | 2683151.8725 | 1248792.29 | 2683138.7922 | 1248786.9471 | 2683129.9081 | 1248781.7343
16 | 2683153.9565 | 1248805.2529 | 2683151.6851 | 1248826.3493
17 | 2683110.9383 | 1248770.6037 | 2683129.9081 | 1248781.7343
18 | 2683069.8933 | 1248818.4158 | 2683084.8032 | 1248793.305
19 | 2683030.6791 | 1248884.5265 | 2683061.3254 | 1248893.9052
20 | 2683024.1295 | 1248882.5333 | 2683027.724 | 1248883.6178 | 2683030.6791 | 1248884.5265
21 | 2683030.6791 | 1248884.5265 | 2683043.8968 | 1248862.2392
22 | 2683061.3254 | 1248893.9052 | 2683071.0784 | 1248896.8899
23 | 2683024.1295 | 1248882.5333 | 2683034.3691 | 1248865.1124
24 | 2683057.5528 | 1248839.2126 | 2683043.8968 | 1248862.2392
25 | 2683066.0803 | 1248824.8338 | 2683068.0526 | 1248821.5145 | 2683069.8933 | 1248818.4158
26 | 2683066.0803 | 1248824.8338 | 2683057.5528 | 1248839.2126
27 | 2683066.0803 | 1248824.8338 | 2683074.1498 | 1248829.5932
28 | 2683069.8933 | 1248818.4158 | 2683079.451 | 1248824.0972
29 | 2683089.4207 | 1248838.6001 | 2683074.1498 | 1248829.5932
30 | 2683079.451 | 1248824.0972 | 2683094.3101 | 1248832.9301
31 | 2683045.3654 | 1248846.404 | 2683054.9318 | 1248830.4268
32 | 2683045.3654 | 1248846.404 | 2683013.0886 | 1248828.1163 | 2683011.2658 | 1248827.3741
33 | 2683045.3654 | 1248846.404 | 2683034.3691 | 1248865.1124
34 | 2683054.9318 | 1248830.4268 | 2683071.4983 | 1248802.7583
35 | 2682985.7256 | 1248837.661 | 2682998.9641 | 1248825.6056 | 2683005.084 | 1248824.8573 | 2683011.2658 | 1248827.3741
36 | 2683055.8538 | 1248729.772 | 2683048.838 | 1248736.5718
37 | 2683071.0784 | 1248896.8899 | 2683079.8175 | 1248899.5644
38 | 2683083.5113 | 1248782.6947 | 2683077.5045 | 1248792.7269
39 | 2683077.5045 | 1248792.7269 | 2683071.4983 | 1248802.7583
40 | 2683089.4207 | 1248838.6001 | 2683103.4312 | 1248846.8636
41 | 2683094.3101 | 1248832.9301 | 2683102.1869 | 1248837.6123
42 | 2682976.9461 | 1248845.6559 | 2682985.7256 | 1248837.661
43 | 2683112.6923 | 1248843.8572 | 2683120.0617 | 1248848.2379
44 | 2683112.6923 | 1248843.8572 | 2683102.1869 | 1248837.6123

## bus_geodata
| x | y | coords
0 | 2683072.265 | 1248731.1289
1 | 2683113.2937 | 1248670.9038
2 | 2683105.3965 | 1248662.6648
3 | 2683133.2882 | 1248698.5823
4 | 2683169.7466 | 1248628.286
5 | 2683064.5965 | 1248720.4839
6 | 2683105.565 | 1248758.3379
7 | 2683101.0016 | 1248766.024
8 | 2683117.2104 | 1248766.1508
9 | 2683154.8289 | 1248781.8126
10 | 2683154.6702 | 1248793.6525
11 | 2683156.0781 | 1248773.2977
12 | 2683153.9565 | 1248805.2529
13 | 2683129.9081 | 1248781.7343
14 | 2683084.8032 | 1248793.305
15 | 2683110.9383 | 1248770.6037
16 | 2683030.6791 | 1248884.5265
17 | 2683061.3254 | 1248893.9052
18 | 2683024.1295 | 1248882.5333
19 | 2683043.8968 | 1248862.2392
20 | 2683066.0803 | 1248824.8338
21 | 2683069.8933 | 1248818.4158
22 | 2683057.5528 | 1248839.2126
23 | 2683074.1498 | 1248829.5932
24 | 2683079.451 | 1248824.0972
25 | 2683029.707 | 1248768.7738
26 | 2683045.3654 | 1248846.404
27 | 2683054.9318 | 1248830.4268
28 | 2683011.2658 | 1248827.3741
29 | 2683034.3691 | 1248865.1124
30 | 2683055.8538 | 1248729.772
31 | 2683151.6851 | 1248826.3493
32 | 2683079.8175 | 1248899.5644
33 | 2683071.0784 | 1248896.8899
34 | 2683083.5113 | 1248782.6947
35 | 2683077.5045 | 1248792.7269
36 | 2683103.4312 | 1248846.8636
37 | 2683089.4207 | 1248838.6001
38 | 2683094.3101 | 1248832.9301
39 | 2682976.9461 | 1248845.6559
40 | 2682985.7256 | 1248837.661
41 | 2683071.4983 | 1248802.7583
42 | 2683120.0617 | 1248848.2379
43 | 2683112.6923 | 1248843.8572
44 | 2683102.1869 | 1248837.6123
45 | 2683048.838 | 1248736.5718
46 | 2683068.0526 | 1248821.5145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98686 | -0.25295 | 0.036 | 0.0090225
1 | 0.98927 | -0.20606 | 0 | 0
2 | 0.98904 | -0.21054 | 0 | 0
3 | 0.99141 | -0.16461 | 0 | 0
4 | 0.98845 | -0.22209 | 0 | 0
5 | 0.9883 | -0.22491 | 0.0037541 | 0.00094086
6 | 0.99585 | -0.079302 | 0 | 0
7 | 0.99648 | -0.06735 | 0 | 0
8 | 0.9956 | -0.084184 | 0.019507 | 0.0048888
9 | 0.99325 | -0.12957 | 0 | 0
10 | 0.99344 | -0.1259 | 0 | 0
11 | 0.99311 | -0.13224 | 0.01756 | 0.0044009
12 | 0.99315 | -0.13147 | 0.015854 | 0.0039733
13 | 0.99457 | -0.10419 | 0.014606 | 0.0036605
14 | 0.99861 | -0.026527 | 0.0092101 | 0.0023083
15 | 0.99576 | -0.081233 | 0.011492 | 0.0028803
16 | 0.99331 | -0.12807 | 0 | 0
17 | 0.99231 | -0.14724 | 0.012512 | 0.0031358
18 | 0.99274 | -0.13901 | 0 | 0
19 | 0.99586 | -0.079043 | 0.039312 | 0.0098526
20 | 0.99929 | -0.01354 | 0 | 0
21 | 1 | 0 | -0.52835 | -0.13347
22 | 0.99794 | -0.039281 | 0.010236 | 0.0025654
23 | 0.99888 | -0.021337 | 0.012405 | 0.0031091
24 | 0.99945 | -0.010631 | 0.020416 | 0.0051168
25 | 0.98675 | -0.2552 | 0.009271 | 0.0023235
26 | 0.98832 | -0.22446 | 0 | 0
27 | 0.98708 | -0.2484 | 0.047212 | 0.011832
28 | 0.98596 | -0.27021 | 0.045323 | 0.011359
29 | 0.99106 | -0.17139 | 0.043483 | 0.010898
30 | 0.98821 | -0.22664 | 0.0037957 | 0.00095129
31 | 0.99294 | -0.1357 | 0.011275 | 0.0028258
32 | 0.99201 | -0.15308 | 0.012256 | 0.0030716
33 | 0.99212 | -0.15109 | 0.0090701 | 0.0022732
34 | 0.98609 | -0.26786 | 0.0082489 | 0.0020674
35 | 0.98617 | -0.26613 | 0.008239 | 0.0020649
36 | 0.99806 | -0.037113 | 0.017047 | 0.0042724
37 | 0.99832 | -0.032263 | 0.01821 | 0.0045639
38 | 0.99891 | -0.021016 | 0.0049999 | 0.0012531
39 | 0.98532 | -0.28274 | 0.0066621 | 0.0016697
40 | 0.98539 | -0.28132 | 0.013489 | 0.0033806
41 | 0.98635 | -0.26267 | 0.0082425 | 0.0020658
42 | 0.99828 | -0.033034 | 0.013423 | 0.0033641
43 | 0.99839 | -0.031022 | 0.011374 | 0.0028507
44 | 0.99866 | -0.025724 | 0.0046121 | 0.0011559
45 | 0.98818 | -0.2273 | 0.0037786 | 0.00094701
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036 | -0.0090225 | 0.036081 | 0.0090731 | 8.0616e-05 | 5.066e-05 | 0.054282 | 0.054282 | 0.054282 | 0.98686 | -0.25295 | 0.98927 | -0.20606 | 14.9126
1 | 0.011339 | 0.0028447 | -0.011337 | -0.0028434 | 2.4223e-06 | 1.2653e-06 | 0.017057 | 0.017057 | 0.017057 | 0.98927 | -0.20606 | 0.98904 | -0.21054 | 4.686
2 | -0.056713 | -0.014251 | 0.056825 | 0.014323 | 0.00011244 | 7.1434e-05 | 0.085318 | 0.085318 | 0.085318 | 0.98927 | -0.20606 | 0.99141 | -0.16461 | 23.439
3 | 0.0092927 | 0.0023336 | -0.0092856 | -0.0023303 | 7.103e-06 | 3.3025e-06 | 0.013979 | 0.01398 | 0.01398 | 0.98927 | -0.20606 | 0.98845 | -0.22209 | 3.8406
4 | 0.011337 | 0.0028434 | -0.011329 | -0.0028394 | 7.7588e-06 | 4.0537e-06 | 0.017057 | 0.017057 | 0.017057 | 0.98904 | -0.21054 | 0.9883 | -0.22491 | 4.6861
5 | -0.056825 | -0.014323 | 0.057058 | 0.014471 | 0.00023298 | 0.000148 | 0.085318 | 0.085317 | 0.085318 | 0.99141 | -0.16461 | 0.99585 | -0.079302 | 23.4389
6 | 0.0092856 | 0.0023303 | -0.009271 | -0.0023235 | 1.4642e-05 | 6.8146e-06 | 0.01398 | 0.013981 | 0.013981 | 0.98845 | -0.22209 | 0.98675 | -0.2552 | 3.8408
7 | 0.007575 | 0.0018985 | -0.0075744 | -0.0018983 | 6.2696e-07 | 2.3657e-07 | 0.011405 | 0.011405 | 0.011405 | 0.9883 | -0.22491 | 0.98821 | -0.22664 | 3.1333
8 | -0.076569 | -0.019362 | 0.076613 | 0.01939 | 4.3924e-05 | 2.7995e-05 | 0.11447 | 0.11447 | 0.11447 | 0.99585 | -0.079302 | 0.99648 | -0.06735 | 31.4482
9 | 0.019511 | 0.0048915 | -0.019507 | -0.0048888 | 4.5382e-06 | 2.7192e-06 | 0.029154 | 0.029154 | 0.029154 | 0.99585 | -0.079302 | 0.9956 | -0.084184 | 8.0094
10 | -0.14757 | -0.037241 | 0.14786 | 0.037425 | 0.00028913 | 0.00018421 | 0.22046 | 0.22046 | 0.22046 | 0.99648 | -0.06735 | 0.99861 | -0.026527 | 30.2826
11 | 0.07096 | 0.01785 | -0.070913 | -0.01782 | 4.7029e-05 | 2.9953e-05 | 0.10599 | 0.10599 | 0.10599 | 0.99648 | -0.06735 | 0.99576 | -0.081233 | 29.1171
12 | -0.017562 | -0.0044023 | 0.017565 | 0.0044041 | 3.0738e-06 | 1.814e-06 | 0.026311 | 0.026311 | 0.026311 | 0.99325 | -0.12957 | 0.99344 | -0.1259 | 7.2282
13 | 0.017562 | 0.0044023 | -0.01756 | -0.0044009 | 2.236e-06 | 1.3196e-06 | 0.026311 | 0.026311 | 0.026311 | 0.99325 | -0.12957 | 0.99311 | -0.13224 | 7.2282
14 | 0.027138 | 0.0068048 | -0.027131 | -0.0068003 | 7.2041e-06 | 4.4601e-06 | 0.04065 | 0.04065 | 0.04065 | 0.99344 | -0.1259 | 0.99315 | -0.13147 | 11.1676
15 | -0.044704 | -0.011209 | 0.04475 | 0.011238 | 4.6308e-05 | 2.928e-05 | 0.066961 | 0.06696 | 0.066961 | 0.99344 | -0.1259 | 0.99457 | -0.10419 | 18.3958
16 | 0.011277 | 0.002827 | -0.011275 | -0.0028258 | 2.2718e-06 | 1.1794e-06 | 0.016897 | 0.016897 | 0.016897 | 0.99315 | -0.13147 | 0.99294 | -0.1357 | 4.6421
17 | -0.059356 | -0.014899 | 0.059421 | 0.01494 | 6.5056e-05 | 4.135e-05 | 0.088813 | 0.088812 | 0.088813 | 0.99457 | -0.10419 | 0.99576 | -0.081233 | 24.3991
18 | -0.15707 | -0.039733 | 0.15727 | 0.03986 | 0.00020019 | 0.00012698 | 0.23418 | 0.23418 | 0.23418 | 0.99861 | -0.026527 | 1 | 0 | 21.4452
19 | 0.033874 | 0.0085029 | -0.033843 | -0.0084835 | 3.0953e-05 | 1.9396e-05 | 0.050749 | 0.050749 | 0.050749 | 0.99331 | -0.12807 | 0.99231 | -0.14724 | 13.9421
20 | 0.18188 | 0.045964 | -0.18179 | -0.045903 | 9.5392e-05 | 6.0874e-05 | 0.2726 | 0.2726 | 0.2726 | 0.99331 | -0.12807 | 0.99274 | -0.13901 | 37.4455
21 | -0.21576 | -0.054467 | 0.21626 | 0.054791 | 0.00050799 | 0.00032444 | 0.32335 | 0.32335 | 0.32335 | 0.99331 | -0.12807 | 0.99586 | -0.079043 | 44.4164
22 | 0.021331 | 0.0053477 | -0.021327 | -0.0053454 | 3.9134e-06 | 2.3729e-06 | 0.031987 | 0.031987 | 0.031987 | 0.99231 | -0.14724 | 0.99212 | -0.15109 | 8.7877
23 | 0.18179 | 0.045903 | -0.18151 | -0.045723 | 0.00028156 | 0.00017968 | 0.2726 | 0.2726 | 0.2726 | 0.99274 | -0.13901 | 0.99106 | -0.17139 | 37.4455
24 | -0.25558 | -0.064644 | 0.25606 | 0.064956 | 0.00048856 | 0.00031163 | 0.38209 | 0.38209 | 0.38209 | 0.99586 | -0.079043 | 0.99794 | -0.039281 | 34.9901
25 | -0.31433 | -0.079702 | 0.31454 | 0.079833 | 0.00020473 | 0.00013073 | 0.46839 | 0.46839 | 0.46839 | 0.99929 | -0.01354 | 1 | 0 | 42.893
26 | 0.26663 | 0.067731 | -0.2663 | -0.067521 | 0.00032994 | 0.0002105 | 0.39735 | 0.39735 | 0.39735 | 0.99929 | -0.01354 | 0.99794 | -0.039281 | 36.3878
27 | 0.047703 | 0.01197 | -0.047685 | -0.011959 | 1.7729e-05 | 1.1224e-05 | 0.071038 | 0.071038 | 0.071038 | 0.99929 | -0.01354 | 0.99888 | -0.021337 | 19.516
28 | 0.054885 | 0.013778 | -0.054857 | -0.01376 | 2.7816e-05 | 1.7656e-05 | 0.081677 | 0.081677 | 0.081677 | 1 | 0 | 0.99945 | -0.010631 | 22.4387
29 | 0.035279 | 0.0088501 | -0.035261 | -0.0088386 | 1.8365e-05 | 1.1522e-05 | 0.052558 | 0.052558 | 0.052558 | 0.99888 | -0.021337 | 0.99832 | -0.032263 | 14.439
30 | 0.03444 | 0.0086431 | -0.034423 | -0.0086324 | 1.7046e-05 | 1.0683e-05 | 0.05128 | 0.05128 | 0.05128 | 0.99945 | -0.010631 | 0.99891 | -0.021016 | 14.088
31 | 0.072045 | 0.018095 | -0.071963 | -0.018043 | 8.2187e-05 | 5.2361e-05 | 0.10849 | 0.10849 | 0.10849 | 0.98832 | -0.22446 | 0.98708 | -0.2484 | 29.8036
32 | 0.065628 | 0.016507 | -0.065485 | -0.016416 | 0.00014309 | 9.108e-05 | 0.098831 | 0.098832 | 0.098832 | 0.98832 | -0.22446 | 0.98596 | -0.27021 | 27.1515
33 | -0.13767 | -0.034602 | 0.13802 | 0.034826 | 0.00034976 | 0.00022357 | 0.20732 | 0.20732 | 0.20732 | 0.98832 | -0.22446 | 0.99106 | -0.17139 | 56.9551
34 | 0.024751 | 0.0062103 | -0.024734 | -0.0061999 | 1.6838e-05 | 1.0364e-05 | 0.037314 | 0.037314 | 0.037314 | 0.98708 | -0.2484 | 0.98635 | -0.26267 | 10.2511
35 | 0.020162 | 0.0050569 | -0.020151 | -0.0050504 | 1.0676e-05 | 6.4407e-06 | 0.03043 | 0.03043 | 0.03043 | 0.98596 | -0.27021 | 0.98539 | -0.28132 | 8.3599
36 | 0.0037787 | 0.00094696 | -0.0037786 | -0.00094701 | 1.1862e-07 | -4.9257e-08 | 0.0056898 | 0.0056899 | 0.0056899 | 0.98821 | -0.22664 | 0.98818 | -0.2273 | 1.5632
37 | -0.012256 | -0.0030716 | 0.012257 | 0.0030722 | 1.1582e-06 | 6.2326e-07 | 0.018383 | 0.018383 | 0.018383 | 0.99201 | -0.15308 | 0.99212 | -0.15109 | 5.0504
38 | -0.0082489 | -0.0020674 | 0.0082496 | 0.0020677 | 6.7942e-07 | 2.8565e-07 | 0.012448 | 0.012448 | 0.012448 | 0.98609 | -0.26786 | 0.98617 | -0.26613 | 3.4197
39 | -0.016489 | -0.0041325 | 0.016491 | 0.0041341 | 2.7139e-06 | 1.5877e-06 | 0.024879 | 0.024879 | 0.024879 | 0.98617 | -0.26613 | 0.98635 | -0.26267 | 6.835
40 | -0.017047 | -0.0042724 | 0.017051 | 0.0042747 | 3.9401e-06 | 2.309e-06 | 0.025416 | 0.025415 | 0.025416 | 0.99806 | -0.037113 | 0.99832 | -0.032263 | 6.9823
41 | 0.029423 | 0.0073793 | -0.029417 | -0.0073752 | 6.6019e-06 | 4.1053e-06 | 0.043832 | 0.043832 | 0.043832 | 0.99891 | -0.021016 | 0.99866 | -0.025724 | 12.0418
42 | -0.0066621 | -0.0016697 | 0.0066625 | 0.0016698 | 4.5073e-07 | 1.3721e-07 | 0.010061 | 0.010061 | 0.010061 | 0.98532 | -0.28274 | 0.98539 | -0.28132 | 2.764
43 | -0.013423 | -0.0033641 | 0.013424 | 0.0033648 | 1.287e-06 | 7.1156e-07 | 0.020008 | 0.020008 | 0.020008 | 0.99828 | -0.033034 | 0.99839 | -0.031022 | 5.4966
44 | -0.024798 | -0.0062154 | 0.024805 | 0.0062193 | 6.2606e-06 | 3.8469e-06 | 0.03696 | 0.03696 | 0.03696 | 0.99839 | -0.031022 | 0.99866 | -0.025724 | 10.1539

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52835 | 0.13347

## res_load
| p_mw | q_mvar
0 | 0.036 | 0.0090225
1 | 0.0037541 | 0.00094086
2 | 0.019507 | 0.0048888
3 | 0.01756 | 0.0044009
4 | 0.015854 | 0.0039733
5 | 0.014606 | 0.0036605
6 | 0.0092101 | 0.0023083
7 | 0.011492 | 0.0028803
8 | 0.012512 | 0.0031358
9 | 0.039312 | 0.0098526
10 | 0.010236 | 0.0025654
11 | 0.012405 | 0.0031091
12 | 0.020416 | 0.0051168
13 | 0.009271 | 0.0023235
14 | 0.047212 | 0.011832
15 | 0.045323 | 0.011359
16 | 0.043483 | 0.010898
17 | 0.0037957 | 0.00095129
18 | 0.011275 | 0.0028258
19 | 0.012256 | 0.0030716
20 | 0.0090701 | 0.0022732
21 | 0.0082489 | 0.0020674
22 | 0.008239 | 0.0020649
23 | 0.017047 | 0.0042724
24 | 0.01821 | 0.0045639
25 | 0.0049999 | 0.0012531
26 | 0.0066621 | 0.0016697
27 | 0.013489 | 0.0033806
28 | 0.0082425 | 0.0020658
29 | 0.013423 | 0.0033641
30 | 0.011374 | 0.0028507
31 | 0.0046121 | 0.0011559
32 | 0.0037786 | 0.00094701

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1