## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-924_1_2_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_261-924_1_2_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_261-924_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_261-924_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_261-924_1_2_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_261-924_1_2_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_261-924_1_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_261-924_1_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_261-924_1_2_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_261-924_1_2_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_261-924_1_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_261-924_1_2_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_261-924_1_2_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_261-924_1_2_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_261-924_1_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_261-924_1_2_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_261-924_1_2_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_261-924_1_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_261-924_1_2_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_261-924_1_2_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_261-924_1_2_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_261-924_1_2_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_261-924_1_2_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_261-924_1_2_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_261-924_1_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_261-924_1_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_261-924_1_2_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_261-924_1_2_node_115 | 0.4 | n |  | TRUE
28 | bus_LV_261-924_1_2_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_261-924_1_2_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_261-924_1_2_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_261-924_1_2_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_261-924_1_2_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_261-924_1_2_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_261-924_1_2_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_261-924_1_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_261-924_1_2_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_261-924_1_2_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_261-924_1_2_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_261-924_1_2_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_261-924_1_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_261-924_1_2_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_261-924_1_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_261-924_1_2_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_261-924_1_2_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_261-924_1_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_261-924_1_2_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_261-924_1_2_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_261-924_1_2_node_114 | 0.4 | n |  | TRUE
49 | bus_LV_261-924_1_2_node_116 | 0.4 | n |  | TRUE
50 | bus_LV_261-924_1_2_node_118 | 0.4 | n |  | TRUE
51 | bus_LV_261-924_1_2_node_117 | 0.4 | n |  | TRUE
52 | bus_MV_551_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-924_1_2_load_12 | 0 | 0.02287 | 0.0057317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-924_1_2_load_13 | 1 | 0.011597 | 0.0029065 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-924_1_2_load_34 | 4 | 0.0037546 | 0.00094098 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-924_1_2_load_32 | 5 | 0.008303 | 0.0020809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-924_1_2_load_64 | 9 | 0.0086372 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-924_1_2_load_76 | 11 | 0.0046939 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-924_1_2_load_67 | 12 | 0.00842 | 0.0021102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-924_1_2_load_36 | 14 | 0.0087329 | 0.0021887 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-924_1_2_load_53 | 16 | 0.010312 | 0.0025844 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-924_1_2_load_37 | 17 | 0.0087571 | 0.0021947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-924_1_2_load_39 | 19 | 0.010124 | 0.0025373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-924_1_2_load_66 | 21 | 0.0084785 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-924_1_2_load_45 | 22 | 0.0010969 | 0.00027492 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-924_1_2_load_46 | 23 | 0.0044266 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-924_1_2_load_47 | 24 | 0.00074052 | 0.00018559 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-924_1_2_load_115 | 27 | 0.001097 | 0.00027493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-924_1_2_load_78 | 29 | 0.0011147 | 0.00027936 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-924_1_2_load_60 | 31 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-924_1_2_load_55 | 32 | 0.00080547 | 0.00020187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-924_1_2_load_58 | 33 | 0.0016996 | 0.00042596 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-924_1_2_load_71 | 34 | 0.00074096 | 0.0001857 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-924_1_2_load_65 | 36 | 0.0031092 | 0.00077923 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-924_1_2_load_70 | 38 | 0.017533 | 0.0043941 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-924_1_2_load_110 | 39 | 0.00073539 | 0.00018431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-924_1_2_load_72 | 40 | 0.0055582 | 0.001393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-924_1_2_load_77 | 43 | 0.0035106 | 0.00087983 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-924_1_2_load_80 | 44 | 0.00079108 | 0.00019826 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-924_1_2_load_82 | 46 | 0.00075715 | 0.00018976 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-924_1_2_load_83 | 47 | 0.00074695 | 0.0001872 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-924_1_2_load_114 | 48 | 0.001085 | 0.00027194 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-924_1_2_load_116 | 49 | 0.0011049 | 0.0002769 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-924_1_2_load_118 | 50 | 0.0010728 | 0.00026888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-924_1_2_load_117 | 51 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-924_1_2_line_0 |  | 0 | 1 | 0.009934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-924_1_2_line_1 |  | 0 | 2 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-924_1_2_line_2 |  | 2 | 3 | 0.006686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-924_1_2_line_3 |  | 3 | 4 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-924_1_2_line_4 |  | 3 | 5 | 0.038664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-924_1_2_line_5 |  | 4 | 15 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-924_1_2_line_6 |  | 5 | 13 | 0.033995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-924_1_2_line_7 |  | 6 | 7 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-924_1_2_line_8 |  | 6 | 8 | 0.023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-924_1_2_line_9 |  | 6 | 9 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-924_1_2_line_10 |  | 7 | 10 | 0.010225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-924_1_2_line_11 |  | 7 | 11 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-924_1_2_line_12 |  | 8 | 33 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-924_1_2_line_13 |  | 9 | 35 | 0.030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-924_1_2_line_14 |  | 10 | 12 | 0.030567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-924_1_2_line_15 |  | 11 | 41 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-924_1_2_line_16 |  | 12 | 37 | 0.038147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-924_1_2_line_17 |  | 13 | 14 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-924_1_2_line_18 |  | 14 | 16 | 0.031815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-924_1_2_line_19 |  | 15 | 35 | 0.008047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-924_1_2_line_20 |  | 15 | 20 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-924_1_2_line_21 |  | 16 | 30 | 0.037438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-924_1_2_line_22 |  | 17 | 18 | 0.039351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-924_1_2_line_23 |  | 18 | 19 | 0.0021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-924_1_2_line_24 |  | 18 | 20 | 0.029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-924_1_2_line_25 |  | 20 | 21 | 0.039513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-924_1_2_line_26 |  | 22 | 23 | 0.0093552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-924_1_2_line_27 |  | 23 | 24 | 0.0097987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-924_1_2_line_28 |  | 24 | 25 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-924_1_2_line_29 |  | 25 | 34 | 0.007978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-924_1_2_line_30 |  | 25 | 33 | 0.045768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-924_1_2_line_31 |  | 26 | 27 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-924_1_2_line_32 |  | 26 | 28 | 0.004198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-924_1_2_line_33 |  | 26 | 29 | 0.0098765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-924_1_2_line_34 |  | 27 | 50 | 0.0068344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-924_1_2_line_35 |  | 28 | 32 | 0.0075934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-924_1_2_line_36 |  | 29 | 42 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-924_1_2_line_37 |  | 30 | 31 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-924_1_2_line_38 |  | 34 | 39 | 0.020739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-924_1_2_line_39 |  | 35 | 36 | 0.060256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-924_1_2_line_40 |  | 37 | 38 | 0.003638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-924_1_2_line_41 |  | 39 | 47 | 0.027327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-924_1_2_line_42 |  | 40 | 41 | 0.029406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-924_1_2_line_43 |  | 41 | 42 | 0.028926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-924_1_2_line_44 |  | 42 | 43 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-924_1_2_line_45 |  | 44 | 45 | 0.031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-924_1_2_line_46 |  | 45 | 46 | 0.011359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-924_1_2_line_47 |  | 45 | 47 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-924_1_2_line_48 |  | 48 | 49 | 0.0070068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-924_1_2_line_49 |  | 49 | 51 | 0.00691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-924_1_2_line_50 |  | 50 | 51 | 0.0068017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-924_1_2_trafo_14 | 0.63 MVA 20/0.4 kV | 52 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2685379.189 | 1252172.1422 | 2685371.5226 | 1252165.8248
1 | 2685395.8841 | 1252181.1373 | 2685390.9082 | 1252181.7994 | 2685379.189 | 1252172.1422
2 | 2685395.8841 | 1252181.1373 | 2685400.9534 | 1252185.5136
3 | 2685400.9534 | 1252185.5136 | 2685414.4527 | 1252193.8128
4 | 2685400.9534 | 1252185.5136 | 2685383.8893 | 1252205.3271 | 2685384.3396 | 1252207.602 | 2685377.794 | 1252215.4198
5 | 2685431.4395 | 1252204.2561 | 2685414.4527 | 1252193.8128
6 | 2685355.9704 | 1252241.4855 | 2685377.794 | 1252215.4198
7 | 2685425.237 | 1252145.5446 | 2685423.4742 | 1252147.9321 | 2685444.8526 | 1252154.4897 | 2685454.8838 | 1252159.6938
8 | 2685468.9082 | 1252141.3378 | 2685460.2388 | 1252151.0756 | 2685454.8838 | 1252159.6938
9 | 2685454.8838 | 1252159.6938 | 2685449.2224 | 1252170.434
10 | 2685416.5385 | 1252145.7971 | 2685423.4742 | 1252147.9321 | 2685425.237 | 1252145.5446
11 | 2685425.237 | 1252145.5446 | 2685436.8127 | 1252129.8975
12 | 2685468.9082 | 1252141.3378 | 2685484.078 | 1252151.3853
13 | 2685435.1578 | 1252197.1154 | 2685449.2224 | 1252170.434
14 | 2685416.5385 | 1252145.7971 | 2685421.5809 | 1252137.9083 | 2685404.0069 | 1252126.0431
15 | 2685445.1051 | 1252118.6885 | 2685436.8127 | 1252129.8975
16 | 2685370.5435 | 1252109.1178 | 2685382.4872 | 1252111.5139 | 2685404.0069 | 1252126.0431
17 | 2685355.9704 | 1252241.4855 | 2685346.1401 | 1252231.4868
18 | 2685346.1401 | 1252231.4868 | 2685345.1027 | 1252230.4318 | 2685340.114 | 1252211.5679 | 2685331.9326 | 1252204.4826
19 | 2685431.4395 | 1252204.2561 | 2685435.1578 | 1252197.1154
20 | 2685431.4395 | 1252204.2561 | 2685425.7341 | 1252215.2043
21 | 2685329.3061 | 1252179.0766 | 2685316.8856 | 1252191.4516 | 2685331.9326 | 1252204.4826
22 | 2685408.7306 | 1252239.7111 | 2685440.9863 | 1252262.2524
23 | 2685408.7306 | 1252239.7111 | 2685407.47 | 1252241.4636
24 | 2685425.7341 | 1252215.2043 | 2685424.1116 | 1252218.3277 | 2685408.7306 | 1252239.7111
25 | 2685425.7341 | 1252215.2043 | 2685456.5129 | 1252239.9819
26 | 2685510.1117 | 1252203.1015 | 2685508.638 | 1252200.4778 | 2685512.0365 | 1252195.1186
27 | 2685512.0365 | 1252195.1186 | 2685517.2841 | 1252186.8435
28 | 2685523.359 | 1252172.0354 | 2685522.4939 | 1252178.6279 | 2685517.2841 | 1252186.8435
29 | 2685523.359 | 1252172.0354 | 2685529.1072 | 1252166.5031 | 2685529.1072 | 1252166.5031
30 | 2685523.359 | 1252172.0354 | 2685516.3967 | 1252172.7911 | 2685484.078 | 1252151.3853
31 | 2685491.5284 | 1252100.5666 | 2685482.7863 | 1252113.5918
32 | 2685495.0888 | 1252102.8086 | 2685491.5284 | 1252100.5666
33 | 2685491.5284 | 1252100.5666 | 2685483.1619 | 1252095.3181
34 | 2685482.7863 | 1252113.5918 | 2685478.9776 | 1252119.2665
35 | 2685495.0888 | 1252102.8086 | 2685490.8223 | 1252109.09
36 | 2685462.7284 | 1252095.7142 | 2685467.3821 | 1252089.6656 | 2685474.6012 | 1252089.9478 | 2685483.1619 | 1252095.3181
37 | 2685329.3061 | 1252179.0766 | 2685317.7923 | 1252168.8243
38 | 2685540.6182 | 1252149.2525 | 2685529.1072 | 1252166.5031
39 | 2685435.1578 | 1252197.1154 | 2685451.7319 | 1252207.0841 | 2685472.6202 | 1252226.1442 | 2685483.3358 | 1252232.8435
40 | 2685370.5435 | 1252109.1178 | 2685371.3504 | 1252105.5704
41 | 2685557.5713 | 1252127.9043 | 2685546.9358 | 1252139.7847 | 2685540.6182 | 1252149.2525
42 | 2685445.1051 | 1252118.6885 | 2685421.0432 | 1252101.785
43 | 2685445.1051 | 1252118.6885 | 2685462.7284 | 1252095.7142
44 | 2685462.7284 | 1252095.7142 | 2685445.9737 | 1252083.937
45 | 2685569.8429 | 1252114.1961 | 2685552.6632 | 1252087.7768
46 | 2685569.8429 | 1252114.1961 | 2685580.793 | 1252111.1742
47 | 2685569.8429 | 1252114.1961 | 2685557.5713 | 1252127.9043
48 | 2685471.3363 | 1252130.6516 | 2685467.4315 | 1252136.4695
49 | 2685471.3363 | 1252130.6516 | 2685475.1871 | 1252124.9141
50 | 2685478.9776 | 1252119.2665 | 2685475.1871 | 1252124.9141

## bus_geodata
| x | y | coords
0 | 2685379.189 | 1252172.1422
1 | 2685371.5226 | 1252165.8248
2 | 2685395.8841 | 1252181.1373
3 | 2685400.9534 | 1252185.5136
4 | 2685414.4527 | 1252193.8128
5 | 2685377.794 | 1252215.4198
6 | 2685454.8838 | 1252159.6938
7 | 2685425.237 | 1252145.5446
8 | 2685468.9082 | 1252141.3378
9 | 2685449.2224 | 1252170.434
10 | 2685416.5385 | 1252145.7971
11 | 2685436.8127 | 1252129.8975
12 | 2685404.007 | 1252126.0431
13 | 2685355.9704 | 1252241.4855
14 | 2685346.1401 | 1252231.4868
15 | 2685431.4395 | 1252204.2561
16 | 2685331.9326 | 1252204.4826
17 | 2685440.9863 | 1252262.2524
18 | 2685408.7306 | 1252239.7111
19 | 2685407.47 | 1252241.4636
20 | 2685425.7341 | 1252215.2043
21 | 2685456.513 | 1252239.9819
22 | 2685510.1117 | 1252203.1015
23 | 2685512.0365 | 1252195.1186
24 | 2685517.2841 | 1252186.8435
25 | 2685523.359 | 1252172.0354
26 | 2685491.5284 | 1252100.5666
27 | 2685482.7863 | 1252113.5918
28 | 2685495.0888 | 1252102.8086
29 | 2685483.1619 | 1252095.3181
30 | 2685329.3061 | 1252179.0766
31 | 2685317.7923 | 1252168.8243
32 | 2685490.8223 | 1252109.09
33 | 2685484.078 | 1252151.3853
34 | 2685529.1072 | 1252166.5031
35 | 2685435.1578 | 1252197.1154
36 | 2685483.3358 | 1252232.8435
37 | 2685370.5435 | 1252109.1178
38 | 2685371.3504 | 1252105.5704
39 | 2685540.6182 | 1252149.2525
40 | 2685421.0432 | 1252101.785
41 | 2685445.1051 | 1252118.6885
42 | 2685462.7284 | 1252095.7142
43 | 2685445.9737 | 1252083.937
44 | 2685552.6632 | 1252087.7768
45 | 2685569.8429 | 1252114.1961
46 | 2685580.793 | 1252111.1742
47 | 2685557.5713 | 1252127.9043
48 | 2685467.4315 | 1252136.4695
49 | 2685471.3363 | 1252130.6516
50 | 2685478.9776 | 1252119.2665
51 | 2685475.1871 | 1252124.9141
52 | 2685400.9534 | 1252185.5136

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99937 | -0.012146 | 0.02287 | 0.0057317
1 | 0.99926 | -0.014157 | 0.011597 | 0.0029065
2 | 1 | 0 | -0.17647 | -0.044138
3 | 0.99915 | -0.016273 | 0 | 0
4 | 0.99768 | -0.044451 | 0.0037546 | 0.00094098
5 | 0.99782 | -0.041841 | 0.008303 | 0.0020809
6 | 0.99286 | -0.13718 | 0 | 0
7 | 0.99128 | -0.16773 | 0 | 0
8 | 0.99261 | -0.14199 | 0 | 0
9 | 0.99351 | -0.12456 | 0.0086372 | 0.0021647
10 | 0.99103 | -0.17243 | 0 | 0
11 | 0.9909 | -0.17502 | 0.0046939 | 0.0011764
12 | 0.99031 | -0.18652 | 0.00842 | 0.0021102
13 | 0.9969 | -0.059425 | 0 | 0
14 | 0.99653 | -0.066687 | 0.0087329 | 0.0021887
15 | 0.99589 | -0.078711 | 0 | 0
16 | 0.99593 | -0.078302 | 0.010312 | 0.0025844
17 | 0.99476 | -0.10063 | 0.0087571 | 0.0021947
18 | 0.99507 | -0.094558 | 0 | 0
19 | 0.99505 | -0.094943 | 0.010124 | 0.0025373
20 | 0.99558 | -0.084646 | 0 | 0
21 | 0.99528 | -0.090539 | 0.0084785 | 0.0021249
22 | 0.99184 | -0.15687 | 0.0010969 | 0.00027492
23 | 0.99185 | -0.15669 | 0.0044266 | 0.0011094
24 | 0.9919 | -0.15573 | 0.00074052 | 0.00018559
25 | 0.99199 | -0.15391 | 0 | 0
26 | 0.99018 | -0.18904 | 0 | 0
27 | 0.9901 | -0.19056 | 0.001097 | 0.00027493
28 | 0.99017 | -0.1891 | 0 | 0
29 | 0.99023 | -0.18795 | 0.0011147 | 0.00027936
30 | 0.99557 | -0.085194 | 0 | 0
31 | 0.99542 | -0.088034 | 0.010472 | 0.0026246
32 | 0.99017 | -0.18921 | 0.00080547 | 0.00020187
33 | 0.99241 | -0.14577 | 0.0016996 | 0.00042596
34 | 0.99196 | -0.15444 | 0.00074096 | 0.0001857
35 | 0.99537 | -0.088697 | 0 | 0
36 | 0.9952 | -0.091994 | 0.0031092 | 0.00077923
37 | 0.98969 | -0.19842 | 0 | 0
38 | 0.98964 | -0.19955 | 0.017533 | 0.0043941
39 | 0.99191 | -0.15556 | 0.00073539 | 0.00018431
40 | 0.99054 | -0.18199 | 0.0055582 | 0.001393
41 | 0.99069 | -0.17909 | 0 | 0
42 | 0.9904 | -0.18468 | 0 | 0
43 | 0.99034 | -0.18596 | 0.0035106 | 0.00087983
44 | 0.9918 | -0.15762 | 0.00079108 | 0.00019826
45 | 0.99182 | -0.15717 | 0 | 0
46 | 0.99182 | -0.15733 | 0.00075715 | 0.00018976
47 | 0.99185 | -0.15667 | 0.00074695 | 0.0001872
48 | 0.99003 | -0.19189 | 0.001085 | 0.00027194
49 | 0.99004 | -0.19175 | 0.0011049 | 0.0002769
50 | 0.99007 | -0.19109 | 0.0010728 | 0.00026888
51 | 0.99005 | -0.19148 | 0.0010801 | 0.00027069
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011598 | 0.0029071 | -0.011597 | -0.0029065 | 1.111e-06 | 5.809e-07 | 0.01727 | 0.01727 | 0.01727 | 0.99937 | -0.012146 | 0.99926 | -0.014157 | 4.7444
1 | -0.034468 | -0.0086388 | 0.034488 | 0.0086513 | 1.9957e-05 | 1.2508e-05 | 0.051321 | 0.051321 | 0.051321 | 0.99937 | -0.012146 | 1 | 0 | 14.0993
2 | 0.14033 | 0.035487 | -0.14023 | -0.035417 | 0.00010945 | 6.9959e-05 | 0.20893 | 0.20893 | 0.20893 | 1 | 0 | 0.99915 | -0.016273 | 57.3988
3 | 0.10231 | 0.025878 | -0.10217 | -0.02579 | 0.0001381 | 8.818e-05 | 0.15245 | 0.15245 | 0.15245 | 0.99915 | -0.016273 | 0.99768 | -0.044451 | 41.8815
4 | 0.037918 | 0.0095389 | -0.037872 | -0.0095098 | 4.6257e-05 | 2.9099e-05 | 0.056483 | 0.056483 | 0.056483 | 0.99915 | -0.016273 | 0.99782 | -0.041841 | 15.5174
5 | 0.098415 | 0.024849 | -0.098254 | -0.024746 | 0.00016125 | 0.00010294 | 0.14685 | 0.14685 | 0.14685 | 0.99768 | -0.044451 | 0.99589 | -0.078711 | 40.3431
6 | 0.029569 | 0.0074289 | -0.029544 | -0.0074135 | 2.4795e-05 | 1.5425e-05 | 0.044101 | 0.044101 | 0.044101 | 0.99782 | -0.041841 | 0.9969 | -0.059425 | 12.1158
7 | 0.047195 | 0.01187 | -0.047126 | -0.011827 | 6.8752e-05 | 4.3528e-05 | 0.070747 | 0.070747 | 0.070747 | 0.99286 | -0.13718 | 0.99128 | -0.16773 | 19.436
8 | 0.011745 | 0.0029444 | -0.011742 | -0.002943 | 2.6913e-06 | 1.423e-06 | 0.017603 | 0.017603 | 0.017603 | 0.99286 | -0.13718 | 0.99261 | -0.14199 | 4.836
9 | -0.05894 | -0.014815 | 0.058975 | 0.014837 | 3.5538e-05 | 2.2587e-05 | 0.08835 | 0.08835 | 0.08835 | 0.99286 | -0.13718 | 0.99351 | -0.12456 | 24.2719
10 | 0.025987 | 0.0065252 | -0.025981 | -0.0065216 | 5.8359e-06 | 3.6032e-06 | 0.039014 | 0.039014 | 0.039014 | 0.99128 | -0.16773 | 0.99103 | -0.17243 | 10.718
11 | 0.021139 | 0.0053018 | -0.021132 | -0.0052973 | 7.3499e-06 | 4.4531e-06 | 0.031733 | 0.031733 | 0.031733 | 0.99128 | -0.16773 | 0.9909 | -0.17502 | 8.718
12 | 0.011742 | 0.002943 | -0.01174 | -0.0029418 | 2.1143e-06 | 1.118e-06 | 0.017603 | 0.017603 | 0.017603 | 0.99261 | -0.14199 | 0.99241 | -0.14577 | 4.836
13 | -0.067613 | -0.017002 | 0.067729 | 0.017076 | 0.00011603 | 7.387e-05 | 0.10129 | 0.10129 | 0.10129 | 0.99351 | -0.12456 | 0.99537 | -0.088697 | 27.8258
14 | 0.025981 | 0.0065216 | -0.025964 | -0.0065108 | 1.7447e-05 | 1.0772e-05 | 0.039014 | 0.039014 | 0.039014 | 0.99103 | -0.17243 | 0.99031 | -0.18652 | 10.7181
15 | 0.016438 | 0.0041209 | -0.016435 | -0.004119 | 3.186e-06 | 1.8595e-06 | 0.024685 | 0.024685 | 0.024685 | 0.9909 | -0.17502 | 0.99069 | -0.17909 | 6.7815
16 | 0.017544 | 0.0044005 | -0.017534 | -0.0043947 | 9.9415e-06 | 5.8721e-06 | 0.026362 | 0.026362 | 0.026362 | 0.99031 | -0.18652 | 0.98969 | -0.19842 | 7.2424
17 | 0.029544 | 0.0074135 | -0.029534 | -0.0074071 | 1.0227e-05 | 6.3624e-06 | 0.044101 | 0.044102 | 0.044102 | 0.9969 | -0.059425 | 0.99653 | -0.066687 | 12.1158
18 | 0.020801 | 0.0052184 | -0.020789 | -0.0052115 | 1.1511e-05 | 6.9528e-06 | 0.031062 | 0.031062 | 0.031062 | 0.99653 | -0.066687 | 0.99593 | -0.078302 | 8.5335
19 | 0.070872 | 0.017876 | -0.070838 | -0.017855 | 3.3864e-05 | 2.1568e-05 | 0.10593 | 0.10593 | 0.10593 | 0.99589 | -0.078711 | 0.99537 | -0.088697 | 29.1028
20 | 0.027381 | 0.0068693 | -0.027374 | -0.0068645 | 7.7458e-06 | 4.7968e-06 | 0.040915 | 0.040915 | 0.040915 | 0.99589 | -0.078711 | 0.99558 | -0.084646 | 11.2403
21 | 0.010477 | 0.002627 | -0.010474 | -0.0026253 | 3.4406e-06 | 1.715e-06 | 0.015654 | 0.015655 | 0.015655 | 0.99593 | -0.078302 | 0.99557 | -0.085194 | 4.3007
22 | -0.0087571 | -0.0021947 | 0.0087596 | 0.0021958 | 2.5321e-06 | 1.1095e-06 | 0.013099 | 0.013099 | 0.013099 | 0.99476 | -0.10063 | 0.99507 | -0.094558 | 3.5987
23 | 0.010124 | 0.0025374 | -0.010124 | -0.0025373 | 1.8556e-07 | 9.0716e-08 | 0.01514 | 0.01514 | 0.01514 | 0.99507 | -0.094558 | 0.99505 | -0.094943 | 4.1593
24 | -0.018884 | -0.0047333 | 0.018893 | 0.0047386 | 8.9218e-06 | 5.3222e-06 | 0.028239 | 0.028239 | 0.028239 | 0.99507 | -0.094558 | 0.99558 | -0.084646 | 7.7579
25 | 0.0084809 | 0.0021259 | -0.0084785 | -0.0021249 | 2.3808e-06 | 1.0101e-06 | 0.012676 | 0.012676 | 0.012676 | 0.99558 | -0.084646 | 0.99528 | -0.090539 | 3.4824
26 | -0.0010969 | -0.00027492 | 0.001097 | 0.00027481 | 9.5011e-09 | -1.1466e-07 | 0.0016457 | 0.0016457 | 0.0016457 | 0.99184 | -0.15687 | 0.99185 | -0.15669 | 0.45212
27 | -0.0055236 | -0.0013842 | 0.0055238 | 0.0013843 | 2.5232e-07 | 3.5015e-08 | 0.0082867 | 0.0082866 | 0.0082867 | 0.99185 | -0.15669 | 0.9919 | -0.15573 | 2.2766
28 | -0.0062643 | -0.0015698 | 0.0062649 | 0.00157 | 5.4237e-07 | 1.3571e-07 | 0.0093975 | 0.0093974 | 0.0093975 | 0.9919 | -0.15573 | 0.99199 | -0.15391 | 2.5817
29 | 0.003772 | 0.000944 | -0.0037719 | -0.00094404 | 9.5761e-08 | -4.1706e-08 | 0.0056576 | 0.0056576 | 0.0056576 | 0.99199 | -0.15391 | 0.99196 | -0.15444 | 1.5543
30 | -0.010037 | -0.002514 | 0.010041 | 0.0025159 | 3.89e-06 | 1.8985e-06 | 0.015055 | 0.015055 | 0.015055 | 0.99199 | -0.15391 | 0.99241 | -0.14577 | 4.136
31 | 0.0054404 | 0.0013632 | -0.00544 | -0.0013631 | 3.932e-07 | 4.9883e-08 | 0.0081756 | 0.0081756 | 0.0081756 | 0.99018 | -0.18904 | 0.9901 | -0.19056 | 2.2461
32 | 0.00080548 | 0.00020172 | -0.00080548 | -0.00020178 | 2.3064e-09 | -5.2522e-08 | 0.0012104 | 0.0012104 | 0.0012104 | 0.99018 | -0.18904 | 0.99017 | -0.1891 | 0.33253
33 | -0.0062459 | -0.0015649 | 0.0062462 | 0.001565 | 3.2628e-07 | 8.1772e-08 | 0.009386 | 0.0093859 | 0.009386 | 0.99018 | -0.18904 | 0.99023 | -0.18795 | 2.5786
34 | 0.004343 | 0.0010882 | -0.0043429 | -0.0010882 | 1.0918e-07 | -1.8015e-08 | 0.006527 | 0.006527 | 0.006527 | 0.9901 | -0.19056 | 0.99007 | -0.19109 | 1.7931
35 | 0.00080548 | 0.00020178 | -0.00080547 | -0.00020187 | 4.1721e-09 | -9.5001e-08 | 0.0012104 | 0.0012105 | 0.0012105 | 0.99017 | -0.1891 | 0.99017 | -0.18921 | 0.33254
36 | -0.0073609 | -0.0018443 | 0.007362 | 0.0018447 | 1.1452e-06 | 4.1177e-07 | 0.011061 | 0.011061 | 0.011061 | 0.99023 | -0.18795 | 0.9904 | -0.18468 | 3.0387
37 | 0.010474 | 0.0026253 | -0.010472 | -0.0026246 | 1.4168e-06 | 7.0632e-07 | 0.015655 | 0.015655 | 0.015655 | 0.99557 | -0.085194 | 0.99542 | -0.088034 | 4.3007
38 | 0.0030309 | 0.00075834 | -0.0030307 | -0.0007585 | 1.6073e-07 | -1.6484e-07 | 0.0045461 | 0.0045462 | 0.0045462 | 0.99196 | -0.15444 | 0.99191 | -0.15556 | 1.249
39 | 0.0031097 | 0.00077876 | -0.0031092 | -0.00077923 | 4.883e-07 | -4.7057e-07 | 0.0046485 | 0.0046488 | 0.0046488 | 0.99537 | -0.088697 | 0.9952 | -0.091994 | 1.2771
40 | 0.017534 | 0.0043947 | -0.017533 | -0.0043941 | 9.481e-07 | 5.6004e-07 | 0.026362 | 0.026362 | 0.026362 | 0.98969 | -0.19842 | 0.98964 | -0.19955 | 7.2424
41 | 0.0022954 | 0.0005742 | -0.0022952 | -0.00057447 | 1.2149e-07 | -2.7497e-07 | 0.003443 | 0.0034431 | 0.0034431 | 0.99191 | -0.15556 | 0.99185 | -0.15667 | 0.94592
42 | -0.0055582 | -0.001393 | 0.0055589 | 0.0013931 | 7.6876e-07 | 1.1343e-07 | 0.0083496 | 0.0083495 | 0.0083496 | 0.99054 | -0.18199 | 0.99069 | -0.17909 | 2.2939
43 | 0.010876 | 0.0027259 | -0.010873 | -0.0027244 | 2.8945e-06 | 1.4802e-06 | 0.016335 | 0.016335 | 0.016335 | 0.99069 | -0.17909 | 0.9904 | -0.18468 | 4.4878
44 | 0.0035108 | 0.0008797 | -0.0035106 | -0.00087983 | 2.1367e-07 | -1.2678e-07 | 0.0052746 | 0.0052747 | 0.0052747 | 0.9904 | -0.18468 | 0.99034 | -0.18596 | 1.4491
45 | -0.00079108 | -0.00019826 | 0.00079109 | 0.00019787 | 1.6645e-08 | -3.9604e-07 | 0.0011869 | 0.0011867 | 0.0011869 | 0.9918 | -0.15762 | 0.99182 | -0.15717 | 0.32606
46 | 0.00075716 | 0.00018962 | -0.00075715 | -0.00018976 | 5.4965e-09 | -1.4308e-07 | 0.0011359 | 0.001136 | 0.001136 | 0.99182 | -0.15717 | 0.99182 | -0.15733 | 0.31207
47 | -0.0015483 | -0.00038748 | 0.0015483 | 0.00038727 | 3.7218e-08 | -2.1363e-07 | 0.0023226 | 0.0023225 | 0.0023226 | 0.99182 | -0.15717 | 0.99185 | -0.15667 | 0.63808
48 | -0.001085 | -0.00027194 | 0.001085 | 0.00027185 | 6.9879e-09 | -8.5629e-08 | 0.0016308 | 0.0016308 | 0.0016308 | 0.99003 | -0.19189 | 0.99004 | -0.19175 | 0.44802
49 | -0.0021899 | -0.00054875 | 0.0021899 | 0.00054868 | 2.8071e-08 | -7.0893e-08 | 0.0032914 | 0.0032913 | 0.0032914 | 0.99004 | -0.19175 | 0.99005 | -0.19148 | 0.90422
50 | 0.0032701 | 0.00081933 | -0.00327 | -0.00081937 | 6.1607e-08 | -4.804e-08 | 0.0049146 | 0.0049146 | 0.0049146 | 0.99007 | -0.19109 | 0.99005 | -0.19148 | 1.3502

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17647 | 0.044138

## res_load
| p_mw | q_mvar
0 | 0.02287 | 0.0057317
1 | 0.011597 | 0.0029065
2 | 0.0037546 | 0.00094098
3 | 0.008303 | 0.0020809
4 | 0.0086372 | 0.0021647
5 | 0.0046939 | 0.0011764
6 | 0.00842 | 0.0021102
7 | 0.0087329 | 0.0021887
8 | 0.010312 | 0.0025844
9 | 0.0087571 | 0.0021947
10 | 0.010124 | 0.0025373
11 | 0.0084785 | 0.0021249
12 | 0.0010969 | 0.00027492
13 | 0.0044266 | 0.0011094
14 | 0.00074052 | 0.00018559
15 | 0.001097 | 0.00027493
16 | 0.0011147 | 0.00027936
17 | 0.010472 | 0.0026246
18 | 0.00080547 | 0.00020187
19 | 0.0016996 | 0.00042596
20 | 0.00074096 | 0.0001857
21 | 0.0031092 | 0.00077923
22 | 0.017533 | 0.0043941
23 | 0.00073539 | 0.00018431
24 | 0.0055582 | 0.001393
25 | 0.0035106 | 0.00087983
26 | 0.00079108 | 0.00019826
27 | 0.00075715 | 0.00018976
28 | 0.00074695 | 0.0001872
29 | 0.001085 | 0.00027194
30 | 0.0011049 | 0.0002769
31 | 0.0010728 | 0.00026888
32 | 0.0010801 | 0.00027069

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1