## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-92_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-92_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-92_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-92_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-92_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-92_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_261-92_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_261-92_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_261-92_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-92_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_261-92_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_261-92_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_261-92_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_261-92_0_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_261-92_0_4_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_261-92_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_261-92_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_261-92_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_261-92_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_261-92_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_261-92_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_261-92_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_261-92_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_261-92_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_261-92_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_261-92_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_261-92_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_261-92_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_261-92_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_261-92_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_261-92_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_261-92_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_261-92_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_261-92_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_261-92_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_261-92_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_261-92_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_261-92_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_261-92_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_261-92_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_261-92_0_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_261-92_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_261-92_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_261-92_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_261-92_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_261-92_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_261-92_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_261-92_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_261-92_0_4_node_18 | 0.4 | n |  | TRUE
49 | bus_LV_261-92_0_4_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_261-92_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_261-92_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_261-92_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_261-92_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_261-92_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_261-92_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_261-92_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_MV_544_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-92_0_4_load_0 | 0 | 0.050038 | 0.012541 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-92_0_4_load_1 | 1 | 0.062428 | 0.015646 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-92_0_4_load_3 | 3 | 0.055913 | 0.014013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-92_0_4_load_45 | 7 | 0.0010396 | 0.00026055 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-92_0_4_load_42 | 9 | 0.00097663 | 0.00024477 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-92_0_4_load_7 | 12 | 0.048743 | 0.012216 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-92_0_4_load_53 | 13 | 0.083126 | 0.020833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-92_0_4_load_51 | 14 | 0.039646 | 0.0099363 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-92_0_4_load_41 | 15 | 0.00096406 | 0.00024162 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-92_0_4_load_6 | 16 | 0.0063648 | 0.0015952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-92_0_4_load_9 | 18 | 0.0044606 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-92_0_4_load_10 | 19 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-92_0_4_load_13 | 22 | 0.0041233 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-92_0_4_load_17 | 25 | 0.0034678 | 0.00086912 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-92_0_4_load_20 | 26 | 0.011311 | 0.0028348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-92_0_4_load_19 | 27 | 0.0060185 | 0.0015084 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-92_0_4_load_34 | 28 | 0.007228 | 0.0018115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-92_0_4_load_55 | 32 | 0.0036771 | 0.00092156 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-92_0_4_load_58 | 36 | 0.0019781 | 0.00049577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-92_0_4_load_56 | 39 | 0.0035766 | 0.00089637 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-92_0_4_load_59 | 40 | 0.0023235 | 0.00058232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-92_0_4_load_57 | 42 | 0.0024066 | 0.00060316 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-92_0_4_load_54 | 43 | 0.0035332 | 0.00088551 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-92_0_4_load_60 | 44 | 0.0021599 | 0.00054133 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-92_0_4_load_21 | 45 | 0.0028018 | 0.0007022 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-92_0_4_load_38 | 46 | 0.0059378 | 0.0014882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-92_0_4_load_39 | 47 | 0.003337 | 0.00083632 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-92_0_4_load_18 | 48 | 0.0034173 | 0.00085646 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-92_0_4_load_22 | 49 | 0.0050801 | 0.0012732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-92_0_4_load_24 | 50 | 0.010141 | 0.0025415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-92_0_4_load_36 | 51 | 0.0056553 | 0.0014174 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-92_0_4_load_43 | 52 | 0.00099445 | 0.00024923 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-92_0_4_load_44 | 53 | 0.0016898 | 0.00042351 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-92_0_4_load_50 | 54 | 0.0016902 | 0.00042361 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-92_0_4_load_49 | 55 | 0.0017025 | 0.00042669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-92_0_4_load_48 | 56 | 0.0015123 | 0.00037903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-92_0_4_line_0 |  | 0 | 1 | 0.055711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_261-92_0_4_line_1 |  | 0 | 2 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-92_0_4_line_2 |  | 1 | 3 | 0.05372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_261-92_0_4_line_3 |  | 2 | 4 | 0.061131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-92_0_4_line_4 |  | 3 | 5 | 0.060455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-92_0_4_line_5 |  | 4 | 6 | 0.065363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-92_0_4_line_6 |  | 4 | 7 | 0.026051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-92_0_4_line_7 |  | 5 | 10 | 0.06859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-92_0_4_line_8 |  | 5 | 11 | 0.063246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-92_0_4_line_9 |  | 5 | 12 | 0.050496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-92_0_4_line_10 |  | 6 | 13 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-92_0_4_line_11 |  | 7 | 8 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-92_0_4_line_12 |  | 8 | 9 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-92_0_4_line_13 |  | 9 | 15 | 0.0048117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-92_0_4_line_14 |  | 10 | 14 | 0.045866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-92_0_4_line_15 |  | 11 | 17 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_261-92_0_4_line_16 |  | 12 | 16 | 0.0069335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-92_0_4_line_17 |  | 15 | 52 | 0.0056976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-92_0_4_line_18 |  | 17 | 27 | 0.03633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_261-92_0_4_line_19 |  | 17 | 28 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-92_0_4_line_20 |  | 18 | 19 | 0.027747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-92_0_4_line_21 |  | 18 | 20 | 0.020987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-92_0_4_line_22 |  | 19 | 21 | 0.03938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-92_0_4_line_23 |  | 20 | 22 | 0.062734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-92_0_4_line_24 |  | 20 | 23 | 0.0086693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-92_0_4_line_25 |  | 21 | 24 | 0.034596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-92_0_4_line_26 |  | 22 | 25 | 0.017723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-92_0_4_line_27 |  | 23 | 26 | 0.045164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-92_0_4_line_28 |  | 24 | 44 | 0.005167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-92_0_4_line_29 |  | 24 | 35 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-92_0_4_line_30 |  | 25 | 48 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_261-92_0_4_line_31 |  | 27 | 48 | 0.015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_261-92_0_4_line_32 |  | 29 | 30 | 0.008852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-92_0_4_line_33 |  | 29 | 31 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-92_0_4_line_34 |  | 29 | 32 | 0.003863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-92_0_4_line_35 |  | 29 | 33 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-92_0_4_line_36 |  | 30 | 39 | 0.003967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-92_0_4_line_37 |  | 31 | 46 | 0.011174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-92_0_4_line_38 |  | 33 | 45 | 0.0039877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-92_0_4_line_39 |  | 34 | 35 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-92_0_4_line_40 |  | 34 | 36 | 0.004017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-92_0_4_line_41 |  | 34 | 37 | 0.009085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-92_0_4_line_42 |  | 34 | 38 | 0.02479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-92_0_4_line_43 |  | 35 | 40 | 0.004096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-92_0_4_line_44 |  | 37 | 41 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-92_0_4_line_45 |  | 37 | 42 | 0.003966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-92_0_4_line_46 |  | 38 | 43 | 0.004111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-92_0_4_line_47 |  | 41 | 47 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-92_0_4_line_48 |  | 41 | 46 | 0.014097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-92_0_4_line_49 |  | 45 | 49 | 0.019863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-92_0_4_line_50 |  | 49 | 50 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-92_0_4_line_51 |  | 50 | 51 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-92_0_4_line_52 |  | 52 | 53 | 0.0051915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-92_0_4_line_53 |  | 53 | 54 | 0.0054053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-92_0_4_line_54 |  | 54 | 55 | 0.0054257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-92_0_4_line_55 |  | 55 | 56 | 0.0057324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-92_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 57 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2680947.3997 | 1249833.89 | 2680951.9767 | 1249833.914 | 2681002.9764 | 1249830.205
1 | 2680912.4001 | 1249833.7069 | 2680947.3997 | 1249833.89
2 | 2681002.9764 | 1249830.205 | 2681015.4259 | 1249829.2996 | 2681056.6175 | 1249827.3533
3 | 2680911.7297 | 1249773.331 | 2680912.0035 | 1249778.1605 | 2680913.0685 | 1249796.9333 | 2680911.1413 | 1249799.2754 | 2680912.1482 | 1249826.7205 | 2680912.2415 | 1249829.2903 | 2680912.4001 | 1249833.7069
4 | 2681116.3837 | 1249818.7723 | 2681069.6279 | 1249826.7386 | 2681056.6175 | 1249827.3533
5 | 2680911.7297 | 1249773.331 | 2680911.5461 | 1249768.5361 | 2680911.2558 | 1249761.0377 | 2680958.1082 | 1249759.2871 | 2680957.1874 | 1249753.1812
6 | 2680911.7297 | 1249773.331 | 2680885.6828 | 1249773.8134
7 | 2681094.7974 | 1249753.6512 | 2681101.9109 | 1249775.0976 | 2681116.3837 | 1249818.7723
8 | 2681137.0953 | 1249878.2663 | 2681136.6028 | 1249876.7362 | 2681135.1038 | 1249872.0678 | 2681118.9756 | 1249821.9323 | 2681116.3837 | 1249818.7723
9 | 2681116.3837 | 1249818.7723 | 2681138.5986 | 1249811.5043 | 2681154.0825 | 1249803.944 | 2681157.404 | 1249794.627 | 2681157.404 | 1249794.627
10 | 2680957.1874 | 1249753.1812 | 2680976.4517 | 1249752.4215 | 2680976.7428 | 1249752.4052
11 | 2680874.4056 | 1249774.0222 | 2680885.6828 | 1249773.8134
12 | 2680874.4056 | 1249774.0222 | 2680874.7118 | 1249782.0101 | 2680874.9298 | 1249787.7771
13 | 2680875.1114 | 1249792.5854 | 2680874.9298 | 1249787.7771
14 | 2681094.7974 | 1249753.6512 | 2681106.4533 | 1249749.3964 | 2681137.4669 | 1249736.8435
15 | 2681137.0953 | 1249878.2663 | 2681138.9595 | 1249877.7692 | 2681139.2557 | 1249878.7407 | 2681140.5504 | 1249882.8948 | 2681141.2876 | 1249885.2955 | 2681141.3311 | 1249885.4296 | 2681142.5964 | 1249889.5166 | 2681143.2398 | 1249891.6047
16 | 2681163.7733 | 1249791.8873 | 2681157.404 | 1249794.627
17 | 2680875.1114 | 1249792.5854 | 2680875.3266 | 1249798.279
18 | 2681143.2398 | 1249891.6047 | 2681125.4275 | 1249897.1873 | 2681108.1033 | 1249900.6344
19 | 2681143.2398 | 1249891.6047 | 2681149.7814 | 1249889.7373 | 2681159.6024 | 1249886.4861
20 | 2680986.0055 | 1249939.7829 | 2680987.5353 | 1249955.7117 | 2680999.2238 | 1249954.5595 | 2680999.2238 | 1249954.5595
21 | 2680983.9992 | 1249918.8918 | 2680986.0055 | 1249939.7829
22 | 2681004.8746 | 1249993.5321 | 2680999.2238 | 1249954.5595
23 | 2680983.9992 | 1249918.8918 | 2681023.2649 | 1249914.1915 | 2681046.2511 | 1249911.1413
24 | 2680983.0676 | 1249910.2727 | 2680983.517 | 1249914.4041 | 2680983.9992 | 1249918.8918
25 | 2681039.0937 | 1249988.4627 | 2681023.9684 | 1249990.8244 | 2681012.6568 | 1249992.5822 | 2681004.8746 | 1249993.5321
26 | 2681046.2511 | 1249911.1413 | 2681063.82 | 1249908.8099
27 | 2680983.0676 | 1249910.2727 | 2681003.7889 | 1249907.8318 | 2681027.8295 | 1249904.2951
28 | 2681038.2271 | 1249983.3693 | 2681039.0937 | 1249988.4627
29 | 2681064.3847 | 1249983.6716 | 2681050.133 | 1249986.7457 | 2681039.0937 | 1249988.4627
30 | 2681063.82 | 1249908.8099 | 2681073.4753 | 1249907.5286 | 2681080.4104 | 1249906.1447 | 2681092.8471 | 1249903.6701
31 | 2681108.1033 | 1249900.6344 | 2681092.8471 | 1249903.6701
32 | 2681112.958 | 1249972.4611 | 2681104.3511 | 1249974.6338
33 | 2681112.958 | 1249972.4611 | 2681117.8373 | 1249971.227 | 2681118.8856 | 1249975.7224 | 2681119.7939 | 1249979.4153
34 | 2681111.9823 | 1249968.7228 | 2681112.958 | 1249972.4611
35 | 2681112.958 | 1249972.4611 | 2681117.8373 | 1249971.227 | 2681123.0424 | 1249969.9083 | 2681126.719 | 1249968.8356 | 2681132.2377 | 1249967.2211
36 | 2681103.3921 | 1249970.7845 | 2681104.3511 | 1249974.6338
37 | 2681119.7939 | 1249979.4153 | 2681108.9756 | 1249982.2123
38 | 2681132.2377 | 1249967.2211 | 2681136.0644 | 1249966.0994
39 | 2681064.3847 | 1249983.6716 | 2681070.7079 | 1249982.3015 | 2681075.1152 | 1249981.35
40 | 2681074.2174 | 1249977.4348 | 2681075.1152 | 1249981.35
41 | 2681084.0206 | 1249979.4259 | 2681075.1152 | 1249981.35
42 | 2681060.9188 | 1249993.0756 | 2681060.111 | 1249989.2062 | 2681071.7132 | 1249986.6296 | 2681070.7079 | 1249982.3015 | 2681075.1152 | 1249981.35
43 | 2681063.5713 | 1249979.6576 | 2681064.3847 | 1249983.6716
44 | 2681084.0206 | 1249979.4259 | 2681093.5244 | 1249977.3655 | 2681094.357 | 1249981.6245 | 2681095.3275 | 1249985.7408
45 | 2681083.1524 | 1249975.5557 | 2681084.0206 | 1249979.4259
46 | 2681061.7546 | 1249997.1012 | 2681060.9188 | 1249993.0756
47 | 2681087.7492 | 1249998.2686 | 2681087.9796 | 1249994.1243 | 2681090.9136 | 1249990.4839 | 2681094.4714 | 1249987.6083 | 2681095.4701 | 1249986.3543 | 2681095.3275 | 1249985.7408
48 | 2681095.3275 | 1249985.7408 | 2681108.9756 | 1249982.2123
49 | 2681136.0644 | 1249966.0994 | 2681155.1254 | 1249960.5127
50 | 2681183.4476 | 1249951.3642 | 2681176.1083 | 1249953.745 | 2681169.2524 | 1249955.9639 | 2681156.2307 | 1249960.1887 | 2681155.1254 | 1249960.5127
51 | 2681207.1935 | 1249943.5855 | 2681193.8018 | 1249948.0053 | 2681183.4476 | 1249951.3642
52 | 2680875.3266 | 1249798.279 | 2680875.5226 | 1249803.4668
53 | 2680875.5226 | 1249803.4668 | 2680875.7267 | 1249808.8683
54 | 2680875.7267 | 1249808.8683 | 2680875.9316 | 1249814.2901
55 | 2680876.1481 | 1249820.0183 | 2680875.9316 | 1249814.2901

## bus_geodata
| x | y | coords
0 | 2680947.3997 | 1249833.89
1 | 2681002.9764 | 1249830.205
2 | 2680912.4001 | 1249833.7069
3 | 2681056.6175 | 1249827.3533
4 | 2680911.7297 | 1249773.331
5 | 2681116.3837 | 1249818.7723
6 | 2680957.1874 | 1249753.1812
7 | 2680885.6828 | 1249773.8134
8 | 2680874.4056 | 1249774.0222
9 | 2680874.9298 | 1249787.7771
10 | 2681094.7974 | 1249753.6512
11 | 2681137.0953 | 1249878.2663
12 | 2681157.404 | 1249794.627
13 | 2680976.7428 | 1249752.4052
14 | 2681137.4669 | 1249736.8435
15 | 2680875.1114 | 1249792.5854
16 | 2681163.7733 | 1249791.8873
17 | 2681143.2398 | 1249891.6047
18 | 2680986.0055 | 1249939.7829
19 | 2680999.2238 | 1249954.5595
20 | 2680983.9992 | 1249918.8918
21 | 2681004.8746 | 1249993.5321
22 | 2681046.2511 | 1249911.1413
23 | 2680983.0676 | 1249910.2727
24 | 2681039.0937 | 1249988.4627
25 | 2681063.82 | 1249908.8099
26 | 2681027.8295 | 1249904.2951
27 | 2681108.1033 | 1249900.6344
28 | 2681159.6024 | 1249886.4861
29 | 2681112.958 | 1249972.4611
30 | 2681104.3511 | 1249974.6338
31 | 2681119.7939 | 1249979.4153
32 | 2681111.9823 | 1249968.7228
33 | 2681132.2377 | 1249967.2211
34 | 2681075.1152 | 1249981.35
35 | 2681064.3847 | 1249983.6716
36 | 2681074.2174 | 1249977.4348
37 | 2681084.0206 | 1249979.4259
38 | 2681060.9188 | 1249993.0756
39 | 2681103.3921 | 1249970.7845
40 | 2681063.5713 | 1249979.6576
41 | 2681095.3275 | 1249985.7408
42 | 2681083.1524 | 1249975.5557
43 | 2681061.7546 | 1249997.1011
44 | 2681038.2271 | 1249983.3693
45 | 2681136.0644 | 1249966.0994
46 | 2681108.9756 | 1249982.2123
47 | 2681087.7492 | 1249998.2686
48 | 2681092.8471 | 1249903.6701
49 | 2681155.1254 | 1249960.5127
50 | 2681183.4476 | 1249951.3642
51 | 2681207.1935 | 1249943.5855
52 | 2680875.3266 | 1249798.279
53 | 2680875.5226 | 1249803.4668
54 | 2680875.7267 | 1249808.8683
55 | 2680875.9316 | 1249814.2901
56 | 2680876.1481 | 1249820.0183
57 | 2681116.3837 | 1249818.7723

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9912 | -0.16779 | 0.050038 | 0.012541
1 | 0.9949 | -0.097016 | 0.062428 | 0.015646
2 | 0.98815 | -0.22615 | 0 | 0
3 | 1 | 0 | -0.40473 | -0.10311
4 | 0.98283 | -0.32895 | 0 | 0
5 | 0.99466 | -0.10145 | 0 | 0
6 | 0.97778 | -0.42749 | 0 | 0
7 | 0.98258 | -0.33392 | 0.0010396 | 0.00026055
8 | 0.98248 | -0.33586 | 0 | 0
9 | 0.98236 | -0.33823 | 0.00097663 | 0.00024477
10 | 0.99217 | -0.14947 | 0 | 0
11 | 0.99183 | -0.15551 | 0 | 0
12 | 0.99212 | -0.15059 | 0.048743 | 0.012216
13 | 0.97627 | -0.45719 | 0.083126 | 0.020833
14 | 0.99051 | -0.18173 | 0.039646 | 0.0099363
15 | 0.98232 | -0.33897 | 0.00096406 | 0.00024162
16 | 0.99208 | -0.15138 | 0.0063648 | 0.0015952
17 | 0.99109 | -0.16958 | 0 | 0
18 | 0.98118 | -0.36041 | 0.0044606 | 0.0011179
19 | 0.97972 | -0.38894 | 0.004101 | 0.0010278
20 | 0.98238 | -0.33719 | 0 | 0
21 | 0.97778 | -0.42665 | 0 | 0
22 | 0.98661 | -0.25541 | 0.0041233 | 0.0010334
23 | 0.98229 | -0.33896 | 0 | 0
24 | 0.97608 | -0.45989 | 0 | 0
25 | 0.98788 | -0.23112 | 0.0034678 | 0.00086912
26 | 0.98182 | -0.34819 | 0.011311 | 0.0028348
27 | 0.98958 | -0.19849 | 0.0060185 | 0.0015084
28 | 0.99098 | -0.17178 | 0.007228 | 0.0018115
29 | 0.97214 | -0.53756 | 0 | 0
30 | 0.97211 | -0.53814 | 0 | 0
31 | 0.97253 | -0.52989 | 0 | 0
32 | 0.97213 | -0.53782 | 0.0036771 | 0.00092156
33 | 0.9717 | -0.54629 | 0 | 0
34 | 0.97438 | -0.49332 | 0 | 0
35 | 0.97488 | -0.48362 | 0 | 0
36 | 0.97438 | -0.49346 | 0.0019781 | 0.00049577
37 | 0.97402 | -0.50043 | 0 | 0
38 | 0.9743 | -0.49493 | 0 | 0
39 | 0.9721 | -0.5384 | 0.0035766 | 0.00089637
40 | 0.97487 | -0.4838 | 0.0023235 | 0.00058232
41 | 0.97334 | -0.51395 | 0 | 0
42 | 0.97401 | -0.5006 | 0.0024066 | 0.00060316
43 | 0.97429 | -0.49519 | 0.0035332 | 0.00088551
44 | 0.97607 | -0.46009 | 0.0021599 | 0.00054133
45 | 0.97161 | -0.54803 | 0.0028018 | 0.0007022
46 | 0.97285 | -0.52352 | 0.0059378 | 0.0014882
47 | 0.97329 | -0.51491 | 0.003337 | 0.00083632
48 | 0.98897 | -0.21005 | 0.0034173 | 0.00085646
49 | 0.97122 | -0.55569 | 0.0050801 | 0.0012732
50 | 0.97078 | -0.56438 | 0.010141 | 0.0025415
51 | 0.97065 | -0.567 | 0.0056553 | 0.0014174
52 | 0.98228 | -0.33975 | 0.00099445 | 0.00024923
53 | 0.98225 | -0.34037 | 0.0016898 | 0.00042351
54 | 0.98222 | -0.34085 | 0.0016902 | 0.00042361
55 | 0.98221 | -0.34116 | 0.0017025 | 0.00042669
56 | 0.9822 | -0.34132 | 0.0015123 | 0.00037903
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14498 | -0.03682 | 0.14548 | 0.037136 | 0.00049564 | 0.00031577 | 0.21783 | 0.21783 | 0.21783 | 0.9912 | -0.16779 | 0.9949 | -0.097016 | 29.9212
1 | 0.094946 | 0.024279 | -0.094679 | -0.024109 | 0.0002673 | 0.00017062 | 0.14271 | 0.14271 | 0.14271 | 0.9912 | -0.16779 | 0.98815 | -0.22615 | 39.2057
2 | -0.20791 | -0.052782 | 0.20888 | 0.053405 | 0.00097544 | 0.00062288 | 0.3112 | 0.31119 | 0.3112 | 0.9949 | -0.097016 | 1 | 0 | 42.7466
3 | 0.094679 | 0.024109 | -0.094212 | -0.023811 | 0.00046687 | 0.00029802 | 0.14271 | 0.14271 | 0.14271 | 0.98815 | -0.22615 | 0.98283 | -0.32895 | 39.2058
4 | 0.1942 | 0.04971 | -0.19325 | -0.049104 | 0.00094894 | 0.00060574 | 0.28934 | 0.28934 | 0.28934 | 1 | 0 | 0.99466 | -0.10145 | 39.7441
5 | 0.083637 | 0.021159 | -0.083244 | -0.020908 | 0.00039346 | 0.00025099 | 0.1267 | 0.1267 | 0.1267 | 0.98283 | -0.32895 | 0.97778 | -0.42749 | 34.8073
6 | 0.010575 | 0.0026514 | -0.010573 | -0.0026501 | 2.5044e-06 | 1.2728e-06 | 0.016011 | 0.016011 | 0.016011 | 0.98283 | -0.32895 | 0.98258 | -0.33392 | 4.3987
7 | 0.039798 | 0.010032 | -0.039707 | -0.0099747 | 9.124e-05 | 5.7506e-05 | 0.059559 | 0.059559 | 0.059559 | 0.99466 | -0.10145 | 0.99217 | -0.14947 | 16.3624
8 | 0.098212 | 0.025178 | -0.097956 | -0.025016 | 0.0002567 | 0.00016265 | 0.14713 | 0.14713 | 0.14713 | 0.99466 | -0.10145 | 0.99183 | -0.15551 | 20.2098
9 | 0.055237 | 0.013893 | -0.055108 | -0.013811 | 0.00012936 | 8.2136e-05 | 0.082652 | 0.082652 | 0.082652 | 0.99466 | -0.10145 | 0.99212 | -0.15059 | 22.7067
10 | 0.083244 | 0.020908 | -0.083126 | -0.020833 | 0.00011781 | 7.5153e-05 | 0.1267 | 0.1267 | 0.1267 | 0.97778 | -0.42749 | 0.97627 | -0.45719 | 34.8073
11 | 0.0095329 | 0.0023896 | -0.009532 | -0.0023892 | 8.8156e-07 | 4.2135e-07 | 0.014437 | 0.014437 | 0.014437 | 0.98258 | -0.33392 | 0.98248 | -0.33586 | 3.9662
12 | 0.009532 | 0.0023892 | -0.009531 | -0.0023886 | 1.0759e-06 | 5.1425e-07 | 0.014437 | 0.014437 | 0.014437 | 0.98248 | -0.33586 | 0.98236 | -0.33823 | 3.9662
13 | 0.0085543 | 0.0021439 | -0.008554 | -0.0021437 | 3.0296e-07 | 1.3298e-07 | 0.012958 | 0.012958 | 0.012958 | 0.98236 | -0.33823 | 0.98232 | -0.33897 | 3.5598
14 | 0.039707 | 0.0099747 | -0.039646 | -0.0099363 | 6.1013e-05 | 3.8457e-05 | 0.059559 | 0.059559 | 0.059559 | 0.99217 | -0.14947 | 0.99051 | -0.18173 | 16.3625
15 | 0.097956 | 0.025016 | -0.097889 | -0.024974 | 6.6611e-05 | 4.2208e-05 | 0.14713 | 0.14713 | 0.14713 | 0.99183 | -0.15551 | 0.99109 | -0.16958 | 20.2098
16 | 0.0063651 | 0.0015952 | -0.0063648 | -0.0015952 | 2.3696e-07 | 6.2124e-08 | 0.0095466 | 0.0095466 | 0.0095466 | 0.99212 | -0.15059 | 0.99208 | -0.15138 | 2.6227
17 | 0.00759 | 0.0019021 | -0.0075897 | -0.001902 | 2.8243e-07 | 1.0863e-07 | 0.011497 | 0.011497 | 0.011497 | 0.98232 | -0.33897 | 0.98228 | -0.33975 | 3.1586
18 | 0.09066 | 0.023162 | -0.090534 | -0.023082 | 0.0001265 | 8.0027e-05 | 0.13627 | 0.13627 | 0.13627 | 0.99109 | -0.16958 | 0.98958 | -0.19849 | 18.7191
19 | 0.0072287 | 0.0018118 | -0.007228 | -0.0018115 | 7.5747e-07 | 2.6383e-07 | 0.010853 | 0.010853 | 0.010853 | 0.99109 | -0.16958 | 0.99098 | -0.17178 | 2.9817
20 | 0.057152 | 0.014492 | -0.057074 | -0.014442 | 7.8278e-05 | 4.9748e-05 | 0.086735 | 0.086735 | 0.086735 | 0.98118 | -0.36041 | 0.97972 | -0.38894 | 23.8282
21 | -0.061613 | -0.01561 | 0.061682 | 0.015653 | 6.8802e-05 | 4.3768e-05 | 0.093499 | 0.093499 | 0.093499 | 0.98118 | -0.36041 | 0.98238 | -0.33719 | 25.6867
22 | 0.052973 | 0.013414 | -0.052877 | -0.013353 | 9.5712e-05 | 6.0761e-05 | 0.080506 | 0.080506 | 0.080506 | 0.97972 | -0.38894 | 0.97778 | -0.42665 | 22.1171
23 | -0.072999 | -0.018491 | 0.073287 | 0.018675 | 0.00028799 | 0.00018351 | 0.11064 | 0.11064 | 0.11064 | 0.98238 | -0.33719 | 0.98661 | -0.25541 | 30.3961
24 | 0.011317 | 0.002838 | -0.011316 | -0.0028375 | 9.5537e-07 | 5.0168e-07 | 0.017143 | 0.017143 | 0.017143 | 0.98238 | -0.33719 | 0.98229 | -0.33896 | 4.7095
25 | 0.052877 | 0.013353 | -0.052793 | -0.0133 | 8.4085e-05 | 5.3381e-05 | 0.080506 | 0.080506 | 0.080506 | 0.97778 | -0.42665 | 0.97608 | -0.45989 | 22.1172
26 | -0.07741 | -0.019708 | 0.077501 | 0.019766 | 9.0761e-05 | 5.786e-05 | 0.11686 | 0.11686 | 0.11686 | 0.98661 | -0.25541 | 0.98788 | -0.23112 | 32.1045
27 | 0.011316 | 0.0028375 | -0.011311 | -0.0028348 | 4.9772e-06 | 2.614e-06 | 0.017143 | 0.017143 | 0.017143 | 0.98229 | -0.33896 | 0.98182 | -0.34819 | 4.7096
28 | 0.00216 | 0.00054128 | -0.0021599 | -0.00054133 | 2.1009e-08 | -5.1138e-08 | 0.0032928 | 0.0032928 | 0.0032928 | 0.97608 | -0.45989 | 0.97607 | -0.46009 | 0.90462
29 | 0.050633 | 0.012759 | -0.050576 | -0.012722 | 5.7409e-05 | 3.6421e-05 | 0.077214 | 0.077214 | 0.077214 | 0.97608 | -0.45989 | 0.97488 | -0.48362 | 21.2126
30 | -0.080969 | -0.020635 | 0.081051 | 0.020687 | 8.2418e-05 | 5.1992e-05 | 0.12208 | 0.12208 | 0.12208 | 0.98788 | -0.23112 | 0.98897 | -0.21005 | 16.7697
31 | 0.084516 | 0.021573 | -0.084468 | -0.021544 | 4.7209e-05 | 2.9814e-05 | 0.12723 | 0.12723 | 0.12723 | 0.98958 | -0.19849 | 0.98897 | -0.21005 | 17.476
32 | 0.0035767 | 0.00089631 | -0.0035766 | -0.00089635 | 9.9494e-08 | -4.6072e-08 | 0.0054747 | 0.0054747 | 0.0054747 | 0.97214 | -0.53756 | 0.97211 | -0.53814 | 1.504
33 | -0.030959 | -0.007768 | 0.03097 | 0.0077751 | 1.1329e-05 | 7.0838e-06 | 0.04739 | 0.04739 | 0.04739 | 0.97214 | -0.53756 | 0.97253 | -0.52989 | 13.0193
34 | 0.0036771 | 0.00092155 | -0.0036771 | -0.00092156 | 4.5891e-08 | -1.8524e-08 | 0.0056284 | 0.0056284 | 0.0056284 | 0.97214 | -0.53756 | 0.97213 | -0.53782 | 1.5463
35 | 0.023705 | 0.0059501 | -0.023695 | -0.0059441 | 9.867e-06 | 6.0672e-06 | 0.036287 | 0.036287 | 0.036287 | 0.97214 | -0.53756 | 0.9717 | -0.54629 | 9.969
36 | 0.0035766 | 0.00089635 | -0.0035766 | -0.00089637 | 4.4588e-08 | -2.0644e-08 | 0.0054747 | 0.0054748 | 0.0054748 | 0.97211 | -0.53814 | 0.9721 | -0.5384 | 1.5041
37 | -0.03097 | -0.0077751 | 0.030979 | 0.0077809 | 9.4106e-06 | 5.8841e-06 | 0.04739 | 0.04739 | 0.04739 | 0.97253 | -0.52989 | 0.97285 | -0.52352 | 13.0193
38 | 0.023695 | 0.0059441 | -0.023693 | -0.0059429 | 1.9691e-06 | 1.2108e-06 | 0.036287 | 0.036287 | 0.036287 | 0.9717 | -0.54629 | 0.97161 | -0.54803 | 9.969
39 | -0.04823 | -0.012126 | 0.048252 | 0.01214 | 2.2343e-05 | 1.4163e-05 | 0.073667 | 0.073667 | 0.073667 | 0.97438 | -0.49332 | 0.97488 | -0.48362 | 20.2383
40 | 0.0019781 | 0.00049572 | -0.0019781 | -0.00049577 | 1.3747e-08 | -4.1236e-08 | 0.0030209 | 0.0030209 | 0.0030209 | 0.97438 | -0.49332 | 0.97438 | -0.49346 | 0.82992
41 | 0.042718 | 0.010745 | -0.042704 | -0.010735 | 1.4505e-05 | 9.1702e-06 | 0.06525 | 0.06525 | 0.06525 | 0.97438 | -0.49332 | 0.97402 | -0.50043 | 17.9259
42 | 0.0035335 | 0.00088535 | -0.0035333 | -0.00088549 | 2.7069e-07 | -1.3551e-07 | 0.0053961 | 0.0053962 | 0.0053962 | 0.97438 | -0.49332 | 0.9743 | -0.49493 | 1.4825
43 | 0.0023235 | 0.00058228 | -0.0023235 | -0.00058232 | 1.9319e-08 | -3.8706e-08 | 0.0035465 | 0.0035465 | 0.0035465 | 0.97488 | -0.48362 | 0.97487 | -0.4838 | 0.97432
44 | 0.040297 | 0.010132 | -0.040271 | -0.010116 | 2.6009e-05 | 1.6418e-05 | 0.061574 | 0.061574 | 0.061574 | 0.97402 | -0.50043 | 0.97334 | -0.51395 | 16.9159
45 | 0.0024066 | 0.00060312 | -0.0024066 | -0.00060316 | 2.0104e-08 | -3.6496e-08 | 0.0036766 | 0.0036766 | 0.0036766 | 0.97402 | -0.50043 | 0.97401 | -0.5006 | 1.0101
46 | 0.0035333 | 0.00088549 | -0.0035332 | -0.00088551 | 4.4891e-08 | -2.2466e-08 | 0.0053962 | 0.0053962 | 0.0053962 | 0.9743 | -0.49493 | 0.97429 | -0.49519 | 1.4825
47 | 0.0033371 | 0.00083623 | -0.003337 | -0.00083632 | 1.5246e-07 | -9.6559e-08 | 0.0051017 | 0.0051018 | 0.0051018 | 0.97334 | -0.51395 | 0.97329 | -0.51491 | 1.4016
48 | 0.036934 | 0.0092797 | -0.036917 | -0.0092691 | 1.6859e-05 | 1.0614e-05 | 0.056472 | 0.056472 | 0.056472 | 0.97334 | -0.51395 | 0.97285 | -0.52352 | 15.5144
49 | 0.020891 | 0.0052407 | -0.020883 | -0.005236 | 7.6256e-06 | 4.6345e-06 | 0.031996 | 0.031996 | 0.031996 | 0.97161 | -0.54803 | 0.97122 | -0.55569 | 8.7902
50 | 0.015803 | 0.0039628 | -0.015797 | -0.003959 | 6.5437e-06 | 3.8198e-06 | 0.024213 | 0.024213 | 0.024213 | 0.97122 | -0.55569 | 0.97078 | -0.56438 | 6.652
51 | 0.005656 | 0.0014175 | -0.0056553 | -0.0014174 | 7.0429e-07 | 1.4184e-07 | 0.0086695 | 0.0086696 | 0.0086696 | 0.97078 | -0.56438 | 0.97065 | -0.567 | 2.3818
52 | 0.0065952 | 0.0016528 | -0.0065951 | -0.0016527 | 1.9433e-07 | 5.8654e-08 | 0.0099908 | 0.0099909 | 0.0099909 | 0.98228 | -0.33975 | 0.98225 | -0.34037 | 2.7447
53 | 0.0049052 | 0.0012292 | -0.0049051 | -0.0012292 | 1.1193e-07 | 3.2172e-09 | 0.0074309 | 0.0074309 | 0.0074309 | 0.98225 | -0.34037 | 0.98222 | -0.34085 | 2.0415
54 | 0.0032149 | 0.00080561 | -0.0032148 | -0.00080565 | 4.8262e-08 | -3.7784e-08 | 0.0048703 | 0.0048704 | 0.0048704 | 0.98222 | -0.34085 | 0.98221 | -0.34116 | 1.338
55 | 0.0015123 | 0.00037896 | -0.0015123 | -0.00037903 | 1.1284e-08 | -6.533e-08 | 0.0022911 | 0.0022912 | 0.0022912 | 0.98221 | -0.34116 | 0.9822 | -0.34132 | 0.62944

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46064 | 0.11713

## res_load
| p_mw | q_mvar
0 | 0.050038 | 0.012541
1 | 0.062428 | 0.015646
2 | 0.055913 | 0.014013
3 | 0.0010396 | 0.00026055
4 | 0.00097663 | 0.00024477
5 | 0.048743 | 0.012216
6 | 0.083126 | 0.020833
7 | 0.039646 | 0.0099363
8 | 0.00096406 | 0.00024162
9 | 0.0063648 | 0.0015952
10 | 0.0044606 | 0.0011179
11 | 0.004101 | 0.0010278
12 | 0.0041233 | 0.0010334
13 | 0.0034678 | 0.00086912
14 | 0.011311 | 0.0028348
15 | 0.0060185 | 0.0015084
16 | 0.007228 | 0.0018115
17 | 0.0036771 | 0.00092156
18 | 0.0019781 | 0.00049577
19 | 0.0035766 | 0.00089637
20 | 0.0023235 | 0.00058232
21 | 0.0024066 | 0.00060316
22 | 0.0035332 | 0.00088551
23 | 0.0021599 | 0.00054133
24 | 0.0028018 | 0.0007022
25 | 0.0059378 | 0.0014882
26 | 0.003337 | 0.00083632
27 | 0.0034173 | 0.00085646
28 | 0.0050801 | 0.0012732
29 | 0.010141 | 0.0025415
30 | 0.0056553 | 0.0014174
31 | 0.00099445 | 0.00024923
32 | 0.0016898 | 0.00042351
33 | 0.0016902 | 0.00042361
34 | 0.0017025 | 0.00042669
35 | 0.0015123 | 0.00037903

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1