## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-93_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-93_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-93_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-93_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-93_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-93_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_261-93_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_261-93_0_5_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_261-93_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_261-93_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_261-93_0_5_node_90 | 0.4 | n |  | TRUE
11 | bus_LV_261-93_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_261-93_0_5_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_261-93_0_5_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_261-93_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_261-93_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_261-93_0_5_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_261-93_0_5_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_261-93_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-93_0_5_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_261-93_0_5_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_261-93_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_261-93_0_5_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_261-93_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_261-93_0_5_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_261-93_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_261-93_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_261-93_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_261-93_0_5_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_261-93_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_261-93_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_261-93_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_261-93_0_5_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_261-93_0_5_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_261-93_0_5_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_261-93_0_5_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_261-93_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_261-93_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_261-93_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_261-93_0_5_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_261-93_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_261-93_0_5_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_261-93_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_261-93_0_5_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_261-93_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_261-93_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_261-93_0_5_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_261-93_0_5_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_261-93_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_261-93_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_261-93_0_5_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_261-93_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_261-93_0_5_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_261-93_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_261-93_0_5_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_261-93_0_5_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_261-93_0_5_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_261-93_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_261-93_0_5_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_261-93_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_261-93_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_261-93_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_261-93_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_261-93_0_5_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_261-93_0_5_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_261-93_0_5_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_261-93_0_5_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_261-93_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_261-93_0_5_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_261-93_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_261-93_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_261-93_0_5_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_261-93_0_5_node_33 | 0.4 | n |  | TRUE
73 | bus_LV_261-93_0_5_node_37 | 0.4 | n |  | TRUE
74 | bus_LV_261-93_0_5_node_34 | 0.4 | n |  | TRUE
75 | bus_LV_261-93_0_5_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_261-93_0_5_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_261-93_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_261-93_0_5_node_32 | 0.4 | n |  | TRUE
79 | bus_LV_261-93_0_5_node_38 | 0.4 | n |  | TRUE
80 | bus_LV_261-93_0_5_node_40 | 0.4 | n |  | TRUE
81 | bus_LV_261-93_0_5_node_41 | 0.4 | n |  | TRUE
82 | bus_LV_261-93_0_5_node_42 | 0.4 | n |  | TRUE
83 | bus_LV_261-93_0_5_node_44 | 0.4 | n |  | TRUE
84 | bus_LV_261-93_0_5_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_261-93_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_261-93_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_261-93_0_5_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_261-93_0_5_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_261-93_0_5_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_261-93_0_5_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_261-93_0_5_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_261-93_0_5_node_87 | 0.4 | n |  | TRUE
93 | bus_MV_549_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-93_0_5_load_0 | 0 | 0.020923 | 0.0052437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-93_0_5_load_1 | 1 | 0.0063814 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-93_0_5_load_39 | 7 | 0.012726 | 0.0031893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-93_0_5_load_90 | 10 | 0.0082972 | 0.0020795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-93_0_5_load_89 | 13 | 0.0090188 | 0.0022603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-93_0_5_load_96 | 16 | 0.0070276 | 0.0017613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-93_0_5_load_63 | 17 | 0.0083288 | 0.0020874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-93_0_5_load_58 | 19 | 0.014056 | 0.0035228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-93_0_5_load_30 | 20 | 0.0034058 | 0.00085357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-93_0_5_load_80 | 22 | 0.0092385 | 0.0023154 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-93_0_5_load_75 | 23 | 0.0059315 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-93_0_5_load_79 | 24 | 0.0029404 | 0.00073692 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-93_0_5_load_54 | 28 | 0.011202 | 0.0028075 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-93_0_5_load_52 | 32 | 0.014059 | 0.0035235 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-93_0_5_load_73 | 34 | 0.0074815 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-93_0_5_load_94 | 35 | 0.0064929 | 0.0016273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-93_0_5_load_45 | 39 | 0.0029035 | 0.00072769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-93_0_5_load_95 | 41 | 0.0045789 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-93_0_5_load_88 | 43 | 0.0032447 | 0.00081319 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-93_0_5_load_71 | 44 | 0.011412 | 0.0028602 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-93_0_5_load_67 | 46 | 0.016272 | 0.0040783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-93_0_5_load_61 | 47 | 0.011804 | 0.0029584 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-93_0_5_load_50 | 49 | 0.0063857 | 0.0016004 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-93_0_5_load_51 | 50 | 0.0041899 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-93_0_5_load_49 | 51 | 0.0072167 | 0.0018087 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-93_0_5_load_84 | 52 | 0.0057491 | 0.0014409 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-93_0_5_load_83 | 54 | 0.0050763 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-93_0_5_load_81 | 55 | 0.0063642 | 0.001595 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-93_0_5_load_97 | 56 | 0.023306 | 0.005841 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-93_0_5_load_62 | 58 | 0.0068657 | 0.0017207 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-93_0_5_load_59 | 59 | 0.0074624 | 0.0018702 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-93_0_5_load_55 | 60 | 0.0083476 | 0.0020921 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-93_0_5_load_56 | 61 | 0.0088034 | 0.0022063 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-93_0_5_load_48 | 62 | 0.0040974 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-93_0_5_load_47 | 63 | 0.0040819 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-93_0_5_load_93 | 64 | 0.0066866 | 0.0016758 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-93_0_5_load_74 | 65 | 0.0034451 | 0.00086342 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-93_0_5_load_78 | 66 | 0.0072393 | 0.0018143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-93_0_5_load_53 | 67 | 0.0059309 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-93_0_5_load_70 | 68 | 0.008931 | 0.0022383 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-93_0_5_load_72 | 69 | 0.0074137 | 0.001858 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-93_0_5_load_46 | 70 | 0.0040905 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-93_0_5_load_76 | 71 | 0.0034454 | 0.00086349 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-93_0_5_load_33 | 72 | 0.0098536 | 0.0024695 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-93_0_5_load_37 | 73 | 0.011806 | 0.0029588 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-93_0_5_load_85 | 75 | 0.0060192 | 0.0015085 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-93_0_5_load_60 | 76 | 0.0075827 | 0.0019004 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-93_0_5_load_32 | 78 | 0.020151 | 0.0050503 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-93_0_5_load_38 | 79 | 0.0050512 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-93_0_5_load_40 | 80 | 0.007802 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-93_0_5_load_41 | 81 | 0.011763 | 0.0029481 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-93_0_5_load_42 | 82 | 0.0077319 | 0.0019378 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-93_0_5_load_44 | 83 | 0.009285 | 0.002327 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-93_0_5_load_92 | 84 | 0.011586 | 0.0029037 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-93_0_5_load_68 | 85 | 0.0075388 | 0.0018894 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-93_0_5_load_69 | 86 | 0.0082405 | 0.0020653 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-93_0_5_load_57 | 87 | 0.0030939 | 0.00077541 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-93_0_5_load_65 | 88 | 0.011303 | 0.0028328 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_261-93_0_5_load_64 | 89 | 0.0020519 | 0.00051426 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_261-93_0_5_load_86 | 90 | 0.0092408 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_261-93_0_5_load_77 | 91 | 0.0064214 | 0.0016093 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_261-93_0_5_load_87 | 92 | 0.022386 | 0.0056104 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-93_0_5_line_0 |  | 0 | 1 | 0.035239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-93_0_5_line_1 |  | 0 | 2 | 0.029533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-93_0_5_line_2 |  | 1 | 3 | 0.0031584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-93_0_5_line_3 |  | 2 | 4 | 0.004998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-93_0_5_line_4 |  | 3 | 5 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-93_0_5_line_5 |  | 3 | 6 | 0.084166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-93_0_5_line_6 |  | 4 | 7 | 0.0168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-93_0_5_line_7 |  | 5 | 18 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-93_0_5_line_8 |  | 6 | 20 | 0.083321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-93_0_5_line_9 |  | 8 | 9 | 0.015596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-93_0_5_line_10 |  | 8 | 10 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-93_0_5_line_11 |  | 9 | 17 | 0.030584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-93_0_5_line_12 |  | 10 | 13 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-93_0_5_line_13 |  | 11 | 12 | 0.006308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-93_0_5_line_14 |  | 11 | 13 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-93_0_5_line_15 |  | 12 | 56 | 0.028654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-93_0_5_line_16 |  | 12 | 57 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-93_0_5_line_17 |  | 14 | 15 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-93_0_5_line_18 |  | 14 | 16 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-93_0_5_line_19 |  | 15 | 35 | 0.018193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-93_0_5_line_20 |  | 16 | 56 | 0.022758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-93_0_5_line_21 |  | 17 | 58 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-93_0_5_line_22 |  | 18 | 19 | 0.0027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-93_0_5_line_23 |  | 19 | 59 | 0.016445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-93_0_5_line_24 |  | 21 | 22 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-93_0_5_line_25 |  | 21 | 23 | 0.016817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-93_0_5_line_26 |  | 21 | 24 | 0.040992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-93_0_5_line_27 |  | 22 | 64 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-93_0_5_line_28 |  | 23 | 65 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-93_0_5_line_29 |  | 24 | 66 | 0.0078193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-93_0_5_line_30 |  | 25 | 26 | 0.01446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-93_0_5_line_31 |  | 25 | 27 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-93_0_5_line_32 |  | 25 | 28 | 0.0024277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-93_0_5_line_33 |  | 26 | 44 | 0.0074951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-93_0_5_line_34 |  | 26 | 38 | 0.005909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-93_0_5_line_35 |  | 27 | 52 | 0.026634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-93_0_5_line_36 |  | 27 | 42 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-93_0_5_line_37 |  | 28 | 67 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-93_0_5_line_38 |  | 29 | 30 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-93_0_5_line_39 |  | 29 | 31 | 0.015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-93_0_5_line_40 |  | 29 | 32 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-93_0_5_line_41 |  | 30 | 40 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-93_0_5_line_42 |  | 31 | 33 | 0.007508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_261-93_0_5_line_43 |  | 31 | 34 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-93_0_5_line_44 |  | 33 | 68 | 0.005434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-93_0_5_line_45 |  | 33 | 45 | 0.004961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-93_0_5_line_46 |  | 34 | 69 | 0.02298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-93_0_5_line_47 |  | 35 | 64 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-93_0_5_line_48 |  | 36 | 37 | 0.012848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-93_0_5_line_49 |  | 36 | 38 | 0.013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-93_0_5_line_50 |  | 36 | 39 | 0.001485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-93_0_5_line_51 |  | 37 | 41 | 0.010745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-93_0_5_line_52 |  | 39 | 70 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-93_0_5_line_53 |  | 40 | 51 | 0.021469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-93_0_5_line_54 |  | 40 | 72 | 0.0083991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-93_0_5_line_55 |  | 42 | 43 | 0.0081518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-93_0_5_line_56 |  | 44 | 69 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-93_0_5_line_57 |  | 45 | 46 | 0.041535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_261-93_0_5_line_58 |  | 45 | 47 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-93_0_5_line_59 |  | 46 | 75 | 0.019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-93_0_5_line_60 |  | 47 | 76 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-93_0_5_line_61 |  | 48 | 49 | 0.023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-93_0_5_line_62 |  | 48 | 50 | 0.0099064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-93_0_5_line_63 |  | 48 | 51 | 0.011111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-93_0_5_line_64 |  | 52 | 54 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-93_0_5_line_65 |  | 53 | 54 | 0.022195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-93_0_5_line_66 |  | 53 | 55 | 0.019184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-93_0_5_line_67 |  | 55 | 77 | 0.01837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-93_0_5_line_68 |  | 57 | 84 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-93_0_5_line_69 |  | 57 | 81 | 0.0024719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_261-93_0_5_line_70 |  | 58 | 89 | 0.006283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-93_0_5_line_71 |  | 59 | 76 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-93_0_5_line_72 |  | 60 | 61 | 0.011455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-93_0_5_line_73 |  | 61 | 87 | 0.019596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-93_0_5_line_74 |  | 62 | 63 | 0.025682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-93_0_5_line_75 |  | 63 | 70 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-93_0_5_line_76 |  | 65 | 71 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-93_0_5_line_77 |  | 66 | 91 | 0.0036668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-93_0_5_line_78 |  | 68 | 86 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_261-93_0_5_line_79 |  | 73 | 74 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-93_0_5_line_80 |  | 74 | 79 | 0.028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-93_0_5_line_81 |  | 74 | 78 | 0.026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-93_0_5_line_82 |  | 75 | 90 | 8.8737e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_261-93_0_5_line_83 |  | 77 | 79 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_261-93_0_5_line_84 |  | 80 | 81 | 0.008352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_261-93_0_5_line_85 |  | 80 | 82 | 0.022277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_261-93_0_5_line_86 |  | 82 | 83 | 0.015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_261-93_0_5_line_87 |  | 83 | 85 | 0.031819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_261-93_0_5_line_88 |  | 85 | 86 | 0.025482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_261-93_0_5_line_89 |  | 87 | 88 | 0.0071419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_261-93_0_5_line_90 |  | 88 | 89 | 0.0032947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_261-93_0_5_line_91 |  | 90 | 92 | 0.033365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-93_0_5_trafo_67 | 0.63 MVA 20/0.4 kV | 93 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679141.4583 | 1249240.4922 | 2679141.2796 | 1249245.59 | 2679141.8388 | 1249257.4284 | 2679143.2271 | 1249275.0376 | 2679143.3021 | 1249275.6555
1 | 2679142.9121 | 1249210.9976 | 2679142.5801 | 1249216.6306 | 2679141.8896 | 1249228.1854 | 2679141.4583 | 1249240.4922
2 | 2679143.6829 | 1249278.7908 | 2679143.3021 | 1249275.6555
3 | 2679142.9121 | 1249210.9976 | 2679143.2128 | 1249206.0091
4 | 2679143.6829 | 1249278.7908 | 2679144.1456 | 1249282.5887 | 2679145.0996 | 1249284.6585 | 2679146.4733 | 1249285.8332 | 2679148.4618 | 1249286.7716 | 2679150.6659 | 1249286.8344 | 2679153.1166 | 1249286.5224
5 | 2679101.8455 | 1249325.4889 | 2679136.8903 | 1249310.1898 | 2679134.6118 | 1249305.5227 | 2679131.3901 | 1249296.8511 | 2679130.0781 | 1249289.3614 | 2679129.1211 | 1249280.1642 | 2679136.7449 | 1249279.243 | 2679143.6829 | 1249278.7908
6 | 2679143.2128 | 1249206.0091 | 2679159.6027 | 1249202.3197
7 | 2679153.1166 | 1249286.5224 | 2679156.3522 | 1249293.026 | 2679159.5369 | 1249299.3842
8 | 2679101.8455 | 1249325.4889 | 2679105.9689 | 1249335.6291 | 2679106.0768 | 1249342.8136 | 2679107.7634 | 1249347.7064 | 2679117.6647 | 1249357.1676 | 2679123.7983 | 1249375.663 | 2679126.706 | 1249389.1895 | 2679132.5441 | 1249400.8019
9 | 2679210.4399 | 1249438.2213 | 2679204.4593 | 1249438.8085 | 2679200.1478 | 1249438.2394 | 2679196.0459 | 1249434.9822
10 | 2679210.4399 | 1249438.2213 | 2679225.4785 | 1249432.4332
11 | 2679196.0459 | 1249434.9822 | 2679191.8736 | 1249428.5217 | 2679189.0832 | 1249416.9649 | 2679188.2408 | 1249405.9928
12 | 2679240.4771 | 1249426.6605 | 2679225.4785 | 1249432.4332
13 | 2679272.893 | 1249413.9827 | 2679267.0612 | 1249416.4288
14 | 2679267.0612 | 1249416.4288 | 2679240.4771 | 1249426.6605
15 | 2679272.893 | 1249413.9827 | 2679299.8419 | 1249404.2443
16 | 2679268.5206 | 1249392.0082 | 2679268.8673 | 1249393.7474 | 2679270.9056 | 1249403.9377 | 2679272.2879 | 1249411.8064 | 2679272.893 | 1249413.9827
17 | 2679341.7126 | 1249385.7604 | 2679339.8429 | 1249387.7924 | 2679337.7276 | 1249389.5654 | 2679335.0697 | 1249391.2533 | 2679332.2056 | 1249392.5492
18 | 2679332.2056 | 1249392.5492 | 2679321.2457 | 1249396.5098
19 | 2679341.7126 | 1249385.7604 | 2679342.034 | 1249383.185 | 2679341.3254 | 1249379.1504 | 2679338.4823 | 1249368.006
20 | 2679321.2457 | 1249396.5098 | 2679299.8419 | 1249404.2443
21 | 2679186.4696 | 1249380.3143 | 2679186.9673 | 1249389.4053 | 2679188.2408 | 1249405.9928
22 | 2679159.5369 | 1249299.3842 | 2679161.9976 | 1249298.1122
23 | 2679176.6057 | 1249290.5606 | 2679161.9976 | 1249298.1122
24 | 2679325.599 | 1249317.5059 | 2679330.0803 | 1249335.0717
25 | 2679325.599 | 1249317.5059 | 2679321.2336 | 1249301.2652
26 | 2679325.599 | 1249317.5059 | 2679303.2748 | 1249322.8334 | 2679300.2021 | 1249310.9391 | 2679294.5675 | 1249312.1158
27 | 2679330.0803 | 1249335.0717 | 2679334.5666 | 1249352.657
28 | 2679314.8071 | 1249277.3574 | 2679321.2336 | 1249301.2652
29 | 2679286.9133 | 1249313.7143 | 2679294.5675 | 1249312.1158
30 | 2679289.9157 | 1249216.2878 | 2679292.7966 | 1249222.7644 | 2679295.795 | 1249229.4983
31 | 2679289.9157 | 1249216.2878 | 2679293.6822 | 1249214.1477 | 2679295.3094 | 1249212.7462 | 2679296.1642 | 1249210.9341 | 2679295.998 | 1249208.1187 | 2679295.469 | 1249205.8989
32 | 2679289.9157 | 1249216.2878 | 2679287.7591 | 1249217.4025
33 | 2679295.795 | 1249229.4983 | 2679292.242 | 1249230.9185 | 2679288.9838 | 1249232.6049
34 | 2679295.795 | 1249229.4983 | 2679298.8421 | 1249230.3285 | 2679301.2477 | 1249231.6951
35 | 2679295.469 | 1249205.8989 | 2679294.9118 | 1249203.523 | 2679290.8316 | 1249188.4797 | 2679288.6464 | 1249180.1551
36 | 2679295.469 | 1249205.8989 | 2679301.4506 | 1249204.122 | 2679306.5456 | 1249202.589
37 | 2679273.6255 | 1249224.7077 | 2679287.7591 | 1249217.4025
38 | 2679228.662 | 1249242.7216 | 2679234.3172 | 1249241.0738 | 2679235.665 | 1249241.9257 | 2679237.3301 | 1249242.2037 | 2679238.2341 | 1249242.3604
39 | 2679238.2341 | 1249242.3604 | 2679239.24 | 1249250.1462 | 2679242.2546 | 1249256.7914
40 | 2679238.2341 | 1249242.3604 | 2679239.2628 | 1249242.2296 | 2679240.9932 | 1249241.5745 | 2679249.5369 | 1249237.1585
41 | 2679228.662 | 1249242.7216 | 2679224.5379 | 1249243.9341
42 | 2679238.4649 | 1249262.9341 | 2679239.0149 | 1249260.7621 | 2679240.034 | 1249258.5296 | 2679242.2546 | 1249256.7914
43 | 2679242.2546 | 1249256.7914 | 2679254.9928 | 1249250.1982
44 | 2679238.4649 | 1249262.9341 | 2679238.736 | 1249265.8065 | 2679239.3034 | 1249268.2914
45 | 2679233.9663 | 1249265.0533 | 2679238.4649 | 1249262.9341
46 | 2679254.9928 | 1249250.1982 | 2679275.4015 | 1249239.6349
47 | 2679334.5666 | 1249352.657 | 2679338.4823 | 1249368.006
48 | 2679313.7385 | 1249227.0921 | 2679313.1814 | 1249223.5821 | 2679313.6772 | 1249220.9534 | 2679315.0984 | 1249219.1489 | 2679318.946 | 1249217.1545
49 | 2679313.7385 | 1249227.0921 | 2679307.9484 | 1249229.2273 | 2679301.2477 | 1249231.6951
50 | 2679313.7385 | 1249227.0921 | 2679314.1142 | 1249228.5288
51 | 2679318.946 | 1249217.1545 | 2679328.4899 | 1249212.2181
52 | 2679314.1142 | 1249228.5288 | 2679316.2886 | 1249236.8445 | 2679320.3404 | 1249252.346
53 | 2679224.5379 | 1249243.9341 | 2679224.9124 | 1249245.8627 | 2679224.866 | 1249247.0741 | 2679224.5035 | 1249248.7705 | 2679223.4631 | 1249250.3355 | 2679221.4119 | 1249251.8314 | 2679210.6101 | 1249257.3706
54 | 2679224.5379 | 1249243.9341 | 2679222.6519 | 1249235.7494
55 | 2679306.5456 | 1249202.589 | 2679305.5938 | 1249200.9195 | 2679305.0704 | 1249199.4003 | 2679303.8978 | 1249194.9283
56 | 2679288.9838 | 1249232.6049 | 2679275.4015 | 1249239.6349
57 | 2679233.9663 | 1249265.0533 | 2679243.3959 | 1249305.5039
58 | 2679233.9663 | 1249265.0533 | 2679229.3232 | 1249267.2484 | 2679225.931 | 1249266.2468 | 2679223.1466 | 1249266.6655 | 2679216.8112 | 1249269.8884
59 | 2679243.3959 | 1249305.5039 | 2679247.7837 | 1249324.326
60 | 2679216.8112 | 1249269.8884 | 2679203.212 | 1249276.8065 | 2679192.62 | 1249282.2821
61 | 2679200.7234 | 1249262.4406 | 2679180.0778 | 1249273.0183
62 | 2679200.7234 | 1249262.4406 | 2679198.7012 | 1249258.3772 | 2679196.3085 | 1249253.5723
63 | 2679200.7234 | 1249262.4406 | 2679210.6101 | 1249257.3706
64 | 2679288.6464 | 1249180.1551 | 2679282.2405 | 1249155.751
65 | 2679276.6053 | 1249134.2831 | 2679282.2405 | 1249155.751
66 | 2679276.6053 | 1249134.2831 | 2679258.0147 | 1249139.0158
67 | 2679240.2126 | 1249143.5478 | 2679258.0147 | 1249139.0158
68 | 2679268.5206 | 1249392.0082 | 2679256.8099 | 1249394.5783
69 | 2679268.5206 | 1249392.0082 | 2679270.9363 | 1249391.4845
70 | 2679186.4696 | 1249380.3143 | 2679186.4696 | 1249380.3143 | 2679185.6404 | 1249376.8228 | 2679184.9285 | 1249374.2242
71 | 2679176.6057 | 1249290.5606 | 2679192.62 | 1249282.2821
72 | 2679166.0959 | 1249337.263 | 2679171.3074 | 1249347.4637
73 | 2679180.2225 | 1249364.9138 | 2679171.3074 | 1249347.4637
74 | 2679326.703 | 1249276.6804 | 2679326.8049 | 1249277.0702 | 2679333.2028 | 1249301.5265
75 | 2679320.3404 | 1249252.346 | 2679320.3543 | 1249252.3991 | 2679326.703 | 1249276.6804
76 | 2679314.8071 | 1249277.3574 | 2679311.0338 | 1249263.3198
77 | 2679283.324 | 1249314.4639 | 2679286.9133 | 1249313.7143
78 | 2679244.9633 | 1249293.0825 | 2679239.3034 | 1249268.2914
79 | 2679214.5195 | 1249179.4085 | 2679215.5367 | 1249183.5251 | 2679219.2838 | 1249200.4249
80 | 2679214.5195 | 1249179.4085 | 2679236.371 | 1249174.4524 | 2679240.3428 | 1249170.5138
81 | 2679214.5195 | 1249179.4085 | 2679210.9133 | 1249184.8088 | 2679215.4891 | 1249204.666
82 | 2679247.8038 | 1249324.4124 | 2679247.7837 | 1249324.326
83 | 2679240.2126 | 1249143.5478 | 2679242.7833 | 1249158.5487 | 2679242.4262 | 1249164.3593 | 2679240.3428 | 1249170.5138
84 | 2679269.2183 | 1249383.3111 | 2679270.9363 | 1249391.4845 | 2679270.9363 | 1249391.4845
85 | 2679269.2183 | 1249383.3111 | 2679269.2183 | 1249383.3111 | 2679264.8717 | 1249380.2841 | 2679261.0924 | 1249363.73
86 | 2679257.7171 | 1249348.9457 | 2679261.0924 | 1249363.73
87 | 2679250.6349 | 1249317.9251 | 2679257.7171 | 1249348.9457
88 | 2679250.6349 | 1249317.9251 | 2679244.9633 | 1249293.0825
89 | 2679180.2225 | 1249364.9138 | 2679183.4718 | 1249371.2738
90 | 2679184.9285 | 1249374.2242 | 2679184.87 | 1249374.0105 | 2679183.4718 | 1249371.2738
91 | 2679255.3786 | 1249356.9063 | 2679247.8038 | 1249324.4124

## bus_geodata
| x | y | coords
0 | 2679141.4583 | 1249240.4922
1 | 2679143.3021 | 1249275.6555
2 | 2679142.9121 | 1249210.9976
3 | 2679143.6829 | 1249278.7908
4 | 2679143.2128 | 1249206.0091
5 | 2679153.1166 | 1249286.5224
6 | 2679101.8455 | 1249325.4889
7 | 2679159.6027 | 1249202.3197
8 | 2679210.4399 | 1249438.2213
9 | 2679196.0459 | 1249434.9822
10 | 2679225.4785 | 1249432.4332
11 | 2679267.0612 | 1249416.4288
12 | 2679272.893 | 1249413.9827
13 | 2679240.4771 | 1249426.6605
14 | 2679332.2056 | 1249392.5492
15 | 2679341.7126 | 1249385.7604
16 | 2679321.2457 | 1249396.5098
17 | 2679188.2408 | 1249405.9928
18 | 2679159.5369 | 1249299.3842
19 | 2679161.9976 | 1249298.1122
20 | 2679132.5441 | 1249400.8019
21 | 2679325.599 | 1249317.5059
22 | 2679330.0803 | 1249335.0717
23 | 2679321.2336 | 1249301.2652
24 | 2679294.5675 | 1249312.1158
25 | 2679289.9157 | 1249216.2878
26 | 2679295.795 | 1249229.4983
27 | 2679295.469 | 1249205.8989
28 | 2679287.7591 | 1249217.4025
29 | 2679238.2341 | 1249242.3604
30 | 2679228.662 | 1249242.7216
31 | 2679242.2546 | 1249256.7914
32 | 2679249.5369 | 1249237.1585
33 | 2679238.4649 | 1249262.9341
34 | 2679254.9928 | 1249250.1982
35 | 2679338.4823 | 1249368.006
36 | 2679313.7385 | 1249227.0921
37 | 2679318.946 | 1249217.1545
38 | 2679301.2477 | 1249231.6951
39 | 2679314.1142 | 1249228.5288
40 | 2679224.5379 | 1249243.9341
41 | 2679328.4899 | 1249212.2181
42 | 2679306.5456 | 1249202.589
43 | 2679303.8978 | 1249194.9283
44 | 2679288.9838 | 1249232.6049
45 | 2679233.9663 | 1249265.0533
46 | 2679243.3959 | 1249305.5039
47 | 2679216.8112 | 1249269.8884
48 | 2679200.7234 | 1249262.4406
49 | 2679180.0778 | 1249273.0183
50 | 2679196.3085 | 1249253.5723
51 | 2679210.6101 | 1249257.3706
52 | 2679288.6464 | 1249180.1551
53 | 2679276.6053 | 1249134.2831
54 | 2679282.2405 | 1249155.751
55 | 2679258.0147 | 1249139.0158
56 | 2679299.8419 | 1249404.2443
57 | 2679268.5206 | 1249392.0082
58 | 2679186.4696 | 1249380.3143
59 | 2679176.6057 | 1249290.5606
60 | 2679166.0959 | 1249337.263
61 | 2679171.3074 | 1249347.4637
62 | 2679333.2028 | 1249301.5265
63 | 2679326.703 | 1249276.6804
64 | 2679334.5666 | 1249352.657
65 | 2679314.8071 | 1249277.3574
66 | 2679286.9133 | 1249313.7143
67 | 2679273.6255 | 1249224.7077
68 | 2679239.3034 | 1249268.2914
69 | 2679275.4015 | 1249239.6349
70 | 2679320.3404 | 1249252.346
71 | 2679311.0338 | 1249263.3198
72 | 2679222.6519 | 1249235.7494
73 | 2679219.2838 | 1249200.4249
74 | 2679214.5195 | 1249179.4085
75 | 2679247.7837 | 1249324.326
76 | 2679192.62 | 1249282.2821
77 | 2679240.2126 | 1249143.5478
78 | 2679215.4891 | 1249204.666
79 | 2679240.3428 | 1249170.5138
80 | 2679269.2183 | 1249383.3111
81 | 2679270.9363 | 1249391.4845
82 | 2679261.0924 | 1249363.73
83 | 2679257.7171 | 1249348.9457
84 | 2679256.8099 | 1249394.5783
85 | 2679250.6349 | 1249317.9251
86 | 2679244.9633 | 1249293.0825
87 | 2679180.2225 | 1249364.9138
88 | 2679183.4718 | 1249371.2738
89 | 2679184.9285 | 1249374.2242
90 | 2679247.8038 | 1249324.4124
91 | 2679283.324 | 1249314.4639
92 | 2679255.3786 | 1249356.9063
93 | 2679233.9663 | 1249265.0533

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98787 | -0.23315 | 0.020923 | 0.0052437
1 | 0.98896 | -0.212 | 0.0063814 | 0.0015993
2 | 0.98752 | -0.23987 | 0 | 0
3 | 0.98907 | -0.20974 | 0 | 0
4 | 0.98746 | -0.241 | 0 | 0
5 | 0.98966 | -0.19832 | 0 | 0
6 | 0.98881 | -0.21486 | 0 | 0
7 | 0.98727 | -0.24482 | 0.012726 | 0.0031893
8 | 0.9837 | -0.31324 | 0 | 0
9 | 0.98299 | -0.32696 | 0 | 0
10 | 0.98442 | -0.29909 | 0.0082972 | 0.0020795
11 | 0.98701 | -0.24885 | 0 | 0
12 | 0.9874 | -0.24139 | 0 | 0
13 | 0.98527 | -0.2826 | 0.0090188 | 0.0022603
14 | 0.98343 | -0.31855 | 0 | 0
15 | 0.98286 | -0.32958 | 0 | 0
16 | 0.98398 | -0.30767 | 0.0070276 | 0.0017613
17 | 0.98161 | -0.35392 | 0.0083288 | 0.0020874
18 | 0.99023 | -0.18722 | 0 | 0
19 | 0.99034 | -0.18508 | 0.014056 | 0.0035228
20 | 0.98855 | -0.21992 | 0.0034058 | 0.00085357
21 | 0.98018 | -0.38199 | 0 | 0
22 | 0.98067 | -0.37231 | 0.0092385 | 0.0023154
23 | 0.97998 | -0.3859 | 0.0059315 | 0.0014866
24 | 0.97955 | -0.39434 | 0.0029404 | 0.00073692
25 | 0.98741 | -0.24144 | 0 | 0
26 | 0.9884 | -0.22218 | 0 | 0
27 | 0.98669 | -0.25539 | 0 | 0
28 | 0.98737 | -0.24218 | 0.011202 | 0.0028075
29 | 0.99396 | -0.11531 | 0 | 0
30 | 0.9937 | -0.12022 | 0 | 0
31 | 0.99453 | -0.10417 | 0 | 0
32 | 0.9938 | -0.11841 | 0.014059 | 0.0035235
33 | 0.99509 | -0.093434 | 0 | 0
34 | 0.99294 | -0.13471 | 0.0074815 | 0.0018751
35 | 0.98199 | -0.34661 | 0.0064929 | 0.0016273
36 | 0.98805 | -0.22895 | 0 | 0
37 | 0.988 | -0.23001 | 0 | 0
38 | 0.9883 | -0.22426 | 0 | 0
39 | 0.98803 | -0.22936 | 0.0029035 | 0.00072769
40 | 0.99359 | -0.12231 | 0 | 0
41 | 0.98795 | -0.23088 | 0.0045789 | 0.0011476
42 | 0.98665 | -0.25606 | 0 | 0
43 | 0.98663 | -0.25653 | 0.0032447 | 0.00081319
44 | 0.98905 | -0.20957 | 0.011412 | 0.0028602
45 | 0.99553 | -0.085064 | 0 | 0
46 | 1 | 0 | -0.51298 | -0.1304
47 | 0.99409 | -0.11269 | 0.011804 | 0.0029584
48 | 0.99314 | -0.13113 | 0 | 0
49 | 0.993 | -0.13375 | 0.0063857 | 0.0016004
50 | 0.9931 | -0.13187 | 0.0041899 | 0.0010501
51 | 0.99325 | -0.12906 | 0.0072167 | 0.0018087
52 | 0.98535 | -0.28127 | 0.0057491 | 0.0014409
53 | 0.98333 | -0.32058 | 0 | 0
54 | 0.98422 | -0.30324 | 0.0050763 | 0.0012722
55 | 0.98256 | -0.33559 | 0.0063642 | 0.001595
56 | 0.98522 | -0.28358 | 0.023306 | 0.005841
57 | 0.98893 | -0.21172 | 0 | 0
58 | 0.98065 | -0.37278 | 0.0068657 | 0.0017207
59 | 0.99121 | -0.16829 | 0.0074624 | 0.0018702
60 | 0.97983 | -0.38895 | 0.0083476 | 0.0020921
61 | 0.97991 | -0.38721 | 0.0088034 | 0.0022063
62 | 0.98747 | -0.24031 | 0.0040974 | 0.0010269
63 | 0.98757 | -0.23843 | 0.0040819 | 0.001023
64 | 0.98132 | -0.35961 | 0.0066866 | 0.0016758
65 | 0.97982 | -0.389 | 0.0034451 | 0.00086342
66 | 0.97945 | -0.39628 | 0.0072393 | 0.0018143
67 | 0.98728 | -0.24387 | 0.0059309 | 0.0014864
68 | 0.99482 | -0.098725 | 0.008931 | 0.0022383
69 | 0.99054 | -0.1808 | 0.0074137 | 0.001858
70 | 0.98776 | -0.23475 | 0.0040905 | 0.0010252
71 | 0.97978 | -0.38991 | 0.0034454 | 0.00086349
72 | 0.99352 | -0.12377 | 0.0098536 | 0.0024695
73 | 0.97993 | -0.38715 | 0.011806 | 0.0029588
74 | 0.98016 | -0.38254 | 0 | 0
75 | 0.99934 | -0.01269 | 0.0060192 | 0.0015085
76 | 0.99229 | -0.14753 | 0.0075827 | 0.0019004
77 | 0.98193 | -0.34787 | 0 | 0
78 | 0.97966 | -0.39236 | 0.020151 | 0.0050503
79 | 0.98099 | -0.36631 | 0.0050512 | 0.001266
80 | 0.98936 | -0.20358 | 0.007802 | 0.0019554
81 | 0.98902 | -0.20996 | 0.011763 | 0.0029481
82 | 0.99028 | -0.1858 | 0.0077319 | 0.0019378
83 | 0.99093 | -0.1732 | 0.009285 | 0.002327
84 | 0.98881 | -0.2142 | 0.011586 | 0.0029037
85 | 0.99237 | -0.14549 | 0.0075388 | 0.0018894
86 | 0.99357 | -0.12252 | 0.0082405 | 0.0020653
87 | 0.98022 | -0.38111 | 0.0030939 | 0.00077541
88 | 0.98036 | -0.37849 | 0.011303 | 0.0028328
89 | 0.98045 | -0.37661 | 0.0020519 | 0.00051426
90 | 0.99934 | -0.012739 | 0.0092408 | 0.002316
91 | 0.97943 | -0.39671 | 0.0064214 | 0.0016093
92 | 0.99866 | -0.025783 | 0.022386 | 0.0056104
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033655 | -0.0084369 | 0.033689 | 0.0084582 | 3.3962e-05 | 2.1284e-05 | 0.050696 | 0.050695 | 0.050696 | 0.98787 | -0.23315 | 0.98896 | -0.212 | 13.9273
1 | 0.012733 | 0.0031932 | -0.012729 | -0.003191 | 4.074e-06 | 2.2294e-06 | 0.01918 | 0.01918 | 0.01918 | 0.98787 | -0.23315 | 0.98752 | -0.23987 | 5.2692
2 | -0.040071 | -0.010058 | 0.040075 | 0.01006 | 4.3061e-06 | 2.7154e-06 | 0.060297 | 0.060297 | 0.060297 | 0.98896 | -0.212 | 0.98907 | -0.20974 | 16.5651
3 | 0.012729 | 0.003191 | -0.012728 | -0.0031906 | 6.8948e-07 | 3.7733e-07 | 0.01918 | 0.01918 | 0.01918 | 0.98752 | -0.23987 | 0.98746 | -0.241 | 5.2692
4 | -0.043482 | -0.010913 | 0.043506 | 0.010928 | 2.3694e-05 | 1.4974e-05 | 0.065423 | 0.065423 | 0.065423 | 0.98907 | -0.20974 | 0.98966 | -0.19832 | 17.9733
5 | 0.0034074 | 0.00085248 | -0.0034066 | -0.00085302 | 8.2932e-07 | -5.4915e-07 | 0.0051258 | 0.0051262 | 0.0051262 | 0.98907 | -0.20974 | 0.98881 | -0.21486 | 1.4083
6 | 0.012728 | 0.0031906 | -0.012726 | -0.0031893 | 2.3176e-06 | 1.2684e-06 | 0.01918 | 0.01918 | 0.01918 | 0.98746 | -0.241 | 0.98727 | -0.24482 | 5.2692
7 | -0.043506 | -0.010928 | 0.043529 | 0.010942 | 2.3073e-05 | 1.4582e-05 | 0.065423 | 0.065423 | 0.065423 | 0.98966 | -0.19832 | 0.99023 | -0.18722 | 17.9733
8 | 0.0034066 | 0.00085302 | -0.0034058 | -0.00085357 | 8.2111e-07 | -5.4299e-07 | 0.0051262 | 0.0051265 | 0.0051265 | 0.98881 | -0.21486 | 0.98855 | -0.21992 | 1.4084
9 | 0.048943 | 0.012323 | -0.048911 | -0.012302 | 3.2074e-05 | 2.0329e-05 | 0.074055 | 0.074055 | 0.074055 | 0.9837 | -0.31324 | 0.98299 | -0.32696 | 20.3447
10 | -0.048943 | -0.012323 | 0.048976 | 0.012344 | 3.3139e-05 | 2.1004e-05 | 0.074055 | 0.074055 | 0.074055 | 0.9837 | -0.31324 | 0.98442 | -0.29909 | 20.3447
11 | 0.048911 | 0.012302 | -0.048848 | -0.012262 | 6.2897e-05 | 3.9867e-05 | 0.074055 | 0.074055 | 0.074055 | 0.98299 | -0.32696 | 0.98161 | -0.35392 | 20.3447
12 | -0.057273 | -0.014423 | 0.057318 | 0.014452 | 4.5194e-05 | 2.8719e-05 | 0.086596 | 0.086596 | 0.086596 | 0.98442 | -0.29909 | 0.98527 | -0.2826 | 23.7902
13 | -0.066444 | -0.01678 | 0.066468 | 0.016795 | 2.3758e-05 | 1.5124e-05 | 0.10022 | 0.10022 | 0.10022 | 0.98701 | -0.24885 | 0.9874 | -0.24139 | 27.5321
14 | 0.066444 | 0.01678 | -0.066337 | -0.016712 | 0.00010728 | 6.8298e-05 | 0.10022 | 0.10022 | 0.10022 | 0.98701 | -0.24885 | 0.98527 | -0.2826 | 27.5321
15 | 0.082586 | 0.020855 | -0.082419 | -0.020749 | 0.00016659 | 0.00010625 | 0.12451 | 0.12451 | 0.12451 | 0.9874 | -0.24139 | 0.98522 | -0.28358 | 34.207
16 | -0.14905 | -0.03765 | 0.14927 | 0.037786 | 0.00021224 | 0.00013526 | 0.22473 | 0.22473 | 0.22473 | 0.9874 | -0.24139 | 0.98893 | -0.21172 | 30.8695
17 | 0.05199 | 0.013086 | -0.051963 | -0.013068 | 2.7379e-05 | 1.7373e-05 | 0.078686 | 0.078687 | 0.078687 | 0.98343 | -0.31855 | 0.98286 | -0.32958 | 21.6172
18 | -0.05199 | -0.013086 | 0.052018 | 0.013103 | 2.7058e-05 | 1.7169e-05 | 0.078686 | 0.078686 | 0.078686 | 0.98343 | -0.31855 | 0.98398 | -0.30767 | 21.6172
19 | 0.051963 | 0.013068 | -0.051921 | -0.013042 | 4.2241e-05 | 2.6804e-05 | 0.078687 | 0.078687 | 0.078687 | 0.98286 | -0.32958 | 0.98199 | -0.34661 | 21.6172
20 | -0.059045 | -0.014864 | 0.059113 | 0.014908 | 6.8078e-05 | 4.3281e-05 | 0.089314 | 0.089314 | 0.089314 | 0.98398 | -0.30767 | 0.98522 | -0.28358 | 24.5368
21 | 0.040519 | 0.010175 | -0.040483 | -0.010152 | 3.6426e-05 | 2.2987e-05 | 0.061429 | 0.06143 | 0.06143 | 0.98161 | -0.35392 | 0.98065 | -0.37278 | 16.8762
22 | -0.043529 | -0.010942 | 0.043534 | 0.010945 | 4.4461e-06 | 2.8099e-06 | 0.065423 | 0.065423 | 0.065423 | 0.99023 | -0.18722 | 0.99034 | -0.18508 | 17.9733
23 | -0.05759 | -0.014468 | 0.057636 | 0.014497 | 4.6186e-05 | 2.9347e-05 | 0.086542 | 0.086542 | 0.086542 | 0.99034 | -0.18508 | 0.99121 | -0.16829 | 23.7754
24 | -0.029438 | -0.0073822 | 0.029451 | 0.0073906 | 1.3578e-05 | 8.4612e-06 | 0.044691 | 0.044691 | 0.044691 | 0.98018 | -0.38199 | 0.98067 | -0.37231 | 12.2778
25 | 0.012825 | 0.0032151 | -0.012823 | -0.0032137 | 2.3908e-06 | 1.3182e-06 | 0.019471 | 0.019471 | 0.019471 | 0.98018 | -0.38199 | 0.97998 | -0.3859 | 5.3491
26 | 0.016612 | 0.0041671 | -0.016602 | -0.0041614 | 9.7777e-06 | 5.7414e-06 | 0.02522 | 0.025221 | 0.025221 | 0.98018 | -0.38199 | 0.97955 | -0.39434 | 6.9287
27 | -0.03869 | -0.009706 | 0.038713 | 0.0097208 | 2.3457e-05 | 1.4784e-05 | 0.058709 | 0.058709 | 0.058709 | 0.98067 | -0.37231 | 0.98132 | -0.35961 | 16.1288
28 | 0.0068916 | 0.0017272 | -0.0068906 | -0.0017268 | 1.0166e-06 | 3.3875e-07 | 0.010464 | 0.010464 | 0.010464 | 0.97998 | -0.3859 | 0.97982 | -0.389 | 2.8748
29 | 0.013662 | 0.0034244 | -0.013661 | -0.0034237 | 1.263e-06 | 7.099e-07 | 0.020754 | 0.020754 | 0.020754 | 0.97955 | -0.39434 | 0.97945 | -0.39628 | 5.7016
30 | -0.074892 | -0.01889 | 0.074961 | 0.018934 | 6.9122e-05 | 4.4053e-05 | 0.1129 | 0.1129 | 0.1129 | 0.98741 | -0.24144 | 0.9884 | -0.22218 | 31.0177
31 | 0.057758 | 0.014595 | -0.05772 | -0.014571 | 3.86e-05 | 2.453e-05 | 0.087084 | 0.087084 | 0.087084 | 0.98741 | -0.24144 | 0.98669 | -0.25539 | 23.9242
32 | 0.017134 | 0.0042943 | -0.017133 | -0.004294 | 6.0696e-07 | 3.574e-07 | 0.025821 | 0.025821 | 0.025821 | 0.98741 | -0.24144 | 0.98737 | -0.24218 | 7.0936
33 | -0.094725 | -0.02389 | 0.094783 | 0.023927 | 5.7202e-05 | 3.6513e-05 | 0.14266 | 0.14266 | 0.14266 | 0.9884 | -0.22218 | 0.98905 | -0.20957 | 39.1923
34 | 0.019764 | 0.0049565 | -0.019762 | -0.0049554 | 1.9619e-06 | 1.1799e-06 | 0.029756 | 0.029756 | 0.029756 | 0.9884 | -0.22218 | 0.9883 | -0.22426 | 8.1746
35 | 0.054475 | 0.013758 | -0.054407 | -0.013715 | 6.7469e-05 | 4.2841e-05 | 0.08219 | 0.082191 | 0.082191 | 0.98669 | -0.25539 | 0.98535 | -0.28127 | 22.5798
36 | 0.0032449 | 0.00081305 | -0.0032447 | -0.00081314 | 1.0381e-07 | -8.121e-08 | 0.0048935 | 0.0048935 | 0.0048935 | 0.98669 | -0.25539 | 0.98665 | -0.25606 | 1.3444
37 | 0.0059314 | 0.0014865 | -0.0059309 | -0.0014864 | 4.7673e-07 | 1.0164e-07 | 0.0089389 | 0.008939 | 0.008939 | 0.98737 | -0.24218 | 0.98728 | -0.24387 | 2.4558
38 | 0.027664 | 0.0069389 | -0.027657 | -0.0069349 | 6.4729e-06 | 4.0123e-06 | 0.041416 | 0.041416 | 0.041416 | 0.99396 | -0.11531 | 0.9937 | -0.12022 | 11.3781
39 | -0.041725 | -0.010464 | 0.041747 | 0.010478 | 2.2165e-05 | 1.3989e-05 | 0.062467 | 0.062467 | 0.062467 | 0.99396 | -0.11531 | 0.99453 | -0.10417 | 17.1612
40 | 0.014061 | 0.0035247 | -0.014059 | -0.0035235 | 2.078e-06 | 1.1679e-06 | 0.021051 | 0.021051 | 0.021051 | 0.99396 | -0.11531 | 0.9938 | -0.11841 | 5.7832
41 | 0.027657 | 0.0069349 | -0.027654 | -0.0069332 | 2.7576e-06 | 1.7093e-06 | 0.041416 | 0.041416 | 0.041416 | 0.9937 | -0.12022 | 0.99359 | -0.12231 | 11.3781
42 | -0.16341 | -0.041366 | 0.1635 | 0.04142 | 8.4255e-05 | 5.3728e-05 | 0.24464 | 0.24464 | 0.24464 | 0.99453 | -0.10417 | 0.99509 | -0.093434 | 33.6051
43 | 0.12167 | 0.030889 | -0.12149 | -0.030775 | 0.00017851 | 0.00011406 | 0.18218 | 0.18218 | 0.18218 | 0.99453 | -0.10417 | 0.99294 | -0.13471 | 50.049
44 | 0.22327 | 0.056766 | -0.22322 | -0.05673 | 5.6886e-05 | 3.6124e-05 | 0.33416 | 0.33416 | 0.33416 | 0.99509 | -0.093434 | 0.99482 | -0.098725 | 22.9505
45 | -0.38677 | -0.098186 | 0.38693 | 0.098285 | 0.00015581 | 9.9462e-05 | 0.5788 | 0.5788 | 0.5788 | 0.99509 | -0.093434 | 0.99553 | -0.085064 | 39.753
46 | 0.11401 | 0.0289 | -0.11375 | -0.028739 | 0.00025189 | 0.00016091 | 0.17097 | 0.17097 | 0.17097 | 0.99294 | -0.13471 | 0.99054 | -0.1808 | 46.9688
47 | 0.045428 | 0.011414 | -0.0454 | -0.011397 | 2.8157e-05 | 1.782e-05 | 0.068848 | 0.068848 | 0.068848 | 0.98199 | -0.34661 | 0.98132 | -0.35961 | 18.9143
48 | 0.0045793 | 0.0011476 | -0.0045791 | -0.0011476 | 2.2915e-07 | -1.7887e-08 | 0.0068965 | 0.0068965 | 0.0068965 | 0.98805 | -0.22895 | 0.988 | -0.23001 | 1.8946
49 | -0.019758 | -0.0049527 | 0.019762 | 0.0049554 | 4.4199e-06 | 2.6582e-06 | 0.029756 | 0.029756 | 0.029756 | 0.98805 | -0.22895 | 0.9883 | -0.22426 | 8.1747
50 | 0.015179 | 0.0038052 | -0.015178 | -0.003805 | 2.91e-07 | 1.6722e-07 | 0.022859 | 0.022859 | 0.022859 | 0.98805 | -0.22895 | 0.98803 | -0.22936 | 6.28
51 | 0.0045791 | 0.0011476 | -0.0045789 | -0.0011476 | 1.9165e-07 | -1.4944e-08 | 0.0068965 | 0.0068966 | 0.0068966 | 0.988 | -0.23001 | 0.98795 | -0.23088 | 1.8947
52 | 0.012275 | 0.0030773 | -0.012272 | -0.0030756 | 3.1549e-06 | 1.704e-06 | 0.018487 | 0.018487 | 0.018487 | 0.98803 | -0.22936 | 0.98776 | -0.23475 | 5.0788
53 | 0.0178 | 0.0044633 | -0.017794 | -0.0044599 | 5.7215e-06 | 3.3838e-06 | 0.026658 | 0.026658 | 0.026658 | 0.99359 | -0.12231 | 0.99325 | -0.12906 | 7.3237
54 | 0.0098543 | 0.0024699 | -0.0098536 | -0.0024695 | 6.8599e-07 | 3.3026e-07 | 0.014758 | 0.014758 | 0.014758 | 0.99359 | -0.12231 | 0.99352 | -0.12377 | 4.0544
55 | 0.0032447 | 0.00081314 | -0.0032447 | -0.00081319 | 7.3204e-08 | -5.7257e-08 | 0.0048935 | 0.0048936 | 0.0048936 | 0.98665 | -0.25606 | 0.98663 | -0.25653 | 1.3444
56 | -0.10619 | -0.026787 | 0.10634 | 0.026881 | 0.00014651 | 9.3568e-05 | 0.15983 | 0.15983 | 0.15983 | 0.98905 | -0.20957 | 0.99054 | -0.1808 | 43.9092
57 | -0.47171 | -0.1197 | 0.47365 | 0.12094 | 0.0019386 | 0.0012385 | 0.70559 | 0.70559 | 0.70559 | 0.99553 | -0.085064 | 1 | 0 | 48.4607
58 | 0.084783 | 0.021416 | -0.084671 | -0.021345 | 0.0001121 | 7.1501e-05 | 0.12678 | 0.12678 | 0.12678 | 0.99553 | -0.085064 | 0.99409 | -0.11269 | 34.8309
59 | 0.037682 | 0.0094577 | -0.03766 | -0.0094434 | 2.2791e-05 | 1.4333e-05 | 0.056077 | 0.056077 | 0.056077 | 1 | 0 | 0.99934 | -0.01269 | 15.4057
60 | 0.072867 | 0.018386 | -0.072746 | -0.018309 | 0.00012136 | 7.7318e-05 | 0.10912 | 0.10912 | 0.10912 | 0.99409 | -0.11269 | 0.99229 | -0.14753 | 29.9768
61 | 0.0063865 | 0.0016006 | -0.0063857 | -0.0016004 | 7.9654e-07 | 2.0965e-07 | 0.0095689 | 0.009569 | 0.009569 | 0.99314 | -0.13113 | 0.993 | -0.13375 | 2.6289
62 | 0.00419 | 0.00105 | -0.0041899 | -0.0010501 | 1.4641e-07 | -3.4479e-08 | 0.0062779 | 0.0062779 | 0.0062779 | 0.99314 | -0.13113 | 0.9931 | -0.13187 | 1.7247
63 | -0.010577 | -0.0026507 | 0.010578 | 0.0026512 | 1.0463e-06 | 5.2585e-07 | 0.015847 | 0.015847 | 0.015847 | 0.99314 | -0.13113 | 0.99325 | -0.12906 | 4.3535
64 | 0.048658 | 0.012274 | -0.048607 | -0.012242 | 5.1126e-05 | 3.24e-05 | 0.073509 | 0.073509 | 0.073509 | 0.98535 | -0.28127 | 0.98422 | -0.30324 | 20.1947
65 | -0.043495 | -0.010947 | 0.043531 | 0.010969 | 3.6074e-05 | 2.2805e-05 | 0.065834 | 0.065834 | 0.065834 | 0.98333 | -0.32058 | 0.98422 | -0.30324 | 18.0863
66 | 0.043495 | 0.010947 | -0.043463 | -0.010927 | 3.1179e-05 | 1.9712e-05 | 0.065834 | 0.065834 | 0.065834 | 0.98333 | -0.32058 | 0.98256 | -0.33559 | 18.0863
67 | 0.037099 | 0.0093319 | -0.037077 | -0.0093182 | 2.1755e-05 | 1.369e-05 | 0.056196 | 0.056196 | 0.056196 | 0.98256 | -0.33559 | 0.98193 | -0.34787 | 15.4385
68 | 0.011587 | 0.0029044 | -0.011586 | -0.0029037 | 1.3667e-06 | 7.2089e-07 | 0.017435 | 0.017435 | 0.017435 | 0.98893 | -0.21172 | 0.98881 | -0.2142 | 4.7899
69 | -0.16085 | -0.04069 | 0.16087 | 0.040699 | 1.359e-05 | 8.5707e-06 | 0.24216 | 0.24216 | 0.24216 | 0.98893 | -0.21172 | 0.98902 | -0.20996 | 16.6322
70 | 0.033617 | 0.0084313 | -0.033611 | -0.0084274 | 6.131e-06 | 3.8446e-06 | 0.051012 | 0.051012 | 0.051012 | 0.98065 | -0.37278 | 0.98045 | -0.37661 | 14.0142
71 | -0.065098 | -0.016367 | 0.065163 | 0.016409 | 6.4588e-05 | 4.1104e-05 | 0.097745 | 0.097745 | 0.097745 | 0.99121 | -0.16829 | 0.99229 | -0.14753 | 26.853
72 | -0.0083476 | -0.0020921 | 0.0083483 | 0.0020924 | 6.9033e-07 | 2.9752e-07 | 0.012677 | 0.012677 | 0.012677 | 0.97983 | -0.38895 | 0.97991 | -0.38721 | 3.4827
73 | -0.017152 | -0.0042987 | 0.017157 | 0.0043017 | 4.9847e-06 | 2.9433e-06 | 0.026045 | 0.026045 | 0.026045 | 0.97991 | -0.38721 | 0.98022 | -0.38111 | 7.1553
74 | -0.0040974 | -0.0010269 | 0.0040977 | 0.0010268 | 3.6714e-07 | -9.3603e-08 | 0.0061743 | 0.0061742 | 0.0061743 | 0.98747 | -0.24031 | 0.98757 | -0.23843 | 1.6962
75 | -0.0081797 | -0.0020498 | 0.0081811 | 0.0020504 | 1.4327e-06 | 5.9504e-07 | 0.012325 | 0.012325 | 0.012325 | 0.98757 | -0.23843 | 0.98776 | -0.23475 | 3.3859
76 | 0.0034455 | 0.0008634 | -0.0034454 | -0.00086349 | 1.4924e-07 | -8.7558e-08 | 0.0052325 | 0.0052326 | 0.0052326 | 0.97982 | -0.389 | 0.97978 | -0.38991 | 1.4375
77 | 0.0064215 | 0.0016094 | -0.0064214 | -0.0016093 | 1.3087e-07 | 3.7609e-08 | 0.0097558 | 0.0097558 | 0.0097558 | 0.97945 | -0.39628 | 0.97943 | -0.39671 | 2.6802
78 | 0.21429 | 0.054491 | -0.21404 | -0.054336 | 0.00024534 | 0.0001557 | 0.3208 | 0.3208 | 0.3208 | 0.99482 | -0.098725 | 0.99357 | -0.12252 | 22.033
79 | -0.011806 | -0.0029588 | 0.011808 | 0.0029602 | 2.5972e-06 | 1.3907e-06 | 0.017927 | 0.017927 | 0.017927 | 0.97993 | -0.38715 | 0.98016 | -0.38254 | 4.925
80 | -0.031969 | -0.0080162 | 0.031994 | 0.0080317 | 2.4734e-05 | 1.5476e-05 | 0.048535 | 0.048534 | 0.048535 | 0.98016 | -0.38254 | 0.98099 | -0.36631 | 13.3337
81 | 0.02016 | 0.005056 | -0.020151 | -0.0050503 | 9.4401e-06 | 5.7031e-06 | 0.030607 | 0.030608 | 0.030608 | 0.98016 | -0.38254 | 0.97966 | -0.39236 | 8.4087
82 | 0.03164 | 0.0079348 | -0.03164 | -0.0079348 | 7.3865e-08 | 4.611e-08 | 0.047114 | 0.047114 | 0.047114 | 0.99934 | -0.01269 | 0.99934 | -0.012739 | 12.9435
83 | 0.037077 | 0.0093182 | -0.037045 | -0.0092977 | 3.2613e-05 | 2.0524e-05 | 0.056196 | 0.056196 | 0.056196 | 0.98193 | -0.34787 | 0.98099 | -0.36631 | 15.4386
84 | 0.17268 | 0.04368 | -0.17263 | -0.043647 | 5.2875e-05 | 3.3411e-05 | 0.25986 | 0.25986 | 0.25986 | 0.98936 | -0.20358 | 0.98902 | -0.20996 | 17.8477
85 | -0.18048 | -0.045635 | 0.18064 | 0.045733 | 0.00015405 | 9.7449e-05 | 0.2716 | 0.2716 | 0.2716 | 0.98936 | -0.20358 | 0.99028 | -0.1858 | 18.6536
86 | -0.18837 | -0.047671 | 0.18848 | 0.047743 | 0.00011403 | 7.2201e-05 | 0.28321 | 0.28321 | 0.28321 | 0.99028 | -0.1858 | 0.99093 | -0.1732 | 19.4516
87 | -0.19777 | -0.05007 | 0.19803 | 0.050237 | 0.00026341 | 0.00016694 | 0.29716 | 0.29716 | 0.29716 | 0.99093 | -0.1732 | 0.99237 | -0.14549 | 20.4091
88 | -0.20557 | -0.052126 | 0.2058 | 0.05227 | 0.0002273 | 0.00014415 | 0.30846 | 0.30846 | 0.30846 | 0.99237 | -0.14549 | 0.99357 | -0.12252 | 21.1855
89 | -0.020251 | -0.0050771 | 0.020253 | 0.0050786 | 2.5311e-06 | 1.5298e-06 | 0.030742 | 0.030742 | 0.030742 | 0.98022 | -0.38111 | 0.98036 | -0.37849 | 8.4455
90 | -0.031556 | -0.0079114 | 0.031559 | 0.0079132 | 2.8345e-06 | 1.7725e-06 | 0.047897 | 0.047897 | 0.047897 | 0.98036 | -0.37849 | 0.98045 | -0.37661 | 13.1587
91 | 0.022399 | 0.0056188 | -0.022386 | -0.0056104 | 1.392e-05 | 8.4719e-06 | 0.033355 | 0.033355 | 0.033355 | 0.99934 | -0.012739 | 0.99866 | -0.025783 | 9.1634

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52925 | 0.13448

## res_load
| p_mw | q_mvar
0 | 0.020923 | 0.0052437
1 | 0.0063814 | 0.0015993
2 | 0.012726 | 0.0031893
3 | 0.0082972 | 0.0020795
4 | 0.0090188 | 0.0022603
5 | 0.0070276 | 0.0017613
6 | 0.0083288 | 0.0020874
7 | 0.014056 | 0.0035228
8 | 0.0034058 | 0.00085357
9 | 0.0092385 | 0.0023154
10 | 0.0059315 | 0.0014866
11 | 0.0029404 | 0.00073692
12 | 0.011202 | 0.0028075
13 | 0.014059 | 0.0035235
14 | 0.0074815 | 0.0018751
15 | 0.0064929 | 0.0016273
16 | 0.0029035 | 0.00072769
17 | 0.0045789 | 0.0011476
18 | 0.0032447 | 0.00081319
19 | 0.011412 | 0.0028602
20 | 0.016272 | 0.0040783
21 | 0.011804 | 0.0029584
22 | 0.0063857 | 0.0016004
23 | 0.0041899 | 0.0010501
24 | 0.0072167 | 0.0018087
25 | 0.0057491 | 0.0014409
26 | 0.0050763 | 0.0012722
27 | 0.0063642 | 0.001595
28 | 0.023306 | 0.005841
29 | 0.0068657 | 0.0017207
30 | 0.0074624 | 0.0018702
31 | 0.0083476 | 0.0020921
32 | 0.0088034 | 0.0022063
33 | 0.0040974 | 0.0010269
34 | 0.0040819 | 0.001023
35 | 0.0066866 | 0.0016758
36 | 0.0034451 | 0.00086342
37 | 0.0072393 | 0.0018143
38 | 0.0059309 | 0.0014864
39 | 0.008931 | 0.0022383
40 | 0.0074137 | 0.001858
41 | 0.0040905 | 0.0010252
42 | 0.0034454 | 0.00086349
43 | 0.0098536 | 0.0024695
44 | 0.011806 | 0.0029588
45 | 0.0060192 | 0.0015085
46 | 0.0075827 | 0.0019004
47 | 0.020151 | 0.0050503
48 | 0.0050512 | 0.001266
49 | 0.007802 | 0.0019554
50 | 0.011763 | 0.0029481
51 | 0.0077319 | 0.0019378
52 | 0.009285 | 0.002327
53 | 0.011586 | 0.0029037
54 | 0.0075388 | 0.0018894
55 | 0.0082405 | 0.0020653
56 | 0.0030939 | 0.00077541
57 | 0.011303 | 0.0028328
58 | 0.0020519 | 0.00051426
59 | 0.0092408 | 0.002316
60 | 0.0064214 | 0.0016093
61 | 0.022386 | 0.0056104

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1