## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-961_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-961_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-961_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-961_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-961_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-961_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-961_0_6_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_261-961_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_261-961_0_6_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_261-961_0_6_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_261-961_0_6_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_261-961_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_261-961_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_261-961_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_261-961_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_261-961_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_261-961_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_261-961_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_261-961_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_261-961_0_6_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_261-961_0_6_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_261-961_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_261-961_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_261-961_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_261-961_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_261-961_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_261-961_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_261-961_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_261-961_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_261-961_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_261-961_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_261-961_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_261-961_0_6_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_261-961_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_261-961_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_261-961_0_6_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_261-961_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_261-961_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_261-961_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_261-961_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_261-961_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_261-961_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_261-961_0_6_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_261-961_0_6_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_261-961_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_261-961_0_6_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_261-961_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_261-961_0_6_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_261-961_0_6_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_261-961_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_261-961_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_261-961_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_261-961_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_261-961_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_261-961_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_261-961_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_261-961_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_MV_494_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-961_0_6_load_0 | 0 | 0.017749 | 0.0044484 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-961_0_6_load_1 | 1 | 0.0021651 | 0.00054262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-961_0_6_load_3 | 3 | 0.0087778 | 0.0021999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-961_0_6_load_4 | 4 | 0.0047407 | 0.0011881 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-961_0_6_load_5 | 5 | 0.0021591 | 0.00054112 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-961_0_6_load_60 | 6 | 0.013737 | 0.0034429 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-961_0_6_load_31 | 7 | 0.0085535 | 0.0021437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-961_0_6_load_27 | 9 | 0.0070989 | 0.0017792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-961_0_6_load_62 | 10 | 0.0024332 | 0.00060982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-961_0_6_load_21 | 11 | 0.014064 | 0.0035247 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-961_0_6_load_17 | 12 | 0.0084399 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-961_0_6_load_6 | 13 | 0.025212 | 0.0063187 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-961_0_6_load_7 | 14 | 0.0090038 | 0.0022566 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-961_0_6_load_8 | 15 | 0.013745 | 0.0034448 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-961_0_6_load_9 | 16 | 0.039087 | 0.0097961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-961_0_6_load_10 | 17 | 0.026492 | 0.0066396 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-961_0_6_load_11 | 18 | 0.012099 | 0.0030323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-961_0_6_load_22 | 19 | 0.022761 | 0.0057045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-961_0_6_load_23 | 21 | 0.017992 | 0.0045092 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-961_0_6_load_26 | 22 | 0.010001 | 0.0025066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-961_0_6_load_12 | 23 | 0.003919 | 0.0009822 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-961_0_6_load_13 | 24 | 0.0039449 | 0.00098868 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-961_0_6_load_14 | 25 | 0.0051506 | 0.0012909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-961_0_6_load_16 | 27 | 0.004829 | 0.0012103 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-961_0_6_load_30 | 28 | 0.0035382 | 0.00088676 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-961_0_6_load_28 | 29 | 0.014461 | 0.0036242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-961_0_6_load_53 | 30 | 0.0048436 | 0.0012139 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-961_0_6_load_59 | 32 | 0.0089005 | 0.0022307 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-961_0_6_load_18 | 33 | 0.010687 | 0.0026785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-961_0_6_load_24 | 34 | 0.01636 | 0.0041002 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-961_0_6_load_32 | 36 | 0.0053651 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-961_0_6_load_33 | 37 | 0.0042681 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-961_0_6_load_34 | 38 | 0.0029886 | 0.00074902 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-961_0_6_load_35 | 39 | 0.0054321 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-961_0_6_load_37 | 41 | 0.0069571 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-961_0_6_load_54 | 42 | 0.020942 | 0.0052484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-961_0_6_load_51 | 43 | 0.020579 | 0.0051577 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-961_0_6_load_38 | 44 | 0.0056906 | 0.0014262 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-961_0_6_load_58 | 45 | 0.003518 | 0.0008817 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-961_0_6_load_49 | 46 | 0.0029267 | 0.00073351 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-961_0_6_load_56 | 48 | 0.0051673 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-961_0_6_load_45 | 49 | 0.0042159 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-961_0_6_load_43 | 50 | 0.0034597 | 0.00086708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-961_0_6_load_42 | 51 | 0.0034369 | 0.00086138 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-961_0_6_load_44 | 52 | 0.003732 | 0.00093532 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-961_0_6_load_46 | 53 | 0.0037418 | 0.0009378 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-961_0_6_load_47 | 54 | 0.029555 | 0.0074072 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-961_0_6_load_48 | 55 | 0.011348 | 0.0028441 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-961_0_6_load_50 | 56 | 0.0082943 | 0.0020787 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-961_0_6_line_0 |  | 0 | 1 | 0.0093782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-961_0_6_line_1 |  | 0 | 2 | 0.0033857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-961_0_6_line_2 |  | 1 | 3 | 0.0057635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-961_0_6_line_3 |  | 2 | 4 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-961_0_6_line_4 |  | 2 | 5 | 0.0058441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-961_0_6_line_5 |  | 3 | 6 | 0.0040695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-961_0_6_line_6 |  | 4 | 7 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-961_0_6_line_7 |  | 5 | 8 | 0.043224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-961_0_6_line_8 |  | 6 | 9 | 0.0028912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-961_0_6_line_9 |  | 7 | 10 | 0.087583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-961_0_6_line_10 |  | 8 | 11 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-961_0_6_line_11 |  | 8 | 12 | 0.020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-961_0_6_line_12 |  | 9 | 20 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-961_0_6_line_13 |  | 12 | 33 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-961_0_6_line_14 |  | 13 | 14 | 0.021675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_261-961_0_6_line_15 |  | 13 | 15 | 0.00981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_261-961_0_6_line_16 |  | 14 | 16 | 0.0022184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_261-961_0_6_line_17 |  | 15 | 17 | 0.00018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_261-961_0_6_line_18 |  | 16 | 18 | 0.008328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-961_0_6_line_19 |  | 17 | 19 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_261-961_0_6_line_20 |  | 18 | 20 | 0.031369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-961_0_6_line_21 |  | 19 | 21 | 0.0087037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-961_0_6_line_22 |  | 20 | 22 | 0.0028455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-961_0_6_line_23 |  | 21 | 34 | 0.0092827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_261-961_0_6_line_24 |  | 23 | 24 | 0.0033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_261-961_0_6_line_25 |  | 23 | 25 | 0.0074884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-961_0_6_line_26 |  | 24 | 26 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_261-961_0_6_line_27 |  | 25 | 27 | 0.018038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-961_0_6_line_28 |  | 26 | 28 | 0.0042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_261-961_0_6_line_29 |  | 26 | 29 | 0.070792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-961_0_6_line_30 |  | 27 | 30 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_261-961_0_6_line_31 |  | 28 | 31 | 0.053595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_261-961_0_6_line_32 |  | 30 | 32 | 0.0075193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-961_0_6_line_33 |  | 31 | 35 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-961_0_6_line_34 |  | 32 | 34 | 0.0094659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_261-961_0_6_line_35 |  | 35 | 49 | 0.043446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-961_0_6_line_36 |  | 36 | 37 | 0.025599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-961_0_6_line_37 |  | 36 | 38 | 0.020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-961_0_6_line_38 |  | 37 | 39 | 0.0034793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-961_0_6_line_39 |  | 38 | 40 | 0.0042734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-961_0_6_line_40 |  | 39 | 41 | 0.011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-961_0_6_line_41 |  | 40 | 42 | 0.018772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-961_0_6_line_42 |  | 40 | 43 | 0.0028714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_261-961_0_6_line_43 |  | 41 | 44 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-961_0_6_line_44 |  | 42 | 45 | 0.010067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-961_0_6_line_45 |  | 43 | 46 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-961_0_6_line_46 |  | 44 | 47 | 0.0058821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-961_0_6_line_47 |  | 45 | 53 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-961_0_6_line_48 |  | 46 | 54 | 0.016958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-961_0_6_line_49 |  | 47 | 48 | 0.017362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-961_0_6_line_50 |  | 49 | 50 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_261-961_0_6_line_51 |  | 50 | 51 | 0.0094659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-961_0_6_line_52 |  | 51 | 52 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_261-961_0_6_line_53 |  | 52 | 53 | 0.008176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-961_0_6_line_54 |  | 54 | 55 | 0.022166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-961_0_6_line_55 |  | 55 | 56 | 0.014737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-961_0_6_trafo_6 | 0.63 MVA 20/0.4 kV | 57 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2685808.5557 | 1245624.46 | 2685807.5255 | 1245623.6553 | 2685800.8501 | 1245619.1189
1 | 2685811.2239 | 1245626.5442 | 2685808.5557 | 1245624.46
2 | 2685796.0831 | 1245615.8795 | 2685800.8501 | 1245619.1189
3 | 2685811.2239 | 1245626.5442 | 2685829.3002 | 1245641.5168
4 | 2685811.2239 | 1245626.5442 | 2685816.837 | 1245624.9176
5 | 2685796.0831 | 1245615.8795 | 2685792.7172 | 1245613.5922
6 | 2685841.8714 | 1245628.0777 | 2685829.3002 | 1245641.5168
7 | 2685845.0189 | 1245592.8305 | 2685837.8807 | 1245602.0674 | 2685819.7754 | 1245624.0661 | 2685816.837 | 1245624.9176
8 | 2685790.3259 | 1245611.9672 | 2685792.7172 | 1245613.5922
9 | 2685841.8714 | 1245628.0777 | 2685919.014 | 1245669.5472
10 | 2685845.0189 | 1245592.8305 | 2685857.3334 | 1245576.9
11 | 2685845.0189 | 1245592.8305 | 2685834.7876 | 1245586.0775 | 2685836.2788 | 1245583.8085 | 2685835.0959 | 1245583.0464 | 2685833.4738 | 1245585.4914 | 2685832.2931 | 1245584.5848
12 | 2685779.4884 | 1245605.1584 | 2685784.4872 | 1245607.9994 | 2685790.3259 | 1245611.9672
13 | 2685832.2931 | 1245584.5848 | 2685832.2931 | 1245584.5848 | 2685835.6433 | 1245579.6852 | 2685825.8576 | 1245572.7484
14 | 2685753.4075 | 1245662.9352 | 2685760.7689 | 1245642.5487
15 | 2685753.4075 | 1245662.9352 | 2685753.164 | 1245663.6098 | 2685750.1259 | 1245672.18
16 | 2685760.7689 | 1245642.5487 | 2685761.5223 | 1245640.4622
17 | 2685750.1259 | 1245672.18 | 2685750.0642 | 1245672.3542
18 | 2685761.5223 | 1245640.4622 | 2685761.7594 | 1245639.8054 | 2685764.6928 | 1245632.7622
19 | 2685750.0642 | 1245672.3542 | 2685745.5375 | 1245685.1239
20 | 2685779.4884 | 1245605.1584 | 2685777.3489 | 1245608.3743 | 2685771.9949 | 1245617.5481 | 2685766.5423 | 1245628.3216 | 2685764.6928 | 1245632.7622
21 | 2685742.6294 | 1245693.3275 | 2685745.5375 | 1245685.1239
22 | 2685779.4884 | 1245605.1584 | 2685781.1106 | 1245602.8206
23 | 2685742.6294 | 1245693.3275 | 2685742.3405 | 1245694.1425 | 2685739.4351 | 1245702.0432
24 | 2685713.2264 | 1245751.3678 | 2685715.1987 | 1245748.6541
25 | 2685719.5031 | 1245742.5306 | 2685718.6433 | 1245743.9145 | 2685715.1987 | 1245748.6541
26 | 2685704.7281 | 1245763.0609 | 2685713.2264 | 1245751.3678
27 | 2685719.5031 | 1245742.5306 | 2685722.6969 | 1245737.3905 | 2685726.8808 | 1245730.2124 | 2685728.5793 | 1245726.9501
28 | 2685704.7281 | 1245763.0609 | 2685702.0331 | 1245766.3666
29 | 2685704.7281 | 1245763.0609 | 2685708.9694 | 1245767.0696 | 2685721.9877 | 1245780.1563 | 2685727.7924 | 1245778.4611 | 2685748.1574 | 1245773.6185 | 2685752.1351 | 1245771.8192 | 2685756.0316 | 1245769.3626 | 2685759.6456 | 1245763.4549 | 2685760.6104 | 1245759.9663
30 | 2685728.5793 | 1245726.9501 | 2685731.7304 | 1245720.8978 | 2685733.0478 | 1245717.7774
31 | 2685665.2359 | 1245805.2772 | 2685680.7088 | 1245790.2007 | 2685693.0347 | 1245776.9689 | 2685698.3667 | 1245770.8637 | 2685702.0331 | 1245766.3666
32 | 2685735.9726 | 1245710.8503 | 2685733.0478 | 1245717.7774
33 | 2685657.7798 | 1245790.0138 | 2685658.4306 | 1245796.2167 | 2685660.2851 | 1245798.6008 | 2685665.2359 | 1245805.2772
34 | 2685735.9726 | 1245710.8503 | 2685737.7078 | 1245706.7404 | 2685739.4351 | 1245702.0432
35 | 2685657.7798 | 1245790.0138 | 2685659.6213 | 1245774.996 | 2685662.8463 | 1245752.0812 | 2685663.8545 | 1245747.0057
36 | 2685680.2089 | 1245670.8026 | 2685678.7383 | 1245671.9517 | 2685673.7418 | 1245674.1811 | 2685664.8902 | 1245673.3861 | 2685662.0292 | 1245675.2906 | 2685658.4895 | 1245680.0574
37 | 2685680.2089 | 1245670.8026 | 2685684.7604 | 1245667.2463 | 2685693.0451 | 1245656.0355 | 2685693.7374 | 1245655.7054
38 | 2685656.4152 | 1245682.8507 | 2685658.4895 | 1245680.0574
39 | 2685697.5949 | 1245653.8663 | 2685693.7374 | 1245655.7054
40 | 2685656.4152 | 1245682.8507 | 2685649.6418 | 1245691.9722
41 | 2685697.5949 | 1245653.8663 | 2685690.2371 | 1245671.1362
42 | 2685697.5949 | 1245653.8663 | 2685698.9702 | 1245651.3456
43 | 2685640.4544 | 1245704.9517 | 2685643.1499 | 1245700.7145 | 2685649.6418 | 1245691.9722
44 | 2685690.2371 | 1245671.1362 | 2685686.2912 | 1245680.3979
45 | 2685698.9702 | 1245651.3456 | 2685704.1367 | 1245641.8768
46 | 2685637.2972 | 1245709.9146 | 2685640.4544 | 1245704.9517
47 | 2685679.7506 | 1245695.7497 | 2685686.2912 | 1245680.3979
48 | 2685712.5441 | 1245627.1556 | 2685709.3149 | 1245632.3864 | 2685704.1367 | 1245641.8768
49 | 2685637.2972 | 1245709.9146 | 2685623.0016 | 1245700.0614
50 | 2685667.9367 | 1245728.0077 | 2685667.1895 | 1245730.2167 | 2685663.8545 | 1245747.0057
51 | 2685670.9694 | 1245719.0408 | 2685667.9367 | 1245728.0077
52 | 2685670.9694 | 1245719.0408 | 2685675.3668 | 1245706.0392 | 2685676.546 | 1245703.2715
53 | 2685679.7506 | 1245695.7497 | 2685676.546 | 1245703.2715
54 | 2685712.5441 | 1245627.1556 | 2685720.8743 | 1245613.6619 | 2685724.7605 | 1245608.6934
55 | 2685724.7605 | 1245608.6934 | 2685733.8396 | 1245597.0857

## bus_geodata
| x | y | coords
0 | 2685808.5557 | 1245624.46
1 | 2685800.8501 | 1245619.1189
2 | 2685811.2239 | 1245626.5442
3 | 2685796.0831 | 1245615.8795
4 | 2685829.3002 | 1245641.5168
5 | 2685816.837 | 1245624.9176
6 | 2685792.7172 | 1245613.5922
7 | 2685841.8714 | 1245628.0777
8 | 2685845.0189 | 1245592.8305
9 | 2685790.3259 | 1245611.9672
10 | 2685919.014 | 1245669.5472
11 | 2685857.3334 | 1245576.9
12 | 2685832.2931 | 1245584.5848
13 | 2685753.4075 | 1245662.9352
14 | 2685760.7689 | 1245642.5487
15 | 2685750.1259 | 1245672.18
16 | 2685761.5223 | 1245640.4622
17 | 2685750.0642 | 1245672.3542
18 | 2685764.6928 | 1245632.7622
19 | 2685745.5375 | 1245685.1239
20 | 2685779.4884 | 1245605.1584
21 | 2685742.6294 | 1245693.3275
22 | 2685781.1106 | 1245602.8206
23 | 2685715.1987 | 1245748.6541
24 | 2685713.2264 | 1245751.3678
25 | 2685719.5031 | 1245742.5306
26 | 2685704.7281 | 1245763.0609
27 | 2685728.5793 | 1245726.9501
28 | 2685702.0331 | 1245766.3666
29 | 2685760.6104 | 1245759.9663
30 | 2685733.0478 | 1245717.7774
31 | 2685665.2359 | 1245805.2772
32 | 2685735.9726 | 1245710.8503
33 | 2685825.8576 | 1245572.7484
34 | 2685739.4351 | 1245702.0432
35 | 2685657.7798 | 1245790.0138
36 | 2685680.2089 | 1245670.8026
37 | 2685658.4895 | 1245680.0574
38 | 2685693.7374 | 1245655.7054
39 | 2685656.4152 | 1245682.8507
40 | 2685697.5949 | 1245653.8663
41 | 2685649.6418 | 1245691.9722
42 | 2685690.2371 | 1245671.1363
43 | 2685698.9702 | 1245651.3456
44 | 2685640.4544 | 1245704.9517
45 | 2685686.2912 | 1245680.3979
46 | 2685704.1367 | 1245641.8768
47 | 2685637.2972 | 1245709.9146
48 | 2685623.0016 | 1245700.0614
49 | 2685663.8545 | 1245747.0057
50 | 2685667.9367 | 1245728.0077
51 | 2685670.9694 | 1245719.0408
52 | 2685676.546 | 1245703.2715
53 | 2685679.7506 | 1245695.7497
54 | 2685712.5441 | 1245627.1556
55 | 2685724.7605 | 1245608.6934
56 | 2685733.8396 | 1245597.0857
57 | 2685779.4884 | 1245605.1584

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99192 | -0.1554 | 0.017749 | 0.0044484
1 | 0.99251 | -0.14397 | 0.0021651 | 0.00054262
2 | 0.99176 | -0.15847 | 0 | 0
3 | 0.99288 | -0.13674 | 0.0087778 | 0.0021999
4 | 0.99142 | -0.16501 | 0.0047407 | 0.0011881
5 | 0.99157 | -0.16213 | 0.0021591 | 0.00054112
6 | 0.99318 | -0.131 | 0.013737 | 0.0034429
7 | 0.99123 | -0.1686 | 0.0085535 | 0.0021437
8 | 0.99025 | -0.1876 | 0 | 0
9 | 0.99342 | -0.12622 | 0.0070989 | 0.0017792
10 | 0.99104 | -0.17238 | 0.0024332 | 0.00060982
11 | 0.98999 | -0.19263 | 0.014064 | 0.0035247
12 | 0.98989 | -0.19467 | 0.0084399 | 0.0021152
13 | 1 | 0 | -0.47536 | -0.1204
14 | 0.99887 | -0.021534 | 0.0090038 | 0.0022566
15 | 0.9991 | -0.017033 | 0.013745 | 0.0034448
16 | 0.99871 | -0.024669 | 0.039087 | 0.0097961
17 | 0.99909 | -0.01734 | 0.026492 | 0.0066396
18 | 0.99778 | -0.042544 | 0.012099 | 0.0030323
19 | 0.99801 | -0.037734 | 0.022761 | 0.0057045
20 | 0.9946 | -0.10349 | 0 | 0
21 | 0.99738 | -0.049703 | 0.017992 | 0.0045092
22 | 0.99458 | -0.10399 | 0.010001 | 0.0025066
23 | 0.99371 | -0.11951 | 0.003919 | 0.0009822
24 | 0.99353 | -0.12294 | 0.0039449 | 0.00098868
25 | 0.99412 | -0.1117 | 0.0051506 | 0.0012909
26 | 0.99278 | -0.13739 | 0 | 0
27 | 0.99514 | -0.092348 | 0.004829 | 0.0012103
28 | 0.99257 | -0.14129 | 0.0035382 | 0.00088676
29 | 0.99184 | -0.15551 | 0.014461 | 0.0036242
30 | 0.99573 | -0.081123 | 0.0048436 | 0.0012139
31 | 0.99006 | -0.18934 | 0 | 0
32 | 0.99617 | -0.072652 | 0.0089005 | 0.0022307
33 | 0.98971 | -0.19808 | 0.010687 | 0.0026785
34 | 0.99676 | -0.061507 | 0.01636 | 0.0041002
35 | 0.98924 | -0.20513 | 0 | 0
36 | 0.97784 | -0.42655 | 0.0053651 | 0.0013446
37 | 0.97719 | -0.4394 | 0.0042681 | 0.0010697
38 | 0.97846 | -0.41428 | 0.0029886 | 0.00074902
39 | 0.97711 | -0.44088 | 0.0054321 | 0.0013614
40 | 0.97861 | -0.41149 | 0 | 0
41 | 0.97692 | -0.44457 | 0.0069571 | 0.0017436
42 | 0.9805 | -0.37447 | 0.020942 | 0.0052484
43 | 0.97841 | -0.41529 | 0.020579 | 0.0051577
44 | 0.97676 | -0.44773 | 0.0056906 | 0.0014262
45 | 0.98171 | -0.35086 | 0.003518 | 0.0008817
46 | 0.97789 | -0.42553 | 0.0029267 | 0.00073351
47 | 0.97673 | -0.44828 | 0 | 0
48 | 0.97665 | -0.44992 | 0.0051673 | 0.0012951
49 | 0.9872 | -0.24432 | 0.0042159 | 0.0010566
50 | 0.98631 | -0.26143 | 0.0034597 | 0.00086708
51 | 0.98589 | -0.26957 | 0.0034369 | 0.00086138
52 | 0.9848 | -0.29067 | 0.003732 | 0.00093532
53 | 0.98377 | -0.31079 | 0.0037418 | 0.0009378
54 | 0.97712 | -0.44075 | 0.029555 | 0.0074072
55 | 0.97671 | -0.4487 | 0.011348 | 0.0028441
56 | 0.9766 | -0.45094 | 0.0082943 | 0.0020787
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.068899 | -0.017293 | 0.068937 | 0.017317 | 3.7577e-05 | 2.3928e-05 | 0.10337 | 0.10337 | 0.10337 | 0.99192 | -0.1554 | 0.99251 | -0.14397 | 28.3978
1 | 0.05115 | 0.012845 | -0.051143 | -0.01284 | 7.4773e-06 | 4.7418e-06 | 0.076742 | 0.076742 | 0.076742 | 0.99192 | -0.1554 | 0.99176 | -0.15847 | 21.0828
2 | -0.071102 | -0.01786 | 0.071127 | 0.017875 | 2.4567e-05 | 1.5648e-05 | 0.10661 | 0.10661 | 0.10661 | 0.99251 | -0.14397 | 0.99288 | -0.13674 | 29.2895
3 | 0.015735 | 0.0039446 | -0.01573 | -0.0039418 | 4.9058e-06 | 2.837e-06 | 0.023608 | 0.023608 | 0.023608 | 0.99176 | -0.15847 | 0.99142 | -0.16501 | 6.4858
4 | 0.035408 | 0.0088953 | -0.035402 | -0.0088914 | 6.187e-06 | 3.8843e-06 | 0.053133 | 0.053133 | 0.053133 | 0.99176 | -0.15847 | 0.99157 | -0.16213 | 14.597
5 | -0.079904 | -0.020075 | 0.079926 | 0.020089 | 2.1891e-05 | 1.3958e-05 | 0.11977 | 0.11977 | 0.11977 | 0.99288 | -0.13674 | 0.99318 | -0.131 | 32.9036
6 | 0.010989 | 0.0027536 | -0.010987 | -0.0027527 | 1.8772e-06 | 9.6417e-07 | 0.016493 | 0.016493 | 0.016493 | 0.99142 | -0.16501 | 0.99123 | -0.1686 | 4.5311
7 | 0.033243 | 0.0083503 | -0.033202 | -0.0083251 | 4.035e-05 | 2.5267e-05 | 0.049893 | 0.049893 | 0.049893 | 0.99157 | -0.16213 | 0.99025 | -0.1876 | 13.707
8 | -0.093663 | -0.023532 | 0.093685 | 0.023546 | 2.1357e-05 | 1.3631e-05 | 0.14035 | 0.14035 | 0.14035 | 0.99318 | -0.131 | 0.99342 | -0.12622 | 38.5578
9 | 0.0024337 | 0.00060897 | -0.0024332 | -0.00060982 | 4.3832e-07 | -8.4821e-07 | 0.003653 | 0.0036534 | 0.0036534 | 0.99123 | -0.1686 | 0.99104 | -0.17238 | 1.0037
10 | 0.014067 | 0.0035266 | -0.014064 | -0.0035247 | 3.374e-06 | 1.9004e-06 | 0.021139 | 0.021139 | 0.021139 | 0.99025 | -0.1876 | 0.98999 | -0.19263 | 5.8073
11 | 0.019135 | 0.0047984 | -0.019129 | -0.0047946 | 6.4506e-06 | 3.8608e-06 | 0.028755 | 0.028755 | 0.028755 | 0.99025 | -0.1876 | 0.98989 | -0.19467 | 7.8997
12 | -0.10078 | -0.025325 | 0.10089 | 0.025395 | 0.0001095 | 6.9913e-05 | 0.15098 | 0.15098 | 0.15098 | 0.99342 | -0.12622 | 0.9946 | -0.10349 | 41.4791
13 | 0.010689 | 0.0026793 | -0.010687 | -0.0026785 | 1.736e-06 | 8.8057e-07 | 0.016068 | 0.016068 | 0.016068 | 0.98989 | -0.19467 | 0.98971 | -0.19808 | 4.4143
14 | 0.17172 | 0.043389 | -0.17154 | -0.043276 | 0.00017706 | 0.00011247 | 0.25564 | 0.25564 | 0.25564 | 1 | 0 | 0.99887 | -0.021534 | 23.4103
15 | 0.302 | 0.077012 | -0.30175 | -0.076854 | 0.00024814 | 0.00015842 | 0.44984 | 0.44984 | 0.44984 | 1 | 0 | 0.9991 | -0.017033 | 41.1944
16 | 0.16253 | 0.04102 | -0.16251 | -0.041004 | 2.4405e-05 | 1.5561e-05 | 0.24223 | 0.24223 | 0.24223 | 0.99887 | -0.021534 | 0.99871 | -0.024669 | 33.273
17 | 0.288 | 0.073409 | -0.288 | -0.073406 | 4.2584e-06 | 2.7181e-06 | 0.42937 | 0.42937 | 0.42937 | 0.9991 | -0.017033 | 0.99909 | -0.01734 | 39.3198
18 | 0.12342 | 0.031208 | -0.12332 | -0.031141 | 0.00010572 | 6.7553e-05 | 0.18399 | 0.18399 | 0.18399 | 0.99871 | -0.024669 | 0.99778 | -0.042544 | 50.5468
19 | 0.26151 | 0.066767 | -0.26125 | -0.066602 | 0.00025748 | 0.00016425 | 0.38991 | 0.38992 | 0.38992 | 0.99909 | -0.01734 | 0.99801 | -0.037734 | 35.7065
20 | 0.11122 | 0.028108 | -0.11089 | -0.027901 | 0.00032395 | 0.00020692 | 0.16595 | 0.16595 | 0.16595 | 0.99778 | -0.042544 | 0.9946 | -0.10349 | 45.5899
21 | 0.23849 | 0.060898 | -0.23835 | -0.06081 | 0.00013787 | 8.7895e-05 | 0.35598 | 0.35598 | 0.35598 | 0.99801 | -0.037734 | 0.99738 | -0.049703 | 32.5988
22 | 0.010002 | 0.0025067 | -0.010001 | -0.0025066 | 2.3892e-07 | 1.1598e-07 | 0.014963 | 0.014963 | 0.014963 | 0.9946 | -0.10349 | 0.99458 | -0.10399 | 4.1108
23 | 0.22036 | 0.056301 | -0.22023 | -0.056221 | 0.0001257 | 8.0085e-05 | 0.32914 | 0.32914 | 0.32914 | 0.99738 | -0.049703 | 0.99676 | -0.061507 | 30.1407
24 | 0.1757 | 0.044853 | -0.17567 | -0.044835 | 2.909e-05 | 1.8487e-05 | 0.26338 | 0.26338 | 0.26338 | 0.99371 | -0.11951 | 0.99353 | -0.12294 | 24.1194
25 | -0.17961 | -0.045835 | 0.17968 | 0.045879 | 6.786e-05 | 4.3139e-05 | 0.26925 | 0.26925 | 0.26925 | 0.99371 | -0.11951 | 0.99412 | -0.1117 | 24.6568
26 | 0.17172 | 0.043846 | -0.1716 | -0.04377 | 0.00011978 | 7.6101e-05 | 0.25748 | 0.25748 | 0.25748 | 0.99353 | -0.12294 | 0.99278 | -0.13739 | 23.5784
27 | -0.18483 | -0.047169 | 0.18501 | 0.047279 | 0.00017296 | 0.00010999 | 0.27696 | 0.27696 | 0.27696 | 0.99412 | -0.1117 | 0.99514 | -0.092348 | 25.3628
28 | 0.15713 | 0.040139 | -0.1571 | -0.04012 | 2.9638e-05 | 1.8803e-05 | 0.23578 | 0.23578 | 0.23578 | 0.99278 | -0.13739 | 0.99257 | -0.14129 | 21.5917
29 | 0.014473 | 0.0036313 | -0.014461 | -0.0036242 | 1.2495e-05 | 7.0821e-06 | 0.021695 | 0.021695 | 0.021695 | 0.99278 | -0.13739 | 0.99184 | -0.15551 | 5.9601
30 | -0.18983 | -0.04849 | 0.18994 | 0.048555 | 0.00010308 | 6.557e-05 | 0.28418 | 0.28418 | 0.28418 | 0.99514 | -0.092348 | 0.99573 | -0.081123 | 26.024
31 | 0.15356 | 0.039233 | -0.1532 | -0.039007 | 0.00035587 | 0.00022568 | 0.23048 | 0.23048 | 0.23048 | 0.99257 | -0.14129 | 0.99006 | -0.18934 | 21.106
32 | -0.19478 | -0.049769 | 0.19486 | 0.04982 | 7.9823e-05 | 5.0793e-05 | 0.29142 | 0.29142 | 0.29142 | 0.99573 | -0.081123 | 0.99617 | -0.072652 | 26.6868
33 | 0.1532 | 0.039007 | -0.15309 | -0.038934 | 0.00011658 | 7.3934e-05 | 0.23048 | 0.23048 | 0.23048 | 0.99006 | -0.18934 | 0.98924 | -0.20513 | 21.106
34 | -0.20376 | -0.052051 | 0.20387 | 0.052121 | 0.00010986 | 6.9944e-05 | 0.30471 | 0.30471 | 0.30471 | 0.99617 | -0.072652 | 0.99676 | -0.061507 | 27.9043
35 | 0.15309 | 0.038934 | -0.1528 | -0.038751 | 0.00028848 | 0.00018296 | 0.23048 | 0.23048 | 0.23048 | 0.98924 | -0.20513 | 0.9872 | -0.24432 | 21.1061
36 | 0.027539 | 0.0069102 | -0.027522 | -0.0068997 | 1.6861e-05 | 1.047e-05 | 0.04191 | 0.04191 | 0.04191 | 0.97784 | -0.42655 | 0.97719 | -0.4394 | 11.5138
37 | -0.032904 | -0.0082548 | 0.032923 | 0.0082669 | 1.926e-05 | 1.2069e-05 | 0.050074 | 0.050074 | 0.050074 | 0.97784 | -0.42655 | 0.97846 | -0.41428 | 13.7567
38 | 0.023254 | 0.00583 | -0.023252 | -0.005829 | 1.636e-06 | 1.0035e-06 | 0.035411 | 0.035411 | 0.035411 | 0.97719 | -0.4394 | 0.97711 | -0.44088 | 9.7283
39 | -0.035912 | -0.0090159 | 0.035917 | 0.0090189 | 4.7808e-06 | 3.006e-06 | 0.054619 | 0.054619 | 0.054619 | 0.97846 | -0.41428 | 0.97861 | -0.41149 | 15.0053
40 | 0.01782 | 0.0044676 | -0.017817 | -0.0044657 | 3.1379e-06 | 1.866e-06 | 0.027139 | 0.027139 | 0.027139 | 0.97711 | -0.44088 | 0.97692 | -0.44457 | 7.4557
41 | -0.1087 | -0.027292 | 0.1089 | 0.027415 | 0.00019236 | 0.00012288 | 0.16531 | 0.16531 | 0.16531 | 0.97861 | -0.41149 | 0.9805 | -0.37447 | 45.4137
42 | 0.072787 | 0.018273 | -0.072773 | -0.018265 | 1.3192e-05 | 8.407e-06 | 0.11069 | 0.11069 | 0.11069 | 0.97861 | -0.41149 | 0.97841 | -0.41529 | 30.4084
43 | 0.01086 | 0.0027221 | -0.010858 | -0.0027213 | 1.6327e-06 | 8.4572e-07 | 0.016542 | 0.016542 | 0.016542 | 0.97692 | -0.44457 | 0.97676 | -0.44773 | 4.5445
44 | -0.12984 | -0.032664 | 0.12998 | 0.032757 | 0.00014664 | 9.3723e-05 | 0.19709 | 0.19709 | 0.19709 | 0.9805 | -0.37447 | 0.98171 | -0.35086 | 54.1447
45 | 0.052194 | 0.013107 | -0.052168 | -0.013091 | 2.5494e-05 | 1.618e-05 | 0.079388 | 0.079388 | 0.079388 | 0.97841 | -0.41529 | 0.97789 | -0.42553 | 21.81
46 | 0.0051679 | 0.0012951 | -0.0051677 | -0.0012951 | 1.3672e-07 | 1.3877e-08 | 0.0078728 | 0.0078728 | 0.0078728 | 0.97676 | -0.44773 | 0.97673 | -0.44828 | 2.1629
47 | -0.1335 | -0.033639 | 0.13376 | 0.033803 | 0.0002564 | 0.00016388 | 0.20242 | 0.20242 | 0.20242 | 0.98171 | -0.35086 | 0.98377 | -0.31079 | 55.6096
48 | 0.049242 | 0.012358 | -0.049206 | -0.012335 | 3.571e-05 | 2.2642e-05 | 0.074935 | 0.074935 | 0.074935 | 0.97789 | -0.42553 | 0.97712 | -0.44075 | 20.5865
49 | 0.0051677 | 0.0012951 | -0.0051673 | -0.0012951 | 4.0356e-07 | 4.0989e-08 | 0.0078728 | 0.0078729 | 0.0078729 | 0.97673 | -0.44828 | 0.97665 | -0.44992 | 2.1629
50 | 0.14858 | 0.037694 | -0.14846 | -0.037617 | 0.00012212 | 7.7411e-05 | 0.22412 | 0.22412 | 0.22412 | 0.9872 | -0.24432 | 0.98631 | -0.26143 | 20.5242
51 | 0.145 | 0.036749 | -0.14494 | -0.036714 | 5.67e-05 | 3.5926e-05 | 0.2189 | 0.2189 | 0.2189 | 0.98631 | -0.26143 | 0.98589 | -0.26957 | 20.0462
52 | 0.14151 | 0.035852 | -0.14136 | -0.035761 | 0.00014331 | 9.1291e-05 | 0.21372 | 0.21372 | 0.21372 | 0.98589 | -0.26957 | 0.9848 | -0.29067 | 29.3568
53 | 0.13763 | 0.034826 | -0.1375 | -0.034741 | 0.00013275 | 8.4855e-05 | 0.20808 | 0.20808 | 0.20808 | 0.9848 | -0.29067 | 0.98377 | -0.31079 | 57.1645
54 | 0.019651 | 0.0049277 | -0.019643 | -0.0049233 | 7.4444e-06 | 4.4869e-06 | 0.029927 | 0.029927 | 0.029927 | 0.97712 | -0.44075 | 0.97671 | -0.4487 | 8.2216
55 | 0.0082951 | 0.0020791 | -0.0082943 | -0.0020787 | 8.8261e-07 | 3.8045e-07 | 0.012638 | 0.012638 | 0.012638 | 0.97671 | -0.4487 | 0.9766 | -0.45094 | 3.4719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50057 | 0.12672

## res_load
| p_mw | q_mvar
0 | 0.017749 | 0.0044484
1 | 0.0021651 | 0.00054262
2 | 0.0087778 | 0.0021999
3 | 0.0047407 | 0.0011881
4 | 0.0021591 | 0.00054112
5 | 0.013737 | 0.0034429
6 | 0.0085535 | 0.0021437
7 | 0.0070989 | 0.0017792
8 | 0.0024332 | 0.00060982
9 | 0.014064 | 0.0035247
10 | 0.0084399 | 0.0021152
11 | 0.025212 | 0.0063187
12 | 0.0090038 | 0.0022566
13 | 0.013745 | 0.0034448
14 | 0.039087 | 0.0097961
15 | 0.026492 | 0.0066396
16 | 0.012099 | 0.0030323
17 | 0.022761 | 0.0057045
18 | 0.017992 | 0.0045092
19 | 0.010001 | 0.0025066
20 | 0.003919 | 0.0009822
21 | 0.0039449 | 0.00098868
22 | 0.0051506 | 0.0012909
23 | 0.004829 | 0.0012103
24 | 0.0035382 | 0.00088676
25 | 0.014461 | 0.0036242
26 | 0.0048436 | 0.0012139
27 | 0.0089005 | 0.0022307
28 | 0.010687 | 0.0026785
29 | 0.01636 | 0.0041002
30 | 0.0053651 | 0.0013446
31 | 0.0042681 | 0.0010697
32 | 0.0029886 | 0.00074902
33 | 0.0054321 | 0.0013614
34 | 0.0069571 | 0.0017436
35 | 0.020942 | 0.0052484
36 | 0.020579 | 0.0051577
37 | 0.0056906 | 0.0014262
38 | 0.003518 | 0.0008817
39 | 0.0029267 | 0.00073351
40 | 0.0051673 | 0.0012951
41 | 0.0042159 | 0.0010566
42 | 0.0034597 | 0.00086708
43 | 0.0034369 | 0.00086138
44 | 0.003732 | 0.00093532
45 | 0.0037418 | 0.0009378
46 | 0.029555 | 0.0074072
47 | 0.011348 | 0.0028441
48 | 0.0082943 | 0.0020787

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1