## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-967_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-967_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_261-967_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_261-967_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-967_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_261-967_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_261-967_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_261-967_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_261-967_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_261-967_0_4_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_261-967_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_261-967_0_4_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_261-967_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_261-967_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_261-967_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_261-967_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_261-967_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_261-967_0_4_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_261-967_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_261-967_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_261-967_0_4_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_261-967_0_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_261-967_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_261-967_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_261-967_0_4_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_261-967_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_261-967_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_261-967_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_261-967_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_261-967_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_261-967_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_261-967_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_261-967_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_261-967_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_261-967_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-967_0_4_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_261-967_0_4_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_261-967_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_261-967_0_4_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_261-967_0_4_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_261-967_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_261-967_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_261-967_0_4_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_261-967_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_261-967_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_261-967_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_261-967_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_261-967_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_261-967_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_261-967_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_261-967_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_261-967_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_261-967_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_261-967_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_261-967_0_4_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_261-967_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_261-967_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_261-967_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_261-967_0_4_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_261-967_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_261-967_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_261-967_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_261-967_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_261-967_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_261-967_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_261-967_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_261-967_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_261-967_0_4_node_29 | 0.4 | n |  | TRUE
68 | bus_LV_261-967_0_4_node_30 | 0.4 | n |  | TRUE
69 | bus_LV_261-967_0_4_node_32 | 0.4 | n |  | TRUE
70 | bus_LV_261-967_0_4_node_33 | 0.4 | n |  | TRUE
71 | bus_LV_261-967_0_4_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_261-967_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_261-967_0_4_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_261-967_0_4_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_261-967_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_261-967_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_261-967_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_261-967_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_261-967_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_261-967_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_261-967_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_261-967_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_261-967_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_MV_493_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-967_0_4_load_0 | 0 | 0.058893 | 0.01476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-967_0_4_load_28 | 7 | 0.0013494 | 0.0003382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-967_0_4_load_91 | 9 | 0.0068965 | 0.0017284 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-967_0_4_load_64 | 13 | 0.0050438 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-967_0_4_load_60 | 15 | 0.0031056 | 0.00077835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-967_0_4_load_92 | 17 | 0.003259 | 0.00081677 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-967_0_4_load_39 | 18 | 0.016899 | 0.0042353 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-967_0_4_load_38 | 19 | 0.0027819 | 0.00069722 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-967_0_4_load_73 | 20 | 0.0056756 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-967_0_4_load_72 | 21 | 0.0071095 | 0.0017818 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-967_0_4_load_40 | 22 | 0.0082613 | 0.0020705 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-967_0_4_load_76 | 24 | 0.023794 | 0.0059635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-967_0_4_load_62 | 25 | 0.00904 | 0.0022656 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-967_0_4_load_50 | 27 | 0.00095302 | 0.00023885 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-967_0_4_load_37 | 32 | 0.0063212 | 0.0015842 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-967_0_4_load_77 | 35 | 0.053496 | 0.013407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-967_0_4_load_90 | 36 | 0.0042471 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-967_0_4_load_87 | 38 | 0.001779 | 0.00044587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-967_0_4_load_85 | 39 | 0.0018983 | 0.00047576 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-967_0_4_load_46 | 40 | 0.0014937 | 0.00037436 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-967_0_4_load_75 | 42 | 0.014372 | 0.0036018 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-967_0_4_load_88 | 44 | 0.0085073 | 0.0021321 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-967_0_4_load_57 | 45 | 0.0034099 | 0.00085461 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-967_0_4_load_45 | 46 | 0.002338 | 0.00058597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-967_0_4_load_65 | 48 | 0.0048071 | 0.0012048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-967_0_4_load_58 | 49 | 0.0031482 | 0.00078901 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-967_0_4_load_44 | 50 | 0.0026668 | 0.00066837 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-967_0_4_load_49 | 51 | 0.0013164 | 0.00032992 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-967_0_4_load_48 | 52 | 0.0011027 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-967_0_4_load_86 | 54 | 0.00092989 | 0.00023305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-967_0_4_load_36 | 55 | 0.045812 | 0.011482 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-967_0_4_load_84 | 56 | 0.0014461 | 0.00036243 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-967_0_4_load_82 | 57 | 0.0017864 | 0.00044772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-967_0_4_load_83 | 58 | 0.0021739 | 0.00054483 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-967_0_4_load_47 | 59 | 0.0011542 | 0.00028926 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-967_0_4_load_74 | 60 | 0.0012854 | 0.00032216 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-967_0_4_load_35 | 62 | 0.067616 | 0.016946 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-967_0_4_load_54 | 65 | 0.012746 | 0.0031945 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-967_0_4_load_89 | 66 | 0.0085454 | 0.0021417 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-967_0_4_load_29 | 67 | 0.029317 | 0.0073475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-967_0_4_load_34 | 71 | 0.0071779 | 0.001799 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-967_0_4_load_67 | 72 | 0.0043064 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-967_0_4_load_43 | 73 | 0.0027188 | 0.00068139 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-967_0_4_load_51 | 74 | 0.01129 | 0.0028295 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-967_0_4_load_59 | 75 | 0.003027 | 0.00075864 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-967_0_4_load_63 | 76 | 0.0016249 | 0.00040723 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-967_0_4_load_66 | 79 | 0.0040568 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-967_0_4_load_78 | 80 | 0.0017519 | 0.00043906 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-967_0_4_load_79 | 81 | 0.001766 | 0.00044261 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-967_0_4_load_80 | 82 | 0.0012488 | 0.00031298 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-967_0_4_load_81 | 83 | 0.0025691 | 0.00064388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-967_0_4_line_0 |  | 0 | 1 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-967_0_4_line_1 |  | 1 | 6 | 0.039435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-967_0_4_line_2 |  | 2 | 3 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-967_0_4_line_3 |  | 2 | 4 | 0.0094975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-967_0_4_line_4 |  | 2 | 5 | 0.050046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-967_0_4_line_5 |  | 3 | 7 | 0.0099699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-967_0_4_line_6 |  | 4 | 18 | 0.02463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-967_0_4_line_7 |  | 4 | 16 | 0.052836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-967_0_4_line_8 |  | 5 | 22 | 0.027773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-967_0_4_line_9 |  | 6 | 45 | 0.01949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-967_0_4_line_10 |  | 6 | 28 | 0.007275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-967_0_4_line_11 |  | 6 | 30 | 0.051177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_261-967_0_4_line_12 |  | 8 | 9 | 0.002309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-967_0_4_line_13 |  | 8 | 10 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-967_0_4_line_14 |  | 8 | 11 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-967_0_4_line_15 |  | 10 | 19 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-967_0_4_line_16 |  | 11 | 46 | 0.016164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-967_0_4_line_17 |  | 11 | 47 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-967_0_4_line_18 |  | 12 | 13 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-967_0_4_line_19 |  | 12 | 14 | 0.031476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-967_0_4_line_20 |  | 12 | 15 | 0.025181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-967_0_4_line_21 |  | 13 | 48 | 0.014485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-967_0_4_line_22 |  | 14 | 20 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-967_0_4_line_23 |  | 14 | 21 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-967_0_4_line_24 |  | 15 | 49 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-967_0_4_line_25 |  | 16 | 17 | 0.03704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-967_0_4_line_26 |  | 19 | 33 | 0.0083031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-967_0_4_line_27 |  | 22 | 47 | 0.030774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-967_0_4_line_28 |  | 23 | 24 | 0.042566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-967_0_4_line_29 |  | 23 | 25 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-967_0_4_line_30 |  | 25 | 53 | 0.041142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-967_0_4_line_31 |  | 26 | 27 | 0.0011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-967_0_4_line_32 |  | 26 | 28 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-967_0_4_line_33 |  | 26 | 29 | 0.008603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-967_0_4_line_34 |  | 27 | 54 | 0.0066056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-967_0_4_line_35 |  | 28 | 36 | 0.024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_261-967_0_4_line_36 |  | 29 | 40 | 0.024266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-967_0_4_line_37 |  | 29 | 33 | 0.042859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-967_0_4_line_38 |  | 30 | 31 | 0.070998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-967_0_4_line_39 |  | 30 | 32 | 0.034737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-967_0_4_line_40 |  | 31 | 34 | 0.065305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-967_0_4_line_41 |  | 31 | 35 | 0.047141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_261-967_0_4_line_42 |  | 32 | 55 | 0.030277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-967_0_4_line_43 |  | 34 | 44 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-967_0_4_line_44 |  | 34 | 41 | 0.06967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_261-967_0_4_line_45 |  | 37 | 38 | 0.01359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-967_0_4_line_46 |  | 37 | 39 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-967_0_4_line_47 |  | 38 | 58 | 0.02875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-967_0_4_line_48 |  | 39 | 54 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-967_0_4_line_49 |  | 40 | 59 | 0.019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-967_0_4_line_50 |  | 41 | 42 | 0.024728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-967_0_4_line_51 |  | 41 | 43 | 0.023215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_261-967_0_4_line_52 |  | 43 | 60 | 0.047009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_261-967_0_4_line_53 |  | 43 | 61 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-967_0_4_line_54 |  | 44 | 66 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-967_0_4_line_55 |  | 45 | 64 | 0.031778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-967_0_4_line_56 |  | 46 | 73 | 0.013841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-967_0_4_line_57 |  | 47 | 50 | 0.0068531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-967_0_4_line_58 |  | 48 | 79 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-967_0_4_line_59 |  | 49 | 75 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-967_0_4_line_60 |  | 51 | 52 | 0.02407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-967_0_4_line_61 |  | 52 | 59 | 0.0080139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-967_0_4_line_62 |  | 53 | 76 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-967_0_4_line_63 |  | 53 | 75 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-967_0_4_line_64 |  | 55 | 62 | 0.036669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_261-967_0_4_line_65 |  | 56 | 57 | 0.0083451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-967_0_4_line_66 |  | 57 | 82 | 6.1767e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-967_0_4_line_67 |  | 58 | 83 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-967_0_4_line_68 |  | 60 | 69 | 0.025694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-967_0_4_line_69 |  | 61 | 72 | 0.024532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-967_0_4_line_70 |  | 63 | 64 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-967_0_4_line_71 |  | 63 | 65 | 0.029461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-967_0_4_line_72 |  | 64 | 74 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-967_0_4_line_73 |  | 67 | 68 | 0.031417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_261-967_0_4_line_74 |  | 68 | 69 | 0.014864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_261-967_0_4_line_75 |  | 69 | 70 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_261-967_0_4_line_76 |  | 70 | 71 | 0.032371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_261-967_0_4_line_77 |  | 72 | 78 | 0.0005511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_261-967_0_4_line_78 |  | 76 | 77 | 0.0046357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_261-967_0_4_line_79 |  | 77 | 78 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_261-967_0_4_line_80 |  | 80 | 81 | 0.0073951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_261-967_0_4_line_81 |  | 80 | 82 | 0.0073913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_261-967_0_4_line_82 |  | 81 | 83 | 0.0093615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-967_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 84 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2686653.6869 | 1245914.0142 | 2686672.6745 | 1245913.7431
1 | 2686616.2164 | 1245918.2923 | 2686624.35 | 1245919.0672 | 2686629.1412 | 1245919.5264 | 2686630.4334 | 1245917.4437 | 2686632.3961 | 1245916.0158 | 2686634.572 | 1245914.9912 | 2686639.1304 | 1245914.3129 | 2686653.6869 | 1245914.0142
2 | 2686729.1356 | 1245915.7069 | 2686730.4035 | 1245915.8033 | 2686735.7714 | 1245917.1272 | 2686736.8849 | 1245916.9322 | 2686737.6523 | 1245916.1206 | 2686737.6665 | 1245915.1535 | 2686737.1086 | 1245914.0334 | 2686735.4322 | 1245912.9414 | 2686732.9813 | 1245912.1049
3 | 2686732.9813 | 1245912.1049 | 2686734.556 | 1245911.3719 | 2686736.4249 | 1245910.6764 | 2686742.18 | 1245910.3159
4 | 2686732.9813 | 1245912.1049 | 2686734.556 | 1245911.3719 | 2686736.4249 | 1245910.6764 | 2686736.2843 | 1245902.7241 | 2686736.215 | 1245895.5844 | 2686755.5335 | 1245895.1666 | 2686755.5473 | 1245892.1535 | 2686758.7063 | 1245883.8491
5 | 2686729.1356 | 1245915.7069 | 2686719.1709 | 1245916.0279
6 | 2686742.18 | 1245910.3159 | 2686745.8076 | 1245934.6775
7 | 2686742.18 | 1245910.3159 | 2686764.2561 | 1245909.9051 | 2686787.9043 | 1245909.4618 | 2686795.0077 | 1245909.3879
8 | 2686758.7063 | 1245883.8491 | 2686731.5503 | 1245878.0285
9 | 2686616.2164 | 1245918.2923 | 2686617.217 | 1245920.6531 | 2686617.7166 | 1245923.1734 | 2686617.7018 | 1245925.7417 | 2686616.5891 | 1245928.9834 | 2686613.5684 | 1245936.7792
10 | 2686616.2164 | 1245918.2923 | 2686614.8258 | 1245916.2483 | 2686613.0529 | 1245914.51 | 2686610.9677 | 1245913.4676
11 | 2686616.2164 | 1245918.2923 | 2686624.35 | 1245919.0672 | 2686623.4688 | 1245924.0469 | 2686627.0656 | 1245925.5783 | 2686628.911 | 1245926.4837 | 2686630.6373 | 1245930.89 | 2686621.3698 | 1245956.5181
12 | 2686681.9007 | 1245876.2317 | 2686684.0878 | 1245875.4742
13 | 2686684.0878 | 1245875.4742 | 2686685.165 | 1245884.997 | 2686680.5069 | 1245896.6265 | 2686673.086 | 1245896.707
14 | 2686692.6623 | 1245869.3617 | 2686684.0878 | 1245875.4742
15 | 2686673.086 | 1245896.707 | 2686666.5898 | 1245884.1917
16 | 2686692.6623 | 1245869.3617 | 2686692.5626 | 1245858.0963 | 2686696.3807 | 1245855.0286
17 | 2686702.4922 | 1245873.4973 | 2686701.4182 | 1245872.025 | 2686692.6623 | 1245869.3617
18 | 2686786.2062 | 1245999.6371 | 2686751.4022 | 1245993.9216
19 | 2686786.2062 | 1245999.6371 | 2686798.9384 | 1245974.2824 | 2686796.1554 | 1245972.9073
20 | 2686786.2062 | 1245999.6371 | 2686780.3904 | 1246011.3718 | 2686772.5865 | 1246020.5978 | 2686772.5865 | 1246020.5978
21 | 2686737.0128 | 1245993.0959 | 2686744.6523 | 1245992.8131 | 2686751.4022 | 1245993.9216
22 | 2686788.3577 | 1245983.7679 | 2686791.2525 | 1245982.665 | 2686796.1554 | 1245972.9073
23 | 2686796.1554 | 1245972.9073 | 2686802.0949 | 1245961.4969 | 2686801.3581 | 1245959.1844 | 2686801.4275 | 1245959.0437
24 | 2686765.6555 | 1246035.0511 | 2686772.5865 | 1246020.5978
25 | 2686778.6765 | 1245942.6514 | 2686795.0077 | 1245909.3879
26 | 2686659.2935 | 1245888.1547 | 2686666.5898 | 1245884.1917
27 | 2686702.4922 | 1245873.4973 | 2686713.3622 | 1245871.6103 | 2686717.3928 | 1245874.994 | 2686731.5503 | 1245878.0285
28 | 2686813.5863 | 1246065.7534 | 2686831.9095 | 1246027.3329
29 | 2686813.5863 | 1246065.7534 | 2686795.0131 | 1246064.2963
30 | 2686753.8933 | 1246063.5006 | 2686757.226 | 1246063.4493 | 2686788.4932 | 1246063.7847 | 2686795.0131 | 1246064.2963
31 | 2686610.9681 | 1245897.4113 | 2686609.8033 | 1245897.4415
32 | 2686610.9677 | 1245913.4676 | 2686610.9623 | 1245905.5617 | 2686610.9681 | 1245897.4113
33 | 2686610.9681 | 1245897.4113 | 2686614.0143 | 1245897.3224 | 2686616.8836 | 1245896.9307 | 2686619.1486 | 1245895.496
34 | 2686603.1999 | 1245897.6127 | 2686609.8033 | 1245897.4415
35 | 2686610.9677 | 1245913.4676 | 2686609.3835 | 1245913.2999 | 2686586.7083 | 1245913.7645
36 | 2686619.1486 | 1245895.496 | 2686621.1462 | 1245892.2005 | 2686630.4117 | 1245874.0123
37 | 2686619.1486 | 1245895.496 | 2686625.9494 | 1245895.4508 | 2686632.4554 | 1245895.4125 | 2686634.3538 | 1245896.8302 | 2686636.4618 | 1245897.3502 | 2686640.7092 | 1245893.654 | 2686659.2935 | 1245888.1547
38 | 2686599.3804 | 1246017.2086 | 2686599.643 | 1246008.0279 | 2686602.3 | 1245995.2683 | 2686605.2451 | 1245984.003 | 2686616.0883 | 1245954.4616 | 2686621.3698 | 1245956.5181
39 | 2686621.3698 | 1245956.5181 | 2686628.6657 | 1245959.8159 | 2686653.7185 | 1245969.136
40 | 2686596.5325 | 1246064.2352 | 2686600.1513 | 1246066.3229 | 2686610.7386 | 1246047.5636 | 2686604.3977 | 1246042.0002 | 2686599.2178 | 1246035.5754 | 2686596.4504 | 1246028.9968 | 2686595.0747 | 1246023.3503 | 2686594.5115 | 1246018.4607 | 2686599.3804 | 1246017.2086
41 | 2686599.3804 | 1246017.2086 | 2686608.7425 | 1246019.736 | 2686613.7963 | 1246021.3444 | 2686617.1403 | 1246011.219 | 2686624.9297 | 1245996.7665 | 2686625.0036 | 1245991.7082
42 | 2686671.932 | 1245984.4232 | 2686674.6182 | 1245976.911 | 2686653.7185 | 1245969.136
43 | 2686596.5325 | 1246064.2352 | 2686582.1904 | 1246064.2266
44 | 2686596.5325 | 1246064.2352 | 2686600.1513 | 1246066.3229 | 2686610.7386 | 1246047.5636 | 2686624.2283 | 1246053.0313 | 2686631.514 | 1246055.4617 | 2686636.9878 | 1246056.7648 | 2686647.6193 | 1246059.2886 | 2686652.69 | 1246060.2523
45 | 2686564.7353 | 1245897.9035 | 2686564.4663 | 1245884.3163
46 | 2686564.7353 | 1245897.9035 | 2686571.7317 | 1245898.4282 | 2686578.1796 | 1245898.2611
47 | 2686564.4663 | 1245884.3163 | 2686564.3744 | 1245879.6736 | 2686564.9717 | 1245869.2969 | 2686566.7797 | 1245860.35 | 2686568.6658 | 1245856.1715
48 | 2686578.1796 | 1245898.2611 | 2686603.1999 | 1245897.6127
49 | 2686639.486 | 1245856.1992 | 2686630.4117 | 1245874.0123
50 | 2686652.69 | 1246060.2523 | 2686656.3961 | 1246047.0633 | 2686660.108 | 1246036.6786
51 | 2686675.7999 | 1246062.992 | 2686654.5953 | 1246060.6805 | 2686652.69 | 1246060.2523
52 | 2686675.7999 | 1246062.992 | 2686684.9276 | 1246033.4924 | 2686690.2988 | 1246018.2836
53 | 2686675.7999 | 1246062.992 | 2686688.315 | 1246063.2862 | 2686690.7697 | 1246063.3443
54 | 2686582.1904 | 1246064.2266 | 2686562.2145 | 1246064.2145
55 | 2686602.087 | 1245966.4105 | 2686613.5684 | 1245936.7792
56 | 2686696.3807 | 1245855.0286 | 2686698.9237 | 1245852.9855 | 2686708.6474 | 1245857.1529
57 | 2686702.4922 | 1245873.4973 | 2686703.5806 | 1245880.1848 | 2686703.5921 | 1245880.2616
58 | 2686737.0128 | 1245993.0959 | 2686728.9358 | 1245993.3949 | 2686725.1873 | 1245993.3792
59 | 2686765.6555 | 1246035.0511 | 2686758.495 | 1246049.9827
60 | 2686643.1237 | 1245849.0584 | 2686652.0984 | 1245831.4409 | 2686654.1562 | 1245827.6672
61 | 2686639.486 | 1245856.1992 | 2686643.1237 | 1245849.0584
62 | 2686753.8933 | 1246063.5006 | 2686732.2507 | 1246063.5228
63 | 2686753.8933 | 1246063.5006 | 2686755.028 | 1246057.2126 | 2686758.495 | 1246049.9827
64 | 2686671.932 | 1245984.4232 | 2686659.586 | 1246018.9509
65 | 2686590.9146 | 1245818.609 | 2686586.4598 | 1245825.6657
66 | 2686586.4598 | 1245825.6657 | 2686586.4268 | 1245825.7179
67 | 2686568.6658 | 1245856.1715 | 2686572.3393 | 1245848.0331 | 2686573.5362 | 1245846.1372
68 | 2686698.855 | 1245994.0556 | 2686690.2988 | 1246018.2836
69 | 2686690.7697 | 1246063.3443 | 2686715.3009 | 1246063.4639
70 | 2686593.1523 | 1245993.578 | 2686598.3888 | 1245976.4751 | 2686602.087 | 1245966.4105
71 | 2686593.1523 | 1245993.578 | 2686570.0597 | 1245992.2177 | 2686563.7383 | 1245992.5177
72 | 2686602.087 | 1245966.4105 | 2686576.0088 | 1245964.7848
73 | 2686703.8049 | 1245980.0398 | 2686715.8837 | 1245967.3069 | 2686720.5555 | 1245954.2511
74 | 2686698.855 | 1245994.0556 | 2686701.0228 | 1245987.905 | 2686702.26 | 1245984.4205 | 2686703.8049 | 1245980.0398
75 | 2686700.1082 | 1245984.3112 | 2686698.0338 | 1245983.5692 | 2686694.5139 | 1245992.2797 | 2686698.855 | 1245994.0556
76 | 2686700.1082 | 1245984.3112 | 2686688.8152 | 1246014.6481
77 | 2686715.3009 | 1246063.4639 | 2686715.852 | 1246063.4666
78 | 2686727.615 | 1246063.5275 | 2686732.2507 | 1246063.5228
79 | 2686727.615 | 1246063.5275 | 2686722.3946 | 1246063.4956 | 2686716.8332 | 1246063.5365 | 2686715.852 | 1246063.4666
80 | 2686582.4812 | 1245831.968 | 2686578.5335 | 1245838.2212
81 | 2686582.4812 | 1245831.968 | 2686586.4268 | 1245825.7179
82 | 2686573.5362 | 1245846.1372 | 2686578.5335 | 1245838.2212

## bus_geodata
| x | y | coords
0 | 2686672.6745 | 1245913.7431
1 | 2686653.6869 | 1245914.0142
2 | 2686732.9813 | 1245912.1049
3 | 2686729.1356 | 1245915.7069
4 | 2686742.18 | 1245910.3159
5 | 2686758.7063 | 1245883.8491
6 | 2686616.2164 | 1245918.2923
7 | 2686719.1709 | 1245916.0279
8 | 2686684.0878 | 1245875.4742
9 | 2686681.9007 | 1245876.2317
10 | 2686673.086 | 1245896.707
11 | 2686692.6623 | 1245869.3617
12 | 2686786.2062 | 1245999.6371
13 | 2686751.4022 | 1245993.9216
14 | 2686796.1554 | 1245972.9073
15 | 2686772.5865 | 1246020.5978
16 | 2686795.0077 | 1245909.3879
17 | 2686778.6765 | 1245942.6514
18 | 2686745.8076 | 1245934.6775
19 | 2686666.5898 | 1245884.1917
20 | 2686788.3577 | 1245983.7679
21 | 2686801.4275 | 1245959.0437
22 | 2686731.5503 | 1245878.0285
23 | 2686813.5863 | 1246065.7534
24 | 2686831.9095 | 1246027.3329
25 | 2686795.0131 | 1246064.2963
26 | 2686610.9681 | 1245897.4113
27 | 2686609.8033 | 1245897.4415
28 | 2686610.9677 | 1245913.4676
29 | 2686619.1486 | 1245895.496
30 | 2686621.3698 | 1245956.5181
31 | 2686599.3804 | 1246017.2086
32 | 2686653.7185 | 1245969.136
33 | 2686659.2935 | 1245888.1547
34 | 2686596.5325 | 1246064.2352
35 | 2686625.0036 | 1245991.7082
36 | 2686586.7083 | 1245913.7645
37 | 2686564.7353 | 1245897.9035
38 | 2686564.4663 | 1245884.3163
39 | 2686578.1797 | 1245898.2611
40 | 2686630.4117 | 1245874.0123
41 | 2686652.69 | 1246060.2523
42 | 2686660.108 | 1246036.6786
43 | 2686675.7999 | 1246062.992
44 | 2686582.1904 | 1246064.2266
45 | 2686613.5684 | 1245936.7792
46 | 2686696.3807 | 1245855.0286
47 | 2686702.4922 | 1245873.4973
48 | 2686737.0128 | 1245993.0959
49 | 2686765.6555 | 1246035.0511
50 | 2686703.5921 | 1245880.2616
51 | 2686654.1562 | 1245827.6672
52 | 2686643.1237 | 1245849.0584
53 | 2686753.8933 | 1246063.5006
54 | 2686603.1999 | 1245897.6127
55 | 2686671.932 | 1245984.4232
56 | 2686590.9146 | 1245818.609
57 | 2686586.4598 | 1245825.6657
58 | 2686568.6658 | 1245856.1715
59 | 2686639.486 | 1245856.1992
60 | 2686690.2988 | 1246018.2836
61 | 2686690.7697 | 1246063.3443
62 | 2686659.586 | 1246018.9509
63 | 2686593.1523 | 1245993.578
64 | 2686602.087 | 1245966.4105
65 | 2686563.7383 | 1245992.5177
66 | 2686562.2145 | 1246064.2145
67 | 2686720.5555 | 1245954.2511
68 | 2686703.8049 | 1245980.0398
69 | 2686698.855 | 1245994.0556
70 | 2686700.1082 | 1245984.3112
71 | 2686688.8152 | 1246014.6481
72 | 2686715.3009 | 1246063.4639
73 | 2686708.6474 | 1245857.1529
74 | 2686576.0088 | 1245964.7848
75 | 2686758.495 | 1246049.9827
76 | 2686732.2507 | 1246063.5228
77 | 2686727.615 | 1246063.5275
78 | 2686715.852 | 1246063.4666
79 | 2686725.1873 | 1245993.3792
80 | 2686582.4812 | 1245831.968
81 | 2686578.5335 | 1245838.2212
82 | 2686586.4268 | 1245825.7179
83 | 2686573.5362 | 1245846.1372
84 | 2686642.9639 | 1245965.1351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98579 | -0.2723 | 0.058893 | 0.01476
1 | 0.98682 | -0.25226 | 0 | 0
2 | 0.97988 | -0.38737 | 0 | 0
3 | 0.97986 | -0.38776 | 0 | 0
4 | 0.9797 | -0.39084 | 0 | 0
5 | 0.98087 | -0.36784 | 0 | 0
6 | 0.98895 | -0.21078 | 0 | 0
7 | 0.97985 | -0.388 | 0.0013494 | 0.0003382
8 | 0.98297 | -0.32693 | 0 | 0
9 | 0.98295 | -0.32722 | 0.0068965 | 0.0017284
10 | 0.98418 | -0.30331 | 0 | 0
11 | 0.9826 | -0.33404 | 0 | 0
12 | 0.97162 | -0.54755 | 0 | 0
13 | 0.97116 | -0.55661 | 0.0050438 | 0.0012641
14 | 0.97124 | -0.55498 | 0 | 0
15 | 0.97225 | -0.53515 | 0.0031056 | 0.00077835
16 | 0.97954 | -0.39397 | 0 | 0
17 | 0.97943 | -0.39617 | 0.003259 | 0.00081677
18 | 0.97932 | -0.39841 | 0.016899 | 0.0042353
19 | 0.98476 | -0.29205 | 0.0027819 | 0.00069722
20 | 0.97117 | -0.55645 | 0.0056756 | 0.0014224
21 | 0.97114 | -0.55701 | 0.0071095 | 0.0017818
22 | 0.98143 | -0.35703 | 0.0082613 | 0.0020705
23 | 0.97201 | -0.5398 | 0 | 0
24 | 0.97106 | -0.55851 | 0.023794 | 0.0059635
25 | 0.97242 | -0.53163 | 0.00904 | 0.0022656
26 | 0.98741 | -0.24072 | 0 | 0
27 | 0.98739 | -0.2411 | 0.00095302 | 0.00023885
28 | 0.98845 | -0.22049 | 0 | 0
29 | 0.98699 | -0.24876 | 0 | 0
30 | 0.99275 | -0.13757 | 0 | 0
31 | 0.98841 | -0.22059 | 0 | 0
32 | 0.99659 | -0.064418 | 0.0063212 | 0.0015842
33 | 0.98512 | -0.28501 | 0 | 0
34 | 0.9855 | -0.27666 | 0 | 0
35 | 0.98609 | -0.26568 | 0.053496 | 0.013407
36 | 0.98836 | -0.22233 | 0.0042471 | 0.0010644
37 | 0.98672 | -0.254 | 0 | 0
38 | 0.98654 | -0.25754 | 0.001779 | 0.00044587
39 | 0.9869 | -0.2505 | 0.0018983 | 0.00047576
40 | 0.98688 | -0.25096 | 0.0014937 | 0.00037436
41 | 0.98138 | -0.35634 | 0 | 0
42 | 0.98105 | -0.36277 | 0.014372 | 0.0036018
43 | 0.97894 | -0.40373 | 0 | 0
44 | 0.98527 | -0.28106 | 0.0085073 | 0.0021321
45 | 0.98846 | -0.22032 | 0.0034099 | 0.00085461
46 | 0.98253 | -0.33552 | 0.002338 | 0.00058597
47 | 0.98228 | -0.34046 | 0 | 0
48 | 0.97104 | -0.55898 | 0.0048071 | 0.0012048
49 | 0.97269 | -0.52634 | 0.0031482 | 0.00078901
50 | 0.98226 | -0.34079 | 0.0026668 | 0.00066837
51 | 0.98676 | -0.25315 | 0.0013164 | 0.00032992
52 | 0.98679 | -0.25259 | 0.0011027 | 0.00027635
53 | 0.97368 | -0.50676 | 0 | 0
54 | 0.98728 | -0.24315 | 0.00092989 | 0.00023305
55 | 1 | 0 | -0.44062 | -0.1125
56 | 0.98594 | -0.2692 | 0.0014461 | 0.00036243
57 | 0.98595 | -0.26898 | 0.0017864 | 0.00044772
58 | 0.9862 | -0.2641 | 0.0021739 | 0.00054483
59 | 0.98681 | -0.25224 | 0.0011542 | 0.00028926
60 | 0.97729 | -0.43609 | 0.0012854 | 0.00032216
61 | 0.9779 | -0.42411 | 0 | 0
62 | 0.99775 | -0.043312 | 0.067616 | 0.016946
63 | 0.98743 | -0.24048 | 0 | 0
64 | 0.98776 | -0.23396 | 0 | 0
65 | 0.98708 | -0.24719 | 0.012746 | 0.0031945
66 | 0.98512 | -0.28412 | 0.0085454 | 0.0021417
67 | 0.97516 | -0.47806 | 0.029317 | 0.0073475
68 | 0.97601 | -0.46119 | 0 | 0
69 | 0.97642 | -0.45322 | 0 | 0
70 | 0.97631 | -0.45536 | 0 | 0
71 | 0.9761 | -0.45961 | 0.0071779 | 0.001799
72 | 0.97619 | -0.45759 | 0.0043064 | 0.0010793
73 | 0.98249 | -0.3362 | 0.0027188 | 0.00068139
74 | 0.98749 | -0.23923 | 0.01129 | 0.0028295
75 | 0.9732 | -0.51629 | 0.003027 | 0.00075864
76 | 0.97507 | -0.47942 | 0.0016249 | 0.00040723
77 | 0.97538 | -0.47343 | 0 | 0
78 | 0.97615 | -0.4583 | 0 | 0
79 | 0.971 | -0.55987 | 0.0040568 | 0.0010167
80 | 0.98598 | -0.26839 | 0.0017519 | 0.00043906
81 | 0.98603 | -0.26756 | 0.001766 | 0.00044261
82 | 0.98595 | -0.26898 | 0.0012488 | 0.00031298
83 | 0.9861 | -0.26622 | 0.0025691 | 0.00064388
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.058893 | -0.01476 | 0.05895 | 0.014796 | 5.6277e-05 | 3.5775e-05 | 0.088898 | 0.088898 | 0.088898 | 0.98579 | -0.2723 | 0.98682 | -0.25226 | 24.4225
1 | -0.05895 | -0.014796 | 0.059067 | 0.01487 | 0.00011687 | 7.429e-05 | 0.088898 | 0.088898 | 0.088898 | 0.98682 | -0.25226 | 0.98895 | -0.21078 | 24.4225
2 | 0.0013495 | 0.0003379 | -0.0013495 | -0.00033809 | 2.4915e-08 | -1.8335e-07 | 0.0020492 | 0.0020492 | 0.0020492 | 0.97988 | -0.38737 | 0.97986 | -0.38776 | 0.56298
3 | 0.020168 | 0.0050571 | -0.020165 | -0.0050551 | 3.341e-06 | 2.0186e-06 | 0.030628 | 0.030628 | 0.030628 | 0.97988 | -0.38737 | 0.9797 | -0.39084 | 8.4143
4 | -0.021518 | -0.005395 | 0.021538 | 0.0054072 | 2.0039e-05 | 1.2194e-05 | 0.032677 | 0.032677 | 0.032677 | 0.97988 | -0.38737 | 0.98087 | -0.36784 | 8.9772
5 | 0.0013495 | 0.00033809 | -0.0013494 | -0.0003382 | 1.5701e-08 | -1.1553e-07 | 0.0020492 | 0.0020493 | 0.0020493 | 0.97986 | -0.38776 | 0.97985 | -0.388 | 0.56299
6 | 0.016905 | 0.0042389 | -0.016899 | -0.0042353 | 6.0897e-06 | 3.5874e-06 | 0.025677 | 0.025677 | 0.025677 | 0.9797 | -0.39084 | 0.97932 | -0.39841 | 7.0542
7 | 0.0032598 | 0.00081617 | -0.0032593 | -0.00081652 | 4.8567e-07 | -3.5438e-07 | 0.0049508 | 0.0049511 | 0.0049511 | 0.9797 | -0.39084 | 0.97954 | -0.39397 | 1.3602
8 | -0.021538 | -0.0054072 | 0.021549 | 0.005414 | 1.1121e-05 | 6.7665e-06 | 0.032677 | 0.032677 | 0.032677 | 0.98087 | -0.36784 | 0.98143 | -0.35703 | 8.9772
9 | 0.027485 | 0.0069019 | -0.027473 | -0.0068941 | 1.2502e-05 | 7.7516e-06 | 0.04136 | 0.04136 | 0.04136 | 0.98895 | -0.21078 | 0.98846 | -0.22032 | 11.3626
10 | 0.075192 | 0.018994 | -0.075157 | -0.018971 | 3.4952e-05 | 2.2276e-05 | 0.11319 | 0.11319 | 0.11319 | 0.98895 | -0.21078 | 0.98845 | -0.22049 | 31.096
11 | -0.16174 | -0.040766 | 0.16231 | 0.041128 | 0.0005687 | 0.00036265 | 0.24345 | 0.24345 | 0.24345 | 0.98895 | -0.21078 | 0.99275 | -0.13757 | 33.4405
12 | 0.0068966 | 0.0017285 | -0.0068965 | -0.0017284 | 9.4375e-08 | 3.1131e-08 | 0.01044 | 0.01044 | 0.01044 | 0.98297 | -0.32693 | 0.98295 | -0.32722 | 2.8681
13 | -0.044477 | -0.011177 | 0.044527 | 0.011209 | 5.0221e-05 | 3.1766e-05 | 0.067341 | 0.06734 | 0.067341 | 0.98297 | -0.32693 | 0.98418 | -0.30331 | 18.5001
14 | 0.037581 | 0.009449 | -0.037568 | -0.0094409 | 1.276e-05 | 8.0335e-06 | 0.0569 | 0.056901 | 0.056901 | 0.98297 | -0.32693 | 0.9826 | -0.33404 | 15.632
15 | -0.044527 | -0.011209 | 0.044551 | 0.011224 | 2.3979e-05 | 1.5167e-05 | 0.06734 | 0.06734 | 0.06734 | 0.98418 | -0.30331 | 0.98476 | -0.29205 | 18.5001
16 | 0.0050572 | 0.0012673 | -0.0050569 | -0.0012672 | 3.5551e-07 | 2.2801e-08 | 0.0076584 | 0.0076585 | 0.0076585 | 0.9826 | -0.33404 | 0.98253 | -0.33552 | 2.104
17 | 0.032511 | 0.0081737 | -0.032501 | -0.0081675 | 9.955e-06 | 6.2326e-06 | 0.049242 | 0.049242 | 0.049242 | 0.9826 | -0.33404 | 0.98228 | -0.34046 | 13.5281
18 | 0.013915 | 0.0034894 | -0.013909 | -0.003486 | 6.007e-06 | 3.4079e-06 | 0.021311 | 0.021311 | 0.021311 | 0.97162 | -0.54755 | 0.97116 | -0.55661 | 5.8548
19 | 0.012791 | 0.0032071 | -0.012786 | -0.0032046 | 4.5296e-06 | 2.5092e-06 | 0.019589 | 0.019589 | 0.019589 | 0.97162 | -0.54755 | 0.97124 | -0.55498 | 5.3817
20 | -0.026706 | -0.0066965 | 0.026721 | 0.0067063 | 1.5796e-05 | 9.7976e-06 | 0.040901 | 0.0409 | 0.040901 | 0.97162 | -0.54755 | 0.97225 | -0.53515 | 11.2364
21 | 0.0088651 | 0.0022219 | -0.0088641 | -0.0022215 | 1.0022e-06 | 4.6221e-07 | 0.013583 | 0.013583 | 0.013583 | 0.97116 | -0.55661 | 0.97104 | -0.55898 | 3.7317
22 | 0.005676 | 0.0014225 | -0.0056756 | -0.0014224 | 3.9716e-07 | 8.0877e-08 | 0.0086961 | 0.0086962 | 0.0086962 | 0.97124 | -0.55498 | 0.97117 | -0.55645 | 2.3891
23 | 0.0071102 | 0.0017821 | -0.0071095 | -0.0017818 | 6.8742e-07 | 2.488e-07 | 0.010893 | 0.010893 | 0.010893 | 0.97124 | -0.55498 | 0.97114 | -0.55701 | 2.9927
24 | -0.029827 | -0.0074847 | 0.02984 | 0.0074925 | 1.2528e-05 | 7.8192e-06 | 0.045654 | 0.045654 | 0.045654 | 0.97225 | -0.53515 | 0.97269 | -0.52634 | 12.5422
25 | 0.0032593 | 0.00081652 | -0.003259 | -0.00081677 | 3.405e-07 | -2.4829e-07 | 0.0049511 | 0.0049512 | 0.0049512 | 0.97954 | -0.39397 | 0.97943 | -0.39617 | 1.3602
26 | -0.047333 | -0.011922 | 0.047349 | 0.011932 | 1.5937e-05 | 1.0094e-05 | 0.071544 | 0.071544 | 0.071544 | 0.98476 | -0.29205 | 0.98512 | -0.28501 | 19.6549
27 | -0.02981 | -0.0074844 | 0.029834 | 0.0074991 | 2.358e-05 | 1.4702e-05 | 0.045202 | 0.045202 | 0.045202 | 0.98143 | -0.35703 | 0.98228 | -0.34046 | 12.4182
28 | 0.023816 | 0.0059765 | -0.023794 | -0.0059635 | 2.1221e-05 | 1.3054e-05 | 0.036461 | 0.036462 | 0.036462 | 0.97201 | -0.5398 | 0.97106 | -0.55851 | 10.0169
29 | -0.023816 | -0.0059765 | 0.023825 | 0.0059822 | 9.2878e-06 | 5.7132e-06 | 0.036461 | 0.036461 | 0.036461 | 0.97201 | -0.5398 | 0.97242 | -0.53163 | 10.0169
30 | -0.032865 | -0.0082479 | 0.032904 | 0.0082723 | 3.9026e-05 | 2.4466e-05 | 0.050294 | 0.050294 | 0.050294 | 0.97242 | -0.53163 | 0.97368 | -0.50676 | 13.8172
31 | 0.018321 | 0.0045973 | -0.018321 | -0.0045971 | 3.3313e-07 | 1.983e-07 | 0.027612 | 0.027612 | 0.027612 | 0.98741 | -0.24072 | 0.98739 | -0.2411 | 7.5857
32 | -0.070841 | -0.017863 | 0.070909 | 0.017907 | 6.8673e-05 | 4.3745e-05 | 0.1068 | 0.1068 | 0.1068 | 0.98741 | -0.24072 | 0.98845 | -0.22049 | 29.3394
33 | 0.05252 | 0.013266 | -0.052499 | -0.013253 | 2.0228e-05 | 1.2836e-05 | 0.079184 | 0.079184 | 0.079184 | 0.98741 | -0.24072 | 0.98699 | -0.24876 | 21.7538
34 | 0.017368 | 0.0043582 | -0.017366 | -0.0043572 | 1.6972e-06 | 1.0018e-06 | 0.026176 | 0.026176 | 0.026176 | 0.98739 | -0.2411 | 0.98728 | -0.24315 | 7.1911
35 | 0.0042475 | 0.0010644 | -0.0042471 | -0.0010644 | 3.7215e-07 | -7.2923e-08 | 0.0063941 | 0.0063942 | 0.0063942 | 0.98845 | -0.22049 | 0.98836 | -0.22233 | 1.7567
36 | 0.0050677 | 0.0012694 | -0.0050672 | -0.0012694 | 5.3116e-07 | 2.9856e-08 | 0.00764 | 0.0076401 | 0.0076401 | 0.98699 | -0.24876 | 0.98688 | -0.25096 | 2.0989
37 | 0.047432 | 0.011984 | -0.047349 | -0.011932 | 8.2265e-05 | 5.2103e-05 | 0.071544 | 0.071544 | 0.071544 | 0.98699 | -0.24876 | 0.98512 | -0.28501 | 19.6549
38 | 0.20013 | 0.051192 | -0.19933 | -0.050682 | 0.00080057 | 0.00050962 | 0.30035 | 0.30035 | 0.30035 | 0.99275 | -0.13757 | 0.98841 | -0.22059 | 27.5043
39 | -0.36245 | -0.09232 | 0.36373 | 0.09314 | 0.001284 | 0.00082041 | 0.54379 | 0.54379 | 0.54379 | 0.99275 | -0.13757 | 0.99659 | -0.064418 | 49.7978
40 | 0.14572 | 0.037202 | -0.14533 | -0.036952 | 0.00039374 | 0.00024949 | 0.21962 | 0.21962 | 0.21962 | 0.98841 | -0.22059 | 0.9855 | -0.27666 | 20.112
41 | 0.053611 | 0.013481 | -0.053496 | -0.013407 | 0.0001152 | 7.3125e-05 | 0.080726 | 0.080726 | 0.080726 | 0.98841 | -0.22059 | 0.98609 | -0.26568 | 22.1774
42 | -0.37005 | -0.094725 | 0.37121 | 0.095465 | 0.0011583 | 0.00074015 | 0.55323 | 0.55323 | 0.55323 | 0.99659 | -0.064418 | 1 | 0 | 50.6621
43 | 0.017057 | 0.0042764 | -0.017054 | -0.0042743 | 3.5678e-06 | 2.1007e-06 | 0.025756 | 0.025756 | 0.025756 | 0.9855 | -0.27666 | 0.98527 | -0.28106 | 7.0758
44 | 0.12827 | 0.032676 | -0.12778 | -0.032363 | 0.00049097 | 0.00031245 | 0.19387 | 0.19387 | 0.19387 | 0.9855 | -0.27666 | 0.98138 | -0.35634 | 26.6302
45 | 0.01453 | 0.0036437 | -0.014527 | -0.0036423 | 2.4469e-06 | 1.3925e-06 | 0.021912 | 0.021912 | 0.021912 | 0.98672 | -0.254 | 0.98654 | -0.25754 | 6.0198
46 | -0.01453 | -0.0036437 | 0.014532 | 0.003645 | 2.4246e-06 | 1.3797e-06 | 0.021912 | 0.021912 | 0.021912 | 0.98672 | -0.254 | 0.9869 | -0.2505 | 6.0198
47 | 0.012748 | 0.0031964 | -0.012744 | -0.0031942 | 3.9863e-06 | 2.1843e-06 | 0.019229 | 0.019229 | 0.019229 | 0.98654 | -0.25754 | 0.9862 | -0.2641 | 5.2827
48 | -0.01643 | -0.0041208 | 0.016436 | 0.0041242 | 5.7606e-06 | 3.3668e-06 | 0.024774 | 0.024774 | 0.024774 | 0.9869 | -0.2505 | 0.98728 | -0.24315 | 6.8061
49 | 0.0035735 | 0.00089505 | -0.0035733 | -0.00089517 | 2.1763e-07 | -1.1613e-07 | 0.0053879 | 0.005388 | 0.005388 | 0.98688 | -0.25096 | 0.98681 | -0.25224 | 1.4802
50 | 0.014376 | 0.0036044 | -0.014372 | -0.0036018 | 4.4061e-06 | 2.5076e-06 | 0.021798 | 0.021798 | 0.021798 | 0.98138 | -0.35634 | 0.98105 | -0.36277 | 5.9885
51 | 0.1134 | 0.028759 | -0.11315 | -0.028594 | 0.00025776 | 0.00016467 | 0.17207 | 0.17207 | 0.17207 | 0.98138 | -0.35634 | 0.97894 | -0.40373 | 47.2719
52 | 0.037906 | 0.0095468 | -0.037847 | -0.0095099 | 5.8556e-05 | 3.6886e-05 | 0.057634 | 0.057634 | 0.057634 | 0.97894 | -0.40373 | 0.97729 | -0.43609 | 15.8336
53 | 0.07524 | 0.019047 | -0.075167 | -0.019 | 7.3534e-05 | 4.6874e-05 | 0.11444 | 0.11444 | 0.11444 | 0.97894 | -0.40373 | 0.9779 | -0.42411 | 31.4384
54 | 0.0085466 | 0.0021422 | -0.0085454 | -0.0021417 | 1.2481e-06 | 5.444e-07 | 0.012908 | 0.012908 | 0.012908 | 0.98527 | -0.28106 | 0.98512 | -0.28412 | 3.5461
55 | 0.024063 | 0.0060395 | -0.024047 | -0.0060299 | 1.5639e-05 | 9.602e-06 | 0.036227 | 0.036227 | 0.036227 | 0.98846 | -0.22032 | 0.98776 | -0.23396 | 9.9524
56 | 0.0027189 | 0.00068127 | -0.0027188 | -0.00068139 | 8.8003e-08 | -1.1897e-07 | 0.0041176 | 0.0041177 | 0.0041177 | 0.98253 | -0.33552 | 0.98249 | -0.3362 | 1.1312
57 | 0.0026669 | 0.00066831 | -0.0026668 | -0.00066837 | 4.1944e-08 | -5.9903e-08 | 0.0040399 | 0.00404 | 0.00404 | 0.98228 | -0.34046 | 0.98226 | -0.34079 | 1.1099
58 | 0.004057 | 0.0010167 | -0.0040568 | -0.0010167 | 1.7148e-07 | -3.6604e-08 | 0.0062169 | 0.0062169 | 0.0062169 | 0.97104 | -0.55898 | 0.971 | -0.55987 | 1.708
59 | -0.032988 | -0.0082815 | 0.033004 | 0.0082914 | 1.5818e-05 | 9.9177e-06 | 0.05047 | 0.05047 | 0.05047 | 0.97269 | -0.52634 | 0.9732 | -0.51629 | 13.8653
60 | -0.0013164 | -0.00032992 | 0.0013164 | 0.00032963 | 3.5566e-08 | -2.8473e-07 | 0.0019851 | 0.001985 | 0.0019851 | 0.98676 | -0.25315 | 0.98679 | -0.25259 | 0.54535
61 | -0.0024191 | -0.00060598 | 0.0024191 | 0.00060591 | 3.9986e-08 | -7.6789e-08 | 0.0036477 | 0.0036477 | 0.0036477 | 0.98679 | -0.25259 | 0.98681 | -0.25224 | 1.0021
62 | -0.068951 | -0.017333 | 0.069041 | 0.01739 | 9.0148e-05 | 5.7425e-05 | 0.10539 | 0.10539 | 0.10539 | 0.97368 | -0.50676 | 0.97507 | -0.47942 | 28.9538
63 | 0.036047 | 0.0090604 | -0.036031 | -0.0090501 | 1.6402e-05 | 1.0318e-05 | 0.055098 | 0.055098 | 0.055098 | 0.97368 | -0.50676 | 0.9732 | -0.51629 | 15.1368
64 | 0.067756 | 0.017035 | -0.067616 | -0.016946 | 0.00013983 | 8.9011e-05 | 0.10084 | 0.10084 | 0.10084 | 1 | 0 | 0.99775 | -0.043312 | 27.7036
65 | -0.0014461 | -0.00036243 | 0.0014461 | 0.00036233 | 1.4906e-08 | -9.6887e-08 | 0.0021825 | 0.0021825 | 0.0021825 | 0.98594 | -0.2692 | 0.98595 | -0.26898 | 0.59959
66 | -0.0032325 | -0.00081005 | 0.0032325 | 0.00081005 | 5.5117e-10 | -4.363e-10 | 0.0048786 | 0.0048786 | 0.0048786 | 0.98595 | -0.26898 | 0.98595 | -0.26898 | 1.3403
67 | 0.01057 | 0.0026494 | -0.010569 | -0.0026488 | 1.0656e-06 | 5.3945e-07 | 0.015949 | 0.015949 | 0.015949 | 0.9862 | -0.2641 | 0.9861 | -0.26622 | 4.3816
68 | 0.036562 | 0.0091877 | -0.036532 | -0.0091689 | 2.9869e-05 | 1.8795e-05 | 0.055677 | 0.055677 | 0.055677 | 0.97729 | -0.43609 | 0.97642 | -0.45322 | 15.296
69 | 0.075167 | 0.019 | -0.075046 | -0.018924 | 0.00012047 | 7.6794e-05 | 0.11444 | 0.11444 | 0.11444 | 0.9779 | -0.42411 | 0.97619 | -0.45759 | 31.4384
70 | -0.01275 | -0.0031967 | 0.012754 | 0.0031989 | 3.9603e-06 | 2.1686e-06 | 0.019215 | 0.019215 | 0.019215 | 0.98743 | -0.24048 | 0.98776 | -0.23396 | 5.2788
71 | 0.01275 | 0.0031967 | -0.012746 | -0.0031945 | 4.079e-06 | 2.2338e-06 | 0.019215 | 0.019215 | 0.019215 | 0.98743 | -0.24048 | 0.98708 | -0.24719 | 5.2788
72 | 0.011293 | 0.002831 | -0.01129 | -0.0028295 | 2.8358e-06 | 1.4805e-06 | 0.017012 | 0.017012 | 0.017012 | 0.98776 | -0.23396 | 0.98749 | -0.23923 | 4.6737
73 | -0.029317 | -0.0073475 | 0.029341 | 0.0073622 | 2.3578e-05 | 1.4697e-05 | 0.044735 | 0.044735 | 0.044735 | 0.97516 | -0.47806 | 0.97601 | -0.46119 | 12.2899
74 | -0.029341 | -0.0073622 | 0.029352 | 0.0073692 | 1.1155e-05 | 6.9534e-06 | 0.044735 | 0.044735 | 0.044735 | 0.97601 | -0.46119 | 0.97642 | -0.45322 | 12.2899
75 | 0.0071801 | 0.0017998 | -0.0071794 | -0.0017995 | 7.3135e-07 | 2.6435e-07 | 0.010942 | 0.010942 | 0.010942 | 0.97642 | -0.45322 | 0.97631 | -0.45536 | 3.0061
76 | 0.0071794 | 0.0017995 | -0.0071779 | -0.001799 | 1.4535e-06 | 5.2552e-07 | 0.010942 | 0.010942 | 0.010942 | 0.97631 | -0.45536 | 0.9761 | -0.45961 | 3.0062
77 | 0.07074 | 0.017844 | -0.070738 | -0.017843 | 2.4048e-06 | 1.5322e-06 | 0.10787 | 0.10787 | 0.10787 | 0.97619 | -0.45759 | 0.97615 | -0.4583 | 29.635
78 | -0.070666 | -0.017797 | 0.070686 | 0.01781 | 2.0228e-05 | 1.2888e-05 | 0.10787 | 0.10787 | 0.10787 | 0.97507 | -0.47942 | 0.97538 | -0.47343 | 29.635
79 | -0.070686 | -0.01781 | 0.070738 | 0.017843 | 5.1189e-05 | 3.2615e-05 | 0.10787 | 0.10787 | 0.10787 | 0.97538 | -0.47343 | 0.97615 | -0.4583 | 29.635
80 | -0.0062334 | -0.0015621 | 0.0062336 | 0.0015621 | 2.4541e-07 | 6.2738e-08 | 0.0094071 | 0.0094071 | 0.0094071 | 0.98598 | -0.26839 | 0.98603 | -0.26756 | 2.5844
81 | 0.0044815 | 0.001123 | -0.0044814 | -0.001123 | 1.2679e-07 | -1.3124e-08 | 0.0067633 | 0.0067633 | 0.0067633 | 0.98598 | -0.26839 | 0.98595 | -0.26898 | 1.8581
82 | -0.0079996 | -0.0020048 | 0.0080002 | 0.002005 | 5.1162e-07 | 2.0802e-07 | 0.012072 | 0.012072 | 0.012072 | 0.98603 | -0.26756 | 0.9861 | -0.26622 | 3.3165

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48643 | 0.12398

## res_load
| p_mw | q_mvar
0 | 0.058893 | 0.01476
1 | 0.0013494 | 0.0003382
2 | 0.0068965 | 0.0017284
3 | 0.0050438 | 0.0012641
4 | 0.0031056 | 0.00077835
5 | 0.003259 | 0.00081677
6 | 0.016899 | 0.0042353
7 | 0.0027819 | 0.00069722
8 | 0.0056756 | 0.0014224
9 | 0.0071095 | 0.0017818
10 | 0.0082613 | 0.0020705
11 | 0.023794 | 0.0059635
12 | 0.00904 | 0.0022656
13 | 0.00095302 | 0.00023885
14 | 0.0063212 | 0.0015842
15 | 0.053496 | 0.013407
16 | 0.0042471 | 0.0010644
17 | 0.001779 | 0.00044587
18 | 0.0018983 | 0.00047576
19 | 0.0014937 | 0.00037436
20 | 0.014372 | 0.0036018
21 | 0.0085073 | 0.0021321
22 | 0.0034099 | 0.00085461
23 | 0.002338 | 0.00058597
24 | 0.0048071 | 0.0012048
25 | 0.0031482 | 0.00078901
26 | 0.0026668 | 0.00066837
27 | 0.0013164 | 0.00032992
28 | 0.0011027 | 0.00027635
29 | 0.00092989 | 0.00023305
30 | 0.045812 | 0.011482
31 | 0.0014461 | 0.00036243
32 | 0.0017864 | 0.00044772
33 | 0.0021739 | 0.00054483
34 | 0.0011542 | 0.00028926
35 | 0.0012854 | 0.00032216
36 | 0.067616 | 0.016946
37 | 0.012746 | 0.0031945
38 | 0.0085454 | 0.0021417
39 | 0.029317 | 0.0073475
40 | 0.0071779 | 0.001799
41 | 0.0043064 | 0.0010793
42 | 0.0027188 | 0.00068139
43 | 0.01129 | 0.0028295
44 | 0.003027 | 0.00075864
45 | 0.0016249 | 0.00040723
46 | 0.0040568 | 0.0010167
47 | 0.0017519 | 0.00043906
48 | 0.001766 | 0.00044261
49 | 0.0012488 | 0.00031298
50 | 0.0025691 | 0.00064388

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1