## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-977_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-977_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-977_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-977_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-977_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-977_0_4_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_261-977_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-977_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_261-977_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_261-977_0_4_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_261-977_0_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_261-977_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_261-977_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_261-977_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_261-977_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_261-977_0_4_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_261-977_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_261-977_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_261-977_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_261-977_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_261-977_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_261-977_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_261-977_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_261-977_0_4_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_261-977_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_261-977_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_261-977_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_261-977_0_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_261-977_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_261-977_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_261-977_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_261-977_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_261-977_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_261-977_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_261-977_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_261-977_0_4_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_261-977_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_261-977_0_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_261-977_0_4_node_5 | 0.4 | n |  | TRUE
39 | bus_LV_261-977_0_4_node_8 | 0.4 | n |  | TRUE
40 | bus_LV_261-977_0_4_node_9 | 0.4 | n |  | TRUE
41 | bus_LV_261-977_0_4_node_11 | 0.4 | n |  | TRUE
42 | bus_LV_261-977_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_261-977_0_4_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_261-977_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_261-977_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_261-977_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_261-977_0_4_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_261-977_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_261-977_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_261-977_0_4_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_261-977_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_261-977_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_261-977_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_261-977_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_261-977_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_261-977_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_261-977_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_261-977_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_261-977_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_261-977_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_261-977_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_261-977_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_261-977_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_261-977_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_261-977_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_261-977_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_261-977_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_261-977_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_261-977_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_261-977_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_261-977_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_261-977_0_4_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_261-977_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_261-977_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_261-977_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_261-977_0_4_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_261-977_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_261-977_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_261-977_0_4_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_261-977_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_261-977_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_261-977_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_389_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-977_0_4_load_0 | 0 | 0.0084756 | 0.0021242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-977_0_4_load_1 | 1 | 0.0084618 | 0.0021207 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-977_0_4_load_2 | 2 | 0.0084672 | 0.0021221 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-977_0_4_load_3 | 3 | 0.0085499 | 0.0021428 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-977_0_4_load_78 | 5 | 0.0085463 | 0.0021419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-977_0_4_load_77 | 7 | 0.011452 | 0.0028701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-977_0_4_load_89 | 9 | 0.010382 | 0.0026019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-977_0_4_load_50 | 12 | 0.0012642 | 0.00031683 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-977_0_4_load_80 | 15 | 0.0036772 | 0.00092158 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-977_0_4_load_6 | 17 | 0.0078017 | 0.0019553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-977_0_4_load_18 | 19 | 0.0061973 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-977_0_4_load_14 | 20 | 0.016759 | 0.0042002 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-977_0_4_load_65 | 23 | 0.0021432 | 0.00053713 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-977_0_4_load_45 | 26 | 0.0093559 | 0.0023448 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-977_0_4_load_58 | 27 | 0.0027682 | 0.00069377 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-977_0_4_load_39 | 30 | 0.0017305 | 0.0004337 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-977_0_4_load_55 | 34 | 0.0010677 | 0.00026758 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-977_0_4_load_70 | 35 | 0.0010685 | 0.00026778 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-977_0_4_load_66 | 36 | 0.0026148 | 0.00065533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-977_0_4_load_68 | 37 | 0.0026426 | 0.00066229 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-977_0_4_load_5 | 38 | 0.0077522 | 0.0019429 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-977_0_4_load_8 | 39 | 0.012709 | 0.0031853 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-977_0_4_load_76 | 42 | 0.0078726 | 0.0019731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-977_0_4_load_74 | 43 | 0.0078163 | 0.0019589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-977_0_4_load_46 | 44 | 0.018829 | 0.0047189 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-977_0_4_load_40 | 45 | 0.01883 | 0.0047193 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-977_0_4_load_84 | 47 | 0.001081 | 0.00027092 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-977_0_4_load_33 | 48 | 0.0040516 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-977_0_4_load_79 | 50 | 0.0041531 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-977_0_4_load_44 | 51 | 0.0093582 | 0.0023454 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-977_0_4_load_57 | 52 | 0.0028288 | 0.00070895 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-977_0_4_load_48 | 54 | 0.0011698 | 0.00029319 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-977_0_4_load_52 | 55 | 0.0014006 | 0.00035103 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-977_0_4_load_67 | 58 | 0.0014823 | 0.00037151 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-977_0_4_load_64 | 59 | 0.0031056 | 0.00077834 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-977_0_4_load_34 | 60 | 0.041105 | 0.010302 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-977_0_4_load_35 | 61 | 0.0049667 | 0.0012448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-977_0_4_load_37 | 62 | 0.0057853 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-977_0_4_load_38 | 63 | 0.0081422 | 0.0020406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-977_0_4_load_47 | 64 | 0.0012519 | 0.00031377 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-977_0_4_load_49 | 65 | 0.0011886 | 0.0002979 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-977_0_4_load_51 | 66 | 0.0013542 | 0.0003394 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-977_0_4_load_53 | 67 | 0.0019371 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-977_0_4_load_56 | 68 | 0.0026011 | 0.0006519 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-977_0_4_load_59 | 69 | 0.0010322 | 0.00025869 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-977_0_4_load_60 | 70 | 0.0010302 | 0.0002582 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-977_0_4_load_61 | 71 | 0.0010318 | 0.0002586 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-977_0_4_load_85 | 72 | 0.0010698 | 0.00026811 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-977_0_4_load_86 | 73 | 0.0010687 | 0.00026784 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_261-977_0_4_load_71 | 74 | 0.0010685 | 0.0002678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_261-977_0_4_load_75 | 75 | 0.0030505 | 0.00076453 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_261-977_0_4_load_88 | 76 | 0.0010688 | 0.00026787 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_261-977_0_4_load_73 | 77 | 0.003256 | 0.00081604 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_261-977_0_4_load_69 | 78 | 0.0040287 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_261-977_0_4_load_87 | 79 | 0.0010685 | 0.0002678 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_261-977_0_4_load_72 | 80 | 0.0028086 | 0.00070389 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_261-977_0_4_load_81 | 81 | 0.00094327 | 0.00023641 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_261-977_0_4_load_82 | 82 | 0.0028122 | 0.00070479 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-977_0_4_line_0 |  | 0 | 1 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-977_0_4_line_1 |  | 0 | 2 | 0.020003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_261-977_0_4_line_2 |  | 1 | 3 | 0.015354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_261-977_0_4_line_3 |  | 2 | 4 | 0.0040907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-977_0_4_line_4 |  | 3 | 5 | 0.019783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-977_0_4_line_5 |  | 4 | 6 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_261-977_0_4_line_6 |  | 5 | 7 | 0.032559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-977_0_4_line_7 |  | 6 | 17 | 0.011297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-977_0_4_line_8 |  | 7 | 10 | 0.026104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_261-977_0_4_line_9 |  | 8 | 9 | 0.030501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-977_0_4_line_10 |  | 8 | 10 | 0.17408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_261-977_0_4_line_11 |  | 10 | 32 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-977_0_4_line_12 |  | 10 | 33 | 0.03826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-977_0_4_line_13 |  | 11 | 12 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-977_0_4_line_14 |  | 11 | 13 | 0.038341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-977_0_4_line_15 |  | 12 | 54 | 0.044647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-977_0_4_line_16 |  | 13 | 34 | 0.014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-977_0_4_line_17 |  | 13 | 55 | 0.005564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-977_0_4_line_18 |  | 14 | 15 | 0.0094879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-977_0_4_line_19 |  | 14 | 16 | 0.035053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-977_0_4_line_20 |  | 15 | 50 | 0.013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-977_0_4_line_21 |  | 16 | 18 | 0.025257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_261-977_0_4_line_22 |  | 16 | 19 | 0.014156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_261-977_0_4_line_23 |  | 16 | 20 | 0.031663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-977_0_4_line_24 |  | 17 | 38 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-977_0_4_line_25 |  | 18 | 46 | 0.035755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_261-977_0_4_line_26 |  | 18 | 44 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-977_0_4_line_27 |  | 19 | 41 | 0.031955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_261-977_0_4_line_28 |  | 21 | 22 | 0.063426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-977_0_4_line_29 |  | 21 | 23 | 0.024559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_261-977_0_4_line_30 |  | 22 | 27 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-977_0_4_line_31 |  | 23 | 36 | 0.028488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-977_0_4_line_32 |  | 24 | 25 | 0.034931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_261-977_0_4_line_33 |  | 24 | 26 | 0.025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_261-977_0_4_line_34 |  | 25 | 51 | 0.022279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-977_0_4_line_35 |  | 25 | 46 | 0.035427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_261-977_0_4_line_36 |  | 26 | 29 | 0.034328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_261-977_0_4_line_37 |  | 27 | 52 | 0.027058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-977_0_4_line_38 |  | 28 | 29 | 0.18885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_261-977_0_4_line_39 |  | 28 | 30 | 0.031218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_261-977_0_4_line_40 |  | 28 | 31 | 0.1303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_261-977_0_4_line_41 |  | 30 | 56 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_261-977_0_4_line_42 |  | 31 | 47 | 0.076732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_261-977_0_4_line_43 |  | 32 | 34 | 0.036446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-977_0_4_line_44 |  | 32 | 35 | 0.026589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-977_0_4_line_45 |  | 33 | 36 | 0.019245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-977_0_4_line_46 |  | 33 | 37 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-977_0_4_line_47 |  | 35 | 57 | 0.016005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-977_0_4_line_48 |  | 37 | 58 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-977_0_4_line_49 |  | 39 | 40 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-977_0_4_line_50 |  | 40 | 41 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-977_0_4_line_51 |  | 41 | 42 | 0.019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_261-977_0_4_line_52 |  | 42 | 43 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_261-977_0_4_line_53 |  | 43 | 80 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_261-977_0_4_line_54 |  | 45 | 46 | 0.022093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_261-977_0_4_line_55 |  | 47 | 53 | 0.02608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_261-977_0_4_line_56 |  | 48 | 49 | 0.042376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_261-977_0_4_line_57 |  | 49 | 57 | 0.012201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_261-977_0_4_line_58 |  | 49 | 59 | 0.0079983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_261-977_0_4_line_59 |  | 52 | 68 | 0.0015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-977_0_4_line_60 |  | 53 | 82 | 0.048357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-977_0_4_line_61 |  | 54 | 64 | 0.00026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_261-977_0_4_line_62 |  | 55 | 67 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_261-977_0_4_line_63 |  | 56 | 63 | 0.02136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-977_0_4_line_64 |  | 56 | 60 | 0.06824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_261-977_0_4_line_65 |  | 57 | 74 | 0.024462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_261-977_0_4_line_66 |  | 58 | 78 | 0.012314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-977_0_4_line_67 |  | 59 | 75 | 0.016213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_261-977_0_4_line_68 |  | 60 | 61 | 0.069399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_261-977_0_4_line_69 |  | 61 | 62 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-977_0_4_line_70 |  | 64 | 65 | 0.00036118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-977_0_4_line_71 |  | 65 | 66 | 0.00080859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-977_0_4_line_72 |  | 69 | 70 | 0.0061103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_261-977_0_4_line_73 |  | 70 | 71 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_261-977_0_4_line_74 |  | 71 | 72 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_261-977_0_4_line_75 |  | 72 | 73 | 0.0061088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_261-977_0_4_line_76 |  | 73 | 79 | 0.0061074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_261-977_0_4_line_77 |  | 74 | 76 | 0.0061062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_261-977_0_4_line_78 |  | 75 | 77 | 0.016558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_261-977_0_4_line_79 |  | 76 | 79 | 0.0061061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_261-977_0_4_line_80 |  | 77 | 80 | 0.037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_261-977_0_4_line_81 |  | 81 | 82 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-977_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 83 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2677650.6665 | 1249267.6536 | 2677642.9969 | 1249260.4689
1 | 2677650.6665 | 1249267.6536 | 2677665.2647 | 1249281.329
2 | 2677642.9969 | 1249260.4689 | 2677642.9969 | 1249260.4689 | 2677653.6734 | 1249249.434
3 | 2677668.0224 | 1249278.81 | 2677665.532 | 1249281.5794 | 2677665.2647 | 1249281.329
4 | 2677667.4787 | 1249235.2648 | 2677659.3781 | 1249243.5377 | 2677653.6734 | 1249249.434
5 | 2677676.5913 | 1249281.8022 | 2677674.088 | 1249284.4046 | 2677668.0224 | 1249278.81
6 | 2677693.3812 | 1249215.8969 | 2677684.7551 | 1249220.6757 | 2677680.5642 | 1249223.5563 | 2677674.6317 | 1249227.9595 | 2677667.4787 | 1249235.2648
7 | 2677676.5913 | 1249281.8022 | 2677684.4102 | 1249273.6487
8 | 2677714.285 | 1249200.7148 | 2677708.2801 | 1249207.1853 | 2677705.3227 | 1249209.2814 | 2677693.3812 | 1249215.8969
9 | 2677581.1461 | 1249148.0218 | 2677577.2603 | 1249144.3238 | 2677572.3308 | 1249140.7567 | 2677565.7416 | 1249134.1768 | 2677563.639 | 1249124.6313
10 | 2677563.639 | 1249124.6313 | 2677605.7277 | 1249142.0725 | 2677643.6373 | 1249158.5919 | 2677673.9012 | 1249174.2441 | 2677685.1883 | 1249181.2972 | 2677692.503 | 1249186.6636 | 2677707.3853 | 1249191.9291 | 2677706.8238 | 1249193.8565 | 2677713.3609 | 1249195.7547 | 2677714.9871 | 1249196.6989 | 2677715.1498 | 1249198.1132 | 2677714.9794 | 1249199.5898 | 2677714.285 | 1249200.7148
11 | 2677714.285 | 1249200.7148 | 2677717.8147 | 1249202.1955 | 2677718.7953 | 1249201.1187 | 2677721.4976 | 1249196.0171 | 2677717.8563 | 1249194.9908 | 2677724.0335 | 1249186.3321 | 2677722.6109 | 1249181.3765
12 | 2677714.285 | 1249200.7148 | 2677717.8147 | 1249202.1955 | 2677722.0413 | 1249204.0745 | 2677724.926 | 1249202.9115 | 2677727.7776 | 1249201.9704 | 2677730.7726 | 1249201.6094 | 2677733.0501 | 1249201.8283 | 2677740.6949 | 1249204.4749 | 2677750.4138 | 1249207.8826
13 | 2677764.3158 | 1249108.3257 | 2677756.2089 | 1249101.1809 | 2677749.871 | 1249096.4375
14 | 2677764.3158 | 1249108.3257 | 2677763.3634 | 1249109.5474 | 2677758.2426 | 1249117.6862 | 2677747.5068 | 1249125.5845 | 2677735.4693 | 1249132.554
15 | 2677715.5214 | 1249067.9833 | 2677716.8013 | 1249069.3299 | 2677735.8392 | 1249085.936 | 2677749.871 | 1249096.4375
16 | 2677735.4693 | 1249132.554 | 2677731.7287 | 1249146.1083
17 | 2677735.4693 | 1249132.554 | 2677737.9124 | 1249127.5551
18 | 2677882.3883 | 1249208.2149 | 2677887.2212 | 1249210.5023 | 2677891.2897 | 1249211.274
19 | 2677866.7879 | 1249180.6121 | 2677871.1085 | 1249184.5384 | 2677874.3095 | 1249187.4604 | 2677877.145 | 1249190.0439 | 2677881.458 | 1249193.9701 | 2677879.5761 | 1249198.6933 | 2677880.2115 | 1249204.3502 | 2677882.3883 | 1249208.2149
20 | 2677904.5845 | 1249213.758 | 2677900.9526 | 1249213.1068 | 2677891.2897 | 1249211.274
21 | 2677883.1779 | 1249161.3578 | 2677881.8895 | 1249162.8642 | 2677871.9649 | 1249174.5312 | 2677866.7879 | 1249180.6121
22 | 2677866.7879 | 1249180.6121 | 2677856.6069 | 1249170.776
23 | 2677866.7879 | 1249180.6121 | 2677856.065 | 1249192.1242 | 2677845.0447 | 1249203.6276
24 | 2677697.951 | 1249259.5285 | 2677684.4102 | 1249273.6487
25 | 2677906.3787 | 1249134.0983 | 2677894.8511 | 1249147.6456 | 2677883.1779 | 1249161.3578
26 | 2677883.1779 | 1249161.3578 | 2677875.0603 | 1249154.4684 | 2677871.3955 | 1249154.6537 | 2677870.8108 | 1249146.8267
27 | 2677841.3219 | 1249145.2409 | 2677841.4805 | 1249156.162 | 2677856.6069 | 1249170.776
28 | 2677762.7025 | 1249279.5738 | 2677776.5021 | 1249269.503 | 2677792.2779 | 1249259.6028 | 2677805.1716 | 1249251.2436 | 2677807.5823 | 1249249.3739 | 2677809.6057 | 1249247.0988 | 2677811.235 | 1249244.3515 | 2677812.3088 | 1249241.3634
29 | 2677812.3088 | 1249241.3634 | 2677808.8416 | 1249240.306 | 2677808.9148 | 1249239.3285 | 2677808.4947 | 1249237.3994 | 2677807.5869 | 1249235.7974 | 2677806.5406 | 1249234.3938 | 2677805.186 | 1249233.4753 | 2677793.4332 | 1249228.5288
30 | 2677762.7025 | 1249279.5738 | 2677752.3402 | 1249270.9834
31 | 2677793.4332 | 1249228.5288 | 2677786.1791 | 1249225.4756 | 2677772.943 | 1249219.0751 | 2677767.6881 | 1249216.3586
32 | 2677953.7081 | 1249082.0046 | 2677940.8914 | 1249094.801 | 2677929.1857 | 1249106.9449
33 | 2677953.7081 | 1249082.0046 | 2677950.3956 | 1249078.3695 | 2677948.8614 | 1249076.7482 | 2677945.8127 | 1249073.1499 | 2677944.2947 | 1249072.5851 | 2677940.0772 | 1249072.8854 | 2677939.6295 | 1249065.1183
34 | 2677929.1857 | 1249106.9449 | 2677926.3231 | 1249104.1274 | 2677924.2807 | 1249102.0991 | 2677922.4505 | 1249100.5851 | 2677920.3387 | 1249099.8234 | 2677917.262 | 1249100.0721 | 2677916.7069 | 1249092.4151
35 | 2677929.1857 | 1249106.9449 | 2677924.0513 | 1249112.6482 | 2677917.2594 | 1249120.9428 | 2677906.3787 | 1249134.0983
36 | 2677923.3879 | 1249040.2201 | 2677932.4711 | 1249048.9124 | 2677933.8066 | 1249051.2984 | 2677934.2384 | 1249055.2069 | 2677939.0381 | 1249054.8587 | 2677939.6295 | 1249065.1183
37 | 2677752.3402 | 1249270.9834 | 2677731.5091 | 1249253.7143
38 | 2677821.1587 | 1248910.205 | 2677833.1153 | 1248925.5286 | 2677847.0642 | 1248940.3781 | 2677872.1574 | 1248963.3911 | 2677890.6654 | 1248978.9455 | 2677921.2063 | 1249003.4201 | 2677932.2757 | 1249012.1053 | 2677940.1238 | 1249018.2462 | 2677936.535 | 1249023.5585 | 2677925.7012 | 1249037.7264 | 2677923.3879 | 1249040.2201
39 | 2677821.1587 | 1248910.205 | 2677797.6393 | 1248930.733
40 | 2677713.8686 | 1248838.0898 | 2677727.1377 | 1248846.6588 | 2677758.2236 | 1248862.5002 | 2677788.2438 | 1248880.129 | 2677802.1443 | 1248890.6301 | 2677813.2738 | 1248900.5167 | 2677821.1587 | 1248910.205
41 | 2677783.228 | 1248943.5204 | 2677788.1503 | 1248939.0151 | 2677797.6393 | 1248930.733
42 | 2677713.8686 | 1248838.0898 | 2677707.1231 | 1248831.908 | 2677699.8493 | 1248822.239 | 2677692.8461 | 1248810.3608 | 2677679.6705 | 1248787.7384 | 2677673.3466 | 1248778.7601 | 2677669.936 | 1248775.7746
43 | 2677722.6109 | 1249181.3765 | 2677724.0924 | 1249173.7793 | 2677731.7287 | 1249146.1083
44 | 2677722.6109 | 1249181.3765 | 2677726.4535 | 1249183.7509 | 2677731.4917 | 1249193.4128 | 2677742.1331 | 1249196.8247
45 | 2677750.4138 | 1249207.8826 | 2677751.5553 | 1249208.3646 | 2677764.1152 | 1249214.5116 | 2677767.6881 | 1249216.3586
46 | 2677750.4138 | 1249207.8826 | 2677748.2991 | 1249215.9719 | 2677739.2064 | 1249225.9808
47 | 2677757.1074 | 1249202.4553 | 2677746.245 | 1249198.1431 | 2677742.1331 | 1249196.8247
48 | 2677725.7149 | 1249235.2253 | 2677727.5562 | 1249233.2347 | 2677732.3473 | 1249233.5311 | 2677739.2064 | 1249225.9808
49 | 2677847.2583 | 1249125.0374 | 2677846.6191 | 1249113.3427
50 | 2677847.2583 | 1249125.0374 | 2677841.1195 | 1249136.5096 | 2677841.3219 | 1249145.2409
51 | 2677841.3219 | 1249145.2409 | 2677821.9207 | 1249146.565
52 | 2677821.9207 | 1249146.565 | 2677805.5226 | 1249147.6841
53 | 2677789.2098 | 1249148.7974 | 2677805.5226 | 1249147.6841
54 | 2677906.3787 | 1249134.0983 | 2677902.9991 | 1249130.9738 | 2677901.3554 | 1249129.6402 | 2677897.8913 | 1249127.1929 | 2677894.4083 | 1249127.3361 | 2677893.9119 | 1249119.7054
55 | 2677647.3367 | 1248763.3527 | 2677663.5587 | 1248770.1924 | 2677669.936 | 1248775.7746
56 | 2677768.0375 | 1249207.936 | 2677787.828 | 1249217.7917 | 2677801.8975 | 1249224.559 | 2677806.2869 | 1249226.1082
57 | 2677768.0375 | 1249207.936 | 2677764.6708 | 1249206.1238 | 2677757.1074 | 1249202.4553
58 | 2677768.0375 | 1249207.936 | 2677767.7656 | 1249205.0637 | 2677767.4302 | 1249199.9615
59 | 2677730.3303 | 1249252.7371 | 2677731.5091 | 1249253.7143
60 | 2677647.3367 | 1248763.3527 | 2677650.8667 | 1248748.6883 | 2677655.313 | 1248741.8971 | 2677661.3737 | 1248735.2383 | 2677673.2171 | 1248724.2546
61 | 2677715.5214 | 1249067.9833 | 2677715.3411 | 1249067.7936
62 | 2677737.9124 | 1249127.5551 | 2677742.5537 | 1249118.0585 | 2677739.2958 | 1249116.5993
63 | 2677783.228 | 1248943.5204 | 2677800.6215 | 1248955.991
64 | 2677783.228 | 1248943.5204 | 2677772.0523 | 1248934.8564 | 2677741.7708 | 1248957.309 | 2677727.941 | 1248966.1264
65 | 2677757.1074 | 1249202.4553 | 2677757.4157 | 1249201.403 | 2677756.7708 | 1249191.8543 | 2677758.7566 | 1249189.5676 | 2677757.9832 | 1249178.8294
66 | 2677717.3534 | 1249244.2646 | 2677725.7149 | 1249235.2253
67 | 2677766.3667 | 1249183.7838 | 2677767.4302 | 1249199.9615
68 | 2677691.4723 | 1249013.6141 | 2677684.8237 | 1249002.9292 | 2677718.9406 | 1248971.8647 | 2677727.941 | 1248966.1264
69 | 2677697.7289 | 1249023.6689 | 2677691.4723 | 1249013.6141
70 | 2677715.3411 | 1249067.7936 | 2677715.0923 | 1249067.5318
71 | 2677715.0923 | 1249067.5318 | 2677714.5352 | 1249066.9457
72 | 2677768.7551 | 1249129.8816 | 2677769.0602 | 1249135.9842
73 | 2677761.8342 | 1249147.4737 | 2677769.6083 | 1249146.9455 | 2677769.0602 | 1249135.9842
74 | 2677756.2283 | 1249154.4641 | 2677755.7545 | 1249147.8867 | 2677761.8342 | 1249147.4737
75 | 2677756.2283 | 1249154.4641 | 2677756.6671 | 1249160.5572
76 | 2677756.6671 | 1249160.5572 | 2677757.1059 | 1249166.6488
77 | 2677757.5445 | 1249172.739 | 2677757.9832 | 1249178.8294
78 | 2677766.3667 | 1249183.7838 | 2677765.2805 | 1249167.2618
79 | 2677757.1059 | 1249166.6488 | 2677757.5445 | 1249172.739
80 | 2677789.2098 | 1249148.7974 | 2677771.0931 | 1249150.0339 | 2677764.7002 | 1249158.4339 | 2677765.2805 | 1249167.2618
81 | 2677690.5636 | 1248708.1671 | 2677673.2171 | 1248724.2546

## bus_geodata
| x | y | coords
0 | 2677650.6665 | 1249267.6536
1 | 2677642.9969 | 1249260.4689
2 | 2677665.2647 | 1249281.329
3 | 2677653.6734 | 1249249.434
4 | 2677668.0224 | 1249278.81
5 | 2677667.4787 | 1249235.2648
6 | 2677676.5913 | 1249281.8022
7 | 2677693.3812 | 1249215.8969
8 | 2677563.639 | 1249124.6313
9 | 2677581.1461 | 1249148.0218
10 | 2677714.285 | 1249200.7148
11 | 2677764.3158 | 1249108.3257
12 | 2677749.871 | 1249096.4375
13 | 2677735.4693 | 1249132.554
14 | 2677882.3883 | 1249208.2149
15 | 2677891.2897 | 1249211.274
16 | 2677866.7879 | 1249180.6121
17 | 2677684.4102 | 1249273.6487
18 | 2677883.1779 | 1249161.3578
19 | 2677856.6069 | 1249170.776
20 | 2677845.0447 | 1249203.6276
21 | 2677812.3088 | 1249241.3634
22 | 2677762.7025 | 1249279.5738
23 | 2677793.4332 | 1249228.5288
24 | 2677953.7081 | 1249082.0046
25 | 2677929.1857 | 1249106.9449
26 | 2677939.6295 | 1249065.1183
27 | 2677752.3402 | 1249270.9834
28 | 2677821.1587 | 1248910.205
29 | 2677923.3879 | 1249040.2201
30 | 2677797.6393 | 1248930.733
31 | 2677713.8686 | 1248838.0898
32 | 2677722.6109 | 1249181.3765
33 | 2677750.4138 | 1249207.8826
34 | 2677731.7287 | 1249146.1083
35 | 2677742.1331 | 1249196.8247
36 | 2677767.6881 | 1249216.3586
37 | 2677739.2064 | 1249225.9808
38 | 2677697.951 | 1249259.5285
39 | 2677846.6191 | 1249113.3427
40 | 2677847.2583 | 1249125.0374
41 | 2677841.3219 | 1249145.2409
42 | 2677821.9207 | 1249146.565
43 | 2677805.5226 | 1249147.6841
44 | 2677870.8108 | 1249146.8267
45 | 2677893.9119 | 1249119.7054
46 | 2677906.3787 | 1249134.0983
47 | 2677669.936 | 1248775.7746
48 | 2677806.2869 | 1249226.1082
49 | 2677768.0375 | 1249207.936
50 | 2677904.5845 | 1249213.758
51 | 2677916.7069 | 1249092.4151
52 | 2677731.5091 | 1249253.7143
53 | 2677647.3367 | 1248763.3527
54 | 2677715.5214 | 1249067.9833
55 | 2677737.9124 | 1249127.5551
56 | 2677783.228 | 1248943.5204
57 | 2677757.1074 | 1249202.4553
58 | 2677725.7149 | 1249235.2253
59 | 2677767.4302 | 1249199.9615
60 | 2677727.941 | 1248966.1264
61 | 2677691.4723 | 1249013.6141
62 | 2677697.7289 | 1249023.6689
63 | 2677800.6215 | 1248955.991
64 | 2677715.3411 | 1249067.7936
65 | 2677715.0923 | 1249067.5318
66 | 2677714.5352 | 1249066.9457
67 | 2677739.2958 | 1249116.5993
68 | 2677730.3303 | 1249252.7371
69 | 2677768.7551 | 1249129.8816
70 | 2677769.0602 | 1249135.9842
71 | 2677761.8342 | 1249147.4737
72 | 2677756.2283 | 1249154.4641
73 | 2677756.6671 | 1249160.5572
74 | 2677757.9832 | 1249178.8294
75 | 2677766.3667 | 1249183.7838
76 | 2677757.5445 | 1249172.739
77 | 2677765.2805 | 1249167.2618
78 | 2677717.3534 | 1249244.2646
79 | 2677757.1059 | 1249166.6488
80 | 2677789.2098 | 1249148.7974
81 | 2677690.5636 | 1248708.1671
82 | 2677673.2171 | 1248724.2546
83 | 2677768.6692 | 1249128.1639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9797 | -0.39036 | 0.0084756 | 0.0021242
1 | 0.98001 | -0.38416 | 0.0084618 | 0.0021207
2 | 0.97925 | -0.39909 | 0.0084672 | 0.0021221
3 | 0.9806 | -0.37276 | 0.0085499 | 0.0021428
4 | 0.97919 | -0.40025 | 0 | 0
5 | 0.9815 | -0.35502 | 0.0085463 | 0.0021419
6 | 0.97902 | -0.4036 | 0 | 0
7 | 0.98325 | -0.32088 | 0.011452 | 0.0028701
8 | 0.98326 | -0.32076 | 0 | 0
9 | 0.98297 | -0.32647 | 0.010382 | 0.0026019
10 | 0.98493 | -0.28822 | 0 | 0
11 | 0.98709 | -0.24639 | 0 | 0
12 | 0.98698 | -0.24848 | 0.0012642 | 0.00031683
13 | 0.98731 | -0.24212 | 0 | 0
14 | 0.98167 | -0.35106 | 0 | 0
15 | 0.9816 | -0.3524 | 0.0036772 | 0.00092158
16 | 0.98192 | -0.34609 | 0 | 0
17 | 0.97886 | -0.40679 | 0.0078017 | 0.0019553
18 | 0.98096 | -0.36483 | 0 | 0
19 | 0.98257 | -0.33351 | 0.0061973 | 0.0015532
20 | 0.98143 | -0.35569 | 0.016759 | 0.0042002
21 | 0.9835 | -0.31617 | 0 | 0
22 | 0.98302 | -0.32555 | 0 | 0
23 | 0.98368 | -0.31255 | 0.0021432 | 0.00053713
24 | 0.97804 | -0.42178 | 0 | 0
25 | 0.97886 | -0.40567 | 0 | 0
26 | 0.97743 | -0.43355 | 0.0093559 | 0.0023448
27 | 0.98292 | -0.32754 | 0.0027682 | 0.00069377
28 | 0.97281 | -0.52439 | 0 | 0
29 | 0.97672 | -0.44747 | 0 | 0
30 | 0.97221 | -0.53623 | 0.0017305 | 0.0004337
31 | 0.97261 | -0.52827 | 0 | 0
32 | 0.98779 | -0.23278 | 0 | 0
33 | 0.98419 | -0.30275 | 0 | 0
34 | 0.98743 | -0.23971 | 0.0010677 | 0.00026758
35 | 0.99053 | -0.1799 | 0.0010685 | 0.00026778
36 | 0.98396 | -0.30724 | 0.0026148 | 0.00065533
37 | 0.98402 | -0.30596 | 0.0026426 | 0.00066229
38 | 0.97872 | -0.40955 | 0.0077522 | 0.0019429
39 | 0.9837 | -0.31163 | 0.012709 | 0.0031853
40 | 0.98383 | -0.30895 | 0 | 0
41 | 0.98409 | -0.30398 | 0 | 0
42 | 0.98509 | -0.28457 | 0.0078726 | 0.0019731
43 | 0.98598 | -0.26743 | 0.0078163 | 0.0019589
44 | 0.98057 | -0.3724 | 0.018829 | 0.0047189
45 | 0.97941 | -0.39491 | 0.01883 | 0.0047193
46 | 0.9798 | -0.38735 | 0 | 0
47 | 0.9725 | -0.53056 | 0.001081 | 0.00027092
48 | 0.99129 | -0.16525 | 0.0040516 | 0.0010154
49 | 0.99145 | -0.16221 | 0 | 0
50 | 0.98154 | -0.35342 | 0.0041531 | 0.0010409
51 | 0.97867 | -0.40946 | 0.0093582 | 0.0023454
52 | 0.98278 | -0.33019 | 0.0028288 | 0.00070895
53 | 0.97241 | -0.53236 | 0 | 0
54 | 0.98678 | -0.25245 | 0.0011698 | 0.00029319
55 | 0.98729 | -0.24245 | 0.0014006 | 0.00035103
56 | 0.97185 | -0.54334 | 0 | 0
57 | 0.9922 | -0.1479 | 0 | 0
58 | 0.98393 | -0.30772 | 0.0014823 | 0.00037151
59 | 0.99097 | -0.1714 | 0.0031056 | 0.00077834
60 | 0.97075 | -0.56514 | 0.041105 | 0.010302
61 | 0.9704 | -0.57204 | 0.0049667 | 0.0012448
62 | 0.97033 | -0.57331 | 0.0057853 | 0.0014499
63 | 0.97169 | -0.54655 | 0.0081422 | 0.0020406
64 | 0.98678 | -0.25246 | 0.0012519 | 0.00031377
65 | 0.98678 | -0.25248 | 0.0011886 | 0.0002979
66 | 0.98678 | -0.2525 | 0.0013542 | 0.0003394
67 | 0.98727 | -0.24294 | 0.0019371 | 0.00048547
68 | 0.98278 | -0.33026 | 0.0026011 | 0.0006519
69 | 0.99999 | -0.00010994 | 0.0010322 | 0.00025869
70 | 1 | 0 | -0.32607 | -0.083554
71 | 0.99816 | -0.034694 | 0.0010318 | 0.0002586
72 | 0.99692 | -0.058146 | 0.0010698 | 0.00026811
73 | 0.99632 | -0.069419 | 0.0010687 | 0.00026784
74 | 0.99455 | -0.10308 | 0.0010685 | 0.0002678
75 | 0.99001 | -0.18977 | 0.0030505 | 0.00076453
76 | 0.99514 | -0.091885 | 0.0010688 | 0.00026787
77 | 0.98905 | -0.20827 | 0.003256 | 0.00081604
78 | 0.98389 | -0.30861 | 0.0040287 | 0.0010097
79 | 0.99573 | -0.080666 | 0.0010685 | 0.0002678
80 | 0.9869 | -0.24964 | 0.0028086 | 0.00070389
81 | 0.97222 | -0.53612 | 0.00094327 | 0.00023641
82 | 0.97224 | -0.53571 | 0.0028122 | 0.00070479
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032513 | -0.0081543 | 0.032523 | 0.0081603 | 9.6115e-06 | 6.019e-06 | 0.049385 | 0.049385 | 0.049385 | 0.9797 | -0.39036 | 0.98001 | -0.38416 | 13.5673
1 | 0.024038 | 0.0060301 | -0.024028 | -0.006024 | 1e-05 | 6.1482e-06 | 0.036512 | 0.036512 | 0.036512 | 0.9797 | -0.39036 | 0.97925 | -0.39909 | 10.0308
2 | -0.040985 | -0.010281 | 0.041007 | 0.010295 | 2.23e-05 | 1.4078e-05 | 0.062233 | 0.062233 | 0.062233 | 0.98001 | -0.38416 | 0.9806 | -0.37276 | 17.097
3 | 0.015561 | 0.0039019 | -0.01556 | -0.0039014 | 8.577e-07 | 4.9747e-07 | 0.023646 | 0.023646 | 0.023646 | 0.97925 | -0.39909 | 0.97919 | -0.40025 | 6.4961
4 | -0.049557 | -0.012438 | 0.049599 | 0.012465 | 4.196e-05 | 2.6605e-05 | 0.075207 | 0.075207 | 0.075207 | 0.9806 | -0.37276 | 0.9815 | -0.35502 | 20.6613
5 | 0.01556 | 0.0039014 | -0.015557 | -0.0039 | 2.4836e-06 | 1.4405e-06 | 0.023646 | 0.023646 | 0.023646 | 0.97919 | -0.40025 | 0.97902 | -0.4036 | 6.4961
6 | -0.058145 | -0.014606 | 0.05824 | 0.014667 | 9.4903e-05 | 6.0326e-05 | 0.088164 | 0.088164 | 0.088164 | 0.9815 | -0.35502 | 0.98325 | -0.32088 | 24.2208
7 | 0.015557 | 0.0039 | -0.015555 | -0.0038986 | 2.3686e-06 | 1.3739e-06 | 0.023646 | 0.023646 | 0.023646 | 0.97902 | -0.4036 | 0.97886 | -0.40679 | 6.4961
8 | -0.069692 | -0.017537 | 0.069801 | 0.017606 | 0.00010894 | 6.9391e-05 | 0.10549 | 0.10549 | 0.10549 | 0.98325 | -0.32088 | 0.98493 | -0.28822 | 28.982
9 | 0.010384 | 0.0026033 | -0.010382 | -0.0026019 | 2.8249e-06 | 1.4212e-06 | 0.015715 | 0.015715 | 0.015715 | 0.98326 | -0.32076 | 0.98297 | -0.32647 | 4.3174
10 | -0.010384 | -0.0026033 | 0.0104 | 0.0026114 | 1.6121e-05 | 8.106e-06 | 0.015715 | 0.015715 | 0.015715 | 0.98326 | -0.32076 | 0.98493 | -0.28822 | 4.3174
11 | -0.10134 | -0.025523 | 0.10161 | 0.025695 | 0.00026942 | 0.00017204 | 0.15315 | 0.15315 | 0.15315 | 0.98493 | -0.28822 | 0.98779 | -0.23278 | 42.0732
12 | 0.021138 | 0.0053054 | -0.021123 | -0.0052965 | 1.4635e-05 | 8.8797e-06 | 0.031938 | 0.031938 | 0.031938 | 0.98493 | -0.28822 | 0.98419 | -0.30275 | 8.7742
13 | 0.0062304 | 0.0015613 | -0.0062297 | -0.0015611 | 6.1932e-07 | 1.5707e-07 | 0.009392 | 0.0093921 | 0.0093921 | 0.98709 | -0.24639 | 0.98698 | -0.24848 | 2.5803
14 | -0.0062304 | -0.0015613 | 0.0062316 | 0.0015616 | 1.2683e-06 | 3.2147e-07 | 0.009392 | 0.0093919 | 0.009392 | 0.98709 | -0.24639 | 0.98731 | -0.24212 | 2.5802
15 | 0.0049656 | 0.0012443 | -0.0049646 | -0.0012442 | 9.3833e-07 | 3.0064e-08 | 0.0074862 | 0.0074864 | 0.0074864 | 0.98698 | -0.24848 | 0.98678 | -0.25245 | 2.0567
16 | -0.0095694 | -0.0023979 | 0.0095705 | 0.0023984 | 1.0968e-06 | 5.2209e-07 | 0.014422 | 0.014422 | 0.014422 | 0.98731 | -0.24212 | 0.98743 | -0.23971 | 3.9622
17 | 0.0033378 | 0.00083631 | -0.0033377 | -0.00083635 | 5.2799e-08 | -3.7362e-08 | 0.0050304 | 0.0050304 | 0.0050304 | 0.98731 | -0.24212 | 0.98729 | -0.24245 | 1.382
18 | 0.007831 | 0.0019626 | -0.0078305 | -0.0019624 | 5.0133e-07 | 2.0091e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98167 | -0.35106 | 0.9816 | -0.3524 | 3.2611
19 | -0.007831 | -0.0019626 | 0.0078328 | 0.0019634 | 1.8521e-06 | 7.4208e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98167 | -0.35106 | 0.98192 | -0.34609 | 3.2611
20 | 0.0041533 | 0.0010408 | -0.0041531 | -0.0010409 | 2.0105e-07 | -4.2287e-08 | 0.006296 | 0.0062961 | 0.0062961 | 0.9816 | -0.3524 | 0.98154 | -0.35342 | 1.7297
21 | 0.12376 | 0.031308 | -0.12365 | -0.031238 | 0.00011118 | 7.0197e-05 | 0.18766 | 0.18766 | 0.18766 | 0.98192 | -0.34609 | 0.98096 | -0.36483 | 17.1848
22 | -0.14836 | -0.037476 | 0.14845 | 0.037533 | 8.9532e-05 | 5.6763e-05 | 0.22494 | 0.22494 | 0.22494 | 0.98192 | -0.34609 | 0.98257 | -0.33351 | 20.5986
23 | 0.016766 | 0.0042047 | -0.016759 | -0.0042002 | 7.6659e-06 | 4.5058e-06 | 0.025409 | 0.025409 | 0.025409 | 0.98192 | -0.34609 | 0.98143 | -0.35569 | 6.9806
24 | 0.0077532 | 0.0019433 | -0.0077522 | -0.0019429 | 1.0191e-06 | 4.0634e-07 | 0.011786 | 0.011786 | 0.011786 | 0.97886 | -0.40679 | 0.97872 | -0.40955 | 3.2379
25 | 0.10482 | 0.026515 | -0.1047 | -0.026444 | 0.00011311 | 7.1039e-05 | 0.15909 | 0.15909 | 0.15909 | 0.98096 | -0.36483 | 0.9798 | -0.38735 | 14.5683
26 | 0.018835 | 0.004723 | -0.018829 | -0.0047189 | 6.7858e-06 | 4.0632e-06 | 0.028572 | 0.028572 | 0.028572 | 0.98096 | -0.36483 | 0.98057 | -0.3724 | 7.8496
27 | -0.15465 | -0.039086 | 0.15487 | 0.039225 | 0.00021932 | 0.00013915 | 0.23432 | 0.23432 | 0.23432 | 0.98257 | -0.33351 | 0.98409 | -0.30398 | 21.458
28 | 0.0082032 | 0.0020566 | -0.0081995 | -0.002055 | 3.664e-06 | 1.5405e-06 | 0.012412 | 0.012412 | 0.012412 | 0.9835 | -0.31617 | 0.98302 | -0.32555 | 3.4098
29 | -0.0082032 | -0.0020566 | 0.0082046 | 0.0020572 | 1.4187e-06 | 5.9626e-07 | 0.012412 | 0.012411 | 0.012412 | 0.9835 | -0.31617 | 0.98368 | -0.31255 | 3.4098
30 | 0.0081995 | 0.002055 | -0.0081988 | -0.0020547 | 7.7758e-07 | 3.2703e-07 | 0.012412 | 0.012412 | 0.012412 | 0.98302 | -0.32555 | 0.98292 | -0.32754 | 3.4099
31 | -0.010348 | -0.0025943 | 0.01035 | 0.0025956 | 2.6177e-06 | 1.3135e-06 | 0.015653 | 0.015653 | 0.015653 | 0.98368 | -0.31255 | 0.98396 | -0.30724 | 4.3004
32 | -0.076372 | -0.019291 | 0.076431 | 0.019328 | 5.9007e-05 | 3.6448e-05 | 0.11625 | 0.11625 | 0.11625 | 0.97804 | -0.42178 | 0.97886 | -0.40567 | 10.6456
33 | 0.076372 | 0.019291 | -0.076329 | -0.019265 | 4.3066e-05 | 2.6603e-05 | 0.11625 | 0.11625 | 0.11625 | 0.97804 | -0.42178 | 0.97743 | -0.43355 | 10.6456
34 | 0.0093599 | 0.0023462 | -0.0093582 | -0.0023454 | 1.6914e-06 | 8.0252e-07 | 0.014229 | 0.014229 | 0.014229 | 0.97886 | -0.40567 | 0.97867 | -0.40946 | 3.909
35 | -0.085791 | -0.021674 | 0.085867 | 0.021721 | 7.539e-05 | 4.6913e-05 | 0.13048 | 0.13048 | 0.13048 | 0.97886 | -0.40567 | 0.9798 | -0.38735 | 11.9485
36 | 0.066973 | 0.01692 | -0.066929 | -0.016892 | 4.465e-05 | 2.7286e-05 | 0.10201 | 0.10201 | 0.10201 | 0.97743 | -0.43355 | 0.97672 | -0.44747 | 9.3413
37 | 0.0054306 | 0.0013609 | -0.0054299 | -0.0013608 | 6.8582e-07 | 9.6006e-08 | 0.0082212 | 0.0082213 | 0.0082213 | 0.98292 | -0.32754 | 0.98278 | -0.33019 | 2.2586
38 | -0.066683 | -0.016742 | 0.066929 | 0.016892 | 0.00024565 | 0.00015015 | 0.10201 | 0.10201 | 0.10201 | 0.97281 | -0.52439 | 0.97672 | -0.44747 | 9.3416
39 | 0.061844 | 0.015538 | -0.061809 | -0.015516 | 3.493e-05 | 2.1193e-05 | 0.094611 | 0.094612 | 0.094612 | 0.97281 | -0.52439 | 0.97221 | -0.53623 | 8.6641
40 | 0.0048388 | 0.0012047 | -0.0048379 | -0.001209 | 8.9174e-07 | -4.2814e-06 | 0.0073985 | 0.0074003 | 0.0074003 | 0.97281 | -0.52439 | 0.97261 | -0.52827 | 0.67768
41 | 0.060079 | 0.015083 | -0.060058 | -0.01507 | 2.0369e-05 | 1.232e-05 | 0.091963 | 0.091963 | 0.091963 | 0.97221 | -0.53623 | 0.97185 | -0.54334 | 8.4216
42 | 0.0048379 | 0.001209 | -0.0048373 | -0.0012115 | 5.2534e-07 | -2.5203e-06 | 0.0074003 | 0.0074013 | 0.0074013 | 0.97261 | -0.52827 | 0.9725 | -0.53056 | 0.67777
43 | 0.010642 | 0.0026678 | -0.010638 | -0.002666 | 3.5124e-06 | 1.7816e-06 | 0.016031 | 0.016031 | 0.016031 | 0.98779 | -0.23278 | 0.98743 | -0.23971 | 4.4042
44 | -0.11225 | -0.028363 | 0.11254 | 0.028545 | 0.00028537 | 0.0001823 | 0.16918 | 0.16918 | 0.16918 | 0.98779 | -0.23278 | 0.99053 | -0.1799 | 46.4773
45 | 0.012968 | 0.0032525 | -0.012965 | -0.0032509 | 2.7745e-06 | 1.5312e-06 | 0.019607 | 0.019608 | 0.019608 | 0.98419 | -0.30275 | 0.98396 | -0.30724 | 5.3867
46 | 0.0081555 | 0.002044 | -0.0081542 | -0.0020435 | 1.2477e-06 | 5.2049e-07 | 0.01233 | 0.012331 | 0.012331 | 0.98419 | -0.30275 | 0.98402 | -0.30596 | 3.3875
47 | -0.1136 | -0.028813 | 0.11378 | 0.028925 | 0.00017506 | 0.00011183 | 0.17078 | 0.17078 | 0.17078 | 0.99053 | -0.1799 | 0.9922 | -0.1479 | 46.9182
48 | 0.0055116 | 0.0013812 | -0.0055112 | -0.0013811 | 4.614e-07 | 7.0308e-08 | 0.0083345 | 0.0083346 | 0.0083346 | 0.98402 | -0.30596 | 0.98393 | -0.30772 | 2.2897
49 | -0.012709 | -0.0031853 | 0.012711 | 0.0031862 | 1.6233e-06 | 8.9023e-07 | 0.019225 | 0.019225 | 0.019225 | 0.9837 | -0.31163 | 0.98383 | -0.30895 | 5.2817
50 | -0.012711 | -0.0031862 | 0.012714 | 0.0031878 | 3.0131e-06 | 1.6522e-06 | 0.019225 | 0.019225 | 0.019225 | 0.98383 | -0.30895 | 0.98409 | -0.30398 | 5.2816
51 | -0.16758 | -0.042413 | 0.16774 | 0.042512 | 0.00015626 | 9.9268e-05 | 0.25355 | 0.25355 | 0.25355 | 0.98409 | -0.30398 | 0.98509 | -0.28457 | 23.2185
52 | -0.17561 | -0.044486 | 0.17576 | 0.044578 | 0.00014476 | 9.2015e-05 | 0.26544 | 0.26544 | 0.26544 | 0.98509 | -0.28457 | 0.98598 | -0.26743 | 24.3075
53 | -0.18357 | -0.046536 | 0.18373 | 0.046636 | 0.00015709 | 9.9909e-05 | 0.27723 | 0.27723 | 0.27723 | 0.98598 | -0.26743 | 0.9869 | -0.24964 | 25.3877
54 | -0.01883 | -0.0047193 | 0.018837 | 0.0047234 | 6.7809e-06 | 4.0616e-06 | 0.028609 | 0.028608 | 0.028609 | 0.97941 | -0.39491 | 0.9798 | -0.38735 | 7.8595
55 | 0.0037564 | 0.00094059 | -0.0037561 | -0.0009407 | 3.2306e-07 | -1.168e-07 | 0.0057473 | 0.0057474 | 0.0057474 | 0.9725 | -0.53056 | 0.97241 | -0.53236 | 1.579
56 | -0.0040516 | -0.0010154 | 0.0040522 | 0.0010153 | 5.8777e-07 | -1.7022e-07 | 0.0060818 | 0.0060816 | 0.0060818 | 0.99129 | -0.16525 | 0.99145 | -0.16221 | 1.6708
57 | -0.2008 | -0.051224 | 0.20094 | 0.051312 | 0.00013882 | 8.837e-05 | 0.3017 | 0.30169 | 0.3017 | 0.99145 | -0.16221 | 0.9922 | -0.1479 | 27.6278
58 | 0.19675 | 0.050209 | -0.19666 | -0.050153 | 8.7369e-05 | 5.5607e-05 | 0.29561 | 0.29561 | 0.29561 | 0.99145 | -0.16221 | 0.99097 | -0.1714 | 27.0709
59 | 0.0026011 | 0.00065189 | -0.0026011 | -0.0006519 | 8.9061e-09 | -1.3703e-08 | 0.0039383 | 0.0039383 | 0.0039383 | 0.98278 | -0.33019 | 0.98278 | -0.33026 | 1.082
60 | 0.0037561 | 0.0009407 | -0.0037555 | -0.00094092 | 5.9904e-07 | -2.1639e-07 | 0.0057474 | 0.0057476 | 0.0057476 | 0.97241 | -0.53236 | 0.97224 | -0.53571 | 1.579
61 | 0.0037948 | 0.00095105 | -0.0037948 | -0.00095105 | 3.2133e-09 | -1.2864e-09 | 0.0057224 | 0.0057224 | 0.0057224 | 0.98678 | -0.25245 | 0.98678 | -0.25246 | 1.5721
62 | 0.0019371 | 0.00048532 | -0.0019371 | -0.00048547 | 4.5196e-08 | -1.5189e-07 | 0.0029195 | 0.0029196 | 0.0029196 | 0.98729 | -0.24245 | 0.98727 | -0.24294 | 0.80208
63 | 0.0081435 | 0.0020412 | -0.0081422 | -0.0020406 | 1.2453e-06 | 5.3238e-07 | 0.012469 | 0.012469 | 0.012469 | 0.97185 | -0.54334 | 0.97169 | -0.54655 | 3.4255
64 | 0.051915 | 0.013029 | -0.051861 | -0.012997 | 5.3905e-05 | 3.1965e-05 | 0.079495 | 0.079496 | 0.079496 | 0.97185 | -0.54334 | 0.97075 | -0.56514 | 7.2798
65 | -0.31472 | -0.080237 | 0.3154 | 0.080673 | 0.00068258 | 0.0004359 | 0.47248 | 0.47248 | 0.47248 | 0.9922 | -0.1479 | 0.99455 | -0.10308 | 43.2671
66 | 0.0040289 | 0.0010096 | -0.0040287 | -0.0010097 | 1.7142e-07 | -4.6679e-08 | 0.0060929 | 0.0060929 | 0.0060929 | 0.98393 | -0.30772 | 0.98389 | -0.30861 | 1.6739
67 | 0.19356 | 0.049375 | -0.19339 | -0.049265 | 0.00017155 | 0.00010917 | 0.29095 | 0.29095 | 0.29095 | 0.99097 | -0.1714 | 0.99001 | -0.18977 | 26.6438
68 | 0.010756 | 0.0026953 | -0.010752 | -0.0026948 | 3.5373e-06 | 5.485e-07 | 0.016487 | 0.016488 | 0.016488 | 0.97075 | -0.56514 | 0.9704 | -0.57204 | 2.2648
69 | 0.0057856 | 0.00145 | -0.0057853 | -0.0014499 | 3.4954e-07 | 7.7411e-08 | 0.0088717 | 0.0088718 | 0.0088718 | 0.9704 | -0.57204 | 0.97033 | -0.57331 | 2.4373
70 | 0.0025428 | 0.00063728 | -0.0025428 | -0.00063729 | 1.9913e-09 | -3.3394e-09 | 0.0038345 | 0.0038345 | 0.0038345 | 0.98678 | -0.25246 | 0.98678 | -0.25248 | 1.0534
71 | 0.0013542 | 0.00033939 | -0.0013542 | -0.0003394 | 1.2643e-09 | -9.5202e-09 | 0.0020421 | 0.0020421 | 0.0020421 | 0.98678 | -0.25248 | 0.98678 | -0.2525 | 0.56101
72 | -0.0010322 | -0.00025869 | 0.0010322 | 0.00025862 | 5.4055e-09 | -7.6702e-08 | 0.0015359 | 0.0015359 | 0.0015359 | 0.99999 | -0.00010994 | 1 | 0 | 0.42196
73 | 0.32338 | 0.083295 | -0.32284 | -0.082947 | 0.000545 | 0.00034807 | 0.482 | 0.482 | 0.482 | 1 | 0 | 0.99816 | -0.034694 | 44.1393
74 | 0.32181 | 0.082689 | -0.32144 | -0.082455 | 0.00036612 | 0.00023382 | 0.48046 | 0.48046 | 0.48046 | 0.99816 | -0.034694 | 0.99692 | -0.058146 | 43.9984
75 | 0.32037 | 0.082187 | -0.3202 | -0.082075 | 0.0001751 | 0.00011183 | 0.47887 | 0.47887 | 0.47887 | 0.99692 | -0.058146 | 0.99632 | -0.069419 | 43.8522
76 | 0.31913 | 0.081807 | -0.31895 | -0.081696 | 0.0001739 | 0.00011106 | 0.47727 | 0.47727 | 0.47727 | 0.99632 | -0.069419 | 0.99573 | -0.080666 | 43.7061
77 | -0.31647 | -0.080941 | 0.31664 | 0.08105 | 0.00017154 | 0.00010955 | 0.47408 | 0.47408 | 0.47408 | 0.99455 | -0.10308 | 0.99514 | -0.091885 | 43.4135
78 | 0.19034 | 0.048501 | -0.19017 | -0.048393 | 0.00016973 | 0.00010799 | 0.28637 | 0.28637 | 0.28637 | 0.99001 | -0.18977 | 0.98905 | -0.20827 | 26.224
79 | -0.31771 | -0.081318 | 0.31789 | 0.081428 | 0.0001727 | 0.00011029 | 0.47567 | 0.47567 | 0.47567 | 0.99514 | -0.091885 | 0.99573 | -0.080666 | 43.5599
80 | 0.18691 | 0.047577 | -0.18654 | -0.04734 | 0.00037197 | 0.00023662 | 0.28147 | 0.28147 | 0.28147 | 0.98905 | -0.20827 | 0.9869 | -0.24964 | 25.7754
81 | -0.00094327 | -0.00023641 | 0.00094329 | 0.00023613 | 1.849e-08 | -2.8154e-07 | 0.0014437 | 0.0014436 | 0.0014437 | 0.97222 | -0.53612 | 0.97224 | -0.53571 | 0.39663

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3271 | 0.083812

## res_load
| p_mw | q_mvar
0 | 0.0084756 | 0.0021242
1 | 0.0084618 | 0.0021207
2 | 0.0084672 | 0.0021221
3 | 0.0085499 | 0.0021428
4 | 0.0085463 | 0.0021419
5 | 0.011452 | 0.0028701
6 | 0.010382 | 0.0026019
7 | 0.0012642 | 0.00031683
8 | 0.0036772 | 0.00092158
9 | 0.0078017 | 0.0019553
10 | 0.0061973 | 0.0015532
11 | 0.016759 | 0.0042002
12 | 0.0021432 | 0.00053713
13 | 0.0093559 | 0.0023448
14 | 0.0027682 | 0.00069377
15 | 0.0017305 | 0.0004337
16 | 0.0010677 | 0.00026758
17 | 0.0010685 | 0.00026778
18 | 0.0026148 | 0.00065533
19 | 0.0026426 | 0.00066229
20 | 0.0077522 | 0.0019429
21 | 0.012709 | 0.0031853
22 | 0.0078726 | 0.0019731
23 | 0.0078163 | 0.0019589
24 | 0.018829 | 0.0047189
25 | 0.01883 | 0.0047193
26 | 0.001081 | 0.00027092
27 | 0.0040516 | 0.0010154
28 | 0.0041531 | 0.0010409
29 | 0.0093582 | 0.0023454
30 | 0.0028288 | 0.00070895
31 | 0.0011698 | 0.00029319
32 | 0.0014006 | 0.00035103
33 | 0.0014823 | 0.00037151
34 | 0.0031056 | 0.00077834
35 | 0.041105 | 0.010302
36 | 0.0049667 | 0.0012448
37 | 0.0057853 | 0.0014499
38 | 0.0081422 | 0.0020406
39 | 0.0012519 | 0.00031377
40 | 0.0011886 | 0.0002979
41 | 0.0013542 | 0.0003394
42 | 0.0019371 | 0.00048547
43 | 0.0026011 | 0.0006519
44 | 0.0010322 | 0.00025869
45 | 0.0010302 | 0.0002582
46 | 0.0010318 | 0.0002586
47 | 0.0010698 | 0.00026811
48 | 0.0010687 | 0.00026784
49 | 0.0010685 | 0.0002678
50 | 0.0030505 | 0.00076453
51 | 0.0010688 | 0.00026787
52 | 0.003256 | 0.00081604
53 | 0.0040287 | 0.0010097
54 | 0.0010685 | 0.0002678
55 | 0.0028086 | 0.00070389
56 | 0.00094327 | 0.00023641
57 | 0.0028122 | 0.00070479

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1