## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-97_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-97_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-97_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-97_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_261-97_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_261-97_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_261-97_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_261-97_0_5_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_261-97_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_261-97_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_261-97_0_5_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_261-97_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_261-97_0_5_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_261-97_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_261-97_0_5_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_261-97_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_261-97_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_261-97_0_5_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_261-97_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_261-97_0_5_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_261-97_0_5_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_261-97_0_5_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_261-97_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_261-97_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_261-97_0_5_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_261-97_0_5_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_261-97_0_5_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_261-97_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_261-97_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_261-97_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_261-97_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_261-97_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_261-97_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_261-97_0_5_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_261-97_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_261-97_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_261-97_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_261-97_0_5_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_261-97_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_261-97_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_261-97_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_261-97_0_5_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_261-97_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_261-97_0_5_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_261-97_0_5_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_261-97_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_261-97_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_261-97_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_261-97_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_261-97_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_261-97_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_261-97_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_261-97_0_5_node_54 | 0.4 | n |  | TRUE
53 | bus_MV_530_1_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-97_0_5_load_0 | 0 | 0.023067 | 0.0057812 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-97_0_5_load_1 | 1 | 0.031623 | 0.0079255 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-97_0_5_load_5 | 4 | 0.0017897 | 0.00044853 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-97_0_5_load_30 | 7 | 0.0018077 | 0.00045306 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-97_0_5_load_60 | 10 | 0.026584 | 0.0066626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-97_0_5_load_23 | 12 | 0.060675 | 0.015206 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-97_0_5_load_61 | 14 | 0.002644 | 0.00066265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-97_0_5_load_52 | 17 | 0.012584 | 0.003154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-97_0_5_load_41 | 19 | 0.0065663 | 0.0016457 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-97_0_5_load_42 | 20 | 0.0066069 | 0.0016558 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-97_0_5_load_39 | 21 | 0.023363 | 0.0058552 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-97_0_5_load_40 | 23 | 0.020701 | 0.0051882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-97_0_5_load_58 | 24 | 0.010042 | 0.0025168 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-97_0_5_load_31 | 26 | 0.003096 | 0.00077594 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-97_0_5_load_38 | 27 | 0.0083376 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-97_0_5_load_27 | 30 | 0.011534 | 0.0028907 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-97_0_5_load_29 | 31 | 0.0092103 | 0.0023083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-97_0_5_load_53 | 33 | 0.010488 | 0.0026286 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-97_0_5_load_26 | 34 | 0.064763 | 0.016231 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-97_0_5_load_59 | 36 | 0.010309 | 0.0025836 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-97_0_5_load_51 | 37 | 0.017705 | 0.0044374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-97_0_5_load_50 | 38 | 0.0054307 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-97_0_5_load_36 | 39 | 0.0083345 | 0.0020888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-97_0_5_load_49 | 40 | 0.0096348 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-97_0_5_load_48 | 42 | 0.0069669 | 0.0017461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-97_0_5_load_47 | 43 | 0.0035532 | 0.00089051 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-97_0_5_load_46 | 44 | 0.011349 | 0.0028444 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-97_0_5_load_45 | 45 | 0.025107 | 0.0062925 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-97_0_5_load_34 | 46 | 0.010434 | 0.002615 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-97_0_5_load_35 | 47 | 0.013467 | 0.0033752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-97_0_5_load_37 | 48 | 0.010279 | 0.0025761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-97_0_5_load_55 | 50 | 0.0096332 | 0.0024143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-97_0_5_load_57 | 51 | 0.0034296 | 0.00085954 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-97_0_5_load_54 | 52 | 0.010426 | 0.0026131 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-97_0_5_line_0 |  | 0 | 1 | 0.078789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_261-97_0_5_line_1 |  | 0 | 2 | 0.068424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-97_0_5_line_2 |  | 2 | 3 | 0.026497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-97_0_5_line_3 |  | 2 | 4 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_261-97_0_5_line_4 |  | 2 | 5 | 0.16716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_261-97_0_5_line_5 |  | 3 | 6 | 0.011903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-97_0_5_line_6 |  | 3 | 7 | 0.055855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_261-97_0_5_line_7 |  | 5 | 10 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-97_0_5_line_8 |  | 5 | 11 | 0.062185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_261-97_0_5_line_9 |  | 6 | 25 | 0.003388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-97_0_5_line_10 |  | 6 | 26 | 0.047221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-97_0_5_line_11 |  | 8 | 9 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_261-97_0_5_line_12 |  | 8 | 10 | 0.029321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-97_0_5_line_13 |  | 9 | 31 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-97_0_5_line_14 |  | 9 | 13 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_261-97_0_5_line_15 |  | 9 | 30 | 0.047446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-97_0_5_line_16 |  | 11 | 12 | 0.030637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-97_0_5_line_17 |  | 12 | 32 | 0.002133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_261-97_0_5_line_18 |  | 13 | 14 | 0.0033595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-97_0_5_line_19 |  | 15 | 16 | 0.04397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-97_0_5_line_20 |  | 15 | 17 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-97_0_5_line_21 |  | 16 | 27 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-97_0_5_line_22 |  | 17 | 33 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_261-97_0_5_line_23 |  | 18 | 19 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_261-97_0_5_line_24 |  | 18 | 20 | 0.036661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-97_0_5_line_25 |  | 18 | 21 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_261-97_0_5_line_26 |  | 19 | 35 | 0.0087333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_261-97_0_5_line_27 |  | 21 | 23 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_261-97_0_5_line_28 |  | 22 | 23 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_261-97_0_5_line_29 |  | 22 | 24 | 0.0097056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_261-97_0_5_line_30 |  | 24 | 36 | 0.025254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_261-97_0_5_line_31 |  | 25 | 37 | 0.003618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_261-97_0_5_line_32 |  | 25 | 38 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-97_0_5_line_33 |  | 26 | 28 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_261-97_0_5_line_34 |  | 27 | 39 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-97_0_5_line_35 |  | 28 | 29 | 0.039993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-97_0_5_line_36 |  | 29 | 44 | 0.0086399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_261-97_0_5_line_37 |  | 29 | 45 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_261-97_0_5_line_38 |  | 32 | 34 | 0.030736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-97_0_5_line_39 |  | 33 | 52 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_261-97_0_5_line_40 |  | 35 | 49 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-97_0_5_line_41 |  | 35 | 45 | 0.0070105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-97_0_5_line_42 |  | 36 | 52 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-97_0_5_line_43 |  | 39 | 46 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-97_0_5_line_44 |  | 40 | 41 | 0.00064821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_261-97_0_5_line_45 |  | 41 | 51 | 0.002268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_261-97_0_5_line_46 |  | 41 | 50 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_261-97_0_5_line_47 |  | 42 | 43 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-97_0_5_line_48 |  | 43 | 44 | 0.015823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_261-97_0_5_line_49 |  | 46 | 47 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_261-97_0_5_line_50 |  | 47 | 48 | 0.015128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-97_0_5_line_51 |  | 49 | 50 | 0.0068802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-97_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 53 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2682637.0153 | 1249074.8879 | 2682616.1001 | 1249094.4238 | 2682593.6179 | 1249111.868 | 2682575.4661 | 1249123.7831
1 | 2682684.0622 | 1249025.2312 | 2682664.9721 | 1249044.7016 | 2682640.0864 | 1249072.0193 | 2682637.0153 | 1249074.8879
2 | 2682709.004 | 1249032.8736 | 2682691.4645 | 1249029.9712 | 2682684.0622 | 1249025.2312
3 | 2682684.0622 | 1249025.2312 | 2682693.5279 | 1249014.8767
4 | 2682582.1898 | 1248926.2382 | 2682598.449 | 1248923.496 | 2682600.0541 | 1248925.3642 | 2682590.4126 | 1248937.1386 | 2682628.8279 | 1248983.1634 | 2682652.1351 | 1249011.0978 | 2682653.9767 | 1249012.7914 | 2682662.3535 | 1249015.8882 | 2682682.2426 | 1249020.8804 | 2682684.0622 | 1249025.2312
5 | 2682709.004 | 1249032.8736 | 2682712.9603 | 1249036.7094 | 2682717.6879 | 1249041.0119
6 | 2682709.004 | 1249032.8736 | 2682682.166 | 1249061.5427 | 2682670.8956 | 1249073.7084
7 | 2682582.1898 | 1248926.2382 | 2682561.3319 | 1248943.7859
8 | 2682582.1898 | 1248926.2382 | 2682592.9793 | 1248917.1596 | 2682589.1518 | 1248912.7363 | 2682597.5077 | 1248905.97 | 2682621.9795 | 1248886.163
9 | 2682720.2009 | 1249043.2931 | 2682717.6879 | 1249041.0119
10 | 2682717.6879 | 1249041.0119 | 2682693.6843 | 1249065.7064 | 2682685.1051 | 1249075.1821
11 | 2682521.8524 | 1248967.4175 | 2682526.2639 | 1248973.2832 | 2682538.8946 | 1248962.6623
12 | 2682538.8946 | 1248962.6623 | 2682561.3319 | 1248943.7859
13 | 2682521.8524 | 1248967.4175 | 2682508.1232 | 1248979.3259
14 | 2682521.8524 | 1248967.4175 | 2682526.2639 | 1248973.2832 | 2682530.9273 | 1248979.4971
15 | 2682521.8524 | 1248967.4175 | 2682525.0796 | 1248964.5158 | 2682526.4753 | 1248961.9 | 2682526.3406 | 1248958.0174 | 2682524.6637 | 1248955.3366 | 2682500.631 | 1248932.5841
16 | 2682621.9795 | 1248886.163 | 2682615.2207 | 1248878.5854 | 2682601.6527 | 1248863.2406
17 | 2682603.3176 | 1248861.9072 | 2682601.6527 | 1248863.2406
18 | 2682530.9273 | 1248979.4971 | 2682528.4289 | 1248981.7432
19 | 2682601.4834 | 1249199.8315 | 2682608.3169 | 1249209.6117 | 2682610.6861 | 1249215.7048 | 2682611.7409 | 1249225.082 | 2682612.2181 | 1249233.0945 | 2682610.1036 | 1249237.9798 | 2682611.2473 | 1249240.442
20 | 2682611.2473 | 1249240.442 | 2682631.4405 | 1249229.6429
21 | 2682601.4834 | 1249199.8315 | 2682616.5017 | 1249186.9201 | 2682616.5017 | 1249186.9201
22 | 2682631.4405 | 1249229.6429 | 2682644.7226 | 1249222.5397 | 2682645.6717 | 1249222.1142
23 | 2682722.637 | 1249135.4508 | 2682713.6201 | 1249131.1662 | 2682711.1773 | 1249129.9549
24 | 2682722.637 | 1249135.4508 | 2682727.1425 | 1249118.8792 | 2682733.0327 | 1249100.3024
25 | 2682722.637 | 1249135.4508 | 2682718.5198 | 1249150.5972
26 | 2682703.3533 | 1249126.0748 | 2682711.1773 | 1249129.9549
27 | 2682718.5198 | 1249150.5972 | 2682713.6579 | 1249168.4833 | 2682712.1679 | 1249176.6595
28 | 2682707.4899 | 1249194.8834 | 2682709.4054 | 1249191.819 | 2682712.1679 | 1249176.6595
29 | 2682707.4899 | 1249194.8834 | 2682700.0504 | 1249201.1167
30 | 2682700.0504 | 1249201.1167 | 2682691.5514 | 1249208.2376 | 2682681.5605 | 1249209.8995 | 2682677.6441 | 1249210.8833
31 | 2682720.2009 | 1249043.2931 | 2682720.8081 | 1249046.8597
32 | 2682720.2009 | 1249043.2931 | 2682735.428 | 1249030.0846 | 2682736.3494 | 1249029.3176
33 | 2682667.503 | 1249093.3284 | 2682677.0717 | 1249084.055 | 2682685.1051 | 1249075.1821
34 | 2682616.5017 | 1249186.9201 | 2682614.6524 | 1249184.7038 | 2682634.1918 | 1249168.3159
35 | 2682688.9529 | 1249111.9969 | 2682689.2715 | 1249102.1496 | 2682675.4236 | 1249089.0579 | 2682670.1472 | 1249094.3216 | 2682669.3737 | 1249095.1002 | 2682667.503 | 1249093.3284
36 | 2682688.9529 | 1249111.9969 | 2682682.7454 | 1249118.0065
37 | 2682688.9529 | 1249111.9969 | 2682698.3403 | 1249121.1741
38 | 2682603.3176 | 1248861.9072 | 2682597.4862 | 1248855.5102 | 2682582.4287 | 1248839.3613
39 | 2682661.3572 | 1249215.5349 | 2682657.0859 | 1249216.9969 | 2682645.6717 | 1249222.1142
40 | 2682703.3533 | 1249126.0748 | 2682695.5806 | 1249132.7269
41 | 2682703.3533 | 1249126.0748 | 2682698.3403 | 1249121.1741
42 | 2682677.6441 | 1249210.8833 | 2682667.5111 | 1249213.4285 | 2682661.3572 | 1249215.5349
43 | 2682634.1918 | 1249168.3159 | 2682637.6433 | 1249165.421 | 2682630.9348 | 1249157.5106 | 2682630.9348 | 1249157.5106
44 | 2682677.2634 | 1249152.0301 | 2682676.8052 | 1249152.4887
45 | 2682677.2634 | 1249152.0301 | 2682678.8951 | 1249153.6096
46 | 2682677.2634 | 1249152.0301 | 2682690.6262 | 1249137.4648
47 | 2682663.4094 | 1249136.7259 | 2682671.3771 | 1249129.0123
48 | 2682682.7454 | 1249118.0065 | 2682671.3771 | 1249129.0123
49 | 2682619.4214 | 1249166.6286 | 2682630.9348 | 1249157.5106
50 | 2682607.5619 | 1249176.0208 | 2682619.4214 | 1249166.6286
51 | 2682695.5806 | 1249132.7269 | 2682693.5503 | 1249134.2775 | 2682690.6262 | 1249137.4648

## bus_geodata
| x | y | coords
0 | 2682637.0153 | 1249074.8879
1 | 2682575.4661 | 1249123.7831
2 | 2682684.0622 | 1249025.2312
3 | 2682709.004 | 1249032.8736
4 | 2682693.5279 | 1249014.8767
5 | 2682582.1898 | 1248926.2382
6 | 2682717.6879 | 1249041.0119
7 | 2682670.8956 | 1249073.7084
8 | 2682538.8946 | 1248962.6623
9 | 2682521.8524 | 1248967.4175
10 | 2682561.3319 | 1248943.7859
11 | 2682621.9795 | 1248886.163
12 | 2682601.6527 | 1248863.2406
13 | 2682530.9273 | 1248979.4971
14 | 2682528.4289 | 1248981.7432
15 | 2682611.2473 | 1249240.442
16 | 2682601.4834 | 1249199.8315
17 | 2682631.4405 | 1249229.6429
18 | 2682722.637 | 1249135.4508
19 | 2682711.1773 | 1249129.9549
20 | 2682733.0327 | 1249100.3024
21 | 2682718.5198 | 1249150.5972
22 | 2682707.4899 | 1249194.8834
23 | 2682712.1679 | 1249176.6595
24 | 2682700.0504 | 1249201.1167
25 | 2682720.2009 | 1249043.2931
26 | 2682685.1051 | 1249075.1821
27 | 2682616.5017 | 1249186.9201
28 | 2682667.503 | 1249093.3284
29 | 2682688.9529 | 1249111.9969
30 | 2682500.631 | 1248932.5841
31 | 2682508.1232 | 1248979.3259
32 | 2682603.3176 | 1248861.9072
33 | 2682645.6717 | 1249222.1142
34 | 2682582.4287 | 1248839.3613
35 | 2682703.3533 | 1249126.0748
36 | 2682677.6441 | 1249210.8833
37 | 2682720.8081 | 1249046.8597
38 | 2682736.3494 | 1249029.3176
39 | 2682634.1918 | 1249168.3159
40 | 2682676.8052 | 1249152.4887
41 | 2682677.2634 | 1249152.0301
42 | 2682663.4094 | 1249136.7259
43 | 2682671.3771 | 1249129.0123
44 | 2682682.7454 | 1249118.0065
45 | 2682698.3403 | 1249121.1741
46 | 2682630.9348 | 1249157.5106
47 | 2682619.4214 | 1249166.6286
48 | 2682607.5619 | 1249176.0208
49 | 2682695.5806 | 1249132.7269
50 | 2682690.6262 | 1249137.4648
51 | 2682678.8951 | 1249153.6096
52 | 2682661.3572 | 1249215.5349
53 | 2682684.0622 | 1249025.2312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.47916 | -0.12316
1 | 0.99774 | -0.043526 | 0.031623 | 0.0079255
2 | 0.99306 | -0.13118 | 0 | 0
3 | 0.99147 | -0.16163 | 0 | 0
4 | 0.99304 | -0.13162 | 0.0017897 | 0.00044853
5 | 0.97938 | -0.39393 | 0 | 0
6 | 0.99076 | -0.17525 | 0 | 0
7 | 0.99138 | -0.16343 | 0.0018077 | 0.00045306
8 | 0.97748 | -0.43122 | 0 | 0
9 | 0.97696 | -0.4414 | 0 | 0
10 | 0.97811 | -0.41872 | 0.026584 | 0.0066626
11 | 0.97573 | -0.46507 | 0 | 0
12 | 0.97215 | -0.53569 | 0.060675 | 0.015206
13 | 0.97692 | -0.44213 | 0 | 0
14 | 0.97692 | -0.44229 | 0.002644 | 0.00066265
15 | 0.97822 | -0.41865 | 0 | 0
16 | 0.97613 | -0.45947 | 0 | 0
17 | 0.9793 | -0.39746 | 0.012584 | 0.003154
18 | 0.98297 | -0.32579 | 0 | 0
19 | 0.98343 | -0.31689 | 0.0065663 | 0.0016457
20 | 0.98275 | -0.33016 | 0.0066069 | 0.0016558
21 | 0.98243 | -0.33633 | 0.023363 | 0.0058552
22 | 0.98119 | -0.36056 | 0 | 0
23 | 0.98165 | -0.35154 | 0.020701 | 0.0051882
24 | 0.98095 | -0.36516 | 0.010042 | 0.0025168
25 | 0.99069 | -0.17664 | 0 | 0
26 | 0.98819 | -0.22459 | 0.003096 | 0.00077594
27 | 0.9752 | -0.47791 | 0.0083376 | 0.0020896
28 | 0.98684 | -0.25077 | 0 | 0
29 | 0.9847 | -0.29231 | 0 | 0
30 | 0.97645 | -0.4514 | 0.011534 | 0.0028907
31 | 0.97681 | -0.44446 | 0.0092103 | 0.0023083
32 | 0.97202 | -0.53823 | 0 | 0
33 | 0.97978 | -0.38818 | 0.010488 | 0.0026286
34 | 0.97016 | -0.57502 | 0.064763 | 0.016231
35 | 0.98376 | -0.31052 | 0 | 0
36 | 0.9804 | -0.37599 | 0.010309 | 0.0025836
37 | 0.99063 | -0.17778 | 0.017705 | 0.0044374
38 | 0.99058 | -0.1787 | 0.0054307 | 0.0013611
39 | 0.97407 | -0.50006 | 0.0083345 | 0.0020888
40 | 0.98316 | -0.32228 | 0.0096348 | 0.0024147
41 | 0.98316 | -0.32217 | 0 | 0
42 | 0.9843 | -0.30009 | 0.0069669 | 0.0017461
43 | 0.98437 | -0.2987 | 0.0035532 | 0.00089051
44 | 0.98452 | -0.29571 | 0.011349 | 0.0028444
45 | 0.98406 | -0.30469 | 0.025107 | 0.0062925
46 | 0.9736 | -0.5094 | 0.010434 | 0.002615
47 | 0.97327 | -0.51582 | 0.013467 | 0.0033752
48 | 0.97313 | -0.51868 | 0.010279 | 0.0025761
49 | 0.98355 | -0.3147 | 0 | 0
50 | 0.9834 | -0.31751 | 0.0096332 | 0.0024143
51 | 0.98316 | -0.32231 | 0.0034296 | 0.00085954
52 | 0.98007 | -0.38247 | 0.010426 | 0.0026131
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.031689 | 0.0079665 | -0.031623 | -0.0079255 | 6.5718e-05 | 4.1028e-05 | 0.047162 | 0.047162 | 0.047162 | 1 | 0 | 0.99774 | -0.043526 | 12.9567
1 | 0.44582 | 0.11519 | -0.44299 | -0.11338 | 0.0028335 | 0.0018099 | 0.66462 | 0.66462 | 0.66462 | 1 | 0 | 0.99306 | -0.13118 | 45.6471
2 | 0.26246 | 0.066853 | -0.26208 | -0.066608 | 0.00038496 | 0.00024501 | 0.39366 | 0.39366 | 0.39366 | 0.99306 | -0.13118 | 0.99147 | -0.16163 | 27.0373
3 | 0.0017897 | 0.00044837 | -0.0017897 | -0.00044853 | 3.7834e-08 | -1.5729e-07 | 0.0026817 | 0.0026817 | 0.0026817 | 0.99306 | -0.13118 | 0.99304 | -0.13162 | 0.73674
4 | 0.17873 | 0.046081 | -0.17648 | -0.044641 | 0.0022558 | 0.0014394 | 0.26828 | 0.26828 | 0.26828 | 0.99306 | -0.13118 | 0.97938 | -0.39393 | 36.8517
5 | 0.26027 | 0.066156 | -0.2601 | -0.066047 | 0.00017055 | 0.00010854 | 0.39095 | 0.39095 | 0.39095 | 0.99147 | -0.16163 | 0.99076 | -0.17525 | 26.851
6 | 0.0018079 | 0.00045244 | -0.0018077 | -0.00045306 | 1.5419e-07 | -6.2158e-07 | 0.0027131 | 0.0027133 | 0.0027133 | 0.99147 | -0.16163 | 0.99138 | -0.16343 | 0.74542
7 | 0.050064 | 0.012581 | -0.050005 | -0.012543 | 5.9159e-05 | 3.7519e-05 | 0.076076 | 0.076076 | 0.076076 | 0.97938 | -0.39393 | 0.97811 | -0.41872 | 20.9001
8 | 0.12641 | 0.032061 | -0.12598 | -0.031786 | 0.00043074 | 0.00027411 | 0.1922 | 0.1922 | 0.1922 | 0.97938 | -0.39393 | 0.97573 | -0.46507 | 26.4018
9 | 0.023139 | 0.0058 | -0.023138 | -0.0057991 | 1.5345e-06 | 9.3842e-07 | 0.034753 | 0.034753 | 0.034753 | 0.99076 | -0.17525 | 0.99069 | -0.17664 | 9.5475
10 | 0.23696 | 0.060247 | -0.2364 | -0.05989 | 0.00056168 | 0.00035705 | 0.3562 | 0.3562 | 0.3562 | 0.99076 | -0.17525 | 0.98819 | -0.22459 | 24.4642
11 | 0.023407 | 0.005872 | -0.023395 | -0.0058651 | 1.1353e-05 | 6.9672e-06 | 0.035634 | 0.035634 | 0.035634 | 0.97748 | -0.43122 | 0.97696 | -0.4414 | 9.7896
12 | -0.023407 | -0.005872 | 0.023421 | 0.0058806 | 1.3962e-05 | 8.5678e-06 | 0.035634 | 0.035634 | 0.035634 | 0.97748 | -0.43122 | 0.97811 | -0.41872 | 9.7896
13 | 0.0092116 | 0.0023089 | -0.0092103 | -0.0023083 | 1.3416e-06 | 6.3109e-07 | 0.01403 | 0.01403 | 0.01403 | 0.97696 | -0.4414 | 0.97681 | -0.44446 | 3.8545
14 | 0.0026441 | 0.00066249 | -0.002644 | -0.00066262 | 9.1891e-08 | -1.3037e-07 | 0.0040272 | 0.0040273 | 0.0040273 | 0.97696 | -0.4414 | 0.97692 | -0.44213 | 1.1064
15 | 0.01154 | 0.0028936 | -0.011534 | -0.0028907 | 5.4968e-06 | 2.9241e-06 | 0.017577 | 0.017577 | 0.017577 | 0.97696 | -0.4414 | 0.97645 | -0.4514 | 4.8288
16 | 0.12598 | 0.031786 | -0.12556 | -0.031515 | 0.00042443 | 0.00027125 | 0.1922 | 0.1922 | 0.1922 | 0.97573 | -0.46507 | 0.97215 | -0.53569 | 52.8035
17 | 0.064885 | 0.016309 | -0.064877 | -0.016304 | 7.8924e-06 | 5.0247e-06 | 0.099333 | 0.099333 | 0.099333 | 0.97215 | -0.53569 | 0.97202 | -0.53823 | 27.2894
18 | 0.002644 | 0.00066262 | -0.002644 | -0.00066265 | 2.0433e-08 | -2.8986e-08 | 0.0040273 | 0.0040273 | 0.0040273 | 0.97692 | -0.44213 | 0.97692 | -0.44229 | 1.1064
19 | 0.051065 | 0.012879 | -0.050965 | -0.012816 | 9.9565e-05 | 6.3171e-05 | 0.077707 | 0.077707 | 0.077707 | 0.97822 | -0.41865 | 0.97613 | -0.45947 | 21.3481
20 | -0.051065 | -0.012879 | 0.051117 | 0.012912 | 5.1853e-05 | 3.2898e-05 | 0.077707 | 0.077707 | 0.077707 | 0.97822 | -0.41865 | 0.9793 | -0.39746 | 21.3481
21 | 0.050965 | 0.012816 | -0.050921 | -0.012788 | 4.4848e-05 | 2.8455e-05 | 0.077707 | 0.077707 | 0.077707 | 0.97613 | -0.45947 | 0.9752 | -0.47791 | 21.3481
22 | -0.063701 | -0.016066 | 0.06373 | 0.016084 | 2.8307e-05 | 1.7711e-05 | 0.096829 | 0.096828 | 0.096829 | 0.9793 | -0.39746 | 0.97978 | -0.38818 | 13.3006
23 | -0.156 | -0.039331 | 0.15606 | 0.039373 | 6.6494e-05 | 4.1912e-05 | 0.23623 | 0.23623 | 0.23623 | 0.98297 | -0.32579 | 0.98343 | -0.31689 | 16.2247
24 | 0.0066083 | 0.0016563 | -0.0066069 | -0.0016558 | 1.3758e-06 | 4.1589e-07 | 0.010004 | 0.010004 | 0.010004 | 0.98297 | -0.32579 | 0.98275 | -0.33016 | 2.7483
25 | 0.14939 | 0.037675 | -0.14931 | -0.037627 | 7.5311e-05 | 4.7403e-05 | 0.22623 | 0.22623 | 0.22623 | 0.98297 | -0.32579 | 0.98243 | -0.33633 | 15.5377
26 | -0.16263 | -0.041019 | 0.16268 | 0.04105 | 4.9615e-05 | 3.131e-05 | 0.24617 | 0.24617 | 0.24617 | 0.98343 | -0.31689 | 0.98376 | -0.31052 | 16.9071
27 | 0.12595 | 0.031772 | -0.12586 | -0.031715 | 9.1665e-05 | 5.7307e-05 | 0.19084 | 0.19084 | 0.19084 | 0.98243 | -0.33633 | 0.98165 | -0.35154 | 13.1074
28 | -0.10511 | -0.026499 | 0.10516 | 0.026527 | 4.535e-05 | 2.8063e-05 | 0.15946 | 0.15946 | 0.15946 | 0.98119 | -0.36056 | 0.98165 | -0.35154 | 10.9522
29 | 0.10511 | 0.026499 | -0.10509 | -0.026484 | 2.3138e-05 | 1.4318e-05 | 0.15946 | 0.15946 | 0.15946 | 0.98119 | -0.36056 | 0.98095 | -0.36516 | 10.9523
30 | 0.095048 | 0.023968 | -0.094999 | -0.023937 | 4.9253e-05 | 3.0247e-05 | 0.14423 | 0.14423 | 0.14423 | 0.98095 | -0.36516 | 0.9804 | -0.37599 | 9.9061
31 | 0.017706 | 0.0044379 | -0.017705 | -0.0044374 | 9.5963e-07 | 5.6758e-07 | 0.026595 | 0.026595 | 0.026595 | 0.99069 | -0.17664 | 0.99063 | -0.17778 | 7.3063
32 | 0.0054313 | 0.0013611 | -0.0054307 | -0.0013611 | 5.3297e-07 | 6.6145e-08 | 0.0081577 | 0.0081578 | 0.0081578 | 0.99069 | -0.17664 | 0.99058 | -0.1787 | 2.2412
33 | 0.2333 | 0.059114 | -0.23301 | -0.058928 | 0.00029305 | 0.00018626 | 0.35154 | 0.35154 | 0.35154 | 0.98819 | -0.22459 | 0.98684 | -0.25077 | 24.144
34 | 0.042583 | 0.010698 | -0.042538 | -0.01067 | 4.4958e-05 | 2.8419e-05 | 0.064985 | 0.064985 | 0.064985 | 0.9752 | -0.47791 | 0.97407 | -0.50006 | 17.8531
35 | 0.23301 | 0.058928 | -0.23255 | -0.058633 | 0.00046334 | 0.0002945 | 0.35154 | 0.35154 | 0.35154 | 0.98684 | -0.25077 | 0.9847 | -0.29231 | 24.1441
36 | 0.021875 | 0.0054841 | -0.021871 | -0.0054819 | 3.5405e-06 | 2.156e-06 | 0.033057 | 0.033057 | 0.033057 | 0.9847 | -0.29231 | 0.98452 | -0.29571 | 9.0815
37 | 0.21067 | 0.053149 | -0.21055 | -0.05307 | 0.00012483 | 7.9227e-05 | 0.31848 | 0.31848 | 0.31848 | 0.9847 | -0.29231 | 0.98406 | -0.30469 | 21.8737
38 | 0.064877 | 0.016304 | -0.064763 | -0.016231 | 0.00011373 | 7.2406e-05 | 0.099333 | 0.099333 | 0.099333 | 0.97202 | -0.53823 | 0.97016 | -0.57502 | 27.2894
39 | -0.074218 | -0.018713 | 0.074238 | 0.018725 | 2.0291e-05 | 1.2128e-05 | 0.11276 | 0.11276 | 0.11276 | 0.97978 | -0.38818 | 0.98007 | -0.38247 | 7.7443
40 | 0.022708 | 0.0056948 | -0.022704 | -0.005692 | 4.5192e-06 | 2.7626e-06 | 0.034349 | 0.034349 | 0.034349 | 0.98376 | -0.31052 | 0.98355 | -0.3147 | 9.4366
41 | -0.18539 | -0.046745 | 0.18544 | 0.046778 | 5.1717e-05 | 3.2743e-05 | 0.28052 | 0.28052 | 0.28052 | 0.98376 | -0.31052 | 0.98406 | -0.30469 | 19.2662
42 | 0.08469 | 0.021354 | -0.084664 | -0.021338 | 2.6278e-05 | 1.5963e-05 | 0.12859 | 0.12859 | 0.12859 | 0.9804 | -0.37599 | 0.98007 | -0.38247 | 8.8315
43 | 0.034204 | 0.008581 | -0.034188 | -0.0085714 | 1.5233e-05 | 9.5637e-06 | 0.052253 | 0.052253 | 0.052253 | 0.97407 | -0.50006 | 0.9736 | -0.5094 | 14.3553
44 | -0.0096348 | -0.0024147 | 0.0096348 | 0.0024147 | 5.1688e-08 | 2.4861e-08 | 0.014582 | 0.014582 | 0.014582 | 0.98316 | -0.32228 | 0.98316 | -0.32217 | 4.0061
45 | 0.0034296 | 0.00085953 | -0.0034296 | -0.00085954 | 2.2916e-08 | -1.4095e-08 | 0.0051907 | 0.0051908 | 0.0051908 | 0.98316 | -0.32217 | 0.98316 | -0.32231 | 1.426
46 | -0.013064 | -0.0032743 | 0.013067 | 0.0032759 | 2.898e-06 | 1.604e-06 | 0.019773 | 0.019773 | 0.019773 | 0.98316 | -0.32217 | 0.9834 | -0.31751 | 5.4321
47 | -0.0069669 | -0.0017461 | 0.0069674 | 0.0017462 | 4.6131e-07 | 1.5427e-07 | 0.010532 | 0.010532 | 0.010532 | 0.9843 | -0.30009 | 0.98437 | -0.2987 | 2.8935
48 | -0.010521 | -0.0026367 | 0.010522 | 0.0026375 | 1.5007e-06 | 7.5927e-07 | 0.015903 | 0.015903 | 0.015903 | 0.98437 | -0.2987 | 0.98452 | -0.29571 | 4.3691
49 | 0.023755 | 0.0059564 | -0.023747 | -0.005952 | 7.2598e-06 | 4.4637e-06 | 0.036307 | 0.036307 | 0.036307 | 0.9736 | -0.5094 | 0.97327 | -0.51582 | 9.9744
50 | 0.01028 | 0.0025768 | -0.010279 | -0.0025761 | 1.4014e-06 | 7.0893e-07 | 0.015717 | 0.015717 | 0.015717 | 0.97327 | -0.51582 | 0.97313 | -0.51868 | 4.3179
51 | 0.022704 | 0.005692 | -0.022701 | -0.0056902 | 3.0441e-06 | 1.8609e-06 | 0.034349 | 0.034349 | 0.034349 | 0.98355 | -0.3147 | 0.9834 | -0.31751 | 9.4366

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50223 | 0.12894

## res_load
| p_mw | q_mvar
0 | 0.023067 | 0.0057812
1 | 0.031623 | 0.0079255
2 | 0.0017897 | 0.00044853
3 | 0.0018077 | 0.00045306
4 | 0.026584 | 0.0066626
5 | 0.060675 | 0.015206
6 | 0.002644 | 0.00066265
7 | 0.012584 | 0.003154
8 | 0.0065663 | 0.0016457
9 | 0.0066069 | 0.0016558
10 | 0.023363 | 0.0058552
11 | 0.020701 | 0.0051882
12 | 0.010042 | 0.0025168
13 | 0.003096 | 0.00077594
14 | 0.0083376 | 0.0020896
15 | 0.011534 | 0.0028907
16 | 0.0092103 | 0.0023083
17 | 0.010488 | 0.0026286
18 | 0.064763 | 0.016231
19 | 0.010309 | 0.0025836
20 | 0.017705 | 0.0044374
21 | 0.0054307 | 0.0013611
22 | 0.0083345 | 0.0020888
23 | 0.0096348 | 0.0024147
24 | 0.0069669 | 0.0017461
25 | 0.0035532 | 0.00089051
26 | 0.011349 | 0.0028444
27 | 0.025107 | 0.0062925
28 | 0.010434 | 0.002615
29 | 0.013467 | 0.0033752
30 | 0.010279 | 0.0025761
31 | 0.0096332 | 0.0024143
32 | 0.0034296 | 0.00085954
33 | 0.010426 | 0.0026131

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1