## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_261-99_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_261-99_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_261-99_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_261-99_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_261-99_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_261-99_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_261-99_0_8_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_261-99_0_8_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_261-99_0_8_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_261-99_0_8_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_261-99_0_8_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_261-99_0_8_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_261-99_0_8_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_261-99_0_8_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_261-99_0_8_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_261-99_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_261-99_0_8_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_261-99_0_8_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_261-99_0_8_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_261-99_0_8_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_261-99_0_8_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_261-99_0_8_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_261-99_0_8_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_261-99_0_8_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_261-99_0_8_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_261-99_0_8_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_261-99_0_8_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_261-99_0_8_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_261-99_0_8_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_261-99_0_8_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_261-99_0_8_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_261-99_0_8_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_261-99_0_8_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_261-99_0_8_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_261-99_0_8_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_261-99_0_8_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_261-99_0_8_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_261-99_0_8_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_261-99_0_8_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_261-99_0_8_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_261-99_0_8_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_261-99_0_8_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_261-99_0_8_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_261-99_0_8_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_261-99_0_8_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_261-99_0_8_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_261-99_0_8_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_261-99_0_8_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_261-99_0_8_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_261-99_0_8_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_261-99_0_8_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_261-99_0_8_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_261-99_0_8_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_261-99_0_8_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_261-99_0_8_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_261-99_0_8_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_261-99_0_8_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_261-99_0_8_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_261-99_0_8_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_261-99_0_8_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_261-99_0_8_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_261-99_0_8_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_261-99_0_8_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_261-99_0_8_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_261-99_0_8_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_261-99_0_8_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_261-99_0_8_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_261-99_0_8_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_261-99_0_8_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_261-99_0_8_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_261-99_0_8_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_261-99_0_8_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_261-99_0_8_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_261-99_0_8_node_65 | 0.4 | n |  | TRUE
74 | bus_MV_518_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_261-99_0_8_load_0 | 0 | 0.013201 | 0.0033084 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_261-99_0_8_load_1 | 1 | 0.018461 | 0.0046267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_261-99_0_8_load_4 | 4 | 0.015098 | 0.003784 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_261-99_0_8_load_29 | 7 | 0.0087449 | 0.0021917 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_261-99_0_8_load_36 | 8 | 0.014923 | 0.0037401 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_261-99_0_8_load_37 | 9 | 0.010812 | 0.0027098 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_261-99_0_8_load_70 | 14 | 0.099911 | 0.02504 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_261-99_0_8_load_51 | 16 | 0.0060406 | 0.0015139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_261-99_0_8_load_76 | 20 | 0.0083179 | 0.0020847 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_261-99_0_8_load_57 | 22 | 0.010363 | 0.0025973 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_261-99_0_8_load_49 | 24 | 0.0056213 | 0.0014088 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_261-99_0_8_load_47 | 25 | 0.003354 | 0.00084058 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_261-99_0_8_load_67 | 27 | 0.0017392 | 0.00043588 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_261-99_0_8_load_59 | 30 | 0.0010077 | 0.00025256 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_261-99_0_8_load_69 | 32 | 0.013129 | 0.0032905 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_261-99_0_8_load_68 | 33 | 0.023265 | 0.0058308 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_261-99_0_8_load_56 | 34 | 0.00085538 | 0.00021438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_261-99_0_8_load_34 | 36 | 0.013518 | 0.003388 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_261-99_0_8_load_31 | 37 | 0.013411 | 0.0033612 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_261-99_0_8_load_58 | 38 | 0.0009372 | 0.00023489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_261-99_0_8_load_50 | 39 | 0.047546 | 0.011916 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_261-99_0_8_load_74 | 41 | 0.020614 | 0.0051665 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_261-99_0_8_load_30 | 43 | 0.0089298 | 0.002238 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_261-99_0_8_load_77 | 47 | 0.01625 | 0.0040726 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_261-99_0_8_load_40 | 49 | 0.0080769 | 0.0020243 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_261-99_0_8_load_41 | 50 | 0.0083803 | 0.0021003 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_261-99_0_8_load_73 | 51 | 0.0049791 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_261-99_0_8_load_38 | 52 | 0.0088518 | 0.0022185 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_261-99_0_8_load_72 | 53 | 0.0088147 | 0.0022092 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_261-99_0_8_load_48 | 54 | 0.003315 | 0.00083081 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_261-99_0_8_load_53 | 55 | 0.0057813 | 0.0014489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_261-99_0_8_load_60 | 56 | 0.0041542 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_261-99_0_8_load_32 | 57 | 0.011409 | 0.0028595 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_261-99_0_8_load_75 | 58 | 0.013601 | 0.0034087 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_261-99_0_8_load_43 | 59 | 0.0080478 | 0.002017 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_261-99_0_8_load_39 | 60 | 0.0082145 | 0.0020587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_261-99_0_8_load_33 | 61 | 0.011348 | 0.0028442 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_261-99_0_8_load_35 | 62 | 0.00285 | 0.00071429 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_261-99_0_8_load_42 | 63 | 0.018504 | 0.0046375 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_261-99_0_8_load_44 | 64 | 0.010055 | 0.00252 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_261-99_0_8_load_46 | 65 | 0.03286 | 0.0082355 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_261-99_0_8_load_52 | 66 | 0.011696 | 0.0029312 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_261-99_0_8_load_54 | 67 | 0.0059658 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_261-99_0_8_load_61 | 68 | 0.0039771 | 0.00099675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_261-99_0_8_load_62 | 69 | 0.024177 | 0.0060594 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_261-99_0_8_load_63 | 70 | 0.0031965 | 0.00080113 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_261-99_0_8_load_64 | 71 | 0.0014193 | 0.0003557 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_261-99_0_8_load_66 | 72 | 0.0028249 | 0.00070798 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_261-99_0_8_load_65 | 73 | 0.0016345 | 0.00040966 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_261-99_0_8_line_0 |  | 0 | 1 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_261-99_0_8_line_1 |  | 0 | 2 | 0.027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_261-99_0_8_line_2 |  | 1 | 3 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_261-99_0_8_line_3 |  | 2 | 4 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_261-99_0_8_line_4 |  | 2 | 5 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_261-99_0_8_line_5 |  | 3 | 6 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_261-99_0_8_line_6 |  | 4 | 7 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_261-99_0_8_line_7 |  | 5 | 8 | 0.0044554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_261-99_0_8_line_8 |  | 6 | 9 | 0.044308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_261-99_0_8_line_9 |  | 6 | 10 | 0.027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_261-99_0_8_line_10 |  | 7 | 43 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_261-99_0_8_line_11 |  | 9 | 54 | 0.055557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_261-99_0_8_line_12 |  | 10 | 39 | 0.033955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_261-99_0_8_line_13 |  | 11 | 12 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_261-99_0_8_line_14 |  | 11 | 13 | 0.0915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_261-99_0_8_line_15 |  | 11 | 14 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_261-99_0_8_line_16 |  | 12 | 32 | 0.047301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_261-99_0_8_line_17 |  | 13 | 38 | 0.12474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_261-99_0_8_line_18 |  | 13 | 26 | 0.38022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_261-99_0_8_line_19 |  | 14 | 19 | 0.025386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_261-99_0_8_line_20 |  | 15 | 16 | 0.038577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_261-99_0_8_line_21 |  | 15 | 17 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_261-99_0_8_line_22 |  | 17 | 34 | 0.031156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_261-99_0_8_line_23 |  | 17 | 21 | 0.18771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_261-99_0_8_line_24 |  | 17 | 23 | 0.0088814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_261-99_0_8_line_25 |  | 18 | 19 | 0.052042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_261-99_0_8_line_26 |  | 18 | 20 | 0.05794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_261-99_0_8_line_27 |  | 21 | 22 | 0.067658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_261-99_0_8_line_28 |  | 23 | 24 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_261-99_0_8_line_29 |  | 23 | 25 | 0.02762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_261-99_0_8_line_30 |  | 24 | 55 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_261-99_0_8_line_31 |  | 25 | 54 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_261-99_0_8_line_32 |  | 26 | 27 | 0.008745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_261-99_0_8_line_33 |  | 28 | 29 | 0.051625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_261-99_0_8_line_34 |  | 28 | 30 | 0.037953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_261-99_0_8_line_35 |  | 29 | 38 | 0.058547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_261-99_0_8_line_36 |  | 29 | 35 | 0.10006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_261-99_0_8_line_37 |  | 30 | 56 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_261-99_0_8_line_38 |  | 31 | 32 | 0.01961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_261-99_0_8_line_39 |  | 31 | 33 | 0.033981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_261-99_0_8_line_40 |  | 35 | 36 | 0.086242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_261-99_0_8_line_41 |  | 35 | 37 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_261-99_0_8_line_42 |  | 37 | 57 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_261-99_0_8_line_43 |  | 40 | 41 | 0.042206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_261-99_0_8_line_44 |  | 40 | 42 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_261-99_0_8_line_45 |  | 40 | 43 | 0.030926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_261-99_0_8_line_46 |  | 42 | 50 | 0.024834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_261-99_0_8_line_47 |  | 42 | 51 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_261-99_0_8_line_48 |  | 44 | 45 | 0.024641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_261-99_0_8_line_49 |  | 44 | 46 | 0.040278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_261-99_0_8_line_50 |  | 45 | 47 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_261-99_0_8_line_51 |  | 45 | 48 | 0.023079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_261-99_0_8_line_52 |  | 46 | 58 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_261-99_0_8_line_53 |  | 46 | 59 | 0.041357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_261-99_0_8_line_54 |  | 48 | 49 | 0.0036409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_261-99_0_8_line_55 |  | 49 | 60 | 0.0088304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_261-99_0_8_line_56 |  | 50 | 60 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_261-99_0_8_line_57 |  | 51 | 53 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_261-99_0_8_line_58 |  | 52 | 53 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_261-99_0_8_line_59 |  | 55 | 66 | 0.041319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_261-99_0_8_line_60 |  | 56 | 68 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_261-99_0_8_line_61 |  | 57 | 61 | 0.019218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_261-99_0_8_line_62 |  | 58 | 62 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_261-99_0_8_line_63 |  | 59 | 63 | 0.0002888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_261-99_0_8_line_64 |  | 61 | 62 | 0.022015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_261-99_0_8_line_65 |  | 63 | 64 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_261-99_0_8_line_66 |  | 64 | 65 | 0.026261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_261-99_0_8_line_67 |  | 66 | 67 | 0.040399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_261-99_0_8_line_68 |  | 68 | 69 | 0.0084381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_261-99_0_8_line_69 |  | 69 | 70 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_261-99_0_8_line_70 |  | 70 | 71 | 0.0026956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_261-99_0_8_line_71 |  | 71 | 72 | 0.0012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_261-99_0_8_line_72 |  | 72 | 73 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_261-99_0_8_trafo_31 | 0.63 MVA 20/0.4 kV | 74 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2680790.608 | 1251795.9536 | 2680790.608 | 1251795.9536 | 2680804.1521 | 1251808.9675
1 | 2680790.5059 | 1251823.3504 | 2680790.5353 | 1251810.6858 | 2680790.608 | 1251795.9536
2 | 2680818.8438 | 1251823.6814 | 2680815.5743 | 1251818.7999 | 2680810.001 | 1251814.5874 | 2680804.1521 | 1251808.9675
3 | 2680790.5059 | 1251823.3504 | 2680772.706 | 1251823.4967 | 2680759.8627 | 1251828.7923 | 2680759.8627 | 1251828.7923
4 | 2680790.4765 | 1251836.5709 | 2680790.4836 | 1251832.1788 | 2680790.5059 | 1251823.3504
5 | 2680818.8438 | 1251823.6814 | 2680824.2697 | 1251823.7555 | 2680824.2675 | 1251827.7918 | 2680824.264 | 1251832.473 | 2680824.2595 | 1251836.676
6 | 2680750.7957 | 1251840.5199 | 2680759.8627 | 1251828.7923
7 | 2680790.4765 | 1251836.5709 | 2680794.9319 | 1251836.5446
8 | 2680824.2595 | 1251836.676 | 2680827.3601 | 1251839.5538 | 2680829.2499 | 1251843.2156 | 2680829.5476 | 1251855.6956 | 2680829.4296 | 1251877.6103 | 2680829.3897 | 1251879.168
9 | 2680824.2595 | 1251836.676 | 2680824.264 | 1251832.473 | 2680833.8379 | 1251832.2367 | 2680833.8322 | 1251822.7073 | 2680837.7568 | 1251822.7276
10 | 2680750.7957 | 1251840.5199 | 2680738.888 | 1251855.9218
11 | 2680826.5919 | 1251934.6363 | 2680827.4653 | 1251926.4087 | 2680828.913 | 1251897.7627 | 2680829.3897 | 1251879.168
12 | 2680837.7568 | 1251822.7276 | 2680837.8831 | 1251839.4639 | 2680838.0201 | 1251856.6815
13 | 2680518.5268 | 1251593.3671 | 2680520.441 | 1251592.4814 | 2680513.7936 | 1251578.414
14 | 2680487.2254 | 1251647.7267 | 2680475.9059 | 1251602.5395 | 2680513.7936 | 1251578.414
15 | 2680513.7936 | 1251578.414 | 2680508.5669 | 1251567.1374
16 | 2680518.5268 | 1251593.3671 | 2680531.5454 | 1251615.1713 | 2680537.4362 | 1251624.3693 | 2680543.9061 | 1251633.2443
17 | 2680487.2254 | 1251647.7267 | 2680497.762 | 1251667.2065 | 2680525.0783 | 1251699.9797 | 2680540.3703 | 1251722.204 | 2680549.5828 | 1251739.6755 | 2680554.0644 | 1251752.0889
18 | 2680221.1018 | 1251648.8194 | 2680234.7221 | 1251654.1299 | 2680237.7608 | 1251656.5951 | 2680253.1728 | 1251672.2821 | 2680263.0155 | 1251686.2034 | 2680271.8331 | 1251701.6899 | 2680282.5932 | 1251726.9989 | 2680288.3976 | 1251742.5891 | 2680288.0211 | 1251753.6588 | 2680294.2231 | 1251757.7348 | 2680299.6817 | 1251758.7428 | 2680306.7765 | 1251758.7612 | 2680313.2222 | 1251758.7819 | 2680322.6432 | 1251759.8103 | 2680328.1891 | 1251761.0642 | 2680337.658 | 1251769.1319 | 2680343.1113 | 1251762.7455 | 2680346.9039 | 1251754.135 | 2680360.4098 | 1251738.3731 | 2680382.7364 | 1251716.7153 | 2680409.6086 | 1251693.8296 | 2680436.5295 | 1251674.0469 | 2680462.5381 | 1251660.3119 | 2680487.2254 | 1251647.7267
19 | 2680496.2341 | 1251548.5978 | 2680499.318 | 1251547.1831 | 2680508.5669 | 1251567.1374
20 | 2680832.4557 | 1251965.0166 | 2680840.4229 | 1251966.9155 | 2680857.5891 | 1251941.8422
21 | 2680832.4557 | 1251965.0166 | 2680830.5818 | 1251979.5462
22 | 2680830.5818 | 1251979.5462 | 2680832.0038 | 1251979.877 | 2680855.5701 | 1251997.9453
23 | 2680830.5818 | 1251979.5462 | 2680823.8101 | 1252020.5733 | 2680821.5495 | 1252036.3431 | 2680820.8487 | 1252041.2371 | 2680820.4234 | 1252047.5138 | 2680823.1382 | 1252049.897 | 2680832.685 | 1252072.633 | 2680863.3193 | 1252084.3375 | 2680886.72 | 1252063.1077 | 2680910.8492 | 1252052.6515
24 | 2680821.8238 | 1251978.0813 | 2680827.0488 | 1251979.0421 | 2680830.5818 | 1251979.5462
25 | 2680472.8441 | 1251506.2376 | 2680476.4381 | 1251517.2724 | 2680478.5317 | 1251522.071 | 2680484.6009 | 1251533.7065 | 2680488.2884 | 1251532.3 | 2680496.2341 | 1251548.5978
26 | 2680472.8441 | 1251506.2376 | 2680523.2589 | 1251482.3825 | 2680525.1562 | 1251481.3365
27 | 2680910.8492 | 1252052.6515 | 2680915.2426 | 1252049.2868 | 2680920.0303 | 1252025.9014 | 2680902.808 | 1252021.374 | 2680894.9715 | 1252021.5227 | 2680882.761 | 1252018.3798
28 | 2680821.8238 | 1251978.0813 | 2680815.0408 | 1251979.5676 | 2680806.1185 | 1251985.2415
29 | 2680821.8238 | 1251978.0813 | 2680822.6745 | 1251967.1848 | 2680824.7944 | 1251950.6296
30 | 2680806.1185 | 1251985.2415 | 2680791.7037 | 1251994.408
31 | 2680826.5919 | 1251934.6363 | 2680825.3779 | 1251946.0726 | 2680824.7944 | 1251950.6296
32 | 2680221.1018 | 1251648.8194 | 2680212.3648 | 1251648.4445
33 | 2680558.0809 | 1251861.259 | 2680560.1865 | 1251809.6827
34 | 2680558.0809 | 1251861.259 | 2680552.7188 | 1251860.3855 | 2680540.9648 | 1251857.7571 | 2680521.5592 | 1251851.2249
35 | 2680560.1865 | 1251809.6827 | 2680560.9671 | 1251780.5939 | 2680558.1151 | 1251763.309 | 2680554.0644 | 1251752.0889
36 | 2680560.1865 | 1251809.6827 | 2680567.135 | 1251809.9106 | 2680573.246 | 1251810.1161 | 2680575.7507 | 1251810.2058 | 2680623.1839 | 1251766.8075 | 2680643.3757 | 1251766.7378
37 | 2680521.5592 | 1251851.2249 | 2680505.573 | 1251845.8437
38 | 2680559.9887 | 1251642.7783 | 2680548.682 | 1251639.4222 | 2680547.1135 | 1251637.644 | 2680543.9061 | 1251633.2443
39 | 2680559.9887 | 1251642.7783 | 2680591.1651 | 1251629.2602
40 | 2680643.3757 | 1251766.7378 | 2680729.6181 | 1251766.6994
41 | 2680643.3757 | 1251766.7378 | 2680642.0115 | 1251776.5709 | 2680638.9387 | 1251783.309
42 | 2680638.9387 | 1251783.309 | 2680637.0476 | 1251787.4559 | 2680629.1011 | 1251797.7504
43 | 2680714.9712 | 1251864.5406 | 2680681.4227 | 1251838.9314
44 | 2680707.3752 | 1251874.1665 | 2680709.4643 | 1251871.5152 | 2680714.9712 | 1251864.5406
45 | 2680714.9712 | 1251864.5406 | 2680720.4841 | 1251868.7522 | 2680730.3432 | 1251866.974 | 2680738.888 | 1251855.9218
46 | 2680707.3752 | 1251874.1665 | 2680701.6301 | 1251881.4493 | 2680691.9968 | 1251893.6663
47 | 2680707.3752 | 1251874.1665 | 2680712.5661 | 1251878.1847 | 2680723.5021 | 1251886.5509
48 | 2680645.3618 | 1251884.7191 | 2680648.7451 | 1251887.3559 | 2680664.818 | 1251899.8395
49 | 2680611.5183 | 1251869.6808 | 2680620.2458 | 1251876.171 | 2680630.678 | 1251873.3219 | 2680645.3618 | 1251884.7191
50 | 2680664.818 | 1251899.8395 | 2680676.4408 | 1251886.043
51 | 2680664.818 | 1251899.8395 | 2680675.7896 | 1251908.3619 | 2680670.091 | 1251915.5674
52 | 2680611.5183 | 1251869.6808 | 2680606.0952 | 1251846.1117
53 | 2680611.5183 | 1251869.6808 | 2680596.2526 | 1251888.8318 | 2680609.8579 | 1251898.799
54 | 2680670.091 | 1251915.5674 | 2680672.9434 | 1251917.8302
55 | 2680672.9434 | 1251917.8302 | 2680672.9434 | 1251917.8302 | 2680678.411 | 1251910.8961
56 | 2680691.9968 | 1251893.6663 | 2680678.411 | 1251910.8961
57 | 2680740.5402 | 1251875.3932 | 2680732.9081 | 1251885.3448 | 2680730.5868 | 1251885.6468 | 2680723.5021 | 1251886.5509
58 | 2680740.5402 | 1251875.3932 | 2680752.2564 | 1251860.1165
59 | 2680756.5502 | 1252016.1195 | 2680784.0224 | 1251999.2927 | 2680791.7037 | 1251994.408
60 | 2680505.573 | 1251845.8437 | 2680505.0954 | 1251845.683 | 2680488.6017 | 1251840.4803
61 | 2680629.1011 | 1251797.7504 | 2680617.3577 | 1251812.9636
62 | 2680606.0952 | 1251846.1117 | 2680606.0952 | 1251846.1117 | 2680596.9912 | 1251838.9937 | 2680600.863 | 1251834.0205 | 2680603.8312 | 1251830.3317
63 | 2680610.0908 | 1251898.9697 | 2680609.8579 | 1251898.799
64 | 2680617.3577 | 1251812.9636 | 2680606.7749 | 1251826.6732 | 2680603.8312 | 1251830.3317
65 | 2680626.5492 | 1251911.0271 | 2680610.0908 | 1251898.9697
66 | 2680618.3614 | 1251934.7555 | 2680619.0082 | 1251921.0653 | 2680626.5492 | 1251911.0271
67 | 2680756.5502 | 1252016.1195 | 2680740.1055 | 1252026.192 | 2680722.1477 | 1252037.2977
68 | 2680480.5544 | 1251837.942 | 2680488.6017 | 1251840.4803
69 | 2680480.5544 | 1251837.942 | 2680479.2717 | 1251837.5373 | 2680471.9665 | 1251835.2253 | 2680460.4712 | 1251829.6651 | 2680451.1923 | 1251824.5488
70 | 2680448.8317 | 1251823.2472 | 2680451.1923 | 1251824.5488
71 | 2680448.8317 | 1251823.2472 | 2680447.7352 | 1251822.6425 | 2680447.7352 | 1251822.6425
72 | 2680439.1901 | 1251815.7188 | 2680439.8568 | 1251816.4088 | 2680447.7352 | 1251822.6425

## bus_geodata
| x | y | coords
0 | 2680790.608 | 1251795.9536
1 | 2680804.1521 | 1251808.9675
2 | 2680790.5059 | 1251823.3504
3 | 2680818.8438 | 1251823.6814
4 | 2680759.8627 | 1251828.7923
5 | 2680790.4765 | 1251836.5709
6 | 2680824.2595 | 1251836.676
7 | 2680750.7957 | 1251840.5199
8 | 2680794.9319 | 1251836.5446
9 | 2680829.3897 | 1251879.168
10 | 2680837.7568 | 1251822.7276
11 | 2680513.7936 | 1251578.414
12 | 2680518.5268 | 1251593.3671
13 | 2680487.2254 | 1251647.7267
14 | 2680508.5669 | 1251567.1374
15 | 2680832.4557 | 1251965.0166
16 | 2680857.5891 | 1251941.8422
17 | 2680830.5818 | 1251979.5462
18 | 2680472.8441 | 1251506.2376
19 | 2680496.2341 | 1251548.5978
20 | 2680525.1562 | 1251481.3365
21 | 2680910.8492 | 1252052.6515
22 | 2680882.761 | 1252018.3798
23 | 2680821.8238 | 1251978.0813
24 | 2680806.1185 | 1251985.2415
25 | 2680824.7944 | 1251950.6296
26 | 2680221.1018 | 1251648.8194
27 | 2680212.3648 | 1251648.4445
28 | 2680558.0809 | 1251861.259
29 | 2680560.1865 | 1251809.6827
30 | 2680521.5592 | 1251851.2249
31 | 2680559.9887 | 1251642.7783
32 | 2680543.9061 | 1251633.2443
33 | 2680591.1651 | 1251629.2602
34 | 2680855.5701 | 1251997.9453
35 | 2680643.3757 | 1251766.7378
36 | 2680729.6181 | 1251766.6994
37 | 2680638.9387 | 1251783.309
38 | 2680554.0644 | 1251752.0889
39 | 2680838.0201 | 1251856.6815
40 | 2680714.9712 | 1251864.5406
41 | 2680681.4227 | 1251838.9314
42 | 2680707.3752 | 1251874.1665
43 | 2680738.888 | 1251855.9218
44 | 2680645.3618 | 1251884.7191
45 | 2680664.8179 | 1251899.8395
46 | 2680611.5183 | 1251869.6808
47 | 2680676.4408 | 1251886.043
48 | 2680670.091 | 1251915.5674
49 | 2680672.9434 | 1251917.8302
50 | 2680691.9968 | 1251893.6663
51 | 2680723.5021 | 1251886.5509
52 | 2680752.2564 | 1251860.1165
53 | 2680740.5402 | 1251875.3932
54 | 2680826.5919 | 1251934.6363
55 | 2680791.7037 | 1251994.408
56 | 2680505.573 | 1251845.8437
57 | 2680629.1011 | 1251797.7504
58 | 2680606.0952 | 1251846.1117
59 | 2680609.8579 | 1251898.799
60 | 2680678.411 | 1251910.8961
61 | 2680617.3577 | 1251812.9636
62 | 2680603.8312 | 1251830.3317
63 | 2680610.0908 | 1251898.9697
64 | 2680626.5492 | 1251911.0271
65 | 2680618.3614 | 1251934.7555
66 | 2680756.5502 | 1252016.1195
67 | 2680722.1477 | 1252037.2977
68 | 2680488.6017 | 1251840.4803
69 | 2680480.5544 | 1251837.942
70 | 2680451.1923 | 1251824.5488
71 | 2680448.8317 | 1251823.2472
72 | 2680447.7352 | 1251822.6425
73 | 2680439.1901 | 1251815.7188
74 | 2680643.3757 | 1251766.7378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97682 | -0.44557 | 0.013201 | 0.0033084
1 | 0.97625 | -0.45671 | 0.018461 | 0.0046267
2 | 0.97773 | -0.42769 | 0 | 0
3 | 0.97571 | -0.4674 | 0 | 0
4 | 0.9789 | -0.40489 | 0.015098 | 0.003784
5 | 0.97755 | -0.43128 | 0 | 0
6 | 0.97523 | -0.47676 | 0 | 0
7 | 0.97949 | -0.39323 | 0.0087449 | 0.0021917
8 | 0.97749 | -0.4325 | 0.014923 | 0.0037401
9 | 0.97457 | -0.48972 | 0.010812 | 0.0027098
10 | 0.97402 | -0.50052 | 0 | 0
11 | 0.97815 | -0.41929 | 0 | 0
12 | 0.97755 | -0.43101 | 0 | 0
13 | 0.98429 | -0.2995 | 0 | 0
14 | 0.9769 | -0.44383 | 0.099911 | 0.02504
15 | 0.97308 | -0.51922 | 0 | 0
16 | 0.97286 | -0.52351 | 0.0060406 | 0.0015139
17 | 0.97316 | -0.51759 | 0 | 0
18 | 0.9763 | -0.4556 | 0 | 0
19 | 0.9767 | -0.44769 | 0 | 0
20 | 0.97585 | -0.46442 | 0.0083179 | 0.0020847
21 | 0.97134 | -0.55347 | 0 | 0
22 | 0.97069 | -0.56644 | 0.010363 | 0.0025973
23 | 0.9733 | -0.51477 | 0 | 0
24 | 0.97283 | -0.52414 | 0.0056213 | 0.0014088
25 | 0.9737 | -0.50692 | 0.003354 | 0.00084058
26 | 0.98368 | -0.31145 | 0 | 0
27 | 0.98367 | -0.31173 | 0.0017392 | 0.00043588
28 | 0.99278 | -0.13722 | 0 | 0
29 | 0.99478 | -0.098592 | 0 | 0
30 | 0.99131 | -0.16571 | 0.0010077 | 0.00025256
31 | 0.97552 | -0.47081 | 0 | 0
32 | 0.97595 | -0.46246 | 0.013129 | 0.0032905
33 | 0.97479 | -0.4853 | 0.023265 | 0.0058308
34 | 0.97313 | -0.51808 | 0.00085538 | 0.00021438
35 | 0.99918 | -0.015365 | 0 | 0
36 | 0.99813 | -0.035742 | 0.013518 | 0.003388
37 | 1 | 0 | -0.59885 | -0.15366
38 | 0.99278 | -0.13665 | 0.0009372 | 0.00023489
39 | 0.97252 | -0.53022 | 0.047546 | 0.011916
40 | 0.98169 | -0.35046 | 0 | 0
41 | 0.98089 | -0.3662 | 0.020614 | 0.0051665
42 | 0.98229 | -0.33874 | 0 | 0
43 | 0.98032 | -0.37717 | 0.0089298 | 0.002238
44 | 0.98857 | -0.21744 | 0 | 0
45 | 0.987 | -0.2477 | 0 | 0
46 | 0.99114 | -0.16819 | 0 | 0
47 | 0.98673 | -0.25294 | 0.01625 | 0.0040726
48 | 0.98561 | -0.27445 | 0 | 0
49 | 0.98539 | -0.27867 | 0.0080769 | 0.0020243
50 | 0.98364 | -0.31253 | 0.0083803 | 0.0021003
51 | 0.98187 | -0.34707 | 0.0049791 | 0.0012479
52 | 0.98135 | -0.35719 | 0.0088518 | 0.0022185
53 | 0.98151 | -0.3541 | 0.0088147 | 0.0022092
54 | 0.97389 | -0.50325 | 0.003315 | 0.00083081
55 | 0.97245 | -0.53152 | 0.0057813 | 0.0014489
56 | 0.99067 | -0.1781 | 0.0041542 | 0.0010411
57 | 0.99844 | -0.029406 | 0.011409 | 0.0028595
58 | 0.99307 | -0.13131 | 0.013601 | 0.0034087
59 | 0.9885 | -0.2193 | 0.0080478 | 0.002017
60 | 0.98488 | -0.28861 | 0.0082145 | 0.0020587
61 | 0.99678 | -0.060728 | 0.011348 | 0.0028442
62 | 0.99494 | -0.095636 | 0.00285 | 0.00071429
63 | 0.98849 | -0.21962 | 0.018504 | 0.0046375
64 | 0.98768 | -0.23525 | 0.010055 | 0.00252
65 | 0.98689 | -0.25068 | 0.03286 | 0.0082355
66 | 0.97177 | -0.54498 | 0.011696 | 0.0029312
67 | 0.97155 | -0.54943 | 0.0059658 | 0.0014952
68 | 0.99006 | -0.18988 | 0.0039771 | 0.00099675
69 | 0.9898 | -0.19487 | 0.024177 | 0.0060594
70 | 0.98953 | -0.2001 | 0.0031965 | 0.00080113
71 | 0.98952 | -0.20038 | 0.0014193 | 0.0003557
72 | 0.98951 | -0.20048 | 0.0028249 | 0.00070798
73 | 0.9895 | -0.2008 | 0.0016345 | 0.00040966
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13027 | 0.032812 | -0.1302 | -0.032768 | 6.9387e-05 | 4.3468e-05 | 0.1985 | 0.1985 | 0.1985 | 0.97682 | -0.44557 | 0.97625 | -0.45671 | 13.6335
1 | -0.14347 | -0.03612 | 0.14359 | 0.036197 | 0.00012275 | 7.7188e-05 | 0.21861 | 0.21861 | 0.21861 | 0.97682 | -0.44557 | 0.97773 | -0.42769 | 15.0146
2 | 0.11174 | 0.028142 | -0.11168 | -0.028106 | 5.7068e-05 | 3.5475e-05 | 0.17037 | 0.17037 | 0.17037 | 0.97625 | -0.45671 | 0.97571 | -0.4674 | 11.701
3 | -0.15852 | -0.03994 | 0.15869 | 0.040049 | 0.00017304 | 0.00010916 | 0.24133 | 0.24133 | 0.24133 | 0.97773 | -0.42769 | 0.9789 | -0.40489 | 16.5749
4 | 0.014927 | 0.0037421 | -0.014924 | -0.0037406 | 2.5586e-06 | 1.4717e-06 | 0.022717 | 0.022717 | 0.022717 | 0.97773 | -0.42769 | 0.97755 | -0.43128 | 6.2411
5 | 0.11168 | 0.028106 | -0.11163 | -0.028075 | 4.9924e-05 | 3.1035e-05 | 0.17037 | 0.17037 | 0.17037 | 0.97571 | -0.4674 | 0.97523 | -0.47676 | 11.701
6 | -0.17379 | -0.043833 | 0.17389 | 0.043894 | 9.7065e-05 | 6.1376e-05 | 0.26428 | 0.26428 | 0.26428 | 0.9789 | -0.40489 | 0.97949 | -0.39323 | 18.1511
7 | 0.014924 | 0.0037406 | -0.014923 | -0.0037401 | 8.6227e-07 | 4.96e-07 | 0.022717 | 0.022718 | 0.022718 | 0.97755 | -0.43128 | 0.97749 | -0.4325 | 6.2411
8 | 0.063967 | 0.016082 | -0.063927 | -0.016059 | 3.9585e-05 | 2.3124e-05 | 0.097619 | 0.09762 | 0.09762 | 0.97523 | -0.47676 | 0.97457 | -0.48972 | 6.7047
9 | 0.047667 | 0.011993 | -0.047613 | -0.011959 | 5.4049e-05 | 3.4252e-05 | 0.072748 | 0.072748 | 0.072748 | 0.97523 | -0.47676 | 0.97402 | -0.50052 | 19.9857
10 | -0.18263 | -0.046086 | 0.18278 | 0.046175 | 0.00014061 | 8.9012e-05 | 0.27756 | 0.27756 | 0.27756 | 0.97949 | -0.39323 | 0.98032 | -0.37717 | 19.0635
11 | 0.053115 | 0.013349 | -0.053081 | -0.01333 | 3.4267e-05 | 1.9164e-05 | 0.081111 | 0.081112 | 0.081112 | 0.97457 | -0.48972 | 0.97389 | -0.50325 | 5.5709
12 | 0.047613 | 0.011959 | -0.047546 | -0.011916 | 6.7387e-05 | 4.2706e-05 | 0.072748 | 0.072748 | 0.072748 | 0.97402 | -0.50052 | 0.97252 | -0.53022 | 19.9858
13 | 0.036495 | 0.0091841 | -0.036474 | -0.0091712 | 2.0416e-05 | 1.2845e-05 | 0.055531 | 0.055531 | 0.055531 | 0.97815 | -0.41929 | 0.97755 | -0.43101 | 15.2559
14 | -0.14486 | -0.036393 | 0.14569 | 0.036924 | 0.00083337 | 0.00053105 | 0.2204 | 0.2204 | 0.2204 | 0.97815 | -0.41929 | 0.98429 | -0.2995 | 30.2746
15 | 0.10836 | 0.027209 | -0.10824 | -0.027128 | 0.00012669 | 8.0925e-05 | 0.16487 | 0.16487 | 0.16487 | 0.97815 | -0.41929 | 0.9769 | -0.44383 | 45.2933
16 | 0.036474 | 0.0091712 | -0.03642 | -0.0091368 | 5.4699e-05 | 3.4415e-05 | 0.055531 | 0.055532 | 0.055532 | 0.97755 | -0.43101 | 0.97595 | -0.46246 | 15.2559
17 | -0.14743 | -0.037356 | 0.1486 | 0.038097 | 0.0011634 | 0.00074135 | 0.22303 | 0.22303 | 0.22303 | 0.98429 | -0.2995 | 0.99278 | -0.13665 | 30.6356
18 | 0.0017402 | 0.00043158 | -0.0017392 | -0.00043578 | 9.862e-07 | -4.1986e-06 | 0.0026291 | 0.0026308 | 0.0026308 | 0.98429 | -0.2995 | 0.98368 | -0.31145 | 0.72275
19 | 0.0083261 | 0.0020882 | -0.0083246 | -0.0020875 | 1.5313e-06 | 6.6228e-07 | 0.012683 | 0.012683 | 0.012683 | 0.9769 | -0.44383 | 0.9767 | -0.44769 | 3.4843
20 | 0.0060418 | 0.0015142 | -0.0060406 | -0.0015139 | 1.2349e-06 | 3.1121e-07 | 0.0092391 | 0.0092392 | 0.0092392 | 0.97308 | -0.51922 | 0.97286 | -0.52351 | 2.5383
21 | -0.0060418 | -0.0015142 | 0.0060423 | 0.0015143 | 4.6898e-07 | 1.1813e-07 | 0.0092391 | 0.009239 | 0.0092391 | 0.97308 | -0.51922 | 0.97316 | -0.51759 | 2.5382
22 | 0.0008554 | 0.000214 | -0.00085538 | -0.00021438 | 1.9985e-08 | -3.7429e-07 | 0.0013078 | 0.001308 | 0.001308 | 0.97316 | -0.51759 | 0.97313 | -0.51808 | 0.35933
23 | 0.010387 | 0.0026096 | -0.01037 | -0.0026005 | 1.7763e-05 | 9.0407e-06 | 0.015885 | 0.015886 | 0.015886 | 0.97316 | -0.51759 | 0.97134 | -0.55347 | 4.3643
24 | -0.017285 | -0.0043379 | 0.017287 | 0.0043393 | 2.3269e-06 | 1.3788e-06 | 0.026432 | 0.026432 | 0.026432 | 0.97316 | -0.51759 | 0.9733 | -0.51477 | 7.2615
25 | -0.0083214 | -0.0020862 | 0.0083246 | 0.0020875 | 3.1393e-06 | 1.3581e-06 | 0.012683 | 0.012683 | 0.012683 | 0.9763 | -0.4556 | 0.9767 | -0.44769 | 3.4844
26 | 0.0083214 | 0.0020862 | -0.0083179 | -0.0020847 | 3.4953e-06 | 1.5128e-06 | 0.012683 | 0.012683 | 0.012683 | 0.9763 | -0.4556 | 0.97585 | -0.46442 | 3.4845
27 | 0.01037 | 0.0026005 | -0.010363 | -0.0025973 | 6.4031e-06 | 3.2611e-06 | 0.015886 | 0.015886 | 0.015886 | 0.97134 | -0.55347 | 0.97069 | -0.56644 | 4.3644
28 | 0.029098 | 0.0073044 | -0.029085 | -0.0072963 | 1.3003e-05 | 8.1042e-06 | 0.04449 | 0.04449 | 0.04449 | 0.9733 | -0.51477 | 0.97283 | -0.52414 | 12.2227
29 | -0.046385 | -0.011644 | 0.046403 | 0.011654 | 1.7366e-05 | 1.0084e-05 | 0.070922 | 0.070922 | 0.070922 | 0.9733 | -0.51477 | 0.9737 | -0.50692 | 6.4947
30 | 0.023464 | 0.0058875 | -0.023456 | -0.0058824 | 8.2525e-06 | 5.0696e-06 | 0.035892 | 0.035892 | 0.035892 | 0.97283 | -0.52414 | 0.97245 | -0.53152 | 9.8605
31 | -0.049757 | -0.012494 | 0.049766 | 0.012499 | 8.7262e-06 | 4.7839e-06 | 0.076048 | 0.076047 | 0.076048 | 0.9737 | -0.50692 | 0.97389 | -0.50325 | 5.2231
32 | 0.0017392 | 0.00043578 | -0.0017392 | -0.00043588 | 2.2698e-08 | -9.6487e-08 | 0.0026308 | 0.0026309 | 0.0026309 | 0.98368 | -0.31145 | 0.98367 | -0.31173 | 0.72276
33 | -0.042505 | -0.010695 | 0.042584 | 0.010745 | 7.8611e-05 | 4.9642e-05 | 0.063723 | 0.063723 | 0.063723 | 0.99278 | -0.13722 | 0.99478 | -0.098592 | 17.5063
34 | 0.042505 | 0.010695 | -0.042447 | -0.010659 | 5.7792e-05 | 3.6497e-05 | 0.063723 | 0.063723 | 0.063723 | 0.99278 | -0.13722 | 0.99131 | -0.16571 | 17.5064
35 | 0.14981 | 0.038506 | -0.14953 | -0.038332 | 0.00027646 | 0.0001739 | 0.22443 | 0.22443 | 0.22443 | 0.99478 | -0.098592 | 0.99278 | -0.13665 | 15.4142
36 | -0.19239 | -0.049251 | 0.19317 | 0.049744 | 0.00077885 | 0.00049324 | 0.28815 | 0.28815 | 0.28815 | 0.99478 | -0.098592 | 0.99918 | -0.015365 | 19.7906
37 | 0.041439 | 0.010406 | -0.041415 | -0.010391 | 2.448e-05 | 1.545e-05 | 0.062211 | 0.062211 | 0.062211 | 0.99131 | -0.16571 | 0.99067 | -0.1781 | 17.0908
38 | -0.023281 | -0.0058406 | 0.02329 | 0.0058463 | 9.2749e-06 | 5.691e-06 | 0.035514 | 0.035514 | 0.035514 | 0.97552 | -0.47081 | 0.97595 | -0.46246 | 9.7566
39 | 0.023281 | 0.0058406 | -0.023265 | -0.0058308 | 1.6072e-05 | 9.8621e-06 | 0.035514 | 0.035514 | 0.035514 | 0.97552 | -0.47081 | 0.97479 | -0.4853 | 9.7566
40 | 0.013531 | 0.0033953 | -0.013518 | -0.003388 | 1.3135e-05 | 7.2781e-06 | 0.020153 | 0.020153 | 0.020153 | 0.99918 | -0.015365 | 0.99813 | -0.035742 | 5.5366
41 | -0.2067 | -0.053139 | 0.20686 | 0.053237 | 0.00015445 | 9.7942e-05 | 0.3083 | 0.3083 | 0.3083 | 0.99918 | -0.015365 | 1 | 0 | 21.1746
42 | 0.39034 | 0.10043 | -0.38978 | -0.10007 | 0.00055723 | 0.00035571 | 0.58176 | 0.58176 | 0.58176 | 1 | 0 | 0.99844 | -0.029406 | 39.9557
43 | 0.02063 | 0.0051758 | -0.020614 | -0.0051665 | 1.5478e-05 | 9.3729e-06 | 0.031272 | 0.031272 | 0.031272 | 0.98169 | -0.35046 | 0.98089 | -0.3662 | 8.5913
44 | -0.21258 | -0.053744 | 0.2127 | 0.05382 | 0.00011948 | 7.5847e-05 | 0.32239 | 0.32239 | 0.32239 | 0.98169 | -0.35046 | 0.98229 | -0.33874 | 22.1422
45 | 0.19195 | 0.048568 | -0.1917 | -0.048413 | 0.00024572 | 0.0001557 | 0.29112 | 0.29112 | 0.29112 | 0.98169 | -0.35046 | 0.98032 | -0.37717 | 19.9944
46 | -0.23536 | -0.059505 | 0.23566 | 0.059694 | 0.00029626 | 0.00018835 | 0.35672 | 0.35672 | 0.35672 | 0.98229 | -0.33874 | 0.98364 | -0.31253 | 24.5001
47 | 0.022662 | 0.0056851 | -0.022653 | -0.0056796 | 8.9871e-06 | 5.4944e-06 | 0.034331 | 0.034331 | 0.034331 | 0.98229 | -0.33874 | 0.98187 | -0.34707 | 9.4316
48 | 0.27778 | 0.070712 | -0.27737 | -0.070455 | 0.00040461 | 0.00025769 | 0.41851 | 0.41851 | 0.41851 | 0.98857 | -0.21744 | 0.987 | -0.2477 | 28.7438
49 | -0.27778 | -0.070712 | 0.27844 | 0.071134 | 0.00066138 | 0.00042121 | 0.41851 | 0.41851 | 0.41851 | 0.98857 | -0.21744 | 0.99114 | -0.16819 | 28.7438
50 | 0.016254 | 0.004075 | -0.01625 | -0.0040726 | 4.0577e-06 | 2.3667e-06 | 0.024505 | 0.024505 | 0.024505 | 0.987 | -0.2477 | 0.98673 | -0.25294 | 6.7322
51 | 0.26112 | 0.06638 | -0.26078 | -0.066166 | 0.00033589 | 0.00021379 | 0.394 | 0.39401 | 0.39401 | 0.987 | -0.2477 | 0.98561 | -0.27445 | 27.0608
52 | -0.34813 | -0.088688 | 0.34875 | 0.089084 | 0.00062059 | 0.00039593 | 0.52317 | 0.52317 | 0.52317 | 0.99114 | -0.16819 | 0.99307 | -0.13131 | 35.9321
53 | 0.069693 | 0.017554 | -0.069524 | -0.017446 | 0.00016989 | 0.0001082 | 0.10466 | 0.10466 | 0.10466 | 0.99114 | -0.16819 | 0.9885 | -0.2193 | 28.7536
54 | 0.26078 | 0.066166 | -0.26073 | -0.066132 | 5.2989e-05 | 3.3727e-05 | 0.39401 | 0.39401 | 0.39401 | 0.98561 | -0.27445 | 0.98539 | -0.27867 | 27.0608
55 | 0.25265 | 0.064108 | -0.25253 | -0.064031 | 0.00012068 | 7.6787e-05 | 0.38181 | 0.38181 | 0.38181 | 0.98539 | -0.27867 | 0.98488 | -0.28861 | 26.2231
56 | -0.24404 | -0.061794 | 0.24432 | 0.061972 | 0.00028069 | 0.00017853 | 0.3694 | 0.3694 | 0.3694 | 0.98364 | -0.31253 | 0.98488 | -0.28861 | 25.3708
57 | 0.017674 | 0.0044318 | -0.017668 | -0.0044282 | 5.9255e-06 | 3.5139e-06 | 0.026785 | 0.026785 | 0.026785 | 0.98187 | -0.34707 | 0.98151 | -0.3541 | 7.3586
58 | -0.0088518 | -0.0022185 | 0.0088531 | 0.0022191 | 1.3006e-06 | 5.891e-07 | 0.013422 | 0.013422 | 0.013422 | 0.98135 | -0.35719 | 0.98151 | -0.3541 | 3.6874
59 | 0.017674 | 0.0044335 | -0.017663 | -0.0044267 | 1.1334e-05 | 6.7415e-06 | 0.027046 | 0.027046 | 0.027046 | 0.97245 | -0.53152 | 0.97177 | -0.54498 | 7.4303
60 | 0.037261 | 0.0093496 | -0.03724 | -0.0093365 | 2.091e-05 | 1.3153e-05 | 0.055971 | 0.055971 | 0.055971 | 0.99067 | -0.1781 | 0.99006 | -0.18988 | 15.3766
61 | 0.37837 | 0.097212 | -0.3778 | -0.096845 | 0.00057465 | 0.00036677 | 0.56475 | 0.56475 | 0.56475 | 0.99844 | -0.029406 | 0.99678 | -0.060728 | 38.7879
62 | -0.36235 | -0.092492 | 0.36298 | 0.092892 | 0.0006258 | 0.00039934 | 0.54355 | 0.54355 | 0.54355 | 0.99307 | -0.13131 | 0.99494 | -0.095636 | 37.3317
63 | 0.061476 | 0.015429 | -0.061475 | -0.015428 | 9.2762e-07 | 5.8998e-07 | 0.092548 | 0.092548 | 0.092548 | 0.9885 | -0.2193 | 0.98849 | -0.21962 | 25.4254
64 | 0.36645 | 0.094001 | -0.36583 | -0.093606 | 0.00061937 | 0.00039525 | 0.54781 | 0.54781 | 0.54781 | 0.99678 | -0.060728 | 0.99494 | -0.095636 | 37.6244
65 | 0.042971 | 0.010791 | -0.042939 | -0.010771 | 3.2021e-05 | 2.0232e-05 | 0.064694 | 0.064694 | 0.064694 | 0.98849 | -0.21962 | 0.98768 | -0.23525 | 17.7731
66 | 0.032884 | 0.0082506 | -0.03286 | -0.0082355 | 2.4174e-05 | 1.5135e-05 | 0.049545 | 0.049546 | 0.049546 | 0.98768 | -0.23525 | 0.98689 | -0.25068 | 13.6114
67 | 0.0059671 | 0.0014955 | -0.0059658 | -0.0014952 | 1.2648e-06 | 3.0908e-07 | 0.009137 | 0.0091372 | 0.0091372 | 0.97177 | -0.54498 | 0.97155 | -0.54943 | 2.5102
68 | 0.033263 | 0.0083397 | -0.033255 | -0.0083348 | 7.9087e-06 | 4.9531e-06 | 0.049994 | 0.049994 | 0.049994 | 0.99006 | -0.18988 | 0.9898 | -0.19487 | 13.7345
69 | 0.0090776 | 0.0022754 | -0.0090754 | -0.0022744 | 2.2609e-06 | 1.031e-06 | 0.013647 | 0.013647 | 0.013647 | 0.9898 | -0.19487 | 0.98953 | -0.2001 | 3.7492
70 | 0.0058788 | 0.0014732 | -0.0058787 | -0.0014732 | 7.8998e-08 | 1.5931e-08 | 0.0088403 | 0.0088403 | 0.0088403 | 0.98953 | -0.2001 | 0.98952 | -0.20038 | 2.4286
71 | 0.0044595 | 0.0011175 | -0.0044594 | -0.0011175 | 2.1117e-08 | -2.5706e-09 | 0.006706 | 0.006706 | 0.006706 | 0.98952 | -0.20038 | 0.98951 | -0.20048 | 1.8423
72 | 0.0016346 | 0.00040953 | -0.0016345 | -0.00040966 | 2.4936e-08 | -1.2541e-07 | 0.002458 | 0.002458 | 0.002458 | 0.98951 | -0.20048 | 0.9895 | -0.2008 | 0.67529

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61226 | 0.15703

## res_load
| p_mw | q_mvar
0 | 0.013201 | 0.0033084
1 | 0.018461 | 0.0046267
2 | 0.015098 | 0.003784
3 | 0.0087449 | 0.0021917
4 | 0.014923 | 0.0037401
5 | 0.010812 | 0.0027098
6 | 0.099911 | 0.02504
7 | 0.0060406 | 0.0015139
8 | 0.0083179 | 0.0020847
9 | 0.010363 | 0.0025973
10 | 0.0056213 | 0.0014088
11 | 0.003354 | 0.00084058
12 | 0.0017392 | 0.00043588
13 | 0.0010077 | 0.00025256
14 | 0.013129 | 0.0032905
15 | 0.023265 | 0.0058308
16 | 0.00085538 | 0.00021438
17 | 0.013518 | 0.003388
18 | 0.013411 | 0.0033612
19 | 0.0009372 | 0.00023489
20 | 0.047546 | 0.011916
21 | 0.020614 | 0.0051665
22 | 0.0089298 | 0.002238
23 | 0.01625 | 0.0040726
24 | 0.0080769 | 0.0020243
25 | 0.0083803 | 0.0021003
26 | 0.0049791 | 0.0012479
27 | 0.0088518 | 0.0022185
28 | 0.0088147 | 0.0022092
29 | 0.003315 | 0.00083081
30 | 0.0057813 | 0.0014489
31 | 0.0041542 | 0.0010411
32 | 0.011409 | 0.0028595
33 | 0.013601 | 0.0034087
34 | 0.0080478 | 0.002017
35 | 0.0082145 | 0.0020587
36 | 0.011348 | 0.0028442
37 | 0.00285 | 0.00071429
38 | 0.018504 | 0.0046375
39 | 0.010055 | 0.00252
40 | 0.03286 | 0.0082355
41 | 0.011696 | 0.0029312
42 | 0.0059658 | 0.0014952
43 | 0.0039771 | 0.00099675
44 | 0.024177 | 0.0060594
45 | 0.0031965 | 0.00080113
46 | 0.0014193 | 0.0003557
47 | 0.0028249 | 0.00070798
48 | 0.0016345 | 0.00040966

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1