## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-116_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-116_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-116_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-116_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2701-116_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-116_0_4_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_2701-116_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2701-116_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2701-116_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_2701-116_0_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2701-116_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_2701-116_0_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_2701-116_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2701-116_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_2701-116_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_2701-116_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2701-116_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2701-116_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2701-116_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2701-116_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-116_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-116_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_2701-116_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2701-116_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2701-116_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_2701-116_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2701-116_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2701-116_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2701-116_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2701-116_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2701-116_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_2701-116_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2701-116_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2701-116_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2701-116_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2701-116_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2701-116_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2701-116_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_MV_560_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-116_0_4_load_0 | 0 | 0.0064755 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-116_0_4_load_1 | 1 | 0.0092553 | 0.0023196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-116_0_4_load_3 | 2 | 0.010496 | 0.0026305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-116_0_4_load_4 | 4 | 0.013232 | 0.0033163 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-116_0_4_load_7 | 7 | 0.0062341 | 0.0015624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-116_0_4_load_16 | 8 | 0.011466 | 0.0028737 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-116_0_4_load_33 | 9 | 0.012193 | 0.003056 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-116_0_4_load_39 | 11 | 0.013043 | 0.003269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-116_0_4_load_20 | 12 | 0.017054 | 0.0042741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-116_0_4_load_25 | 13 | 0.021539 | 0.0053982 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-116_0_4_load_37 | 14 | 0.0082517 | 0.0020681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-116_0_4_load_8 | 16 | 0.0025912 | 0.00064941 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-116_0_4_load_9 | 17 | 0.0037068 | 0.00092902 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-116_0_4_load_10 | 18 | 0.0027398 | 0.00068667 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-116_0_4_load_11 | 19 | 0.0057825 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-116_0_4_load_12 | 20 | 0.0045718 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-116_0_4_load_29 | 21 | 0.012707 | 0.0031847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-116_0_4_load_30 | 22 | 0.0030629 | 0.00076764 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-116_0_4_load_38 | 23 | 0.012905 | 0.0032343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-116_0_4_load_24 | 24 | 0.0029789 | 0.00074659 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-116_0_4_load_13 | 25 | 0.005289 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-116_0_4_load_14 | 26 | 0.015798 | 0.0039593 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-116_0_4_load_22 | 29 | 0.06564 | 0.016451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-116_0_4_load_23 | 30 | 0.0043777 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-116_0_4_load_18 | 31 | 0.075215 | 0.018851 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-116_0_4_load_21 | 32 | 0.0055895 | 0.0014008 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-116_0_4_load_26 | 33 | 0.0063449 | 0.0015902 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-116_0_4_load_31 | 34 | 0.089603 | 0.022457 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-116_0_4_load_32 | 35 | 0.083632 | 0.02096 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-116_0_4_load_36 | 37 | 0.014878 | 0.0037288 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-116_0_4_line_0 |  | 0 | 1 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-116_0_4_line_1 |  | 1 | 2 | 0.01031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-116_0_4_line_2 |  | 2 | 3 | 0.030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-116_0_4_line_3 |  | 3 | 6 | 0.008486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2701-116_0_4_line_4 |  | 3 | 7 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2701-116_0_4_line_5 |  | 4 | 5 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-116_0_4_line_6 |  | 5 | 8 | 0.0064024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2701-116_0_4_line_7 |  | 5 | 9 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2701-116_0_4_line_8 |  | 6 | 10 | 0.021518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-116_0_4_line_9 |  | 6 | 11 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2701-116_0_4_line_10 |  | 7 | 12 | 0.0058522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2701-116_0_4_line_11 |  | 8 | 26 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-116_0_4_line_12 |  | 9 | 34 | 0.0026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2701-116_0_4_line_13 |  | 10 | 13 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-116_0_4_line_14 |  | 11 | 14 | 0.0098264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2701-116_0_4_line_15 |  | 12 | 15 | 0.0097198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2701-116_0_4_line_16 |  | 13 | 33 | 0.014266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-116_0_4_line_17 |  | 14 | 23 | 0.0088013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2701-116_0_4_line_18 |  | 15 | 32 | 0.0034381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-116_0_4_line_19 |  | 15 | 31 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2701-116_0_4_line_20 |  | 16 | 17 | 0.00081376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_2701-116_0_4_line_21 |  | 16 | 18 | 0.0052332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2701-116_0_4_line_22 |  | 17 | 19 | 0.0064228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_2701-116_0_4_line_23 |  | 18 | 20 | 0.0069594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2701-116_0_4_line_24 |  | 19 | 21 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_2701-116_0_4_line_25 |  | 20 | 22 | 0.007428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2701-116_0_4_line_26 |  | 21 | 23 | 0.0008091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2701-116_0_4_line_27 |  | 22 | 24 | 0.0045527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2701-116_0_4_line_28 |  | 24 | 30 | 0.0054828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2701-116_0_4_line_29 |  | 25 | 26 | 0.02725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2701-116_0_4_line_30 |  | 25 | 27 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2701-116_0_4_line_31 |  | 27 | 28 | 0.04917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_2701-116_0_4_line_32 |  | 28 | 29 | 0.028204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2701-116_0_4_line_33 |  | 29 | 30 | 0.0063065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2701-116_0_4_line_34 |  | 34 | 35 | 0.0022454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-116_0_4_line_35 |  | 35 | 36 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-116_0_4_line_36 |  | 36 | 37 | 0.036753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-116_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 38 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611430.0704 | 1267350.6693 | 2611435.4578 | 1267352.2992 | 2611439.4603 | 1267354.3571
1 | 2611439.4603 | 1267354.3571 | 2611448.6298 | 1267359.0715
2 | 2611473.173 | 1267376.2887 | 2611452.5416 | 1267361.0827 | 2611448.6298 | 1267359.0715
3 | 2611480.6467 | 1267380.3504 | 2611473.173 | 1267376.2887
4 | 2611473.173 | 1267376.2887 | 2611457.1966 | 1267382.6401 | 2611454.3034 | 1267383.182
5 | 2611362.7867 | 1267407.6986 | 2611371.8795 | 1267396.1148
6 | 2611362.7867 | 1267407.6986 | 2611359.3887 | 1267413.1248
7 | 2611362.7867 | 1267407.6986 | 2611351.9786 | 1267397.2564
8 | 2611480.6467 | 1267380.3504 | 2611489.4834 | 1267360.7204
9 | 2611480.6467 | 1267380.3504 | 2611475.5009 | 1267397.9374
10 | 2611454.3034 | 1267383.182 | 2611448.5512 | 1267384.2595
11 | 2611353.4161 | 1267422.5611 | 2611356.6111 | 1267417.5604 | 2611359.3887 | 1267413.1248
12 | 2611350.0475 | 1267395.3906 | 2611351.9786 | 1267397.2564
13 | 2611489.4834 | 1267360.7204 | 2611508.8881 | 1267376.0685
14 | 2611473.8125 | 1267407.6008 | 2611473.8125 | 1267407.6008 | 2611474.9111 | 1267399.9531 | 2611475.5009 | 1267397.9374
15 | 2611438.9981 | 1267386.0519 | 2611447.032 | 1267384.5441 | 2611448.5512 | 1267384.2595
16 | 2611520.0776 | 1267384.9188 | 2611508.8881 | 1267376.0685
17 | 2611473.8125 | 1267407.6008 | 2611470.5137 | 1267412.5756 | 2611468.9955 | 1267414.9665
18 | 2611438.9981 | 1267386.0519 | 2611435.6103 | 1267386.6384
19 | 2611438.9981 | 1267386.0519 | 2611420.6419 | 1267389.2299 | 2611416.3717 | 1267380.7892
20 | 2611458.8841 | 1267430.5102 | 2611458.4118 | 1267431.1729
21 | 2611455.375 | 1267435.4348 | 2611458.4118 | 1267431.1729
22 | 2611462.496 | 1267425.2019 | 2611461.0994 | 1267427.4012 | 2611458.8841 | 1267430.5102
23 | 2611451.215 | 1267441.0108 | 2611452.9184 | 1267438.8823 | 2611455.375 | 1267435.4348
24 | 2611462.496 | 1267425.2019 | 2611468.5618 | 1267415.6495
25 | 2611451.215 | 1267441.0108 | 2611446.5737 | 1267446.8102
26 | 2611468.9955 | 1267414.9665 | 2611468.5618 | 1267415.6495
27 | 2611443.7248 | 1267450.3613 | 2611444.1136 | 1267449.8842 | 2611446.5737 | 1267446.8102
28 | 2611443.7248 | 1267450.3613 | 2611440.2608 | 1267454.6113
29 | 2611353.4161 | 1267422.5611 | 2611350.3603 | 1267427.3442 | 2611360.055 | 1267434.9903 | 2611367.3961 | 1267440.5794
30 | 2611379.0123 | 1267451.8828 | 2611375.8379 | 1267447.0067 | 2611367.3961 | 1267440.5794
31 | 2611418.4251 | 1267481.3346 | 2611393.982 | 1267464.0311 | 2611384.7147 | 1267457.2753 | 2611379.0123 | 1267451.8828
32 | 2611418.4251 | 1267481.3346 | 2611427.6819 | 1267470.0445 | 2611436.2765 | 1267459.4997
33 | 2611440.2608 | 1267454.6113 | 2611436.2765 | 1267459.4997
34 | 2611350.0475 | 1267395.3906 | 2611348.4326 | 1267393.8304
35 | 2611334.5236 | 1267380.3922 | 2611348.4326 | 1267393.8304
36 | 2611334.5236 | 1267380.3922 | 2611310.8344 | 1267408.4925

## bus_geodata
| x | y | coords
0 | 2611430.0704 | 1267350.6693
1 | 2611439.4603 | 1267354.3571
2 | 2611448.6298 | 1267359.0715
3 | 2611473.173 | 1267376.2887
4 | 2611371.8795 | 1267396.1148
5 | 2611362.7867 | 1267407.6986
6 | 2611480.6467 | 1267380.3504
7 | 2611454.3034 | 1267383.182
8 | 2611359.3887 | 1267413.1248
9 | 2611351.9786 | 1267397.2564
10 | 2611489.4834 | 1267360.7204
11 | 2611475.5009 | 1267397.9374
12 | 2611448.5512 | 1267384.2595
13 | 2611508.8881 | 1267376.0685
14 | 2611473.8125 | 1267407.6008
15 | 2611438.9981 | 1267386.0519
16 | 2611458.4118 | 1267431.1729
17 | 2611458.8841 | 1267430.5102
18 | 2611455.375 | 1267435.4348
19 | 2611462.496 | 1267425.2019
20 | 2611451.215 | 1267441.0108
21 | 2611468.5618 | 1267415.6495
22 | 2611446.5737 | 1267446.8102
23 | 2611468.9955 | 1267414.9665
24 | 2611443.7248 | 1267450.3613
25 | 2611367.3961 | 1267440.5794
26 | 2611353.4161 | 1267422.5611
27 | 2611379.0123 | 1267451.8828
28 | 2611418.4251 | 1267481.3346
29 | 2611436.2765 | 1267459.4997
30 | 2611440.2608 | 1267454.6113
31 | 2611416.3717 | 1267380.7892
32 | 2611435.6103 | 1267386.6384
33 | 2611520.0776 | 1267384.9188
34 | 2611350.0475 | 1267395.3906
35 | 2611348.4326 | 1267393.8304
36 | 2611334.5236 | 1267380.3922
37 | 2611310.8344 | 1267408.4925
38 | 2611438.9981 | 1267386.0519

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9923 | -0.14654 | 0.0064755 | 0.0016229
1 | 0.99236 | -0.14538 | 0.0092553 | 0.0023196
2 | 0.99251 | -0.14251 | 0.010496 | 0.0026305
3 | 0.99323 | -0.12859 | 0 | 0
4 | 0.97699 | -0.44292 | 0.013232 | 0.0033163
5 | 0.97717 | -0.43936 | 0 | 0
6 | 0.99241 | -0.14421 | 0 | 0
7 | 0.99529 | -0.089304 | 0.0062341 | 0.0015624
8 | 0.97749 | -0.43313 | 0.011466 | 0.0028737
9 | 0.97647 | -0.45311 | 0.012193 | 0.003056
10 | 0.99186 | -0.15483 | 0 | 0
11 | 0.99076 | -0.17575 | 0.013043 | 0.003269
12 | 0.99589 | -0.077757 | 0.017054 | 0.0042741
13 | 0.99123 | -0.16706 | 0.021539 | 0.0053982
14 | 0.98991 | -0.19215 | 0.0082517 | 0.0020681
15 | 0.99694 | -0.057883 | 0 | 0
16 | 0.98763 | -0.23587 | 0.0025912 | 0.00064941
17 | 0.9877 | -0.23466 | 0.0037068 | 0.00092902
18 | 0.98723 | -0.24357 | 0.0027398 | 0.00068667
19 | 0.9882 | -0.22503 | 0.0057825 | 0.0014492
20 | 0.98671 | -0.25375 | 0.0045718 | 0.0011458
21 | 0.98909 | -0.2078 | 0.012707 | 0.0031847
22 | 0.98615 | -0.26446 | 0.0030629 | 0.00076764
23 | 0.98916 | -0.20653 | 0.012905 | 0.0032343
24 | 0.98582 | -0.27097 | 0.0029789 | 0.00074659
25 | 0.9796 | -0.39183 | 0.005289 | 0.0013255
26 | 0.97807 | -0.42167 | 0.015798 | 0.0039593
27 | 0.98053 | -0.37349 | 0 | 0
28 | 0.98335 | -0.3188 | 0 | 0
29 | 0.98496 | -0.28758 | 0.06564 | 0.016451
30 | 0.98541 | -0.27875 | 0.0043777 | 0.0010971
31 | 1 | 0 | -0.48077 | -0.12305
32 | 0.99692 | -0.05822 | 0.0055895 | 0.0014008
33 | 0.99115 | -0.16867 | 0.0063449 | 0.0015902
34 | 0.97624 | -0.45773 | 0.089603 | 0.022457
35 | 0.97603 | -0.46177 | 0.083632 | 0.02096
36 | 0.97576 | -0.46704 | 0 | 0
37 | 0.97526 | -0.47706 | 0.014878 | 0.0037288
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0064755 | -0.0016229 | 0.0064759 | 0.001623 | 3.5816e-07 | 9.8369e-08 | 0.0097105 | 0.0097104 | 0.0097105 | 0.9923 | -0.14654 | 0.99236 | -0.14538 | 2.6677
1 | -0.015731 | -0.0039426 | 0.015733 | 0.0039439 | 2.1513e-06 | 1.2436e-06 | 0.023588 | 0.023588 | 0.023588 | 0.99236 | -0.14538 | 0.99251 | -0.14251 | 6.4803
2 | -0.026229 | -0.0065743 | 0.026246 | 0.0065851 | 1.7413e-05 | 1.0756e-05 | 0.039324 | 0.039324 | 0.039324 | 0.99251 | -0.14251 | 0.99323 | -0.12859 | 10.8033
3 | 0.4211 | 0.10738 | -0.42078 | -0.10717 | 0.00031729 | 0.00020263 | 0.63153 | 0.63153 | 0.63153 | 0.99323 | -0.12859 | 0.99241 | -0.14421 | 43.3741
4 | -0.44734 | -0.11396 | 0.44819 | 0.1145 | 0.00084957 | 0.00054268 | 0.67085 | 0.67085 | 0.67085 | 0.99323 | -0.12859 | 0.99529 | -0.089304 | 46.0749
5 | -0.013232 | -0.0033163 | 0.013235 | 0.0033176 | 2.243e-06 | 1.2511e-06 | 0.020154 | 0.020153 | 0.020154 | 0.97699 | -0.44292 | 0.97717 | -0.43936 | 5.5367
6 | -0.21374 | -0.053647 | 0.21381 | 0.053687 | 6.3598e-05 | 4.0382e-05 | 0.32551 | 0.32551 | 0.32551 | 0.97717 | -0.43936 | 0.97749 | -0.43313 | 22.3566
7 | 0.20051 | 0.05033 | -0.20038 | -0.050246 | 0.00013137 | 8.3326e-05 | 0.30536 | 0.30536 | 0.30536 | 0.97717 | -0.43936 | 0.97647 | -0.45311 | 20.9724
8 | 0.027915 | 0.0070073 | -0.027901 | -0.0069986 | 1.4139e-05 | 8.771e-06 | 0.041859 | 0.041859 | 0.041859 | 0.99241 | -0.14421 | 0.99186 | -0.15483 | 11.4998
9 | 0.39286 | 0.10017 | -0.39227 | -0.099785 | 0.00059733 | 0.00038134 | 0.58967 | 0.58967 | 0.58967 | 0.99241 | -0.14421 | 0.99076 | -0.17575 | 40.4992
10 | -0.45443 | -0.11607 | 0.45468 | 0.11623 | 0.00025382 | 0.00016214 | 0.68017 | 0.68017 | 0.68017 | 0.99529 | -0.089304 | 0.99589 | -0.077757 | 46.715
11 | -0.22527 | -0.056561 | 0.2254 | 0.056639 | 0.00012315 | 7.8256e-05 | 0.34297 | 0.34297 | 0.34297 | 0.97749 | -0.43313 | 0.97807 | -0.42167 | 23.5554
12 | 0.18818 | 0.04719 | -0.18814 | -0.047164 | 4.1407e-05 | 2.6433e-05 | 0.28678 | 0.28678 | 0.28678 | 0.97647 | -0.45311 | 0.97624 | -0.45773 | 39.3925
13 | 0.027901 | 0.0069986 | -0.027884 | -0.0069885 | 1.6257e-05 | 1.0085e-05 | 0.041859 | 0.041859 | 0.041859 | 0.99186 | -0.15483 | 0.99123 | -0.16706 | 11.4998
14 | 0.37922 | 0.096516 | -0.37892 | -0.096325 | 0.00029939 | 0.0001911 | 0.57008 | 0.57008 | 0.57008 | 0.99076 | -0.17575 | 0.98991 | -0.19215 | 39.1537
15 | -0.47173 | -0.1205 | 0.47219 | 0.12079 | 0.00045374 | 0.00028989 | 0.70565 | 0.70565 | 0.70565 | 0.99589 | -0.077757 | 0.99694 | -0.057883 | 48.465
16 | 0.0063453 | 0.0015903 | -0.0063449 | -0.0015902 | 4.8543e-07 | 1.2679e-07 | 0.0095255 | 0.0095256 | 0.0095256 | 0.99123 | -0.16706 | 0.99115 | -0.16867 | 2.6169
17 | 0.37067 | 0.094257 | -0.37042 | -0.094093 | 0.00025661 | 0.00016378 | 0.55767 | 0.55767 | 0.55767 | 0.98991 | -0.19215 | 0.98916 | -0.20653 | 38.3018
18 | 0.0055895 | 0.0014009 | -0.0055895 | -0.0014008 | 8.974e-08 | 1.2604e-08 | 0.0083429 | 0.0083429 | 0.0083429 | 0.99694 | -0.057883 | 0.99692 | -0.05822 | 2.292
19 | -0.47778 | -0.12219 | 0.47912 | 0.12305 | 0.0013424 | 0.00085768 | 0.71399 | 0.71399 | 0.71399 | 0.99694 | -0.057883 | 1 | 0 | 49.038
20 | -0.33483 | -0.084987 | 0.33485 | 0.084999 | 1.9445e-05 | 1.2403e-05 | 0.50485 | 0.50485 | 0.50485 | 0.98763 | -0.23587 | 0.9877 | -0.23466 | 34.674
21 | 0.33224 | 0.084337 | -0.33212 | -0.084259 | 0.00012312 | 7.8528e-05 | 0.50095 | 0.50095 | 0.50095 | 0.98763 | -0.23587 | 0.98723 | -0.24357 | 34.4058
22 | -0.33856 | -0.085928 | 0.33871 | 0.086028 | 0.00015688 | 0.00010008 | 0.51044 | 0.51044 | 0.51044 | 0.9877 | -0.23466 | 0.9882 | -0.22503 | 35.0575
23 | 0.32938 | 0.083572 | -0.32921 | -0.083469 | 0.00016104 | 0.00010271 | 0.49682 | 0.49682 | 0.49682 | 0.98723 | -0.24357 | 0.98671 | -0.25375 | 34.1222
24 | -0.3445 | -0.087477 | 0.34478 | 0.08766 | 0.00028591 | 0.0001824 | 0.51914 | 0.51914 | 0.51914 | 0.9882 | -0.22503 | 0.98909 | -0.2078 | 35.6555
25 | 0.32464 | 0.082323 | -0.32448 | -0.082217 | 0.00016715 | 0.0001066 | 0.48992 | 0.48993 | 0.48993 | 0.98671 | -0.25375 | 0.98615 | -0.26446 | 33.6487
26 | -0.35749 | -0.090844 | 0.35751 | 0.090858 | 2.1977e-05 | 1.4024e-05 | 0.53826 | 0.53826 | 0.53826 | 0.98909 | -0.2078 | 0.98916 | -0.20653 | 36.9685
27 | 0.32141 | 0.081449 | -0.32131 | -0.081385 | 0.00010052 | 6.4103e-05 | 0.4853 | 0.4853 | 0.4853 | 0.98615 | -0.26446 | 0.98582 | -0.27097 | 33.3313
28 | 0.31833 | 0.080639 | -0.31821 | -0.080563 | 0.00011883 | 7.5769e-05 | 0.48081 | 0.48081 | 0.48081 | 0.98582 | -0.27097 | 0.98541 | -0.27875 | 33.0225
29 | 0.24154 | 0.060818 | -0.24119 | -0.060599 | 0.00034408 | 0.00021884 | 0.367 | 0.367 | 0.367 | 0.9796 | -0.39183 | 0.97807 | -0.42167 | 25.206
30 | -0.24683 | -0.062143 | 0.24704 | 0.062281 | 0.00021662 | 0.00013781 | 0.37503 | 0.37503 | 0.37503 | 0.9796 | -0.39183 | 0.98053 | -0.37349 | 25.7578
31 | -0.24704 | -0.062281 | 0.24769 | 0.062693 | 0.00064835 | 0.00041246 | 0.37503 | 0.37503 | 0.37503 | 0.98053 | -0.37349 | 0.98335 | -0.3188 | 25.7578
32 | -0.24769 | -0.062693 | 0.24806 | 0.06293 | 0.00037189 | 0.00023657 | 0.37503 | 0.37503 | 0.37503 | 0.98335 | -0.3188 | 0.98496 | -0.28758 | 25.7577
33 | -0.3137 | -0.079381 | 0.31384 | 0.079466 | 0.00013295 | 8.4764e-05 | 0.4742 | 0.4742 | 0.4742 | 0.98496 | -0.28758 | 0.98541 | -0.27875 | 32.5685
34 | 0.09854 | 0.024707 | -0.098521 | -0.024695 | 1.8997e-05 | 1.213e-05 | 0.1502 | 0.1502 | 0.1502 | 0.97624 | -0.45773 | 0.97603 | -0.46177 | 41.2641
35 | 0.014889 | 0.003735 | -0.014885 | -0.0037329 | 3.7373e-06 | 2.1502e-06 | 0.0227 | 0.0227 | 0.0227 | 0.97603 | -0.46177 | 0.97576 | -0.46704 | 6.2363
36 | 0.014885 | 0.0037329 | -0.014878 | -0.0037288 | 7.1022e-06 | 4.0865e-06 | 0.0227 | 0.0227 | 0.0227 | 0.97576 | -0.46704 | 0.97526 | -0.47706 | 6.2364

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55598 | 0.1419

## res_load
| p_mw | q_mvar
0 | 0.0064755 | 0.0016229
1 | 0.0092553 | 0.0023196
2 | 0.010496 | 0.0026305
3 | 0.013232 | 0.0033163
4 | 0.0062341 | 0.0015624
5 | 0.011466 | 0.0028737
6 | 0.012193 | 0.003056
7 | 0.013043 | 0.003269
8 | 0.017054 | 0.0042741
9 | 0.021539 | 0.0053982
10 | 0.0082517 | 0.0020681
11 | 0.0025912 | 0.00064941
12 | 0.0037068 | 0.00092902
13 | 0.0027398 | 0.00068667
14 | 0.0057825 | 0.0014492
15 | 0.0045718 | 0.0011458
16 | 0.012707 | 0.0031847
17 | 0.0030629 | 0.00076764
18 | 0.012905 | 0.0032343
19 | 0.0029789 | 0.00074659
20 | 0.005289 | 0.0013255
21 | 0.015798 | 0.0039593
22 | 0.06564 | 0.016451
23 | 0.0043777 | 0.0010971
24 | 0.075215 | 0.018851
25 | 0.0055895 | 0.0014008
26 | 0.0063449 | 0.0015902
27 | 0.089603 | 0.022457
28 | 0.083632 | 0.02096
29 | 0.014878 | 0.0037288

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1