## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-122_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-122_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-122_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-122_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-122_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-122_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_2701-122_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2701-122_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_2701-122_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2701-122_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_2701-122_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2701-122_0_4_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2701-122_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2701-122_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2701-122_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2701-122_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2701-122_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2701-122_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2701-122_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2701-122_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2701-122_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2701-122_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-122_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2701-122_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_2701-122_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2701-122_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2701-122_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-122_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2701-122_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2701-122_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2701-122_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2701-122_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2701-122_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2701-122_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2701-122_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2701-122_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2701-122_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2701-122_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2701-122_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2701-122_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2701-122_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_2701-122_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2701-122_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_2701-122_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2701-122_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2701-122_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2701-122_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_2701-122_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2701-122_0_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_2701-122_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_2701-122_0_4_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_2701-122_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2701-122_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2701-122_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2701-122_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2701-122_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2701-122_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2701-122_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2701-122_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2701-122_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2701-122_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2701-122_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_2701-122_0_4_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_2701-122_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_2701-122_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_2701-122_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_2701-122_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_2701-122_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2701-122_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_2701-122_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_2701-122_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_MV_561_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-122_0_4_load_0 | 0 | 0.0075632 | 0.0018955 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-122_0_4_load_1 | 1 | 0.0028229 | 0.00070749 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-122_0_4_load_2 | 2 | 0.0022318 | 0.00055935 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-122_0_4_load_4 | 4 | 0.0028724 | 0.00071989 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-122_0_4_load_54 | 5 | 0.0070597 | 0.0017693 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-122_0_4_load_21 | 6 | 0.0046641 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-122_0_4_load_43 | 7 | 0.0064783 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-122_0_4_load_23 | 8 | 0.0029386 | 0.00073647 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-122_0_4_load_62 | 9 | 0.0041143 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-122_0_4_load_19 | 10 | 0.010376 | 0.0026005 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-122_0_4_load_41 | 11 | 0.0046931 | 0.0011762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-122_0_4_load_24 | 12 | 0.0019167 | 0.00048037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-122_0_4_load_5 | 13 | 0.0044378 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-122_0_4_load_6 | 14 | 0.010602 | 0.002657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-122_0_4_load_7 | 15 | 0.0066556 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-122_0_4_load_8 | 16 | 0.0029139 | 0.00073028 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-122_0_4_load_9 | 17 | 0.0028711 | 0.00071956 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-122_0_4_load_12 | 18 | 0.0028264 | 0.00070836 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-122_0_4_load_10 | 19 | 0.017561 | 0.0044012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-122_0_4_load_11 | 20 | 0.018035 | 0.0045201 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-122_0_4_load_13 | 21 | 0.0035653 | 0.00089356 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-122_0_4_load_14 | 24 | 0.0055923 | 0.0014016 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-122_0_4_load_15 | 25 | 0.0035781 | 0.00089677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-122_0_4_load_16 | 26 | 0.0025692 | 0.00064391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-122_0_4_load_17 | 27 | 0.0049277 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-122_0_4_load_18 | 28 | 0.0050431 | 0.0012639 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-122_0_4_load_36 | 29 | 0.0033077 | 0.00082899 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-122_0_4_load_22 | 30 | 0.0041391 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-122_0_4_load_35 | 31 | 0.0012575 | 0.00031516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-122_0_4_load_20 | 32 | 0.0046941 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-122_0_4_load_25 | 33 | 0.024965 | 0.0062568 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-122_0_4_load_26 | 34 | 0.001874 | 0.00046966 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-122_0_4_load_27 | 35 | 0.0027975 | 0.00070111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-122_0_4_load_28 | 36 | 0.0024617 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-122_0_4_load_29 | 37 | 0.0022996 | 0.00057633 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-122_0_4_load_30 | 38 | 0.0038669 | 0.00096913 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-122_0_4_load_31 | 39 | 0.0031637 | 0.0007929 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-122_0_4_load_32 | 40 | 0.004596 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-122_0_4_load_33 | 41 | 0.0024964 | 0.00062565 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-122_0_4_load_34 | 42 | 0.0035629 | 0.00089296 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-122_0_4_load_60 | 44 | 0.012152 | 0.0030455 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-122_0_4_load_46 | 45 | 0.0042677 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-122_0_4_load_61 | 46 | 0.002806 | 0.00070325 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-122_0_4_load_73 | 48 | 0.010854 | 0.0027203 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-122_0_4_load_57 | 49 | 0.0080409 | 0.0020152 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-122_0_4_load_55 | 51 | 0.019236 | 0.004821 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-122_0_4_load_42 | 52 | 0.004558 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-122_0_4_load_44 | 53 | 0.004207 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-122_0_4_load_47 | 54 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-122_0_4_load_45 | 55 | 0.0042854 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-122_0_4_load_49 | 56 | 0.0055543 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-122_0_4_load_50 | 57 | 0.0037285 | 0.00093446 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-122_0_4_load_51 | 58 | 0.0028882 | 0.00072386 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-122_0_4_load_52 | 59 | 0.012395 | 0.0031065 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-122_0_4_load_53 | 60 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-122_0_4_load_72 | 61 | 0.01415 | 0.0035463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-122_0_4_load_71 | 62 | 0.011417 | 0.0028613 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-122_0_4_load_63 | 63 | 0.0024454 | 0.00061286 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-122_0_4_load_66 | 64 | 0.0032852 | 0.00082334 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-122_0_4_load_64 | 65 | 0.03603 | 0.0090301 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-122_0_4_load_65 | 66 | 0.0017708 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-122_0_4_load_67 | 67 | 0.0016367 | 0.00041021 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-122_0_4_load_70 | 68 | 0.0032942 | 0.0008256 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-122_0_4_load_68 | 69 | 0.0037457 | 0.00093876 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-122_0_4_load_69 | 70 | 0.0066342 | 0.0016627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-122_0_4_line_0 |  | 0 | 1 | 0.0026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-122_0_4_line_1 |  | 0 | 2 | 0.0041045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-122_0_4_line_2 |  | 1 | 3 | 0.02623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-122_0_4_line_3 |  | 2 | 4 | 0.0035694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-122_0_4_line_4 |  | 3 | 5 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-122_0_4_line_5 |  | 3 | 6 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-122_0_4_line_6 |  | 3 | 7 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-122_0_4_line_7 |  | 4 | 8 | 0.0072113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-122_0_4_line_8 |  | 5 | 9 | 0.0017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-122_0_4_line_9 |  | 6 | 10 | 2.9997e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-122_0_4_line_10 |  | 7 | 11 | 0.0039151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-122_0_4_line_11 |  | 8 | 12 | 0.0001035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-122_0_4_line_12 |  | 9 | 63 | 0.011654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2701-122_0_4_line_13 |  | 10 | 32 | 0.0085169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-122_0_4_line_14 |  | 11 | 52 | 0.0081019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-122_0_4_line_15 |  | 12 | 16 | 0.0012038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-122_0_4_line_16 |  | 13 | 14 | 0.0062826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-122_0_4_line_17 |  | 13 | 15 | 0.0014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-122_0_4_line_18 |  | 14 | 16 | 0.0023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-122_0_4_line_19 |  | 15 | 17 | 0.0014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-122_0_4_line_20 |  | 17 | 18 | 0.0085466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-122_0_4_line_21 |  | 18 | 19 | 0.0032966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-122_0_4_line_22 |  | 19 | 20 | 0.0033473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-122_0_4_line_23 |  | 20 | 21 | 0.0054918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-122_0_4_line_24 |  | 21 | 22 | 0.060442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-122_0_4_line_25 |  | 22 | 23 | 0.17434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-122_0_4_line_26 |  | 23 | 35 | 0.0043417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-122_0_4_line_27 |  | 24 | 25 | 0.0060494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-122_0_4_line_28 |  | 24 | 26 | 0.0012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-122_0_4_line_29 |  | 25 | 27 | 0.0018618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-122_0_4_line_30 |  | 26 | 28 | 0.0026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-122_0_4_line_31 |  | 27 | 29 | 0.0033857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-122_0_4_line_32 |  | 28 | 30 | 0.00080502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-122_0_4_line_33 |  | 29 | 31 | 0.0040597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-122_0_4_line_34 |  | 30 | 32 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-122_0_4_line_35 |  | 31 | 42 | 0.00066081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-122_0_4_line_36 |  | 33 | 34 | 0.0026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-122_0_4_line_37 |  | 34 | 35 | 0.002873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-122_0_4_line_38 |  | 36 | 37 | 0.0057611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-122_0_4_line_39 |  | 36 | 38 | 0.0041106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-122_0_4_line_40 |  | 37 | 39 | 0.00031385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-122_0_4_line_41 |  | 38 | 40 | 0.00038953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-122_0_4_line_42 |  | 39 | 41 | 0.003594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-122_0_4_line_43 |  | 41 | 42 | 0.0050193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-122_0_4_line_44 |  | 43 | 44 | 0.0378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-122_0_4_line_45 |  | 43 | 45 | 0.037016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-122_0_4_line_46 |  | 44 | 46 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-122_0_4_line_47 |  | 45 | 55 | 0.007301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-122_0_4_line_48 |  | 47 | 48 | 0.029838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-122_0_4_line_49 |  | 47 | 49 | 0.0059405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-122_0_4_line_50 |  | 49 | 50 | 0.048739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-122_0_4_line_51 |  | 50 | 51 | 0.022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-122_0_4_line_52 |  | 51 | 59 | 0.00030469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-122_0_4_line_53 |  | 52 | 53 | 0.00085425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-122_0_4_line_54 |  | 53 | 54 | 0.0073007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-122_0_4_line_55 |  | 54 | 55 | 0.00054047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-122_0_4_line_56 |  | 56 | 57 | 0.0010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-122_0_4_line_57 |  | 56 | 58 | 0.0016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-122_0_4_line_58 |  | 57 | 59 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-122_0_4_line_59 |  | 58 | 60 | 0.0091093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-122_0_4_line_60 |  | 60 | 61 | 0.0029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-122_0_4_line_61 |  | 61 | 62 | 0.0012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-122_0_4_line_62 |  | 62 | 70 | 0.0026417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-122_0_4_line_63 |  | 63 | 64 | 0.0090843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2701-122_0_4_line_64 |  | 64 | 65 | 0.0023486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_2701-122_0_4_line_65 |  | 65 | 66 | 0.00057138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-122_0_4_line_66 |  | 66 | 67 | 0.0062697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-122_0_4_line_67 |  | 67 | 68 | 0.0011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-122_0_4_line_68 |  | 68 | 69 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-122_0_4_line_69 |  | 69 | 70 | 0.0031988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-122_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 71 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2611327.7055 | 1268544.8262 | 2611325.0702 | 1268544.4151
1 | 2611327.7055 | 1268544.8262 | 2611331.7609 | 1268545.4588
2 | 2611299.1538 | 1268540.3723 | 2611325.0702 | 1268544.4151
3 | 2611331.7609 | 1268545.4588 | 2611335.2877 | 1268546.009
4 | 2611299.1538 | 1268540.3723 | 2611298.2817 | 1268554.1235
5 | 2611299.1538 | 1268540.3723 | 2611301.4596 | 1268519.2112
6 | 2611299.1538 | 1268540.3723 | 2611284.2932 | 1268537.9613
7 | 2611342.4128 | 1268547.1204 | 2611335.2877 | 1268546.009
8 | 2611298.2817 | 1268554.1235 | 2611298.1684 | 1268555.9101
9 | 2611301.4629 | 1268519.1814 | 2611301.4596 | 1268519.2112
10 | 2611280.4287 | 1268537.3343 | 2611284.2932 | 1268537.9613
11 | 2611342.5151 | 1268547.1364 | 2611342.4128 | 1268547.1204
12 | 2611297.4308 | 1268567.5407 | 2611298.1684 | 1268555.9101
13 | 2611302.3855 | 1268510.7146 | 2611301.4629 | 1268519.1814
14 | 2611280.4287 | 1268537.3343 | 2611272.4314 | 1268536.0368
15 | 2611342.5151 | 1268547.1364 | 2611343.7045 | 1268547.3219
16 | 2611352.2829 | 1268548.6601 | 2611346.0754 | 1268547.6918
17 | 2611352.2829 | 1268548.6601 | 2611353.6668 | 1268548.876
18 | 2611346.0754 | 1268547.6918 | 2611343.7045 | 1268547.3219
19 | 2611355.0704 | 1268549.0949 | 2611353.6668 | 1268548.876
20 | 2611363.5149 | 1268550.4122 | 2611355.0704 | 1268549.0949
21 | 2611366.7721 | 1268550.9203 | 2611363.5149 | 1268550.4122
22 | 2611366.7721 | 1268550.9203 | 2611370.0794 | 1268551.4362
23 | 2611370.0794 | 1268551.4362 | 2611375.5056 | 1268552.2827
24 | 2611435.2212 | 1268561.6253 | 2611433.7392 | 1268561.3668 | 2611375.5056 | 1268552.2827
25 | 2611382.7516 | 1268449.9015 | 2611426.7644 | 1268459.1926 | 2611442.4123 | 1268461.6244 | 2611450.1675 | 1268463.385 | 2611454.8311 | 1268464.4725 | 2611456.4334 | 1268464.7758 | 2611453.6024 | 1268477.2458 | 2611436.3217 | 1268556.7351 | 2611435.2212 | 1268561.6253
26 | 2611382.7516 | 1268449.9015 | 2611378.4946 | 1268449.0479
27 | 2611303.9815 | 1268496.0678 | 2611304.6368 | 1268490.054
28 | 2611303.8485 | 1268497.2882 | 2611303.9815 | 1268496.0678
29 | 2611304.6368 | 1268490.054 | 2611304.8385 | 1268488.2032
30 | 2611303.8485 | 1268497.2882 | 2611303.5576 | 1268499.958
31 | 2611305.2053 | 1268484.8374 | 2611304.8385 | 1268488.2032
32 | 2611303.5576 | 1268499.958 | 2611303.4704 | 1268500.7582
33 | 2611305.2053 | 1268484.8374 | 2611305.6451 | 1268480.8016
34 | 2611303.4704 | 1268500.7582 | 2611302.3855 | 1268510.7146
35 | 2611305.7166 | 1268480.1447 | 2611305.6451 | 1268480.8016
36 | 2611375.6777 | 1268448.483 | 2611373.1229 | 1268447.9706
37 | 2611375.6777 | 1268448.483 | 2611378.4946 | 1268449.0479
38 | 2611307.1526 | 1268471.3362 | 2611308.1367 | 1268465.6597
39 | 2611308.8388 | 1268461.6096 | 2611308.1367 | 1268465.6597
40 | 2611307.1526 | 1268471.3362 | 2611307.099 | 1268471.6454
41 | 2611308.9053 | 1268461.2258 | 2611308.8388 | 1268461.6096
42 | 2611307.099 | 1268471.6454 | 2611306.4851 | 1268475.1866
43 | 2611305.7166 | 1268480.1447 | 2611305.8707 | 1268478.7306 | 2611306.4851 | 1268475.1866
44 | 2611220.1032 | 1268527.5468 | 2611226.3567 | 1268490.2673
45 | 2611220.1032 | 1268527.5468 | 2611256.6415 | 1268533.4749
46 | 2611226.3567 | 1268490.2673 | 2611230.7169 | 1268464.2748
47 | 2611263.8482 | 1268534.6442 | 2611256.6415 | 1268533.4749
48 | 2611376.0336 | 1268664.8399 | 2611346.1393 | 1268663.4262
49 | 2611346.1393 | 1268663.4262 | 2611340.2113 | 1268663.0417
50 | 2611291.5744 | 1268659.8865 | 2611340.2113 | 1268663.0417
51 | 2611291.5744 | 1268659.8865 | 2611292.9791 | 1268637.7369
52 | 2611292.9983 | 1268637.4328 | 2611292.9791 | 1268637.7369
53 | 2611272.4314 | 1268536.0368 | 2611271.5881 | 1268535.9
54 | 2611271.5881 | 1268535.9 | 2611264.3817 | 1268534.7308
55 | 2611264.3817 | 1268534.7308 | 2611263.8482 | 1268534.6442
56 | 2611294.2454 | 1268617.7684 | 2611294.1762 | 1268618.8608
57 | 2611294.2454 | 1268617.7684 | 2611294.3489 | 1268616.1366
58 | 2611294.1762 | 1268618.8608 | 2611292.9983 | 1268637.4328
59 | 2611294.9255 | 1268607.0455 | 2611294.3489 | 1268616.1366
60 | 2611294.9255 | 1268607.0455 | 2611295.1117 | 1268604.1084
61 | 2611295.1912 | 1268602.8554 | 2611295.1117 | 1268604.1084
62 | 2611295.3584 | 1268600.219 | 2611295.1912 | 1268602.8554
63 | 2611297.4308 | 1268567.5407 | 2611296.8558 | 1268576.6067
64 | 2611296.7072 | 1268578.9506 | 2611296.8558 | 1268576.6067
65 | 2611296.7072 | 1268578.9506 | 2611296.671 | 1268579.5209
66 | 2611296.671 | 1268579.5209 | 2611296.2742 | 1268585.778
67 | 2611296.2742 | 1268585.778 | 2611296.2005 | 1268586.9402
68 | 2611295.5608 | 1268597.0266 | 2611296.2005 | 1268586.9402
69 | 2611295.5608 | 1268597.0266 | 2611295.3584 | 1268600.219

## bus_geodata
| x | y | coords
0 | 2611327.7055 | 1268544.8262
1 | 2611325.0702 | 1268544.4151
2 | 2611331.7609 | 1268545.4588
3 | 2611299.1538 | 1268540.3723
4 | 2611335.2877 | 1268546.009
5 | 2611298.2817 | 1268554.1235
6 | 2611301.4596 | 1268519.2112
7 | 2611284.2932 | 1268537.9613
8 | 2611342.4128 | 1268547.1204
9 | 2611298.1684 | 1268555.9101
10 | 2611301.4629 | 1268519.1814
11 | 2611280.4287 | 1268537.3343
12 | 2611342.5151 | 1268547.1364
13 | 2611352.2829 | 1268548.6601
14 | 2611346.0754 | 1268547.6918
15 | 2611353.6668 | 1268548.876
16 | 2611343.7045 | 1268547.3219
17 | 2611355.0704 | 1268549.0949
18 | 2611363.5149 | 1268550.4122
19 | 2611366.7721 | 1268550.9203
20 | 2611370.0794 | 1268551.4362
21 | 2611375.5056 | 1268552.2827
22 | 2611435.2212 | 1268561.6253
23 | 2611382.7516 | 1268449.9015
24 | 2611303.9815 | 1268496.0678
25 | 2611304.6368 | 1268490.054
26 | 2611303.8485 | 1268497.2882
27 | 2611304.8385 | 1268488.2032
28 | 2611303.5576 | 1268499.958
29 | 2611305.2053 | 1268484.8374
30 | 2611303.4704 | 1268500.7582
31 | 2611305.6451 | 1268480.8016
32 | 2611302.3855 | 1268510.7146
33 | 2611373.1229 | 1268447.9706
34 | 2611375.6777 | 1268448.483
35 | 2611378.4946 | 1268449.0479
36 | 2611308.1367 | 1268465.6597
37 | 2611307.1526 | 1268471.3362
38 | 2611308.8388 | 1268461.6096
39 | 2611307.099 | 1268471.6454
40 | 2611308.9053 | 1268461.2258
41 | 2611306.4851 | 1268475.1866
42 | 2611305.7166 | 1268480.1447
43 | 2611220.1032 | 1268527.5468
44 | 2611226.3567 | 1268490.2673
45 | 2611256.6415 | 1268533.4749
46 | 2611230.7169 | 1268464.2748
47 | 2611346.1393 | 1268663.4262
48 | 2611376.0336 | 1268664.8399
49 | 2611340.2113 | 1268663.0417
50 | 2611291.5744 | 1268659.8865
51 | 2611292.9791 | 1268637.7369
52 | 2611272.4314 | 1268536.0368
53 | 2611271.5881 | 1268535.9
54 | 2611264.3817 | 1268534.7308
55 | 2611263.8482 | 1268534.6442
56 | 2611294.2454 | 1268617.7684
57 | 2611294.1762 | 1268618.8608
58 | 2611294.3489 | 1268616.1366
59 | 2611292.9983 | 1268637.4328
60 | 2611294.9255 | 1268607.0455
61 | 2611295.1117 | 1268604.1084
62 | 2611295.1912 | 1268602.8554
63 | 2611297.4308 | 1268567.5407
64 | 2611296.8558 | 1268576.6067
65 | 2611296.7072 | 1268578.9506
66 | 2611296.671 | 1268579.5209
67 | 2611296.2742 | 1268585.778
68 | 2611296.2005 | 1268586.9402
69 | 2611295.5608 | 1268597.0266
70 | 2611295.3584 | 1268600.219
71 | 2611299.1538 | 1268540.3723

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99972 | -0.0054235 | 0.0075632 | 0.0018955
1 | 1 | 0 | -0.40351 | -0.10145
2 | 0.99931 | -0.013234 | 0.0022318 | 0.00055935
3 | 0.99774 | -0.043274 | 0 | 0
4 | 0.99896 | -0.019892 | 0.0028724 | 0.00071989
5 | 0.99706 | -0.056373 | 0.0070597 | 0.0017693
6 | 0.99633 | -0.070369 | 0.0046641 | 0.0011689
7 | 0.99708 | -0.055923 | 0.0064783 | 0.0016236
8 | 0.99828 | -0.032996 | 0.0029386 | 0.00073647
9 | 0.99697 | -0.058002 | 0.0041143 | 0.0010311
10 | 0.99633 | -0.070405 | 0.010376 | 0.0026005
11 | 0.99694 | -0.05877 | 0.0046931 | 0.0011762
12 | 0.99827 | -0.033179 | 0.0019167 | 0.00048037
13 | 0.99746 | -0.048722 | 0.0044378 | 0.0011122
14 | 0.99795 | -0.039305 | 0.010602 | 0.002657
15 | 0.99735 | -0.050713 | 0.0066556 | 0.0016681
16 | 0.99816 | -0.035266 | 0.0029139 | 0.00073028
17 | 0.99726 | -0.052568 | 0.0028711 | 0.00071956
18 | 0.9967 | -0.063303 | 0.0028264 | 0.00070836
19 | 0.99649 | -0.067284 | 0.017561 | 0.0044012
20 | 0.99634 | -0.070295 | 0.018035 | 0.0045201
21 | 0.99617 | -0.073498 | 0.0035653 | 0.00089356
22 | 0.99453 | -0.10502 | 0 | 0
23 | 0.98979 | -0.19651 | 0 | 0
24 | 0.99521 | -0.091967 | 0.0055923 | 0.0014016
25 | 0.99502 | -0.095749 | 0.0035781 | 0.00089677
26 | 0.99526 | -0.091079 | 0.0025692 | 0.00064391
27 | 0.99496 | -0.096796 | 0.0049277 | 0.001235
28 | 0.99537 | -0.089015 | 0.0050431 | 0.0012639
29 | 0.99488 | -0.098406 | 0.0033077 | 0.00082899
30 | 0.9954 | -0.088325 | 0.0041391 | 0.0010374
31 | 0.99479 | -0.1001 | 0.0012575 | 0.00031516
32 | 0.99588 | -0.079016 | 0.0046941 | 0.0011764
33 | 0.98954 | -0.20133 | 0.024965 | 0.0062568
34 | 0.9896 | -0.20017 | 0.001874 | 0.00046966
35 | 0.98967 | -0.1988 | 0.0027975 | 0.00070111
36 | 0.99458 | -0.10425 | 0.0024617 | 0.00061697
37 | 0.99464 | -0.10314 | 0.0022996 | 0.00057633
38 | 0.99455 | -0.10486 | 0.0038669 | 0.00096913
39 | 0.99464 | -0.10307 | 0.0031637 | 0.0007929
40 | 0.99454 | -0.1049 | 0.004596 | 0.0011519
41 | 0.99469 | -0.10203 | 0.0024964 | 0.00062565
42 | 0.99478 | -0.10036 | 0.0035629 | 0.00089296
43 | 0.99581 | -0.080487 | 0 | 0
44 | 0.99529 | -0.090431 | 0.012152 | 0.0030455
45 | 0.99631 | -0.070758 | 0.0042677 | 0.0010696
46 | 0.99523 | -0.091732 | 0.002806 | 0.00070325
47 | 0.99051 | -0.18272 | 0 | 0
48 | 0.99022 | -0.18848 | 0.010854 | 0.0027203
49 | 0.99057 | -0.18158 | 0.0080409 | 0.0020152
50 | 0.99142 | -0.16523 | 0 | 0
51 | 0.9918 | -0.1578 | 0.019236 | 0.004821
52 | 0.99667 | -0.063998 | 0.004558 | 0.0011424
53 | 0.99664 | -0.064481 | 0.004207 | 0.0010544
54 | 0.99645 | -0.06807 | 0.0045027 | 0.0011285
55 | 0.99644 | -0.068294 | 0.0042854 | 0.001074
56 | 0.99273 | -0.13989 | 0.0055543 | 0.001392
57 | 0.99267 | -0.14094 | 0.0037285 | 0.00093446
58 | 0.99281 | -0.13816 | 0.0028882 | 0.00072386
59 | 0.99181 | -0.15759 | 0.012395 | 0.0031065
60 | 0.99334 | -0.12807 | 0.004484 | 0.0011238
61 | 0.99352 | -0.12458 | 0.01415 | 0.0035463
62 | 0.99361 | -0.12277 | 0.011417 | 0.0028613
63 | 0.99644 | -0.068334 | 0.0024454 | 0.00061286
64 | 0.99602 | -0.076266 | 0.0032852 | 0.00082334
65 | 0.99587 | -0.079275 | 0.03603 | 0.0090301
66 | 0.99581 | -0.080378 | 0.0017708 | 0.00044379
67 | 0.99519 | -0.092294 | 0.0016367 | 0.00041021
68 | 0.99508 | -0.094475 | 0.0032942 | 0.0008256
69 | 0.99413 | -0.11284 | 0.0037457 | 0.00093876
70 | 0.99384 | -0.11845 | 0.0066342 | 0.0016627
71 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.11709 | -0.029524 | 0.11712 | 0.029544 | 3.0402e-05 | 1.9423e-05 | 0.17435 | 0.17435 | 0.17435 | 0.99972 | -0.0054235 | 1 | 0 | 47.8982
1 | 0.10953 | 0.027629 | -0.10949 | -0.027603 | 4.0941e-05 | 2.6148e-05 | 0.16309 | 0.16309 | 0.16309 | 0.99972 | -0.0054235 | 0.99931 | -0.013234 | 44.8055
2 | 0.28473 | 0.071908 | -0.28414 | -0.071532 | 0.00058911 | 0.000376 | 0.42388 | 0.42388 | 0.42388 | 1 | 0 | 0.99774 | -0.043274 | 38.817
3 | 0.10726 | 0.027043 | -0.10722 | -0.027022 | 3.4167e-05 | 2.182e-05 | 0.15977 | 0.15977 | 0.15977 | 0.99931 | -0.013234 | 0.99896 | -0.019892 | 43.8925
4 | 0.16337 | 0.041175 | -0.16327 | -0.04111 | 0.00010231 | 6.494e-05 | 0.24373 | 0.24373 | 0.24373 | 0.99774 | -0.043274 | 0.99706 | -0.056373 | 22.3193
5 | 0.072761 | 0.018299 | -0.072667 | -0.018239 | 9.4034e-05 | 5.9904e-05 | 0.10854 | 0.10854 | 0.10854 | 0.99774 | -0.043274 | 0.99633 | -0.070369 | 29.8177
6 | 0.048016 | 0.012058 | -0.047987 | -0.012039 | 2.8958e-05 | 1.8336e-05 | 0.071619 | 0.071619 | 0.071619 | 0.99774 | -0.043274 | 0.99708 | -0.055923 | 19.6755
7 | 0.10435 | 0.026302 | -0.10429 | -0.02626 | 6.5381e-05 | 4.1749e-05 | 0.15549 | 0.15549 | 0.15549 | 0.99896 | -0.019892 | 0.99828 | -0.032996 | 42.7171
8 | 0.15621 | 0.039341 | -0.15619 | -0.039333 | 1.2168e-05 | 7.7176e-06 | 0.23319 | 0.23319 | 0.23319 | 0.99706 | -0.056373 | 0.99697 | -0.058002 | 21.3544
9 | 0.068003 | 0.01707 | -0.068002 | -0.01707 | 1.1606e-07 | 7.3889e-08 | 0.10157 | 0.10157 | 0.10157 | 0.99633 | -0.070369 | 0.99633 | -0.070405 | 27.9041
10 | 0.041509 | 0.010416 | -0.041503 | -0.010412 | 5.6346e-06 | 3.5551e-06 | 0.061951 | 0.061951 | 0.061951 | 0.99708 | -0.055923 | 0.99694 | -0.05877 | 17.0195
11 | 0.10135 | 0.025523 | -0.10135 | -0.025523 | 8.8624e-07 | 5.6584e-07 | 0.15111 | 0.15111 | 0.15111 | 0.99828 | -0.032996 | 0.99827 | -0.033179 | 41.5137
12 | 0.15208 | 0.038302 | -0.152 | -0.038255 | 7.5098e-05 | 4.7607e-05 | 0.22705 | 0.22705 | 0.22705 | 0.99697 | -0.058002 | 0.99644 | -0.068334 | 20.7921
13 | 0.057626 | 0.014469 | -0.057603 | -0.014454 | 2.3662e-05 | 1.5033e-05 | 0.086074 | 0.086074 | 0.086074 | 0.99633 | -0.070405 | 0.99588 | -0.079016 | 23.6467
14 | 0.03681 | 0.0092361 | -0.036801 | -0.0092303 | 9.1726e-06 | 5.7648e-06 | 0.054946 | 0.054946 | 0.054946 | 0.99694 | -0.05877 | 0.99667 | -0.063998 | 15.0951
15 | 0.09943 | 0.025043 | -0.09942 | -0.025036 | 9.9222e-06 | 6.3345e-06 | 0.14825 | 0.14825 | 0.14825 | 0.99827 | -0.033179 | 0.99816 | -0.035266 | 40.7289
16 | -0.085847 | -0.021612 | 0.085886 | 0.021637 | 3.8661e-05 | 2.4661e-05 | 0.1281 | 0.1281 | 0.1281 | 0.99746 | -0.048722 | 0.99795 | -0.039305 | 35.1927
17 | 0.081409 | 0.0205 | -0.081401 | -0.020495 | 7.7511e-06 | 4.9424e-06 | 0.12148 | 0.12148 | 0.12148 | 0.99746 | -0.048722 | 0.99735 | -0.050713 | 33.3739
18 | -0.096487 | -0.024294 | 0.096506 | 0.024306 | 1.8636e-05 | 1.1895e-05 | 0.14391 | 0.14391 | 0.14391 | 0.99795 | -0.039305 | 0.99816 | -0.035266 | 39.5355
19 | 0.074746 | 0.018827 | -0.074739 | -0.018823 | 6.6292e-06 | 4.2241e-06 | 0.11155 | 0.11155 | 0.11155 | 0.99735 | -0.050713 | 0.99726 | -0.052568 | 30.6459
20 | 0.071868 | 0.018103 | -0.071831 | -0.01808 | 3.6877e-05 | 2.349e-05 | 0.10727 | 0.10727 | 0.10727 | 0.99726 | -0.052568 | 0.9967 | -0.063303 | 29.469
21 | 0.069005 | 0.017371 | -0.068992 | -0.017363 | 1.3127e-05 | 8.3585e-06 | 0.10305 | 0.10305 | 0.10305 | 0.9967 | -0.063303 | 0.99649 | -0.067284 | 28.3098
22 | 0.051431 | 0.012962 | -0.051423 | -0.012957 | 7.4085e-06 | 4.6979e-06 | 0.076825 | 0.076825 | 0.076825 | 0.99649 | -0.067284 | 0.99634 | -0.070295 | 21.1057
23 | 0.033388 | 0.0084372 | -0.033383 | -0.0084339 | 5.1257e-06 | 3.209e-06 | 0.049889 | 0.049889 | 0.049889 | 0.99634 | -0.070295 | 0.99617 | -0.073498 | 13.7058
24 | 0.029818 | 0.0075404 | -0.029773 | -0.0075124 | 4.5013e-05 | 2.8022e-05 | 0.044564 | 0.044564 | 0.044564 | 0.99617 | -0.073498 | 0.99453 | -0.10502 | 12.2428
25 | 0.029773 | 0.0075124 | -0.029643 | -0.0074315 | 0.00012984 | 8.0843e-05 | 0.044564 | 0.044565 | 0.044565 | 0.99453 | -0.10502 | 0.98979 | -0.19651 | 12.243
26 | 0.029643 | 0.0074315 | -0.029639 | -0.0074295 | 3.2335e-06 | 2.0136e-06 | 0.044565 | 0.044565 | 0.044565 | 0.98979 | -0.19651 | 0.98967 | -0.1988 | 12.243
27 | 0.035534 | 0.0089111 | -0.035527 | -0.0089071 | 6.4038e-06 | 4.0199e-06 | 0.053131 | 0.053131 | 0.053131 | 0.99521 | -0.091967 | 0.99502 | -0.095749 | 14.5964
28 | -0.041126 | -0.010313 | 0.041128 | 0.010314 | 1.7408e-06 | 1.0981e-06 | 0.061492 | 0.061492 | 0.061492 | 0.99521 | -0.091967 | 0.99526 | -0.091079 | 16.8935
29 | 0.031949 | 0.0080104 | -0.031948 | -0.0080094 | 1.5939e-06 | 9.9589e-07 | 0.04778 | 0.04778 | 0.04778 | 0.99502 | -0.095749 | 0.99496 | -0.096796 | 13.1264
30 | -0.043697 | -0.010958 | 0.043701 | 0.01096 | 4.2987e-06 | 2.7162e-06 | 0.065334 | 0.065334 | 0.065334 | 0.99526 | -0.091079 | 0.99537 | -0.089015 | 17.9488
31 | 0.02702 | 0.0067744 | -0.027018 | -0.0067731 | 2.0734e-06 | 1.283e-06 | 0.04041 | 0.04041 | 0.04041 | 0.99496 | -0.096796 | 0.99488 | -0.098406 | 11.1018
32 | -0.048744 | -0.012224 | 0.048746 | 0.012225 | 1.6031e-06 | 1.0155e-06 | 0.072873 | 0.072873 | 0.072873 | 0.99537 | -0.089015 | 0.9954 | -0.088325 | 20.02
33 | 0.02371 | 0.0059441 | -0.023708 | -0.0059429 | 1.9146e-06 | 1.1726e-06 | 0.035463 | 0.035463 | 0.035463 | 0.99488 | -0.098406 | 0.99479 | -0.1001 | 9.7426
34 | -0.052885 | -0.013263 | 0.052909 | 0.013278 | 2.3475e-05 | 1.4894e-05 | 0.07906 | 0.07906 | 0.07906 | 0.9954 | -0.088325 | 0.99588 | -0.079016 | 21.7199
35 | 0.022451 | 0.0056278 | -0.02245 | -0.0056276 | 2.7947e-07 | 1.7028e-07 | 0.033582 | 0.033582 | 0.033582 | 0.99479 | -0.1001 | 0.99478 | -0.10036 | 9.2259
36 | -0.024965 | -0.0062568 | 0.024966 | 0.0062576 | 1.3771e-06 | 8.4784e-07 | 0.037541 | 0.037541 | 0.037541 | 0.98954 | -0.20133 | 0.9896 | -0.20017 | 10.3134
37 | -0.02684 | -0.0067273 | 0.026842 | 0.0067284 | 1.7549e-06 | 1.0862e-06 | 0.040359 | 0.040359 | 0.040359 | 0.9896 | -0.20017 | 0.98967 | -0.1988 | 11.0875
38 | -0.010925 | -0.0027381 | 0.010925 | 0.0027384 | 5.7718e-07 | 2.9462e-07 | 0.016345 | 0.016345 | 0.016345 | 0.99458 | -0.10425 | 0.99464 | -0.10314 | 4.4904
39 | 0.0084631 | 0.0021211 | -0.0084629 | -0.002121 | 2.4714e-07 | 1.0482e-07 | 0.012662 | 0.012662 | 0.012662 | 0.99458 | -0.10425 | 0.99455 | -0.10486 | 3.4786
40 | -0.013225 | -0.0033147 | 0.013225 | 0.0033147 | 4.6072e-08 | 2.5413e-08 | 0.019785 | 0.019785 | 0.019785 | 0.99464 | -0.10314 | 0.99464 | -0.10307 | 5.4355
41 | 0.004596 | 0.0011519 | -0.004596 | -0.0011519 | 6.9074e-09 | -6.342e-10 | 0.0068765 | 0.0068765 | 0.0068765 | 0.99455 | -0.10486 | 0.99454 | -0.1049 | 1.8891
42 | -0.016389 | -0.0041076 | 0.01639 | 0.0041081 | 8.1019e-07 | 4.7187e-07 | 0.024518 | 0.024518 | 0.024518 | 0.99464 | -0.10307 | 0.99469 | -0.10203 | 6.7358
43 | -0.018886 | -0.0047337 | 0.018887 | 0.0047346 | 1.5024e-06 | 8.964e-07 | 0.028253 | 0.028253 | 0.028253 | 0.99469 | -0.10203 | 0.99478 | -0.10036 | 7.7617
44 | 0.014965 | 0.0037526 | -0.014958 | -0.0037486 | 7.0889e-06 | 4.0454e-06 | 0.022363 | 0.022363 | 0.022363 | 0.99581 | -0.080487 | 0.99529 | -0.090431 | 6.1436
45 | -0.014965 | -0.0037526 | 0.014972 | 0.0037566 | 6.9417e-06 | 3.9609e-06 | 0.022363 | 0.022363 | 0.022363 | 0.99581 | -0.080487 | 0.99631 | -0.070758 | 6.1436
46 | 0.0028062 | 0.00070302 | -0.002806 | -0.00070325 | 1.7396e-07 | -2.3117e-07 | 0.0041953 | 0.0041954 | 0.0041954 | 0.99529 | -0.090431 | 0.99523 | -0.091732 | 1.1526
47 | -0.01924 | -0.0048261 | 0.019242 | 0.0048275 | 2.2609e-06 | 1.3519e-06 | 0.028736 | 0.028736 | 0.028736 | 0.99631 | -0.070758 | 0.99644 | -0.068294 | 7.8946
48 | 0.010857 | 0.0027219 | -0.010854 | -0.0027203 | 2.9768e-06 | 1.5212e-06 | 0.016311 | 0.016311 | 0.016311 | 0.99051 | -0.18272 | 0.99022 | -0.18848 | 4.481
49 | -0.010857 | -0.0027219 | 0.010858 | 0.0027222 | 5.9265e-07 | 3.0283e-07 | 0.016311 | 0.016311 | 0.016311 | 0.99051 | -0.18272 | 0.99057 | -0.18158 | 4.481
50 | -0.018899 | -0.0047374 | 0.018913 | 0.0047462 | 1.4731e-05 | 8.7997e-06 | 0.02839 | 0.028389 | 0.02839 | 0.99057 | -0.18158 | 0.99142 | -0.16523 | 7.7993
51 | -0.018913 | -0.0047462 | 0.01892 | 0.0047502 | 6.7077e-06 | 4.0067e-06 | 0.028389 | 0.028389 | 0.028389 | 0.99142 | -0.16523 | 0.9918 | -0.1578 | 7.7993
52 | -0.038156 | -0.0095712 | 0.038156 | 0.0095714 | 3.7448e-07 | 2.3573e-07 | 0.057249 | 0.057249 | 0.057249 | 0.9918 | -0.1578 | 0.99181 | -0.15759 | 15.7278
53 | 0.032243 | 0.008088 | -0.032242 | -0.0080875 | 7.4242e-07 | 4.6401e-07 | 0.048141 | 0.048141 | 0.048141 | 0.99667 | -0.063998 | 0.99664 | -0.064481 | 13.2255
54 | 0.028035 | 0.0070331 | -0.02803 | -0.0070301 | 4.7972e-06 | 2.9751e-06 | 0.04186 | 0.04186 | 0.04186 | 0.99664 | -0.064481 | 0.99645 | -0.06807 | 11.4999
55 | 0.023528 | 0.0059017 | -0.023527 | -0.0059015 | 2.5021e-07 | 1.5309e-07 | 0.035136 | 0.035136 | 0.035136 | 0.99645 | -0.06807 | 0.99644 | -0.068294 | 9.6527
56 | 0.054323 | 0.01364 | -0.05432 | -0.013638 | 2.722e-06 | 1.7279e-06 | 0.081434 | 0.081434 | 0.081434 | 0.99273 | -0.13989 | 0.99267 | -0.14094 | 22.3721
57 | -0.059877 | -0.015032 | 0.059882 | 0.015035 | 4.9403e-06 | 3.1406e-06 | 0.08976 | 0.08976 | 0.08976 | 0.99273 | -0.13989 | 0.99281 | -0.13816 | 24.6593
58 | 0.050592 | 0.012703 | -0.050551 | -0.012678 | 4.0144e-05 | 2.5452e-05 | 0.075845 | 0.075845 | 0.075845 | 0.99267 | -0.14094 | 0.99181 | -0.15759 | 20.8367
59 | -0.06277 | -0.015759 | 0.062801 | 0.015778 | 3.0241e-05 | 1.9236e-05 | 0.094089 | 0.094089 | 0.094089 | 0.99281 | -0.13816 | 0.99334 | -0.12807 | 25.8485
60 | -0.067285 | -0.016902 | 0.067296 | 0.016909 | 1.1215e-05 | 7.1395e-06 | 0.10081 | 0.10081 | 0.10081 | 0.99334 | -0.12807 | 0.99352 | -0.12458 | 27.6939
61 | -0.081446 | -0.020455 | 0.081453 | 0.020459 | 7.0072e-06 | 4.4683e-06 | 0.122 | 0.122 | 0.122 | 0.99352 | -0.12458 | 0.99361 | -0.12277 | 33.516
62 | -0.092869 | -0.023321 | 0.092888 | 0.023333 | 1.9167e-05 | 1.2232e-05 | 0.1391 | 0.1391 | 0.1391 | 0.99361 | -0.12277 | 0.99384 | -0.11845 | 38.213
63 | 0.14956 | 0.037642 | -0.1495 | -0.037606 | 5.6671e-05 | 3.5914e-05 | 0.2234 | 0.2234 | 0.2234 | 0.99644 | -0.068334 | 0.99602 | -0.076266 | 20.4577
64 | 0.14622 | 0.036783 | -0.1462 | -0.036769 | 2.1022e-05 | 1.3393e-05 | 0.21849 | 0.21849 | 0.21849 | 0.99602 | -0.076266 | 0.99587 | -0.079275 | 30.0124
65 | 0.11017 | 0.027739 | -0.11016 | -0.027735 | 5.809e-06 | 3.7103e-06 | 0.16465 | 0.16465 | 0.16465 | 0.99587 | -0.079275 | 0.99581 | -0.080378 | 45.2347
66 | 0.10839 | 0.027292 | -0.10833 | -0.027252 | 6.1709e-05 | 3.9412e-05 | 0.16201 | 0.16201 | 0.16201 | 0.99581 | -0.080378 | 0.99519 | -0.092294 | 44.5077
67 | 0.10669 | 0.026842 | -0.10668 | -0.026835 | 1.1118e-05 | 7.1007e-06 | 0.15956 | 0.15956 | 0.15956 | 0.99519 | -0.092294 | 0.99508 | -0.094475 | 43.8354
68 | 0.10339 | 0.026009 | -0.10329 | -0.025951 | 9.0627e-05 | 5.787e-05 | 0.15463 | 0.15463 | 0.15463 | 0.99508 | -0.094475 | 0.99413 | -0.11284 | 42.4821
69 | 0.099549 | 0.025013 | -0.099522 | -0.024996 | 2.6641e-05 | 1.7009e-05 | 0.14903 | 0.14903 | 0.14903 | 0.99413 | -0.11284 | 0.99384 | -0.11845 | 40.9419

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40633 | 0.10216

## res_load
| p_mw | q_mvar
0 | 0.0075632 | 0.0018955
1 | 0.0028229 | 0.00070749
2 | 0.0022318 | 0.00055935
3 | 0.0028724 | 0.00071989
4 | 0.0070597 | 0.0017693
5 | 0.0046641 | 0.0011689
6 | 0.0064783 | 0.0016236
7 | 0.0029386 | 0.00073647
8 | 0.0041143 | 0.0010311
9 | 0.010376 | 0.0026005
10 | 0.0046931 | 0.0011762
11 | 0.0019167 | 0.00048037
12 | 0.0044378 | 0.0011122
13 | 0.010602 | 0.002657
14 | 0.0066556 | 0.0016681
15 | 0.0029139 | 0.00073028
16 | 0.0028711 | 0.00071956
17 | 0.0028264 | 0.00070836
18 | 0.017561 | 0.0044012
19 | 0.018035 | 0.0045201
20 | 0.0035653 | 0.00089356
21 | 0.0055923 | 0.0014016
22 | 0.0035781 | 0.00089677
23 | 0.0025692 | 0.00064391
24 | 0.0049277 | 0.001235
25 | 0.0050431 | 0.0012639
26 | 0.0033077 | 0.00082899
27 | 0.0041391 | 0.0010374
28 | 0.0012575 | 0.00031516
29 | 0.0046941 | 0.0011764
30 | 0.024965 | 0.0062568
31 | 0.001874 | 0.00046966
32 | 0.0027975 | 0.00070111
33 | 0.0024617 | 0.00061697
34 | 0.0022996 | 0.00057633
35 | 0.0038669 | 0.00096913
36 | 0.0031637 | 0.0007929
37 | 0.004596 | 0.0011519
38 | 0.0024964 | 0.00062565
39 | 0.0035629 | 0.00089296
40 | 0.012152 | 0.0030455
41 | 0.0042677 | 0.0010696
42 | 0.002806 | 0.00070325
43 | 0.010854 | 0.0027203
44 | 0.0080409 | 0.0020152
45 | 0.019236 | 0.004821
46 | 0.004558 | 0.0011424
47 | 0.004207 | 0.0010544
48 | 0.0045027 | 0.0011285
49 | 0.0042854 | 0.001074
50 | 0.0055543 | 0.001392
51 | 0.0037285 | 0.00093446
52 | 0.0028882 | 0.00072386
53 | 0.012395 | 0.0031065
54 | 0.004484 | 0.0011238
55 | 0.01415 | 0.0035463
56 | 0.011417 | 0.0028613
57 | 0.0024454 | 0.00061286
58 | 0.0032852 | 0.00082334
59 | 0.03603 | 0.0090301
60 | 0.0017708 | 0.00044379
61 | 0.0016367 | 0.00041021
62 | 0.0032942 | 0.0008256
63 | 0.0037457 | 0.00093876
64 | 0.0066342 | 0.0016627

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1