## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-140_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-140_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-140_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-140_0_4_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_2701-140_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_2701-140_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2701-140_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2701-140_0_4_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2701-140_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_2701-140_0_4_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2701-140_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2701-140_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_2701-140_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_2701-140_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2701-140_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2701-140_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2701-140_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-140_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2701-140_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_2701-140_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-140_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-140_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-140_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-140_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-140_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2701-140_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2701-140_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2701-140_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2701-140_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2701-140_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2701-140_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2701-140_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2701-140_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2701-140_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2701-140_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2701-140_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2701-140_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2701-140_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-140_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2701-140_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_MV_562_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-140_0_4_load_0 | 0 | 0.01381 | 0.003461 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-140_0_4_load_40 | 3 | 0.010503 | 0.0026322 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-140_0_4_load_9 | 4 | 0.0073279 | 0.0018366 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-140_0_4_load_38 | 7 | 0.0095735 | 0.0023993 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-140_0_4_load_35 | 8 | 0.0073387 | 0.0018392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-140_0_4_load_19 | 9 | 0.0082367 | 0.0020643 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-140_0_4_load_7 | 10 | 0.0079368 | 0.0019891 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-140_0_4_load_36 | 11 | 0.007318 | 0.0018341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-140_0_4_load_17 | 12 | 0.018591 | 0.0046592 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-140_0_4_load_5 | 13 | 0.0074459 | 0.0018661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-140_0_4_load_6 | 14 | 0.020782 | 0.0052086 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-140_0_4_load_8 | 15 | 0.035526 | 0.0089037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-140_0_4_load_10 | 16 | 0.0091177 | 0.0022851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-140_0_4_load_16 | 17 | 0.0039444 | 0.00098857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-140_0_4_load_34 | 18 | 0.01887 | 0.0047294 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-140_0_4_load_11 | 19 | 0.0079917 | 0.0020029 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-140_0_4_load_12 | 20 | 0.0066666 | 0.0016708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-140_0_4_load_13 | 21 | 0.0069892 | 0.0017517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-140_0_4_load_14 | 22 | 0.011256 | 0.0028209 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-140_0_4_load_15 | 23 | 0.0082246 | 0.0020613 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-140_0_4_load_25 | 24 | 0.0068518 | 0.0017172 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-140_0_4_load_23 | 25 | 0.018721 | 0.0046918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-140_0_4_load_18 | 26 | 0.016245 | 0.0040715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-140_0_4_load_28 | 30 | 0.0086479 | 0.0021674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-140_0_4_load_39 | 31 | 0.046342 | 0.011614 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-140_0_4_load_22 | 32 | 0.013137 | 0.0032924 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-140_0_4_load_24 | 33 | 0.0068059 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-140_0_4_load_26 | 34 | 0.0077262 | 0.0019364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-140_0_4_load_32 | 35 | 0.010494 | 0.0026301 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-140_0_4_load_31 | 36 | 0.0077808 | 0.0019501 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-140_0_4_load_27 | 37 | 0.0076331 | 0.001913 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-140_0_4_load_29 | 38 | 0.005815 | 0.0014574 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-140_0_4_load_37 | 39 | 0.0073553 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-140_0_4_line_0 |  | 0 | 1 | 0.0093807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-140_0_4_line_1 |  | 1 | 2 | 0.006178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-140_0_4_line_2 |  | 2 | 3 | 0.0086462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-140_0_4_line_3 |  | 2 | 4 | 0.018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-140_0_4_line_4 |  | 3 | 7 | 0.0050483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-140_0_4_line_5 |  | 4 | 10 | 0.0093951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-140_0_4_line_6 |  | 5 | 6 | 0.007446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-140_0_4_line_7 |  | 5 | 7 | 0.0077229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-140_0_4_line_8 |  | 5 | 8 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-140_0_4_line_9 |  | 6 | 9 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-140_0_4_line_10 |  | 8 | 11 | 0.0095976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-140_0_4_line_11 |  | 9 | 12 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-140_0_4_line_12 |  | 10 | 13 | 0.0049009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-140_0_4_line_13 |  | 11 | 39 | 0.0096064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-140_0_4_line_14 |  | 12 | 26 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2701-140_0_4_line_15 |  | 13 | 14 | 0.012593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-140_0_4_line_16 |  | 14 | 15 | 0.015801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-140_0_4_line_17 |  | 15 | 16 | 0.0051386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-140_0_4_line_18 |  | 16 | 17 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-140_0_4_line_19 |  | 17 | 18 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-140_0_4_line_20 |  | 19 | 20 | 0.0030223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-140_0_4_line_21 |  | 19 | 21 | 0.0053648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-140_0_4_line_22 |  | 20 | 22 | 0.00015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-140_0_4_line_23 |  | 21 | 23 | 0.0022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-140_0_4_line_24 |  | 23 | 24 | 0.0094562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-140_0_4_line_25 |  | 24 | 25 | 0.0016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-140_0_4_line_26 |  | 25 | 32 | 0.0022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-140_0_4_line_27 |  | 26 | 27 | 0.0029965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-140_0_4_line_28 |  | 27 | 28 | 0.007067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2701-140_0_4_line_29 |  | 28 | 31 | 0.008205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-140_0_4_line_30 |  | 28 | 29 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-140_0_4_line_31 |  | 29 | 30 | 0.01452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-140_0_4_line_32 |  | 30 | 37 | 0.0092446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-140_0_4_line_33 |  | 32 | 33 | 0.0057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-140_0_4_line_34 |  | 33 | 34 | 0.0055065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-140_0_4_line_35 |  | 34 | 35 | 0.0046655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-140_0_4_line_36 |  | 35 | 36 | 0.0049544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-140_0_4_line_37 |  | 36 | 38 | 0.0050366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-140_0_4_line_38 |  | 37 | 38 | 0.0039329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-140_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 40 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2610849.7689 | 1267062.3874 | 2610854.9277 | 1267070.2222
1 | 2610846.5268 | 1267057.1223 | 2610849.7689 | 1267062.3874
2 | 2610846.5268 | 1267057.1223 | 2610843.6374 | 1267052.4137 | 2610841.8704 | 1267049.8401
3 | 2610846.5268 | 1267057.1223 | 2610864.5082 | 1267052.9255
4 | 2610839.013 | 1267045.6784 | 2610841.8704 | 1267049.8401
5 | 2610864.5082 | 1267052.9255 | 2610873.6573 | 1267050.7901
6 | 2610832.5996 | 1267049.9808 | 2610826.4048 | 1267054.1391
7 | 2610832.5996 | 1267049.9808 | 2610839.013 | 1267045.6784
8 | 2610832.5996 | 1267049.9808 | 2610824.301 | 1267037.4997
9 | 2610826.4048 | 1267054.1391 | 2610817.5964 | 1267040.709
10 | 2610824.301 | 1267037.4997 | 2610818.9871 | 1267029.5075
11 | 2610817.5964 | 1267040.709 | 2610807.4871 | 1267025.2952
12 | 2610878.43 | 1267049.6762 | 2610873.6573 | 1267050.7901
13 | 2610818.9871 | 1267029.5075 | 2610813.6682 | 1267021.5079
14 | 2610794.9153 | 1267006.127 | 2610807.4871 | 1267025.2952
15 | 2610878.43 | 1267049.6762 | 2610890.6938 | 1267046.8139
16 | 2610890.6938 | 1267046.8139 | 2610906.0811 | 1267043.2225
17 | 2610911.0852 | 1267042.0546 | 2610906.0811 | 1267043.2225
18 | 2610911.0852 | 1267042.0546 | 2610925.2089 | 1267038.7582
19 | 2610939.5767 | 1267035.4048 | 2610925.2089 | 1267038.7582
20 | 2610863.833 | 1266944.8018 | 2610866.3651 | 1266943.1516
21 | 2610859.3384 | 1266947.7308 | 2610863.833 | 1266944.8018
22 | 2610866.494 | 1266943.0676 | 2610866.3651 | 1266943.1516
23 | 2610859.3384 | 1266947.7308 | 2610857.4575 | 1266948.9566
24 | 2610849.5352 | 1266954.1195 | 2610857.4575 | 1266948.9566
25 | 2610848.1219 | 1266955.0405 | 2610849.5352 | 1266954.1195
26 | 2610848.1219 | 1266955.0405 | 2610846.2433 | 1266956.2649
27 | 2610793.2719 | 1267003.6213 | 2610794.9153 | 1267006.127
28 | 2610799.1128 | 1266999.618 | 2610793.2719 | 1267003.6213
29 | 2610799.1128 | 1266999.618 | 2610805.8957 | 1266994.9716
30 | 2610799.1128 | 1266999.618 | 2610793.9257 | 1266991.8143 | 2610793.1825 | 1266990.701 | 2610801.3515 | 1266985.4789
31 | 2610801.3515 | 1266985.4789 | 2610804.818 | 1266983.2614 | 2610813.5353 | 1266977.5804
32 | 2610813.5353 | 1266977.5804 | 2610821.2804 | 1266972.5329
33 | 2610841.4678 | 1266959.377 | 2610846.2433 | 1266956.2649
34 | 2610841.4678 | 1266959.377 | 2610836.8545 | 1266962.3834
35 | 2610832.9458 | 1266964.9307 | 2610836.8545 | 1266962.3834
36 | 2610828.795 | 1266967.6358 | 2610832.9458 | 1266964.9307
37 | 2610828.795 | 1266967.6358 | 2610824.5754 | 1266970.3857
38 | 2610824.5754 | 1266970.3857 | 2610821.2804 | 1266972.5329

## bus_geodata
| x | y | coords
0 | 2610854.9277 | 1267070.2222
1 | 2610849.7689 | 1267062.3874
2 | 2610846.5268 | 1267057.1223
3 | 2610841.8704 | 1267049.8401
4 | 2610864.5082 | 1267052.9255
5 | 2610832.5996 | 1267049.9808
6 | 2610826.4048 | 1267054.1391
7 | 2610839.013 | 1267045.6784
8 | 2610824.301 | 1267037.4997
9 | 2610817.5964 | 1267040.709
10 | 2610873.6573 | 1267050.7901
11 | 2610818.9871 | 1267029.5075
12 | 2610807.4871 | 1267025.2952
13 | 2610878.43 | 1267049.6762
14 | 2610890.6938 | 1267046.8139
15 | 2610906.0811 | 1267043.2225
16 | 2610911.0852 | 1267042.0546
17 | 2610925.209 | 1267038.7582
18 | 2610939.5767 | 1267035.4048
19 | 2610863.833 | 1266944.8018
20 | 2610866.3651 | 1266943.1516
21 | 2610859.3384 | 1266947.7308
22 | 2610866.494 | 1266943.0676
23 | 2610857.4575 | 1266948.9566
24 | 2610849.5352 | 1266954.1195
25 | 2610848.1219 | 1266955.0405
26 | 2610794.9153 | 1267006.127
27 | 2610793.2719 | 1267003.6213
28 | 2610799.1128 | 1266999.618
29 | 2610801.3515 | 1266985.4789
30 | 2610813.5353 | 1266977.5804
31 | 2610805.8957 | 1266994.9716
32 | 2610846.2433 | 1266956.2649
33 | 2610841.4678 | 1266959.377
34 | 2610836.8545 | 1266962.3834
35 | 2610832.9458 | 1266964.9307
36 | 2610828.795 | 1266967.6358
37 | 2610821.2804 | 1266972.5329
38 | 2610824.5754 | 1266970.3857
39 | 2610813.6682 | 1267021.5079
40 | 2610832.5996 | 1267049.9808

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99489 | -0.097815 | 0.01381 | 0.003461
1 | 0.995 | -0.095534 | 0 | 0
2 | 0.99508 | -0.094033 | 0 | 0
3 | 0.99607 | -0.075063 | 0.010503 | 0.0026322
4 | 0.99321 | -0.13016 | 0.0073279 | 0.0018366
5 | 0.99721 | -0.053267 | 0 | 0
6 | 0.99669 | -0.063023 | 0 | 0
7 | 0.99669 | -0.063075 | 0.0095735 | 0.0023993
8 | 0.9989 | -0.021008 | 0.0073387 | 0.0018392
9 | 0.99559 | -0.084103 | 0.0082367 | 0.0020643
10 | 0.99231 | -0.14738 | 0.0079368 | 0.0019891
11 | 1 | 0 | -0.38896 | -0.098474
12 | 0.99437 | -0.10746 | 0.018591 | 0.0046592
13 | 0.99188 | -0.15568 | 0.0074459 | 0.0018661
14 | 0.99087 | -0.17539 | 0.020782 | 0.0052086
15 | 0.98989 | -0.19433 | 0.035526 | 0.0089037
16 | 0.98974 | -0.19725 | 0.0091177 | 0.0022851
17 | 0.98944 | -0.20314 | 0.0039444 | 0.00098857
18 | 0.98918 | -0.2081 | 0.01887 | 0.0047294
19 | 0.98336 | -0.3206 | 0.0079917 | 0.0020029
20 | 0.98331 | -0.32158 | 0.0066666 | 0.0016708
21 | 0.98349 | -0.31809 | 0.0069892 | 0.0017517
22 | 0.98331 | -0.32161 | 0.011256 | 0.0028209
23 | 0.98356 | -0.31676 | 0.0082246 | 0.0020613
24 | 0.98392 | -0.30976 | 0.0068518 | 0.0017172
25 | 0.98399 | -0.3083 | 0.018721 | 0.0046918
26 | 0.99299 | -0.13408 | 0.016245 | 0.0040715
27 | 0.99282 | -0.13727 | 0 | 0
28 | 0.99223 | -0.1486 | 0 | 0
29 | 0.9897 | -0.19739 | 0 | 0
30 | 0.9879 | -0.23227 | 0.0086479 | 0.0021674
31 | 0.99188 | -0.15533 | 0.046342 | 0.011614
32 | 0.98413 | -0.30561 | 0.013137 | 0.0032924
33 | 0.98455 | -0.29742 | 0.0068059 | 0.0017057
34 | 0.98499 | -0.28885 | 0.0077262 | 0.0019364
35 | 0.98539 | -0.28094 | 0.010494 | 0.0026301
36 | 0.98587 | -0.27162 | 0.0077808 | 0.0019501
37 | 0.98682 | -0.25311 | 0.0076331 | 0.001913
38 | 0.98639 | -0.26145 | 0.005815 | 0.0014574
39 | 0.99994 | -0.0012316 | 0.0073553 | 0.0018434
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01381 | -0.003461 | 0.013811 | 0.0034618 | 1.5007e-06 | 8.3862e-07 | 0.020654 | 0.020654 | 0.020654 | 0.99489 | -0.097815 | 0.995 | -0.095534 | 5.6743
1 | -0.013811 | -0.0034618 | 0.013812 | 0.0034624 | 9.8834e-07 | 5.5229e-07 | 0.020654 | 0.020654 | 0.020654 | 0.995 | -0.095534 | 0.99508 | -0.094033 | 5.6743
2 | -0.12524 | -0.031572 | 0.12535 | 0.031645 | 0.0001138 | 7.2719e-05 | 0.18734 | 0.18734 | 0.18734 | 0.99508 | -0.094033 | 0.99607 | -0.075063 | 51.4682
3 | 0.11143 | 0.02811 | -0.11123 | -0.027987 | 0.00019239 | 0.00012289 | 0.16669 | 0.16669 | 0.16669 | 0.99508 | -0.094033 | 0.99321 | -0.13016 | 45.7939
4 | -0.13586 | -0.034277 | 0.13593 | 0.034327 | 7.8039e-05 | 4.9879e-05 | 0.20303 | 0.20303 | 0.20303 | 0.99607 | -0.075063 | 0.99669 | -0.063075 | 55.7786
5 | 0.10391 | 0.026151 | -0.10382 | -0.026096 | 8.5422e-05 | 5.4549e-05 | 0.15571 | 0.15571 | 0.15571 | 0.99321 | -0.13016 | 0.99231 | -0.14738 | 42.7778
6 | 0.22608 | 0.057407 | -0.22597 | -0.057339 | 0.00010609 | 6.7608e-05 | 0.33762 | 0.33762 | 0.33762 | 0.99721 | -0.053267 | 0.99669 | -0.063023 | 30.9174
7 | 0.14558 | 0.03677 | -0.14551 | -0.036727 | 6.8392e-05 | 4.357e-05 | 0.21733 | 0.21733 | 0.21733 | 0.99721 | -0.053267 | 0.99669 | -0.063075 | 29.8526
8 | -0.37166 | -0.094177 | 0.37223 | 0.094546 | 0.00057697 | 0.00036868 | 0.55494 | 0.55494 | 0.55494 | 0.99721 | -0.053267 | 0.9989 | -0.021008 | 50.8191
9 | 0.22597 | 0.057339 | -0.22575 | -0.057193 | 0.00022884 | 0.00014583 | 0.33762 | 0.33762 | 0.33762 | 0.99669 | -0.063023 | 0.99559 | -0.084103 | 30.9174
10 | -0.37957 | -0.096385 | 0.37996 | 0.09663 | 0.00038416 | 0.00024549 | 0.56588 | 0.56588 | 0.56588 | 0.9989 | -0.021008 | 1 | 0 | 51.8202
11 | 0.21751 | 0.055129 | -0.21726 | -0.054974 | 0.00024384 | 0.00015534 | 0.32531 | 0.32531 | 0.32531 | 0.99559 | -0.084103 | 0.99437 | -0.10746 | 29.7901
12 | 0.095885 | 0.024107 | -0.095847 | -0.024083 | 3.8009e-05 | 2.4263e-05 | 0.14381 | 0.14381 | 0.14381 | 0.99231 | -0.14738 | 0.99188 | -0.15568 | 39.5082
13 | 0.0073557 | 0.0018436 | -0.0073553 | -0.0018434 | 4.3158e-07 | 1.5019e-07 | 0.010945 | 0.010945 | 0.010945 | 1 | 0 | 0.99994 | -0.0012316 | 3.007
14 | 0.19867 | 0.050314 | -0.19842 | -0.050153 | 0.00025358 | 0.0001614 | 0.29749 | 0.29749 | 0.29749 | 0.99437 | -0.10746 | 0.99299 | -0.13408 | 27.2426
15 | 0.088401 | 0.022217 | -0.088318 | -0.022164 | 8.3084e-05 | 5.3012e-05 | 0.13264 | 0.13264 | 0.13264 | 0.99188 | -0.15568 | 0.99087 | -0.17539 | 36.4395
16 | 0.067535 | 0.016955 | -0.067474 | -0.016916 | 6.096e-05 | 3.8811e-05 | 0.10143 | 0.10143 | 0.10143 | 0.99087 | -0.17539 | 0.98989 | -0.19433 | 27.8654
17 | 0.031948 | 0.0080124 | -0.031943 | -0.0080096 | 4.4446e-06 | 2.7785e-06 | 0.048026 | 0.048026 | 0.048026 | 0.98989 | -0.19433 | 0.98974 | -0.19725 | 13.1941
18 | 0.022826 | 0.0057245 | -0.022819 | -0.0057206 | 6.4055e-06 | 3.9132e-06 | 0.034318 | 0.034318 | 0.034318 | 0.98974 | -0.19725 | 0.98944 | -0.20314 | 9.4282
19 | 0.018875 | 0.004732 | -0.01887 | -0.0047294 | 4.4582e-06 | 2.6638e-06 | 0.028386 | 0.028386 | 0.028386 | 0.98944 | -0.20314 | 0.98918 | -0.2081 | 7.7985
20 | 0.017923 | 0.0044922 | -0.017922 | -0.0044917 | 8.3367e-07 | 4.9521e-07 | 0.027121 | 0.027121 | 0.027121 | 0.98336 | -0.3206 | 0.98331 | -0.32158 | 7.4509
21 | -0.025915 | -0.0064951 | 0.025918 | 0.0064971 | 3.0936e-06 | 1.9119e-06 | 0.039214 | 0.039214 | 0.039214 | 0.98336 | -0.3206 | 0.98349 | -0.31809 | 10.7731
22 | 0.011256 | 0.0028209 | -0.011256 | -0.0028209 | 1.6738e-08 | 8.7608e-09 | 0.017033 | 0.017033 | 0.017033 | 0.98331 | -0.32158 | 0.98331 | -0.32161 | 4.6793
23 | -0.032907 | -0.0082487 | 0.032909 | 0.00825 | 2.087e-06 | 1.3072e-06 | 0.049789 | 0.049789 | 0.049789 | 0.98349 | -0.31809 | 0.98356 | -0.31676 | 13.6782
24 | -0.041134 | -0.010311 | 0.041147 | 0.01032 | 1.3733e-05 | 8.6692e-06 | 0.062232 | 0.062232 | 0.062232 | 0.98356 | -0.31676 | 0.98392 | -0.30976 | 17.0966
25 | -0.047999 | -0.012037 | 0.048003 | 0.012039 | 3.3335e-06 | 2.112e-06 | 0.072594 | 0.072594 | 0.072594 | 0.98392 | -0.30976 | 0.98399 | -0.3083 | 19.9434
26 | -0.066723 | -0.016731 | 0.066732 | 0.016737 | 8.5618e-06 | 5.451e-06 | 0.1009 | 0.1009 | 0.1009 | 0.98399 | -0.3083 | 0.98413 | -0.30561 | 27.7208
27 | 0.18218 | 0.046081 | -0.18215 | -0.046064 | 2.7945e-05 | 1.7769e-05 | 0.27314 | 0.27314 | 0.27314 | 0.99299 | -0.13408 | 0.99282 | -0.13727 | 25.0132
28 | 0.18215 | 0.046064 | -0.18205 | -0.046001 | 9.886e-05 | 6.3088e-05 | 0.27314 | 0.27314 | 0.27314 | 0.99282 | -0.13727 | 0.99223 | -0.1486 | 37.5199
29 | 0.046356 | 0.011624 | -0.046342 | -0.011614 | 1.4871e-05 | 9.4116e-06 | 0.069521 | 0.069521 | 0.069521 | 0.99223 | -0.1486 | 0.99188 | -0.15533 | 19.0992
30 | 0.13569 | 0.034377 | -0.13537 | -0.034174 | 0.00031726 | 0.00020278 | 0.20362 | 0.20362 | 0.20362 | 0.99223 | -0.1486 | 0.9897 | -0.19739 | 55.9406
31 | 0.13537 | 0.034174 | -0.13515 | -0.03403 | 0.00022577 | 0.0001443 | 0.20362 | 0.20362 | 0.20362 | 0.9897 | -0.19739 | 0.9879 | -0.23227 | 55.9406
32 | 0.1265 | 0.031862 | -0.12637 | -0.031782 | 0.00012594 | 8.0482e-05 | 0.1906 | 0.1906 | 0.1906 | 0.9879 | -0.23227 | 0.98682 | -0.25311 | 52.3621
33 | -0.079869 | -0.020029 | 0.0799 | 0.020049 | 3.1175e-05 | 1.9879e-05 | 0.12077 | 0.12077 | 0.12077 | 0.98413 | -0.30561 | 0.98455 | -0.29742 | 33.1777
34 | -0.086706 | -0.021755 | 0.086741 | 0.021777 | 3.5465e-05 | 2.2627e-05 | 0.13105 | 0.13105 | 0.13105 | 0.98455 | -0.29742 | 0.98499 | -0.28885 | 36.0036
35 | -0.094467 | -0.023714 | 0.094503 | 0.023736 | 3.564e-05 | 2.275e-05 | 0.14272 | 0.14272 | 0.14272 | 0.98499 | -0.28885 | 0.98539 | -0.28094 | 39.2101
36 | -0.105 | -0.026366 | 0.10504 | 0.026396 | 4.6717e-05 | 2.9836e-05 | 0.15857 | 0.15857 | 0.15857 | 0.98539 | -0.28094 | 0.98587 | -0.27162 | 43.5638
37 | -0.11282 | -0.028346 | 0.11288 | 0.028381 | 5.4787e-05 | 3.4999e-05 | 0.17032 | 0.17032 | 0.17032 | 0.98587 | -0.27162 | 0.98639 | -0.26145 | 46.7901
38 | 0.11874 | 0.029869 | -0.11869 | -0.029839 | 4.7302e-05 | 3.0223e-05 | 0.17909 | 0.17909 | 0.17909 | 0.98682 | -0.25311 | 0.98639 | -0.26145 | 49.2

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39628 | 0.10031

## res_load
| p_mw | q_mvar
0 | 0.01381 | 0.003461
1 | 0.010503 | 0.0026322
2 | 0.0073279 | 0.0018366
3 | 0.0095735 | 0.0023993
4 | 0.0073387 | 0.0018392
5 | 0.0082367 | 0.0020643
6 | 0.0079368 | 0.0019891
7 | 0.007318 | 0.0018341
8 | 0.018591 | 0.0046592
9 | 0.0074459 | 0.0018661
10 | 0.020782 | 0.0052086
11 | 0.035526 | 0.0089037
12 | 0.0091177 | 0.0022851
13 | 0.0039444 | 0.00098857
14 | 0.01887 | 0.0047294
15 | 0.0079917 | 0.0020029
16 | 0.0066666 | 0.0016708
17 | 0.0069892 | 0.0017517
18 | 0.011256 | 0.0028209
19 | 0.0082246 | 0.0020613
20 | 0.0068518 | 0.0017172
21 | 0.018721 | 0.0046918
22 | 0.016245 | 0.0040715
23 | 0.0086479 | 0.0021674
24 | 0.046342 | 0.011614
25 | 0.013137 | 0.0032924
26 | 0.0068059 | 0.0017057
27 | 0.0077262 | 0.0019364
28 | 0.010494 | 0.0026301
29 | 0.0077808 | 0.0019501
30 | 0.0076331 | 0.001913
31 | 0.005815 | 0.0014574
32 | 0.0073553 | 0.0018434

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1