## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-141_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-141_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-141_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-141_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-141_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-141_0_6_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_2701-141_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2701-141_0_6_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_2701-141_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2701-141_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-141_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-141_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2701-141_0_6_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2701-141_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2701-141_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_2701-141_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2701-141_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2701-141_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-141_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2701-141_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2701-141_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2701-141_0_6_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_2701-141_0_6_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_2701-141_0_6_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_2701-141_0_6_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_2701-141_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2701-141_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-141_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2701-141_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2701-141_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2701-141_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2701-141_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2701-141_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2701-141_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2701-141_0_6_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2701-141_0_6_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2701-141_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2701-141_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2701-141_0_6_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_2701-141_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2701-141_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2701-141_0_6_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_2701-141_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2701-141_0_6_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_2701-141_0_6_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_2701-141_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2701-141_0_6_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_2701-141_0_6_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2701-141_0_6_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_2701-141_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_2701-141_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2701-141_0_6_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_2701-141_0_6_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_2701-141_0_6_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_2701-141_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_2701-141_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_2701-141_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_2701-141_0_6_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_2701-141_0_6_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_2701-141_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2701-141_0_6_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_2701-141_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_2701-141_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2701-141_0_6_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_2701-141_0_6_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2701-141_0_6_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_2701-141_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_2701-141_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_2701-141_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_2701-141_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_2701-141_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_2701-141_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2701-141_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2701-141_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_2701-141_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_2701-141_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2701-141_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_2701-141_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_2701-141_0_6_node_76 | 0.4 | n |  | TRUE
79 | bus_MV_560_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-141_0_6_load_0 | 0 | 0.0060662 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-141_0_6_load_1 | 1 | 0.010079 | 0.0025262 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-141_0_6_load_2 | 2 | 0.0065653 | 0.0016454 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-141_0_6_load_3 | 3 | 0.005084 | 0.0012742 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-141_0_6_load_4 | 4 | 0.011073 | 0.0027752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-141_0_6_load_29 | 5 | 0.0047751 | 0.0011967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-141_0_6_load_30 | 7 | 0.0044529 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-141_0_6_load_9 | 8 | 0.0064226 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-141_0_6_load_5 | 9 | 0.0057665 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-141_0_6_load_6 | 10 | 0.0043304 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-141_0_6_load_8 | 11 | 0.010235 | 0.002565 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-141_0_6_load_20 | 12 | 0.0052498 | 0.0013157 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-141_0_6_load_26 | 13 | 0.0036006 | 0.00090239 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-141_0_6_load_19 | 14 | 0.013055 | 0.0032719 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-141_0_6_load_27 | 15 | 0.0040953 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-141_0_6_load_10 | 16 | 0.011445 | 0.0028685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-141_0_6_load_11 | 17 | 0.0044425 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-141_0_6_load_12 | 18 | 0.024171 | 0.0060579 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-141_0_6_load_14 | 20 | 0.0069546 | 0.001743 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-141_0_6_load_45 | 22 | 0.0053347 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-141_0_6_load_52 | 23 | 0.011592 | 0.0029053 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-141_0_6_load_63 | 24 | 0.008409 | 0.0021075 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-141_0_6_load_15 | 25 | 0.0037434 | 0.00093817 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-141_0_6_load_16 | 26 | 0.0081456 | 0.0020415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-141_0_6_load_17 | 27 | 0.0066554 | 0.001668 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-141_0_6_load_18 | 28 | 0.0083942 | 0.0021038 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-141_0_6_load_21 | 29 | 0.0061491 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-141_0_6_load_22 | 30 | 0.0049173 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-141_0_6_load_23 | 31 | 0.0096343 | 0.0024146 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-141_0_6_load_24 | 32 | 0.0061041 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-141_0_6_load_25 | 33 | 0.0083333 | 0.0020885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-141_0_6_load_44 | 34 | 0.0091927 | 0.0023039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-141_0_6_load_41 | 35 | 0.0046652 | 0.0011692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-141_0_6_load_47 | 37 | 0.028149 | 0.0070548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-141_0_6_load_46 | 38 | 0.022119 | 0.0055436 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-141_0_6_load_54 | 41 | 0.0056443 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-141_0_6_load_79 | 43 | 0.0045296 | 0.0011352 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-141_0_6_load_81 | 44 | 0.0045977 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-141_0_6_load_56 | 46 | 0.0037393 | 0.00093715 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-141_0_6_load_59 | 47 | 0.0060755 | 0.0015227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-141_0_6_load_55 | 48 | 0.006545 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-141_0_6_load_48 | 49 | 0.0098404 | 0.0024662 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-141_0_6_load_53 | 50 | 0.0027454 | 0.00068806 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-141_0_6_load_66 | 52 | 0.0084519 | 0.0021182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-141_0_6_load_64 | 53 | 0.0073665 | 0.0018462 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-141_0_6_load_77 | 54 | 0.0057265 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-141_0_6_load_75 | 55 | 0.0089864 | 0.0022522 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-141_0_6_load_57 | 58 | 0.0052735 | 0.0013217 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-141_0_6_load_38 | 59 | 0.017816 | 0.0044652 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-141_0_6_load_39 | 60 | 0.0077911 | 0.0019526 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-141_0_6_load_43 | 62 | 0.0089651 | 0.0022469 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-141_0_6_load_73 | 63 | 0.0047086 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-141_0_6_load_67 | 64 | 0.0079898 | 0.0020024 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-141_0_6_load_71 | 65 | 0.0033736 | 0.00084551 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-141_0_6_load_51 | 66 | 0.0080751 | 0.0020238 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-141_0_6_load_49 | 67 | 0.018 | 0.0045111 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-141_0_6_load_50 | 68 | 0.0055862 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-141_0_6_load_58 | 69 | 0.0030592 | 0.0007667 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-141_0_6_load_60 | 70 | 0.0040272 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-141_0_6_load_61 | 71 | 0.0030153 | 0.00075572 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-141_0_6_load_62 | 72 | 0.002888 | 0.00072379 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-141_0_6_load_68 | 73 | 0.024465 | 0.0061316 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-141_0_6_load_69 | 74 | 0.013433 | 0.0033667 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-141_0_6_load_70 | 75 | 0.0047244 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-141_0_6_load_72 | 76 | 0.01196 | 0.0029976 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-141_0_6_load_74 | 77 | 0.017584 | 0.004407 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-141_0_6_load_76 | 78 | 0.0063677 | 0.0015959 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-141_0_6_line_0 |  | 0 | 1 | 0.002347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2701-141_0_6_line_1 |  | 0 | 2 | 0.0066763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2701-141_0_6_line_2 |  | 1 | 3 | 0.0087385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-141_0_6_line_3 |  | 2 | 4 | 0.0093075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2701-141_0_6_line_4 |  | 3 | 5 | 0.0049923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-141_0_6_line_5 |  | 4 | 6 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-141_0_6_line_6 |  | 5 | 7 | 0.0052952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-141_0_6_line_7 |  | 6 | 8 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-141_0_6_line_8 |  | 6 | 9 | 0.011179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-141_0_6_line_9 |  | 7 | 19 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-141_0_6_line_10 |  | 8 | 13 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-141_0_6_line_11 |  | 9 | 10 | 0.0043532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-141_0_6_line_12 |  | 10 | 11 | 0.0016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2701-141_0_6_line_13 |  | 11 | 12 | 0.004678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2701-141_0_6_line_14 |  | 12 | 14 | 0.0037373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2701-141_0_6_line_15 |  | 13 | 15 | 0.0035206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-141_0_6_line_16 |  | 14 | 27 | 0.0067395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2701-141_0_6_line_17 |  | 16 | 17 | 0.0056018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2701-141_0_6_line_18 |  | 16 | 18 | 0.0055661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2701-141_0_6_line_19 |  | 17 | 19 | 0.0076238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-141_0_6_line_20 |  | 18 | 20 | 0.017232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-141_0_6_line_21 |  | 20 | 21 | 0.0069382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-141_0_6_line_22 |  | 21 | 24 | 0.005901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-141_0_6_line_23 |  | 22 | 23 | 0.0012181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-141_0_6_line_24 |  | 23 | 66 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-141_0_6_line_25 |  | 24 | 64 | 4.3355e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-141_0_6_line_26 |  | 25 | 26 | 0.001397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2701-141_0_6_line_27 |  | 25 | 27 | 0.004645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-141_0_6_line_28 |  | 26 | 28 | 1.1208e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-141_0_6_line_29 |  | 28 | 29 | 0.0011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-141_0_6_line_30 |  | 29 | 30 | 0.0063547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2701-141_0_6_line_31 |  | 30 | 31 | 0.003979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-141_0_6_line_32 |  | 31 | 32 | 0.0037873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-141_0_6_line_33 |  | 32 | 33 | 0.0098568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-141_0_6_line_34 |  | 33 | 34 | 0.0016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-141_0_6_line_35 |  | 34 | 35 | 0.0074723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-141_0_6_line_36 |  | 35 | 60 | 0.0096195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-141_0_6_line_37 |  | 36 | 37 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-141_0_6_line_38 |  | 36 | 38 | 0.011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-141_0_6_line_39 |  | 37 | 49 | 0.009593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-141_0_6_line_40 |  | 39 | 40 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-141_0_6_line_41 |  | 39 | 41 | 0.035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-141_0_6_line_42 |  | 40 | 48 | 0.040337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-141_0_6_line_43 |  | 41 | 50 | 0.01414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-141_0_6_line_44 |  | 42 | 43 | 0.0016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-141_0_6_line_45 |  | 42 | 44 | 0.0048743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-141_0_6_line_46 |  | 43 | 56 | 0.02255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-141_0_6_line_47 |  | 44 | 57 | 0.0038105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-141_0_6_line_48 |  | 45 | 46 | 0.0011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-141_0_6_line_49 |  | 45 | 47 | 0.0050215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-141_0_6_line_50 |  | 46 | 48 | 0.005349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-141_0_6_line_51 |  | 47 | 58 | 0.005948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-141_0_6_line_52 |  | 49 | 67 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-141_0_6_line_53 |  | 50 | 66 | 0.00034003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-141_0_6_line_54 |  | 51 | 52 | 0.012825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-141_0_6_line_55 |  | 51 | 53 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-141_0_6_line_56 |  | 52 | 74 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-141_0_6_line_57 |  | 53 | 72 | 0.0080262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-141_0_6_line_58 |  | 54 | 55 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-141_0_6_line_59 |  | 55 | 78 | 0.0090046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-141_0_6_line_60 |  | 56 | 78 | 0.014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-141_0_6_line_61 |  | 56 | 77 | 0.014846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-141_0_6_line_62 |  | 57 | 68 | 0.0043518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-141_0_6_line_63 |  | 58 | 69 | 0.0028813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-141_0_6_line_64 |  | 59 | 60 | 0.0068344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2701-141_0_6_line_65 |  | 59 | 61 | 0.0070959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2701-141_0_6_line_66 |  | 61 | 62 | 0.010058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2701-141_0_6_line_67 |  | 62 | 63 | 2.9233e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2701-141_0_6_line_68 |  | 63 | 65 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2701-141_0_6_line_69 |  | 64 | 73 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-141_0_6_line_70 |  | 65 | 75 | 0.0030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2701-141_0_6_line_71 |  | 67 | 68 | 0.0091391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-141_0_6_line_72 |  | 69 | 70 | 0.0049648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-141_0_6_line_73 |  | 70 | 71 | 0.0040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-141_0_6_line_74 |  | 71 | 72 | 0.0036374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-141_0_6_line_75 |  | 73 | 74 | 0.0018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-141_0_6_line_76 |  | 75 | 76 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_2701-141_0_6_line_77 |  | 76 | 77 | 0.0023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-141_0_6_trafo_38 | 0.63 MVA 20/0.4 kV | 79 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2611149.9232 | 1267265.9604 | 2611147.8379 | 1267267.0373
1 | 2611149.9232 | 1267265.9604 | 2611155.8551 | 1267262.897
2 | 2611140.0736 | 1267271.047 | 2611147.8379 | 1267267.0373
3 | 2611164.125 | 1267258.6263 | 2611155.8551 | 1267262.897
4 | 2611140.0736 | 1267271.047 | 2611135.6379 | 1267273.3377
5 | 2611174.6101 | 1267253.2115 | 2611164.125 | 1267258.6263
6 | 2611135.6379 | 1267273.3377 | 2611130.933 | 1267275.7674
7 | 2611174.6101 | 1267253.2115 | 2611185.7127 | 1267246.5168
8 | 2611174.6101 | 1267253.2115 | 2611178.9302 | 1267263.5225
9 | 2611119.9274 | 1267281.4509 | 2611130.933 | 1267275.7674
10 | 2611185.7127 | 1267246.5168 | 2611189.7939 | 1267244.0559 | 2611194.562 | 1267240.6224
11 | 2611178.9302 | 1267263.5225 | 2611180.6125 | 1267267.5375
12 | 2611181.236 | 1267269.0258 | 2611180.6125 | 1267267.5375
13 | 2611181.236 | 1267269.0258 | 2611183.0438 | 1267273.3404
14 | 2611184.488 | 1267276.7874 | 2611183.0438 | 1267273.3404
15 | 2611197.419 | 1267238.5651 | 2611194.562 | 1267240.6224
16 | 2611184.488 | 1267276.7874 | 2611187.0924 | 1267283.0034
17 | 2611119.2377 | 1267294.6586 | 2611119.5298 | 1267289.0644
18 | 2611119.2377 | 1267294.6586 | 2611118.9474 | 1267300.2172
19 | 2611119.9274 | 1267281.4509 | 2611119.5298 | 1267289.0644
20 | 2611118.9474 | 1267300.2172 | 2611118.0487 | 1267317.4258
21 | 2611117.6869 | 1267324.3545 | 2611118.0487 | 1267317.4258
22 | 2611117.6869 | 1267324.3545 | 2611117.0708 | 1267327.8002 | 2611116.6509 | 1267330.1639
23 | 2611076.5916 | 1267302.2568 | 2611075.5301 | 1267302.8544
24 | 2611061.0089 | 1267311.0287 | 2611075.5301 | 1267302.8544
25 | 2611116.6509 | 1267330.1639 | 2611116.6433 | 1267330.2066
26 | 2611189.4272 | 1267288.576 | 2611188.8874 | 1267287.2875
27 | 2611187.0924 | 1267283.0034 | 2611188.8874 | 1267287.2875
28 | 2611189.4272 | 1267288.576 | 2611189.4316 | 1267288.5864 | 2611189.4316 | 1267288.5864
29 | 2611188.4141 | 1267289.0849 | 2611189.4316 | 1267288.5864
30 | 2611188.4141 | 1267289.0849 | 2611182.7074 | 1267291.8808
31 | 2611182.7074 | 1267291.8808 | 2611179.1343 | 1267293.6314
32 | 2611175.7332 | 1267295.2977 | 2611179.1343 | 1267293.6314
33 | 2611175.7332 | 1267295.2977 | 2611166.8817 | 1267299.6344
34 | 2611165.4277 | 1267300.3468 | 2611166.8817 | 1267299.6344
35 | 2611165.4277 | 1267300.3468 | 2611158.7175 | 1267303.6344
36 | 2611150.079 | 1267307.8667 | 2611158.7175 | 1267303.6344
37 | 2611229.757 | 1267330.047 | 2611225.7403 | 1267328.7162 | 2611221.5998 | 1267329.1309 | 2611218.2021 | 1267330.759 | 2611218.088 | 1267330.8504
38 | 2611229.757 | 1267330.047 | 2611231.4729 | 1267326.2142 | 2611235.2719 | 1267319.5026
39 | 2611210.5994 | 1267336.8459 | 2611218.088 | 1267330.8504
40 | 2611023.4493 | 1267342.0025 | 2611015.2394 | 1267349.1812
41 | 2611023.4493 | 1267342.0025 | 2611034.7292 | 1267327.2464 | 2611041.4603 | 1267322.0331 | 2611048.3911 | 1267318.1316
42 | 2611015.2394 | 1267349.1812 | 2611030.0878 | 1267350.1427 | 2611054.1788 | 1267358.3721
43 | 2611048.3911 | 1267318.1316 | 2611060.7126 | 1267311.1955
44 | 2611184.3149 | 1267355.7015 | 2611182.7411 | 1267356.2342
45 | 2611184.3149 | 1267355.7015 | 2611188.6449 | 1267353.4631
46 | 2611161.3815 | 1267363.4638 | 2611182.7411 | 1267356.2342
47 | 2611192.0298 | 1267351.7132 | 2611188.6449 | 1267353.4631
48 | 2611060.2959 | 1267360.4616 | 2611059.2406 | 1267360.1011
49 | 2611060.2959 | 1267360.4616 | 2611065.0224 | 1267362.1576
50 | 2611054.1788 | 1267358.3721 | 2611059.2406 | 1267360.1011
51 | 2611070.6209 | 1267364.1664 | 2611065.0224 | 1267362.1576
52 | 2611210.5994 | 1267336.8459 | 2611202.5612 | 1267343.2815
53 | 2611060.7126 | 1267311.1955 | 2611061.0089 | 1267311.0287
54 | 2611102.4097 | 1267375.5729 | 2611107.6855 | 1267363.8831
55 | 2611102.4097 | 1267375.5729 | 2611092.7585 | 1267372.1099
56 | 2611107.6855 | 1267363.8831 | 2611110.5724 | 1267357.4866 | 2611113.3054 | 1267348.9969 | 2611113.747 | 1267346.5111
57 | 2611092.7585 | 1267372.1099 | 2611085.2039 | 1267369.3991
58 | 2611139.1353 | 1267371.7283 | 2611129.5942 | 1267375.2728
59 | 2611139.1353 | 1267371.7283 | 2611147.5762 | 1267368.5925
60 | 2611161.3815 | 1267363.4638 | 2611147.5762 | 1267368.5925
61 | 2611161.3815 | 1267363.4638 | 2611158.7695 | 1267355.5867 | 2611156.7088 | 1267349.3726
62 | 2611192.0298 | 1267351.7132 | 2611195.4269 | 1267348.9934
63 | 2611070.6209 | 1267364.1664 | 2611073.3329 | 1267365.1396
64 | 2611143.9416 | 1267310.8736 | 2611150.079 | 1267307.8667
65 | 2611137.5694 | 1267313.9956 | 2611143.9416 | 1267310.8736
66 | 2611137.5694 | 1267313.9956 | 2611139.0548 | 1267316.6225 | 2611142.5189 | 1267322.7516
67 | 2611142.5332 | 1267322.777 | 2611142.5189 | 1267322.7516
68 | 2611148.6744 | 1267332.1862 | 2611144.8613 | 1267326.8961 | 2611142.5332 | 1267322.777
69 | 2611114.0762 | 1267344.6577 | 2611116.6433 | 1267330.2066
70 | 2611150.4288 | 1267334.6202 | 2611148.6744 | 1267332.1862
71 | 2611195.4269 | 1267348.9934 | 2611202.5612 | 1267343.2815
72 | 2611078.006 | 1267366.8164 | 2611073.3329 | 1267365.1396
73 | 2611078.006 | 1267366.8164 | 2611081.7803 | 1267368.1707
74 | 2611085.2039 | 1267369.3991 | 2611081.7803 | 1267368.1707
75 | 2611114.0762 | 1267344.6577 | 2611113.747 | 1267346.5111
76 | 2611150.4288 | 1267334.6202 | 2611152.9991 | 1267338.1859 | 2611155.9669 | 1267347.1356
77 | 2611156.7088 | 1267349.3726 | 2611155.9669 | 1267347.1356

## bus_geodata
| x | y | coords
0 | 2611149.9232 | 1267265.9604
1 | 2611147.8379 | 1267267.0373
2 | 2611155.8551 | 1267262.897
3 | 2611140.0736 | 1267271.047
4 | 2611164.125 | 1267258.6263
5 | 2611135.6379 | 1267273.3377
6 | 2611174.6101 | 1267253.2115
7 | 2611130.933 | 1267275.7674
8 | 2611185.7127 | 1267246.5168
9 | 2611178.9302 | 1267263.5225
10 | 2611180.6125 | 1267267.5375
11 | 2611181.236 | 1267269.0258
12 | 2611183.0438 | 1267273.3404
13 | 2611194.562 | 1267240.6224
14 | 2611184.488 | 1267276.7874
15 | 2611197.419 | 1267238.5651
16 | 2611119.2377 | 1267294.6586
17 | 2611119.5298 | 1267289.0644
18 | 2611118.9474 | 1267300.2172
19 | 2611119.9274 | 1267281.4509
20 | 2611118.0487 | 1267317.4258
21 | 2611117.6869 | 1267324.3545
22 | 2611076.5916 | 1267302.2568
23 | 2611075.5301 | 1267302.8544
24 | 2611116.6509 | 1267330.1639
25 | 2611188.8874 | 1267287.2875
26 | 2611189.4272 | 1267288.576
27 | 2611187.0924 | 1267283.0034
28 | 2611189.4316 | 1267288.5864
29 | 2611188.4141 | 1267289.0849
30 | 2611182.7074 | 1267291.8808
31 | 2611179.1343 | 1267293.6314
32 | 2611175.7332 | 1267295.2977
33 | 2611166.8817 | 1267299.6344
34 | 2611165.4277 | 1267300.3468
35 | 2611158.7175 | 1267303.6344
36 | 2611229.757 | 1267330.047
37 | 2611218.088 | 1267330.8504
38 | 2611235.2719 | 1267319.5026
39 | 2611023.4493 | 1267342.0025
40 | 2611015.2394 | 1267349.1812
41 | 2611048.3911 | 1267318.1316
42 | 2611184.3149 | 1267355.7015
43 | 2611182.7411 | 1267356.2342
44 | 2611188.6449 | 1267353.4631
45 | 2611060.2959 | 1267360.4616
46 | 2611059.2406 | 1267360.1011
47 | 2611065.0224 | 1267362.1576
48 | 2611054.1788 | 1267358.3721
49 | 2611210.5994 | 1267336.8459
50 | 2611060.7126 | 1267311.1955
51 | 2611102.4097 | 1267375.5729
52 | 2611107.6855 | 1267363.8831
53 | 2611092.7585 | 1267372.1099
54 | 2611129.5942 | 1267375.2728
55 | 2611139.1353 | 1267371.7283
56 | 2611161.3815 | 1267363.4638
57 | 2611192.0298 | 1267351.7132
58 | 2611070.6209 | 1267364.1664
59 | 2611143.9416 | 1267310.8736
60 | 2611150.079 | 1267307.8667
61 | 2611137.5694 | 1267313.9956
62 | 2611142.5189 | 1267322.7516
63 | 2611142.5332 | 1267322.777
64 | 2611116.6433 | 1267330.2066
65 | 2611148.6744 | 1267332.1862
66 | 2611061.0089 | 1267311.0287
67 | 2611202.5612 | 1267343.2815
68 | 2611195.4269 | 1267348.9934
69 | 2611073.3329 | 1267365.1396
70 | 2611078.006 | 1267366.8164
71 | 2611081.7803 | 1267368.1707
72 | 2611085.2039 | 1267369.3991
73 | 2611114.0762 | 1267344.6577
74 | 2611113.747 | 1267346.5111
75 | 2611150.4288 | 1267334.6202
76 | 2611155.9669 | 1267347.1356
77 | 2611156.7088 | 1267349.3726
78 | 2611147.5762 | 1267368.5925
79 | 2611137.5694 | 1267313.9956

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98954 | -0.19989 | 0.0060662 | 0.0015203
1 | 0.98939 | -0.20281 | 0.010079 | 0.0025262
2 | 0.98998 | -0.19136 | 0.0065653 | 0.0016454
3 | 0.98885 | -0.21316 | 0.005084 | 0.0012742
4 | 0.99062 | -0.17911 | 0.011073 | 0.0027752
5 | 0.98855 | -0.21893 | 0.0047751 | 0.0011967
6 | 0.99147 | -0.16282 | 0 | 0
7 | 0.98824 | -0.2249 | 0.0044529 | 0.001116
8 | 0.9913 | -0.16607 | 0.0064226 | 0.0016096
9 | 0.99232 | -0.14649 | 0.0057665 | 0.0014452
10 | 0.99266 | -0.13999 | 0.0043304 | 0.0010853
11 | 0.99279 | -0.13754 | 0.010235 | 0.002565
12 | 0.99317 | -0.13016 | 0.0052498 | 0.0013157
13 | 0.99123 | -0.16752 | 0.0036006 | 0.00090239
14 | 0.99349 | -0.12416 | 0.013055 | 0.0032719
15 | 0.99121 | -0.16778 | 0.0040953 | 0.0010264
16 | 0.98679 | -0.25301 | 0.011445 | 0.0028685
17 | 0.9871 | -0.24697 | 0.0044425 | 0.0011134
18 | 0.9865 | -0.25863 | 0.024171 | 0.0060579
19 | 0.98754 | -0.23855 | 0 | 0
20 | 0.98534 | -0.28104 | 0.0069546 | 0.001743
21 | 0.98445 | -0.29827 | 0 | 0
22 | 0.97339 | -0.5148 | 0.0053347 | 0.001337
23 | 0.97339 | -0.51468 | 0.011592 | 0.0029053
24 | 0.9837 | -0.31294 | 0.008409 | 0.0021075
25 | 0.9945 | -0.10483 | 0.0037434 | 0.00093817
26 | 0.99462 | -0.1024 | 0.0081456 | 0.0020415
27 | 0.99408 | -0.11282 | 0.0066554 | 0.001668
28 | 0.99462 | -0.10238 | 0.0083942 | 0.0021038
29 | 0.99473 | -0.10029 | 0.0061491 | 0.0015411
30 | 0.99535 | -0.088395 | 0.0049173 | 0.0012324
31 | 0.99575 | -0.080837 | 0.0096343 | 0.0024146
32 | 0.99614 | -0.073436 | 0.0061041 | 0.0015298
33 | 0.99717 | -0.053848 | 0.0083333 | 0.0020885
34 | 0.99734 | -0.050556 | 0.0091927 | 0.0023039
35 | 0.99816 | -0.034975 | 0.0046652 | 0.0011692
36 | 0.99077 | -0.17761 | 0 | 0
37 | 0.99102 | -0.17277 | 0.028149 | 0.0070548
38 | 0.99053 | -0.18229 | 0.022119 | 0.0055436
39 | 0.97512 | -0.48065 | 0 | 0
40 | 0.97546 | -0.47399 | 0 | 0
41 | 0.97403 | -0.50213 | 0.0056443 | 0.0014146
42 | 0.9937 | -0.12094 | 0 | 0
43 | 0.99383 | -0.11835 | 0.0045296 | 0.0011352
44 | 0.99331 | -0.12854 | 0.0045977 | 0.0011523
45 | 0.97695 | -0.44456 | 0 | 0
46 | 0.97691 | -0.44545 | 0.0037393 | 0.00093715
47 | 0.97716 | -0.44055 | 0.0060755 | 0.0015227
48 | 0.97671 | -0.44935 | 0.006545 | 0.0016403
49 | 0.99146 | -0.16422 | 0.0098404 | 0.0024662
50 | 0.97366 | -0.50934 | 0.0027454 | 0.00068806
51 | 0.97953 | -0.39416 | 0 | 0
52 | 0.98043 | -0.37661 | 0.0084519 | 0.0021182
53 | 0.97881 | -0.40821 | 0.0073665 | 0.0018462
54 | 0.99529 | -0.090303 | 0.0057265 | 0.0014352
55 | 0.99534 | -0.089277 | 0.0089864 | 0.0022522
56 | 0.99575 | -0.081488 | 0 | 0
57 | 0.99301 | -0.13418 | 0 | 0
58 | 0.97743 | -0.43515 | 0.0052735 | 0.0013217
59 | 1 | 0 | -0.54197 | -0.1375
60 | 0.99923 | -0.014693 | 0.0077911 | 0.0019526
61 | 0.99964 | -0.006814 | 0 | 0
62 | 0.99914 | -0.016481 | 0.0089651 | 0.0022469
63 | 0.99914 | -0.016507 | 0.0047086 | 0.0011801
64 | 0.98369 | -0.31304 | 0.0079898 | 0.0020024
65 | 0.99862 | -0.026437 | 0.0033736 | 0.00084551
66 | 0.97365 | -0.50949 | 0.0080751 | 0.0020238
67 | 0.99203 | -0.15325 | 0.018 | 0.0045111
68 | 0.99268 | -0.14062 | 0.0055862 | 0.0014
69 | 0.97758 | -0.43226 | 0.0030592 | 0.0007667
70 | 0.97785 | -0.427 | 0.0040272 | 0.0010093
71 | 0.97808 | -0.42246 | 0.0030153 | 0.00075572
72 | 0.9783 | -0.41815 | 0.002888 | 0.00072379
73 | 0.98203 | -0.34528 | 0.024465 | 0.0061316
74 | 0.98186 | -0.34859 | 0.013433 | 0.0033667
75 | 0.99848 | -0.029028 | 0.0047244 | 0.0011841
76 | 0.99758 | -0.046379 | 0.01196 | 0.0029976
77 | 0.99729 | -0.051808 | 0.017584 | 0.004407
78 | 0.99547 | -0.086947 | 0.0063677 | 0.0015959
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.21108 | 0.053499 | -0.21105 | -0.05348 | 2.9597e-05 | 1.8852e-05 | 0.31763 | 0.31763 | 0.31763 | 0.98954 | -0.19989 | 0.98939 | -0.20281 | 29.0868
1 | -0.21715 | -0.05502 | 0.21724 | 0.055076 | 8.9099e-05 | 5.6766e-05 | 0.32675 | 0.32675 | 0.32675 | 0.98954 | -0.19989 | 0.98998 | -0.19136 | 29.9221
2 | 0.20097 | 0.050954 | -0.20087 | -0.050891 | 9.9932e-05 | 6.362e-05 | 0.30247 | 0.30247 | 0.30247 | 0.98939 | -0.20281 | 0.98885 | -0.21316 | 27.6986
3 | -0.2238 | -0.056722 | 0.22394 | 0.056806 | 0.00013183 | 8.4012e-05 | 0.33662 | 0.33662 | 0.33662 | 0.98998 | -0.19136 | 0.99062 | -0.17911 | 30.8258
4 | 0.19579 | 0.049616 | -0.19574 | -0.049582 | 5.424e-05 | 3.4521e-05 | 0.29482 | 0.29482 | 0.29482 | 0.98885 | -0.21316 | 0.98855 | -0.21893 | 26.998
5 | -0.23501 | -0.059581 | 0.23519 | 0.059698 | 0.00018407 | 0.00011735 | 0.35325 | 0.35325 | 0.35325 | 0.99062 | -0.17911 | 0.99147 | -0.16282 | 32.3489
6 | 0.19096 | 0.048385 | -0.19091 | -0.04835 | 5.476e-05 | 3.4843e-05 | 0.28763 | 0.28763 | 0.28763 | 0.98855 | -0.21893 | 0.98824 | -0.2249 | 26.3398
7 | 0.014121 | 0.0035398 | -0.014119 | -0.0035386 | 2.1838e-06 | 1.2305e-06 | 0.021194 | 0.021194 | 0.021194 | 0.99147 | -0.16282 | 0.9913 | -0.16607 | 5.8225
8 | -0.24931 | -0.063238 | 0.24951 | 0.063363 | 0.00019593 | 0.00012496 | 0.37444 | 0.37444 | 0.37444 | 0.99147 | -0.16282 | 0.99232 | -0.14649 | 34.2897
9 | 0.18645 | 0.047234 | -0.18633 | -0.047157 | 0.00012219 | 7.7727e-05 | 0.28093 | 0.28093 | 0.28093 | 0.98824 | -0.2249 | 0.98754 | -0.23855 | 25.7258
10 | 0.0076965 | 0.001929 | -0.007696 | -0.0019288 | 5.3263e-07 | 2.037e-07 | 0.011553 | 0.011553 | 0.011553 | 0.9913 | -0.16607 | 0.99123 | -0.16752 | 3.1739
11 | -0.25528 | -0.064808 | 0.25536 | 0.064859 | 7.9858e-05 | 5.094e-05 | 0.38309 | 0.38309 | 0.38309 | 0.99232 | -0.14649 | 0.99266 | -0.13999 | 35.0815
12 | -0.25969 | -0.065945 | 0.25972 | 0.065964 | 3.0614e-05 | 1.953e-05 | 0.38958 | 0.38958 | 0.38958 | 0.99266 | -0.13999 | 0.99279 | -0.13754 | 35.676
13 | -0.26995 | -0.068529 | 0.27005 | 0.06859 | 9.5876e-05 | 6.1179e-05 | 0.40492 | 0.40492 | 0.40492 | 0.99279 | -0.13754 | 0.99317 | -0.13016 | 37.0807
14 | -0.2753 | -0.069906 | 0.27538 | 0.069957 | 7.9602e-05 | 5.08e-05 | 0.41279 | 0.41279 | 0.41279 | 0.99317 | -0.13016 | 0.99349 | -0.12416 | 37.801
15 | 0.0040954 | 0.0010264 | -0.0040953 | -0.0010264 | 4.9901e-08 | -1.3444e-08 | 0.0061479 | 0.0061479 | 0.0061479 | 0.99123 | -0.16752 | 0.99121 | -0.16778 | 1.689
16 | -0.28843 | -0.073229 | 0.28859 | 0.073329 | 0.00015747 | 0.00010052 | 0.43234 | 0.43234 | 0.43234 | 0.99349 | -0.12416 | 0.99408 | -0.11282 | 39.5916
17 | -0.18176 | -0.045962 | 0.18181 | 0.045995 | 5.2658e-05 | 3.3487e-05 | 0.27423 | 0.27423 | 0.27423 | 0.98679 | -0.25301 | 0.9871 | -0.24697 | 25.1126
18 | 0.17031 | 0.043093 | -0.17027 | -0.043064 | 4.5944e-05 | 2.9191e-05 | 0.25697 | 0.25697 | 0.25697 | 0.98679 | -0.25301 | 0.9865 | -0.25863 | 23.5321
19 | -0.18626 | -0.047109 | 0.18633 | 0.047157 | 7.5209e-05 | 4.7841e-05 | 0.28093 | 0.28093 | 0.28093 | 0.9871 | -0.24697 | 0.98754 | -0.23855 | 25.7258
20 | 0.1461 | 0.037006 | -0.14594 | -0.036906 | 0.00015711 | 0.00010011 | 0.22051 | 0.22051 | 0.22051 | 0.9865 | -0.25863 | 0.98534 | -0.28104 | 30.2899
21 | 0.13899 | 0.035163 | -0.13887 | -0.03509 | 0.00011475 | 7.3351e-05 | 0.21001 | 0.21001 | 0.21001 | 0.98534 | -0.28104 | 0.98445 | -0.29827 | 57.6945
22 | 0.13887 | 0.03509 | -0.13877 | -0.035027 | 9.7596e-05 | 6.2386e-05 | 0.21001 | 0.21001 | 0.21001 | 0.98445 | -0.29827 | 0.9837 | -0.31294 | 57.6946
23 | -0.0053347 | -0.001337 | 0.0053347 | 0.001337 | 3.0381e-08 | 4.3017e-09 | 0.0081552 | 0.0081552 | 0.0081552 | 0.97339 | -0.5148 | 0.97339 | -0.51468 | 2.2404
24 | -0.016927 | -0.0042423 | 0.016931 | 0.0042448 | 4.1842e-06 | 2.4707e-06 | 0.025876 | 0.025876 | 0.025876 | 0.97339 | -0.51468 | 0.97365 | -0.50949 | 7.1089
25 | 0.13036 | 0.03292 | -0.13036 | -0.032919 | 6.3281e-07 | 4.0445e-07 | 0.19729 | 0.19729 | 0.19729 | 0.9837 | -0.31294 | 0.98369 | -0.31304 | 54.2
26 | -0.2991 | -0.076008 | 0.29914 | 0.07603 | 3.5034e-05 | 2.2367e-05 | 0.4479 | 0.4479 | 0.4479 | 0.9945 | -0.10483 | 0.99462 | -0.1024 | 41.0168
27 | 0.29536 | 0.07507 | -0.29524 | -0.074997 | 0.00011359 | 7.2515e-05 | 0.4423 | 0.4423 | 0.4423 | 0.9945 | -0.10483 | 0.99408 | -0.11282 | 40.5039
28 | -0.30728 | -0.078072 | 0.30728 | 0.078072 | 2.9656e-07 | 1.8933e-07 | 0.46009 | 0.46009 | 0.46009 | 0.99462 | -0.1024 | 0.99462 | -0.10238 | 42.1327
29 | -0.31568 | -0.080176 | 0.31571 | 0.080196 | 3.164e-05 | 2.0205e-05 | 0.47265 | 0.47265 | 0.47265 | 0.99462 | -0.10238 | 0.99473 | -0.10029 | 43.2828
30 | -0.32186 | -0.081737 | 0.32204 | 0.081855 | 0.00018443 | 0.00011779 | 0.48185 | 0.48185 | 0.48185 | 0.99473 | -0.10029 | 0.99535 | -0.088395 | 44.1251
31 | -0.32696 | -0.083087 | 0.32708 | 0.083163 | 0.00011903 | 7.6023e-05 | 0.4892 | 0.4892 | 0.4892 | 0.99535 | -0.088395 | 0.99575 | -0.080837 | 44.7983
32 | -0.33671 | -0.085578 | 0.33683 | 0.085655 | 0.00012006 | 7.6691e-05 | 0.50359 | 0.50359 | 0.50359 | 0.99575 | -0.080837 | 0.99614 | -0.073436 | 46.1167
33 | -0.34294 | -0.087184 | 0.34326 | 0.087391 | 0.00032389 | 0.0002069 | 0.51271 | 0.51271 | 0.51271 | 0.99614 | -0.073436 | 0.99717 | -0.053848 | 46.9517
34 | -0.35159 | -0.08948 | 0.35165 | 0.089515 | 5.5815e-05 | 3.5658e-05 | 0.52515 | 0.52515 | 0.52515 | 0.99717 | -0.053848 | 0.99734 | -0.050556 | 48.0904
35 | -0.36084 | -0.091819 | 0.36111 | 0.091993 | 0.00027122 | 0.00017329 | 0.53886 | 0.53886 | 0.53886 | 0.99734 | -0.050556 | 0.99816 | -0.034975 | 49.3464
36 | -0.36578 | -0.093162 | 0.36614 | 0.093391 | 0.00035823 | 0.00022889 | 0.54582 | 0.54582 | 0.54582 | 0.99816 | -0.034975 | 0.99923 | -0.014693 | 49.9832
37 | -0.022124 | -0.0055466 | 0.022129 | 0.0055497 | 5.0955e-06 | 3.1026e-06 | 0.033229 | 0.033229 | 0.033229 | 0.99077 | -0.17761 | 0.99102 | -0.17277 | 9.1287
38 | 0.022124 | 0.0055466 | -0.022119 | -0.0055436 | 4.932e-06 | 3.0031e-06 | 0.033229 | 0.033229 | 0.033229 | 0.99077 | -0.17761 | 0.99053 | -0.18229 | 9.1287
39 | -0.050278 | -0.012605 | 0.050299 | 0.012618 | 2.0503e-05 | 1.2998e-05 | 0.075494 | 0.075494 | 0.075494 | 0.99102 | -0.17277 | 0.99146 | -0.16422 | 20.7401
40 | -0.03344 | -0.0083988 | 0.033451 | 0.0084054 | 1.0635e-05 | 6.6703e-06 | 0.051035 | 0.051035 | 0.051035 | 0.97512 | -0.48065 | 0.97546 | -0.47399 | 14.0207
41 | 0.03344 | 0.0083988 | -0.033406 | -0.0083773 | 3.4226e-05 | 2.1468e-05 | 0.051035 | 0.051036 | 0.051036 | 0.97512 | -0.48065 | 0.97403 | -0.50213 | 14.0208
42 | -0.033451 | -0.0084054 | 0.03349 | 0.0084302 | 3.9399e-05 | 2.4711e-05 | 0.051035 | 0.051035 | 0.051035 | 0.97546 | -0.47399 | 0.97671 | -0.44935 | 14.0207
43 | 0.027761 | 0.0069627 | -0.027752 | -0.0069568 | 9.5382e-06 | 5.9285e-06 | 0.042413 | 0.042413 | 0.042413 | 0.97403 | -0.50213 | 0.97366 | -0.50934 | 11.6519
44 | -0.088482 | -0.022249 | 0.088493 | 0.022256 | 1.0943e-05 | 6.9818e-06 | 0.13252 | 0.13252 | 0.13252 | 0.9937 | -0.12094 | 0.99383 | -0.11835 | 36.4073
45 | 0.088482 | 0.022249 | -0.08845 | -0.022228 | 3.2101e-05 | 2.0482e-05 | 0.13252 | 0.13252 | 0.13252 | 0.9937 | -0.12094 | 0.99331 | -0.12854 | 36.4073
46 | -0.093022 | -0.023391 | 0.093186 | 0.023495 | 0.0001641 | 0.00010473 | 0.1393 | 0.1393 | 0.1393 | 0.99383 | -0.11835 | 0.99575 | -0.081488 | 38.2705
47 | 0.083852 | 0.021076 | -0.083829 | -0.021061 | 2.2555e-05 | 1.4386e-05 | 0.12564 | 0.12564 | 0.12564 | 0.99331 | -0.12854 | 0.99301 | -0.13418 | 34.5151
48 | 0.043784 | 0.011014 | -0.043782 | -0.011012 | 1.8606e-06 | 1.1768e-06 | 0.066702 | 0.066702 | 0.066702 | 0.97695 | -0.44456 | 0.97691 | -0.44545 | 18.3248
49 | -0.043784 | -0.011014 | 0.043792 | 0.011019 | 8.3781e-06 | 5.2991e-06 | 0.066702 | 0.066702 | 0.066702 | 0.97695 | -0.44456 | 0.97716 | -0.44055 | 18.3248
50 | 0.040043 | 0.010075 | -0.040035 | -0.01007 | 7.4654e-06 | 4.7109e-06 | 0.061006 | 0.061007 | 0.061007 | 0.97691 | -0.44545 | 0.97671 | -0.44935 | 16.76
51 | -0.049867 | -0.012541 | 0.04988 | 0.01255 | 1.2868e-05 | 8.1608e-06 | 0.075954 | 0.075954 | 0.075954 | 0.97716 | -0.44055 | 0.97743 | -0.43515 | 20.8664
52 | -0.060139 | -0.015084 | 0.060171 | 0.015104 | 3.146e-05 | 2.0002e-05 | 0.090263 | 0.090263 | 0.090263 | 0.99146 | -0.16422 | 0.99203 | -0.15325 | 24.7974
53 | 0.025007 | 0.0062687 | -0.025006 | -0.0062686 | 1.8624e-07 | 1.1496e-07 | 0.038217 | 0.038217 | 0.038217 | 0.97366 | -0.50934 | 0.97365 | -0.50949 | 10.4992
54 | -0.075643 | -0.019057 | 0.075706 | 0.019098 | 6.3545e-05 | 4.0507e-05 | 0.11495 | 0.11495 | 0.11495 | 0.97953 | -0.39416 | 0.98043 | -0.37661 | 31.5784
55 | 0.075643 | 0.019057 | -0.075592 | -0.019025 | 5.0804e-05 | 3.2385e-05 | 0.11495 | 0.11495 | 0.11495 | 0.97953 | -0.39416 | 0.97881 | -0.40821 | 31.5785
56 | -0.084158 | -0.021216 | 0.084271 | 0.021288 | 0.00011302 | 7.2102e-05 | 0.12777 | 0.12777 | 0.12777 | 0.98043 | -0.37661 | 0.98186 | -0.34859 | 35.1025
57 | 0.068225 | 0.017179 | -0.068193 | -0.017158 | 3.2396e-05 | 2.0633e-05 | 0.10375 | 0.10375 | 0.10375 | 0.97881 | -0.40821 | 0.9783 | -0.41815 | 28.5019
58 | -0.0057265 | -0.0014352 | 0.0057268 | 0.0014353 | 2.7977e-07 | 4.6769e-08 | 0.0085615 | 0.0085615 | 0.0085615 | 0.99529 | -0.090303 | 0.99534 | -0.089277 | 2.3521
59 | -0.014713 | -0.0036874 | 0.014715 | 0.0036884 | 1.6337e-06 | 9.2852e-07 | 0.021996 | 0.021996 | 0.021996 | 0.99534 | -0.089277 | 0.99547 | -0.086947 | 6.0428
60 | 0.021088 | 0.0052876 | -0.021083 | -0.0052843 | 5.4848e-06 | 3.3188e-06 | 0.031514 | 0.031514 | 0.031514 | 0.99575 | -0.081488 | 0.99547 | -0.086947 | 8.6578
61 | -0.11427 | -0.028783 | 0.11444 | 0.028887 | 0.00016244 | 0.00010377 | 0.17082 | 0.17082 | 0.17082 | 0.99575 | -0.081488 | 0.99729 | -0.051808 | 46.9282
62 | 0.083829 | 0.021061 | -0.083803 | -0.021045 | 2.5759e-05 | 1.6429e-05 | 0.12564 | 0.12564 | 0.12564 | 0.99301 | -0.13418 | 0.99268 | -0.14062 | 34.5152
63 | -0.055154 | -0.013871 | 0.055162 | 0.013876 | 7.6207e-06 | 4.8411e-06 | 0.083982 | 0.083982 | 0.083982 | 0.97743 | -0.43515 | 0.97758 | -0.43226 | 23.072
64 | 0.37419 | 0.095513 | -0.37393 | -0.095343 | 0.00026545 | 0.00016962 | 0.55742 | 0.55742 | 0.55742 | 1 | 0 | 0.99923 | -0.014693 | 51.0457
65 | 0.16613 | 0.041987 | -0.16607 | -0.041953 | 5.4257e-05 | 3.4446e-05 | 0.24733 | 0.24733 | 0.24733 | 1 | 0 | 0.99964 | -0.006814 | 22.649
66 | 0.16607 | 0.041953 | -0.166 | -0.041904 | 7.6907e-05 | 4.8825e-05 | 0.24733 | 0.24733 | 0.24733 | 0.99964 | -0.006814 | 0.99914 | -0.016481 | 22.649
67 | 0.15703 | 0.039657 | -0.15703 | -0.039657 | 2.0004e-07 | 1.2688e-07 | 0.23398 | 0.23398 | 0.23398 | 0.99914 | -0.016481 | 0.99914 | -0.016507 | 21.4263
68 | 0.15232 | 0.038477 | -0.15225 | -0.038431 | 7.2455e-05 | 4.593e-05 | 0.22696 | 0.22696 | 0.22696 | 0.99914 | -0.016507 | 0.99862 | -0.026437 | 20.7842
69 | 0.12237 | 0.030917 | -0.12219 | -0.030796 | 0.00018879 | 0.00012064 | 0.1852 | 0.1852 | 0.1852 | 0.98369 | -0.31304 | 0.98203 | -0.34528 | 50.8797
70 | 0.14888 | 0.037585 | -0.14886 | -0.037574 | 1.8473e-05 | 1.1705e-05 | 0.22194 | 0.22194 | 0.22194 | 0.99862 | -0.026437 | 0.99848 | -0.029028 | 20.3238
71 | -0.07817 | -0.019615 | 0.078217 | 0.019645 | 4.7125e-05 | 3.0042e-05 | 0.11726 | 0.11726 | 0.11726 | 0.99203 | -0.15325 | 0.99268 | -0.14062 | 32.2147
72 | -0.058221 | -0.014643 | 0.058235 | 0.014652 | 1.4628e-05 | 9.2995e-06 | 0.088639 | 0.088639 | 0.088639 | 0.97758 | -0.43226 | 0.97785 | -0.427 | 24.3512
73 | -0.062263 | -0.015661 | 0.062276 | 0.01567 | 1.3504e-05 | 8.5926e-06 | 0.094767 | 0.094767 | 0.094767 | 0.97785 | -0.427 | 0.97808 | -0.42246 | 26.0349
74 | -0.065291 | -0.016426 | 0.065305 | 0.016434 | 1.3465e-05 | 8.5717e-06 | 0.099354 | 0.099354 | 0.099354 | 0.97808 | -0.42246 | 0.9783 | -0.41815 | 27.2951
75 | 0.09772 | 0.024665 | -0.097704 | -0.024655 | 1.549e-05 | 9.8897e-06 | 0.14813 | 0.14813 | 0.14813 | 0.98203 | -0.34528 | 0.98186 | -0.34859 | 40.6954
76 | 0.14414 | 0.03639 | -0.14402 | -0.036313 | 0.0001197 | 7.6249e-05 | 0.2149 | 0.2149 | 0.2149 | 0.99848 | -0.029028 | 0.99758 | -0.046379 | 29.5186
77 | 0.13206 | 0.033316 | -0.13202 | -0.033294 | 3.4318e-05 | 2.1933e-05 | 0.19705 | 0.19705 | 0.19705 | 0.99758 | -0.046379 | 0.99729 | -0.051808 | 54.136

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55979 | 0.14197

## res_load
| p_mw | q_mvar
0 | 0.0060662 | 0.0015203
1 | 0.010079 | 0.0025262
2 | 0.0065653 | 0.0016454
3 | 0.005084 | 0.0012742
4 | 0.011073 | 0.0027752
5 | 0.0047751 | 0.0011967
6 | 0.0044529 | 0.001116
7 | 0.0064226 | 0.0016096
8 | 0.0057665 | 0.0014452
9 | 0.0043304 | 0.0010853
10 | 0.010235 | 0.002565
11 | 0.0052498 | 0.0013157
12 | 0.0036006 | 0.00090239
13 | 0.013055 | 0.0032719
14 | 0.0040953 | 0.0010264
15 | 0.011445 | 0.0028685
16 | 0.0044425 | 0.0011134
17 | 0.024171 | 0.0060579
18 | 0.0069546 | 0.001743
19 | 0.0053347 | 0.001337
20 | 0.011592 | 0.0029053
21 | 0.008409 | 0.0021075
22 | 0.0037434 | 0.00093817
23 | 0.0081456 | 0.0020415
24 | 0.0066554 | 0.001668
25 | 0.0083942 | 0.0021038
26 | 0.0061491 | 0.0015411
27 | 0.0049173 | 0.0012324
28 | 0.0096343 | 0.0024146
29 | 0.0061041 | 0.0015298
30 | 0.0083333 | 0.0020885
31 | 0.0091927 | 0.0023039
32 | 0.0046652 | 0.0011692
33 | 0.028149 | 0.0070548
34 | 0.022119 | 0.0055436
35 | 0.0056443 | 0.0014146
36 | 0.0045296 | 0.0011352
37 | 0.0045977 | 0.0011523
38 | 0.0037393 | 0.00093715
39 | 0.0060755 | 0.0015227
40 | 0.006545 | 0.0016403
41 | 0.0098404 | 0.0024662
42 | 0.0027454 | 0.00068806
43 | 0.0084519 | 0.0021182
44 | 0.0073665 | 0.0018462
45 | 0.0057265 | 0.0014352
46 | 0.0089864 | 0.0022522
47 | 0.0052735 | 0.0013217
48 | 0.017816 | 0.0044652
49 | 0.0077911 | 0.0019526
50 | 0.0089651 | 0.0022469
51 | 0.0047086 | 0.0011801
52 | 0.0079898 | 0.0020024
53 | 0.0033736 | 0.00084551
54 | 0.0080751 | 0.0020238
55 | 0.018 | 0.0045111
56 | 0.0055862 | 0.0014
57 | 0.0030592 | 0.0007667
58 | 0.0040272 | 0.0010093
59 | 0.0030153 | 0.00075572
60 | 0.002888 | 0.00072379
61 | 0.024465 | 0.0061316
62 | 0.013433 | 0.0033667
63 | 0.0047244 | 0.0011841
64 | 0.01196 | 0.0029976
65 | 0.017584 | 0.004407
66 | 0.0063677 | 0.0015959

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1