## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-148_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-148_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-148_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-148_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-148_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-148_0_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_2701-148_0_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_2701-148_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2701-148_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2701-148_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_2701-148_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2701-148_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2701-148_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2701-148_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2701-148_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2701-148_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2701-148_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_2701-148_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-148_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_2701-148_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2701-148_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-148_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-148_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2701-148_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2701-148_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2701-148_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2701-148_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2701-148_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2701-148_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-148_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2701-148_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_2701-148_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2701-148_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2701-148_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2701-148_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_2701-148_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2701-148_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2701-148_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2701-148_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2701-148_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2701-148_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_MV_558_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-148_0_3_load_0 | 0 | 0.0031112 | 0.00077973 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-148_0_3_load_1 | 1 | 0.0033019 | 0.00082753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-148_0_3_load_2 | 2 | 0.0034215 | 0.00085751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-148_0_3_load_3 | 3 | 0.0056585 | 0.0014181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-148_0_3_load_4 | 4 | 0.00285 | 0.00071428 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-148_0_3_load_33 | 6 | 0.0040695 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-148_0_3_load_26 | 7 | 0.0029904 | 0.00074946 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-148_0_3_load_18 | 8 | 0.0077497 | 0.0019423 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-148_0_3_load_31 | 9 | 0.01121 | 0.0028095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-148_0_3_load_5 | 10 | 0.0033811 | 0.00084739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-148_0_3_load_6 | 11 | 0.0031701 | 0.00079449 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-148_0_3_load_7 | 12 | 0.0074398 | 0.0018646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-148_0_3_load_8 | 13 | 0.0023523 | 0.00058954 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-148_0_3_load_10 | 15 | 0.0021776 | 0.00054576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-148_0_3_load_11 | 17 | 0.0081502 | 0.0020426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-148_0_3_load_41 | 18 | 0.0029593 | 0.00074167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-148_0_3_load_13 | 19 | 0.0019868 | 0.00049794 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-148_0_3_load_12 | 20 | 0.0052908 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-148_0_3_load_14 | 21 | 0.0052176 | 0.0013077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-148_0_3_load_15 | 22 | 0.016668 | 0.0041775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-148_0_3_load_21 | 23 | 0.0073952 | 0.0018534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-148_0_3_load_16 | 25 | 0.0020828 | 0.00052199 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-148_0_3_load_17 | 26 | 0.0029096 | 0.0007292 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-148_0_3_load_19 | 27 | 0.0024989 | 0.00062627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-148_0_3_load_23 | 28 | 0.089674 | 0.022474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-148_0_3_load_22 | 29 | 0.017704 | 0.0044369 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-148_0_3_load_39 | 30 | 0.016263 | 0.0040759 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-148_0_3_load_24 | 32 | 0.015776 | 0.0039538 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-148_0_3_load_25 | 33 | 0.034597 | 0.0086707 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-148_0_3_load_38 | 34 | 0.026621 | 0.0066719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-148_0_3_load_36 | 35 | 0.013221 | 0.0033134 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-148_0_3_load_40 | 36 | 0.0035549 | 0.00089093 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-148_0_3_load_37 | 37 | 0.022958 | 0.0057539 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-148_0_3_load_35 | 38 | 0.011131 | 0.0027898 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-148_0_3_load_29 | 39 | 0.0057942 | 0.0014522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-148_0_3_load_30 | 40 | 0.0024062 | 0.00060304 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-148_0_3_line_0 |  | 0 | 1 | 0.003081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-148_0_3_line_1 |  | 0 | 2 | 0.0039862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-148_0_3_line_2 |  | 1 | 3 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-148_0_3_line_3 |  | 2 | 4 | 0.0057829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-148_0_3_line_4 |  | 3 | 5 | 0.0033527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-148_0_3_line_5 |  | 4 | 6 | 0.0075831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-148_0_3_line_6 |  | 5 | 7 | 0.013247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-148_0_3_line_7 |  | 5 | 8 | 0.0039246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-148_0_3_line_8 |  | 6 | 9 | 0.01259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-148_0_3_line_9 |  | 7 | 30 | 0.0089949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-148_0_3_line_10 |  | 8 | 25 | 0.0075511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-148_0_3_line_11 |  | 9 | 39 | 0.014835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-148_0_3_line_12 |  | 10 | 11 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-148_0_3_line_13 |  | 10 | 12 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-148_0_3_line_14 |  | 11 | 13 | 0.0049168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-148_0_3_line_15 |  | 12 | 14 | 0.03242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-148_0_3_line_16 |  | 13 | 15 | 0.0062904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-148_0_3_line_17 |  | 14 | 16 | 0.065611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-148_0_3_line_18 |  | 15 | 17 | 0.005213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-148_0_3_line_19 |  | 16 | 18 | 0.030406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-148_0_3_line_20 |  | 17 | 19 | 0.0022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-148_0_3_line_21 |  | 19 | 20 | 0.0081411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-148_0_3_line_22 |  | 20 | 21 | 0.0089118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-148_0_3_line_23 |  | 21 | 22 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-148_0_3_line_24 |  | 22 | 23 | 0.001562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-148_0_3_line_25 |  | 23 | 24 | 0.035953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-148_0_3_line_26 |  | 24 | 31 | 0.010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-148_0_3_line_27 |  | 25 | 26 | 0.0049767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-148_0_3_line_28 |  | 26 | 27 | 0.0043963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-148_0_3_line_29 |  | 27 | 28 | 0.0088462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-148_0_3_line_30 |  | 28 | 29 | 0.0049054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2701-148_0_3_line_31 |  | 29 | 32 | 0.0044899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-148_0_3_line_32 |  | 30 | 36 | 0.003189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-148_0_3_line_33 |  | 31 | 37 | 0.033378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-148_0_3_line_34 |  | 32 | 33 | 0.0010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-148_0_3_line_35 |  | 33 | 34 | 0.0056528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-148_0_3_line_36 |  | 34 | 35 | 0.0040176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-148_0_3_line_37 |  | 35 | 38 | 0.003347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-148_0_3_line_38 |  | 37 | 38 | 0.0049724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-148_0_3_line_39 |  | 39 | 40 | 0.0089445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-148_0_3_trafo_23 | 0.63 MVA 20/0.4 kV | 41 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2612045.8804 | 1267071.2171 | 2612042.9274 | 1267072.096
1 | 2612045.8804 | 1267071.2171 | 2612049.701 | 1267070.08
2 | 2612042.9274 | 1267072.096 | 2612031.2365 | 1267075.5754
3 | 2612049.701 | 1267070.08 | 2612055.2436 | 1267068.4304
4 | 2612028.0231 | 1267076.5318 | 2612031.2365 | 1267075.5754
5 | 2612062.5116 | 1267066.2673 | 2612055.2436 | 1267068.4304
6 | 2612028.0231 | 1267076.5318 | 2612025.1117 | 1267063.6088
7 | 2612028.0231 | 1267076.5318 | 2612024.2236 | 1267077.5147
8 | 2612062.5116 | 1267066.2673 | 2612074.5787 | 1267062.6759
9 | 2612023.1347 | 1267054.8338 | 2612025.1117 | 1267063.6088
10 | 2612016.9132 | 1267079.4058 | 2612024.2236 | 1267077.5147
11 | 2612088.7972 | 1267058.4442 | 2612074.5787 | 1267062.6759
12 | 2612042.3293 | 1267120.6039 | 2612022.6088 | 1267120.2436
13 | 2612042.3293 | 1267120.6039 | 2612054.3564 | 1267120.8236
14 | 2612022.6088 | 1267120.2436 | 2612017.6928 | 1267120.1538
15 | 2612086.7709 | 1267121.4157 | 2612054.3564 | 1267120.8236
16 | 2612017.6928 | 1267120.1538 | 2612014.8755 | 1267120.1023 | 2612011.4187 | 1267119.7709
17 | 2612037.0008 | 1267159.2523 | 2612085.2002 | 1267131.3195 | 2612086.7709 | 1267121.4157
18 | 2612006.2295 | 1267119.2734 | 2612011.4187 | 1267119.7709
19 | 2612037.0008 | 1267159.2523 | 2612006.8993 | 1267163.5439
20 | 2612006.2295 | 1267119.2734 | 2612003.9622 | 1267119.056
21 | 2611995.8583 | 1267118.279 | 2612003.9622 | 1267119.056
22 | 2611995.8583 | 1267118.279 | 2611986.9872 | 1267117.4285
23 | 2611976.6248 | 1267116.435 | 2611986.9872 | 1267117.4285
24 | 2611975.0699 | 1267116.286 | 2611976.6248 | 1267116.435
25 | 2611939.754 | 1267109.7881 | 2611966.1851 | 1267115.4341 | 2611975.0699 | 1267116.286
26 | 2611939.754 | 1267109.7881 | 2611939.3984 | 1267099.4579
27 | 2612016.9132 | 1267079.4058 | 2612012.095 | 1267080.6522
28 | 2612007.8389 | 1267081.7532 | 2612012.095 | 1267080.6522
29 | 2611999.2746 | 1267083.9687 | 2612007.8389 | 1267081.7532
30 | 2611999.2746 | 1267083.9687 | 2611994.5256 | 1267085.1972
31 | 2611990.1787 | 1267086.3217 | 2611994.5256 | 1267085.1972
32 | 2612023.1347 | 1267054.8338 | 2612022.4338 | 1267051.7228
33 | 2611939.3984 | 1267099.4579 | 2611971.713 | 1267091.0986
34 | 2611990.1787 | 1267086.3217 | 2611989.1294 | 1267086.5931
35 | 2611989.1294 | 1267086.5931 | 2611983.6568 | 1267088.0088
36 | 2611979.7672 | 1267089.015 | 2611983.6568 | 1267088.0088
37 | 2611976.5269 | 1267089.8533 | 2611979.7672 | 1267089.015
38 | 2611976.5269 | 1267089.8533 | 2611971.713 | 1267091.0986
39 | 2612088.7972 | 1267058.4442 | 2612097.3701 | 1267055.8928

## bus_geodata
| x | y | coords
0 | 2612045.8804 | 1267071.2171
1 | 2612042.9274 | 1267072.096
2 | 2612049.701 | 1267070.08
3 | 2612031.2365 | 1267075.5754
4 | 2612055.2436 | 1267068.4304
5 | 2612028.0231 | 1267076.5318
6 | 2612062.5116 | 1267066.2673
7 | 2612025.1117 | 1267063.6088
8 | 2612024.2236 | 1267077.5147
9 | 2612074.5787 | 1267062.6759
10 | 2612042.3293 | 1267120.6039
11 | 2612022.6088 | 1267120.2436
12 | 2612054.3564 | 1267120.8236
13 | 2612017.6928 | 1267120.1538
14 | 2612086.7709 | 1267121.4157
15 | 2612011.4187 | 1267119.7709
16 | 2612037.0008 | 1267159.2523
17 | 2612006.2295 | 1267119.2734
18 | 2612006.8993 | 1267163.5439
19 | 2612003.9622 | 1267119.056
20 | 2611995.8583 | 1267118.279
21 | 2611986.9872 | 1267117.4285
22 | 2611976.6248 | 1267116.435
23 | 2611975.0699 | 1267116.286
24 | 2611939.754 | 1267109.7881
25 | 2612016.9132 | 1267079.4058
26 | 2612012.095 | 1267080.6522
27 | 2612007.8389 | 1267081.7532
28 | 2611999.2746 | 1267083.9687
29 | 2611994.5256 | 1267085.1972
30 | 2612023.1347 | 1267054.8338
31 | 2611939.3984 | 1267099.4579
32 | 2611990.1787 | 1267086.3217
33 | 2611989.1294 | 1267086.5931
34 | 2611983.6568 | 1267088.0088
35 | 2611979.7672 | 1267089.015
36 | 2612022.4338 | 1267051.7228
37 | 2611971.713 | 1267091.0986
38 | 2611976.5269 | 1267089.8533
39 | 2612088.7972 | 1267058.4442
40 | 2612097.3701 | 1267055.8928
41 | 2612028.0231 | 1267076.5318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99736 | -0.050683 | 0.0031112 | 0.00077973
1 | 0.99746 | -0.048909 | 0.0033019 | 0.00082753
2 | 0.99726 | -0.052762 | 0.0034215 | 0.00085751
3 | 0.99786 | -0.041184 | 0.0056585 | 0.0014181
4 | 0.99712 | -0.055431 | 0.00285 | 0.00071428
5 | 0.99798 | -0.03873 | 0 | 0
6 | 0.99696 | -0.058552 | 0.0040695 | 0.0010199
7 | 0.99771 | -0.044019 | 0.0029904 | 0.00074946
8 | 0.99821 | -0.034292 | 0.0077497 | 0.0019423
9 | 0.99673 | -0.062839 | 0.01121 | 0.0028095
10 | 0.99077 | -0.1778 | 0.0033811 | 0.00084739
11 | 0.99101 | -0.17297 | 0.0031701 | 0.00079449
12 | 0.99065 | -0.18002 | 0.0074398 | 0.0018646
13 | 0.99109 | -0.1715 | 0.0023523 | 0.00058954
14 | 0.99056 | -0.18173 | 0 | 0
15 | 0.9912 | -0.16934 | 0.0021776 | 0.00054576
16 | 0.99039 | -0.18518 | 0 | 0
17 | 0.9913 | -0.16735 | 0.0081502 | 0.0020426
18 | 0.9903 | -0.18678 | 0.0029593 | 0.00074167
19 | 0.99137 | -0.16616 | 0.0019868 | 0.00049794
20 | 0.9916 | -0.16159 | 0.0052908 | 0.001326
21 | 0.9919 | -0.15576 | 0.0052176 | 0.0013077
22 | 0.9923 | -0.148 | 0.016668 | 0.0041775
23 | 0.99239 | -0.14637 | 0.0073952 | 0.0018534
24 | 0.99456 | -0.10434 | 0 | 0
25 | 0.99871 | -0.024736 | 0.0020828 | 0.00052199
26 | 0.99905 | -0.018262 | 0.0029096 | 0.0007292
27 | 0.99936 | -0.012324 | 0.0024989 | 0.00062627
28 | 1 | 0 | -0.29062 | -0.072765
29 | 0.99954 | -0.0089047 | 0.017704 | 0.0044369
30 | 0.99755 | -0.047141 | 0.016263 | 0.0040759
31 | 0.99519 | -0.092292 | 0 | 0
32 | 0.99915 | -0.016369 | 0.015776 | 0.0039538
33 | 0.99906 | -0.018022 | 0.034597 | 0.0086707
34 | 0.99834 | -0.031864 | 0.026621 | 0.0066719
35 | 0.99792 | -0.039843 | 0.013221 | 0.0033134
36 | 0.99754 | -0.047339 | 0.0035549 | 0.00089093
37 | 0.99721 | -0.053486 | 0.022958 | 0.0057539
38 | 0.99762 | -0.045719 | 0.011131 | 0.0027898
39 | 0.99662 | -0.064974 | 0.0057942 | 0.0014522
40 | 0.9966 | -0.065351 | 0.0024062 | 0.00060304
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.032877 | -0.0082448 | 0.03288 | 0.0082465 | 2.78e-06 | 1.739e-06 | 0.049053 | 0.049053 | 0.049053 | 0.99736 | -0.050683 | 0.99746 | -0.048909 | 13.4761
1 | 0.029766 | 0.0074651 | -0.029763 | -0.0074632 | 2.9483e-06 | 1.8349e-06 | 0.044411 | 0.044411 | 0.044411 | 0.99736 | -0.050683 | 0.99726 | -0.052762 | 12.2009
2 | -0.036182 | -0.0090741 | 0.036195 | 0.0090824 | 1.3328e-05 | 8.3704e-06 | 0.053979 | 0.053979 | 0.053979 | 0.99746 | -0.048909 | 0.99786 | -0.041184 | 14.8293
3 | 0.026342 | 0.0066057 | -0.026338 | -0.0066037 | 3.3504e-06 | 2.0688e-06 | 0.039306 | 0.039306 | 0.039306 | 0.99726 | -0.052762 | 0.99712 | -0.055431 | 10.7983
4 | -0.041854 | -0.010501 | 0.041859 | 0.010504 | 4.898e-06 | 3.0909e-06 | 0.062417 | 0.062417 | 0.062417 | 0.99786 | -0.041184 | 0.99798 | -0.03873 | 17.1474
5 | 0.023488 | 0.0058894 | -0.023485 | -0.0058872 | 3.494e-06 | 2.1373e-06 | 0.035053 | 0.035053 | 0.035053 | 0.99712 | -0.055431 | 0.99696 | -0.058552 | 9.6299
6 | 0.022817 | 0.0057215 | -0.022811 | -0.005718 | 5.7498e-06 | 3.5069e-06 | 0.034022 | 0.034022 | 0.034022 | 0.99798 | -0.03873 | 0.99771 | -0.044019 | 9.3466
7 | -0.064675 | -0.016225 | 0.064689 | 0.016234 | 1.3688e-05 | 8.7087e-06 | 0.096438 | 0.096438 | 0.096438 | 0.99798 | -0.03873 | 0.99821 | -0.034292 | 26.494
8 | 0.019415 | 0.0048673 | -0.019411 | -0.0048649 | 3.9648e-06 | 2.3734e-06 | 0.028979 | 0.028979 | 0.028979 | 0.99696 | -0.058552 | 0.99673 | -0.062839 | 7.9612
9 | 0.019821 | 0.0049686 | -0.019818 | -0.0049668 | 2.9477e-06 | 1.7691e-06 | 0.029562 | 0.029562 | 0.029562 | 0.99771 | -0.044019 | 0.99755 | -0.047141 | 8.1214
10 | -0.072439 | -0.018176 | 0.072472 | 0.018197 | 3.3023e-05 | 2.1036e-05 | 0.10799 | 0.10799 | 0.10799 | 0.99821 | -0.034292 | 0.99871 | -0.024736 | 29.6677
11 | 0.0082013 | 0.0020555 | -0.0082004 | -0.0020551 | 8.3394e-07 | 3.4039e-07 | 0.012244 | 0.012244 | 0.012244 | 0.99673 | -0.062839 | 0.99662 | -0.064974 | 3.3637
12 | -0.013782 | -0.0034531 | 0.013785 | 0.0034549 | 3.169e-06 | 1.7741e-06 | 0.020699 | 0.020699 | 0.020699 | 0.99077 | -0.1778 | 0.99101 | -0.17297 | 5.6865
13 | 0.010401 | 0.0026058 | -0.0104 | -0.0026052 | 1.1007e-06 | 5.4957e-07 | 0.015621 | 0.015621 | 0.015621 | 0.99077 | -0.1778 | 0.99065 | -0.18002 | 4.2915
14 | -0.016955 | -0.0042494 | 0.016957 | 0.0042501 | 1.1951e-06 | 7.0148e-07 | 0.025459 | 0.025459 | 0.025459 | 0.99101 | -0.17297 | 0.99109 | -0.1715 | 6.9942
15 | 0.0029603 | 0.00074063 | -0.00296 | -0.00074089 | 2.4033e-07 | -2.6356e-07 | 0.004446 | 0.0044462 | 0.0044462 | 0.99065 | -0.18002 | 0.99056 | -0.18173 | 1.2215
16 | -0.019309 | -0.0048396 | 0.019311 | 0.0048408 | 1.9825e-06 | 1.1878e-06 | 0.02899 | 0.02899 | 0.02899 | 0.99109 | -0.1715 | 0.9912 | -0.16934 | 7.9644
17 | 0.00296 | 0.00074089 | -0.0029595 | -0.00074142 | 4.8642e-07 | -5.3314e-07 | 0.0044462 | 0.0044465 | 0.0044465 | 0.99056 | -0.18173 | 0.99039 | -0.18518 | 1.2216
18 | -0.021489 | -0.0053866 | 0.021491 | 0.0053878 | 2.0344e-06 | 1.2348e-06 | 0.03226 | 0.03226 | 0.03226 | 0.9912 | -0.16934 | 0.9913 | -0.16735 | 8.8625
19 | 0.0029595 | 0.00074142 | -0.0029593 | -0.00074167 | 2.2544e-07 | -2.4695e-07 | 0.0044465 | 0.0044466 | 0.0044466 | 0.99039 | -0.18518 | 0.9903 | -0.18678 | 1.2216
20 | -0.029641 | -0.0074305 | 0.029643 | 0.0074315 | 1.6909e-06 | 1.0528e-06 | 0.044494 | 0.044494 | 0.044494 | 0.9913 | -0.16735 | 0.99137 | -0.16616 | 12.2235
21 | -0.031629 | -0.0079295 | 0.031636 | 0.0079338 | 6.8811e-06 | 4.2989e-06 | 0.047476 | 0.047476 | 0.047476 | 0.99137 | -0.16616 | 0.9916 | -0.16159 | 13.0428
22 | -0.036927 | -0.0092598 | 0.036937 | 0.0092662 | 1.0262e-05 | 6.453e-06 | 0.055415 | 0.055415 | 0.055415 | 0.9916 | -0.16159 | 0.9919 | -0.15576 | 15.2239
23 | -0.042155 | -0.010574 | 0.042171 | 0.010584 | 1.5613e-05 | 9.8581e-06 | 0.063242 | 0.063242 | 0.063242 | 0.9919 | -0.15576 | 0.9923 | -0.148 | 17.3743
24 | -0.058839 | -0.014761 | 0.058843 | 0.014764 | 4.5607e-06 | 2.8987e-06 | 0.088238 | 0.088238 | 0.088238 | 0.9923 | -0.148 | 0.99239 | -0.14637 | 24.2411
25 | -0.066239 | -0.016618 | 0.066372 | 0.016702 | 0.00013301 | 8.4662e-05 | 0.099326 | 0.099326 | 0.099326 | 0.99239 | -0.14637 | 0.99456 | -0.10434 | 27.2874
26 | -0.066372 | -0.016702 | 0.06641 | 0.016727 | 3.8243e-05 | 2.4341e-05 | 0.099326 | 0.099326 | 0.099326 | 0.99456 | -0.10434 | 0.99519 | -0.092292 | 27.2874
27 | -0.074555 | -0.018719 | 0.074578 | 0.018734 | 2.3033e-05 | 1.4676e-05 | 0.11109 | 0.11109 | 0.11109 | 0.99871 | -0.024736 | 0.99905 | -0.018262 | 30.5202
28 | -0.077487 | -0.019463 | 0.077509 | 0.019477 | 2.1965e-05 | 1.4e-05 | 0.11543 | 0.11543 | 0.11543 | 0.99905 | -0.018262 | 0.99936 | -0.012324 | 31.7108
29 | -0.080008 | -0.020103 | 0.080055 | 0.020133 | 4.7093e-05 | 3.0024e-05 | 0.11915 | 0.11915 | 0.11915 | 0.99936 | -0.012324 | 1 | 0 | 32.7329
30 | 0.20891 | 0.052631 | -0.20882 | -0.052575 | 8.8935e-05 | 5.679e-05 | 0.31096 | 0.31096 | 0.31096 | 1 | 0 | 0.99954 | -0.0089047 | 42.714
31 | 0.19112 | 0.048138 | -0.19105 | -0.048094 | 6.8189e-05 | 4.3523e-05 | 0.2846 | 0.2846 | 0.2846 | 0.99954 | -0.0089047 | 0.99915 | -0.016369 | 39.0937
32 | 0.0035549 | 0.00089091 | -0.0035549 | -0.00089093 | 3.3627e-08 | -2.0111e-08 | 0.0053028 | 0.0053028 | 0.0053028 | 0.99755 | -0.047141 | 0.99754 | -0.047339 | 1.4568
33 | -0.06641 | -0.016727 | 0.066533 | 0.016805 | 0.00012349 | 7.8597e-05 | 0.099326 | 0.099326 | 0.099326 | 0.99519 | -0.092292 | 0.99721 | -0.053486 | 27.2873
34 | 0.17527 | 0.04414 | -0.17526 | -0.044131 | 1.3856e-05 | 8.8394e-06 | 0.26111 | 0.26111 | 0.26111 | 0.99915 | -0.016369 | 0.99906 | -0.018022 | 35.8664
35 | 0.14066 | 0.035461 | -0.14057 | -0.035401 | 9.3108e-05 | 5.9515e-05 | 0.20958 | 0.20958 | 0.20958 | 0.99906 | -0.018022 | 0.99834 | -0.031864 | 57.5767
36 | 0.11395 | 0.028729 | -0.11391 | -0.028702 | 4.349e-05 | 2.7781e-05 | 0.1699 | 0.1699 | 0.1699 | 0.99834 | -0.031864 | 0.99792 | -0.039843 | 46.6759
37 | 0.10068 | 0.025388 | -0.10066 | -0.02537 | 2.831e-05 | 1.8075e-05 | 0.15019 | 0.15019 | 0.15019 | 0.99792 | -0.039843 | 0.99762 | -0.045719 | 41.2601
38 | -0.089492 | -0.022559 | 0.089525 | 0.02258 | 3.3274e-05 | 2.123e-05 | 0.13358 | 0.13358 | 0.13358 | 0.99721 | -0.053486 | 0.99762 | -0.045719 | 36.6988
39 | 0.0024062 | 0.00060295 | -0.0024062 | -0.00060304 | 4.3292e-08 | -8.8846e-08 | 0.0035926 | 0.0035926 | 0.0035926 | 0.99662 | -0.064974 | 0.9966 | -0.065351 | 0.98698

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38029 | 0.095239

## res_load
| p_mw | q_mvar
0 | 0.0031112 | 0.00077973
1 | 0.0033019 | 0.00082753
2 | 0.0034215 | 0.00085751
3 | 0.0056585 | 0.0014181
4 | 0.00285 | 0.00071428
5 | 0.0040695 | 0.0010199
6 | 0.0029904 | 0.00074946
7 | 0.0077497 | 0.0019423
8 | 0.01121 | 0.0028095
9 | 0.0033811 | 0.00084739
10 | 0.0031701 | 0.00079449
11 | 0.0074398 | 0.0018646
12 | 0.0023523 | 0.00058954
13 | 0.0021776 | 0.00054576
14 | 0.0081502 | 0.0020426
15 | 0.0029593 | 0.00074167
16 | 0.0019868 | 0.00049794
17 | 0.0052908 | 0.001326
18 | 0.0052176 | 0.0013077
19 | 0.016668 | 0.0041775
20 | 0.0073952 | 0.0018534
21 | 0.0020828 | 0.00052199
22 | 0.0029096 | 0.0007292
23 | 0.0024989 | 0.00062627
24 | 0.089674 | 0.022474
25 | 0.017704 | 0.0044369
26 | 0.016263 | 0.0040759
27 | 0.015776 | 0.0039538
28 | 0.034597 | 0.0086707
29 | 0.026621 | 0.0066719
30 | 0.013221 | 0.0033134
31 | 0.0035549 | 0.00089093
32 | 0.022958 | 0.0057539
33 | 0.011131 | 0.0027898
34 | 0.0057942 | 0.0014522
35 | 0.0024062 | 0.00060304

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1