## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-152_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-152_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-152_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-152_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-152_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-152_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2701-152_0_5_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2701-152_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2701-152_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2701-152_0_5_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_2701-152_0_5_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_2701-152_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2701-152_0_5_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_2701-152_0_5_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_2701-152_0_5_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_2701-152_0_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2701-152_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2701-152_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2701-152_0_5_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_2701-152_0_5_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_2701-152_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2701-152_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2701-152_0_5_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2701-152_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2701-152_0_5_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2701-152_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2701-152_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2701-152_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2701-152_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2701-152_0_5_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_2701-152_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2701-152_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2701-152_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2701-152_0_5_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2701-152_0_5_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2701-152_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2701-152_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2701-152_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-152_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2701-152_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2701-152_0_5_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_2701-152_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2701-152_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2701-152_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2701-152_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2701-152_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2701-152_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2701-152_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_2701-152_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2701-152_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2701-152_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_2701-152_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2701-152_0_5_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2701-152_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_2701-152_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2701-152_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2701-152_0_5_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_2701-152_0_5_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2701-152_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2701-152_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_MV_560_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-152_0_5_load_0 | 0 | 0.046402 | 0.011629 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-152_0_5_load_1 | 1 | 0.030922 | 0.0077499 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-152_0_5_load_2 | 2 | 0.014722 | 0.0036898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-152_0_5_load_3 | 3 | 0.018775 | 0.0047056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-152_0_5_load_5 | 7 | 0.054563 | 0.013675 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-152_0_5_load_45 | 9 | 0.0027454 | 0.00068807 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-152_0_5_load_49 | 10 | 0.003665 | 0.00091853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-152_0_5_load_34 | 12 | 0.0049219 | 0.0012336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-152_0_5_load_37 | 13 | 0.019428 | 0.004869 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-152_0_5_load_36 | 14 | 0.0052747 | 0.001322 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-152_0_5_load_22 | 16 | 0.086879 | 0.021774 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-152_0_5_load_18 | 17 | 0.00073482 | 0.00018416 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-152_0_5_load_59 | 18 | 0.0090362 | 0.0022647 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-152_0_5_load_58 | 19 | 0.0069063 | 0.0017309 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-152_0_5_load_17 | 20 | 0.0069042 | 0.0017303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-152_0_5_load_47 | 21 | 0.0036906 | 0.00092495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-152_0_5_load_32 | 22 | 0.0054547 | 0.0013671 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-152_0_5_load_38 | 23 | 0.0037117 | 0.00093023 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-152_0_5_load_13 | 25 | 0.0015099 | 0.00037841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-152_0_5_load_14 | 26 | 0.00049022 | 0.00012286 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-152_0_5_load_15 | 27 | 0.0020319 | 0.00050924 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-152_0_5_load_16 | 28 | 0.00065125 | 0.00016322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-152_0_5_load_44 | 29 | 0.008771 | 0.0021982 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-152_0_5_load_21 | 30 | 0.00049569 | 0.00012423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-152_0_5_load_19 | 31 | 0.0016536 | 0.00041443 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-152_0_5_load_24 | 32 | 0.0093743 | 0.0023494 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-152_0_5_load_40 | 33 | 0.017107 | 0.0042873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-152_0_5_load_41 | 34 | 0.0069633 | 0.0017452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-152_0_5_load_25 | 35 | 0.020493 | 0.005136 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-152_0_5_load_26 | 36 | 0.006223 | 0.0015596 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-152_0_5_load_27 | 37 | 0.0027554 | 0.00069058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-152_0_5_load_29 | 38 | 0.0096775 | 0.0024254 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-152_0_5_load_63 | 40 | 0.0029625 | 0.00074246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-152_0_5_load_51 | 41 | 0.0038378 | 0.00096185 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-152_0_5_load_39 | 42 | 0.0049104 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-152_0_5_load_50 | 43 | 0.0027861 | 0.00069825 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-152_0_5_load_30 | 44 | 0.0082164 | 0.0020592 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-152_0_5_load_31 | 45 | 0.0060322 | 0.0015118 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-152_0_5_load_33 | 46 | 0.0059536 | 0.0014921 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-152_0_5_load_52 | 47 | 0.0060416 | 0.0015142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-152_0_5_load_53 | 48 | 0.0055726 | 0.0013966 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-152_0_5_load_43 | 49 | 0.0099763 | 0.0025003 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-152_0_5_load_42 | 50 | 0.029329 | 0.0073505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-152_0_5_load_46 | 51 | 0.011886 | 0.0029788 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-152_0_5_load_48 | 52 | 0.0060541 | 0.0015173 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-152_0_5_load_56 | 53 | 0.005187 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-152_0_5_load_54 | 54 | 0.0053794 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-152_0_5_load_55 | 55 | 0.0059687 | 0.0014959 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-152_0_5_load_57 | 56 | 0.010393 | 0.0026048 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-152_0_5_load_62 | 57 | 0.015866 | 0.0039765 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-152_0_5_load_61 | 58 | 0.0064765 | 0.0016232 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-152_0_5_load_60 | 59 | 0.0072863 | 0.0018261 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-152_0_5_line_0 |  | 0 | 1 | 0.0075196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-152_0_5_line_1 |  | 0 | 2 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-152_0_5_line_2 |  | 1 | 3 | 0.0087235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-152_0_5_line_3 |  | 2 | 4 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-152_0_5_line_4 |  | 4 | 5 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-152_0_5_line_5 |  | 4 | 6 | 0.28889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-152_0_5_line_6 |  | 5 | 7 | 0.025769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-152_0_5_line_7 |  | 6 | 14 | 0.029587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_2701-152_0_5_line_8 |  | 8 | 9 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-152_0_5_line_9 |  | 8 | 10 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-152_0_5_line_10 |  | 9 | 20 | 0.0087946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-152_0_5_line_11 |  | 10 | 21 | 0.00066275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-152_0_5_line_12 |  | 11 | 12 | 0.010399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-152_0_5_line_13 |  | 11 | 13 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2701-152_0_5_line_14 |  | 12 | 22 | 0.0063105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-152_0_5_line_15 |  | 13 | 23 | 0.00099906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_2701-152_0_5_line_16 |  | 14 | 24 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2701-152_0_5_line_17 |  | 15 | 16 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-152_0_5_line_18 |  | 15 | 17 | 0.040562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-152_0_5_line_19 |  | 17 | 31 | 0.0087742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-152_0_5_line_20 |  | 18 | 19 | 0.0072619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-152_0_5_line_21 |  | 19 | 59 | 0.0061486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-152_0_5_line_22 |  | 20 | 27 | 0.0089556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-152_0_5_line_23 |  | 21 | 51 | 0.0057667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-152_0_5_line_24 |  | 22 | 44 | 0.0067236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-152_0_5_line_25 |  | 23 | 42 | 0.0001189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2701-152_0_5_line_26 |  | 24 | 39 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2701-152_0_5_line_27 |  | 24 | 36 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2701-152_0_5_line_28 |  | 25 | 26 | 0.0032041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-152_0_5_line_29 |  | 25 | 27 | 0.0059558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-152_0_5_line_30 |  | 26 | 28 | 0.0058137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-152_0_5_line_31 |  | 28 | 29 | 0.013073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-152_0_5_line_32 |  | 29 | 30 | 0.00071727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-152_0_5_line_33 |  | 30 | 31 | 0.0003758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-152_0_5_line_34 |  | 32 | 33 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-152_0_5_line_35 |  | 33 | 34 | 0.0071429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-152_0_5_line_36 |  | 34 | 50 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-152_0_5_line_37 |  | 35 | 36 | 0.0046413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_2701-152_0_5_line_38 |  | 35 | 37 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2701-152_0_5_line_39 |  | 37 | 38 | 0.0025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2701-152_0_5_line_40 |  | 38 | 40 | 0.0061982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2701-152_0_5_line_41 |  | 39 | 41 | 0.0067032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-152_0_5_line_42 |  | 39 | 42 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2701-152_0_5_line_43 |  | 40 | 43 | 0.0011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2701-152_0_5_line_44 |  | 41 | 49 | 0.0077005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-152_0_5_line_45 |  | 43 | 52 | 0.0084646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-152_0_5_line_46 |  | 44 | 45 | 0.0059164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-152_0_5_line_47 |  | 45 | 46 | 0.0054418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-152_0_5_line_48 |  | 46 | 47 | 0.0050244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-152_0_5_line_49 |  | 47 | 48 | 0.0048755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-152_0_5_line_50 |  | 48 | 53 | 0.0044959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-152_0_5_line_51 |  | 49 | 50 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-152_0_5_line_52 |  | 51 | 52 | 0.0028579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-152_0_5_line_53 |  | 53 | 54 | 0.0044036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-152_0_5_line_54 |  | 54 | 55 | 0.0047268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-152_0_5_line_55 |  | 55 | 56 | 0.0066817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-152_0_5_line_56 |  | 56 | 57 | 0.011393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-152_0_5_line_57 |  | 57 | 58 | 0.0091058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-152_0_5_line_58 |  | 58 | 59 | 0.0057185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-152_0_5_trafo_11 | 0.63 MVA 20/0.4 kV | 60 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2611253.6359 | 1267628.8536 | 2611247.3147 | 1267624.7808
1 | 2611253.6359 | 1267628.8536 | 2611269.2359 | 1267638.9047 | 2611270.3383 | 1267639.4568
2 | 2611247.3147 | 1267624.7808 | 2611244.1736 | 1267622.757 | 2611240.7722 | 1267619.1102
3 | 2611287.1992 | 1267647.9006 | 2611270.3383 | 1267639.4568
4 | 2611296.2869 | 1267634.2528 | 2611287.1992 | 1267647.9006
5 | 2611287.1992 | 1267647.9006 | 2611301.9341 | 1267660.6375 | 2611304.9542 | 1267667.5036 | 2611448.0897 | 1267772.8738 | 2611449.7657 | 1267774.1112 | 2611452.3843 | 1267770.4692 | 2611459.6964 | 1267760.4763 | 2611460.4857 | 1267760.9782 | 2611465.3639 | 1267764.2343 | 2611472.6389 | 1267754.0301 | 2611474.951 | 1267753.2229 | 2611481.168 | 1267749.1432 | 2611489.5402 | 1267755.3748 | 2611505.1795 | 1267767.1022 | 2611509.9213 | 1267770.814
6 | 2611296.2869 | 1267634.2528 | 2611280.8664 | 1267613.607
7 | 2611509.9213 | 1267770.814 | 2611527.337 | 1267746.8957
8 | 2611592.6338 | 1267770.9526 | 2611600.346 | 1267758.4559
9 | 2611592.6338 | 1267770.9526 | 2611583.15 | 1267765.8285
10 | 2611605.1536 | 1267751.0986 | 2611603.4078 | 1267753.4948 | 2611600.346 | 1267758.4559
11 | 2611582.5669 | 1267765.5135 | 2611583.15 | 1267765.8285
12 | 2611523.1555 | 1267707.1505 | 2611529.797 | 1267699.1488
13 | 2611523.1555 | 1267707.1505 | 2611523.8712 | 1267710.6433 | 2611520.4683 | 1267715.062 | 2611521.6784 | 1267715.9205 | 2611527.81 | 1267720.2519
14 | 2611529.797 | 1267699.1488 | 2611533.8274 | 1267694.293
15 | 2611528.626 | 1267720.8283 | 2611527.81 | 1267720.2519
16 | 2611534.1752 | 1267737.5043 | 2611527.337 | 1267746.8957
17 | 2611663.0283 | 1267685.6194 | 2611641.2435 | 1267667.77
18 | 2611663.0283 | 1267685.6194 | 2611637.1955 | 1267713.7885 | 2611635.6431 | 1267715.5412
19 | 2611629.8254 | 1267722.1094 | 2611635.6431 | 1267715.5412
20 | 2611588.67 | 1267635.2319 | 2611593.8501 | 1267630.1425
21 | 2611588.67 | 1267635.2319 | 2611584.2841 | 1267639.5411
22 | 2611605.1536 | 1267751.0986 | 2611609.8147 | 1267744.7011 | 2611610.5044 | 1267743.9225
23 | 2611577.4934 | 1267762.7722 | 2611582.5669 | 1267765.5135
24 | 2611533.8274 | 1267694.293 | 2611538.1216 | 1267689.1193
25 | 2611528.7231 | 1267720.8969 | 2611528.626 | 1267720.8283
26 | 2611534.1752 | 1267737.5043 | 2611540.3627 | 1267729.255
27 | 2611534.1752 | 1267737.5043 | 2611546.0831 | 1267744.8381
28 | 2611614.4534 | 1267739.4641 | 2611616.5779 | 1267737.0656
29 | 2611614.4534 | 1267739.4641 | 2611610.5044 | 1267743.9225
30 | 2611620.4326 | 1267732.7136 | 2611616.5779 | 1267737.0656
31 | 2611620.4326 | 1267732.7136 | 2611629.1006 | 1267722.9276
32 | 2611629.1006 | 1267722.9276 | 2611629.5762 | 1267722.3907
33 | 2611629.5762 | 1267722.3907 | 2611629.8254 | 1267722.1094
34 | 2611579.0629 | 1267680.2671 | 2611571.8215 | 1267688.8327
35 | 2611567.21 | 1267694.2876 | 2611571.8215 | 1267688.8327
36 | 2611567.21 | 1267694.2876 | 2611561.1893 | 1267701.4093 | 2611558.3697 | 1267705.1792
37 | 2611550.035 | 1267747.2721 | 2611546.0831 | 1267744.8381
38 | 2611558.84 | 1267752.6937 | 2611558.8241 | 1267752.6851 | 2611550.035 | 1267747.2721
39 | 2611558.84 | 1267752.6937 | 2611561.0828 | 1267753.9055
40 | 2611561.0828 | 1267753.9055 | 2611566.5359 | 1267756.8518
41 | 2611540.3627 | 1267729.255 | 2611544.3775 | 1267723.8871
42 | 2611540.3627 | 1267729.255 | 2611535.0943 | 1267725.3976 | 2611528.7231 | 1267720.8969
43 | 2611567.532 | 1267757.39 | 2611566.5359 | 1267756.8518
44 | 2611544.3775 | 1267723.8871 | 2611548.9897 | 1267717.7205
45 | 2611567.532 | 1267757.39 | 2611574.9791 | 1267761.4137
46 | 2611541.9002 | 1267684.5667 | 2611538.1216 | 1267689.1193
47 | 2611541.9002 | 1267684.5667 | 2611542.3849 | 1267683.9827 | 2611545.5106 | 1267680.4957
48 | 2611545.5106 | 1267680.4957 | 2611548.8642 | 1267676.7543
49 | 2611548.8642 | 1267676.7543 | 2611552.1184 | 1267673.1238
50 | 2611552.1184 | 1267673.1238 | 2611555.1192 | 1267669.776
51 | 2611558.3697 | 1267705.1792 | 2611548.9897 | 1267717.7205
52 | 2611577.4934 | 1267762.7722 | 2611574.9791 | 1267761.4137
53 | 2611558.0585 | 1267666.4969 | 2611555.1192 | 1267669.776
54 | 2611558.0585 | 1267666.4969 | 2611561.2135 | 1267662.9771
55 | 2611561.2135 | 1267662.9771 | 2611565.6733 | 1267658.0016
56 | 2611565.6733 | 1267658.0016 | 2611566.9892 | 1267656.5336 | 2611573.7097 | 1267649.9306
57 | 2611580.205 | 1267643.5489 | 2611573.7097 | 1267649.9306
58 | 2611580.205 | 1267643.5489 | 2611584.2841 | 1267639.5411

## bus_geodata
| x | y | coords
0 | 2611253.6359 | 1267628.8536
1 | 2611247.3147 | 1267624.7808
2 | 2611270.3383 | 1267639.4568
3 | 2611240.7722 | 1267619.1102
4 | 2611287.1992 | 1267647.9006
5 | 2611296.2869 | 1267634.2528
6 | 2611509.9213 | 1267770.814
7 | 2611280.8664 | 1267613.607
8 | 2611592.6338 | 1267770.9526
9 | 2611600.346 | 1267758.4559
10 | 2611583.15 | 1267765.8285
11 | 2611523.1555 | 1267707.1505
12 | 2611529.797 | 1267699.1488
13 | 2611527.81 | 1267720.2519
14 | 2611527.337 | 1267746.8957
15 | 2611663.0283 | 1267685.6194
16 | 2611641.2435 | 1267667.77
17 | 2611635.6431 | 1267715.5412
18 | 2611593.8501 | 1267630.1425
19 | 2611588.67 | 1267635.2319
20 | 2611605.1536 | 1267751.0986
21 | 2611582.5669 | 1267765.5135
22 | 2611533.8274 | 1267694.293
23 | 2611528.626 | 1267720.8283
24 | 2611534.1752 | 1267737.5043
25 | 2611614.4534 | 1267739.4641
26 | 2611616.5779 | 1267737.0656
27 | 2611610.5044 | 1267743.9225
28 | 2611620.4326 | 1267732.7136
29 | 2611629.1006 | 1267722.9276
30 | 2611629.5762 | 1267722.3907
31 | 2611629.8254 | 1267722.1093
32 | 2611579.0629 | 1267680.2671
33 | 2611571.8215 | 1267688.8327
34 | 2611567.21 | 1267694.2876
35 | 2611550.035 | 1267747.2721
36 | 2611546.0831 | 1267744.8381
37 | 2611558.84 | 1267752.6937
38 | 2611561.0828 | 1267753.9055
39 | 2611540.3627 | 1267729.255
40 | 2611566.5359 | 1267756.8518
41 | 2611544.3775 | 1267723.8871
42 | 2611528.7231 | 1267720.8969
43 | 2611567.532 | 1267757.39
44 | 2611538.1216 | 1267689.1193
45 | 2611541.9002 | 1267684.5667
46 | 2611545.5106 | 1267680.4957
47 | 2611548.8642 | 1267676.7543
48 | 2611552.1184 | 1267673.1238
49 | 2611548.9897 | 1267717.7205
50 | 2611558.3697 | 1267705.1792
51 | 2611577.4934 | 1267762.7722
52 | 2611574.9791 | 1267761.4137
53 | 2611555.1192 | 1267669.776
54 | 2611558.0585 | 1267666.4969
55 | 2611561.2135 | 1267662.9771
56 | 2611565.6733 | 1267658.0016
57 | 2611573.7097 | 1267649.9306
58 | 2611580.205 | 1267643.5489
59 | 2611584.2841 | 1267639.5411
60 | 2611540.3627 | 1267729.255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97559 | -0.46972 | 0.046402 | 0.011629
1 | 0.97524 | -0.47656 | 0.030922 | 0.0077499
2 | 0.97735 | -0.43495 | 0.014722 | 0.0036898
3 | 0.97509 | -0.47956 | 0.018775 | 0.0047056
4 | 0.9793 | -0.39689 | 0 | 0
5 | 0.97847 | -0.41315 | 0 | 0
6 | 0.99411 | -0.11173 | 0 | 0
7 | 0.97716 | -0.43878 | 0.054563 | 0.013675
8 | 0.99092 | -0.17304 | 0 | 0
9 | 0.98938 | -0.20251 | 0.0027454 | 0.00068807
10 | 0.99204 | -0.15147 | 0.003665 | 0.00091853
11 | 1 | 0 | -0.58177 | -0.14812
12 | 0.99891 | -0.020811 | 0.0049219 | 0.0012336
13 | 0.99808 | -0.03629 | 0.019428 | 0.004869
14 | 0.99524 | -0.090177 | 0.0052747 | 0.001322
15 | 0.98098 | -0.3654 | 0 | 0
16 | 0.97871 | -0.40982 | 0.086879 | 0.021774
17 | 0.98424 | -0.30178 | 0.00073482 | 0.00018416
18 | 0.99378 | -0.11969 | 0.0090362 | 0.0022647
19 | 0.99384 | -0.11853 | 0.0069063 | 0.0017309
20 | 0.98849 | -0.21977 | 0.0069042 | 0.0017303
21 | 0.99211 | -0.1501 | 0.0036906 | 0.00092495
22 | 0.99828 | -0.032919 | 0.0054547 | 0.0013671
23 | 0.99798 | -0.038209 | 0.0037117 | 0.00093023
24 | 0.9957 | -0.081458 | 0 | 0
25 | 0.98707 | -0.24705 | 0.0015099 | 0.00037841
26 | 0.98678 | -0.25276 | 0.00049022 | 0.00012286
27 | 0.98763 | -0.23627 | 0.0020319 | 0.00050924
28 | 0.98624 | -0.26309 | 0.00065125 | 0.00016322
29 | 0.98505 | -0.2862 | 0.008771 | 0.0021982
30 | 0.98499 | -0.28736 | 0.00049569 | 0.00012423
31 | 0.98496 | -0.28796 | 0.0016536 | 0.00041443
32 | 0.99398 | -0.11508 | 0.0093743 | 0.0023494
33 | 0.99407 | -0.11323 | 0.017107 | 0.0042873
34 | 0.99424 | -0.10989 | 0.0069633 | 0.0017452
35 | 0.99493 | -0.096329 | 0.020493 | 0.005136
36 | 0.99512 | -0.092717 | 0.006223 | 0.0015596
37 | 0.99455 | -0.10345 | 0.0027554 | 0.00069058
38 | 0.99446 | -0.10517 | 0.0096775 | 0.0024254
39 | 0.99655 | -0.065455 | 0 | 0
40 | 0.99426 | -0.1091 | 0.0029625 | 0.00074246
41 | 0.99608 | -0.07447 | 0.0038378 | 0.00096185
42 | 0.99797 | -0.038435 | 0.0049104 | 0.0012307
43 | 0.99418 | -0.11051 | 0.0027861 | 0.00069825
44 | 0.99764 | -0.045194 | 0.0082164 | 0.0020592
45 | 0.99712 | -0.055156 | 0.0060322 | 0.0015118
46 | 0.99668 | -0.063752 | 0.0059536 | 0.0014921
47 | 0.99629 | -0.07117 | 0.0060416 | 0.0015142
48 | 0.99595 | -0.077857 | 0.0055726 | 0.0013966
49 | 0.99557 | -0.084316 | 0.0099763 | 0.0025003
50 | 0.99467 | -0.10162 | 0.029329 | 0.0073505
51 | 0.99275 | -0.13783 | 0.011886 | 0.0029788
52 | 0.9931 | -0.13116 | 0.0060541 | 0.0015173
53 | 0.99565 | -0.083586 | 0.005187 | 0.0013
54 | 0.99538 | -0.088799 | 0.0053794 | 0.0013482
55 | 0.99511 | -0.093951 | 0.0059687 | 0.0014959
56 | 0.99477 | -0.10054 | 0.010393 | 0.0026048
57 | 0.9943 | -0.10968 | 0.015866 | 0.0039765
58 | 0.99405 | -0.11445 | 0.0064765 | 0.0016232
59 | 0.99393 | -0.1168 | 0.0072863 | 0.0018261
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.049717 | 0.012467 | -0.049701 | -0.012457 | 1.6216e-05 | 1.0284e-05 | 0.075833 | 0.075833 | 0.075833 | 0.97559 | -0.46972 | 0.97524 | -0.47656 | 20.8333
1 | -0.096119 | -0.024097 | 0.096278 | 0.024199 | 0.00015952 | 0.00010184 | 0.14661 | 0.14661 | 0.14661 | 0.97559 | -0.46972 | 0.97735 | -0.43495 | 40.277
2 | 0.018778 | 0.0047072 | -0.018775 | -0.0047056 | 2.6855e-06 | 1.6099e-06 | 0.028652 | 0.028652 | 0.028652 | 0.97524 | -0.47656 | 0.97509 | -0.47956 | 7.8714
3 | -0.111 | -0.027888 | 0.1112 | 0.028017 | 0.00020202 | 0.00012906 | 0.16902 | 0.16902 | 0.16902 | 0.97735 | -0.43495 | 0.9793 | -0.39689 | 46.4348
4 | 0.054672 | 0.013744 | -0.05463 | -0.013717 | 4.241e-05 | 2.6937e-05 | 0.083088 | 0.083088 | 0.083088 | 0.9793 | -0.39689 | 0.97847 | -0.41315 | 22.8263
5 | -0.16587 | -0.041762 | 0.16817 | 0.043219 | 0.0022952 | 0.0014579 | 0.25211 | 0.25211 | 0.25211 | 0.9793 | -0.39689 | 0.99411 | -0.11173 | 23.087
6 | 0.05463 | 0.013717 | -0.054563 | -0.013675 | 6.6712e-05 | 4.2372e-05 | 0.083088 | 0.083088 | 0.083088 | 0.97847 | -0.41315 | 0.97716 | -0.43878 | 22.8264
7 | -0.16817 | -0.043219 | 0.16835 | 0.043331 | 0.00017629 | 0.00011129 | 0.25211 | 0.25211 | 0.25211 | 0.99411 | -0.11173 | 0.99524 | -0.090177 | 17.315
8 | 0.11396 | 0.028984 | -0.1138 | -0.028881 | 0.00016155 | 0.0001032 | 0.17128 | 0.17128 | 0.17128 | 0.99092 | -0.17304 | 0.98938 | -0.20251 | 47.0543
9 | -0.11396 | -0.028984 | 0.11408 | 0.02906 | 0.00011859 | 7.5756e-05 | 0.17128 | 0.17128 | 0.17128 | 0.99092 | -0.17304 | 0.99204 | -0.15147 | 47.0543
10 | 0.11105 | 0.028193 | -0.11096 | -0.028134 | 9.2141e-05 | 5.8857e-05 | 0.16715 | 0.16715 | 0.16715 | 0.98938 | -0.20251 | 0.98849 | -0.21977 | 45.9199
11 | -0.11774 | -0.029978 | 0.11775 | 0.029983 | 7.7664e-06 | 4.962e-06 | 0.17677 | 0.17677 | 0.17677 | 0.99204 | -0.15147 | 0.99211 | -0.1501 | 48.5645
12 | 0.11517 | 0.029049 | -0.11506 | -0.028976 | 0.00011462 | 7.3219e-05 | 0.17144 | 0.17144 | 0.17144 | 1 | 0 | 0.99891 | -0.020811 | 47.0992
13 | 0.46494 | 0.11907 | -0.46413 | -0.11855 | 0.00081583 | 0.00052118 | 0.69275 | 0.69275 | 0.69275 | 1 | 0 | 0.99808 | -0.03629 | 47.5788
14 | 0.11013 | 0.027742 | -0.11007 | -0.027702 | 6.3733e-05 | 4.0707e-05 | 0.16411 | 0.16411 | 0.16411 | 0.99891 | -0.020811 | 0.99828 | -0.032919 | 45.085
15 | 0.4447 | 0.11368 | -0.44466 | -0.11365 | 4.1268e-05 | 2.6359e-05 | 0.66378 | 0.66378 | 0.66378 | 0.99808 | -0.03629 | 0.99798 | -0.038209 | 45.5895
16 | -0.17362 | -0.044653 | 0.17369 | 0.044699 | 7.3619e-05 | 4.6512e-05 | 0.25999 | 0.25999 | 0.25999 | 0.99524 | -0.090177 | 0.9957 | -0.081458 | 17.8566
17 | 0.087063 | 0.021892 | -0.086879 | -0.021774 | 0.00018427 | 0.00011758 | 0.13209 | 0.13209 | 0.13209 | 0.98098 | -0.3654 | 0.97871 | -0.40982 | 36.2883
18 | -0.087063 | -0.021892 | 0.087329 | 0.022061 | 0.00026539 | 0.00016934 | 0.13209 | 0.13209 | 0.13209 | 0.98098 | -0.3654 | 0.98424 | -0.30178 | 36.2883
19 | -0.088064 | -0.022245 | 0.088122 | 0.022282 | 5.8378e-05 | 3.725e-05 | 0.1332 | 0.1332 | 0.1332 | 0.98424 | -0.30178 | 0.98496 | -0.28796 | 36.5934
20 | -0.0090362 | -0.0022647 | 0.0090367 | 0.0022649 | 4.9853e-07 | 2.2497e-07 | 0.01353 | 0.01353 | 0.01353 | 0.99378 | -0.11969 | 0.99384 | -0.11853 | 3.7171
21 | -0.015943 | -0.0039958 | 0.015944 | 0.0039966 | 1.3138e-06 | 7.6116e-07 | 0.023871 | 0.023871 | 0.023871 | 0.99384 | -0.11853 | 0.99393 | -0.1168 | 6.5579
22 | 0.10406 | 0.026403 | -0.10397 | -0.026351 | 8.2523e-05 | 5.27e-05 | 0.15676 | 0.15676 | 0.15676 | 0.98849 | -0.21977 | 0.98763 | -0.23627 | 43.0647
23 | -0.12144 | -0.030908 | 0.12151 | 0.030954 | 7.1876e-05 | 4.5926e-05 | 0.18231 | 0.18231 | 0.18231 | 0.99211 | -0.1501 | 0.99275 | -0.13783 | 50.0852
24 | 0.10462 | 0.026335 | -0.10455 | -0.026295 | 6.1343e-05 | 3.9172e-05 | 0.15598 | 0.15598 | 0.15598 | 0.99828 | -0.032919 | 0.99764 | -0.045194 | 42.8513
25 | 0.44095 | 0.11272 | -0.44094 | -0.11272 | 4.8297e-06 | 3.0848e-06 | 0.65825 | 0.65825 | 0.65825 | 0.99798 | -0.038209 | 0.99797 | -0.038435 | 45.2094
26 | -0.35846 | -0.091667 | 0.35874 | 0.091844 | 0.00027781 | 0.00017726 | 0.53635 | 0.53635 | 0.53635 | 0.9957 | -0.081458 | 0.99655 | -0.065455 | 36.8371
27 | 0.18477 | 0.046967 | -0.18467 | -0.046904 | 0.00010013 | 6.3358e-05 | 0.27636 | 0.27636 | 0.27636 | 0.9957 | -0.081458 | 0.99512 | -0.092717 | 18.9805
28 | 0.10038 | 0.025429 | -0.10035 | -0.025412 | 2.7548e-05 | 1.759e-05 | 0.15142 | 0.15142 | 0.15142 | 0.98707 | -0.24705 | 0.98678 | -0.25276 | 41.5984
29 | -0.10189 | -0.025808 | 0.10194 | 0.025842 | 5.2758e-05 | 3.3689e-05 | 0.15369 | 0.15369 | 0.15369 | 0.98707 | -0.24705 | 0.98763 | -0.23627 | 42.2237
30 | 0.09986 | 0.025289 | -0.099811 | -0.025257 | 4.9498e-05 | 3.1604e-05 | 0.15068 | 0.15068 | 0.15068 | 0.98678 | -0.25276 | 0.98624 | -0.26309 | 41.3953
31 | 0.09916 | 0.025094 | -0.09905 | -0.025024 | 0.00010986 | 7.0141e-05 | 0.1497 | 0.1497 | 0.1497 | 0.98624 | -0.26309 | 0.98505 | -0.2862 | 41.1254
32 | 0.090279 | 0.022826 | -0.090274 | -0.022823 | 5.0077e-06 | 3.1958e-06 | 0.13645 | 0.13645 | 0.13645 | 0.98505 | -0.2862 | 0.98499 | -0.28736 | 37.4854
33 | 0.089778 | 0.022698 | -0.089776 | -0.022697 | 2.595e-06 | 1.656e-06 | 0.1357 | 0.1357 | 0.1357 | 0.98499 | -0.28736 | 0.98496 | -0.28796 | 37.2797
34 | -0.0093743 | -0.0023494 | 0.0093751 | 0.0023498 | 8.2837e-07 | 3.8476e-07 | 0.014034 | 0.014034 | 0.014034 | 0.99398 | -0.11508 | 0.99407 | -0.11323 | 3.8554
35 | -0.026482 | -0.0066371 | 0.026486 | 0.0066397 | 4.209e-06 | 2.6012e-06 | 0.03964 | 0.03964 | 0.03964 | 0.99407 | -0.11323 | 0.99424 | -0.10989 | 10.8902
36 | -0.033449 | -0.0083849 | 0.033462 | 0.0083931 | 1.3189e-05 | 8.2587e-06 | 0.050062 | 0.050062 | 0.050062 | 0.99424 | -0.10989 | 0.99467 | -0.10162 | 13.7532
37 | -0.17841 | -0.045325 | 0.17844 | 0.045344 | 3.1031e-05 | 1.9619e-05 | 0.26705 | 0.26705 | 0.26705 | 0.99493 | -0.096329 | 0.99512 | -0.092717 | 18.3414
38 | 0.15792 | 0.040189 | -0.15787 | -0.040155 | 5.4176e-05 | 3.4136e-05 | 0.2364 | 0.2364 | 0.2364 | 0.99493 | -0.096329 | 0.99455 | -0.10345 | 16.2364
39 | 0.15511 | 0.039464 | -0.1551 | -0.039456 | 1.2894e-05 | 8.1201e-06 | 0.23228 | 0.23228 | 0.23228 | 0.99455 | -0.10345 | 0.99446 | -0.10517 | 15.9533
40 | 0.14542 | 0.037031 | -0.14539 | -0.037013 | 2.7564e-05 | 1.732e-05 | 0.2178 | 0.2178 | 0.2178 | 0.99446 | -0.10517 | 0.99426 | -0.1091 | 14.9588
41 | 0.076724 | 0.019282 | -0.076691 | -0.019261 | 3.3002e-05 | 2.1034e-05 | 0.11458 | 0.11458 | 0.11458 | 0.99655 | -0.065455 | 0.99608 | -0.07447 | 31.4784
42 | -0.43546 | -0.11113 | 0.43603 | 0.11149 | 0.00056923 | 0.00036356 | 0.65093 | 0.65093 | 0.65093 | 0.99655 | -0.065455 | 0.99797 | -0.038435 | 44.7066
43 | 0.14243 | 0.036271 | -0.14242 | -0.036265 | 9.6642e-06 | 6.1557e-06 | 0.21337 | 0.21337 | 0.21337 | 0.99426 | -0.1091 | 0.99418 | -0.11051 | 29.3085
44 | 0.072854 | 0.018299 | -0.072819 | -0.018277 | 3.4213e-05 | 2.1796e-05 | 0.10885 | 0.10885 | 0.10885 | 0.99608 | -0.07447 | 0.99557 | -0.084316 | 29.9033
45 | 0.13963 | 0.035566 | -0.13949 | -0.035478 | 0.00013891 | 8.8795e-05 | 0.2092 | 0.2092 | 0.2092 | 0.99418 | -0.11051 | 0.9931 | -0.13116 | 57.4714
46 | 0.096338 | 0.024236 | -0.096292 | -0.024207 | 4.583e-05 | 2.9254e-05 | 0.14372 | 0.14372 | 0.14372 | 0.99764 | -0.045194 | 0.99712 | -0.055156 | 39.4845
47 | 0.09026 | 0.022695 | -0.090223 | -0.022672 | 3.7038e-05 | 2.3634e-05 | 0.13472 | 0.13472 | 0.13472 | 0.99712 | -0.055156 | 0.99668 | -0.063752 | 37.0115
48 | 0.084269 | 0.021179 | -0.08424 | -0.02116 | 2.9833e-05 | 1.9028e-05 | 0.12583 | 0.12583 | 0.12583 | 0.99668 | -0.063752 | 0.99629 | -0.07117 | 34.5696
49 | 0.078198 | 0.019646 | -0.078173 | -0.01963 | 2.4946e-05 | 1.5902e-05 | 0.11681 | 0.11681 | 0.11681 | 0.99629 | -0.07117 | 0.99595 | -0.077857 | 32.0906
50 | 0.072601 | 0.018234 | -0.072581 | -0.018221 | 1.9842e-05 | 1.264e-05 | 0.10848 | 0.10848 | 0.10848 | 0.99595 | -0.077857 | 0.99565 | -0.083586 | 29.8033
51 | 0.062843 | 0.015777 | -0.062791 | -0.015744 | 5.1823e-05 | 3.2964e-05 | 0.093937 | 0.093937 | 0.093937 | 0.99557 | -0.084316 | 0.99467 | -0.10162 | 25.8069
52 | -0.1334 | -0.033933 | 0.13344 | 0.03396 | 4.2922e-05 | 2.7433e-05 | 0.20012 | 0.20012 | 0.20012 | 0.99275 | -0.13783 | 0.9931 | -0.13116 | 54.9794
53 | 0.067394 | 0.016921 | -0.067377 | -0.01691 | 1.6756e-05 | 1.0667e-05 | 0.10073 | 0.10073 | 0.10073 | 0.99565 | -0.083586 | 0.99538 | -0.088799 | 27.6736
54 | 0.061997 | 0.015562 | -0.061982 | -0.015553 | 1.5229e-05 | 9.685e-06 | 0.09269 | 0.09269 | 0.09269 | 0.99538 | -0.088799 | 0.99511 | -0.093951 | 25.4643
55 | 0.056014 | 0.014057 | -0.055996 | -0.014045 | 1.7581e-05 | 1.1165e-05 | 0.083765 | 0.083765 | 0.083765 | 0.99511 | -0.093951 | 0.99477 | -0.10054 | 23.0124
56 | 0.045603 | 0.011441 | -0.045583 | -0.011428 | 1.9882e-05 | 1.2577e-05 | 0.068218 | 0.068218 | 0.068218 | 0.99477 | -0.10054 | 0.9943 | -0.10968 | 18.7413
57 | 0.029716 | 0.0074516 | -0.02971 | -0.0074474 | 6.7539e-06 | 4.2044e-06 | 0.044474 | 0.044474 | 0.044474 | 0.9943 | -0.10968 | 0.99405 | -0.11445 | 12.218
58 | 0.023233 | 0.0058243 | -0.023231 | -0.0058227 | 2.5939e-06 | 1.5859e-06 | 0.034779 | 0.034779 | 0.034779 | 0.99405 | -0.11445 | 0.99393 | -0.1168 | 9.5546

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58177 | 0.14812

## res_load
| p_mw | q_mvar
0 | 0.046402 | 0.011629
1 | 0.030922 | 0.0077499
2 | 0.014722 | 0.0036898
3 | 0.018775 | 0.0047056
4 | 0.054563 | 0.013675
5 | 0.0027454 | 0.00068807
6 | 0.003665 | 0.00091853
7 | 0.0049219 | 0.0012336
8 | 0.019428 | 0.004869
9 | 0.0052747 | 0.001322
10 | 0.086879 | 0.021774
11 | 0.00073482 | 0.00018416
12 | 0.0090362 | 0.0022647
13 | 0.0069063 | 0.0017309
14 | 0.0069042 | 0.0017303
15 | 0.0036906 | 0.00092495
16 | 0.0054547 | 0.0013671
17 | 0.0037117 | 0.00093023
18 | 0.0015099 | 0.00037841
19 | 0.00049022 | 0.00012286
20 | 0.0020319 | 0.00050924
21 | 0.00065125 | 0.00016322
22 | 0.008771 | 0.0021982
23 | 0.00049569 | 0.00012423
24 | 0.0016536 | 0.00041443
25 | 0.0093743 | 0.0023494
26 | 0.017107 | 0.0042873
27 | 0.0069633 | 0.0017452
28 | 0.020493 | 0.005136
29 | 0.006223 | 0.0015596
30 | 0.0027554 | 0.00069058
31 | 0.0096775 | 0.0024254
32 | 0.0029625 | 0.00074246
33 | 0.0038378 | 0.00096185
34 | 0.0049104 | 0.0012307
35 | 0.0027861 | 0.00069825
36 | 0.0082164 | 0.0020592
37 | 0.0060322 | 0.0015118
38 | 0.0059536 | 0.0014921
39 | 0.0060416 | 0.0015142
40 | 0.0055726 | 0.0013966
41 | 0.0099763 | 0.0025003
42 | 0.029329 | 0.0073505
43 | 0.011886 | 0.0029788
44 | 0.0060541 | 0.0015173
45 | 0.005187 | 0.0013
46 | 0.0053794 | 0.0013482
47 | 0.0059687 | 0.0014959
48 | 0.010393 | 0.0026048
49 | 0.015866 | 0.0039765
50 | 0.0064765 | 0.0016232
51 | 0.0072863 | 0.0018261

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1