## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-167_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-167_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-167_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-167_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-167_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-167_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-167_0_4_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_2701-167_0_4_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_2701-167_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2701-167_0_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_2701-167_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_2701-167_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2701-167_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_2701-167_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2701-167_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_2701-167_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2701-167_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_2701-167_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2701-167_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2701-167_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2701-167_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2701-167_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2701-167_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2701-167_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2701-167_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2701-167_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2701-167_0_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_2701-167_0_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2701-167_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_2701-167_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2701-167_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2701-167_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2701-167_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2701-167_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2701-167_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2701-167_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2701-167_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2701-167_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2701-167_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_2701-167_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2701-167_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2701-167_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2701-167_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2701-167_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2701-167_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2701-167_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2701-167_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2701-167_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2701-167_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2701-167_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_2701-167_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_MV_562_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-167_0_4_load_0 | 0 | 0.0097118 | 0.002434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-167_0_4_load_5 | 5 | 0.0086652 | 0.0021717 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-167_0_4_load_48 | 6 | 0.021087 | 0.0052848 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-167_0_4_load_56 | 7 | 0.014124 | 0.0035398 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-167_0_4_load_55 | 10 | 0.0085533 | 0.0021437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-167_0_4_load_47 | 11 | 0.015302 | 0.0038349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-167_0_4_load_57 | 12 | 0.013824 | 0.0034646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-167_0_4_load_36 | 14 | 0.0085576 | 0.0021447 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-167_0_4_load_24 | 15 | 0.0065557 | 0.001643 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-167_0_4_load_49 | 16 | 0.0095894 | 0.0024033 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-167_0_4_load_8 | 18 | 0.010233 | 0.0025647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-167_0_4_load_9 | 19 | 0.0078884 | 0.001977 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-167_0_4_load_10 | 20 | 0.012419 | 0.0031124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-167_0_4_load_11 | 21 | 0.013291 | 0.0033311 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-167_0_4_load_13 | 22 | 0.0085067 | 0.002132 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-167_0_4_load_15 | 24 | 0.0090323 | 0.0022637 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-167_0_4_load_16 | 25 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-167_0_4_load_46 | 26 | 0.020555 | 0.0051515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-167_0_4_load_44 | 27 | 0.0094786 | 0.0023756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-167_0_4_load_43 | 28 | 0.003097 | 0.00077617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-167_0_4_load_17 | 29 | 0.0028993 | 0.00072664 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-167_0_4_load_18 | 30 | 0.0025947 | 0.0006503 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-167_0_4_load_19 | 31 | 0.0029235 | 0.00073271 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-167_0_4_load_20 | 32 | 0.0052469 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-167_0_4_load_21 | 33 | 0.002583 | 0.00064735 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-167_0_4_load_37 | 34 | 0.0025774 | 0.00064596 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-167_0_4_load_41 | 35 | 0.0027209 | 0.00068193 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-167_0_4_load_22 | 36 | 0.0024038 | 0.00060244 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-167_0_4_load_23 | 37 | 0.0036515 | 0.00091516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-167_0_4_load_32 | 39 | 0.0027202 | 0.00068175 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-167_0_4_load_33 | 40 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-167_0_4_load_40 | 41 | 0.0038517 | 0.00096534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-167_0_4_load_42 | 42 | 0.0032902 | 0.0008246 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-167_0_4_load_50 | 43 | 0.0077649 | 0.0019461 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-167_0_4_load_27 | 44 | 0.010093 | 0.0025294 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-167_0_4_load_28 | 45 | 0.010337 | 0.0025907 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-167_0_4_load_29 | 46 | 0.018846 | 0.0047232 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-167_0_4_load_30 | 47 | 0.011992 | 0.0030055 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-167_0_4_load_31 | 48 | 0.0085348 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-167_0_4_load_51 | 49 | 0.0037383 | 0.00093691 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-167_0_4_load_52 | 50 | 0.0028484 | 0.00071387 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-167_0_4_line_0 |  | 0 | 1 | 0.0066016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-167_0_4_line_1 |  | 0 | 2 | 0.0045433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-167_0_4_line_2 |  | 1 | 3 | 0.007263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-167_0_4_line_3 |  | 2 | 4 | 0.005495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-167_0_4_line_4 |  | 2 | 5 | 0.025765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-167_0_4_line_5 |  | 3 | 6 | 0.024255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-167_0_4_line_6 |  | 4 | 7 | 0.006663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-167_0_4_line_7 |  | 4 | 8 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-167_0_4_line_8 |  | 6 | 11 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-167_0_4_line_9 |  | 8 | 9 | 0.008668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-167_0_4_line_10 |  | 8 | 10 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-167_0_4_line_11 |  | 9 | 12 | 0.013345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-167_0_4_line_12 |  | 9 | 13 | 0.007137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-167_0_4_line_13 |  | 10 | 14 | 0.0070404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-167_0_4_line_14 |  | 11 | 26 | 0.0098638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-167_0_4_line_15 |  | 13 | 15 | 0.0097049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-167_0_4_line_16 |  | 14 | 48 | 0.0089524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-167_0_4_line_17 |  | 15 | 36 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-167_0_4_line_18 |  | 16 | 17 | 0.025191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-167_0_4_line_19 |  | 17 | 43 | 0.0032597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-167_0_4_line_20 |  | 17 | 38 | 0.005989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-167_0_4_line_21 |  | 18 | 19 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-167_0_4_line_22 |  | 18 | 20 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-167_0_4_line_23 |  | 19 | 21 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-167_0_4_line_24 |  | 21 | 22 | 0.022671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-167_0_4_line_25 |  | 22 | 23 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-167_0_4_line_26 |  | 23 | 24 | 0.026172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-167_0_4_line_27 |  | 23 | 25 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-167_0_4_line_28 |  | 24 | 26 | 0.003072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-167_0_4_line_29 |  | 25 | 27 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-167_0_4_line_30 |  | 27 | 28 | 0.00072624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-167_0_4_line_31 |  | 29 | 30 | 0.0058991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-167_0_4_line_32 |  | 29 | 31 | 0.0011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-167_0_4_line_33 |  | 30 | 32 | 0.0052865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-167_0_4_line_34 |  | 31 | 33 | 0.0070052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-167_0_4_line_35 |  | 32 | 34 | 0.0017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-167_0_4_line_36 |  | 34 | 35 | 0.0071163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-167_0_4_line_37 |  | 35 | 41 | 0.0019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-167_0_4_line_38 |  | 36 | 37 | 0.027319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-167_0_4_line_39 |  | 37 | 38 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-167_0_4_line_40 |  | 38 | 39 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-167_0_4_line_41 |  | 38 | 40 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-167_0_4_line_42 |  | 39 | 41 | 0.0050781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-167_0_4_line_43 |  | 40 | 42 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-167_0_4_line_44 |  | 43 | 49 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-167_0_4_line_45 |  | 44 | 45 | 0.0093389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-167_0_4_line_46 |  | 44 | 46 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-167_0_4_line_47 |  | 45 | 47 | 0.010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-167_0_4_line_48 |  | 46 | 48 | 0.0046679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-167_0_4_line_49 |  | 49 | 50 | 0.0078349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-167_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 51 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2610602.2539 | 1267101.3793 | 2610605.1724 | 1267102.5186 | 2610608.6404 | 1267102.4555
1 | 2610611.331 | 1267105.8875 | 2610610.4902 | 1267104.6185 | 2610609.064 | 1267102.4477 | 2610608.6404 | 1267102.4555
2 | 2610596.3376 | 1267105.6162 | 2610602.2539 | 1267101.3793
3 | 2610611.331 | 1267105.8875 | 2610612.0141 | 1267106.9339 | 2610614.3486 | 1267110.485
4 | 2610611.331 | 1267105.8875 | 2610620.4114 | 1267100.0886 | 2610633.0449 | 1267092.0193
5 | 2610596.3376 | 1267105.6162 | 2610585.6155 | 1267094.9785 | 2610579.1867 | 1267088.4654
6 | 2610619.9552 | 1267106.8592 | 2610614.3486 | 1267110.485
7 | 2610608.4751 | 1267120.2703 | 2610613.7733 | 1267116.5104 | 2610614.3486 | 1267110.485
8 | 2610579.1867 | 1267088.4654 | 2610565.054 | 1267074.1475
9 | 2610608.4751 | 1267120.2703 | 2610601.3908 | 1267125.2945
10 | 2610608.4751 | 1267120.2703 | 2610617.9474 | 1267131.4354
11 | 2610601.3908 | 1267125.2945 | 2610610.5111 | 1267135.062
12 | 2610594.7568 | 1267122.6141 | 2610601.3908 | 1267125.2945
13 | 2610617.9474 | 1267131.4354 | 2610619.7269 | 1267133.5329 | 2610622.2914 | 1267136.9716
14 | 2610558.1248 | 1267067.1274 | 2610565.054 | 1267074.1475
15 | 2610594.7568 | 1267122.6141 | 2610585.9141 | 1267126.6132
16 | 2610622.2914 | 1267136.9716 | 2610627.6435 | 1267144.148
17 | 2610585.9141 | 1267126.6132 | 2610572.3839 | 1267132.7323
18 | 2610532.0557 | 1267144.4513 | 2610555.0117 | 1267134.0785
19 | 2610532.0557 | 1267144.4513 | 2610529.0796 | 1267145.781
20 | 2610532.0557 | 1267144.4513 | 2610532.814 | 1267145.5645 | 2610535.2231 | 1267149.5383
21 | 2610580.8318 | 1267002.3432 | 2610573.3197 | 1267009.9805
22 | 2610580.8318 | 1267002.3432 | 2610589.277 | 1266993.7572
23 | 2610573.3197 | 1267009.9805 | 2610565.4408 | 1267017.9909
24 | 2610549.5432 | 1267034.1535 | 2610565.4408 | 1267017.9909
25 | 2610537.5814 | 1267046.3147 | 2610549.5432 | 1267034.1535
26 | 2610537.5814 | 1267046.3147 | 2610555.9667 | 1267064.9411
27 | 2610537.5814 | 1267046.3147 | 2610532.2114 | 1267052.3873 | 2610527.5629 | 1267054.7696 | 2610525.5152 | 1267054.8005
28 | 2610558.1248 | 1267067.1274 | 2610555.9667 | 1267064.9411
29 | 2610525.5152 | 1267054.8005 | 2610521.6239 | 1267054.8591 | 2610514.6415 | 1267053.3124 | 2610510.1333 | 1267052.0132
30 | 2610510.1333 | 1267052.0132 | 2610509.4354 | 1267051.812
31 | 2610556.5144 | 1267184.7078 | 2610553.4594 | 1267179.6615
32 | 2610557.085 | 1267185.6504 | 2610556.5144 | 1267184.7078
33 | 2610550.7216 | 1267175.1391 | 2610553.4594 | 1267179.6615
34 | 2610560.7129 | 1267191.643 | 2610557.085 | 1267185.6504
35 | 2610549.8397 | 1267173.6824 | 2610550.7216 | 1267175.1391
36 | 2610549.8397 | 1267173.6824 | 2610546.1543 | 1267167.5948
37 | 2610546.1543 | 1267167.5948 | 2610545.1481 | 1267165.9326
38 | 2610572.3839 | 1267132.7323 | 2610547.492 | 1267143.9896
39 | 2610535.2231 | 1267149.5383 | 2610547.492 | 1267143.9896
40 | 2610535.2231 | 1267149.5383 | 2610542.5182 | 1267161.5885
41 | 2610535.2231 | 1267149.5383 | 2610523.1344 | 1267154.9288
42 | 2610542.5182 | 1267161.5885 | 2610545.1481 | 1267165.9326
43 | 2610513.2706 | 1267159.3272 | 2610523.1344 | 1267154.9288
44 | 2610529.0796 | 1267145.781 | 2610517.0496 | 1267151.156
45 | 2610636.9049 | 1267156.5663 | 2610642.488 | 1267164.0525
46 | 2610636.9049 | 1267156.5663 | 2610630.4341 | 1267147.8899
47 | 2610648.6761 | 1267172.3498 | 2610642.488 | 1267164.0525
48 | 2610627.6435 | 1267144.148 | 2610630.4341 | 1267147.8899
49 | 2610509.8963 | 1267154.352 | 2610517.0496 | 1267151.156

## bus_geodata
| x | y | coords
0 | 2610608.6404 | 1267102.4555
1 | 2610602.2539 | 1267101.3793
2 | 2610611.331 | 1267105.8875
3 | 2610596.3376 | 1267105.6162
4 | 2610614.3486 | 1267110.485
5 | 2610633.0449 | 1267092.0193
6 | 2610579.1867 | 1267088.4654
7 | 2610619.9552 | 1267106.8592
8 | 2610608.4751 | 1267120.2703
9 | 2610601.3908 | 1267125.2945
10 | 2610617.9474 | 1267131.4354
11 | 2610565.054 | 1267074.1475
12 | 2610610.5111 | 1267135.062
13 | 2610594.7568 | 1267122.6141
14 | 2610622.2914 | 1267136.9716
15 | 2610585.9141 | 1267126.6132
16 | 2610555.0117 | 1267134.0785
17 | 2610532.0557 | 1267144.4513
18 | 2610580.8318 | 1267002.3432
19 | 2610573.3197 | 1267009.9805
20 | 2610589.277 | 1266993.7572
21 | 2610565.4408 | 1267017.9909
22 | 2610549.5432 | 1267034.1535
23 | 2610537.5814 | 1267046.3147
24 | 2610555.9667 | 1267064.9411
25 | 2610525.5152 | 1267054.8005
26 | 2610558.1248 | 1267067.1274
27 | 2610510.1333 | 1267052.0132
28 | 2610509.4354 | 1267051.812
29 | 2610556.5144 | 1267184.7078
30 | 2610553.4594 | 1267179.6615
31 | 2610557.085 | 1267185.6504
32 | 2610550.7216 | 1267175.1391
33 | 2610560.7129 | 1267191.643
34 | 2610549.8397 | 1267173.6824
35 | 2610546.1543 | 1267167.5948
36 | 2610572.3839 | 1267132.7323
37 | 2610547.492 | 1267143.9896
38 | 2610535.2231 | 1267149.5383
39 | 2610542.5182 | 1267161.5885
40 | 2610523.1344 | 1267154.9288
41 | 2610545.1481 | 1267165.9326
42 | 2610513.2706 | 1267159.3272
43 | 2610529.0796 | 1267145.781
44 | 2610636.9049 | 1267156.5663
45 | 2610642.488 | 1267164.0525
46 | 2610630.4341 | 1267147.8899
47 | 2610648.6761 | 1267172.3498
48 | 2610627.6435 | 1267144.148
49 | 2610517.0496 | 1267151.156
50 | 2610509.8963 | 1267154.352
51 | 2610602.2539 | 1267101.3793

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99876 | -0.023677 | 0.0097118 | 0.002434
1 | 0.99935 | -0.012396 | 0 | 0
2 | 0.99838 | -0.031062 | 0 | 0
3 | 1 | 0 | -0.34153 | -0.085873
4 | 0.99793 | -0.039586 | 0 | 0
5 | 0.99817 | -0.034967 | 0.0086652 | 0.0021717
6 | 0.99842 | -0.030144 | 0.021087 | 0.0052848
7 | 0.99785 | -0.041233 | 0.014124 | 0.0035398
8 | 0.997 | -0.057508 | 0 | 0
9 | 0.99632 | -0.070633 | 0 | 0
10 | 0.99597 | -0.077275 | 0.0085533 | 0.0021437
11 | 0.9962 | -0.072907 | 0.015302 | 0.0038349
12 | 0.99615 | -0.073872 | 0.013824 | 0.0034646
13 | 0.99584 | -0.079718 | 0 | 0
14 | 0.99553 | -0.085736 | 0.0085576 | 0.0021447
15 | 0.9952 | -0.092087 | 0.0065557 | 0.001643
16 | 0.99163 | -0.16105 | 0.0095894 | 0.0024033
17 | 0.99185 | -0.15677 | 0 | 0
18 | 0.99091 | -0.17496 | 0.010233 | 0.0025647
19 | 0.99113 | -0.17066 | 0.0078884 | 0.001977
20 | 0.99077 | -0.17762 | 0.012419 | 0.0031124
21 | 0.99145 | -0.16457 | 0.013291 | 0.0033311
22 | 0.99236 | -0.14696 | 0.0085067 | 0.002132
23 | 0.99317 | -0.13118 | 0 | 0
24 | 0.995 | -0.095906 | 0.0090323 | 0.0022637
25 | 0.99283 | -0.13772 | 0.01149 | 0.0028796
26 | 0.99524 | -0.091286 | 0.020555 | 0.0051515
27 | 0.99265 | -0.14122 | 0.0094786 | 0.0023756
28 | 0.99265 | -0.14126 | 0.003097 | 0.00077617
29 | 0.99122 | -0.16905 | 0.0028993 | 0.00072664
30 | 0.99126 | -0.16817 | 0.0025947 | 0.0006503
31 | 0.99121 | -0.16916 | 0.0029235 | 0.00073271
32 | 0.99132 | -0.16714 | 0.0052469 | 0.001315
33 | 0.99119 | -0.16948 | 0.002583 | 0.00064735
34 | 0.99134 | -0.16665 | 0.0025774 | 0.00064596
35 | 0.99146 | -0.16428 | 0.0027209 | 0.00068193
36 | 0.9943 | -0.10933 | 0.0024038 | 0.00060244
37 | 0.99272 | -0.13996 | 0.0036515 | 0.00091516
38 | 0.99198 | -0.15423 | 0 | 0
39 | 0.99162 | -0.16125 | 0.0027202 | 0.00068175
40 | 0.99189 | -0.15606 | 0.0045027 | 0.0011285
41 | 0.9915 | -0.16353 | 0.0038517 | 0.00096534
42 | 0.99186 | -0.15669 | 0.0032902 | 0.0008246
43 | 0.99181 | -0.1576 | 0.0077649 | 0.0019461
44 | 0.99451 | -0.10555 | 0.010093 | 0.0025294
45 | 0.99432 | -0.10923 | 0.010337 | 0.0025907
46 | 0.99483 | -0.099369 | 0.018846 | 0.0047232
47 | 0.9942 | -0.11142 | 0.011992 | 0.0030055
48 | 0.99505 | -0.095156 | 0.0085348 | 0.002139
49 | 0.99173 | -0.15914 | 0.0037383 | 0.00093691
50 | 0.99171 | -0.15953 | 0.0028484 | 0.00071387
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.19648 | -0.049539 | 0.19658 | 0.049607 | 0.00010614 | 6.7756e-05 | 0.29283 | 0.29283 | 0.29283 | 0.99876 | -0.023677 | 0.99935 | -0.012396 | 40.2237
1 | 0.18677 | 0.047105 | -0.1867 | -0.047063 | 6.6006e-05 | 4.2125e-05 | 0.27836 | 0.27836 | 0.27836 | 0.99876 | -0.023677 | 0.99838 | -0.031062 | 38.2361
2 | -0.19658 | -0.049607 | 0.1967 | 0.049682 | 0.00011677 | 7.4544e-05 | 0.29283 | 0.29283 | 0.29283 | 0.99935 | -0.012396 | 1 | 0 | 40.2237
3 | 0.17803 | 0.044891 | -0.17796 | -0.044844 | 7.2595e-05 | 4.6317e-05 | 0.26544 | 0.26544 | 0.26544 | 0.99838 | -0.031062 | 0.99793 | -0.039586 | 36.4618
4 | 0.0086668 | 0.0021724 | -0.0086652 | -0.0021717 | 1.6122e-06 | 6.9495e-07 | 0.012917 | 0.012918 | 0.012918 | 0.99838 | -0.031062 | 0.99817 | -0.034967 | 3.5488
5 | 0.14318 | 0.036191 | -0.14297 | -0.03606 | 0.00020664 | 0.00013161 | 0.21316 | 0.21316 | 0.21316 | 1 | 0 | 0.99842 | -0.030144 | 29.2799
6 | 0.014125 | 0.0035404 | -0.014124 | -0.0035398 | 1.1084e-06 | 6.2233e-07 | 0.021062 | 0.021062 | 0.021062 | 0.99793 | -0.039586 | 0.99785 | -0.041233 | 5.7862
7 | 0.16383 | 0.041304 | -0.16369 | -0.041215 | 0.00014039 | 8.952e-05 | 0.24438 | 0.24438 | 0.24438 | 0.99793 | -0.039586 | 0.997 | -0.057508 | 33.5687
8 | 0.12188 | 0.030775 | -0.12163 | -0.030616 | 0.00024916 | 0.0001592 | 0.18173 | 0.18173 | 0.18173 | 0.99842 | -0.030144 | 0.9962 | -0.072907 | 49.9261
9 | 0.086629 | 0.021842 | -0.086575 | -0.021807 | 5.4377e-05 | 3.4688e-05 | 0.12934 | 0.12934 | 0.12934 | 0.997 | -0.057508 | 0.99632 | -0.070633 | 35.5328
10 | 0.077065 | 0.019373 | -0.076993 | -0.019326 | 7.2665e-05 | 4.6315e-05 | 0.11504 | 0.11504 | 0.11504 | 0.997 | -0.057508 | 0.99597 | -0.077275 | 31.6045
11 | 0.013826 | 0.0034658 | -0.013824 | -0.0034646 | 2.134e-06 | 1.192e-06 | 0.02065 | 0.02065 | 0.02065 | 0.99632 | -0.070633 | 0.99615 | -0.073872 | 5.6731
12 | 0.072748 | 0.018341 | -0.072717 | -0.018321 | 3.1617e-05 | 2.0142e-05 | 0.10869 | 0.10869 | 0.10869 | 0.99632 | -0.070633 | 0.99584 | -0.079718 | 29.8598
13 | 0.06844 | 0.017183 | -0.068412 | -0.017165 | 2.7609e-05 | 1.7578e-05 | 0.10226 | 0.10226 | 0.10226 | 0.99597 | -0.077275 | 0.99553 | -0.085736 | 28.0939
14 | 0.10633 | 0.026781 | -0.10624 | -0.026721 | 9.3366e-05 | 5.9626e-05 | 0.15888 | 0.15888 | 0.15888 | 0.9962 | -0.072907 | 0.99524 | -0.091286 | 43.647
15 | 0.072717 | 0.018321 | -0.072674 | -0.018294 | 4.2993e-05 | 2.7389e-05 | 0.10869 | 0.10869 | 0.10869 | 0.99584 | -0.079718 | 0.9952 | -0.092087 | 29.8598
16 | 0.059854 | 0.015021 | -0.059827 | -0.015003 | 2.6874e-05 | 1.7083e-05 | 0.089471 | 0.089471 | 0.089471 | 0.99553 | -0.085736 | 0.99505 | -0.095156 | 24.5799
17 | 0.066118 | 0.016651 | -0.066064 | -0.016616 | 5.4454e-05 | 3.4658e-05 | 0.098888 | 0.098888 | 0.098888 | 0.9952 | -0.092087 | 0.9943 | -0.10933 | 27.167
18 | -0.0095894 | -0.0024033 | 0.0095913 | 0.0024042 | 1.956e-06 | 9.2678e-07 | 0.01439 | 0.014389 | 0.01439 | 0.99163 | -0.16105 | 0.99185 | -0.15677 | 3.9532
19 | 0.014353 | 0.0035972 | -0.014352 | -0.0035969 | 5.6676e-07 | 3.2066e-07 | 0.021533 | 0.021533 | 0.021533 | 0.99185 | -0.15677 | 0.99181 | -0.1576 | 5.9155
20 | -0.023944 | -0.0060015 | 0.023947 | 0.0060032 | 2.898e-06 | 1.7774e-06 | 0.035922 | 0.035922 | 0.035922 | 0.99185 | -0.15677 | 0.99198 | -0.15423 | 9.8687
21 | -0.022653 | -0.0056779 | 0.022658 | 0.0056807 | 4.6488e-06 | 2.8372e-06 | 0.034018 | 0.034018 | 0.034018 | 0.99091 | -0.17496 | 0.99113 | -0.17066 | 9.3456
22 | 0.01242 | 0.0031132 | -0.012419 | -0.0031124 | 1.571e-06 | 8.5035e-07 | 0.018651 | 0.018651 | 0.018651 | 0.99091 | -0.17496 | 0.99077 | -0.17762 | 5.1239
23 | -0.030546 | -0.0076577 | 0.030555 | 0.0076633 | 8.8618e-06 | 5.5267e-06 | 0.045861 | 0.045861 | 0.045861 | 0.99113 | -0.17066 | 0.99145 | -0.16457 | 12.5991
24 | -0.043847 | -0.010994 | 0.043883 | 0.011018 | 3.6819e-05 | 2.3271e-05 | 0.065809 | 0.065809 | 0.065809 | 0.99145 | -0.16457 | 0.99236 | -0.14696 | 18.0794
25 | -0.05239 | -0.01315 | 0.052429 | 0.013175 | 3.9483e-05 | 2.5049e-05 | 0.078565 | 0.078564 | 0.078565 | 0.99236 | -0.14696 | 0.99317 | -0.13118 | 21.5837
26 | -0.076504 | -0.019212 | 0.076633 | 0.019294 | 0.00012897 | 8.2204e-05 | 0.11464 | 0.11464 | 0.11464 | 0.99317 | -0.13118 | 0.995 | -0.095906 | 31.4933
27 | 0.024075 | 0.006037 | -0.024067 | -0.0060324 | 7.5031e-06 | 4.6031e-06 | 0.036071 | 0.036071 | 0.036071 | 0.99317 | -0.13118 | 0.99283 | -0.13772 | 9.9096
28 | -0.085665 | -0.021558 | 0.085684 | 0.02157 | 1.8917e-05 | 1.2067e-05 | 0.12814 | 0.12814 | 0.12814 | 0.995 | -0.095906 | 0.99524 | -0.091286 | 35.2041
29 | 0.012578 | 0.0031529 | -0.012576 | -0.0031517 | 2.0969e-06 | 1.1386e-06 | 0.018851 | 0.018851 | 0.018851 | 0.99283 | -0.13772 | 0.99265 | -0.14122 | 5.1789
30 | 0.003097 | 0.00077616 | -0.003097 | -0.00077617 | 5.8694e-09 | -5.6317e-09 | 0.0046424 | 0.0046424 | 0.0046424 | 0.99265 | -0.14122 | 0.99265 | -0.14126 | 1.2754
31 | -0.0084059 | -0.0021066 | 0.0084063 | 0.0021068 | 3.5226e-07 | 1.494e-07 | 0.012619 | 0.012619 | 0.012619 | 0.99122 | -0.16905 | 0.99126 | -0.16817 | 3.4667
32 | 0.0055066 | 0.00138 | -0.0055065 | -0.00138 | 2.8233e-08 | 3.8676e-09 | 0.0082664 | 0.0082664 | 0.0082664 | 0.99122 | -0.16905 | 0.99121 | -0.16916 | 2.271
33 | -0.011001 | -0.0027571 | 0.011002 | 0.0027574 | 5.4063e-07 | 2.7785e-07 | 0.016514 | 0.016514 | 0.016514 | 0.99126 | -0.16817 | 0.99132 | -0.16714 | 4.5368
34 | 0.002583 | 0.00064729 | -0.002583 | -0.00064735 | 3.9499e-08 | -6.5014e-08 | 0.0038776 | 0.0038776 | 0.0038776 | 0.99121 | -0.16916 | 0.99119 | -0.16948 | 1.0653
35 | -0.016248 | -0.0040723 | 0.016249 | 0.0040726 | 3.7987e-07 | 2.2116e-07 | 0.02439 | 0.02439 | 0.02439 | 0.99132 | -0.16714 | 0.99134 | -0.16665 | 6.7005
36 | -0.018826 | -0.0047185 | 0.018828 | 0.0047198 | 2.131e-06 | 1.2721e-06 | 0.028258 | 0.028258 | 0.028258 | 0.99134 | -0.16665 | 0.99146 | -0.16428 | 7.7633
37 | -0.021549 | -0.0054017 | 0.02155 | 0.0054022 | 7.6217e-07 | 4.6273e-07 | 0.032342 | 0.032342 | 0.032342 | 0.99146 | -0.16428 | 0.9915 | -0.16353 | 8.8852
38 | 0.06366 | 0.016014 | -0.063567 | -0.015954 | 9.3024e-05 | 5.9182e-05 | 0.09529 | 0.095291 | 0.095291 | 0.9943 | -0.10933 | 0.99272 | -0.13996 | 26.1787
39 | 0.059915 | 0.015039 | -0.059875 | -0.015013 | 4.0735e-05 | 2.5896e-05 | 0.089817 | 0.089817 | 0.089817 | 0.99272 | -0.13996 | 0.99198 | -0.15423 | 24.6751
40 | 0.028134 | 0.0070568 | -0.028125 | -0.007051 | 9.4091e-06 | 5.84e-06 | 0.042204 | 0.042205 | 0.042205 | 0.99198 | -0.15423 | 0.99162 | -0.16125 | 11.5946
41 | 0.0077937 | 0.0019533 | -0.007793 | -0.001953 | 6.784e-07 | 2.6332e-07 | 0.011691 | 0.011691 | 0.011691 | 0.99198 | -0.15423 | 0.99189 | -0.15606 | 3.2118
42 | 0.025404 | 0.0063692 | -0.025402 | -0.0063675 | 2.7676e-06 | 1.7058e-06 | 0.038123 | 0.038123 | 0.038123 | 0.99162 | -0.16125 | 0.9915 | -0.16353 | 10.4732
43 | 0.0032903 | 0.00082452 | -0.0032902 | -0.0008246 | 9.8676e-08 | -7.6242e-08 | 0.004936 | 0.0049361 | 0.0049361 | 0.99189 | -0.15606 | 0.99186 | -0.15669 | 1.3561
44 | 0.0065872 | 0.0016508 | -0.0065867 | -0.0016507 | 4.826e-07 | 1.3883e-07 | 0.0098828 | 0.0098829 | 0.0098829 | 0.99181 | -0.1576 | 0.99173 | -0.15914 | 2.7151
45 | 0.022334 | 0.0055993 | -0.022331 | -0.0055969 | 3.911e-06 | 2.3819e-06 | 0.033418 | 0.033418 | 0.033418 | 0.99451 | -0.10555 | 0.99432 | -0.10923 | 9.1808
46 | -0.032427 | -0.0081287 | 0.032436 | 0.0081347 | 9.5549e-06 | 5.9746e-06 | 0.048519 | 0.048519 | 0.048519 | 0.99451 | -0.10555 | 0.99483 | -0.099369 | 13.3294
47 | 0.011994 | 0.0030062 | -0.011992 | -0.0030055 | 1.2505e-06 | 6.6605e-07 | 0.017949 | 0.017949 | 0.017949 | 0.99432 | -0.10923 | 0.9942 | -0.11142 | 4.931
48 | -0.051282 | -0.012858 | 0.051293 | 0.012864 | 1.03e-05 | 6.5312e-06 | 0.076708 | 0.076708 | 0.076708 | 0.99483 | -0.099369 | 0.99505 | -0.095156 | 21.0735
49 | 0.0028484 | 0.0007138 | -0.0028484 | -0.00071387 | 5.3666e-08 | -6.6746e-08 | 0.0042738 | 0.0042739 | 0.0042739 | 0.99173 | -0.15914 | 0.99171 | -0.15953 | 1.1741

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34153 | 0.085873

## res_load
| p_mw | q_mvar
0 | 0.0097118 | 0.002434
1 | 0.0086652 | 0.0021717
2 | 0.021087 | 0.0052848
3 | 0.014124 | 0.0035398
4 | 0.0085533 | 0.0021437
5 | 0.015302 | 0.0038349
6 | 0.013824 | 0.0034646
7 | 0.0085576 | 0.0021447
8 | 0.0065557 | 0.001643
9 | 0.0095894 | 0.0024033
10 | 0.010233 | 0.0025647
11 | 0.0078884 | 0.001977
12 | 0.012419 | 0.0031124
13 | 0.013291 | 0.0033311
14 | 0.0085067 | 0.002132
15 | 0.0090323 | 0.0022637
16 | 0.01149 | 0.0028796
17 | 0.020555 | 0.0051515
18 | 0.0094786 | 0.0023756
19 | 0.003097 | 0.00077617
20 | 0.0028993 | 0.00072664
21 | 0.0025947 | 0.0006503
22 | 0.0029235 | 0.00073271
23 | 0.0052469 | 0.001315
24 | 0.002583 | 0.00064735
25 | 0.0025774 | 0.00064596
26 | 0.0027209 | 0.00068193
27 | 0.0024038 | 0.00060244
28 | 0.0036515 | 0.00091516
29 | 0.0027202 | 0.00068175
30 | 0.0045027 | 0.0011285
31 | 0.0038517 | 0.00096534
32 | 0.0032902 | 0.0008246
33 | 0.0077649 | 0.0019461
34 | 0.010093 | 0.0025294
35 | 0.010337 | 0.0025907
36 | 0.018846 | 0.0047232
37 | 0.011992 | 0.0030055
38 | 0.0085348 | 0.002139
39 | 0.0037383 | 0.00093691
40 | 0.0028484 | 0.00071387

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1