## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-170_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-170_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-170_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-170_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-170_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-170_0_6_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2701-170_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2701-170_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-170_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2701-170_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2701-170_0_6_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2701-170_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2701-170_0_6_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2701-170_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2701-170_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_2701-170_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2701-170_0_6_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2701-170_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-170_0_6_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_2701-170_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2701-170_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-170_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-170_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2701-170_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2701-170_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_2701-170_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2701-170_0_6_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2701-170_0_6_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_2701-170_0_6_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2701-170_0_6_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_2701-170_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2701-170_0_6_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2701-170_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_2701-170_0_6_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_2701-170_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2701-170_0_6_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2701-170_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2701-170_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2701-170_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2701-170_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2701-170_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2701-170_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2701-170_0_6_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2701-170_0_6_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_2701-170_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_2701-170_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_2701-170_0_6_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_2701-170_0_6_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_2701-170_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_2701-170_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2701-170_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2701-170_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_MV_561_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-170_0_6_load_0 | 0 | 0.0041463 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-170_0_6_load_1 | 1 | 0.003583 | 0.00089797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-170_0_6_load_4 | 4 | 0.010752 | 0.0026948 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-170_0_6_load_13 | 6 | 0.0020635 | 0.00051715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-170_0_6_load_28 | 10 | 0.01973 | 0.0049448 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-170_0_6_load_17 | 11 | 0.0027018 | 0.00067714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-170_0_6_load_27 | 12 | 0.0033624 | 0.00084269 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-170_0_6_load_58 | 14 | 0.051362 | 0.012872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-170_0_6_load_26 | 15 | 0.010844 | 0.0027178 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-170_0_6_load_20 | 16 | 0.0014235 | 0.00035677 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-170_0_6_load_11 | 17 | 0.0075116 | 0.0018826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-170_0_6_load_15 | 19 | 0.0075865 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-170_0_6_load_12 | 20 | 0.0015644 | 0.00039208 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-170_0_6_load_14 | 21 | 0.0058064 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-170_0_6_load_16 | 22 | 0.0018162 | 0.00045518 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-170_0_6_load_18 | 23 | 0.0017438 | 0.00043703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-170_0_6_load_33 | 24 | 0.0032682 | 0.00081909 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-170_0_6_load_21 | 25 | 0.0018131 | 0.00045441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-170_0_6_load_32 | 26 | 0.061613 | 0.015442 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-170_0_6_load_54 | 27 | 0.041124 | 0.010307 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-170_0_6_load_56 | 29 | 0.027337 | 0.0068512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-170_0_6_load_30 | 30 | 0.0038279 | 0.00095937 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-170_0_6_load_31 | 31 | 0.0061652 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-170_0_6_load_43 | 32 | 0.0070375 | 0.0017638 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-170_0_6_load_44 | 33 | 0.016149 | 0.0040473 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-170_0_6_load_42 | 34 | 0.0083702 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-170_0_6_load_45 | 35 | 0.050832 | 0.01274 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-170_0_6_load_34 | 36 | 0.0061966 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-170_0_6_load_35 | 37 | 0.0076081 | 0.0019068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-170_0_6_load_36 | 38 | 0.007098 | 0.0017789 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-170_0_6_load_38 | 40 | 0.0070425 | 0.001765 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-170_0_6_load_46 | 42 | 0.0072498 | 0.001817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-170_0_6_load_47 | 43 | 0.0061481 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-170_0_6_load_51 | 45 | 0.014564 | 0.00365 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-170_0_6_load_49 | 46 | 0.002801 | 0.00070199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-170_0_6_load_48 | 47 | 0.0067047 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-170_0_6_load_41 | 48 | 0.0015493 | 0.0003883 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-170_0_6_load_52 | 49 | 0.0037784 | 0.00094695 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-170_0_6_load_53 | 50 | 0.027271 | 0.0068348 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-170_0_6_load_57 | 51 | 0.027346 | 0.0068535 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-170_0_6_line_0 |  | 0 | 1 | 0.0090138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-170_0_6_line_1 |  | 0 | 2 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-170_0_6_line_2 |  | 1 | 3 | 0.036792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-170_0_6_line_3 |  | 2 | 4 | 0.012513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-170_0_6_line_4 |  | 3 | 5 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-170_0_6_line_5 |  | 3 | 6 | 0.015838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-170_0_6_line_6 |  | 4 | 7 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-170_0_6_line_7 |  | 5 | 16 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-170_0_6_line_8 |  | 6 | 17 | 0.0076079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-170_0_6_line_9 |  | 7 | 11 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-170_0_6_line_10 |  | 7 | 12 | 0.0096355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-170_0_6_line_11 |  | 8 | 9 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-170_0_6_line_12 |  | 8 | 10 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-170_0_6_line_13 |  | 9 | 13 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-170_0_6_line_14 |  | 9 | 14 | 0.048102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-170_0_6_line_15 |  | 10 | 18 | 0.040452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2701-170_0_6_line_16 |  | 11 | 19 | 0.0042655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-170_0_6_line_17 |  | 12 | 13 | 0.0059025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-170_0_6_line_18 |  | 13 | 15 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-170_0_6_line_19 |  | 16 | 25 | 0.0050555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-170_0_6_line_20 |  | 17 | 20 | 0.00057171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-170_0_6_line_21 |  | 18 | 30 | 0.027395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-170_0_6_line_22 |  | 18 | 31 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-170_0_6_line_23 |  | 19 | 22 | 0.0040309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-170_0_6_line_24 |  | 20 | 21 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-170_0_6_line_25 |  | 22 | 23 | 0.0066303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-170_0_6_line_26 |  | 23 | 24 | 0.0083613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-170_0_6_line_27 |  | 26 | 27 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-170_0_6_line_28 |  | 27 | 28 | 0.012157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-170_0_6_line_29 |  | 28 | 29 | 0.020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-170_0_6_line_30 |  | 29 | 51 | 0.0083052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-170_0_6_line_31 |  | 30 | 32 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-170_0_6_line_32 |  | 31 | 33 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-170_0_6_line_33 |  | 32 | 34 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-170_0_6_line_34 |  | 33 | 35 | 0.025048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-170_0_6_line_35 |  | 34 | 48 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-170_0_6_line_36 |  | 35 | 42 | 0.0016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-170_0_6_line_37 |  | 36 | 37 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2701-170_0_6_line_38 |  | 36 | 38 | 0.0040642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2701-170_0_6_line_39 |  | 37 | 39 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2701-170_0_6_line_40 |  | 38 | 40 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2701-170_0_6_line_41 |  | 39 | 41 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2701-170_0_6_line_42 |  | 40 | 42 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2701-170_0_6_line_43 |  | 41 | 43 | 0.014807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2701-170_0_6_line_44 |  | 43 | 47 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2701-170_0_6_line_45 |  | 44 | 45 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2701-170_0_6_line_46 |  | 44 | 46 | 0.0069917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2701-170_0_6_line_47 |  | 45 | 49 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2701-170_0_6_line_48 |  | 46 | 47 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2701-170_0_6_line_49 |  | 49 | 50 | 0.0082739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2701-170_0_6_line_50 |  | 50 | 51 | 0.0082879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-170_0_6_trafo_31 | 0.63 MVA 20/0.4 kV | 52 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2611961.4529 | 1268572.124 | 2611961.187 | 1268581.1339
1 | 2611962.0644 | 1268551.4 | 2611961.4529 | 1268572.124
2 | 2611960.1018 | 1268617.9096 | 2611961.187 | 1268581.1339
3 | 2611962.0644 | 1268551.4 | 2611960.6803 | 1268551.1526 | 2611949.8338 | 1268548.7625
4 | 2611959.8128 | 1268645.5729 | 2611960.1018 | 1268617.9096
5 | 2611960.1018 | 1268617.9096 | 2611958.7627 | 1268617.7067 | 2611944.5884 | 1268614.7275
6 | 2611947.8242 | 1268533.9813 | 2611947.4673 | 1268543.0426 | 2611949.5395 | 1268545.3928 | 2611949.8338 | 1268548.7625
7 | 2611959.8128 | 1268645.5729 | 2611958.4808 | 1268645.5814 | 2611949.3679 | 1268645.5852 | 2611949.3679 | 1268645.5852
8 | 2611937.1432 | 1268613.1626 | 2611944.5884 | 1268614.7275
9 | 2611947.8242 | 1268533.9813 | 2611929.8729 | 1268529.0336
10 | 2611947.8242 | 1268533.9813 | 2611948.1972 | 1268524.3531
11 | 2611976.8224 | 1268539.666 | 2611977.6083 | 1268534.3416 | 2611978.4018 | 1268528.9394 | 2611974.7427 | 1268526.0855 | 2611972.3769 | 1268523.7903
12 | 2611976.8224 | 1268539.666 | 2611987.511 | 1268542.0114 | 2611994.2058 | 1268543.4867
13 | 2611953.2224 | 1268521.4723 | 2611959.1285 | 1268522.0624 | 2611961.3179 | 1268522.2892 | 2611964.2597 | 1268522.5619 | 2611966.6521 | 1268522.8447 | 2611972.3769 | 1268523.7903
14 | 2611972.3769 | 1268523.7903 | 2611975.2782 | 1268488.2044 | 2611976.1924 | 1268475.8405
15 | 2612033.7102 | 1268552.1898 | 2612010.5279 | 1268547.0837 | 2611994.2058 | 1268543.4867
16 | 2611929.8729 | 1268529.0336 | 2611925.7608 | 1268527.9002
17 | 2611953.2224 | 1268521.4723 | 2611951.5486 | 1268523.07 | 2611948.1972 | 1268524.3531
18 | 2611953.2224 | 1268521.4723 | 2611952.616 | 1268512.4091 | 2611953.7969 | 1268497.178
19 | 2611949.508 | 1268650.6388 | 2611949.3679 | 1268645.5852
20 | 2611937.1432 | 1268613.1626 | 2611936.5837 | 1268613.045
21 | 2612033.7102 | 1268552.1898 | 2612044.3898 | 1268526.9622
22 | 2612033.7102 | 1268552.1898 | 2612053.6257 | 1268557.0794
23 | 2611921.8748 | 1268526.8291 | 2611925.7608 | 1268527.9002
24 | 2611936.5837 | 1268613.045 | 2611920.3061 | 1268609.6236
25 | 2611915.4828 | 1268525.0674 | 2611921.8748 | 1268526.8291
26 | 2611907.4221 | 1268522.8457 | 2611915.4828 | 1268525.0674
27 | 2612020.1364 | 1268603.3761 | 2612039.2134 | 1268606.6837 | 2612042.5846 | 1268608.0878
28 | 2612053.8073 | 1268612.762 | 2612042.5846 | 1268608.0878
29 | 2612053.8073 | 1268612.762 | 2612061.8814 | 1268612.9341 | 2612069.9607 | 1268614.2848 | 2612074.0649 | 1268615.5274
30 | 2612082.0137 | 1268617.9339 | 2612074.0649 | 1268615.5274
31 | 2612049.544 | 1268514.7868 | 2612044.3898 | 1268526.9622
32 | 2612053.6257 | 1268557.0794 | 2612074.909 | 1268562.3048
33 | 2612049.544 | 1268514.7868 | 2612056.0837 | 1268499.3386
34 | 2612099.2343 | 1268568.2771 | 2612074.909 | 1268562.3048
35 | 2612063.0171 | 1268482.9605 | 2612056.0837 | 1268499.3386
36 | 2612099.2343 | 1268568.2771 | 2612100.8227 | 1268568.6671
37 | 2612143.5427 | 1268579.1556 | 2612159.9059 | 1268583.173
38 | 2612143.5427 | 1268579.1556 | 2612139.5958 | 1268578.1865
39 | 2612175.0679 | 1268586.6799 | 2612161.9426 | 1268583.6731 | 2612159.9059 | 1268583.173
40 | 2612120.1883 | 1268573.4217 | 2612139.5958 | 1268578.1865
41 | 2612171.5018 | 1268597.2912 | 2612175.0679 | 1268586.6799
42 | 2612120.1883 | 1268573.4217 | 2612100.8227 | 1268568.6671
43 | 2612171.5018 | 1268597.2912 | 2612164.2901 | 1268594.8858 | 2612162.1068 | 1268601.7515
44 | 2612162.1068 | 1268601.7515 | 2612160.647 | 1268606.342 | 2612159.9616 | 1268606.6297 | 2612154.0764 | 1268623.3809
45 | 2612139.585 | 1268635.3638 | 2612116.7344 | 1268628.4457
46 | 2612139.585 | 1268635.3638 | 2612141.465 | 1268628.6295
47 | 2612116.7344 | 1268628.4457 | 2612097.865 | 1268622.7329
48 | 2612154.0764 | 1268623.3809 | 2612152.5135 | 1268627.8293 | 2612152.8363 | 1268628.2192 | 2612151.9386 | 1268629.2959 | 2612150.5067 | 1268630.3603 | 2612148.9711 | 1268630.5685 | 2612141.465 | 1268628.6295 | 2612141.465 | 1268628.6295
49 | 2612089.9461 | 1268620.3354 | 2612097.865 | 1268622.7329
50 | 2612082.0137 | 1268617.9339 | 2612089.9461 | 1268620.3354

## bus_geodata
| x | y | coords
0 | 2611961.4529 | 1268572.124
1 | 2611961.187 | 1268581.1339
2 | 2611962.0644 | 1268551.4
3 | 2611960.1018 | 1268617.9096
4 | 2611949.8338 | 1268548.7625
5 | 2611959.8128 | 1268645.5729
6 | 2611944.5884 | 1268614.7275
7 | 2611947.8242 | 1268533.9813
8 | 2611976.8224 | 1268539.666
9 | 2611972.3769 | 1268523.7903
10 | 2611994.2058 | 1268543.4867
11 | 2611929.8729 | 1268529.0336
12 | 2611948.1972 | 1268524.3531
13 | 2611953.2224 | 1268521.4723
14 | 2611976.1924 | 1268475.8405
15 | 2611953.7969 | 1268497.178
16 | 2611949.3679 | 1268645.5852
17 | 2611937.1432 | 1268613.1626
18 | 2612033.7102 | 1268552.1898
19 | 2611925.7608 | 1268527.9002
20 | 2611936.5837 | 1268613.045
21 | 2611920.3061 | 1268609.6236
22 | 2611921.8748 | 1268526.8291
23 | 2611915.4828 | 1268525.0674
24 | 2611907.4221 | 1268522.8457
25 | 2611949.508 | 1268650.6388
26 | 2612020.1364 | 1268603.3761
27 | 2612042.5846 | 1268608.0878
28 | 2612053.8073 | 1268612.762
29 | 2612074.0649 | 1268615.5274
30 | 2612044.3898 | 1268526.9622
31 | 2612053.6257 | 1268557.0794
32 | 2612049.544 | 1268514.7868
33 | 2612074.909 | 1268562.3048
34 | 2612056.0837 | 1268499.3386
35 | 2612099.2343 | 1268568.2771
36 | 2612143.5427 | 1268579.1556
37 | 2612159.9059 | 1268583.173
38 | 2612139.5958 | 1268578.1865
39 | 2612175.0679 | 1268586.6799
40 | 2612120.1883 | 1268573.4217
41 | 2612171.5018 | 1268597.2912
42 | 2612100.8227 | 1268568.6671
43 | 2612162.1068 | 1268601.7515
44 | 2612139.585 | 1268635.3638
45 | 2612116.7344 | 1268628.4457
46 | 2612141.465 | 1268628.6295
47 | 2612154.0764 | 1268623.3809
48 | 2612063.0171 | 1268482.9605
49 | 2612097.865 | 1268622.7329
50 | 2612089.9461 | 1268620.3354
51 | 2612082.0137 | 1268617.9339
52 | 2612033.7102 | 1268552.1898

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98885 | -0.21447 | 0.0041463 | 0.0010392
1 | 0.98865 | -0.21829 | 0.003583 | 0.00089797
2 | 0.98938 | -0.20416 | 0 | 0
3 | 0.98797 | -0.23154 | 0 | 0
4 | 0.9897 | -0.19794 | 0.010752 | 0.0026948
5 | 0.98789 | -0.23314 | 0 | 0
6 | 0.98773 | -0.23633 | 0.0020635 | 0.00051715
7 | 0.99025 | -0.18722 | 0 | 0
8 | 0.99439 | -0.10727 | 0 | 0
9 | 0.99231 | -0.14753 | 0 | 0
10 | 0.99637 | -0.069276 | 0.01973 | 0.0049448
11 | 0.98996 | -0.19289 | 0.0027018 | 0.00067714
12 | 0.99075 | -0.17767 | 0.0033624 | 0.00084269
13 | 0.99107 | -0.17147 | 0 | 0
14 | 0.99004 | -0.19136 | 0.051362 | 0.012872
15 | 0.99083 | -0.17616 | 0.010844 | 0.0027178
16 | 0.98786 | -0.23374 | 0.0014235 | 0.00035677
17 | 0.98762 | -0.23836 | 0.0075116 | 0.0018826
18 | 0.99899 | -0.019306 | 0 | 0
19 | 0.98991 | -0.19398 | 0.0075865 | 0.0019014
20 | 0.98762 | -0.23843 | 0.0015644 | 0.00039208
21 | 0.98753 | -0.24016 | 0.0058064 | 0.0014552
22 | 0.98988 | -0.19447 | 0.0018162 | 0.00045518
23 | 0.98985 | -0.19506 | 0.0017438 | 0.00043703
24 | 0.98983 | -0.19555 | 0.0032682 | 0.00081909
25 | 0.98785 | -0.23391 | 0.0018131 | 0.00045441
26 | 0.97583 | -0.46605 | 0.061613 | 0.015442
27 | 0.97715 | -0.44013 | 0.041124 | 0.010307
28 | 0.97831 | -0.41736 | 0 | 0
29 | 0.98027 | -0.37898 | 0.027337 | 0.0068512
30 | 0.99847 | -0.029257 | 0.0038279 | 0.00095937
31 | 1 | 0 | -0.49031 | -0.12476
32 | 0.99827 | -0.033178 | 0.0070375 | 0.0017638
33 | 0.99784 | -0.040946 | 0.016149 | 0.0040473
34 | 0.99812 | -0.036089 | 0.0083702 | 0.0020978
35 | 0.99549 | -0.085589 | 0.050832 | 0.01274
36 | 0.99207 | -0.15069 | 0.0061966 | 0.001553
37 | 0.9909 | -0.17323 | 0.0076081 | 0.0019068
38 | 0.99237 | -0.14512 | 0.007098 | 0.0017789
39 | 0.98985 | -0.19339 | 0 | 0
40 | 0.99384 | -0.11691 | 0.0070425 | 0.001765
41 | 0.98909 | -0.20791 | 0 | 0
42 | 0.99536 | -0.088024 | 0.0072498 | 0.001817
43 | 0.98809 | -0.22716 | 0.0061481 | 0.0015409
44 | 0.985 | -0.28698 | 0 | 0
45 | 0.9835 | -0.31605 | 0.014564 | 0.00365
46 | 0.98543 | -0.27848 | 0.002801 | 0.00070199
47 | 0.98656 | -0.2567 | 0.0067047 | 0.0016804
48 | 0.99809 | -0.036571 | 0.0015493 | 0.0003883
49 | 0.98235 | -0.3384 | 0.0037784 | 0.00094695
50 | 0.98188 | -0.3476 | 0.027271 | 0.0068348
51 | 0.98127 | -0.3594 | 0.027346 | 0.0068535
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.023789 | 0.0059694 | -0.023784 | -0.0059668 | 4.3321e-06 | 2.657e-06 | 0.0358 | 0.0358 | 0.0358 | 0.98885 | -0.21447 | 0.98865 | -0.21829 | 9.8351
1 | -0.027935 | -0.0070086 | 0.027949 | 0.0070171 | 1.374e-05 | 8.5278e-06 | 0.042039 | 0.042039 | 0.042039 | 0.98885 | -0.21447 | 0.98938 | -0.20416 | 11.5492
2 | 0.020201 | 0.0050688 | -0.020189 | -0.0050611 | 1.2757e-05 | 7.6927e-06 | 0.030407 | 0.030407 | 0.030407 | 0.98865 | -0.21829 | 0.98797 | -0.23154 | 8.3537
3 | -0.027949 | -0.0070171 | 0.027957 | 0.0070223 | 8.2926e-06 | 5.1465e-06 | 0.042039 | 0.042039 | 0.042039 | 0.98938 | -0.20416 | 0.9897 | -0.19794 | 11.5492
4 | 0.003237 | 0.00081085 | -0.0032368 | -0.00081105 | 2.4659e-07 | -1.9643e-07 | 0.0048752 | 0.0048753 | 0.0048753 | 0.98797 | -0.23154 | 0.98789 | -0.23314 | 1.3394
5 | 0.016952 | 0.0042502 | -0.016948 | -0.004248 | 3.8718e-06 | 2.2752e-06 | 0.025532 | 0.025532 | 0.025532 | 0.98797 | -0.23154 | 0.98773 | -0.23633 | 7.0143
6 | -0.038709 | -0.009717 | 0.038729 | 0.0097295 | 1.9798e-05 | 1.2471e-05 | 0.058205 | 0.058205 | 0.058205 | 0.9897 | -0.19794 | 0.99025 | -0.18722 | 15.9904
7 | 0.0032368 | 0.00081105 | -0.0032367 | -0.00081113 | 9.3099e-08 | -7.4143e-08 | 0.0048753 | 0.0048754 | 0.0048754 | 0.98789 | -0.23314 | 0.98786 | -0.23374 | 1.3394
8 | 0.014884 | 0.0037308 | -0.014883 | -0.00373 | 1.4345e-06 | 8.2072e-07 | 0.022424 | 0.022424 | 0.022424 | 0.98773 | -0.23633 | 0.98762 | -0.23836 | 6.1603
9 | 0.017122 | 0.0042929 | -0.017118 | -0.0042902 | 4.6226e-06 | 2.719e-06 | 0.02573 | 0.02573 | 0.02573 | 0.99025 | -0.18722 | 0.98996 | -0.19289 | 7.0686
10 | -0.055851 | -0.014022 | 0.055877 | 0.014039 | 2.5456e-05 | 1.6168e-05 | 0.083934 | 0.083934 | 0.083934 | 0.99025 | -0.18722 | 0.99075 | -0.17767 | 23.0589
11 | 0.12189 | 0.030753 | -0.12165 | -0.030603 | 0.00023446 | 0.00014981 | 0.18247 | 0.18247 | 0.18247 | 0.99439 | -0.10727 | 0.99231 | -0.14753 | 50.1278
12 | -0.12189 | -0.030753 | 0.12211 | 0.030895 | 0.00022221 | 0.00014199 | 0.18247 | 0.18246 | 0.18247 | 0.99439 | -0.10727 | 0.99637 | -0.069276 | 50.1278
13 | 0.070183 | 0.017663 | -0.070103 | -0.017611 | 8.0215e-05 | 5.1088e-05 | 0.10527 | 0.10527 | 0.10527 | 0.99231 | -0.14753 | 0.99107 | -0.17147 | 28.9203
14 | 0.051469 | 0.012941 | -0.051362 | -0.012872 | 0.00010749 | 6.8175e-05 | 0.077195 | 0.077196 | 0.077196 | 0.99231 | -0.14753 | 0.99004 | -0.19136 | 21.2076
15 | -0.14184 | -0.03584 | 0.14218 | 0.036057 | 0.00034066 | 0.00021697 | 0.21193 | 0.21193 | 0.21193 | 0.99637 | -0.069276 | 0.99899 | -0.019306 | 29.1113
16 | 0.014416 | 0.0036131 | -0.014415 | -0.0036127 | 7.5103e-07 | 4.2582e-07 | 0.021669 | 0.021669 | 0.021669 | 0.98996 | -0.19289 | 0.98991 | -0.19398 | 5.9529
17 | -0.059239 | -0.014881 | 0.059257 | 0.014892 | 1.7526e-05 | 1.1141e-05 | 0.088984 | 0.088984 | 0.088984 | 0.99075 | -0.17767 | 0.99107 | -0.17147 | 24.4462
18 | 0.010847 | 0.002719 | -0.010844 | -0.0027178 | 2.4228e-06 | 1.2368e-06 | 0.016286 | 0.016286 | 0.016286 | 0.99107 | -0.17147 | 0.99083 | -0.17616 | 4.4741
19 | 0.0018131 | 0.00045435 | -0.0018131 | -0.00045441 | 1.4141e-08 | -5.5673e-08 | 0.0027311 | 0.0027311 | 0.0027311 | 0.98786 | -0.23374 | 0.98785 | -0.23391 | 0.75031
20 | 0.0073714 | 0.0018474 | -0.0073713 | -0.0018474 | 2.6444e-08 | 9.6085e-09 | 0.011106 | 0.011106 | 0.011106 | 0.98762 | -0.23836 | 0.98762 | -0.23843 | 3.0511
21 | 0.020799 | 0.0052174 | -0.020789 | -0.0052115 | 9.8615e-06 | 5.9529e-06 | 0.030983 | 0.030983 | 0.030983 | 0.99899 | -0.019306 | 0.99847 | -0.029257 | 8.5118
22 | -0.16298 | -0.041274 | 0.16313 | 0.04137 | 0.00015126 | 9.5997e-05 | 0.24291 | 0.24291 | 0.24291 | 0.99899 | -0.019306 | 1 | 0 | 22.2447
23 | 0.0068285 | 0.0017113 | -0.0068284 | -0.0017112 | 1.5926e-07 | 5.0108e-08 | 0.010265 | 0.010265 | 0.010265 | 0.98991 | -0.19398 | 0.98988 | -0.19447 | 2.8199
24 | 0.0058069 | 0.0014553 | -0.0058064 | -0.0014552 | 4.7746e-07 | 9.2748e-08 | 0.0087491 | 0.0087492 | 0.0087492 | 0.98762 | -0.23843 | 0.98753 | -0.24016 | 2.4036
25 | 0.0050122 | 0.0012561 | -0.005012 | -0.0012561 | 1.4114e-07 | 5.1018e-09 | 0.0075344 | 0.0075344 | 0.0075344 | 0.98988 | -0.19447 | 0.98985 | -0.19506 | 2.0699
26 | 0.0032683 | 0.00081903 | -0.0032682 | -0.00081909 | 7.5687e-08 | -5.9037e-08 | 0.0049131 | 0.0049131 | 0.0049131 | 0.98985 | -0.19506 | 0.98983 | -0.19555 | 1.3498
27 | -0.061613 | -0.015442 | 0.061689 | 0.01549 | 7.6178e-05 | 4.8466e-05 | 0.093952 | 0.093952 | 0.093952 | 0.97583 | -0.46605 | 0.97715 | -0.44013 | 25.811
28 | -0.10281 | -0.025797 | 0.10293 | 0.025868 | 0.00011177 | 7.1379e-05 | 0.15658 | 0.15658 | 0.15658 | 0.97715 | -0.44013 | 0.97831 | -0.41736 | 43.0155
29 | -0.10293 | -0.025868 | 0.10311 | 0.025989 | 0.00018898 | 0.00012069 | 0.15658 | 0.15658 | 0.15658 | 0.97831 | -0.41736 | 0.98027 | -0.37898 | 43.0155
30 | -0.13045 | -0.03284 | 0.13057 | 0.032918 | 0.00012219 | 7.8095e-05 | 0.19807 | 0.19807 | 0.19807 | 0.98027 | -0.37898 | 0.98127 | -0.3594 | 54.4155
31 | 0.016962 | 0.0042521 | -0.016958 | -0.0042503 | 3.1681e-06 | 1.8547e-06 | 0.025278 | 0.025278 | 0.025278 | 0.99847 | -0.029257 | 0.99827 | -0.033178 | 6.9446
32 | 0.32553 | 0.083391 | -0.32488 | -0.082979 | 0.00064447 | 0.0004116 | 0.48503 | 0.48503 | 0.48503 | 1 | 0 | 0.99784 | -0.040946 | 44.4168
33 | 0.0099209 | 0.0024865 | -0.0099195 | -0.0024859 | 1.3757e-06 | 6.6119e-07 | 0.014788 | 0.014788 | 0.014788 | 0.99827 | -0.033178 | 0.99812 | -0.036089 | 4.0627
34 | 0.30873 | 0.078932 | -0.30807 | -0.078507 | 0.00066525 | 0.00042478 | 0.46095 | 0.46095 | 0.46095 | 0.99784 | -0.040946 | 0.99549 | -0.085589 | 42.2115
35 | 0.0015494 | 0.00038809 | -0.0015493 | -0.0003883 | 3.5582e-08 | -2.0967e-07 | 0.0023097 | 0.0023098 | 0.0023098 | 0.99812 | -0.036089 | 0.99809 | -0.036571 | 0.63457
36 | 0.25724 | 0.065767 | -0.25721 | -0.065748 | 3.0298e-05 | 1.9327e-05 | 0.38497 | 0.38497 | 0.38497 | 0.99549 | -0.085589 | 0.99536 | -0.088024 | 35.2536
37 | 0.22888 | 0.058361 | -0.22863 | -0.058202 | 0.00024873 | 0.00015853 | 0.34365 | 0.34365 | 0.34365 | 0.99207 | -0.15069 | 0.9909 | -0.17323 | 31.4698
38 | -0.23507 | -0.059914 | 0.23514 | 0.059954 | 6.3284e-05 | 4.0344e-05 | 0.35294 | 0.35294 | 0.35294 | 0.99207 | -0.15069 | 0.99237 | -0.14512 | 32.3209
39 | 0.22102 | 0.056295 | -0.22081 | -0.056159 | 0.00021471 | 0.00013681 | 0.33223 | 0.33223 | 0.33223 | 0.9909 | -0.17323 | 0.98985 | -0.19339 | 30.4236
40 | -0.24224 | -0.061733 | 0.24257 | 0.061943 | 0.00033022 | 0.00021057 | 0.36359 | 0.36359 | 0.36359 | 0.99237 | -0.14512 | 0.99384 | -0.11691 | 33.2956
41 | 0.22081 | 0.056159 | -0.22065 | -0.05606 | 0.00015441 | 9.8393e-05 | 0.33223 | 0.33223 | 0.33223 | 0.98985 | -0.19339 | 0.98909 | -0.20791 | 30.4236
42 | -0.24961 | -0.063709 | 0.24996 | 0.063931 | 0.0003489 | 0.00022252 | 0.37413 | 0.37413 | 0.37413 | 0.99384 | -0.11691 | 0.99536 | -0.088024 | 34.2611
43 | 0.22065 | 0.05606 | -0.22045 | -0.05593 | 0.00020429 | 0.00013017 | 0.33223 | 0.33223 | 0.33223 | 0.98909 | -0.20791 | 0.98809 | -0.22716 | 30.4236
44 | 0.2143 | 0.054389 | -0.214 | -0.054195 | 0.000304 | 0.00019366 | 0.32297 | 0.32297 | 0.32297 | 0.98809 | -0.22716 | 0.98656 | -0.2567 | 29.5758
45 | 0.20419 | 0.051622 | -0.20391 | -0.051441 | 0.00028426 | 0.00018102 | 0.30863 | 0.30863 | 0.30863 | 0.985 | -0.28698 | 0.9835 | -0.31605 | 28.2625
46 | -0.20419 | -0.051622 | 0.20427 | 0.051675 | 8.3245e-05 | 5.301e-05 | 0.30863 | 0.30863 | 0.30863 | 0.985 | -0.28698 | 0.98543 | -0.27848 | 28.2624
47 | 0.18934 | 0.047791 | -0.18914 | -0.047662 | 0.00020241 | 0.0001288 | 0.28659 | 0.28659 | 0.28659 | 0.9835 | -0.31605 | 0.98235 | -0.3384 | 26.2447
48 | -0.20707 | -0.052377 | 0.20729 | 0.052515 | 0.00021667 | 0.00013799 | 0.31286 | 0.31286 | 0.31286 | 0.98543 | -0.27848 | 0.98656 | -0.2567 | 28.6498
49 | 0.18536 | 0.046715 | -0.18528 | -0.046663 | 8.1588e-05 | 5.1902e-05 | 0.28087 | 0.28087 | 0.28087 | 0.98235 | -0.3384 | 0.98188 | -0.3476 | 25.7206
50 | 0.15801 | 0.039829 | -0.15792 | -0.039772 | 8.9167e-05 | 5.6857e-05 | 0.23954 | 0.23954 | 0.23954 | 0.98188 | -0.3476 | 0.98127 | -0.3594 | 32.9038

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49647 | 0.12631

## res_load
| p_mw | q_mvar
0 | 0.0041463 | 0.0010392
1 | 0.003583 | 0.00089797
2 | 0.010752 | 0.0026948
3 | 0.0020635 | 0.00051715
4 | 0.01973 | 0.0049448
5 | 0.0027018 | 0.00067714
6 | 0.0033624 | 0.00084269
7 | 0.051362 | 0.012872
8 | 0.010844 | 0.0027178
9 | 0.0014235 | 0.00035677
10 | 0.0075116 | 0.0018826
11 | 0.0075865 | 0.0019014
12 | 0.0015644 | 0.00039208
13 | 0.0058064 | 0.0014552
14 | 0.0018162 | 0.00045518
15 | 0.0017438 | 0.00043703
16 | 0.0032682 | 0.00081909
17 | 0.0018131 | 0.00045441
18 | 0.061613 | 0.015442
19 | 0.041124 | 0.010307
20 | 0.027337 | 0.0068512
21 | 0.0038279 | 0.00095937
22 | 0.0061652 | 0.0015451
23 | 0.0070375 | 0.0017638
24 | 0.016149 | 0.0040473
25 | 0.0083702 | 0.0020978
26 | 0.050832 | 0.01274
27 | 0.0061966 | 0.001553
28 | 0.0076081 | 0.0019068
29 | 0.007098 | 0.0017789
30 | 0.0070425 | 0.001765
31 | 0.0072498 | 0.001817
32 | 0.0061481 | 0.0015409
33 | 0.014564 | 0.00365
34 | 0.002801 | 0.00070199
35 | 0.0067047 | 0.0016804
36 | 0.0015493 | 0.0003883
37 | 0.0037784 | 0.00094695
38 | 0.027271 | 0.0068348
39 | 0.027346 | 0.0068535

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1