## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-171_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-171_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-171_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-171_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-171_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-171_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_2701-171_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2701-171_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_2701-171_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2701-171_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-171_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2701-171_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-171_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2701-171_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2701-171_0_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_2701-171_0_4_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_2701-171_0_4_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_2701-171_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_2701-171_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2701-171_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2701-171_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-171_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-171_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-171_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-171_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2701-171_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2701-171_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-171_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2701-171_0_4_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_2701-171_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2701-171_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2701-171_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2701-171_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2701-171_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_2701-171_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2701-171_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2701-171_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2701-171_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2701-171_0_4_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_2701-171_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_2701-171_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2701-171_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_2701-171_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_2701-171_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2701-171_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_2701-171_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_2701-171_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2701-171_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2701-171_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_2701-171_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_2701-171_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2701-171_0_4_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_2701-171_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_2701-171_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2701-171_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_2701-171_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2701-171_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2701-171_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2701-171_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2701-171_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2701-171_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_2701-171_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_2701-171_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2701-171_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2701-171_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2701-171_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2701-171_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2701-171_0_4_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_2701-171_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_2701-171_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2701-171_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2701-171_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_2701-171_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_2701-171_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_2701-171_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_2701-171_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2701-171_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_2701-171_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_2701-171_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_2701-171_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_2701-171_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2701-171_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_MV_561_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-171_0_4_load_0 | 0 | 0.0032647 | 0.0008182 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-171_0_4_load_1 | 1 | 0.0047046 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-171_0_4_load_2 | 2 | 0.0035407 | 0.00088739 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-171_0_4_load_3 | 3 | 0.0029421 | 0.00073735 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-171_0_4_load_4 | 4 | 0.00308 | 0.00077191 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-171_0_4_load_23 | 5 | 0.0044718 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-171_0_4_load_25 | 6 | 0.0044289 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-171_0_4_load_24 | 7 | 0.0064363 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-171_0_4_load_20 | 8 | 0.0032097 | 0.00080444 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-171_0_4_load_5 | 9 | 0.0024811 | 0.00062183 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-171_0_4_load_6 | 10 | 0.0046063 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-171_0_4_load_33 | 13 | 0.0027749 | 0.00069547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-171_0_4_load_84 | 15 | 0.013437 | 0.0033677 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-171_0_4_load_82 | 16 | 0.023663 | 0.0059306 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-171_0_4_load_32 | 17 | 0.0029469 | 0.00073857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-171_0_4_load_10 | 18 | 0.0062489 | 0.0015661 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-171_0_4_load_11 | 19 | 0.0055444 | 0.0013896 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-171_0_4_load_12 | 20 | 0.0078632 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-171_0_4_load_13 | 21 | 0.011635 | 0.002916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-171_0_4_load_15 | 23 | 0.0098906 | 0.0024788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-171_0_4_load_28 | 24 | 0.0077302 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-171_0_4_load_29 | 25 | 0.013439 | 0.0033681 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-171_0_4_load_52 | 27 | 0.0043285 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-171_0_4_load_86 | 28 | 0.019661 | 0.0049276 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-171_0_4_load_26 | 29 | 0.0026271 | 0.0006584 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-171_0_4_load_27 | 30 | 0.0029401 | 0.00073687 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-171_0_4_load_30 | 31 | 0.0016342 | 0.00040956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-171_0_4_load_49 | 32 | 0.0059492 | 0.001491 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-171_0_4_load_17 | 33 | 0.0091242 | 0.0022867 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-171_0_4_load_18 | 34 | 0.006577 | 0.0016483 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-171_0_4_load_21 | 36 | 0.0070418 | 0.0017649 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-171_0_4_load_22 | 37 | 0.0072283 | 0.0018116 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-171_0_4_load_68 | 38 | 0.0054267 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-171_0_4_load_69 | 39 | 0.0036949 | 0.00092602 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-171_0_4_load_31 | 40 | 0.0034433 | 0.00086298 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-171_0_4_load_48 | 41 | 0.0032412 | 0.00081231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-171_0_4_load_50 | 42 | 0.0056959 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-171_0_4_load_35 | 43 | 0.0047178 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-171_0_4_load_36 | 44 | 0.0018712 | 0.00046896 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-171_0_4_load_37 | 45 | 0.0072927 | 0.0018277 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-171_0_4_load_38 | 46 | 0.0061383 | 0.0015384 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-171_0_4_load_39 | 47 | 0.011702 | 0.0029327 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-171_0_4_load_40 | 48 | 0.0032425 | 0.00081266 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-171_0_4_load_85 | 49 | 0.0030966 | 0.00077609 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-171_0_4_load_41 | 50 | 0.006155 | 0.0015426 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-171_0_4_load_80 | 51 | 0.0030704 | 0.00076952 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-171_0_4_load_42 | 52 | 0.0018774 | 0.00047051 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-171_0_4_load_43 | 53 | 0.0032465 | 0.00081366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-171_0_4_load_44 | 54 | 0.006799 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-171_0_4_load_45 | 55 | 0.0068237 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-171_0_4_load_46 | 56 | 0.0037869 | 0.00094908 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-171_0_4_load_47 | 57 | 0.0089717 | 0.0022485 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-171_0_4_load_51 | 58 | 0.011515 | 0.0028859 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-171_0_4_load_53 | 59 | 0.004361 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-171_0_4_load_60 | 60 | 0.0066651 | 0.0016704 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-171_0_4_load_59 | 61 | 0.0075612 | 0.001895 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-171_0_4_load_54 | 62 | 0.0030136 | 0.00075528 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-171_0_4_load_55 | 63 | 0.002287 | 0.00057317 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-171_0_4_load_56 | 64 | 0.0042134 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-171_0_4_load_57 | 65 | 0.0021676 | 0.00054324 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-171_0_4_load_58 | 66 | 0.0024342 | 0.00061006 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-171_0_4_load_75 | 67 | 0.0083687 | 0.0020974 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-171_0_4_load_66 | 68 | 0.0022852 | 0.00057273 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-171_0_4_load_73 | 69 | 0.0021567 | 0.00054052 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-171_0_4_load_64 | 70 | 0.0070616 | 0.0017698 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-171_0_4_load_79 | 72 | 0.015165 | 0.0038007 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-171_0_4_load_78 | 73 | 0.0050121 | 0.0012561 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-171_0_4_load_81 | 74 | 0.014703 | 0.0036848 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-171_0_4_load_65 | 75 | 0.0046886 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-171_0_4_load_67 | 76 | 0.0027953 | 0.00070058 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2701-171_0_4_load_70 | 77 | 0.0071298 | 0.0017869 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2701-171_0_4_load_72 | 79 | 0.035844 | 0.0089835 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2701-171_0_4_load_77 | 80 | 0.0047238 | 0.0011839 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2701-171_0_4_load_76 | 81 | 0.022031 | 0.0055214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-171_0_4_line_0 |  | 0 | 1 | 0.0060995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2701-171_0_4_line_1 |  | 0 | 2 | 0.0032506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-171_0_4_line_2 |  | 1 | 3 | 0.0023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-171_0_4_line_3 |  | 2 | 4 | 0.0049201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-171_0_4_line_4 |  | 3 | 5 | 0.010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-171_0_4_line_5 |  | 4 | 6 | 0.0040834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-171_0_4_line_6 |  | 5 | 7 | 0.0017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-171_0_4_line_7 |  | 6 | 8 | 0.0043424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-171_0_4_line_8 |  | 7 | 26 | 0.012505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-171_0_4_line_9 |  | 8 | 34 | 0.0074654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-171_0_4_line_10 |  | 9 | 10 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-171_0_4_line_11 |  | 9 | 11 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-171_0_4_line_12 |  | 11 | 12 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-171_0_4_line_13 |  | 12 | 13 | 0.033802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-171_0_4_line_14 |  | 13 | 17 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-171_0_4_line_15 |  | 14 | 15 | 0.023974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-171_0_4_line_16 |  | 14 | 16 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-171_0_4_line_17 |  | 15 | 28 | 0.013968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-171_0_4_line_18 |  | 16 | 74 | 0.017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-171_0_4_line_19 |  | 17 | 40 | 0.0072765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-171_0_4_line_20 |  | 18 | 19 | 0.0045977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-171_0_4_line_21 |  | 18 | 20 | 0.0087284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-171_0_4_line_22 |  | 19 | 21 | 0.0076799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-171_0_4_line_23 |  | 20 | 22 | 0.0063536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-171_0_4_line_24 |  | 21 | 23 | 0.0040165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2701-171_0_4_line_25 |  | 22 | 24 | 0.013113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-171_0_4_line_26 |  | 22 | 25 | 0.010472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-171_0_4_line_27 |  | 23 | 26 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-171_0_4_line_28 |  | 24 | 27 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-171_0_4_line_29 |  | 25 | 28 | 0.0050058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-171_0_4_line_30 |  | 26 | 29 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-171_0_4_line_31 |  | 26 | 30 | 0.02202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-171_0_4_line_32 |  | 27 | 42 | 0.00020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-171_0_4_line_33 |  | 29 | 31 | 0.004826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-171_0_4_line_34 |  | 30 | 32 | 0.0016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-171_0_4_line_35 |  | 31 | 40 | 0.0035913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-171_0_4_line_36 |  | 32 | 41 | 0.0061557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-171_0_4_line_37 |  | 33 | 34 | 0.0044644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-171_0_4_line_38 |  | 33 | 35 | 0.02201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-171_0_4_line_39 |  | 35 | 36 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-171_0_4_line_40 |  | 35 | 37 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-171_0_4_line_41 |  | 36 | 38 | 0.0049997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-171_0_4_line_42 |  | 38 | 39 | 0.008472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-171_0_4_line_43 |  | 39 | 76 | 0.0041283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-171_0_4_line_44 |  | 41 | 57 | 0.0042852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2701-171_0_4_line_45 |  | 42 | 58 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-171_0_4_line_46 |  | 43 | 44 | 0.00017551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-171_0_4_line_47 |  | 43 | 45 | 0.0082395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-171_0_4_line_48 |  | 44 | 46 | 0.00049576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-171_0_4_line_49 |  | 45 | 47 | 0.0073284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-171_0_4_line_50 |  | 46 | 48 | 0.0073072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-171_0_4_line_51 |  | 47 | 49 | 0.0017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-171_0_4_line_52 |  | 48 | 50 | 0.00079429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-171_0_4_line_53 |  | 49 | 51 | 0.0074764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-171_0_4_line_54 |  | 50 | 52 | 0.0058467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-171_0_4_line_55 |  | 51 | 71 | 0.025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-171_0_4_line_56 |  | 52 | 53 | 0.0013605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-171_0_4_line_57 |  | 53 | 54 | 0.00013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-171_0_4_line_58 |  | 54 | 55 | 0.0012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-171_0_4_line_59 |  | 55 | 56 | 0.006478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-171_0_4_line_60 |  | 56 | 57 | 0.003883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_2701-171_0_4_line_61 |  | 58 | 59 | 0.0035208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-171_0_4_line_62 |  | 59 | 60 | 0.0053994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-171_0_4_line_63 |  | 60 | 61 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-171_0_4_line_64 |  | 62 | 63 | 0.0013907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-171_0_4_line_65 |  | 62 | 64 | 0.0029662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-171_0_4_line_66 |  | 63 | 65 | 0.0067007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-171_0_4_line_67 |  | 64 | 66 | 0.0026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-171_0_4_line_68 |  | 65 | 67 | 0.0053403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-171_0_4_line_69 |  | 66 | 68 | 0.0068612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-171_0_4_line_70 |  | 67 | 69 | 0.0013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-171_0_4_line_71 |  | 68 | 70 | 0.00010425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-171_0_4_line_72 |  | 69 | 78 | 0.03316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2701-171_0_4_line_73 |  | 70 | 75 | 0.0025555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2701-171_0_4_line_74 |  | 71 | 72 | 0.021269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-171_0_4_line_75 |  | 72 | 73 | 0.023221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-171_0_4_line_76 |  | 73 | 81 | 0.0094872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2701-171_0_4_line_77 |  | 75 | 76 | 0.0051571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2701-171_0_4_line_78 |  | 77 | 78 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2701-171_0_4_line_79 |  | 77 | 79 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2701-171_0_4_line_80 |  | 80 | 81 | 0.0028884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-171_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 82 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611880.4797 | 1268567.1291 | 2611879.846 | 1268573.1956
1 | 2611880.4797 | 1268567.1291 | 2611880.8175 | 1268563.8962
2 | 2611879.846 | 1268573.1956 | 2611879.5991 | 1268575.5592
3 | 2611881.3286 | 1268559.0027 | 2611880.8175 | 1268563.8962
4 | 2611878.4734 | 1268586.3348 | 2611879.5991 | 1268575.5592
5 | 2611881.7529 | 1268554.9414 | 2611881.3286 | 1268559.0027
6 | 2611878.4734 | 1268586.3348 | 2611878.2909 | 1268588.0825
7 | 2611882.2041 | 1268550.6226 | 2611881.7529 | 1268554.9414
8 | 2611876.9917 | 1268600.5195 | 2611878.2909 | 1268588.0825
9 | 2611882.2041 | 1268550.6226 | 2611882.9797 | 1268543.1976
10 | 2611949.3679 | 1268645.5852 | 2611949.7308 | 1268658.6749
11 | 2611959.8128 | 1268645.5729 | 2611958.4808 | 1268645.5814 | 2611949.3679 | 1268645.5852 | 2611949.3679 | 1268645.5852
12 | 2611959.8128 | 1268645.5729 | 2611960.1018 | 1268617.9096
13 | 2611960.1018 | 1268617.9096 | 2611958.7627 | 1268617.7067 | 2611927.009 | 1268611.0325
14 | 2611915.0105 | 1268608.5106 | 2611927.009 | 1268611.0325
15 | 2611868.7966 | 1268698.461 | 2611870.766 | 1268674.5677
16 | 2611868.7966 | 1268698.461 | 2611849.8605 | 1268695.2186
17 | 2611871.9134 | 1268660.6468 | 2611870.766 | 1268674.5677
18 | 2611832.6097 | 1268692.2648 | 2611849.8605 | 1268695.2186
19 | 2611915.0105 | 1268608.5106 | 2611907.8896 | 1268607.0138
20 | 2611874.4667 | 1268630.1936 | 2611874.8574 | 1268625.6126
21 | 2611874.4667 | 1268630.1936 | 2611873.7248 | 1268638.8905
22 | 2611875.5101 | 1268617.9605 | 2611874.8574 | 1268625.6126
23 | 2611873.1848 | 1268645.2211 | 2611873.7248 | 1268638.8905
24 | 2611875.5101 | 1268617.9605 | 2611875.7509 | 1268615.1384 | 2611875.851 | 1268613.9585
25 | 2611873.1848 | 1268645.2211 | 2611860.0885 | 1268644.5632
26 | 2611873.1848 | 1268645.2211 | 2611872.3246 | 1268655.6578
27 | 2611876.9917 | 1268600.5195 | 2611875.851 | 1268613.9585
28 | 2611860.0885 | 1268644.5632 | 2611840.6873 | 1268643.5884 | 2611834.3431 | 1268642.3081
29 | 2611872.3246 | 1268655.6578 | 2611871.9134 | 1268660.6468
30 | 2611876.9917 | 1268600.5195 | 2611899.6522 | 1268605.2824
31 | 2611876.9917 | 1268600.5195 | 2611855.3541 | 1268596.4336
32 | 2611834.3431 | 1268642.3081 | 2611834.1441 | 1268642.2679
33 | 2611899.6522 | 1268605.2824 | 2611904.375 | 1268606.2751
34 | 2611855.3541 | 1268596.4336 | 2611853.7361 | 1268596.1281
35 | 2611907.8896 | 1268607.0138 | 2611904.375 | 1268606.2751
36 | 2611847.6874 | 1268594.9859 | 2611853.7361 | 1268596.1281
37 | 2611883.4435 | 1268538.7574 | 2611882.9797 | 1268543.1976
38 | 2611885.7303 | 1268516.8669 | 2611883.4435 | 1268538.7574
39 | 2611885.7303 | 1268516.8669 | 2611872.8991 | 1268513.435
40 | 2611885.7303 | 1268516.8669 | 2611895.3983 | 1268519.5317
41 | 2611872.8991 | 1268513.435 | 2611868.0691 | 1268512.1431
42 | 2611859.8849 | 1268509.9541 | 2611868.0691 | 1268512.1431
43 | 2611859.8849 | 1268509.9541 | 2611855.8968 | 1268508.8874
44 | 2611847.6874 | 1268594.9859 | 2611843.4766 | 1268594.1908
45 | 2611834.1441 | 1268642.2679 | 2611823.8117 | 1268640.1827
46 | 2611816.4432 | 1268589.0861 | 2611816.2707 | 1268589.0535
47 | 2611816.2707 | 1268589.0535 | 2611808.1743 | 1268587.5247
48 | 2611816.9303 | 1268589.1781 | 2611816.4432 | 1268589.0861
49 | 2611800.9732 | 1268586.1649 | 2611808.1743 | 1268587.5247
50 | 2611824.1107 | 1268590.5339 | 2611816.9303 | 1268589.1781
51 | 2611799.2744 | 1268585.8441 | 2611800.9732 | 1268586.1649
52 | 2611824.8912 | 1268590.6813 | 2611824.1107 | 1268590.5339
53 | 2611791.9279 | 1268584.4569 | 2611799.2744 | 1268585.8441
54 | 2611830.6363 | 1268591.7662 | 2611824.8912 | 1268590.6813
55 | 2611767.0155 | 1268579.7527 | 2611791.9279 | 1268584.4569
56 | 2611831.9732 | 1268592.0186 | 2611830.6363 | 1268591.7662
57 | 2611832.1102 | 1268592.0445 | 2611831.9732 | 1268592.0186
58 | 2611832.1102 | 1268592.0445 | 2611833.2955 | 1268592.2683
59 | 2611839.661 | 1268593.4703 | 2611833.2955 | 1268592.2683
60 | 2611839.661 | 1268593.4703 | 2611843.4766 | 1268594.1908
61 | 2611823.8117 | 1268640.1827 | 2611820.3605 | 1268639.4862
62 | 2611815.0678 | 1268638.418 | 2611820.3605 | 1268639.4862
63 | 2611802.255 | 1268635.8322 | 2611815.0678 | 1268638.418
64 | 2611836.2991 | 1268503.6455 | 2611834.9557 | 1268503.2862
65 | 2611836.2991 | 1268503.6455 | 2611839.1646 | 1268504.412
66 | 2611828.4825 | 1268501.5548 | 2611834.9557 | 1268503.2862
67 | 2611839.1646 | 1268504.412 | 2611841.7172 | 1268505.0947
68 | 2611828.4825 | 1268501.5548 | 2611823.3235 | 1268500.1749
69 | 2611841.7172 | 1268505.0947 | 2611848.3453 | 1268506.8676
70 | 2611821.9891 | 1268499.818 | 2611823.3235 | 1268500.1749
71 | 2611848.446 | 1268506.8945 | 2611848.3453 | 1268506.8676
72 | 2611789.9624 | 1268491.2247 | 2611810.0892 | 1268496.6352 | 2611821.9891 | 1268499.818
73 | 2611848.446 | 1268506.8945 | 2611850.9148 | 1268507.5548
74 | 2611767.0155 | 1268579.7527 | 2611770.4186 | 1268558.7572
75 | 2611770.4186 | 1268558.7572 | 2611774.134 | 1268535.835
76 | 2611775.6519 | 1268526.4701 | 2611774.134 | 1268535.835
77 | 2611850.9148 | 1268507.5548 | 2611855.8968 | 1268508.8874
78 | 2611789.9624 | 1268491.2247 | 2611788.7401 | 1268496.6261 | 2611795.307 | 1268498.2278
79 | 2611805.7916 | 1268500.7851 | 2611795.307 | 1268498.2278
80 | 2611775.6519 | 1268526.4701 | 2611776.1141 | 1268523.6189

## bus_geodata
| x | y | coords
0 | 2611880.4797 | 1268567.1291
1 | 2611879.846 | 1268573.1956
2 | 2611880.8175 | 1268563.8962
3 | 2611879.5991 | 1268575.5592
4 | 2611881.3286 | 1268559.0027
5 | 2611878.4734 | 1268586.3348
6 | 2611881.7529 | 1268554.9414
7 | 2611878.2909 | 1268588.0825
8 | 2611882.2041 | 1268550.6226
9 | 2611949.3679 | 1268645.5852
10 | 2611949.7308 | 1268658.6749
11 | 2611959.8128 | 1268645.5729
12 | 2611960.1018 | 1268617.9096
13 | 2611927.009 | 1268611.0325
14 | 2611868.7966 | 1268698.461
15 | 2611870.766 | 1268674.5677
16 | 2611849.8605 | 1268695.2186
17 | 2611915.0105 | 1268608.5106
18 | 2611874.4667 | 1268630.1936
19 | 2611874.8574 | 1268625.6126
20 | 2611873.7248 | 1268638.8905
21 | 2611875.5101 | 1268617.9605
22 | 2611873.1848 | 1268645.2211
23 | 2611875.851 | 1268613.9585
24 | 2611860.0885 | 1268644.5632
25 | 2611872.3246 | 1268655.6578
26 | 2611876.9917 | 1268600.5195
27 | 2611834.3431 | 1268642.3081
28 | 2611871.9134 | 1268660.6468
29 | 2611899.6522 | 1268605.2824
30 | 2611855.3541 | 1268596.4336
31 | 2611904.375 | 1268606.2751
32 | 2611853.7361 | 1268596.1281
33 | 2611883.4435 | 1268538.7574
34 | 2611882.9797 | 1268543.1976
35 | 2611885.7303 | 1268516.8669
36 | 2611872.8991 | 1268513.435
37 | 2611895.3983 | 1268519.5317
38 | 2611868.0691 | 1268512.1431
39 | 2611859.8849 | 1268509.954
40 | 2611907.8896 | 1268607.0138
41 | 2611847.6874 | 1268594.9859
42 | 2611834.1441 | 1268642.2679
43 | 2611816.2707 | 1268589.0535
44 | 2611816.4432 | 1268589.0861
45 | 2611808.1743 | 1268587.5247
46 | 2611816.9303 | 1268589.1781
47 | 2611800.9732 | 1268586.1649
48 | 2611824.1107 | 1268590.5339
49 | 2611799.2744 | 1268585.8441
50 | 2611824.8912 | 1268590.6813
51 | 2611791.9279 | 1268584.4569
52 | 2611830.6363 | 1268591.7662
53 | 2611831.9732 | 1268592.0186
54 | 2611832.1102 | 1268592.0445
55 | 2611833.2955 | 1268592.2683
56 | 2611839.661 | 1268593.4703
57 | 2611843.4766 | 1268594.1908
58 | 2611823.8117 | 1268640.1827
59 | 2611820.3605 | 1268639.4862
60 | 2611815.0678 | 1268638.418
61 | 2611802.255 | 1268635.8322
62 | 2611836.2991 | 1268503.6455
63 | 2611834.9557 | 1268503.2862
64 | 2611839.1646 | 1268504.412
65 | 2611828.4825 | 1268501.5548
66 | 2611841.7172 | 1268505.0947
67 | 2611823.3235 | 1268500.1749
68 | 2611848.3453 | 1268506.8676
69 | 2611821.9891 | 1268499.8181
70 | 2611848.446 | 1268506.8945
71 | 2611767.0155 | 1268579.7527
72 | 2611770.4186 | 1268558.7572
73 | 2611774.134 | 1268535.835
74 | 2611832.6097 | 1268692.2648
75 | 2611850.9148 | 1268507.5548
76 | 2611855.8968 | 1268508.8874
77 | 2611795.307 | 1268498.2278
78 | 2611789.9624 | 1268491.2247
79 | 2611805.7916 | 1268500.7851
80 | 2611776.1141 | 1268523.6189
81 | 2611775.6519 | 1268526.4701
82 | 2611876.9917 | 1268600.5195

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99414 | -0.11197 | 0.0032647 | 0.0008182
1 | 0.99454 | -0.10438 | 0.0047046 | 0.0011791
2 | 0.99373 | -0.11987 | 0.0035407 | 0.00088739
3 | 0.99464 | -0.10235 | 0.0029421 | 0.00073735
4 | 0.99312 | -0.13154 | 0.00308 | 0.00077191
5 | 0.99514 | -0.092892 | 0.0044718 | 0.0011207
6 | 0.99263 | -0.14101 | 0.0044289 | 0.00111
7 | 0.99522 | -0.091313 | 0.0064363 | 0.0016131
8 | 0.99212 | -0.15075 | 0.0032097 | 0.00080444
9 | 0.99461 | -0.10326 | 0.0024811 | 0.00062183
10 | 0.99455 | -0.10432 | 0.0046063 | 0.0011544
11 | 0.99467 | -0.10195 | 0 | 0
12 | 0.99485 | -0.0985 | 0 | 0
13 | 0.99507 | -0.094281 | 0.0027749 | 0.00069547
14 | 0.9897 | -0.19794 | 0 | 0
15 | 0.99055 | -0.18158 | 0.013437 | 0.0033677
16 | 0.98903 | -0.21106 | 0.023663 | 0.0059306
17 | 0.99518 | -0.092152 | 0.0029469 | 0.00073857
18 | 0.99425 | -0.11006 | 0.0062489 | 0.0015661
19 | 0.99456 | -0.10411 | 0.0055444 | 0.0013896
20 | 0.99312 | -0.13172 | 0.0078632 | 0.0019707
21 | 0.99491 | -0.097233 | 0.011635 | 0.002916
22 | 0.99235 | -0.14664 | 0 | 0
23 | 0.99511 | -0.093366 | 0.0098906 | 0.0024788
24 | 0.99178 | -0.15776 | 0.0077302 | 0.0019374
25 | 0.99154 | -0.16239 | 0.013439 | 0.0033681
26 | 0.99583 | -0.079611 | 0 | 0
27 | 0.99083 | -0.17619 | 0.0043285 | 0.0010848
28 | 0.99121 | -0.16874 | 0.019661 | 0.0049276
29 | 0.9954 | -0.087965 | 0.0026271 | 0.0006584
30 | 0.99821 | -0.03404 | 0.0029401 | 0.00073687
31 | 0.99532 | -0.089484 | 0.0016342 | 0.00040956
32 | 0.99839 | -0.030613 | 0.0059492 | 0.001491
33 | 0.99079 | -0.17636 | 0.0091242 | 0.0022867
34 | 0.99127 | -0.1671 | 0.006577 | 0.0016483
35 | 0.9886 | -0.2186 | 0 | 0
36 | 0.98737 | -0.24246 | 0.0070418 | 0.0017649
37 | 0.98853 | -0.21989 | 0.0072283 | 0.0018116
38 | 0.98694 | -0.25083 | 0.0054267 | 0.0013601
39 | 0.98625 | -0.2642 | 0.0036949 | 0.00092602
40 | 0.99527 | -0.090511 | 0.0034433 | 0.00086298
41 | 0.99908 | -0.017598 | 0.0032412 | 0.00081231
42 | 0.99082 | -0.17632 | 0.0056959 | 0.0014275
43 | 0.99791 | -0.04013 | 0.0047178 | 0.0011824
44 | 0.99792 | -0.039894 | 0.0018712 | 0.00046896
45 | 0.99737 | -0.050532 | 0.0072927 | 0.0018277
46 | 0.99796 | -0.039211 | 0.0061383 | 0.0015384
47 | 0.99693 | -0.058857 | 0.011702 | 0.0029327
48 | 0.99852 | -0.02837 | 0.0032425 | 0.00081266
49 | 0.99685 | -0.060467 | 0.0030966 | 0.00077609
50 | 0.99858 | -0.027147 | 0.006155 | 0.0015426
51 | 0.99651 | -0.067027 | 0.0030704 | 0.00076952
52 | 0.99909 | -0.017523 | 0.0018774 | 0.00047051
53 | 0.9992 | -0.01524 | 0.0032465 | 0.00081366
54 | 0.99922 | -0.014998 | 0.006799 | 0.001704
55 | 0.99933 | -0.012764 | 0.0068237 | 0.0017102
56 | 1 | 0 | -0.4936 | -0.12476
57 | 0.99955 | -0.0084682 | 0.0089717 | 0.0022485
58 | 0.99053 | -0.18195 | 0.011515 | 0.0028859
59 | 0.99047 | -0.18312 | 0.004361 | 0.001093
60 | 0.9904 | -0.18448 | 0.0066651 | 0.0016704
61 | 0.99031 | -0.18624 | 0.0075612 | 0.001895
62 | 0.9846 | -0.29634 | 0.0030136 | 0.00075528
63 | 0.98452 | -0.29779 | 0.002287 | 0.00057317
64 | 0.98476 | -0.29309 | 0.0042134 | 0.001056
65 | 0.98418 | -0.3045 | 0.0021676 | 0.00054324
66 | 0.98492 | -0.28999 | 0.0024342 | 0.00061006
67 | 0.98391 | -0.30964 | 0.0083687 | 0.0020974
68 | 0.98535 | -0.28166 | 0.0022852 | 0.00057273
69 | 0.98386 | -0.31077 | 0.0021567 | 0.00054052
70 | 0.98536 | -0.28153 | 0.0070616 | 0.0017698
71 | 0.99542 | -0.087934 | 0 | 0
72 | 0.99451 | -0.10551 | 0.015165 | 0.0038007
73 | 0.99384 | -0.11852 | 0.0050121 | 0.0012561
74 | 0.98879 | -0.21565 | 0.014703 | 0.0036848
75 | 0.98554 | -0.278 | 0.0046886 | 0.0011751
76 | 0.98593 | -0.27045 | 0.0027953 | 0.00070058
77 | 0.98205 | -0.34601 | 0.0071298 | 0.0017869
78 | 0.98254 | -0.33646 | 0 | 0
79 | 0.9817 | -0.353 | 0.035844 | 0.0089835
80 | 0.9936 | -0.12324 | 0.0047238 | 0.0011839
81 | 0.99361 | -0.123 | 0.022031 | 0.0055214
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14213 | -0.036032 | 0.14218 | 0.036065 | 5.1828e-05 | 3.3011e-05 | 0.21288 | 0.21288 | 0.21288 | 0.99414 | -0.11197 | 0.99454 | -0.10438 | 29.2417
1 | 0.13886 | 0.035214 | -0.13881 | -0.03518 | 5.2733e-05 | 3.3707e-05 | 0.20799 | 0.20799 | 0.20799 | 0.99414 | -0.11197 | 0.99373 | -0.11987 | 57.1409
2 | -0.14688 | -0.037244 | 0.1469 | 0.037253 | 1.4367e-05 | 9.1021e-06 | 0.21992 | 0.21992 | 0.21992 | 0.99454 | -0.10438 | 0.99464 | -0.10235 | 20.139
3 | 0.13527 | 0.034293 | -0.13519 | -0.034244 | 7.5801e-05 | 4.8449e-05 | 0.20269 | 0.20269 | 0.20269 | 0.99373 | -0.11987 | 0.99312 | -0.13154 | 55.6843
4 | -0.14984 | -0.037991 | 0.14991 | 0.038034 | 6.8147e-05 | 4.3192e-05 | 0.22432 | 0.22432 | 0.22432 | 0.99464 | -0.10235 | 0.99514 | -0.092892 | 20.5421
5 | 0.13211 | 0.033472 | -0.13205 | -0.033434 | 6.0078e-05 | 3.8397e-05 | 0.19808 | 0.19808 | 0.19808 | 0.99312 | -0.13154 | 0.99263 | -0.14101 | 54.4165
6 | -0.15438 | -0.039155 | 0.15439 | 0.039162 | 1.1721e-05 | 7.4331e-06 | 0.23101 | 0.23101 | 0.23101 | 0.99514 | -0.092892 | 0.99522 | -0.091313 | 21.1544
7 | 0.12762 | 0.032324 | -0.12756 | -0.032286 | 5.9677e-05 | 3.8137e-05 | 0.19144 | 0.19144 | 0.19144 | 0.99263 | -0.14101 | 0.99212 | -0.15075 | 52.5926
8 | -0.16083 | -0.040775 | 0.16092 | 0.040832 | 9.0506e-05 | 5.7436e-05 | 0.24063 | 0.24063 | 0.24063 | 0.99522 | -0.091313 | 0.99583 | -0.079611 | 22.0357
9 | 0.12435 | 0.031481 | -0.12426 | -0.031419 | 9.7503e-05 | 6.2305e-05 | 0.18662 | 0.18662 | 0.18662 | 0.99212 | -0.15075 | 0.99127 | -0.1671 | 51.2701
10 | 0.0046065 | 0.0011544 | -0.0046063 | -0.0011544 | 2.3323e-07 | -2.0669e-08 | 0.0068917 | 0.0068918 | 0.0068918 | 0.99461 | -0.10326 | 0.99455 | -0.10432 | 1.8933
11 | -0.0070876 | -0.0017762 | 0.0070881 | 0.0017764 | 4.404e-07 | 1.4629e-07 | 0.010604 | 0.010604 | 0.010604 | 0.99461 | -0.10326 | 0.99467 | -0.10195 | 2.9131
12 | -0.0070881 | -0.0017764 | 0.0070892 | 0.0017768 | 1.1665e-06 | 3.8739e-07 | 0.010604 | 0.010603 | 0.010604 | 0.99467 | -0.10195 | 0.99485 | -0.0985 | 2.9131
13 | -0.0070892 | -0.0017768 | 0.0070907 | 0.0017773 | 1.4252e-06 | 4.731e-07 | 0.010603 | 0.010603 | 0.010603 | 0.99485 | -0.0985 | 0.99507 | -0.094281 | 2.913
14 | -0.0098656 | -0.0024727 | 0.0098666 | 0.0024732 | 1.0007e-06 | 4.8116e-07 | 0.014753 | 0.014753 | 0.014753 | 0.99507 | -0.094281 | 0.99518 | -0.092152 | 4.053
15 | -0.038393 | -0.0096324 | 0.038423 | 0.0096513 | 2.996e-05 | 1.8866e-05 | 0.057728 | 0.057728 | 0.057728 | 0.9897 | -0.19794 | 0.99055 | -0.18158 | 15.8593
16 | 0.038393 | 0.0096324 | -0.038369 | -0.0096173 | 2.4009e-05 | 1.5119e-05 | 0.057728 | 0.057728 | 0.057728 | 0.9897 | -0.19794 | 0.98903 | -0.21106 | 15.8593
17 | -0.051861 | -0.013019 | 0.051892 | 0.013039 | 3.1798e-05 | 2.0171e-05 | 0.077913 | 0.077913 | 0.077913 | 0.99055 | -0.18158 | 0.99121 | -0.16874 | 21.4048
18 | 0.014706 | 0.0036866 | -0.014703 | -0.0036848 | 3.213e-06 | 1.8318e-06 | 0.022126 | 0.022126 | 0.022126 | 0.98903 | -0.21106 | 0.98879 | -0.21565 | 6.0785
19 | -0.012814 | -0.0032118 | 0.012815 | 0.0032123 | 1.0016e-06 | 5.4649e-07 | 0.019159 | 0.019159 | 0.019159 | 0.99518 | -0.092152 | 0.99527 | -0.090511 | 5.2635
20 | -0.14736 | -0.037119 | 0.1474 | 0.037146 | 4.1955e-05 | 2.6732e-05 | 0.22061 | 0.22061 | 0.22061 | 0.99425 | -0.11006 | 0.99456 | -0.10411 | 30.3033
21 | 0.14111 | 0.035553 | -0.14096 | -0.03546 | 0.00014608 | 9.3377e-05 | 0.21126 | 0.21126 | 0.21126 | 0.99425 | -0.11006 | 0.99312 | -0.13172 | 58.0373
22 | -0.15295 | -0.038535 | 0.153 | 0.038567 | 5.03e-05 | 3.1893e-05 | 0.2289 | 0.2289 | 0.2289 | 0.99456 | -0.10411 | 0.99491 | -0.097233 | 20.9618
23 | 0.1331 | 0.033489 | -0.13301 | -0.033428 | 9.4804e-05 | 6.0592e-05 | 0.19947 | 0.19947 | 0.19947 | 0.99312 | -0.13172 | 0.99235 | -0.14664 | 54.8006
24 | -0.16463 | -0.041483 | 0.16466 | 0.041503 | 3.0458e-05 | 1.9337e-05 | 0.2463 | 0.2463 | 0.2463 | 0.99491 | -0.097233 | 0.99511 | -0.093366 | 22.5554
25 | 0.047928 | 0.012039 | -0.047903 | -0.012023 | 2.5405e-05 | 1.609e-05 | 0.071877 | 0.071877 | 0.071877 | 0.99235 | -0.14664 | 0.99178 | -0.15776 | 19.7466
26 | 0.085078 | 0.021389 | -0.085014 | -0.021349 | 6.3936e-05 | 4.0784e-05 | 0.1276 | 0.1276 | 0.1276 | 0.99235 | -0.14664 | 0.99154 | -0.16239 | 35.054
27 | -0.17455 | -0.043981 | 0.17467 | 0.044054 | 0.00011493 | 7.3029e-05 | 0.26109 | 0.26109 | 0.26109 | 0.99511 | -0.093366 | 0.99583 | -0.079611 | 23.9097
28 | 0.040173 | 0.010085 | -0.040137 | -0.010063 | 3.5289e-05 | 2.2251e-05 | 0.060279 | 0.06028 | 0.06028 | 0.99178 | -0.15776 | 0.99083 | -0.17619 | 16.5603
29 | 0.071575 | 0.01798 | -0.071554 | -0.017967 | 2.1665e-05 | 1.3801e-05 | 0.10743 | 0.10743 | 0.10743 | 0.99154 | -0.16239 | 0.99121 | -0.16874 | 29.5135
30 | 0.020529 | 0.0051494 | -0.020521 | -0.0051445 | 8.172e-06 | 4.929e-06 | 0.030677 | 0.030678 | 0.030678 | 0.99583 | -0.079611 | 0.9954 | -0.087965 | 8.4279
31 | -0.35611 | -0.090036 | 0.35689 | 0.090535 | 0.0007802 | 0.00049846 | 0.5324 | 0.5324 | 0.5324 | 0.99583 | -0.079611 | 0.99821 | -0.03404 | 48.7546
32 | 0.035809 | 0.0089784 | -0.035809 | -0.0089783 | 2.2009e-07 | 1.3825e-07 | 0.053779 | 0.053779 | 0.053779 | 0.99083 | -0.17619 | 0.99082 | -0.17632 | 14.7745
33 | 0.017894 | 0.0044861 | -0.017893 | -0.0044853 | 1.295e-06 | 7.6609e-07 | 0.02675 | 0.02675 | 0.02675 | 0.9954 | -0.087965 | 0.99532 | -0.089484 | 7.349
34 | -0.35983 | -0.091272 | 0.35989 | 0.09131 | 5.9303e-05 | 3.7889e-05 | 0.53678 | 0.53678 | 0.53678 | 0.99821 | -0.03404 | 0.99839 | -0.030613 | 49.1559
35 | 0.016259 | 0.0040758 | -0.016258 | -0.0040753 | 7.9572e-07 | 4.6259e-07 | 0.024307 | 0.024307 | 0.024307 | 0.99532 | -0.089484 | 0.99527 | -0.090511 | 6.6778
36 | -0.36584 | -0.092801 | 0.36607 | 0.092947 | 0.00022909 | 0.00014638 | 0.54565 | 0.54565 | 0.54565 | 0.99839 | -0.030613 | 0.99908 | -0.017598 | 49.9679
37 | -0.11763 | -0.029737 | 0.11768 | 0.029771 | 5.2301e-05 | 3.3415e-05 | 0.17675 | 0.17675 | 0.17675 | 0.99079 | -0.17636 | 0.99127 | -0.1671 | 48.5577
38 | 0.1085 | 0.027451 | -0.10828 | -0.02731 | 0.00021942 | 0.00014014 | 0.16305 | 0.16305 | 0.16305 | 0.99079 | -0.17636 | 0.9886 | -0.2186 | 44.7932
39 | 0.10106 | 0.025499 | -0.10094 | -0.025425 | 0.00011533 | 7.3641e-05 | 0.15217 | 0.15217 | 0.15217 | 0.9886 | -0.2186 | 0.98737 | -0.24246 | 41.804
40 | 0.0072288 | 0.0018117 | -0.0072283 | -0.0018116 | 4.4522e-07 | 1.5636e-07 | 0.010881 | 0.010881 | 0.010881 | 0.9886 | -0.2186 | 0.98853 | -0.21989 | 2.9892
41 | 0.093898 | 0.02366 | -0.09386 | -0.023636 | 3.7568e-05 | 2.398e-05 | 0.14155 | 0.14155 | 0.14155 | 0.98737 | -0.24246 | 0.98694 | -0.25083 | 38.8885
42 | 0.088434 | 0.022276 | -0.088377 | -0.02224 | 5.6513e-05 | 3.606e-05 | 0.13337 | 0.13337 | 0.13337 | 0.98694 | -0.25083 | 0.98625 | -0.2642 | 36.6408
43 | 0.084682 | 0.021314 | -0.084657 | -0.021298 | 2.5284e-05 | 1.6129e-05 | 0.1278 | 0.1278 | 0.1278 | 0.98625 | -0.2642 | 0.98593 | -0.27045 | 35.1093
44 | -0.36931 | -0.093759 | 0.36948 | 0.093863 | 0.00016231 | 0.00010371 | 0.55048 | 0.55048 | 0.55048 | 0.99908 | -0.017598 | 0.99955 | -0.0084682 | 50.41
45 | 0.030113 | 0.0075507 | -0.030105 | -0.0075457 | 8.0846e-06 | 5.0384e-06 | 0.045225 | 0.045225 | 0.045225 | 0.99082 | -0.17632 | 0.99053 | -0.18195 | 12.4244
46 | -0.077004 | -0.019373 | 0.077005 | 0.019373 | 8.6814e-07 | 5.5332e-07 | 0.11485 | 0.11485 | 0.11485 | 0.99791 | -0.04013 | 0.99792 | -0.039894 | 31.5521
47 | 0.072286 | 0.018191 | -0.07225 | -0.018168 | 3.5916e-05 | 2.2879e-05 | 0.10781 | 0.10781 | 0.10781 | 0.99791 | -0.04013 | 0.99737 | -0.050532 | 29.6194
48 | -0.078876 | -0.019842 | 0.078879 | 0.019844 | 2.5728e-06 | 1.6401e-06 | 0.11764 | 0.11764 | 0.11764 | 0.99792 | -0.039894 | 0.99796 | -0.039211 | 32.3186
49 | 0.064958 | 0.01634 | -0.064932 | -0.016323 | 2.5822e-05 | 1.6431e-05 | 0.096934 | 0.096934 | 0.096934 | 0.99737 | -0.050532 | 0.99693 | -0.058857 | 26.6303
50 | -0.085017 | -0.021382 | 0.085061 | 0.021411 | 4.4052e-05 | 2.8098e-05 | 0.12679 | 0.12679 | 0.12679 | 0.99796 | -0.039211 | 0.99852 | -0.02837 | 34.833
51 | 0.05323 | 0.013391 | -0.053226 | -0.013388 | 4.0941e-06 | 2.5977e-06 | 0.079468 | 0.079468 | 0.079468 | 0.99693 | -0.058857 | 0.99685 | -0.060467 | 21.832
52 | -0.088303 | -0.022223 | 0.088309 | 0.022227 | 5.1604e-06 | 3.2922e-06 | 0.13162 | 0.13162 | 0.13162 | 0.99852 | -0.02837 | 0.99858 | -0.027147 | 36.1605
53 | 0.050129 | 0.012612 | -0.050114 | -0.012602 | 1.5706e-05 | 9.9543e-06 | 0.074846 | 0.074846 | 0.074846 | 0.99685 | -0.060467 | 0.99651 | -0.067027 | 20.5621
54 | -0.094464 | -0.023769 | 0.094507 | 0.023797 | 4.3463e-05 | 2.774e-05 | 0.1408 | 0.1408 | 0.1408 | 0.99858 | -0.027147 | 0.99909 | -0.017523 | 38.6802
55 | 0.047043 | 0.011833 | -0.046996 | -0.011803 | 4.6934e-05 | 2.9708e-05 | 0.070261 | 0.070261 | 0.070261 | 0.99651 | -0.067027 | 0.99542 | -0.087934 | 19.3026
56 | -0.096385 | -0.024267 | 0.096395 | 0.024274 | 1.052e-05 | 6.7148e-06 | 0.14359 | 0.14359 | 0.14359 | 0.99909 | -0.017523 | 0.9992 | -0.01524 | 39.4484
57 | -0.099642 | -0.025088 | 0.099643 | 0.025088 | 1.1515e-06 | 7.3513e-07 | 0.14843 | 0.14843 | 0.14843 | 0.9992 | -0.01524 | 0.99922 | -0.014998 | 40.7766
58 | -0.10644 | -0.026792 | 0.10645 | 0.0268 | 1.1372e-05 | 7.262e-06 | 0.15855 | 0.15855 | 0.15855 | 0.99922 | -0.014998 | 0.99933 | -0.012764 | 43.5582
59 | -0.11328 | -0.02851 | 0.11335 | 0.028554 | 6.9146e-05 | 4.4168e-05 | 0.16871 | 0.16871 | 0.16871 | 0.99933 | -0.012764 | 1 | 0 | 46.3495
60 | 0.3786 | 0.09621 | -0.37845 | -0.096111 | 0.00015431 | 9.8603e-05 | 0.56383 | 0.56383 | 0.56383 | 1 | 0 | 0.99955 | -0.0084682 | 51.633
61 | 0.01859 | 0.0046598 | -0.018589 | -0.0046592 | 1.0297e-06 | 6.137e-07 | 0.027927 | 0.027927 | 0.027927 | 0.99053 | -0.18195 | 0.99047 | -0.18312 | 7.6722
62 | 0.014228 | 0.0035662 | -0.014227 | -0.0035657 | 9.2512e-07 | 5.2259e-07 | 0.021375 | 0.021375 | 0.021375 | 0.99047 | -0.18312 | 0.9904 | -0.18448 | 5.8723
63 | 0.0075618 | 0.0018952 | -0.0075612 | -0.001895 | 6.327e-07 | 2.3673e-07 | 0.011361 | 0.011361 | 0.011361 | 0.9904 | -0.18448 | 0.99031 | -0.18624 | 3.1212
64 | 0.058076 | 0.014602 | -0.058072 | -0.014599 | 4.0189e-06 | 2.5544e-06 | 0.087786 | 0.087786 | 0.087786 | 0.9846 | -0.29634 | 0.98452 | -0.29779 | 24.1172
65 | -0.06109 | -0.015357 | 0.061099 | 0.015363 | 9.4847e-06 | 6.0325e-06 | 0.092341 | 0.092341 | 0.092341 | 0.9846 | -0.29634 | 0.98476 | -0.29309 | 25.3684
66 | 0.055785 | 0.014026 | -0.055767 | -0.014015 | 1.787e-05 | 1.1351e-05 | 0.08433 | 0.08433 | 0.08433 | 0.98452 | -0.29779 | 0.98418 | -0.3045 | 23.1676
67 | -0.065312 | -0.016419 | 0.065322 | 0.016425 | 9.6541e-06 | 6.145e-06 | 0.098707 | 0.098707 | 0.098707 | 0.98476 | -0.29309 | 0.98492 | -0.28999 | 27.1174
68 | 0.0536 | 0.013471 | -0.053586 | -0.013463 | 1.3156e-05 | 8.3522e-06 | 0.081053 | 0.081053 | 0.081053 | 0.98418 | -0.3045 | 0.98391 | -0.30964 | 22.2673
69 | -0.067756 | -0.017035 | 0.067783 | 0.017052 | 2.6971e-05 | 1.7174e-05 | 0.10238 | 0.10238 | 0.10238 | 0.98492 | -0.28999 | 0.98535 | -0.28166 | 28.1277
70 | 0.045218 | 0.011366 | -0.045215 | -0.011364 | 2.4231e-06 | 1.5332e-06 | 0.068396 | 0.068396 | 0.068396 | 0.98391 | -0.30964 | 0.98386 | -0.31077 | 18.7902
71 | -0.070068 | -0.017625 | 0.070069 | 0.017625 | 4.379e-07 | 2.7892e-07 | 0.10584 | 0.10584 | 0.10584 | 0.98535 | -0.28166 | 0.98536 | -0.28153 | 29.0758
72 | 0.043059 | 0.010824 | -0.043006 | -0.01079 | 5.2755e-05 | 3.3343e-05 | 0.065135 | 0.065135 | 0.065135 | 0.98386 | -0.31077 | 0.98254 | -0.33646 | 17.8942
73 | -0.07713 | -0.019395 | 0.077143 | 0.019403 | 1.3007e-05 | 8.2916e-06 | 0.1165 | 0.1165 | 0.1165 | 0.98536 | -0.28153 | 0.98554 | -0.278 | 32.0054
74 | 0.046996 | 0.011803 | -0.046957 | -0.011778 | 3.9375e-05 | 2.4924e-05 | 0.070261 | 0.070261 | 0.070261 | 0.99542 | -0.087934 | 0.99451 | -0.10551 | 19.3026
75 | 0.031792 | 0.0079772 | -0.031772 | -0.0079649 | 1.9706e-05 | 1.2311e-05 | 0.047571 | 0.047571 | 0.047571 | 0.99451 | -0.10551 | 0.99384 | -0.11852 | 13.069
76 | 0.02676 | 0.0067088 | -0.026754 | -0.0067053 | 5.7114e-06 | 3.5324e-06 | 0.040067 | 0.040067 | 0.040067 | 0.99384 | -0.11852 | 0.99361 | -0.123 | 11.0074
77 | -0.081832 | -0.020579 | 0.081862 | 0.020597 | 2.9534e-05 | 1.8836e-05 | 0.12358 | 0.12358 | 0.12358 | 0.98554 | -0.278 | 0.98593 | -0.27045 | 33.9503
78 | -0.042986 | -0.010778 | 0.043006 | 0.01079 | 1.9565e-05 | 1.2366e-05 | 0.065135 | 0.065135 | 0.065135 | 0.98205 | -0.34601 | 0.98254 | -0.33646 | 17.8942
79 | 0.035856 | 0.008991 | -0.035844 | -0.0089835 | 1.1946e-05 | 7.5092e-06 | 0.054332 | 0.054332 | 0.054332 | 0.98205 | -0.34601 | 0.9817 | -0.353 | 14.9263
80 | -0.0047238 | -0.0011839 | 0.0047238 | 0.0011839 | 5.4207e-08 | -2.7177e-09 | 0.0070743 | 0.0070743 | 0.0070743 | 0.9936 | -0.12324 | 0.99361 | -0.123 | 1.9435

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49738 | 0.12571

## res_load
| p_mw | q_mvar
0 | 0.0032647 | 0.0008182
1 | 0.0047046 | 0.0011791
2 | 0.0035407 | 0.00088739
3 | 0.0029421 | 0.00073735
4 | 0.00308 | 0.00077191
5 | 0.0044718 | 0.0011207
6 | 0.0044289 | 0.00111
7 | 0.0064363 | 0.0016131
8 | 0.0032097 | 0.00080444
9 | 0.0024811 | 0.00062183
10 | 0.0046063 | 0.0011544
11 | 0.0027749 | 0.00069547
12 | 0.013437 | 0.0033677
13 | 0.023663 | 0.0059306
14 | 0.0029469 | 0.00073857
15 | 0.0062489 | 0.0015661
16 | 0.0055444 | 0.0013896
17 | 0.0078632 | 0.0019707
18 | 0.011635 | 0.002916
19 | 0.0098906 | 0.0024788
20 | 0.0077302 | 0.0019374
21 | 0.013439 | 0.0033681
22 | 0.0043285 | 0.0010848
23 | 0.019661 | 0.0049276
24 | 0.0026271 | 0.0006584
25 | 0.0029401 | 0.00073687
26 | 0.0016342 | 0.00040956
27 | 0.0059492 | 0.001491
28 | 0.0091242 | 0.0022867
29 | 0.006577 | 0.0016483
30 | 0.0070418 | 0.0017649
31 | 0.0072283 | 0.0018116
32 | 0.0054267 | 0.0013601
33 | 0.0036949 | 0.00092602
34 | 0.0034433 | 0.00086298
35 | 0.0032412 | 0.00081231
36 | 0.0056959 | 0.0014275
37 | 0.0047178 | 0.0011824
38 | 0.0018712 | 0.00046896
39 | 0.0072927 | 0.0018277
40 | 0.0061383 | 0.0015384
41 | 0.011702 | 0.0029327
42 | 0.0032425 | 0.00081266
43 | 0.0030966 | 0.00077609
44 | 0.006155 | 0.0015426
45 | 0.0030704 | 0.00076952
46 | 0.0018774 | 0.00047051
47 | 0.0032465 | 0.00081366
48 | 0.006799 | 0.001704
49 | 0.0068237 | 0.0017102
50 | 0.0037869 | 0.00094908
51 | 0.0089717 | 0.0022485
52 | 0.011515 | 0.0028859
53 | 0.004361 | 0.001093
54 | 0.0066651 | 0.0016704
55 | 0.0075612 | 0.001895
56 | 0.0030136 | 0.00075528
57 | 0.002287 | 0.00057317
58 | 0.0042134 | 0.001056
59 | 0.0021676 | 0.00054324
60 | 0.0024342 | 0.00061006
61 | 0.0083687 | 0.0020974
62 | 0.0022852 | 0.00057273
63 | 0.0021567 | 0.00054052
64 | 0.0070616 | 0.0017698
65 | 0.015165 | 0.0038007
66 | 0.0050121 | 0.0012561
67 | 0.014703 | 0.0036848
68 | 0.0046886 | 0.0011751
69 | 0.0027953 | 0.00070058
70 | 0.0071298 | 0.0017869
71 | 0.035844 | 0.0089835
72 | 0.0047238 | 0.0011839
73 | 0.022031 | 0.0055214

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1