## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-177_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-177_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-177_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2701-177_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-177_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-177_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2701-177_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2701-177_0_5_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_2701-177_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2701-177_0_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_2701-177_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_2701-177_0_5_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_2701-177_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-177_0_5_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_2701-177_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2701-177_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2701-177_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_2701-177_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_2701-177_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2701-177_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2701-177_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2701-177_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2701-177_0_5_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2701-177_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-177_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2701-177_0_5_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_2701-177_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_2701-177_0_5_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_2701-177_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2701-177_0_5_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_2701-177_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2701-177_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-177_0_5_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_2701-177_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2701-177_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2701-177_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2701-177_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2701-177_0_5_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_2701-177_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_2701-177_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2701-177_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2701-177_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_2701-177_0_5_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_2701-177_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2701-177_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_2701-177_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2701-177_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_2701-177_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2701-177_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_2701-177_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_2701-177_0_5_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2701-177_0_5_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2701-177_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2701-177_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_2701-177_0_5_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_2701-177_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2701-177_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_2701-177_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2701-177_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_2701-177_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_2701-177_0_5_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2701-177_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2701-177_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_MV_557_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-177_0_5_load_0 | 0 | 0.01634 | 0.0040951 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-177_0_5_load_36 | 8 | 0.016823 | 0.0042162 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-177_0_5_load_60 | 9 | 0.010235 | 0.0025652 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-177_0_5_load_42 | 11 | 0.010248 | 0.0025684 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-177_0_5_load_33 | 13 | 0.0069262 | 0.0017359 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-177_0_5_load_18 | 16 | 0.013023 | 0.0032639 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-177_0_5_load_21 | 17 | 0.0071658 | 0.0017959 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-177_0_5_load_39 | 22 | 0.0027386 | 0.00068635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-177_0_5_load_59 | 25 | 0.01167 | 0.0029248 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-177_0_5_load_51 | 27 | 0.024125 | 0.0060463 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-177_0_5_load_66 | 29 | 0.079391 | 0.019897 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-177_0_5_load_24 | 31 | 0.011982 | 0.0030029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-177_0_5_load_41 | 32 | 0.016987 | 0.0042574 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-177_0_5_load_34 | 33 | 0.0021969 | 0.00055059 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-177_0_5_load_30 | 35 | 0.00046675 | 0.00011698 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-177_0_5_load_40 | 36 | 0.014622 | 0.0036647 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-177_0_5_load_56 | 37 | 0.003997 | 0.0010017 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-177_0_5_load_26 | 41 | 0.0081917 | 0.002053 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-177_0_5_load_52 | 42 | 0.0079408 | 0.0019901 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-177_0_5_load_37 | 44 | 0.016534 | 0.0041439 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-177_0_5_load_29 | 45 | 0.0059593 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-177_0_5_load_38 | 46 | 0.0051428 | 0.0012889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-177_0_5_load_58 | 47 | 0.00067457 | 0.00016906 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-177_0_5_load_35 | 49 | 0.021008 | 0.0052652 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-177_0_5_load_53 | 50 | 0.015139 | 0.0037942 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-177_0_5_load_57 | 51 | 0.00042184 | 0.00010572 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-177_0_5_load_64 | 54 | 0.029327 | 0.0073501 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-177_0_5_load_45 | 55 | 0.012988 | 0.0032551 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-177_0_5_load_46 | 56 | 0.021926 | 0.0054951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-177_0_5_load_47 | 57 | 0.0082887 | 0.0020773 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-177_0_5_load_50 | 58 | 0.0019951 | 0.00050003 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-177_0_5_load_49 | 59 | 0.018012 | 0.0045142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-177_0_5_load_54 | 60 | 0.0066764 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-177_0_5_load_61 | 62 | 0.0026119 | 0.0006546 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-177_0_5_line_0 |  | 0 | 1 | 0.028986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-177_0_5_line_1 |  | 1 | 5 | 0.031162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-177_0_5_line_2 |  | 1 | 6 | 0.11716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-177_0_5_line_3 |  | 2 | 3 | 0.002778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-177_0_5_line_4 |  | 2 | 4 | 0.032589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-177_0_5_line_5 |  | 3 | 7 | 0.044429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-177_0_5_line_6 |  | 3 | 8 | 0.033376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-177_0_5_line_7 |  | 4 | 9 | 0.034094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-177_0_5_line_8 |  | 5 | 9 | 0.025406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-177_0_5_line_9 |  | 6 | 10 | 0.079672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2701-177_0_5_line_10 |  | 6 | 11 | 0.025969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-177_0_5_line_11 |  | 7 | 30 | 0.01852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-177_0_5_line_12 |  | 7 | 31 | 0.035335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-177_0_5_line_13 |  | 8 | 12 | 0.039193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-177_0_5_line_14 |  | 10 | 26 | 0.093988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-177_0_5_line_15 |  | 10 | 27 | 0.037708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-177_0_5_line_16 |  | 11 | 32 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-177_0_5_line_17 |  | 12 | 13 | 0.040273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-177_0_5_line_18 |  | 13 | 33 | 0.0022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-177_0_5_line_19 |  | 14 | 15 | 0.028388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-177_0_5_line_20 |  | 14 | 16 | 0.03038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-177_0_5_line_21 |  | 15 | 17 | 0.031103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-177_0_5_line_22 |  | 17 | 19 | 0.035244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-177_0_5_line_23 |  | 18 | 19 | 0.027166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-177_0_5_line_24 |  | 18 | 20 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-177_0_5_line_25 |  | 19 | 34 | 0.025267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-177_0_5_line_26 |  | 20 | 35 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-177_0_5_line_27 |  | 20 | 21 | 0.059024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-177_0_5_line_28 |  | 21 | 22 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-177_0_5_line_29 |  | 22 | 36 | 0.040819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-177_0_5_line_30 |  | 23 | 24 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-177_0_5_line_31 |  | 23 | 25 | 0.033326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-177_0_5_line_32 |  | 24 | 37 | 0.021751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-177_0_5_line_33 |  | 26 | 28 | 0.012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-177_0_5_line_34 |  | 27 | 38 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-177_0_5_line_35 |  | 28 | 29 | 0.029951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-177_0_5_line_36 |  | 30 | 44 | 0.036662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-177_0_5_line_37 |  | 30 | 34 | 0.032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-177_0_5_line_38 |  | 32 | 52 | 0.057348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-177_0_5_line_39 |  | 33 | 49 | 0.0026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-177_0_5_line_40 |  | 34 | 42 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-177_0_5_line_41 |  | 35 | 43 | 0.042226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-177_0_5_line_42 |  | 37 | 51 | 0.021304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-177_0_5_line_43 |  | 38 | 58 | 0.059072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-177_0_5_line_44 |  | 38 | 56 | 0.074287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-177_0_5_line_45 |  | 38 | 57 | 0.014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-177_0_5_line_46 |  | 39 | 40 | 0.021772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-177_0_5_line_47 |  | 39 | 41 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-177_0_5_line_48 |  | 40 | 47 | 0.04036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-177_0_5_line_49 |  | 41 | 43 | 0.031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-177_0_5_line_50 |  | 42 | 45 | 0.0027061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-177_0_5_line_51 |  | 44 | 46 | 0.018629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-177_0_5_line_52 |  | 47 | 51 | 0.058259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-177_0_5_line_53 |  | 48 | 49 | 0.029032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-177_0_5_line_54 |  | 48 | 50 | 0.032051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-177_0_5_line_55 |  | 50 | 60 | 0.029833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-177_0_5_line_56 |  | 51 | 61 | 0.057492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-177_0_5_line_57 |  | 52 | 53 | 0.25009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-177_0_5_line_58 |  | 53 | 54 | 0.033696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-177_0_5_line_59 |  | 55 | 56 | 0.0057569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-177_0_5_line_60 |  | 58 | 59 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-177_0_5_line_61 |  | 61 | 62 | 0.041664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-177_0_5_trafo_2 | 0.63 MVA 20/0.4 kV | 63 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2610539.0896 | 1269322.972 | 2610565.4646 | 1269334.9947
1 | 2610529.9639 | 1269352.0207 | 2610529.0098 | 1269346.9043 | 2610539.0896 | 1269322.972
2 | 2610471.8947 | 1269248.256 | 2610476.1787 | 1269238.1898 | 2610483.2198 | 1269247.6756 | 2610530.8862 | 1269315.6189 | 2610534.6163 | 1269320.9404 | 2610539.0896 | 1269322.972
3 | 2610596.7834 | 1269349.2709 | 2610597.9992 | 1269346.7713
4 | 2610596.7834 | 1269349.2709 | 2610595.3485 | 1269352.2149 | 2610588.6198 | 1269357.5956 | 2610583.0082 | 1269369.5051 | 2610583.9654 | 1269377.001
5 | 2610617.6559 | 1269306.9004 | 2610597.9992 | 1269346.7713
6 | 2610597.9992 | 1269346.7713 | 2610628.3297 | 1269360.6993
7 | 2610583.9654 | 1269377.001 | 2610580.9431 | 1269375.6724 | 2610577.1766 | 1269373.92 | 2610553.0109 | 1269362.7109
8 | 2610529.9639 | 1269352.0207 | 2610553.0109 | 1269362.7109
9 | 2610440.1942 | 1269321.3852 | 2610452.0931 | 1269293.9534 | 2610458.5667 | 1269279.5658 | 2610471.8947 | 1269248.256
10 | 2610471.8947 | 1269248.256 | 2610455.3627 | 1269228.2286
11 | 2610617.6559 | 1269306.9004 | 2610634.5641 | 1269314.5694
12 | 2610617.6559 | 1269306.9004 | 2610585.4304 | 1269292.406
13 | 2610663.9469 | 1269377.0551 | 2610628.3297 | 1269360.6993
14 | 2610361.0683 | 1269296.3291 | 2610435.6764 | 1269331.818 | 2610440.1942 | 1269321.3852
15 | 2610440.1942 | 1269321.3852 | 2610406.1583 | 1269305.1542
16 | 2610455.3627 | 1269228.2286 | 2610440.983 | 1269210.8086
17 | 2610663.9469 | 1269377.0551 | 2610681.0802 | 1269384.9247 | 2610700.5459 | 1269393.8613
18 | 2610702.6217 | 1269394.8143 | 2610700.5459 | 1269393.8613
19 | 2610573.8346 | 1269243.6221 | 2610586.1448 | 1269218.0259
20 | 2610586.1448 | 1269218.0259 | 2610613.4926 | 1269231.2565
21 | 2610573.8346 | 1269243.6221 | 2610602.0793 | 1269256.6464
22 | 2610634.0846 | 1269271.4048 | 2610602.0793 | 1269256.6464
23 | 2610645.4303 | 1269246.7076 | 2610634.0846 | 1269271.4048
24 | 2610645.4303 | 1269246.7076 | 2610661.0755 | 1269253.9185
25 | 2610634.0846 | 1269271.4048 | 2610631.1613 | 1269277.7707 | 2610647.7915 | 1269285.3169
26 | 2610661.0755 | 1269253.9185 | 2610682.2476 | 1269263.6784
27 | 2610682.0655 | 1269201.03 | 2610670.6421 | 1269226.9722 | 2610672.657 | 1269227.8765 | 2610661.0755 | 1269253.9185
28 | 2610682.0655 | 1269201.03 | 2610698.7309 | 1269208.6016
29 | 2610698.7309 | 1269208.6016 | 2610735.8946 | 1269225.4861
30 | 2610800.9424 | 1269255.0385 | 2610813.8362 | 1269227.6649
31 | 2610813.8362 | 1269227.6649 | 2610844.1348 | 1269241.5448
32 | 2610800.9424 | 1269255.0385 | 2610820.6769 | 1269264.1856
33 | 2610355.1347 | 1269307.56 | 2610361.0683 | 1269296.3291
34 | 2610381.5017 | 1269293.396 | 2610406.1583 | 1269305.1542
35 | 2610355.1347 | 1269307.56 | 2610330.9811 | 1269289.8499
36 | 2610634.5641 | 1269314.5694 | 2610667.9542 | 1269329.7082
37 | 2610647.7915 | 1269285.3169 | 2610634.5641 | 1269314.5694
38 | 2610408.5775 | 1269166.7873 | 2610410.3566 | 1269169.181 | 2610421.35 | 1269186.2234 | 2610435.2629 | 1269194.5982 | 2610441.1971 | 1269204.5712 | 2610440.983 | 1269210.8086
39 | 2610702.6217 | 1269394.8143 | 2610705.0159 | 1269395.9135
40 | 2610647.7915 | 1269285.3169 | 2610666.1051 | 1269293.6216
41 | 2610720.5957 | 1269281.3561 | 2610682.2476 | 1269263.6784
42 | 2610820.6769 | 1269264.1856 | 2610840.0056 | 1269273.1446
43 | 2610381.5017 | 1269293.396 | 2610401.3593 | 1269249.7666 | 2610396.0902 | 1269239.9563
44 | 2610381.5017 | 1269293.396 | 2610364.9707 | 1269284.9167 | 2610342.1949 | 1269267.5759 | 2610357.0119 | 1269244.9064
45 | 2610381.5017 | 1269293.396 | 2610387.7146 | 1269279.7456
46 | 2610778.9417 | 1269308.8032 | 2610759.3736 | 1269299.1387
47 | 2610759.3736 | 1269299.1387 | 2610749.0432 | 1269294.4014
48 | 2610778.9417 | 1269308.8032 | 2610815.463 | 1269325.9817
49 | 2610720.5957 | 1269281.3561 | 2610749.0432 | 1269294.4014
50 | 2610666.1051 | 1269293.6216 | 2610668.5696 | 1269294.7392
51 | 2610684.9211 | 1269337.4008 | 2610667.9542 | 1269329.7082
52 | 2610815.463 | 1269325.9817 | 2610840.0056 | 1269273.1446 | 2610840.0056 | 1269273.1446
53 | 2610731.3974 | 1269408.0317 | 2610728.9316 | 1269406.8931 | 2610705.0159 | 1269395.9135
54 | 2610731.3974 | 1269408.0317 | 2610760.2126 | 1269422.0645
55 | 2610760.2126 | 1269422.0645 | 2610767.7669 | 1269425.7433 | 2610763.5682 | 1269434.175 | 2610756.5093 | 1269443.8927
56 | 2610840.0056 | 1269273.1446 | 2610893.7894 | 1269293.4573
57 | 2610237.4767 | 1269304.2094 | 2610268.8486 | 1269258.6981 | 2610305.5687 | 1269205.7465 | 2610330.6246 | 1269171.2323 | 2610335.9883 | 1269163.236 | 2610344.2994 | 1269160.8376 | 2610349.6482 | 1269161.4585 | 2610354.6876 | 1269162.568 | 2610360.2429 | 1269161.2657 | 2610364.687 | 1269158.5604 | 2610371.3496 | 1269156.5595 | 2610376.1936 | 1269157.5798 | 2610380.2242 | 1269158.9878 | 2610383.6463 | 1269164.1308 | 2610387.5777 | 1269166.3503 | 2610392.8292 | 1269166.6597 | 2610395.057 | 1269166.3189 | 2610398.7826 | 1269165.7695 | 2610408.5775 | 1269166.7873
58 | 2610237.4767 | 1269304.2094 | 2610259.7478 | 1269313.2542 | 2610254.3417 | 1269321.258
59 | 2610360.1615 | 1269240.0876 | 2610357.0119 | 1269244.9064
60 | 2610372.1463 | 1269221.7513 | 2610394.1145 | 1269236.2777 | 2610396.0902 | 1269239.9563
61 | 2610893.7894 | 1269293.4573 | 2610891.3212 | 1269301.7809 | 2610890.3656 | 1269305.8932 | 2610890.2779 | 1269320.9036 | 2610887.9989 | 1269334.4629

## bus_geodata
| x | y | coords
0 | 2610565.4646 | 1269334.9947
1 | 2610539.0896 | 1269322.972
2 | 2610596.7833 | 1269349.2709
3 | 2610597.9992 | 1269346.7713
4 | 2610583.9654 | 1269377.001
5 | 2610529.9639 | 1269352.0208
6 | 2610471.8947 | 1269248.256
7 | 2610617.6559 | 1269306.9004
8 | 2610628.3297 | 1269360.6993
9 | 2610553.0109 | 1269362.7109
10 | 2610440.1942 | 1269321.3852
11 | 2610455.3627 | 1269228.2286
12 | 2610663.9469 | 1269377.0551
13 | 2610700.5459 | 1269393.8613
14 | 2610586.1448 | 1269218.0259
15 | 2610573.8346 | 1269243.6221
16 | 2610613.4926 | 1269231.2565
17 | 2610602.0793 | 1269256.6464
18 | 2610645.4303 | 1269246.7076
19 | 2610634.0846 | 1269271.4048
20 | 2610661.0755 | 1269253.9185
21 | 2610682.0655 | 1269201.03
22 | 2610698.7309 | 1269208.6016
23 | 2610813.8362 | 1269227.6649
24 | 2610800.9424 | 1269255.0385
25 | 2610844.1348 | 1269241.5448
26 | 2610361.0683 | 1269296.3291
27 | 2610406.1583 | 1269305.1542
28 | 2610355.1347 | 1269307.56
29 | 2610330.9811 | 1269289.8499
30 | 2610634.5641 | 1269314.5694
31 | 2610585.4304 | 1269292.406
32 | 2610440.983 | 1269210.8086
33 | 2610702.6217 | 1269394.8143
34 | 2610647.7915 | 1269285.3169
35 | 2610682.2476 | 1269263.6784
36 | 2610735.8946 | 1269225.4861
37 | 2610820.6769 | 1269264.1856
38 | 2610381.5017 | 1269293.396
39 | 2610759.3736 | 1269299.1387
40 | 2610778.9417 | 1269308.8032
41 | 2610749.0432 | 1269294.4014
42 | 2610666.1051 | 1269293.6216
43 | 2610720.5957 | 1269281.3561
44 | 2610667.9542 | 1269329.7082
45 | 2610668.5696 | 1269294.7392
46 | 2610684.9211 | 1269337.4008
47 | 2610815.463 | 1269325.9817
48 | 2610731.3974 | 1269408.0317
49 | 2610705.0159 | 1269395.9135
50 | 2610760.2126 | 1269422.0645
51 | 2610840.0056 | 1269273.1446
52 | 2610408.5775 | 1269166.7873
53 | 2610237.4767 | 1269304.2094
54 | 2610254.3417 | 1269321.258
55 | 2610360.1615 | 1269240.0876
56 | 2610357.0119 | 1269244.9064
57 | 2610387.7146 | 1269279.7456
58 | 2610396.0902 | 1269239.9563
59 | 2610372.1463 | 1269221.7513
60 | 2610756.5093 | 1269443.8927
61 | 2610893.7894 | 1269293.4573
62 | 2610887.9989 | 1269334.4629
63 | 2610534.6163 | 1269320.9404

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99957 | -0.0082588 | 0.01634 | 0.0040951
1 | 1 | 0 | -0.44199 | -0.11366
2 | 0.98935 | -0.20264 | 0 | 0
3 | 0.98911 | -0.20714 | 0 | 0
4 | 0.99209 | -0.14999 | 0 | 0
5 | 0.99723 | -0.052338 | 0 | 0
6 | 0.98782 | -0.23083 | 0 | 0
7 | 0.98445 | -0.29714 | 0 | 0
8 | 0.987 | -0.24812 | 0.016823 | 0.0042162
9 | 0.99497 | -0.095224 | 0.010235 | 0.0025652
10 | 0.98163 | -0.35022 | 0 | 0
11 | 0.98646 | -0.25711 | 0.010248 | 0.0025684
12 | 0.98512 | -0.28462 | 0 | 0
13 | 0.98319 | -0.32227 | 0.0069262 | 0.0017359
14 | 0.97742 | -0.43426 | 0 | 0
15 | 0.97776 | -0.42751 | 0 | 0
16 | 0.97705 | -0.44148 | 0.013023 | 0.0032639
17 | 0.97814 | -0.42013 | 0.0071658 | 0.0017959
18 | 0.97765 | -0.42964 | 0 | 0
19 | 0.9788 | -0.40717 | 0 | 0
20 | 0.97692 | -0.44389 | 0 | 0
21 | 0.97597 | -0.46262 | 0 | 0
22 | 0.97567 | -0.46844 | 0.0027386 | 0.00068635
23 | 0.97119 | -0.55662 | 0 | 0
24 | 0.97152 | -0.5501 | 0 | 0
25 | 0.97083 | -0.56381 | 0.01167 | 0.0029248
26 | 0.97466 | -0.48616 | 0 | 0
27 | 0.97857 | -0.40998 | 0.024125 | 0.0060463
28 | 0.97372 | -0.50467 | 0 | 0
29 | 0.9715 | -0.54848 | 0.079391 | 0.019897
30 | 0.98271 | -0.3309 | 0 | 0
31 | 0.98406 | -0.30476 | 0.011982 | 0.0030029
32 | 0.98549 | -0.27587 | 0.016987 | 0.0042574
33 | 0.98309 | -0.32413 | 0.0021969 | 0.00055059
34 | 0.98034 | -0.37706 | 0 | 0
35 | 0.97631 | -0.45583 | 0.00046675 | 0.00011698
36 | 0.97512 | -0.47937 | 0.014622 | 0.0036647
37 | 0.97176 | -0.54541 | 0.003997 | 0.0010017
38 | 0.97697 | -0.44146 | 0 | 0
39 | 0.97421 | -0.49703 | 0 | 0
40 | 0.97382 | -0.50478 | 0 | 0
41 | 0.97442 | -0.49298 | 0.0081917 | 0.002053
42 | 0.98008 | -0.38213 | 0.0079408 | 0.0019901
43 | 0.97522 | -0.47715 | 0 | 0
44 | 0.98198 | -0.34526 | 0.016534 | 0.0041439
45 | 0.98006 | -0.38243 | 0.0059593 | 0.0014935
46 | 0.98189 | -0.34699 | 0.0051428 | 0.0012889
47 | 0.97309 | -0.51917 | 0.00067457 | 0.00016906
48 | 0.9824 | -0.33759 | 0 | 0
49 | 0.98299 | -0.32616 | 0.021008 | 0.0052652
50 | 0.98176 | -0.35023 | 0.015139 | 0.0037942
51 | 0.97207 | -0.53925 | 0.00042184 | 0.00010572
52 | 0.98393 | -0.30611 | 0 | 0
53 | 0.97712 | -0.4391 | 0 | 0
54 | 0.9762 | -0.45716 | 0.029327 | 0.0073501
55 | 0.97448 | -0.49032 | 0.012988 | 0.0032551
56 | 0.97455 | -0.48894 | 0.021926 | 0.0054951
57 | 0.97685 | -0.44373 | 0.0082887 | 0.0020773
58 | 0.97587 | -0.46307 | 0.0019951 | 0.00050003
59 | 0.97536 | -0.47313 | 0.018012 | 0.0045142
60 | 0.98157 | -0.35383 | 0.0066764 | 0.0016733
61 | 0.97193 | -0.54203 | 0 | 0
62 | 0.97183 | -0.54404 | 0.0026119 | 0.0006546
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01634 | -0.0040951 | 0.016346 | 0.0040989 | 6.4312e-06 | 3.7359e-06 | 0.024324 | 0.024324 | 0.024324 | 0.99957 | -0.0082588 | 1 | 0 | 6.6825
1 | 0.19561 | 0.050353 | -0.19511 | -0.050036 | 0.00049661 | 0.00031702 | 0.29154 | 0.29154 | 0.29154 | 1 | 0 | 0.99723 | -0.052338 | 40.0466
2 | 0.22839 | 0.059211 | -0.22584 | -0.057583 | 0.0025477 | 0.0016275 | 0.34055 | 0.34055 | 0.34055 | 1 | 0 | 0.98782 | -0.23083 | 46.7789
3 | 0.18352 | 0.046603 | -0.18348 | -0.046578 | 3.9745e-05 | 2.5366e-05 | 0.27623 | 0.27623 | 0.27623 | 0.98935 | -0.20264 | 0.98911 | -0.20714 | 37.944
4 | -0.18352 | -0.046603 | 0.18398 | 0.046901 | 0.00046625 | 0.00029756 | 0.27623 | 0.27623 | 0.27623 | 0.98935 | -0.20264 | 0.99209 | -0.14999 | 37.944
5 | 0.11435 | 0.029119 | -0.11386 | -0.028803 | 0.00049402 | 0.0003156 | 0.1722 | 0.1722 | 0.1722 | 0.98911 | -0.20714 | 0.98445 | -0.29714 | 47.3065
6 | 0.069124 | 0.017459 | -0.068988 | -0.017373 | 0.00013547 | 8.6273e-05 | 0.10404 | 0.10404 | 0.10404 | 0.98911 | -0.20714 | 0.987 | -0.24812 | 28.5818
7 | -0.18398 | -0.046901 | 0.18447 | 0.047212 | 0.00048779 | 0.0003113 | 0.27623 | 0.27623 | 0.27623 | 0.99209 | -0.14999 | 0.99497 | -0.095224 | 37.944
8 | 0.19511 | 0.050036 | -0.19471 | -0.049778 | 0.00040488 | 0.00025846 | 0.29154 | 0.29154 | 0.29154 | 0.99723 | -0.052338 | 0.99497 | -0.095224 | 40.0466
9 | 0.16891 | 0.043176 | -0.16794 | -0.042557 | 0.0009694 | 0.00061839 | 0.25474 | 0.25474 | 0.25474 | 0.98782 | -0.23083 | 0.98163 | -0.35022 | 34.992
10 | 0.056932 | 0.014407 | -0.05686 | -0.014362 | 7.1707e-05 | 4.5561e-05 | 0.08581 | 0.08581 | 0.08581 | 0.98782 | -0.23083 | 0.98646 | -0.25711 | 23.5741
11 | 0.10187 | 0.025798 | -0.10171 | -0.025693 | 0.00016487 | 0.00010528 | 0.15408 | 0.15408 | 0.15408 | 0.98445 | -0.29714 | 0.98271 | -0.3309 | 42.3291
12 | 0.011986 | 0.0030053 | -0.011982 | -0.0030029 | 4.3496e-06 | 2.3347e-06 | 0.018118 | 0.018118 | 0.018118 | 0.98445 | -0.29714 | 0.98406 | -0.30476 | 4.9774
13 | 0.052166 | 0.013157 | -0.052075 | -0.013099 | 9.0974e-05 | 5.7724e-05 | 0.078675 | 0.078676 | 0.078676 | 0.987 | -0.24812 | 0.98512 | -0.28462 | 21.6142
14 | 0.080149 | 0.020381 | -0.079628 | -0.020048 | 0.00052116 | 0.00033236 | 0.1216 | 0.1216 | 0.1216 | 0.98163 | -0.35022 | 0.97466 | -0.48616 | 33.4068
15 | 0.087791 | 0.022177 | -0.08754 | -0.022017 | 0.00025066 | 0.00015995 | 0.13314 | 0.13314 | 0.13314 | 0.98163 | -0.35022 | 0.97857 | -0.40998 | 36.5773
16 | 0.046612 | 0.011793 | -0.04657 | -0.011767 | 4.1924e-05 | 2.6543e-05 | 0.070351 | 0.070351 | 0.070351 | 0.98646 | -0.25711 | 0.98549 | -0.27587 | 19.3272
17 | 0.052075 | 0.013099 | -0.051981 | -0.01304 | 9.3482e-05 | 5.9317e-05 | 0.078676 | 0.078676 | 0.078676 | 0.98512 | -0.28462 | 0.98319 | -0.32227 | 21.6142
18 | 0.045055 | 0.011304 | -0.045051 | -0.011301 | 3.9831e-06 | 2.5202e-06 | 0.068193 | 0.068193 | 0.068193 | 0.98319 | -0.32227 | 0.98309 | -0.32413 | 18.7344
19 | -0.013027 | -0.0032663 | 0.013032 | 0.0032687 | 4.1875e-06 | 2.3241e-06 | 0.019833 | 0.019833 | 0.019833 | 0.97742 | -0.43426 | 0.97776 | -0.42751 | 5.4487
20 | 0.013027 | 0.0032663 | -0.013023 | -0.0032639 | 4.4814e-06 | 2.4875e-06 | 0.019833 | 0.019834 | 0.019834 | 0.97742 | -0.43426 | 0.97705 | -0.44148 | 5.4488
21 | -0.013032 | -0.0032687 | 0.013036 | 0.0032712 | 4.588e-06 | 2.546e-06 | 0.019833 | 0.019833 | 0.019833 | 0.97776 | -0.42751 | 0.97814 | -0.42013 | 5.4487
22 | -0.020202 | -0.0050671 | 0.020215 | 0.0050747 | 1.2484e-05 | 7.5473e-06 | 0.030734 | 0.030734 | 0.030734 | 0.97814 | -0.42013 | 0.9788 | -0.40717 | 8.4435
23 | -0.045576 | -0.011486 | 0.045625 | 0.011517 | 4.9054e-05 | 3.1053e-05 | 0.069392 | 0.069392 | 0.069392 | 0.97765 | -0.42964 | 0.9788 | -0.40717 | 19.0637
24 | 0.045576 | 0.011486 | -0.045545 | -0.011467 | 3.1029e-05 | 1.9643e-05 | 0.069392 | 0.069392 | 0.069392 | 0.97765 | -0.42964 | 0.97692 | -0.44389 | 19.0637
25 | -0.06584 | -0.016592 | 0.065935 | 0.016652 | 9.4991e-05 | 6.0476e-05 | 0.10013 | 0.10013 | 0.10013 | 0.9788 | -0.40717 | 0.98034 | -0.37706 | 27.5071
26 | 0.028156 | 0.0070991 | -0.02814 | -0.0070891 | 1.6092e-05 | 1.0007e-05 | 0.042902 | 0.042903 | 0.042903 | 0.97692 | -0.44389 | 0.97631 | -0.45583 | 11.7864
27 | 0.017389 | 0.0043674 | -0.017373 | -0.0043582 | 1.5531e-05 | 9.2018e-06 | 0.026489 | 0.02649 | 0.02649 | 0.97692 | -0.44389 | 0.97597 | -0.46262 | 7.2774
28 | 0.017373 | 0.0043582 | -0.017368 | -0.0043554 | 4.8167e-06 | 2.854e-06 | 0.02649 | 0.02649 | 0.02649 | 0.97597 | -0.46262 | 0.97567 | -0.46844 | 7.2774
29 | 0.01463 | 0.003669 | -0.014622 | -0.0036647 | 7.6212e-06 | 4.3681e-06 | 0.022313 | 0.022313 | 0.022313 | 0.97567 | -0.46844 | 0.97512 | -0.47937 | 6.13
30 | -0.011674 | -0.0029269 | 0.011678 | 0.0029288 | 3.6283e-06 | 1.9478e-06 | 0.017887 | 0.017886 | 0.017887 | 0.97119 | -0.55662 | 0.97152 | -0.5501 | 4.9139
31 | 0.011674 | 0.0029269 | -0.01167 | -0.0029248 | 3.9983e-06 | 2.1467e-06 | 0.017887 | 0.017887 | 0.017887 | 0.97119 | -0.55662 | 0.97083 | -0.56381 | 4.9139
32 | -0.011678 | -0.0029288 | 0.01168 | 0.0029302 | 2.6095e-06 | 1.4007e-06 | 0.017886 | 0.017886 | 0.017886 | 0.97152 | -0.5501 | 0.97176 | -0.54541 | 4.9139
33 | 0.079628 | 0.020048 | -0.079557 | -0.020003 | 7.0389e-05 | 4.4891e-05 | 0.1216 | 0.1216 | 0.1216 | 0.97466 | -0.48616 | 0.97372 | -0.50467 | 33.4068
34 | 0.063415 | 0.015971 | -0.06332 | -0.01591 | 9.5308e-05 | 6.0654e-05 | 0.096457 | 0.096457 | 0.096457 | 0.97857 | -0.40998 | 0.97697 | -0.44146 | 26.4992
35 | 0.079557 | 0.020003 | -0.079391 | -0.019897 | 0.00016608 | 0.00010592 | 0.1216 | 0.1216 | 0.1216 | 0.97372 | -0.50467 | 0.9715 | -0.54848 | 33.4068
36 | 0.021692 | 0.0054419 | -0.021678 | -0.0054328 | 1.4835e-05 | 9.03e-06 | 0.032848 | 0.032849 | 0.032849 | 0.98271 | -0.3309 | 0.98198 | -0.34526 | 9.0243
37 | 0.080015 | 0.020251 | -0.079838 | -0.020138 | 0.00017685 | 0.00011278 | 0.12123 | 0.12123 | 0.12123 | 0.98271 | -0.3309 | 0.98034 | -0.37706 | 33.3049
38 | 0.029583 | 0.0075094 | -0.02954 | -0.0074827 | 4.2974e-05 | 2.6774e-05 | 0.044702 | 0.044702 | 0.044702 | 0.98549 | -0.27587 | 0.98393 | -0.30611 | 12.2809
39 | 0.042854 | 0.010751 | -0.04285 | -0.010748 | 4.1571e-06 | 2.6271e-06 | 0.064868 | 0.064868 | 0.064868 | 0.98309 | -0.32413 | 0.98299 | -0.32616 | 17.8209
40 | 0.013903 | 0.0034856 | -0.0139 | -0.0034837 | 3.3585e-06 | 1.896e-06 | 0.021104 | 0.021104 | 0.021104 | 0.98034 | -0.37706 | 0.98008 | -0.38213 | 5.7978
41 | 0.027674 | 0.0069721 | -0.027645 | -0.0069546 | 2.8188e-05 | 1.7513e-05 | 0.042191 | 0.042191 | 0.042191 | 0.97631 | -0.45583 | 0.97522 | -0.47715 | 11.591
42 | -0.015677 | -0.003932 | 0.015682 | 0.0039347 | 4.6043e-06 | 2.6827e-06 | 0.024007 | 0.024007 | 0.024007 | 0.97176 | -0.54541 | 0.97207 | -0.53925 | 6.5953
43 | 0.020036 | 0.0050318 | -0.020016 | -0.0050194 | 2.0635e-05 | 1.2468e-05 | 0.030521 | 0.030521 | 0.030521 | 0.97697 | -0.44146 | 0.97587 | -0.46307 | 8.385
44 | 0.034994 | 0.0088005 | -0.034915 | -0.0087508 | 7.9172e-05 | 4.9742e-05 | 0.05331 | 0.053311 | 0.053311 | 0.97697 | -0.44146 | 0.97455 | -0.48894 | 14.6458
45 | 0.0082896 | 0.0020777 | -0.0082887 | -0.0020773 | 8.9657e-07 | 3.8603e-07 | 0.012626 | 0.012626 | 0.012626 | 0.97697 | -0.44146 | 0.97685 | -0.44373 | 3.4687
46 | 0.019429 | 0.0048863 | -0.019422 | -0.004882 | 7.1932e-06 | 4.3327e-06 | 0.029682 | 0.029682 | 0.029682 | 0.97421 | -0.49703 | 0.97382 | -0.50478 | 8.1545
47 | -0.019429 | -0.0048863 | 0.019433 | 0.0048886 | 3.7548e-06 | 2.2615e-06 | 0.029682 | 0.029682 | 0.029682 | 0.97421 | -0.49703 | 0.97442 | -0.49298 | 8.1544
48 | 0.019422 | 0.004882 | -0.019409 | -0.004874 | 1.3334e-05 | 8.0323e-06 | 0.029682 | 0.029682 | 0.029682 | 0.97382 | -0.50478 | 0.97309 | -0.51917 | 8.1545
49 | -0.027625 | -0.0069416 | 0.027645 | 0.0069546 | 2.0891e-05 | 1.298e-05 | 0.042192 | 0.042191 | 0.042192 | 0.97442 | -0.49298 | 0.97522 | -0.47715 | 11.5911
50 | 0.0059593 | 0.0014935 | -0.0059593 | -0.0014935 | 8.3073e-08 | 1.9066e-08 | 0.0090478 | 0.0090478 | 0.0090478 | 0.98008 | -0.38213 | 0.98006 | -0.38243 | 2.4857
51 | 0.0051432 | 0.0012889 | -0.0051428 | -0.0012889 | 4.2434e-07 | 3.5925e-08 | 0.0077936 | 0.0077937 | 0.0077937 | 0.98198 | -0.34526 | 0.98189 | -0.34699 | 2.1411
52 | 0.018734 | 0.0047049 | -0.018716 | -0.0046941 | 1.7934e-05 | 1.0755e-05 | 0.028651 | 0.028651 | 0.028651 | 0.97309 | -0.51917 | 0.97207 | -0.53925 | 7.8712
53 | -0.02183 | -0.0054758 | 0.021842 | 0.0054831 | 1.1904e-05 | 7.2505e-06 | 0.033066 | 0.033066 | 0.033066 | 0.9824 | -0.33759 | 0.98299 | -0.32616 | 9.0842
54 | 0.02183 | 0.0054758 | -0.021817 | -0.0054678 | 1.3141e-05 | 8.005e-06 | 0.033066 | 0.033067 | 0.033067 | 0.9824 | -0.33759 | 0.98176 | -0.35023 | 9.0842
55 | 0.0066776 | 0.0016736 | -0.0066764 | -0.0016733 | 1.146e-06 | 3.5625e-07 | 0.010121 | 0.010121 | 0.010121 | 0.98176 | -0.35023 | 0.98157 | -0.35383 | 2.7805
56 | 0.0026125 | 0.00065375 | -0.0026121 | -0.00065424 | 3.4475e-07 | -4.9197e-07 | 0.0039987 | 0.003999 | 0.003999 | 0.97207 | -0.53925 | 0.97193 | -0.54203 | 1.0986
57 | 0.02954 | 0.0074827 | -0.029353 | -0.0073659 | 0.00018742 | 0.00011679 | 0.044702 | 0.044703 | 0.044703 | 0.98393 | -0.30611 | 0.97712 | -0.4391 | 12.2812
58 | 0.029353 | 0.0073659 | -0.029327 | -0.0073501 | 2.5252e-05 | 1.574e-05 | 0.044703 | 0.044704 | 0.044704 | 0.97712 | -0.4391 | 0.9762 | -0.45716 | 12.2812
59 | -0.012988 | -0.0032551 | 0.012989 | 0.0032556 | 8.4915e-07 | 4.7173e-07 | 0.019833 | 0.019833 | 0.019833 | 0.97448 | -0.49032 | 0.97455 | -0.48894 | 5.4486
60 | 0.018021 | 0.0045193 | -0.018012 | -0.0045142 | 8.6399e-06 | 5.1485e-06 | 0.027479 | 0.027479 | 0.027479 | 0.97587 | -0.46307 | 0.97536 | -0.47313 | 7.5492
61 | 0.0026121 | 0.00065424 | -0.0026119 | -0.0006546 | 2.4987e-07 | -3.5638e-07 | 0.003999 | 0.0039992 | 0.0039992 | 0.97193 | -0.54203 | 0.97183 | -0.54404 | 1.0987

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44199 | 0.11366

## res_load
| p_mw | q_mvar
0 | 0.01634 | 0.0040951
1 | 0.016823 | 0.0042162
2 | 0.010235 | 0.0025652
3 | 0.010248 | 0.0025684
4 | 0.0069262 | 0.0017359
5 | 0.013023 | 0.0032639
6 | 0.0071658 | 0.0017959
7 | 0.0027386 | 0.00068635
8 | 0.01167 | 0.0029248
9 | 0.024125 | 0.0060463
10 | 0.079391 | 0.019897
11 | 0.011982 | 0.0030029
12 | 0.016987 | 0.0042574
13 | 0.0021969 | 0.00055059
14 | 0.00046675 | 0.00011698
15 | 0.014622 | 0.0036647
16 | 0.003997 | 0.0010017
17 | 0.0081917 | 0.002053
18 | 0.0079408 | 0.0019901
19 | 0.016534 | 0.0041439
20 | 0.0059593 | 0.0014935
21 | 0.0051428 | 0.0012889
22 | 0.00067457 | 0.00016906
23 | 0.021008 | 0.0052652
24 | 0.015139 | 0.0037942
25 | 0.00042184 | 0.00010572
26 | 0.029327 | 0.0073501
27 | 0.012988 | 0.0032551
28 | 0.021926 | 0.0054951
29 | 0.0082887 | 0.0020773
30 | 0.0019951 | 0.00050003
31 | 0.018012 | 0.0045142
32 | 0.0066764 | 0.0016733
33 | 0.0026119 | 0.0006546

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1