## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-17_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-17_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-17_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-17_0_6_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2701-17_0_6_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_2701-17_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2701-17_0_6_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_2701-17_0_6_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_2701-17_0_6_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_2701-17_0_6_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_2701-17_0_6_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_2701-17_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2701-17_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_2701-17_0_6_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2701-17_0_6_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_2701-17_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2701-17_0_6_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2701-17_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_2701-17_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2701-17_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2701-17_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2701-17_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2701-17_0_6_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_2701-17_0_6_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_2701-17_0_6_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2701-17_0_6_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2701-17_0_6_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_2701-17_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2701-17_0_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_2701-17_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2701-17_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2701-17_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2701-17_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2701-17_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2701-17_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2701-17_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_2701-17_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2701-17_0_6_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_2701-17_0_6_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_2701-17_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_2701-17_0_6_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_2701-17_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2701-17_0_6_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2701-17_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2701-17_0_6_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_2701-17_0_6_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2701-17_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2701-17_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2701-17_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_2701-17_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2701-17_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2701-17_0_6_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_2701-17_0_6_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2701-17_0_6_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_2701-17_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2701-17_0_6_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_2701-17_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2701-17_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_MV_558_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-17_0_6_load_0 | 0 | 0.005309 | 0.0013306 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-17_0_6_load_3 | 2 | 0.010431 | 0.0026143 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-17_0_6_load_4 | 3 | 0.018831 | 0.0047196 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-17_0_6_load_62 | 8 | 0.038216 | 0.0095777 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-17_0_6_load_63 | 9 | 0.013476 | 0.0033774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-17_0_6_load_51 | 10 | 0.0046082 | 0.0011549 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-17_0_6_load_52 | 11 | 0.0046282 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-17_0_6_load_48 | 12 | 0.0050836 | 0.0012741 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-17_0_6_load_58 | 14 | 0.0048349 | 0.0012117 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-17_0_6_load_57 | 16 | 0.0037606 | 0.00094251 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-17_0_6_load_47 | 18 | 0.00435 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-17_0_6_load_67 | 19 | 0.014466 | 0.0036255 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-17_0_6_load_68 | 24 | 0.014255 | 0.0035726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-17_0_6_load_56 | 25 | 0.010089 | 0.0025284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-17_0_6_load_53 | 26 | 0.011012 | 0.0027599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-17_0_6_load_44 | 27 | 0.014414 | 0.0036124 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-17_0_6_load_66 | 28 | 0.027244 | 0.006828 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-17_0_6_load_41 | 30 | 0.012016 | 0.0030114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-17_0_6_load_39 | 32 | 0.039645 | 0.009936 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-17_0_6_load_29 | 33 | 0.01046 | 0.0026215 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-17_0_6_load_26 | 34 | 0.035238 | 0.0088314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-17_0_6_load_38 | 35 | 0.014136 | 0.0035427 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-17_0_6_load_32 | 37 | 0.010854 | 0.0027204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-17_0_6_load_28 | 38 | 0.026221 | 0.0065716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-17_0_6_load_36 | 39 | 0.010432 | 0.0026144 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-17_0_6_load_61 | 40 | 0.0037512 | 0.00094015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-17_0_6_load_64 | 41 | 0.0035655 | 0.00089361 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-17_0_6_load_49 | 42 | 0.0035514 | 0.00089006 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-17_0_6_load_46 | 43 | 0.016258 | 0.0040746 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-17_0_6_load_60 | 44 | 0.0037385 | 0.00093696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-17_0_6_load_42 | 45 | 0.011746 | 0.0029437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-17_0_6_load_54 | 46 | 0.0051646 | 0.0012944 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-17_0_6_load_59 | 47 | 0.0037414 | 0.00093769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-17_0_6_load_45 | 48 | 0.01332 | 0.0033383 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-17_0_6_load_40 | 49 | 0.014264 | 0.0035749 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-17_0_6_load_30 | 50 | 0.011488 | 0.0028791 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-17_0_6_load_27 | 51 | 0.025155 | 0.0063045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-17_0_6_load_37 | 52 | 0.010467 | 0.0026233 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-17_0_6_load_65 | 53 | 0.0042517 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-17_0_6_load_50 | 54 | 0.0042559 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-17_0_6_load_34 | 56 | 0.026723 | 0.0066973 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-17_0_6_load_33 | 57 | 0.006603 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-17_0_6_load_35 | 58 | 0.010467 | 0.0026232 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-17_0_6_load_55 | 59 | 0.005015 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-17_0_6_line_0 |  | 0 | 1 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-17_0_6_line_1 |  | 1 | 2 | 0.03112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-17_0_6_line_2 |  | 1 | 3 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-17_0_6_line_3 |  | 1 | 4 | 0.024456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-17_0_6_line_4 |  | 2 | 8 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-17_0_6_line_5 |  | 3 | 9 | 0.055006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-17_0_6_line_6 |  | 4 | 10 | 0.030502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-17_0_6_line_7 |  | 4 | 11 | 0.0098514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-17_0_6_line_8 |  | 4 | 12 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-17_0_6_line_9 |  | 5 | 6 | 0.025451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-17_0_6_line_10 |  | 5 | 7 | 0.028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-17_0_6_line_11 |  | 6 | 35 | 0.0021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-17_0_6_line_12 |  | 6 | 23 | 0.032244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-17_0_6_line_13 |  | 7 | 25 | 0.023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-17_0_6_line_14 |  | 7 | 26 | 0.017081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2701-17_0_6_line_15 |  | 8 | 39 | 0.0074016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-17_0_6_line_16 |  | 10 | 40 | 0.0087996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-17_0_6_line_17 |  | 11 | 41 | 0.0090437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2701-17_0_6_line_18 |  | 12 | 42 | 0.0095448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-17_0_6_line_19 |  | 13 | 14 | 0.0023578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-17_0_6_line_20 |  | 13 | 15 | 0.062856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-17_0_6_line_21 |  | 13 | 16 | 0.0090091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-17_0_6_line_22 |  | 14 | 44 | 0.0086613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-17_0_6_line_23 |  | 15 | 28 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-17_0_6_line_24 |  | 16 | 25 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-17_0_6_line_25 |  | 17 | 18 | 0.040217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-17_0_6_line_26 |  | 17 | 19 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-17_0_6_line_27 |  | 18 | 43 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-17_0_6_line_28 |  | 19 | 20 | 0.0049968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-17_0_6_line_29 |  | 20 | 21 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-17_0_6_line_30 |  | 21 | 24 | 0.038594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-17_0_6_line_31 |  | 22 | 23 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-17_0_6_line_32 |  | 22 | 24 | 0.0052378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-17_0_6_line_33 |  | 23 | 27 | 0.0044385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-17_0_6_line_34 |  | 26 | 46 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-17_0_6_line_35 |  | 27 | 48 | 0.0016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-17_0_6_line_36 |  | 29 | 30 | 0.065114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-17_0_6_line_37 |  | 29 | 31 | 0.024647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-17_0_6_line_38 |  | 29 | 32 | 0.026552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-17_0_6_line_39 |  | 30 | 45 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-17_0_6_line_40 |  | 31 | 33 | 0.026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-17_0_6_line_41 |  | 31 | 34 | 0.034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-17_0_6_line_42 |  | 32 | 49 | 0.02406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-17_0_6_line_43 |  | 33 | 50 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-17_0_6_line_44 |  | 34 | 51 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_2701-17_0_6_line_45 |  | 35 | 52 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2701-17_0_6_line_46 |  | 36 | 37 | 0.0094914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2701-17_0_6_line_47 |  | 36 | 38 | 0.008541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2701-17_0_6_line_48 |  | 37 | 52 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2701-17_0_6_line_49 |  | 38 | 51 | 0.014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2701-17_0_6_line_50 |  | 39 | 58 | 0.020689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-17_0_6_line_51 |  | 41 | 59 | 0.0079968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2701-17_0_6_line_52 |  | 42 | 54 | 0.008005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-17_0_6_line_53 |  | 44 | 47 | 0.0077461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-17_0_6_line_54 |  | 46 | 59 | 0.0082806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2701-17_0_6_line_55 |  | 50 | 55 | 0.036831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-17_0_6_line_56 |  | 53 | 54 | 0.0079982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-17_0_6_line_57 |  | 55 | 56 | 0.024418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-17_0_6_line_58 |  | 57 | 58 | 0.033052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-17_0_6_trafo_37 | 0.63 MVA 20/0.4 kV | 60 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2612112.5266 | 1266410.1271 | 2612093.4822 | 1266397.5142
1 | 2612112.5266 | 1266410.1271 | 2612101.7621 | 1266424.7042 | 2612093.3278 | 1266434.5962
2 | 2612112.5266 | 1266410.1271 | 2612130.2954 | 1266421.8819
3 | 2612114.1117 | 1266393.3186 | 2612112.3163 | 1266395.1607 | 2612109.2597 | 1266398.9348 | 2612117.1461 | 1266404.0767 | 2612112.5266 | 1266410.1271
4 | 2612081.8577 | 1266446.8922 | 2612089.3264 | 1266439.289 | 2612093.3278 | 1266434.5962
5 | 2612130.2954 | 1266421.8819 | 2612176.1716 | 1266452.2311
6 | 2612114.1117 | 1266393.3186 | 2612116.0127 | 1266391.3767 | 2612138.0019 | 1266374.3923
7 | 2612114.1117 | 1266393.3186 | 2612105.9683 | 1266387.7745
8 | 2612114.1117 | 1266393.3186 | 2612121.5163 | 1266398.3928 | 2612128.3575 | 1266402.8511
9 | 2612032.6092 | 1266384.6247 | 2612035.5569 | 1266382.4847 | 2612056.49 | 1266376.1339
10 | 2612056.49 | 1266376.1339 | 2612057.3038 | 1266368.3634 | 2612058.099 | 1266362.283 | 2612056.9149 | 1266359.6566 | 2612061.8943 | 1266354.3074 | 2612065.0536 | 1266351.7898
11 | 2612032.6092 | 1266384.6247 | 2612031.0113 | 1266386.1202
12 | 2612005.0443 | 1266368.5133 | 2612008.7231 | 1266369.6437 | 2612010.5129 | 1266370.5813 | 2612011.5732 | 1266371.1394 | 2612014.2203 | 1266372.5235 | 2612015.0249 | 1266372.9476 | 2612017.7622 | 1266374.3764 | 2612020.5672 | 1266375.8387 | 2612024.9064 | 1266378.0156 | 2612028.8902 | 1266380.9702 | 2612032.6092 | 1266384.6247
13 | 2612065.0536 | 1266351.7898 | 2612068.3034 | 1266349.2057 | 2612083.1169 | 1266336.8171
14 | 2612065.0536 | 1266351.7898 | 2612069.1793 | 1266362.7281 | 2612073.6348 | 1266365.7614
15 | 2612081.8577 | 1266446.8922 | 2612076.6709 | 1266452.1724
16 | 2612138.0019 | 1266374.3923 | 2612144.966 | 1266369.0132
17 | 2612105.9683 | 1266387.7745 | 2612098.4927 | 1266382.685
18 | 2612128.3575 | 1266402.8511 | 2612136.3541 | 1266408.0625
19 | 2612097.7775 | 1266322.3803 | 2612099.7003 | 1266321.0158
20 | 2612057.1181 | 1266304.1183 | 2612063.5352 | 1266306.2328 | 2612059.1669 | 1266314.6298 | 2612069.0018 | 1266320.4316 | 2612075.7275 | 1266326.3049 | 2612082.1928 | 1266319.5355 | 2612087.2977 | 1266322.7593 | 2612089.8028 | 1266323.6427 | 2612092.3166 | 1266323.9147 | 2612095.0502 | 1266323.4533 | 2612097.7775 | 1266322.3803
21 | 2612097.7775 | 1266322.3803 | 2612092.0571 | 1266329.3402
22 | 2612106.573 | 1266315.7479 | 2612101.449 | 1266319.7749 | 2612099.7003 | 1266321.0158
23 | 2612057.1181 | 1266304.1183 | 2612045.5674 | 1266300.599
24 | 2612092.0571 | 1266329.3402 | 2612092.0571 | 1266329.3402 | 2612083.1169 | 1266336.8171
25 | 2611966.0464 | 1266313.9521 | 2611954.8608 | 1266317.1541 | 2611944.5323 | 1266320.8804 | 2611929.983 | 1266330.9582
26 | 2611966.0464 | 1266313.9521 | 2611977.9376 | 1266311.7524 | 2611979.4958 | 1266311.4111
27 | 2611929.983 | 1266330.9582 | 2611924.1335 | 1266334.8269 | 2611915.6241 | 1266339.9134
28 | 2611984.3769 | 1266310.3421 | 2611979.4958 | 1266311.4111
29 | 2612005.6059 | 1266306.6936 | 2611997.4128 | 1266307.9668 | 2611984.3769 | 1266310.3421
30 | 2612005.6059 | 1266306.6936 | 2612007.4697 | 1266326.8447 | 2612008.4225 | 1266345.1773
31 | 2612005.0443 | 1266368.5133 | 2612008.6943 | 1266350.408
32 | 2612008.6943 | 1266350.408 | 2612008.4225 | 1266345.1773
33 | 2612005.0443 | 1266368.5133 | 2612003.6135 | 1266372.7148
34 | 2612073.6348 | 1266365.7614 | 2612085.0375 | 1266373.5245
35 | 2612003.6135 | 1266372.7148 | 2612003.0714 | 1266374.3066
36 | 2611935.1758 | 1266481.5069 | 2611886.1141 | 1266438.6964
37 | 2611935.1758 | 1266481.5069 | 2611940.6615 | 1266486.299 | 2611942.5389 | 1266488.5821 | 2611944.3712 | 1266490.8096 | 2611947.0821 | 1266494.1174 | 2611951.61 | 1266499.7748
38 | 2611935.1758 | 1266481.5069 | 2611949.5513 | 1266459.1828
39 | 2611877.0307 | 1266430.7704 | 2611886.1141 | 1266438.6964
40 | 2611951.61 | 1266499.7748 | 2611968.4598 | 1266520.8423
41 | 2611951.61 | 1266499.7748 | 2611969.4211 | 1266470.604
42 | 2611962.2812 | 1266438.7695 | 2611956.3274 | 1266448.6598 | 2611949.5513 | 1266459.1828
43 | 2611968.4598 | 1266520.8423 | 2611976.767 | 1266531.2288
44 | 2611969.4211 | 1266470.604 | 2611980.76 | 1266452.0334
45 | 2612013.1493 | 1266404.2023 | 2612018.5504 | 1266397.7832 | 2612031.0113 | 1266386.1202
46 | 2611992.531 | 1266432.755 | 2611997.8037 | 1266424.863
47 | 2611992.531 | 1266432.755 | 2611988.0801 | 1266440.0446
48 | 2611997.8037 | 1266424.863 | 2612005.6617 | 1266413.1012 | 2612013.1493 | 1266404.2023
49 | 2611988.0801 | 1266440.0446 | 2611980.76 | 1266452.0334
50 | 2612076.6709 | 1266452.1724 | 2612072.2781 | 1266456.6443 | 2612063.9184 | 1266468.3944
51 | 2612091.8824 | 1266378.1846 | 2612098.4927 | 1266382.685
52 | 2612136.3541 | 1266408.0625 | 2612143.0606 | 1266412.433
53 | 2612112.6634 | 1266310.9615 | 2612106.573 | 1266315.7479
54 | 2612091.8824 | 1266378.1846 | 2612085.0375 | 1266373.5245
55 | 2611999.7716 | 1266559.9917 | 2611976.767 | 1266531.2288
56 | 2612149.7615 | 1266416.8 | 2612143.0606 | 1266412.433
57 | 2611999.7716 | 1266559.9917 | 2612014.677 | 1266540.6507
58 | 2612063.9184 | 1266468.3944 | 2612063.2414 | 1266469.3459 | 2612061.3511 | 1266480.8612 | 2612048.8184 | 1266496.722

## bus_geodata
| x | y | coords
0 | 2612093.4822 | 1266397.5142
1 | 2612112.5266 | 1266410.1271
2 | 2612093.3278 | 1266434.5962
3 | 2612130.2954 | 1266421.8819
4 | 2612114.1117 | 1266393.3186
5 | 2612056.49 | 1266376.1339
6 | 2612032.6092 | 1266384.6247
7 | 2612065.0536 | 1266351.7898
8 | 2612081.8577 | 1266446.8922
9 | 2612176.1716 | 1266452.2311
10 | 2612138.0019 | 1266374.3923
11 | 2612105.9683 | 1266387.7745
12 | 2612128.3575 | 1266402.8511
13 | 2612097.7775 | 1266322.3803
14 | 2612099.7003 | 1266321.0158
15 | 2612057.1181 | 1266304.1183
16 | 2612092.0571 | 1266329.3402
17 | 2611966.0464 | 1266313.9521
18 | 2611929.983 | 1266330.9582
19 | 2611979.4958 | 1266311.4111
20 | 2611984.3769 | 1266310.3421
21 | 2612005.6059 | 1266306.6936
22 | 2612008.6943 | 1266350.408
23 | 2612005.0443 | 1266368.5133
24 | 2612008.4225 | 1266345.1773
25 | 2612083.1169 | 1266336.8171
26 | 2612073.6348 | 1266365.7614
27 | 2612003.6135 | 1266372.7148
28 | 2612045.5674 | 1266300.599
29 | 2611935.1758 | 1266481.5069
30 | 2611886.1142 | 1266438.6964
31 | 2611951.61 | 1266499.7748
32 | 2611949.5513 | 1266459.1828
33 | 2611968.4598 | 1266520.8423
34 | 2611969.4211 | 1266470.604
35 | 2612031.0113 | 1266386.1202
36 | 2611992.531 | 1266432.755
37 | 2611997.8037 | 1266424.863
38 | 2611988.0801 | 1266440.0446
39 | 2612076.6709 | 1266452.1724
40 | 2612144.966 | 1266369.0132
41 | 2612098.4927 | 1266382.685
42 | 2612136.3541 | 1266408.0624
43 | 2611915.6241 | 1266339.9134
44 | 2612106.573 | 1266315.7479
45 | 2611877.0307 | 1266430.7704
46 | 2612085.0375 | 1266373.5245
47 | 2612112.6634 | 1266310.9615
48 | 2612003.0714 | 1266374.3066
49 | 2611962.2812 | 1266438.7695
50 | 2611976.767 | 1266531.2288
51 | 2611980.76 | 1266452.0334
52 | 2612013.1493 | 1266404.2023
53 | 2612149.7615 | 1266416.8
54 | 2612143.0606 | 1266412.433
55 | 2611999.7716 | 1266559.9917
56 | 2612014.677 | 1266540.6507
57 | 2612048.8184 | 1266496.722
58 | 2612063.9184 | 1266468.3944
59 | 2612091.8824 | 1266378.1846
60 | 2612032.6092 | 1266384.6247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98688 | -0.25206 | 0.005309 | 0.0013306
1 | 0.98699 | -0.24989 | 0 | 0
2 | 0.98481 | -0.29238 | 0.010431 | 0.0026143
3 | 0.98636 | -0.26221 | 0.018831 | 0.0047196
4 | 0.98955 | -0.20024 | 0 | 0
5 | 0.99563 | -0.083342 | 0 | 0
6 | 0.99736 | -0.050272 | 0 | 0
7 | 0.99372 | -0.12008 | 0 | 0
8 | 0.98379 | -0.31228 | 0.038216 | 0.0095777
9 | 0.98568 | -0.2755 | 0.013476 | 0.0033774
10 | 0.98932 | -0.20478 | 0.0046082 | 0.0011549
11 | 0.99082 | -0.17584 | 0.0046282 | 0.0011599
12 | 0.98929 | -0.20547 | 0.0050836 | 0.0012741
13 | 0.99178 | -0.15748 | 0 | 0
14 | 0.99175 | -0.15799 | 0.0048349 | 0.0012117
15 | 0.99021 | -0.18787 | 0 | 0
16 | 0.99211 | -0.15117 | 0.0037606 | 0.00094251
17 | 0.99168 | -0.15986 | 0 | 0
18 | 0.99092 | -0.17456 | 0.00435 | 0.0010902
19 | 0.99194 | -0.15487 | 0.014466 | 0.0036255
20 | 0.9921 | -0.15176 | 0 | 0
21 | 0.99279 | -0.13843 | 0 | 0
22 | 0.99426 | -0.10996 | 0 | 0
23 | 0.99509 | -0.093911 | 0 | 0
24 | 0.99402 | -0.11452 | 0.014255 | 0.0035726
25 | 0.99257 | -0.14223 | 0.010089 | 0.0025284
26 | 0.99283 | -0.13705 | 0.011012 | 0.0027599
27 | 0.99498 | -0.096078 | 0.014414 | 0.0036124
28 | 0.98991 | -0.19372 | 0.027244 | 0.006828
29 | 0.98893 | -0.2127 | 0 | 0
30 | 0.98751 | -0.24031 | 0.012016 | 0.0030114
31 | 0.99069 | -0.17864 | 0 | 0
32 | 0.98762 | -0.23824 | 0.039645 | 0.009936
33 | 0.98949 | -0.20199 | 0.01046 | 0.0026215
34 | 0.99466 | -0.10226 | 0.035238 | 0.0088314
35 | 0.99756 | -0.046448 | 0.014136 | 0.0035427
36 | 0.99762 | -0.045369 | 0 | 0
37 | 0.99824 | -0.033576 | 0.010854 | 0.0027204
38 | 0.99707 | -0.055993 | 0.026221 | 0.0065716
39 | 0.9836 | -0.31594 | 0.010432 | 0.0026144
40 | 0.98929 | -0.20536 | 0.0037512 | 0.00094015
41 | 0.99142 | -0.1643 | 0.0035655 | 0.00089361
42 | 0.98918 | -0.20752 | 0.0035514 | 0.00089006
43 | 0.99067 | -0.17945 | 0.016258 | 0.0040746
44 | 0.99169 | -0.15914 | 0.0037385 | 0.00093696
45 | 0.98738 | -0.24284 | 0.011746 | 0.0029437
46 | 0.99217 | -0.14988 | 0.0051646 | 0.0012944
47 | 0.99167 | -0.15966 | 0.0037414 | 0.00093769
48 | 0.99496 | -0.096473 | 0.01332 | 0.0033383
49 | 0.9873 | -0.24438 | 0.014264 | 0.0035749
50 | 0.98902 | -0.21104 | 0.011488 | 0.0028791
51 | 0.99627 | -0.071335 | 0.025155 | 0.0063045
52 | 1 | 0 | -0.54356 | -0.13768
53 | 0.98909 | -0.20934 | 0.0042517 | 0.0010656
54 | 0.98912 | -0.20873 | 0.0042559 | 0.0010666
55 | 0.98812 | -0.22859 | 0 | 0
56 | 0.98752 | -0.24025 | 0.026723 | 0.0066973
57 | 0.98307 | -0.32624 | 0.006603 | 0.0016549
58 | 0.98327 | -0.32231 | 0.010467 | 0.0026232
59 | 0.99178 | -0.15733 | 0.005015 | 0.0012569
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.005309 | -0.0013306 | 0.0053096 | 0.0013306 | 5.4889e-07 | 5.9391e-08 | 0.0080049 | 0.0080048 | 0.0080049 | 0.98688 | -0.25206 | 0.98699 | -0.24989 | 2.1992
1 | 0.076377 | 0.019229 | -0.076222 | -0.019131 | 0.00015482 | 9.8687e-05 | 0.11518 | 0.11518 | 0.11518 | 0.98699 | -0.24989 | 0.98481 | -0.29238 | 31.6426
2 | 0.032335 | 0.0081136 | -0.032316 | -0.0081018 | 1.8989e-05 | 1.1881e-05 | 0.048753 | 0.048753 | 0.048753 | 0.98699 | -0.24989 | 0.98636 | -0.26221 | 13.3936
3 | -0.11402 | -0.028674 | 0.11429 | 0.028847 | 0.00027111 | 0.0001732 | 0.17194 | 0.17194 | 0.17194 | 0.98699 | -0.24989 | 0.98955 | -0.20024 | 47.2352
4 | 0.065791 | 0.016516 | -0.065728 | -0.016477 | 6.2361e-05 | 3.9697e-05 | 0.099418 | 0.099418 | 0.099418 | 0.98481 | -0.29238 | 0.98379 | -0.31228 | 27.3126
5 | 0.013485 | 0.0033822 | -0.013476 | -0.0033774 | 8.537e-06 | 4.7621e-06 | 0.020344 | 0.020344 | 0.020344 | 0.98636 | -0.26221 | 0.98568 | -0.2755 | 5.589
6 | 0.0083614 | 0.0020958 | -0.0083596 | -0.002095 | 1.8083e-06 | 7.6554e-07 | 0.012573 | 0.012573 | 0.012573 | 0.98955 | -0.20024 | 0.98932 | -0.20478 | 3.4542
7 | -0.1398 | -0.035242 | 0.13997 | 0.035347 | 0.00016338 | 0.00010444 | 0.2103 | 0.2103 | 0.2103 | 0.98955 | -0.20024 | 0.99082 | -0.17584 | 57.7738
8 | 0.017149 | 0.0042997 | -0.017144 | -0.0042972 | 4.2748e-06 | 2.5157e-06 | 0.025787 | 0.025788 | 0.025788 | 0.98955 | -0.20024 | 0.98929 | -0.20547 | 7.0845
9 | -0.22371 | -0.056699 | 0.22406 | 0.056926 | 0.00035611 | 0.00022691 | 0.33457 | 0.33457 | 0.33457 | 0.99563 | -0.083342 | 0.99736 | -0.050272 | 30.638
10 | 0.22371 | 0.056699 | -0.22331 | -0.056448 | 0.00039421 | 0.0002512 | 0.33457 | 0.33457 | 0.33457 | 0.99563 | -0.083342 | 0.99372 | -0.12008 | 30.638
11 | -0.30143 | -0.076432 | 0.30149 | 0.076467 | 5.5405e-05 | 3.5374e-05 | 0.45003 | 0.45003 | 0.45003 | 0.99736 | -0.050272 | 0.99756 | -0.046448 | 41.2119
12 | 0.077366 | 0.019505 | -0.077205 | -0.019403 | 0.00016121 | 0.00010275 | 0.11547 | 0.11547 | 0.11547 | 0.99736 | -0.050272 | 0.99509 | -0.093911 | 31.7218
13 | 0.053543 | 0.01347 | -0.053486 | -0.013434 | 5.6586e-05 | 3.5911e-05 | 0.080195 | 0.080195 | 0.080195 | 0.99372 | -0.12008 | 0.99257 | -0.14223 | 22.0316
14 | 0.16977 | 0.042978 | -0.16963 | -0.04289 | 0.00013815 | 8.7753e-05 | 0.25437 | 0.25437 | 0.25437 | 0.99372 | -0.12008 | 0.99283 | -0.13705 | 23.2942
15 | 0.027513 | 0.006899 | -0.027508 | -0.006896 | 4.8069e-06 | 2.9825e-06 | 0.041616 | 0.041616 | 0.041616 | 0.98379 | -0.31228 | 0.9836 | -0.31594 | 11.4329
16 | 0.0037514 | 0.00094011 | -0.0037512 | -0.00094015 | 1.0505e-07 | -4.5754e-08 | 0.0056423 | 0.0056423 | 0.0056423 | 0.98932 | -0.20478 | 0.98929 | -0.20536 | 1.5501
17 | -0.14459 | -0.036507 | 0.14467 | 0.036558 | 8.0031e-05 | 5.0987e-05 | 0.21725 | 0.21725 | 0.21725 | 0.99082 | -0.17584 | 0.99142 | -0.1643 | 29.8417
18 | 0.012061 | 0.0030231 | -0.01206 | -0.0030224 | 1.178e-06 | 6.3135e-07 | 0.018141 | 0.018141 | 0.018141 | 0.98929 | -0.20547 | 0.98918 | -0.20752 | 4.9838
19 | 0.012316 | 0.0030867 | -0.012315 | -0.0030865 | 3.0188e-07 | 1.6278e-07 | 0.018478 | 0.018478 | 0.018478 | 0.99178 | -0.15748 | 0.99175 | -0.15799 | 5.0763
20 | 0.027291 | 0.0068572 | -0.027252 | -0.0068327 | 3.9531e-05 | 2.449e-05 | 0.040952 | 0.040953 | 0.040953 | 0.99178 | -0.15748 | 0.99021 | -0.18787 | 11.2507
21 | -0.039607 | -0.0099439 | 0.039619 | 0.0099514 | 1.1932e-05 | 7.5204e-06 | 0.05943 | 0.05943 | 0.05943 | 0.99178 | -0.15748 | 0.99211 | -0.15117 | 16.327
22 | 0.0074805 | 0.0018748 | -0.0074801 | -0.0018746 | 4.0915e-07 | 1.501e-07 | 0.011224 | 0.011224 | 0.011224 | 0.99175 | -0.15799 | 0.99169 | -0.15914 | 3.0834
23 | 0.027252 | 0.0068327 | -0.027244 | -0.006828 | 7.5941e-06 | 4.705e-06 | 0.040953 | 0.040953 | 0.040953 | 0.99021 | -0.18787 | 0.98991 | -0.19372 | 11.2507
24 | -0.043379 | -0.010894 | 0.043398 | 0.010906 | 1.8505e-05 | 1.1693e-05 | 0.065071 | 0.065071 | 0.065071 | 0.99211 | -0.15117 | 0.99257 | -0.14223 | 17.8765
25 | 0.020626 | 0.0051758 | -0.020612 | -0.005167 | 1.4448e-05 | 8.7284e-06 | 0.030952 | 0.030952 | 0.030952 | 0.99168 | -0.15986 | 0.99092 | -0.17456 | 8.5033
26 | -0.020626 | -0.0051758 | 0.020631 | 0.0051787 | 4.9175e-06 | 2.9706e-06 | 0.030952 | 0.030952 | 0.030952 | 0.99168 | -0.15986 | 0.99194 | -0.15487 | 8.5032
27 | 0.016262 | 0.0040768 | -0.016258 | -0.0040746 | 3.7852e-06 | 2.2046e-06 | 0.02442 | 0.02442 | 0.02442 | 0.99092 | -0.17456 | 0.99067 | -0.17945 | 6.7088
28 | -0.035097 | -0.0088042 | 0.035102 | 0.0088074 | 5.1946e-06 | 3.26e-06 | 0.052652 | 0.052652 | 0.052652 | 0.99194 | -0.15487 | 0.9921 | -0.15176 | 14.4648
29 | -0.035102 | -0.0088074 | 0.035124 | 0.0088215 | 2.2329e-05 | 1.4013e-05 | 0.052652 | 0.052652 | 0.052652 | 0.9921 | -0.15176 | 0.99279 | -0.13843 | 14.4648
30 | -0.035124 | -0.0088215 | 0.035164 | 0.0088466 | 4.0122e-05 | 2.5178e-05 | 0.052652 | 0.052652 | 0.052652 | 0.99279 | -0.13843 | 0.99402 | -0.11452 | 14.4648
31 | -0.04943 | -0.012426 | 0.049468 | 0.01245 | 3.7914e-05 | 2.4026e-05 | 0.073991 | 0.073991 | 0.073991 | 0.99426 | -0.10996 | 0.99509 | -0.093911 | 20.3271
32 | 0.04943 | 0.012426 | -0.049419 | -0.012419 | 1.0753e-05 | 6.8141e-06 | 0.073991 | 0.073991 | 0.073991 | 0.99426 | -0.10996 | 0.99402 | -0.11452 | 20.3271
33 | 0.027737 | 0.0069526 | -0.027734 | -0.0069508 | 2.8633e-06 | 1.7749e-06 | 0.041477 | 0.041477 | 0.041477 | 0.99509 | -0.093911 | 0.99498 | -0.096078 | 11.3947
34 | 0.15862 | 0.040131 | -0.15852 | -0.040069 | 9.7564e-05 | 6.1906e-05 | 0.23787 | 0.23787 | 0.23787 | 0.99283 | -0.13705 | 0.99217 | -0.14988 | 21.7828
35 | 0.01332 | 0.0033385 | -0.01332 | -0.0033383 | 2.5024e-07 | 1.3832e-07 | 0.019921 | 0.019921 | 0.019921 | 0.99498 | -0.096078 | 0.99496 | -0.096473 | 5.4728
36 | 0.023794 | 0.0059751 | -0.023763 | -0.0059559 | 3.1306e-05 | 1.9201e-05 | 0.035806 | 0.035806 | 0.035806 | 0.98893 | -0.2127 | 0.98751 | -0.24031 | 9.8369
37 | -0.077773 | -0.01953 | 0.077899 | 0.019611 | 0.0001266 | 8.0708e-05 | 0.11704 | 0.11704 | 0.11704 | 0.98893 | -0.2127 | 0.99069 | -0.17864 | 32.1528
38 | 0.053979 | 0.013555 | -0.053913 | -0.013513 | 6.57e-05 | 4.1708e-05 | 0.08123 | 0.08123 | 0.08123 | 0.98893 | -0.2127 | 0.98762 | -0.23824 | 22.3159
39 | 0.011747 | 0.0029445 | -0.011746 | -0.0029437 | 1.4165e-06 | 7.5233e-07 | 0.017701 | 0.017701 | 0.017701 | 0.98751 | -0.24031 | 0.98738 | -0.24284 | 4.8629
40 | 0.048779 | 0.012266 | -0.048724 | -0.012231 | 5.4324e-05 | 3.4421e-05 | 0.07328 | 0.07328 | 0.07328 | 0.99069 | -0.17864 | 0.98949 | -0.20199 | 20.1319
41 | -0.12668 | -0.031877 | 0.12714 | 0.032173 | 0.00046423 | 0.00029667 | 0.19032 | 0.19032 | 0.19032 | 0.99069 | -0.17864 | 0.99466 | -0.10226 | 52.2846
42 | 0.014268 | 0.0035772 | -0.014264 | -0.0035749 | 4.1698e-06 | 2.3609e-06 | 0.021498 | 0.021498 | 0.021498 | 0.98762 | -0.23824 | 0.9873 | -0.24438 | 5.906
43 | 0.038264 | 0.0096099 | -0.038248 | -0.0095995 | 1.6519e-05 | 1.0401e-05 | 0.05755 | 0.05755 | 0.05755 | 0.98949 | -0.20199 | 0.98902 | -0.21104 | 15.8104
44 | -0.16238 | -0.041005 | 0.16262 | 0.041158 | 0.00024097 | 0.00015365 | 0.24303 | 0.24303 | 0.24303 | 0.99466 | -0.10226 | 0.99627 | -0.071335 | 33.3834
45 | -0.31562 | -0.08001 | 0.31633 | 0.080461 | 0.00070627 | 0.00045101 | 0.47112 | 0.47112 | 0.47112 | 0.99756 | -0.046448 | 1 | 0 | 43.1428
46 | -0.21424 | -0.054192 | 0.21437 | 0.054269 | 0.00012129 | 7.7252e-05 | 0.31973 | 0.31973 | 0.31973 | 0.99762 | -0.045369 | 0.99824 | -0.033576 | 29.2797
47 | 0.21424 | 0.054192 | -0.21414 | -0.054122 | 0.00010914 | 6.9517e-05 | 0.31973 | 0.31973 | 0.31973 | 0.99762 | -0.045369 | 0.99707 | -0.055993 | 29.2798
48 | -0.22522 | -0.05699 | 0.22558 | 0.057221 | 0.00036355 | 0.00023166 | 0.33591 | 0.33591 | 0.33591 | 0.99824 | -0.033576 | 1 | 0 | 30.7614
49 | 0.18791 | 0.047551 | -0.18778 | -0.047463 | 0.00013825 | 8.7933e-05 | 0.2806 | 0.2806 | 0.2806 | 0.99707 | -0.055993 | 0.99627 | -0.071335 | 25.6962
50 | 0.017076 | 0.0042816 | -0.017071 | -0.0042785 | 5.178e-06 | 3.0514e-06 | 0.025834 | 0.025834 | 0.025834 | 0.9836 | -0.31594 | 0.98327 | -0.32231 | 7.0973
51 | -0.14824 | -0.037451 | 0.14829 | 0.037483 | 4.953e-05 | 3.139e-05 | 0.2226 | 0.2226 | 0.2226 | 0.99142 | -0.1643 | 0.99178 | -0.15733 | 20.3845
52 | 0.0085082 | 0.0021324 | -0.0085077 | -0.0021322 | 4.9174e-07 | 2.1196e-07 | 0.012799 | 0.012799 | 0.012799 | 0.98918 | -0.20752 | 0.98912 | -0.20873 | 3.5162
53 | 0.0037415 | 0.00093765 | -0.0037414 | -0.00093769 | 9.1553e-08 | -4.1346e-08 | 0.0056141 | 0.0056141 | 0.0056141 | 0.99169 | -0.15914 | 0.99167 | -0.15966 | 1.5423
54 | 0.15336 | 0.038774 | -0.1533 | -0.03874 | 5.4814e-05 | 3.476e-05 | 0.23012 | 0.23012 | 0.23012 | 0.99217 | -0.14988 | 0.99178 | -0.15733 | 21.0735
55 | 0.02676 | 0.0067204 | -0.026738 | -0.0067065 | 2.2394e-05 | 1.386e-05 | 0.040266 | 0.040266 | 0.040266 | 0.98902 | -0.21104 | 0.98812 | -0.22859 | 11.0622
56 | -0.0042517 | -0.0010656 | 0.0042518 | 0.0010656 | 1.2271e-07 | -2.4119e-08 | 0.0063964 | 0.0063964 | 0.0063964 | 0.98909 | -0.20934 | 0.98912 | -0.20873 | 1.7573
57 | 0.026738 | 0.0067065 | -0.026723 | -0.0066973 | 1.4847e-05 | 9.1893e-06 | 0.040266 | 0.040266 | 0.040266 | 0.98812 | -0.22859 | 0.98752 | -0.24025 | 11.0622
58 | -0.006603 | -0.0016549 | 0.0066043 | 0.0016553 | 1.2381e-06 | 3.7323e-07 | 0.0099946 | 0.0099945 | 0.0099946 | 0.98307 | -0.32624 | 0.98327 | -0.32231 | 2.7458

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55403 | 0.14031

## res_load
| p_mw | q_mvar
0 | 0.005309 | 0.0013306
1 | 0.010431 | 0.0026143
2 | 0.018831 | 0.0047196
3 | 0.038216 | 0.0095777
4 | 0.013476 | 0.0033774
5 | 0.0046082 | 0.0011549
6 | 0.0046282 | 0.0011599
7 | 0.0050836 | 0.0012741
8 | 0.0048349 | 0.0012117
9 | 0.0037606 | 0.00094251
10 | 0.00435 | 0.0010902
11 | 0.014466 | 0.0036255
12 | 0.014255 | 0.0035726
13 | 0.010089 | 0.0025284
14 | 0.011012 | 0.0027599
15 | 0.014414 | 0.0036124
16 | 0.027244 | 0.006828
17 | 0.012016 | 0.0030114
18 | 0.039645 | 0.009936
19 | 0.01046 | 0.0026215
20 | 0.035238 | 0.0088314
21 | 0.014136 | 0.0035427
22 | 0.010854 | 0.0027204
23 | 0.026221 | 0.0065716
24 | 0.010432 | 0.0026144
25 | 0.0037512 | 0.00094015
26 | 0.0035655 | 0.00089361
27 | 0.0035514 | 0.00089006
28 | 0.016258 | 0.0040746
29 | 0.0037385 | 0.00093696
30 | 0.011746 | 0.0029437
31 | 0.0051646 | 0.0012944
32 | 0.0037414 | 0.00093769
33 | 0.01332 | 0.0033383
34 | 0.014264 | 0.0035749
35 | 0.011488 | 0.0028791
36 | 0.025155 | 0.0063045
37 | 0.010467 | 0.0026233
38 | 0.0042517 | 0.0010656
39 | 0.0042559 | 0.0010666
40 | 0.026723 | 0.0066973
41 | 0.006603 | 0.0016549
42 | 0.010467 | 0.0026232
43 | 0.005015 | 0.0012569

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1