## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-184_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-184_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-184_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-184_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-184_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-184_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_2701-184_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2701-184_0_4_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_2701-184_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2701-184_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2701-184_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2701-184_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2701-184_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_2701-184_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2701-184_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2701-184_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2701-184_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2701-184_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2701-184_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2701-184_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2701-184_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2701-184_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2701-184_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2701-184_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2701-184_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_2701-184_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2701-184_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2701-184_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2701-184_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-184_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2701-184_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2701-184_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2701-184_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_2701-184_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2701-184_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2701-184_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2701-184_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2701-184_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2701-184_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2701-184_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2701-184_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_MV_562_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-184_0_4_load_0 | 0 | 0.027914 | 0.006996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-184_0_4_load_1 | 1 | 0.0072108 | 0.0018072 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-184_0_4_load_2 | 2 | 0.032252 | 0.0080832 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-184_0_4_load_3 | 3 | 0.0058502 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-184_0_4_load_4 | 4 | 0.0072471 | 0.0018163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-184_0_4_load_33 | 5 | 0.0032577 | 0.00081646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-184_0_4_load_32 | 7 | 0.0036091 | 0.00090451 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-184_0_4_load_8 | 8 | 0.0089182 | 0.0022351 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-184_0_4_load_5 | 9 | 0.0066803 | 0.0016743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-184_0_4_load_9 | 11 | 0.013221 | 0.0033135 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-184_0_4_load_29 | 12 | 0.0075567 | 0.0018939 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-184_0_4_load_27 | 13 | 0.011233 | 0.0028151 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-184_0_4_load_10 | 14 | 0.0053034 | 0.0013292 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-184_0_4_load_11 | 15 | 0.0042977 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-184_0_4_load_12 | 16 | 0.0061232 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-184_0_4_load_13 | 17 | 0.0044521 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-184_0_4_load_14 | 18 | 0.0047892 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-184_0_4_load_15 | 20 | 0.0067682 | 0.0016963 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-184_0_4_load_16 | 21 | 0.0042014 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-184_0_4_load_19 | 22 | 0.0075054 | 0.001881 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-184_0_4_load_40 | 23 | 0.0041079 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-184_0_4_load_39 | 24 | 0.0051189 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-184_0_4_load_20 | 25 | 0.014646 | 0.0036705 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-184_0_4_load_21 | 26 | 0.010376 | 0.0026006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-184_0_4_load_22 | 27 | 0.013783 | 0.0034545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-184_0_4_load_23 | 28 | 0.0055019 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-184_0_4_load_25 | 30 | 0.0054873 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-184_0_4_load_30 | 31 | 0.014324 | 0.0035899 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-184_0_4_load_28 | 33 | 0.0067419 | 0.0016897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-184_0_4_load_36 | 34 | 0.0084355 | 0.0021141 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-184_0_4_load_41 | 35 | 0.0205 | 0.0051378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-184_0_4_load_26 | 37 | 0.015652 | 0.0039228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-184_0_4_load_35 | 38 | 0.007582 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-184_0_4_load_37 | 39 | 0.022882 | 0.0057347 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-184_0_4_load_34 | 40 | 0.0069871 | 0.0017511 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-184_0_4_line_0 |  | 0 | 1 | 0.0018232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-184_0_4_line_1 |  | 0 | 2 | 0.022932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-184_0_4_line_2 |  | 1 | 3 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-184_0_4_line_3 |  | 2 | 4 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-184_0_4_line_4 |  | 3 | 5 | 0.00065847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-184_0_4_line_5 |  | 4 | 6 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-184_0_4_line_6 |  | 5 | 7 | 0.0077656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-184_0_4_line_7 |  | 6 | 8 | 0.029274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-184_0_4_line_8 |  | 6 | 9 | 0.021465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-184_0_4_line_9 |  | 7 | 18 | 0.0022254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-184_0_4_line_10 |  | 8 | 12 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2701-184_0_4_line_11 |  | 9 | 10 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-184_0_4_line_12 |  | 10 | 11 | 0.03309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-184_0_4_line_13 |  | 12 | 13 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-184_0_4_line_14 |  | 13 | 37 | 0.0065601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2701-184_0_4_line_15 |  | 14 | 15 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-184_0_4_line_16 |  | 14 | 16 | 0.0036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-184_0_4_line_17 |  | 15 | 17 | 0.0095882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-184_0_4_line_18 |  | 16 | 18 | 0.0072873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-184_0_4_line_19 |  | 17 | 19 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-184_0_4_line_20 |  | 19 | 20 | 0.043482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-184_0_4_line_21 |  | 20 | 21 | 0.034352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-184_0_4_line_22 |  | 22 | 23 | 0.011857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-184_0_4_line_23 |  | 23 | 24 | 0.0087201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-184_0_4_line_24 |  | 24 | 36 | 0.0036982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-184_0_4_line_25 |  | 25 | 26 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-184_0_4_line_26 |  | 25 | 27 | 0.00025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-184_0_4_line_27 |  | 26 | 28 | 0.0054416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-184_0_4_line_28 |  | 27 | 29 | 0.0045711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-184_0_4_line_29 |  | 28 | 30 | 0.008412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2701-184_0_4_line_30 |  | 29 | 31 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-184_0_4_line_31 |  | 29 | 32 | 0.030016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-184_0_4_line_32 |  | 30 | 33 | 0.0090226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2701-184_0_4_line_33 |  | 31 | 34 | 0.0008761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-184_0_4_line_34 |  | 32 | 35 | 0.00762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-184_0_4_line_35 |  | 32 | 36 | 0.04459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-184_0_4_line_36 |  | 33 | 37 | 0.0043568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2701-184_0_4_line_37 |  | 34 | 38 | 0.0012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-184_0_4_line_38 |  | 36 | 39 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-184_0_4_line_39 |  | 38 | 40 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-184_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 41 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610675.65 | 1266905.1319 | 2610674.3811 | 1266906.4411
1 | 2610675.65 | 1266905.1319 | 2610691.6102 | 1266888.6653
2 | 2610662.5556 | 1266918.6418 | 2610674.3811 | 1266906.4411
3 | 2610698.5766 | 1266881.4779 | 2610691.6102 | 1266888.6653
4 | 2610662.5556 | 1266918.6418 | 2610662.0973 | 1266919.1146
5 | 2610712.5439 | 1266869.604 | 2610703.71 | 1266876.1815 | 2610698.5766 | 1266881.4779
6 | 2610662.0973 | 1266919.1146 | 2610656.6926 | 1266924.6908
7 | 2610712.5439 | 1266869.604 | 2610720.3895 | 1266880.926 | 2610727.3184 | 1266891.3791 | 2610728.9534 | 1266893.845
8 | 2610712.5439 | 1266869.604 | 2610700.855 | 1266851.601
9 | 2610655.1438 | 1266926.2889 | 2610656.6926 | 1266924.6908
10 | 2610728.9534 | 1266893.845 | 2610735.1925 | 1266903.2543
11 | 2610688.2227 | 1266832.1452 | 2610700.855 | 1266851.601
12 | 2610688.2227 | 1266832.1452 | 2610660.4293 | 1266850.2301
13 | 2610741.4456 | 1266912.6849 | 2610735.1925 | 1266903.2543
14 | 2610741.4456 | 1266912.6849 | 2610745.0709 | 1266918.1523
15 | 2610647.5135 | 1266934.1613 | 2610640.4069 | 1266941.4933
16 | 2610650.072 | 1266931.5216 | 2610647.5135 | 1266934.1613
17 | 2610633.7338 | 1266948.3782 | 2610640.4069 | 1266941.4933
18 | 2610655.1438 | 1266926.2889 | 2610650.072 | 1266931.5216
19 | 2610621.7218 | 1266960.7714 | 2610633.7338 | 1266948.3782
20 | 2610621.7218 | 1266960.7714 | 2610651.9163 | 1266992.0593
21 | 2610651.9163 | 1266992.0593 | 2610675.7712 | 1267016.7781
22 | 2610743.3141 | 1267022.1177 | 2610753.3682 | 1267015.8326
23 | 2610753.3682 | 1267015.8326 | 2610760.7624 | 1267011.2101
24 | 2610763.8983 | 1267009.2498 | 2610760.7624 | 1267011.2101
25 | 2610768.4248 | 1266953.3732 | 2610760.1205 | 1266940.8491
26 | 2610768.4248 | 1266953.3732 | 2610768.5643 | 1266953.5836
27 | 2610757.1133 | 1266936.3139 | 2610760.1205 | 1266940.8491
28 | 2610771.0904 | 1266957.3933 | 2610768.5643 | 1266953.5836
29 | 2610757.1133 | 1266936.3139 | 2610752.4647 | 1266929.3031
30 | 2610771.0904 | 1266957.3933 | 2610763.4563 | 1266962.3718 | 2610757.8486 | 1266966.0318
31 | 2610787.6952 | 1266982.4297 | 2610785.7584 | 1266979.5131 | 2610771.0904 | 1266957.3933
32 | 2610752.4647 | 1266929.3031 | 2610747.4786 | 1266921.7834
33 | 2610757.1149 | 1266966.5106 | 2610757.8486 | 1266966.0318
34 | 2610787.6952 | 1266982.4297 | 2610781.3421 | 1266986.6656
35 | 2610763.8983 | 1267009.2498 | 2610785.0589 | 1266995.8454 | 2610793.1825 | 1266990.701 | 2610791.9064 | 1266988.7751 | 2610787.6952 | 1266982.4297
36 | 2610747.4786 | 1266921.7834 | 2610745.0709 | 1266918.1523
37 | 2610757.1149 | 1266966.5106 | 2610756.0956 | 1266967.1759
38 | 2610763.8983 | 1267009.2498 | 2610762.5086 | 1267007.6684 | 2610749.2754 | 1266992.5841
39 | 2610750.8479 | 1266978.3885 | 2610747.4496 | 1266972.8279 | 2610751.7 | 1266970.0448 | 2610756.0956 | 1266967.1759

## bus_geodata
| x | y | coords
0 | 2610675.65 | 1266905.1319
1 | 2610674.3811 | 1266906.4411
2 | 2610691.6102 | 1266888.6653
3 | 2610662.5556 | 1266918.6418
4 | 2610698.5766 | 1266881.4779
5 | 2610662.0973 | 1266919.1146
6 | 2610712.5439 | 1266869.604
7 | 2610656.6926 | 1266924.6908
8 | 2610728.9534 | 1266893.845
9 | 2610700.855 | 1266851.601
10 | 2610688.2227 | 1266832.1452
11 | 2610660.4293 | 1266850.2301
12 | 2610735.1925 | 1266903.2543
13 | 2610741.4456 | 1266912.6849
14 | 2610647.5135 | 1266934.1613
15 | 2610640.4069 | 1266941.4933
16 | 2610650.072 | 1266931.5216
17 | 2610633.7338 | 1266948.3782
18 | 2610655.1438 | 1266926.2889
19 | 2610621.7218 | 1266960.7714
20 | 2610651.9163 | 1266992.0593
21 | 2610675.7712 | 1267016.7781
22 | 2610743.3141 | 1267022.1177
23 | 2610753.3682 | 1267015.8326
24 | 2610760.7624 | 1267011.2101
25 | 2610768.4248 | 1266953.3732
26 | 2610760.1205 | 1266940.8491
27 | 2610768.5643 | 1266953.5836
28 | 2610757.1133 | 1266936.3139
29 | 2610771.0904 | 1266957.3933
30 | 2610752.4647 | 1266929.3031
31 | 2610757.8486 | 1266966.0318
32 | 2610787.6952 | 1266982.4297
33 | 2610747.4786 | 1266921.7834
34 | 2610757.1149 | 1266966.5106
35 | 2610781.3421 | 1266986.6656
36 | 2610763.8983 | 1267009.2498
37 | 2610745.0709 | 1266918.1523
38 | 2610756.0956 | 1266967.1759
39 | 2610749.2754 | 1266992.5841
40 | 2610750.8479 | 1266978.3885
41 | 2610771.0904 | 1266957.3933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99106 | -0.17179 | 0.027914 | 0.006996
1 | 0.99097 | -0.1736 | 0.0072108 | 0.0018072
2 | 0.99282 | -0.13776 | 0.032252 | 0.0080832
3 | 0.99021 | -0.18828 | 0.0058502 | 0.0014662
4 | 0.99389 | -0.11724 | 0.0072471 | 0.0018163
5 | 0.99019 | -0.18878 | 0.0032577 | 0.00081646
6 | 0.99596 | -0.077323 | 0 | 0
7 | 0.9899 | -0.19424 | 0.0036091 | 0.00090451
8 | 0.99788 | -0.040567 | 0.0089182 | 0.0022351
9 | 0.99557 | -0.084832 | 0.0066803 | 0.0016743
10 | 0.99529 | -0.090228 | 0 | 0
11 | 0.99489 | -0.097928 | 0.013221 | 0.0033135
12 | 0.99866 | -0.025549 | 0.0075567 | 0.0018939
13 | 0.99949 | -0.0097752 | 0.011233 | 0.0028151
14 | 0.98954 | -0.20134 | 0.0053034 | 0.0013292
15 | 0.98935 | -0.20493 | 0.0042977 | 0.0010771
16 | 0.98962 | -0.19971 | 0.0061232 | 0.0015346
17 | 0.98922 | -0.20756 | 0.0044521 | 0.0011158
18 | 0.98983 | -0.19567 | 0.0047892 | 0.0012003
19 | 0.98905 | -0.21094 | 0 | 0
20 | 0.98861 | -0.21944 | 0.0067682 | 0.0016963
21 | 0.98848 | -0.22202 | 0.0042014 | 0.001053
22 | 0.99222 | -0.14976 | 0.0075054 | 0.001881
23 | 0.9923 | -0.14819 | 0.0041079 | 0.0010295
24 | 0.99239 | -0.14639 | 0.0051189 | 0.0012829
25 | 0.99614 | -0.073993 | 0.014646 | 0.0036705
26 | 0.99787 | -0.040826 | 0.010376 | 0.0026006
27 | 0.99612 | -0.074487 | 0.013783 | 0.0034545
28 | 0.99854 | -0.027857 | 0.0055019 | 0.0013789
29 | 0.99571 | -0.082314 | 0 | 0
30 | 0.99909 | -0.01744 | 0.0054873 | 0.0013753
31 | 0.99517 | -0.092695 | 0.014324 | 0.0035899
32 | 0.99406 | -0.11409 | 0 | 0
33 | 0.99969 | -0.0058484 | 0.0067419 | 0.0016897
34 | 0.99516 | -0.09305 | 0.0084355 | 0.0021141
35 | 0.99392 | -0.11685 | 0.0205 | 0.0051378
36 | 0.99245 | -0.1453 | 0 | 0
37 | 1 | 0 | -0.32836 | -0.082592
38 | 0.99514 | -0.093362 | 0.007582 | 0.0019002
39 | 0.99199 | -0.15428 | 0.022882 | 0.0057347
40 | 0.99503 | -0.095434 | 0.0069871 | 0.0017511
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055936 | 0.014045 | -0.055931 | -0.014042 | 4.8233e-06 | 3.0634e-06 | 0.083993 | 0.083993 | 0.083993 | 0.99106 | -0.17179 | 0.99097 | -0.1736 | 23.075
1 | -0.08385 | -0.021041 | 0.083986 | 0.021128 | 0.00013632 | 8.6949e-05 | 0.1259 | 0.1259 | 0.1259 | 0.99106 | -0.17179 | 0.99282 | -0.13776 | 34.5892
2 | 0.04872 | 0.012235 | -0.048686 | -0.012213 | 3.4109e-05 | 2.1611e-05 | 0.073165 | 0.073165 | 0.073165 | 0.99097 | -0.1736 | 0.99021 | -0.18828 | 20.1004
3 | -0.11624 | -0.029211 | 0.11635 | 0.029284 | 0.00011396 | 7.2805e-05 | 0.17424 | 0.17424 | 0.17424 | 0.99282 | -0.13776 | 0.99389 | -0.11724 | 47.8691
4 | 0.042836 | 0.010747 | -0.042835 | -0.010746 | 1.0233e-06 | 6.4642e-07 | 0.064374 | 0.064374 | 0.064374 | 0.99021 | -0.18828 | 0.99019 | -0.18878 | 17.6852
5 | -0.1236 | -0.0311 | 0.12384 | 0.031251 | 0.00023626 | 0.00015097 | 0.18509 | 0.18509 | 0.18509 | 0.99389 | -0.11724 | 0.99596 | -0.077323 | 50.8499
6 | 0.039577 | 0.0099299 | -0.039567 | -0.0099234 | 1.0302e-05 | 6.4936e-06 | 0.059479 | 0.059479 | 0.059479 | 0.99019 | -0.18878 | 0.9899 | -0.19424 | 16.3403
7 | -0.14375 | -0.036248 | 0.14401 | 0.036409 | 0.00025338 | 0.0001614 | 0.21485 | 0.21485 | 0.21485 | 0.99596 | -0.077323 | 0.99788 | -0.040567 | 29.5126
8 | 0.019917 | 0.0049966 | -0.01991 | -0.0049923 | 7.1282e-06 | 4.2828e-06 | 0.029758 | 0.029759 | 0.029759 | 0.99596 | -0.077323 | 0.99557 | -0.084832 | 8.1754
9 | 0.035958 | 0.0090189 | -0.035955 | -0.0090174 | 2.4384e-06 | 1.5319e-06 | 0.054054 | 0.054054 | 0.054054 | 0.9899 | -0.19424 | 0.98983 | -0.19567 | 14.8499
10 | -0.15292 | -0.038644 | 0.15303 | 0.038715 | 0.00011019 | 7.0225e-05 | 0.22815 | 0.22815 | 0.22815 | 0.99788 | -0.040567 | 0.99866 | -0.025549 | 31.3393
11 | 0.013229 | 0.0033181 | -0.013226 | -0.0033162 | 3.4013e-06 | 1.8753e-06 | 0.019774 | 0.019774 | 0.019774 | 0.99557 | -0.084832 | 0.99529 | -0.090228 | 5.4324
12 | 0.013226 | 0.0033162 | -0.013221 | -0.0033135 | 4.852e-06 | 2.6754e-06 | 0.019774 | 0.019774 | 0.019774 | 0.99529 | -0.090228 | 0.99489 | -0.097928 | 5.4324
13 | -0.16059 | -0.040609 | 0.16071 | 0.040686 | 0.00012161 | 7.7531e-05 | 0.23941 | 0.23941 | 0.23941 | 0.99866 | -0.025549 | 0.99949 | -0.0097752 | 32.886
14 | -0.17195 | -0.043501 | 0.17203 | 0.043553 | 8.0694e-05 | 5.1472e-05 | 0.25613 | 0.25613 | 0.25613 | 0.99949 | -0.0097752 | 1 | 0 | 35.183
15 | 0.019731 | 0.0049484 | -0.019728 | -0.0049463 | 3.3713e-06 | 2.0265e-06 | 0.029672 | 0.029672 | 0.029672 | 0.98954 | -0.20134 | 0.98935 | -0.20493 | 8.1517
16 | -0.025035 | -0.0062775 | 0.025037 | 0.0062787 | 1.9538e-06 | 1.2032e-06 | 0.037647 | 0.037647 | 0.037647 | 0.98954 | -0.20134 | 0.98962 | -0.19971 | 10.3426
17 | 0.01543 | 0.0038693 | -0.015428 | -0.0038681 | 1.9367e-06 | 1.1164e-06 | 0.023208 | 0.023209 | 0.023209 | 0.98935 | -0.20493 | 0.98922 | -0.20756 | 6.376
18 | -0.03116 | -0.0078133 | 0.031166 | 0.0078171 | 5.9991e-06 | 3.7458e-06 | 0.046854 | 0.046854 | 0.046854 | 0.98962 | -0.19971 | 0.98983 | -0.19567 | 12.872
19 | 0.010976 | 0.0027523 | -0.010975 | -0.0027514 | 1.7645e-06 | 9.0775e-07 | 0.016511 | 0.016512 | 0.016512 | 0.98922 | -0.20756 | 0.98905 | -0.21094 | 4.5361
20 | 0.010975 | 0.0027514 | -0.01097 | -0.0027491 | 4.4455e-06 | 2.2873e-06 | 0.016512 | 0.016512 | 0.016512 | 0.98905 | -0.21094 | 0.98861 | -0.21944 | 4.5362
21 | 0.0042019 | 0.0010529 | -0.0042014 | -0.001053 | 5.1529e-07 | -1.1062e-07 | 0.0063245 | 0.0063247 | 0.0063247 | 0.98861 | -0.21944 | 0.98848 | -0.22202 | 1.7376
22 | -0.0075054 | -0.001881 | 0.0075059 | 0.0018812 | 5.6331e-07 | 2.0736e-07 | 0.011256 | 0.011256 | 0.011256 | 0.99222 | -0.14976 | 0.9923 | -0.14819 | 3.0922
23 | -0.011614 | -0.0029108 | 0.011615 | 0.0029113 | 9.9182e-07 | 5.2211e-07 | 0.017416 | 0.017416 | 0.017416 | 0.9923 | -0.14819 | 0.99239 | -0.14639 | 4.7845
24 | -0.016734 | -0.0041942 | 0.016735 | 0.0041947 | 8.7309e-07 | 5.1099e-07 | 0.025091 | 0.025091 | 0.025091 | 0.99239 | -0.14639 | 0.99245 | -0.1453 | 6.8931
25 | -0.1261 | -0.031688 | 0.1263 | 0.031816 | 0.00019999 | 0.0001278 | 0.18839 | 0.18839 | 0.18839 | 0.99614 | -0.073993 | 0.99787 | -0.040826 | 51.7553
26 | 0.11145 | 0.028017 | -0.11145 | -0.028016 | 2.6253e-06 | 1.6769e-06 | 0.16651 | 0.16651 | 0.16651 | 0.99614 | -0.073993 | 0.99612 | -0.074487 | 45.745
27 | -0.13667 | -0.034416 | 0.13676 | 0.03447 | 8.4806e-05 | 5.4205e-05 | 0.20386 | 0.20386 | 0.20386 | 0.99787 | -0.040826 | 0.99854 | -0.027857 | 56.0061
28 | 0.097664 | 0.024561 | -0.097628 | -0.024538 | 3.65e-05 | 2.33e-05 | 0.14592 | 0.14592 | 0.14592 | 0.99612 | -0.074487 | 0.99571 | -0.082314 | 40.0885
29 | -0.14226 | -0.035849 | 0.14233 | 0.035894 | 7.0929e-05 | 4.5174e-05 | 0.21206 | 0.21206 | 0.21206 | 0.99854 | -0.027857 | 0.99909 | -0.01744 | 29.1293
30 | 0.037348 | 0.0093676 | -0.03733 | -0.009356 | 1.8472e-05 | 1.1616e-05 | 0.055817 | 0.055817 | 0.055817 | 0.99571 | -0.082314 | 0.99517 | -0.092695 | 15.3343
31 | 0.060279 | 0.01517 | -0.060188 | -0.015112 | 9.1387e-05 | 5.8098e-05 | 0.090105 | 0.090105 | 0.090105 | 0.99571 | -0.082314 | 0.99406 | -0.11409 | 24.7542
32 | -0.14782 | -0.03727 | 0.1479 | 0.037322 | 8.2054e-05 | 5.2278e-05 | 0.22023 | 0.22023 | 0.22023 | 0.99909 | -0.01744 | 0.99969 | -0.0058484 | 30.2519
33 | 0.023006 | 0.0057661 | -0.023006 | -0.0057658 | 3.8876e-07 | 2.3743e-07 | 0.034399 | 0.034399 | 0.034399 | 0.99517 | -0.092695 | 0.99516 | -0.09305 | 9.4503
34 | 0.020503 | 0.0051395 | -0.0205 | -0.0051378 | 2.6916e-06 | 1.6239e-06 | 0.030691 | 0.030691 | 0.030691 | 0.99406 | -0.11409 | 0.99392 | -0.11685 | 8.4316
35 | 0.039685 | 0.0099726 | -0.039626 | -0.0099354 | 5.9027e-05 | 3.72e-05 | 0.059414 | 0.059414 | 0.059414 | 0.99406 | -0.11409 | 0.99245 | -0.1453 | 16.3226
36 | -0.15464 | -0.039012 | 0.15468 | 0.039039 | 4.3315e-05 | 2.7607e-05 | 0.23027 | 0.23027 | 0.23027 | 0.99969 | -0.0058484 | 1 | 0 | 31.6303
37 | 0.01457 | 0.0036517 | -0.01457 | -0.0036516 | 2.1665e-07 | 1.2284e-07 | 0.021786 | 0.021786 | 0.021786 | 0.99516 | -0.09305 | 0.99514 | -0.093362 | 5.9852
38 | 0.022891 | 0.0057407 | -0.022882 | -0.0057347 | 9.795e-06 | 5.9825e-06 | 0.034323 | 0.034323 | 0.034323 | 0.99245 | -0.1453 | 0.99199 | -0.15428 | 9.4295
39 | 0.0069878 | 0.0017513 | -0.0069871 | -0.0017511 | 6.8971e-07 | 2.2257e-07 | 0.010449 | 0.010449 | 0.010449 | 0.99514 | -0.093362 | 0.99503 | -0.095434 | 2.8705

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34401 | 0.086515

## res_load
| p_mw | q_mvar
0 | 0.027914 | 0.006996
1 | 0.0072108 | 0.0018072
2 | 0.032252 | 0.0080832
3 | 0.0058502 | 0.0014662
4 | 0.0072471 | 0.0018163
5 | 0.0032577 | 0.00081646
6 | 0.0036091 | 0.00090451
7 | 0.0089182 | 0.0022351
8 | 0.0066803 | 0.0016743
9 | 0.013221 | 0.0033135
10 | 0.0075567 | 0.0018939
11 | 0.011233 | 0.0028151
12 | 0.0053034 | 0.0013292
13 | 0.0042977 | 0.0010771
14 | 0.0061232 | 0.0015346
15 | 0.0044521 | 0.0011158
16 | 0.0047892 | 0.0012003
17 | 0.0067682 | 0.0016963
18 | 0.0042014 | 0.001053
19 | 0.0075054 | 0.001881
20 | 0.0041079 | 0.0010295
21 | 0.0051189 | 0.0012829
22 | 0.014646 | 0.0036705
23 | 0.010376 | 0.0026006
24 | 0.013783 | 0.0034545
25 | 0.0055019 | 0.0013789
26 | 0.0054873 | 0.0013753
27 | 0.014324 | 0.0035899
28 | 0.0067419 | 0.0016897
29 | 0.0084355 | 0.0021141
30 | 0.0205 | 0.0051378
31 | 0.015652 | 0.0039228
32 | 0.007582 | 0.0019002
33 | 0.022882 | 0.0057347
34 | 0.0069871 | 0.0017511

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1