## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-189_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-189_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-189_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-189_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-189_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-189_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2701-189_0_6_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_2701-189_0_6_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_2701-189_0_6_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2701-189_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_2701-189_0_6_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_2701-189_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-189_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2701-189_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-189_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2701-189_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2701-189_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_2701-189_0_6_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2701-189_0_6_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2701-189_0_6_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_2701-189_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2701-189_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2701-189_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-189_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-189_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2701-189_0_6_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_2701-189_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_2701-189_0_6_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_2701-189_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2701-189_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2701-189_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-189_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2701-189_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2701-189_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_2701-189_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_2701-189_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2701-189_0_6_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2701-189_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2701-189_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2701-189_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2701-189_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2701-189_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2701-189_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2701-189_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2701-189_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2701-189_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_2701-189_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2701-189_0_6_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2701-189_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_2701-189_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2701-189_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_2701-189_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_2701-189_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_2701-189_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2701-189_0_6_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_2701-189_0_6_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_2701-189_0_6_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2701-189_0_6_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_2701-189_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2701-189_0_6_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_2701-189_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2701-189_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_MV_559_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-189_0_6_load_0 | 0 | 0.0006574 | 0.00016476 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-189_0_6_load_3 | 2 | 0.00086207 | 0.00021605 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-189_0_6_load_4 | 3 | 0.0043848 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-189_0_6_load_5 | 4 | 0.0031718 | 0.00079493 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-189_0_6_load_18 | 5 | 0.00058422 | 0.00014642 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-189_0_6_load_52 | 6 | 0.013389 | 0.0033557 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-189_0_6_load_63 | 7 | 0.0028514 | 0.00071462 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-189_0_6_load_17 | 8 | 0.00072904 | 0.00018271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-189_0_6_load_32 | 9 | 0.010112 | 0.0025343 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-189_0_6_load_62 | 10 | 0.0027814 | 0.00069709 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-189_0_6_load_7 | 11 | 0.0055356 | 0.0013873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-189_0_6_load_8 | 12 | 0.010699 | 0.0026813 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-189_0_6_load_9 | 13 | 0.0013445 | 0.00033697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-189_0_6_load_10 | 14 | 0.0090109 | 0.0022583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-189_0_6_load_11 | 15 | 0.00034475 | 8.6403e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-189_0_6_load_23 | 16 | 0.034132 | 0.0085544 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-189_0_6_load_47 | 17 | 0.00032235 | 8.0789e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-189_0_6_load_22 | 18 | 0.0157 | 0.0039347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-189_0_6_load_48 | 19 | 0.00096771 | 0.00024253 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-189_0_6_load_12 | 20 | 0.0064633 | 0.0016199 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-189_0_6_load_13 | 21 | 0.011785 | 0.0029537 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-189_0_6_load_14 | 22 | 0.0026747 | 0.00067034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-189_0_6_load_15 | 23 | 0.0027837 | 0.00069766 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-189_0_6_load_16 | 24 | 0.0027839 | 0.0006977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-189_0_6_load_44 | 25 | 0.006335 | 0.0015877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-189_0_6_load_30 | 26 | 0.03308 | 0.0082907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-189_0_6_load_45 | 27 | 0.0027837 | 0.00069766 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-189_0_6_load_29 | 28 | 0.0064241 | 0.00161 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-189_0_6_load_19 | 29 | 0.0030209 | 0.0007571 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-189_0_6_load_20 | 30 | 0.0071579 | 0.0017939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-189_0_6_load_21 | 31 | 0.0064363 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-189_0_6_load_26 | 32 | 0.029978 | 0.0075131 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-189_0_6_load_27 | 33 | 0.014847 | 0.0037211 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-189_0_6_load_24 | 34 | 0.0034041 | 0.00085316 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-189_0_6_load_25 | 35 | 0.022353 | 0.0056023 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-189_0_6_load_28 | 37 | 0.02971 | 0.0074461 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-189_0_6_load_31 | 38 | 0.0063214 | 0.0015843 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-189_0_6_load_33 | 39 | 0.0074048 | 0.0018558 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-189_0_6_load_34 | 40 | 0.005045 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-189_0_6_load_35 | 41 | 0.0082372 | 0.0020644 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-189_0_6_load_36 | 42 | 0.0049475 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-189_0_6_load_42 | 44 | 0.013191 | 0.0033059 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-189_0_6_load_59 | 45 | 0.010562 | 0.0026472 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-189_0_6_load_40 | 46 | 0.0054468 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-189_0_6_load_60 | 47 | 0.018394 | 0.0046099 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-189_0_6_load_39 | 48 | 0.049122 | 0.012311 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-189_0_6_load_41 | 49 | 0.0027837 | 0.00069766 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-189_0_6_load_43 | 50 | 0.0045003 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-189_0_6_load_50 | 51 | 0.0027835 | 0.00069761 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-189_0_6_load_51 | 52 | 0.011682 | 0.0029279 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-189_0_6_load_46 | 53 | 0.0027835 | 0.00069761 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-189_0_6_load_56 | 54 | 0.0036519 | 0.00091525 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-189_0_6_load_54 | 55 | 0.004829 | 0.0012103 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-189_0_6_load_58 | 56 | 0.0027814 | 0.00069709 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-189_0_6_load_57 | 57 | 0.0054328 | 0.0013616 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-189_0_6_load_53 | 58 | 0.0063391 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-189_0_6_load_55 | 59 | 0.0027814 | 0.00069709 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-189_0_6_load_61 | 60 | 0.002785 | 0.00069798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-189_0_6_load_65 | 61 | 0.017557 | 0.0044002 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-189_0_6_line_0 |  | 0 | 1 | 0.038864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-189_0_6_line_1 |  | 1 | 2 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2701-189_0_6_line_2 |  | 1 | 3 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-189_0_6_line_3 |  | 1 | 4 | 0.019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-189_0_6_line_4 |  | 2 | 5 | 0.008718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-189_0_6_line_5 |  | 3 | 6 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-189_0_6_line_6 |  | 4 | 7 | 0.028799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-189_0_6_line_7 |  | 5 | 8 | 0.0083485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2701-189_0_6_line_8 |  | 6 | 9 | 0.0044284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-189_0_6_line_9 |  | 7 | 10 | 1.5244e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-189_0_6_line_10 |  | 8 | 29 | 0.0039172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-189_0_6_line_11 |  | 9 | 38 | 0.0089536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-189_0_6_line_12 |  | 11 | 12 | 0.011416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-189_0_6_line_13 |  | 11 | 13 | 0.0040008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-189_0_6_line_14 |  | 12 | 14 | 0.0098813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-189_0_6_line_15 |  | 13 | 15 | 0.013633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-189_0_6_line_16 |  | 14 | 16 | 0.01691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-189_0_6_line_17 |  | 15 | 17 | 0.0069934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-189_0_6_line_18 |  | 16 | 18 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-189_0_6_line_19 |  | 17 | 19 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-189_0_6_line_20 |  | 18 | 34 | 0.0035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-189_0_6_line_21 |  | 20 | 21 | 0.004295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2701-189_0_6_line_22 |  | 20 | 22 | 0.00023509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-189_0_6_line_23 |  | 21 | 23 | 0.00080327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-189_0_6_line_24 |  | 22 | 24 | 0.00069619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2701-189_0_6_line_25 |  | 23 | 25 | 0.0038521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2701-189_0_6_line_26 |  | 24 | 26 | 0.00012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2701-189_0_6_line_27 |  | 25 | 27 | 0.0021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-189_0_6_line_28 |  | 26 | 28 | 0.0080398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-189_0_6_line_29 |  | 27 | 53 | 0.0060296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-189_0_6_line_30 |  | 28 | 38 | 9.6671e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2701-189_0_6_line_31 |  | 29 | 30 | 0.0044902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-189_0_6_line_32 |  | 30 | 31 | 0.00046698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-189_0_6_line_33 |  | 31 | 32 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-189_0_6_line_34 |  | 32 | 33 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2701-189_0_6_line_35 |  | 33 | 37 | 0.0072127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-189_0_6_line_36 |  | 34 | 35 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-189_0_6_line_37 |  | 35 | 36 | 0.0081693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-189_0_6_line_38 |  | 36 | 37 | 0.045803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-189_0_6_line_39 |  | 39 | 40 | 0.0019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-189_0_6_line_40 |  | 39 | 41 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-189_0_6_line_41 |  | 40 | 42 | 0.0078631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-189_0_6_line_42 |  | 41 | 43 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-189_0_6_line_43 |  | 42 | 44 | 0.0059001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-189_0_6_line_44 |  | 43 | 45 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-189_0_6_line_45 |  | 44 | 46 | 0.0035655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-189_0_6_line_46 |  | 45 | 47 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-189_0_6_line_47 |  | 46 | 48 | 0.0017426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-189_0_6_line_48 |  | 47 | 60 | 0.0042626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-189_0_6_line_49 |  | 48 | 49 | 0.001504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_2701-189_0_6_line_50 |  | 49 | 50 | 0.0057863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2701-189_0_6_line_51 |  | 50 | 51 | 0.00024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2701-189_0_6_line_52 |  | 51 | 52 | 0.004707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_2701-189_0_6_line_53 |  | 52 | 56 | 0.0013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2701-189_0_6_line_54 |  | 53 | 54 | 0.00057972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2701-189_0_6_line_55 |  | 54 | 55 | 4.3813e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2701-189_0_6_line_56 |  | 55 | 58 | 0.00016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2701-189_0_6_line_57 |  | 56 | 57 | 0.0020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2701-189_0_6_line_58 |  | 57 | 59 | 0.0039861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_2701-189_0_6_line_59 |  | 58 | 59 | 0.0052388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_2701-189_0_6_line_60 |  | 60 | 61 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-189_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 62 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2612077.2046 | 1268441.7892 | 2612041.4254 | 1268426.6161
1 | 2612077.2046 | 1268441.7892 | 2612078.2985 | 1268433.0964 | 2612080.1466 | 1268428.8029
2 | 2612077.2046 | 1268441.7892 | 2612095.7528 | 1268449.8721
3 | 2612077.2046 | 1268441.7892 | 2612076.4177 | 1268451.3054 | 2612072.4235 | 1268460.7407
4 | 2612083.5935 | 1268420.7952 | 2612080.1466 | 1268428.8029
5 | 2612095.7528 | 1268449.8721 | 2612108.1733 | 1268455.2847
6 | 2612061.1966 | 1268487.2608 | 2612072.4235 | 1268460.7407
7 | 2612086.8943 | 1268413.1269 | 2612083.5935 | 1268420.7952
8 | 2612108.1733 | 1268455.2847 | 2612112.233 | 1268457.0538
9 | 2612061.1907 | 1268487.2749 | 2612061.1966 | 1268487.2608
10 | 2612086.8943 | 1268413.1269 | 2612088.443 | 1268409.5289
11 | 2612120.4411 | 1268460.6307 | 2612112.233 | 1268457.0538
12 | 2612206.4214 | 1268367.5468 | 2612195.9394 | 1268363.0241
13 | 2612206.4214 | 1268367.5468 | 2612210.0949 | 1268369.1318
14 | 2612186.8666 | 1268359.1094 | 2612195.9394 | 1268363.0241
15 | 2612222.6125 | 1268374.5329 | 2612210.0949 | 1268369.1318
16 | 2612171.3407 | 1268352.4103 | 2612186.8666 | 1268359.1094
17 | 2612222.6125 | 1268374.5329 | 2612229.0337 | 1268377.3035
18 | 2612171.3407 | 1268352.4103 | 2612155.3705 | 1268345.5195
19 | 2612229.0337 | 1268377.3035 | 2612239.113 | 1268381.6525
20 | 2612152.0808 | 1268344.1001 | 2612155.3705 | 1268345.5195
21 | 2612128.8652 | 1268464.3018 | 2612132.8025 | 1268466.0176
22 | 2612128.8652 | 1268464.3018 | 2612128.6497 | 1268464.2078
23 | 2612133.5389 | 1268466.3385 | 2612132.8025 | 1268466.0176
24 | 2612128.6497 | 1268464.2078 | 2612128.0114 | 1268463.9297
25 | 2612137.0703 | 1268467.8774 | 2612133.5389 | 1268466.3385
26 | 2612128.0114 | 1268463.9297 | 2612127.9001 | 1268463.8812
27 | 2612137.0703 | 1268467.8774 | 2612139.0666 | 1268468.7473
28 | 2612127.9001 | 1268463.8812 | 2612120.5298 | 1268460.6694
29 | 2612139.0666 | 1268468.7473 | 2612144.5942 | 1268471.1561
30 | 2612120.5298 | 1268460.6694 | 2612120.4411 | 1268460.6307
31 | 2612090.2183 | 1268405.4045 | 2612088.443 | 1268409.5289
32 | 2612090.403 | 1268404.9756 | 2612090.2183 | 1268405.4045
33 | 2612090.403 | 1268404.9756 | 2612096.0219 | 1268391.9218
34 | 2612103.8229 | 1268373.7988 | 2612096.0219 | 1268391.9218
35 | 2612106.6747 | 1268367.1738 | 2612103.8229 | 1268373.7988
36 | 2612136.2936 | 1268337.2883 | 2612152.0808 | 1268344.1001
37 | 2612128.7927 | 1268334.0519 | 2612136.2936 | 1268337.2883
38 | 2612128.7927 | 1268334.0519 | 2612121.9191 | 1268331.7584 | 2612106.6747 | 1268367.1738
39 | 2612185.5683 | 1268489.0118 | 2612187.3545 | 1268489.7901
40 | 2612198.8947 | 1268494.8191 | 2612187.3545 | 1268489.7901
41 | 2612178.3599 | 1268485.8705 | 2612185.5683 | 1268489.0118
42 | 2612218.4563 | 1268503.3436 | 2612198.8947 | 1268494.8191
43 | 2612178.3599 | 1268485.8705 | 2612172.9511 | 1268483.5134
44 | 2612218.4563 | 1268503.3436 | 2612215.1874 | 1268508.4405 | 2612202.7597 | 1268527.2095
45 | 2612169.6825 | 1268482.0891 | 2612172.9511 | 1268483.5134
46 | 2612202.7597 | 1268527.2095 | 2612192.5792 | 1268542.5848
47 | 2612168.085 | 1268481.3929 | 2612169.6825 | 1268482.0891
48 | 2612190.5702 | 1268546.3443 | 2612192.5792 | 1268542.5848 | 2612192.5792 | 1268542.5848
49 | 2612168.085 | 1268481.3929 | 2612166.7062 | 1268480.792
50 | 2612161.4016 | 1268478.4804 | 2612166.7062 | 1268480.792
51 | 2612161.4016 | 1268478.4804 | 2612161.1786 | 1268478.3832
52 | 2612156.8635 | 1268476.5028 | 2612161.1786 | 1268478.3832
53 | 2612156.8635 | 1268476.5028 | 2612155.6502 | 1268475.9741
54 | 2612145.1257 | 1268471.3877 | 2612144.5942 | 1268471.1561
55 | 2612145.1658 | 1268471.4052 | 2612145.1257 | 1268471.3877
56 | 2612145.32 | 1268471.4724 | 2612145.1658 | 1268471.4052
57 | 2612153.7768 | 1268475.1577 | 2612155.6502 | 1268475.9741
58 | 2612153.7768 | 1268475.1577 | 2612150.1225 | 1268473.5653
59 | 2612145.32 | 1268471.4724 | 2612150.1225 | 1268473.5653
60 | 2612190.5702 | 1268546.3443 | 2612184.4659 | 1268557.7677 | 2612183.9864 | 1268559.1742

## bus_geodata
| x | y | coords
0 | 2612041.4254 | 1268426.6161
1 | 2612077.2046 | 1268441.7892
2 | 2612080.1466 | 1268428.8029
3 | 2612095.7528 | 1268449.8721
4 | 2612072.4235 | 1268460.7407
5 | 2612083.5935 | 1268420.7952
6 | 2612108.1733 | 1268455.2847
7 | 2612061.1966 | 1268487.2608
8 | 2612086.8943 | 1268413.1269
9 | 2612112.233 | 1268457.0538
10 | 2612061.1907 | 1268487.2749
11 | 2612206.4214 | 1268367.5468
12 | 2612195.9394 | 1268363.0241
13 | 2612210.0949 | 1268369.1318
14 | 2612186.8666 | 1268359.1094
15 | 2612222.6125 | 1268374.5329
16 | 2612171.3407 | 1268352.4103
17 | 2612229.0337 | 1268377.3035
18 | 2612155.3705 | 1268345.5195
19 | 2612239.113 | 1268381.6525
20 | 2612128.8652 | 1268464.3018
21 | 2612132.8025 | 1268466.0176
22 | 2612128.6497 | 1268464.2078
23 | 2612133.5389 | 1268466.3385
24 | 2612128.0114 | 1268463.9297
25 | 2612137.0703 | 1268467.8774
26 | 2612127.9001 | 1268463.8812
27 | 2612139.0666 | 1268468.7473
28 | 2612120.5298 | 1268460.6694
29 | 2612088.443 | 1268409.5289
30 | 2612090.2183 | 1268405.4045
31 | 2612090.403 | 1268404.9756
32 | 2612096.0219 | 1268391.9218
33 | 2612103.8229 | 1268373.7988
34 | 2612152.0808 | 1268344.1001
35 | 2612136.2936 | 1268337.2883
36 | 2612128.7927 | 1268334.0519
37 | 2612106.6747 | 1268367.1738
38 | 2612120.4411 | 1268460.6307
39 | 2612187.3545 | 1268489.7901
40 | 2612185.5683 | 1268489.0118
41 | 2612198.8947 | 1268494.8191
42 | 2612178.3599 | 1268485.8705
43 | 2612218.4563 | 1268503.3436
44 | 2612172.9511 | 1268483.5134
45 | 2612202.7597 | 1268527.2095
46 | 2612169.6825 | 1268482.0891
47 | 2612192.5792 | 1268542.5848
48 | 2612168.085 | 1268481.3929
49 | 2612166.7062 | 1268480.792
50 | 2612161.4016 | 1268478.4804
51 | 2612161.1786 | 1268478.3832
52 | 2612156.8635 | 1268476.5028
53 | 2612144.5942 | 1268471.1561
54 | 2612145.1257 | 1268471.3877
55 | 2612145.1658 | 1268471.4052
56 | 2612155.6502 | 1268475.9741
57 | 2612153.7768 | 1268475.1577
58 | 2612145.32 | 1268471.4724
59 | 2612150.1225 | 1268473.5653
60 | 2612190.5702 | 1268546.3443
61 | 2612183.9864 | 1268559.1742
62 | 2612077.2046 | 1268441.7892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99571 | -0.081794 | 0.0006574 | 0.00016476
1 | 0.99573 | -0.081345 | 0 | 0
2 | 0.99492 | -0.096879 | 0.00086207 | 0.00021605
3 | 0.99701 | -0.05688 | 0.0043848 | 0.0010989
4 | 0.99558 | -0.08441 | 0.0031718 | 0.00079493
5 | 0.9944 | -0.10693 | 0.00058422 | 0.00014642
6 | 0.99789 | -0.040186 | 0.013389 | 0.0033557
7 | 0.99543 | -0.087263 | 0.0028514 | 0.00071462
8 | 0.9939 | -0.11653 | 0.00072904 | 0.00018271
9 | 0.99819 | -0.03439 | 0.010112 | 0.0025343
10 | 0.99543 | -0.087263 | 0.0027814 | 0.00069709
11 | 0.98194 | -0.34825 | 0.0055356 | 0.0013873
12 | 0.98203 | -0.3465 | 0.010699 | 0.0026813
13 | 0.98193 | -0.34847 | 0.0013445 | 0.00033697
14 | 0.9822 | -0.34307 | 0.0090109 | 0.0022583
15 | 0.9819 | -0.34887 | 0.00034475 | 8.6403e-05
16 | 0.98264 | -0.33445 | 0.034132 | 0.0085544
17 | 0.9819 | -0.34904 | 0.00032235 | 8.0789e-05
18 | 0.98364 | -0.31489 | 0.0157 | 0.0039347
19 | 0.98189 | -0.34923 | 0.00096771 | 0.00024253
20 | 0.99954 | -0.0087155 | 0.0064633 | 0.0016199
21 | 0.99993 | -0.001419 | 0.011785 | 0.0029537
22 | 0.99952 | -0.0091063 | 0.0026747 | 0.00067034
23 | 1 | 0 | -0.51087 | -0.1288
24 | 0.99946 | -0.010253 | 0.0027839 | 0.0006977
25 | 0.99976 | -0.0045255 | 0.006335 | 0.0015877
26 | 0.99945 | -0.010451 | 0.03308 | 0.0082907
27 | 0.99963 | -0.0070047 | 0.0027837 | 0.00069766
28 | 0.99884 | -0.022019 | 0.0064241 | 0.00161
29 | 0.99366 | -0.12103 | 0.0030209 | 0.0007571
30 | 0.9934 | -0.1261 | 0.0071579 | 0.0017939
31 | 0.99337 | -0.12661 | 0.0064363 | 0.0016131
32 | 0.9926 | -0.14154 | 0.029978 | 0.0075131
33 | 0.99125 | -0.16747 | 0.014847 | 0.0037211
34 | 0.9839 | -0.30985 | 0.0034041 | 0.00085316
35 | 0.98519 | -0.28467 | 0.022353 | 0.0056023
36 | 0.98598 | -0.26945 | 0 | 0
37 | 0.99036 | -0.18457 | 0.02971 | 0.0074461
38 | 0.99884 | -0.022155 | 0.0063214 | 0.0015843
39 | 0.99654 | -0.066421 | 0.0074048 | 0.0018558
40 | 0.99666 | -0.064201 | 0.005045 | 0.0012644
41 | 0.99588 | -0.079142 | 0.0082372 | 0.0020644
42 | 0.99716 | -0.054549 | 0.0049475 | 0.00124
43 | 0.99492 | -0.097648 | 0 | 0
44 | 0.99756 | -0.046802 | 0.013191 | 0.0033059
45 | 0.99363 | -0.12248 | 0.010562 | 0.0026472
46 | 0.99785 | -0.041301 | 0.0054468 | 0.0013651
47 | 0.99298 | -0.13509 | 0.018394 | 0.0046099
48 | 0.998 | -0.038447 | 0.049122 | 0.012311
49 | 0.99809 | -0.036569 | 0.0027837 | 0.00069766
50 | 0.99835 | -0.031661 | 0.0045003 | 0.0011279
51 | 0.99836 | -0.031448 | 0.0027835 | 0.00069761
52 | 0.99858 | -0.027258 | 0.011682 | 0.0029279
53 | 0.99928 | -0.013775 | 0.0027835 | 0.00069761
54 | 0.99925 | -0.014416 | 0.0036519 | 0.00091525
55 | 0.99925 | -0.014464 | 0.004829 | 0.0012103
56 | 0.99865 | -0.02599 | 0.0027814 | 0.00069709
57 | 0.99875 | -0.023999 | 0.0054328 | 0.0013616
58 | 0.99924 | -0.014642 | 0.0063391 | 0.0015887
59 | 0.99896 | -0.019991 | 0.0027814 | 0.00069709
60 | 0.9929 | -0.13663 | 0.002785 | 0.00069798
61 | 0.99267 | -0.14111 | 0.017557 | 0.0044002
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0006574 | -0.00016476 | 0.00065741 | 0.00016426 | 1.4064e-08 | -4.9651e-07 | 0.00098243 | 0.00098225 | 0.00098243 | 0.99571 | -0.081794 | 0.99573 | -0.081345 | 0.2699
1 | 0.19868 | 0.05039 | -0.19853 | -0.050296 | 0.00014826 | 9.4365e-05 | 0.29712 | 0.29712 | 0.29712 | 0.99573 | -0.081345 | 0.99492 | -0.096879 | 27.2088
2 | -0.20815 | -0.052762 | 0.20839 | 0.052918 | 0.00024503 | 0.00015603 | 0.31126 | 0.31126 | 0.31126 | 0.99573 | -0.081345 | 0.99701 | -0.05688 | 28.5039
3 | 0.0088066 | 0.0022073 | -0.0088054 | -0.0022068 | 1.2857e-06 | 5.654e-07 | 0.013161 | 0.013161 | 0.013161 | 0.99573 | -0.081345 | 0.99558 | -0.08441 | 3.6156
4 | 0.19767 | 0.05008 | -0.19758 | -0.050019 | 9.5371e-05 | 6.0698e-05 | 0.29583 | 0.29583 | 0.29583 | 0.99492 | -0.096879 | 0.9944 | -0.10693 | 27.0908
5 | -0.21278 | -0.054017 | 0.21295 | 0.054126 | 0.00017105 | 0.00010894 | 0.31781 | 0.31781 | 0.31781 | 0.99701 | -0.05688 | 0.99789 | -0.040186 | 29.1032
6 | 0.0056336 | 0.0014118 | -0.0056328 | -0.0014117 | 7.6567e-07 | 1.156e-07 | 0.0084201 | 0.0084202 | 0.0084202 | 0.99558 | -0.08441 | 0.99543 | -0.087263 | 2.3132
7 | 0.19699 | 0.049873 | -0.1969 | -0.049815 | 9.079e-05 | 5.7781e-05 | 0.29496 | 0.29496 | 0.29496 | 0.9944 | -0.10693 | 0.9939 | -0.11653 | 27.0107
8 | -0.22634 | -0.057482 | 0.2264 | 0.057522 | 6.3155e-05 | 4.0246e-05 | 0.33777 | 0.33777 | 0.33777 | 0.99789 | -0.040186 | 0.99819 | -0.03439 | 30.9315
9 | 0.0027814 | 0.00069709 | -0.0027814 | -0.00069709 | 9.8514e-11 | -1.3955e-10 | 0.0041578 | 0.0041578 | 0.0041578 | 0.99543 | -0.087263 | 0.99543 | -0.087263 | 1.1423
10 | 0.19617 | 0.049632 | -0.19613 | -0.049605 | 4.2285e-05 | 2.691e-05 | 0.29387 | 0.29387 | 0.29387 | 0.9939 | -0.11653 | 0.99366 | -0.12103 | 26.9108
11 | -0.23651 | -0.060056 | 0.23665 | 0.060145 | 0.00013934 | 8.8827e-05 | 0.35285 | 0.35285 | 0.35285 | 0.99819 | -0.03439 | 0.99884 | -0.022155 | 32.3119
12 | -0.008515 | -0.0021336 | 0.0085157 | 0.002134 | 7.1278e-07 | 3.1176e-07 | 0.012903 | 0.012903 | 0.012903 | 0.98194 | -0.34825 | 0.98203 | -0.3465 | 3.5449
13 | 0.0029794 | 0.0007463 | -0.0029794 | -0.00074633 | 3.0582e-08 | -3.1036e-08 | 0.0045148 | 0.0045149 | 0.0045149 | 0.98194 | -0.34825 | 0.98193 | -0.34847 | 1.2403
14 | -0.019214 | -0.0048153 | 0.019217 | 0.0048171 | 3.1409e-06 | 1.8852e-06 | 0.029114 | 0.029114 | 0.029114 | 0.98203 | -0.3465 | 0.9822 | -0.34307 | 7.9984
15 | 0.0016349 | 0.00040936 | -0.0016348 | -0.00040951 | 3.1377e-08 | -1.5237e-07 | 0.0024774 | 0.0024774 | 0.0024774 | 0.98193 | -0.34847 | 0.9819 | -0.34887 | 0.68061
16 | -0.028228 | -0.0070755 | 0.02824 | 0.0070827 | 1.1597e-05 | 7.208e-06 | 0.042766 | 0.042765 | 0.042766 | 0.9822 | -0.34307 | 0.98264 | -0.33445 | 11.7488
17 | 0.0012901 | 0.00032311 | -0.0012901 | -0.00032319 | 1.0023e-08 | -8.2042e-08 | 0.001955 | 0.001955 | 0.001955 | 0.9819 | -0.34887 | 0.9819 | -0.34904 | 0.53709
18 | -0.062372 | -0.015637 | 0.06243 | 0.015674 | 5.8189e-05 | 3.702e-05 | 0.094452 | 0.094452 | 0.094452 | 0.98264 | -0.33445 | 0.98364 | -0.31489 | 25.9484
19 | 0.00096772 | 0.0002424 | -0.00096771 | -0.00024253 | 8.8533e-09 | -1.3318e-07 | 0.0014665 | 0.0014665 | 0.0014665 | 0.9819 | -0.34904 | 0.98189 | -0.34923 | 0.40289
20 | -0.07813 | -0.019609 | 0.078149 | 0.019621 | 1.8772e-05 | 1.1968e-05 | 0.1182 | 0.1182 | 0.1182 | 0.98364 | -0.31489 | 0.9839 | -0.30985 | 32.4731
21 | -0.29456 | -0.074723 | 0.29467 | 0.074789 | 0.00010339 | 6.5999e-05 | 0.43883 | 0.43883 | 0.43883 | 0.99954 | -0.0087155 | 0.99993 | -0.001419 | 40.1861
22 | 0.2881 | 0.073103 | -0.28809 | -0.073099 | 5.4137e-06 | 3.4555e-06 | 0.42921 | 0.42921 | 0.42921 | 0.99954 | -0.0087155 | 0.99952 | -0.0091063 | 39.305
23 | -0.30645 | -0.077742 | 0.30647 | 0.077756 | 2.0912e-05 | 1.3352e-05 | 0.45637 | 0.45637 | 0.45637 | 0.99993 | -0.001419 | 1 | 0 | 41.7922
24 | 0.28542 | 0.072429 | -0.2854 | -0.072419 | 1.5736e-05 | 1.0043e-05 | 0.42523 | 0.42523 | 0.42523 | 0.99952 | -0.0091063 | 0.99946 | -0.010253 | 38.9404
25 | 0.20275 | 0.05104 | -0.20271 | -0.051012 | 4.385e-05 | 2.7912e-05 | 0.30177 | 0.30177 | 0.30177 | 1 | 0 | 0.99976 | -0.0045255 | 27.6349
26 | 0.28262 | 0.071721 | -0.28262 | -0.07172 | 2.6917e-06 | 1.7179e-06 | 0.42108 | 0.42108 | 0.42108 | 0.99946 | -0.010253 | 0.99945 | -0.010451 | 38.5608
27 | 0.19637 | 0.049425 | -0.19635 | -0.04941 | 2.3264e-05 | 1.4804e-05 | 0.29234 | 0.29234 | 0.29234 | 0.99976 | -0.0045255 | 0.99963 | -0.0070047 | 26.7715
28 | 0.24954 | 0.063429 | -0.2494 | -0.06334 | 0.00013895 | 8.8611e-05 | 0.37183 | 0.37183 | 0.37183 | 0.99945 | -0.010451 | 0.99884 | -0.022019 | 34.0507
29 | 0.19356 | 0.048712 | -0.1935 | -0.048672 | 6.2603e-05 | 3.9829e-05 | 0.2882 | 0.2882 | 0.2882 | 0.99963 | -0.0070047 | 0.99928 | -0.013775 | 26.392
30 | 0.24297 | 0.06173 | -0.24297 | -0.061729 | 1.5858e-06 | 1.0111e-06 | 0.36226 | 0.36226 | 0.36226 | 0.99884 | -0.022019 | 0.99884 | -0.022155 | 33.1743
31 | 0.19311 | 0.048848 | -0.19306 | -0.048818 | 4.699e-05 | 2.9899e-05 | 0.28934 | 0.28934 | 0.28934 | 0.99366 | -0.12103 | 0.9934 | -0.1261 | 26.4965
32 | 0.1859 | 0.047024 | -0.1859 | -0.047022 | 4.5314e-06 | 2.882e-06 | 0.27862 | 0.27862 | 0.27862 | 0.9934 | -0.1261 | 0.99337 | -0.12661 | 25.5147
33 | 0.17946 | 0.045409 | -0.17934 | -0.045327 | 0.00012853 | 8.1706e-05 | 0.26898 | 0.26898 | 0.26898 | 0.99337 | -0.12661 | 0.9926 | -0.14154 | 24.6318
34 | 0.14936 | 0.037814 | -0.14917 | -0.037695 | 0.00018569 | 0.00011833 | 0.22404 | 0.22404 | 0.22404 | 0.9926 | -0.14154 | 0.99125 | -0.16747 | 30.7746
35 | 0.13432 | 0.033974 | -0.13421 | -0.033904 | 0.00011009 | 7.0367e-05 | 0.20175 | 0.20175 | 0.20175 | 0.99125 | -0.16747 | 0.99036 | -0.18457 | 55.4262
36 | -0.081553 | -0.020474 | 0.081651 | 0.020537 | 9.8105e-05 | 6.2569e-05 | 0.12335 | 0.12335 | 0.12335 | 0.9839 | -0.30985 | 0.98519 | -0.28467 | 33.8875
37 | -0.104 | -0.026139 | 0.10408 | 0.026187 | 7.562e-05 | 4.8293e-05 | 0.15711 | 0.15711 | 0.15711 | 0.98519 | -0.28467 | 0.98598 | -0.26945 | 43.1627
38 | -0.10408 | -0.026187 | 0.1045 | 0.026458 | 0.00042398 | 0.00027076 | 0.15711 | 0.15711 | 0.15711 | 0.98598 | -0.26945 | 0.99036 | -0.18457 | 43.1627
39 | -0.065106 | -0.01638 | 0.065113 | 0.016385 | 6.9083e-06 | 4.3959e-06 | 0.097237 | 0.097237 | 0.097237 | 0.99654 | -0.066421 | 0.99666 | -0.064201 | 26.7135
40 | 0.057701 | 0.014524 | -0.057666 | -0.014502 | 3.5061e-05 | 2.2275e-05 | 0.08618 | 0.08618 | 0.08618 | 0.99654 | -0.066421 | 0.99588 | -0.079142 | 23.676
41 | -0.070158 | -0.017649 | 0.07019 | 0.01767 | 3.2366e-05 | 2.0612e-05 | 0.10477 | 0.10477 | 0.10477 | 0.99666 | -0.064201 | 0.99716 | -0.054549 | 28.7828
42 | 0.049429 | 0.012438 | -0.049385 | -0.01241 | 4.3668e-05 | 2.767e-05 | 0.073873 | 0.073873 | 0.073873 | 0.99588 | -0.079142 | 0.99492 | -0.097648 | 20.2947
43 | -0.075138 | -0.01891 | 0.075165 | 0.018927 | 2.783e-05 | 1.7734e-05 | 0.11215 | 0.11215 | 0.11215 | 0.99716 | -0.054549 | 0.99756 | -0.046802 | 30.8111
44 | 0.049385 | 0.01241 | -0.049327 | -0.012373 | 5.8458e-05 | 3.7043e-05 | 0.073873 | 0.073873 | 0.073873 | 0.99492 | -0.097648 | 0.99363 | -0.12248 | 20.2948
45 | -0.088356 | -0.022233 | 0.088379 | 0.022248 | 2.3236e-05 | 1.4825e-05 | 0.13183 | 0.13183 | 0.13183 | 0.99756 | -0.046802 | 0.99785 | -0.041301 | 36.2165
46 | 0.038764 | 0.0097259 | -0.038741 | -0.0097112 | 2.3307e-05 | 1.4678e-05 | 0.058055 | 0.058055 | 0.058055 | 0.99363 | -0.12248 | 0.99298 | -0.13509 | 15.9493
47 | -0.093826 | -0.023613 | 0.093839 | 0.023621 | 1.2799e-05 | 8.1686e-06 | 0.13995 | 0.13995 | 0.13995 | 0.99785 | -0.041301 | 0.998 | -0.038447 | 38.448
48 | 0.020347 | 0.0051013 | -0.020346 | -0.0051004 | 1.4862e-06 | 8.9602e-07 | 0.030492 | 0.030492 | 0.030492 | 0.99298 | -0.13509 | 0.9929 | -0.13663 | 8.3769
49 | -0.14296 | -0.035932 | 0.14297 | 0.035941 | 1.2817e-05 | 8.1638e-06 | 0.21319 | 0.21319 | 0.21319 | 0.998 | -0.038447 | 0.99809 | -0.036569 | 29.2845
50 | -0.14576 | -0.036638 | 0.14579 | 0.03666 | 3.4166e-05 | 2.164e-05 | 0.21734 | 0.21734 | 0.21734 | 0.99809 | -0.036569 | 0.99835 | -0.031661 | 19.903
51 | -0.15029 | -0.037788 | 0.15029 | 0.037789 | 1.5265e-06 | 9.6744e-07 | 0.22405 | 0.22405 | 0.22405 | 0.99835 | -0.031661 | 0.99836 | -0.031448 | 20.5173
52 | -0.15308 | -0.038486 | 0.15311 | 0.038506 | 3.0639e-05 | 1.9424e-05 | 0.2282 | 0.2282 | 0.2282 | 0.99836 | -0.031448 | 0.99858 | -0.027258 | 20.8972
53 | -0.16479 | -0.041434 | 0.1648 | 0.04144 | 9.979e-06 | 6.3346e-06 | 0.24561 | 0.24561 | 0.24561 | 0.99858 | -0.027258 | 0.99865 | -0.02599 | 22.4913
54 | 0.19072 | 0.047975 | -0.19071 | -0.047971 | 5.8471e-06 | 3.7193e-06 | 0.28406 | 0.28406 | 0.28406 | 0.99928 | -0.013775 | 0.99925 | -0.014416 | 26.0125
55 | 0.18706 | 0.047056 | -0.18706 | -0.047055 | 4.2514e-07 | 2.7037e-07 | 0.27862 | 0.27862 | 0.27862 | 0.99925 | -0.014416 | 0.99925 | -0.014464 | 25.5145
56 | 0.18223 | 0.045845 | -0.18223 | -0.045844 | 1.5486e-06 | 9.8448e-07 | 0.27143 | 0.27143 | 0.27143 | 0.99925 | -0.014464 | 0.99924 | -0.014642 | 24.856
57 | -0.16758 | -0.042137 | 0.1676 | 0.042147 | 1.5934e-05 | 1.0118e-05 | 0.24975 | 0.24975 | 0.24975 | 0.99865 | -0.02599 | 0.99875 | -0.023999 | 22.8709
58 | -0.17303 | -0.043509 | 0.17306 | 0.04353 | 3.3126e-05 | 2.1044e-05 | 0.25784 | 0.25784 | 0.25784 | 0.99875 | -0.023999 | 0.99896 | -0.019991 | 23.6121
59 | 0.17589 | 0.044255 | -0.17584 | -0.044227 | 4.4947e-05 | 2.856e-05 | 0.26199 | 0.26199 | 0.26199 | 0.99924 | -0.014642 | 0.99896 | -0.019991 | 23.9915
60 | 0.017561 | 0.0044024 | -0.017557 | -0.0044002 | 3.7502e-06 | 2.2134e-06 | 0.026318 | 0.026318 | 0.026318 | 0.9929 | -0.13663 | 0.99267 | -0.14111 | 7.2303

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51366 | 0.12949

## res_load
| p_mw | q_mvar
0 | 0.0006574 | 0.00016476
1 | 0.00086207 | 0.00021605
2 | 0.0043848 | 0.0010989
3 | 0.0031718 | 0.00079493
4 | 0.00058422 | 0.00014642
5 | 0.013389 | 0.0033557
6 | 0.0028514 | 0.00071462
7 | 0.00072904 | 0.00018271
8 | 0.010112 | 0.0025343
9 | 0.0027814 | 0.00069709
10 | 0.0055356 | 0.0013873
11 | 0.010699 | 0.0026813
12 | 0.0013445 | 0.00033697
13 | 0.0090109 | 0.0022583
14 | 0.00034475 | 8.6403e-05
15 | 0.034132 | 0.0085544
16 | 0.00032235 | 8.0789e-05
17 | 0.0157 | 0.0039347
18 | 0.00096771 | 0.00024253
19 | 0.0064633 | 0.0016199
20 | 0.011785 | 0.0029537
21 | 0.0026747 | 0.00067034
22 | 0.0027837 | 0.00069766
23 | 0.0027839 | 0.0006977
24 | 0.006335 | 0.0015877
25 | 0.03308 | 0.0082907
26 | 0.0027837 | 0.00069766
27 | 0.0064241 | 0.00161
28 | 0.0030209 | 0.0007571
29 | 0.0071579 | 0.0017939
30 | 0.0064363 | 0.0016131
31 | 0.029978 | 0.0075131
32 | 0.014847 | 0.0037211
33 | 0.0034041 | 0.00085316
34 | 0.022353 | 0.0056023
35 | 0.02971 | 0.0074461
36 | 0.0063214 | 0.0015843
37 | 0.0074048 | 0.0018558
38 | 0.005045 | 0.0012644
39 | 0.0082372 | 0.0020644
40 | 0.0049475 | 0.00124
41 | 0.013191 | 0.0033059
42 | 0.010562 | 0.0026472
43 | 0.0054468 | 0.0013651
44 | 0.018394 | 0.0046099
45 | 0.049122 | 0.012311
46 | 0.0027837 | 0.00069766
47 | 0.0045003 | 0.0011279
48 | 0.0027835 | 0.00069761
49 | 0.011682 | 0.0029279
50 | 0.0027835 | 0.00069761
51 | 0.0036519 | 0.00091525
52 | 0.004829 | 0.0012103
53 | 0.0027814 | 0.00069709
54 | 0.0054328 | 0.0013616
55 | 0.0063391 | 0.0015887
56 | 0.0027814 | 0.00069709
57 | 0.002785 | 0.00069798
58 | 0.017557 | 0.0044002

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1