## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-194_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-194_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-194_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-194_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-194_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-194_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-194_0_4_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_2701-194_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-194_0_4_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2701-194_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2701-194_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_2701-194_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2701-194_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_2701-194_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2701-194_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2701-194_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2701-194_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2701-194_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_2701-194_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2701-194_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2701-194_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2701-194_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2701-194_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2701-194_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2701-194_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_2701-194_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2701-194_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2701-194_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2701-194_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2701-194_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2701-194_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_2701-194_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_2701-194_0_4_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_2701-194_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_2701-194_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2701-194_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2701-194_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2701-194_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2701-194_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2701-194_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2701-194_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2701-194_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2701-194_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2701-194_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2701-194_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2701-194_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2701-194_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2701-194_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2701-194_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2701-194_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_2701-194_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2701-194_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2701-194_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2701-194_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_2701-194_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2701-194_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2701-194_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2701-194_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_MV_557_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-194_0_4_load_0 | 0 | 0.012442 | 0.0031184 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-194_0_4_load_1 | 1 | 0.0024242 | 0.00060756 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-194_0_4_load_2 | 2 | 0.010398 | 0.0026061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-194_0_4_load_3 | 3 | 0.002427 | 0.00060827 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-194_0_4_load_4 | 4 | 0.011439 | 0.0028669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-194_0_4_load_5 | 5 | 0.012443 | 0.0031185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-194_0_4_load_6 | 7 | 0.011488 | 0.0028791 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-194_0_4_load_57 | 8 | 0.013172 | 0.0033012 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-194_0_4_load_7 | 9 | 0.0115 | 0.0028821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-194_0_4_load_18 | 11 | 0.0045019 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-194_0_4_load_15 | 12 | 0.0044827 | 0.0011235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-194_0_4_load_10 | 13 | 0.0091107 | 0.0022834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-194_0_4_load_8 | 14 | 0.0035161 | 0.00088123 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-194_0_4_load_9 | 15 | 0.0042924 | 0.0010758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-194_0_4_load_55 | 17 | 0.008036 | 0.002014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-194_0_4_load_58 | 18 | 0.0067869 | 0.001701 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-194_0_4_load_19 | 19 | 0.011647 | 0.0029191 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-194_0_4_load_13 | 20 | 0.0071025 | 0.0017801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-194_0_4_load_14 | 21 | 0.0086109 | 0.0021581 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-194_0_4_load_16 | 22 | 0.004456 | 0.0011168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-194_0_4_load_17 | 23 | 0.0044803 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-194_0_4_load_40 | 24 | 0.0067444 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-194_0_4_load_39 | 25 | 0.0039322 | 0.00098551 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-194_0_4_load_20 | 26 | 0.006588 | 0.0016511 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-194_0_4_load_21 | 27 | 0.0036593 | 0.00091711 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-194_0_4_load_22 | 28 | 0.0020634 | 0.00051713 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-194_0_4_load_23 | 29 | 0.0027151 | 0.00068047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-194_0_4_load_42 | 31 | 0.0020594 | 0.00051613 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-194_0_4_load_43 | 32 | 0.019382 | 0.0048575 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-194_0_4_load_48 | 33 | 0.027132 | 0.0067999 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-194_0_4_load_41 | 34 | 0.0027248 | 0.00068289 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-194_0_4_load_25 | 35 | 0.0030878 | 0.00077387 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-194_0_4_load_26 | 36 | 0.0030852 | 0.00077322 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-194_0_4_load_28 | 38 | 0.0037521 | 0.00094035 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-194_0_4_load_29 | 39 | 0.00336 | 0.00084209 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-194_0_4_load_35 | 40 | 0.0053647 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-194_0_4_load_44 | 41 | 0.0035662 | 0.00089377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-194_0_4_load_37 | 42 | 0.0035848 | 0.00089844 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-194_0_4_load_45 | 43 | 0.0035664 | 0.00089384 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-194_0_4_load_30 | 44 | 0.004639 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-194_0_4_load_31 | 45 | 0.0037171 | 0.0009316 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-194_0_4_load_32 | 46 | 0.0063965 | 0.0016031 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-194_0_4_load_33 | 47 | 0.0038301 | 0.00095992 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-194_0_4_load_36 | 48 | 0.0038751 | 0.00097119 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-194_0_4_load_38 | 49 | 0.0038632 | 0.00096822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-194_0_4_load_47 | 50 | 0.0034198 | 0.00085708 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-194_0_4_load_46 | 51 | 0.0035641 | 0.00089324 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-194_0_4_load_49 | 52 | 0.011662 | 0.0029229 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-194_0_4_load_50 | 53 | 0.011491 | 0.0028798 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-194_0_4_load_52 | 54 | 0.011484 | 0.0028781 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-194_0_4_load_51 | 55 | 0.021666 | 0.0054301 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-194_0_4_load_53 | 56 | 0.011485 | 0.0028784 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-194_0_4_line_0 |  | 0 | 1 | 0.0091083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2701-194_0_4_line_1 |  | 0 | 2 | 0.029007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-194_0_4_line_2 |  | 1 | 3 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-194_0_4_line_3 |  | 2 | 4 | 0.00052081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-194_0_4_line_4 |  | 3 | 5 | 0.0092194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-194_0_4_line_5 |  | 4 | 6 | 0.01191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-194_0_4_line_6 |  | 5 | 7 | 0.029016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-194_0_4_line_7 |  | 6 | 8 | 0.028387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-194_0_4_line_8 |  | 7 | 9 | 0.00099983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-194_0_4_line_9 |  | 8 | 57 | 0.021441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-194_0_4_line_10 |  | 9 | 10 | 0.019277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-194_0_4_line_11 |  | 10 | 11 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-194_0_4_line_12 |  | 10 | 12 | 0.015662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-194_0_4_line_13 |  | 10 | 13 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-194_0_4_line_14 |  | 11 | 19 | 0.0010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-194_0_4_line_15 |  | 12 | 20 | 0.0072273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-194_0_4_line_16 |  | 13 | 14 | 0.0059904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-194_0_4_line_17 |  | 14 | 15 | 0.0078221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-194_0_4_line_18 |  | 15 | 16 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-194_0_4_line_19 |  | 16 | 17 | 0.03933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-194_0_4_line_20 |  | 17 | 18 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-194_0_4_line_21 |  | 19 | 26 | 0.0087326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-194_0_4_line_22 |  | 20 | 21 | 0.0011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-194_0_4_line_23 |  | 21 | 22 | 0.0096149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-194_0_4_line_24 |  | 22 | 23 | 0.008384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-194_0_4_line_25 |  | 23 | 24 | 0.0033278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-194_0_4_line_26 |  | 24 | 25 | 0.0048678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-194_0_4_line_27 |  | 25 | 42 | 0.0078745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-194_0_4_line_28 |  | 26 | 27 | 0.0093275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-194_0_4_line_29 |  | 27 | 28 | 0.0087031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-194_0_4_line_30 |  | 28 | 29 | 0.010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-194_0_4_line_31 |  | 29 | 30 | 0.016474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-194_0_4_line_32 |  | 30 | 31 | 0.024634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-194_0_4_line_33 |  | 31 | 34 | 0.0089392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-194_0_4_line_34 |  | 32 | 33 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-194_0_4_line_35 |  | 33 | 52 | 0.0055728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-194_0_4_line_36 |  | 34 | 49 | 0.0085716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-194_0_4_line_37 |  | 35 | 36 | 0.0083996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-194_0_4_line_38 |  | 35 | 37 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-194_0_4_line_39 |  | 36 | 38 | 0.0083368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-194_0_4_line_40 |  | 37 | 39 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-194_0_4_line_41 |  | 38 | 40 | 0.0053958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-194_0_4_line_42 |  | 39 | 41 | 0.0080348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-194_0_4_line_43 |  | 40 | 42 | 0.0027278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-194_0_4_line_44 |  | 41 | 43 | 0.0082392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-194_0_4_line_45 |  | 43 | 51 | 0.007967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-194_0_4_line_46 |  | 44 | 45 | 0.0097964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-194_0_4_line_47 |  | 44 | 46 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-194_0_4_line_48 |  | 45 | 47 | 0.0082583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-194_0_4_line_49 |  | 47 | 48 | 0.008292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-194_0_4_line_50 |  | 48 | 49 | 0.0083225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-194_0_4_line_51 |  | 50 | 51 | 0.0082462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-194_0_4_line_52 |  | 52 | 53 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-194_0_4_line_53 |  | 53 | 54 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-194_0_4_line_54 |  | 54 | 55 | 0.00025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-194_0_4_line_55 |  | 55 | 56 | 0.016641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-194_0_4_line_56 |  | 56 | 57 | 0.029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-194_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 58 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610245.6053 | 1268605.6539 | 2610252.4522 | 1268611.6606
1 | 2610245.6053 | 1268605.6539 | 2610228.9304 | 1268591.0255 | 2610223.8006 | 1268586.5231
2 | 2610252.4522 | 1268611.6606 | 2610261.0518 | 1268619.2048
3 | 2610223.4092 | 1268586.1795 | 2610223.8006 | 1268586.5231
4 | 2610267.9822 | 1268625.2847 | 2610261.0518 | 1268619.2048
5 | 2610217.6902 | 1268576.5626 | 2610218.4712 | 1268581.8455 | 2610223.4092 | 1268586.1795
6 | 2610267.9822 | 1268625.2847 | 2610284.795 | 1268640.0341 | 2610289.7957 | 1268644.4186
7 | 2610217.6902 | 1268576.5626 | 2610203.2549 | 1268590.9035 | 2610197.2933 | 1268596.2971
8 | 2610289.7957 | 1268644.4186 | 2610290.5475 | 1268645.0777
9 | 2610181.1731 | 1268610.2348 | 2610189.7219 | 1268601.2987 | 2610197.2933 | 1268596.2971
10 | 2610304.7125 | 1268658.148 | 2610295.1638 | 1268649.1251 | 2610290.5475 | 1268645.0777
11 | 2610304.7125 | 1268658.148 | 2610290.4646 | 1268676.7655
12 | 2610304.7125 | 1268658.148 | 2610317.6445 | 1268666.9841
13 | 2610304.7125 | 1268658.148 | 2610320.8559 | 1268637.4938
14 | 2610289.7972 | 1268677.6376 | 2610290.4646 | 1268676.7655
15 | 2610323.6118 | 1268671.0614 | 2610317.6445 | 1268666.9841
16 | 2610320.8559 | 1268637.4938 | 2610324.5449 | 1268632.774
17 | 2610329.3619 | 1268626.6111 | 2610324.5449 | 1268632.774
18 | 2610345.0945 | 1268604.7917 | 2610340.9812 | 1268611.745 | 2610329.3619 | 1268626.6111
19 | 2610345.0945 | 1268604.7917 | 2610314.8764 | 1268579.6174
20 | 2610314.8764 | 1268579.6174 | 2610303.8951 | 1268570.4689
21 | 2610289.7972 | 1268677.6376 | 2610284.49 | 1268684.5724
22 | 2610323.6118 | 1268671.0614 | 2610324.5507 | 1268671.7029
23 | 2610332.4893 | 1268677.1272 | 2610324.5507 | 1268671.7029
24 | 2610339.4118 | 1268681.8572 | 2610332.4893 | 1268677.1272
25 | 2610342.1594 | 1268683.7346 | 2610339.4118 | 1268681.8572
26 | 2610346.1786 | 1268686.4808 | 2610342.1594 | 1268683.7346
27 | 2610352.6803 | 1268690.9233 | 2610346.1786 | 1268686.4808
28 | 2610278.8213 | 1268691.9797 | 2610284.49 | 1268684.5724
29 | 2610278.8213 | 1268691.9797 | 2610273.532 | 1268698.8911
30 | 2610273.532 | 1268698.8911 | 2610267.3904 | 1268706.9163
31 | 2610257.3786 | 1268719.9986 | 2610267.3904 | 1268706.9163
32 | 2610257.3786 | 1268719.9986 | 2610276.8629 | 1268735.0719
33 | 2610283.9333 | 1268740.5417 | 2610276.8629 | 1268735.0719
34 | 2610230.6625 | 1268679.8612 | 2610239.3673 | 1268692.9391
35 | 2610230.6625 | 1268679.8612 | 2610227.5746 | 1268675.2222
36 | 2610290.713 | 1268745.7865 | 2610283.9333 | 1268740.5417
37 | 2610373.2063 | 1268704.9482 | 2610366.2711 | 1268700.2095
38 | 2610389.9071 | 1268716.3595 | 2610373.2063 | 1268704.9482
39 | 2610366.2711 | 1268700.2095 | 2610359.3877 | 1268695.5063
40 | 2610389.9071 | 1268716.3595 | 2610375.7131 | 1268737.2434
41 | 2610359.3877 | 1268695.5063 | 2610354.9326 | 1268692.4622
42 | 2610375.7131 | 1268737.2434 | 2610371.1965 | 1268743.8886
43 | 2610352.6803 | 1268690.9233 | 2610354.9326 | 1268692.4622
44 | 2610371.1965 | 1268743.8886 | 2610366.5651 | 1268750.7029
45 | 2610366.5651 | 1268750.7029 | 2610362.0867 | 1268757.2921
46 | 2610318.1344 | 1268767 | 2610310.386 | 1268761.0058
47 | 2610318.1344 | 1268767 | 2610329.4149 | 1268775.7267
48 | 2610310.386 | 1268761.0058 | 2610303.8542 | 1268755.9527
49 | 2610303.8542 | 1268755.9527 | 2610297.2957 | 1268750.8789
50 | 2610297.2957 | 1268750.8789 | 2610290.713 | 1268745.7865
51 | 2610362.0867 | 1268757.2921 | 2610357.4514 | 1268764.1121
52 | 2610227.5746 | 1268675.2222 | 2610218.143 | 1268661.0524
53 | 2610218.143 | 1268661.0524 | 2610208.7771 | 1268646.9814
54 | 2610208.6355 | 1268646.7686 | 2610208.7771 | 1268646.9814
55 | 2610208.6355 | 1268646.7686 | 2610199.4146 | 1268632.9154
56 | 2610181.1731 | 1268610.2348 | 2610183.4819 | 1268611.106 | 2610185.7142 | 1268612.6109 | 2610187.4335 | 1268614.9155 | 2610199.4146 | 1268632.9154

## bus_geodata
| x | y | coords
0 | 2610245.6053 | 1268605.6539
1 | 2610252.4522 | 1268611.6606
2 | 2610223.8006 | 1268586.5231
3 | 2610261.0518 | 1268619.2048
4 | 2610223.4092 | 1268586.1795
5 | 2610267.9822 | 1268625.2847
6 | 2610217.6902 | 1268576.5626
7 | 2610289.7957 | 1268644.4186
8 | 2610197.2933 | 1268596.2971
9 | 2610290.5475 | 1268645.0777
10 | 2610304.7125 | 1268658.148
11 | 2610290.4646 | 1268676.7655
12 | 2610317.6445 | 1268666.9841
13 | 2610320.8559 | 1268637.4938
14 | 2610324.5449 | 1268632.774
15 | 2610329.3619 | 1268626.6111
16 | 2610345.0945 | 1268604.7917
17 | 2610314.8764 | 1268579.6174
18 | 2610303.8951 | 1268570.4689
19 | 2610289.7972 | 1268677.6376
20 | 2610323.6118 | 1268671.0614
21 | 2610324.5507 | 1268671.7029
22 | 2610332.4893 | 1268677.1272
23 | 2610339.4118 | 1268681.8572
24 | 2610342.1594 | 1268683.7346
25 | 2610346.1786 | 1268686.4808
26 | 2610284.49 | 1268684.5724
27 | 2610278.8213 | 1268691.9797
28 | 2610273.532 | 1268698.8911
29 | 2610267.3904 | 1268706.9163
30 | 2610257.3786 | 1268719.9986
31 | 2610276.8629 | 1268735.0719
32 | 2610239.3673 | 1268692.9391
33 | 2610230.6625 | 1268679.8612
34 | 2610283.9333 | 1268740.5417
35 | 2610373.2063 | 1268704.9482
36 | 2610366.2711 | 1268700.2095
37 | 2610389.9071 | 1268716.3595
38 | 2610359.3877 | 1268695.5063
39 | 2610375.7131 | 1268737.2434
40 | 2610354.9326 | 1268692.4622
41 | 2610371.1966 | 1268743.8886
42 | 2610352.6803 | 1268690.9233
43 | 2610366.5651 | 1268750.7029
44 | 2610318.1344 | 1268767
45 | 2610310.386 | 1268761.0058
46 | 2610329.4149 | 1268775.7267
47 | 2610303.8542 | 1268755.9527
48 | 2610297.2957 | 1268750.8789
49 | 2610290.713 | 1268745.7865
50 | 2610357.4514 | 1268764.1121
51 | 2610362.0867 | 1268757.2921
52 | 2610227.5746 | 1268675.2222
53 | 2610218.143 | 1268661.0524
54 | 2610208.7771 | 1268646.9814
55 | 2610208.6355 | 1268646.7686
56 | 2610199.4146 | 1268632.9154
57 | 2610181.1731 | 1268610.2348
58 | 2610304.7125 | 1268658.148

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99342 | -0.12536 | 0.012442 | 0.0031184
1 | 0.99387 | -0.11669 | 0.0024242 | 0.00060756
2 | 0.99141 | -0.16369 | 0.010398 | 0.0026061
3 | 0.99445 | -0.10565 | 0.002427 | 0.00060827
4 | 0.99134 | -0.16497 | 0.011439 | 0.0028669
5 | 0.99492 | -0.096629 | 0.012443 | 0.0031185
6 | 0.98994 | -0.19193 | 0 | 0
7 | 0.99652 | -0.066184 | 0.011488 | 0.0028791
8 | 0.98658 | -0.25651 | 0.013172 | 0.0033012
9 | 0.99658 | -0.065069 | 0.0115 | 0.0028821
10 | 0.99778 | -0.042312 | 0 | 0
11 | 1 | 0 | -0.37281 | -0.094349
12 | 0.99669 | -0.06322 | 0.0044827 | 0.0011235
13 | 0.99702 | -0.056893 | 0.0091107 | 0.0022834
14 | 0.9969 | -0.059271 | 0.0035161 | 0.00088123
15 | 0.99676 | -0.061894 | 0.0042924 | 0.0010758
16 | 0.9964 | -0.068905 | 0 | 0
17 | 0.99586 | -0.079146 | 0.008036 | 0.002014
18 | 0.99578 | -0.080851 | 0.0067869 | 0.001701
19 | 0.99994 | -0.0011061 | 0.011647 | 0.0029191
20 | 0.99622 | -0.072314 | 0.0071025 | 0.0017801
21 | 0.99615 | -0.073604 | 0.0086109 | 0.0021581
22 | 0.99566 | -0.08306 | 0.004456 | 0.0011168
23 | 0.99527 | -0.090656 | 0.0044803 | 0.0011229
24 | 0.99512 | -0.093411 | 0.0067444 | 0.0016903
25 | 0.99494 | -0.096863 | 0.0039322 | 0.00098551
26 | 0.99958 | -0.0081315 | 0.006588 | 0.0016511
27 | 0.99924 | -0.014568 | 0.0036593 | 0.00091711
28 | 0.99896 | -0.020022 | 0.0020634 | 0.00051713
29 | 0.99865 | -0.025994 | 0.0027151 | 0.00068047
30 | 0.99818 | -0.034954 | 0 | 0
31 | 0.99748 | -0.048369 | 0.0020594 | 0.00051613
32 | 0.97703 | -0.44283 | 0.019382 | 0.0048575
33 | 0.97731 | -0.43728 | 0.027132 | 0.0067999
34 | 0.99725 | -0.052919 | 0.0027248 | 0.00068289
35 | 0.99413 | -0.11261 | 0.0030878 | 0.00077387
36 | 0.99429 | -0.10956 | 0.0030852 | 0.00077322
37 | 0.99381 | -0.11884 | 0 | 0
38 | 0.99447 | -0.10609 | 0.0037521 | 0.00094035
39 | 0.9934 | -0.12664 | 0.00336 | 0.00084209
40 | 0.9946 | -0.10348 | 0.0053647 | 0.0013445
41 | 0.9933 | -0.12864 | 0.0035662 | 0.00089377
42 | 0.99468 | -0.1019 | 0.0035848 | 0.00089844
43 | 0.99322 | -0.13018 | 0.0035664 | 0.00089384
44 | 0.99652 | -0.06689 | 0.004639 | 0.0011626
45 | 0.99662 | -0.064993 | 0.0037171 | 0.0009316
46 | 0.99644 | -0.068491 | 0.0063965 | 0.0016031
47 | 0.99673 | -0.062855 | 0.0038301 | 0.00095992
48 | 0.99687 | -0.060152 | 0.0038751 | 0.00097119
49 | 0.99704 | -0.056874 | 0.0038632 | 0.00096822
50 | 0.99314 | -0.13166 | 0.0034198 | 0.00085708
51 | 0.99317 | -0.13116 | 0.0035641 | 0.00089324
52 | 0.97755 | -0.43255 | 0.011662 | 0.0029229
53 | 0.97847 | -0.4145 | 0.011491 | 0.0028798
54 | 0.97956 | -0.39309 | 0.011484 | 0.0028781
55 | 0.97958 | -0.39271 | 0.021666 | 0.0054301
56 | 0.98117 | -0.36168 | 0.011485 | 0.0028784
57 | 0.98431 | -0.3005 | 0 | 0
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16348 | -0.04164 | 0.16355 | 0.041684 | 6.8402e-05 | 4.3423e-05 | 0.24511 | 0.24511 | 0.24511 | 0.99342 | -0.12536 | 0.99387 | -0.11669 | 22.4459
1 | 0.15104 | 0.038522 | -0.15076 | -0.038344 | 0.00027896 | 0.00017778 | 0.22647 | 0.22647 | 0.22647 | 0.99342 | -0.12536 | 0.99141 | -0.16369 | 31.1088
2 | -0.16597 | -0.042291 | 0.16606 | 0.042348 | 8.8473e-05 | 5.6178e-05 | 0.24874 | 0.24874 | 0.24874 | 0.99387 | -0.11669 | 0.99445 | -0.10565 | 22.7783
3 | 0.14036 | 0.035738 | -0.14035 | -0.035733 | 8.6839e-06 | 5.551e-06 | 0.21087 | 0.21087 | 0.21087 | 0.99141 | -0.16369 | 0.99134 | -0.16497 | 57.93
4 | -0.16849 | -0.042956 | 0.16856 | 0.043002 | 7.3398e-05 | 4.6616e-05 | 0.25237 | 0.25237 | 0.25237 | 0.99445 | -0.10565 | 0.99492 | -0.096629 | 23.1108
5 | 0.12891 | 0.032866 | -0.12874 | -0.032759 | 0.00016757 | 0.00010709 | 0.1937 | 0.1937 | 0.1937 | 0.99134 | -0.16497 | 0.98994 | -0.19193 | 53.2129
6 | -0.181 | -0.046121 | 0.18127 | 0.04629 | 0.00026633 | 0.00016932 | 0.27098 | 0.27098 | 0.27098 | 0.99492 | -0.096629 | 0.99652 | -0.066184 | 24.815
7 | 0.12874 | 0.032759 | -0.12834 | -0.032503 | 0.00039939 | 0.00025524 | 0.1937 | 0.1937 | 0.1937 | 0.98994 | -0.19193 | 0.98658 | -0.25651 | 53.213
8 | -0.19276 | -0.049169 | 0.19277 | 0.049176 | 1.0376e-05 | 6.6014e-06 | 0.28813 | 0.28813 | 0.28813 | 0.99652 | -0.066184 | 0.99658 | -0.065069 | 26.3858
9 | 0.11517 | 0.029202 | -0.11493 | -0.029047 | 0.00024295 | 0.00015522 | 0.17383 | 0.17383 | 0.17383 | 0.98658 | -0.25651 | 0.98431 | -0.3005 | 47.7552
10 | -0.20427 | -0.052058 | 0.20449 | 0.052201 | 0.0002246 | 0.00014299 | 0.3053 | 0.3053 | 0.3053 | 0.99658 | -0.065069 | 0.99778 | -0.042312 | 27.9582
11 | -0.31264 | -0.079396 | 0.31328 | 0.079804 | 0.00063805 | 0.00040743 | 0.46662 | 0.46662 | 0.46662 | 0.99778 | -0.042312 | 1 | 0 | 42.7304
12 | 0.076364 | 0.019216 | -0.076288 | -0.019167 | 7.6212e-05 | 4.8571e-05 | 0.11391 | 0.11391 | 0.11391 | 0.99778 | -0.042312 | 0.99669 | -0.06322 | 31.2943
13 | 0.031782 | 0.0079792 | -0.03176 | -0.0079654 | 2.2089e-05 | 1.3795e-05 | 0.047402 | 0.047402 | 0.047402 | 0.99778 | -0.042312 | 0.99702 | -0.056893 | 13.0227
14 | 0.057881 | 0.014545 | -0.057878 | -0.014543 | 3.0559e-06 | 1.9414e-06 | 0.086142 | 0.086142 | 0.086142 | 1 | 0 | 0.99994 | -0.0011061 | 23.6654
15 | 0.071805 | 0.018044 | -0.071774 | -0.018024 | 3.1157e-05 | 1.9846e-05 | 0.10722 | 0.10722 | 0.10722 | 0.99669 | -0.06322 | 0.99622 | -0.072314 | 29.4557
16 | 0.022649 | 0.0056821 | -0.022647 | -0.0056805 | 2.5671e-06 | 1.5649e-06 | 0.033805 | 0.033805 | 0.033805 | 0.99702 | -0.056893 | 0.9969 | -0.059271 | 9.2871
17 | 0.01913 | 0.0047993 | -0.019128 | -0.0047979 | 2.3921e-06 | 1.429e-06 | 0.028557 | 0.028557 | 0.028557 | 0.9969 | -0.059271 | 0.99676 | -0.061894 | 7.8453
18 | 0.014836 | 0.0037221 | -0.014831 | -0.0037193 | 4.9573e-06 | 2.8216e-06 | 0.022149 | 0.022149 | 0.022149 | 0.99676 | -0.061894 | 0.9964 | -0.068905 | 6.0849
19 | 0.014831 | 0.0037193 | -0.014823 | -0.0037151 | 7.2355e-06 | 4.1187e-06 | 0.022149 | 0.022149 | 0.022149 | 0.9964 | -0.068905 | 0.99586 | -0.079146 | 6.0849
20 | 0.0067874 | 0.0017011 | -0.0067869 | -0.001701 | 5.5129e-07 | 1.6688e-07 | 0.010142 | 0.010142 | 0.010142 | 0.99586 | -0.079146 | 0.99578 | -0.080851 | 2.7862
21 | 0.046231 | 0.011624 | -0.046216 | -0.011614 | 1.5505e-05 | 9.8087e-06 | 0.06881 | 0.06881 | 0.06881 | 0.99994 | -0.0011061 | 0.99958 | -0.0081315 | 18.9038
22 | 0.064671 | 0.016244 | -0.064667 | -0.016241 | 3.9799e-06 | 2.5323e-06 | 0.09661 | 0.09661 | 0.09661 | 0.99622 | -0.072314 | 0.99615 | -0.073604 | 26.5412
23 | 0.056056 | 0.014083 | -0.056031 | -0.014067 | 2.5288e-05 | 1.6059e-05 | 0.083747 | 0.083747 | 0.083747 | 0.99615 | -0.073604 | 0.99566 | -0.08306 | 23.0075
24 | 0.051575 | 0.01295 | -0.051556 | -0.012939 | 1.8683e-05 | 1.1848e-05 | 0.077088 | 0.077088 | 0.077088 | 0.99566 | -0.08306 | 0.99527 | -0.090656 | 21.178
25 | 0.047076 | 0.011816 | -0.04707 | -0.011812 | 6.1831e-06 | 3.9139e-06 | 0.07039 | 0.07039 | 0.07039 | 0.99527 | -0.090656 | 0.99512 | -0.093411 | 19.3378
26 | 0.040326 | 0.010122 | -0.040319 | -0.010117 | 6.6384e-06 | 4.1854e-06 | 0.060305 | 0.060305 | 0.060305 | 0.99512 | -0.093411 | 0.99494 | -0.096863 | 16.5672
27 | 0.036387 | 0.0091319 | -0.036378 | -0.0091264 | 8.7464e-06 | 5.4955e-06 | 0.054424 | 0.054424 | 0.054424 | 0.99494 | -0.096863 | 0.99468 | -0.1019 | 14.9516
28 | 0.039628 | 0.0099628 | -0.039615 | -0.0099551 | 1.2177e-05 | 7.671e-06 | 0.059002 | 0.059003 | 0.059003 | 0.99958 | -0.0081315 | 0.99924 | -0.014568 | 16.2095
29 | 0.035956 | 0.009038 | -0.035947 | -0.0090321 | 9.3601e-06 | 5.8765e-06 | 0.053553 | 0.053553 | 0.053553 | 0.99924 | -0.014568 | 0.99896 | -0.020022 | 14.7124
30 | 0.033883 | 0.008515 | -0.033874 | -0.0085089 | 9.6566e-06 | 6.048e-06 | 0.05048 | 0.05048 | 0.05048 | 0.99896 | -0.020022 | 0.99865 | -0.025994 | 13.8681
31 | 0.031159 | 0.0078285 | -0.031145 | -0.0078202 | 1.332e-05 | 8.3093e-06 | 0.046434 | 0.046434 | 0.046434 | 0.99865 | -0.025994 | 0.99818 | -0.034954 | 12.7567
32 | 0.031145 | 0.0078202 | -0.031125 | -0.0078077 | 1.9918e-05 | 1.2426e-05 | 0.046434 | 0.046434 | 0.046434 | 0.99818 | -0.034954 | 0.99748 | -0.048369 | 12.7567
33 | 0.029066 | 0.0072916 | -0.02906 | -0.0072877 | 6.3031e-06 | 3.9173e-06 | 0.043362 | 0.043362 | 0.043362 | 0.99748 | -0.048369 | 0.99725 | -0.052919 | 11.9127
34 | -0.019382 | -0.0048575 | 0.019387 | 0.0048606 | 5.1333e-06 | 3.0885e-06 | 0.029518 | 0.029518 | 0.029518 | 0.97703 | -0.44283 | 0.97731 | -0.43728 | 8.1095
35 | -0.046519 | -0.011661 | 0.046529 | 0.011667 | 1.0484e-05 | 6.6398e-06 | 0.070828 | 0.070828 | 0.070828 | 0.97731 | -0.43728 | 0.97755 | -0.43255 | 19.4584
36 | 0.026335 | 0.0066048 | -0.02633 | -0.0066017 | 4.9637e-06 | 3.0649e-06 | 0.039297 | 0.039297 | 0.039297 | 0.99725 | -0.052919 | 0.99704 | -0.056874 | 10.7958
37 | -0.020578 | -0.005162 | 0.020581 | 0.0051638 | 2.9888e-06 | 1.8039e-06 | 0.030804 | 0.030804 | 0.030804 | 0.99413 | -0.11261 | 0.99429 | -0.10956 | 8.4625
38 | 0.017491 | 0.0043881 | -0.017485 | -0.004385 | 5.1995e-06 | 3.0655e-06 | 0.026182 | 0.026182 | 0.026182 | 0.99413 | -0.11261 | 0.99381 | -0.11884 | 7.1928
39 | -0.023667 | -0.005937 | 0.023671 | 0.0059394 | 3.9223e-06 | 2.4021e-06 | 0.035421 | 0.035421 | 0.035421 | 0.99429 | -0.10956 | 0.99447 | -0.10609 | 9.731
40 | 0.017485 | 0.004385 | -0.017479 | -0.0043812 | 6.491e-06 | 3.8272e-06 | 0.026182 | 0.026182 | 0.026182 | 0.99381 | -0.11884 | 0.9934 | -0.12664 | 7.1928
41 | -0.027423 | -0.0068798 | 0.027426 | 0.0068819 | 3.4072e-06 | 2.1106e-06 | 0.041035 | 0.041035 | 0.041035 | 0.99447 | -0.10609 | 0.9946 | -0.10348 | 11.2733
42 | 0.014119 | 0.0035391 | -0.014118 | -0.0035384 | 1.3477e-06 | 7.5851e-07 | 0.021149 | 0.021149 | 0.021149 | 0.9934 | -0.12664 | 0.9933 | -0.12864 | 5.8102
43 | -0.032791 | -0.0082264 | 0.032793 | 0.0082279 | 2.4622e-06 | 1.5404e-06 | 0.049061 | 0.049061 | 0.049061 | 0.9946 | -0.10348 | 0.99468 | -0.1019 | 13.4783
44 | 0.010551 | 0.0026446 | -0.010551 | -0.0026442 | 7.7197e-07 | 3.8742e-07 | 0.015807 | 0.015807 | 0.015807 | 0.9933 | -0.12864 | 0.99322 | -0.13018 | 4.3425
45 | 0.0069843 | 0.0017504 | -0.0069839 | -0.0017503 | 3.2711e-07 | 1.0625e-07 | 0.010464 | 0.010464 | 0.010464 | 0.99322 | -0.13018 | 0.99317 | -0.13116 | 2.8746
46 | -0.011036 | -0.0027659 | 0.011037 | 0.0027664 | 9.976e-07 | 5.1082e-07 | 0.016479 | 0.016479 | 0.016479 | 0.99652 | -0.06689 | 0.99662 | -0.064993 | 4.5272
47 | 0.0063969 | 0.0016032 | -0.0063965 | -0.0016031 | 4.8798e-07 | 1.2651e-07 | 0.009552 | 0.0095521 | 0.0095521 | 0.99652 | -0.06689 | 0.99644 | -0.068491 | 2.6242
48 | -0.014754 | -0.003698 | 0.014756 | 0.0036988 | 1.5028e-06 | 8.5417e-07 | 0.022029 | 0.022029 | 0.022029 | 0.99662 | -0.064993 | 0.99673 | -0.062855 | 6.0519
49 | -0.018586 | -0.0046588 | 0.018588 | 0.0046602 | 2.3939e-06 | 1.424e-06 | 0.027747 | 0.027747 | 0.027747 | 0.99673 | -0.062855 | 0.99687 | -0.060152 | 7.6227
50 | -0.022463 | -0.0056314 | 0.022467 | 0.0056335 | 3.509e-06 | 2.1372e-06 | 0.033531 | 0.033531 | 0.033531 | 0.99687 | -0.060152 | 0.99704 | -0.056874 | 9.2118
51 | -0.0034198 | -0.00085708 | 0.0034199 | 0.00085703 | 8.1184e-08 | -5.475e-08 | 0.0051238 | 0.0051238 | 0.0051238 | 0.99314 | -0.13166 | 0.99317 | -0.13116 | 1.4076
52 | -0.058192 | -0.01459 | 0.058242 | 0.014622 | 5.0085e-05 | 3.1841e-05 | 0.088581 | 0.088581 | 0.088581 | 0.97755 | -0.43255 | 0.97847 | -0.4145 | 24.3354
53 | -0.069733 | -0.017502 | 0.069804 | 0.017547 | 7.1295e-05 | 4.5416e-05 | 0.10606 | 0.10606 | 0.10606 | 0.97847 | -0.4145 | 0.97956 | -0.39309 | 29.1361
54 | -0.081288 | -0.020425 | 0.081289 | 0.020426 | 1.4623e-06 | 9.3264e-07 | 0.1235 | 0.1235 | 0.1235 | 0.97956 | -0.39309 | 0.97958 | -0.39271 | 33.9286
55 | -0.10296 | -0.025856 | 0.10311 | 0.025954 | 0.00015267 | 9.75e-05 | 0.15641 | 0.15641 | 0.15641 | 0.97958 | -0.39271 | 0.98117 | -0.36168 | 42.9702
56 | -0.11459 | -0.028832 | 0.11493 | 0.029047 | 0.00033606 | 0.0002147 | 0.17383 | 0.17383 | 0.17383 | 0.98117 | -0.36168 | 0.98431 | -0.3005 | 47.7553

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37731 | 0.095477

## res_load
| p_mw | q_mvar
0 | 0.012442 | 0.0031184
1 | 0.0024242 | 0.00060756
2 | 0.010398 | 0.0026061
3 | 0.002427 | 0.00060827
4 | 0.011439 | 0.0028669
5 | 0.012443 | 0.0031185
6 | 0.011488 | 0.0028791
7 | 0.013172 | 0.0033012
8 | 0.0115 | 0.0028821
9 | 0.0045019 | 0.0011283
10 | 0.0044827 | 0.0011235
11 | 0.0091107 | 0.0022834
12 | 0.0035161 | 0.00088123
13 | 0.0042924 | 0.0010758
14 | 0.008036 | 0.002014
15 | 0.0067869 | 0.001701
16 | 0.011647 | 0.0029191
17 | 0.0071025 | 0.0017801
18 | 0.0086109 | 0.0021581
19 | 0.004456 | 0.0011168
20 | 0.0044803 | 0.0011229
21 | 0.0067444 | 0.0016903
22 | 0.0039322 | 0.00098551
23 | 0.006588 | 0.0016511
24 | 0.0036593 | 0.00091711
25 | 0.0020634 | 0.00051713
26 | 0.0027151 | 0.00068047
27 | 0.0020594 | 0.00051613
28 | 0.019382 | 0.0048575
29 | 0.027132 | 0.0067999
30 | 0.0027248 | 0.00068289
31 | 0.0030878 | 0.00077387
32 | 0.0030852 | 0.00077322
33 | 0.0037521 | 0.00094035
34 | 0.00336 | 0.00084209
35 | 0.0053647 | 0.0013445
36 | 0.0035662 | 0.00089377
37 | 0.0035848 | 0.00089844
38 | 0.0035664 | 0.00089384
39 | 0.004639 | 0.0011626
40 | 0.0037171 | 0.0009316
41 | 0.0063965 | 0.0016031
42 | 0.0038301 | 0.00095992
43 | 0.0038751 | 0.00097119
44 | 0.0038632 | 0.00096822
45 | 0.0034198 | 0.00085708
46 | 0.0035641 | 0.00089324
47 | 0.011662 | 0.0029229
48 | 0.011491 | 0.0028798
49 | 0.011484 | 0.0028781
50 | 0.021666 | 0.0054301
51 | 0.011485 | 0.0028784

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1