## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-202_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-202_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-202_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-202_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-202_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-202_0_6_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_2701-202_0_6_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2701-202_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2701-202_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2701-202_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2701-202_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2701-202_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2701-202_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2701-202_0_6_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_2701-202_0_6_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_2701-202_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2701-202_0_6_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_2701-202_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2701-202_0_6_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_2701-202_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2701-202_0_6_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_2701-202_0_6_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_2701-202_0_6_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2701-202_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2701-202_0_6_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_2701-202_0_6_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2701-202_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2701-202_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_2701-202_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-202_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_2701-202_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2701-202_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2701-202_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2701-202_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2701-202_0_6_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_2701-202_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_2701-202_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2701-202_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2701-202_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2701-202_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2701-202_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2701-202_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2701-202_0_6_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2701-202_0_6_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2701-202_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2701-202_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2701-202_0_6_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_2701-202_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2701-202_0_6_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2701-202_0_6_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_2701-202_0_6_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_2701-202_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2701-202_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_2701-202_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_2701-202_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2701-202_0_6_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_2701-202_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2701-202_0_6_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_2701-202_0_6_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_2701-202_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_2701-202_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2701-202_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2701-202_0_6_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2701-202_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2701-202_0_6_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2701-202_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_2701-202_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_2701-202_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_2701-202_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_2701-202_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2701-202_0_6_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2701-202_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_MV_556_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-202_0_6_load_0 | 0 | 0.0049589 | 0.0012428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-202_0_6_load_1 | 1 | 0.0087724 | 0.0021986 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-202_0_6_load_2 | 2 | 0.0075424 | 0.0018903 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-202_0_6_load_3 | 3 | 0.0029316 | 0.00073472 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-202_0_6_load_4 | 4 | 0.0025253 | 0.00063289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-202_0_6_load_14 | 5 | 0.0024622 | 0.00061709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-202_0_6_load_15 | 6 | 0.0024539 | 0.000615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-202_0_6_load_5 | 7 | 0.0022511 | 0.00056418 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-202_0_6_load_6 | 8 | 0.0017149 | 0.00042979 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-202_0_6_load_7 | 9 | 0.0028434 | 0.00071262 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-202_0_6_load_11 | 11 | 0.0033347 | 0.00083576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-202_0_6_load_12 | 12 | 0.0066817 | 0.0016746 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-202_0_6_load_36 | 13 | 0.01074 | 0.0026916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-202_0_6_load_61 | 14 | 0.015976 | 0.0040039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-202_0_6_load_13 | 15 | 0.0079804 | 0.0020001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-202_0_6_load_63 | 16 | 0.011204 | 0.0028081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-202_0_6_load_48 | 18 | 0.0013012 | 0.00032612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-202_0_6_load_47 | 20 | 0.00066226 | 0.00016598 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-202_0_6_load_76 | 21 | 0.0075338 | 0.0018882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-202_0_6_load_24 | 22 | 0.0051787 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-202_0_6_load_25 | 23 | 0.0094829 | 0.0023766 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-202_0_6_load_34 | 24 | 0.059406 | 0.014889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-202_0_6_load_16 | 26 | 0.0027248 | 0.00068291 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-202_0_6_load_31 | 27 | 0.0027389 | 0.00068642 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-202_0_6_load_23 | 28 | 0.0087039 | 0.0021814 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-202_0_6_load_19 | 30 | 0.00077515 | 0.00019427 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-202_0_6_load_20 | 31 | 0.00077997 | 0.00019548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-202_0_6_load_21 | 32 | 0.0017914 | 0.00044898 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-202_0_6_load_22 | 33 | 0.00086794 | 0.00021753 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-202_0_6_load_38 | 35 | 0.0035942 | 0.0009008 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-202_0_6_load_35 | 36 | 0.0076919 | 0.0019278 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-202_0_6_load_26 | 37 | 0.0039939 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-202_0_6_load_28 | 38 | 0.0054065 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-202_0_6_load_27 | 39 | 0.020721 | 0.0051932 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-202_0_6_load_29 | 40 | 0.0095585 | 0.0023956 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-202_0_6_load_30 | 41 | 0.0047109 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-202_0_6_load_73 | 42 | 0.0031125 | 0.00078008 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-202_0_6_load_32 | 44 | 0.0072539 | 0.001818 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-202_0_6_load_33 | 45 | 0.0037011 | 0.0009276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-202_0_6_load_59 | 46 | 0.0028108 | 0.00070445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-202_0_6_load_57 | 48 | 0.0036129 | 0.00090548 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-202_0_6_load_56 | 49 | 0.0076168 | 0.001909 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-202_0_6_load_75 | 50 | 0.0083217 | 0.0020856 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-202_0_6_load_55 | 52 | 0.0080608 | 0.0020202 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-202_0_6_load_69 | 55 | 0.024664 | 0.0061814 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-202_0_6_load_77 | 57 | 0.097885 | 0.024532 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-202_0_6_load_51 | 59 | 0.006291 | 0.0015767 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-202_0_6_load_58 | 60 | 0.0065518 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-202_0_6_load_65 | 62 | 0.015306 | 0.003836 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-202_0_6_load_50 | 64 | 0.015733 | 0.003943 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-202_0_6_load_66 | 65 | 0.0068206 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-202_0_6_load_54 | 66 | 0.017744 | 0.0044472 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-202_0_6_load_67 | 67 | 0.0084656 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-202_0_6_load_62 | 68 | 0.013582 | 0.0034039 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-202_0_6_load_64 | 69 | 0.031732 | 0.0079527 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-202_0_6_load_68 | 70 | 0.013591 | 0.0034063 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-202_0_6_load_74 | 71 | 0.020069 | 0.0050296 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-202_0_6_line_0 |  | 0 | 1 | 0.0010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-202_0_6_line_1 |  | 0 | 2 | 0.016477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-202_0_6_line_2 |  | 1 | 3 | 0.0099969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-202_0_6_line_3 |  | 2 | 4 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-202_0_6_line_4 |  | 3 | 5 | 0.0080145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-202_0_6_line_5 |  | 5 | 6 | 0.0079791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-202_0_6_line_6 |  | 6 | 26 | 0.0079492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-202_0_6_line_7 |  | 7 | 8 | 0.0080298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-202_0_6_line_8 |  | 7 | 9 | 0.0088548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-202_0_6_line_9 |  | 8 | 10 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-202_0_6_line_10 |  | 10 | 11 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2701-202_0_6_line_11 |  | 10 | 12 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-202_0_6_line_12 |  | 11 | 13 | 0.034901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2701-202_0_6_line_13 |  | 12 | 14 | 0.024198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2701-202_0_6_line_14 |  | 13 | 24 | 0.005104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2701-202_0_6_line_15 |  | 14 | 25 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_2701-202_0_6_line_16 |  | 15 | 16 | 0.02458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-202_0_6_line_17 |  | 16 | 25 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-202_0_6_line_18 |  | 17 | 18 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-202_0_6_line_19 |  | 17 | 19 | 0.009985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-202_0_6_line_20 |  | 17 | 20 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2701-202_0_6_line_21 |  | 18 | 27 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-202_0_6_line_22 |  | 19 | 21 | 0.032905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-202_0_6_line_23 |  | 20 | 28 | 0.025756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-202_0_6_line_24 |  | 21 | 29 | 0.04256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2701-202_0_6_line_25 |  | 22 | 23 | 0.0021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-202_0_6_line_26 |  | 23 | 37 | 0.0078488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-202_0_6_line_27 |  | 24 | 44 | 0.012627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-202_0_6_line_28 |  | 25 | 68 | 0.01644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-202_0_6_line_29 |  | 25 | 69 | 0.038562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-202_0_6_line_30 |  | 25 | 66 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-202_0_6_line_31 |  | 26 | 27 | 0.0087145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-202_0_6_line_32 |  | 28 | 32 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-202_0_6_line_33 |  | 29 | 50 | 0.056723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2701-202_0_6_line_34 |  | 30 | 31 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-202_0_6_line_35 |  | 30 | 32 | 0.013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-202_0_6_line_36 |  | 31 | 33 | 0.0099194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-202_0_6_line_37 |  | 33 | 34 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2701-202_0_6_line_38 |  | 34 | 35 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-202_0_6_line_39 |  | 34 | 36 | 0.01213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2701-202_0_6_line_40 |  | 35 | 46 | 0.0086711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-202_0_6_line_41 |  | 36 | 45 | 0.022341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2701-202_0_6_line_42 |  | 37 | 38 | 0.0095375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-202_0_6_line_43 |  | 38 | 39 | 0.0070501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-202_0_6_line_44 |  | 39 | 40 | 0.01054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-202_0_6_line_45 |  | 40 | 41 | 0.015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-202_0_6_line_46 |  | 41 | 42 | 0.0090834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-202_0_6_line_47 |  | 42 | 43 | 0.071619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-202_0_6_line_48 |  | 43 | 51 | 0.076572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-202_0_6_line_49 |  | 44 | 45 | 0.017518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2701-202_0_6_line_50 |  | 46 | 60 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-202_0_6_line_51 |  | 47 | 48 | 0.0041471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-202_0_6_line_52 |  | 47 | 49 | 0.0077915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-202_0_6_line_53 |  | 48 | 60 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-202_0_6_line_54 |  | 49 | 54 | 0.015301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-202_0_6_line_55 |  | 50 | 58 | 0.10534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-202_0_6_line_56 |  | 51 | 52 | 0.031282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-202_0_6_line_57 |  | 52 | 61 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-202_0_6_line_58 |  | 53 | 54 | 0.03645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-202_0_6_line_59 |  | 53 | 55 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-202_0_6_line_60 |  | 54 | 59 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-202_0_6_line_61 |  | 56 | 57 | 0.02556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-202_0_6_line_62 |  | 56 | 58 | 0.021402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-202_0_6_line_63 |  | 59 | 64 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-202_0_6_line_64 |  | 61 | 63 | 0.02165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-202_0_6_line_65 |  | 62 | 63 | 0.0097951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-202_0_6_line_66 |  | 63 | 65 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-202_0_6_line_67 |  | 65 | 67 | 0.0021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-202_0_6_line_68 |  | 67 | 70 | 0.0099449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-202_0_6_line_69 |  | 68 | 70 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_2701-202_0_6_line_70 |  | 69 | 71 | 0.0031568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-202_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 72 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2610556.9521 | 1268042.4871 | 2610557.6633 | 1268043.214
1 | 2610556.9521 | 1268042.4871 | 2610545.4288 | 1268030.7096
2 | 2610557.6633 | 1268043.214 | 2610564.6546 | 1268050.3595
3 | 2610545.4288 | 1268030.7096 | 2610535.5308 | 1268020.5932
4 | 2610564.6546 | 1268050.3595 | 2610570.2596 | 1268056.0881
5 | 2610575.8397 | 1268061.7914 | 2610570.2596 | 1268056.0881
6 | 2610575.8397 | 1268061.7914 | 2610577.989 | 1268063.9881 | 2610581.3442 | 1268067.5261
7 | 2610551.8143 | 1267947.9574 | 2610557.0388 | 1267941.8597
8 | 2610551.8143 | 1267947.9574 | 2610546.0529 | 1267954.6816
9 | 2610565.8521 | 1267931.5736 | 2610557.0388 | 1267941.8597
10 | 2610565.8521 | 1267931.5736 | 2610577.2303 | 1267940.7277
11 | 2610565.8521 | 1267931.5736 | 2610580.3744 | 1267914.8602
12 | 2610604.6905 | 1267962.2492 | 2610599.3022 | 1267958.4853 | 2610577.2303 | 1267940.7277
13 | 2610596.2456 | 1267896.5944 | 2610580.3744 | 1267914.8602
14 | 2610604.6905 | 1267962.2492 | 2610608.8748 | 1267965.172
15 | 2610606.2894 | 1267885.0351 | 2610596.2456 | 1267896.5944
16 | 2610597.8866 | 1267894.2813 | 2610581.8701 | 1267912.9265
17 | 2610606.2894 | 1267885.0351 | 2610605.2195 | 1267885.7448 | 2610597.8866 | 1267894.2813
18 | 2610611.6187 | 1268099.4507 | 2610598.8311 | 1268085.9661
19 | 2610618.8084 | 1268106.4017 | 2610611.6187 | 1268099.4507
20 | 2610611.6187 | 1268099.4507 | 2610622.1686 | 1268079.1504
21 | 2610587.3407 | 1268073.8494 | 2610598.8311 | 1268085.9661
22 | 2610618.8084 | 1268106.4017 | 2610628.4704 | 1268094.4217 | 2610636.8202 | 1268079.0258
23 | 2610634.0455 | 1268056.2968 | 2610622.1686 | 1268079.1504
24 | 2610657.1103 | 1268041.6137 | 2610636.8202 | 1268079.0258
25 | 2610531.8937 | 1267838.3545 | 2610530.4433 | 1267839.9433
26 | 2610537.1852 | 1267832.5576 | 2610531.8937 | 1267838.3545
27 | 2610619.2266 | 1267972.4029 | 2610608.8748 | 1267965.172
28 | 2610606.2894 | 1267885.0351 | 2610619.9931 | 1267875.9533
29 | 2610606.2894 | 1267885.0351 | 2610602.0695 | 1267879.6127 | 2610592.2525 | 1267868.6208 | 2610581.2612 | 1267855.7126
30 | 2610606.2894 | 1267885.0351 | 2610622.8045 | 1267875.5786
31 | 2610587.3407 | 1268073.8494 | 2610581.3442 | 1268067.5261
32 | 2610645.4297 | 1268034.4042 | 2610643.5553 | 1268037.998 | 2610634.0455 | 1268056.2968
33 | 2610657.1103 | 1268041.6137 | 2610702.4105 | 1268075.7513
34 | 2610656.1829 | 1268013.7872 | 2610651.5357 | 1268022.6972
35 | 2610645.4297 | 1268034.4042 | 2610651.5357 | 1268022.6972
36 | 2610660.7701 | 1268004.9922 | 2610656.1829 | 1268013.7872
37 | 2610665.6821 | 1267995.5745 | 2610660.7701 | 1268004.9922
38 | 2610665.6821 | 1267995.5745 | 2610674.6506 | 1267978.2394
39 | 2610665.6821 | 1267995.5745 | 2610654.6768 | 1267990.4742
40 | 2610678.635 | 1267970.538 | 2610674.6506 | 1267978.2394
41 | 2610634.4412 | 1267981.0085 | 2610636.4908 | 1267982.046 | 2610654.6768 | 1267990.4742
42 | 2610537.1852 | 1267832.5576 | 2610540.9284 | 1267828.457 | 2610543.5904 | 1267825.4911
43 | 2610548.2996 | 1267820.2444 | 2610543.5904 | 1267825.4911
44 | 2610548.2996 | 1267820.2444 | 2610555.3396 | 1267812.4008
45 | 2610565.5914 | 1267800.9671 | 2610565.1804 | 1267801.4367 | 2610555.3396 | 1267812.4008
46 | 2610565.5914 | 1267800.9671 | 2610571.5744 | 1267794.1325
47 | 2610618.7479 | 1267740.2447 | 2610571.5744 | 1267794.1325
48 | 2610618.7479 | 1267740.2447 | 2610621.9186 | 1267739.0607 | 2610625.4723 | 1267738.3332 | 2610629.2205 | 1267738.2176 | 2610632.493 | 1267739.0351 | 2610635.6133 | 1267740.7308 | 2610640.1127 | 1267745.6756 | 2610641.3857 | 1267749.2693 | 2610656.7547 | 1267795.1512
49 | 2610619.2266 | 1267972.4029 | 2610623.9264 | 1267975.6858 | 2610634.4412 | 1267981.0085
50 | 2610683.3964 | 1267961.3348 | 2610678.635 | 1267970.538
51 | 2610690.2569 | 1267948.0742 | 2610688.3512 | 1267951.7576
52 | 2610690.2569 | 1267948.0742 | 2610693.8364 | 1267941.1536
53 | 2610688.3512 | 1267951.7576 | 2610683.3964 | 1267961.3348
54 | 2610702.5585 | 1267929.0163 | 2610698.6399 | 1267931.8668 | 2610693.8364 | 1267941.1536
55 | 2610778.3275 | 1268029.9685 | 2610759.95 | 1268046.28 | 2610753.6385 | 1268053.0955 | 2610721.1316 | 1268088.0503 | 2610720.219 | 1268089.1716 | 2610702.4105 | 1268075.7513
56 | 2610656.7547 | 1267795.1512 | 2610658.3717 | 1267799.9686 | 2610665.2738 | 1267820.5732 | 2610666.7123 | 1267824.8065
57 | 2610674.0031 | 1267846.2625 | 2610666.7123 | 1267824.8065
58 | 2610702.5585 | 1267929.0163 | 2610709.6258 | 1267945.485 | 2610717.1388 | 1267944.3644 | 2610727.8746 | 1267946.4297
59 | 2610727.8746 | 1267946.4297 | 2610737.9203 | 1267959.3136
60 | 2610702.5585 | 1267929.0163 | 2610701.0821 | 1267925.5668 | 2610698.9941 | 1267919.364
61 | 2610764.1252 | 1268013.9204 | 2610747.6383 | 1268033.4932
62 | 2610778.3275 | 1268029.9685 | 2610764.1252 | 1268013.9204
63 | 2610691.7082 | 1267897.7204 | 2610698.9941 | 1267919.364
64 | 2610674.0031 | 1267846.2625 | 2610671.1178 | 1267847.8251 | 2610654.9135 | 1267856.5799
65 | 2610654.9135 | 1267856.5799 | 2610653.9277 | 1267852.3085 | 2610658.5631 | 1267849.5163
66 | 2610654.9135 | 1267856.5799 | 2610642.5338 | 1267863.3926
67 | 2610642.5338 | 1267863.3926 | 2610640.6731 | 1267864.4166
68 | 2610640.6731 | 1267864.4166 | 2610631.9604 | 1267869.2114
69 | 2610631.9604 | 1267869.2114 | 2610621.382 | 1267875.0328 | 2610619.9931 | 1267875.9533
70 | 2610579.2146 | 1267853.3091 | 2610581.2612 | 1267855.7126

## bus_geodata
| x | y | coords
0 | 2610556.9521 | 1268042.4871
1 | 2610557.6633 | 1268043.214
2 | 2610545.4288 | 1268030.7096
3 | 2610564.6546 | 1268050.3595
4 | 2610535.5308 | 1268020.5932
5 | 2610570.2596 | 1268056.0881
6 | 2610575.8397 | 1268061.7914
7 | 2610551.8143 | 1267947.9574
8 | 2610557.0388 | 1267941.8597
9 | 2610546.0529 | 1267954.6816
10 | 2610565.8521 | 1267931.5736
11 | 2610577.2303 | 1267940.7277
12 | 2610580.3744 | 1267914.8602
13 | 2610604.6905 | 1267962.2492
14 | 2610596.2456 | 1267896.5944
15 | 2610581.8701 | 1267912.9265
16 | 2610597.8866 | 1267894.2813
17 | 2610611.6187 | 1268099.4507
18 | 2610598.8311 | 1268085.9661
19 | 2610618.8084 | 1268106.4017
20 | 2610622.1686 | 1268079.1504
21 | 2610636.8202 | 1268079.0258
22 | 2610530.4433 | 1267839.9433
23 | 2610531.8937 | 1267838.3545
24 | 2610608.8748 | 1267965.172
25 | 2610606.2894 | 1267885.0351
26 | 2610581.3442 | 1268067.5261
27 | 2610587.3407 | 1268073.8494
28 | 2610634.0455 | 1268056.2968
29 | 2610657.1103 | 1268041.6137
30 | 2610651.5357 | 1268022.6972
31 | 2610656.1829 | 1268013.7872
32 | 2610645.4297 | 1268034.4042
33 | 2610660.7701 | 1268004.9922
34 | 2610665.6821 | 1267995.5745
35 | 2610674.6506 | 1267978.2394
36 | 2610654.6768 | 1267990.4742
37 | 2610537.1852 | 1267832.5576
38 | 2610543.5904 | 1267825.4911
39 | 2610548.2996 | 1267820.2444
40 | 2610555.3396 | 1267812.4008
41 | 2610565.5914 | 1267800.9671
42 | 2610571.5744 | 1267794.1325
43 | 2610618.7479 | 1267740.2447
44 | 2610619.2266 | 1267972.4029
45 | 2610634.4412 | 1267981.0085
46 | 2610678.635 | 1267970.538
47 | 2610690.2569 | 1267948.0742
48 | 2610688.3512 | 1267951.7576
49 | 2610693.8364 | 1267941.1536
50 | 2610702.4105 | 1268075.7513
51 | 2610656.7547 | 1267795.1512
52 | 2610666.7123 | 1267824.8065
53 | 2610727.8746 | 1267946.4297
54 | 2610702.5585 | 1267929.0163
55 | 2610737.9203 | 1267959.3136
56 | 2610764.1252 | 1268013.9204
57 | 2610747.6383 | 1268033.4932
58 | 2610778.3275 | 1268029.9685
59 | 2610698.9941 | 1267919.364
60 | 2610683.3964 | 1267961.3348
61 | 2610674.0031 | 1267846.2625
62 | 2610658.5631 | 1267849.5163
63 | 2610654.9135 | 1267856.5799
64 | 2610691.7082 | 1267897.7204
65 | 2610642.5338 | 1267863.3926
66 | 2610622.8045 | 1267875.5786
67 | 2610640.6731 | 1267864.4166
68 | 2610619.9931 | 1267875.9533
69 | 2610581.2612 | 1267855.7126
70 | 2610631.9604 | 1267869.2114
71 | 2610579.2146 | 1267853.3091
72 | 2610665.6821 | 1267995.5745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98796 | -0.22956 | 0.0049589 | 0.0012428
1 | 0.98798 | -0.22929 | 0.0087724 | 0.0021986
2 | 0.98781 | -0.23252 | 0.0075424 | 0.0018903
3 | 0.98819 | -0.22504 | 0.0029316 | 0.00073472
4 | 0.98778 | -0.23316 | 0.0025253 | 0.00063289
5 | 0.98839 | -0.22122 | 0.0024622 | 0.00061709
6 | 0.9886 | -0.21706 | 0.0024539 | 0.000615
7 | 0.99445 | -0.10557 | 0.0022511 | 0.00056418
8 | 0.99449 | -0.10485 | 0.0017149 | 0.00042979
9 | 0.99443 | -0.10601 | 0.0028434 | 0.00071262
10 | 0.99457 | -0.10322 | 0 | 0
11 | 0.99568 | -0.082127 | 0.0033347 | 0.00083576
12 | 0.99295 | -0.13441 | 0.0066817 | 0.0016746
13 | 0.99836 | -0.031223 | 0.01074 | 0.0026916
14 | 0.99122 | -0.16765 | 0.015976 | 0.0040039
15 | 0.98979 | -0.19506 | 0.0079804 | 0.0020001
16 | 0.98997 | -0.19157 | 0.011204 | 0.0028081
17 | 0.99033 | -0.18351 | 0 | 0
18 | 0.98968 | -0.1962 | 0.0013012 | 0.00032612
19 | 0.98998 | -0.19024 | 0 | 0
20 | 0.99141 | -0.16291 | 0.00066226 | 0.00016598
21 | 0.98882 | -0.21245 | 0.0075338 | 0.0018882
22 | 0.97109 | -0.55854 | 0.0051787 | 0.0012979
23 | 0.9711 | -0.55833 | 0.0094829 | 0.0023766
24 | 0.99876 | -0.023483 | 0.059406 | 0.014889
25 | 0.99019 | -0.18729 | 0 | 0
26 | 0.98884 | -0.21257 | 0.0027248 | 0.00068291
27 | 0.98911 | -0.20724 | 0.0027389 | 0.00068642
28 | 0.99263 | -0.13967 | 0.0087039 | 0.0021814
29 | 0.98741 | -0.23935 | 0 | 0
30 | 0.99453 | -0.10352 | 0.00077515 | 0.00019427
31 | 0.99504 | -0.093833 | 0.00077997 | 0.00019548
32 | 0.99387 | -0.11619 | 0.0017914 | 0.00044898
33 | 0.99555 | -0.08424 | 0.00086794 | 0.00021753
34 | 0.9961 | -0.073925 | 0 | 0
35 | 0.99483 | -0.098257 | 0.0035942 | 0.0009008
36 | 0.99698 | -0.057132 | 0.0076919 | 0.0019278
37 | 0.97121 | -0.55621 | 0.0039939 | 0.001001
38 | 0.97138 | -0.55292 | 0.0054065 | 0.001355
39 | 0.97154 | -0.54979 | 0.020721 | 0.0051932
40 | 0.97198 | -0.54108 | 0.0095585 | 0.0023956
41 | 0.97276 | -0.52569 | 0.0047109 | 0.0011807
42 | 0.97326 | -0.51582 | 0.0031125 | 0.00078008
43 | 0.97741 | -0.43424 | 0 | 0
44 | 1 | 0 | -0.57691 | -0.1471
45 | 0.99866 | -0.025279 | 0.0037011 | 0.0009276
46 | 0.9943 | -0.10854 | 0.0028108 | 0.00070445
47 | 0.99291 | -0.13533 | 0 | 0
48 | 0.99312 | -0.13135 | 0.0036129 | 0.00090548
49 | 0.99252 | -0.14282 | 0.0076168 | 0.001909
50 | 0.98459 | -0.29336 | 0.0083217 | 0.0020856
51 | 0.98186 | -0.34778 | 0 | 0
52 | 0.98367 | -0.31268 | 0.0080608 | 0.0020202
53 | 0.99105 | -0.17141 | 0 | 0
54 | 0.99187 | -0.15547 | 0 | 0
55 | 0.99068 | -0.17856 | 0.024664 | 0.0061814
56 | 0.973 | -0.51908 | 0 | 0
57 | 0.97066 | -0.56525 | 0.097885 | 0.024532
58 | 0.97495 | -0.48058 | 0 | 0
59 | 0.99166 | -0.15949 | 0.006291 | 0.0015767
60 | 0.99369 | -0.12032 | 0.0065518 | 0.001642
61 | 0.98516 | -0.28406 | 0 | 0
62 | 0.98644 | -0.25947 | 0.015306 | 0.003836
63 | 0.98658 | -0.25679 | 0 | 0
64 | 0.99133 | -0.16586 | 0.015733 | 0.003943
65 | 0.9877 | -0.23517 | 0.0068206 | 0.0017094
66 | 0.98989 | -0.1933 | 0.017744 | 0.0044472
67 | 0.98788 | -0.23166 | 0.0084656 | 0.0021217
68 | 0.98954 | -0.19977 | 0.013582 | 0.0034039
69 | 0.98836 | -0.22287 | 0.031732 | 0.0079527
70 | 0.98882 | -0.21377 | 0.013591 | 0.0034063
71 | 0.9883 | -0.224 | 0.020069 | 0.0050296
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015028 | -0.0037666 | 0.015028 | 0.0037667 | 1.9537e-07 | 1.1202e-07 | 0.022635 | 0.022635 | 0.022635 | 0.98796 | -0.22956 | 0.98798 | -0.22929 | 6.2183
1 | 0.010069 | 0.0025238 | -0.010068 | -0.0025231 | 1.4211e-06 | 6.9857e-07 | 0.015166 | 0.015166 | 0.015166 | 0.98796 | -0.22956 | 0.98781 | -0.23252 | 4.1664
2 | -0.023801 | -0.0059653 | 0.023805 | 0.0059682 | 4.8172e-06 | 2.955e-06 | 0.035847 | 0.035847 | 0.035847 | 0.98798 | -0.22929 | 0.98819 | -0.22504 | 9.848
3 | 0.0025253 | 0.00063276 | -0.0025253 | -0.00063289 | 7.6805e-08 | -1.3202e-07 | 0.0038041 | 0.0038041 | 0.0038041 | 0.98781 | -0.23252 | 0.98778 | -0.23316 | 1.0451
4 | -0.026737 | -0.0067029 | 0.026742 | 0.0067059 | 4.8717e-06 | 3.0152e-06 | 0.040261 | 0.040261 | 0.040261 | 0.98819 | -0.22504 | 0.98839 | -0.22122 | 11.0607
5 | -0.029204 | -0.007323 | 0.02921 | 0.0073266 | 5.7844e-06 | 3.5997e-06 | 0.043968 | 0.043968 | 0.043968 | 0.98839 | -0.22122 | 0.9886 | -0.21706 | 12.0791
6 | -0.031664 | -0.0079416 | 0.031671 | 0.0079459 | 6.7716e-06 | 4.2318e-06 | 0.047661 | 0.047661 | 0.047661 | 0.9886 | -0.21706 | 0.98884 | -0.21257 | 13.0938
7 | -0.0050946 | -0.0012767 | 0.0050947 | 0.0012767 | 1.7498e-07 | 7.8039e-09 | 0.007623 | 0.007623 | 0.007623 | 0.99445 | -0.10557 | 0.99449 | -0.10485 | 2.0942
8 | 0.0028435 | 0.00071255 | -0.0028434 | -0.00071262 | 6.011e-08 | -7.641e-08 | 0.0042547 | 0.0042547 | 0.0042547 | 0.99445 | -0.10557 | 0.99443 | -0.10601 | 1.1689
9 | -0.0068096 | -0.0017065 | 0.0068101 | 0.0017067 | 5.2732e-07 | 1.6172e-07 | 0.010189 | 0.010189 | 0.010189 | 0.99449 | -0.10485 | 0.99457 | -0.10322 | 2.7991
10 | -0.24848 | -0.063157 | 0.24873 | 0.063318 | 0.00025271 | 0.00016116 | 0.37207 | 0.37207 | 0.37207 | 0.99457 | -0.10322 | 0.99568 | -0.082127 | 34.0723
11 | 0.24167 | 0.061451 | -0.24131 | -0.061219 | 0.00036245 | 0.00023111 | 0.36188 | 0.36188 | 0.36188 | 0.99457 | -0.10322 | 0.99295 | -0.13441 | 33.1393
12 | -0.25207 | -0.064154 | 0.25269 | 0.06455 | 0.00062023 | 0.00039558 | 0.37705 | 0.37705 | 0.37705 | 0.99568 | -0.082127 | 0.99836 | -0.031223 | 34.5287
13 | 0.23462 | 0.059545 | -0.23425 | -0.059306 | 0.00037449 | 0.00023874 | 0.35187 | 0.35187 | 0.35187 | 0.99295 | -0.13441 | 0.99122 | -0.16765 | 32.2224
14 | -0.26343 | -0.067241 | 0.26352 | 0.067304 | 9.8569e-05 | 6.2884e-05 | 0.39306 | 0.39306 | 0.39306 | 0.99836 | -0.031223 | 0.99876 | -0.023483 | 35.9945
15 | 0.21827 | 0.055302 | -0.21807 | -0.055171 | 0.00020579 | 0.00013111 | 0.32789 | 0.32789 | 0.32789 | 0.99122 | -0.16765 | 0.99019 | -0.18729 | 30.0262
16 | -0.0079804 | -0.0020001 | 0.0079818 | 0.0020006 | 1.3267e-06 | 5.3313e-07 | 0.011997 | 0.011997 | 0.011997 | 0.98979 | -0.19506 | 0.98997 | -0.19157 | 3.296
17 | -0.019186 | -0.0048087 | 0.01919 | 0.004811 | 3.91e-06 | 2.3412e-06 | 0.028838 | 0.028838 | 0.028838 | 0.98997 | -0.19157 | 0.99019 | -0.18729 | 7.9226
18 | 0.038487 | 0.0096738 | -0.038464 | -0.0096591 | 2.3313e-05 | 1.4681e-05 | 0.057838 | 0.057838 | 0.057838 | 0.99033 | -0.18351 | 0.98968 | -0.1962 | 15.8897
19 | 0.11561 | 0.029696 | -0.11557 | -0.029673 | 3.7775e-05 | 2.379e-05 | 0.17397 | 0.17397 | 0.17397 | 0.99033 | -0.18351 | 0.98998 | -0.19024 | 15.9312
20 | -0.1541 | -0.03937 | 0.15425 | 0.039468 | 0.00015367 | 9.7462e-05 | 0.23181 | 0.23181 | 0.23181 | 0.99033 | -0.18351 | 0.99141 | -0.16291 | 21.2277
21 | 0.037163 | 0.009333 | -0.037143 | -0.0093207 | 1.9555e-05 | 1.2301e-05 | 0.055882 | 0.055882 | 0.055882 | 0.98968 | -0.1962 | 0.98911 | -0.20724 | 15.3522
22 | 0.11557 | 0.029673 | -0.11545 | -0.029594 | 0.00012448 | 7.8402e-05 | 0.17397 | 0.17397 | 0.17397 | 0.98998 | -0.19024 | 0.98882 | -0.21245 | 15.9312
23 | -0.15491 | -0.039634 | 0.15509 | 0.039744 | 0.00017448 | 0.00011067 | 0.2328 | 0.2328 | 0.2328 | 0.99141 | -0.16291 | 0.99263 | -0.13967 | 21.3187
24 | 0.10791 | 0.027706 | -0.10777 | -0.027618 | 0.00014071 | 8.8419e-05 | 0.16263 | 0.16263 | 0.16263 | 0.98882 | -0.21245 | 0.98741 | -0.23935 | 14.8931
25 | -0.0051787 | -0.0012979 | 0.0051788 | 0.0012979 | 5.0801e-08 | 5.8967e-09 | 0.0079354 | 0.0079354 | 0.0079354 | 0.97109 | -0.55854 | 0.9711 | -0.55833 | 2.1801
26 | -0.014662 | -0.0036746 | 0.014663 | 0.0036754 | 1.4855e-06 | 8.5363e-07 | 0.022466 | 0.022466 | 0.022466 | 0.9711 | -0.55833 | 0.97121 | -0.55621 | 6.172
27 | -0.32293 | -0.082193 | 0.3233 | 0.082427 | 0.00036604 | 0.00023377 | 0.48157 | 0.48157 | 0.48157 | 0.99876 | -0.023483 | 1 | 0 | 44.0995
28 | 0.12924 | 0.032871 | -0.12916 | -0.032822 | 7.7649e-05 | 4.9061e-05 | 0.19439 | 0.19439 | 0.19439 | 0.99019 | -0.18729 | 0.98954 | -0.19977 | 17.8009
29 | 0.051889 | 0.013039 | -0.051801 | -0.012983 | 8.7955e-05 | 5.5796e-05 | 0.077989 | 0.077989 | 0.077989 | 0.99019 | -0.18729 | 0.98836 | -0.22287 | 21.4255
30 | 0.017749 | 0.0044502 | -0.017744 | -0.0044472 | 5.0776e-06 | 3.0049e-06 | 0.026674 | 0.026674 | 0.026674 | 0.99019 | -0.18729 | 0.98989 | -0.1933 | 7.328
31 | -0.034395 | -0.0086288 | 0.034404 | 0.0086343 | 8.7557e-06 | 5.4918e-06 | 0.051762 | 0.051762 | 0.051762 | 0.98884 | -0.21257 | 0.98911 | -0.20724 | 14.2203
32 | -0.16379 | -0.041926 | 0.16398 | 0.042044 | 0.00018643 | 0.00011835 | 0.24585 | 0.24585 | 0.24585 | 0.99263 | -0.13967 | 0.99387 | -0.11619 | 22.5135
33 | 0.10777 | 0.027618 | -0.10749 | -0.027439 | 0.0002813 | 0.00017859 | 0.16263 | 0.16263 | 0.16263 | 0.98741 | -0.23935 | 0.98459 | -0.29336 | 22.3397
34 | -0.16665 | -0.042752 | 0.16673 | 0.042802 | 7.8313e-05 | 4.9729e-05 | 0.24969 | 0.24969 | 0.24969 | 0.99453 | -0.10352 | 0.99504 | -0.093833 | 22.8652
35 | 0.16587 | 0.042558 | -0.16577 | -0.042493 | 0.00010194 | 6.473e-05 | 0.24853 | 0.24853 | 0.24853 | 0.99453 | -0.10352 | 0.99387 | -0.11619 | 22.759
36 | -0.16751 | -0.042997 | 0.16758 | 0.043047 | 7.8026e-05 | 4.955e-05 | 0.25085 | 0.25085 | 0.25085 | 0.99504 | -0.093833 | 0.99555 | -0.08424 | 22.972
37 | -0.16845 | -0.043264 | 0.16854 | 0.043318 | 8.4417e-05 | 5.3612e-05 | 0.25215 | 0.25215 | 0.25215 | 0.99555 | -0.08424 | 0.9961 | -0.073925 | 23.0908
38 | 0.071151 | 0.017938 | -0.071069 | -0.017885 | 8.2745e-05 | 5.2703e-05 | 0.10633 | 0.10633 | 0.10633 | 0.9961 | -0.073925 | 0.99483 | -0.098257 | 29.2106
39 | -0.23969 | -0.061256 | 0.23988 | 0.06138 | 0.00019484 | 0.00012423 | 0.35848 | 0.35848 | 0.35848 | 0.9961 | -0.073925 | 0.99698 | -0.057132 | 32.8276
40 | 0.067474 | 0.016984 | -0.067441 | -0.016963 | 3.3138e-05 | 2.1096e-05 | 0.10095 | 0.10095 | 0.10095 | 0.99483 | -0.098257 | 0.9943 | -0.10854 | 27.7337
41 | -0.24757 | -0.063308 | 0.24796 | 0.063552 | 0.00038223 | 0.00024375 | 0.36996 | 0.36996 | 0.36996 | 0.99698 | -0.057132 | 0.99866 | -0.025279 | 33.8789
42 | -0.018657 | -0.0046764 | 0.01866 | 0.0046781 | 2.9224e-06 | 1.7523e-06 | 0.028585 | 0.028585 | 0.028585 | 0.97121 | -0.55621 | 0.97138 | -0.55292 | 7.853
43 | -0.024066 | -0.0060331 | 0.02407 | 0.0060353 | 3.5934e-06 | 2.2125e-06 | 0.036867 | 0.036867 | 0.036867 | 0.97138 | -0.55292 | 0.97154 | -0.54979 | 10.1283
44 | -0.044791 | -0.011229 | 0.04481 | 0.01124 | 1.8602e-05 | 1.1775e-05 | 0.068604 | 0.068604 | 0.068604 | 0.97154 | -0.54979 | 0.97198 | -0.54108 | 18.8472
45 | -0.054368 | -0.013636 | 0.054408 | 0.013661 | 3.9899e-05 | 2.5345e-05 | 0.083237 | 0.083237 | 0.083237 | 0.97198 | -0.54108 | 0.97276 | -0.52569 | 22.8673
46 | -0.059119 | -0.014842 | 0.059147 | 0.01486 | 2.7863e-05 | 1.772e-05 | 0.090443 | 0.090443 | 0.090443 | 0.97276 | -0.52569 | 0.97326 | -0.51582 | 24.847
47 | -0.06226 | -0.01564 | 0.062503 | 0.015795 | 0.00024342 | 0.00015489 | 0.095202 | 0.095202 | 0.095202 | 0.97326 | -0.51582 | 0.97741 | -0.43424 | 26.1544
48 | -0.062503 | -0.015795 | 0.062763 | 0.01596 | 0.00026025 | 0.00016559 | 0.095202 | 0.095201 | 0.095202 | 0.97741 | -0.43424 | 0.98186 | -0.34778 | 26.1543
49 | 0.25197 | 0.064676 | -0.25166 | -0.064479 | 0.00030871 | 0.00019689 | 0.37547 | 0.37547 | 0.37547 | 1 | 0 | 0.99866 | -0.025279 | 34.3839
50 | 0.06463 | 0.016259 | -0.064594 | -0.016236 | 3.6368e-05 | 2.3141e-05 | 0.096744 | 0.096744 | 0.096744 | 0.9943 | -0.10854 | 0.99369 | -0.12032 | 26.5781
51 | -0.054388 | -0.013662 | 0.054399 | 0.013669 | 1.0335e-05 | 6.5607e-06 | 0.08152 | 0.08152 | 0.08152 | 0.99291 | -0.13533 | 0.99312 | -0.13135 | 22.3956
52 | 0.054388 | 0.013662 | -0.054369 | -0.01365 | 1.9417e-05 | 1.2326e-05 | 0.08152 | 0.08152 | 0.08152 | 0.99291 | -0.13533 | 0.99252 | -0.14282 | 22.3956
53 | -0.058012 | -0.014574 | 0.058042 | 0.014594 | 3.0559e-05 | 1.9418e-05 | 0.086933 | 0.086933 | 0.086933 | 0.99312 | -0.13135 | 0.99369 | -0.12032 | 23.8828
54 | 0.046752 | 0.011741 | -0.046724 | -0.011723 | 2.8197e-05 | 1.7848e-05 | 0.070101 | 0.070101 | 0.070101 | 0.99252 | -0.14282 | 0.99187 | -0.15547 | 19.2584
55 | 0.099171 | 0.025353 | -0.098281 | -0.024785 | 0.00088948 | 0.00056794 | 0.15006 | 0.15006 | 0.15006 | 0.98459 | -0.29336 | 0.97495 | -0.48058 | 41.2245
56 | -0.062763 | -0.01596 | 0.06287 | 0.016028 | 0.00010632 | 6.7649e-05 | 0.095201 | 0.095201 | 0.095201 | 0.98186 | -0.34778 | 0.98367 | -0.31268 | 26.1542
57 | -0.07093 | -0.018048 | 0.071028 | 0.018111 | 9.8011e-05 | 6.2439e-05 | 0.10739 | 0.10739 | 0.10739 | 0.98367 | -0.31268 | 0.98516 | -0.28406 | 29.504
58 | -0.024672 | -0.0061866 | 0.024691 | 0.0061981 | 1.8759e-05 | 1.1536e-05 | 0.037046 | 0.037046 | 0.037046 | 0.99105 | -0.17141 | 0.99187 | -0.15547 | 10.1774
59 | 0.024672 | 0.0061866 | -0.024664 | -0.0061814 | 8.408e-06 | 5.1707e-06 | 0.037046 | 0.037046 | 0.037046 | 0.99105 | -0.17141 | 0.99068 | -0.17856 | 10.1775
60 | 0.022033 | 0.005525 | -0.022029 | -0.0055224 | 4.2191e-06 | 2.5673e-06 | 0.033055 | 0.033055 | 0.033055 | 0.99187 | -0.15547 | 0.99166 | -0.15949 | 9.0811
61 | 0.098101 | 0.02467 | -0.097885 | -0.024532 | 0.00021583 | 0.00013781 | 0.15006 | 0.15006 | 0.15006 | 0.973 | -0.51908 | 0.97066 | -0.56525 | 41.2245
62 | -0.098101 | -0.02467 | 0.098281 | 0.024785 | 0.00018072 | 0.00011539 | 0.15006 | 0.15006 | 0.15006 | 0.973 | -0.51908 | 0.97495 | -0.48058 | 41.2245
63 | 0.015738 | 0.0039458 | -0.015733 | -0.003943 | 4.7759e-06 | 2.762e-06 | 0.023615 | 0.023615 | 0.023615 | 0.99166 | -0.15949 | 0.99133 | -0.16586 | 6.4877
64 | -0.071028 | -0.018111 | 0.071122 | 0.01817 | 9.3638e-05 | 5.9652e-05 | 0.10739 | 0.10739 | 0.10739 | 0.98516 | -0.28406 | 0.98658 | -0.25679 | 29.504
65 | -0.015306 | -0.003836 | 0.015308 | 0.0038371 | 1.9581e-06 | 1.1281e-06 | 0.023089 | 0.023088 | 0.023089 | 0.98644 | -0.25947 | 0.98658 | -0.25679 | 6.343
66 | -0.08643 | -0.022007 | 0.08652 | 0.022065 | 9.0218e-05 | 5.7559e-05 | 0.13048 | 0.13048 | 0.13048 | 0.98658 | -0.25679 | 0.9877 | -0.23517 | 35.8469
67 | -0.093341 | -0.023774 | 0.093357 | 0.023784 | 1.578e-05 | 1.0072e-05 | 0.14076 | 0.14076 | 0.14076 | 0.9877 | -0.23517 | 0.98788 | -0.23166 | 38.6698
68 | -0.10182 | -0.025906 | 0.10191 | 0.025962 | 8.7882e-05 | 5.6117e-05 | 0.15351 | 0.15351 | 0.15351 | 0.98788 | -0.23166 | 0.98882 | -0.21377 | 42.173
69 | 0.11558 | 0.029418 | -0.1155 | -0.029369 | 7.7969e-05 | 4.9547e-05 | 0.17396 | 0.17396 | 0.17396 | 0.98954 | -0.19977 | 0.98882 | -0.21377 | 23.8959
70 | 0.02007 | 0.0050303 | -0.020069 | -0.0050296 | 1.0808e-06 | 6.5125e-07 | 0.030216 | 0.030216 | 0.030216 | 0.98836 | -0.22287 | 0.9883 | -0.224 | 8.301

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58417 | 0.14892

## res_load
| p_mw | q_mvar
0 | 0.0049589 | 0.0012428
1 | 0.0087724 | 0.0021986
2 | 0.0075424 | 0.0018903
3 | 0.0029316 | 0.00073472
4 | 0.0025253 | 0.00063289
5 | 0.0024622 | 0.00061709
6 | 0.0024539 | 0.000615
7 | 0.0022511 | 0.00056418
8 | 0.0017149 | 0.00042979
9 | 0.0028434 | 0.00071262
10 | 0.0033347 | 0.00083576
11 | 0.0066817 | 0.0016746
12 | 0.01074 | 0.0026916
13 | 0.015976 | 0.0040039
14 | 0.0079804 | 0.0020001
15 | 0.011204 | 0.0028081
16 | 0.0013012 | 0.00032612
17 | 0.00066226 | 0.00016598
18 | 0.0075338 | 0.0018882
19 | 0.0051787 | 0.0012979
20 | 0.0094829 | 0.0023766
21 | 0.059406 | 0.014889
22 | 0.0027248 | 0.00068291
23 | 0.0027389 | 0.00068642
24 | 0.0087039 | 0.0021814
25 | 0.00077515 | 0.00019427
26 | 0.00077997 | 0.00019548
27 | 0.0017914 | 0.00044898
28 | 0.00086794 | 0.00021753
29 | 0.0035942 | 0.0009008
30 | 0.0076919 | 0.0019278
31 | 0.0039939 | 0.001001
32 | 0.0054065 | 0.001355
33 | 0.020721 | 0.0051932
34 | 0.0095585 | 0.0023956
35 | 0.0047109 | 0.0011807
36 | 0.0031125 | 0.00078008
37 | 0.0072539 | 0.001818
38 | 0.0037011 | 0.0009276
39 | 0.0028108 | 0.00070445
40 | 0.0036129 | 0.00090548
41 | 0.0076168 | 0.001909
42 | 0.0083217 | 0.0020856
43 | 0.0080608 | 0.0020202
44 | 0.024664 | 0.0061814
45 | 0.097885 | 0.024532
46 | 0.006291 | 0.0015767
47 | 0.0065518 | 0.001642
48 | 0.015306 | 0.003836
49 | 0.015733 | 0.003943
50 | 0.0068206 | 0.0017094
51 | 0.017744 | 0.0044472
52 | 0.0084656 | 0.0021217
53 | 0.013582 | 0.0034039
54 | 0.031732 | 0.0079527
55 | 0.013591 | 0.0034063
56 | 0.020069 | 0.0050296

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1