## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-208_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-208_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-208_0_6_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2701-208_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2701-208_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-208_0_6_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_2701-208_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2701-208_0_6_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2701-208_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_2701-208_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2701-208_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2701-208_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2701-208_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2701-208_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-208_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2701-208_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2701-208_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2701-208_0_6_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_2701-208_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2701-208_0_6_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2701-208_0_6_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2701-208_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2701-208_0_6_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2701-208_0_6_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2701-208_0_6_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_2701-208_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2701-208_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2701-208_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2701-208_0_6_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2701-208_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2701-208_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_MV_560_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-208_0_6_load_0 | 0 | 0.036134 | 0.0090561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-208_0_6_load_33 | 5 | 0.028523 | 0.0071486 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-208_0_6_load_28 | 6 | 0.05706 | 0.014301 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-208_0_6_load_21 | 7 | 0.03574 | 0.0089572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-208_0_6_load_8 | 8 | 0.088603 | 0.022206 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-208_0_6_load_7 | 9 | 0.037557 | 0.0094126 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-208_0_6_load_11 | 12 | 0.043692 | 0.01095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-208_0_6_load_9 | 13 | 0.0092441 | 0.0023168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-208_0_6_load_13 | 16 | 0.036683 | 0.0091935 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-208_0_6_load_34 | 17 | 0.0034005 | 0.00085225 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-208_0_6_load_27 | 19 | 0.013701 | 0.0034339 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-208_0_6_load_25 | 20 | 0.019267 | 0.0048288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-208_0_6_load_31 | 23 | 0.032473 | 0.0081385 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-208_0_6_load_29 | 24 | 0.031638 | 0.0079292 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-208_0_6_load_12 | 25 | 0.052474 | 0.013151 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-208_0_6_load_22 | 26 | 0.0050717 | 0.0012711 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-208_0_6_load_23 | 27 | 0.0095201 | 0.002386 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-208_0_6_load_32 | 28 | 0.020092 | 0.0050355 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-208_0_6_load_30 | 29 | 0.028471 | 0.0071356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-208_0_6_load_26 | 30 | 0.017287 | 0.0043326 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-208_0_6_line_0 |  | 0 | 1 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-208_0_6_line_1 |  | 1 | 2 | 0.006107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-208_0_6_line_2 |  | 2 | 7 | 0.017563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-208_0_6_line_3 |  | 2 | 3 | 0.008969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-208_0_6_line_4 |  | 3 | 4 | 0.005962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-208_0_6_line_5 |  | 3 | 5 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-208_0_6_line_6 |  | 4 | 6 | 0.0091791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-208_0_6_line_7 |  | 5 | 23 | 0.008165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-208_0_6_line_8 |  | 6 | 24 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-208_0_6_line_9 |  | 7 | 15 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-208_0_6_line_10 |  | 8 | 9 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-208_0_6_line_11 |  | 9 | 13 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-208_0_6_line_12 |  | 10 | 11 | 0.004497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-208_0_6_line_13 |  | 10 | 12 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2701-208_0_6_line_14 |  | 10 | 13 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-208_0_6_line_15 |  | 11 | 14 | 0.0088341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-208_0_6_line_16 |  | 12 | 25 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2701-208_0_6_line_17 |  | 14 | 17 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-208_0_6_line_18 |  | 15 | 16 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_2701-208_0_6_line_19 |  | 16 | 25 | 0.0069626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-208_0_6_line_20 |  | 17 | 21 | 0.0092492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-208_0_6_line_21 |  | 18 | 19 | 0.005971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-208_0_6_line_22 |  | 18 | 20 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-208_0_6_line_23 |  | 20 | 22 | 0.021995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-208_0_6_line_24 |  | 21 | 22 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-208_0_6_line_25 |  | 22 | 30 | 0.006398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-208_0_6_line_26 |  | 22 | 27 | 0.0072752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-208_0_6_line_27 |  | 23 | 29 | 0.0096949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-208_0_6_line_28 |  | 26 | 27 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-208_0_6_line_29 |  | 28 | 29 | 0.0079774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-208_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 31 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2611074.8425 | 1267050.9612 | 2611076.8702 | 1267045.3721 | 2611082.1761 | 1267051.7688
1 | 2611069.2394 | 1267048.4934 | 2611074.8425 | 1267050.9612
2 | 2611069.2394 | 1267048.4934 | 2611075.4982 | 1267034.3508 | 2611076.287 | 1267032.4076
3 | 2611069.2394 | 1267048.4934 | 2611060.8906 | 1267045.1533
4 | 2611055.2338 | 1267043.2193 | 2611060.8906 | 1267045.1533
5 | 2611060.8906 | 1267045.1533 | 2611065.179 | 1267034.1092 | 2611068.7638 | 1267025.1465
6 | 2611055.2338 | 1267043.2193 | 2611049.4181 | 1267041.7296 | 2611046.2903 | 1267041.1799
7 | 2611068.7638 | 1267025.1465 | 2611071.7961 | 1267017.5655
8 | 2611046.2903 | 1267041.1799 | 2611031.8371 | 1267038.6395
9 | 2611084.4583 | 1267012.6968 | 2611079.4758 | 1267024.5513 | 2611076.287 | 1267032.4076
10 | 2611145.1006 | 1266997.3176 | 2611160.2607 | 1267006.6407
11 | 2611145.1006 | 1266997.3176 | 2611124.8913 | 1266984.8894
12 | 2611116.5466 | 1266976.4758 | 2611112.6283 | 1266978.7034
13 | 2611112.6283 | 1266978.7034 | 2611115.1225 | 1266989.2933 | 2611111.7272 | 1266997.4322
14 | 2611112.6283 | 1266978.7034 | 2611121.5854 | 1266982.8564 | 2611124.8913 | 1266984.8894
15 | 2611111.0031 | 1266970.2723 | 2611113.9891 | 1266971.4787 | 2611116.5466 | 1266976.4758
16 | 2611103.1984 | 1267017.8767 | 2611111.7272 | 1266997.4322
17 | 2611111.0031 | 1266970.2723 | 2611115.5099 | 1266959.2841 | 2611117.9261 | 1266953.3128
18 | 2611084.4583 | 1267012.6968 | 2611097.7071 | 1267017.7546
19 | 2611103.1984 | 1267017.8767 | 2611102.488 | 1267019.5797 | 2611097.7071 | 1267017.7546
20 | 2611121.5061 | 1266944.7852 | 2611119.601 | 1266949.1736 | 2611117.9261 | 1266953.3128
21 | 2611150.7411 | 1266909.1151 | 2611148.5385 | 1266903.5626
22 | 2611148.5385 | 1266903.5626 | 2611140.7007 | 1266920.7734
23 | 2611131.585 | 1266940.7902 | 2611140.7007 | 1266920.7734
24 | 2611121.5061 | 1266944.7852 | 2611131.585 | 1266940.7902
25 | 2611137.551 | 1266938.433 | 2611131.585 | 1266940.7902
26 | 2611131.585 | 1266940.7902 | 2611128.9576 | 1266947.5743
27 | 2611075.4567 | 1267008.5882 | 2611071.7961 | 1267017.5655 | 2611071.7961 | 1267017.5655
28 | 2611128.9576 | 1266947.5743 | 2611125.1947 | 1266957.2902
29 | 2611075.4567 | 1267008.5882 | 2611078.4687 | 1267001.2014

## bus_geodata
| x | y | coords
0 | 2611082.1761 | 1267051.7688
1 | 2611074.8425 | 1267050.9612
2 | 2611069.2394 | 1267048.4934
3 | 2611060.8906 | 1267045.1533
4 | 2611055.2338 | 1267043.2192
5 | 2611068.7638 | 1267025.1465
6 | 2611046.2903 | 1267041.1799
7 | 2611076.287 | 1267032.4076
8 | 2611160.2607 | 1267006.6407
9 | 2611145.1006 | 1266997.3176
10 | 2611112.6283 | 1266978.7034
11 | 2611116.5466 | 1266976.4758
12 | 2611111.7272 | 1266997.4322
13 | 2611124.8913 | 1266984.8894
14 | 2611111.0031 | 1266970.2723
15 | 2611084.4583 | 1267012.6968
16 | 2611097.7071 | 1267017.7546
17 | 2611117.9261 | 1266953.3128
18 | 2611148.5385 | 1266903.5626
19 | 2611150.7411 | 1266909.1151
20 | 2611140.7007 | 1266920.7734
21 | 2611121.5061 | 1266944.7852
22 | 2611131.585 | 1266940.7902
23 | 2611071.7961 | 1267017.5655
24 | 2611031.8371 | 1267038.6395
25 | 2611103.1984 | 1267017.8767
26 | 2611125.1947 | 1266957.2902
27 | 2611128.9576 | 1266947.5743
28 | 2611078.4687 | 1267001.2014
29 | 2611075.4567 | 1267008.5882
30 | 2611137.551 | 1266938.433
31 | 2611084.4583 | 1267012.6968

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99387 | -0.11758 | 0.036134 | 0.0090561
1 | 0.99434 | -0.10849 | 0 | 0
2 | 0.99454 | -0.1046 | 0 | 0
3 | 0.99373 | -0.12028 | 0 | 0
4 | 0.99325 | -0.12962 | 0 | 0
5 | 0.99158 | -0.16195 | 0.028523 | 0.0071486
6 | 0.9925 | -0.14402 | 0.05706 | 0.014301
7 | 0.99643 | -0.068402 | 0.03574 | 0.0089572
8 | 0.99061 | -0.1806 | 0.088603 | 0.022206
9 | 0.99205 | -0.15264 | 0.037557 | 0.0094126
10 | 0.9965 | -0.06703 | 0 | 0
11 | 0.99622 | -0.072419 | 0 | 0
12 | 0.99833 | -0.031887 | 0.043692 | 0.01095
13 | 0.99479 | -0.099775 | 0.0092441 | 0.0023168
14 | 0.99567 | -0.083014 | 0 | 0
15 | 0.99818 | -0.034732 | 0 | 0
16 | 0.99935 | -0.01242 | 0.036683 | 0.0091935
17 | 0.99452 | -0.10502 | 0.0034005 | 0.00085225
18 | 0.99244 | -0.14538 | 0 | 0
19 | 0.99236 | -0.14683 | 0.013701 | 0.0034339
20 | 0.99267 | -0.14079 | 0.019267 | 0.0048288
21 | 0.99398 | -0.1156 | 0 | 0
22 | 0.99334 | -0.12798 | 0 | 0
23 | 0.99097 | -0.17369 | 0.032473 | 0.0081385
24 | 0.99208 | -0.15223 | 0.031638 | 0.0079292
25 | 1 | 0 | -0.5593 | -0.14111
26 | 0.99319 | -0.13078 | 0.0050717 | 0.0012711
27 | 0.99324 | -0.12985 | 0.0095201 | 0.002386
28 | 0.99039 | -0.18489 | 0.020092 | 0.0050355
29 | 0.99054 | -0.18205 | 0.028471 | 0.0071356
30 | 0.99324 | -0.12993 | 0.017287 | 0.0043326
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036134 | -0.0090561 | 0.03615 | 0.0090659 | 1.5647e-05 | 9.8292e-06 | 0.0541 | 0.0541 | 0.0541 | 0.99387 | -0.11758 | 0.99434 | -0.10849 | 14.8626
1 | -0.03615 | -0.0090659 | 0.036157 | 0.0090701 | 6.7027e-06 | 4.2105e-06 | 0.0541 | 0.0541 | 0.0541 | 0.99434 | -0.10849 | 0.99454 | -0.1046 | 14.8626
2 | -0.23496 | -0.059107 | 0.23537 | 0.059367 | 0.00040715 | 0.00026012 | 0.35162 | 0.35162 | 0.35162 | 0.99454 | -0.1046 | 0.99643 | -0.068402 | 48.2999
3 | 0.19881 | 0.050037 | -0.19866 | -0.049942 | 0.00014886 | 9.504e-05 | 0.29752 | 0.29752 | 0.29752 | 0.99454 | -0.1046 | 0.99373 | -0.12028 | 40.8686
4 | 0.088811 | 0.022302 | -0.088772 | -0.022276 | 3.9549e-05 | 2.5234e-05 | 0.133 | 0.133 | 0.133 | 0.99373 | -0.12028 | 0.99325 | -0.12962 | 36.5389
5 | 0.10985 | 0.02764 | -0.10963 | -0.027501 | 0.00021824 | 0.00013939 | 0.16452 | 0.16452 | 0.16452 | 0.99373 | -0.12028 | 0.99158 | -0.16195 | 45.1983
6 | 0.088772 | 0.022276 | -0.088711 | -0.022238 | 6.089e-05 | 3.8851e-05 | 0.133 | 0.133 | 0.133 | 0.99325 | -0.12962 | 0.9925 | -0.14402 | 36.5389
7 | 0.081104 | 0.020352 | -0.081059 | -0.020324 | 4.5363e-05 | 2.8927e-05 | 0.12172 | 0.12172 | 0.12172 | 0.99158 | -0.16195 | 0.99097 | -0.17369 | 33.4392
8 | 0.03165 | 0.0079369 | -0.031638 | -0.0079292 | 1.2392e-05 | 7.7412e-06 | 0.047453 | 0.047453 | 0.047453 | 0.9925 | -0.14402 | 0.99208 | -0.15223 | 13.0367
9 | -0.27111 | -0.068325 | 0.27155 | 0.068604 | 0.00043748 | 0.00027915 | 0.40499 | 0.40499 | 0.40499 | 0.99643 | -0.068402 | 0.99818 | -0.034732 | 37.0874
10 | -0.088603 | -0.022206 | 0.088721 | 0.022282 | 0.00011822 | 7.5433e-05 | 0.13309 | 0.13309 | 0.13309 | 0.99061 | -0.1806 | 0.99205 | -0.15264 | 36.5639
11 | -0.12628 | -0.031694 | 0.1266 | 0.031898 | 0.00031924 | 0.000204 | 0.18943 | 0.18943 | 0.18943 | 0.99205 | -0.15264 | 0.99479 | -0.099775 | 52.0399
12 | 0.06847 | 0.017245 | -0.068453 | -0.017234 | 1.7639e-05 | 1.1231e-05 | 0.10227 | 0.10227 | 0.10227 | 0.9965 | -0.06703 | 0.99622 | -0.072419 | 28.0971
13 | -0.20453 | -0.051596 | 0.20487 | 0.051817 | 0.00034477 | 0.00022014 | 0.30553 | 0.30553 | 0.30553 | 0.9965 | -0.06703 | 0.99833 | -0.031887 | 41.9678
14 | 0.13605 | 0.034351 | -0.13584 | -0.034215 | 0.00021308 | 0.00013619 | 0.20325 | 0.20325 | 0.20325 | 0.9965 | -0.06703 | 0.99479 | -0.099775 | 55.8386
15 | 0.068453 | 0.017234 | -0.068418 | -0.017212 | 3.4651e-05 | 2.2062e-05 | 0.10227 | 0.10227 | 0.10227 | 0.99622 | -0.072419 | 0.99567 | -0.083014 | 28.0971
16 | -0.24856 | -0.062767 | 0.24894 | 0.063009 | 0.00038041 | 0.00024259 | 0.37065 | 0.37065 | 0.37065 | 0.99833 | -0.031887 | 1 | 0 | 33.9421
17 | 0.068418 | 0.017212 | -0.068346 | -0.017166 | 7.1852e-05 | 4.5747e-05 | 0.10227 | 0.10227 | 0.10227 | 0.99567 | -0.083014 | 0.99452 | -0.10502 | 28.0971
18 | -0.27155 | -0.068604 | 0.27184 | 0.068789 | 0.00029075 | 0.00018553 | 0.40499 | 0.40499 | 0.40499 | 0.99818 | -0.034732 | 0.99935 | -0.01242 | 37.0874
19 | -0.30852 | -0.077983 | 0.3087 | 0.0781 | 0.00018385 | 0.00011739 | 0.45961 | 0.45961 | 0.45961 | 0.99935 | -0.01242 | 1 | 0 | 42.0892
20 | 0.064946 | 0.016314 | -0.064913 | -0.016293 | 3.276e-05 | 2.0846e-05 | 0.097186 | 0.097186 | 0.097186 | 0.99452 | -0.10502 | 0.99398 | -0.1156 | 26.6994
21 | 0.013702 | 0.0034344 | -0.013701 | -0.0034339 | 9.4511e-07 | 5.2772e-07 | 0.020545 | 0.020545 | 0.020545 | 0.99244 | -0.14538 | 0.99236 | -0.14683 | 5.6442
22 | -0.013702 | -0.0034344 | 0.013705 | 0.0034361 | 2.9933e-06 | 1.6713e-06 | 0.020545 | 0.020545 | 0.020545 | 0.99244 | -0.14538 | 0.99267 | -0.14079 | 5.6442
23 | -0.032973 | -0.0082649 | 0.032993 | 0.0082775 | 2.0149e-05 | 1.2611e-05 | 0.049426 | 0.049426 | 0.049426 | 0.99267 | -0.14079 | 0.99334 | -0.12798 | 13.5786
24 | 0.064913 | 0.016293 | -0.064875 | -0.016269 | 3.8302e-05 | 2.4373e-05 | 0.097186 | 0.097186 | 0.097186 | 0.99398 | -0.1156 | 0.99334 | -0.12798 | 26.6994
25 | 0.017289 | 0.0043335 | -0.017287 | -0.0043326 | 1.6093e-06 | 9.4713e-07 | 0.025899 | 0.025899 | 0.025899 | 0.99334 | -0.12798 | 0.99324 | -0.12993 | 7.115
26 | 0.014593 | 0.0036578 | -0.014592 | -0.0036571 | 1.3038e-06 | 7.4026e-07 | 0.021861 | 0.021861 | 0.021861 | 0.99334 | -0.12798 | 0.99324 | -0.12985 | 6.0057
27 | 0.048586 | 0.012185 | -0.048566 | -0.012173 | 1.9352e-05 | 1.226e-05 | 0.072958 | 0.072958 | 0.072958 | 0.99097 | -0.17369 | 0.99054 | -0.18205 | 20.0433
28 | -0.0050717 | -0.0012711 | 0.0050719 | 0.0012711 | 2.2559e-07 | 9.5332e-09 | 0.0075985 | 0.0075985 | 0.0075985 | 0.99319 | -0.13078 | 0.99324 | -0.12985 | 2.0875
29 | -0.020092 | -0.0050355 | 0.020095 | 0.0050372 | 2.7261e-06 | 1.642e-06 | 0.030187 | 0.030187 | 0.030187 | 0.99039 | -0.18489 | 0.99054 | -0.18205 | 8.2932

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61177 | 0.15426

## res_load
| p_mw | q_mvar
0 | 0.036134 | 0.0090561
1 | 0.028523 | 0.0071486
2 | 0.05706 | 0.014301
3 | 0.03574 | 0.0089572
4 | 0.088603 | 0.022206
5 | 0.037557 | 0.0094126
6 | 0.043692 | 0.01095
7 | 0.0092441 | 0.0023168
8 | 0.036683 | 0.0091935
9 | 0.0034005 | 0.00085225
10 | 0.013701 | 0.0034339
11 | 0.019267 | 0.0048288
12 | 0.032473 | 0.0081385
13 | 0.031638 | 0.0079292
14 | 0.052474 | 0.013151
15 | 0.0050717 | 0.0012711
16 | 0.0095201 | 0.002386
17 | 0.020092 | 0.0050355
18 | 0.028471 | 0.0071356
19 | 0.017287 | 0.0043326

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1