## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-212_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-212_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-212_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-212_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-212_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-212_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-212_0_6_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_2701-212_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-212_0_6_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_2701-212_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2701-212_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2701-212_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2701-212_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2701-212_0_6_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_2701-212_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2701-212_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2701-212_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2701-212_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2701-212_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2701-212_0_6_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_2701-212_0_6_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2701-212_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2701-212_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2701-212_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2701-212_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2701-212_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2701-212_0_6_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2701-212_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_2701-212_0_6_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2701-212_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2701-212_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2701-212_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_2701-212_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2701-212_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2701-212_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2701-212_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2701-212_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2701-212_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2701-212_0_6_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_2701-212_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2701-212_0_6_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_2701-212_0_6_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2701-212_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_2701-212_0_6_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_2701-212_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2701-212_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2701-212_0_6_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_2701-212_0_6_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_2701-212_0_6_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2701-212_0_6_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2701-212_0_6_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2701-212_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2701-212_0_6_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_2701-212_0_6_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_2701-212_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_2701-212_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2701-212_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2701-212_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_2701-212_0_6_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_2701-212_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_2701-212_0_6_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_2701-212_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2701-212_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_2701-212_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2701-212_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_2701-212_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2701-212_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2701-212_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2701-212_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_2701-212_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2701-212_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2701-212_0_6_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_2701-212_0_6_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_2701-212_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_2701-212_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2701-212_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_2701-212_0_6_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_2701-212_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_MV_557_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-212_0_6_load_0 | 0 | 0.0027608 | 0.00069191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-212_0_6_load_1 | 1 | 0.0041346 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-212_0_6_load_2 | 2 | 0.0040804 | 0.0010226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-212_0_6_load_3 | 3 | 0.002759 | 0.00069147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-212_0_6_load_4 | 4 | 0.0027621 | 0.00069224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-212_0_6_load_5 | 5 | 0.0045539 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-212_0_6_load_51 | 6 | 0.0050971 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-212_0_6_load_6 | 7 | 0.0027771 | 0.00069601 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-212_0_6_load_50 | 8 | 0.0061757 | 0.0015478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-212_0_6_load_9 | 9 | 0.004136 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-212_0_6_load_7 | 10 | 0.0048363 | 0.0012121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-212_0_6_load_8 | 11 | 0.0048885 | 0.0012252 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-212_0_6_load_10 | 12 | 0.020744 | 0.0051991 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-212_0_6_load_56 | 13 | 0.0048861 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-212_0_6_load_14 | 14 | 0.0072992 | 0.0018294 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-212_0_6_load_11 | 15 | 0.0064227 | 0.0016097 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-212_0_6_load_12 | 16 | 0.004763 | 0.0011937 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-212_0_6_load_13 | 17 | 0.0065533 | 0.0016424 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-212_0_6_load_15 | 18 | 0.0040966 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-212_0_6_load_21 | 19 | 0.075338 | 0.018881 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-212_0_6_load_27 | 20 | 0.0062167 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-212_0_6_load_16 | 21 | 0.006393 | 0.0016022 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-212_0_6_load_17 | 22 | 0.0067397 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-212_0_6_load_18 | 23 | 0.0064038 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-212_0_6_load_19 | 24 | 0.006382 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-212_0_6_load_20 | 25 | 0.0037211 | 0.00093259 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-212_0_6_load_47 | 26 | 0.0079608 | 0.0019952 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-212_0_6_load_46 | 28 | 0.004546 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-212_0_6_load_26 | 30 | 0.0057345 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-212_0_6_load_22 | 31 | 0.006215 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-212_0_6_load_23 | 32 | 0.0067837 | 0.0017002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-212_0_6_load_24 | 33 | 0.0044557 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-212_0_6_load_28 | 36 | 0.004454 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-212_0_6_load_73 | 38 | 0.0066329 | 0.0016624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-212_0_6_load_81 | 40 | 0.025187 | 0.0063125 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-212_0_6_load_83 | 42 | 0.0052648 | 0.0013195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-212_0_6_load_84 | 43 | 0.0094 | 0.0023559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-212_0_6_load_45 | 44 | 0.0024148 | 0.0006052 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-212_0_6_load_29 | 45 | 0.0043349 | 0.0010864 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-212_0_6_load_80 | 46 | 0.0032877 | 0.00082398 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-212_0_6_load_72 | 47 | 0.0030874 | 0.00077379 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-212_0_6_load_53 | 49 | 0.010198 | 0.0025558 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-212_0_6_load_54 | 50 | 0.0028656 | 0.0007182 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-212_0_6_load_57 | 51 | 0.0026907 | 0.00067435 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-212_0_6_load_58 | 52 | 0.0023609 | 0.0005917 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-212_0_6_load_69 | 53 | 0.009873 | 0.0024744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-212_0_6_load_63 | 54 | 0.003878 | 0.00097192 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-212_0_6_load_43 | 55 | 0.022395 | 0.0056127 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-212_0_6_load_41 | 56 | 0.0043089 | 0.0010799 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-212_0_6_load_55 | 57 | 0.019721 | 0.0049425 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-212_0_6_load_82 | 58 | 0.0049329 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-212_0_6_load_49 | 59 | 0.0058133 | 0.001457 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-212_0_6_load_78 | 60 | 0.0030875 | 0.0007738 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-212_0_6_load_42 | 61 | 0.010115 | 0.0025352 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2701-212_0_6_load_44 | 62 | 0.004942 | 0.0012386 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2701-212_0_6_load_48 | 63 | 0.0032691 | 0.00081932 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2701-212_0_6_load_65 | 64 | 0.0032683 | 0.00081911 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2701-212_0_6_load_59 | 65 | 0.0032779 | 0.00082151 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2701-212_0_6_load_60 | 66 | 0.006785 | 0.0017005 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2701-212_0_6_load_61 | 67 | 0.0038803 | 0.00097249 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2701-212_0_6_load_67 | 68 | 0.0050521 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2701-212_0_6_load_66 | 69 | 0.0091861 | 0.0023023 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2701-212_0_6_load_64 | 70 | 0.093944 | 0.023545 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2701-212_0_6_load_68 | 71 | 0.012422 | 0.0031134 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2701-212_0_6_load_70 | 72 | 0.0047465 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2701-212_0_6_load_71 | 73 | 0.0031141 | 0.00078046 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2701-212_0_6_load_74 | 74 | 0.0014439 | 0.00036188 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2701-212_0_6_load_75 | 75 | 0.0042264 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2701-212_0_6_load_77 | 76 | 0.0030867 | 0.00077359 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2701-212_0_6_load_79 | 77 | 0.0037615 | 0.00094271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-212_0_6_line_0 |  | 0 | 1 | 0.0079793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-212_0_6_line_1 |  | 0 | 2 | 0.0036012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-212_0_6_line_2 |  | 1 | 3 | 0.0010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-212_0_6_line_3 |  | 2 | 4 | 0.0054047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-212_0_6_line_4 |  | 3 | 5 | 0.0084367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-212_0_6_line_5 |  | 4 | 6 | 0.0078876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-212_0_6_line_6 |  | 5 | 7 | 0.00057145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-212_0_6_line_7 |  | 6 | 8 | 0.004134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-212_0_6_line_8 |  | 7 | 9 | 0.0012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-212_0_6_line_9 |  | 8 | 48 | 0.015547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-212_0_6_line_10 |  | 9 | 10 | 0.0077703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-212_0_6_line_11 |  | 10 | 11 | 0.0034302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-212_0_6_line_12 |  | 11 | 12 | 0.0090582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-212_0_6_line_13 |  | 12 | 13 | 0.0021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-212_0_6_line_14 |  | 13 | 14 | 0.0034418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-212_0_6_line_15 |  | 14 | 16 | 0.0077025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-212_0_6_line_16 |  | 15 | 16 | 0.00026906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-212_0_6_line_17 |  | 15 | 17 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-212_0_6_line_18 |  | 17 | 18 | 7.6005e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2701-212_0_6_line_19 |  | 18 | 19 | 0.0089632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2701-212_0_6_line_20 |  | 19 | 20 | 0.0023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2701-212_0_6_line_21 |  | 20 | 30 | 4.8238e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2701-212_0_6_line_22 |  | 21 | 22 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-212_0_6_line_23 |  | 21 | 23 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-212_0_6_line_24 |  | 22 | 24 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-212_0_6_line_25 |  | 23 | 25 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-212_0_6_line_26 |  | 24 | 26 | 0.0027804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-212_0_6_line_27 |  | 25 | 27 | 0.023587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-212_0_6_line_28 |  | 26 | 28 | 0.0023643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-212_0_6_line_29 |  | 27 | 29 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-212_0_6_line_30 |  | 28 | 63 | 0.003532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-212_0_6_line_31 |  | 29 | 44 | 0.10489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-212_0_6_line_32 |  | 29 | 45 | 0.019325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-212_0_6_line_33 |  | 30 | 33 | 0.01089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-212_0_6_line_34 |  | 31 | 32 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-212_0_6_line_35 |  | 31 | 33 | 0.00025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-212_0_6_line_36 |  | 32 | 34 | 0.019551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2701-212_0_6_line_37 |  | 34 | 35 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2701-212_0_6_line_38 |  | 34 | 36 | 0.006427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-212_0_6_line_39 |  | 35 | 37 | 0.044669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-212_0_6_line_40 |  | 35 | 38 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2701-212_0_6_line_41 |  | 36 | 45 | 0.015416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-212_0_6_line_42 |  | 37 | 39 | 0.024193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-212_0_6_line_43 |  | 37 | 40 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-212_0_6_line_44 |  | 38 | 47 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2701-212_0_6_line_45 |  | 39 | 46 | 0.026241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-212_0_6_line_46 |  | 41 | 42 | 0.023766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-212_0_6_line_47 |  | 41 | 43 | 0.018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-212_0_6_line_48 |  | 42 | 58 | 0.0078608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-212_0_6_line_49 |  | 43 | 59 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-212_0_6_line_50 |  | 46 | 60 | 0.0042175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-212_0_6_line_51 |  | 47 | 73 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2701-212_0_6_line_52 |  | 48 | 49 | 0.033467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-212_0_6_line_53 |  | 48 | 50 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-212_0_6_line_54 |  | 49 | 57 | 0.011878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-212_0_6_line_55 |  | 50 | 64 | 0.0099759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-212_0_6_line_56 |  | 51 | 52 | 0.0057586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-212_0_6_line_57 |  | 52 | 65 | 0.0039962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-212_0_6_line_58 |  | 53 | 54 | 0.012083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-212_0_6_line_59 |  | 54 | 67 | 0.0095892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-212_0_6_line_60 |  | 55 | 56 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-212_0_6_line_61 |  | 56 | 61 | 0.00086845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-212_0_6_line_62 |  | 58 | 62 | 0.0082482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-212_0_6_line_63 |  | 59 | 63 | 0.0086623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-212_0_6_line_64 |  | 60 | 77 | 0.0072534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-212_0_6_line_65 |  | 61 | 62 | 0.0067801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-212_0_6_line_66 |  | 64 | 65 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-212_0_6_line_67 |  | 66 | 67 | 0.0080159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-212_0_6_line_68 |  | 66 | 68 | 0.0032861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2701-212_0_6_line_69 |  | 68 | 69 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2701-212_0_6_line_70 |  | 69 | 71 | 0.0027872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2701-212_0_6_line_71 |  | 70 | 71 | 0.036815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2701-212_0_6_line_72 |  | 71 | 72 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2701-212_0_6_line_73 |  | 72 | 73 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2701-212_0_6_line_74 |  | 74 | 75 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2701-212_0_6_line_75 |  | 75 | 76 | 0.0089982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2701-212_0_6_line_76 |  | 76 | 77 | 0.0020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-212_0_6_trafo_21 | 0.63 MVA 20/0.4 kV | 78 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2610323.6908 | 1268817.2609 | 2610319.5786 | 1268824.0991
1 | 2610323.6908 | 1268817.2609 | 2610325.5466 | 1268814.1748
2 | 2610319.0517 | 1268824.9752 | 2610319.5786 | 1268824.0991
3 | 2610328.332 | 1268809.5431 | 2610325.5466 | 1268814.1748
4 | 2610319.0517 | 1268824.9752 | 2610314.7038 | 1268832.2053
5 | 2610328.332 | 1268809.5431 | 2610332.3968 | 1268802.7836
6 | 2610314.4093 | 1268832.695 | 2610314.7038 | 1268832.2053
7 | 2610334.5273 | 1268799.2409 | 2610332.3968 | 1268802.7836
8 | 2610313.781 | 1268833.7399 | 2610314.4093 | 1268832.695
9 | 2610342.8149 | 1268786.0931 | 2610339.2615 | 1268791.3684 | 2610334.5273 | 1268799.2409
10 | 2610313.781 | 1268833.7399 | 2610309.7766 | 1268840.3989
11 | 2610309.7766 | 1268840.3989 | 2610308.0088 | 1268843.3385
12 | 2610308.0088 | 1268843.3385 | 2610303.3406 | 1268851.1012
13 | 2610302.2117 | 1268852.9785 | 2610303.3406 | 1268851.1012
14 | 2610302.2117 | 1268852.9785 | 2610300.4379 | 1268855.9281
15 | 2610296.4684 | 1268862.529 | 2610300.4379 | 1268855.9281
16 | 2610296.3298 | 1268862.7595 | 2610296.4684 | 1268862.529
17 | 2610296.3298 | 1268862.7595 | 2610290.6495 | 1268872.2052
18 | 2610290.6104 | 1268872.2703 | 2610290.6495 | 1268872.2052
19 | 2610290.6104 | 1268872.2703 | 2610285.9912 | 1268879.9516
20 | 2610284.7876 | 1268881.9531 | 2610285.9912 | 1268879.9516
21 | 2610284.7627 | 1268881.9944 | 2610284.7876 | 1268881.9531
22 | 2610210.1813 | 1268888.2211 | 2610203.9861 | 1268879.5197
23 | 2610210.1813 | 1268888.2211 | 2610216.4743 | 1268897.0597
24 | 2610197.8473 | 1268870.9239 | 2610198.0331 | 1268871.1585 | 2610203.9861 | 1268879.5197
25 | 2610222.7631 | 1268905.8925 | 2610216.4743 | 1268897.0597
26 | 2610197.8473 | 1268870.9239 | 2610196.1212 | 1268868.7442
27 | 2610239.4144 | 1268922.0655 | 2610233.9714 | 1268919.2097 | 2610226.5357 | 1268911.1912 | 2610222.7631 | 1268905.8925
28 | 2610194.6534 | 1268866.8907 | 2610196.1212 | 1268868.7442
29 | 2610221.9749 | 1268920.4455 | 2610229.3076 | 1268927.085 | 2610231.7337 | 1268925.2545 | 2610234.4151 | 1268923.7358 | 2610236.7569 | 1268922.7948 | 2610239.4144 | 1268922.0655
30 | 2610194.6534 | 1268866.8907 | 2610192.4607 | 1268864.1217
31 | 2610221.9749 | 1268920.4455 | 2610205.5086 | 1268904.1946 | 2610192.8889 | 1268891.4418 | 2610154.2086 | 1268849.2681 | 2610149.2422 | 1268844.9408
32 | 2610221.9749 | 1268920.4455 | 2610226.5192 | 1268916.4171 | 2610239.7589 | 1268915.8517
33 | 2610279.1503 | 1268891.3273 | 2610284.7627 | 1268881.9944
34 | 2610279.0171 | 1268891.5487 | 2610273.2254 | 1268901.1798
35 | 2610279.0171 | 1268891.5487 | 2610279.1503 | 1268891.3273
36 | 2610261.3808 | 1268916.6551 | 2610266.5073 | 1268911.0711 | 2610270.6028 | 1268905.541 | 2610273.2254 | 1268901.1798
37 | 2610270.8254 | 1268924.7215 | 2610269.6109 | 1268922.1621 | 2610265.831 | 1268919.2313 | 2610261.3808 | 1268916.6551
38 | 2610261.3808 | 1268916.6551 | 2610256.0484 | 1268915.156 | 2610255.1613 | 1268915.1938
39 | 2610270.8254 | 1268924.7215 | 2610275.4007 | 1268937.6163 | 2610275.0385 | 1268942.6081 | 2610265.244 | 1268958.469 | 2610258.437 | 1268961.2148
40 | 2610270.8254 | 1268924.7215 | 2610290.7049 | 1268922.9459
41 | 2610239.7589 | 1268915.8517 | 2610255.1613 | 1268915.1938
42 | 2610258.437 | 1268961.2148 | 2610252.345 | 1268963.8394 | 2610238.9575 | 1268964.4724 | 2610234.8508 | 1268963.4757
43 | 2610258.437 | 1268961.2148 | 2610270.3445 | 1268976.8097
44 | 2610308.6843 | 1268920.8986 | 2610292.4398 | 1268922.7909 | 2610290.7049 | 1268922.9459
45 | 2610234.8508 | 1268963.4757 | 2610221.5931 | 1268986.1212
46 | 2610167.218 | 1268832.245 | 2610182.101 | 1268813.7162
47 | 2610167.218 | 1268832.245 | 2610178.6855 | 1268846.7262
48 | 2610182.101 | 1268813.7162 | 2610187.0237 | 1268807.5876
49 | 2610178.6855 | 1268846.7262 | 2610187.0831 | 1268857.3308
50 | 2610219.4623 | 1268989.7608 | 2610221.5931 | 1268986.1212
51 | 2610308.6843 | 1268920.8986 | 2610320.2069 | 1268919.5564
52 | 2610342.8149 | 1268786.0931 | 2610316.3444 | 1268765.6153
53 | 2610342.8149 | 1268786.0931 | 2610364.2783 | 1268802.0011
54 | 2610316.3444 | 1268765.6153 | 2610306.9498 | 1268758.3475
55 | 2610372.2929 | 1268807.9413 | 2610364.2783 | 1268802.0011
56 | 2610389.4267 | 1268820.6403 | 2610384.8003 | 1268817.2114
57 | 2610381.5898 | 1268814.8318 | 2610384.8003 | 1268817.2114
58 | 2610404.9068 | 1268909.6908 | 2610392.8675 | 1268910.7158
59 | 2610392.8675 | 1268910.7158 | 2610392.4116 | 1268910.7341 | 2610383.3655 | 1268911.9907
60 | 2610205.3189 | 1268784.8108 | 2610196.9788 | 1268795.194
61 | 2610196.4349 | 1268795.871 | 2610196.9788 | 1268795.194
62 | 2610192.189 | 1268801.157 | 2610187.0237 | 1268807.5876
63 | 2610192.4607 | 1268864.1217 | 2610187.0831 | 1268857.3308
64 | 2610219.4623 | 1268989.7608 | 2610215.7977 | 1268996.0204
65 | 2610196.4349 | 1268795.871 | 2610192.189 | 1268801.157
66 | 2610381.5898 | 1268814.8318 | 2610372.2929 | 1268807.9413
67 | 2610375.4259 | 1268913.0936 | 2610383.3655 | 1268911.9907
68 | 2610372.1656 | 1268913.5042 | 2610375.4259 | 1268913.0936
69 | 2610357.8324 | 1268915.1735 | 2610372.1656 | 1268913.5042
70 | 2610357.8324 | 1268915.1735 | 2610355.0639 | 1268915.496
71 | 2610355.0639 | 1268915.496 | 2610357.8758 | 1268952.2036
72 | 2610355.0639 | 1268915.496 | 2610353.1012 | 1268915.7246 | 2610340.7295 | 1268917.1657
73 | 2610340.7295 | 1268917.1657 | 2610320.2069 | 1268919.5564
74 | 2610204.2257 | 1269015.7865 | 2610210.2053 | 1269005.5729
75 | 2610214.7514 | 1268997.8076 | 2610210.2053 | 1269005.5729
76 | 2610215.7977 | 1268996.0204 | 2610214.7514 | 1268997.8076

## bus_geodata
| x | y | coords
0 | 2610323.6908 | 1268817.2609
1 | 2610319.5786 | 1268824.0991
2 | 2610325.5466 | 1268814.1748
3 | 2610319.0517 | 1268824.9752
4 | 2610328.332 | 1268809.5431
5 | 2610314.7038 | 1268832.2053
6 | 2610332.3968 | 1268802.7836
7 | 2610314.4093 | 1268832.695
8 | 2610334.5273 | 1268799.2409
9 | 2610313.781 | 1268833.7399
10 | 2610309.7766 | 1268840.3989
11 | 2610308.0088 | 1268843.3385
12 | 2610303.3406 | 1268851.1012
13 | 2610302.2117 | 1268852.9785
14 | 2610300.4379 | 1268855.9281
15 | 2610296.3298 | 1268862.7595
16 | 2610296.4684 | 1268862.529
17 | 2610290.6495 | 1268872.2052
18 | 2610290.6104 | 1268872.2703
19 | 2610285.9912 | 1268879.9516
20 | 2610284.7876 | 1268881.9531
21 | 2610210.1813 | 1268888.2211
22 | 2610203.9861 | 1268879.5197
23 | 2610216.4743 | 1268897.0597
24 | 2610197.8473 | 1268870.9239
25 | 2610222.7631 | 1268905.8925
26 | 2610196.1212 | 1268868.7442
27 | 2610239.4144 | 1268922.0655
28 | 2610194.6534 | 1268866.8907
29 | 2610221.9749 | 1268920.4455
30 | 2610284.7627 | 1268881.9944
31 | 2610279.0171 | 1268891.5487
32 | 2610273.2254 | 1268901.1798
33 | 2610279.1503 | 1268891.3273
34 | 2610261.3808 | 1268916.6551
35 | 2610270.8255 | 1268924.7215
36 | 2610255.1613 | 1268915.1938
37 | 2610258.437 | 1268961.2148
38 | 2610290.7049 | 1268922.9459
39 | 2610234.8508 | 1268963.4757
40 | 2610270.3445 | 1268976.8097
41 | 2610167.218 | 1268832.245
42 | 2610182.101 | 1268813.7162
43 | 2610178.6855 | 1268846.7262
44 | 2610149.2422 | 1268844.9408
45 | 2610239.7589 | 1268915.8517
46 | 2610221.5931 | 1268986.1212
47 | 2610308.6843 | 1268920.8986
48 | 2610342.8149 | 1268786.0931
49 | 2610316.3444 | 1268765.6153
50 | 2610364.2783 | 1268802.0011
51 | 2610389.4267 | 1268820.6403
52 | 2610384.8003 | 1268817.2114
53 | 2610404.9068 | 1268909.6908
54 | 2610392.8675 | 1268910.7158
55 | 2610205.3189 | 1268784.8108
56 | 2610196.9788 | 1268795.194
57 | 2610306.9498 | 1268758.3475
58 | 2610187.0237 | 1268807.5876
59 | 2610187.0831 | 1268857.3308
60 | 2610219.4623 | 1268989.7608
61 | 2610196.4349 | 1268795.871
62 | 2610192.189 | 1268801.157
63 | 2610192.4607 | 1268864.1217
64 | 2610372.2929 | 1268807.9413
65 | 2610381.5898 | 1268814.8318
66 | 2610375.4259 | 1268913.0936
67 | 2610383.3655 | 1268911.9907
68 | 2610372.1656 | 1268913.5042
69 | 2610357.8324 | 1268915.1735
70 | 2610357.8758 | 1268952.2036
71 | 2610355.0639 | 1268915.496
72 | 2610340.7295 | 1268917.1657
73 | 2610320.2069 | 1268919.5564
74 | 2610204.2257 | 1269015.7865
75 | 2610210.2053 | 1269005.5729
76 | 2610214.7514 | 1268997.8076
77 | 2610215.7977 | 1268996.0204
78 | 2610261.3808 | 1268916.6551

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99382 | -0.11874 | 0.0027608 | 0.00069191
1 | 0.99429 | -0.10955 | 0.0041346 | 0.0010362
2 | 0.99361 | -0.12271 | 0.0040804 | 0.0010226
3 | 0.99436 | -0.1083 | 0.002759 | 0.00069147
4 | 0.99332 | -0.12829 | 0.0027621 | 0.00069224
5 | 0.99492 | -0.097579 | 0.0045539 | 0.0011413
6 | 0.99292 | -0.13605 | 0.0050971 | 0.0012774
7 | 0.99496 | -0.096807 | 0.0027771 | 0.00069601
8 | 0.99273 | -0.13974 | 0.0061757 | 0.0015478
9 | 0.99504 | -0.095101 | 0.004136 | 0.0010366
10 | 0.99564 | -0.083669 | 0.0048363 | 0.0012121
11 | 0.99592 | -0.078336 | 0.0048885 | 0.0012252
12 | 0.99669 | -0.063488 | 0.020744 | 0.0051991
13 | 0.99692 | -0.059104 | 0.0048861 | 0.0012246
14 | 0.99729 | -0.051925 | 0.0072992 | 0.0018294
15 | 0.99821 | -0.034278 | 0.0064227 | 0.0016097
16 | 0.99818 | -0.034895 | 0.004763 | 0.0011937
17 | 0.99959 | -0.0078116 | 0.0065533 | 0.0016424
18 | 0.9996 | -0.0077162 | 0.0040966 | 0.0010267
19 | 1 | 0 | -0.5146 | -0.13047
20 | 0.99974 | -0.0048848 | 0.0062167 | 0.001558
21 | 0.98411 | -0.30461 | 0.006393 | 0.0016022
22 | 0.98316 | -0.3231 | 0.0067397 | 0.0016891
23 | 0.98514 | -0.28462 | 0.0064038 | 0.001605
24 | 0.98228 | -0.34013 | 0.006382 | 0.0015995
25 | 0.98623 | -0.26345 | 0.0037211 | 0.00093259
26 | 0.98207 | -0.3443 | 0.0079608 | 0.0019952
27 | 0.98869 | -0.21598 | 0 | 0
28 | 0.98191 | -0.3475 | 0.004546 | 0.0011393
29 | 0.99091 | -0.17333 | 0 | 0
30 | 0.99974 | -0.004984 | 0.0057345 | 0.0014372
31 | 0.99855 | -0.027554 | 0.006215 | 0.0015576
32 | 0.99739 | -0.049667 | 0.0067837 | 0.0017002
33 | 0.99858 | -0.027037 | 0.0044557 | 0.0011167
34 | 0.9954 | -0.08748 | 0 | 0
35 | 0.9946 | -0.10293 | 0 | 0
36 | 0.99467 | -0.10149 | 0.004454 | 0.0011163
37 | 0.9928 | -0.13769 | 0 | 0
38 | 0.99361 | -0.12201 | 0.0066329 | 0.0016624
39 | 0.99238 | -0.14578 | 0 | 0
40 | 0.99235 | -0.14643 | 0.025187 | 0.0063125
41 | 0.97948 | -0.39499 | 0 | 0
42 | 0.97833 | -0.41745 | 0.0052648 | 0.0013195
43 | 0.98037 | -0.37757 | 0.0094 | 0.0023559
44 | 0.99068 | -0.17783 | 0.0024148 | 0.0006052
45 | 0.99297 | -0.13396 | 0.0043349 | 0.0010864
46 | 0.99193 | -0.15455 | 0.0032877 | 0.00082398
47 | 0.99274 | -0.13863 | 0.0030874 | 0.00077379
48 | 0.9921 | -0.15195 | 0 | 0
49 | 0.99118 | -0.1697 | 0.010198 | 0.0025558
50 | 0.99175 | -0.1588 | 0.0028656 | 0.0007182
51 | 0.99152 | -0.16319 | 0.0026907 | 0.00067435
52 | 0.99153 | -0.16292 | 0.0023609 | 0.0005917
53 | 0.98937 | -0.20385 | 0.009873 | 0.0024744
54 | 0.98948 | -0.20172 | 0.003878 | 0.00097192
55 | 0.97714 | -0.44084 | 0.022395 | 0.0056127
56 | 0.97742 | -0.4354 | 0.0043089 | 0.0010799
57 | 0.99097 | -0.17386 | 0.019721 | 0.0049425
58 | 0.97799 | -0.42414 | 0.0049329 | 0.0012363
59 | 0.98114 | -0.36253 | 0.0058133 | 0.001457
60 | 0.99187 | -0.15572 | 0.0030875 | 0.0007738
61 | 0.97744 | -0.43497 | 0.010115 | 0.0025352
62 | 0.97767 | -0.43042 | 0.004942 | 0.0012386
63 | 0.98168 | -0.352 | 0.0032691 | 0.00081932
64 | 0.99164 | -0.16085 | 0.0032683 | 0.00081911
65 | 0.99155 | -0.16256 | 0.0032779 | 0.00082151
66 | 0.98973 | -0.19686 | 0.006785 | 0.0017005
67 | 0.9896 | -0.19938 | 0.0038803 | 0.00097249
68 | 0.98981 | -0.19543 | 0.0050521 | 0.0012662
69 | 0.9902 | -0.18787 | 0.0091861 | 0.0023023
70 | 0.98712 | -0.24762 | 0.093944 | 0.023545
71 | 0.99029 | -0.18596 | 0.012422 | 0.0031134
72 | 0.99125 | -0.16737 | 0.0047465 | 0.0011896
73 | 0.9922 | -0.1491 | 0.0031141 | 0.00078046
74 | 0.99171 | -0.15886 | 0.0014439 | 0.00036188
75 | 0.99172 | -0.15856 | 0.0042264 | 0.0010592
76 | 0.99177 | -0.15765 | 0.0030867 | 0.00077359
77 | 0.99179 | -0.15733 | 0.0037615 | 0.00094271
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.065377 | -0.016429 | 0.065405 | 0.016448 | 2.868e-05 | 1.8252e-05 | 0.097902 | 0.097902 | 0.097902 | 0.99382 | -0.11874 | 0.99429 | -0.10955 | 26.8962
1 | 0.062616 | 0.015737 | -0.062604 | -0.01573 | 1.1874e-05 | 7.5526e-06 | 0.093769 | 0.093769 | 0.093769 | 0.99382 | -0.11874 | 0.99361 | -0.12271 | 25.7606
2 | -0.06954 | -0.017484 | 0.069544 | 0.017486 | 4.1539e-06 | 2.6452e-06 | 0.10409 | 0.10409 | 0.10409 | 0.99429 | -0.10955 | 0.99436 | -0.1083 | 28.5961
3 | 0.058524 | 0.014707 | -0.058508 | -0.014697 | 1.5573e-05 | 9.897e-06 | 0.087658 | 0.087658 | 0.087658 | 0.99361 | -0.12271 | 0.99332 | -0.12829 | 24.0819
4 | -0.072303 | -0.018178 | 0.07234 | 0.018202 | 3.7052e-05 | 2.3604e-05 | 0.10822 | 0.10822 | 0.10822 | 0.99436 | -0.1083 | 0.99492 | -0.097579 | 29.7304
5 | 0.055746 | 0.014005 | -0.055725 | -0.013992 | 2.0633e-05 | 1.3103e-05 | 0.08352 | 0.083521 | 0.083521 | 0.99332 | -0.12829 | 0.99292 | -0.13605 | 22.9452
6 | -0.076894 | -0.019343 | 0.076897 | 0.019345 | 2.8355e-06 | 1.8073e-06 | 0.11503 | 0.11503 | 0.11503 | 0.99492 | -0.097579 | 0.99496 | -0.096807 | 31.6015
7 | 0.050628 | 0.012715 | -0.050619 | -0.012709 | 8.9264e-06 | 5.6594e-06 | 0.075882 | 0.075882 | 0.075882 | 0.99292 | -0.13605 | 0.99273 | -0.13974 | 20.8467
8 | -0.079674 | -0.020041 | 0.07968 | 0.020045 | 6.4946e-06 | 4.1407e-06 | 0.11918 | 0.11918 | 0.11918 | 0.99496 | -0.096807 | 0.99504 | -0.095101 | 32.7425
9 | 0.044444 | 0.011161 | -0.044418 | -0.011145 | 2.5879e-05 | 1.6362e-05 | 0.066625 | 0.066625 | 0.066625 | 0.99273 | -0.13974 | 0.9921 | -0.15195 | 18.3036
10 | -0.083816 | -0.021081 | 0.083862 | 0.021111 | 4.5797e-05 | 2.9209e-05 | 0.12537 | 0.12537 | 0.12537 | 0.99504 | -0.095101 | 0.99564 | -0.083669 | 34.4417
11 | -0.088699 | -0.022323 | 0.088721 | 0.022337 | 2.2615e-05 | 1.4429e-05 | 0.1326 | 0.1326 | 0.1326 | 0.99564 | -0.083669 | 0.99592 | -0.078336 | 36.4274
12 | -0.09361 | -0.023562 | 0.093676 | 0.023605 | 6.6483e-05 | 4.2431e-05 | 0.1399 | 0.1399 | 0.1399 | 0.99592 | -0.078336 | 0.99669 | -0.063488 | 38.434
13 | -0.11442 | -0.028804 | 0.11444 | 0.028819 | 2.3985e-05 | 1.5322e-05 | 0.17087 | 0.17087 | 0.17087 | 0.99669 | -0.063488 | 0.99692 | -0.059104 | 46.9424
14 | -0.11933 | -0.030044 | 0.11937 | 0.03007 | 4.0969e-05 | 2.6175e-05 | 0.17816 | 0.17816 | 0.17816 | 0.99692 | -0.059104 | 0.99729 | -0.051925 | 48.946
15 | -0.12667 | -0.031899 | 0.12677 | 0.031965 | 0.00010324 | 6.5971e-05 | 0.18905 | 0.18905 | 0.18905 | 0.99729 | -0.051925 | 0.99818 | -0.034895 | 51.938
16 | 0.13154 | 0.033161 | -0.13154 | -0.033159 | 3.8822e-06 | 2.4811e-06 | 0.19615 | 0.19615 | 0.19615 | 0.99821 | -0.034278 | 0.99818 | -0.034895 | 53.8886
17 | -0.13796 | -0.034771 | 0.13814 | 0.034883 | 0.00017494 | 0.00011182 | 0.20573 | 0.20573 | 0.20573 | 0.99821 | -0.034278 | 0.99959 | -0.0078116 | 56.5189
18 | -0.14469 | -0.036525 | 0.14469 | 0.036526 | 6.6172e-07 | 4.2151e-07 | 0.21548 | 0.21548 | 0.21548 | 0.99959 | -0.0078116 | 0.9996 | -0.0077162 | 29.5995
19 | -0.14879 | -0.037552 | 0.14884 | 0.037587 | 5.501e-05 | 3.4854e-05 | 0.22158 | 0.22158 | 0.22158 | 0.9996 | -0.0077162 | 1 | 0 | 20.2914
20 | 0.3641 | 0.092884 | -0.36402 | -0.09283 | 8.5878e-05 | 5.487e-05 | 0.54237 | 0.54237 | 0.54237 | 1 | 0 | 0.99974 | -0.0048848 | 49.6675
21 | 0.3578 | 0.091271 | -0.3578 | -0.09127 | 1.7137e-06 | 1.0949e-06 | 0.53312 | 0.53312 | 0.53312 | 0.99974 | -0.0048848 | 0.99974 | -0.004984 | 48.8201
22 | 0.096491 | 0.024345 | -0.096405 | -0.02429 | 8.5331e-05 | 5.4477e-05 | 0.14596 | 0.14596 | 0.14596 | 0.98411 | -0.30461 | 0.98316 | -0.3231 | 40.0979
23 | -0.10288 | -0.025947 | 0.10298 | 0.02601 | 9.8539e-05 | 6.2927e-05 | 0.15562 | 0.15562 | 0.15562 | 0.98411 | -0.30461 | 0.98514 | -0.28462 | 42.7535
24 | 0.089666 | 0.022601 | -0.089593 | -0.022555 | 7.3003e-05 | 4.6588e-05 | 0.13576 | 0.13576 | 0.13576 | 0.98316 | -0.3231 | 0.98228 | -0.34013 | 37.2955
25 | -0.10939 | -0.027615 | 0.1095 | 0.027686 | 0.0001111 | 7.0963e-05 | 0.1653 | 0.1653 | 0.1653 | 0.98514 | -0.28462 | 0.98623 | -0.26345 | 45.4108
26 | 0.083211 | 0.020955 | -0.083194 | -0.020945 | 1.6576e-05 | 1.0574e-05 | 0.12609 | 0.12609 | 0.12609 | 0.98228 | -0.34013 | 0.98207 | -0.3443 | 34.6396
27 | -0.11322 | -0.028619 | 0.11348 | 0.028784 | 0.00025836 | 0.00016505 | 0.17091 | 0.17091 | 0.17091 | 0.98623 | -0.26345 | 0.98869 | -0.21598 | 46.9532
28 | 0.075233 | 0.01895 | -0.075222 | -0.018942 | 1.1527e-05 | 7.3477e-06 | 0.11403 | 0.11403 | 0.11403 | 0.98207 | -0.3443 | 0.98191 | -0.3475 | 31.3258
29 | -0.11348 | -0.028784 | 0.11371 | 0.028933 | 0.00023323 | 0.00014899 | 0.17091 | 0.17091 | 0.17091 | 0.98869 | -0.21598 | 0.99091 | -0.17333 | 46.9532
30 | 0.070676 | 0.017803 | -0.070661 | -0.017793 | 1.5203e-05 | 9.6854e-06 | 0.10714 | 0.10714 | 0.10714 | 0.98191 | -0.3475 | 0.98168 | -0.352 | 29.4332
31 | 0.0024153 | 0.00060418 | -0.0024148 | -0.0006052 | 5.1738e-07 | -1.0197e-06 | 0.0036266 | 0.003627 | 0.003627 | 0.99091 | -0.17333 | 0.99068 | -0.17783 | 0.99644
32 | -0.11613 | -0.029537 | 0.11635 | 0.029678 | 0.00022075 | 0.00014103 | 0.17454 | 0.17454 | 0.17454 | 0.99091 | -0.17333 | 0.99297 | -0.13396 | 47.9495
33 | 0.35206 | 0.089833 | -0.35169 | -0.089594 | 0.00037461 | 0.00023932 | 0.52458 | 0.52458 | 0.52458 | 0.99974 | -0.004984 | 0.99858 | -0.027037 | 48.0385
34 | 0.34101 | 0.086914 | -0.34065 | -0.086682 | 0.0003635 | 0.0002322 | 0.50868 | 0.50868 | 0.50868 | 0.99855 | -0.027554 | 0.99739 | -0.049667 | 46.5824
35 | -0.34723 | -0.088472 | 0.34723 | 0.088477 | 8.663e-06 | 5.5342e-06 | 0.51794 | 0.51794 | 0.51794 | 0.99855 | -0.027554 | 0.99858 | -0.027037 | 47.4305
36 | 0.33386 | 0.084982 | -0.33326 | -0.084594 | 0.00060745 | 0.000388 | 0.49856 | 0.49856 | 0.49856 | 0.99739 | -0.049667 | 0.9954 | -0.08748 | 45.6556
37 | 0.20785 | 0.052538 | -0.20769 | -0.05244 | 0.00015386 | 9.7973e-05 | 0.31086 | 0.31087 | 0.31087 | 0.9954 | -0.08748 | 0.9946 | -0.10293 | 28.4675
38 | 0.12541 | 0.032056 | -0.12532 | -0.032002 | 8.4908e-05 | 5.4257e-05 | 0.1877 | 0.1877 | 0.1877 | 0.9954 | -0.08748 | 0.99467 | -0.10149 | 51.5646
39 | 0.044182 | 0.01111 | -0.044109 | -0.011064 | 7.3218e-05 | 4.6281e-05 | 0.066114 | 0.066114 | 0.066114 | 0.9946 | -0.10293 | 0.9928 | -0.13769 | 18.1632
40 | 0.16351 | 0.041329 | -0.16336 | -0.041234 | 0.00014945 | 9.487e-05 | 0.24475 | 0.24475 | 0.24475 | 0.9946 | -0.10293 | 0.99361 | -0.12201 | 22.4132
41 | 0.12087 | 0.030885 | -0.12068 | -0.030764 | 0.00018946 | 0.00012106 | 0.18103 | 0.18103 | 0.18103 | 0.99467 | -0.10149 | 0.99297 | -0.13396 | 49.7341
42 | 0.018911 | 0.0047453 | -0.018904 | -0.0047409 | 7.2897e-06 | 4.3527e-06 | 0.028346 | 0.028346 | 0.028346 | 0.9928 | -0.13769 | 0.99238 | -0.14578 | 7.7874
43 | 0.025198 | 0.006319 | -0.025187 | -0.0063125 | 1.0495e-05 | 6.4635e-06 | 0.037768 | 0.037768 | 0.037768 | 0.9928 | -0.13769 | 0.99235 | -0.14643 | 10.3758
44 | 0.15673 | 0.039572 | -0.1566 | -0.039493 | 0.00012473 | 7.9123e-05 | 0.23482 | 0.23482 | 0.23482 | 0.99361 | -0.12201 | 0.99274 | -0.13863 | 21.5035
45 | 0.018904 | 0.0047409 | -0.018896 | -0.0047362 | 7.9068e-06 | 4.7215e-06 | 0.028346 | 0.028346 | 0.028346 | 0.99238 | -0.14578 | 0.99193 | -0.15455 | 7.7874
46 | 0.052057 | 0.013084 | -0.052001 | -0.013048 | 5.5759e-05 | 3.5387e-05 | 0.079098 | 0.079098 | 0.079098 | 0.97948 | -0.39499 | 0.97833 | -0.41745 | 21.7302
47 | -0.052057 | -0.013084 | 0.0521 | 0.013111 | 4.3338e-05 | 2.7504e-05 | 0.079098 | 0.079098 | 0.079098 | 0.97948 | -0.39499 | 0.98037 | -0.37757 | 21.7301
48 | 0.046736 | 0.011729 | -0.046721 | -0.01172 | 1.4898e-05 | 9.4358e-06 | 0.07109 | 0.07109 | 0.07109 | 0.97833 | -0.41745 | 0.97799 | -0.42414 | 19.5303
49 | -0.0615 | -0.015467 | 0.061544 | 0.015495 | 4.4218e-05 | 2.8129e-05 | 0.093365 | 0.093365 | 0.093365 | 0.98037 | -0.37757 | 0.98114 | -0.36253 | 25.6498
50 | 0.015608 | 0.0039122 | -0.015607 | -0.0039117 | 8.6706e-07 | 5.0048e-07 | 0.023414 | 0.023414 | 0.023414 | 0.99193 | -0.15455 | 0.99187 | -0.15572 | 6.4325
51 | 0.15352 | 0.038719 | -0.15344 | -0.03867 | 7.6836e-05 | 4.8725e-05 | 0.23019 | 0.23019 | 0.23019 | 0.99274 | -0.13863 | 0.9922 | -0.1491 | 21.0798
52 | 0.029948 | 0.0075164 | -0.029922 | -0.0075006 | 2.5325e-05 | 1.5776e-05 | 0.044921 | 0.044922 | 0.044922 | 0.9921 | -0.15195 | 0.99118 | -0.1697 | 12.3411
53 | 0.01447 | 0.0036284 | -0.014465 | -0.0036257 | 4.7193e-06 | 2.6755e-06 | 0.021704 | 0.021704 | 0.021704 | 0.9921 | -0.15195 | 0.99175 | -0.1588 | 5.9626
54 | 0.019725 | 0.0049448 | -0.019721 | -0.0049425 | 3.9057e-06 | 2.3466e-06 | 0.029612 | 0.029612 | 0.029612 | 0.99118 | -0.1697 | 0.99097 | -0.17386 | 8.1352
55 | 0.0116 | 0.0029075 | -0.011599 | -0.0029069 | 1.1332e-06 | 5.9652e-07 | 0.017404 | 0.017404 | 0.017404 | 0.99175 | -0.1588 | 0.99164 | -0.16085 | 4.7814
56 | -0.0026907 | -0.00067435 | 0.0026907 | 0.0006743 | 3.5212e-08 | -5.1738e-08 | 0.004038 | 0.004038 | 0.004038 | 0.99152 | -0.16319 | 0.99153 | -0.16292 | 1.1094
57 | -0.0050516 | -0.001266 | 0.0050517 | 0.001266 | 8.6127e-08 | 3.577e-09 | 0.0075811 | 0.0075811 | 0.0075811 | 0.99153 | -0.16292 | 0.99155 | -0.16256 | 2.0827
58 | -0.009873 | -0.0024744 | 0.009874 | 0.0024749 | 9.9906e-07 | 4.8421e-07 | 0.014849 | 0.014849 | 0.014849 | 0.98937 | -0.20385 | 0.98948 | -0.20172 | 4.0794
59 | -0.013752 | -0.0034468 | 0.013754 | 0.0034477 | 1.538e-06 | 8.6111e-07 | 0.020681 | 0.020681 | 0.020681 | 0.98948 | -0.20172 | 0.9896 | -0.19938 | 5.6815
60 | -0.022395 | -0.0056127 | 0.022401 | 0.0056163 | 5.8087e-06 | 3.5507e-06 | 0.034104 | 0.034104 | 0.034104 | 0.97714 | -0.44084 | 0.97742 | -0.4354 | 9.3692
61 | -0.02671 | -0.0066962 | 0.02671 | 0.0066965 | 5.3851e-07 | 3.3376e-07 | 0.040664 | 0.040664 | 0.040664 | 0.97742 | -0.4354 | 0.97744 | -0.43497 | 11.1713
62 | 0.041788 | 0.010483 | -0.041776 | -0.010475 | 1.2505e-05 | 7.8999e-06 | 0.063585 | 0.063585 | 0.063585 | 0.97799 | -0.42414 | 0.97767 | -0.43042 | 17.4683
63 | -0.067358 | -0.016952 | 0.067392 | 0.016974 | 3.3916e-05 | 2.1597e-05 | 0.10218 | 0.10218 | 0.10218 | 0.98114 | -0.36253 | 0.98168 | -0.352 | 28.0719
64 | 0.01252 | 0.0031379 | -0.012519 | -0.0031374 | 9.5957e-07 | 5.2052e-07 | 0.018782 | 0.018782 | 0.018782 | 0.99187 | -0.15572 | 0.99179 | -0.15733 | 5.16
65 | -0.036826 | -0.0092317 | 0.036834 | 0.0092367 | 7.9914e-06 | 5.0295e-06 | 0.056063 | 0.056063 | 0.056063 | 0.97744 | -0.43497 | 0.97767 | -0.43042 | 15.4019
66 | 0.0083303 | 0.0020878 | -0.0083296 | -0.0020875 | 6.7806e-07 | 2.8468e-07 | 0.0125 | 0.0125 | 0.0125 | 0.99164 | -0.16085 | 0.99155 | -0.16256 | 3.4341
67 | 0.017636 | 0.0044214 | -0.017634 | -0.0044202 | 2.1134e-06 | 1.2496e-06 | 0.026515 | 0.026515 | 0.026515 | 0.98973 | -0.19686 | 0.9896 | -0.19938 | 7.2844
68 | -0.024421 | -0.0061219 | 0.024423 | 0.0061229 | 1.6612e-06 | 1.0209e-06 | 0.036716 | 0.036716 | 0.036716 | 0.98973 | -0.19686 | 0.98981 | -0.19543 | 10.0869
69 | -0.029475 | -0.0073891 | 0.029485 | 0.0073957 | 1.0625e-05 | 6.6144e-06 | 0.044311 | 0.044311 | 0.044311 | 0.98981 | -0.19543 | 0.9902 | -0.18787 | 12.1734
70 | -0.038671 | -0.0096979 | 0.038675 | 0.0097002 | 3.5301e-06 | 2.2234e-06 | 0.058116 | 0.058116 | 0.058116 | 0.9902 | -0.18787 | 0.99029 | -0.18596 | 15.9658
71 | -0.093944 | -0.023545 | 0.094221 | 0.023721 | 0.00027687 | 0.00017672 | 0.14161 | 0.14161 | 0.14161 | 0.98712 | -0.24762 | 0.99029 | -0.18596 | 38.9051
72 | -0.14532 | -0.036535 | 0.14545 | 0.036617 | 0.00012906 | 8.2228e-05 | 0.2184 | 0.2184 | 0.2184 | 0.99029 | -0.18596 | 0.99125 | -0.16737 | 29.9995
73 | -0.15019 | -0.037807 | 0.15033 | 0.03789 | 0.00013135 | 8.3266e-05 | 0.22552 | 0.22552 | 0.22552 | 0.99125 | -0.16737 | 0.9922 | -0.1491 | 20.6521
74 | -0.0014439 | -0.00036188 | 0.0014439 | 0.00036174 | 2.0832e-08 | -1.3938e-07 | 0.0021665 | 0.0021665 | 0.0021665 | 0.99171 | -0.15886 | 0.99172 | -0.15856 | 0.5952
75 | -0.0056703 | -0.001421 | 0.0056705 | 0.001421 | 2.4424e-07 | 4.0207e-08 | 0.0085079 | 0.0085078 | 0.0085079 | 0.99172 | -0.15856 | 0.99177 | -0.15765 | 2.3373
76 | -0.0087572 | -0.0021946 | 0.0087573 | 0.0021947 | 1.3406e-07 | 5.9077e-08 | 0.013139 | 0.013139 | 0.013139 | 0.99177 | -0.15765 | 0.99179 | -0.15733 | 3.6096

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.58993 | 0.14935

## res_load
| p_mw | q_mvar
0 | 0.0027608 | 0.00069191
1 | 0.0041346 | 0.0010362
2 | 0.0040804 | 0.0010226
3 | 0.002759 | 0.00069147
4 | 0.0027621 | 0.00069224
5 | 0.0045539 | 0.0011413
6 | 0.0050971 | 0.0012774
7 | 0.0027771 | 0.00069601
8 | 0.0061757 | 0.0015478
9 | 0.004136 | 0.0010366
10 | 0.0048363 | 0.0012121
11 | 0.0048885 | 0.0012252
12 | 0.020744 | 0.0051991
13 | 0.0048861 | 0.0012246
14 | 0.0072992 | 0.0018294
15 | 0.0064227 | 0.0016097
16 | 0.004763 | 0.0011937
17 | 0.0065533 | 0.0016424
18 | 0.0040966 | 0.0010267
19 | 0.075338 | 0.018881
20 | 0.0062167 | 0.001558
21 | 0.006393 | 0.0016022
22 | 0.0067397 | 0.0016891
23 | 0.0064038 | 0.001605
24 | 0.006382 | 0.0015995
25 | 0.0037211 | 0.00093259
26 | 0.0079608 | 0.0019952
27 | 0.004546 | 0.0011393
28 | 0.0057345 | 0.0014372
29 | 0.006215 | 0.0015576
30 | 0.0067837 | 0.0017002
31 | 0.0044557 | 0.0011167
32 | 0.004454 | 0.0011163
33 | 0.0066329 | 0.0016624
34 | 0.025187 | 0.0063125
35 | 0.0052648 | 0.0013195
36 | 0.0094 | 0.0023559
37 | 0.0024148 | 0.0006052
38 | 0.0043349 | 0.0010864
39 | 0.0032877 | 0.00082398
40 | 0.0030874 | 0.00077379
41 | 0.010198 | 0.0025558
42 | 0.0028656 | 0.0007182
43 | 0.0026907 | 0.00067435
44 | 0.0023609 | 0.0005917
45 | 0.009873 | 0.0024744
46 | 0.003878 | 0.00097192
47 | 0.022395 | 0.0056127
48 | 0.0043089 | 0.0010799
49 | 0.019721 | 0.0049425
50 | 0.0049329 | 0.0012363
51 | 0.0058133 | 0.001457
52 | 0.0030875 | 0.0007738
53 | 0.010115 | 0.0025352
54 | 0.004942 | 0.0012386
55 | 0.0032691 | 0.00081932
56 | 0.0032683 | 0.00081911
57 | 0.0032779 | 0.00082151
58 | 0.006785 | 0.0017005
59 | 0.0038803 | 0.00097249
60 | 0.0050521 | 0.0012662
61 | 0.0091861 | 0.0023023
62 | 0.093944 | 0.023545
63 | 0.012422 | 0.0031134
64 | 0.0047465 | 0.0011896
65 | 0.0031141 | 0.00078046
66 | 0.0014439 | 0.00036188
67 | 0.0042264 | 0.0010592
68 | 0.0030867 | 0.00077359
69 | 0.0037615 | 0.00094271

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1