## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-213_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-213_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-213_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-213_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-213_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-213_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_2701-213_0_4_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_2701-213_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2701-213_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-213_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2701-213_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2701-213_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_2701-213_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_2701-213_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2701-213_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2701-213_0_4_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_2701-213_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_2701-213_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2701-213_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2701-213_0_4_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2701-213_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2701-213_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2701-213_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2701-213_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2701-213_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2701-213_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2701-213_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2701-213_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2701-213_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2701-213_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2701-213_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2701-213_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2701-213_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2701-213_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_2701-213_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2701-213_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2701-213_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2701-213_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2701-213_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2701-213_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2701-213_0_4_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_2701-213_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2701-213_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2701-213_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2701-213_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2701-213_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2701-213_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2701-213_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2701-213_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_2701-213_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_MV_560_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-213_0_4_load_0 | 0 | 0.0071508 | 0.0017921 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-213_0_4_load_1 | 1 | 0.005189 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-213_0_4_load_2 | 2 | 0.0027242 | 0.00068275 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-213_0_4_load_28 | 6 | 0.010413 | 0.0026098 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-213_0_4_load_48 | 9 | 0.011246 | 0.0028186 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-213_0_4_load_53 | 12 | 0.0087083 | 0.0021825 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-213_0_4_load_5 | 13 | 0.0039981 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-213_0_4_load_21 | 14 | 0.0019266 | 0.00048285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-213_0_4_load_50 | 16 | 0.0019117 | 0.00047912 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-213_0_4_load_19 | 17 | 0.0020564 | 0.00051538 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-213_0_4_load_18 | 18 | 0.0030857 | 0.00077334 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-213_0_4_load_30 | 19 | 0.0053716 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-213_0_4_load_25 | 20 | 0.0057924 | 0.0014517 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-213_0_4_load_14 | 22 | 0.014015 | 0.0035125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-213_0_4_load_13 | 23 | 0.071053 | 0.017808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-213_0_4_load_15 | 24 | 0.003719 | 0.00093207 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-213_0_4_load_20 | 26 | 0.012129 | 0.0030399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-213_0_4_load_17 | 27 | 0.012156 | 0.0030466 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-213_0_4_load_33 | 28 | 0.0072202 | 0.0018096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-213_0_4_load_34 | 29 | 0.018336 | 0.0045955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-213_0_4_load_22 | 30 | 0.0017519 | 0.00043907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-213_0_4_load_24 | 31 | 0.003761 | 0.0009426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-213_0_4_load_38 | 32 | 0.0043711 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-213_0_4_load_39 | 33 | 0.0041355 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-213_0_4_load_27 | 34 | 0.014528 | 0.003641 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-213_0_4_load_31 | 35 | 0.012393 | 0.0031059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-213_0_4_load_32 | 36 | 0.0045435 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-213_0_4_load_36 | 37 | 0.0058723 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-213_0_4_load_37 | 38 | 0.0074741 | 0.0018732 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-213_0_4_load_40 | 41 | 0.006067 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-213_0_4_load_46 | 42 | 0.004162 | 0.0010431 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-213_0_4_load_45 | 43 | 0.0053445 | 0.0013395 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-213_0_4_load_47 | 44 | 0.0071989 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-213_0_4_load_41 | 45 | 0.0049418 | 0.0012385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-213_0_4_load_43 | 46 | 0.0041366 | 0.0010367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-213_0_4_load_44 | 47 | 0.0035551 | 0.000891 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-213_0_4_load_51 | 49 | 0.0078929 | 0.0019781 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-213_0_4_line_0 |  | 0 | 1 | 0.0024555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-213_0_4_line_1 |  | 0 | 2 | 0.0025257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-213_0_4_line_2 |  | 1 | 3 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-213_0_4_line_3 |  | 2 | 4 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-213_0_4_line_4 |  | 3 | 5 | 0.00913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-213_0_4_line_5 |  | 4 | 6 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-213_0_4_line_6 |  | 4 | 7 | 0.074044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-213_0_4_line_7 |  | 5 | 14 | 0.013172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-213_0_4_line_8 |  | 6 | 11 | 0.0092105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-213_0_4_line_9 |  | 7 | 13 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-213_0_4_line_10 |  | 7 | 8 | 0.025199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-213_0_4_line_11 |  | 8 | 9 | 0.0072588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-213_0_4_line_12 |  | 9 | 15 | 0.0041605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-213_0_4_line_13 |  | 10 | 11 | 0.005669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-213_0_4_line_14 |  | 10 | 12 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-213_0_4_line_15 |  | 11 | 19 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-213_0_4_line_16 |  | 14 | 30 | 0.000717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-213_0_4_line_17 |  | 15 | 16 | 0.0024663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-213_0_4_line_18 |  | 16 | 48 | 0.00055718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-213_0_4_line_19 |  | 17 | 18 | 2.0514e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-213_0_4_line_20 |  | 18 | 27 | 0.035185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-213_0_4_line_21 |  | 19 | 37 | 0.0063488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-213_0_4_line_22 |  | 20 | 21 | 0.00053138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-213_0_4_line_23 |  | 21 | 34 | 0.0086995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-213_0_4_line_24 |  | 22 | 23 | 0.0074983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-213_0_4_line_25 |  | 23 | 24 | 0.0084422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-213_0_4_line_26 |  | 24 | 25 | 0.014782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-213_0_4_line_27 |  | 25 | 26 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2701-213_0_4_line_28 |  | 25 | 27 | 0.023699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-213_0_4_line_29 |  | 26 | 28 | 0.0057732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-213_0_4_line_30 |  | 28 | 29 | 0.0079088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2701-213_0_4_line_31 |  | 29 | 40 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2701-213_0_4_line_32 |  | 30 | 31 | 0.007201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-213_0_4_line_33 |  | 31 | 32 | 0.00011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-213_0_4_line_34 |  | 32 | 33 | 0.0018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-213_0_4_line_35 |  | 33 | 44 | 0.025452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-213_0_4_line_36 |  | 34 | 35 | 0.013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-213_0_4_line_37 |  | 35 | 36 | 0.0074275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-213_0_4_line_38 |  | 36 | 39 | 0.00866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-213_0_4_line_39 |  | 37 | 38 | 0.0068581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-213_0_4_line_40 |  | 38 | 42 | 0.0078793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-213_0_4_line_41 |  | 39 | 40 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-213_0_4_line_42 |  | 40 | 41 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-213_0_4_line_43 |  | 41 | 45 | 0.0070425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-213_0_4_line_44 |  | 42 | 43 | 0.0062388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-213_0_4_line_45 |  | 43 | 47 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-213_0_4_line_46 |  | 45 | 46 | 0.0070761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-213_0_4_line_47 |  | 46 | 47 | 0.0068579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-213_0_4_line_48 |  | 48 | 49 | 0.003194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-213_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 50 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2610785.1603 | 1267505.2548 | 2610787.4783 | 1267506.065
1 | 2610785.1603 | 1267505.2548 | 2610782.7761 | 1267504.4215
2 | 2610807.1062 | 1267512.9249 | 2610787.4783 | 1267506.065
3 | 2610763.7734 | 1267497.7801 | 2610782.7761 | 1267504.4215
4 | 2610807.1062 | 1267512.9249 | 2610815.8168 | 1267515.7427
5 | 2610763.7734 | 1267497.7801 | 2610764.9336 | 1267493.0345 | 2610764.9398 | 1267489.5987 | 2610764.5998 | 1267486.1513 | 2610764.3347 | 1267484.9462
6 | 2610742.7323 | 1267554.3483 | 2610743.4418 | 1267549.1126 | 2610742.9686 | 1267540.2167 | 2610742.2467 | 1267527.4175 | 2610737.5976 | 1267517.8024 | 2610736.0001 | 1267514.664 | 2610736.6252 | 1267514.4427 | 2610744.3078 | 1267511.3989 | 2610744.6317 | 1267511.2549 | 2610751.6309 | 1267507.3426 | 2610758.0211 | 1267503.0623 | 2610762.8379 | 1267499.0126 | 2610763.7734 | 1267497.7801
7 | 2610815.8168 | 1267515.7427 | 2610816.8751 | 1267509.0844 | 2610816.5864 | 1267502.661
8 | 2610763.2712 | 1267475.8639 | 2610763.1371 | 1267479.2882 | 2610763.8533 | 1267482.7586 | 2610764.3347 | 1267484.9462
9 | 2610742.7323 | 1267554.3483 | 2610738.5405 | 1267554.1295 | 2610735.133 | 1267553.0337 | 2610731.1769 | 1267551.4699 | 2610727.9932 | 1267550.7181
10 | 2610742.7323 | 1267554.3483 | 2610752.4238 | 1267555.8113 | 2610753.2875 | 1267552.644 | 2610753.9233 | 1267546.5298 | 2610755.4541 | 1267540.7618
11 | 2610755.4541 | 1267540.7618 | 2610762.5867 | 1267542.109
12 | 2610763.1361 | 1267537.9849 | 2610762.5867 | 1267542.109
13 | 2610757.7871 | 1267474.3751 | 2610759.6528 | 1267474.8455 | 2610762.9026 | 1267475.7409 | 2610763.2712 | 1267475.8639
14 | 2610757.7871 | 1267474.3751 | 2610754.8564 | 1267475.9265 | 2610754.0954 | 1267476.4032 | 2610747.1637 | 1267480.6903
15 | 2610763.2712 | 1267475.8639 | 2610765.2054 | 1267471.7756 | 2610767.0536 | 1267469.4662 | 2610770.265 | 1267466.7035 | 2610771.2557 | 1267466.0119
16 | 2610816.5542 | 1267501.9448 | 2610816.5864 | 1267502.661
17 | 2610763.1361 | 1267537.9849 | 2610763.558 | 1267535.5549
18 | 2610763.6533 | 1267535.006 | 2610763.558 | 1267535.5549
19 | 2610844.0597 | 1267503.404 | 2610844.0602 | 1267503.4245
20 | 2610844.0597 | 1267503.404 | 2610843.7892 | 1267492.9666 | 2610841.0294 | 1267491.6718 | 2610836.2897 | 1267490.5512 | 2610835.6966 | 1267481.4438 | 2610833.3254 | 1267481.6396 | 2610832.9893 | 1267476.3315
21 | 2610771.2557 | 1267466.0119 | 2610776.4619 | 1267462.3783
22 | 2610895.5095 | 1267402.0936 | 2610894.9931 | 1267402.2189
23 | 2610894.9931 | 1267402.2189 | 2610886.5386 | 1267404.2687
24 | 2610884.1841 | 1267465.3225 | 2610876.7404 | 1267466.2258
25 | 2610868.3597 | 1267467.2428 | 2610876.7404 | 1267466.2258
26 | 2610853.6852 | 1267469.0235 | 2610868.3597 | 1267467.2428
27 | 2610853.6852 | 1267469.0235 | 2610851.6252 | 1267447.16 | 2610851.5505 | 1267446.535
28 | 2610853.6852 | 1267469.0235 | 2610843.2652 | 1267470.8057 | 2610839.9991 | 1267474.7136 | 2610832.9304 | 1267475.4012 | 2610832.9893 | 1267476.3315
29 | 2610851.5505 | 1267446.535 | 2610850.8649 | 1267440.8027
30 | 2610849.9256 | 1267432.9499 | 2610850.8649 | 1267440.8027
31 | 2610846.248 | 1267420.0645 | 2610849.0899 | 1267425.9627 | 2610849.9256 | 1267432.9499
32 | 2610816.231 | 1267494.751 | 2610816.5542 | 1267501.9448
33 | 2610816.226 | 1267494.6411 | 2610816.231 | 1267494.751
34 | 2610816.226 | 1267494.6411 | 2610816.1445 | 1267492.8273 | 2610816.1445 | 1267492.8273
35 | 2610817.862 | 1267467.5674 | 2610817.3861 | 1267468.1901 | 2610816.1445 | 1267492.8273
36 | 2610873.3348 | 1267408.4991 | 2610883.796 | 1267404.9336 | 2610886.5386 | 1267404.2687
37 | 2610873.3348 | 1267408.4991 | 2610868.9668 | 1267409.9878 | 2610866.363 | 1267411.0517
38 | 2610858.3463 | 1267414.327 | 2610866.363 | 1267411.0517
39 | 2610782.2026 | 1267458.6289 | 2610778.1779 | 1267461.1806 | 2610776.4619 | 1267462.3783
40 | 2610788.8571 | 1267454.4098 | 2610782.2026 | 1267458.6289
41 | 2610846.248 | 1267420.0645 | 2610858.3463 | 1267414.327
42 | 2610846.248 | 1267420.0645 | 2610831.3758 | 1267428.1319 | 2610825.0957 | 1267431.8947
43 | 2610825.0957 | 1267431.8947 | 2610819.0546 | 1267435.5143
44 | 2610788.8571 | 1267454.4098 | 2610794.1262 | 1267451.0691
45 | 2610807.1756 | 1267442.7956 | 2610794.1262 | 1267451.0691
46 | 2610819.0546 | 1267435.5143 | 2610812.9847 | 1267439.1512
47 | 2610807.1756 | 1267442.7956 | 2610811.8756 | 1267439.8157 | 2610812.9847 | 1267439.1512
48 | 2610763.6533 | 1267535.006 | 2610764.4513 | 1267534.8962 | 2610765.1595 | 1267534.5306 | 2610765.725 | 1267533.9646 | 2610766.0725 | 1267533.2536

## bus_geodata
| x | y | coords
0 | 2610785.1603 | 1267505.2548
1 | 2610787.4783 | 1267506.065
2 | 2610782.7761 | 1267504.4215
3 | 2610807.1062 | 1267512.9249
4 | 2610763.7734 | 1267497.7801
5 | 2610815.8168 | 1267515.7427
6 | 2610764.3347 | 1267484.9462
7 | 2610742.7323 | 1267554.3483
8 | 2610755.4541 | 1267540.7618
9 | 2610762.5867 | 1267542.109
10 | 2610757.7871 | 1267474.3751
11 | 2610763.2712 | 1267475.8639
12 | 2610747.1637 | 1267480.6903
13 | 2610727.9932 | 1267550.7181
14 | 2610816.5864 | 1267502.661
15 | 2610763.1361 | 1267537.9849
16 | 2610763.558 | 1267535.5549
17 | 2610844.0602 | 1267503.4245
18 | 2610844.0597 | 1267503.404
19 | 2610771.2557 | 1267466.0119
20 | 2610895.5095 | 1267402.0936
21 | 2610894.9931 | 1267402.2189
22 | 2610884.1841 | 1267465.3225
23 | 2610876.7404 | 1267466.2258
24 | 2610868.3597 | 1267467.2428
25 | 2610853.6852 | 1267469.0235
26 | 2610851.5505 | 1267446.535
27 | 2610832.9893 | 1267476.3315
28 | 2610850.8649 | 1267440.8027
29 | 2610849.9256 | 1267432.9499
30 | 2610816.5542 | 1267501.9448
31 | 2610816.231 | 1267494.751
32 | 2610816.226 | 1267494.6411
33 | 2610816.1445 | 1267492.8273
34 | 2610886.5386 | 1267404.2687
35 | 2610873.3348 | 1267408.4991
36 | 2610866.363 | 1267411.0517
37 | 2610776.4619 | 1267462.3783
38 | 2610782.2026 | 1267458.6289
39 | 2610858.3463 | 1267414.327
40 | 2610846.248 | 1267420.0645
41 | 2610825.0957 | 1267431.8947
42 | 2610788.8571 | 1267454.4098
43 | 2610794.1262 | 1267451.0691
44 | 2610817.862 | 1267467.5674
45 | 2610819.0546 | 1267435.5143
46 | 2610812.9847 | 1267439.1512
47 | 2610807.1756 | 1267442.7956
48 | 2610763.6533 | 1267535.006
49 | 2610766.0725 | 1267533.2536
50 | 2610853.6852 | 1267469.0235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98226 | -0.34161 | 0.0071508 | 0.0017921
1 | 0.9822 | -0.34287 | 0.005189 | 0.0013005
2 | 0.98235 | -0.33999 | 0.0027242 | 0.00068275
3 | 0.98175 | -0.35156 | 0 | 0
4 | 0.98306 | -0.32611 | 0 | 0
5 | 0.98156 | -0.35539 | 0 | 0
6 | 0.98382 | -0.31126 | 0.010413 | 0.0026098
7 | 0.98134 | -0.35962 | 0 | 0
8 | 0.98085 | -0.36923 | 0 | 0
9 | 0.98071 | -0.37199 | 0.011246 | 0.0028186
10 | 0.9844 | -0.29994 | 0 | 0
11 | 0.98444 | -0.29905 | 0 | 0
12 | 0.9843 | -0.30187 | 0.0087083 | 0.0021825
13 | 0.98129 | -0.36073 | 0.0039981 | 0.001002
14 | 0.98128 | -0.3609 | 0.0019266 | 0.00048285
15 | 0.98067 | -0.37273 | 0 | 0
16 | 0.98065 | -0.37317 | 0.0019117 | 0.00047912
17 | 0.99984 | -0.003155 | 0.0020564 | 0.00051538
18 | 0.99984 | -0.0031542 | 0.0030857 | 0.00077334
19 | 0.98543 | -0.27992 | 0.0053716 | 0.0013463
20 | 0.99336 | -0.12704 | 0.0057924 | 0.0014517
21 | 0.99336 | -0.12699 | 0 | 0
22 | 0.99594 | -0.077891 | 0.014015 | 0.0035125
23 | 0.99603 | -0.076044 | 0.071053 | 0.017808
24 | 0.99668 | -0.063435 | 0.003719 | 0.00093207
25 | 0.99788 | -0.040435 | 0 | 0
26 | 0.99647 | -0.067395 | 0.012129 | 0.0030399
27 | 1 | 0 | -0.30241 | -0.076376
28 | 0.99613 | -0.073888 | 0.0072202 | 0.0018096
29 | 0.99568 | -0.082454 | 0.018336 | 0.0045955
30 | 0.98126 | -0.36118 | 0.0017519 | 0.00043907
31 | 0.98113 | -0.36372 | 0.003761 | 0.0009426
32 | 0.98113 | -0.36375 | 0.0043711 | 0.0010955
33 | 0.98111 | -0.36412 | 0.0041355 | 0.0010365
34 | 0.99341 | -0.12609 | 0.014528 | 0.003641
35 | 0.99367 | -0.12112 | 0.012393 | 0.0031059
36 | 0.99389 | -0.11683 | 0.0045435 | 0.0011387
37 | 0.98594 | -0.26992 | 0.0058723 | 0.0014717
38 | 0.98653 | -0.25842 | 0.0074741 | 0.0018732
39 | 0.99418 | -0.11114 | 0 | 0
40 | 0.99464 | -0.10237 | 0 | 0
41 | 0.99175 | -0.15775 | 0.006067 | 0.0015205
42 | 0.98727 | -0.24416 | 0.004162 | 0.0010431
43 | 0.98788 | -0.23242 | 0.0053445 | 0.0013395
44 | 0.98094 | -0.36744 | 0.0071989 | 0.0018042
45 | 0.99095 | -0.17315 | 0.0049418 | 0.0012385
46 | 0.99018 | -0.18802 | 0.0041366 | 0.0010367
47 | 0.98945 | -0.20195 | 0.0035551 | 0.000891
48 | 0.98065 | -0.37325 | 0 | 0
49 | 0.98062 | -0.37371 | 0.0078929 | 0.0019781
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02836 | 0.0071166 | -0.028358 | -0.0071155 | 1.6998e-06 | 1.0568e-06 | 0.042965 | 0.042965 | 0.042965 | 0.98226 | -0.34161 | 0.9822 | -0.34287 | 11.8035
1 | -0.03551 | -0.0089087 | 0.035513 | 0.0089104 | 2.7412e-06 | 1.7224e-06 | 0.053797 | 0.053797 | 0.053797 | 0.98226 | -0.34161 | 0.98235 | -0.33999 | 14.7795
2 | 0.023169 | 0.005815 | -0.023159 | -0.0058091 | 9.6081e-06 | 5.8861e-06 | 0.035104 | 0.035104 | 0.035104 | 0.9822 | -0.34287 | 0.98175 | -0.35156 | 9.6439
3 | -0.038237 | -0.0095932 | 0.038263 | 0.0096091 | 2.5327e-05 | 1.5954e-05 | 0.057924 | 0.057924 | 0.057924 | 0.98235 | -0.33999 | 0.98306 | -0.32611 | 15.9132
4 | 0.023159 | 0.0058091 | -0.023155 | -0.0058065 | 4.219e-06 | 2.5847e-06 | 0.035104 | 0.035104 | 0.035104 | 0.98175 | -0.35156 | 0.98156 | -0.35539 | 9.6439
5 | -0.063365 | -0.01592 | 0.06341 | 0.015948 | 4.4926e-05 | 2.8588e-05 | 0.095927 | 0.095927 | 0.095927 | 0.98306 | -0.32611 | 0.98382 | -0.31126 | 26.3536
6 | 0.025102 | 0.0063104 | -0.025062 | -0.0062857 | 4.0103e-05 | 2.4728e-05 | 0.038003 | 0.038004 | 0.038004 | 0.98306 | -0.32611 | 0.98134 | -0.35962 | 10.4406
7 | 0.023155 | 0.0058065 | -0.023149 | -0.0058028 | 6.0867e-06 | 3.729e-06 | 0.035104 | 0.035104 | 0.035104 | 0.98156 | -0.35539 | 0.98128 | -0.3609 | 9.6439
8 | -0.073823 | -0.018558 | 0.073867 | 0.018585 | 4.3077e-05 | 2.7452e-05 | 0.11168 | 0.11168 | 0.11168 | 0.98382 | -0.31126 | 0.98444 | -0.29905 | 30.6806
9 | 0.0039983 | 0.001002 | -0.0039981 | -0.001002 | 2.1091e-07 | -5.8336e-08 | 0.0060626 | 0.0060627 | 0.0060627 | 0.98134 | -0.35962 | 0.98129 | -0.36073 | 1.6656
10 | 0.021064 | 0.0052837 | -0.021054 | -0.0052779 | 9.6409e-06 | 5.852e-06 | 0.031941 | 0.031941 | 0.031941 | 0.98134 | -0.35962 | 0.98085 | -0.36923 | 8.7751
11 | 0.021054 | 0.0052779 | -0.021052 | -0.0052762 | 2.7771e-06 | 1.6858e-06 | 0.031941 | 0.031941 | 0.031941 | 0.98085 | -0.36923 | 0.98071 | -0.37199 | 8.7751
12 | 0.0098054 | 0.0024576 | -0.009805 | -0.0024574 | 3.4534e-07 | 1.6852e-07 | 0.014878 | 0.014878 | 0.014878 | 0.98071 | -0.37199 | 0.98067 | -0.37273 | 4.0873
13 | -0.0087091 | -0.0021829 | 0.0087095 | 0.002183 | 3.6844e-07 | 1.6373e-07 | 0.013165 | 0.013165 | 0.013165 | 0.9844 | -0.29994 | 0.98444 | -0.29905 | 3.6167
14 | 0.0087091 | 0.0021829 | -0.0087083 | -0.0021825 | 8.0358e-07 | 3.5712e-07 | 0.013165 | 0.013165 | 0.013165 | 0.9844 | -0.29994 | 0.9843 | -0.30187 | 3.6167
15 | -0.082576 | -0.020768 | 0.082652 | 0.020817 | 7.5542e-05 | 4.8182e-05 | 0.12484 | 0.12484 | 0.12484 | 0.98444 | -0.29905 | 0.98543 | -0.27992 | 34.2973
16 | 0.021222 | 0.00532 | -0.021222 | -0.0053198 | 2.7848e-07 | 1.6917e-07 | 0.032182 | 0.032182 | 0.032182 | 0.98128 | -0.3609 | 0.98126 | -0.36118 | 8.8413
17 | 0.009805 | 0.0024574 | -0.0098048 | -0.0024573 | 2.0471e-07 | 9.9899e-08 | 0.014878 | 0.014878 | 0.014878 | 0.98067 | -0.37273 | 0.98065 | -0.37317 | 4.0873
18 | 0.0078931 | 0.0019782 | -0.0078931 | -0.0019782 | 2.9972e-08 | 1.2152e-08 | 0.011977 | 0.011977 | 0.011977 | 0.98065 | -0.37317 | 0.98065 | -0.37325 | 3.2903
19 | -0.0020564 | -0.00051538 | 0.0020564 | 0.00051538 | 7.2038e-11 | -2.2305e-10 | 0.0030605 | 0.0030605 | 0.0030605 | 0.99984 | -0.003155 | 0.99984 | -0.0031542 | 0.84079
20 | -0.0051421 | -0.0012887 | 0.0051429 | 0.0012888 | 7.727e-07 | 3.3006e-08 | 0.0076528 | 0.0076526 | 0.0076528 | 0.99984 | -0.0031542 | 1 | 0 | 2.1024
21 | -0.088023 | -0.022163 | 0.088065 | 0.02219 | 4.2084e-05 | 2.6853e-05 | 0.13295 | 0.13295 | 0.13295 | 0.98543 | -0.27992 | 0.98594 | -0.26992 | 36.5256
22 | -0.0057924 | -0.0014517 | 0.0057925 | 0.0014517 | 1.5002e-08 | 2.7227e-09 | 0.0086769 | 0.0086769 | 0.0086769 | 0.99336 | -0.12704 | 0.99336 | -0.12699 | 2.3838
23 | -0.0057925 | -0.0014517 | 0.0057927 | 0.0014518 | 2.4561e-07 | 4.4564e-08 | 0.0086769 | 0.0086768 | 0.0086769 | 0.99336 | -0.12699 | 0.99341 | -0.12609 | 2.3838
24 | -0.014015 | -0.0035125 | 0.014016 | 0.0035132 | 1.2329e-06 | 6.9149e-07 | 0.02094 | 0.02094 | 0.02094 | 0.99594 | -0.077891 | 0.99603 | -0.076044 | 5.7527
25 | -0.08507 | -0.021321 | 0.085121 | 0.021353 | 5.1134e-05 | 3.2616e-05 | 0.12709 | 0.12709 | 0.12709 | 0.99603 | -0.076044 | 0.99668 | -0.063435 | 34.9148
26 | -0.08884 | -0.022286 | 0.088937 | 0.022348 | 9.7528e-05 | 6.2225e-05 | 0.13264 | 0.13264 | 0.13264 | 0.99668 | -0.063435 | 0.99788 | -0.040435 | 36.4401
27 | 0.20611 | 0.052373 | -0.20584 | -0.052202 | 0.00026717 | 0.0001701 | 0.3076 | 0.3076 | 0.3076 | 0.99788 | -0.040435 | 0.99647 | -0.067395 | 28.1682
28 | -0.29504 | -0.07472 | 0.29562 | 0.075087 | 0.00057413 | 0.00036651 | 0.44024 | 0.44024 | 0.44024 | 0.99788 | -0.040435 | 1 | 0 | 40.3149
29 | 0.19371 | 0.049163 | -0.19365 | -0.049124 | 6.0475e-05 | 3.8479e-05 | 0.28948 | 0.28948 | 0.28948 | 0.99647 | -0.067395 | 0.99613 | -0.073888 | 26.5096
30 | 0.18643 | 0.047315 | -0.18635 | -0.047266 | 7.6788e-05 | 4.8835e-05 | 0.2787 | 0.2787 | 0.2787 | 0.99613 | -0.073888 | 0.99568 | -0.082454 | 25.5219
31 | 0.16802 | 0.04267 | -0.16786 | -0.042568 | 0.00016084 | 0.00010259 | 0.2513 | 0.2513 | 0.2513 | 0.99568 | -0.082454 | 0.99464 | -0.10237 | 34.5188
32 | 0.01947 | 0.0048807 | -0.019468 | -0.0048793 | 2.3541e-06 | 1.4157e-06 | 0.029526 | 0.029526 | 0.029526 | 0.98126 | -0.36118 | 0.98113 | -0.36372 | 8.1115
33 | 0.015707 | 0.0039367 | -0.015707 | -0.0039367 | 2.3416e-08 | 1.3596e-08 | 0.023822 | 0.023822 | 0.023822 | 0.98113 | -0.36372 | 0.98113 | -0.36375 | 6.5444
34 | 0.011336 | 0.0028412 | -0.011336 | -0.0028411 | 2.0125e-07 | 1.0587e-07 | 0.017192 | 0.017192 | 0.017192 | 0.98113 | -0.36375 | 0.98111 | -0.36412 | 4.7231
35 | 0.0072 | 0.0018046 | -0.0071989 | -0.0018042 | 1.1382e-06 | 4.0706e-07 | 0.01092 | 0.01092 | 0.01092 | 0.98111 | -0.36412 | 0.98094 | -0.36744 | 3
36 | -0.02032 | -0.0050928 | 0.020325 | 0.0050957 | 4.8201e-06 | 2.9052e-06 | 0.030438 | 0.030438 | 0.030438 | 0.99341 | -0.12609 | 0.99367 | -0.12112 | 8.362
37 | -0.032718 | -0.0082016 | 0.032725 | 0.0082058 | 6.6865e-06 | 4.1831e-06 | 0.048996 | 0.048996 | 0.048996 | 0.99367 | -0.12112 | 0.99389 | -0.11683 | 13.4604
38 | -0.037268 | -0.0093445 | 0.037278 | 0.0093509 | 1.0111e-05 | 6.3587e-06 | 0.055798 | 0.055798 | 0.055798 | 0.99389 | -0.11683 | 0.99418 | -0.11114 | 15.3292
39 | -0.093938 | -0.023662 | 0.093989 | 0.023695 | 5.1724e-05 | 3.3016e-05 | 0.14182 | 0.14182 | 0.14182 | 0.98594 | -0.26992 | 0.98653 | -0.25842 | 38.9605
40 | -0.10146 | -0.025568 | 0.10153 | 0.025612 | 6.9248e-05 | 4.4218e-05 | 0.15309 | 0.15309 | 0.15309 | 0.98653 | -0.25842 | 0.98727 | -0.24416 | 42.0575
41 | -0.037278 | -0.0093509 | 0.037294 | 0.0093607 | 1.5595e-05 | 9.8074e-06 | 0.055798 | 0.055798 | 0.055798 | 0.99418 | -0.11114 | 0.99464 | -0.10237 | 15.3292
42 | 0.13056 | 0.033207 | -0.13022 | -0.032985 | 0.00034742 | 0.00022204 | 0.1955 | 0.1955 | 0.1955 | 0.99464 | -0.10237 | 0.99175 | -0.15775 | 53.7085
43 | 0.12415 | 0.031464 | -0.12406 | -0.031406 | 9.1755e-05 | 5.8632e-05 | 0.1864 | 0.1864 | 0.1864 | 0.99175 | -0.15775 | 0.99095 | -0.17315 | 51.2077
44 | -0.10569 | -0.026655 | 0.10575 | 0.026693 | 5.9416e-05 | 3.7947e-05 | 0.15936 | 0.15936 | 0.15936 | 0.98727 | -0.24416 | 0.98788 | -0.23242 | 43.7809
45 | -0.1111 | -0.028032 | 0.11126 | 0.028136 | 0.00016239 | 0.00010373 | 0.16741 | 0.16741 | 0.16741 | 0.98788 | -0.23242 | 0.98945 | -0.20195 | 45.9925
46 | 0.11911 | 0.030167 | -0.11903 | -0.030113 | 8.4999e-05 | 5.4308e-05 | 0.17898 | 0.17898 | 0.17898 | 0.99095 | -0.17315 | 0.99018 | -0.18802 | 49.1691
47 | 0.11489 | 0.029076 | -0.11482 | -0.029027 | 7.6755e-05 | 4.9035e-05 | 0.17276 | 0.17276 | 0.17276 | 0.99018 | -0.18802 | 0.98945 | -0.20195 | 47.4613
48 | 0.0078931 | 0.0019782 | -0.0078929 | -0.0019781 | 1.7181e-07 | 6.9662e-08 | 0.011977 | 0.011977 | 0.011977 | 0.98065 | -0.37325 | 0.98062 | -0.37371 | 3.2903

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31457 | 0.079422

## res_load
| p_mw | q_mvar
0 | 0.0071508 | 0.0017921
1 | 0.005189 | 0.0013005
2 | 0.0027242 | 0.00068275
3 | 0.010413 | 0.0026098
4 | 0.011246 | 0.0028186
5 | 0.0087083 | 0.0021825
6 | 0.0039981 | 0.001002
7 | 0.0019266 | 0.00048285
8 | 0.0019117 | 0.00047912
9 | 0.0020564 | 0.00051538
10 | 0.0030857 | 0.00077334
11 | 0.0053716 | 0.0013463
12 | 0.0057924 | 0.0014517
13 | 0.014015 | 0.0035125
14 | 0.071053 | 0.017808
15 | 0.003719 | 0.00093207
16 | 0.012129 | 0.0030399
17 | 0.012156 | 0.0030466
18 | 0.0072202 | 0.0018096
19 | 0.018336 | 0.0045955
20 | 0.0017519 | 0.00043907
21 | 0.003761 | 0.0009426
22 | 0.0043711 | 0.0010955
23 | 0.0041355 | 0.0010365
24 | 0.014528 | 0.003641
25 | 0.012393 | 0.0031059
26 | 0.0045435 | 0.0011387
27 | 0.0058723 | 0.0014717
28 | 0.0074741 | 0.0018732
29 | 0.006067 | 0.0015205
30 | 0.004162 | 0.0010431
31 | 0.0053445 | 0.0013395
32 | 0.0071989 | 0.0018042
33 | 0.0049418 | 0.0012385
34 | 0.0041366 | 0.0010367
35 | 0.0035551 | 0.000891
36 | 0.0078929 | 0.0019781

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1