## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-216_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-216_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-216_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-216_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-216_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-216_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-216_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2701-216_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2701-216_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2701-216_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_2701-216_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2701-216_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2701-216_0_4_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_2701-216_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2701-216_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_2701-216_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2701-216_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2701-216_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2701-216_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2701-216_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2701-216_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2701-216_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2701-216_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2701-216_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2701-216_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2701-216_0_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_2701-216_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_2701-216_0_4_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_2701-216_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2701-216_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2701-216_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_2701-216_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2701-216_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2701-216_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2701-216_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2701-216_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2701-216_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2701-216_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2701-216_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2701-216_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2701-216_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2701-216_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_2701-216_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2701-216_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2701-216_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2701-216_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2701-216_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2701-216_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2701-216_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2701-216_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2701-216_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2701-216_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_2701-216_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_2701-216_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2701-216_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2701-216_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_MV_556_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-216_0_4_load_0 | 0 | 0.015936 | 0.0039938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-216_0_4_load_1 | 1 | 0.01471 | 0.0036867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-216_0_4_load_3 | 3 | 0.0064512 | 0.0016168 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-216_0_4_load_4 | 4 | 0.013142 | 0.0032937 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-216_0_4_load_5 | 5 | 0.029667 | 0.0074352 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-216_0_4_load_6 | 6 | 0.015011 | 0.0037621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-216_0_4_load_7 | 7 | 0.011119 | 0.0027867 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-216_0_4_load_23 | 8 | 0.0060139 | 0.0015072 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-216_0_4_load_43 | 9 | 0.016357 | 0.0040993 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-216_0_4_load_24 | 11 | 0.0095234 | 0.0023868 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-216_0_4_load_44 | 12 | 0.022426 | 0.0056205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-216_0_4_load_9 | 13 | 0.0052929 | 0.0013265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-216_0_4_load_21 | 14 | 0.0021992 | 0.00055116 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-216_0_4_load_20 | 15 | 0.0022983 | 0.000576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-216_0_4_load_19 | 16 | 0.0043654 | 0.0010941 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-216_0_4_load_16 | 17 | 0.0029532 | 0.00074014 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-216_0_4_load_12 | 18 | 0.0036384 | 0.00091188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-216_0_4_load_13 | 19 | 0.0036102 | 0.00090479 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-216_0_4_load_15 | 21 | 0.0032132 | 0.00080531 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-216_0_4_load_17 | 22 | 0.0094816 | 0.0023763 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-216_0_4_load_18 | 23 | 0.0026017 | 0.00065205 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-216_0_4_load_32 | 24 | 0.005351 | 0.0013411 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-216_0_4_load_61 | 25 | 0.0025992 | 0.00065143 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-216_0_4_load_31 | 26 | 0.004225 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-216_0_4_load_60 | 27 | 0.0032508 | 0.00081474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-216_0_4_load_54 | 30 | 0.0055611 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-216_0_4_load_48 | 31 | 0.0038763 | 0.00097149 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-216_0_4_load_25 | 32 | 0.0032985 | 0.00082668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-216_0_4_load_26 | 33 | 0.0078631 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-216_0_4_load_27 | 34 | 0.0065561 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-216_0_4_load_28 | 35 | 0.0041383 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-216_0_4_load_29 | 36 | 0.0045378 | 0.0011373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-216_0_4_load_30 | 37 | 0.0041456 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-216_0_4_load_53 | 38 | 0.0049551 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-216_0_4_load_59 | 39 | 0.002222 | 0.00055688 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-216_0_4_load_58 | 40 | 0.013535 | 0.0033921 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-216_0_4_load_47 | 41 | 0.0081685 | 0.0020472 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-216_0_4_load_37 | 42 | 0.007522 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-216_0_4_load_38 | 43 | 0.0081274 | 0.0020369 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-216_0_4_load_39 | 44 | 0.0081467 | 0.0020418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-216_0_4_load_40 | 45 | 0.028181 | 0.0070628 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-216_0_4_load_41 | 46 | 0.017248 | 0.0043228 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-216_0_4_load_45 | 48 | 0.015129 | 0.0037918 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-216_0_4_load_46 | 49 | 0.0027738 | 0.00069517 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-216_0_4_load_55 | 50 | 0.0027737 | 0.00069516 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-216_0_4_load_56 | 51 | 0.0045543 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-216_0_4_load_50 | 52 | 0.0049738 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-216_0_4_load_51 | 53 | 0.0026643 | 0.00066775 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-216_0_4_load_52 | 54 | 0.0051316 | 0.0012861 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-216_0_4_load_57 | 55 | 0.0029612 | 0.00074215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-216_0_4_line_0 |  | 0 | 1 | 0.00061843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-216_0_4_line_1 |  | 0 | 2 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-216_0_4_line_2 |  | 1 | 3 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-216_0_4_line_3 |  | 2 | 4 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-216_0_4_line_4 |  | 2 | 5 | 0.033244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-216_0_4_line_5 |  | 2 | 6 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_2701-216_0_4_line_6 |  | 3 | 7 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-216_0_4_line_7 |  | 4 | 8 | 0.0083774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-216_0_4_line_8 |  | 6 | 9 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2701-216_0_4_line_9 |  | 7 | 10 | 0.019818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-216_0_4_line_10 |  | 8 | 11 | 0.0035362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-216_0_4_line_11 |  | 9 | 12 | 0.00078275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2701-216_0_4_line_12 |  | 10 | 13 | 0.029353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-216_0_4_line_13 |  | 11 | 32 | 0.0049619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-216_0_4_line_14 |  | 12 | 47 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2701-216_0_4_line_15 |  | 13 | 14 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-216_0_4_line_16 |  | 14 | 15 | 0.010602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-216_0_4_line_17 |  | 16 | 17 | 0.0087464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-216_0_4_line_18 |  | 17 | 20 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-216_0_4_line_19 |  | 18 | 19 | 0.00087039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-216_0_4_line_20 |  | 18 | 20 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-216_0_4_line_21 |  | 19 | 21 | 0.0098251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-216_0_4_line_22 |  | 20 | 22 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-216_0_4_line_23 |  | 20 | 23 | 0.023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-216_0_4_line_24 |  | 21 | 24 | 0.0028812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-216_0_4_line_25 |  | 23 | 25 | 0.0080129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-216_0_4_line_26 |  | 24 | 26 | 0.0058587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-216_0_4_line_27 |  | 25 | 27 | 0.007547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-216_0_4_line_28 |  | 26 | 37 | 0.0059983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-216_0_4_line_29 |  | 28 | 29 | 0.006979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-216_0_4_line_30 |  | 28 | 30 | 0.0060239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-216_0_4_line_31 |  | 29 | 31 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-216_0_4_line_32 |  | 30 | 38 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-216_0_4_line_33 |  | 31 | 41 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-216_0_4_line_34 |  | 32 | 33 | 0.0052135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-216_0_4_line_35 |  | 33 | 34 | 0.0045589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-216_0_4_line_36 |  | 34 | 35 | 0.0054037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-216_0_4_line_37 |  | 35 | 36 | 0.0056078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-216_0_4_line_38 |  | 36 | 37 | 0.0045242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-216_0_4_line_39 |  | 38 | 54 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-216_0_4_line_40 |  | 39 | 40 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-216_0_4_line_41 |  | 40 | 55 | 0.011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-216_0_4_line_42 |  | 41 | 48 | 0.0010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-216_0_4_line_43 |  | 42 | 43 | 0.0064466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-216_0_4_line_44 |  | 43 | 44 | 0.013771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-216_0_4_line_45 |  | 44 | 45 | 0.0019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-216_0_4_line_46 |  | 45 | 46 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-216_0_4_line_47 |  | 46 | 47 | 0.025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-216_0_4_line_48 |  | 47 | 48 | 0.017379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-216_0_4_line_49 |  | 47 | 49 | 0.02039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-216_0_4_line_50 |  | 49 | 50 | 0.0085007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-216_0_4_line_51 |  | 50 | 51 | 0.0031777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-216_0_4_line_52 |  | 51 | 55 | 0.0056127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-216_0_4_line_53 |  | 52 | 53 | 0.0088957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-216_0_4_line_54 |  | 53 | 54 | 0.001315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-216_0_4_trafo_6 | 0.63 MVA 20/0.4 kV | 56 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2610418.8734 | 1268672.8436 | 2610418.5307 | 1268673.3585
1 | 2610428.0238 | 1268659.097 | 2610418.8734 | 1268672.8436
2 | 2610410.8699 | 1268684.8672 | 2610418.5307 | 1268673.3585
3 | 2610428.0238 | 1268659.097 | 2610416.0911 | 1268651.283
4 | 2610428.0238 | 1268659.097 | 2610455.6696 | 1268677.5604
5 | 2610428.0238 | 1268659.097 | 2610431.0943 | 1268654.6437 | 2610438.5802 | 1268643.7722
6 | 2610400.8885 | 1268699.8623 | 2610410.8699 | 1268684.8672
7 | 2610416.0911 | 1268651.283 | 2610409.0827 | 1268646.6936
8 | 2610451.3915 | 1268625.1667 | 2610438.5802 | 1268643.7722
9 | 2610389.9071 | 1268716.3595 | 2610400.8885 | 1268699.8623
10 | 2610406.1243 | 1268644.7563 | 2610409.0827 | 1268646.6936
11 | 2610451.8354 | 1268624.5221 | 2610451.3915 | 1268625.1667
12 | 2610389.9071 | 1268716.3595 | 2610365.671 | 1268699.7995
13 | 2610406.1243 | 1268644.7563 | 2610401.9732 | 1268642.038
14 | 2610462.0186 | 1268609.7331 | 2610458.6312 | 1268614.6528 | 2610451.8354 | 1268624.5221
15 | 2610346.7851 | 1268686.8952 | 2610365.671 | 1268699.7995
16 | 2610346.7851 | 1268686.8952 | 2610338.031 | 1268680.9137
17 | 2610335.4468 | 1268618.8259 | 2610330.0606 | 1268625.7171
18 | 2610345.0945 | 1268604.7917 | 2610340.9812 | 1268611.745 | 2610335.4468 | 1268618.8259
19 | 2610359.5232 | 1268614.2401 | 2610360.2513 | 1268614.7169
20 | 2610345.0945 | 1268604.7917 | 2610359.5232 | 1268614.2401
21 | 2610368.4709 | 1268620.0994 | 2610360.2513 | 1268614.7169
22 | 2610345.0945 | 1268604.7917 | 2610328.9144 | 1268591.3122
23 | 2610345.0945 | 1268604.7917 | 2610350.0531 | 1268596.4055 | 2610358.7222 | 1268585.6525
24 | 2610368.4709 | 1268620.0994 | 2610370.8813 | 1268621.6779
25 | 2610363.7514 | 1268579.4144 | 2610358.7222 | 1268585.6525
26 | 2610375.7826 | 1268624.8874 | 2610370.8813 | 1268621.6779
27 | 2610368.4881 | 1268573.539 | 2610363.7514 | 1268579.4144
28 | 2610375.7826 | 1268624.8874 | 2610380.8007 | 1268628.1735
29 | 2610499.3754 | 1268565.9682 | 2610493.5275 | 1268562.1329
30 | 2610499.3754 | 1268565.9682 | 2610504.4083 | 1268569.2783
31 | 2610493.5275 | 1268562.1329 | 2610481.102 | 1268580.9041
32 | 2610513.3287 | 1268575.145 | 2610504.4083 | 1268569.2783
33 | 2610481.102 | 1268580.9041 | 2610472.1739 | 1268594.3917
34 | 2610397.6117 | 1268639.1819 | 2610401.9732 | 1268642.038
35 | 2610397.6117 | 1268639.1819 | 2610393.7977 | 1268636.6844
36 | 2610389.2771 | 1268633.7241 | 2610393.7977 | 1268636.6844
37 | 2610384.5856 | 1268630.652 | 2610389.2771 | 1268633.7241
38 | 2610384.5856 | 1268630.652 | 2610380.8007 | 1268628.1735
39 | 2610521.8502 | 1268580.7496 | 2610513.3287 | 1268575.145
40 | 2610420.289 | 1268583.3922 | 2610405.837 | 1268574.2697
41 | 2610430.1542 | 1268589.6194 | 2610420.289 | 1268583.3922
42 | 2610471.6112 | 1268595.2417 | 2610472.1739 | 1268594.3917
43 | 2610513.5153 | 1268643.8532 | 2610508.1412 | 1268640.2926
44 | 2610508.1412 | 1268640.2926 | 2610496.6613 | 1268632.6863
45 | 2610495.0338 | 1268631.608 | 2610496.6613 | 1268632.6863
46 | 2610495.0338 | 1268631.608 | 2610483.4522 | 1268623.9344
47 | 2610462.0186 | 1268609.7331 | 2610483.4522 | 1268623.9344
48 | 2610462.0186 | 1268609.7331 | 2610471.6112 | 1268595.2417
49 | 2610462.0186 | 1268609.7331 | 2610444.776 | 1268598.8491
50 | 2610444.776 | 1268598.8491 | 2610437.5876 | 1268594.3116
51 | 2610437.5876 | 1268594.3116 | 2610434.9004 | 1268592.6154
52 | 2610430.1542 | 1268589.6194 | 2610434.9004 | 1268592.6154
53 | 2610530.3812 | 1268586.3603 | 2610522.9489 | 1268581.4722
54 | 2610521.8502 | 1268580.7496 | 2610522.9489 | 1268581.4722

## bus_geodata
| x | y | coords
0 | 2610418.8734 | 1268672.8436
1 | 2610418.5307 | 1268673.3585
2 | 2610428.0238 | 1268659.097
3 | 2610410.8699 | 1268684.8672
4 | 2610416.0911 | 1268651.283
5 | 2610455.6696 | 1268677.5604
6 | 2610438.5802 | 1268643.7722
7 | 2610400.8885 | 1268699.8623
8 | 2610409.0827 | 1268646.6936
9 | 2610451.3915 | 1268625.1667
10 | 2610389.9071 | 1268716.3595
11 | 2610406.1243 | 1268644.7563
12 | 2610451.8354 | 1268624.5221
13 | 2610365.671 | 1268699.7995
14 | 2610346.7851 | 1268686.8952
15 | 2610338.031 | 1268680.9137
16 | 2610330.0606 | 1268625.7171
17 | 2610335.4468 | 1268618.8259
18 | 2610359.5232 | 1268614.2401
19 | 2610360.2513 | 1268614.7169
20 | 2610345.0945 | 1268604.7917
21 | 2610368.4709 | 1268620.0994
22 | 2610328.9144 | 1268591.3122
23 | 2610358.7222 | 1268585.6525
24 | 2610370.8813 | 1268621.6779
25 | 2610363.7514 | 1268579.4144
26 | 2610375.7826 | 1268624.8874
27 | 2610368.4881 | 1268573.539
28 | 2610499.3754 | 1268565.9682
29 | 2610493.5275 | 1268562.1329
30 | 2610504.4083 | 1268569.2783
31 | 2610481.102 | 1268580.9041
32 | 2610401.9732 | 1268642.038
33 | 2610397.6117 | 1268639.1819
34 | 2610393.7977 | 1268636.6844
35 | 2610389.2771 | 1268633.7241
36 | 2610384.5856 | 1268630.652
37 | 2610380.8007 | 1268628.1735
38 | 2610513.3286 | 1268575.145
39 | 2610405.837 | 1268574.2697
40 | 2610420.289 | 1268583.3922
41 | 2610472.1739 | 1268594.3917
42 | 2610513.5153 | 1268643.8532
43 | 2610508.1412 | 1268640.2926
44 | 2610496.6613 | 1268632.6863
45 | 2610495.0338 | 1268631.608
46 | 2610483.4522 | 1268623.9344
47 | 2610462.0186 | 1268609.7331
48 | 2610471.6112 | 1268595.2417
49 | 2610444.776 | 1268598.8491
50 | 2610437.5876 | 1268594.3116
51 | 2610434.9004 | 1268592.6154
52 | 2610530.3812 | 1268586.3603
53 | 2610522.9489 | 1268581.4722
54 | 2610521.8502 | 1268580.7496
55 | 2610430.1542 | 1268589.6194
56 | 2610428.0238 | 1268659.097

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9975 | -0.047985 | 0.015936 | 0.0039938
1 | 0.99748 | -0.048441 | 0.01471 | 0.0036867
2 | 0.99837 | -0.031219 | 0 | 0
3 | 0.99713 | -0.05507 | 0.0064512 | 0.0016168
4 | 0.99701 | -0.057322 | 0.013142 | 0.0032937
5 | 0.99748 | -0.048481 | 0.029667 | 0.0074352
6 | 1 | 0 | -0.3826 | -0.09604
7 | 0.99679 | -0.061676 | 0.011119 | 0.0027867
8 | 0.99631 | -0.070753 | 0.0060139 | 0.0015072
9 | 0.99807 | -0.036943 | 0.016357 | 0.0040993
10 | 0.99661 | -0.065081 | 0 | 0
11 | 0.99604 | -0.076054 | 0.0095234 | 0.0023868
12 | 0.99801 | -0.038114 | 0.022426 | 0.0056205
13 | 0.99635 | -0.070126 | 0.0052929 | 0.0013265
14 | 0.99626 | -0.071933 | 0.0021992 | 0.00055116
15 | 0.99624 | -0.07236 | 0.0022983 | 0.000576
16 | 0.99289 | -0.13682 | 0.0043654 | 0.0010941
17 | 0.99293 | -0.13615 | 0.0029532 | 0.00074014
18 | 0.99344 | -0.12624 | 0.0036384 | 0.00091188
19 | 0.99346 | -0.1258 | 0.0036102 | 0.00090479
20 | 0.99304 | -0.13394 | 0 | 0
21 | 0.99375 | -0.12016 | 0.0032132 | 0.00080531
22 | 0.99286 | -0.13747 | 0.0094816 | 0.0023763
23 | 0.99286 | -0.13746 | 0.0026017 | 0.00065205
24 | 0.99385 | -0.11835 | 0.005351 | 0.0013411
25 | 0.99282 | -0.13829 | 0.0025992 | 0.00065143
26 | 0.99407 | -0.1141 | 0.004225 | 0.0010589
27 | 0.99279 | -0.13872 | 0.0032508 | 0.00081474
28 | 0.99494 | -0.097311 | 0 | 0
29 | 0.99509 | -0.094449 | 0 | 0
30 | 0.99481 | -0.099781 | 0.0055611 | 0.0013938
31 | 0.99557 | -0.085226 | 0.0038763 | 0.00097149
32 | 0.9957 | -0.082667 | 0.0032985 | 0.00082668
33 | 0.99535 | -0.089318 | 0.0078631 | 0.0019707
34 | 0.99508 | -0.094506 | 0.0065561 | 0.0016431
35 | 0.9948 | -0.10004 | 0.0041383 | 0.0010372
36 | 0.99452 | -0.10537 | 0.0045378 | 0.0011373
37 | 0.99432 | -0.10931 | 0.0041456 | 0.001039
38 | 0.99464 | -0.10311 | 0.0049551 | 0.0012419
39 | 0.9957 | -0.082722 | 0.002222 | 0.00055688
40 | 0.99573 | -0.082054 | 0.013535 | 0.0033921
41 | 0.99597 | -0.077503 | 0.0081685 | 0.0020472
42 | 0.99423 | -0.11094 | 0.007522 | 0.0018852
43 | 0.99428 | -0.11008 | 0.0081274 | 0.0020369
44 | 0.99447 | -0.10628 | 0.0081467 | 0.0020418
45 | 0.99452 | -0.10546 | 0.028181 | 0.0070628
46 | 0.99517 | -0.092748 | 0.017248 | 0.0043228
47 | 0.9968 | -0.061474 | 0 | 0
48 | 0.996 | -0.07687 | 0.015129 | 0.0037918
49 | 0.99626 | -0.071788 | 0.0027738 | 0.00069517
50 | 0.99606 | -0.075677 | 0.0027737 | 0.00069516
51 | 0.99599 | -0.076977 | 0.0045543 | 0.0011414
52 | 0.99447 | -0.10637 | 0.0049738 | 0.0012466
53 | 0.99451 | -0.10559 | 0.0026643 | 0.00066775
54 | 0.99452 | -0.10541 | 0.0051316 | 0.0012861
55 | 0.9959 | -0.078823 | 0.0029612 | 0.00074215
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.042091 | 0.010556 | -0.04209 | -0.010555 | 9.1438e-07 | 5.7713e-07 | 0.062792 | 0.062792 | 0.062792 | 0.9975 | -0.047985 | 0.99748 | -0.048441 | 17.2505
1 | -0.058027 | -0.014549 | 0.058073 | 0.014579 | 4.6403e-05 | 2.9482e-05 | 0.086563 | 0.086563 | 0.086563 | 0.9975 | -0.047985 | 0.99837 | -0.031219 | 23.7812
2 | 0.02738 | 0.0068683 | -0.027372 | -0.0068629 | 8.6504e-06 | 5.3558e-06 | 0.040847 | 0.040847 | 0.040847 | 0.99748 | -0.048441 | 0.99713 | -0.05507 | 11.2218
3 | 0.10487 | 0.026419 | -0.10473 | -0.026335 | 0.00013074 | 8.349e-05 | 0.15634 | 0.15634 | 0.15634 | 0.99837 | -0.031219 | 0.99701 | -0.057322 | 42.9518
4 | 0.029691 | 0.0074504 | -0.029667 | -0.0074352 | 2.4417e-05 | 1.5193e-05 | 0.044256 | 0.044256 | 0.044256 | 0.99837 | -0.031219 | 0.99748 | -0.048481 | 12.1583
5 | -0.19263 | -0.048448 | 0.19292 | 0.048631 | 0.00028773 | 0.00018366 | 0.28716 | 0.28716 | 0.28716 | 0.99837 | -0.031219 | 1 | 0 | 39.4456
6 | 0.02092 | 0.0052461 | -0.020914 | -0.0052421 | 6.5842e-06 | 3.979e-06 | 0.03122 | 0.03122 | 0.03122 | 0.99713 | -0.05507 | 0.99679 | -0.061676 | 8.577
7 | 0.091593 | 0.023041 | -0.091534 | -0.023004 | 5.8731e-05 | 3.7479e-05 | 0.13673 | 0.13673 | 0.13673 | 0.99701 | -0.057322 | 0.99631 | -0.070753 | 37.5633
8 | 0.18803 | 0.047408 | -0.1877 | -0.047196 | 0.0003318 | 0.00021176 | 0.27989 | 0.27989 | 0.27989 | 1 | 0 | 0.99807 | -0.036943 | 38.4462
9 | 0.0097947 | 0.0024554 | -0.0097931 | -0.0024546 | 1.5889e-06 | 7.586e-07 | 0.014622 | 0.014622 | 0.014622 | 0.99679 | -0.061676 | 0.99661 | -0.065081 | 4.017
10 | 0.08552 | 0.021497 | -0.085499 | -0.021483 | 2.1641e-05 | 1.3804e-05 | 0.12775 | 0.12775 | 0.12775 | 0.99631 | -0.070753 | 0.99604 | -0.076054 | 35.0957
11 | 0.17134 | 0.043097 | -0.17133 | -0.043091 | 9.5811e-06 | 6.1114e-06 | 0.2555 | 0.2555 | 0.2555 | 0.99807 | -0.036943 | 0.99801 | -0.038114 | 35.0965
12 | 0.0097931 | 0.0024546 | -0.0097907 | -0.0024535 | 2.3534e-06 | 1.1238e-06 | 0.014622 | 0.014622 | 0.014622 | 0.99661 | -0.065081 | 0.99635 | -0.070126 | 4.017
13 | 0.075975 | 0.019096 | -0.075951 | -0.019081 | 2.3979e-05 | 1.5282e-05 | 0.11352 | 0.11352 | 0.11352 | 0.99604 | -0.076054 | 0.9957 | -0.082667 | 31.1871
14 | 0.1489 | 0.03747 | -0.14874 | -0.037365 | 0.00016602 | 0.00010579 | 0.22207 | 0.22207 | 0.22207 | 0.99801 | -0.038114 | 0.9968 | -0.061474 | 30.5035
15 | 0.0044979 | 0.001127 | -0.0044975 | -0.0011271 | 3.8705e-07 | -5.0162e-08 | 0.0067173 | 0.0067174 | 0.0067174 | 0.99635 | -0.070126 | 0.99626 | -0.071933 | 1.8454
16 | 0.0022983 | 0.00057589 | -0.0022983 | -0.000576 | 4.6851e-08 | -1.0807e-07 | 0.0034327 | 0.0034328 | 0.0034328 | 0.99626 | -0.071933 | 0.99624 | -0.07236 | 0.94307
17 | -0.0043654 | -0.0010941 | 0.0043655 | 0.001094 | 1.4038e-07 | -2.328e-08 | 0.0065423 | 0.0065422 | 0.0065423 | 0.99289 | -0.13682 | 0.99293 | -0.13615 | 1.7973
18 | -0.0073187 | -0.0018342 | 0.0073195 | 0.0018345 | 7.6986e-07 | 2.7195e-07 | 0.010968 | 0.010968 | 0.010968 | 0.99293 | -0.13615 | 0.99304 | -0.13394 | 3.0132
19 | -0.028904 | -0.0072479 | 0.028904 | 0.0072483 | 6.1181e-07 | 3.8029e-07 | 0.043295 | 0.043295 | 0.043295 | 0.99344 | -0.12624 | 0.99346 | -0.1258 | 11.8942
20 | 0.025265 | 0.006336 | -0.025256 | -0.0063303 | 9.2632e-06 | 5.7053e-06 | 0.037845 | 0.037845 | 0.037845 | 0.99344 | -0.12624 | 0.99304 | -0.13394 | 10.397
21 | -0.032515 | -0.0081531 | 0.032523 | 0.0081585 | 8.739e-06 | 5.4657e-06 | 0.048702 | 0.048702 | 0.048702 | 0.99346 | -0.1258 | 0.99375 | -0.12016 | 13.3797
22 | 0.0094832 | 0.0023771 | -0.0094816 | -0.0023763 | 1.5947e-06 | 7.482e-07 | 0.01421 | 0.01421 | 0.01421 | 0.99304 | -0.13394 | 0.99286 | -0.13747 | 3.9039
23 | 0.0084535 | 0.0021188 | -0.0084521 | -0.0021182 | 1.4173e-06 | 6.0241e-07 | 0.012667 | 0.012667 | 0.012667 | 0.99304 | -0.13394 | 0.99286 | -0.13746 | 3.48
24 | -0.035737 | -0.0089638 | 0.03574 | 0.0089658 | 3.0941e-06 | 1.9429e-06 | 0.053513 | 0.053513 | 0.053513 | 0.99375 | -0.12016 | 0.99385 | -0.11835 | 14.7015
25 | 0.0058504 | 0.0014662 | -0.0058501 | -0.0014661 | 2.3101e-07 | 4.4222e-08 | 0.008768 | 0.0087681 | 0.0087681 | 0.99286 | -0.13746 | 0.99282 | -0.13829 | 2.4088
26 | -0.041091 | -0.010307 | 0.041099 | 0.010312 | 8.3164e-06 | 5.2465e-06 | 0.061525 | 0.061525 | 0.061525 | 0.99385 | -0.11835 | 0.99407 | -0.1141 | 16.9025
27 | 0.0032509 | 0.00081468 | -0.0032508 | -0.00081474 | 6.7188e-08 | -5.4591e-08 | 0.0048724 | 0.0048724 | 0.0048724 | 0.99282 | -0.13829 | 0.99279 | -0.13872 | 1.3386
28 | -0.045324 | -0.011371 | 0.045334 | 0.011378 | 1.0355e-05 | 6.5494e-06 | 0.067849 | 0.067849 | 0.067849 | 0.99407 | -0.1141 | 0.99432 | -0.10931 | 18.6399
29 | -0.023293 | -0.0058401 | 0.023296 | 0.0058421 | 3.1763e-06 | 1.9422e-06 | 0.034838 | 0.034838 | 0.034838 | 0.99494 | -0.097311 | 0.99509 | -0.094449 | 9.5708
30 | 0.023293 | 0.0058401 | -0.02329 | -0.0058385 | 2.7416e-06 | 1.6764e-06 | 0.034838 | 0.034838 | 0.034838 | 0.99494 | -0.097311 | 0.99481 | -0.099781 | 9.5708
31 | -0.023296 | -0.0058421 | 0.023307 | 0.0058483 | 1.0245e-05 | 6.2644e-06 | 0.034838 | 0.034838 | 0.034838 | 0.99509 | -0.094449 | 0.99557 | -0.085226 | 9.5708
32 | 0.017729 | 0.0044447 | -0.017726 | -0.004443 | 2.8158e-06 | 1.6635e-06 | 0.02652 | 0.02652 | 0.02652 | 0.99481 | -0.099781 | 0.99464 | -0.10311 | 7.2856
33 | -0.027183 | -0.0068198 | 0.027193 | 0.006826 | 1.0014e-05 | 6.1983e-06 | 0.040631 | 0.040631 | 0.040631 | 0.99557 | -0.085226 | 0.99597 | -0.077503 | 11.1624
34 | 0.072653 | 0.018254 | -0.07263 | -0.018239 | 2.3054e-05 | 1.4687e-05 | 0.10859 | 0.10859 | 0.10859 | 0.9957 | -0.082667 | 0.99535 | -0.089318 | 29.8329
35 | 0.064767 | 0.016269 | -0.06475 | -0.016258 | 1.6031e-05 | 1.0201e-05 | 0.096837 | 0.096837 | 0.096837 | 0.99535 | -0.089318 | 0.99508 | -0.094506 | 26.6035
36 | 0.058194 | 0.014615 | -0.058179 | -0.014606 | 1.5349e-05 | 9.7533e-06 | 0.087033 | 0.087033 | 0.087033 | 0.99508 | -0.094506 | 0.9948 | -0.10004 | 23.9101
37 | 0.054041 | 0.013568 | -0.054027 | -0.01356 | 1.3744e-05 | 8.7233e-06 | 0.080843 | 0.080843 | 0.080843 | 0.9948 | -0.10004 | 0.99452 | -0.10537 | 22.2096
38 | 0.049489 | 0.012422 | -0.04948 | -0.012417 | 9.304e-06 | 5.8958e-06 | 0.074053 | 0.074053 | 0.074053 | 0.99452 | -0.10537 | 0.99432 | -0.10931 | 20.3443
39 | 0.012771 | 0.0032012 | -0.01277 | -0.0032004 | 1.3963e-06 | 7.6126e-07 | 0.019107 | 0.019107 | 0.019107 | 0.99464 | -0.10311 | 0.99452 | -0.10541 | 5.2491
40 | -0.002222 | -0.00055687 | 0.002222 | 0.0005567 | 7.0665e-08 | -1.7707e-07 | 0.0033206 | 0.0033205 | 0.0033206 | 0.9957 | -0.082722 | 0.99573 | -0.082054 | 0.91225
41 | -0.015757 | -0.0039488 | 0.015759 | 0.0039502 | 2.4256e-06 | 1.4006e-06 | 0.023547 | 0.023547 | 0.023547 | 0.99573 | -0.082054 | 0.9959 | -0.078823 | 6.4689
42 | -0.035361 | -0.0088733 | 0.035362 | 0.0088739 | 1.0671e-06 | 6.6968e-07 | 0.052835 | 0.052835 | 0.052835 | 0.99597 | -0.077503 | 0.996 | -0.07687 | 14.5152
43 | -0.007522 | -0.0018852 | 0.0075223 | 0.0018853 | 3.0639e-07 | 1.1248e-07 | 0.011258 | 0.011258 | 0.011258 | 0.99423 | -0.11094 | 0.99428 | -0.11008 | 3.0928
44 | -0.01565 | -0.0039222 | 0.015653 | 0.0039239 | 2.8328e-06 | 1.6343e-06 | 0.023421 | 0.023421 | 0.023421 | 0.99428 | -0.11008 | 0.99447 | -0.10628 | 6.4344
45 | -0.023799 | -0.0059656 | 0.0238 | 0.0059662 | 9.2844e-07 | 5.6887e-07 | 0.035611 | 0.035611 | 0.035611 | 0.99447 | -0.10628 | 0.99452 | -0.10546 | 9.7832
46 | -0.051981 | -0.013029 | 0.052013 | 0.013049 | 3.1515e-05 | 1.9989e-05 | 0.077776 | 0.077776 | 0.077776 | 0.99452 | -0.10546 | 0.99517 | -0.092748 | 21.3669
47 | -0.069261 | -0.017372 | 0.069364 | 0.017438 | 0.00010342 | 6.5852e-05 | 0.10357 | 0.10357 | 0.10357 | 0.99517 | -0.092748 | 0.9968 | -0.061474 | 28.4521
48 | 0.050529 | 0.012689 | -0.050492 | -0.012666 | 3.7088e-05 | 2.351e-05 | 0.075438 | 0.075438 | 0.075438 | 0.9968 | -0.061474 | 0.996 | -0.07687 | 20.7248
49 | 0.028844 | 0.0072378 | -0.02883 | -0.007229 | 1.4179e-05 | 8.8088e-06 | 0.043062 | 0.043062 | 0.043062 | 0.9968 | -0.061474 | 0.99626 | -0.071788 | 11.8302
50 | 0.026056 | 0.0065338 | -0.026052 | -0.0065308 | 4.8284e-06 | 2.9795e-06 | 0.038919 | 0.038919 | 0.038919 | 0.99626 | -0.071788 | 0.99606 | -0.075677 | 10.692
51 | 0.023278 | 0.0058356 | -0.023276 | -0.0058348 | 1.4411e-06 | 8.8094e-07 | 0.034775 | 0.034775 | 0.034775 | 0.99606 | -0.075677 | 0.99599 | -0.076977 | 9.5537
52 | 0.018722 | 0.0046933 | -0.01872 | -0.0046924 | 1.6467e-06 | 9.8088e-07 | 0.027971 | 0.027971 | 0.027971 | 0.99599 | -0.076977 | 0.9959 | -0.078823 | 7.6844
53 | -0.0049738 | -0.0012466 | 0.004974 | 0.0012466 | 1.8477e-07 | 2.8279e-09 | 0.0074423 | 0.0074423 | 0.0074423 | 0.99447 | -0.10637 | 0.99451 | -0.10559 | 2.0446
54 | -0.0076384 | -0.0019143 | 0.0076384 | 0.0019143 | 6.441e-08 | 2.4159e-08 | 0.011429 | 0.011429 | 0.011429 | 0.99451 | -0.10559 | 0.99452 | -0.10541 | 3.1398

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39761 | 0.099802

## res_load
| p_mw | q_mvar
0 | 0.015936 | 0.0039938
1 | 0.01471 | 0.0036867
2 | 0.0064512 | 0.0016168
3 | 0.013142 | 0.0032937
4 | 0.029667 | 0.0074352
5 | 0.015011 | 0.0037621
6 | 0.011119 | 0.0027867
7 | 0.0060139 | 0.0015072
8 | 0.016357 | 0.0040993
9 | 0.0095234 | 0.0023868
10 | 0.022426 | 0.0056205
11 | 0.0052929 | 0.0013265
12 | 0.0021992 | 0.00055116
13 | 0.0022983 | 0.000576
14 | 0.0043654 | 0.0010941
15 | 0.0029532 | 0.00074014
16 | 0.0036384 | 0.00091188
17 | 0.0036102 | 0.00090479
18 | 0.0032132 | 0.00080531
19 | 0.0094816 | 0.0023763
20 | 0.0026017 | 0.00065205
21 | 0.005351 | 0.0013411
22 | 0.0025992 | 0.00065143
23 | 0.004225 | 0.0010589
24 | 0.0032508 | 0.00081474
25 | 0.0055611 | 0.0013938
26 | 0.0038763 | 0.00097149
27 | 0.0032985 | 0.00082668
28 | 0.0078631 | 0.0019707
29 | 0.0065561 | 0.0016431
30 | 0.0041383 | 0.0010372
31 | 0.0045378 | 0.0011373
32 | 0.0041456 | 0.001039
33 | 0.0049551 | 0.0012419
34 | 0.002222 | 0.00055688
35 | 0.013535 | 0.0033921
36 | 0.0081685 | 0.0020472
37 | 0.007522 | 0.0018852
38 | 0.0081274 | 0.0020369
39 | 0.0081467 | 0.0020418
40 | 0.028181 | 0.0070628
41 | 0.017248 | 0.0043228
42 | 0.015129 | 0.0037918
43 | 0.0027738 | 0.00069517
44 | 0.0027737 | 0.00069516
45 | 0.0045543 | 0.0011414
46 | 0.0049738 | 0.0012466
47 | 0.0026643 | 0.00066775
48 | 0.0051316 | 0.0012861
49 | 0.0029612 | 0.00074215

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1