## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-218_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-218_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-218_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-218_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-218_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-218_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2701-218_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2701-218_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2701-218_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2701-218_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2701-218_0_6_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2701-218_0_6_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_2701-218_0_6_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_2701-218_0_6_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2701-218_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2701-218_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2701-218_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2701-218_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2701-218_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_2701-218_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_2701-218_0_6_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2701-218_0_6_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2701-218_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_2701-218_0_6_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2701-218_0_6_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2701-218_0_6_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2701-218_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2701-218_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2701-218_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2701-218_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2701-218_0_6_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2701-218_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2701-218_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2701-218_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2701-218_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2701-218_0_6_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2701-218_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2701-218_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2701-218_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2701-218_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2701-218_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2701-218_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_MV_562_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-218_0_6_load_0 | 0 | 0.0063003 | 0.001579 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-218_0_6_load_1 | 1 | 0.014698 | 0.0036837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-218_0_6_load_2 | 2 | 0.0076579 | 0.0019193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-218_0_6_load_3 | 3 | 0.0083072 | 0.002082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-218_0_6_load_4 | 4 | 0.0050052 | 0.0012544 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-218_0_6_load_7 | 5 | 0.0082794 | 0.002075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-218_0_6_load_8 | 7 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-218_0_6_load_15 | 9 | 0.004566 | 0.0011444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-218_0_6_load_38 | 11 | 0.0028407 | 0.00071195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-218_0_6_load_16 | 13 | 0.0044619 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-218_0_6_load_9 | 14 | 0.010542 | 0.002642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-218_0_6_load_10 | 15 | 0.011808 | 0.0029594 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-218_0_6_load_12 | 16 | 0.0044309 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-218_0_6_load_11 | 17 | 0.0035604 | 0.00089232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-218_0_6_load_17 | 18 | 0.0044624 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-218_0_6_load_19 | 19 | 0.029349 | 0.0073556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-218_0_6_load_20 | 20 | 0.011395 | 0.0028559 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-218_0_6_load_43 | 22 | 0.042107 | 0.010553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-218_0_6_load_36 | 24 | 0.0017107 | 0.00042874 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-218_0_6_load_35 | 25 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-218_0_6_load_21 | 26 | 0.0098575 | 0.0024705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-218_0_6_load_22 | 27 | 0.015264 | 0.0038256 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-218_0_6_load_23 | 28 | 0.015409 | 0.003862 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-218_0_6_load_24 | 29 | 0.017306 | 0.0043373 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-218_0_6_load_25 | 30 | 0.017363 | 0.0043515 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-218_0_6_load_26 | 31 | 0.015127 | 0.0037911 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-218_0_6_load_27 | 32 | 0.011882 | 0.002978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-218_0_6_load_28 | 33 | 0.015963 | 0.0040007 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-218_0_6_load_29 | 34 | 0.01877 | 0.0047043 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-218_0_6_load_42 | 35 | 0.020473 | 0.0051311 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-218_0_6_load_33 | 36 | 0.031786 | 0.0079663 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-218_0_6_load_34 | 37 | 0.0013039 | 0.00032678 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-218_0_6_load_37 | 38 | 0.0087301 | 0.002188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-218_0_6_load_39 | 39 | 0.009749 | 0.0024433 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-218_0_6_load_40 | 40 | 0.042062 | 0.010542 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-218_0_6_load_41 | 41 | 0.015224 | 0.0038155 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-218_0_6_line_0 |  | 0 | 1 | 0.0011869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-218_0_6_line_1 |  | 0 | 2 | 0.0097011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-218_0_6_line_2 |  | 1 | 3 | 0.0082575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-218_0_6_line_3 |  | 2 | 4 | 0.008403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-218_0_6_line_4 |  | 3 | 5 | 0.0045035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-218_0_6_line_5 |  | 4 | 6 | 0.058212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-218_0_6_line_6 |  | 5 | 7 | 0.0062268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-218_0_6_line_7 |  | 6 | 8 | 0.049758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-218_0_6_line_8 |  | 7 | 14 | 0.00012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-218_0_6_line_9 |  | 8 | 9 | 0.077922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-218_0_6_line_10 |  | 9 | 13 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-218_0_6_line_11 |  | 10 | 11 | 0.042492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-218_0_6_line_12 |  | 10 | 12 | 0.080531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-218_0_6_line_13 |  | 11 | 24 | 0.0076987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-218_0_6_line_14 |  | 12 | 25 | 0.073342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-218_0_6_line_15 |  | 13 | 18 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-218_0_6_line_16 |  | 14 | 15 | 0.0084403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-218_0_6_line_17 |  | 15 | 16 | 0.0095379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-218_0_6_line_18 |  | 16 | 17 | 0.0092101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-218_0_6_line_19 |  | 18 | 19 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-218_0_6_line_20 |  | 19 | 20 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-218_0_6_line_21 |  | 20 | 26 | 0.0072155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2701-218_0_6_line_22 |  | 21 | 22 | 0.096267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2701-218_0_6_line_23 |  | 21 | 23 | 0.058644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-218_0_6_line_24 |  | 22 | 35 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2701-218_0_6_line_25 |  | 23 | 34 | 0.10034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2701-218_0_6_line_26 |  | 24 | 38 | 0.0075124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-218_0_6_line_27 |  | 25 | 37 | 0.0086489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-218_0_6_line_28 |  | 26 | 27 | 0.007808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2701-218_0_6_line_29 |  | 27 | 28 | 0.0093132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_2701-218_0_6_line_30 |  | 28 | 29 | 0.0090733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2701-218_0_6_line_31 |  | 29 | 30 | 0.009556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2701-218_0_6_line_32 |  | 30 | 31 | 0.0087508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2701-218_0_6_line_33 |  | 31 | 32 | 0.0072093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2701-218_0_6_line_34 |  | 32 | 33 | 0.0075759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2701-218_0_6_line_35 |  | 33 | 34 | 0.0091329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_2701-218_0_6_line_36 |  | 35 | 41 | 0.0090465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2701-218_0_6_line_37 |  | 36 | 37 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-218_0_6_line_38 |  | 38 | 39 | 0.0077197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-218_0_6_line_39 |  | 39 | 40 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-218_0_6_line_40 |  | 40 | 41 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-218_0_6_trafo_22 | 0.63 MVA 20/0.4 kV | 42 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2610296.2863 | 1267603.918 | 2610296.8238 | 1267602.8598
1 | 2610296.2863 | 1267603.918 | 2610291.8928 | 1267612.5672
2 | 2610296.8238 | 1267602.8598 | 2610300.5635 | 1267595.4976
3 | 2610288.0872 | 1267620.0591 | 2610291.8928 | 1267612.5672
4 | 2610300.5635 | 1267595.4976 | 2610302.603 | 1267591.4825
5 | 2610261.7242 | 1267671.9589 | 2610288.0872 | 1267620.0591
6 | 2610305.423 | 1267585.9309 | 2610302.603 | 1267591.4825
7 | 2610261.7242 | 1267671.9589 | 2610249.7991 | 1267700.0803 | 2610242.08 | 1267711.5639 | 2610237.5291 | 1267714.4915
8 | 2610305.423 | 1267585.9309 | 2610305.4789 | 1267585.8209
9 | 2610237.5291 | 1267714.4915 | 2610237.1855 | 1267708.5756 | 2610236.332 | 1267705.9723 | 2610236.3373 | 1267702.9035 | 2610248.6572 | 1267637.8727
10 | 2610248.6572 | 1267637.8727 | 2610251.5467 | 1267622.6202
11 | 2610222.3725 | 1267652.4553 | 2610230.1214 | 1267610.6756
12 | 2610143.0256 | 1267637.3866 | 2610222.3725 | 1267652.4553
13 | 2610231.5253 | 1267603.106 | 2610230.1214 | 1267610.6756
14 | 2610143.0256 | 1267637.3866 | 2610177.9269 | 1267572.8816
15 | 2610251.5467 | 1267622.6202 | 2610254.4043 | 1267607.5363
16 | 2610309.3013 | 1267578.2958 | 2610305.4789 | 1267585.8209
17 | 2610313.6209 | 1267569.7921 | 2610309.3013 | 1267578.2958
18 | 2610317.792 | 1267561.5807 | 2610313.6209 | 1267569.7921
19 | 2610254.4043 | 1267607.5363 | 2610257.6612 | 1267590.3446
20 | 2610257.6612 | 1267590.3446 | 2610260.3414 | 1267576.1971
21 | 2610260.3414 | 1267576.1971 | 2610261.6844 | 1267569.1077
22 | 2610265.6036 | 1267443.4167 | 2610259.6968 | 1267451.212 | 2610243.9253 | 1267536.2481
23 | 2610265.6036 | 1267443.4167 | 2610271.289 | 1267411.2818 | 2610272.3894 | 1267406.0801 | 2610276.5451 | 1267405.5091 | 2610279.1725 | 1267405.1467 | 2610282.1086 | 1267404.7293 | 2610283.9906 | 1267404.5435 | 2610287.3257 | 1267404.1045 | 2610292.8893 | 1267403.2691
24 | 2610241.8951 | 1267547.1943 | 2610243.9253 | 1267536.2481
25 | 2610292.8893 | 1267403.2691 | 2610289.816 | 1267422.0881 | 2610286.5067 | 1267438.0824 | 2610274.4197 | 1267501.884
26 | 2610231.5253 | 1267603.106 | 2610232.8952 | 1267595.7196
27 | 2610177.9269 | 1267572.8816 | 2610182.0426 | 1267565.2748
28 | 2610261.6844 | 1267569.1077 | 2610263.1378 | 1267561.4362
29 | 2610263.1378 | 1267561.4362 | 2610264.8713 | 1267552.2857
30 | 2610264.8713 | 1267552.2857 | 2610266.5602 | 1267543.371
31 | 2610266.5602 | 1267543.371 | 2610268.3389 | 1267533.982
32 | 2610268.3389 | 1267533.982 | 2610269.9677 | 1267525.3841
33 | 2610269.9677 | 1267525.3841 | 2610271.3096 | 1267518.3008
34 | 2610271.3096 | 1267518.3008 | 2610272.7197 | 1267510.8574
35 | 2610272.7197 | 1267510.8574 | 2610274.4197 | 1267501.884
36 | 2610241.8951 | 1267547.1943 | 2610240.2454 | 1267556.0891
37 | 2610190.4733 | 1267549.6931 | 2610182.0426 | 1267565.2748
38 | 2610232.8952 | 1267595.7196 | 2610234.303 | 1267588.1293
39 | 2610234.303 | 1267588.1293 | 2610237.181 | 1267572.6118
40 | 2610240.2454 | 1267556.0891 | 2610237.181 | 1267572.6118

## bus_geodata
| x | y | coords
0 | 2610296.2863 | 1267603.918
1 | 2610296.8238 | 1267602.8598
2 | 2610291.8928 | 1267612.5672
3 | 2610300.5635 | 1267595.4976
4 | 2610288.0872 | 1267620.0591
5 | 2610302.603 | 1267591.4825
6 | 2610261.7242 | 1267671.9589
7 | 2610305.423 | 1267585.9309
8 | 2610237.5291 | 1267714.4915
9 | 2610248.6572 | 1267637.8727
10 | 2610222.3725 | 1267652.4553
11 | 2610230.1214 | 1267610.6756
12 | 2610143.0256 | 1267637.3866
13 | 2610251.5467 | 1267622.6202
14 | 2610305.4789 | 1267585.8209
15 | 2610309.3013 | 1267578.2958
16 | 2610313.6209 | 1267569.7921
17 | 2610317.792 | 1267561.5807
18 | 2610254.4043 | 1267607.5363
19 | 2610257.6612 | 1267590.3446
20 | 2610260.3414 | 1267576.1971
21 | 2610265.6036 | 1267443.4167
22 | 2610243.9253 | 1267536.2481
23 | 2610292.8893 | 1267403.2691
24 | 2610231.5253 | 1267603.106
25 | 2610177.9269 | 1267572.8816
26 | 2610261.6844 | 1267569.1077
27 | 2610263.1378 | 1267561.4362
28 | 2610264.8713 | 1267552.2857
29 | 2610266.5602 | 1267543.371
30 | 2610268.3389 | 1267533.982
31 | 2610269.9677 | 1267525.3841
32 | 2610271.3096 | 1267518.3009
33 | 2610272.7197 | 1267510.8574
34 | 2610274.4197 | 1267501.884
35 | 2610241.8951 | 1267547.1943
36 | 2610190.4733 | 1267549.6931
37 | 2610182.0426 | 1267565.2748
38 | 2610232.8952 | 1267595.7196
39 | 2610234.303 | 1267588.1293
40 | 2610237.181 | 1267572.6118
41 | 2610240.2454 | 1267556.0891
42 | 2610237.5291 | 1267714.4915

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9771 | -0.44007 | 0.0063003 | 0.001579
1 | 0.97703 | -0.44151 | 0.014698 | 0.0036837
2 | 0.97776 | -0.42713 | 0.0076579 | 0.0019193
3 | 0.97663 | -0.44937 | 0.0083072 | 0.002082
4 | 0.97839 | -0.41477 | 0.0050052 | 0.0012544
5 | 0.97644 | -0.45298 | 0.0082794 | 0.002075
6 | 0.98302 | -0.3243 | 0 | 0
7 | 0.97624 | -0.45702 | 0.0051655 | 0.0012946
8 | 0.98699 | -0.24764 | 0 | 0
9 | 0.9932 | -0.12883 | 0.004566 | 0.0011444
10 | 0.97587 | -0.46438 | 0 | 0
11 | 0.97724 | -0.43768 | 0.0028407 | 0.00071195
12 | 0.97328 | -0.51519 | 0 | 0
13 | 0.9945 | -0.10408 | 0.0044619 | 0.0011183
14 | 0.97624 | -0.45709 | 0.010542 | 0.002642
15 | 0.97608 | -0.46014 | 0.011808 | 0.0029594
16 | 0.97601 | -0.46154 | 0.0044309 | 0.0011105
17 | 0.97598 | -0.46214 | 0.0035604 | 0.00089232
18 | 0.99585 | -0.078471 | 0.0044624 | 0.0011184
19 | 0.99746 | -0.047998 | 0.029349 | 0.0073556
20 | 0.99917 | -0.015614 | 0.011395 | 0.0028559
21 | 0.98674 | -0.25269 | 0 | 0
22 | 0.98147 | -0.35508 | 0.042107 | 0.010553
23 | 0.98996 | -0.19085 | 0 | 0
24 | 0.97751 | -0.43245 | 0.0017107 | 0.00042874
25 | 0.97093 | -0.5617 | 0.0012886 | 0.00032296
26 | 0.99964 | -0.0068004 | 0.0098575 | 0.0024705
27 | 1 | 0 | -0.44654 | -0.11379
28 | 0.99917 | -0.015658 | 0.015409 | 0.003862
29 | 0.99841 | -0.030122 | 0.017306 | 0.0043373
30 | 0.99766 | -0.044414 | 0.017363 | 0.0043515
31 | 0.99701 | -0.056632 | 0.015127 | 0.0037911
32 | 0.99651 | -0.066073 | 0.011882 | 0.002978
33 | 0.99602 | -0.075476 | 0.015963 | 0.0040007
34 | 0.99547 | -0.085969 | 0.01877 | 0.0047043
35 | 0.981 | -0.36416 | 0.020473 | 0.0051311
36 | 0.97013 | -0.57741 | 0.031786 | 0.0079663
37 | 0.97066 | -0.56699 | 0.0013039 | 0.00032678
38 | 0.97778 | -0.42711 | 0.0087301 | 0.002188
39 | 0.97812 | -0.42041 | 0.009749 | 0.0024433
40 | 0.97897 | -0.40391 | 0.042062 | 0.010542
41 | 0.98052 | -0.37356 | 0.015224 | 0.0038155
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.066833 | 0.016766 | -0.066829 | -0.016763 | 4.6112e-06 | 2.9363e-06 | 0.10179 | 0.10179 | 0.10179 | 0.9771 | -0.44007 | 0.97703 | -0.44151 | 27.9629
1 | -0.073133 | -0.018345 | 0.073179 | 0.018374 | 4.513e-05 | 2.8762e-05 | 0.11138 | 0.11138 | 0.11138 | 0.9771 | -0.44007 | 0.97776 | -0.42713 | 30.5988
2 | 0.05213 | 0.013079 | -0.052111 | -0.013067 | 1.9522e-05 | 1.2391e-05 | 0.0794 | 0.0794 | 0.0794 | 0.97703 | -0.44151 | 0.97663 | -0.44937 | 21.8132
3 | -0.080836 | -0.020293 | 0.080884 | 0.020323 | 4.77e-05 | 3.0423e-05 | 0.12303 | 0.12303 | 0.12303 | 0.97776 | -0.42713 | 0.97839 | -0.41477 | 33.8006
4 | 0.043804 | 0.010985 | -0.043796 | -0.01098 | 7.5229e-06 | 4.7583e-06 | 0.066743 | 0.066743 | 0.066743 | 0.97663 | -0.44937 | 0.97644 | -0.45298 | 18.336
5 | -0.085889 | -0.021578 | 0.086262 | 0.021815 | 0.00037259 | 0.00023773 | 0.13065 | 0.13065 | 0.13065 | 0.97839 | -0.41477 | 0.98302 | -0.3243 | 35.8919
6 | 0.035517 | 0.008905 | -0.03551 | -0.0089007 | 6.8408e-06 | 4.3002e-06 | 0.054126 | 0.054126 | 0.054126 | 0.97644 | -0.45298 | 0.97624 | -0.45702 | 14.8697
7 | -0.086262 | -0.021815 | 0.08658 | 0.022019 | 0.00031848 | 0.0002032 | 0.13065 | 0.13065 | 0.13065 | 0.98302 | -0.3243 | 0.98699 | -0.24764 | 35.8918
8 | 0.030344 | 0.0076061 | -0.030344 | -0.007606 | 9.8933e-08 | 6.1776e-08 | 0.046252 | 0.046252 | 0.046252 | 0.97624 | -0.45702 | 0.97624 | -0.45709 | 12.7067
9 | -0.08658 | -0.022019 | 0.087079 | 0.022337 | 0.00049875 | 0.0003182 | 0.13065 | 0.13065 | 0.13065 | 0.98699 | -0.24764 | 0.9932 | -0.12883 | 35.8917
10 | -0.091645 | -0.023481 | 0.091755 | 0.023551 | 0.00011004 | 7.0224e-05 | 0.13749 | 0.13749 | 0.13749 | 0.9932 | -0.12883 | 0.9945 | -0.10408 | 37.7709
11 | -0.034563 | -0.0087319 | 0.034607 | 0.0087597 | 4.43e-05 | 2.782e-05 | 0.052727 | 0.052727 | 0.052727 | 0.97587 | -0.46438 | 0.97724 | -0.43768 | 14.4854
12 | 0.034563 | 0.0087319 | -0.034479 | -0.0086792 | 8.3957e-05 | 5.2729e-05 | 0.052727 | 0.052727 | 0.052727 | 0.97587 | -0.46438 | 0.97328 | -0.51519 | 14.4855
13 | -0.037448 | -0.0094717 | 0.037457 | 0.0094776 | 9.3971e-06 | 5.9176e-06 | 0.057052 | 0.057052 | 0.057052 | 0.97724 | -0.43768 | 0.97751 | -0.43245 | 15.6736
14 | 0.034479 | 0.0086792 | -0.034402 | -0.0086311 | 7.6463e-05 | 4.8027e-05 | 0.052727 | 0.052727 | 0.052727 | 0.97328 | -0.51519 | 0.97093 | -0.5617 | 14.4856
15 | -0.096217 | -0.02467 | 0.096337 | 0.024746 | 0.00011965 | 7.6375e-05 | 0.14416 | 0.14416 | 0.14416 | 0.9945 | -0.10408 | 0.99585 | -0.078471 | 39.605
16 | 0.019803 | 0.0049641 | -0.0198 | -0.0049623 | 2.8838e-06 | 1.7401e-06 | 0.030185 | 0.030185 | 0.030185 | 0.97624 | -0.45709 | 0.97608 | -0.46014 | 8.2925
17 | 0.0079919 | 0.002003 | -0.0079914 | -0.0020028 | 5.3092e-07 | 2.2058e-07 | 0.012184 | 0.012184 | 0.012184 | 0.97608 | -0.46014 | 0.97601 | -0.46154 | 3.3471
18 | 0.0035605 | 0.00089227 | -0.0035604 | -0.00089232 | 1.0177e-07 | -4.9965e-08 | 0.0054283 | 0.0054283 | 0.0054283 | 0.97601 | -0.46154 | 0.97598 | -0.46214 | 1.4913
19 | -0.1008 | -0.025864 | 0.10095 | 0.02596 | 0.00014927 | 9.5306e-05 | 0.15083 | 0.15083 | 0.15083 | 0.99585 | -0.078471 | 0.99746 | -0.047998 | 41.4367
20 | -0.1303 | -0.033315 | 0.1305 | 0.033446 | 0.00020451 | 0.0001307 | 0.19461 | 0.19461 | 0.19461 | 0.99746 | -0.047998 | 0.99917 | -0.015614 | 53.4648
21 | -0.1419 | -0.036302 | 0.14196 | 0.03634 | 6.0565e-05 | 3.8573e-05 | 0.21158 | 0.21158 | 0.21158 | 0.99917 | -0.015614 | 0.99964 | -0.0068004 | 29.0634
22 | 0.17871 | 0.045343 | -0.17784 | -0.044787 | 0.00087529 | 0.00055652 | 0.2697 | 0.2697 | 0.2697 | 0.98674 | -0.25269 | 0.98147 | -0.35508 | 24.698
23 | -0.17871 | -0.045343 | 0.17925 | 0.045682 | 0.00053321 | 0.000339 | 0.2697 | 0.2697 | 0.2697 | 0.98674 | -0.25269 | 0.98996 | -0.19085 | 24.6979
24 | 0.13573 | 0.034234 | -0.13567 | -0.034197 | 5.8977e-05 | 3.7323e-05 | 0.20586 | 0.20586 | 0.20586 | 0.98147 | -0.35508 | 0.981 | -0.36416 | 18.852
25 | -0.17925 | -0.045682 | 0.18016 | 0.046262 | 0.00091229 | 0.00057998 | 0.2697 | 0.2697 | 0.2697 | 0.98996 | -0.19085 | 0.99547 | -0.085969 | 24.6978
26 | -0.039168 | -0.0099063 | 0.039178 | 0.0099126 | 1.0026e-05 | 6.3223e-06 | 0.059656 | 0.059656 | 0.059656 | 0.97751 | -0.43245 | 0.97778 | -0.42711 | 16.389
27 | 0.033114 | 0.0083082 | -0.033105 | -0.0083029 | 8.3542e-06 | 5.2398e-06 | 0.050753 | 0.050753 | 0.050753 | 0.97093 | -0.5617 | 0.97066 | -0.56699 | 13.943
28 | -0.15182 | -0.038811 | 0.15187 | 0.038843 | 4.9962e-05 | 3.1669e-05 | 0.22625 | 0.22625 | 0.22625 | 0.99964 | -0.0068004 | 1 | 0 | 20.7193
29 | 0.29302 | 0.074951 | -0.2928 | -0.07481 | 0.00022187 | 0.00014163 | 0.43656 | 0.43656 | 0.43656 | 1 | 0 | 0.99917 | -0.015658 | 39.9779
30 | 0.27739 | 0.070948 | -0.2772 | -0.070824 | 0.00019402 | 0.00012382 | 0.41361 | 0.41361 | 0.41361 | 0.99917 | -0.015658 | 0.99841 | -0.030122 | 37.8764
31 | 0.25989 | 0.066487 | -0.25971 | -0.066372 | 0.00017966 | 0.00011461 | 0.38782 | 0.38782 | 0.38782 | 0.99841 | -0.030122 | 0.99766 | -0.044414 | 35.5145
32 | 0.24235 | 0.062021 | -0.24221 | -0.061929 | 0.00014328 | 9.1357e-05 | 0.36192 | 0.36192 | 0.36192 | 0.99766 | -0.044414 | 0.99701 | -0.056632 | 33.143
33 | 0.22708 | 0.058138 | -0.22698 | -0.058072 | 0.00010377 | 6.6133e-05 | 0.33935 | 0.33935 | 0.33935 | 0.99701 | -0.056632 | 0.99651 | -0.066073 | 31.0757
34 | 0.21509 | 0.055094 | -0.21499 | -0.055032 | 9.7946e-05 | 6.2389e-05 | 0.3216 | 0.3216 | 0.3216 | 0.99651 | -0.066073 | 0.99602 | -0.075476 | 29.4509
35 | 0.19903 | 0.051031 | -0.19893 | -0.050966 | 0.00010121 | 6.4421e-05 | 0.29776 | 0.29776 | 0.29776 | 0.99602 | -0.075476 | 0.99547 | -0.085969 | 27.267
36 | 0.1152 | 0.029065 | -0.11515 | -0.029032 | 5.1834e-05 | 3.2945e-05 | 0.17481 | 0.17481 | 0.17481 | 0.981 | -0.36416 | 0.98052 | -0.37356 | 24.0123
37 | -0.031786 | -0.0079663 | 0.031802 | 0.0079761 | 1.5791e-05 | 9.8876e-06 | 0.048754 | 0.048754 | 0.048754 | 0.97013 | -0.57741 | 0.97066 | -0.56699 | 13.3939
38 | -0.047908 | -0.012101 | 0.047924 | 0.01211 | 1.5402e-05 | 9.7606e-06 | 0.072942 | 0.072942 | 0.072942 | 0.97778 | -0.42711 | 0.97812 | -0.42041 | 20.039
39 | -0.057673 | -0.014554 | 0.057718 | 0.014583 | 4.5595e-05 | 2.8983e-05 | 0.087773 | 0.087773 | 0.087773 | 0.97812 | -0.42041 | 0.97897 | -0.40391 | 24.1134
40 | -0.09978 | -0.025124 | 0.099925 | 0.025217 | 0.00014503 | 9.2608e-05 | 0.15171 | 0.15171 | 0.15171 | 0.97897 | -0.40391 | 0.98052 | -0.37356 | 41.6774

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4618 | 0.11762

## res_load
| p_mw | q_mvar
0 | 0.0063003 | 0.001579
1 | 0.014698 | 0.0036837
2 | 0.0076579 | 0.0019193
3 | 0.0083072 | 0.002082
4 | 0.0050052 | 0.0012544
5 | 0.0082794 | 0.002075
6 | 0.0051655 | 0.0012946
7 | 0.004566 | 0.0011444
8 | 0.0028407 | 0.00071195
9 | 0.0044619 | 0.0011183
10 | 0.010542 | 0.002642
11 | 0.011808 | 0.0029594
12 | 0.0044309 | 0.0011105
13 | 0.0035604 | 0.00089232
14 | 0.0044624 | 0.0011184
15 | 0.029349 | 0.0073556
16 | 0.011395 | 0.0028559
17 | 0.042107 | 0.010553
18 | 0.0017107 | 0.00042874
19 | 0.0012886 | 0.00032296
20 | 0.0098575 | 0.0024705
21 | 0.015264 | 0.0038256
22 | 0.015409 | 0.003862
23 | 0.017306 | 0.0043373
24 | 0.017363 | 0.0043515
25 | 0.015127 | 0.0037911
26 | 0.011882 | 0.002978
27 | 0.015963 | 0.0040007
28 | 0.01877 | 0.0047043
29 | 0.020473 | 0.0051311
30 | 0.031786 | 0.0079663
31 | 0.0013039 | 0.00032678
32 | 0.0087301 | 0.002188
33 | 0.009749 | 0.0024433
34 | 0.042062 | 0.010542
35 | 0.015224 | 0.0038155

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1