## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-222_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-222_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-222_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-222_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2701-222_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-222_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2701-222_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_2701-222_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2701-222_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2701-222_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2701-222_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2701-222_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2701-222_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_2701-222_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2701-222_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2701-222_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_2701-222_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_2701-222_0_4_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_2701-222_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2701-222_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2701-222_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_2701-222_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2701-222_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2701-222_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2701-222_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2701-222_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_2701-222_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2701-222_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2701-222_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2701-222_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2701-222_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2701-222_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2701-222_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2701-222_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_MV_562_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-222_0_4_load_0 | 0 | 0.024418 | 0.0061196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-222_0_4_load_3 | 2 | 0.015943 | 0.0039957 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-222_0_4_load_38 | 6 | 0.026314 | 0.0065949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-222_0_4_load_17 | 7 | 0.011749 | 0.0029446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-222_0_4_load_14 | 8 | 0.01482 | 0.0037142 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-222_0_4_load_21 | 10 | 0.047078 | 0.011799 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-222_0_4_load_18 | 12 | 0.0095401 | 0.002391 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-222_0_4_load_26 | 13 | 0.011128 | 0.0027889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-222_0_4_load_37 | 15 | 0.029711 | 0.0074462 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-222_0_4_load_30 | 16 | 0.0092768 | 0.002325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-222_0_4_load_33 | 17 | 0.014472 | 0.003627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-222_0_4_load_24 | 18 | 0.008191 | 0.0020529 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-222_0_4_load_25 | 19 | 0.01063 | 0.0026641 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-222_0_4_load_20 | 20 | 0.0062409 | 0.0015641 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-222_0_4_load_19 | 21 | 0.010209 | 0.0025586 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-222_0_4_load_23 | 22 | 0.043179 | 0.010822 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-222_0_4_load_15 | 23 | 0.010332 | 0.0025894 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-222_0_4_load_36 | 24 | 0.0024969 | 0.00062577 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-222_0_4_load_31 | 25 | 0.0060252 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-222_0_4_load_22 | 26 | 0.039633 | 0.009933 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-222_0_4_load_35 | 27 | 0.052706 | 0.013209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-222_0_4_load_34 | 28 | 0.0096265 | 0.0024126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-222_0_4_load_28 | 29 | 0.01016 | 0.0025462 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-222_0_4_load_32 | 30 | 0.030079 | 0.0075385 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-222_0_4_load_16 | 31 | 0.024406 | 0.0061168 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-222_0_4_load_27 | 32 | 0.0021177 | 0.00053074 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-222_0_4_load_29 | 33 | 0.0068196 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-222_0_4_line_0 |  | 0 | 1 | 0.0049524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-222_0_4_line_1 |  | 1 | 2 | 0.0057423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-222_0_4_line_2 |  | 2 | 3 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-222_0_4_line_3 |  | 3 | 5 | 0.053354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-222_0_4_line_4 |  | 4 | 5 | 0.016947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2701-222_0_4_line_5 |  | 4 | 6 | 0.0041344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-222_0_4_line_6 |  | 5 | 7 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-222_0_4_line_7 |  | 5 | 8 | 0.01062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-222_0_4_line_8 |  | 6 | 15 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-222_0_4_line_9 |  | 7 | 22 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-222_0_4_line_10 |  | 8 | 23 | 0.017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-222_0_4_line_11 |  | 9 | 10 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-222_0_4_line_12 |  | 9 | 11 | 0.011702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-222_0_4_line_13 |  | 9 | 12 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-222_0_4_line_14 |  | 10 | 26 | 0.028044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-222_0_4_line_15 |  | 11 | 13 | 0.0012635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-222_0_4_line_16 |  | 12 | 21 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-222_0_4_line_17 |  | 14 | 15 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2701-222_0_4_line_18 |  | 14 | 16 | 0.023728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-222_0_4_line_19 |  | 14 | 17 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-222_0_4_line_20 |  | 16 | 29 | 0.0054615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-222_0_4_line_21 |  | 17 | 30 | 0.0039674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-222_0_4_line_22 |  | 18 | 19 | 0.0079825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-222_0_4_line_23 |  | 19 | 31 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-222_0_4_line_24 |  | 20 | 21 | 0.007205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-222_0_4_line_25 |  | 22 | 26 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-222_0_4_line_26 |  | 23 | 31 | 0.017164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-222_0_4_line_27 |  | 24 | 25 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-222_0_4_line_28 |  | 25 | 33 | 9.2507e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-222_0_4_line_29 |  | 27 | 28 | 0.018816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-222_0_4_line_30 |  | 28 | 30 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-222_0_4_line_31 |  | 29 | 32 | 0.0083179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-222_0_4_line_32 |  | 32 | 33 | 0.00045599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-222_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 34 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2610316.0402 | 1267278.1328 | 2610315.159 | 1267283.0062
1 | 2610316.0402 | 1267278.1328 | 2610317.2366 | 1267272.5165
2 | 2610319.8497 | 1267260.2491 | 2610317.2366 | 1267272.5165
3 | 2610298.2747 | 1267236.017 | 2610304.2063 | 1267235.7493 | 2610307.4055 | 1267235.6103 | 2610312.0725 | 1267235.4071 | 2610314.9855 | 1267235.3121 | 2610318.8024 | 1267234.8518 | 2610325.2611 | 1267234.4961 | 2610319.8497 | 1267260.2491
4 | 2610298.2747 | 1267236.017 | 2610298.5174 | 1267234.95 | 2610299.0711 | 1267232.4715 | 2610300.1178 | 1267227.8589 | 2610300.4064 | 1267226.414 | 2610300.6196 | 1267224.98 | 2610300.8849 | 1267223.9019 | 2610301.683 | 1267219.4224
5 | 2610301.683 | 1267219.4224 | 2610297.7275 | 1267220.6254
6 | 2610298.2747 | 1267236.017 | 2610291.5978 | 1267236.339 | 2610279.963 | 1267239.7452
7 | 2610298.2747 | 1267236.017 | 2610299.448 | 1267240.8335 | 2610298.8445 | 1267246.4641
8 | 2610297.7275 | 1267220.6254 | 2610282.4059 | 1267225.2853
9 | 2610279.963 | 1267239.7452 | 2610268.6459 | 1267243.0584
10 | 2610298.8445 | 1267246.4641 | 2610298.1551 | 1267252.8953 | 2610296.1964 | 1267263.2492
11 | 2610207.2372 | 1267262.3451 | 2610218.2024 | 1267258.8059 | 2610221.5277 | 1267257.7213
12 | 2610207.2372 | 1267262.3451 | 2610195.9715 | 1267265.6281
13 | 2610207.2372 | 1267262.3451 | 2610214.243 | 1267280.9131
14 | 2610248.1954 | 1267249.0455 | 2610247.5359 | 1267249.2386 | 2610221.5277 | 1267257.7213
15 | 2610195.9715 | 1267265.6281 | 2610194.7583 | 1267265.9813
16 | 2610219.6916 | 1267294.0123 | 2610218.5212 | 1267292.2521 | 2610214.243 | 1267280.9131
17 | 2610267.0035 | 1267229.9698 | 2610282.4059 | 1267225.2853
18 | 2610267.0035 | 1267229.9698 | 2610266.9525 | 1267206.2415
19 | 2610267.0035 | 1267229.9698 | 2610254.1603 | 1267234.2488
20 | 2610266.9408 | 1267200.78 | 2610266.9525 | 1267206.2415
21 | 2610250.3963 | 1267235.5028 | 2610254.1603 | 1267234.2488
22 | 2610291.0074 | 1267291.8401 | 2610290.4202 | 1267294.8112 | 2610289.4689 | 1267299.6729
23 | 2610293.3145 | 1267280.1676 | 2610291.0074 | 1267291.8401
24 | 2610219.6916 | 1267294.0123 | 2610223.6809 | 1267300.012
25 | 2610268.6459 | 1267243.0584 | 2610248.1954 | 1267249.0455
26 | 2610293.3145 | 1267280.1676 | 2610293.3816 | 1267279.8281 | 2610295.1545 | 1267268.7567 | 2610296.1964 | 1267263.2492
27 | 2610266.8913 | 1267177.7471 | 2610266.9217 | 1267191.9136
28 | 2610266.9217 | 1267191.9136 | 2610266.9219 | 1267192.0062
29 | 2610220.094 | 1267245.2802 | 2610238.0219 | 1267239.5681
30 | 2610250.3963 | 1267235.5028 | 2610241.9698 | 1267238.3103 | 2610238.0219 | 1267239.5681
31 | 2610266.9229 | 1267192.4621 | 2610266.9408 | 1267200.78
32 | 2610266.9219 | 1267192.0062 | 2610266.9229 | 1267192.4621

## bus_geodata
| x | y | coords
0 | 2610315.159 | 1267283.0062
1 | 2610316.0402 | 1267278.1328
2 | 2610317.2366 | 1267272.5165
3 | 2610319.8497 | 1267260.2491
4 | 2610301.683 | 1267219.4224
5 | 2610298.2747 | 1267236.017
6 | 2610297.7275 | 1267220.6254
7 | 2610279.963 | 1267239.7452
8 | 2610298.8445 | 1267246.4641
9 | 2610207.2372 | 1267262.3451
10 | 2610221.5277 | 1267257.7213
11 | 2610195.9715 | 1267265.6281
12 | 2610214.243 | 1267280.9131
13 | 2610194.7583 | 1267265.9813
14 | 2610267.0035 | 1267229.9698
15 | 2610282.4059 | 1267225.2853
16 | 2610266.9525 | 1267206.2415
17 | 2610254.1603 | 1267234.2488
18 | 2610289.4689 | 1267299.6729
19 | 2610291.0074 | 1267291.8401
20 | 2610223.6809 | 1267300.012
21 | 2610219.6916 | 1267294.0123
22 | 2610268.6459 | 1267243.0584
23 | 2610296.1964 | 1267263.2492
24 | 2610266.8913 | 1267177.7471
25 | 2610266.9217 | 1267191.9136
26 | 2610248.1954 | 1267249.0455
27 | 2610220.094 | 1267245.2802
28 | 2610238.0219 | 1267239.5681
29 | 2610266.9408 | 1267200.78
30 | 2610250.3963 | 1267235.5028
31 | 2610293.3145 | 1267280.1676
32 | 2610266.9229 | 1267192.4621
33 | 2610266.9219 | 1267192.0062
34 | 2610298.2747 | 1267236.017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99442 | -0.10717 | 0.024418 | 0.0061196
1 | 0.99453 | -0.10504 | 0 | 0
2 | 0.99466 | -0.10257 | 0.015943 | 0.0039957
3 | 0.99512 | -0.093651 | 0 | 0
4 | 0.99605 | -0.075632 | 0 | 0
5 | 0.99708 | -0.055823 | 0 | 0
6 | 0.9958 | -0.080471 | 0.026314 | 0.0065949
7 | 0.99885 | -0.02197 | 0.011749 | 0.0029446
8 | 0.99642 | -0.068563 | 0.01482 | 0.0037142
9 | 0.99494 | -0.097357 | 0 | 0
10 | 0.99545 | -0.087546 | 0.047078 | 0.011799
11 | 0.99482 | -0.09965 | 0 | 0
12 | 0.99447 | -0.10644 | 0.0095401 | 0.002391
13 | 0.99481 | -0.099898 | 0.011128 | 0.0027889
14 | 0.9939 | -0.11716 | 0 | 0
15 | 0.99496 | -0.096763 | 0.029711 | 0.0074462
16 | 0.9931 | -0.13262 | 0.0092768 | 0.002325
17 | 0.99257 | -0.14273 | 0.014472 | 0.003627
18 | 0.99465 | -0.10272 | 0.008191 | 0.0020529
19 | 0.99471 | -0.10157 | 0.01063 | 0.0026641
20 | 0.99421 | -0.11136 | 0.0062409 | 0.0015641
21 | 0.99425 | -0.11057 | 0.010209 | 0.0025586
22 | 1 | 0 | -0.44809 | -0.11278
23 | 0.99559 | -0.084566 | 0.010332 | 0.0025894
24 | 0.99279 | -0.13862 | 0.0024969 | 0.00062577
25 | 0.99282 | -0.13799 | 0.0060252 | 0.00151
26 | 0.9976 | -0.046102 | 0.039633 | 0.009933
27 | 0.99059 | -0.1812 | 0.052706 | 0.013209
28 | 0.9915 | -0.1636 | 0.0096265 | 0.0024126
29 | 0.99296 | -0.13529 | 0.01016 | 0.0025462
30 | 0.99224 | -0.14921 | 0.030079 | 0.0075385
31 | 0.99492 | -0.097621 | 0.024406 | 0.0061168
32 | 0.99283 | -0.13786 | 0.0021177 | 0.00053074
33 | 0.99282 | -0.13798 | 0.0068196 | 0.0017091
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.024418 | -0.0061196 | 0.02442 | 0.0061212 | 2.4793e-06 | 1.5225e-06 | 0.036538 | 0.036538 | 0.036538 | 0.99442 | -0.10717 | 0.99453 | -0.10504 | 10.0378
1 | -0.02442 | -0.0061212 | 0.024423 | 0.0061229 | 2.8747e-06 | 1.7653e-06 | 0.036538 | 0.036538 | 0.036538 | 0.99453 | -0.10504 | 0.99466 | -0.10257 | 10.0378
2 | -0.040366 | -0.010119 | 0.040383 | 0.010129 | 1.7153e-05 | 1.0815e-05 | 0.060388 | 0.060388 | 0.060388 | 0.99466 | -0.10257 | 0.99512 | -0.093651 | 16.5902
3 | -0.040383 | -0.010129 | 0.040456 | 0.010175 | 7.2964e-05 | 4.6002e-05 | 0.060388 | 0.060388 | 0.060388 | 0.99512 | -0.093651 | 0.99708 | -0.055823 | 16.5902
4 | -0.2004 | -0.050458 | 0.20059 | 0.050579 | 0.00018998 | 0.00012093 | 0.29947 | 0.29947 | 0.29947 | 0.99605 | -0.075632 | 0.99708 | -0.055823 | 27.4239
5 | 0.2004 | 0.050458 | -0.20036 | -0.050428 | 4.6348e-05 | 2.9501e-05 | 0.29947 | 0.29947 | 0.29947 | 0.99605 | -0.075632 | 0.9958 | -0.080471 | 27.4239
6 | -0.30954 | -0.077963 | 0.31005 | 0.078284 | 0.00050199 | 0.00032054 | 0.46209 | 0.46209 | 0.46209 | 0.99708 | -0.055823 | 0.99885 | -0.02197 | 42.3157
7 | 0.068493 | 0.017209 | -0.068451 | -0.017183 | 4.1623e-05 | 2.65e-05 | 0.10223 | 0.10223 | 0.10223 | 0.99708 | -0.055823 | 0.99642 | -0.068563 | 28.0855
8 | 0.17404 | 0.043834 | -0.17391 | -0.043747 | 0.00013548 | 8.6081e-05 | 0.26015 | 0.26015 | 0.26015 | 0.9958 | -0.080471 | 0.99496 | -0.096763 | 23.8231
9 | -0.32179 | -0.081229 | 0.32213 | 0.081445 | 0.00033904 | 0.00021652 | 0.47959 | 0.47959 | 0.47959 | 0.99885 | -0.02197 | 1 | 0 | 43.9185
10 | 0.053631 | 0.013468 | -0.05359 | -0.013443 | 4.0916e-05 | 2.5965e-05 | 0.0801 | 0.0801 | 0.0801 | 0.99642 | -0.068563 | 0.99559 | -0.084566 | 22.0055
11 | -0.037134 | -0.0093122 | 0.037151 | 0.0093231 | 1.7374e-05 | 1.0924e-05 | 0.055539 | 0.055539 | 0.055539 | 0.99494 | -0.097357 | 0.99545 | -0.087546 | 15.2579
12 | 0.011129 | 0.0027896 | -0.011128 | -0.002789 | 1.2158e-06 | 6.2615e-07 | 0.016645 | 0.016645 | 0.016645 | 0.99494 | -0.097357 | 0.99482 | -0.09965 | 4.5728
13 | 0.026005 | 0.0065226 | -0.025993 | -0.0065156 | 1.1258e-05 | 6.9475e-06 | 0.038894 | 0.038894 | 0.038894 | 0.99494 | -0.097357 | 0.99447 | -0.10644 | 10.6852
14 | -0.08423 | -0.021122 | 0.084396 | 0.021228 | 0.00016673 | 0.00010634 | 0.12591 | 0.12591 | 0.12591 | 0.99545 | -0.087546 | 0.9976 | -0.046102 | 34.5914
15 | 0.011128 | 0.002789 | -0.011128 | -0.0027889 | 1.3127e-07 | 6.761e-08 | 0.016645 | 0.016645 | 0.016645 | 0.99482 | -0.09965 | 0.99481 | -0.099898 | 4.5728
16 | 0.016453 | 0.0041246 | -0.01645 | -0.0041228 | 3.2351e-06 | 1.8858e-06 | 0.024619 | 0.024619 | 0.024619 | 0.99447 | -0.10644 | 0.99425 | -0.11057 | 6.7635
17 | -0.14406 | -0.036212 | 0.1442 | 0.036301 | 0.00014046 | 8.9478e-05 | 0.21571 | 0.21571 | 0.21571 | 0.9939 | -0.11716 | 0.99496 | -0.096763 | 29.6312
18 | 0.036929 | 0.0092674 | -0.036901 | -0.0092503 | 2.7204e-05 | 1.7103e-05 | 0.055292 | 0.055292 | 0.055292 | 0.9939 | -0.11716 | 0.9931 | -0.13262 | 15.1902
19 | 0.10713 | 0.026944 | -0.107 | -0.026861 | 0.00013065 | 8.3438e-05 | 0.16042 | 0.16042 | 0.16042 | 0.9939 | -0.11716 | 0.99257 | -0.14273 | 44.0722
20 | 0.027625 | 0.0069253 | -0.027621 | -0.0069231 | 3.509e-06 | 2.1751e-06 | 0.041392 | 0.041392 | 0.041392 | 0.9931 | -0.13262 | 0.99296 | -0.13529 | 11.3715
21 | 0.092527 | 0.023234 | -0.092498 | -0.023216 | 2.8632e-05 | 1.8273e-05 | 0.13873 | 0.13873 | 0.13873 | 0.99257 | -0.14273 | 0.99224 | -0.14921 | 38.1119
22 | -0.008191 | -0.0020529 | 0.0081915 | 0.002053 | 4.4948e-07 | 1.8406e-07 | 0.012254 | 0.012254 | 0.012254 | 0.99465 | -0.10272 | 0.99471 | -0.10157 | 3.3664
23 | -0.018821 | -0.0047172 | 0.018825 | 0.0047193 | 3.5371e-06 | 2.1092e-06 | 0.028156 | 0.028156 | 0.028156 | 0.99471 | -0.10157 | 0.99492 | -0.097621 | 7.735
24 | -0.0062409 | -0.0015641 | 0.0062411 | 0.0015642 | 2.3573e-07 | 5.7428e-08 | 0.0093406 | 0.0093405 | 0.0093406 | 0.99421 | -0.11136 | 0.99425 | -0.11057 | 2.5661
25 | 0.1243 | 0.031336 | -0.12403 | -0.031161 | 0.00027357 | 0.00017481 | 0.18503 | 0.18503 | 0.18503 | 1 | 0 | 0.9976 | -0.046102 | 50.8322
26 | 0.043258 | 0.010853 | -0.043231 | -0.010836 | 2.6908e-05 | 1.6998e-05 | 0.064658 | 0.064658 | 0.064658 | 0.99559 | -0.084566 | 0.99492 | -0.097621 | 17.7632
27 | -0.0024969 | -0.00062577 | 0.0024969 | 0.00062564 | 7.4402e-08 | -1.3557e-07 | 0.0037424 | 0.0037423 | 0.0037424 | 0.99279 | -0.13862 | 0.99282 | -0.13799 | 1.0281
28 | -0.0085221 | -0.0021357 | 0.0085221 | 0.0021357 | 5.6601e-09 | 2.4247e-09 | 0.012773 | 0.012773 | 0.012773 | 0.99282 | -0.13799 | 0.99282 | -0.13798 | 3.509
29 | -0.052706 | -0.013209 | 0.05275 | 0.013237 | 4.4228e-05 | 2.8063e-05 | 0.079172 | 0.079172 | 0.079172 | 0.99059 | -0.1812 | 0.9915 | -0.1636 | 21.7505
30 | -0.062376 | -0.01565 | 0.062419 | 0.015677 | 4.2811e-05 | 2.7231e-05 | 0.093619 | 0.093619 | 0.093619 | 0.9915 | -0.1636 | 0.99224 | -0.14921 | 25.7195
31 | 0.017462 | 0.0043769 | -0.017459 | -0.0043756 | 2.1358e-06 | 1.2594e-06 | 0.026168 | 0.026168 | 0.026168 | 0.99296 | -0.13529 | 0.99283 | -0.13786 | 7.1889
32 | 0.015342 | 0.0038449 | -0.015342 | -0.0038448 | 9.0406e-08 | 5.1964e-08 | 0.022994 | 0.022994 | 0.022994 | 0.99283 | -0.13786 | 0.99282 | -0.13798 | 6.3169

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49127 | 0.1236

## res_load
| p_mw | q_mvar
0 | 0.024418 | 0.0061196
1 | 0.015943 | 0.0039957
2 | 0.026314 | 0.0065949
3 | 0.011749 | 0.0029446
4 | 0.01482 | 0.0037142
5 | 0.047078 | 0.011799
6 | 0.0095401 | 0.002391
7 | 0.011128 | 0.0027889
8 | 0.029711 | 0.0074462
9 | 0.0092768 | 0.002325
10 | 0.014472 | 0.003627
11 | 0.008191 | 0.0020529
12 | 0.01063 | 0.0026641
13 | 0.0062409 | 0.0015641
14 | 0.010209 | 0.0025586
15 | 0.043179 | 0.010822
16 | 0.010332 | 0.0025894
17 | 0.0024969 | 0.00062577
18 | 0.0060252 | 0.00151
19 | 0.039633 | 0.009933
20 | 0.052706 | 0.013209
21 | 0.0096265 | 0.0024126
22 | 0.01016 | 0.0025462
23 | 0.030079 | 0.0075385
24 | 0.024406 | 0.0061168
25 | 0.0021177 | 0.00053074
26 | 0.0068196 | 0.0017091

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1