## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-223_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-223_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-223_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2701-223_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_2701-223_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2701-223_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_2701-223_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_2701-223_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_2701-223_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2701-223_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2701-223_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2701-223_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2701-223_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_2701-223_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_2701-223_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2701-223_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_2701-223_0_4_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_2701-223_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_2701-223_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_2701-223_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2701-223_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2701-223_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2701-223_0_4_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_2701-223_0_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_2701-223_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2701-223_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2701-223_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2701-223_0_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_2701-223_0_4_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_2701-223_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_2701-223_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2701-223_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_2701-223_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_2701-223_0_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_2701-223_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_2701-223_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2701-223_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2701-223_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2701-223_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2701-223_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2701-223_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_2701-223_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2701-223_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2701-223_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2701-223_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2701-223_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2701-223_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2701-223_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2701-223_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2701-223_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2701-223_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2701-223_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2701-223_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2701-223_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2701-223_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2701-223_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2701-223_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2701-223_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_MV_562_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-223_0_4_load_0 | 0 | 0.01338 | 0.0033533 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-223_0_4_load_1 | 1 | 0.0044148 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-223_0_4_load_3 | 2 | 0.0076052 | 0.001906 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-223_0_4_load_32 | 6 | 0.0077041 | 0.0019308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-223_0_4_load_62 | 7 | 0.0041141 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-223_0_4_load_18 | 10 | 0.0070501 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-223_0_4_load_21 | 11 | 0.0039026 | 0.00097807 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-223_0_4_load_57 | 12 | 0.023025 | 0.0057705 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-223_0_4_load_24 | 13 | 0.0069937 | 0.0017528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-223_0_4_load_51 | 16 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-223_0_4_load_44 | 17 | 0.0076639 | 0.0019207 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-223_0_4_load_54 | 18 | 0.011467 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-223_0_4_load_22 | 19 | 0.013846 | 0.0034701 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-223_0_4_load_23 | 20 | 0.005308 | 0.0013303 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-223_0_4_load_30 | 21 | 0.014564 | 0.00365 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-223_0_4_load_61 | 22 | 0.0089077 | 0.0022325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-223_0_4_load_52 | 23 | 0.0029649 | 0.00074308 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-223_0_4_load_28 | 24 | 0.0046393 | 0.0011627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-223_0_4_load_16 | 25 | 0.006437 | 0.0016133 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-223_0_4_load_20 | 26 | 0.0076385 | 0.0019144 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-223_0_4_load_58 | 27 | 0.012 | 0.0030074 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-223_0_4_load_63 | 28 | 0.012545 | 0.003144 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-223_0_4_load_59 | 29 | 0.014696 | 0.0036832 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-223_0_4_load_43 | 30 | 0.007732 | 0.0019378 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-223_0_4_load_56 | 31 | 0.0039221 | 0.00098297 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-223_0_4_load_55 | 32 | 0.0032143 | 0.00080558 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-223_0_4_load_53 | 33 | 0.0047178 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-223_0_4_load_17 | 34 | 0.010414 | 0.00261 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-223_0_4_load_19 | 35 | 0.0051436 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-223_0_4_load_25 | 36 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-223_0_4_load_26 | 37 | 0.0029328 | 0.00073504 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-223_0_4_load_27 | 38 | 0.0029196 | 0.00073173 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-223_0_4_load_29 | 39 | 0.01181 | 0.0029597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-223_0_4_load_41 | 40 | 0.0029147 | 0.00073048 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-223_0_4_load_39 | 41 | 0.010295 | 0.0025802 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-223_0_4_load_31 | 42 | 0.0076064 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-223_0_4_load_33 | 43 | 0.0049122 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-223_0_4_load_60 | 44 | 0.0097269 | 0.0024378 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-223_0_4_load_38 | 45 | 0.0048803 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-223_0_4_load_34 | 46 | 0.010346 | 0.0025931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-223_0_4_load_35 | 47 | 0.0041886 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-223_0_4_load_36 | 48 | 0.0048055 | 0.0012044 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-223_0_4_load_37 | 49 | 0.0043003 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-223_0_4_load_50 | 50 | 0.027226 | 0.0068234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-223_0_4_load_48 | 51 | 0.02554 | 0.0064009 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-223_0_4_load_40 | 52 | 0.0029422 | 0.0007374 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-223_0_4_load_42 | 53 | 0.0029606 | 0.00074199 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-223_0_4_load_45 | 54 | 0.010131 | 0.002539 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-223_0_4_load_46 | 55 | 0.011435 | 0.0028659 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-223_0_4_load_47 | 56 | 0.0062167 | 0.0015581 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-223_0_4_load_49 | 57 | 0.0052259 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-223_0_4_line_0 |  | 0 | 1 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-223_0_4_line_1 |  | 1 | 2 | 0.017139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-223_0_4_line_2 |  | 2 | 3 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-223_0_4_line_3 |  | 3 | 11 | 0.023337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-223_0_4_line_4 |  | 4 | 5 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2701-223_0_4_line_5 |  | 4 | 6 | 0.011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2701-223_0_4_line_6 |  | 4 | 7 | 0.015973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-223_0_4_line_7 |  | 5 | 12 | 0.010081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2701-223_0_4_line_8 |  | 5 | 8 | 0.035688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-223_0_4_line_9 |  | 6 | 21 | 0.0073151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2701-223_0_4_line_10 |  | 7 | 22 | 0.038052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-223_0_4_line_11 |  | 8 | 9 | 0.013509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-223_0_4_line_12 |  | 8 | 10 | 0.010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-223_0_4_line_13 |  | 9 | 13 | 0.01817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-223_0_4_line_14 |  | 10 | 25 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-223_0_4_line_15 |  | 11 | 26 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-223_0_4_line_16 |  | 12 | 27 | 0.017959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-223_0_4_line_17 |  | 13 | 20 | 0.0094053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-223_0_4_line_18 |  | 14 | 15 | 0.005871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-223_0_4_line_19 |  | 14 | 16 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-223_0_4_line_20 |  | 14 | 17 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-223_0_4_line_21 |  | 15 | 18 | 0.014004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-223_0_4_line_22 |  | 16 | 27 | 0.0092773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-223_0_4_line_23 |  | 17 | 30 | 0.0077025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-223_0_4_line_24 |  | 18 | 33 | 0.0085993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-223_0_4_line_25 |  | 19 | 20 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-223_0_4_line_26 |  | 21 | 42 | 0.0070953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2701-223_0_4_line_27 |  | 23 | 24 | 0.010905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-223_0_4_line_28 |  | 24 | 37 | 0.010728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-223_0_4_line_29 |  | 25 | 34 | 0.0011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-223_0_4_line_30 |  | 26 | 35 | 0.010354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-223_0_4_line_31 |  | 28 | 29 | 0.0079739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-223_0_4_line_32 |  | 29 | 57 | 0.0096851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-223_0_4_line_33 |  | 30 | 54 | 0.0076897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-223_0_4_line_34 |  | 31 | 32 | 0.0098315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-223_0_4_line_35 |  | 32 | 33 | 0.00096453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-223_0_4_line_36 |  | 34 | 35 | 0.01145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-223_0_4_line_37 |  | 36 | 37 | 0.0003921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-223_0_4_line_38 |  | 36 | 38 | 0.0059798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-223_0_4_line_39 |  | 38 | 39 | 0.003238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-223_0_4_line_40 |  | 39 | 40 | 0.0044003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-223_0_4_line_41 |  | 40 | 41 | 0.0051017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-223_0_4_line_42 |  | 41 | 52 | 0.0012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-223_0_4_line_43 |  | 42 | 43 | 0.00097014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2701-223_0_4_line_44 |  | 43 | 44 | 0.0063157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2701-223_0_4_line_45 |  | 44 | 45 | 2.127e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-223_0_4_line_46 |  | 45 | 48 | 0.0094533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-223_0_4_line_47 |  | 46 | 47 | 0.00031733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-223_0_4_line_48 |  | 46 | 48 | 8.9854e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-223_0_4_line_49 |  | 47 | 49 | 0.0087904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-223_0_4_line_50 |  | 49 | 50 | 0.0048289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-223_0_4_line_51 |  | 50 | 51 | 0.0092447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-223_0_4_line_52 |  | 51 | 55 | 0.0045258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-223_0_4_line_53 |  | 52 | 53 | 0.0076695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-223_0_4_line_54 |  | 53 | 54 | 0.002266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-223_0_4_line_55 |  | 55 | 56 | 0.0076577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-223_0_4_line_56 |  | 56 | 57 | 0.00093899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-223_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 58 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2610354.6557 | 1267308.6435 | 2610342.5981 | 1267302.7035
1 | 2610326.1084 | 1267298.5519 | 2610338.5738 | 1267300.7211 | 2610342.5981 | 1267302.7035
2 | 2610312.8103 | 1267295.9952 | 2610320.2441 | 1267297.5314 | 2610326.1084 | 1267298.5519
3 | 2610312.8103 | 1267295.9952 | 2610309.1884 | 1267314.2684 | 2610308.4225 | 1267318.9145
4 | 2610268.7324 | 1267383.747 | 2610274.6697 | 1267375.7739 | 2610276.6294 | 1267365.4812 | 2610277.1687 | 1267362.6357
5 | 2610277.1687 | 1267362.6357 | 2610268.8808 | 1267358.841 | 2610266.6973 | 1267357.8235
6 | 2610277.1687 | 1267362.6357 | 2610277.6472 | 1267360.1237 | 2610280.1541 | 1267346.944
7 | 2610268.7324 | 1267383.747 | 2610259.0492 | 1267386.552
8 | 2610268.7324 | 1267383.747 | 2610274.6697 | 1267375.7739 | 2610280.2094 | 1267375.7279 | 2610284.8084 | 1267375.6024 | 2610287.6761 | 1267375.5629 | 2610293.1333 | 1267375.4056 | 2610300.4034 | 1267375.774
9 | 2610260.0666 | 1267354.734 | 2610260.0666 | 1267354.734 | 2610266.6973 | 1267357.8235
10 | 2610287.5237 | 1267309.6134 | 2610286.4334 | 1267315.1852 | 2610283.3744 | 1267330.0347 | 2610282.7819 | 1267333.1359 | 2610282.2351 | 1267336.0036 | 2610280.1541 | 1267346.944
11 | 2610297.7612 | 1267389.0231 | 2610300.4034 | 1267375.774
12 | 2610300.4034 | 1267375.774 | 2610300.3365 | 1267366.6008 | 2610300.5361 | 1267365.48
13 | 2610297.7612 | 1267389.0231 | 2610301.1629 | 1267389.1847 | 2610308.1769 | 1267389.7194 | 2610315.6265 | 1267390.7219 | 2610315.8345 | 1267390.7669
14 | 2610302.997 | 1267351.6636 | 2610300.5361 | 1267365.48
15 | 2610306.753 | 1267329.0422 | 2610308.4225 | 1267318.9145
16 | 2610259.0492 | 1267386.552 | 2610241.7992 | 1267391.5489
17 | 2610324.9091 | 1267393.2086 | 2610323.6915 | 1267392.8041 | 2610319.411 | 1267391.5402 | 2610315.8345 | 1267390.7669
18 | 2610217.2993 | 1267398.8468 | 2610222.9172 | 1267397.0885
19 | 2610222.9172 | 1267397.0885 | 2610227.7518 | 1267395.618 | 2610232.8882 | 1267394.1302
20 | 2610222.9172 | 1267397.0885 | 2610212.0917 | 1267381.9431
21 | 2610217.2993 | 1267398.8468 | 2610204.0058 | 1267403.2514
22 | 2610241.7992 | 1267391.5489 | 2610232.8882 | 1267394.1302
23 | 2610207.6127 | 1267375.6768 | 2610212.0917 | 1267381.9431
24 | 2610195.8429 | 1267405.9561 | 2610204.0058 | 1267403.2514
25 | 2610335.2947 | 1267397.0905 | 2610333.7259 | 1267396.3462 | 2610326.7531 | 1267393.8212 | 2610324.9091 | 1267393.2086
26 | 2610260.0666 | 1267354.734 | 2610256.138 | 1267348.8256
27 | 2610172.9292 | 1267327.1526 | 2610179.2706 | 1267336.0247
28 | 2610185.5087 | 1267344.752 | 2610179.2706 | 1267336.0247
29 | 2610302.997 | 1267351.6636 | 2610303.1944 | 1267350.5547
30 | 2610305.0689 | 1267339.2588 | 2610306.753 | 1267329.0422
31 | 2610221.3445 | 1267296.4981 | 2610218.5212 | 1267292.2521 | 2610217.5063 | 1267289.5622
32 | 2610226.707 | 1267304.5631 | 2610221.3445 | 1267296.4981
33 | 2610207.6127 | 1267375.6768 | 2610203.1412 | 1267369.4209
34 | 2610185.5951 | 1267409.3527 | 2610193.6295 | 1267406.6894 | 2610194.9273 | 1267406.2594
35 | 2610194.9273 | 1267406.2594 | 2610195.8429 | 1267405.9561
36 | 2610303.1944 | 1267350.5547 | 2610303.3616 | 1267349.6164 | 2610305.0689 | 1267339.2588
37 | 2610185.7367 | 1267345.071 | 2610185.5087 | 1267344.752
38 | 2610185.7367 | 1267345.071 | 2610189.2139 | 1267349.9359
39 | 2610191.0968 | 1267352.5701 | 2610189.2139 | 1267349.9359
40 | 2610191.0968 | 1267352.5701 | 2610193.6556 | 1267356.15
41 | 2610196.6222 | 1267360.3005 | 2610193.6556 | 1267356.15
42 | 2610196.6222 | 1267360.3005 | 2610197.3637 | 1267361.3379
43 | 2610256.138 | 1267348.8256 | 2610255.6008 | 1267348.0177
44 | 2610255.6008 | 1267348.0177 | 2610252.1039 | 1267342.7585
45 | 2610252.1039 | 1267342.7585 | 2610252.0921 | 1267342.7408
46 | 2610252.0921 | 1267342.7408 | 2610246.8579 | 1267334.8689
47 | 2610246.8082 | 1267334.794 | 2610246.6324 | 1267334.5298
48 | 2610246.8579 | 1267334.8689 | 2610246.8082 | 1267334.794
49 | 2610246.6324 | 1267334.5298 | 2610241.7653 | 1267327.2099
50 | 2610239.0916 | 1267323.1887 | 2610241.7653 | 1267327.2099
51 | 2610239.0916 | 1267323.1887 | 2610233.9728 | 1267315.4904
52 | 2610231.4669 | 1267311.7217 | 2610233.9728 | 1267315.4904
53 | 2610201.8235 | 1267367.5774 | 2610197.3637 | 1267361.3379
54 | 2610201.8235 | 1267367.5774 | 2610203.1412 | 1267369.4209
55 | 2610231.4669 | 1267311.7217 | 2610227.2269 | 1267305.345
56 | 2610227.2269 | 1267305.345 | 2610226.707 | 1267304.5631

## bus_geodata
| x | y | coords
0 | 2610354.6557 | 1267308.6435
1 | 2610342.5981 | 1267302.7035
2 | 2610326.1084 | 1267298.5519
3 | 2610312.8103 | 1267295.9952
4 | 2610277.1687 | 1267362.6357
5 | 2610268.7324 | 1267383.747
6 | 2610266.6973 | 1267357.8235
7 | 2610280.1541 | 1267346.944
8 | 2610300.4034 | 1267375.774
9 | 2610297.7612 | 1267389.0231
10 | 2610300.5361 | 1267365.48
11 | 2610308.4225 | 1267318.9145
12 | 2610259.0492 | 1267386.552
13 | 2610315.8345 | 1267390.7669
14 | 2610222.9172 | 1267397.0885
15 | 2610217.2993 | 1267398.8468
16 | 2610232.8882 | 1267394.1302
17 | 2610212.0917 | 1267381.9431
18 | 2610204.0058 | 1267403.2514
19 | 2610335.2947 | 1267397.0905
20 | 2610324.9091 | 1267393.2086
21 | 2610260.0666 | 1267354.734
22 | 2610287.5237 | 1267309.6134
23 | 2610172.9292 | 1267327.1526
24 | 2610179.2706 | 1267336.0247
25 | 2610302.9969 | 1267351.6636
26 | 2610306.753 | 1267329.0422
27 | 2610241.7992 | 1267391.5489
28 | 2610217.5063 | 1267289.5622
29 | 2610221.3445 | 1267296.4981
30 | 2610207.6127 | 1267375.6768
31 | 2610185.5951 | 1267409.3527
32 | 2610194.9273 | 1267406.2594
33 | 2610195.8429 | 1267405.9561
34 | 2610303.1944 | 1267350.5548
35 | 2610305.0689 | 1267339.2588
36 | 2610185.7367 | 1267345.071
37 | 2610185.5087 | 1267344.752
38 | 2610189.2139 | 1267349.9359
39 | 2610191.0968 | 1267352.5701
40 | 2610193.6556 | 1267356.15
41 | 2610196.6222 | 1267360.3005
42 | 2610256.138 | 1267348.8256
43 | 2610255.6008 | 1267348.0177
44 | 2610252.1039 | 1267342.7585
45 | 2610252.0921 | 1267342.7408
46 | 2610246.8082 | 1267334.794
47 | 2610246.6324 | 1267334.5298
48 | 2610246.8579 | 1267334.8689
49 | 2610241.7653 | 1267327.2099
50 | 2610239.0916 | 1267323.1887
51 | 2610233.9728 | 1267315.4904
52 | 2610197.3637 | 1267361.3379
53 | 2610201.8235 | 1267367.5774
54 | 2610203.1412 | 1267369.4209
55 | 2610231.4669 | 1267311.7217
56 | 2610227.2269 | 1267305.345
57 | 2610226.707 | 1267304.5631
58 | 2610277.1687 | 1267362.6357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98798 | -0.23137 | 0.01338 | 0.0033533
1 | 0.98815 | -0.22816 | 0.0044148 | 0.0011064
2 | 0.98843 | -0.22272 | 0.0076052 | 0.001906
3 | 0.98874 | -0.21659 | 0 | 0
4 | 0.99733 | -0.050978 | 0 | 0
5 | 0.9948 | -0.099402 | 0 | 0
6 | 0.99821 | -0.034199 | 0.0077041 | 0.0019308
7 | 0.99714 | -0.054624 | 0.0041141 | 0.0010311
8 | 0.99179 | -0.15749 | 0 | 0
9 | 0.99147 | -0.16375 | 0 | 0
10 | 0.99117 | -0.16956 | 0.0070501 | 0.0017669
11 | 0.98928 | -0.20602 | 0.0039026 | 0.00097807
12 | 0.99414 | -0.11222 | 0.023025 | 0.0057705
13 | 0.99103 | -0.17218 | 0.0069937 | 0.0017528
14 | 0.99028 | -0.18664 | 0 | 0
15 | 0.99015 | -0.18907 | 0 | 0
16 | 0.99121 | -0.16869 | 0.012095 | 0.0030314
17 | 0.98902 | -0.21111 | 0.0076639 | 0.0019207
18 | 0.98986 | -0.19488 | 0.011467 | 0.0028738
19 | 0.99073 | -0.17811 | 0.013846 | 0.0034701
20 | 0.99087 | -0.17538 | 0.005308 | 0.0013303
21 | 0.99878 | -0.023236 | 0.014564 | 0.00365
22 | 0.99683 | -0.060568 | 0.0089077 | 0.0022325
23 | 0.98716 | -0.24726 | 0.0029649 | 0.00074308
24 | 0.98719 | -0.24669 | 0.0046393 | 0.0011627
25 | 0.99041 | -0.18424 | 0.006437 | 0.0016133
26 | 0.98956 | -0.20067 | 0.0076385 | 0.0019144
27 | 0.99214 | -0.15072 | 0.012 | 0.0030074
28 | 0.99609 | -0.07526 | 0.012545 | 0.003144
29 | 0.99618 | -0.073503 | 0.014696 | 0.0036832
30 | 0.98855 | -0.2202 | 0.007732 | 0.0019378
31 | 0.98972 | -0.1975 | 0.0039221 | 0.00098297
32 | 0.98976 | -0.19681 | 0.0032143 | 0.00080558
33 | 0.98976 | -0.19669 | 0.0047178 | 0.0011824
34 | 0.99035 | -0.18529 | 0.010414 | 0.00261
35 | 0.98991 | -0.19386 | 0.0051436 | 0.0012891
36 | 0.98727 | -0.24515 | 0.0039649 | 0.00099369
37 | 0.98726 | -0.24523 | 0.0029328 | 0.00073504
38 | 0.98735 | -0.2436 | 0.0029196 | 0.00073173
39 | 0.9874 | -0.24259 | 0.01181 | 0.0029597
40 | 0.98752 | -0.24029 | 0.0029147 | 0.00073048
41 | 0.98767 | -0.23736 | 0.010295 | 0.0025802
42 | 0.99937 | -0.012013 | 0.0076064 | 0.0019064
43 | 0.99945 | -0.010436 | 0.0049122 | 0.0012311
44 | 1 | 0 | -0.41994 | -0.10585
45 | 1 | -4.8715e-05 | 0.0048803 | 0.0012231
46 | 0.9989 | -0.02111 | 0.010346 | 0.0025931
47 | 0.99887 | -0.021727 | 0.0041886 | 0.0010498
48 | 0.99891 | -0.020919 | 0.0048055 | 0.0012044
49 | 0.99801 | -0.038201 | 0.0043003 | 0.0010777
50 | 0.99756 | -0.046899 | 0.027226 | 0.0068234
51 | 0.99692 | -0.059157 | 0.02554 | 0.0064009
52 | 0.98772 | -0.2364 | 0.0029422 | 0.0007374
53 | 0.98804 | -0.23018 | 0.0029606 | 0.00074199
54 | 0.98814 | -0.22822 | 0.010131 | 0.002539
55 | 0.99672 | -0.063136 | 0.011435 | 0.0028659
56 | 0.99645 | -0.068335 | 0.0062167 | 0.0015581
57 | 0.99642 | -0.06887 | 0.0052259 | 0.0013097
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01338 | -0.0033533 | 0.013382 | 0.0033544 | 2.0468e-06 | 1.1378e-06 | 0.020151 | 0.020151 | 0.020151 | 0.98798 | -0.23137 | 0.98815 | -0.22816 | 5.5361
1 | -0.017796 | -0.0044608 | 0.017801 | 0.0044636 | 4.6159e-06 | 2.7346e-06 | 0.026799 | 0.026799 | 0.026799 | 0.98815 | -0.22816 | 0.98843 | -0.22272 | 7.3625
2 | -0.025406 | -0.0063696 | 0.025414 | 0.0063742 | 7.4299e-06 | 4.5815e-06 | 0.038248 | 0.038248 | 0.038248 | 0.98843 | -0.22272 | 0.98874 | -0.21659 | 10.5078
3 | -0.025414 | -0.0063742 | 0.025427 | 0.0063821 | 1.2803e-05 | 7.8944e-06 | 0.038248 | 0.038248 | 0.038248 | 0.98874 | -0.21659 | 0.98928 | -0.20602 | 10.5078
4 | 0.23809 | 0.060307 | -0.23754 | -0.059954 | 0.00055234 | 0.00035289 | 0.35546 | 0.35546 | 0.35546 | 0.99733 | -0.050978 | 0.9948 | -0.099402 | 48.8265
5 | -0.25112 | -0.063573 | 0.25132 | 0.063702 | 0.00020246 | 0.00012912 | 0.37489 | 0.37489 | 0.37489 | 0.99733 | -0.050978 | 0.99821 | -0.034199 | 34.3309
6 | 0.013027 | 0.0032659 | -0.013024 | -0.0032647 | 2.2628e-06 | 1.2398e-06 | 0.019436 | 0.019436 | 0.019436 | 0.99733 | -0.050978 | 0.99714 | -0.054624 | 5.3396
7 | 0.14498 | 0.036594 | -0.14489 | -0.036537 | 8.897e-05 | 5.6679e-05 | 0.21695 | 0.21695 | 0.21695 | 0.9948 | -0.099402 | 0.99414 | -0.11222 | 29.801
8 | 0.092558 | 0.02336 | -0.092302 | -0.023196 | 0.00025674 | 0.00016385 | 0.13851 | 0.13851 | 0.13851 | 0.9948 | -0.099402 | 0.99179 | -0.15749 | 38.0511
9 | -0.25902 | -0.065633 | 0.25916 | 0.06572 | 0.00013651 | 8.7077e-05 | 0.38638 | 0.38638 | 0.38638 | 0.99821 | -0.034199 | 0.99878 | -0.023236 | 35.3825
10 | 0.0089103 | 0.0022336 | -0.0089077 | -0.0022325 | 2.523e-06 | 1.1185e-06 | 0.013297 | 0.013297 | 0.013297 | 0.99714 | -0.054624 | 0.99683 | -0.060568 | 3.653
11 | 0.026171 | 0.0065673 | -0.026163 | -0.0065624 | 7.8113e-06 | 4.825e-06 | 0.039268 | 0.039268 | 0.039268 | 0.99179 | -0.15749 | 0.99147 | -0.16375 | 10.7878
12 | 0.066131 | 0.016629 | -0.066093 | -0.016605 | 3.8083e-05 | 2.424e-05 | 0.099238 | 0.099238 | 0.099238 | 0.99179 | -0.15749 | 0.99117 | -0.16956 | 27.2633
13 | 0.026163 | 0.0065624 | -0.026152 | -0.006556 | 1.0506e-05 | 6.4898e-06 | 0.039268 | 0.039268 | 0.039268 | 0.99147 | -0.16375 | 0.99103 | -0.17218 | 10.7878
14 | 0.059043 | 0.014838 | -0.059002 | -0.014812 | 4.1362e-05 | 2.6291e-05 | 0.088654 | 0.088654 | 0.088654 | 0.99117 | -0.16956 | 0.99041 | -0.18424 | 24.3556
15 | -0.029329 | -0.0073602 | 0.029337 | 0.0073648 | 7.4921e-06 | 4.6631e-06 | 0.044118 | 0.044118 | 0.044118 | 0.98928 | -0.20602 | 0.98956 | -0.20067 | 12.1204
16 | 0.12187 | 0.030766 | -0.12164 | -0.030623 | 0.00022428 | 0.00014331 | 0.18249 | 0.18249 | 0.18249 | 0.99414 | -0.11222 | 0.99214 | -0.15072 | 50.1342
17 | 0.019159 | 0.0048032 | -0.019156 | -0.0048014 | 2.9187e-06 | 1.7468e-06 | 0.028767 | 0.028767 | 0.028767 | 0.99103 | -0.17218 | 0.99087 | -0.17538 | 7.903
18 | 0.023331 | 0.0058509 | -0.023328 | -0.0058492 | 2.7061e-06 | 1.6564e-06 | 0.035059 | 0.035059 | 0.035059 | 0.99028 | -0.18664 | 0.99015 | -0.18907 | 9.6316
19 | -0.09737 | -0.024471 | 0.097453 | 0.024524 | 8.352e-05 | 5.3319e-05 | 0.14633 | 0.14633 | 0.14633 | 0.99028 | -0.18664 | 0.99121 | -0.16869 | 40.2015
20 | 0.074038 | 0.01862 | -0.073952 | -0.018565 | 8.6441e-05 | 5.5083e-05 | 0.11127 | 0.11127 | 0.11127 | 0.99028 | -0.18664 | 0.98902 | -0.21111 | 30.5699
21 | 0.023328 | 0.0058492 | -0.023322 | -0.0058453 | 6.455e-06 | 3.9511e-06 | 0.035059 | 0.035059 | 0.035059 | 0.99015 | -0.18907 | 0.98986 | -0.19488 | 9.6317
22 | -0.10955 | -0.027556 | 0.10964 | 0.027616 | 9.4132e-05 | 6.0125e-05 | 0.16449 | 0.16449 | 0.16449 | 0.99121 | -0.16869 | 0.99214 | -0.15072 | 45.1899
23 | 0.066288 | 0.016644 | -0.066259 | -0.016626 | 2.8737e-05 | 1.8293e-05 | 0.099744 | 0.099744 | 0.099744 | 0.98902 | -0.21111 | 0.98855 | -0.2202 | 27.4022
24 | 0.011855 | 0.0029715 | -0.011854 | -0.0029709 | 1.0243e-06 | 5.4499e-07 | 0.017822 | 0.017822 | 0.017822 | 0.98986 | -0.19488 | 0.98976 | -0.19669 | 4.8962
25 | -0.013846 | -0.0034701 | 0.013848 | 0.0034711 | 1.7994e-06 | 1.0087e-06 | 0.020796 | 0.020796 | 0.020796 | 0.99073 | -0.17811 | 0.99087 | -0.17538 | 5.7131
26 | -0.27372 | -0.06937 | 0.27387 | 0.069464 | 0.00014769 | 9.4245e-05 | 0.40807 | 0.40807 | 0.40807 | 0.99878 | -0.023236 | 0.99937 | -0.012013 | 37.3694
27 | -0.0029649 | -0.00074308 | 0.002965 | 0.00074299 | 8.1683e-08 | -8.7146e-08 | 0.0044692 | 0.0044692 | 0.0044692 | 0.98716 | -0.24726 | 0.98719 | -0.24669 | 1.2278
28 | -0.0076043 | -0.0019057 | 0.0076049 | 0.0019059 | 5.2853e-07 | 2.0109e-07 | 0.011462 | 0.011462 | 0.011462 | 0.98719 | -0.24669 | 0.98726 | -0.24523 | 3.149
29 | 0.052564 | 0.013198 | -0.052562 | -0.013197 | 2.6348e-06 | 1.6718e-06 | 0.078983 | 0.078983 | 0.078983 | 0.99041 | -0.18424 | 0.99035 | -0.18529 | 21.6986
30 | -0.036975 | -0.0092792 | 0.036987 | 0.0092868 | 1.2005e-05 | 7.5504e-06 | 0.055604 | 0.055604 | 0.055604 | 0.98956 | -0.20067 | 0.98991 | -0.19386 | 15.2759
31 | -0.012545 | -0.003144 | 0.012546 | 0.0031446 | 1.0502e-06 | 5.6829e-07 | 0.01874 | 0.01874 | 0.01874 | 0.99609 | -0.07526 | 0.99618 | -0.073503 | 5.1484
32 | -0.027242 | -0.0068278 | 0.027248 | 0.0068315 | 6.0139e-06 | 3.7228e-06 | 0.040692 | 0.040692 | 0.040692 | 0.99618 | -0.073503 | 0.99642 | -0.06887 | 11.1792
33 | 0.058527 | 0.014688 | -0.058505 | -0.014674 | 2.2384e-05 | 1.4227e-05 | 0.088105 | 0.088105 | 0.088105 | 0.98855 | -0.2202 | 0.98814 | -0.22822 | 24.2048
34 | -0.0039221 | -0.00098297 | 0.0039222 | 0.00098293 | 1.282e-07 | -4.4303e-08 | 0.0058968 | 0.0058967 | 0.0058968 | 0.98972 | -0.1975 | 0.98976 | -0.19681 | 1.62
35 | -0.0071365 | -0.0017885 | 0.0071366 | 0.0017885 | 4.1637e-08 | 1.4252e-08 | 0.010729 | 0.010729 | 0.010729 | 0.98976 | -0.19681 | 0.98976 | -0.19669 | 2.9476
36 | 0.042148 | 0.010587 | -0.042131 | -0.010576 | 1.7225e-05 | 1.0877e-05 | 0.063336 | 0.063336 | 0.063336 | 0.99035 | -0.18529 | 0.98991 | -0.19386 | 17.4
37 | 0.010538 | 0.002641 | -0.010538 | -0.002641 | 3.7091e-08 | 1.8724e-08 | 0.015883 | 0.015883 | 0.015883 | 0.98727 | -0.24515 | 0.98726 | -0.24523 | 4.3633
38 | -0.014503 | -0.0036347 | 0.014504 | 0.0036353 | 1.0714e-06 | 6.0923e-07 | 0.021858 | 0.021858 | 0.021858 | 0.98727 | -0.24515 | 0.98735 | -0.2436 | 6.0051
39 | -0.017423 | -0.004367 | 0.017424 | 0.0043675 | 8.3723e-07 | 4.9442e-07 | 0.026259 | 0.026259 | 0.026259 | 0.98735 | -0.2436 | 0.9874 | -0.24259 | 7.2139
40 | -0.029234 | -0.0073273 | 0.029237 | 0.0073292 | 3.2027e-06 | 1.9935e-06 | 0.044056 | 0.044056 | 0.044056 | 0.9874 | -0.24259 | 0.98752 | -0.24029 | 12.1032
41 | -0.032152 | -0.0080597 | 0.032156 | 0.0080625 | 4.4905e-06 | 2.8086e-06 | 0.048447 | 0.048447 | 0.048447 | 0.98752 | -0.24029 | 0.98767 | -0.23736 | 13.3097
42 | -0.042451 | -0.010643 | 0.042453 | 0.010644 | 1.956e-06 | 1.2355e-06 | 0.063958 | 0.063958 | 0.063958 | 0.98767 | -0.23736 | 0.98772 | -0.2364 | 17.5709
43 | -0.28148 | -0.07137 | 0.2815 | 0.071384 | 2.133e-05 | 1.3613e-05 | 0.4194 | 0.4194 | 0.4194 | 0.99937 | -0.012013 | 0.99945 | -0.010436 | 38.4066
44 | -0.28641 | -0.072615 | 0.28656 | 0.072707 | 0.00014375 | 9.175e-05 | 0.42671 | 0.42671 | 0.42671 | 0.99945 | -0.010436 | 1 | 0 | 39.0763
45 | 0.13173 | 0.033143 | -0.13173 | -0.033143 | 3.0662e-07 | 1.9596e-07 | 0.19607 | 0.19607 | 0.19607 | 1 | 0 | 1 | -4.8715e-05 | 53.865
46 | 0.12685 | 0.03192 | -0.12673 | -0.031839 | 0.00012637 | 8.0754e-05 | 0.18881 | 0.18881 | 0.18881 | 1 | -4.8715e-05 | 0.99891 | -0.020919 | 51.8699
47 | 0.11157 | 0.028041 | -0.11157 | -0.028039 | 3.2885e-06 | 2.1005e-06 | 0.16624 | 0.16624 | 0.16624 | 0.9989 | -0.02111 | 0.99887 | -0.021727 | 45.6691
48 | -0.12192 | -0.030634 | 0.12192 | 0.030635 | 1.1118e-06 | 7.1038e-07 | 0.18165 | 0.18165 | 0.18165 | 0.9989 | -0.02111 | 0.99891 | -0.020919 | 49.9033
49 | 0.10738 | 0.026989 | -0.1073 | -0.026935 | 8.4383e-05 | 5.389e-05 | 0.16 | 0.16 | 0.16 | 0.99887 | -0.021727 | 0.99801 | -0.038201 | 43.9548
50 | 0.103 | 0.025858 | -0.10296 | -0.02583 | 4.2714e-05 | 2.7274e-05 | 0.15358 | 0.15358 | 0.15358 | 0.99801 | -0.038201 | 0.99756 | -0.046899 | 42.1934
51 | 0.07573 | 0.019007 | -0.075686 | -0.018979 | 4.4246e-05 | 2.8197e-05 | 0.11297 | 0.11297 | 0.11297 | 0.99756 | -0.046899 | 0.99692 | -0.059157 | 31.0364
52 | 0.050146 | 0.012578 | -0.050136 | -0.012572 | 9.5089e-06 | 6.0267e-06 | 0.074852 | 0.074852 | 0.074852 | 0.99692 | -0.059157 | 0.99672 | -0.063136 | 20.5637
53 | -0.045395 | -0.011381 | 0.045409 | 0.01139 | 1.3452e-05 | 8.5112e-06 | 0.068391 | 0.068391 | 0.068391 | 0.98772 | -0.2364 | 0.98804 | -0.23018 | 18.7887
54 | -0.04837 | -0.012132 | 0.048374 | 0.012135 | 4.5096e-06 | 2.8572e-06 | 0.072849 | 0.072849 | 0.072849 | 0.98804 | -0.23018 | 0.98814 | -0.22822 | 20.0136
55 | 0.038701 | 0.0097059 | -0.038692 | -0.0096998 | 9.587e-06 | 6.0359e-06 | 0.05778 | 0.05778 | 0.05778 | 0.99672 | -0.063136 | 0.99645 | -0.068335 | 15.8736
56 | 0.032475 | 0.0081418 | -0.032474 | -0.0081413 | 8.2816e-07 | 5.1779e-07 | 0.048496 | 0.048496 | 0.048496 | 0.99645 | -0.068335 | 0.99642 | -0.06887 | 13.3232

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42967 | 0.10829

## res_load
| p_mw | q_mvar
0 | 0.01338 | 0.0033533
1 | 0.0044148 | 0.0011064
2 | 0.0076052 | 0.001906
3 | 0.0077041 | 0.0019308
4 | 0.0041141 | 0.0010311
5 | 0.0070501 | 0.0017669
6 | 0.0039026 | 0.00097807
7 | 0.023025 | 0.0057705
8 | 0.0069937 | 0.0017528
9 | 0.012095 | 0.0030314
10 | 0.0076639 | 0.0019207
11 | 0.011467 | 0.0028738
12 | 0.013846 | 0.0034701
13 | 0.005308 | 0.0013303
14 | 0.014564 | 0.00365
15 | 0.0089077 | 0.0022325
16 | 0.0029649 | 0.00074308
17 | 0.0046393 | 0.0011627
18 | 0.006437 | 0.0016133
19 | 0.0076385 | 0.0019144
20 | 0.012 | 0.0030074
21 | 0.012545 | 0.003144
22 | 0.014696 | 0.0036832
23 | 0.007732 | 0.0019378
24 | 0.0039221 | 0.00098297
25 | 0.0032143 | 0.00080558
26 | 0.0047178 | 0.0011824
27 | 0.010414 | 0.00261
28 | 0.0051436 | 0.0012891
29 | 0.0039649 | 0.00099369
30 | 0.0029328 | 0.00073504
31 | 0.0029196 | 0.00073173
32 | 0.01181 | 0.0029597
33 | 0.0029147 | 0.00073048
34 | 0.010295 | 0.0025802
35 | 0.0076064 | 0.0019064
36 | 0.0049122 | 0.0012311
37 | 0.0097269 | 0.0024378
38 | 0.0048803 | 0.0012231
39 | 0.010346 | 0.0025931
40 | 0.0041886 | 0.0010498
41 | 0.0048055 | 0.0012044
42 | 0.0043003 | 0.0010777
43 | 0.027226 | 0.0068234
44 | 0.02554 | 0.0064009
45 | 0.0029422 | 0.0007374
46 | 0.0029606 | 0.00074199
47 | 0.010131 | 0.002539
48 | 0.011435 | 0.0028659
49 | 0.0062167 | 0.0015581
50 | 0.0052259 | 0.0013097

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1