## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-229_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-229_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2701-229_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2701-229_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-229_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-229_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2701-229_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2701-229_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2701-229_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2701-229_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2701-229_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2701-229_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2701-229_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_2701-229_0_4_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_2701-229_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2701-229_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2701-229_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_2701-229_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_2701-229_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_2701-229_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_2701-229_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2701-229_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2701-229_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_2701-229_0_4_node_6 | 0.4 | n |  | TRUE
24 | bus_LV_2701-229_0_4_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_2701-229_0_4_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_2701-229_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2701-229_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2701-229_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_2701-229_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2701-229_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2701-229_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2701-229_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_2701-229_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_2701-229_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2701-229_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_2701-229_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_2701-229_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2701-229_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2701-229_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_2701-229_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2701-229_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_2701-229_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2701-229_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2701-229_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2701-229_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2701-229_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_2701-229_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2701-229_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2701-229_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2701-229_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2701-229_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_2701-229_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2701-229_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_2701-229_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2701-229_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2701-229_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2701-229_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2701-229_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_2701-229_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_2701-229_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_2701-229_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_2701-229_0_4_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2701-229_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_MV_556_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-229_0_4_load_0 | 0 | 0.0035605 | 0.00089234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-229_0_4_load_1 | 1 | 0.0035647 | 0.0008934 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-229_0_4_load_2 | 2 | 0.0032057 | 0.00080342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-229_0_4_load_3 | 3 | 0.010658 | 0.0026711 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-229_0_4_load_4 | 4 | 0.003512 | 0.0008802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-229_0_4_load_26 | 6 | 0.0068536 | 0.0017177 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-229_0_4_load_13 | 8 | 0.008588 | 0.0021524 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-229_0_4_load_23 | 10 | 0.0087076 | 0.0021823 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-229_0_4_load_60 | 12 | 0.0055139 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-229_0_4_load_57 | 13 | 0.0033677 | 0.00084401 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-229_0_4_load_36 | 17 | 0.011391 | 0.0028548 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-229_0_4_load_39 | 18 | 0.0054402 | 0.0013634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-229_0_4_load_42 | 19 | 0.0051417 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-229_0_4_load_30 | 21 | 0.015788 | 0.0039567 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-229_0_4_load_10 | 22 | 0.0081611 | 0.0020454 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-229_0_4_load_6 | 23 | 0.0068759 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-229_0_4_load_7 | 24 | 0.0032738 | 0.00082048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-229_0_4_load_9 | 25 | 0.0080559 | 0.002019 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-229_0_4_load_19 | 26 | 0.0045679 | 0.0011448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-229_0_4_load_27 | 28 | 0.0087755 | 0.0021994 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-229_0_4_load_34 | 29 | 0.011616 | 0.0029112 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-229_0_4_load_21 | 31 | 0.041899 | 0.010501 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-229_0_4_load_35 | 32 | 0.0099191 | 0.002486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-229_0_4_load_63 | 33 | 0.0030782 | 0.00077146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-229_0_4_load_51 | 34 | 0.010806 | 0.0027081 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-229_0_4_load_68 | 35 | 0.0099139 | 0.0024847 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-229_0_4_load_24 | 36 | 0.0070629 | 0.0017701 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-229_0_4_load_28 | 37 | 0.02007 | 0.0050299 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-229_0_4_load_37 | 38 | 0.0090176 | 0.00226 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-229_0_4_load_41 | 39 | 0.0030015 | 0.00075225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-229_0_4_load_22 | 40 | 0.0070896 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-229_0_4_load_29 | 41 | 0.01914 | 0.0047969 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-229_0_4_load_31 | 42 | 0.013493 | 0.0033817 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-229_0_4_load_38 | 43 | 0.0060472 | 0.0015156 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-229_0_4_load_40 | 44 | 0.005245 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-229_0_4_load_43 | 45 | 0.0042719 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-229_0_4_load_44 | 46 | 0.0032804 | 0.00082214 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-229_0_4_load_64 | 47 | 0.0051071 | 0.00128 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-229_0_4_load_45 | 48 | 0.0073313 | 0.0018374 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-229_0_4_load_46 | 49 | 0.0055354 | 0.0013873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-229_0_4_load_47 | 50 | 0.0059642 | 0.0014948 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-229_0_4_load_49 | 52 | 0.0042912 | 0.0010755 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-229_0_4_load_55 | 53 | 0.0034764 | 0.00087128 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-229_0_4_load_52 | 54 | 0.0042682 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-229_0_4_load_50 | 55 | 0.005003 | 0.0012539 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-229_0_4_load_53 | 56 | 0.0044428 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-229_0_4_load_54 | 57 | 0.0032759 | 0.00082102 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-229_0_4_load_58 | 58 | 0.0053218 | 0.0013338 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-229_0_4_load_59 | 59 | 0.004445 | 0.001114 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-229_0_4_load_61 | 60 | 0.0053349 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-229_0_4_load_62 | 61 | 0.0052564 | 0.0013174 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-229_0_4_load_65 | 62 | 0.005101 | 0.0012784 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-229_0_4_load_66 | 63 | 0.0077347 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-229_0_4_line_0 |  | 0 | 1 | 0.00080552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-229_0_4_line_1 |  | 0 | 2 | 0.0090352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-229_0_4_line_2 |  | 1 | 3 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-229_0_4_line_3 |  | 2 | 4 | 0.00093833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-229_0_4_line_4 |  | 3 | 5 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-229_0_4_line_5 |  | 4 | 6 | 0.010446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-229_0_4_line_6 |  | 5 | 7 | 0.00869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2701-229_0_4_line_7 |  | 6 | 8 | 0.0095397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-229_0_4_line_8 |  | 7 | 9 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2701-229_0_4_line_9 |  | 7 | 10 | 0.024715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-229_0_4_line_10 |  | 9 | 35 | 0.001704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-229_0_4_line_11 |  | 9 | 20 | 0.005569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2701-229_0_4_line_12 |  | 10 | 36 | 0.0041203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-229_0_4_line_13 |  | 11 | 12 | 0.014149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-229_0_4_line_14 |  | 11 | 13 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-229_0_4_line_15 |  | 11 | 14 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-229_0_4_line_16 |  | 12 | 33 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-229_0_4_line_17 |  | 13 | 34 | 0.0006781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-229_0_4_line_18 |  | 14 | 22 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-229_0_4_line_19 |  | 15 | 16 | 0.006965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-229_0_4_line_20 |  | 15 | 17 | 0.011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2701-229_0_4_line_21 |  | 15 | 18 | 0.018706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-229_0_4_line_22 |  | 16 | 19 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-229_0_4_line_23 |  | 17 | 20 | 0.006799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2701-229_0_4_line_24 |  | 18 | 38 | 0.007106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-229_0_4_line_25 |  | 19 | 39 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-229_0_4_line_26 |  | 20 | 21 | 0.026248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-229_0_4_line_27 |  | 21 | 37 | 0.0058219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-229_0_4_line_28 |  | 23 | 24 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-229_0_4_line_29 |  | 24 | 25 | 0.012093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-229_0_4_line_30 |  | 25 | 26 | 0.0031679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-229_0_4_line_31 |  | 26 | 30 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-229_0_4_line_32 |  | 27 | 28 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-229_0_4_line_33 |  | 27 | 29 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-229_0_4_line_34 |  | 28 | 31 | 0.020148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-229_0_4_line_35 |  | 29 | 32 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-229_0_4_line_36 |  | 30 | 31 | 0.0062971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-229_0_4_line_37 |  | 30 | 40 | 0.01314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-229_0_4_line_38 |  | 33 | 47 | 0.0088842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-229_0_4_line_39 |  | 34 | 55 | 0.0071991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-229_0_4_line_40 |  | 36 | 40 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-229_0_4_line_41 |  | 37 | 41 | 0.015674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-229_0_4_line_42 |  | 38 | 43 | 0.0007758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-229_0_4_line_43 |  | 39 | 45 | 0.0086328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-229_0_4_line_44 |  | 41 | 42 | 0.0053345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-229_0_4_line_45 |  | 43 | 44 | 0.0078466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-229_0_4_line_46 |  | 45 | 46 | 0.009116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2701-229_0_4_line_47 |  | 46 | 47 | 0.0087104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-229_0_4_line_48 |  | 48 | 49 | 0.00289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2701-229_0_4_line_49 |  | 48 | 50 | 0.0091197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-229_0_4_line_50 |  | 49 | 51 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-229_0_4_line_51 |  | 50 | 52 | 0.0029876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-229_0_4_line_52 |  | 51 | 53 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-229_0_4_line_53 |  | 51 | 54 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-229_0_4_line_54 |  | 52 | 55 | 0.0078866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-229_0_4_line_55 |  | 54 | 56 | 0.0044322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-229_0_4_line_56 |  | 56 | 57 | 0.0035514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-229_0_4_line_57 |  | 57 | 58 | 0.0080257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2701-229_0_4_line_58 |  | 58 | 59 | 0.0010173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2701-229_0_4_line_59 |  | 59 | 60 | 0.0066801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2701-229_0_4_line_60 |  | 60 | 61 | 0.0080257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2701-229_0_4_line_61 |  | 61 | 62 | 0.0079562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2701-229_0_4_line_62 |  | 62 | 63 | 0.00921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-229_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 64 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2610449.6238 | 1268533.4384 | 2610450.2981 | 1268533.8791
1 | 2610450.2981 | 1268533.8791 | 2610457.8612 | 1268538.8222
2 | 2610449.6238 | 1268533.4384 | 2610435.75 | 1268524.3708
3 | 2610457.8612 | 1268538.8222 | 2610458.6466 | 1268539.3355
4 | 2610424.6459 | 1268517.1134 | 2610435.75 | 1268524.3708
5 | 2610467.3903 | 1268545.0502 | 2610458.6466 | 1268539.3355
6 | 2610417.7169 | 1268511.842 | 2610424.6459 | 1268517.1134
7 | 2610467.3903 | 1268545.0502 | 2610475.3758 | 1268550.2693
8 | 2610409.1352 | 1268504.8998 | 2610417.7169 | 1268511.842
9 | 2610417.7169 | 1268511.842 | 2610402.3341 | 1268531.1861
10 | 2610409.1352 | 1268504.8998 | 2610407.8051 | 1268503.8301
11 | 2610412.7547 | 1268500.6588 | 2610409.1352 | 1268504.8998
12 | 2610399.7696 | 1268534.411 | 2610402.3341 | 1268531.1861
13 | 2610500.2646 | 1268552.4713 | 2610488.4449 | 1268544.6938
14 | 2610500.2646 | 1268552.4713 | 2610509.7002 | 1268538.7389
15 | 2610493.5275 | 1268562.1329 | 2610496.2962 | 1268558.2462 | 2610500.2646 | 1268552.4713
16 | 2610488.4449 | 1268544.6938 | 2610479.3275 | 1268538.6944
17 | 2610510.0842 | 1268538.18 | 2610509.7002 | 1268538.7389
18 | 2610493.5275 | 1268562.1329 | 2610485.9703 | 1268573.5496
19 | 2610425.7094 | 1268502.8274 | 2610431.2556 | 1268507.0624
20 | 2610425.7094 | 1268502.8274 | 2610417.1661 | 1268495.4851
21 | 2610425.7094 | 1268502.8274 | 2610437.3614 | 1268488.1933
22 | 2610431.2556 | 1268507.0624 | 2610440.4166 | 1268513.0904
23 | 2610412.7547 | 1268500.6588 | 2610417.1661 | 1268495.4851
24 | 2610441.7877 | 1268482.6342 | 2610437.3614 | 1268488.1933
25 | 2610449.8026 | 1268519.2665 | 2610440.4166 | 1268513.0904
26 | 2610412.7547 | 1268500.6588 | 2610392.6392 | 1268483.7975
27 | 2610388.1774 | 1268480.0575 | 2610392.6392 | 1268483.7975
28 | 2610419.4928 | 1268582.8896 | 2610409.2953 | 1268576.4527
29 | 2610409.2953 | 1268576.4527 | 2610399.0694 | 1268569.9979
30 | 2610396.3906 | 1268568.3069 | 2610399.0694 | 1268569.9979
31 | 2610380.6941 | 1268558.3989 | 2610396.3906 | 1268568.3069
32 | 2610345.0945 | 1268604.7917 | 2610350.0531 | 1268596.4055 | 2610364.0966 | 1268578.9863
33 | 2610345.0945 | 1268604.7917 | 2610325.9654 | 1268588.8555
34 | 2610376.7419 | 1268563.3012 | 2610364.0966 | 1268578.9863
35 | 2610325.9654 | 1268588.8555 | 2610308.7512 | 1268574.5145
36 | 2610380.6941 | 1268558.3989 | 2610376.7419 | 1268563.3012
37 | 2610380.6941 | 1268558.3989 | 2610388.8724 | 1268548.1146
38 | 2610479.3275 | 1268538.6944 | 2610471.9059 | 1268533.8108
39 | 2610514.1611 | 1268532.2465 | 2610510.0842 | 1268538.18
40 | 2610399.7696 | 1268534.411 | 2610388.8724 | 1268548.1146
41 | 2610388.1774 | 1268480.0575 | 2610376.1651 | 1268469.9886
42 | 2610441.7877 | 1268482.6342 | 2610442.2709 | 1268482.0273
43 | 2610449.8026 | 1268519.2665 | 2610457.0142 | 1268524.0119
44 | 2610372.0768 | 1268466.5617 | 2610376.1651 | 1268469.9886
45 | 2610447.1585 | 1268475.8888 | 2610442.2709 | 1268482.0273
46 | 2610464.6294 | 1268529.0229 | 2610457.0142 | 1268524.0119
47 | 2610471.9059 | 1268533.8108 | 2610464.6294 | 1268529.0229
48 | 2610525.4838 | 1268515.7676 | 2610527.1204 | 1268513.3857
49 | 2610525.4838 | 1268515.7676 | 2610520.3193 | 1268523.284
50 | 2610534.4494 | 1268502.719 | 2610527.1204 | 1268513.3857
51 | 2610518.6273 | 1268525.7464 | 2610520.3193 | 1268523.284
52 | 2610534.4494 | 1268502.719 | 2610552.8658 | 1268514.2809
53 | 2610534.4494 | 1268502.719 | 2610516.0471 | 1268491.1184
54 | 2610518.6273 | 1268525.7464 | 2610514.1611 | 1268532.2465
55 | 2610516.0471 | 1268491.1184 | 2610512.2977 | 1268488.7548
56 | 2610509.2935 | 1268486.8609 | 2610512.2977 | 1268488.7548
57 | 2610509.2935 | 1268486.8609 | 2610502.5042 | 1268482.581
58 | 2610502.5042 | 1268482.581 | 2610501.6437 | 1268482.0385
59 | 2610501.6437 | 1268482.0385 | 2610495.9927 | 1268478.4762
60 | 2610495.9927 | 1268478.4762 | 2610489.2034 | 1268474.1963
61 | 2610489.2034 | 1268474.1963 | 2610482.4729 | 1268469.9535
62 | 2610482.4729 | 1268469.9535 | 2610474.6818 | 1268465.042

## bus_geodata
| x | y | coords
0 | 2610450.2981 | 1268533.8791
1 | 2610449.6238 | 1268533.4384
2 | 2610457.8612 | 1268538.8222
3 | 2610435.75 | 1268524.3708
4 | 2610458.6466 | 1268539.3355
5 | 2610424.6459 | 1268517.1134
6 | 2610467.3903 | 1268545.0502
7 | 2610417.7169 | 1268511.842
8 | 2610475.3758 | 1268550.2693
9 | 2610409.1352 | 1268504.8998
10 | 2610402.3341 | 1268531.1861
11 | 2610500.2646 | 1268552.4713
12 | 2610488.4449 | 1268544.6938
13 | 2610509.7002 | 1268538.7389
14 | 2610493.5275 | 1268562.1329
15 | 2610425.7094 | 1268502.8274
16 | 2610431.2556 | 1268507.0624
17 | 2610417.1661 | 1268495.4851
18 | 2610437.3614 | 1268488.1933
19 | 2610440.4166 | 1268513.0904
20 | 2610412.7547 | 1268500.6588
21 | 2610392.6392 | 1268483.7975
22 | 2610485.9703 | 1268573.5496
23 | 2610419.4928 | 1268582.8896
24 | 2610409.2953 | 1268576.4527
25 | 2610399.0694 | 1268569.9979
26 | 2610396.3906 | 1268568.3069
27 | 2610345.0945 | 1268604.7917
28 | 2610364.0966 | 1268578.9863
29 | 2610325.9654 | 1268588.8555
30 | 2610380.6941 | 1268558.3989
31 | 2610376.7419 | 1268563.3012
32 | 2610308.7512 | 1268574.5145
33 | 2610479.3275 | 1268538.6944
34 | 2610510.0842 | 1268538.18
35 | 2610407.8051 | 1268503.8301
36 | 2610399.7696 | 1268534.411
37 | 2610388.1774 | 1268480.0575
38 | 2610441.7877 | 1268482.6342
39 | 2610449.8026 | 1268519.2665
40 | 2610388.8724 | 1268548.1146
41 | 2610376.1651 | 1268469.9886
42 | 2610372.0768 | 1268466.5617
43 | 2610442.2709 | 1268482.0273
44 | 2610447.1585 | 1268475.8888
45 | 2610457.0142 | 1268524.0119
46 | 2610464.6295 | 1268529.0229
47 | 2610471.9059 | 1268533.8108
48 | 2610525.4838 | 1268515.7676
49 | 2610527.1204 | 1268513.3857
50 | 2610520.3193 | 1268523.284
51 | 2610534.4494 | 1268502.719
52 | 2610518.6273 | 1268525.7464
53 | 2610552.8658 | 1268514.2809
54 | 2610516.0471 | 1268491.1184
55 | 2610514.1611 | 1268532.2465
56 | 2610512.2977 | 1268488.7548
57 | 2610509.2935 | 1268486.8609
58 | 2610502.5042 | 1268482.581
59 | 2610501.6437 | 1268482.0385
60 | 2610495.9927 | 1268478.4762
61 | 2610489.2034 | 1268474.1963
62 | 2610482.4729 | 1268469.9535
63 | 2610474.6818 | 1268465.042
64 | 2610427.5282 | 1268512.7376

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99906 | -0.018074 | 0.0035605 | 0.00089234
1 | 0.99908 | -0.017712 | 0.0035647 | 0.0008934
2 | 0.99888 | -0.021571 | 0.0032057 | 0.00080342
3 | 0.99952 | -0.0092399 | 0.010658 | 0.0026711
4 | 0.99886 | -0.021881 | 0.003512 | 0.0008802
5 | 1 | 0 | -0.40645 | -0.10259
6 | 0.99872 | -0.0247 | 0.0068536 | 0.0017177
7 | 0.99904 | -0.01829 | 0 | 0
8 | 0.99864 | -0.026131 | 0.008588 | 0.0021524
9 | 0.99822 | -0.033956 | 0 | 0
10 | 0.99638 | -0.069289 | 0.0087076 | 0.0021823
11 | 0.98721 | -0.24534 | 0 | 0
12 | 0.9885 | -0.22029 | 0.0055139 | 0.0013819
13 | 0.98581 | -0.27248 | 0.0033677 | 0.00084401
14 | 0.98712 | -0.24706 | 0 | 0
15 | 0.99668 | -0.063371 | 0 | 0
16 | 0.99585 | -0.07909 | 0 | 0
17 | 0.99748 | -0.048137 | 0.011391 | 0.0028548
18 | 0.99624 | -0.071827 | 0.0054402 | 0.0013634
19 | 0.99455 | -0.10389 | 0.0051417 | 0.0012886
20 | 0.99782 | -0.041562 | 0 | 0
21 | 0.99618 | -0.073085 | 0.015788 | 0.0039567
22 | 0.98702 | -0.24906 | 0.0081611 | 0.0020454
23 | 0.99257 | -0.1428 | 0.0068759 | 0.0017233
24 | 0.99264 | -0.14133 | 0.0032738 | 0.00082048
25 | 0.99276 | -0.13916 | 0.0080559 | 0.002019
26 | 0.99281 | -0.13814 | 0.0045679 | 0.0011448
27 | 0.99159 | -0.16177 | 0 | 0
28 | 0.99222 | -0.14951 | 0.0087755 | 0.0021994
29 | 0.9911 | -0.17128 | 0.011616 | 0.0029112
30 | 0.9932 | -0.13067 | 0 | 0
31 | 0.99278 | -0.13871 | 0.041899 | 0.010501
32 | 0.9909 | -0.17522 | 0.0099191 | 0.002486
33 | 0.98956 | -0.19994 | 0.0030782 | 0.00077146
34 | 0.98576 | -0.27355 | 0.010806 | 0.0027081
35 | 0.9982 | -0.034252 | 0.0099139 | 0.0024847
36 | 0.99597 | -0.077187 | 0.0070629 | 0.0017701
37 | 0.9959 | -0.078475 | 0.02007 | 0.0050299
38 | 0.99611 | -0.074362 | 0.0090176 | 0.00226
39 | 0.99328 | -0.12835 | 0.0030015 | 0.00075225
40 | 0.99434 | -0.10864 | 0.0070896 | 0.0017768
41 | 0.99544 | -0.087468 | 0.01914 | 0.0047969
42 | 0.99537 | -0.088734 | 0.013493 | 0.0033817
43 | 0.9961 | -0.074515 | 0.0060472 | 0.0015156
44 | 0.99606 | -0.075238 | 0.005245 | 0.0013145
45 | 0.99232 | -0.14673 | 0.0042719 | 0.0010706
46 | 0.99134 | -0.16548 | 0.0032804 | 0.00082214
47 | 0.99044 | -0.18292 | 0.0051071 | 0.00128
48 | 0.98402 | -0.30736 | 0.0073313 | 0.0018374
49 | 0.98388 | -0.31018 | 0.0055354 | 0.0013873
50 | 0.98454 | -0.29726 | 0.0059642 | 0.0014948
51 | 0.9833 | -0.32152 | 0 | 0
52 | 0.98473 | -0.29364 | 0.0042912 | 0.0010755
53 | 0.98323 | -0.32289 | 0.0034764 | 0.00087128
54 | 0.98239 | -0.33926 | 0.0042682 | 0.0010697
55 | 0.98525 | -0.28347 | 0.005003 | 0.0012539
56 | 0.98222 | -0.34253 | 0.0044428 | 0.0011135
57 | 0.9821 | -0.34487 | 0.0032759 | 0.00082102
58 | 0.98185 | -0.34969 | 0.0053218 | 0.0013338
59 | 0.98183 | -0.3502 | 0.004445 | 0.001114
60 | 0.98168 | -0.35303 | 0.0053349 | 0.001337
61 | 0.98155 | -0.35566 | 0.0052564 | 0.0013174
62 | 0.98146 | -0.35751 | 0.005101 | 0.0012784
63 | 0.98139 | -0.35879 | 0.0077347 | 0.0019385
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025727 | -0.0064499 | 0.025727 | 0.0064501 | 4.4353e-07 | 2.7331e-07 | 0.038318 | 0.038318 | 0.038318 | 0.99906 | -0.018074 | 0.99908 | -0.017712 | 10.527
1 | 0.022166 | 0.0055575 | -0.022162 | -0.0055553 | 3.6932e-06 | 2.2453e-06 | 0.033015 | 0.033015 | 0.033015 | 0.99906 | -0.018074 | 0.99888 | -0.021571 | 9.0701
2 | -0.029292 | -0.0073435 | 0.029303 | 0.0073509 | 1.183e-05 | 7.354e-06 | 0.043627 | 0.043627 | 0.043627 | 0.99908 | -0.017712 | 0.99952 | -0.0092399 | 11.9856
3 | 0.018957 | 0.0047519 | -0.018956 | -0.0047517 | 2.8061e-07 | 1.6731e-07 | 0.02824 | 0.02824 | 0.02824 | 0.99888 | -0.021571 | 0.99886 | -0.021881 | 7.7582
4 | -0.039961 | -0.010022 | 0.039979 | 0.010033 | 1.7608e-05 | 1.1095e-05 | 0.059494 | 0.059494 | 0.059494 | 0.99952 | -0.0092399 | 1 | 0 | 16.3446
5 | 0.015444 | 0.0038715 | -0.015442 | -0.0038703 | 2.0736e-06 | 1.1904e-06 | 0.023008 | 0.023008 | 0.023008 | 0.99886 | -0.021881 | 0.99872 | -0.0247 | 6.3209
6 | 0.36482 | 0.092559 | -0.3645 | -0.092354 | 0.00032058 | 0.00020483 | 0.54325 | 0.54325 | 0.54325 | 1 | 0 | 0.99904 | -0.01829 | 49.7484
7 | 0.0085886 | 0.0021526 | -0.008588 | -0.0021524 | 5.858e-07 | 2.5009e-07 | 0.012796 | 0.012797 | 0.012797 | 0.99872 | -0.0247 | 0.99864 | -0.026131 | 3.5155
8 | 0.24599 | 0.062399 | -0.24581 | -0.062281 | 0.00018515 | 0.00011806 | 0.36665 | 0.36666 | 0.36666 | 0.99904 | -0.01829 | 0.99822 | -0.033956 | 33.5765
9 | 0.11851 | 0.029955 | -0.11822 | -0.029771 | 0.00028904 | 0.00018466 | 0.1766 | 0.1766 | 0.1766 | 0.99904 | -0.01829 | 0.99638 | -0.069289 | 48.5158
10 | 0.0099141 | 0.0024847 | -0.0099139 | -0.0024847 | 1.3956e-07 | 6.7045e-08 | 0.014779 | 0.014779 | 0.014779 | 0.99822 | -0.033956 | 0.9982 | -0.034252 | 4.0601
11 | 0.23589 | 0.059796 | -0.23581 | -0.059741 | 8.6192e-05 | 5.4945e-05 | 0.35188 | 0.35188 | 0.35188 | 0.99822 | -0.033956 | 0.99782 | -0.041562 | 32.2231
12 | 0.10951 | 0.027588 | -0.10947 | -0.027562 | 4.1351e-05 | 2.6411e-05 | 0.16359 | 0.16359 | 0.16359 | 0.99638 | -0.069289 | 0.99597 | -0.077187 | 44.9432
13 | -0.099452 | -0.025053 | 0.099571 | 0.025129 | 0.0001193 | 7.6171e-05 | 0.14995 | 0.14995 | 0.14995 | 0.98721 | -0.24534 | 0.9885 | -0.22029 | 41.1946
14 | 0.091289 | 0.023007 | -0.091171 | -0.022932 | 0.00011838 | 7.5549e-05 | 0.13764 | 0.13765 | 0.13765 | 0.98721 | -0.24534 | 0.98581 | -0.27248 | 37.8146
15 | 0.0081625 | 0.002046 | -0.0081619 | -0.0020457 | 6.6864e-07 | 2.7734e-07 | 0.012303 | 0.012303 | 0.012303 | 0.98721 | -0.24534 | 0.98712 | -0.24706 | 3.3801
16 | -0.10508 | -0.026511 | 0.10519 | 0.026577 | 0.0001025 | 6.5457e-05 | 0.15825 | 0.15825 | 0.15825 | 0.9885 | -0.22029 | 0.98956 | -0.19994 | 43.4749
17 | 0.087803 | 0.022088 | -0.087799 | -0.022085 | 4.4685e-06 | 2.8512e-06 | 0.13256 | 0.13256 | 0.13256 | 0.98581 | -0.27248 | 0.98576 | -0.27355 | 36.4181
18 | 0.0081619 | 0.0020457 | -0.0081611 | -0.0020454 | 7.772e-07 | 3.224e-07 | 0.012303 | 0.012304 | 0.012304 | 0.98712 | -0.24706 | 0.98702 | -0.24906 | 3.3801
19 | 0.12986 | 0.03307 | -0.12977 | -0.033007 | 9.837e-05 | 6.2866e-05 | 0.19407 | 0.19407 | 0.19407 | 0.99668 | -0.063371 | 0.99585 | -0.07909 | 53.3156
20 | -0.15563 | -0.039531 | 0.15574 | 0.039604 | 0.00011421 | 7.28e-05 | 0.23253 | 0.23253 | 0.23253 | 0.99668 | -0.063371 | 0.99748 | -0.048137 | 31.9415
21 | 0.025763 | 0.0064615 | -0.025753 | -0.0064551 | 1.0379e-05 | 6.3989e-06 | 0.038465 | 0.038465 | 0.038465 | 0.99668 | -0.063371 | 0.99624 | -0.071827 | 10.5674
22 | 0.12977 | 0.033007 | -0.12961 | -0.032908 | 0.00015488 | 9.8983e-05 | 0.19407 | 0.19407 | 0.19407 | 0.99585 | -0.07909 | 0.99455 | -0.10389 | 53.3156
23 | -0.16713 | -0.042459 | 0.16718 | 0.042493 | 5.2916e-05 | 3.36e-05 | 0.24953 | 0.24953 | 0.24953 | 0.99748 | -0.048137 | 0.99782 | -0.041562 | 22.8504
24 | 0.020313 | 0.0050916 | -0.02031 | -0.0050902 | 2.4529e-06 | 1.4773e-06 | 0.03034 | 0.03034 | 0.03034 | 0.99624 | -0.071827 | 0.99611 | -0.074362 | 8.3351
25 | 0.12447 | 0.031619 | -0.12432 | -0.031526 | 0.00014636 | 9.3523e-05 | 0.18638 | 0.18638 | 0.18638 | 0.99455 | -0.10389 | 0.99328 | -0.12835 | 51.2022
26 | 0.068621 | 0.017249 | -0.068518 | -0.017183 | 0.00010311 | 6.5648e-05 | 0.10235 | 0.10235 | 0.10235 | 0.99782 | -0.041562 | 0.99618 | -0.073085 | 28.1183
27 | 0.052731 | 0.013226 | -0.052717 | -0.013218 | 1.3546e-05 | 8.5934e-06 | 0.078769 | 0.078769 | 0.078769 | 0.99618 | -0.073085 | 0.9959 | -0.078475 | 21.6397
28 | -0.0068759 | -0.0017233 | 0.0068764 | 0.0017234 | 4.805e-07 | 1.5164e-07 | 0.010308 | 0.010308 | 0.010308 | 0.99257 | -0.1428 | 0.99264 | -0.14133 | 2.8319
29 | -0.01015 | -0.0025439 | 0.010151 | 0.0025444 | 1.0498e-06 | 5.1556e-07 | 0.015215 | 0.015215 | 0.015215 | 0.99264 | -0.14133 | 0.99276 | -0.13916 | 4.1801
30 | -0.018207 | -0.0045634 | 0.018208 | 0.0045639 | 8.8473e-07 | 5.2527e-07 | 0.02729 | 0.02729 | 0.02729 | 0.99276 | -0.13916 | 0.99281 | -0.13814 | 7.4973
31 | -0.022776 | -0.0057088 | 0.022784 | 0.0057137 | 8.1114e-06 | 4.9512e-06 | 0.034137 | 0.034136 | 0.034137 | 0.99281 | -0.13814 | 0.9932 | -0.13067 | 9.3782
32 | -0.021547 | -0.005404 | 0.021559 | 0.0054117 | 1.2593e-05 | 7.6448e-06 | 0.032335 | 0.032335 | 0.032335 | 0.99159 | -0.16177 | 0.99222 | -0.14951 | 8.8833
33 | 0.021547 | 0.005404 | -0.021537 | -0.0053981 | 9.7619e-06 | 5.9266e-06 | 0.032335 | 0.032335 | 0.032335 | 0.99159 | -0.16177 | 0.9911 | -0.17128 | 8.8833
34 | -0.030335 | -0.007611 | 0.03035 | 0.0076208 | 1.5638e-05 | 9.7481e-06 | 0.045495 | 0.045495 | 0.045495 | 0.99222 | -0.14951 | 0.99278 | -0.13871 | 12.4987
35 | 0.009921 | 0.0024869 | -0.0099191 | -0.002486 | 1.8642e-06 | 9.0439e-07 | 0.014895 | 0.014895 | 0.014895 | 0.9911 | -0.17128 | 0.9909 | -0.17522 | 4.0922
36 | 0.072277 | 0.018139 | -0.072249 | -0.018122 | 2.7694e-05 | 1.7643e-05 | 0.1083 | 0.1083 | 0.1083 | 0.9932 | -0.13067 | 0.99278 | -0.13871 | 29.7514
37 | -0.095061 | -0.023853 | 0.095161 | 0.023917 | 9.996e-05 | 6.3804e-05 | 0.14243 | 0.14243 | 0.14243 | 0.9932 | -0.13067 | 0.99434 | -0.10864 | 39.1296
38 | -0.10827 | -0.027348 | 0.10835 | 0.027405 | 8.8383e-05 | 5.6451e-05 | 0.16288 | 0.16288 | 0.16288 | 0.98956 | -0.19994 | 0.99044 | -0.18292 | 44.7465
39 | 0.076993 | 0.019377 | -0.076956 | -0.019353 | 3.6484e-05 | 2.3258e-05 | 0.11625 | 0.11625 | 0.11625 | 0.98576 | -0.27355 | 0.98525 | -0.28347 | 31.937
40 | 0.1024 | 0.025792 | -0.10225 | -0.025694 | 0.00015378 | 9.8189e-05 | 0.15304 | 0.15304 | 0.15304 | 0.99597 | -0.077187 | 0.99434 | -0.10864 | 42.0443
41 | 0.032648 | 0.0081878 | -0.032634 | -0.008179 | 1.3987e-05 | 8.7481e-06 | 0.048782 | 0.048782 | 0.048782 | 0.9959 | -0.078475 | 0.99544 | -0.087468 | 13.4017
42 | 0.011292 | 0.0028301 | -0.011292 | -0.0028301 | 8.2787e-08 | 4.2885e-08 | 0.016869 | 0.016869 | 0.016869 | 0.99611 | -0.074362 | 0.9961 | -0.074515 | 4.6343
43 | 0.12132 | 0.030774 | -0.12121 | -0.030705 | 0.00010709 | 6.8426e-05 | 0.18188 | 0.18188 | 0.18188 | 0.99328 | -0.12835 | 0.99232 | -0.14673 | 49.9669
44 | 0.013494 | 0.0033821 | -0.013493 | -0.0033817 | 8.1395e-07 | 4.5158e-07 | 0.020171 | 0.020171 | 0.020171 | 0.99544 | -0.087468 | 0.99537 | -0.088734 | 5.5416
45 | 0.0052452 | 0.0013145 | -0.005245 | -0.0013145 | 1.8065e-07 | 1.348e-08 | 0.0078354 | 0.0078355 | 0.0078355 | 0.9961 | -0.074515 | 0.99606 | -0.075238 | 2.1526
46 | 0.11694 | 0.029635 | -0.11684 | -0.029567 | 0.00010526 | 6.7248e-05 | 0.17547 | 0.17547 | 0.17547 | 0.99232 | -0.14673 | 0.99134 | -0.16548 | 48.2071
47 | 0.11356 | 0.028745 | -0.11346 | -0.028685 | 9.5011e-05 | 6.0695e-05 | 0.17055 | 0.17055 | 0.17055 | 0.99134 | -0.16548 | 0.99044 | -0.18292 | 46.8544
48 | 0.05429 | 0.013643 | -0.054283 | -0.013639 | 7.3066e-06 | 4.6395e-06 | 0.08211 | 0.08211 | 0.08211 | 0.98402 | -0.30736 | 0.98388 | -0.31018 | 22.5577
49 | -0.061622 | -0.015481 | 0.061651 | 0.0155 | 2.9703e-05 | 1.8894e-05 | 0.093196 | 0.093196 | 0.093196 | 0.98402 | -0.30736 | 0.98454 | -0.29726 | 25.6033
50 | 0.048748 | 0.012251 | -0.048721 | -0.012235 | 2.6388e-05 | 1.6724e-05 | 0.073738 | 0.073738 | 0.073738 | 0.98388 | -0.31018 | 0.9833 | -0.32152 | 20.2578
51 | -0.067616 | -0.016994 | 0.067627 | 0.017002 | 1.1704e-05 | 7.4528e-06 | 0.10221 | 0.10221 | 0.10221 | 0.98454 | -0.29726 | 0.98473 | -0.29364 | 28.0798
52 | 0.0034767 | 0.00087114 | -0.0034764 | -0.00087128 | 2.2571e-07 | -1.3135e-07 | 0.0052611 | 0.0052612 | 0.0052612 | 0.9833 | -0.32152 | 0.98323 | -0.32289 | 1.4454
53 | 0.045245 | 0.011363 | -0.045206 | -0.011339 | 3.8252e-05 | 2.4206e-05 | 0.068477 | 0.068477 | 0.068477 | 0.9833 | -0.32152 | 0.98239 | -0.33926 | 18.8124
54 | -0.071919 | -0.018077 | 0.071953 | 0.018099 | 3.4941e-05 | 2.2262e-05 | 0.10869 | 0.10869 | 0.10869 | 0.98473 | -0.29364 | 0.98525 | -0.28347 | 29.8612
55 | 0.040938 | 0.01027 | -0.040932 | -0.010265 | 6.3915e-06 | 4.0345e-06 | 0.062012 | 0.062012 | 0.062012 | 0.98239 | -0.33926 | 0.98222 | -0.34253 | 17.0363
56 | 0.036489 | 0.009152 | -0.036485 | -0.0091494 | 4.0699e-06 | 2.5598e-06 | 0.055282 | 0.055282 | 0.055282 | 0.98222 | -0.34253 | 0.9821 | -0.34487 | 15.1873
57 | 0.033209 | 0.0083284 | -0.033201 | -0.0083237 | 7.6202e-06 | 4.7754e-06 | 0.050318 | 0.050318 | 0.050318 | 0.9821 | -0.34487 | 0.98185 | -0.34969 | 13.8237
58 | 0.02788 | 0.0069899 | -0.027879 | -0.0069895 | 6.8106e-07 | 4.2301e-07 | 0.042253 | 0.042253 | 0.042253 | 0.98185 | -0.34969 | 0.98183 | -0.3502 | 11.6079
59 | 0.023434 | 0.0058754 | -0.023431 | -0.0058735 | 3.1599e-06 | 1.9379e-06 | 0.035516 | 0.035516 | 0.035516 | 0.98183 | -0.3502 | 0.98168 | -0.35303 | 9.7572
60 | 0.018096 | 0.0045365 | -0.018094 | -0.0045351 | 2.2644e-06 | 1.3478e-06 | 0.02743 | 0.02743 | 0.02743 | 0.98168 | -0.35303 | 0.98155 | -0.35566 | 7.5357
61 | 0.012837 | 0.0032177 | -0.012836 | -0.0032171 | 1.13e-06 | 6.2265e-07 | 0.019461 | 0.019461 | 0.019461 | 0.98155 | -0.35566 | 0.98146 | -0.35751 | 5.3465
62 | 0.0077352 | 0.0019387 | -0.0077347 | -0.0019385 | 4.7502e-07 | 1.8763e-07 | 0.011728 | 0.011728 | 0.011728 | 0.98146 | -0.35751 | 0.98139 | -0.35879 | 3.2219

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40645 | 0.10259

## res_load
| p_mw | q_mvar
0 | 0.0035605 | 0.00089234
1 | 0.0035647 | 0.0008934
2 | 0.0032057 | 0.00080342
3 | 0.010658 | 0.0026711
4 | 0.003512 | 0.0008802
5 | 0.0068536 | 0.0017177
6 | 0.008588 | 0.0021524
7 | 0.0087076 | 0.0021823
8 | 0.0055139 | 0.0013819
9 | 0.0033677 | 0.00084401
10 | 0.011391 | 0.0028548
11 | 0.0054402 | 0.0013634
12 | 0.0051417 | 0.0012886
13 | 0.015788 | 0.0039567
14 | 0.0081611 | 0.0020454
15 | 0.0068759 | 0.0017233
16 | 0.0032738 | 0.00082048
17 | 0.0080559 | 0.002019
18 | 0.0045679 | 0.0011448
19 | 0.0087755 | 0.0021994
20 | 0.011616 | 0.0029112
21 | 0.041899 | 0.010501
22 | 0.0099191 | 0.002486
23 | 0.0030782 | 0.00077146
24 | 0.010806 | 0.0027081
25 | 0.0099139 | 0.0024847
26 | 0.0070629 | 0.0017701
27 | 0.02007 | 0.0050299
28 | 0.0090176 | 0.00226
29 | 0.0030015 | 0.00075225
30 | 0.0070896 | 0.0017768
31 | 0.01914 | 0.0047969
32 | 0.013493 | 0.0033817
33 | 0.0060472 | 0.0015156
34 | 0.005245 | 0.0013145
35 | 0.0042719 | 0.0010706
36 | 0.0032804 | 0.00082214
37 | 0.0051071 | 0.00128
38 | 0.0073313 | 0.0018374
39 | 0.0055354 | 0.0013873
40 | 0.0059642 | 0.0014948
41 | 0.0042912 | 0.0010755
42 | 0.0034764 | 0.00087128
43 | 0.0042682 | 0.0010697
44 | 0.005003 | 0.0012539
45 | 0.0044428 | 0.0011135
46 | 0.0032759 | 0.00082102
47 | 0.0053218 | 0.0013338
48 | 0.004445 | 0.001114
49 | 0.0053349 | 0.001337
50 | 0.0052564 | 0.0013174
51 | 0.005101 | 0.0012784
52 | 0.0077347 | 0.0019385

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1