## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-236_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-236_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-236_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2701-236_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2701-236_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2701-236_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2701-236_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2701-236_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2701-236_0_5_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_2701-236_0_5_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_2701-236_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2701-236_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2701-236_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2701-236_0_5_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_2701-236_0_5_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_2701-236_0_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_2701-236_0_5_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_2701-236_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2701-236_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2701-236_0_5_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_2701-236_0_5_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2701-236_0_5_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_2701-236_0_5_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_2701-236_0_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_2701-236_0_5_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_2701-236_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2701-236_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2701-236_0_5_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2701-236_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2701-236_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2701-236_0_5_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_2701-236_0_5_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_2701-236_0_5_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_2701-236_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_2701-236_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2701-236_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_2701-236_0_5_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_2701-236_0_5_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_2701-236_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2701-236_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_2701-236_0_5_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_2701-236_0_5_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_2701-236_0_5_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_2701-236_0_5_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_2701-236_0_5_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_2701-236_0_5_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_2701-236_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_2701-236_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2701-236_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2701-236_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2701-236_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2701-236_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2701-236_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2701-236_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2701-236_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_2701-236_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2701-236_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_2701-236_0_5_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2701-236_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2701-236_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_2701-236_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_2701-236_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2701-236_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2701-236_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2701-236_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_2701-236_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_2701-236_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_2701-236_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2701-236_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2701-236_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_MV_561_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-236_0_5_load_0 | 0 | 0.0048081 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-236_0_5_load_3 | 3 | 0.0009789 | 0.00024534 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-236_0_5_load_16 | 6 | 0.0076579 | 0.0019192 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-236_0_5_load_17 | 7 | 0.0037549 | 0.00094107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-236_0_5_load_58 | 8 | 0.0022901 | 0.00057396 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-236_0_5_load_57 | 9 | 0.0043963 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-236_0_5_load_68 | 13 | 0.0021924 | 0.00054947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-236_0_5_load_64 | 14 | 0.0032043 | 0.00080307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-236_0_5_load_21 | 15 | 0.0039705 | 0.0009951 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-236_0_5_load_38 | 16 | 0.0080201 | 0.00201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-236_0_5_load_56 | 19 | 0.0038876 | 0.00097432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-236_0_5_load_36 | 20 | 0.0056346 | 0.0014122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-236_0_5_load_41 | 21 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-236_0_5_load_59 | 22 | 0.0010812 | 0.00027099 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-236_0_5_load_66 | 23 | 0.0038804 | 0.00097252 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-236_0_5_load_63 | 24 | 0.0031677 | 0.0007939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-236_0_5_load_22 | 26 | 0.0031909 | 0.00079972 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-236_0_5_load_23 | 27 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-236_0_5_load_18 | 28 | 0.003072 | 0.00076992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-236_0_5_load_19 | 29 | 0.0043982 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-236_0_5_load_37 | 30 | 0.0093887 | 0.002353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-236_0_5_load_78 | 31 | 0.00072716 | 0.00018224 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-236_0_5_load_61 | 32 | 0.00072867 | 0.00018262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-236_0_5_load_49 | 33 | 0.0034264 | 0.00085875 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-236_0_5_load_50 | 34 | 0.0046809 | 0.0011731 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-236_0_5_load_39 | 35 | 0.0065497 | 0.0016415 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-236_0_5_load_60 | 36 | 0.0011092 | 0.000278 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-236_0_5_load_65 | 37 | 0.002179 | 0.00054611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-236_0_5_load_30 | 38 | 0.0049728 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-236_0_5_load_28 | 39 | 0.0024546 | 0.00061517 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-236_0_5_load_77 | 42 | 0.071319 | 0.017874 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-236_0_5_load_70 | 44 | 0.076044 | 0.019058 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2701-236_0_5_load_76 | 46 | 0.084228 | 0.02111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2701-236_0_5_load_26 | 47 | 0.0053016 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2701-236_0_5_load_27 | 48 | 0.0036521 | 0.0009153 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2701-236_0_5_load_29 | 49 | 0.0052853 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2701-236_0_5_load_35 | 50 | 0.019703 | 0.0049381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2701-236_0_5_load_34 | 51 | 0.0034692 | 0.00086946 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2701-236_0_5_load_31 | 52 | 0.01282 | 0.0032131 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2701-236_0_5_load_32 | 53 | 0.0077346 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2701-236_0_5_load_40 | 54 | 0.0072741 | 0.0018231 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2701-236_0_5_load_42 | 55 | 0.0051061 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2701-236_0_5_load_62 | 57 | 0.0048651 | 0.0012193 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2701-236_0_5_load_51 | 58 | 0.0058869 | 0.0014754 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2701-236_0_5_load_69 | 60 | 0.076314 | 0.019126 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2701-236_0_5_load_67 | 61 | 0.0012051 | 0.00030202 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2701-236_0_5_load_45 | 62 | 0.0050673 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2701-236_0_5_load_44 | 63 | 0.0020408 | 0.00051146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2701-236_0_5_load_46 | 64 | 0.0007141 | 0.00017897 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2701-236_0_5_load_52 | 65 | 0.0035194 | 0.00088204 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2701-236_0_5_load_53 | 66 | 0.0038277 | 0.00095931 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2701-236_0_5_load_54 | 67 | 0.0046814 | 0.0011733 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2701-236_0_5_load_55 | 68 | 0.0033942 | 0.00085067 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2701-236_0_5_load_71 | 69 | 0.035036 | 0.0087808 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-236_0_5_line_0 |  | 0 | 1 | 0.010119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-236_0_5_line_1 |  | 1 | 5 | 0.007352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2701-236_0_5_line_2 |  | 1 | 6 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2701-236_0_5_line_3 |  | 1 | 7 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2701-236_0_5_line_4 |  | 2 | 3 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-236_0_5_line_5 |  | 2 | 4 | 0.027283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-236_0_5_line_6 |  | 4 | 8 | 0.0088385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-236_0_5_line_7 |  | 4 | 9 | 0.024058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-236_0_5_line_8 |  | 5 | 21 | 0.0026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-236_0_5_line_9 |  | 5 | 9 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-236_0_5_line_10 |  | 6 | 22 | 0.015074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-236_0_5_line_11 |  | 7 | 23 | 0.0094548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-236_0_5_line_12 |  | 8 | 10 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-236_0_5_line_13 |  | 10 | 11 | 0.039083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-236_0_5_line_14 |  | 11 | 15 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-236_0_5_line_15 |  | 11 | 16 | 0.020129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-236_0_5_line_16 |  | 12 | 13 | 0.0061696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-236_0_5_line_17 |  | 12 | 14 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-236_0_5_line_18 |  | 13 | 18 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-236_0_5_line_19 |  | 14 | 24 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-236_0_5_line_20 |  | 15 | 29 | 0.0095056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-236_0_5_line_21 |  | 16 | 30 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-236_0_5_line_22 |  | 17 | 18 | 0.034065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-236_0_5_line_23 |  | 17 | 19 | 0.040974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-236_0_5_line_24 |  | 18 | 20 | 0.023038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-236_0_5_line_25 |  | 20 | 30 | 0.00033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-236_0_5_line_26 |  | 21 | 35 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-236_0_5_line_27 |  | 22 | 36 | 0.0061834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-236_0_5_line_28 |  | 23 | 37 | 0.0095156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2701-236_0_5_line_29 |  | 25 | 26 | 0.021609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-236_0_5_line_30 |  | 25 | 27 | 0.017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-236_0_5_line_31 |  | 25 | 28 | 0.019476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-236_0_5_line_32 |  | 27 | 38 | 0.0013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-236_0_5_line_33 |  | 28 | 29 | 0.009263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-236_0_5_line_34 |  | 31 | 32 | 0.0060027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-236_0_5_line_35 |  | 32 | 36 | 0.0072823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-236_0_5_line_36 |  | 33 | 34 | 0.0090135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-236_0_5_line_37 |  | 34 | 58 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-236_0_5_line_38 |  | 35 | 54 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-236_0_5_line_39 |  | 37 | 61 | 0.0099114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_2701-236_0_5_line_40 |  | 38 | 39 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-236_0_5_line_41 |  | 39 | 47 | 0.0024566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-236_0_5_line_42 |  | 40 | 41 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-236_0_5_line_43 |  | 40 | 42 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-236_0_5_line_44 |  | 41 | 43 | 0.012452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-236_0_5_line_45 |  | 41 | 44 | 0.077071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_2701-236_0_5_line_46 |  | 41 | 45 | 0.44606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2701-236_0_5_line_47 |  | 43 | 46 | 0.032031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2701-236_0_5_line_48 |  | 44 | 60 | 0.010387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2701-236_0_5_line_49 |  | 45 | 69 | 0.036976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2701-236_0_5_line_50 |  | 47 | 48 | 0.0060726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2701-236_0_5_line_51 |  | 48 | 49 | 0.0071931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2701-236_0_5_line_52 |  | 49 | 50 | 0.013421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2701-236_0_5_line_53 |  | 50 | 51 | 0.0021692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2701-236_0_5_line_54 |  | 51 | 53 | 0.00021604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2701-236_0_5_line_55 |  | 52 | 53 | 0.013049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2701-236_0_5_line_56 |  | 54 | 55 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2701-236_0_5_line_57 |  | 56 | 57 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_2701-236_0_5_line_58 |  | 56 | 58 | 0.030341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_2701-236_0_5_line_59 |  | 56 | 59 | 0.006794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_2701-236_0_5_line_60 |  | 57 | 60 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_2701-236_0_5_line_61 |  | 59 | 61 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_2701-236_0_5_line_62 |  | 59 | 62 | 0.016133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2701-236_0_5_line_63 |  | 62 | 63 | 0.0036473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2701-236_0_5_line_64 |  | 63 | 64 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2701-236_0_5_line_65 |  | 65 | 66 | 0.03867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2701-236_0_5_line_66 |  | 65 | 67 | 0.027001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2701-236_0_5_line_67 |  | 67 | 68 | 0.046274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2701-236_0_5_line_68 |  | 68 | 69 | 0.019243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-236_0_5_trafo_51 | 0.63 MVA 20/0.4 kV | 70 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2611818.4776 | 1268974.0215 | 2611809.4677 | 1268969.4159
1 | 2611818.6578 | 1268966.6723 | 2611818.4776 | 1268974.0215
2 | 2611818.4776 | 1268974.0215 | 2611817.921 | 1268996.3615
3 | 2611818.4776 | 1268974.0215 | 2611837.7064 | 1268984.9404
4 | 2611774.5174 | 1268959.4573 | 2611773.7157 | 1268973.4962
5 | 2611774.5174 | 1268959.4573 | 2611775.4605 | 1268943.0142 | 2611785.0068 | 1268948.0923
6 | 2611785.0068 | 1268948.0923 | 2611789.1735 | 1268941.4737 | 2611789.1575 | 1268940.4563
7 | 2611785.0068 | 1268948.0923 | 2611806.0678 | 1268959.7209
8 | 2611818.6578 | 1268966.6723 | 2611820.958 | 1268967.9992
9 | 2611818.6578 | 1268966.6723 | 2611806.0678 | 1268959.7209
10 | 2611817.5456 | 1269011.4306 | 2611817.921 | 1268996.3615
11 | 2611845.9281 | 1268989.609 | 2611837.7064 | 1268984.9404
12 | 2611788.7725 | 1268916.0661 | 2611789.1575 | 1268940.4563
13 | 2611777.1421 | 1268888.0899 | 2611777.4554 | 1268893.2609 | 2611777.58 | 1268894.929 | 2611782.0749 | 1268893.6147 | 2611785.2226 | 1268892.4535 | 2611785.7239 | 1268893.8555 | 2611788.5451 | 1268901.7333 | 2611788.7725 | 1268916.0661
14 | 2611777.1421 | 1268888.0899 | 2611776.563 | 1268880.3389 | 2611775.6025 | 1268866.1192
15 | 2611777.1421 | 1268888.0899 | 2611757.8471 | 1268893.8227
16 | 2611723.4623 | 1268940.4985 | 2611719.7827 | 1268940.5246 | 2611719.7561 | 1268938.0348
17 | 2611723.4623 | 1268940.4985 | 2611723.6612 | 1268952.3916
18 | 2611719.4906 | 1268913.1492 | 2611719.7561 | 1268938.0348
19 | 2611723.9948 | 1268972.1128 | 2611723.9872 | 1268971.8883 | 2611723.6612 | 1268952.3916
20 | 2611775.6025 | 1268866.1192 | 2611774.9618 | 1268856.6352
21 | 2611757.8471 | 1268893.8227 | 2611731.822 | 1268893.4846
22 | 2611719.4906 | 1268913.1492 | 2611685.3272 | 1268913.7156
23 | 2611685.3272 | 1268913.7156 | 2611675.3866 | 1268936.8902 | 2611675.6215 | 1268952.6458
24 | 2611719.4906 | 1268913.1492 | 2611731.4857 | 1268893.4802
25 | 2611731.4857 | 1268893.4802 | 2611731.822 | 1268893.4846
26 | 2611833.4428 | 1268975.2017 | 2611820.958 | 1268967.9992
27 | 2611817.5456 | 1269011.4306 | 2611817.3916 | 1269017.6121
28 | 2611854.2027 | 1268994.3077 | 2611845.9281 | 1268989.609
29 | 2611773.0249 | 1268827.9616 | 2611771.1856 | 1268806.4312
30 | 2611773.0249 | 1268827.9616 | 2611755.4513 | 1268827.9318
31 | 2611773.0249 | 1268827.9616 | 2611774.3375 | 1268847.3933
32 | 2611755.4513 | 1268827.9318 | 2611754.0923 | 1268827.9295
33 | 2611774.3375 | 1268847.3933 | 2611774.9618 | 1268856.6352
34 | 2611817.2102 | 1269024.8922 | 2611817.0607 | 1269030.893
35 | 2611817.2102 | 1269024.8922 | 2611817.3916 | 1269017.6121
36 | 2611874.5755 | 1268943.945 | 2611875.2605 | 1268952.9325
37 | 2611875.2605 | 1268952.9325 | 2611876.5854 | 1268970.3153
38 | 2611833.4428 | 1268975.2017 | 2611843.1325 | 1268980.7916
39 | 2611854.2027 | 1268994.3077 | 2611862.8215 | 1268999.2018
40 | 2611754.0923 | 1268827.9295 | 2611740.7091 | 1268827.9069
41 | 2611740.7091 | 1268827.9069 | 2611738.2525 | 1268827.9027
42 | 2611980.3811 | 1269039.6032 | 2611982.6253 | 1269046.1457 | 2611983.5447 | 1269049.1719
43 | 2611983.5447 | 1269049.1719 | 2611973.7599 | 1269050.5754 | 2611962.9565 | 1269050.8716
44 | 2611980.3811 | 1269039.6032 | 2611978.3454 | 1269034.1731 | 2611976.2889 | 1269027.8423
45 | 2611980.3811 | 1269039.6032 | 2611970.7768 | 1269041.0405 | 2611960.7599 | 1269041.9209 | 2611955.0577 | 1269041.2089 | 2611950.5222 | 1269040.3214 | 2611909.2697 | 1269017.9324
46 | 2611980.3811 | 1269039.6032 | 2611991.6038 | 1269037.8358 | 2611993.7478 | 1269049.2481 | 2611995.3231 | 1269059.1027 | 2612005.0499 | 1269130.9953 | 2612006.9787 | 1269144.62 | 2612011.8006 | 1269178.676 | 2612016.4911 | 1269184.7231 | 2612019.4698 | 1269188.9543 | 2612025.2564 | 1269192.4574 | 2612030.965 | 1269193.6809 | 2612037.4756 | 1269192.6823 | 2612042.454 | 1269190.2796 | 2612046.9161 | 1269186.5415 | 2612050.0019 | 1269182.4449 | 2612051.2082 | 1269177.555 | 2612051.4826 | 1269172.1184 | 2612050.9571 | 1269167.7921 | 2612049.5827 | 1269162.8302 | 2612037.7301 | 1269148.8074 | 2612028.6263 | 1269133.5893 | 2612023.945 | 1269122.9612 | 2612019.7272 | 1269110.1214 | 2612017.6503 | 1269099.0649 | 2612016.8373 | 1269088.0778 | 2612017.9069 | 1269050.3644 | 2612017.1238 | 1269035.7859 | 2612015.011 | 1269020.1261 | 2612006.7378 | 1268992.1563 | 2611985.6018 | 1268954.5538
47 | 2611976.2889 | 1269027.8423 | 2611972.6596 | 1268996.0175
48 | 2611900.1409 | 1269012.9779 | 2611909.2697 | 1269017.9324
49 | 2611985.6018 | 1268954.5538 | 2611968.143 | 1268944.1223 | 2611952.7628 | 1268937.7746
50 | 2611738.2525 | 1268827.9027 | 2611732.1799 | 1268827.8924
51 | 2611724.9868 | 1268827.8802 | 2611732.1799 | 1268827.8924
52 | 2611711.5658 | 1268827.8575 | 2611724.9868 | 1268827.8802
53 | 2611711.5658 | 1268827.8575 | 2611709.3966 | 1268827.8538
54 | 2611709.1805 | 1268827.8535 | 2611709.3966 | 1268827.8538
55 | 2611696.1315 | 1268827.8313 | 2611709.1805 | 1268827.8535
56 | 2611843.1325 | 1268980.7916 | 2611855.3301 | 1268987.8283
57 | 2611877.2147 | 1269000.5352 | 2611889.0683 | 1269006.9685
58 | 2611877.2147 | 1269000.5352 | 2611878.2253 | 1268991.831 | 2611876.5854 | 1268970.3153
59 | 2611877.1333 | 1269007.3287 | 2611877.2147 | 1269000.5352
60 | 2611889.0683 | 1269006.9685 | 2611900.1409 | 1269012.9779
61 | 2611877.1333 | 1269007.3287 | 2611862.8215 | 1268999.2018
62 | 2611877.1333 | 1269007.3287 | 2611876.9369 | 1269023.461
63 | 2611876.8925 | 1269027.108 | 2611876.9369 | 1269023.461
64 | 2611876.8925 | 1269027.108 | 2611876.7648 | 1269037.5997
65 | 2611861.6607 | 1268922.9306 | 2611823.2617 | 1268918.3589
66 | 2611861.6607 | 1268922.9306 | 2611888.4725 | 1268926.1228
67 | 2611888.4725 | 1268926.1228 | 2611922.5187 | 1268930.1763 | 2611934.2011 | 1268932.8609
68 | 2611952.7628 | 1268937.7746 | 2611949.2191 | 1268936.3121 | 2611934.2011 | 1268932.8609

## bus_geodata
| x | y | coords
0 | 2611809.4677 | 1268969.4159
1 | 2611818.4776 | 1268974.0215
2 | 2611774.5174 | 1268959.4573
3 | 2611773.7157 | 1268973.4962
4 | 2611785.0068 | 1268948.0923
5 | 2611818.6578 | 1268966.6723
6 | 2611817.921 | 1268996.3615
7 | 2611837.7064 | 1268984.9404
8 | 2611789.1575 | 1268940.4563
9 | 2611806.0678 | 1268959.7209
10 | 2611788.7725 | 1268916.0661
11 | 2611777.1421 | 1268888.0899
12 | 2611723.4623 | 1268940.4985
13 | 2611719.7561 | 1268938.0348
14 | 2611723.6612 | 1268952.3916
15 | 2611775.6025 | 1268866.1192
16 | 2611757.8471 | 1268893.8227
17 | 2611685.3272 | 1268913.7156
18 | 2611719.4906 | 1268913.1492
19 | 2611675.6215 | 1268952.6458
20 | 2611731.4857 | 1268893.4802
21 | 2611820.958 | 1268967.9992
22 | 2611817.5456 | 1269011.4306
23 | 2611845.9281 | 1268989.609
24 | 2611723.9948 | 1268972.1128
25 | 2611773.0249 | 1268827.9616
26 | 2611771.1856 | 1268806.4312
27 | 2611755.4513 | 1268827.9318
28 | 2611774.3375 | 1268847.3933
29 | 2611774.9618 | 1268856.6352
30 | 2611731.822 | 1268893.4846
31 | 2611817.0607 | 1269030.893
32 | 2611817.2102 | 1269024.8922
33 | 2611874.5755 | 1268943.945
34 | 2611875.2605 | 1268952.9325
35 | 2611833.4428 | 1268975.2017
36 | 2611817.3916 | 1269017.6121
37 | 2611854.2027 | 1268994.3077
38 | 2611754.0923 | 1268827.9295
39 | 2611740.7091 | 1268827.9069
40 | 2611983.5447 | 1269049.1719
41 | 2611980.3811 | 1269039.6032
42 | 2611962.9565 | 1269050.8716
43 | 2611976.2889 | 1269027.8423
44 | 2611909.2697 | 1269017.9324
45 | 2611985.6018 | 1268954.5538
46 | 2611972.6596 | 1268996.0175
47 | 2611738.2525 | 1268827.9027
48 | 2611732.1799 | 1268827.8924
49 | 2611724.9868 | 1268827.8802
50 | 2611711.5658 | 1268827.8575
51 | 2611709.3966 | 1268827.8538
52 | 2611696.1315 | 1268827.8313
53 | 2611709.1805 | 1268827.8534
54 | 2611843.1325 | 1268980.7916
55 | 2611855.3301 | 1268987.8283
56 | 2611877.2147 | 1269000.5352
57 | 2611889.0683 | 1269006.9685
58 | 2611876.5854 | 1268970.3153
59 | 2611877.1333 | 1269007.3287
60 | 2611900.1409 | 1269012.9779
61 | 2611862.8215 | 1268999.2018
62 | 2611876.9369 | 1269023.461
63 | 2611876.8925 | 1269027.108
64 | 2611876.7648 | 1269037.5997
65 | 2611861.6607 | 1268922.9306
66 | 2611823.2617 | 1268918.3589
67 | 2611888.4725 | 1268926.1228
68 | 2611934.2011 | 1268932.8609
69 | 2611952.7628 | 1268937.7746
70 | 2611877.2147 | 1269000.5352

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99225 | -0.14727 | 0.0048081 | 0.001205
1 | 0.99229 | -0.14641 | 0 | 0
2 | 0.98725 | -0.24272 | 0 | 0
3 | 0.98724 | -0.24297 | 0.0009789 | 0.00024534
4 | 0.98728 | -0.24224 | 0 | 0
5 | 0.99177 | -0.15627 | 0 | 0
6 | 0.99206 | -0.15088 | 0.0076579 | 0.0019192
7 | 0.99401 | -0.11367 | 0.0037549 | 0.00094107
8 | 0.98626 | -0.2617 | 0.0022901 | 0.00057396
9 | 0.99006 | -0.18905 | 0.0043963 | 0.0011018
10 | 0.98352 | -0.31462 | 0 | 0
11 | 0.97912 | -0.40002 | 0 | 0
12 | 0.97729 | -0.436 | 0 | 0
13 | 0.97733 | -0.43528 | 0.0021924 | 0.00054947
14 | 0.97722 | -0.43738 | 0.0032043 | 0.00080307
15 | 0.97737 | -0.4342 | 0.0039705 | 0.0009951
16 | 0.97846 | -0.41302 | 0.0080201 | 0.00201
17 | 0.9774 | -0.43381 | 0 | 0
18 | 0.97753 | -0.43139 | 0 | 0
19 | 0.97726 | -0.43671 | 0.0038876 | 0.00097432
20 | 0.97779 | -0.42616 | 0.0056346 | 0.0014122
21 | 0.99172 | -0.15736 | 0.0041443 | 0.0010387
22 | 0.99201 | -0.15186 | 0.0010812 | 0.00027099
23 | 0.99439 | -0.10653 | 0.0038804 | 0.00097252
24 | 0.97716 | -0.43852 | 0.0031677 | 0.0007939
25 | 0.97465 | -0.48765 | 0 | 0
26 | 0.97458 | -0.48891 | 0.0031909 | 0.00079972
27 | 0.97349 | -0.51044 | 0.005192 | 0.0013012
28 | 0.97599 | -0.46132 | 0.003072 | 0.00076992
29 | 0.97665 | -0.4483 | 0.0043982 | 0.0011023
30 | 0.9778 | -0.42605 | 0.0093887 | 0.002353
31 | 0.99198 | -0.1524 | 0.00072716 | 0.00018224
32 | 0.99199 | -0.15233 | 0.00072867 | 0.00018262
33 | 0.99984 | -0.0030024 | 0.0034264 | 0.00085875
34 | 0.99987 | -0.0024639 | 0.0046809 | 0.0011731
35 | 0.99147 | -0.16219 | 0.0065497 | 0.0016415
36 | 0.992 | -0.15214 | 0.0011092 | 0.000278
37 | 0.99477 | -0.099183 | 0.002179 | 0.00054611
38 | 0.97341 | -0.51207 | 0.0049728 | 0.0012463
39 | 0.97265 | -0.52696 | 0.0024546 | 0.00061517
40 | 0.98531 | -0.28152 | 0 | 0
41 | 0.98597 | -0.26862 | 0 | 0
42 | 0.98395 | -0.30805 | 0.071319 | 0.017874
43 | 0.985 | -0.28744 | 0 | 0
44 | 0.99331 | -0.12732 | 0.076044 | 0.019058
45 | 0.97548 | -0.47264 | 0 | 0
46 | 0.98251 | -0.33603 | 0.084228 | 0.02111
47 | 0.97252 | -0.52958 | 0.0053016 | 0.0013287
48 | 0.97222 | -0.53548 | 0.0036521 | 0.0009153
49 | 0.97189 | -0.54198 | 0.0052853 | 0.0013246
50 | 0.97135 | -0.55282 | 0.019703 | 0.0049381
51 | 0.9713 | -0.55378 | 0.0034692 | 0.00086946
52 | 0.97114 | -0.55695 | 0.01282 | 0.0032131
53 | 0.97129 | -0.55386 | 0.0077346 | 0.0019385
54 | 0.99134 | -0.16465 | 0.0072741 | 0.0018231
55 | 0.99128 | -0.16593 | 0.0051061 | 0.0012797
56 | 0.99615 | -0.072956 | 0 | 0
57 | 0.99503 | -0.094494 | 0.0048651 | 0.0012193
58 | 1 | 0 | -0.5674 | -0.14488
59 | 0.99586 | -0.078519 | 0 | 0
60 | 0.99399 | -0.11439 | 0.076314 | 0.019126
61 | 0.99518 | -0.091444 | 0.0012051 | 0.00030202
62 | 0.99575 | -0.080738 | 0.0050673 | 0.00127
63 | 0.99574 | -0.080914 | 0.0020408 | 0.00051146
64 | 0.99573 | -0.081046 | 0.0007141 | 0.00017897
65 | 0.97276 | -0.52624 | 0.0035194 | 0.00088204
66 | 0.97263 | -0.52896 | 0.0038277 | 0.00095931
67 | 0.97295 | -0.52258 | 0.0046814 | 0.0011733
68 | 0.97347 | -0.51234 | 0.0033942 | 0.00085067
69 | 0.97374 | -0.50688 | 0.035036 | 0.0087808
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0048081 | -0.001205 | 0.0048083 | 0.001205 | 1.9728e-07 | -4.4474e-09 | 0.0072105 | 0.0072104 | 0.0072105 | 0.99225 | -0.14727 | 0.99229 | -0.14641 | 1.9809
1 | 0.15356 | 0.039299 | -0.15349 | -0.039253 | 7.3282e-05 | 4.671e-05 | 0.23057 | 0.23057 | 0.23057 | 0.99229 | -0.14641 | 0.99177 | -0.15627 | 31.6711
2 | 0.011307 | 0.002834 | -0.011304 | -0.0028328 | 2.4092e-06 | 1.2533e-06 | 0.016956 | 0.016956 | 0.016956 | 0.99229 | -0.14641 | 0.99206 | -0.15088 | 4.6581
3 | -0.16968 | -0.043338 | 0.16994 | 0.04351 | 0.00026903 | 0.00017161 | 0.25473 | 0.25473 | 0.25473 | 0.99229 | -0.14641 | 0.99401 | -0.11367 | 34.9905
4 | 0.00097892 | 0.00024516 | -0.0009789 | -0.00024534 | 1.1479e-08 | -1.7246e-07 | 0.0014754 | 0.0014755 | 0.0014755 | 0.98725 | -0.24272 | 0.98724 | -0.24297 | 0.40534
5 | -0.00097892 | -0.00024516 | 0.00097894 | 0.00024483 | 2.2269e-08 | -3.3462e-07 | 0.0014754 | 0.0014753 | 0.0014754 | 0.98725 | -0.24272 | 0.98728 | -0.24224 | 0.40533
6 | 0.1245 | 0.03178 | -0.12438 | -0.031705 | 0.00011696 | 7.4742e-05 | 0.18785 | 0.18785 | 0.18785 | 0.98728 | -0.24224 | 0.98626 | -0.2617 | 51.6078
7 | -0.12548 | -0.032025 | 0.1258 | 0.032231 | 0.00032338 | 0.00020666 | 0.18933 | 0.18933 | 0.18933 | 0.98728 | -0.24224 | 0.99006 | -0.18905 | 52.0131
8 | 0.023081 | 0.0057871 | -0.02308 | -0.0057863 | 1.1943e-06 | 7.3008e-07 | 0.034631 | 0.034631 | 0.034631 | 0.99177 | -0.15627 | 0.99172 | -0.15736 | 9.5141
9 | 0.13041 | 0.033466 | -0.1302 | -0.033333 | 0.00020704 | 0.00013232 | 0.19593 | 0.19593 | 0.19593 | 0.99177 | -0.15627 | 0.99006 | -0.18905 | 53.8282
10 | 0.0036465 | 0.00091355 | -0.0036464 | -0.00091364 | 1.691e-07 | -8.6397e-08 | 0.0054694 | 0.0054695 | 0.0054695 | 0.99206 | -0.15088 | 0.99201 | -0.15186 | 1.5026
11 | -0.1737 | -0.044451 | 0.17376 | 0.044489 | 6.0082e-05 | 3.7962e-05 | 0.26035 | 0.26035 | 0.26035 | 0.99401 | -0.11367 | 0.99439 | -0.10653 | 17.8813
12 | 0.12209 | 0.031131 | -0.12178 | -0.030933 | 0.00031104 | 0.00019875 | 0.1844 | 0.1844 | 0.1844 | 0.98626 | -0.2617 | 0.98352 | -0.31462 | 50.6586
13 | 0.12178 | 0.030933 | -0.12128 | -0.030614 | 0.00049834 | 0.00031844 | 0.1844 | 0.1844 | 0.1844 | 0.98352 | -0.31462 | 0.97912 | -0.40002 | 50.6586
14 | 0.085742 | 0.021691 | -0.085602 | -0.021602 | 0.0001404 | 8.9578e-05 | 0.13038 | 0.13038 | 0.13038 | 0.97912 | -0.40002 | 0.97737 | -0.4342 | 35.8184
15 | 0.035541 | 0.0089226 | -0.035519 | -0.0089088 | 2.2026e-05 | 1.3844e-05 | 0.054019 | 0.054019 | 0.054019 | 0.97912 | -0.40002 | 0.97846 | -0.41302 | 14.8403
16 | -0.0063726 | -0.001597 | 0.0063728 | 0.001597 | 2.1781e-07 | 6.2089e-08 | 0.0097028 | 0.0097027 | 0.0097028 | 0.97729 | -0.436 | 0.97733 | -0.43528 | 2.6656
17 | 0.0063726 | 0.001597 | -0.0063722 | -0.0015968 | 4.1994e-07 | 1.1972e-07 | 0.0097028 | 0.0097028 | 0.0097028 | 0.97729 | -0.436 | 0.97722 | -0.43738 | 2.6656
18 | -0.0085652 | -0.0021465 | 0.0085668 | 0.0021472 | 1.5871e-06 | 7.0383e-07 | 0.013041 | 0.013041 | 0.013041 | 0.97733 | -0.43528 | 0.97753 | -0.43139 | 3.5826
19 | 0.0031679 | 0.00079376 | -0.0031677 | -0.0007939 | 1.721e-07 | -1.3695e-07 | 0.0048236 | 0.0048237 | 0.0048237 | 0.97722 | -0.43738 | 0.97716 | -0.43852 | 1.3252
20 | 0.081631 | 0.020607 | -0.081576 | -0.020572 | 5.5105e-05 | 3.5148e-05 | 0.12433 | 0.12433 | 0.12433 | 0.97737 | -0.4342 | 0.97665 | -0.4483 | 34.1577
21 | 0.027499 | 0.0068987 | -0.027482 | -0.0068881 | 1.7071e-05 | 1.0599e-05 | 0.041822 | 0.041822 | 0.041822 | 0.97846 | -0.41302 | 0.9778 | -0.42605 | 11.4896
22 | -0.0038881 | -0.00097415 | 0.0038886 | 0.00097401 | 4.4757e-07 | -1.4055e-07 | 0.0059192 | 0.0059191 | 0.0059192 | 0.9774 | -0.43381 | 0.97753 | -0.43139 | 1.6262
23 | 0.0038881 | 0.00097415 | -0.0038876 | -0.00097432 | 5.3837e-07 | -1.689e-07 | 0.0059192 | 0.0059194 | 0.0059194 | 0.9774 | -0.43381 | 0.97726 | -0.43671 | 1.6262
24 | -0.012455 | -0.0031212 | 0.012458 | 0.0031229 | 3.1056e-06 | 1.6987e-06 | 0.01896 | 0.01896 | 0.01896 | 0.97753 | -0.43139 | 0.97779 | -0.42616 | 5.2087
25 | -0.018093 | -0.0045351 | 0.018093 | 0.0045351 | 9.5626e-08 | 5.6982e-08 | 0.027534 | 0.027534 | 0.027534 | 0.97779 | -0.42616 | 0.9778 | -0.42605 | 7.5644
26 | 0.018936 | 0.0047477 | -0.018932 | -0.0047451 | 4.3635e-06 | 2.6067e-06 | 0.028413 | 0.028413 | 0.028413 | 0.99172 | -0.15736 | 0.99147 | -0.16219 | 7.8058
27 | 0.0025651 | 0.00064265 | -0.0025651 | -0.00064271 | 3.4328e-08 | -5.786e-08 | 0.0038476 | 0.0038476 | 0.0038476 | 0.99201 | -0.15186 | 0.992 | -0.15214 | 1.057
28 | -0.17764 | -0.045462 | 0.1777 | 0.045502 | 6.3196e-05 | 3.9951e-05 | 0.26616 | 0.26616 | 0.26616 | 0.99439 | -0.10653 | 0.99477 | -0.099183 | 18.2801
29 | 0.0031911 | 0.00079957 | -0.0031909 | -0.00079972 | 1.9234e-07 | -1.4619e-07 | 0.0048718 | 0.0048719 | 0.0048719 | 0.97465 | -0.48765 | 0.97458 | -0.48891 | 1.3384
30 | 0.070774 | 0.01781 | -0.070697 | -0.017761 | 7.6978e-05 | 4.9047e-05 | 0.10808 | 0.10808 | 0.10808 | 0.97465 | -0.48765 | 0.97349 | -0.51044 | 29.6917
31 | -0.073965 | -0.018609 | 0.074058 | 0.018669 | 9.3175e-05 | 5.9389e-05 | 0.11295 | 0.11295 | 0.11295 | 0.97465 | -0.48765 | 0.97599 | -0.46132 | 31.0301
32 | 0.065505 | 0.01646 | -0.0655 | -0.016456 | 5.1104e-06 | 3.2538e-06 | 0.10014 | 0.10014 | 0.10014 | 0.97349 | -0.51044 | 0.97341 | -0.51207 | 27.5114
33 | -0.07713 | -0.019439 | 0.077178 | 0.019469 | 4.8066e-05 | 3.0647e-05 | 0.11763 | 0.11763 | 0.11763 | 0.97599 | -0.46132 | 0.97665 | -0.4483 | 32.3168
34 | -0.00072716 | -0.00018224 | 0.00072716 | 0.00018217 | 2.6781e-09 | -7.5779e-08 | 0.0010908 | 0.0010907 | 0.0010908 | 0.99198 | -0.1524 | 0.99199 | -0.15233 | 0.29966
35 | -0.0014558 | -0.00036479 | 0.0014558 | 0.0003647 | 1.3023e-08 | -8.568e-08 | 0.0021838 | 0.0021837 | 0.0021838 | 0.99199 | -0.15233 | 0.992 | -0.15214 | 0.59994
36 | -0.0034264 | -0.00085875 | 0.0034265 | 0.00085869 | 8.7894e-08 | -6.1965e-08 | 0.0050994 | 0.0050994 | 0.0050994 | 0.99984 | -0.0030024 | 0.99987 | -0.0024639 | 1.4009
37 | -0.0081074 | -0.0020318 | 0.0081084 | 0.0020322 | 9.517e-07 | 3.804e-07 | 0.012066 | 0.012065 | 0.012066 | 0.99987 | -0.0024639 | 1 | 0 | 3.3147
38 | 0.012382 | 0.0031036 | -0.01238 | -0.0031028 | 1.4487e-06 | 7.8289e-07 | 0.018583 | 0.018583 | 0.018583 | 0.99147 | -0.16219 | 0.99134 | -0.16465 | 5.1053
39 | -0.17988 | -0.046048 | 0.17995 | 0.04609 | 6.7446e-05 | 4.2651e-05 | 0.26942 | 0.26942 | 0.26942 | 0.99477 | -0.099183 | 0.99518 | -0.091444 | 18.5039
40 | 0.060527 | 0.01521 | -0.060484 | -0.015183 | 4.2978e-05 | 2.734e-05 | 0.09254 | 0.09254 | 0.09254 | 0.97341 | -0.51207 | 0.97265 | -0.52696 | 25.423
41 | 0.058029 | 0.014567 | -0.058022 | -0.014563 | 7.2618e-06 | 4.6171e-06 | 0.088785 | 0.088785 | 0.088785 | 0.97265 | -0.52696 | 0.97252 | -0.52958 | 24.3914
42 | -0.071409 | -0.017932 | 0.071453 | 0.01796 | 4.3958e-05 | 2.8005e-05 | 0.10785 | 0.10785 | 0.10785 | 0.98531 | -0.28152 | 0.98597 | -0.26862 | 29.6304
43 | 0.071409 | 0.017932 | -0.071319 | -0.017874 | 9.0265e-05 | 5.7507e-05 | 0.10785 | 0.10785 | 0.10785 | 0.98531 | -0.28152 | 0.98395 | -0.30805 | 29.6304
44 | 0.0845 | 0.021283 | -0.084424 | -0.021234 | 7.5985e-05 | 4.8472e-05 | 0.12756 | 0.12756 | 0.12756 | 0.98597 | -0.26862 | 0.985 | -0.28744 | 35.0451
45 | -0.207 | -0.052254 | 0.20841 | 0.053155 | 0.0014116 | 0.00090143 | 0.31254 | 0.31254 | 0.31254 | 0.98597 | -0.26862 | 0.99331 | -0.12732 | 42.9314
46 | 0.05105 | 0.013011 | -0.050553 | -0.012704 | 0.00049748 | 0.00030713 | 0.077122 | 0.077126 | 0.077126 | 0.98597 | -0.26862 | 0.97548 | -0.47264 | 10.5943
47 | 0.084424 | 0.021234 | -0.084228 | -0.02111 | 0.00019546 | 0.00012469 | 0.12756 | 0.12756 | 0.12756 | 0.985 | -0.28744 | 0.98251 | -0.33603 | 35.0451
48 | -0.28446 | -0.072214 | 0.28464 | 0.072327 | 0.00017709 | 0.0001128 | 0.42646 | 0.42646 | 0.42646 | 0.99331 | -0.12732 | 0.99399 | -0.11439 | 29.2896
49 | 0.050553 | 0.012704 | -0.05047 | -0.012652 | 8.2483e-05 | 5.2328e-05 | 0.077126 | 0.077127 | 0.077127 | 0.97548 | -0.47264 | 0.97374 | -0.50688 | 21.1886
50 | 0.05272 | 0.013234 | -0.052706 | -0.013225 | 1.482e-05 | 9.4098e-06 | 0.080673 | 0.080673 | 0.080673 | 0.97252 | -0.52958 | 0.97222 | -0.53548 | 22.1629
51 | 0.049053 | 0.012309 | -0.049038 | -0.0123 | 1.5207e-05 | 9.6431e-06 | 0.075083 | 0.075083 | 0.075083 | 0.97222 | -0.53548 | 0.97189 | -0.54198 | 20.6273
52 | 0.043753 | 0.010975 | -0.04373 | -0.010961 | 2.2587e-05 | 1.4289e-05 | 0.066991 | 0.066991 | 0.066991 | 0.97189 | -0.54198 | 0.97135 | -0.55282 | 18.4042
53 | 0.024027 | 0.0060228 | -0.024026 | -0.0060221 | 1.1021e-06 | 6.7849e-07 | 0.036808 | 0.036808 | 0.036808 | 0.97135 | -0.55282 | 0.9713 | -0.55378 | 10.1121
54 | 0.020557 | 0.0051526 | -0.020557 | -0.0051526 | 8.0354e-08 | 4.8753e-08 | 0.031493 | 0.031493 | 0.031493 | 0.9713 | -0.55378 | 0.97129 | -0.55386 | 8.652
55 | -0.01282 | -0.0032131 | 0.012822 | 0.0032141 | 1.8883e-06 | 1.047e-06 | 0.019644 | 0.019644 | 0.019644 | 0.97114 | -0.55695 | 0.97129 | -0.55386 | 5.3967
56 | 0.0051064 | 0.0012797 | -0.0051061 | -0.0012797 | 3.1023e-07 | 1.7002e-08 | 0.0076647 | 0.0076648 | 0.0076648 | 0.99134 | -0.16465 | 0.99128 | -0.16593 | 2.1057
57 | 0.36654 | 0.093135 | -0.36616 | -0.092892 | 0.00037967 | 0.00024229 | 0.54797 | 0.54797 | 0.54797 | 0.99615 | -0.072956 | 0.99503 | -0.094494 | 37.6355
58 | -0.55568 | -0.14159 | 0.55765 | 0.14285 | 0.0019637 | 0.0012552 | 0.83088 | 0.83088 | 0.83088 | 0.99615 | -0.072956 | 1 | 0 | 57.066
59 | 0.18914 | 0.048457 | -0.18909 | -0.048425 | 5.0978e-05 | 3.2273e-05 | 0.28291 | 0.28291 | 0.28291 | 0.99615 | -0.072956 | 0.99586 | -0.078519 | 19.4305
60 | 0.36129 | 0.091673 | -0.36095 | -0.091453 | 0.00034529 | 0.00022033 | 0.5407 | 0.5407 | 0.5407 | 0.99503 | -0.094494 | 0.99399 | -0.11439 | 37.1359
61 | 0.18127 | 0.046464 | -0.18115 | -0.046392 | 0.0001135 | 7.1784e-05 | 0.27122 | 0.27122 | 0.27122 | 0.99586 | -0.078519 | 0.99518 | -0.091444 | 18.6277
62 | 0.007823 | 0.0019606 | -0.0078222 | -0.0019603 | 8.2666e-07 | 3.1918e-07 | 0.011689 | 0.011689 | 0.011689 | 0.99586 | -0.078519 | 0.99575 | -0.080738 | 3.2113
63 | 0.0027549 | 0.00069026 | -0.0027549 | -0.0006903 | 2.318e-08 | -3.2608e-08 | 0.0041168 | 0.0041168 | 0.0041168 | 0.99575 | -0.080738 | 0.99574 | -0.080914 | 1.131
64 | 0.0007141 | 0.00017884 | -0.0007141 | -0.00017897 | 4.4806e-09 | -1.3361e-07 | 0.0010671 | 0.0010671 | 0.0010671 | 0.99574 | -0.080914 | 0.99573 | -0.081046 | 0.29317
65 | 0.0038282 | 0.00095914 | -0.0038277 | -0.00095931 | 4.9727e-07 | -1.6175e-07 | 0.0058558 | 0.0058559 | 0.0058559 | 0.97276 | -0.52624 | 0.97263 | -0.52896 | 1.6088
66 | -0.0073476 | -0.0018412 | 0.0073488 | 0.0018417 | 1.279e-06 | 4.8332e-07 | 0.011239 | 0.011239 | 0.011239 | 0.97276 | -0.52624 | 0.97295 | -0.52258 | 3.0877
67 | -0.01203 | -0.0030149 | 0.012036 | 0.0030181 | 5.8741e-06 | 3.1844e-06 | 0.018399 | 0.018399 | 0.018399 | 0.97295 | -0.52258 | 0.97347 | -0.51234 | 5.0546
68 | -0.01543 | -0.0038688 | 0.015434 | 0.0038711 | 4.0147e-06 | 2.3301e-06 | 0.023587 | 0.023587 | 0.023587 | 0.97347 | -0.51234 | 0.97374 | -0.50688 | 6.4799

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57329 | 0.14635

## res_load
| p_mw | q_mvar
0 | 0.0048081 | 0.001205
1 | 0.0009789 | 0.00024534
2 | 0.0076579 | 0.0019192
3 | 0.0037549 | 0.00094107
4 | 0.0022901 | 0.00057396
5 | 0.0043963 | 0.0011018
6 | 0.0021924 | 0.00054947
7 | 0.0032043 | 0.00080307
8 | 0.0039705 | 0.0009951
9 | 0.0080201 | 0.00201
10 | 0.0038876 | 0.00097432
11 | 0.0056346 | 0.0014122
12 | 0.0041443 | 0.0010387
13 | 0.0010812 | 0.00027099
14 | 0.0038804 | 0.00097252
15 | 0.0031677 | 0.0007939
16 | 0.0031909 | 0.00079972
17 | 0.005192 | 0.0013012
18 | 0.003072 | 0.00076992
19 | 0.0043982 | 0.0011023
20 | 0.0093887 | 0.002353
21 | 0.00072716 | 0.00018224
22 | 0.00072867 | 0.00018262
23 | 0.0034264 | 0.00085875
24 | 0.0046809 | 0.0011731
25 | 0.0065497 | 0.0016415
26 | 0.0011092 | 0.000278
27 | 0.002179 | 0.00054611
28 | 0.0049728 | 0.0012463
29 | 0.0024546 | 0.00061517
30 | 0.071319 | 0.017874
31 | 0.076044 | 0.019058
32 | 0.084228 | 0.02111
33 | 0.0053016 | 0.0013287
34 | 0.0036521 | 0.0009153
35 | 0.0052853 | 0.0013246
36 | 0.019703 | 0.0049381
37 | 0.0034692 | 0.00086946
38 | 0.01282 | 0.0032131
39 | 0.0077346 | 0.0019385
40 | 0.0072741 | 0.0018231
41 | 0.0051061 | 0.0012797
42 | 0.0048651 | 0.0012193
43 | 0.0058869 | 0.0014754
44 | 0.076314 | 0.019126
45 | 0.0012051 | 0.00030202
46 | 0.0050673 | 0.00127
47 | 0.0020408 | 0.00051146
48 | 0.0007141 | 0.00017897
49 | 0.0035194 | 0.00088204
50 | 0.0038277 | 0.00095931
51 | 0.0046814 | 0.0011733
52 | 0.0033942 | 0.00085067
53 | 0.035036 | 0.0087808

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1