## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-237_1_2_node_69 | 0.4 | n |  | TRUE
1 | bus_LV_2701-237_1_2_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_2701-237_1_2_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_2701-237_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2701-237_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_2701-237_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2701-237_1_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2701-237_1_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2701-237_1_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_2701-237_1_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2701-237_1_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2701-237_1_2_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2701-237_1_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2701-237_1_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2701-237_1_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2701-237_1_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2701-237_1_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2701-237_1_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_2701-237_1_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_2701-237_1_2_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_2701-237_1_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_2701-237_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_2701-237_1_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_2701-237_1_2_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_2701-237_1_2_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_2701-237_1_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_2701-237_1_2_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_2701-237_1_2_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_2701-237_1_2_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_2701-237_1_2_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_2701-237_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_2701-237_1_2_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2701-237_1_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2701-237_1_2_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_2701-237_1_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_2701-237_1_2_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2701-237_1_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2701-237_1_2_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2701-237_1_2_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2701-237_1_2_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_2701-237_1_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_2701-237_1_2_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_2701-237_1_2_node_72 | 0.4 | n |  | TRUE
43 | bus_MV_570_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-237_1_2_load_68 | 1 | 0.02666 | 0.0066817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-237_1_2_load_7 | 3 | 0.017867 | 0.0044779 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-237_1_2_load_8 | 4 | 0.014786 | 0.0037058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-237_1_2_load_9 | 5 | 0.0074025 | 0.0018552 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-237_1_2_load_10 | 6 | 0.013753 | 0.0034467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-237_1_2_load_12 | 7 | 0.0037891 | 0.00094963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-237_1_2_load_11 | 8 | 0.007795 | 0.0019536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-237_1_2_load_18 | 9 | 0.016456 | 0.0041243 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-237_1_2_load_21 | 11 | 0.032469 | 0.0081374 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-237_1_2_load_13 | 12 | 0.016276 | 0.0040791 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-237_1_2_load_14 | 13 | 0.028163 | 0.0070583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-237_1_2_load_16 | 14 | 0.0073442 | 0.0018406 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-237_1_2_load_19 | 15 | 0.0013525 | 0.00033897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-237_1_2_load_64 | 19 | 0.00081833 | 0.00020509 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-237_1_2_load_56 | 22 | 0.0043415 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-237_1_2_load_74 | 23 | 0.00042465 | 0.00010643 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-237_1_2_load_61 | 25 | 0.00255 | 0.00063909 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-237_1_2_load_59 | 27 | 0.0027997 | 0.00070166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-237_1_2_load_62 | 28 | 0.0025888 | 0.00064881 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-237_1_2_load_60 | 29 | 0.0017169 | 0.00043029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-237_1_2_load_48 | 31 | 0.0036573 | 0.00091661 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-237_1_2_load_49 | 32 | 0.011622 | 0.0029127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-237_1_2_load_63 | 33 | 0.00040423 | 0.00010131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-237_1_2_load_44 | 34 | 0.0031396 | 0.00078687 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-237_1_2_load_45 | 35 | 0.0016882 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-237_1_2_load_46 | 36 | 0.0019534 | 0.00048956 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-237_1_2_load_47 | 37 | 0.00090751 | 0.00022744 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2701-237_1_2_load_50 | 38 | 0.0029477 | 0.00073876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2701-237_1_2_load_52 | 39 | 0.00053978 | 0.00013528 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2701-237_1_2_load_54 | 40 | 0.0033545 | 0.00084072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2701-237_1_2_load_55 | 41 | 0.00026386 | 6.6129e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2701-237_1_2_load_72 | 42 | 0.0046111 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-237_1_2_line_0 |  | 0 | 1 | 0.055688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-237_1_2_line_1 |  | 0 | 2 | 0.10087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-237_1_2_line_2 |  | 2 | 11 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2701-237_1_2_line_3 |  | 2 | 10 | 0.043737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-237_1_2_line_4 |  | 2 | 7 | 0.048447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-237_1_2_line_5 |  | 3 | 4 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-237_1_2_line_6 |  | 4 | 5 | 0.023627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-237_1_2_line_7 |  | 4 | 6 | 0.03251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-237_1_2_line_8 |  | 6 | 7 | 0.0038867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-237_1_2_line_9 |  | 8 | 9 | 0.0020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2701-237_1_2_line_10 |  | 9 | 10 | 0.035029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2701-237_1_2_line_11 |  | 10 | 15 | 0.090862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2701-237_1_2_line_12 |  | 10 | 12 | 0.026733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-237_1_2_line_13 |  | 12 | 13 | 0.0067981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2701-237_1_2_line_14 |  | 13 | 14 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-237_1_2_line_15 |  | 14 | 16 | 0.034956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-237_1_2_line_16 |  | 16 | 17 | 0.019171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-237_1_2_line_17 |  | 17 | 18 | 0.012913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-237_1_2_line_18 |  | 17 | 19 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-237_1_2_line_19 |  | 18 | 30 | 0.039176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2701-237_1_2_line_20 |  | 19 | 33 | 0.0086311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-237_1_2_line_21 |  | 20 | 21 | 0.24845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2701-237_1_2_line_22 |  | 20 | 22 | 0.074389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-237_1_2_line_23 |  | 21 | 23 | 0.028919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2701-237_1_2_line_24 |  | 21 | 24 | 0.0094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-237_1_2_line_25 |  | 23 | 26 | 0.0069773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-237_1_2_line_26 |  | 24 | 25 | 0.01834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-237_1_2_line_27 |  | 25 | 27 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-237_1_2_line_28 |  | 26 | 42 | 0.074412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-237_1_2_line_29 |  | 26 | 40 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-237_1_2_line_30 |  | 27 | 29 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-237_1_2_line_31 |  | 28 | 29 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-237_1_2_line_32 |  | 30 | 31 | 0.043064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-237_1_2_line_33 |  | 30 | 32 | 0.042584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-237_1_2_line_34 |  | 31 | 37 | 0.021931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-237_1_2_line_35 |  | 32 | 38 | 0.0092889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-237_1_2_line_36 |  | 34 | 35 | 0.00694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-237_1_2_line_37 |  | 34 | 36 | 0.01013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-237_1_2_line_38 |  | 35 | 37 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-237_1_2_line_39 |  | 38 | 39 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-237_1_2_line_40 |  | 39 | 40 | 0.0015036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-237_1_2_line_41 |  | 41 | 42 | 0.046281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-237_1_2_trafo_21 | 0.63 MVA 20/0.4 kV | 43 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2611864.5538 | 1269537.2667 | 2611898.642 | 1269493.2306
1 | 2611771.0991 | 1269499.3095 | 2611864.5538 | 1269537.2667
2 | 2611771.0991 | 1269499.3095 | 2611774.1269 | 1269489.2823
3 | 2611729.0117 | 1269486.9731 | 2611769.1665 | 1269498.7386 | 2611771.0991 | 1269499.3095
4 | 2611771.0991 | 1269499.3095 | 2611757.0933 | 1269545.6879
5 | 2611746.5682 | 1269580.5295 | 2611739.4763 | 1269604.0131
6 | 2611746.5682 | 1269580.5295 | 2611724.2023 | 1269572.9138
7 | 2611746.5682 | 1269580.5295 | 2611749.34 | 1269571.3618 | 2611755.9696 | 1269549.4087
8 | 2611755.9696 | 1269549.4087 | 2611757.0933 | 1269545.6879
9 | 2611719.5265 | 1269520.6939 | 2611718.9673 | 1269522.682
10 | 2611729.0117 | 1269486.9731 | 2611719.5265 | 1269520.6939
11 | 2611729.0117 | 1269486.9731 | 2611667.8618 | 1269469.0511 | 2611641.8274 | 1269476.7171
12 | 2611729.0117 | 1269486.9731 | 2611736.2482 | 1269461.2385
13 | 2611736.2482 | 1269461.2385 | 2611738.0885 | 1269454.6942
14 | 2611744.1452 | 1269433.1553 | 2611738.0885 | 1269454.6942
15 | 2611753.6078 | 1269399.5043 | 2611744.1452 | 1269433.1553
16 | 2611758.7984 | 1269381.046 | 2611758.177 | 1269383.2685 | 2611756.0175 | 1269390.9252 | 2611753.6078 | 1269399.5043
17 | 2611771.4668 | 1269378.3581 | 2611758.7984 | 1269381.046
18 | 2611758.7984 | 1269381.046 | 2611745.2453 | 1269378.9844
19 | 2611809.0875 | 1269367.047 | 2611798.0429 | 1269370.3718 | 2611771.4668 | 1269378.3581
20 | 2611736.7123 | 1269377.6865 | 2611745.2453 | 1269378.9844
21 | 2611815.2252 | 1269239.5024 | 2611989.692 | 1269242.9545 | 2611991.7745 | 1269243.8148 | 2611995.7117 | 1269246.5581 | 2611998.8451 | 1269248.6548 | 2612000.9326 | 1269250.7827 | 2612004.8395 | 1269253.6259 | 2612006.1307 | 1269255.1074 | 2612006.7139 | 1269256.9209 | 2612006.7169 | 1269259.1225 | 2612005.7106 | 1269261.8891 | 2612004.4134 | 1269267.1124 | 2612003.3129 | 1269271.7912 | 2612002.8144 | 1269276.4713 | 2612003.0057 | 1269282.298 | 2612004.3065 | 1269290.184 | 2612007.2436 | 1269307.5133
22 | 2612007.2436 | 1269307.5133 | 2611997.822 | 1269308.128 | 2611982.9668 | 1269309.2878 | 2611968.804 | 1269310.4044 | 2611958.8699 | 1269311.4296 | 2611949.6924 | 1269314.1575 | 2611941.6644 | 1269317.755 | 2611935.1017 | 1269321.3488
23 | 2611815.2252 | 1269239.5024 | 2611814.5347 | 1269253.7667 | 2611814.0872 | 1269263.128 | 2611813.9926 | 1269268.3933
24 | 2611815.2252 | 1269239.5024 | 2611805.7972 | 1269239.5281
25 | 2611813.8672 | 1269275.3695 | 2611813.9926 | 1269268.3933
26 | 2611805.7972 | 1269239.5281 | 2611787.4573 | 1269239.5851
27 | 2611759.3753 | 1269239.6972 | 2611759.9212 | 1269239.6706 | 2611787.4573 | 1269239.5851
28 | 2611813.8672 | 1269275.3695 | 2611739.5523 | 1269279.1724
29 | 2611813.8672 | 1269275.3695 | 2611812.7668 | 1269296.4571
30 | 2611759.3753 | 1269239.6972 | 2611735.627 | 1269240.8547
31 | 2611735.627 | 1269240.8547 | 2611715.6045 | 1269241.8307
32 | 2611809.0875 | 1269367.047 | 2611816.7617 | 1269363.4708 | 2611848.1141 | 1269348.8412
33 | 2611809.0875 | 1269367.047 | 2611809.205 | 1269364.7122 | 2611811.3023 | 1269324.5209
34 | 2611867.9877 | 1269339.5678 | 2611848.1141 | 1269348.8412
35 | 2611811.7864 | 1269315.2446 | 2611811.3023 | 1269324.5209
36 | 2611879.9486 | 1269333.9866 | 2611886.2377 | 1269331.052
37 | 2611895.4175 | 1269326.7686 | 2611886.2377 | 1269331.052
38 | 2611867.9877 | 1269339.5678 | 2611879.9486 | 1269333.9866
39 | 2611812.6884 | 1269297.9587 | 2611811.7864 | 1269315.2446
40 | 2611812.7668 | 1269296.4571 | 2611812.6884 | 1269297.9587
41 | 2611702.8592 | 1269294.6933 | 2611708.2309 | 1269280.7753 | 2611739.5523 | 1269279.1724

## bus_geodata
| x | y | coords
0 | 2611864.5538 | 1269537.2667
1 | 2611898.642 | 1269493.2306
2 | 2611771.0991 | 1269499.3095
3 | 2611739.4763 | 1269604.0131
4 | 2611746.5682 | 1269580.5295
5 | 2611724.2023 | 1269572.9138
6 | 2611755.9696 | 1269549.4087
7 | 2611757.0933 | 1269545.6879
8 | 2611718.9673 | 1269522.682
9 | 2611719.5265 | 1269520.6939
10 | 2611729.0117 | 1269486.9731
11 | 2611774.1269 | 1269489.2823
12 | 2611736.2482 | 1269461.2385
13 | 2611738.0885 | 1269454.6942
14 | 2611744.1452 | 1269433.1553
15 | 2611641.8274 | 1269476.7171
16 | 2611753.6078 | 1269399.5043
17 | 2611758.7984 | 1269381.046
18 | 2611771.4668 | 1269378.3581
19 | 2611745.2453 | 1269378.9844
20 | 2612007.2436 | 1269307.5133
21 | 2611815.2252 | 1269239.5024
22 | 2611935.1017 | 1269321.3488
23 | 2611813.9926 | 1269268.3933
24 | 2611805.7972 | 1269239.5281
25 | 2611787.4573 | 1269239.5851
26 | 2611813.8672 | 1269275.3695
27 | 2611759.3753 | 1269239.6972
28 | 2611715.6045 | 1269241.8307
29 | 2611735.627 | 1269240.8547
30 | 2611809.0875 | 1269367.047
31 | 2611848.1141 | 1269348.8412
32 | 2611811.3023 | 1269324.5209
33 | 2611736.7123 | 1269377.6865
34 | 2611886.2377 | 1269331.052
35 | 2611879.9486 | 1269333.9866
36 | 2611895.4175 | 1269326.7686
37 | 2611867.9877 | 1269339.5678
38 | 2611811.7864 | 1269315.2446
39 | 2611812.6884 | 1269297.9587
40 | 2611812.7668 | 1269296.4571
41 | 2611702.8592 | 1269294.6933
42 | 2611739.5523 | 1269279.1724
43 | 2611771.0991 | 1269499.3095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99653 | -0.066461 | 0 | 0
1 | 0.99518 | -0.092554 | 0.02666 | 0.0066817
2 | 0.99898 | -0.019373 | 0 | 0
3 | 0.99466 | -0.10252 | 0.017867 | 0.0044779
4 | 0.99506 | -0.094804 | 0.014786 | 0.0037058
5 | 0.9949 | -0.097883 | 0.0074025 | 0.0018552
6 | 0.99625 | -0.071907 | 0.013753 | 0.0034467
7 | 0.99644 | -0.068235 | 0.0037891 | 0.00094963
8 | 0.99306 | -0.13275 | 0.007795 | 0.0019536
9 | 0.99308 | -0.13246 | 0.016456 | 0.0041243
10 | 0.99385 | -0.11746 | 0 | 0
11 | 1 | 0 | -0.2154 | -0.054246
12 | 0.99134 | -0.16576 | 0.016276 | 0.0040791
13 | 0.99081 | -0.17612 | 0.028163 | 0.0070583
14 | 0.98962 | -0.19907 | 0.0073442 | 0.0018406
15 | 0.99374 | -0.11963 | 0.0013525 | 0.00033897
16 | 0.98799 | -0.23045 | 0 | 0
17 | 0.9871 | -0.2477 | 0 | 0
18 | 0.98652 | -0.25906 | 0 | 0
19 | 0.98709 | -0.248 | 0.00081833 | 0.00020509
20 | 0.98079 | -0.37086 | 0 | 0
21 | 0.98179 | -0.35131 | 0 | 0
22 | 0.98049 | -0.37672 | 0.0043415 | 0.0010881
23 | 0.98216 | -0.34399 | 0.00042465 | 0.00010643
24 | 0.98171 | -0.35295 | 0 | 0
25 | 0.98154 | -0.35615 | 0.00255 | 0.00063909
26 | 0.98226 | -0.34217 | 0 | 0
27 | 0.98136 | -0.35977 | 0.0027997 | 0.00070166
28 | 0.98121 | -0.36256 | 0.0025888 | 0.00064881
29 | 0.98126 | -0.36162 | 0.0017169 | 0.00043029
30 | 0.98474 | -0.29359 | 0 | 0
31 | 0.98429 | -0.30238 | 0.0036573 | 0.00091661
32 | 0.98326 | -0.32255 | 0.011622 | 0.0029127
33 | 0.98708 | -0.24807 | 0.00040423 | 0.00010131
34 | 0.98402 | -0.30766 | 0.0031396 | 0.00078687
35 | 0.98406 | -0.30703 | 0.0016882 | 0.00042309
36 | 0.984 | -0.30802 | 0.0019534 | 0.00048956
37 | 0.98414 | -0.30542 | 0.00090751 | 0.00022744
38 | 0.98303 | -0.32694 | 0.0029477 | 0.00073876
39 | 0.98266 | -0.33418 | 0.00053978 | 0.00013528
40 | 0.98263 | -0.3348 | 0.0033545 | 0.00084072
41 | 0.98191 | -0.34895 | 0.00026386 | 6.6129e-05
42 | 0.98192 | -0.34872 | 0.0046111 | 0.0011557
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.026693 | 0.0067022 | -0.02666 | -0.0066817 | 3.3184e-05 | 2.0513e-05 | 0.039863 | 0.039863 | 0.039863 | 0.99653 | -0.066461 | 0.99518 | -0.092554 | 10.9513
1 | -0.026693 | -0.0067022 | 0.026753 | 0.0067393 | 6.0106e-05 | 3.715e-05 | 0.039863 | 0.039862 | 0.039863 | 0.99653 | -0.066461 | 0.99898 | -0.019373 | 10.9513
2 | -0.21355 | -0.054119 | 0.21375 | 0.054246 | 0.00019898 | 0.00012707 | 0.3183 | 0.3183 | 0.3183 | 0.99898 | -0.019373 | 1 | 0 | 43.7231
3 | 0.12901 | 0.03282 | -0.1284 | -0.032433 | 0.00060671 | 0.00038773 | 0.19233 | 0.19233 | 0.19233 | 0.99898 | -0.019373 | 0.99385 | -0.11746 | 52.8384
4 | 0.057793 | 0.014559 | -0.057658 | -0.014473 | 0.00013471 | 8.5585e-05 | 0.086111 | 0.086111 | 0.086111 | 0.99898 | -0.019373 | 0.99644 | -0.068235 | 23.6569
5 | -0.017867 | -0.0044779 | 0.017874 | 0.0044818 | 6.5722e-06 | 3.8877e-06 | 0.026729 | 0.026729 | 0.026729 | 0.99466 | -0.10252 | 0.99506 | -0.094804 | 7.3431
6 | 0.0074035 | 0.0018556 | -0.0074025 | -0.0018552 | 1.086e-06 | 3.8819e-07 | 0.011071 | 0.011071 | 0.011071 | 0.99506 | -0.094804 | 0.9949 | -0.097883 | 3.0416
7 | -0.040064 | -0.010043 | 0.040107 | 0.010071 | 4.3759e-05 | 2.7583e-05 | 0.059912 | 0.059912 | 0.059912 | 0.99506 | -0.094804 | 0.99625 | -0.071907 | 16.4593
8 | -0.05386 | -0.013518 | 0.053869 | 0.013524 | 9.4341e-06 | 5.9872e-06 | 0.080453 | 0.080453 | 0.080453 | 0.99625 | -0.071907 | 0.99644 | -0.068235 | 22.1024
9 | -0.007795 | -0.0019536 | 0.0077951 | 0.0019537 | 1.0566e-07 | 4.09e-08 | 0.01168 | 0.01168 | 0.01168 | 0.99306 | -0.13275 | 0.99308 | -0.13246 | 3.2088
10 | -0.024251 | -0.0060779 | 0.024269 | 0.0060886 | 1.7345e-05 | 1.0647e-05 | 0.036338 | 0.036338 | 0.036338 | 0.99308 | -0.13246 | 0.99385 | -0.11746 | 9.9829
11 | 0.0013527 | 0.00033789 | -0.0013525 | -0.00033897 | 1.3973e-07 | -1.0879e-06 | 0.0020248 | 0.0020253 | 0.0020253 | 0.99385 | -0.11746 | 0.99374 | -0.11963 | 0.55639
12 | 0.10278 | 0.026006 | -0.10254 | -0.025855 | 0.00023765 | 0.00015175 | 0.15397 | 0.15397 | 0.15397 | 0.99385 | -0.11746 | 0.99134 | -0.16576 | 42.2993
13 | 0.086265 | 0.021775 | -0.086222 | -0.021748 | 4.2779e-05 | 2.7291e-05 | 0.12954 | 0.12954 | 0.12954 | 0.99134 | -0.16576 | 0.99081 | -0.17612 | 35.5879
14 | 0.058059 | 0.01469 | -0.057995 | -0.014649 | 6.3864e-05 | 4.0585e-05 | 0.087244 | 0.087244 | 0.087244 | 0.99081 | -0.17612 | 0.98962 | -0.19907 | 23.9682
15 | 0.050651 | 0.012809 | -0.050575 | -0.01276 | 7.6117e-05 | 4.8266e-05 | 0.076201 | 0.076201 | 0.076201 | 0.98962 | -0.19907 | 0.98799 | -0.23045 | 20.9344
16 | 0.050575 | 0.01276 | -0.050533 | -0.012734 | 4.1745e-05 | 2.6471e-05 | 0.076201 | 0.076201 | 0.076201 | 0.98799 | -0.23045 | 0.9871 | -0.2477 | 20.9345
17 | 0.049311 | 0.012428 | -0.049284 | -0.012411 | 2.6774e-05 | 1.6971e-05 | 0.074359 | 0.074359 | 0.074359 | 0.9871 | -0.2477 | 0.98652 | -0.25906 | 20.4282
18 | 0.0012226 | 0.00030613 | -0.0012226 | -0.0003063 | 1.746e-08 | -1.6407e-07 | 0.0018429 | 0.001843 | 0.001843 | 0.9871 | -0.2477 | 0.98709 | -0.248 | 0.50631
19 | 0.049284 | 0.012411 | -0.049203 | -0.012359 | 8.123e-05 | 5.1488e-05 | 0.074359 | 0.074359 | 0.074359 | 0.98652 | -0.25906 | 0.98474 | -0.29359 | 20.4282
20 | 0.00040424 | 0.0001012 | -0.00040423 | -0.00010131 | 1.2018e-09 | -1.0956e-07 | 0.00060934 | 0.00060938 | 0.00060938 | 0.98709 | -0.248 | 0.98708 | -0.24807 | 0.16741
21 | -0.0043427 | -0.0010879 | 0.0043468 | 0.0010874 | 4.0434e-06 | -5.508e-07 | 0.0065884 | 0.0065873 | 0.0065884 | 0.98079 | -0.37086 | 0.98179 | -0.35131 | 1.81
22 | 0.0043427 | 0.0010879 | -0.0043415 | -0.0010881 | 1.211e-06 | -1.6351e-07 | 0.0065884 | 0.0065888 | 0.0065888 | 0.98079 | -0.37086 | 0.98049 | -0.37672 | 1.8101
23 | -0.014006 | -0.0035085 | 0.014011 | 0.0035112 | 4.8865e-06 | 2.7615e-06 | 0.021227 | 0.021227 | 0.021227 | 0.98179 | -0.35131 | 0.98216 | -0.34399 | 5.8316
24 | 0.0096593 | 0.0024211 | -0.0096585 | -0.0024208 | 7.555e-07 | 3.6466e-07 | 0.01464 | 0.01464 | 0.01464 | 0.98179 | -0.35131 | 0.98171 | -0.35295 | 4.0219
25 | -0.014436 | -0.0036177 | 0.014437 | 0.0036184 | 1.2515e-06 | 7.1265e-07 | 0.02187 | 0.02187 | 0.02187 | 0.98216 | -0.34399 | 0.98226 | -0.34217 | 6.0083
26 | 0.0096585 | 0.0024208 | -0.009657 | -0.00242 | 1.474e-06 | 7.1154e-07 | 0.01464 | 0.01464 | 0.01464 | 0.98171 | -0.35295 | 0.98154 | -0.35615 | 4.022
27 | 0.007107 | 0.001781 | -0.0071058 | -0.0017805 | 1.2225e-06 | 4.2751e-07 | 0.010774 | 0.010774 | 0.010774 | 0.98154 | -0.35615 | 0.98136 | -0.35977 | 2.96
28 | 0.0048765 | 0.0012212 | -0.004875 | -0.0012212 | 1.5228e-06 | 3.3014e-08 | 0.0073871 | 0.0073874 | 0.0073874 | 0.98226 | -0.34217 | 0.98192 | -0.34872 | 2.0295
29 | -0.019313 | -0.0048396 | 0.01932 | 0.0048437 | 6.7783e-06 | 4.0707e-06 | 0.029257 | 0.029257 | 0.029257 | 0.98226 | -0.34217 | 0.98263 | -0.3348 | 8.0378
30 | 0.0043061 | 0.0010789 | -0.0043058 | -0.0010789 | 3.8011e-07 | -5.7111e-08 | 0.0065292 | 0.0065293 | 0.0065293 | 0.98136 | -0.35977 | 0.98126 | -0.36162 | 1.7938
31 | -0.0025888 | -0.00064881 | 0.0025889 | 0.00064863 | 1.1586e-07 | -1.7907e-07 | 0.0039259 | 0.0039258 | 0.0039259 | 0.98121 | -0.36256 | 0.98126 | -0.36162 | 1.0785
32 | 0.011353 | 0.0028466 | -0.011348 | -0.0028441 | 4.7526e-06 | 2.4941e-06 | 0.017155 | 0.017155 | 0.017155 | 0.98474 | -0.29359 | 0.98429 | -0.30238 | 4.713
33 | 0.03785 | 0.0095127 | -0.037798 | -0.0094798 | 5.2255e-05 | 3.2902e-05 | 0.057204 | 0.057204 | 0.057204 | 0.98474 | -0.29359 | 0.98326 | -0.32255 | 15.7154
34 | 0.0076905 | 0.0019275 | -0.0076894 | -0.001927 | 1.1116e-06 | 4.3275e-07 | 0.011626 | 0.011626 | 0.011626 | 0.98429 | -0.30238 | 0.98414 | -0.30542 | 3.194
35 | 0.026176 | 0.0065672 | -0.026171 | -0.0065638 | 5.4669e-06 | 3.381e-06 | 0.039616 | 0.039616 | 0.039616 | 0.98326 | -0.32255 | 0.98303 | -0.32694 | 10.8836
36 | -0.005093 | -0.0012763 | 0.0050932 | 0.0012763 | 1.5436e-07 | 1.0628e-08 | 0.0077015 | 0.0077015 | 0.0077015 | 0.98402 | -0.30766 | 0.98406 | -0.30703 | 2.1158
37 | 0.0019534 | 0.00048945 | -0.0019534 | -0.00048956 | 3.3146e-08 | -1.0747e-07 | 0.0029539 | 0.0029539 | 0.0029539 | 0.98402 | -0.30766 | 0.984 | -0.30802 | 0.81151
38 | -0.0067814 | -0.0016994 | 0.0067819 | 0.0016996 | 5.2045e-07 | 1.6539e-07 | 0.010254 | 0.010254 | 0.010254 | 0.98406 | -0.30703 | 0.98414 | -0.30542 | 2.8171
39 | 0.023223 | 0.005825 | -0.023215 | -0.0058201 | 8.0218e-06 | 4.9146e-06 | 0.035154 | 0.035154 | 0.035154 | 0.98303 | -0.32694 | 0.98266 | -0.33418 | 9.6578
40 | 0.022675 | 0.0056848 | -0.022675 | -0.0056844 | 6.6482e-07 | 4.0643e-07 | 0.034337 | 0.034337 | 0.034337 | 0.98266 | -0.33418 | 0.98263 | -0.3348 | 9.4333
41 | -0.00026386 | -6.6129e-05 | 0.00026386 | 6.5545e-05 | 2.7734e-09 | -5.8364e-07 | 0.00039986 | 0.00039965 | 0.00039986 | 0.98191 | -0.34895 | 0.98192 | -0.34872 | 0.10985

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24787 | 0.062383

## res_load
| p_mw | q_mvar
0 | 0.02666 | 0.0066817
1 | 0.017867 | 0.0044779
2 | 0.014786 | 0.0037058
3 | 0.0074025 | 0.0018552
4 | 0.013753 | 0.0034467
5 | 0.0037891 | 0.00094963
6 | 0.007795 | 0.0019536
7 | 0.016456 | 0.0041243
8 | 0.032469 | 0.0081374
9 | 0.016276 | 0.0040791
10 | 0.028163 | 0.0070583
11 | 0.0073442 | 0.0018406
12 | 0.0013525 | 0.00033897
13 | 0.00081833 | 0.00020509
14 | 0.0043415 | 0.0010881
15 | 0.00042465 | 0.00010643
16 | 0.00255 | 0.00063909
17 | 0.0027997 | 0.00070166
18 | 0.0025888 | 0.00064881
19 | 0.0017169 | 0.00043029
20 | 0.0036573 | 0.00091661
21 | 0.011622 | 0.0029127
22 | 0.00040423 | 0.00010131
23 | 0.0031396 | 0.00078687
24 | 0.0016882 | 0.00042309
25 | 0.0019534 | 0.00048956
26 | 0.00090751 | 0.00022744
27 | 0.0029477 | 0.00073876
28 | 0.00053978 | 0.00013528
29 | 0.0033545 | 0.00084072
30 | 0.00026386 | 6.6129e-05
31 | 0.0046111 | 0.0011557

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1