## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2701-240_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2701-240_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2701-240_0_5_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_2701-240_0_5_node_128 | 0.4 | n |  | TRUE
4 | bus_LV_2701-240_0_5_node_42 | 0.4 | n |  | TRUE
5 | bus_LV_2701-240_0_5_node_126 | 0.4 | n |  | TRUE
6 | bus_LV_2701-240_0_5_node_129 | 0.4 | n |  | TRUE
7 | bus_LV_2701-240_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_2701-240_0_5_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_2701-240_0_5_node_130 | 0.4 | n |  | TRUE
10 | bus_LV_2701-240_0_5_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_2701-240_0_5_node_125 | 0.4 | n |  | TRUE
12 | bus_LV_2701-240_0_5_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_2701-240_0_5_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_2701-240_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_2701-240_0_5_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_2701-240_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2701-240_0_5_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_2701-240_0_5_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_2701-240_0_5_node_108 | 0.4 | n |  | TRUE
20 | bus_LV_2701-240_0_5_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_2701-240_0_5_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_2701-240_0_5_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_2701-240_0_5_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_2701-240_0_5_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_2701-240_0_5_node_118 | 0.4 | n |  | TRUE
26 | bus_LV_2701-240_0_5_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_2701-240_0_5_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_2701-240_0_5_node_103 | 0.4 | n |  | TRUE
29 | bus_LV_2701-240_0_5_node_111 | 0.4 | n |  | TRUE
30 | bus_LV_2701-240_0_5_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_2701-240_0_5_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_2701-240_0_5_node_101 | 0.4 | n |  | TRUE
33 | bus_LV_2701-240_0_5_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_2701-240_0_5_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_2701-240_0_5_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_2701-240_0_5_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_2701-240_0_5_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_2701-240_0_5_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_2701-240_0_5_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_2701-240_0_5_node_113 | 0.4 | n |  | TRUE
41 | bus_LV_2701-240_0_5_node_114 | 0.4 | n |  | TRUE
42 | bus_LV_2701-240_0_5_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_2701-240_0_5_node_115 | 0.4 | n |  | TRUE
44 | bus_LV_2701-240_0_5_node_117 | 0.4 | n |  | TRUE
45 | bus_LV_2701-240_0_5_node_121 | 0.4 | n |  | TRUE
46 | bus_LV_2701-240_0_5_node_119 | 0.4 | n |  | TRUE
47 | bus_LV_2701-240_0_5_node_120 | 0.4 | n |  | TRUE
48 | bus_MV_561_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2701-240_0_5_load_0 | 0 | 0.0019658 | 0.00049268 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2701-240_0_5_load_128 | 3 | 0.0097874 | 0.0024529 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2701-240_0_5_load_129 | 6 | 0.0031812 | 0.00079728 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2701-240_0_5_load_125 | 11 | 0.0097305 | 0.0024387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2701-240_0_5_load_132 | 12 | 0.00528 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2701-240_0_5_load_97 | 15 | 0.031516 | 0.0078987 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2701-240_0_5_load_99 | 17 | 0.0020534 | 0.00051464 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2701-240_0_5_load_92 | 18 | 0.0098611 | 0.0024714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2701-240_0_5_load_108 | 19 | 0.00048871 | 0.00012248 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2701-240_0_5_load_89 | 22 | 0.0019687 | 0.0004934 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2701-240_0_5_load_118 | 25 | 0.0067892 | 0.0017015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2701-240_0_5_load_127 | 26 | 0.0071081 | 0.0017814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2701-240_0_5_load_111 | 29 | 0.0083916 | 0.0021031 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2701-240_0_5_load_94 | 30 | 0.0097163 | 0.0024351 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2701-240_0_5_load_100 | 31 | 0.0088146 | 0.0022091 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2701-240_0_5_load_101 | 32 | 0.0032944 | 0.00082566 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2701-240_0_5_load_112 | 34 | 0.012333 | 0.003091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2701-240_0_5_load_105 | 35 | 0.00046265 | 0.00011595 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2701-240_0_5_load_106 | 36 | 0.00046229 | 0.00011586 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2701-240_0_5_load_107 | 37 | 0.00046229 | 0.00011586 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2701-240_0_5_load_109 | 38 | 0.00046264 | 0.00011595 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2701-240_0_5_load_110 | 39 | 0.00048916 | 0.0001226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2701-240_0_5_load_113 | 40 | 0.0073581 | 0.0018441 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2701-240_0_5_load_114 | 41 | 0.0059719 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2701-240_0_5_load_115 | 43 | 0.0062581 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2701-240_0_5_load_121 | 45 | 0.0082521 | 0.0020682 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2701-240_0_5_load_120 | 47 | 0.0075154 | 0.0018835 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2701-240_0_5_line_0 |  | 0 | 1 | 0.056638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2701-240_0_5_line_1 |  | 1 | 2 | 0.39569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2701-240_0_5_line_2 |  | 2 | 14 | 0.18141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2701-240_0_5_line_3 |  | 2 | 15 | 0.164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2701-240_0_5_line_4 |  | 3 | 4 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2701-240_0_5_line_5 |  | 3 | 5 | 0.01778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2701-240_0_5_line_6 |  | 4 | 26 | 0.024837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2701-240_0_5_line_7 |  | 5 | 10 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2701-240_0_5_line_8 |  | 5 | 42 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2701-240_0_5_line_9 |  | 6 | 7 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2701-240_0_5_line_10 |  | 6 | 8 | 0.025405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_2701-240_0_5_line_11 |  | 7 | 23 | 0.008022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2701-240_0_5_line_12 |  | 7 | 24 | 0.017232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2701-240_0_5_line_13 |  | 8 | 20 | 0.16069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2701-240_0_5_line_14 |  | 8 | 9 | 0.014425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2701-240_0_5_line_15 |  | 9 | 10 | 0.010888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2701-240_0_5_line_16 |  | 10 | 11 | 0.009828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2701-240_0_5_line_17 |  | 12 | 13 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2701-240_0_5_line_18 |  | 13 | 27 | 0.006374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2701-240_0_5_line_19 |  | 14 | 16 | 1.9921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2701-240_0_5_line_20 |  | 14 | 17 | 0.0074758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2701-240_0_5_line_21 |  | 16 | 18 | 0.061147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_2701-240_0_5_line_22 |  | 16 | 19 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2701-240_0_5_line_23 |  | 18 | 20 | 0.058177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2701-240_0_5_line_24 |  | 19 | 36 | 0.0050234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2701-240_0_5_line_25 |  | 20 | 21 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2701-240_0_5_line_26 |  | 20 | 22 | 0.034138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2701-240_0_5_line_27 |  | 21 | 28 | 0.034361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2701-240_0_5_line_28 |  | 21 | 29 | 0.06165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2701-240_0_5_line_29 |  | 23 | 25 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2701-240_0_5_line_30 |  | 24 | 30 | 0.0055204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2701-240_0_5_line_31 |  | 25 | 46 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2701-240_0_5_line_32 |  | 26 | 27 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2701-240_0_5_line_33 |  | 27 | 44 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2701-240_0_5_line_34 |  | 28 | 33 | 0.009115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2701-240_0_5_line_35 |  | 28 | 32 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2701-240_0_5_line_36 |  | 31 | 32 | 0.056612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2701-240_0_5_line_37 |  | 33 | 34 | 0.062027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2701-240_0_5_line_38 |  | 35 | 36 | 0.004886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2701-240_0_5_line_39 |  | 35 | 37 | 0.004886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2701-240_0_5_line_40 |  | 37 | 38 | 0.004886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2701-240_0_5_line_41 |  | 38 | 39 | 0.005028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2701-240_0_5_line_42 |  | 40 | 41 | 0.0012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2701-240_0_5_line_43 |  | 41 | 42 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2701-240_0_5_line_44 |  | 43 | 44 | 0.018637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2701-240_0_5_line_45 |  | 44 | 45 | 0.055819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2701-240_0_5_line_46 |  | 46 | 47 | 0.0088999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2701-240_0_5_trafo_41 | 0.63 MVA 20/0.4 kV | 48 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112
0 | 2612409.0338 | 1269334.4027 | 2612409.793 | 1269313.1671 | 2612410.2029 | 1269307.8531 | 2612411.0086 | 1269303.952 | 2612412.9235 | 1269298.5633 | 2612420.8792 | 1269286.5826 | 2612424.5166 | 1269281.8416
1 | 2612186.2876 | 1269294.0907 | 2612203.9781 | 1269293.5934 | 2612213.0296 | 1269293.6454 | 2612228.469 | 1269293.8328 | 2612236.0613 | 1269290.0124 | 2612267.6326 | 1269272.0538 | 2612290.6984 | 1269259.2813 | 2612303.669 | 1269252.6146 | 2612316.4456 | 1269248.8495 | 2612330.6267 | 1269246.2994 | 2612339.7386 | 1269242.6824 | 2612327.3684 | 1269260.9252 | 2612298.2884 | 1269296.5233 | 2612291.8948 | 1269306.4949 | 2612282.1476 | 1269326.2665 | 2612299.3511 | 1269324.7233 | 2612304.0381 | 1269325.0221 | 2612311.8291 | 1269326.9729 | 2612329.513 | 1269329.6004 | 2612344.5642 | 1269331.8777 | 2612368.5126 | 1269336.0304 | 2612379.7426 | 1269337.7551 | 2612385.9201 | 1269337.7012 | 2612391.5728 | 1269336.7568 | 2612400.4017 | 1269335.2742 | 2612409.0338 | 1269334.4027
2 | 2612186.2876 | 1269294.0907 | 2612203.9781 | 1269293.5934 | 2612213.0296 | 1269293.6454 | 2612228.469 | 1269293.8328 | 2612234.0322 | 1269281.5467 | 2612237.8176 | 1269273.8935 | 2612241.3823 | 1269267.4964 | 2612247.0346 | 1269259.4134 | 2612253.4985 | 1269251.8881 | 2612262.502 | 1269242.4556 | 2612271.7287 | 1269234.2466 | 2612293.9327 | 1269216.2354 | 2612306.0807 | 1269203.5627 | 2612312.0611 | 1269197.0372 | 2612318.1639 | 1269189.4889
3 | 2612186.2876 | 1269294.0907 | 2612177.8264 | 1269292.3499 | 2612173.0294 | 1269290.6166 | 2612168.5209 | 1269287.7054 | 2612165.2635 | 1269283.7181 | 2612163.6199 | 1269278.0107 | 2612163.805 | 1269272.1291 | 2612165.0633 | 1269267.6063 | 2612167.5548 | 1269263.4529 | 2612170.9016 | 1269260.5244 | 2612174.984 | 1269258.4535 | 2612180.1259 | 1269257.0742 | 2612190.7209 | 1269256.7179 | 2612207.6524 | 1269255.7853 | 2612211.4909 | 1269255.2929 | 2612215.2792 | 1269253.5439 | 2612217.9613 | 1269251.8593 | 2612220.2395 | 1269249.0064 | 2612233.9386 | 1269224.7508 | 2612246.62 | 1269201.4717 | 2612250.0162 | 1269195.0657
4 | 2612300.3941 | 1268955.8539 | 2612295.623 | 1268981.4732
5 | 2612311.151 | 1268990.1337 | 2612295.623 | 1268981.4732
6 | 2612300.3941 | 1268955.8539 | 2612304.9069 | 1268931.4299
7 | 2612306.1725 | 1268999.6301 | 2612311.151 | 1268990.1337
8 | 2612327.7795 | 1268979.7164 | 2612319.1502 | 1268975.3843 | 2612311.151 | 1268990.1337
9 | 2612269.6615 | 1269047.7107 | 2612278.2658 | 1269026.8187
10 | 2612287.9402 | 1269003.3283 | 2612278.2658 | 1269026.8187
11 | 2612266.6062 | 1269055.1318 | 2612269.6615 | 1269047.7107
12 | 2612269.6615 | 1269047.7107 | 2612285.0027 | 1269055.648
13 | 2612136.6623 | 1269026.8782 | 2612179.0185 | 1269015.7237 | 2612226.4342 | 1269003.2457 | 2612269.9557 | 1268992.7392 | 2612269.0256 | 1268994.961 | 2612287.9402 | 1269003.3283
14 | 2612287.9402 | 1269003.3283 | 2612301.1185 | 1269009.282
15 | 2612306.1725 | 1268999.6301 | 2612301.1185 | 1269009.282
16 | 2612306.1725 | 1268999.6301 | 2612314.6725 | 1269004.6067
17 | 2612308.9174 | 1268909.7168 | 2612312.2437 | 1268889.2229
18 | 2612307.7606 | 1268915.9855 | 2612308.9174 | 1268909.7168
19 | 2612138.9681 | 1268907.5766 | 2612140.3195 | 1268839.1644 | 2612144.4358 | 1268839.0728 | 2612148.5972 | 1268838.9812 | 2612146.5588 | 1268834.8964 | 2612146.0046 | 1268811.5232 | 2612053.9402 | 1268810.4238 | 2612051.7292 | 1268809.7966 | 2612042.2833 | 1268807.1423 | 2612034.2928 | 1268806.6813 | 2611975.2943 | 1268808.4633 | 2611975.3044 | 1268818.3814 | 2611977.8784 | 1268870.3455 | 2611981.6359 | 1268902.598 | 2611984.9035 | 1268927.7557 | 2611993.3945 | 1268993.2301 | 2611997.4982 | 1269025.3611 | 2612002.2198 | 1269042.1269 | 2612004.7391 | 1269057.7319 | 2612013.5174 | 1269129.7449 | 2612005.0499 | 1269130.9953 | 2612006.9787 | 1269144.62 | 2612011.8006 | 1269178.676 | 2612016.4911 | 1269184.7231 | 2612019.4698 | 1269188.9543 | 2612025.2564 | 1269192.4574 | 2612030.965 | 1269193.6809 | 2612037.4756 | 1269192.6823 | 2612042.454 | 1269190.2796 | 2612046.9161 | 1269186.5415 | 2612050.0019 | 1269182.4449 | 2612051.2082 | 1269177.555 | 2612051.4826 | 1269172.1184 | 2612050.9571 | 1269167.7921 | 2612049.5827 | 1269162.8302 | 2612054.192 | 1269168.0988 | 2612057.529 | 1269173.6651 | 2612059.8228 | 1269181.6309 | 2612059.6731 | 1269188.6689 | 2612056.9627 | 1269196.8692 | 2612051.679 | 1269205.0643 | 2612042.4085 | 1269212.7398 | 2612034.6867 | 1269217.3274 | 2612039.4397 | 1269218.5045 | 2612043.7389 | 1269220.8593 | 2612047.291 | 1269224.2245 | 2612049.871 | 1269228.3771 | 2612051.3137 | 1269233.05 | 2612053.1287 | 1269224.8367 | 2612055.3142 | 1269219.404 | 2612058.4464 | 1269214.7071 | 2612062.6939 | 1269209.134 | 2612068.1935 | 1269202.0957 | 2612071.7133 | 1269195.4537 | 2612073.0853 | 1269190.5086 | 2612073.9185 | 1269184.1058 | 2612065.8892 | 1269110.493 | 2612060.7283 | 1269076.692 | 2612057.3418 | 1269058.4056 | 2612052.9524 | 1269037.4708 | 2612047.1306 | 1269017.834 | 2612038.4187 | 1268998.5027 | 2612043.4934 | 1269019.2387 | 2612047.0287 | 1269038.3594 | 2612047.9418 | 1269063.0342 | 2612046.9302 | 1269083.202 | 2612042.3971 | 1269110.79 | 2612034.2814 | 1269157.4509 | 2612033.6644 | 1269164.8994 | 2612033.1609 | 1269183.1001 | 2612035.6056 | 1269198.3381 | 2612039.1772 | 1269210.6651 | 2612044.5078 | 1269223.8519 | 2612053.8134 | 1269239.6375 | 2612063.5783 | 1269251.5657 | 2612072.1844 | 1269259.8113 | 2612080.7626 | 1269266.9226 | 2612094.3795 | 1269275.3563 | 2612103.7993 | 1269279.3227 | 2612113.2964 | 1269282.2886 | 2612122.1567 | 1269283.8634 | 2612132.7863 | 1269284.9414 | 2612145.3514 | 1269285.145 | 2612158.5443 | 1269283.7599 | 2612169.5271 | 1269281.3474 | 2612181.8152 | 1269277.2252 | 2612193.412 | 1269272.6013 | 2612206.3762 | 1269265.3784 | 2612240.6973 | 1269242.0881 | 2612260.2324 | 1269219.2567 | 2612274.0786 | 1269200.3942 | 2612286.7956 | 1269181.8185 | 2612301.6016 | 1269157.3875 | 2612315.1844 | 1269131.4418 | 2612337.6776 | 1269083.1433 | 2612342.6521 | 1269071.9012 | 2612322.1931 | 1269097.1543 | 2612302.0676 | 1269135.8622 | 2612289.1843 | 1269158.3402 | 2612276.2973 | 1269179.0727 | 2612265.5014 | 1269192.849 | 2612252.4672 | 1269215.6604 | 2612250.9795 | 1269218.2703 | 2612256.7296 | 1269217.5594 | 2612262.0397 | 1269218.5711 | 2612266.4373 | 1269220.5816 | 2612270.2808 | 1269224.9037 | 2612271.8618 | 1269228.0981 | 2612271.7287 | 1269234.2466 | 2612293.9327 | 1269216.2354 | 2612306.0807 | 1269203.5627 | 2612312.0611 | 1269197.0372 | 2612318.1639 | 1269189.4889
20 | 2612318.1639 | 1269189.4889 | 2612323.7661 | 1269184.5388
21 | 2612138.9681 | 1268907.5766 | 2612137.7865 | 1268968.7118
22 | 2612138.9681 | 1268907.5766 | 2612112.2397 | 1268908.9522
23 | 2612136.6623 | 1269026.8782 | 2612137.7865 | 1268968.7118
24 | 2612107.2229 | 1268909.2103 | 2612112.2397 | 1268908.9522
25 | 2612136.6623 | 1269026.8782 | 2612110.1152 | 1269030.749
26 | 2612136.6623 | 1269026.8782 | 2612138.271 | 1269060.9784
27 | 2612110.1152 | 1269030.749 | 2612075.9519 | 1269035.2826
28 | 2612110.1152 | 1269030.749 | 2612114.6884 | 1269092.2289
29 | 2612266.6062 | 1269055.1318 | 2612258.0217 | 1269075.9732
30 | 2612285.0027 | 1269055.648 | 2612287.5984 | 1269050.7759
31 | 2612269.9719 | 1269083.1585 | 2612257.7884 | 1269076.5398 | 2612258.0217 | 1269075.9732
32 | 2612307.7606 | 1268915.9855 | 2612304.9069 | 1268931.4299
33 | 2612307.7606 | 1268915.9855 | 2612319.111 | 1268921.7353
34 | 2612066.8899 | 1269036.4873 | 2612075.9519 | 1269035.2826
35 | 2612075.9519 | 1269035.2826 | 2612075.6413 | 1269043.7102 | 2612077.4456 | 1269054.7188
36 | 2612086.0881 | 1269110.667 | 2612085.5571 | 1269107.2974 | 2612081.7541 | 1269082.9503 | 2612077.9602 | 1269057.8582 | 2612077.4456 | 1269054.7188
37 | 2612066.8899 | 1269036.4873 | 2612068.1474 | 1269024.9261 | 2612064.2515 | 1268998.1104 | 2612062.2902 | 1268985.7199 | 2612060.7021 | 1268975.0826
38 | 2612102.3434 | 1268909.4615 | 2612107.2229 | 1268909.2103
39 | 2612102.3434 | 1268909.4615 | 2612097.4638 | 1268909.7126
40 | 2612092.5843 | 1268909.9637 | 2612097.4638 | 1268909.7126
41 | 2612092.5843 | 1268909.9637 | 2612087.5629 | 1268910.2222
42 | 2612342.4355 | 1268961.9115 | 2612341.8539 | 1268962.9681
43 | 2612327.7795 | 1268979.7164 | 2612331.9814 | 1268981.8266 | 2612337.7766 | 1268970.375 | 2612341.8539 | 1268962.9681
44 | 2612319.111 | 1268921.7353 | 2612335.5085 | 1268930.5925
45 | 2612319.111 | 1268921.7353 | 2612327.3429 | 1268907.32 | 2612357.1522 | 1268923.5489 | 2612359.4326 | 1268918.7891
46 | 2612269.9719 | 1269083.1585 | 2612277.7962 | 1269087.3999

## bus_geodata
| x | y | coords
0 | 2612424.5166 | 1269281.8416
1 | 2612409.0338 | 1269334.4027
2 | 2612186.2876 | 1269294.0907
3 | 2612295.623 | 1268981.4732
4 | 2612300.3941 | 1268955.8539
5 | 2612311.151 | 1268990.1337
6 | 2612278.2658 | 1269026.8187
7 | 2612269.6615 | 1269047.7107
8 | 2612287.9402 | 1269003.3283
9 | 2612301.1185 | 1269009.282
10 | 2612306.1725 | 1268999.6301
11 | 2612314.6725 | 1269004.6067
12 | 2612312.2437 | 1268889.2229
13 | 2612308.9174 | 1268909.7168
14 | 2612318.1639 | 1269189.4889
15 | 2612250.0162 | 1269195.0657
16 | 2612138.9681 | 1268907.5766
17 | 2612323.7661 | 1269184.5388
18 | 2612137.7865 | 1268968.7118
19 | 2612112.2397 | 1268908.9522
20 | 2612136.6623 | 1269026.8782
21 | 2612110.1152 | 1269030.749
22 | 2612138.271 | 1269060.9784
23 | 2612266.6062 | 1269055.1318
24 | 2612285.0027 | 1269055.648
25 | 2612258.0217 | 1269075.9732
26 | 2612304.9069 | 1268931.4299
27 | 2612307.7606 | 1268915.9855
28 | 2612075.9519 | 1269035.2826
29 | 2612114.6884 | 1269092.2289
30 | 2612287.5984 | 1269050.7759
31 | 2612086.0881 | 1269110.667
32 | 2612077.4456 | 1269054.7188
33 | 2612066.8899 | 1269036.4873
34 | 2612060.7021 | 1268975.0826
35 | 2612102.3434 | 1268909.4615
36 | 2612107.2229 | 1268909.2103
37 | 2612097.4638 | 1268909.7126
38 | 2612092.5843 | 1268909.9637
39 | 2612087.5629 | 1268910.2222
40 | 2612342.4355 | 1268961.9115
41 | 2612341.8539 | 1268962.9681
42 | 2612327.7795 | 1268979.7164
43 | 2612335.5085 | 1268930.5925
44 | 2612319.111 | 1268921.7353
45 | 2612359.4326 | 1268918.7891
46 | 2612269.9719 | 1269083.1585
47 | 2612277.7962 | 1269087.3999
48 | 2612269.6615 | 1269047.7107

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9746 | -0.48987 | 0.0019658 | 0.00049268
1 | 0.97471 | -0.48782 | 0 | 0
2 | 0.97543 | -0.4735 | 0 | 0
3 | 0.99566 | -0.083142 | 0.0097874 | 0.0024529
4 | 0.99502 | -0.095476 | 0 | 0
5 | 0.99626 | -0.071679 | 0 | 0
6 | 0.99896 | -0.01988 | 0.0031812 | 0.00079728
7 | 0.99971 | -0.0054557 | 0 | 0
8 | 0.99813 | -0.035771 | 0 | 0
9 | 0.99734 | -0.050863 | 0 | 0
10 | 0.99675 | -0.06227 | 0 | 0
11 | 0.99666 | -0.063948 | 0.0097305 | 0.0024387
12 | 0.994 | -0.11525 | 0.00528 | 0.0013233
13 | 0.9941 | -0.11332 | 0 | 0
14 | 0.97732 | -0.43645 | 0 | 0
15 | 0.9706 | -0.56866 | 0.031516 | 0.0078987
16 | 0.99385 | -0.1174 | 0 | 0
17 | 0.97731 | -0.43673 | 0.0020534 | 0.00051464
18 | 0.9944 | -0.10698 | 0.0098611 | 0.0024714
19 | 0.99378 | -0.11874 | 0.00048871 | 0.00012248
20 | 0.99505 | -0.094542 | 0 | 0
21 | 0.99425 | -0.11002 | 0 | 0
22 | 0.99499 | -0.095726 | 0.0019687 | 0.0004934
23 | 1 | 0 | -0.17316 | -0.043439
24 | 0.99956 | -0.0083762 | 0 | 0
25 | 0.99971 | -0.0056218 | 0.0067892 | 0.0017015
26 | 0.99441 | -0.10725 | 0.0071081 | 0.0017814
27 | 0.99413 | -0.11273 | 0 | 0
28 | 0.99348 | -0.12484 | 0 | 0
29 | 0.99378 | -0.11915 | 0.0083916 | 0.0021031
30 | 0.99951 | -0.009312 | 0.0097163 | 0.0024351
31 | 0.99281 | -0.13785 | 0.0088146 | 0.0022091
32 | 0.99326 | -0.12903 | 0.0032944 | 0.00082566
33 | 0.99338 | -0.12683 | 0 | 0
34 | 0.99268 | -0.14035 | 0.012333 | 0.003091
35 | 0.99376 | -0.11911 | 0.00046265 | 0.00011595
36 | 0.99377 | -0.11894 | 0.00046229 | 0.00011586
37 | 0.99376 | -0.11923 | 0.00046229 | 0.00011586
38 | 0.99375 | -0.11931 | 0.00046264 | 0.00011595
39 | 0.99375 | -0.11935 | 0.00048916 | 0.0001226
40 | 0.99561 | -0.084108 | 0.0073581 | 0.0018441
41 | 0.99562 | -0.083952 | 0.0059719 | 0.0014967
42 | 0.99594 | -0.077861 | 0 | 0
43 | 0.99386 | -0.11803 | 0.0062581 | 0.0015684
44 | 0.99396 | -0.11598 | 0 | 0
45 | 0.99354 | -0.12411 | 0.0082521 | 0.0020682
46 | 0.99961 | -0.0075197 | 0 | 0
47 | 0.99955 | -0.0086865 | 0.0075154 | 0.0018835
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0019658 | -0.00049268 | 0.001966 | 0.0004921 | 1.9132e-07 | -5.8342e-07 | 0.0030014 | 0.0030012 | 0.0030014 | 0.9746 | -0.48987 | 0.97471 | -0.48782 | 0.82457
1 | -0.001966 | -0.0004921 | 0.0019674 | 0.00048802 | 1.3357e-06 | -4.0808e-06 | 0.0030012 | 0.0029994 | 0.0030012 | 0.97471 | -0.48782 | 0.97543 | -0.4735 | 0.8245
2 | -0.033627 | -0.0084765 | 0.033687 | 0.0085079 | 5.9711e-05 | 3.1409e-05 | 0.051315 | 0.051313 | 0.051315 | 0.97543 | -0.4735 | 0.97732 | -0.43645 | 4.6992
3 | 0.03166 | 0.0079885 | -0.031516 | -0.0078987 | 0.00014357 | 8.9848e-05 | 0.048316 | 0.048317 | 0.048317 | 0.97543 | -0.4735 | 0.9706 | -0.56866 | 13.2738
4 | 0.026941 | 0.0067664 | -0.026925 | -0.0067566 | 1.5846e-05 | 9.803e-06 | 0.040268 | 0.040268 | 0.040268 | 0.99566 | -0.083142 | 0.99502 | -0.095476 | 11.0628
5 | -0.036728 | -0.0092193 | 0.036749 | 0.009232 | 2.0092e-05 | 1.2628e-05 | 0.054896 | 0.054895 | 0.054896 | 0.99566 | -0.083142 | 0.99626 | -0.071679 | 15.0812
6 | 0.026925 | 0.0067566 | -0.02691 | -0.0067472 | 1.5103e-05 | 9.3436e-06 | 0.040268 | 0.040269 | 0.040269 | 0.99502 | -0.095476 | 0.99441 | -0.10725 | 11.0628
7 | -0.050086 | -0.012577 | 0.050109 | 0.012591 | 2.2494e-05 | 1.4257e-05 | 0.074818 | 0.074818 | 0.074818 | 0.99626 | -0.071679 | 0.99675 | -0.06227 | 20.5543
8 | 0.013338 | 0.0033451 | -0.013334 | -0.003343 | 3.9294e-06 | 2.1712e-06 | 0.019922 | 0.019922 | 0.019922 | 0.99626 | -0.071679 | 0.99594 | -0.077861 | 5.4732
9 | -0.14734 | -0.037325 | 0.14744 | 0.03739 | 0.00010216 | 6.4199e-05 | 0.21961 | 0.21961 | 0.21961 | 0.99896 | -0.01988 | 0.99971 | -0.0054557 | 15.0833
10 | 0.14416 | 0.036528 | -0.14405 | -0.036459 | 0.00010996 | 6.9048e-05 | 0.21487 | 0.21487 | 0.21487 | 0.99896 | -0.01988 | 0.99813 | -0.035771 | 14.7579
11 | -0.15716 | -0.039826 | 0.1572 | 0.039852 | 4.1207e-05 | 2.5952e-05 | 0.23408 | 0.23408 | 0.23408 | 0.99971 | -0.0054557 | 1 | 0 | 16.0767
12 | 0.0097181 | 0.002436 | -0.0097167 | -0.0024353 | 1.3521e-06 | 6.3942e-07 | 0.014465 | 0.014465 | 0.014465 | 0.99971 | -0.0054557 | 0.99956 | -0.0083762 | 3.9739
13 | 0.084132 | 0.021381 | -0.083895 | -0.021237 | 0.00023739 | 0.00014356 | 0.12553 | 0.12553 | 0.12553 | 0.99813 | -0.035771 | 0.99505 | -0.094542 | 8.6217
14 | 0.059916 | 0.015079 | -0.059873 | -0.015051 | 4.3181e-05 | 2.7447e-05 | 0.089345 | 0.089345 | 0.089345 | 0.99813 | -0.035771 | 0.99734 | -0.050863 | 24.5454
15 | 0.059873 | 0.015051 | -0.05984 | -0.01503 | 3.2593e-05 | 2.0717e-05 | 0.089345 | 0.089345 | 0.089345 | 0.99734 | -0.050863 | 0.99675 | -0.06227 | 24.5454
16 | 0.0097313 | 0.0024391 | -0.0097305 | -0.0024387 | 7.7783e-07 | 3.6973e-07 | 0.014528 | 0.014528 | 0.014528 | 0.99675 | -0.06227 | 0.99666 | -0.063948 | 3.9911
17 | -0.00528 | -0.0013233 | 0.0052805 | 0.0013233 | 4.8641e-07 | 4.215e-08 | 0.0079041 | 0.007904 | 0.0079041 | 0.994 | -0.11525 | 0.9941 | -0.11332 | 2.1715
18 | -0.0052805 | -0.0013233 | 0.0052806 | 0.0013233 | 1.4933e-07 | 1.2928e-08 | 0.007904 | 0.007904 | 0.007904 | 0.9941 | -0.11332 | 0.99413 | -0.11273 | 2.1714
19 | -0.03574 | -0.0090225 | 0.036293 | 0.0092749 | 0.00055313 | 0.00025245 | 0.054439 | 0.054403 | 0.054439 | 0.97732 | -0.43645 | 0.99385 | -0.1174 | 3.739
20 | 0.0020535 | 0.00051456 | -0.0020534 | -0.00051464 | 2.7403e-08 | -7.614e-08 | 0.0031265 | 0.0031265 | 0.0031265 | 0.97732 | -0.43645 | 0.97731 | -0.43673 | 0.85893
21 | -0.039121 | -0.0099831 | 0.039141 | 0.0099926 | 1.9709e-05 | 9.4428e-06 | 0.058637 | 0.058636 | 0.058637 | 0.99385 | -0.1174 | 0.9944 | -0.10698 | 4.0272
22 | 0.002828 | 0.00070818 | -0.0028278 | -0.00070842 | 1.7992e-07 | -2.3165e-07 | 0.0042339 | 0.004234 | 0.004234 | 0.99385 | -0.1174 | 0.99378 | -0.11874 | 1.1632
23 | -0.049002 | -0.012464 | 0.049031 | 0.01248 | 2.9377e-05 | 1.5781e-05 | 0.073391 | 0.07339 | 0.073391 | 0.9944 | -0.10698 | 0.99505 | -0.094542 | 5.0406
24 | 0.0023391 | 0.00058593 | -0.0023391 | -0.00058598 | 2.3106e-08 | -5.0297e-08 | 0.0035023 | 0.0035023 | 0.0035023 | 0.99378 | -0.11874 | 0.99377 | -0.11894 | 0.96217
25 | 0.032894 | 0.0082642 | -0.03287 | -0.008249 | 2.4279e-05 | 1.5192e-05 | 0.049198 | 0.049198 | 0.049198 | 0.99505 | -0.094542 | 0.99425 | -0.11002 | 13.516
26 | 0.0019688 | 0.00049303 | -0.0019687 | -0.0004934 | 1.1097e-07 | -3.724e-07 | 0.0029441 | 0.0029442 | 0.0029442 | 0.99505 | -0.094542 | 0.99499 | -0.095726 | 0.80885
27 | 0.024475 | 0.0061443 | -0.024458 | -0.0061337 | 1.7292e-05 | 1.0622e-05 | 0.036633 | 0.036634 | 0.036634 | 0.99425 | -0.11002 | 0.99348 | -0.12484 | 10.0642
28 | 0.0083952 | 0.0021047 | -0.0083916 | -0.0021031 | 3.6499e-06 | 1.5368e-06 | 0.012565 | 0.012565 | 0.012565 | 0.99425 | -0.11002 | 0.99378 | -0.11915 | 3.4519
29 | 0.014309 | 0.0035876 | -0.014306 | -0.0035854 | 3.8324e-06 | 2.1571e-06 | 0.021293 | 0.021293 | 0.021293 | 1 | 0 | 0.99971 | -0.0056218 | 5.8498
30 | 0.0097167 | 0.0024353 | -0.0097163 | -0.0024351 | 4.3315e-07 | 2.0486e-07 | 0.014465 | 0.014465 | 0.014465 | 0.99956 | -0.0083762 | 0.99951 | -0.009312 | 3.9739
31 | 0.0075165 | 0.0018839 | -0.0075158 | -0.0018837 | 6.7959e-07 | 2.4512e-07 | 0.011188 | 0.011188 | 0.011188 | 0.99971 | -0.0056218 | 0.99961 | -0.0075197 | 3.0736
32 | 0.019802 | 0.0049658 | -0.019797 | -0.0049627 | 5.1716e-06 | 3.1061e-06 | 0.029632 | 0.029632 | 0.029632 | 0.99441 | -0.10725 | 0.99413 | -0.11273 | 8.1408
33 | 0.014516 | 0.0036393 | -0.014514 | -0.0036381 | 2.2472e-06 | 1.2737e-06 | 0.021728 | 0.021728 | 0.021728 | 0.99413 | -0.11273 | 0.99396 | -0.11598 | 5.9693
34 | 0.012343 | 0.003096 | -0.012341 | -0.0030953 | 1.1682e-06 | 6.2966e-07 | 0.018487 | 0.018487 | 0.018487 | 0.99348 | -0.12484 | 0.99338 | -0.12683 | 5.0789
35 | 0.012115 | 0.0030377 | -0.012113 | -0.0030364 | 2.4189e-06 | 1.2945e-06 | 0.018146 | 0.018146 | 0.018146 | 0.99348 | -0.12484 | 0.99326 | -0.12903 | 4.9853
36 | -0.0088146 | -0.0022091 | 0.0088183 | 0.0022108 | 3.7052e-06 | 1.639e-06 | 0.013211 | 0.013211 | 0.013211 | 0.99281 | -0.13785 | 0.99326 | -0.12903 | 3.6295
37 | 0.012341 | 0.0030953 | -0.012333 | -0.003091 | 7.9499e-06 | 4.2855e-06 | 0.018487 | 0.018488 | 0.018488 | 0.99338 | -0.12683 | 0.99268 | -0.14035 | 5.079
38 | -0.0018768 | -0.00047018 | 0.0018768 | 0.00047012 | 1.4469e-08 | -5.4044e-08 | 0.0028101 | 0.0028101 | 0.0028101 | 0.99376 | -0.11911 | 0.99377 | -0.11894 | 0.77201
39 | 0.0014141 | 0.00035422 | -0.0014141 | -0.00035428 | 8.2145e-09 | -5.8046e-08 | 0.0021174 | 0.0021174 | 0.0021174 | 0.99376 | -0.11911 | 0.99376 | -0.11923 | 0.5817
40 | 0.00095181 | 0.00023842 | -0.00095181 | -0.00023848 | 3.7215e-09 | -6.0921e-08 | 0.0014252 | 0.0014252 | 0.0014252 | 0.99376 | -0.11923 | 0.99375 | -0.11931 | 0.39153
41 | 0.00048916 | 0.00012253 | -0.00048916 | -0.0001226 | 1.0116e-09 | -6.4495e-08 | 0.00073244 | 0.00073246 | 0.00073246 | 0.99375 | -0.11931 | 0.99375 | -0.11935 | 0.20123
42 | -0.0073581 | -0.0018441 | 0.0073581 | 0.0018441 | 5.47e-08 | 1.9323e-08 | 0.010997 | 0.010997 | 0.010997 | 0.99561 | -0.084108 | 0.99562 | -0.083952 | 3.0212
43 | -0.01333 | -0.0033408 | 0.013334 | 0.003343 | 3.8685e-06 | 2.1377e-06 | 0.019923 | 0.019922 | 0.019923 | 0.99562 | -0.083952 | 0.99594 | -0.077861 | 5.4732
44 | -0.0062581 | -0.0015684 | 0.0062587 | 0.0015686 | 6.1354e-07 | 1.5114e-07 | 0.0093697 | 0.0093696 | 0.0093697 | 0.99386 | -0.11803 | 0.99396 | -0.11598 | 2.5741
45 | 0.0082553 | 0.0020695 | -0.0082521 | -0.0020682 | 3.1972e-06 | 1.3231e-06 | 0.012359 | 0.012359 | 0.012359 | 0.99396 | -0.11598 | 0.99354 | -0.12411 | 3.3954
46 | 0.0075158 | 0.0018837 | -0.0075154 | -0.0018835 | 4.1776e-07 | 1.507e-07 | 0.011188 | 0.011188 | 0.011188 | 0.99961 | -0.0075197 | 0.99955 | -0.0086865 | 3.0736

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17316 | 0.043439

## res_load
| p_mw | q_mvar
0 | 0.0019658 | 0.00049268
1 | 0.0097874 | 0.0024529
2 | 0.0031812 | 0.00079728
3 | 0.0097305 | 0.0024387
4 | 0.00528 | 0.0013233
5 | 0.031516 | 0.0078987
6 | 0.0020534 | 0.00051464
7 | 0.0098611 | 0.0024714
8 | 0.00048871 | 0.00012248
9 | 0.0019687 | 0.0004934
10 | 0.0067892 | 0.0017015
11 | 0.0071081 | 0.0017814
12 | 0.0083916 | 0.0021031
13 | 0.0097163 | 0.0024351
14 | 0.0088146 | 0.0022091
15 | 0.0032944 | 0.00082566
16 | 0.012333 | 0.003091
17 | 0.00046265 | 0.00011595
18 | 0.00046229 | 0.00011586
19 | 0.00046229 | 0.00011586
20 | 0.00046264 | 0.00011595
21 | 0.00048916 | 0.0001226
22 | 0.0073581 | 0.0018441
23 | 0.0059719 | 0.0014967
24 | 0.0062581 | 0.0015684
25 | 0.0082521 | 0.0020682
26 | 0.0075154 | 0.0018835

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1